## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2601-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2601-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2601-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2601-7_0_4_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_2601-7_0_4_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_2601-7_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2601-7_0_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_2601-7_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_2601-7_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_2601-7_0_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2601-7_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2601-7_0_4_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_2601-7_0_4_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_2601-7_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_2601-7_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2601-7_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2601-7_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2601-7_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2601-7_0_4_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_2601-7_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2601-7_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2601-7_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_2601-7_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2601-7_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2601-7_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_2601-7_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2601-7_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2601-7_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2601-7_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2601-7_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2601-7_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2601-7_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2601-7_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2601-7_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_2601-7_0_4_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_2601-7_0_4_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_2601-7_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_2601-7_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2601-7_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2601-7_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2601-7_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2601-7_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2601-7_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_2601-7_0_4_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_2601-7_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_2601-7_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2601-7_0_4_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_2601-7_0_4_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_2601-7_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_2601-7_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_2601-7_0_4_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_2601-7_0_4_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_2601-7_0_4_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_2601-7_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_2601-7_0_4_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_2601-7_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_2601-7_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_2601-7_0_4_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_2601-7_0_4_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_2601-7_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2601-7_0_4_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_2601-7_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_2601-7_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2601-7_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2601-7_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_2601-7_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_2601-7_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2601-7_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_2601-7_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_2601-7_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_2601-7_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_2601-7_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_2601-7_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_2601-7_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_2601-7_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_2601-7_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_2601-7_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_2601-7_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_MV_395_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2601-7_0_4_load_0 | 0 | 0.0056841 | 0.0014246 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2601-7_0_4_load_26 | 3 | 0.0011459 | 0.00028719 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2601-7_0_4_load_24 | 4 | 0.0020711 | 0.00051906 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2601-7_0_4_load_29 | 6 | 0.00064639 | 0.000162 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2601-7_0_4_load_31 | 7 | 0.0023867 | 0.00059817 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2601-7_0_4_load_18 | 8 | 0.0013192 | 0.00033063 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2601-7_0_4_load_17 | 10 | 0.00060225 | 0.00015094 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2601-7_0_4_load_30 | 11 | 0.0052545 | 0.0013169 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2601-7_0_4_load_4 | 12 | 0.0021161 | 0.00053033 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2601-7_0_4_load_5 | 13 | 0.0024316 | 0.00060941 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2601-7_0_4_load_6 | 14 | 0.0021912 | 0.00054918 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2601-7_0_4_load_7 | 15 | 0.0015774 | 0.00039533 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2601-7_0_4_load_8 | 16 | 0.0018311 | 0.00045892 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2601-7_0_4_load_12 | 17 | 0.0012169 | 0.00030498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2601-7_0_4_load_34 | 18 | 0.001729 | 0.00043333 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2601-7_0_4_load_10 | 19 | 0.0013006 | 0.00032597 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2601-7_0_4_load_22 | 20 | 0.0011097 | 0.00027813 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2601-7_0_4_load_9 | 21 | 0.0012802 | 0.00032085 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2601-7_0_4_load_11 | 22 | 0.0017068 | 0.00042776 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2601-7_0_4_load_13 | 23 | 0.001222 | 0.00030626 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2601-7_0_4_load_28 | 24 | 0.0013334 | 0.00033419 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2601-7_0_4_load_14 | 25 | 0.00073957 | 0.00018535 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2601-7_0_4_load_15 | 26 | 0.00041924 | 0.00010507 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2601-7_0_4_load_16 | 27 | 0.00072048 | 0.00018057 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2601-7_0_4_load_19 | 28 | 0.0015576 | 0.00039038 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2601-7_0_4_load_20 | 29 | 0.0021575 | 0.00054072 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2601-7_0_4_load_21 | 30 | 0.0016061 | 0.00040254 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2601-7_0_4_load_23 | 31 | 0.0016889 | 0.00042327 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2601-7_0_4_load_37 | 32 | 0.0024659 | 0.00061801 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2601-7_0_4_load_36 | 33 | 0.0019679 | 0.0004932 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2601-7_0_4_load_45 | 35 | 0.0014546 | 0.00036456 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2601-7_0_4_load_35 | 38 | 0.0032922 | 0.00082511 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2601-7_0_4_load_38 | 39 | 0.0035127 | 0.00088036 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2601-7_0_4_load_39 | 40 | 0.0074207 | 0.0018598 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2601-7_0_4_load_41 | 42 | 0.0075994 | 0.0019046 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2601-7_0_4_load_43 | 43 | 0.0019902 | 0.00049878 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2601-7_0_4_load_52 | 44 | 0.0011079 | 0.00027767 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2601-7_0_4_load_42 | 45 | 0.0058493 | 0.001466 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2601-7_0_4_load_56 | 46 | 0.0043145 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2601-7_0_4_load_68 | 47 | 0.0014876 | 0.00037282 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2601-7_0_4_load_53 | 48 | 0.0017742 | 0.00044466 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2601-7_0_4_load_69 | 50 | 0.0011888 | 0.00029795 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2601-7_0_4_load_70 | 51 | 0.0013348 | 0.00033454 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2601-7_0_4_load_78 | 52 | 0.034515 | 0.0086503 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2601-7_0_4_load_76 | 54 | 0.041497 | 0.0104 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2601-7_0_4_load_81 | 57 | 0.04725 | 0.011842 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2601-7_0_4_load_80 | 58 | 0.050049 | 0.012543 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2601-7_0_4_load_79 | 60 | 0.034422 | 0.008627 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2601-7_0_4_load_77 | 61 | 0.04158 | 0.010421 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2601-7_0_4_load_54 | 62 | 0.00085451 | 0.00021416 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2601-7_0_4_load_57 | 63 | 0.0030281 | 0.00075892 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2601-7_0_4_load_58 | 64 | 0.0013913 | 0.00034868 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2601-7_0_4_load_62 | 65 | 0.0010398 | 0.0002606 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2601-7_0_4_load_59 | 67 | 0.0034255 | 0.00085852 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2601-7_0_4_load_61 | 68 | 0.0014562 | 0.00036497 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2601-7_0_4_load_63 | 69 | 0.00094881 | 0.00023779 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2601-7_0_4_load_64 | 70 | 0.0010458 | 0.0002621 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2601-7_0_4_load_71 | 71 | 0.0017595 | 0.00044096 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2601-7_0_4_load_72 | 73 | 0.0036045 | 0.00090338 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2601-7_0_4_load_66 | 74 | 0.0026675 | 0.00066854 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2601-7_0_4_load_67 | 75 | 0.0022463 | 0.00056297 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2601-7_0_4_load_74 | 76 | 0.0012965 | 0.00032492 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2601-7_0_4_load_73 | 77 | 0.0010233 | 0.00025646 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2601-7_0_4_line_0 |  | 0 | 1 | 0.036665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2601-7_0_4_line_1 |  | 1 | 2 | 0.009039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2601-7_0_4_line_2 |  | 2 | 3 | 0.039599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2601-7_0_4_line_3 |  | 2 | 4 | 0.015804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2601-7_0_4_line_4 |  | 3 | 8 | 0.0085266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2601-7_0_4_line_5 |  | 4 | 9 | 0.050903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2601-7_0_4_line_6 |  | 5 | 6 | 0.0021341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2601-7_0_4_line_7 |  | 5 | 7 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2601-7_0_4_line_8 |  | 6 | 10 | 0.01704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2601-7_0_4_line_9 |  | 7 | 11 | 0.026703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2601-7_0_4_line_10 |  | 8 | 27 | 0.016845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2601-7_0_4_line_11 |  | 9 | 24 | 0.022116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2601-7_0_4_line_12 |  | 9 | 23 | 0.021998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2601-7_0_4_line_13 |  | 10 | 26 | 0.0091074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2601-7_0_4_line_14 |  | 12 | 13 | 0.0070353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2601-7_0_4_line_15 |  | 12 | 14 | 0.010738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2601-7_0_4_line_16 |  | 13 | 15 | 0.020236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2601-7_0_4_line_17 |  | 14 | 16 | 0.0060006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2601-7_0_4_line_18 |  | 15 | 17 | 0.0018525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2601-7_0_4_line_19 |  | 16 | 18 | 0.016008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2601-7_0_4_line_20 |  | 17 | 19 | 0.01771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2601-7_0_4_line_21 |  | 18 | 20 | 0.0041089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2601-7_0_4_line_22 |  | 19 | 21 | 0.0064664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2601-7_0_4_line_23 |  | 20 | 29 | 0.01694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2601-7_0_4_line_24 |  | 21 | 22 | 0.0070202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2601-7_0_4_line_25 |  | 22 | 23 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2601-7_0_4_line_26 |  | 24 | 34 | 0.031277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2601-7_0_4_line_27 |  | 25 | 26 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2601-7_0_4_line_28 |  | 25 | 27 | 0.015468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2601-7_0_4_line_29 |  | 28 | 29 | 0.0062182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2601-7_0_4_line_30 |  | 28 | 30 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2601-7_0_4_line_31 |  | 30 | 31 | 0.020078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2601-7_0_4_line_32 |  | 31 | 32 | 0.015115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2601-7_0_4_line_33 |  | 32 | 33 | 0.0069326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2601-7_0_4_line_34 |  | 33 | 38 | 0.0219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2601-7_0_4_line_35 |  | 34 | 35 | 0.021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2601-7_0_4_line_36 |  | 34 | 36 | 0.10465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2601-7_0_4_line_37 |  | 34 | 37 | 0.088003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2601-7_0_4_line_38 |  | 35 | 51 | 0.034913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2601-7_0_4_line_39 |  | 36 | 52 | 0.005649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2601-7_0_4_line_40 |  | 37 | 61 | 0.014283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2601-7_0_4_line_41 |  | 37 | 53 | 0.10981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2601-7_0_4_line_42 |  | 37 | 59 | 0.077244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2601-7_0_4_line_43 |  | 39 | 40 | 0.017599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2601-7_0_4_line_44 |  | 39 | 41 | 0.014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2601-7_0_4_line_45 |  | 40 | 42 | 0.020617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2601-7_0_4_line_46 |  | 41 | 43 | 0.0089179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2601-7_0_4_line_47 |  | 42 | 44 | 0.021014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2601-7_0_4_line_48 |  | 43 | 47 | 0.022711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2601-7_0_4_line_49 |  | 44 | 48 | 0.012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2601-7_0_4_line_50 |  | 45 | 46 | 0.0024192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2601-7_0_4_line_51 |  | 46 | 49 | 0.0095913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2601-7_0_4_line_52 |  | 47 | 50 | 0.033337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2601-7_0_4_line_53 |  | 48 | 62 | 0.017287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2601-7_0_4_line_54 |  | 49 | 63 | 0.018698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2601-7_0_4_line_55 |  | 49 | 64 | 0.018975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2601-7_0_4_line_56 |  | 49 | 62 | 0.013895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2601-7_0_4_line_57 |  | 50 | 51 | 0.033211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2601-7_0_4_line_58 |  | 53 | 54 | 0.021633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2601-7_0_4_line_59 |  | 53 | 55 | 0.065739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2601-7_0_4_line_60 |  | 53 | 56 | 0.0651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2601-7_0_4_line_61 |  | 55 | 58 | 0.033396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2601-7_0_4_line_62 |  | 56 | 57 | 0.012545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2601-7_0_4_line_63 |  | 59 | 60 | 0.005643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2601-7_0_4_line_64 |  | 64 | 65 | 0.0025371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2601-7_0_4_line_65 |  | 65 | 66 | 0.0090442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2601-7_0_4_line_66 |  | 66 | 68 | 0.019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2601-7_0_4_line_67 |  | 66 | 69 | 0.013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2601-7_0_4_line_68 |  | 66 | 67 | 0.018172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2601-7_0_4_line_69 |  | 68 | 70 | 0.0023032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2601-7_0_4_line_70 |  | 69 | 71 | 0.017629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2601-7_0_4_line_71 |  | 70 | 72 | 0.0089022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2601-7_0_4_line_72 |  | 71 | 73 | 0.013548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2601-7_0_4_line_73 |  | 72 | 74 | 0.019306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2601-7_0_4_line_74 |  | 72 | 75 | 0.0064835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2601-7_0_4_line_75 |  | 75 | 76 | 0.005681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2601-7_0_4_line_76 |  | 76 | 77 | 0.0091861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2601-7_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 78 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2606353.307 | 1228338.9953 | 2606347.8198 | 1228375.2472
1 | 2606353.307 | 1228338.9953 | 2606355.0438 | 1228330.1253
2 | 2606355.0438 | 1228330.1253 | 2606343.7942 | 1228328.7237 | 2606315.6129 | 1228326.5787
3 | 2606355.0438 | 1228330.1253 | 2606356.1534 | 1228319.7759 | 2606356.9861 | 1228314.4449
4 | 2606307.1109 | 1228325.9315 | 2606315.6129 | 1228326.5787
5 | 2606364.8419 | 1228264.1522 | 2606356.9861 | 1228314.4449
6 | 2606227.2394 | 1228319.8521 | 2606229.3673 | 1228320.0141
7 | 2606227.2394 | 1228319.8521 | 2606207.9358 | 1228318.635
8 | 2606246.3586 | 1228321.3074 | 2606229.3673 | 1228320.0141
9 | 2606181.2859 | 1228316.9546 | 2606207.9358 | 1228318.635
10 | 2606307.1109 | 1228325.9315 | 2606290.3146 | 1228324.6531
11 | 2606364.8419 | 1228264.1522 | 2606368.2764 | 1228242.3047
12 | 2606364.8419 | 1228264.1522 | 2606342.8931 | 1228262.6757
13 | 2606246.3586 | 1228321.3074 | 2606255.4397 | 1228321.9986
14 | 2606273.4769 | 1228258.0061 | 2606266.4574 | 1228257.5339
15 | 2606255.7438 | 1228256.8132 | 2606266.4574 | 1228257.5339
16 | 2606273.4769 | 1228258.0061 | 2606293.6669 | 1228259.3643
17 | 2606255.7438 | 1228256.8132 | 2606249.7568 | 1228256.4104
18 | 2606295.5152 | 1228259.4886 | 2606293.6669 | 1228259.3643
19 | 2606233.7848 | 1228255.336 | 2606249.7568 | 1228256.4104
20 | 2606295.5152 | 1228259.4886 | 2606313.1849 | 1228260.6772
21 | 2606233.7848 | 1228255.336 | 2606229.6852 | 1228255.0602
22 | 2606313.1849 | 1228260.6772 | 2606319.6367 | 1228261.1112
23 | 2606229.6852 | 1228255.0602 | 2606212.7835 | 1228253.9233
24 | 2606326.6411 | 1228261.5824 | 2606319.6367 | 1228261.1112
25 | 2606342.8931 | 1228262.6757 | 2606326.6411 | 1228261.5824
26 | 2606373.1335 | 1228211.4075 | 2606368.2764 | 1228242.3047
27 | 2606274.8907 | 1228323.4791 | 2606255.4397 | 1228321.9986
28 | 2606290.3146 | 1228324.6531 | 2606274.8907 | 1228323.4791
29 | 2606212.7835 | 1228253.9233 | 2606206.5793 | 1228253.5059
30 | 2606185.6421 | 1228252.0975 | 2606206.5793 | 1228253.5059
31 | 2606185.6421 | 1228252.0975 | 2606180.8504 | 1228251.7751 | 2606165.6217 | 1228250.579
32 | 2606165.6217 | 1228250.579 | 2606150.5529 | 1228249.3955
33 | 2606143.6416 | 1228248.8526 | 2606150.5529 | 1228249.3955
34 | 2606121.809 | 1228247.1378 | 2606143.6416 | 1228248.8526
35 | 2606373.1335 | 1228211.4075 | 2606351.2488 | 1228210.0125
36 | 2606275.078 | 1228195.8063 | 2606296.3139 | 1228197.2405 | 2606310.4281 | 1228198.2003 | 2606319.4816 | 1228198.8101 | 2606330.1157 | 1228202.1233 | 2606368.246 | 1228204.8652 | 2606373.8661 | 1228206.5499 | 2606373.1335 | 1228211.4075
37 | 2606348.2155 | 1228152.6687 | 2606356.9957 | 1228153.7786 | 2606375.9197 | 1228156.1667 | 2606372.6778 | 1228176.7532 | 2606368.246 | 1228204.8652 | 2606373.8661 | 1228206.5499 | 2606373.1335 | 1228211.4075
38 | 2606316.4062 | 1228207.7916 | 2606351.2488 | 1228210.0125
39 | 2606275.078 | 1228195.8063 | 2606276.2051 | 1228190.2709
40 | 2606347.7913 | 1228166.9433 | 2606348.2155 | 1228152.6687
41 | 2606348.2155 | 1228152.6687 | 2606327.352 | 1228150.0451 | 2606328.6522 | 1228138.473 | 2606332.6579 | 1228111.9616 | 2606336.6881 | 1228083.9048 | 2606358.6446 | 1228084.873
42 | 2606284.1259 | 1228136.4918 | 2606305.9912 | 1228137.6042 | 2606328.6522 | 1228138.473 | 2606327.352 | 1228150.0451 | 2606348.2155 | 1228152.6687
43 | 2606228.4476 | 1228177.4692 | 2606228.4476 | 1228177.4692 | 2606230.389 | 1228175.7591 | 2606231.4362 | 1228160.7838
44 | 2606227.8421 | 1228191.5213 | 2606228.4476 | 1228177.4692
45 | 2606231.4362 | 1228160.7838 | 2606232.1964 | 1228149.9124 | 2606230.9553 | 1228148.4102 | 2606223.1939 | 1228148.042
46 | 2606227.8421 | 1228191.5213 | 2606227.9995 | 1228200.4379
47 | 2606202.2031 | 1228147.0463 | 2606202.2031 | 1228147.0463 | 2606223.1939 | 1228148.042
48 | 2606227.9995 | 1228200.4379 | 2606230.3236 | 1228202.3414 | 2606238.0058 | 1228202.7941 | 2606249.9933 | 1228203.5582
49 | 2606202.2031 | 1228147.0463 | 2606200.8703 | 1228159.3255
50 | 2606206.2204 | 1228190.14 | 2606203.806 | 1228189.9858
51 | 2606194.2343 | 1228189.3742 | 2606203.806 | 1228189.9858
52 | 2606283.2626 | 1228205.6789 | 2606249.9933 | 1228203.5582
53 | 2606195.1635 | 1228175.5099 | 2606195.1962 | 1228175.0223 | 2606200.5356 | 1228162.4092 | 2606200.8703 | 1228159.3255
54 | 2606194.2343 | 1228189.3742 | 2606193.1596 | 1228208.0417
55 | 2606194.2343 | 1228189.3742 | 2606175.2979 | 1228188.1604
56 | 2606194.2343 | 1228189.3742 | 2606195.1635 | 1228175.5099
57 | 2606283.2626 | 1228205.6789 | 2606316.4062 | 1228207.7916
58 | 2606357.7655 | 1228106.4848 | 2606358.6446 | 1228084.873
59 | 2606343.1967 | 1228040.6305 | 2606336.6881 | 1228083.9048 | 2606358.6446 | 1228084.873
60 | 2606293.6394 | 1228081.3914 | 2606315.9289 | 1228082.6933 | 2606336.6881 | 1228083.9048 | 2606358.6446 | 1228084.873
61 | 2606343.1967 | 1228040.6305 | 2606367.2964 | 1228042.7684 | 2606366.8623 | 1228052.0289
62 | 2606293.8647 | 1228068.8509 | 2606293.6394 | 1228081.3914
63 | 2606285.5637 | 1228131.0345 | 2606284.1259 | 1228136.4918
64 | 2606172.766 | 1228187.9981 | 2606175.2979 | 1228188.1604
65 | 2606163.7403 | 1228187.4195 | 2606172.766 | 1228187.9981
66 | 2606163.7403 | 1228187.4195 | 2606144.1558 | 1228186.161
67 | 2606163.7403 | 1228187.4195 | 2606164.5421 | 1228173.9568 | 2606164.5421 | 1228173.9568
68 | 2606163.7403 | 1228187.4195 | 2606162.3776 | 1228205.54
69 | 2606141.8574 | 1228186.0134 | 2606144.1558 | 1228186.161
70 | 2606170.044 | 1228157.3799 | 2606169.5471 | 1228162.2662 | 2606164.5421 | 1228173.9568
71 | 2606132.9735 | 1228185.4425 | 2606141.8574 | 1228186.0134
72 | 2606171.4146 | 1228143.9017 | 2606170.044 | 1228157.3799
73 | 2606132.9735 | 1228185.4425 | 2606131.7391 | 1228204.7087
74 | 2606132.9735 | 1228185.4425 | 2606126.5043 | 1228185.0125
75 | 2606126.5043 | 1228185.0125 | 2606120.8358 | 1228184.6358
76 | 2606111.6678 | 1228184.0633 | 2606114.1165 | 1228184.1892 | 2606120.8358 | 1228184.6358

## bus_geodata
| x | y | coords
0 | 2606347.8198 | 1228375.2472
1 | 2606353.307 | 1228338.9953
2 | 2606355.0438 | 1228330.1253
3 | 2606315.6129 | 1228326.5787
4 | 2606356.9861 | 1228314.4449
5 | 2606227.2394 | 1228319.8521
6 | 2606229.3673 | 1228320.0141
7 | 2606207.9358 | 1228318.635
8 | 2606307.1109 | 1228325.9315
9 | 2606364.8419 | 1228264.1522
10 | 2606246.3586 | 1228321.3074
11 | 2606181.2859 | 1228316.9546
12 | 2606266.4574 | 1228257.5339
13 | 2606273.4769 | 1228258.0061
14 | 2606255.7438 | 1228256.8132
15 | 2606293.6669 | 1228259.3643
16 | 2606249.7568 | 1228256.4104
17 | 2606295.5152 | 1228259.4886
18 | 2606233.7848 | 1228255.336
19 | 2606313.1849 | 1228260.6772
20 | 2606229.6852 | 1228255.0602
21 | 2606319.6367 | 1228261.1112
22 | 2606326.6411 | 1228261.5824
23 | 2606342.8931 | 1228262.6757
24 | 2606368.2764 | 1228242.3047
25 | 2606274.8907 | 1228323.4791
26 | 2606255.4397 | 1228321.9986
27 | 2606290.3146 | 1228324.6531
28 | 2606206.5793 | 1228253.5059
29 | 2606212.7835 | 1228253.9233
30 | 2606185.6421 | 1228252.0975
31 | 2606165.6217 | 1228250.579
32 | 2606150.5529 | 1228249.3955
33 | 2606143.6416 | 1228248.8526
34 | 2606373.1335 | 1228211.4075
35 | 2606351.2488 | 1228210.0125
36 | 2606275.078 | 1228195.8063
37 | 2606348.2155 | 1228152.6687
38 | 2606121.809 | 1228247.1378
39 | 2606228.4476 | 1228177.4692
40 | 2606231.4362 | 1228160.7838
41 | 2606227.8421 | 1228191.5213
42 | 2606223.1939 | 1228148.042
43 | 2606227.9995 | 1228200.4379
44 | 2606202.2031 | 1228147.0463
45 | 2606206.2204 | 1228190.14
46 | 2606203.806 | 1228189.9858
47 | 2606249.9933 | 1228203.5582
48 | 2606200.8703 | 1228159.3255
49 | 2606194.2343 | 1228189.3742
50 | 2606283.2626 | 1228205.6789
51 | 2606316.4062 | 1228207.7916
52 | 2606276.2051 | 1228190.2709
53 | 2606358.6446 | 1228084.873
54 | 2606357.7655 | 1228106.4848
55 | 2606343.1967 | 1228040.6305
56 | 2606293.6394 | 1228081.3914
57 | 2606293.8647 | 1228068.8509
58 | 2606366.8623 | 1228052.0289
59 | 2606284.1259 | 1228136.4918
60 | 2606285.5637 | 1228131.0345
61 | 2606347.7913 | 1228166.9433
62 | 2606195.1635 | 1228175.5099
63 | 2606193.1596 | 1228208.0417
64 | 2606175.2979 | 1228188.1604
65 | 2606172.766 | 1228187.9981
66 | 2606163.7403 | 1228187.4195
67 | 2606162.3776 | 1228205.54
68 | 2606144.1558 | 1228186.161
69 | 2606164.5421 | 1228173.9568
70 | 2606141.8574 | 1228186.0134
71 | 2606170.044 | 1228157.3799
72 | 2606132.9735 | 1228185.4425
73 | 2606171.4146 | 1228143.9017
74 | 2606131.7391 | 1228204.7087
75 | 2606126.5043 | 1228185.0125
76 | 2606120.8358 | 1228184.6358
77 | 2606111.6678 | 1228184.0633
78 | 2606285.5637 | 1228131.0345

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98132 | -0.35818 | 0.0056841 | 0.0014246
1 | 0.98152 | -0.35441 | 0 | 0
2 | 0.98156 | -0.35348 | 0 | 0
3 | 0.98108 | -0.36297 | 0.0011459 | 0.00028719
4 | 0.98184 | -0.34807 | 0.0020711 | 0.00051906
5 | 0.98028 | -0.37856 | 0 | 0
6 | 0.9803 | -0.37826 | 0.00064639 | 0.000162
7 | 0.98015 | -0.38124 | 0.0023867 | 0.00059817
8 | 0.98098 | -0.36484 | 0.0013192 | 0.00033063
9 | 0.98283 | -0.32877 | 0 | 0
10 | 0.98043 | -0.3757 | 0.00060225 | 0.00015094
11 | 0.98002 | -0.38379 | 0.0052545 | 0.0013169
12 | 0.98007 | -0.38262 | 0.0021161 | 0.00053033
13 | 0.98023 | -0.37959 | 0.0024316 | 0.00060941
14 | 0.97986 | -0.38683 | 0.0021912 | 0.00054918
15 | 0.98072 | -0.37 | 0.0015774 | 0.00039533
16 | 0.97975 | -0.38894 | 0.0018311 | 0.00045892
17 | 0.98077 | -0.36907 | 0.0012169 | 0.00030498
18 | 0.97949 | -0.39405 | 0.001729 | 0.00043333
19 | 0.98124 | -0.35978 | 0.0013006 | 0.00032597
20 | 0.97943 | -0.39524 | 0.0011097 | 0.00027813
21 | 0.98142 | -0.35624 | 0.0012802 | 0.00032085
22 | 0.98163 | -0.35224 | 0.0017068 | 0.00042776
23 | 0.98213 | -0.34245 | 0.001222 | 0.00030626
24 | 0.98396 | -0.30666 | 0.0013334 | 0.00033419
25 | 0.98067 | -0.37094 | 0.00073957 | 0.00018535
26 | 0.98051 | -0.37423 | 0.00041924 | 0.00010507
27 | 0.98082 | -0.36812 | 0.00072048 | 0.00018057
28 | 0.97913 | -0.4012 | 0.0015576 | 0.00039038
29 | 0.9792 | -0.39977 | 0.0021575 | 0.00054072
30 | 0.97891 | -0.4054 | 0.0016061 | 0.00040254
31 | 0.97874 | -0.40884 | 0.0016889 | 0.00042327
32 | 0.97863 | -0.41097 | 0.0024659 | 0.00061801
33 | 0.9786 | -0.41163 | 0.0019679 | 0.0004932
34 | 0.98561 | -0.27474 | 0 | 0
35 | 0.98428 | -0.30028 | 0.0014546 | 0.00036456
36 | 0.98227 | -0.33977 | 0 | 0
37 | 0.99198 | -0.15225 | 0 | 0
38 | 0.97853 | -0.41294 | 0.0032922 | 0.00082511
39 | 0.97592 | -0.46303 | 0.0035127 | 0.00088036
40 | 0.97503 | -0.48039 | 0.0074207 | 0.0018598
41 | 0.97667 | -0.44827 | 0 | 0
42 | 0.97414 | -0.49796 | 0.0075994 | 0.0019046
43 | 0.97715 | -0.43892 | 0.0019902 | 0.00049878
44 | 0.97338 | -0.51296 | 0.0011079 | 0.00027767
45 | 0.97181 | -0.54405 | 0.0058493 | 0.001466
46 | 0.97182 | -0.54379 | 0.0043145 | 0.0010813
47 | 0.9784 | -0.41434 | 0.0014876 | 0.00037282
48 | 0.97294 | -0.52154 | 0.0017742 | 0.00044466
49 | 0.97191 | -0.54199 | 0 | 0
50 | 0.9803 | -0.37748 | 0.0011888 | 0.00029795
51 | 0.98222 | -0.34018 | 0.0013348 | 0.00033454
52 | 0.98209 | -0.34329 | 0.034515 | 0.0086503
53 | 0.98494 | -0.2882 | 0 | 0
54 | 0.98411 | -0.30435 | 0.041497 | 0.0104
55 | 0.9819 | -0.3475 | 0 | 0
56 | 0.9821 | -0.34363 | 0 | 0
57 | 0.98155 | -0.35435 | 0.04725 | 0.011842
58 | 0.98035 | -0.37777 | 0.050049 | 0.012543
59 | 1 | 0 | -0.37847 | -0.096719
60 | 0.99982 | -0.0033862 | 0.034422 | 0.008627
61 | 0.99144 | -0.16278 | 0.04158 | 0.010421
62 | 0.97236 | -0.53299 | 0.00085451 | 0.00021416
63 | 0.97186 | -0.54303 | 0.0030281 | 0.00075892
64 | 0.97152 | -0.54966 | 0.0013913 | 0.00034868
65 | 0.97147 | -0.55062 | 0.0010398 | 0.0002606
66 | 0.97131 | -0.55388 | 0 | 0
67 | 0.97125 | -0.55503 | 0.0034255 | 0.00085852
68 | 0.97113 | -0.55741 | 0.0014562 | 0.00036497
69 | 0.97123 | -0.55545 | 0.00094881 | 0.00023779
70 | 0.97111 | -0.55776 | 0.0010458 | 0.0002621
71 | 0.97114 | -0.5572 | 0.0017595 | 0.00044096
72 | 0.97105 | -0.55895 | 0 | 0
73 | 0.9711 | -0.5581 | 0.0036045 | 0.00090338
74 | 0.971 | -0.5599 | 0.0026675 | 0.00066854
75 | 0.97102 | -0.5595 | 0.0022463 | 0.00056297
76 | 0.97101 | -0.55974 | 0.0012965 | 0.00032492
77 | 0.971 | -0.55992 | 0.0010233 | 0.00025646
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0056841 | -0.0014246 | 0.0056851 | 0.0014248 | 1.0214e-06 | 1.9037e-07 | 0.008619 | 0.0086188 | 0.008619 | 0.98132 | -0.35818 | 0.98152 | -0.35441 | 2.3678
1 | -0.0056851 | -0.0014248 | 0.0056853 | 0.0014248 | 2.5179e-07 | 4.6899e-08 | 0.0086188 | 0.0086188 | 0.0086188 | 0.98152 | -0.35441 | 0.98156 | -0.35348 | 2.3678
2 | 0.013249 | 0.0033242 | -0.013243 | -0.0033208 | 5.9915e-06 | 3.3343e-06 | 0.020087 | 0.020087 | 0.020087 | 0.98156 | -0.35348 | 0.98108 | -0.36297 | 5.5183
3 | -0.018935 | -0.004749 | 0.018939 | 0.0047519 | 4.8835e-06 | 2.9256e-06 | 0.028705 | 0.028705 | 0.028705 | 0.98156 | -0.35348 | 0.98184 | -0.34807 | 7.8861
4 | 0.012097 | 0.0030336 | -0.012096 | -0.0030331 | 1.0765e-06 | 5.8131e-07 | 0.018349 | 0.018349 | 0.018349 | 0.98108 | -0.36297 | 0.98098 | -0.36484 | 5.0409
5 | -0.02101 | -0.005271 | 0.02103 | 0.0052827 | 1.9356e-05 | 1.1744e-05 | 0.031844 | 0.031844 | 0.031844 | 0.98184 | -0.34807 | 0.98283 | -0.32877 | 8.7484
6 | -0.0076428 | -0.0019155 | 0.0076429 | 0.0019156 | 1.0771e-07 | 4.2031e-08 | 0.011601 | 0.011601 | 0.011601 | 0.98028 | -0.37856 | 0.9803 | -0.37826 | 3.1872
7 | 0.0076428 | 0.0019155 | -0.0076418 | -0.0019151 | 9.7623e-07 | 3.8098e-07 | 0.011601 | 0.011601 | 0.011601 | 0.98028 | -0.37856 | 0.98015 | -0.38124 | 3.1872
8 | -0.0082893 | -0.0020776 | 0.0082903 | 0.002078 | 1.0117e-06 | 4.3261e-07 | 0.012583 | 0.012582 | 0.012583 | 0.9803 | -0.37826 | 0.98043 | -0.3757 | 3.4567
9 | 0.0052551 | 0.001317 | -0.0052545 | -0.0013169 | 6.3737e-07 | 7.1408e-08 | 0.007978 | 0.0079782 | 0.0079782 | 0.98015 | -0.38124 | 0.98002 | -0.38379 | 2.1918
10 | 0.010777 | 0.0027024 | -0.010775 | -0.0027016 | 1.6882e-06 | 8.6779e-07 | 0.016348 | 0.016348 | 0.016348 | 0.98098 | -0.36484 | 0.98082 | -0.36812 | 4.4911
11 | -0.055578 | -0.013977 | 0.055637 | 0.014014 | 5.8745e-05 | 3.7316e-05 | 0.084163 | 0.084162 | 0.084163 | 0.98283 | -0.32877 | 0.98396 | -0.30666 | 23.1216
12 | 0.034548 | 0.0086941 | -0.034525 | -0.0086799 | 2.2581e-05 | 1.4173e-05 | 0.052319 | 0.052319 | 0.052319 | 0.98283 | -0.32877 | 0.98213 | -0.34245 | 14.3733
13 | -0.0088926 | -0.0022289 | 0.0088932 | 0.0022292 | 6.2211e-07 | 2.8329e-07 | 0.013496 | 0.013496 | 0.013496 | 0.98043 | -0.3757 | 0.98051 | -0.37423 | 3.7078
14 | -0.023734 | -0.0059544 | 0.023737 | 0.0059565 | 3.4261e-06 | 2.104e-06 | 0.036036 | 0.036036 | 0.036036 | 0.98007 | -0.38262 | 0.98023 | -0.37959 | 9.9001
15 | 0.021618 | 0.005424 | -0.021613 | -0.0054214 | 4.3383e-06 | 2.6412e-06 | 0.032824 | 0.032824 | 0.032824 | 0.98007 | -0.38262 | 0.97986 | -0.38683 | 9.0175
16 | -0.026169 | -0.0065659 | 0.026181 | 0.0065733 | 1.1976e-05 | 7.4097e-06 | 0.039728 | 0.039727 | 0.039728 | 0.98023 | -0.37959 | 0.98072 | -0.37 | 10.9142
17 | 0.019422 | 0.0048722 | -0.01942 | -0.004871 | 1.9577e-06 | 1.1774e-06 | 0.029496 | 0.029496 | 0.029496 | 0.97986 | -0.38683 | 0.97975 | -0.38894 | 8.1033
18 | -0.027758 | -0.0069686 | 0.027759 | 0.0069694 | 1.2325e-06 | 7.6542e-07 | 0.042121 | 0.042121 | 0.042121 | 0.98072 | -0.37 | 0.98077 | -0.36907 | 11.5716
19 | 0.017589 | 0.0044121 | -0.017585 | -0.0044096 | 4.2843e-06 | 2.5404e-06 | 0.026715 | 0.026715 | 0.026715 | 0.97975 | -0.38894 | 0.97949 | -0.39405 | 7.3393
20 | -0.028976 | -0.0072744 | 0.028989 | 0.0072823 | 1.2838e-05 | 7.9926e-06 | 0.043967 | 0.043967 | 0.043967 | 0.98077 | -0.36907 | 0.98124 | -0.35978 | 12.0788
21 | 0.015856 | 0.0039762 | -0.015855 | -0.0039757 | 8.9408e-07 | 5.205e-07 | 0.024088 | 0.024088 | 0.024088 | 0.97949 | -0.39405 | 0.97943 | -0.39524 | 6.6177
22 | -0.03029 | -0.0076083 | 0.030295 | 0.0076115 | 5.1175e-06 | 3.1935e-06 | 0.045939 | 0.045939 | 0.045939 | 0.98124 | -0.35978 | 0.98142 | -0.35624 | 12.6207
23 | 0.014745 | 0.0036976 | -0.014742 | -0.0036958 | 3.1881e-06 | 1.8273e-06 | 0.022402 | 0.022403 | 0.022403 | 0.97943 | -0.39524 | 0.9792 | -0.39977 | 6.1545
24 | -0.031575 | -0.0079324 | 0.031581 | 0.0079361 | 6.0353e-06 | 3.7738e-06 | 0.04788 | 0.04788 | 0.04788 | 0.98142 | -0.35624 | 0.98163 | -0.35224 | 13.1539
25 | -0.033288 | -0.0083639 | 0.033303 | 0.0083736 | 1.5558e-05 | 9.7508e-06 | 0.050468 | 0.050467 | 0.050468 | 0.98163 | -0.35224 | 0.98213 | -0.34245 | 13.8647
26 | -0.05697 | -0.014348 | 0.057057 | 0.014404 | 8.7107e-05 | 5.5351e-05 | 0.086179 | 0.086179 | 0.086179 | 0.98396 | -0.30666 | 0.98561 | -0.27474 | 23.6755
27 | 0.0093139 | 0.002335 | -0.0093124 | -0.0023343 | 1.4611e-06 | 6.8901e-07 | 0.014133 | 0.014133 | 0.014133 | 0.98067 | -0.37094 | 0.98051 | -0.37423 | 3.8826
28 | -0.010053 | -0.0025203 | 0.010055 | 0.002521 | 1.3499e-06 | 6.6872e-07 | 0.015255 | 0.015255 | 0.015255 | 0.98067 | -0.37094 | 0.98082 | -0.36812 | 4.1909
29 | -0.012584 | -0.0031546 | 0.012584 | 0.003155 | 8.5281e-07 | 4.6759e-07 | 0.019124 | 0.019124 | 0.019124 | 0.97913 | -0.4012 | 0.9792 | -0.39977 | 5.2538
30 | 0.011026 | 0.0027642 | -0.011024 | -0.002763 | 2.2096e-06 | 1.1503e-06 | 0.016757 | 0.016757 | 0.016757 | 0.97913 | -0.4012 | 0.97891 | -0.4054 | 4.6035
31 | 0.0094175 | 0.0023605 | -0.009416 | -0.0023598 | 1.543e-06 | 7.3514e-07 | 0.014315 | 0.014315 | 0.014315 | 0.97891 | -0.4054 | 0.97874 | -0.40884 | 3.9328
32 | 0.0077271 | 0.0019365 | -0.0077263 | -0.0019362 | 7.8228e-07 | 3.1072e-07 | 0.011748 | 0.011748 | 0.011748 | 0.97874 | -0.40884 | 0.97863 | -0.41097 | 3.2274
33 | 0.0052605 | 0.0013182 | -0.0052603 | -0.0013182 | 1.6632e-07 | 1.9344e-08 | 0.0079985 | 0.0079986 | 0.0079986 | 0.97863 | -0.41097 | 0.9786 | -0.41163 | 2.1974
34 | 0.0032924 | 0.00082496 | -0.0032922 | -0.00082511 | 2.0583e-07 | -1.4339e-07 | 0.0050063 | 0.0050064 | 0.0050064 | 0.9786 | -0.41163 | 0.97853 | -0.41294 | 1.3754
35 | 0.065562 | 0.016713 | -0.065481 | -0.016662 | 8.0733e-05 | 5.139e-05 | 0.099083 | 0.099083 | 0.099083 | 0.98561 | -0.27474 | 0.98428 | -0.30028 | 27.2206
36 | 0.034628 | 0.0087213 | -0.034521 | -0.0086539 | 0.00010733 | 6.7359e-05 | 0.052295 | 0.052296 | 0.052296 | 0.98561 | -0.27474 | 0.98227 | -0.33977 | 14.3669
37 | -0.15725 | -0.039838 | 0.15818 | 0.040432 | 0.00093118 | 0.0005937 | 0.23756 | 0.23756 | 0.23756 | 0.98561 | -0.27474 | 0.99198 | -0.15225 | 32.6314
38 | 0.064026 | 0.016297 | -0.063903 | -0.016219 | 0.00012289 | 7.8208e-05 | 0.096884 | 0.096884 | 0.096884 | 0.98428 | -0.30028 | 0.98222 | -0.34018 | 26.6165
39 | 0.034521 | 0.0086539 | -0.034515 | -0.0086503 | 5.7934e-06 | 3.6363e-06 | 0.052296 | 0.052296 | 0.052296 | 0.98227 | -0.33977 | 0.98209 | -0.34329 | 14.3669
40 | 0.041601 | 0.010434 | -0.04158 | -0.010421 | 2.086e-05 | 1.3166e-05 | 0.062406 | 0.062406 | 0.062406 | 0.99198 | -0.15225 | 0.99144 | -0.16278 | 17.1446
41 | 0.1401 | 0.035616 | -0.13919 | -0.035036 | 0.00091091 | 0.00058017 | 0.21034 | 0.21034 | 0.21034 | 0.99198 | -0.15225 | 0.98494 | -0.2882 | 28.8929
42 | -0.33988 | -0.086483 | 0.3424 | 0.088089 | 0.0025143 | 0.0016062 | 0.5103 | 0.5103 | 0.5103 | 0.99198 | -0.15225 | 1 | 0 | 46.7308
43 | 0.054032 | 0.013608 | -0.053988 | -0.013579 | 4.482e-05 | 2.8465e-05 | 0.082409 | 0.082409 | 0.082409 | 0.97592 | -0.46303 | 0.97503 | -0.48039 | 22.6398
44 | -0.057545 | -0.014488 | 0.057586 | 0.014514 | 4.0627e-05 | 2.5825e-05 | 0.087765 | 0.087765 | 0.087765 | 0.97592 | -0.46303 | 0.97667 | -0.44827 | 24.1112
45 | 0.046567 | 0.011719 | -0.046528 | -0.011695 | 3.9065e-05 | 2.4745e-05 | 0.071084 | 0.071084 | 0.071084 | 0.97503 | -0.48039 | 0.97414 | -0.49796 | 19.5286
46 | -0.057586 | -0.014514 | 0.057611 | 0.01453 | 2.5759e-05 | 1.6374e-05 | 0.087765 | 0.087765 | 0.087765 | 0.97667 | -0.44827 | 0.97715 | -0.43892 | 24.1111
47 | 0.038928 | 0.0097901 | -0.038901 | -0.0097725 | 2.7876e-05 | 1.7579e-05 | 0.059476 | 0.059476 | 0.059476 | 0.97414 | -0.49796 | 0.97338 | -0.51296 | 16.3396
48 | -0.059602 | -0.015029 | 0.059672 | 0.015074 | 7.021e-05 | 4.465e-05 | 0.090795 | 0.090795 | 0.090795 | 0.97715 | -0.43892 | 0.9784 | -0.41434 | 24.9437
49 | 0.037793 | 0.0094948 | -0.037777 | -0.0094851 | 1.5464e-05 | 9.7438e-06 | 0.057782 | 0.057782 | 0.057782 | 0.97338 | -0.51296 | 0.97294 | -0.52154 | 15.8743
50 | -0.0058493 | -0.001466 | 0.0058494 | 0.001466 | 7.2773e-08 | 1.66e-08 | 0.0089564 | 0.0089563 | 0.0089564 | 0.97181 | -0.54405 | 0.97182 | -0.54379 | 2.4605
51 | -0.010164 | -0.0025473 | 0.010165 | 0.0025477 | 8.711e-07 | 4.3865e-07 | 0.015563 | 0.015563 | 0.015563 | 0.97182 | -0.54379 | 0.97191 | -0.54199 | 4.2754
52 | -0.061159 | -0.015446 | 0.061268 | 0.015515 | 0.00010826 | 6.8865e-05 | 0.093057 | 0.093057 | 0.093057 | 0.9784 | -0.41434 | 0.9803 | -0.37748 | 25.5652
53 | 0.036003 | 0.0090404 | -0.035983 | -0.0090281 | 1.9659e-05 | 1.2367e-05 | 0.055069 | 0.055069 | 0.055069 | 0.97294 | -0.52154 | 0.97236 | -0.53299 | 15.1288
54 | 0.0030283 | 0.00075879 | -0.0030281 | -0.00075892 | 1.5073e-07 | -1.3524e-07 | 0.0046363 | 0.0046364 | 0.0046364 | 0.97191 | -0.54199 | 0.97186 | -0.54303 | 1.2737
55 | 0.021921 | 0.0054979 | -0.021913 | -0.005493 | 8.0155e-06 | 4.8949e-06 | 0.033563 | 0.033563 | 0.033563 | 0.97191 | -0.54199 | 0.97152 | -0.54966 | 9.2205
56 | -0.035114 | -0.0088044 | 0.035129 | 0.0088139 | 1.5061e-05 | 9.4666e-06 | 0.053761 | 0.053761 | 0.053761 | 0.97191 | -0.54199 | 0.97236 | -0.53299 | 14.7696
57 | -0.062456 | -0.015813 | 0.062569 | 0.015885 | 0.00011207 | 7.1306e-05 | 0.094862 | 0.094862 | 0.094862 | 0.9803 | -0.37748 | 0.98222 | -0.34018 | 26.061
58 | 0.041529 | 0.01042 | -0.041497 | -0.0104 | 3.1938e-05 | 2.0165e-05 | 0.062745 | 0.062745 | 0.062745 | 0.98494 | -0.2882 | 0.98411 | -0.30435 | 17.2376
59 | 0.050263 | 0.012679 | -0.050121 | -0.012589 | 0.00014226 | 9.0214e-05 | 0.075966 | 0.075966 | 0.075966 | 0.98494 | -0.2882 | 0.9819 | -0.3475 | 20.8698
60 | 0.047399 | 0.011937 | -0.047274 | -0.011857 | 0.00012526 | 7.9337e-05 | 0.07163 | 0.07163 | 0.07163 | 0.98494 | -0.2882 | 0.9821 | -0.34363 | 19.6785
61 | 0.050121 | 0.012589 | -0.050049 | -0.012543 | 7.2271e-05 | 4.5832e-05 | 0.075966 | 0.075966 | 0.075966 | 0.9819 | -0.3475 | 0.98035 | -0.37777 | 20.8698
62 | 0.047274 | 0.011857 | -0.04725 | -0.011842 | 2.4137e-05 | 1.5289e-05 | 0.07163 | 0.07163 | 0.07163 | 0.9821 | -0.34363 | 0.98155 | -0.35435 | 19.6785
63 | 0.034428 | 0.0086305 | -0.034422 | -0.008627 | 5.5537e-06 | 3.4804e-06 | 0.05123 | 0.05123 | 0.05123 | 1 | 0 | 0.99982 | -0.0033862 | 14.0741
64 | 0.020521 | 0.0051443 | -0.02052 | -0.0051438 | 9.3994e-07 | 5.7015e-07 | 0.031432 | 0.031432 | 0.031432 | 0.97152 | -0.54966 | 0.97147 | -0.55062 | 8.6351
65 | 0.019481 | 0.0048832 | -0.019478 | -0.0048813 | 3.0198e-06 | 1.8207e-06 | 0.029839 | 0.029839 | 0.029839 | 0.97147 | -0.55062 | 0.97131 | -0.55388 | 8.1975
66 | 0.009738 | 0.0024407 | -0.0097364 | -0.0024398 | 1.6379e-06 | 8.0539e-07 | 0.014918 | 0.014918 | 0.014918 | 0.97131 | -0.55388 | 0.97113 | -0.55741 | 4.0985
67 | 0.0063139 | 0.0015823 | -0.0063134 | -0.0015821 | 4.7318e-07 | 1.3592e-07 | 0.0096726 | 0.0096727 | 0.0096727 | 0.97131 | -0.55388 | 0.97123 | -0.55545 | 2.6573
68 | 0.0034257 | 0.00085841 | -0.0034255 | -0.00085852 | 1.8768e-07 | -1.0478e-07 | 0.005248 | 0.0052481 | 0.0052481 | 0.97131 | -0.55388 | 0.97125 | -0.55503 | 1.4418
69 | 0.0082802 | 0.0020749 | -0.00828 | -0.0020748 | 1.3902e-07 | 6.0478e-08 | 0.012687 | 0.012687 | 0.012687 | 0.97113 | -0.55741 | 0.97111 | -0.55776 | 3.4855
70 | 0.0053646 | 0.0013443 | -0.0053642 | -0.0013443 | 4.4657e-07 | 6.7669e-08 | 0.008219 | 0.0082191 | 0.0082191 | 0.97123 | -0.55545 | 0.97114 | -0.5572 | 2.258
71 | 0.0072342 | 0.0018127 | -0.0072338 | -0.0018126 | 4.1018e-07 | 1.5238e-07 | 0.011085 | 0.011085 | 0.011085 | 0.97111 | -0.55776 | 0.97105 | -0.55895 | 3.0453
72 | 0.0036047 | 0.00090331 | -0.0036045 | -0.00090338 | 1.5498e-07 | -6.8429e-08 | 0.0055232 | 0.0055232 | 0.0055232 | 0.97114 | -0.5572 | 0.9711 | -0.5581 | 1.5174
73 | 0.0026676 | 0.00066838 | -0.0026675 | -0.00066854 | 1.2097e-07 | -1.6139e-07 | 0.0040877 | 0.0040878 | 0.0040878 | 0.97105 | -0.55895 | 0.971 | -0.5599 | 1.123
74 | 0.0045662 | 0.0011442 | -0.0045661 | -0.0011442 | 1.1903e-07 | -4.0222e-09 | 0.006997 | 0.006997 | 0.006997 | 0.97105 | -0.55895 | 0.97102 | -0.5595 | 1.9223
75 | 0.0023198 | 0.00058122 | -0.0023197 | -0.00058127 | 2.6921e-08 | -5.3044e-08 | 0.0035548 | 0.0035548 | 0.0035548 | 0.97102 | -0.5595 | 0.97101 | -0.55974 | 0.9766
76 | 0.0010233 | 0.00025635 | -0.0010233 | -0.00025646 | 8.4706e-09 | -1.0821e-07 | 0.0015681 | 0.0015681 | 0.0015681 | 0.97101 | -0.55974 | 0.971 | -0.55992 | 0.4308

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37847 | 0.096719

## res_load
| p_mw | q_mvar
0 | 0.0056841 | 0.0014246
1 | 0.0011459 | 0.00028719
2 | 0.0020711 | 0.00051906
3 | 0.00064639 | 0.000162
4 | 0.0023867 | 0.00059817
5 | 0.0013192 | 0.00033063
6 | 0.00060225 | 0.00015094
7 | 0.0052545 | 0.0013169
8 | 0.0021161 | 0.00053033
9 | 0.0024316 | 0.00060941
10 | 0.0021912 | 0.00054918
11 | 0.0015774 | 0.00039533
12 | 0.0018311 | 0.00045892
13 | 0.0012169 | 0.00030498
14 | 0.001729 | 0.00043333
15 | 0.0013006 | 0.00032597
16 | 0.0011097 | 0.00027813
17 | 0.0012802 | 0.00032085
18 | 0.0017068 | 0.00042776
19 | 0.001222 | 0.00030626
20 | 0.0013334 | 0.00033419
21 | 0.00073957 | 0.00018535
22 | 0.00041924 | 0.00010507
23 | 0.00072048 | 0.00018057
24 | 0.0015576 | 0.00039038
25 | 0.0021575 | 0.00054072
26 | 0.0016061 | 0.00040254
27 | 0.0016889 | 0.00042327
28 | 0.0024659 | 0.00061801
29 | 0.0019679 | 0.0004932
30 | 0.0014546 | 0.00036456
31 | 0.0032922 | 0.00082511
32 | 0.0035127 | 0.00088036
33 | 0.0074207 | 0.0018598
34 | 0.0075994 | 0.0019046
35 | 0.0019902 | 0.00049878
36 | 0.0011079 | 0.00027767
37 | 0.0058493 | 0.001466
38 | 0.0043145 | 0.0010813
39 | 0.0014876 | 0.00037282
40 | 0.0017742 | 0.00044466
41 | 0.0011888 | 0.00029795
42 | 0.0013348 | 0.00033454
43 | 0.034515 | 0.0086503
44 | 0.041497 | 0.0104
45 | 0.04725 | 0.011842
46 | 0.050049 | 0.012543
47 | 0.034422 | 0.008627
48 | 0.04158 | 0.010421
49 | 0.00085451 | 0.00021416
50 | 0.0030281 | 0.00075892
51 | 0.0013913 | 0.00034868
52 | 0.0010398 | 0.0002606
53 | 0.0034255 | 0.00085852
54 | 0.0014562 | 0.00036497
55 | 0.00094881 | 0.00023779
56 | 0.0010458 | 0.0002621
57 | 0.0017595 | 0.00044096
58 | 0.0036045 | 0.00090338
59 | 0.0026675 | 0.00066854
60 | 0.0022463 | 0.00056297
61 | 0.0012965 | 0.00032492
62 | 0.0010233 | 0.00025646

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1