## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-100_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-100_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-100_0_2_node_117 | 0.4 | n |  | TRUE
3 | bus_LV_261-100_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-100_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-100_0_2_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_261-100_0_2_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_261-100_0_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_261-100_0_2_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_261-100_0_2_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_261-100_0_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_261-100_0_2_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_261-100_0_2_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_261-100_0_2_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_261-100_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_261-100_0_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_261-100_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_261-100_0_2_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_261-100_0_2_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_261-100_0_2_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_261-100_0_2_node_105 | 0.4 | n |  | TRUE
21 | bus_LV_261-100_0_2_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_261-100_0_2_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_261-100_0_2_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_261-100_0_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_261-100_0_2_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_261-100_0_2_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_261-100_0_2_node_106 | 0.4 | n |  | TRUE
28 | bus_LV_261-100_0_2_node_125 | 0.4 | n |  | TRUE
29 | bus_LV_261-100_0_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_261-100_0_2_node_110 | 0.4 | n |  | TRUE
31 | bus_LV_261-100_0_2_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_261-100_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_261-100_0_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_261-100_0_2_node_108 | 0.4 | n |  | TRUE
35 | bus_LV_261-100_0_2_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_261-100_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_261-100_0_2_node_114 | 0.4 | n |  | TRUE
38 | bus_LV_261-100_0_2_node_111 | 0.4 | n |  | TRUE
39 | bus_LV_261-100_0_2_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_261-100_0_2_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_261-100_0_2_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_261-100_0_2_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_261-100_0_2_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_261-100_0_2_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_261-100_0_2_node_104 | 0.4 | n |  | TRUE
46 | bus_LV_261-100_0_2_node_107 | 0.4 | n |  | TRUE
47 | bus_LV_261-100_0_2_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_261-100_0_2_node_112 | 0.4 | n |  | TRUE
49 | bus_LV_261-100_0_2_node_113 | 0.4 | n |  | TRUE
50 | bus_LV_261-100_0_2_node_116 | 0.4 | n |  | TRUE
51 | bus_MV_524_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-100_0_2_load_0 | 0 | 0.0056058 | 0.0014049 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-100_0_2_load_1 | 1 | 0.0053353 | 0.0013372 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-100_0_2_load_117 | 2 | 0.0053749 | 0.0013471 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-100_0_2_load_3 | 3 | 0.0053209 | 0.0013335 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-100_0_2_load_50 | 9 | 0.002415 | 0.00060526 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-100_0_2_load_41 | 11 | 0.0062307 | 0.0015616 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-100_0_2_load_40 | 13 | 0.013011 | 0.0032607 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-100_0_2_load_51 | 17 | 0.0023051 | 0.00057772 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-100_0_2_load_36 | 19 | 0.0058568 | 0.0014679 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-100_0_2_load_105 | 20 | 0.0044225 | 0.0011084 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-100_0_2_load_84 | 21 | 0.0023977 | 0.00060091 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-100_0_2_load_24 | 22 | 0.01137 | 0.0028497 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-100_0_2_load_27 | 23 | 0.013044 | 0.0032691 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-100_0_2_load_30 | 25 | 0.012874 | 0.0032267 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-100_0_2_load_125 | 28 | 0.0061467 | 0.0015405 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-100_0_2_load_110 | 30 | 0.01669 | 0.004183 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-100_0_2_load_33 | 31 | 0.0064139 | 0.0016075 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-100_0_2_load_34 | 32 | 0.0050797 | 0.0012731 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-100_0_2_load_35 | 33 | 0.010643 | 0.0026675 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-100_0_2_load_108 | 34 | 0.011064 | 0.0027728 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-100_0_2_load_37 | 35 | 0.005106 | 0.0012797 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-100_0_2_load_38 | 36 | 0.0035339 | 0.00088569 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-100_0_2_load_114 | 37 | 0.005235 | 0.001312 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-100_0_2_load_111 | 38 | 0.012173 | 0.003051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-100_0_2_load_49 | 39 | 0.0052094 | 0.0013056 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-100_0_2_load_56 | 40 | 0.0041273 | 0.0010344 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-100_0_2_load_53 | 41 | 0.0038208 | 0.00095757 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-100_0_2_load_54 | 42 | 0.0026778 | 0.00067112 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-100_0_2_load_83 | 43 | 0.0045788 | 0.0011476 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-100_0_2_load_85 | 44 | 0.0024132 | 0.00060481 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-100_0_2_load_104 | 45 | 0.0020876 | 0.00052319 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-100_0_2_load_109 | 47 | 0.013311 | 0.003336 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-100_0_2_load_112 | 48 | 0.011276 | 0.0028261 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-100_0_2_load_113 | 49 | 0.0036041 | 0.00090328 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-100_0_2_load_116 | 50 | 0.0053285 | 0.0013354 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-100_0_2_line_0 |  | 0 | 1 | 0.018596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-100_0_2_line_1 |  | 0 | 2 | 0.01133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-100_0_2_line_2 |  | 1 | 3 | 0.043497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-100_0_2_line_3 |  | 3 | 4 | 0.029026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-100_0_2_line_4 |  | 4 | 5 | 0.010337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-100_0_2_line_5 |  | 4 | 6 | 0.029045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-100_0_2_line_6 |  | 5 | 22 | 0.038279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-100_0_2_line_7 |  | 6 | 25 | 0.01384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-100_0_2_line_8 |  | 6 | 23 | 0.013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-100_0_2_line_9 |  | 7 | 8 | 0.009758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-100_0_2_line_10 |  | 7 | 9 | 0.044082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-100_0_2_line_11 |  | 8 | 40 | 0.035498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-100_0_2_line_12 |  | 9 | 39 | 0.029732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-100_0_2_line_13 |  | 10 | 11 | 0.031834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-100_0_2_line_14 |  | 10 | 12 | 0.073221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-100_0_2_line_15 |  | 10 | 13 | 0.01538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-100_0_2_line_16 |  | 12 | 38 | 0.0050425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-100_0_2_line_17 |  | 12 | 30 | 0.013482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-100_0_2_line_18 |  | 14 | 15 | 0.092788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-100_0_2_line_19 |  | 14 | 16 | 0.020633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-100_0_2_line_20 |  | 14 | 17 | 0.018778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-100_0_2_line_21 |  | 15 | 21 | 0.058311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-100_0_2_line_22 |  | 16 | 18 | 0.035077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-100_0_2_line_23 |  | 16 | 19 | 0.051225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-100_0_2_line_24 |  | 17 | 39 | 0.031954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-100_0_2_line_25 |  | 18 | 20 | 0.025646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-100_0_2_line_26 |  | 19 | 35 | 0.0088304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-100_0_2_line_27 |  | 20 | 45 | 0.0073094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-100_0_2_line_28 |  | 21 | 43 | 0.015247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-100_0_2_line_29 |  | 23 | 24 | 0.017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-100_0_2_line_30 |  | 24 | 26 | 0.012828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-100_0_2_line_31 |  | 25 | 27 | 0.020092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-100_0_2_line_32 |  | 26 | 28 | 0.022944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-100_0_2_line_33 |  | 27 | 46 | 0.006633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-100_0_2_line_34 |  | 27 | 29 | 0.051424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-100_0_2_line_35 |  | 28 | 50 | 0.01842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-100_0_2_line_36 |  | 29 | 30 | 0.015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-100_0_2_line_37 |  | 31 | 32 | 0.016704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-100_0_2_line_38 |  | 32 | 33 | 0.014478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-100_0_2_line_39 |  | 33 | 34 | 0.013946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-100_0_2_line_40 |  | 34 | 46 | 0.01902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-100_0_2_line_41 |  | 35 | 36 | 0.0042398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-100_0_2_line_42 |  | 36 | 37 | 0.022419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-100_0_2_line_43 |  | 37 | 49 | 0.003685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-100_0_2_line_44 |  | 38 | 48 | 0.0034728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-100_0_2_line_45 |  | 40 | 42 | 0.010277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-100_0_2_line_46 |  | 41 | 42 | 0.0057413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-100_0_2_line_47 |  | 43 | 44 | 0.015599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-100_0_2_line_48 |  | 46 | 47 | 0.004111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-100_0_2_line_49 |  | 48 | 49 | 0.019679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-100_0_2_trafo_32 | 0.63 MVA 20/0.4 kV | 51 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2680707.5065 | 1252046.3522 | 2680703.5841 | 1252048.778 | 2680691.7448 | 1252056.2199
1 | 2680718.1342 | 1252050.2803 | 2680707.5065 | 1252046.3522
2 | 2680691.7448 | 1252056.2199 | 2680670.3922 | 1252069.6416 | 2680667.3456 | 1252071.1123 | 2680661.7837 | 1252060.5399 | 2680659.4057 | 1252058.799
3 | 2680657.4127 | 1252087.7562 | 2680659.4057 | 1252058.799
4 | 2680649.3441 | 1252089.9925 | 2680650.5777 | 1252091.9663 | 2680657.4127 | 1252087.7562
5 | 2680672.3341 | 1252112.7 | 2680657.4127 | 1252087.7562
6 | 2680649.3441 | 1252089.9925 | 2680646.6405 | 1252085.6747 | 2680640.1091 | 1252086.9868 | 2680631.1731 | 1252079.7598 | 2680619.4525 | 1252070.35
7 | 2680672.3341 | 1252112.7 | 2680663.9373 | 1252123.7014
8 | 2680672.3341 | 1252112.7 | 2680683.5106 | 1252120.6513
9 | 2680708.4251 | 1252208.5961 | 2680705.292 | 1252205.8959 | 2680701.6066 | 1252201.6314
10 | 2680701.6066 | 1252201.6314 | 2680676.6987 | 1252220.573 | 2680666.4573 | 1252228.2352
11 | 2680708.4251 | 1252208.5961 | 2680707.662 | 1252210.3203 | 2680696.3771 | 1252217.6276 | 2680692.325 | 1252221.442 | 2680691.7989 | 1252225.1598 | 2680697.5967 | 1252234.3288
12 | 2680642.6507 | 1252246.0462 | 2680666.4573 | 1252228.2352
13 | 2680691.0256 | 1252197.7177 | 2680700.3958 | 1252190.2398 | 2680715.5181 | 1252177.3879
14 | 2680654.7737 | 1252197.2795 | 2680663.4404 | 1252203.7689 | 2680666.9615 | 1252199.5915 | 2680669.9832 | 1252198.2872 | 2680672.6067 | 1252199.6128 | 2680673.0411 | 1252202.0761 | 2680671.7203 | 1252204.2931 | 2680669.01 | 1252204.9011 | 2680666.7416 | 1252202.9911 | 2680665.0961 | 1252198.5765 | 2680668.1604 | 1252193.5811 | 2680682.1211 | 1252204.8129 | 2680691.0256 | 1252197.7177
15 | 2680691.0256 | 1252197.7177 | 2680678.8975 | 1252188.2602
16 | 2680654.7737 | 1252197.2795 | 2680652.6807 | 1252201.867
17 | 2680654.7737 | 1252197.2795 | 2680659.6607 | 1252190.9079 | 2680655.4204 | 1252187.481
18 | 2680629.9731 | 1252359.1179 | 2680627.5951 | 1252359.1634 | 2680625.7317 | 1252358.5487 | 2680623.8589 | 1252356.9665 | 2680622.6425 | 1252354.8483 | 2680599.5629 | 1252287.2174 | 2680598.9795 | 1252284.6075 | 2680598.8217 | 1252282.337 | 2680599.1727 | 1252279.8399 | 2680600.0612 | 1252278.3287 | 2680601.6784 | 1252275.96
19 | 2680601.6784 | 1252275.96 | 2680599.3164 | 1252271.5024 | 2680596.3583 | 1252265.9246 | 2680598.4084 | 1252265.5745 | 2680604.9621 | 1252262.6059
20 | 2680601.6784 | 1252275.96 | 2680614.5906 | 1252266.6287 | 2680616.9069 | 1252264.9726
21 | 2680629.9731 | 1252359.1179 | 2680632.3583 | 1252358.5388 | 2680637.1875 | 1252355.291 | 2680674.686 | 1252322.1616
22 | 2680575.2012 | 1252263.8465 | 2680582.0819 | 1252261.2492 | 2680588.4771 | 1252258.8455 | 2680589.2127 | 1252260.8014 | 2680590.3854 | 1252263.3637 | 2680591.9653 | 1252264.8419 | 2680594.3168 | 1252265.6411 | 2680596.3583 | 1252265.9246 | 2680598.4084 | 1252265.5745 | 2680604.9621 | 1252262.6059
23 | 2680604.9621 | 1252262.6059 | 2680600.8636 | 1252257.6353 | 2680599.3036 | 1252258.0255 | 2680597.747 | 1252257.604 | 2680596.6603 | 1252256.4884 | 2680596.2206 | 1252254.9702 | 2680596.6421 | 1252253.3858 | 2680597.6782 | 1252252.1212 | 2680599.3144 | 1252251.6876 | 2680600.9461 | 1252252.1323 | 2680602.1374 | 1252253.3272 | 2680602.5755 | 1252254.9677 | 2680602.1306 | 1252256.5962 | 2680600.9296 | 1252257.7808 | 2680599.2859 | 1252258.2143 | 2680597.6542 | 1252257.7695 | 2680596.4629 | 1252256.5747 | 2680596.0248 | 1252254.9342 | 2680596.4696 | 1252253.3057 | 2680597.5417 | 1252251.619 | 2680600.7073 | 1252247.4923 | 2680606.3961 | 1252240.0832
24 | 2680616.9069 | 1252264.9726 | 2680626.9679 | 1252257.7794 | 2680642.6507 | 1252246.0462
25 | 2680575.2012 | 1252263.8465 | 2680569.0804 | 1252247.7513 | 2680566.1655 | 1252239.845
26 | 2680606.3961 | 1252240.0832 | 2680610.1197 | 1252235.2334 | 2680612.7072 | 1252234.4079
27 | 2680563.637 | 1252232.9868 | 2680566.1655 | 1252239.845
28 | 2680685.9352 | 1252311.8727 | 2680680.2343 | 1252317.2597 | 2680674.686 | 1252322.1616
29 | 2680697.9736 | 1252130.9405 | 2680683.5106 | 1252120.6513
30 | 2680697.9736 | 1252130.9405 | 2680697.223 | 1252128.4173 | 2680697.3795 | 1252125.7952 | 2680698.4239 | 1252123.3743 | 2680700.0865 | 1252121.5511 | 2680702.2538 | 1252120.3575
31 | 2680651.7469 | 1252139.6732 | 2680663.9373 | 1252123.7014
32 | 2680702.2538 | 1252120.3575 | 2680702.3681 | 1252117.5125 | 2680711.503 | 1252099.6125
33 | 2680651.7469 | 1252139.6732 | 2680646.7727 | 1252135.2689
34 | 2680664.8146 | 1252174.9106 | 2680639.747 | 1252155.1436 | 2680651.7469 | 1252139.6732
35 | 2680722.9904 | 1252085.2138 | 2680711.503 | 1252099.6125
36 | 2680664.8146 | 1252174.9106 | 2680655.4204 | 1252187.481
37 | 2680601.3686 | 1252176.5212 | 2680611.3993 | 1252163.1638
38 | 2680620.0931 | 1252151.5867 | 2680611.3993 | 1252163.1638
39 | 2680628.4676 | 1252140.4348 | 2680620.0931 | 1252151.5867
40 | 2680646.7727 | 1252135.2689 | 2680628.4676 | 1252140.4348 | 2680628.4676 | 1252140.4348
41 | 2680616.7464 | 1252233.1192 | 2680612.7072 | 1252234.4079
42 | 2680616.7464 | 1252233.1192 | 2680622.8547 | 1252231.1703 | 2680635.3544 | 1252224.4243 | 2680636.5377 | 1252223.0629
43 | 2680638.9552 | 1252220.2817 | 2680636.5377 | 1252223.0629
44 | 2680651.2391 | 1252205.0265 | 2680652.6807 | 1252201.867
45 | 2680697.5967 | 1252234.3288 | 2680697.8202 | 1252234.6822 | 2680696.8706 | 1252238.461 | 2680700.8397 | 1252242.9111
46 | 2680700.8397 | 1252242.9111 | 2680704.6612 | 1252247.1958
47 | 2680685.9352 | 1252311.8727 | 2680697.2727 | 1252301.1593
48 | 2680643.6928 | 1252132.5361 | 2680646.7727 | 1252135.2689
49 | 2680651.2391 | 1252205.0265 | 2680650.1604 | 1252207.3909 | 2680638.9552 | 1252220.2817

## bus_geodata
| x | y | coords
0 | 2680707.5065 | 1252046.3522
1 | 2680691.7448 | 1252056.2199
2 | 2680718.1342 | 1252050.2803
3 | 2680659.4057 | 1252058.799
4 | 2680657.4127 | 1252087.7562
5 | 2680649.3441 | 1252089.9925
6 | 2680672.3341 | 1252112.7
7 | 2680701.6066 | 1252201.6314
8 | 2680708.4251 | 1252208.5961
9 | 2680666.4573 | 1252228.2352
10 | 2680691.0256 | 1252197.7177
11 | 2680715.5181 | 1252177.3879
12 | 2680654.7737 | 1252197.2795
13 | 2680678.8975 | 1252188.2602
14 | 2680601.6784 | 1252275.96
15 | 2680629.9731 | 1252359.1179
16 | 2680604.9621 | 1252262.6059
17 | 2680616.9069 | 1252264.9726
18 | 2680575.2012 | 1252263.8465
19 | 2680606.3961 | 1252240.0832
20 | 2680566.1655 | 1252239.845
21 | 2680674.686 | 1252322.1616
22 | 2680619.4525 | 1252070.35
23 | 2680683.5106 | 1252120.6513
24 | 2680697.9736 | 1252130.9405
25 | 2680663.9373 | 1252123.7014
26 | 2680702.2538 | 1252120.3575
27 | 2680651.7469 | 1252139.6732
28 | 2680711.503 | 1252099.6125
29 | 2680664.8146 | 1252174.9106
30 | 2680655.4204 | 1252187.481
31 | 2680601.3686 | 1252176.5212
32 | 2680611.3993 | 1252163.1638
33 | 2680620.0931 | 1252151.5867
34 | 2680628.4676 | 1252140.4348
35 | 2680612.7072 | 1252234.4079
36 | 2680616.7464 | 1252233.1192
37 | 2680636.5377 | 1252223.0629
38 | 2680652.6807 | 1252201.867
39 | 2680642.6507 | 1252246.0462
40 | 2680697.5967 | 1252234.3288
41 | 2680704.6612 | 1252247.1958
42 | 2680700.8397 | 1252242.9111
43 | 2680685.9352 | 1252311.8727
44 | 2680697.2727 | 1252301.1593
45 | 2680563.637 | 1252232.9868
46 | 2680646.7727 | 1252135.2689
47 | 2680643.6928 | 1252132.5361
48 | 2680651.2391 | 1252205.0265
49 | 2680638.9552 | 1252220.2817
50 | 2680722.9904 | 1252085.2138
51 | 2680654.7737 | 1252197.2795

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99019 | -0.18878 | 0.0056058 | 0.0014049
1 | 0.99038 | -0.18515 | 0.0053353 | 0.0013372
2 | 0.99014 | -0.18986 | 0.0053749 | 0.0013471
3 | 0.99103 | -0.17254 | 0.0053209 | 0.0013335
4 | 0.99161 | -0.1614 | 0 | 0
5 | 0.9915 | -0.16349 | 0 | 0
6 | 0.99248 | -0.14442 | 0 | 0
7 | 0.98964 | -0.19959 | 0 | 0
8 | 0.98954 | -0.20144 | 0 | 0
9 | 0.99007 | -0.19126 | 0.002415 | 0.00060526
10 | 0.99575 | -0.081595 | 0 | 0
11 | 0.99557 | -0.085083 | 0.0062307 | 0.0015616
12 | 0.99703 | -0.056857 | 0 | 0
13 | 0.99557 | -0.085113 | 0.013011 | 0.0032607
14 | 0.99131 | -0.16716 | 0 | 0
15 | 0.99051 | -0.18263 | 0 | 0
16 | 0.99188 | -0.1562 | 0 | 0
17 | 0.99096 | -0.17401 | 0.0023051 | 0.00057772
18 | 0.99167 | -0.16025 | 0 | 0
19 | 0.99359 | -0.12316 | 0.0058568 | 0.0014679
20 | 0.99152 | -0.16321 | 0.0044225 | 0.0011084
21 | 0.99001 | -0.19236 | 0.0023977 | 0.00060091
22 | 0.9911 | -0.17121 | 0.01137 | 0.0028497
23 | 0.99218 | -0.15037 | 0.013044 | 0.0032691
24 | 0.99199 | -0.15398 | 0 | 0
25 | 0.99321 | -0.13034 | 0.012874 | 0.0032267
26 | 0.99185 | -0.15659 | 0 | 0
27 | 0.9945 | -0.10538 | 0 | 0
28 | 0.99161 | -0.16126 | 0.0061467 | 0.0015405
29 | 1 | 0 | -0.23919 | -0.060085
30 | 0.99829 | -0.032658 | 0.01669 | 0.004183
31 | 0.99312 | -0.13224 | 0.0064139 | 0.0016075
32 | 0.99321 | -0.13035 | 0.0050797 | 0.0012731
33 | 0.99337 | -0.12741 | 0.010643 | 0.0026675
34 | 0.99365 | -0.12196 | 0.011064 | 0.0027728
35 | 0.99393 | -0.11656 | 0.005106 | 0.0012797
36 | 0.99411 | -0.11301 | 0.0035339 | 0.00088569
37 | 0.99516 | -0.092883 | 0.005235 | 0.001312
38 | 0.99665 | -0.064221 | 0.012173 | 0.003051
39 | 0.99042 | -0.18437 | 0.0052094 | 0.0013056
40 | 0.9892 | -0.20816 | 0.0041273 | 0.0010344
41 | 0.98912 | -0.20974 | 0.0038208 | 0.00095757
42 | 0.98914 | -0.20935 | 0.0026778 | 0.00067112
43 | 0.98991 | -0.19426 | 0.0045788 | 0.0011476
44 | 0.98988 | -0.19493 | 0.0024132 | 0.00060481
45 | 0.9915 | -0.16348 | 0.0020876 | 0.00052319
46 | 0.99422 | -0.11082 | 0 | 0
47 | 0.99417 | -0.11178 | 0.013311 | 0.003336
48 | 0.99642 | -0.068554 | 0.011276 | 0.0028261
49 | 0.99535 | -0.089238 | 0.0036041 | 0.00090328
50 | 0.99152 | -0.163 | 0.0053285 | 0.0013354
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010981 | -0.0027521 | 0.010983 | 0.002753 | 1.8989e-06 | 9.7605e-07 | 0.016502 | 0.016502 | 0.016502 | 0.99019 | -0.18878 | 0.99038 | -0.18515 | 4.5334
1 | 0.0053752 | 0.0013471 | -0.0053749 | -0.0013471 | 2.7723e-07 | 3.1689e-08 | 0.0080776 | 0.0080776 | 0.0080776 | 0.99019 | -0.18878 | 0.99014 | -0.18986 | 2.2191
2 | -0.016318 | -0.0040902 | 0.016328 | 0.0040959 | 9.805e-06 | 5.7151e-06 | 0.024518 | 0.024518 | 0.024518 | 0.99038 | -0.18515 | 0.99103 | -0.17254 | 6.7356
3 | -0.021649 | -0.0054295 | 0.02166 | 0.0054364 | 1.1502e-05 | 6.9869e-06 | 0.032507 | 0.032507 | 0.032507 | 0.99103 | -0.17254 | 0.99161 | -0.1614 | 8.9304
4 | 0.011376 | 0.0028525 | -0.011375 | -0.0028519 | 1.1297e-06 | 5.8965e-07 | 0.017071 | 0.017071 | 0.017071 | 0.99161 | -0.1614 | 0.9915 | -0.16349 | 4.6899
5 | -0.033036 | -0.0082889 | 0.033063 | 0.0083057 | 2.6772e-05 | 1.6759e-05 | 0.049578 | 0.049578 | 0.049578 | 0.99161 | -0.1614 | 0.99248 | -0.14442 | 13.6203
6 | 0.011375 | 0.0028519 | -0.01137 | -0.0028497 | 4.1834e-06 | 2.1839e-06 | 0.017071 | 0.017071 | 0.017071 | 0.9915 | -0.16349 | 0.9911 | -0.17121 | 4.6899
7 | -0.057595 | -0.014458 | 0.057634 | 0.014483 | 3.8706e-05 | 2.4593e-05 | 0.08636 | 0.08636 | 0.08636 | 0.99248 | -0.14442 | 0.99321 | -0.13034 | 23.7253
8 | 0.024532 | 0.0061525 | -0.024525 | -0.0061482 | 6.959e-06 | 4.2766e-06 | 0.036782 | 0.036782 | 0.036782 | 0.99248 | -0.14442 | 0.99218 | -0.15037 | 10.1051
9 | 0.010631 | 0.0026654 | -0.01063 | -0.0026649 | 9.3496e-07 | 4.7301e-07 | 0.015985 | 0.015985 | 0.015985 | 0.98964 | -0.19959 | 0.98954 | -0.20144 | 4.3914
10 | -0.010631 | -0.0026654 | 0.010635 | 0.0026675 | 4.2237e-06 | 2.1365e-06 | 0.015985 | 0.015984 | 0.015985 | 0.98964 | -0.19959 | 0.99007 | -0.19126 | 4.3913
11 | 0.01063 | 0.0026649 | -0.010626 | -0.0026632 | 3.4012e-06 | 1.7209e-06 | 0.015985 | 0.015985 | 0.015985 | 0.98954 | -0.20144 | 0.9892 | -0.20816 | 4.3914
12 | -0.01305 | -0.0032727 | 0.013054 | 0.0032751 | 4.2892e-06 | 2.3626e-06 | 0.019614 | 0.019614 | 0.019614 | 0.99007 | -0.19126 | 0.99042 | -0.18437 | 5.3884
13 | 0.0062318 | 0.0015618 | -0.0062307 | -0.0015616 | 1.0353e-06 | 2.4857e-07 | 0.0093125 | 0.0093127 | 0.0093127 | 0.99575 | -0.081595 | 0.99557 | -0.085083 | 2.5584
14 | -0.019244 | -0.0048238 | 0.019267 | 0.0048373 | 2.2709e-05 | 1.358e-05 | 0.028759 | 0.028758 | 0.028759 | 0.99575 | -0.081595 | 0.99703 | -0.056857 | 7.9007
15 | 0.013013 | 0.0032619 | -0.013011 | -0.0032607 | 2.1809e-06 | 1.1958e-06 | 0.019446 | 0.019446 | 0.019446 | 0.99575 | -0.081595 | 0.99557 | -0.085113 | 5.3423
16 | 0.083541 | 0.021047 | -0.083512 | -0.021028 | 2.9413e-05 | 1.8759e-05 | 0.12472 | 0.12472 | 0.12472 | 0.99703 | -0.056857 | 0.99665 | -0.064221 | 34.2636
17 | -0.10281 | -0.025884 | 0.10293 | 0.02596 | 0.00011909 | 7.6041e-05 | 0.15348 | 0.15348 | 0.15348 | 0.99703 | -0.056857 | 0.99829 | -0.032658 | 42.1642
18 | 0.0094017 | 0.0023586 | -0.0093948 | -0.0023554 | 6.931e-06 | 3.2406e-06 | 0.014113 | 0.014114 | 0.014114 | 0.99131 | -0.16716 | 0.99051 | -0.18263 | 3.8774
19 | -0.029986 | -0.0075265 | 0.030002 | 0.0075362 | 1.5678e-05 | 9.768e-06 | 0.045015 | 0.045015 | 0.045015 | 0.99131 | -0.16716 | 0.99188 | -0.1562 | 12.3667
20 | 0.020584 | 0.0051678 | -0.020578 | -0.0051638 | 6.7244e-06 | 4.0616e-06 | 0.030902 | 0.030902 | 0.030902 | 0.99131 | -0.16716 | 0.99096 | -0.17401 | 8.4894
21 | 0.0093948 | 0.0023554 | -0.0093904 | -0.0023533 | 4.3559e-06 | 2.0376e-06 | 0.014114 | 0.014114 | 0.014114 | 0.99051 | -0.18263 | 0.99001 | -0.19236 | 3.8775
22 | 0.0065122 | 0.0016321 | -0.006511 | -0.0016317 | 1.2555e-06 | 3.5088e-07 | 0.0097697 | 0.0097698 | 0.0097698 | 0.99188 | -0.1562 | 0.99167 | -0.16025 | 2.684
23 | -0.036514 | -0.0091683 | 0.036572 | 0.0092046 | 5.7653e-05 | 3.6236e-05 | 0.054784 | 0.054784 | 0.054784 | 0.99188 | -0.1562 | 0.99359 | -0.12316 | 15.0507
24 | 0.018273 | 0.0045861 | -0.018263 | -0.0045807 | 9.0227e-06 | 5.3631e-06 | 0.02744 | 0.02744 | 0.02744 | 0.99096 | -0.17401 | 0.99042 | -0.18437 | 7.5386
25 | 0.006511 | 0.0016317 | -0.0065101 | -0.0016315 | 9.1798e-07 | 2.5668e-07 | 0.0097698 | 0.0097699 | 0.0097699 | 0.99167 | -0.16025 | 0.99152 | -0.16321 | 2.684
26 | -0.042428 | -0.010672 | 0.042442 | 0.010681 | 1.3376e-05 | 8.446e-06 | 0.063555 | 0.063555 | 0.063555 | 0.99359 | -0.12316 | 0.99393 | -0.11656 | 17.4603
27 | 0.0020876 | 0.00052312 | -0.0020876 | -0.00052319 | 2.6904e-08 | -7.7054e-08 | 0.0031329 | 0.003133 | 0.003133 | 0.99152 | -0.16321 | 0.9915 | -0.16348 | 0.8607
28 | 0.0069928 | 0.0017524 | -0.0069921 | -0.0017522 | 6.3161e-07 | 2.0819e-07 | 0.01051 | 0.01051 | 0.01051 | 0.99001 | -0.19236 | 0.98991 | -0.19426 | 2.8875
29 | 0.011482 | 0.0028791 | -0.01148 | -0.0028781 | 1.9737e-06 | 1.034e-06 | 0.01722 | 0.01722 | 0.01722 | 0.99218 | -0.15037 | 0.99199 | -0.15398 | 4.7308
30 | 0.01148 | 0.0028781 | -0.011478 | -0.0028773 | 1.4265e-06 | 7.4736e-07 | 0.01722 | 0.01722 | 0.01722 | 0.99199 | -0.15398 | 0.99185 | -0.15659 | 4.7308
31 | -0.070508 | -0.017709 | 0.070593 | 0.017763 | 8.4098e-05 | 5.3563e-05 | 0.10565 | 0.10565 | 0.10565 | 0.99321 | -0.13034 | 0.9945 | -0.10538 | 29.0243
32 | 0.011478 | 0.0028773 | -0.011476 | -0.002876 | 2.5513e-06 | 1.3368e-06 | 0.01722 | 0.01722 | 0.01722 | 0.99185 | -0.15659 | 0.99161 | -0.16126 | 4.7309
33 | 0.04655 | 0.01168 | -0.046537 | -0.011673 | 1.2068e-05 | 7.6375e-06 | 0.069654 | 0.069654 | 0.069654 | 0.9945 | -0.10538 | 0.99422 | -0.11082 | 19.1357
34 | -0.11714 | -0.029443 | 0.11773 | 0.029822 | 0.00059261 | 0.0003786 | 0.1753 | 0.1753 | 0.1753 | 0.9945 | -0.10538 | 1 | 0 | 48.16
35 | 0.0053289 | 0.0013355 | -0.0053285 | -0.0013354 | 4.4169e-07 | 4.5089e-08 | 0.0079965 | 0.0079966 | 0.0079966 | 0.99161 | -0.16126 | 0.99152 | -0.163 | 2.1969
36 | 0.11981 | 0.030263 | -0.11962 | -0.030143 | 0.0001872 | 0.0001196 | 0.17836 | 0.17836 | 0.17836 | 1 | 0 | 0.99829 | -0.032658 | 48.9987
37 | -0.0064139 | -0.0016075 | 0.0064145 | 0.0016076 | 5.7852e-07 | 1.5409e-07 | 0.0096101 | 0.0096101 | 0.0096101 | 0.99312 | -0.13224 | 0.99321 | -0.13035 | 2.6401
38 | -0.011494 | -0.0028807 | 0.011496 | 0.0028816 | 1.61e-06 | 8.4299e-07 | 0.01722 | 0.01722 | 0.01722 | 0.99321 | -0.13035 | 0.99337 | -0.12741 | 4.7309
39 | -0.022139 | -0.005549 | 0.022145 | 0.0055525 | 5.7518e-06 | 3.5006e-06 | 0.033163 | 0.033163 | 0.033163 | 0.99337 | -0.12741 | 0.99365 | -0.12196 | 9.1108
40 | -0.033208 | -0.0083253 | 0.033226 | 0.0083364 | 1.764e-05 | 1.1043e-05 | 0.049731 | 0.049731 | 0.049731 | 0.99365 | -0.12196 | 0.99422 | -0.11082 | 13.6625
41 | -0.047548 | -0.011961 | 0.047556 | 0.011966 | 8.06e-06 | 5.1035e-06 | 0.0712 | 0.0712 | 0.0712 | 0.99393 | -0.11656 | 0.99411 | -0.11301 | 19.5603
42 | -0.05109 | -0.012851 | 0.051139 | 0.012883 | 4.9187e-05 | 3.1189e-05 | 0.076489 | 0.076489 | 0.076489 | 0.99411 | -0.11301 | 0.99516 | -0.092883 | 21.0135
43 | -0.056374 | -0.014195 | 0.056384 | 0.014201 | 9.8243e-06 | 6.2397e-06 | 0.084317 | 0.084317 | 0.084317 | 0.99516 | -0.092883 | 0.99535 | -0.089238 | 23.164
44 | 0.071338 | 0.017977 | -0.071324 | -0.017968 | 1.4783e-05 | 9.416e-06 | 0.10654 | 0.10654 | 0.10654 | 0.99665 | -0.064221 | 0.99642 | -0.068554 | 29.2704
45 | 0.006499 | 0.0016288 | -0.0064986 | -0.0016287 | 3.6835e-07 | 1.0382e-07 | 0.0097762 | 0.0097762 | 0.0097762 | 0.9892 | -0.20816 | 0.98914 | -0.20935 | 2.6858
46 | -0.0038208 | -0.00095757 | 0.0038208 | 0.00095754 | 7.1131e-08 | -2.8169e-08 | 0.0057479 | 0.0057479 | 0.0057479 | 0.98912 | -0.20974 | 0.98914 | -0.20935 | 1.5791
47 | 0.0024133 | 0.00060466 | -0.0024132 | -0.00060481 | 7.6976e-08 | -1.5126e-07 | 0.0036276 | 0.0036276 | 0.0036276 | 0.98991 | -0.19426 | 0.98988 | -0.19493 | 0.9966
48 | 0.013311 | 0.0033363 | -0.013311 | -0.003336 | 6.119e-07 | 3.383e-07 | 0.019923 | 0.019923 | 0.019923 | 0.99422 | -0.11082 | 0.99417 | -0.11178 | 5.4733
49 | 0.060047 | 0.015142 | -0.059988 | -0.015104 | 5.9383e-05 | 3.7749e-05 | 0.089705 | 0.089705 | 0.089705 | 0.99642 | -0.068554 | 0.99535 | -0.089238 | 24.6442

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23919 | 0.060085

## res_load
| p_mw | q_mvar
0 | 0.0056058 | 0.0014049
1 | 0.0053353 | 0.0013372
2 | 0.0053749 | 0.0013471
3 | 0.0053209 | 0.0013335
4 | 0.002415 | 0.00060526
5 | 0.0062307 | 0.0015616
6 | 0.013011 | 0.0032607
7 | 0.0023051 | 0.00057772
8 | 0.0058568 | 0.0014679
9 | 0.0044225 | 0.0011084
10 | 0.0023977 | 0.00060091
11 | 0.01137 | 0.0028497
12 | 0.013044 | 0.0032691
13 | 0.012874 | 0.0032267
14 | 0.0061467 | 0.0015405
15 | 0.01669 | 0.004183
16 | 0.0064139 | 0.0016075
17 | 0.0050797 | 0.0012731
18 | 0.010643 | 0.0026675
19 | 0.011064 | 0.0027728
20 | 0.005106 | 0.0012797
21 | 0.0035339 | 0.00088569
22 | 0.005235 | 0.001312
23 | 0.012173 | 0.003051
24 | 0.0052094 | 0.0013056
25 | 0.0041273 | 0.0010344
26 | 0.0038208 | 0.00095757
27 | 0.0026778 | 0.00067112
28 | 0.0045788 | 0.0011476
29 | 0.0024132 | 0.00060481
30 | 0.0020876 | 0.00052319
31 | 0.013311 | 0.003336
32 | 0.011276 | 0.0028261
33 | 0.0036041 | 0.00090328
34 | 0.0053285 | 0.0013354

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1