## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-105_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-105_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-105_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-105_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_261-105_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-105_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-105_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-105_0_2_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_261-105_0_2_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_261-105_0_2_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_261-105_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_261-105_0_2_node_130 | 0.4 | n |  | TRUE
12 | bus_LV_261-105_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-105_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-105_0_2_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_261-105_0_2_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_261-105_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-105_0_2_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_261-105_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_261-105_0_2_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_261-105_0_2_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_261-105_0_2_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_261-105_0_2_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_261-105_0_2_node_129 | 0.4 | n |  | TRUE
24 | bus_LV_261-105_0_2_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_261-105_0_2_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_261-105_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_261-105_0_2_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_261-105_0_2_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_261-105_0_2_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_261-105_0_2_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_261-105_0_2_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_261-105_0_2_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_261-105_0_2_node_134 | 0.4 | n |  | TRUE
34 | bus_LV_261-105_0_2_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_261-105_0_2_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_261-105_0_2_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_261-105_0_2_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_261-105_0_2_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_261-105_0_2_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_261-105_0_2_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_261-105_0_2_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_261-105_0_2_node_135 | 0.4 | n |  | TRUE
43 | bus_MV_518_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-105_0_2_load_0 | 0 | 0.0097346 | 0.0024397 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-105_0_2_load_1 | 1 | 0.013815 | 0.0034625 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-105_0_2_load_5 | 5 | 0.010343 | 0.0025922 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-105_0_2_load_40 | 7 | 0.019643 | 0.0049231 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-105_0_2_load_41 | 9 | 0.0058595 | 0.0014685 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-105_0_2_load_130 | 11 | 0.0076718 | 0.0019227 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-105_0_2_load_82 | 14 | 0.0011328 | 0.00028391 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-105_0_2_load_81 | 15 | 0.011574 | 0.0029007 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-105_0_2_load_47 | 19 | 0.017221 | 0.004316 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-105_0_2_load_45 | 20 | 0.0061126 | 0.001532 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-105_0_2_load_42 | 21 | 0.0052156 | 0.0013071 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-105_0_2_load_129 | 23 | 0.0089121 | 0.0022336 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-105_0_2_load_54 | 25 | 0.0096427 | 0.0024167 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-105_0_2_load_53 | 27 | 0.0085181 | 0.0021348 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-105_0_2_load_50 | 28 | 0.0084095 | 0.0021076 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-105_0_2_load_46 | 29 | 0.0060054 | 0.0015051 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-105_0_2_load_52 | 31 | 0.0086419 | 0.0021659 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-105_0_2_load_55 | 32 | 0.013053 | 0.0032715 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-105_0_2_load_134 | 33 | 0.00067074 | 0.0001681 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-105_0_2_load_57 | 36 | 0.014353 | 0.0035972 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-105_0_2_load_43 | 37 | 0.0041229 | 0.0010333 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-105_0_2_load_44 | 38 | 0.0035438 | 0.00088815 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-105_0_2_load_49 | 39 | 0.0084573 | 0.0021196 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-105_0_2_load_51 | 40 | 0.0082501 | 0.0020677 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-105_0_2_load_56 | 41 | 0.0096816 | 0.0024264 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-105_0_2_load_135 | 42 | 0.013664 | 0.0034244 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-105_0_2_line_0 |  | 0 | 1 | 0.02123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-105_0_2_line_1 |  | 1 | 2 | 0.022834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-105_0_2_line_2 |  | 2 | 6 | 0.051932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-105_0_2_line_3 |  | 3 | 4 | 0.029254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-105_0_2_line_4 |  | 3 | 5 | 0.0076206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-105_0_2_line_5 |  | 4 | 7 | 0.024442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-105_0_2_line_6 |  | 4 | 8 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-105_0_2_line_7 |  | 5 | 9 | 0.025041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-105_0_2_line_8 |  | 6 | 10 | 0.095873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-105_0_2_line_9 |  | 6 | 11 | 0.023598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-105_0_2_line_10 |  | 8 | 30 | 0.009162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-105_0_2_line_11 |  | 8 | 31 | 0.0066265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-105_0_2_line_12 |  | 9 | 36 | 0.029071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-105_0_2_line_13 |  | 10 | 22 | 0.28174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-105_0_2_line_14 |  | 10 | 23 | 0.012013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-105_0_2_line_15 |  | 11 | 29 | 0.012485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-105_0_2_line_16 |  | 12 | 13 | 0.12979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-105_0_2_line_17 |  | 12 | 14 | 0.042469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-105_0_2_line_18 |  | 13 | 15 | 0.024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-105_0_2_line_19 |  | 15 | 39 | 0.00048183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-105_0_2_line_20 |  | 16 | 17 | 0.00154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-105_0_2_line_21 |  | 16 | 18 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_261-105_0_2_line_22 |  | 16 | 19 | 0.033892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-105_0_2_line_23 |  | 17 | 39 | 0.020748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-105_0_2_line_24 |  | 17 | 24 | 0.025846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-105_0_2_line_25 |  | 18 | 20 | 0.0081922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-105_0_2_line_26 |  | 18 | 21 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-105_0_2_line_27 |  | 20 | 29 | 0.011636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-105_0_2_line_28 |  | 21 | 37 | 0.0088732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-105_0_2_line_29 |  | 22 | 35 | 0.44414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-105_0_2_line_30 |  | 24 | 25 | 0.0075013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-105_0_2_line_31 |  | 25 | 27 | 0.0083679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-105_0_2_line_32 |  | 26 | 27 | 0.013047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-105_0_2_line_33 |  | 26 | 28 | 0.024656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-105_0_2_line_34 |  | 28 | 40 | 0.015325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-105_0_2_line_35 |  | 30 | 32 | 0.016251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-105_0_2_line_36 |  | 31 | 40 | 0.014686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-105_0_2_line_37 |  | 32 | 41 | 0.033553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-105_0_2_line_38 |  | 33 | 34 | 0.022275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-105_0_2_line_39 |  | 34 | 35 | 0.15002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-105_0_2_line_40 |  | 35 | 42 | 0.10902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-105_0_2_line_41 |  | 37 | 38 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-105_0_2_trafo_44 | 0.63 MVA 20/0.4 kV | 43 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2679822.8423 | 1250369.4103 | 2679801.9338 | 1250373.092
1 | 2679780.4532 | 1250380.4236 | 2679794.4029 | 1250374.4181 | 2679801.9338 | 1250373.092
2 | 2679780.4532 | 1250380.4236 | 2679783.8635 | 1250388.9869 | 2679786.4129 | 1250392.535 | 2679789.8445 | 1250394.4715 | 2679794.4694 | 1250395.8236 | 2679817.615 | 1250394.8345 | 2679822.517 | 1250399.1481
3 | 2679982.6569 | 1250333.4805 | 2679979.0313 | 1250342.5494 | 2679984.9563 | 1250361.1208
4 | 2679982.6569 | 1250333.4805 | 2679989.738 | 1250330.6644
5 | 2679984.9563 | 1250361.1208 | 2679982.12 | 1250360.9379 | 2679967.0015 | 1250365.1482 | 2679961.2565 | 1250366.5158
6 | 2679984.9563 | 1250361.1208 | 2679986.9872 | 1250367.2638 | 2679989.4606 | 1250374.7472
7 | 2679989.738 | 1250330.6644 | 2679993.4734 | 1250329.1788 | 2680013.2617 | 1250322.0863
8 | 2679743.5419 | 1250420.8567 | 2679747.8469 | 1250417.3676 | 2679750.5868 | 1250414.0465 | 2679753.1077 | 1250409.6105 | 2679753.948 | 1250405.5188 | 2679754.5382 | 1250400.9344 | 2679759.87 | 1250399.683 | 2679768.8749 | 1250397.5804 | 2679776.1379 | 1250395.888 | 2679778.723 | 1250399.5811 | 2679780.4555 | 1250400.9943 | 2679783.6632 | 1250402.7388 | 2679787.1419 | 1250403.9865 | 2679790.596 | 1250404.2555 | 2679794.4091 | 1250404.2179 | 2679805.9142 | 1250402.5827 | 2679822.517 | 1250399.1481
9 | 2679822.517 | 1250399.1481 | 2679845.4966 | 1250393.7793
10 | 2679989.4606 | 1250374.7472 | 2679998.1818 | 1250371.8627
11 | 2679989.4606 | 1250374.7472 | 2679983.1326 | 1250376.7135
12 | 2680040.2928 | 1250311.3967 | 2680040.2199 | 1250311.4301 | 2680017.1813 | 1250320.6814 | 2680013.2617 | 1250322.0863
13 | 2679743.5419 | 1250420.8567 | 2679747.8469 | 1250417.3676 | 2679750.5868 | 1250414.0465 | 2679753.1077 | 1250409.6105 | 2679753.948 | 1250405.5188 | 2679754.5382 | 1250400.9344 | 2679753.8223 | 1250394.1087 | 2679733.6154 | 1250304.0928 | 2679732.3803 | 1250299.3838 | 2679729.026 | 1250281.5923 | 2679725.4659 | 1250262.8306 | 2679728.2518 | 1250262.2676 | 2679735.8519 | 1250260.7799 | 2679739.652 | 1250260.0304 | 2679740.6437 | 1250259.8325 | 2679741.167 | 1250261.8966 | 2679745.4501 | 1250261.1648 | 2679757.3713 | 1250311.073 | 2679779.6136 | 1250306.5468 | 2679792.8923 | 1250303.8457 | 2679800.0531 | 1250302.4633
14 | 2679743.5419 | 1250420.8567 | 2679743.3663 | 1250420.9989 | 2679732.7915 | 1250426.2062
15 | 2679857.6547 | 1250390.9388 | 2679845.4966 | 1250393.7793
16 | 2679895.126 | 1250445.3381 | 2679904.7068 | 1250475.5339 | 2679915.7074 | 1250500.6563 | 2679926.5164 | 1250525.4203 | 2679907.4772 | 1250539.3517 | 2679895.4826 | 1250552.1105 | 2679895.1765 | 1250554.6527
17 | 2679895.1765 | 1250554.6527 | 2679934.4267 | 1250549.0333 | 2679937.243 | 1250548.9122
18 | 2679895.126 | 1250445.3381 | 2679887.9948 | 1250421.4171
19 | 2679887.8572 | 1250420.9553 | 2679887.9948 | 1250421.4171
20 | 2679881.9298 | 1250401.0721 | 2679880.4299 | 1250401.441
21 | 2679876.9632 | 1250386.4277 | 2679878.6537 | 1250393.7559 | 2679880.4299 | 1250401.441
22 | 2679880.4299 | 1250401.441 | 2679847.5015 | 1250409.4651
23 | 2679881.9298 | 1250401.0721 | 2679887.8572 | 1250420.9553
24 | 2679881.9298 | 1250401.0721 | 2679907.1579 | 1250395.1299
25 | 2679876.9632 | 1250386.4277 | 2679868.9858 | 1250388.2915
26 | 2679876.9632 | 1250386.4277 | 2679890.3492 | 1250383.3166
27 | 2679868.9858 | 1250388.2915 | 2679857.6547 | 1250390.9388
28 | 2679890.3492 | 1250383.3166 | 2679898.992 | 1250381.3078
29 | 2679800.0531 | 1250302.4633 | 2679861.9116 | 1250290.4876 | 2679952.6368 | 1250270.4291 | 2679992.0729 | 1250255.6613 | 2680030.8465 | 1250239.0836 | 2680077.2913 | 1250211.8796 | 2680122.1337 | 1250176.4705 | 2680124.7594 | 1250174.36 | 2680117.6706 | 1250164.8239 | 2680071.5827 | 1250108.6153 | 2680072.4651 | 1250103.6569
30 | 2679907.1579 | 1250395.1299 | 2679908.5534 | 1250398.0176 | 2679912.7487 | 1250397.1013
31 | 2679920.9239 | 1250395.3158 | 2679912.7487 | 1250397.1013
32 | 2679930.0746 | 1250389.8461 | 2679930.3229 | 1250393.2631 | 2679920.9239 | 1250395.3158
33 | 2679930.0746 | 1250389.8461 | 2679954.0444 | 1250384.0682
34 | 2679968.9425 | 1250380.4771 | 2679954.0444 | 1250384.0682
35 | 2679998.1818 | 1250371.8627 | 2680013.4333 | 1250366.2503
36 | 2679983.1326 | 1250376.7135 | 2679979.1043 | 1250377.9653 | 2679970.0445 | 1250380.2114 | 2679968.9425 | 1250380.4771
37 | 2680044.9218 | 1250354.6629 | 2680013.4333 | 1250366.2503
38 | 2679967.7056 | 1250123.9578 | 2679977.4036 | 1250138.2213 | 2679978.9772 | 1250143.0128
39 | 2679967.7056 | 1250123.9578 | 2680008.0316 | 1250091.4446 | 2680016.6302 | 1250073.0694 | 2680030.1465 | 1250071.2727 | 2680032.0604 | 1250065.9725 | 2680038.5865 | 1250067.4394 | 2680040.9326 | 1250069.2613 | 2680059.4028 | 1250083.5991 | 2680073.3634 | 1250098.6432 | 2680072.4651 | 1250103.6569
40 | 2680072.4651 | 1250103.6569 | 2679987.5063 | 1250172.2716
41 | 2679911.499 | 1250378.401 | 2679898.992 | 1250381.3078

## bus_geodata
| x | y | coords
0 | 2679822.8423 | 1250369.4103
1 | 2679801.9338 | 1250373.092
2 | 2679780.4532 | 1250380.4236
3 | 2679982.6569 | 1250333.4805
4 | 2679984.9563 | 1250361.1208
5 | 2679989.738 | 1250330.6644
6 | 2679822.517 | 1250399.1481
7 | 2679961.2565 | 1250366.5158
8 | 2679989.4606 | 1250374.7472
9 | 2680013.2617 | 1250322.0863
10 | 2679743.5419 | 1250420.8567
11 | 2679845.4966 | 1250393.7793
12 | 2679895.1765 | 1250554.6527
13 | 2679895.126 | 1250445.3381
14 | 2679937.243 | 1250548.9122
15 | 2679887.9948 | 1250421.417
16 | 2679880.4299 | 1250401.441
17 | 2679881.9298 | 1250401.0721
18 | 2679876.9632 | 1250386.4277
19 | 2679847.5015 | 1250409.4651
20 | 2679868.9858 | 1250388.2915
21 | 2679890.3492 | 1250383.3166
22 | 2679800.0531 | 1250302.4633
23 | 2679732.7915 | 1250426.2062
24 | 2679907.1579 | 1250395.1299
25 | 2679912.7487 | 1250397.1013
26 | 2679930.0746 | 1250389.8461
27 | 2679920.9239 | 1250395.3158
28 | 2679954.0444 | 1250384.0682
29 | 2679857.6547 | 1250390.9388
30 | 2679998.1818 | 1250371.8627
31 | 2679983.1326 | 1250376.7135
32 | 2680013.4333 | 1250366.2503
33 | 2679978.9772 | 1250143.0128
34 | 2679967.7056 | 1250123.9578
35 | 2680072.4651 | 1250103.6569
36 | 2680040.2928 | 1250311.3967
37 | 2679898.992 | 1250381.3078
38 | 2679911.499 | 1250378.401
39 | 2679887.8572 | 1250420.9553
40 | 2679968.9425 | 1250380.4771
41 | 2680044.9218 | 1250354.6629
42 | 2679987.5063 | 1250172.2716
43 | 2679876.9632 | 1250386.4277

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99174 | -0.15838 | 0.0097346 | 0.0024397
1 | 0.99193 | -0.15472 | 0.013815 | 0.0034625
2 | 0.99242 | -0.1452 | 0 | 0
3 | 0.9829 | -0.3292 | 0 | 0
4 | 0.98373 | -0.31308 | 0 | 0
5 | 0.98269 | -0.3334 | 0.010343 | 0.0025922
6 | 0.99354 | -0.12358 | 0 | 0
7 | 0.98329 | -0.32174 | 0.019643 | 0.0049231
8 | 0.98439 | -0.30012 | 0 | 0
9 | 0.98222 | -0.34254 | 0.0058595 | 0.0014685
10 | 0.99149 | -0.16307 | 0 | 0
11 | 0.99455 | -0.10408 | 0.0076718 | 0.0019227
12 | 0.99446 | -0.10576 | 0 | 0
13 | 0.9946 | -0.10316 | 0 | 0
14 | 0.99442 | -0.10661 | 0.0011328 | 0.00028391
15 | 0.99462 | -0.10266 | 0.011574 | 0.0029007
16 | 0.99522 | -0.091089 | 0 | 0
17 | 0.99503 | -0.094818 | 0 | 0
18 | 0.99632 | -0.070126 | 0 | 0
19 | 0.99469 | -0.10137 | 0.017221 | 0.004316
20 | 0.99582 | -0.079715 | 0.0061126 | 0.001532
21 | 0.99772 | -0.043448 | 0.0052156 | 0.0013071
22 | 0.98775 | -0.23509 | 0 | 0
23 | 0.99139 | -0.16497 | 0.0089121 | 0.0022336
24 | 0.99226 | -0.14793 | 0 | 0
25 | 0.99145 | -0.1634 | 0.0096427 | 0.0024167
26 | 0.98945 | -0.20205 | 0 | 0
27 | 0.99063 | -0.17925 | 0.0085181 | 0.0021348
28 | 0.98721 | -0.24527 | 0.0084095 | 0.0021076
29 | 0.99518 | -0.092099 | 0.0060054 | 0.0015051
30 | 0.9842 | -0.30386 | 0 | 0
31 | 0.98484 | -0.29143 | 0.0086419 | 0.0021659
32 | 0.98386 | -0.31051 | 0.013053 | 0.0032715
33 | 0.98176 | -0.35173 | 0.00067074 | 0.0001681
34 | 0.98177 | -0.35146 | 0 | 0
35 | 0.98186 | -0.34963 | 0 | 0
36 | 0.98184 | -0.35008 | 0.014353 | 0.0035972
37 | 0.99864 | -0.025858 | 0.0041229 | 0.0010333
38 | 1 | 0 | -0.23479 | -0.059356
39 | 0.99463 | -0.10255 | 0.0084573 | 0.0021196
40 | 0.98595 | -0.26992 | 0.0082501 | 0.0020677
41 | 0.98356 | -0.31637 | 0.0096816 | 0.0024264
42 | 0.98048 | -0.37661 | 0.013664 | 0.0034244
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0097346 | -0.0024397 | 0.0097363 | 0.0024405 | 1.6984e-06 | 8.1297e-07 | 0.014606 | 0.014606 | 0.014606 | 0.99174 | -0.15838 | 0.99193 | -0.15472 | 4.0126
1 | -0.023552 | -0.005903 | 0.023562 | 0.0059095 | 1.0689e-05 | 6.5458e-06 | 0.035331 | 0.03533 | 0.035331 | 0.99193 | -0.15472 | 0.99242 | -0.1452 | 9.7062
2 | -0.023562 | -0.0059095 | 0.023587 | 0.0059244 | 2.4309e-05 | 1.4886e-05 | 0.03533 | 0.03533 | 0.03533 | 0.99242 | -0.1452 | 0.99354 | -0.12358 | 9.7062
3 | -0.030576 | -0.0076701 | 0.030599 | 0.0076847 | 2.3508e-05 | 1.4674e-05 | 0.046291 | 0.046291 | 0.046291 | 0.9829 | -0.3292 | 0.98373 | -0.31308 | 12.7173
4 | 0.030576 | 0.0076701 | -0.03057 | -0.0076662 | 6.1237e-06 | 3.8226e-06 | 0.046291 | 0.046291 | 0.046291 | 0.9829 | -0.3292 | 0.98269 | -0.3334 | 12.7173
5 | 0.019652 | 0.004928 | -0.019643 | -0.0049231 | 8.0993e-06 | 4.8734e-06 | 0.029727 | 0.029727 | 0.029727 | 0.98373 | -0.31308 | 0.98329 | -0.32174 | 8.1667
6 | -0.050251 | -0.012613 | 0.050282 | 0.012632 | 3.11e-05 | 1.9722e-05 | 0.076017 | 0.076017 | 0.076017 | 0.98373 | -0.31308 | 0.98439 | -0.30012 | 20.8839
7 | 0.020227 | 0.005074 | -0.020218 | -0.0050687 | 8.8096e-06 | 5.321e-06 | 0.030629 | 0.030629 | 0.030629 | 0.98269 | -0.3334 | 0.98222 | -0.34254 | 8.4147
8 | 0.023438 | 0.0059345 | -0.023394 | -0.0059073 | 4.4356e-05 | 2.7149e-05 | 0.035124 | 0.035125 | 0.035125 | 0.99354 | -0.12358 | 0.99149 | -0.16307 | 9.6497
9 | -0.047025 | -0.011859 | 0.047069 | 0.011887 | 4.3927e-05 | 2.7807e-05 | 0.070454 | 0.070454 | 0.070454 | 0.99354 | -0.12358 | 0.99455 | -0.10408 | 19.3556
10 | 0.022749 | 0.0057061 | -0.022745 | -0.0057036 | 4.0632e-06 | 2.484e-06 | 0.034389 | 0.034389 | 0.034389 | 0.98439 | -0.30012 | 0.9842 | -0.30386 | 9.4476
11 | -0.073031 | -0.018339 | 0.073061 | 0.018358 | 3.029e-05 | 1.9302e-05 | 0.11041 | 0.11041 | 0.11041 | 0.98439 | -0.30012 | 0.98484 | -0.29143 | 30.3315
12 | 0.014358 | 0.0036001 | -0.014353 | -0.0035972 | 5.1583e-06 | 2.9335e-06 | 0.021752 | 0.021753 | 0.021753 | 0.98222 | -0.34254 | 0.98184 | -0.35008 | 5.976
13 | 0.014481 | 0.0036734 | -0.014431 | -0.003645 | 4.9975e-05 | 2.8364e-05 | 0.021748 | 0.02175 | 0.02175 | 0.99149 | -0.16307 | 0.98775 | -0.23509 | 5.9752
14 | 0.0089129 | 0.0022339 | -0.0089121 | -0.0022336 | 8.0608e-07 | 3.6097e-07 | 0.013376 | 0.013376 | 0.013376 | 0.99149 | -0.16307 | 0.99139 | -0.16497 | 3.6749
15 | -0.05474 | -0.013809 | 0.054772 | 0.013829 | 3.143e-05 | 1.9953e-05 | 0.081933 | 0.081933 | 0.081933 | 0.99455 | -0.10408 | 0.99518 | -0.092099 | 22.509
16 | -0.0011329 | -0.00028339 | 0.001133 | 0.0002818 | 1.3977e-07 | -1.5947e-06 | 0.0016949 | 0.0016943 | 0.0016949 | 0.99446 | -0.10576 | 0.9946 | -0.10316 | 0.46564
17 | 0.0011329 | 0.00028339 | -0.0011328 | -0.00028391 | 4.5757e-08 | -5.2171e-07 | 0.0016949 | 0.0016951 | 0.0016951 | 0.99446 | -0.10576 | 0.99442 | -0.10661 | 0.46569
18 | -0.001133 | -0.0002818 | 0.001133 | 0.00028149 | 2.687e-08 | -3.0676e-07 | 0.0016943 | 0.0016942 | 0.0016943 | 0.9946 | -0.10316 | 0.99462 | -0.10266 | 0.46548
19 | -0.012707 | -0.0031822 | 0.012707 | 0.0031822 | 6.5292e-08 | 3.5533e-08 | 0.019009 | 0.019009 | 0.019009 | 0.99462 | -0.10266 | 0.99463 | -0.10255 | 5.2223
20 | 0.13869 | 0.035193 | -0.13867 | -0.035177 | 2.487e-05 | 1.5896e-05 | 0.20752 | 0.20752 | 0.20752 | 0.99522 | -0.091089 | 0.99503 | -0.094818 | 57.0107
21 | -0.15592 | -0.039514 | 0.15608 | 0.039614 | 0.00015722 | 0.00010022 | 0.23328 | 0.23328 | 0.23328 | 0.99522 | -0.091089 | 0.99632 | -0.070126 | 32.0441
22 | 0.01723 | 0.004321 | -0.017221 | -0.004316 | 8.4351e-06 | 4.9583e-06 | 0.025762 | 0.025762 | 0.025762 | 0.99522 | -0.091089 | 0.99469 | -0.10137 | 7.0775
23 | 0.021172 | 0.0053065 | -0.021164 | -0.0053018 | 7.7997e-06 | 4.7224e-06 | 0.031662 | 0.031662 | 0.031662 | 0.99503 | -0.094818 | 0.99463 | -0.10255 | 8.6983
24 | 0.11749 | 0.02987 | -0.11719 | -0.029679 | 0.00029974 | 0.0001915 | 0.17586 | 0.17586 | 0.17586 | 0.99503 | -0.094818 | 0.99226 | -0.14793 | 48.3125
25 | 0.066957 | 0.016909 | -0.066926 | -0.016889 | 3.0749e-05 | 1.9573e-05 | 0.10005 | 0.10005 | 0.10005 | 0.99632 | -0.070126 | 0.99582 | -0.079715 | 27.4851
26 | -0.22303 | -0.056523 | 0.22332 | 0.056706 | 0.0002863 | 0.00018287 | 0.33333 | 0.33333 | 0.33333 | 0.99632 | -0.070126 | 0.99772 | -0.043448 | 45.7866
27 | 0.060813 | 0.015357 | -0.060777 | -0.015334 | 3.6065e-05 | 2.293e-05 | 0.090912 | 0.090912 | 0.090912 | 0.99582 | -0.079715 | 0.99518 | -0.092099 | 24.9758
28 | -0.22854 | -0.058013 | 0.22873 | 0.058137 | 0.00019358 | 0.00012366 | 0.3411 | 0.3411 | 0.3411 | 0.99772 | -0.043448 | 0.99864 | -0.025858 | 46.8551
29 | 0.014431 | 0.003645 | -0.014352 | -0.0036003 | 7.8795e-05 | 4.4778e-05 | 0.02175 | 0.021752 | 0.021752 | 0.98775 | -0.23509 | 0.98186 | -0.34963 | 5.9757
30 | 0.11719 | 0.029679 | -0.11711 | -0.029623 | 8.6994e-05 | 5.5579e-05 | 0.17586 | 0.17586 | 0.17586 | 0.99226 | -0.14793 | 0.99145 | -0.1634 | 48.3125
31 | 0.10746 | 0.027207 | -0.10738 | -0.027154 | 8.1729e-05 | 5.2199e-05 | 0.16139 | 0.16139 | 0.16139 | 0.99145 | -0.1634 | 0.99063 | -0.17925 | 44.3366
32 | -0.098757 | -0.024951 | 0.098865 | 0.02502 | 0.00010802 | 6.8966e-05 | 0.14859 | 0.14859 | 0.14859 | 0.98945 | -0.20205 | 0.99063 | -0.17925 | 40.8216
33 | 0.098757 | 0.024951 | -0.098553 | -0.02482 | 0.00020415 | 0.00013034 | 0.14859 | 0.14859 | 0.14859 | 0.98945 | -0.20205 | 0.98721 | -0.24527 | 40.8216
34 | 0.090143 | 0.022713 | -0.090037 | -0.022645 | 0.00010616 | 6.7747e-05 | 0.13592 | 0.13592 | 0.13592 | 0.98721 | -0.24527 | 0.98595 | -0.26992 | 37.3393
35 | 0.022745 | 0.0057036 | -0.022738 | -0.0056992 | 7.2072e-06 | 4.4062e-06 | 0.034389 | 0.034389 | 0.034389 | 0.9842 | -0.30386 | 0.98386 | -0.31051 | 9.4476
36 | -0.081703 | -0.020524 | 0.081787 | 0.020577 | 8.3949e-05 | 5.354e-05 | 0.12346 | 0.12346 | 0.12346 | 0.98484 | -0.29143 | 0.98595 | -0.26992 | 33.9186
37 | 0.0096843 | 0.0024277 | -0.0096816 | -0.0024264 | 2.6994e-06 | 1.3016e-06 | 0.014647 | 0.014647 | 0.014647 | 0.98386 | -0.31051 | 0.98356 | -0.31637 | 4.0239
38 | -0.00067074 | -0.0001681 | 0.00067075 | 0.00016783 | 8.6322e-09 | -2.7615e-07 | 0.0010166 | 0.0010165 | 0.0010166 | 0.98176 | -0.35173 | 0.98177 | -0.35146 | 0.27929
39 | -0.00067075 | -0.00016783 | 0.00067081 | 0.00016597 | 5.8092e-08 | -1.86e-06 | 0.0010165 | 0.0010158 | 0.0010165 | 0.98177 | -0.35146 | 0.98186 | -0.34963 | 0.27926
40 | 0.013681 | 0.0034343 | -0.013664 | -0.0034244 | 1.7579e-05 | 9.8735e-06 | 0.020736 | 0.020736 | 0.020736 | 0.98186 | -0.34963 | 0.98048 | -0.37661 | 5.6968
41 | -0.23285 | -0.05917 | 0.23314 | 0.059355 | 0.00029031 | 0.00018546 | 0.34725 | 0.34725 | 0.34725 | 0.99864 | -0.025858 | 1 | 0 | 47.6989

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23834 | 0.060244

## res_load
| p_mw | q_mvar
0 | 0.0097346 | 0.0024397
1 | 0.013815 | 0.0034625
2 | 0.010343 | 0.0025922
3 | 0.019643 | 0.0049231
4 | 0.0058595 | 0.0014685
5 | 0.0076718 | 0.0019227
6 | 0.0011328 | 0.00028391
7 | 0.011574 | 0.0029007
8 | 0.017221 | 0.004316
9 | 0.0061126 | 0.001532
10 | 0.0052156 | 0.0013071
11 | 0.0089121 | 0.0022336
12 | 0.0096427 | 0.0024167
13 | 0.0085181 | 0.0021348
14 | 0.0084095 | 0.0021076
15 | 0.0060054 | 0.0015051
16 | 0.0086419 | 0.0021659
17 | 0.013053 | 0.0032715
18 | 0.00067074 | 0.0001681
19 | 0.014353 | 0.0035972
20 | 0.0041229 | 0.0010333
21 | 0.0035438 | 0.00088815
22 | 0.0084573 | 0.0021196
23 | 0.0082501 | 0.0020677
24 | 0.0096816 | 0.0024264
25 | 0.013664 | 0.0034244

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1