## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-109_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-109_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-109_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-109_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-109_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-109_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-109_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_261-109_0_3_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_261-109_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_261-109_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_261-109_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-109_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_261-109_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_261-109_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_261-109_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_261-109_0_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_261-109_0_3_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_261-109_0_3_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_261-109_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_261-109_0_3_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_261-109_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_261-109_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_261-109_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_261-109_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_261-109_0_3_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_261-109_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_261-109_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_261-109_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_261-109_0_3_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_261-109_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_261-109_0_3_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_261-109_0_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_261-109_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_261-109_0_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_261-109_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_261-109_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_261-109_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_261-109_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_261-109_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_261-109_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_261-109_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_261-109_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_261-109_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_MV_524_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-109_0_3_load_0 | 0 | 0.0026144 | 0.00065524 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-109_0_3_load_1 | 1 | 0.0026182 | 0.00065619 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-109_0_3_load_4 | 3 | 0.0027372 | 0.00068601 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-109_0_3_load_6 | 5 | 0.0026588 | 0.00066636 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-109_0_3_load_50 | 7 | 0.012714 | 0.0031863 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-109_0_3_load_8 | 10 | 0.012226 | 0.0030642 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-109_0_3_load_29 | 15 | 0.0086633 | 0.0021712 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-109_0_3_load_51 | 16 | 0.0042962 | 0.0010767 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-109_0_3_load_41 | 17 | 0.0099687 | 0.0024984 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-109_0_3_load_20 | 18 | 0.011467 | 0.0028739 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-109_0_3_load_40 | 19 | 0.0086188 | 0.0021601 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-109_0_3_load_24 | 21 | 0.002922 | 0.00073231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-109_0_3_load_9 | 22 | 0.0052693 | 0.0013206 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-109_0_3_load_49 | 24 | 0.010587 | 0.0026533 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-109_0_3_load_25 | 27 | 0.012283 | 0.0030785 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-109_0_3_load_44 | 28 | 0.005128 | 0.0012852 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-109_0_3_load_21 | 29 | 0.011106 | 0.0027833 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-109_0_3_load_43 | 30 | 0.0033235 | 0.00083294 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-109_0_3_load_42 | 31 | 0.0081608 | 0.0020453 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-109_0_3_load_32 | 34 | 0.014836 | 0.0037184 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-109_0_3_load_34 | 36 | 0.01514 | 0.0037944 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-109_0_3_load_31 | 37 | 0.0085024 | 0.0021309 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-109_0_3_load_47 | 39 | 0.015096 | 0.0037835 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-109_0_3_load_48 | 40 | 0.015441 | 0.0038698 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-109_0_3_load_22 | 41 | 0.010878 | 0.0027264 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-109_0_3_load_45 | 42 | 0.020874 | 0.0052316 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-109_0_3_line_0 |  | 0 | 1 | 0.020918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-109_0_3_line_1 |  | 0 | 2 | 0.012948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-109_0_3_line_2 |  | 2 | 3 | 0.025761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-109_0_3_line_3 |  | 2 | 4 | 0.033894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-109_0_3_line_4 |  | 3 | 5 | 0.022697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-109_0_3_line_5 |  | 4 | 6 | 0.064318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-109_0_3_line_6 |  | 4 | 7 | 0.0029917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-109_0_3_line_7 |  | 6 | 20 | 0.01783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-109_0_3_line_8 |  | 6 | 21 | 0.029269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-109_0_3_line_9 |  | 8 | 9 | 0.032149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-109_0_3_line_10 |  | 8 | 10 | 0.025419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-109_0_3_line_11 |  | 9 | 11 | 0.031145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-109_0_3_line_12 |  | 9 | 12 | 0.070013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-109_0_3_line_13 |  | 10 | 22 | 0.014361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-109_0_3_line_14 |  | 11 | 18 | 0.015688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-109_0_3_line_15 |  | 12 | 19 | 0.034703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-109_0_3_line_16 |  | 13 | 14 | 0.057094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_261-109_0_3_line_17 |  | 13 | 15 | 0.021843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-109_0_3_line_18 |  | 14 | 16 | 0.044225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-109_0_3_line_19 |  | 14 | 17 | 0.010641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-109_0_3_line_20 |  | 15 | 25 | 0.0025638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-109_0_3_line_21 |  | 17 | 19 | 0.01911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-109_0_3_line_22 |  | 18 | 29 | 0.010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-109_0_3_line_23 |  | 20 | 23 | 0.033972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-109_0_3_line_24 |  | 20 | 41 | 0.024354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-109_0_3_line_25 |  | 21 | 27 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-109_0_3_line_26 |  | 23 | 24 | 0.019344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-109_0_3_line_27 |  | 25 | 37 | 0.031188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-109_0_3_line_28 |  | 25 | 34 | 0.02069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-109_0_3_line_29 |  | 26 | 27 | 0.026459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-109_0_3_line_30 |  | 26 | 28 | 0.038876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-109_0_3_line_31 |  | 28 | 31 | 0.021041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-109_0_3_line_32 |  | 29 | 41 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-109_0_3_line_33 |  | 30 | 31 | 0.01187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-109_0_3_line_34 |  | 32 | 33 | 0.023596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-109_0_3_line_35 |  | 32 | 34 | 0.0022699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-109_0_3_line_36 |  | 33 | 42 | 0.011981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-109_0_3_line_37 |  | 33 | 39 | 0.021847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-109_0_3_line_38 |  | 35 | 36 | 0.018612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-109_0_3_line_39 |  | 35 | 37 | 0.012235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-109_0_3_line_40 |  | 38 | 39 | 0.020724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-109_0_3_line_41 |  | 38 | 40 | 0.010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-109_0_3_trafo_13 | 0.63 MVA 20/0.4 kV | 43 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2680859.5718 | 1252251.4078 | 2680870.1004 | 1252235.5203 | 2680871.3211 | 1252234.1182
1 | 2680853.8683 | 1252262.9859 | 2680857.5471 | 1252254.4631 | 2680859.5718 | 1252251.4078
2 | 2680853.8683 | 1252262.9859 | 2680848.5814 | 1252272.1094 | 2680839.4706 | 1252282.1482 | 2680838.2449 | 1252283.2677
3 | 2680853.8683 | 1252262.9859 | 2680858.0822 | 1252260.5972 | 2680865.1635 | 1252254.934 | 2680870.3952 | 1252249.8572 | 2680874.8189 | 1252243.713 | 2680879.0821 | 1252246.5511
4 | 2680838.2449 | 1252283.2677 | 2680821.4861 | 1252298.5745
5 | 2680879.0821 | 1252246.5511 | 2680872.9806 | 1252255.6301 | 2680855.4258 | 1252278.2629 | 2680839.1474 | 1252296.977
6 | 2680879.0821 | 1252246.5511 | 2680881.5727 | 1252248.2085
7 | 2680826.4326 | 1252309.5129 | 2680839.1474 | 1252296.977
8 | 2680839.1474 | 1252296.977 | 2680855.6893 | 1252297.6588 | 2680863.237 | 1252303.1547 | 2680866.5656 | 1252302.5886 | 2680866.5656 | 1252302.5886
9 | 2680808.9179 | 1252400.0303 | 2680831.0558 | 1252376.6593
10 | 2680808.9179 | 1252400.0303 | 2680796.1165 | 1252388.5139 | 2680801.3647 | 1252382.2141
11 | 2680831.0558 | 1252376.6593 | 2680837.4512 | 1252370.3641 | 2680853.695 | 1252355.2744
12 | 2680831.0558 | 1252376.6593 | 2680837.4512 | 1252370.3641 | 2680843.7037 | 1252376.743 | 2680849.5245 | 1252382.6824 | 2680833.5972 | 1252397.8097 | 2680836.3726 | 1252401.2724 | 2680835.9544 | 1252409.2393 | 2680841.3282 | 1252416.9628
13 | 2680792.2858 | 1252371.6824 | 2680795.8821 | 1252378.5922 | 2680801.3647 | 1252382.2141
14 | 2680853.695 | 1252355.2744 | 2680843.1107 | 1252343.6953
15 | 2680841.3282 | 1252416.9628 | 2680861.4877 | 1252400.3032 | 2680867.8371 | 1252394.5763
16 | 2680889.9288 | 1252374.65 | 2680875.2716 | 1252358.1043 | 2680902.3519 | 1252335.9464
17 | 2680902.3519 | 1252335.9464 | 2680904.2684 | 1252338.1964 | 2680914.8665 | 1252353.8297
18 | 2680889.9288 | 1252374.65 | 2680897.9512 | 1252375.7715 | 2680902.0127 | 1252383.9775 | 2680907.4263 | 1252391.5459 | 2680907.9789 | 1252397.5024 | 2680900.5888 | 1252406.549
19 | 2680889.9288 | 1252374.65 | 2680882.0274 | 1252381.7769
20 | 2680916.3051 | 1252355.9518 | 2680914.8665 | 1252353.8297
21 | 2680882.0274 | 1252381.7769 | 2680867.8371 | 1252394.5763
22 | 2680849.0151 | 1252336.53 | 2680842.4144 | 1252342.9336 | 2680843.1107 | 1252343.6953
23 | 2680800.702 | 1252331.7786 | 2680826.4326 | 1252309.5129
24 | 2680826.4326 | 1252309.5129 | 2680831.2412 | 1252314.9715 | 2680832.2819 | 1252320.0116 | 2680838.3406 | 1252326.2211 | 2680841.5484 | 1252325.6533 | 2680841.5484 | 1252325.6533
25 | 2680874.7465 | 1252315.3209 | 2680868.4472 | 1252308.4965 | 2680866.5656 | 1252302.5886
26 | 2680800.702 | 1252331.7786 | 2680814.8127 | 1252345.0101
27 | 2680916.3051 | 1252355.9518 | 2680933.5182 | 1252381.9591
28 | 2680916.3051 | 1252355.9518 | 2680934.2511 | 1252345.6559
29 | 2680878.6184 | 1252334.0988 | 2680867.4096 | 1252321.4698 | 2680874.7465 | 1252315.3209
30 | 2680878.6184 | 1252334.0988 | 2680897.9507 | 1252317.8061 | 2680909.229 | 1252310.2166
31 | 2680909.229 | 1252310.2166 | 2680916.7045 | 1252305.1861 | 2680926.638 | 1252298.3994
32 | 2680849.0151 | 1252336.53 | 2680849.0151 | 1252336.53 | 2680843.8133 | 1252330.5768 | 2680843.1222 | 1252327.0203 | 2680841.5484 | 1252325.6533
33 | 2680936.1269 | 1252291.2705 | 2680927.5227 | 1252297.795 | 2680926.638 | 1252298.3994
34 | 2680956.3594 | 1252332.1367 | 2680936.22 | 1252344.5263
35 | 2680936.22 | 1252344.5263 | 2680934.2511 | 1252345.6559
36 | 2680956.3594 | 1252332.1367 | 2680966.5632 | 1252325.8585
37 | 2680956.3594 | 1252332.1367 | 2680967.9813 | 1252350.6354
38 | 2680940.2708 | 1252392.1616 | 2680950.5074 | 1252407.7062
39 | 2680940.2708 | 1252392.1616 | 2680933.5182 | 1252381.9591
40 | 2680979.0063 | 1252368.1841 | 2680967.9813 | 1252350.6354
41 | 2680979.0063 | 1252368.1841 | 2680987.6033 | 1252362.8059

## bus_geodata
| x | y | coords
0 | 2680859.5718 | 1252251.4078
1 | 2680871.3211 | 1252234.1182
2 | 2680853.8683 | 1252262.9859
3 | 2680838.2449 | 1252283.2677
4 | 2680879.0821 | 1252246.5511
5 | 2680821.4861 | 1252298.5745
6 | 2680839.1474 | 1252296.977
7 | 2680881.5727 | 1252248.2085
8 | 2680808.9179 | 1252400.0303
9 | 2680831.0558 | 1252376.6593
10 | 2680801.3647 | 1252382.2141
11 | 2680853.695 | 1252355.2744
12 | 2680841.3282 | 1252416.9628
13 | 2680902.3519 | 1252335.9464
14 | 2680889.9288 | 1252374.65
15 | 2680914.8665 | 1252353.8297
16 | 2680900.5888 | 1252406.549
17 | 2680882.0274 | 1252381.7769
18 | 2680843.1107 | 1252343.6953
19 | 2680867.8371 | 1252394.5763
20 | 2680826.4326 | 1252309.5129
21 | 2680866.5656 | 1252302.5886
22 | 2680792.2858 | 1252371.6824
23 | 2680800.702 | 1252331.7786
24 | 2680814.8127 | 1252345.0101
25 | 2680916.3051 | 1252355.9518
26 | 2680878.6184 | 1252334.0988
27 | 2680874.7465 | 1252315.3209
28 | 2680909.229 | 1252310.2166
29 | 2680849.0151 | 1252336.53
30 | 2680936.1269 | 1252291.2705
31 | 2680926.638 | 1252298.3994
32 | 2680936.22 | 1252344.5263
33 | 2680956.3594 | 1252332.1367
34 | 2680934.2511 | 1252345.6559
35 | 2680940.2708 | 1252392.1616
36 | 2680950.5074 | 1252407.7062
37 | 2680933.5182 | 1252381.9591
38 | 2680979.0063 | 1252368.1841
39 | 2680967.9813 | 1252350.6354
40 | 2680987.6033 | 1252362.8059
41 | 2680841.5484 | 1252325.6533
42 | 2680966.5632 | 1252325.8585
43 | 2680897.2545 | 1252329.5387

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97098 | -0.55903 | 0.0026144 | 0.00065524
1 | 0.97093 | -0.56005 | 0.0026182 | 0.00065619
2 | 0.97104 | -0.55778 | 0 | 0
3 | 0.97091 | -0.56035 | 0.0027372 | 0.00068601
4 | 0.97138 | -0.55112 | 0 | 0
5 | 0.97086 | -0.56147 | 0.0026588 | 0.00066636
6 | 0.97278 | -0.52342 | 0 | 0
7 | 0.97135 | -0.55182 | 0.012714 | 0.0031863
8 | 0.98082 | -0.36614 | 0 | 0
9 | 0.98134 | -0.35596 | 0 | 0
10 | 0.98041 | -0.3742 | 0.012226 | 0.0030642
11 | 0.97846 | -0.41205 | 0 | 0
12 | 0.98895 | -0.2092 | 0 | 0
13 | 1 | 0 | -0.24312 | -0.061803
14 | 0.9963 | -0.069719 | 0 | 0
15 | 0.99804 | -0.037596 | 0.0086633 | 0.0021712
16 | 0.99612 | -0.073056 | 0.0042962 | 0.0010767
17 | 0.99496 | -0.095033 | 0.0099687 | 0.0024984
18 | 0.97701 | -0.44042 | 0.011467 | 0.0028739
19 | 0.99273 | -0.1373 | 0.0086188 | 0.0021601
20 | 0.9737 | -0.50532 | 0 | 0
21 | 0.97191 | -0.54059 | 0.002922 | 0.00073231
22 | 0.98034 | -0.37558 | 0.0052693 | 0.0013206
23 | 0.97337 | -0.51194 | 0 | 0
24 | 0.97317 | -0.51571 | 0.010587 | 0.0026533
25 | 0.99783 | -0.041629 | 0 | 0
26 | 0.97108 | -0.55698 | 0 | 0
27 | 0.97149 | -0.54886 | 0.012283 | 0.0030785
28 | 0.97048 | -0.56892 | 0.005128 | 0.0012852
29 | 0.97617 | -0.45682 | 0.011106 | 0.0027833
30 | 0.97022 | -0.57413 | 0.0033235 | 0.00083294
31 | 0.97025 | -0.5734 | 0.0081608 | 0.0020453
32 | 0.99647 | -0.067702 | 0 | 0
33 | 0.99537 | -0.08902 | 0 | 0
34 | 0.99658 | -0.065654 | 0.014836 | 0.0037184
35 | 0.99699 | -0.057794 | 0 | 0
36 | 0.99673 | -0.062737 | 0.01514 | 0.0037944
37 | 0.99716 | -0.054546 | 0.0085024 | 0.0021309
38 | 0.99447 | -0.1064 | 0 | 0
39 | 0.99476 | -0.10076 | 0.015096 | 0.0037835
40 | 0.99433 | -0.10916 | 0.015441 | 0.0038698
41 | 0.9752 | -0.47593 | 0.010878 | 0.0027264
42 | 0.99514 | -0.093421 | 0.020874 | 0.0052316
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0026184 | 0.00065601 | -0.0026182 | -0.00065619 | 1.263e-07 | -1.7789e-07 | 0.0040125 | 0.0040126 | 0.0040126 | 0.97098 | -0.55903 | 0.97093 | -0.56005 | 1.1024
1 | -0.0052328 | -0.0013113 | 0.0052331 | 0.0013113 | 3.1224e-07 | 3.9668e-08 | 0.0080191 | 0.0080191 | 0.0080191 | 0.97098 | -0.55903 | 0.97104 | -0.55778 | 2.2031
2 | 0.0053968 | 0.0013523 | -0.0053962 | -0.0013522 | 6.6071e-07 | 1.0421e-07 | 0.0082699 | 0.00827 | 0.00827 | 0.97104 | -0.55778 | 0.97091 | -0.56035 | 2.272
3 | -0.01063 | -0.0026636 | 0.010633 | 0.0026653 | 3.3724e-06 | 1.7389e-06 | 0.016289 | 0.016289 | 0.016289 | 0.97104 | -0.55778 | 0.97138 | -0.55112 | 4.475
4 | 0.0026589 | 0.00066617 | -0.0026588 | -0.00066636 | 1.4134e-07 | -1.9023e-07 | 0.004075 | 0.0040751 | 0.0040751 | 0.97091 | -0.56035 | 0.97086 | -0.56147 | 1.1195
5 | -0.023347 | -0.0058519 | 0.023378 | 0.0058708 | 3.0851e-05 | 1.8947e-05 | 0.035765 | 0.035764 | 0.035765 | 0.97138 | -0.55112 | 0.97278 | -0.52342 | 9.8255
6 | 0.012714 | 0.0031865 | -0.012714 | -0.0031863 | 4.2555e-07 | 2.3532e-07 | 0.019476 | 0.019476 | 0.019476 | 0.97138 | -0.55112 | 0.97135 | -0.55182 | 5.3505
7 | -0.055252 | -0.013879 | 0.055299 | 0.013909 | 4.7772e-05 | 3.0352e-05 | 0.084527 | 0.084527 | 0.084527 | 0.97278 | -0.52342 | 0.9737 | -0.50532 | 23.2217
8 | 0.031873 | 0.0080083 | -0.031847 | -0.0079919 | 2.6098e-05 | 1.634e-05 | 0.048762 | 0.048763 | 0.048763 | 0.97278 | -0.52342 | 0.97191 | -0.54059 | 13.3963
9 | -0.017502 | -0.0043888 | 0.017511 | 0.0043938 | 8.5008e-06 | 5.0345e-06 | 0.026554 | 0.026554 | 0.026554 | 0.98082 | -0.36614 | 0.98134 | -0.35596 | 7.2951
10 | 0.017502 | 0.0043888 | -0.017496 | -0.0043848 | 6.7212e-06 | 3.9809e-06 | 0.026554 | 0.026554 | 0.026554 | 0.98082 | -0.36614 | 0.98041 | -0.3742 | 7.2951
11 | 0.099979 | 0.025355 | -0.09971 | -0.025183 | 0.0002688 | 0.00017164 | 0.15171 | 0.15171 | 0.15171 | 0.98134 | -0.35596 | 0.97846 | -0.41205 | 41.6776
12 | -0.11749 | -0.029749 | 0.11832 | 0.030282 | 0.00083429 | 0.00053306 | 0.17826 | 0.17826 | 0.17826 | 0.98134 | -0.35596 | 0.98895 | -0.2092 | 48.9726
13 | 0.0052696 | 0.0013206 | -0.0052693 | -0.0013206 | 3.4448e-07 | 3.939e-08 | 0.0079979 | 0.007998 | 0.007998 | 0.98041 | -0.3742 | 0.98034 | -0.37558 | 2.1973
14 | 0.09971 | 0.025183 | -0.099575 | -0.025097 | 0.00013539 | 8.6456e-05 | 0.15171 | 0.15171 | 0.15171 | 0.97846 | -0.41205 | 0.97701 | -0.44042 | 41.6776
15 | -0.11832 | -0.030282 | 0.11874 | 0.030546 | 0.00041353 | 0.00026421 | 0.17826 | 0.17826 | 0.17826 | 0.98895 | -0.2092 | 0.99273 | -0.1373 | 48.9725
16 | 0.14254 | 0.036865 | -0.14205 | -0.036557 | 0.00048342 | 0.0003079 | 0.2125 | 0.2125 | 0.2125 | 1 | 0 | 0.9963 | -0.069719 | 29.1901
17 | 0.09893 | 0.024938 | -0.098752 | -0.024825 | 0.00017763 | 0.00011339 | 0.14726 | 0.14726 | 0.14726 | 1 | 0 | 0.99804 | -0.037596 | 40.4561
18 | 0.0042969 | 0.0010766 | -0.0042962 | -0.0010767 | 6.8304e-07 | -1.3867e-07 | 0.0064175 | 0.0064177 | 0.0064177 | 0.9963 | -0.069719 | 0.99612 | -0.073056 | 1.7631
19 | 0.13776 | 0.03548 | -0.13759 | -0.035372 | 0.00016947 | 0.00010832 | 0.20609 | 0.20609 | 0.20609 | 0.9963 | -0.069719 | 0.99496 | -0.095033 | 56.6172
20 | 0.090089 | 0.022654 | -0.090072 | -0.022643 | 1.7352e-05 | 1.1072e-05 | 0.13434 | 0.13434 | 0.13434 | 0.99804 | -0.037596 | 0.99783 | -0.041629 | 36.9076
21 | 0.12762 | 0.032874 | -0.12736 | -0.032706 | 0.00026192 | 0.00016738 | 0.19118 | 0.19118 | 0.19118 | 0.99496 | -0.095033 | 0.99273 | -0.1373 | 52.5215
22 | 0.088107 | 0.022223 | -0.088038 | -0.022179 | 6.9122e-05 | 4.411e-05 | 0.13424 | 0.13424 | 0.13424 | 0.97701 | -0.44042 | 0.97617 | -0.45682 | 36.8796
23 | 0.010592 | 0.002656 | -0.010589 | -0.0026543 | 3.3381e-06 | 1.714e-06 | 0.016187 | 0.016187 | 0.016187 | 0.9737 | -0.50532 | 0.97337 | -0.51194 | 4.4471
24 | -0.065891 | -0.016565 | 0.065984 | 0.016624 | 9.2637e-05 | 5.8984e-05 | 0.10071 | 0.10071 | 0.10071 | 0.9737 | -0.50532 | 0.9752 | -0.47593 | 27.6687
25 | 0.028925 | 0.0072596 | -0.028914 | -0.0072525 | 1.1392e-05 | 7.0991e-06 | 0.044289 | 0.044289 | 0.044289 | 0.97191 | -0.54059 | 0.97149 | -0.54886 | 12.1673
26 | 0.010589 | 0.0026543 | -0.010587 | -0.0026533 | 1.9008e-06 | 9.7611e-07 | 0.016187 | 0.016188 | 0.016188 | 0.97337 | -0.51194 | 0.97317 | -0.51571 | 4.4471
27 | 0.023663 | 0.0059377 | -0.023648 | -0.0059287 | 1.4565e-05 | 8.9146e-06 | 0.03529 | 0.03529 | 0.03529 | 0.99783 | -0.041629 | 0.99716 | -0.054546 | 9.6951
28 | 0.066409 | 0.016705 | -0.066333 | -0.016656 | 7.6125e-05 | 4.845e-05 | 0.099054 | 0.099054 | 0.099054 | 0.99783 | -0.041629 | 0.99658 | -0.065654 | 27.2126
29 | -0.016624 | -0.0041702 | 0.016631 | 0.004174 | 6.4392e-06 | 3.7936e-06 | 0.025475 | 0.025475 | 0.025475 | 0.97108 | -0.55698 | 0.97149 | -0.54886 | 6.9987
30 | 0.016624 | 0.0041702 | -0.016615 | -0.0041647 | 9.4614e-06 | 5.5746e-06 | 0.025475 | 0.025475 | 0.025475 | 0.97108 | -0.55698 | 0.97048 | -0.56892 | 6.9987
31 | 0.011487 | 0.0028795 | -0.011484 | -0.0028782 | 2.4477e-06 | 1.3066e-06 | 0.017613 | 0.017613 | 0.017613 | 0.97048 | -0.56892 | 0.97025 | -0.5734 | 4.8387
32 | 0.076933 | 0.019396 | -0.076862 | -0.019351 | 7.0256e-05 | 4.4794e-05 | 0.11731 | 0.11731 | 0.11731 | 0.97617 | -0.45682 | 0.9752 | -0.47593 | 32.2289
33 | -0.0033235 | -0.00083294 | 0.0033236 | 0.00083286 | 1.1564e-07 | -7.2578e-08 | 0.0050972 | 0.0050971 | 0.0050972 | 0.97022 | -0.57413 | 0.97025 | -0.5734 | 1.4003
34 | 0.051491 | 0.012935 | -0.051439 | -0.012902 | 5.2328e-05 | 3.3183e-05 | 0.076901 | 0.076901 | 0.076901 | 0.99647 | -0.067702 | 0.99537 | -0.08902 | 21.1267
35 | -0.051491 | -0.012935 | 0.051496 | 0.012938 | 5.0339e-06 | 3.1921e-06 | 0.076901 | 0.076901 | 0.076901 | 0.99647 | -0.067702 | 0.99658 | -0.065654 | 21.1267
36 | 0.020879 | 0.0052342 | -0.020874 | -0.0052316 | 4.377e-06 | 2.6456e-06 | 0.031213 | 0.031213 | 0.031213 | 0.99537 | -0.08902 | 0.99514 | -0.093421 | 8.5749
37 | 0.03056 | 0.0076675 | -0.030543 | -0.0076568 | 1.7101e-05 | 1.0661e-05 | 0.045689 | 0.045689 | 0.045689 | 0.99537 | -0.08902 | 0.99476 | -0.10076 | 12.5518
38 | 0.015144 | 0.0037965 | -0.01514 | -0.0037944 | 3.5657e-06 | 2.0394e-06 | 0.022602 | 0.022602 | 0.022602 | 0.99699 | -0.057794 | 0.99673 | -0.062737 | 6.2095
39 | -0.015144 | -0.0037965 | 0.015146 | 0.0037978 | 2.3439e-06 | 1.3405e-06 | 0.022602 | 0.022602 | 0.022602 | 0.99699 | -0.057794 | 0.99716 | -0.054546 | 6.2094
40 | -0.015443 | -0.003871 | 0.015447 | 0.0038734 | 4.1496e-06 | 2.3867e-06 | 0.023107 | 0.023107 | 0.023107 | 0.99447 | -0.1064 | 0.99476 | -0.10076 | 6.3481
41 | 0.015443 | 0.003871 | -0.015441 | -0.0038698 | 2.0304e-06 | 1.1679e-06 | 0.023107 | 0.023107 | 0.023107 | 0.99447 | -0.1064 | 0.99433 | -0.10916 | 6.3481

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24312 | 0.061803

## res_load
| p_mw | q_mvar
0 | 0.0026144 | 0.00065524
1 | 0.0026182 | 0.00065619
2 | 0.0027372 | 0.00068601
3 | 0.0026588 | 0.00066636
4 | 0.012714 | 0.0031863
5 | 0.012226 | 0.0030642
6 | 0.0086633 | 0.0021712
7 | 0.0042962 | 0.0010767
8 | 0.0099687 | 0.0024984
9 | 0.011467 | 0.0028739
10 | 0.0086188 | 0.0021601
11 | 0.002922 | 0.00073231
12 | 0.0052693 | 0.0013206
13 | 0.010587 | 0.0026533
14 | 0.012283 | 0.0030785
15 | 0.005128 | 0.0012852
16 | 0.011106 | 0.0027833
17 | 0.0033235 | 0.00083294
18 | 0.0081608 | 0.0020453
19 | 0.014836 | 0.0037184
20 | 0.01514 | 0.0037944
21 | 0.0085024 | 0.0021309
22 | 0.015096 | 0.0037835
23 | 0.015441 | 0.0038698
24 | 0.010878 | 0.0027264
25 | 0.020874 | 0.0052316

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1