## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-112_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-112_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-112_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-112_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_261-112_0_4_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_261-112_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-112_0_4_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_261-112_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_261-112_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-112_0_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_261-112_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_261-112_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_261-112_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-112_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_261-112_0_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_261-112_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_261-112_0_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_261-112_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_261-112_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_261-112_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_261-112_0_4_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_261-112_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_261-112_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_261-112_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_261-112_0_4_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_261-112_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_261-112_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_261-112_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_261-112_0_4_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_261-112_0_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_261-112_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_261-112_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_261-112_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_261-112_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_261-112_0_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_261-112_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_261-112_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_261-112_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_261-112_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_261-112_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_261-112_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_261-112_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_261-112_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_MV_527_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-112_0_4_load_0 | 0 | 0.025583 | 0.0064118 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-112_0_4_load_1 | 1 | 0.0017554 | 0.00043995 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-112_0_4_load_45 | 6 | 0.0023449 | 0.00058768 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-112_0_4_load_47 | 7 | 0.0027824 | 0.00069733 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-112_0_4_load_28 | 11 | 0.0032508 | 0.00081472 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-112_0_4_load_42 | 14 | 0.036611 | 0.0091755 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-112_0_4_load_46 | 16 | 0.035145 | 0.0088081 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-112_0_4_load_38 | 18 | 0.04705 | 0.011792 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-112_0_4_load_39 | 20 | 0.0062317 | 0.0015618 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-112_0_4_load_20 | 23 | 0.0027282 | 0.00068376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-112_0_4_load_43 | 24 | 0.059917 | 0.015017 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-112_0_4_load_44 | 25 | 0.0015398 | 0.00038592 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-112_0_4_load_41 | 28 | 0.030282 | 0.0075893 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-112_0_4_load_37 | 29 | 0.0033688 | 0.00084431 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-112_0_4_load_31 | 30 | 0.037944 | 0.0095098 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-112_0_4_load_29 | 31 | 0.0033833 | 0.00084793 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-112_0_4_load_36 | 32 | 0.026233 | 0.0065746 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-112_0_4_load_33 | 33 | 0.092442 | 0.023168 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-112_0_4_load_40 | 34 | 0.0068487 | 0.0017164 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-112_0_4_load_24 | 35 | 0.0034567 | 0.00086632 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-112_0_4_load_22 | 36 | 0.0022585 | 0.00056603 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-112_0_4_load_27 | 37 | 0.0039654 | 0.00099382 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-112_0_4_load_26 | 38 | 0.0035204 | 0.00088229 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-112_0_4_load_35 | 39 | 0.0034127 | 0.00085529 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-112_0_4_load_25 | 41 | 0.024232 | 0.0060732 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-112_0_4_load_30 | 42 | 0.0035176 | 0.0008816 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-112_0_4_line_0 |  | 0 | 1 | 0.029389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-112_0_4_line_1 |  | 0 | 2 | 0.043556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-112_0_4_line_2 |  | 2 | 3 | 0.012097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-112_0_4_line_3 |  | 2 | 4 | 0.011374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-112_0_4_line_4 |  | 3 | 7 | 0.0057789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-112_0_4_line_5 |  | 3 | 5 | 0.011243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-112_0_4_line_6 |  | 4 | 12 | 0.00935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-112_0_4_line_7 |  | 5 | 6 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-112_0_4_line_8 |  | 8 | 9 | 0.033442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-112_0_4_line_9 |  | 8 | 10 | 0.044168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-112_0_4_line_10 |  | 8 | 11 | 0.018051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-112_0_4_line_11 |  | 9 | 29 | 0.016855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-112_0_4_line_12 |  | 10 | 19 | 0.043944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-112_0_4_line_13 |  | 10 | 20 | 0.01332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-112_0_4_line_14 |  | 11 | 31 | 0.01407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-112_0_4_line_15 |  | 12 | 13 | 0.20263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-112_0_4_line_16 |  | 12 | 14 | 0.014808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-112_0_4_line_17 |  | 13 | 25 | 0.011018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-112_0_4_line_18 |  | 14 | 24 | 0.027527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-112_0_4_line_19 |  | 15 | 16 | 0.012267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-112_0_4_line_20 |  | 15 | 17 | 0.029813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-112_0_4_line_21 |  | 15 | 18 | 0.020018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_261-112_0_4_line_22 |  | 17 | 24 | 0.034875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-112_0_4_line_23 |  | 18 | 32 | 0.032128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-112_0_4_line_24 |  | 19 | 33 | 0.06655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-112_0_4_line_25 |  | 19 | 30 | 0.027032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-112_0_4_line_26 |  | 20 | 34 | 0.01532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-112_0_4_line_27 |  | 21 | 22 | 0.018103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-112_0_4_line_28 |  | 21 | 23 | 0.011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-112_0_4_line_29 |  | 22 | 35 | 0.0098231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-112_0_4_line_30 |  | 22 | 36 | 0.011454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-112_0_4_line_31 |  | 26 | 27 | 0.006697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-112_0_4_line_32 |  | 26 | 28 | 0.048084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-112_0_4_line_33 |  | 27 | 30 | 0.022387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-112_0_4_line_34 |  | 29 | 39 | 0.014256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_261-112_0_4_line_35 |  | 31 | 42 | 0.014638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-112_0_4_line_36 |  | 32 | 39 | 0.014372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_261-112_0_4_line_37 |  | 35 | 38 | 0.01478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-112_0_4_line_38 |  | 36 | 40 | 0.014696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-112_0_4_line_39 |  | 37 | 38 | 0.015117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-112_0_4_line_40 |  | 40 | 41 | 0.00552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-112_0_4_line_41 |  | 41 | 42 | 0.0092755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-112_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 43 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2679839.2902 | 1248198.3609 | 2679858.2655 | 1248220.8032
1 | 2679812.0726 | 1248164.535 | 2679812.6617 | 1248166.2109 | 2679813.9168 | 1248168.3515 | 2679839.2902 | 1248198.3609
2 | 2679824.0885 | 1248162.8622 | 2679812.0726 | 1248164.535
3 | 2679802.7555 | 1248171.0589 | 2679807.254 | 1248167.906 | 2679812.0726 | 1248164.535
4 | 2679824.0885 | 1248162.8622 | 2679824.8451 | 1248163.3283 | 2679828.563 | 1248164.8572 | 2679829.3857 | 1248165.1411
5 | 2679816.8179 | 1248154.2692 | 2679824.0885 | 1248162.8622
6 | 2679802.7555 | 1248171.0589 | 2679801.3921 | 1248170.2288 | 2679798.5064 | 1248169.1558 | 2679795.4359 | 1248168.9032 | 2679793.8251 | 1248169.0594
7 | 2679816.8179 | 1248154.2692 | 2679827.5866 | 1248143.1437
8 | 2679814.1331 | 1248312.1039 | 2679840.7498 | 1248291.7585
9 | 2679840.7498 | 1248291.7585 | 2679846.2137 | 1248287.5734 | 2679849.361 | 1248291.085 | 2679823.6997 | 1248311.1431
10 | 2679840.7498 | 1248291.7585 | 2679829.4265 | 1248277.7008
11 | 2679814.1331 | 1248312.1039 | 2679811.6975 | 1248308.4574 | 2679803.1878 | 1248299.3428
12 | 2679789.0704 | 1248338.1968 | 2679800.5498 | 1248329.2336 | 2679814.3115 | 1248318.4776 | 2679823.6997 | 1248311.1431
13 | 2679823.6997 | 1248311.1431 | 2679832.6971 | 1248320.9653
14 | 2679820.6008 | 1248266.7437 | 2679829.4265 | 1248277.7008
15 | 2679692.722 | 1248154.2669 | 2679726.2327 | 1248121.7046 | 2679716.9937 | 1248111.195 | 2679709.8382 | 1248103.015 | 2679726.1503 | 1248086.2888 | 2679733.6266 | 1248094.2062 | 2679773.0751 | 1248140.1258 | 2679777.6483 | 1248145.4468 | 2679779.3367 | 1248147.938 | 2679780.2725 | 1248150.7971 | 2679780.4337 | 1248153.4123 | 2679787.3413 | 1248161.4889 | 2679793.8251 | 1248169.0594
16 | 2679793.8251 | 1248169.0594 | 2679792.4145 | 1248169.4963 | 2679790.0996 | 1248170.8996 | 2679782.0227 | 1248177.8015
17 | 2679692.722 | 1248154.2669 | 2679701.0526 | 1248161.4777
18 | 2679782.0227 | 1248177.8015 | 2679761.0957 | 1248195.6842
19 | 2679757.2609 | 1248231.5243 | 2679748.3783 | 1248240.011
20 | 2679734.5845 | 1248218.343 | 2679731.2602 | 1248221.2449 | 2679748.3783 | 1248240.011
21 | 2679748.3783 | 1248240.011 | 2679761.8683 | 1248254.8015
22 | 2679734.5845 | 1248218.343 | 2679751.1947 | 1248204.1449 | 2679761.0957 | 1248195.6842
23 | 2679761.8683 | 1248254.8015 | 2679773.1026 | 1248267.1189 | 2679783.6506 | 1248278.4168
24 | 2679789.0704 | 1248338.1968 | 2679790.0874 | 1248339.5115 | 2679791.3866 | 1248341.1746 | 2679805.2845 | 1248358.4409 | 2679827.0248 | 1248392.7445
25 | 2679789.0704 | 1248338.1968 | 2679767.6224 | 1248354.6504
26 | 2679843.0449 | 1248332.2619 | 2679832.6971 | 1248320.9653
27 | 2679826.8133 | 1248226.9012 | 2679840.619 | 1248215.1452
28 | 2679840.619 | 1248215.1452 | 2679838.2399 | 1248212.3444 | 2679832.8632 | 1248206.0355
29 | 2679826.8133 | 1248226.9012 | 2679828.6657 | 1248228.9944 | 2679829.5078 | 1248230.3956 | 2679829.6266 | 1248231.6648 | 2679832.2676 | 1248234.825
30 | 2679826.8133 | 1248226.9012 | 2679818.0897 | 1248234.3238
31 | 2679750.3754 | 1248368.832 | 2679749.6903 | 1248371.4803 | 2679749.5379 | 1248373.8244 | 2679749.5691 | 1248375.4371
32 | 2679749.5691 | 1248375.4371 | 2679762.3157 | 1248395.1896 | 2679775.4964 | 1248415.9314
33 | 2679750.3754 | 1248368.832 | 2679752.2407 | 1248366.5999 | 2679764.399 | 1248357.1232 | 2679767.6224 | 1248354.6504
34 | 2679803.1878 | 1248299.3428 | 2679793.4589 | 1248288.9223
35 | 2679820.6008 | 1248266.7437 | 2679811.4181 | 1248255.3437
36 | 2679783.6506 | 1248278.4168 | 2679793.4589 | 1248288.9223
37 | 2679832.2676 | 1248234.825 | 2679841.7452 | 1248246.1659
38 | 2679809.9132 | 1248244.6756 | 2679808.8871 | 1248243.4721 | 2679810.3338 | 1248240.923 | 2679818.0897 | 1248234.3238
39 | 2679851.439 | 1248257.7655 | 2679841.7452 | 1248246.1659
40 | 2679809.9132 | 1248244.6756 | 2679805.5997 | 1248248.1201
41 | 2679805.5997 | 1248248.1201 | 2679811.4181 | 1248255.3437

## bus_geodata
| x | y | coords
0 | 2679839.2902 | 1248198.3609
1 | 2679858.2655 | 1248220.8032
2 | 2679812.0726 | 1248164.535
3 | 2679824.0885 | 1248162.8622
4 | 2679802.7555 | 1248171.0589
5 | 2679816.8179 | 1248154.2692
6 | 2679827.5866 | 1248143.1437
7 | 2679829.3857 | 1248165.1411
8 | 2679840.7498 | 1248291.7585
9 | 2679814.1331 | 1248312.1039
10 | 2679823.6997 | 1248311.1431
11 | 2679829.4265 | 1248277.7008
12 | 2679793.8251 | 1248169.0594
13 | 2679692.722 | 1248154.2669
14 | 2679782.0227 | 1248177.8015
15 | 2679748.3783 | 1248240.011
16 | 2679757.2609 | 1248231.5243
17 | 2679734.5845 | 1248218.343
18 | 2679761.8683 | 1248254.8015
19 | 2679789.0704 | 1248338.1968
20 | 2679832.6971 | 1248320.9653
21 | 2679840.619 | 1248215.1452
22 | 2679826.8133 | 1248226.9012
23 | 2679832.8632 | 1248206.0355
24 | 2679761.0957 | 1248195.6842
25 | 2679701.0526 | 1248161.4777
26 | 2679749.5691 | 1248375.4371
27 | 2679750.3754 | 1248368.832
28 | 2679775.4964 | 1248415.9314
29 | 2679803.1878 | 1248299.3428
30 | 2679767.6224 | 1248354.6504
31 | 2679820.6008 | 1248266.7437
32 | 2679783.6506 | 1248278.4168
33 | 2679827.0248 | 1248392.7445
34 | 2679843.0449 | 1248332.2619
35 | 2679832.2676 | 1248234.825
36 | 2679818.0897 | 1248234.3238
37 | 2679851.439 | 1248257.7655
38 | 2679841.7452 | 1248246.1659
39 | 2679793.4589 | 1248288.9223
40 | 2679809.9132 | 1248244.6756
41 | 2679805.5997 | 1248248.1201
42 | 2679811.4181 | 1248255.3437
43 | 2679790.4125 | 1248285.6594

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.982 | -0.34698 | 0.025583 | 0.0064118
1 | 0.98196 | -0.34792 | 0.0017554 | 0.00043995
2 | 0.9831 | -0.32548 | 0 | 0
3 | 0.98305 | -0.3266 | 0 | 0
4 | 0.98344 | -0.31883 | 0 | 0
5 | 0.98302 | -0.32708 | 0 | 0
6 | 0.98299 | -0.32773 | 0.0023449 | 0.00058768
7 | 0.98303 | -0.32689 | 0.0027824 | 0.00069733
8 | 0.99331 | -0.12733 | 0 | 0
9 | 0.99676 | -0.061371 | 0 | 0
10 | 0.98977 | -0.19536 | 0 | 0
11 | 0.99248 | -0.14339 | 0.0032508 | 0.00081472
12 | 0.98372 | -0.31336 | 0 | 0
13 | 0.98344 | -0.31899 | 0 | 0
14 | 0.98419 | -0.30429 | 0.036611 | 0.0091755
15 | 0.99376 | -0.11915 | 0 | 0
16 | 0.99337 | -0.12676 | 0.035145 | 0.0088081
17 | 0.99018 | -0.18809 | 0 | 0
18 | 0.99529 | -0.089922 | 0.04705 | 0.011792
19 | 0.98651 | -0.25838 | 0 | 0
20 | 0.98961 | -0.19846 | 0.0062317 | 0.0015618
21 | 0.99046 | -0.18244 | 0 | 0
22 | 0.99051 | -0.18156 | 0 | 0
23 | 0.99043 | -0.18302 | 0.0027282 | 0.00068376
24 | 0.98598 | -0.26937 | 0.059917 | 0.015017
25 | 0.98342 | -0.3193 | 0.0015398 | 0.00038592
26 | 0.98399 | -0.30731 | 0 | 0
27 | 0.98418 | -0.30366 | 0 | 0
28 | 0.98265 | -0.33356 | 0.030282 | 0.0075893
29 | 0.99851 | -0.028301 | 0.0033688 | 0.00084431
30 | 0.98481 | -0.29147 | 0.037944 | 0.0095098
31 | 0.99187 | -0.15511 | 0.0033833 | 0.00084793
32 | 0.99842 | -0.02998 | 0.026233 | 0.0065746
33 | 0.98082 | -0.3692 | 0.092442 | 0.023168
34 | 0.98951 | -0.20033 | 0.0068487 | 0.0017164
35 | 0.99041 | -0.18347 | 0.0034567 | 0.00086632
36 | 0.99065 | -0.17878 | 0.0022585 | 0.00056603
37 | 0.99025 | -0.1865 | 0.0039654 | 0.00099382
38 | 0.99031 | -0.18543 | 0.0035204 | 0.00088229
39 | 1 | 0 | -0.47361 | -0.12044
40 | 0.99087 | -0.17462 | 0 | 0
41 | 0.99095 | -0.17306 | 0.024232 | 0.0060732
42 | 0.99129 | -0.16645 | 0.0035176 | 0.0008816
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0017555 | 0.00043963 | -0.0017554 | -0.00043995 | 7.7981e-08 | -3.2189e-07 | 0.00266 | 0.0026601 | 0.0026601 | 0.982 | -0.34698 | 0.98196 | -0.34792 | 0.73079
1 | -0.027339 | -0.0068514 | 0.027367 | 0.0068688 | 2.803e-05 | 1.7388e-05 | 0.041426 | 0.041426 | 0.041426 | 0.982 | -0.34698 | 0.9831 | -0.32548 | 11.3808
2 | 0.0051277 | 0.0012847 | -0.0051274 | -0.0012847 | 2.7325e-07 | 2.1501e-08 | 0.0077611 | 0.0077611 | 0.0077611 | 0.9831 | -0.32548 | 0.98305 | -0.3266 | 2.1322
3 | -0.032495 | -0.0081536 | 0.032505 | 0.00816 | 1.0319e-05 | 6.46e-06 | 0.049187 | 0.049187 | 0.049187 | 0.9831 | -0.32548 | 0.98344 | -0.31883 | 13.5129
4 | 0.0027824 | 0.00069728 | -0.0027824 | -0.00069733 | 3.8441e-08 | -4.8664e-08 | 0.0042117 | 0.0042117 | 0.0042117 | 0.98305 | -0.3266 | 0.98303 | -0.32689 | 1.1571
5 | 0.002345 | 0.00058742 | -0.0023449 | -0.00058753 | 5.3119e-08 | -1.0854e-07 | 0.0035495 | 0.0035495 | 0.0035495 | 0.98305 | -0.3266 | 0.98302 | -0.32708 | 0.97514
6 | -0.032505 | -0.00816 | 0.032513 | 0.0081653 | 8.4829e-06 | 5.3104e-06 | 0.049187 | 0.049187 | 0.049187 | 0.98344 | -0.31883 | 0.98372 | -0.31336 | 13.5129
7 | 0.0023449 | 0.00058753 | -0.0023449 | -0.00058768 | 7.3156e-08 | -1.4947e-07 | 0.0035495 | 0.0035496 | 0.0035496 | 0.98302 | -0.32708 | 0.98299 | -0.32773 | 0.97516
8 | -0.2259 | -0.057322 | 0.22661 | 0.057781 | 0.00071911 | 0.00045936 | 0.33865 | 0.33865 | 0.33865 | 0.99331 | -0.12733 | 0.99676 | -0.061371 | 46.518
9 | 0.17547 | 0.044644 | -0.1749 | -0.044278 | 0.00057327 | 0.00036575 | 0.2631 | 0.2631 | 0.2631 | 0.99331 | -0.12733 | 0.98977 | -0.19536 | 36.1404
10 | 0.050423 | 0.012678 | -0.050384 | -0.012653 | 3.8636e-05 | 2.4494e-05 | 0.07555 | 0.07555 | 0.07555 | 0.99331 | -0.12733 | 0.99248 | -0.14339 | 20.7554
11 | -0.22661 | -0.057781 | 0.22698 | 0.058013 | 0.00036243 | 0.00023152 | 0.33865 | 0.33865 | 0.33865 | 0.99676 | -0.061371 | 0.99851 | -0.028301 | 46.5179
12 | 0.16182 | 0.040999 | -0.16133 | -0.040687 | 0.00048827 | 0.00031137 | 0.24343 | 0.24343 | 0.24343 | 0.98977 | -0.19536 | 0.98651 | -0.25838 | 33.4386
13 | 0.013083 | 0.0032795 | -0.013081 | -0.0032784 | 1.9325e-06 | 1.0656e-06 | 0.019669 | 0.019669 | 0.019669 | 0.98977 | -0.19536 | 0.98961 | -0.19846 | 5.4036
14 | 0.047133 | 0.011839 | -0.047107 | -0.011822 | 2.6354e-05 | 1.6685e-05 | 0.070676 | 0.070676 | 0.070676 | 0.99248 | -0.14339 | 0.99187 | -0.15511 | 19.4164
15 | 0.0015403 | 0.00038349 | -0.0015399 | -0.00038579 | 4.1231e-07 | -2.3079e-06 | 0.002329 | 0.0023299 | 0.0023299 | 0.98372 | -0.31336 | 0.98344 | -0.31899 | 0.64008
16 | -0.034054 | -0.0085488 | 0.034068 | 0.0085581 | 1.4737e-05 | 9.2436e-06 | 0.051516 | 0.051516 | 0.051516 | 0.98372 | -0.31336 | 0.98419 | -0.30429 | 14.1527
17 | 0.0015399 | 0.00038579 | -0.0015398 | -0.00038592 | 2.2429e-08 | -1.2544e-07 | 0.0023299 | 0.0023299 | 0.0023299 | 0.98344 | -0.31899 | 0.98342 | -0.3193 | 0.64009
18 | -0.070679 | -0.017734 | 0.070797 | 0.017809 | 0.00011789 | 7.5101e-05 | 0.10687 | 0.10687 | 0.10687 | 0.98419 | -0.30429 | 0.98598 | -0.26937 | 29.3595
19 | 0.035157 | 0.0088161 | -0.035145 | -0.0088081 | 1.2749e-05 | 8.0006e-06 | 0.052645 | 0.052645 | 0.052645 | 0.99376 | -0.11915 | 0.99337 | -0.12676 | 14.4629
20 | 0.13166 | 0.033429 | -0.13122 | -0.033151 | 0.00043518 | 0.00027813 | 0.19729 | 0.19729 | 0.19729 | 0.99376 | -0.11915 | 0.99018 | -0.18809 | 54.2014
21 | -0.16682 | -0.042245 | 0.16705 | 0.042394 | 0.00023447 | 0.00014954 | 0.24994 | 0.24994 | 0.24994 | 0.99376 | -0.11915 | 0.99529 | -0.089922 | 34.3321
22 | 0.13122 | 0.033151 | -0.13071 | -0.032825 | 0.00050906 | 0.00032535 | 0.19729 | 0.19729 | 0.19729 | 0.99018 | -0.18809 | 0.98598 | -0.26937 | 54.2015
23 | -0.2141 | -0.054186 | 0.21472 | 0.054581 | 0.00061793 | 0.00039464 | 0.32028 | 0.32028 | 0.32028 | 0.99529 | -0.089922 | 0.99842 | -0.02998 | 43.9945
24 | 0.092933 | 0.023481 | -0.092442 | -0.023168 | 0.00049086 | 0.0003133 | 0.14025 | 0.14025 | 0.14025 | 0.98651 | -0.25838 | 0.98082 | -0.3692 | 38.529
25 | 0.068395 | 0.017206 | -0.068287 | -0.017137 | 0.00010794 | 6.8735e-05 | 0.10319 | 0.10319 | 0.10319 | 0.98651 | -0.25838 | 0.98481 | -0.29147 | 28.3484
26 | 0.0068493 | 0.0017166 | -0.0068487 | -0.0017164 | 6.0935e-07 | 1.9317e-07 | 0.010299 | 0.010299 | 0.010299 | 0.98961 | -0.19846 | 0.98951 | -0.20033 | 2.8294
27 | -0.0027283 | -0.00068366 | 0.0027284 | 0.0006835 | 1.1405e-07 | -1.6001e-07 | 0.0040988 | 0.0040987 | 0.0040988 | 0.99046 | -0.18244 | 0.99051 | -0.18156 | 1.1261
28 | 0.0027283 | 0.00068366 | -0.0027282 | -0.00068376 | 7.5376e-08 | -1.0574e-07 | 0.0040988 | 0.0040989 | 0.0040989 | 0.99046 | -0.18244 | 0.99043 | -0.18302 | 1.1261
29 | 0.010944 | 0.0027431 | -0.010943 | -0.0027426 | 9.9577e-07 | 5.1087e-07 | 0.016441 | 0.016441 | 0.016441 | 0.99051 | -0.18156 | 0.99041 | -0.18347 | 4.5169
30 | -0.013673 | -0.0034266 | 0.013675 | 0.0034276 | 1.8122e-06 | 1.0123e-06 | 0.02054 | 0.02054 | 0.02054 | 0.99051 | -0.18156 | 0.99065 | -0.17878 | 5.6429
31 | -0.03032 | -0.007613 | 0.030325 | 0.0076163 | 5.2807e-06 | 3.2945e-06 | 0.045855 | 0.045855 | 0.045855 | 0.98399 | -0.30731 | 0.98418 | -0.30366 | 12.5976
32 | 0.03032 | 0.007613 | -0.030282 | -0.0075893 | 3.7915e-05 | 2.3656e-05 | 0.045855 | 0.045855 | 0.045855 | 0.98399 | -0.30731 | 0.98265 | -0.33356 | 12.5977
33 | -0.030325 | -0.0076163 | 0.030343 | 0.0076273 | 1.7652e-05 | 1.1013e-05 | 0.045855 | 0.045855 | 0.045855 | 0.98418 | -0.30366 | 0.98481 | -0.29147 | 12.5976
34 | -0.23035 | -0.058857 | 0.23066 | 0.059059 | 0.00031571 | 0.00020168 | 0.34367 | 0.34367 | 0.34367 | 0.99851 | -0.028301 | 1 | 0 | 47.2075
35 | 0.043724 | 0.010974 | -0.0437 | -0.010959 | 2.3623e-05 | 1.493e-05 | 0.0656 | 0.0656 | 0.0656 | 0.99187 | -0.15511 | 0.99129 | -0.16645 | 18.022
36 | -0.24095 | -0.061156 | 0.2413 | 0.061378 | 0.00034804 | 0.00022237 | 0.35938 | 0.35938 | 0.35938 | 0.99842 | -0.02998 | 1 | 0 | 49.3649
37 | 0.0074866 | 0.0018763 | -0.0074859 | -0.001876 | 7.0123e-07 | 2.5861e-07 | 0.011248 | 0.011248 | 0.011248 | 0.99041 | -0.18347 | 0.99031 | -0.18543 | 3.0902
38 | -0.015933 | -0.0039937 | 0.015936 | 0.0039955 | 3.1565e-06 | 1.8309e-06 | 0.023932 | 0.023932 | 0.023932 | 0.99065 | -0.17878 | 0.99087 | -0.17462 | 6.5748
39 | -0.0039654 | -0.00099382 | 0.0039656 | 0.00099375 | 2.0127e-07 | -6.5674e-08 | 0.0059586 | 0.0059585 | 0.0059586 | 0.99025 | -0.1865 | 0.99031 | -0.18543 | 1.637
40 | -0.015936 | -0.0039955 | 0.015937 | 0.0039962 | 1.1856e-06 | 6.8769e-07 | 0.023932 | 0.023932 | 0.023932 | 0.99087 | -0.17462 | 0.99095 | -0.17306 | 6.5748
41 | -0.04017 | -0.010069 | 0.040182 | 0.010077 | 1.2656e-05 | 7.9802e-06 | 0.06032 | 0.06032 | 0.06032 | 0.99095 | -0.17306 | 0.99129 | -0.16645 | 16.5714

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47702 | 0.12129

## res_load
| p_mw | q_mvar
0 | 0.025583 | 0.0064118
1 | 0.0017554 | 0.00043995
2 | 0.0023449 | 0.00058768
3 | 0.0027824 | 0.00069733
4 | 0.0032508 | 0.00081472
5 | 0.036611 | 0.0091755
6 | 0.035145 | 0.0088081
7 | 0.04705 | 0.011792
8 | 0.0062317 | 0.0015618
9 | 0.0027282 | 0.00068376
10 | 0.059917 | 0.015017
11 | 0.0015398 | 0.00038592
12 | 0.030282 | 0.0075893
13 | 0.0033688 | 0.00084431
14 | 0.037944 | 0.0095098
15 | 0.0033833 | 0.00084793
16 | 0.026233 | 0.0065746
17 | 0.092442 | 0.023168
18 | 0.0068487 | 0.0017164
19 | 0.0034567 | 0.00086632
20 | 0.0022585 | 0.00056603
21 | 0.0039654 | 0.00099382
22 | 0.0035204 | 0.00088229
23 | 0.0034127 | 0.00085529
24 | 0.024232 | 0.0060732
25 | 0.0035176 | 0.0008816

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1