## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-115_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-115_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-115_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-115_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-115_0_5_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_261-115_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-115_0_5_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_261-115_0_5_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_261-115_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-115_0_5_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_261-115_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-115_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-115_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-115_0_5_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_261-115_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-115_0_5_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_261-115_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_261-115_0_5_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_261-115_0_5_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_261-115_0_5_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_261-115_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_261-115_0_5_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_261-115_0_5_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_261-115_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_261-115_0_5_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_261-115_0_5_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_261-115_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_261-115_0_5_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_261-115_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_261-115_0_5_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_261-115_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_261-115_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_261-115_0_5_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_261-115_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_261-115_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_261-115_0_5_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_261-115_0_5_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_261-115_0_5_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_261-115_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_261-115_0_5_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_261-115_0_5_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_261-115_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_261-115_0_5_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_261-115_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_261-115_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-115_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_261-115_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_261-115_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_261-115_0_5_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_261-115_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_261-115_0_5_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_261-115_0_5_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_261-115_0_5_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_261-115_0_5_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_261-115_0_5_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_261-115_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_261-115_0_5_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_261-115_0_5_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_261-115_0_5_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_261-115_0_5_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_261-115_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_261-115_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_261-115_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_261-115_0_5_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_261-115_0_5_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_261-115_0_5_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_261-115_0_5_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_261-115_0_5_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_261-115_0_5_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_261-115_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_261-115_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_MV_525_0_node_4 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-115_0_5_load_0 | 0 | 0.015306 | 0.003836 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-115_0_5_load_1 | 1 | 0.050813 | 0.012735 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-115_0_5_load_2 | 2 | 0.054462 | 0.013649 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-115_0_5_load_48 | 7 | 0.00077716 | 0.00019478 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-115_0_5_load_54 | 9 | 0.0034115 | 0.00085499 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-115_0_5_load_71 | 13 | 0.0058859 | 0.0014751 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-115_0_5_load_49 | 15 | 0.0016447 | 0.00041219 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-115_0_5_load_58 | 18 | 0.0064873 | 0.0016259 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-115_0_5_load_33 | 19 | 0.0019581 | 0.00049076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-115_0_5_load_72 | 21 | 0.017647 | 0.0044227 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-115_0_5_load_36 | 25 | 0.0099336 | 0.0024896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-115_0_5_load_53 | 27 | 0.0056239 | 0.0014095 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-115_0_5_load_51 | 29 | 0.0055674 | 0.0013953 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-115_0_5_load_59 | 32 | 0.0011857 | 0.00029716 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-115_0_5_load_60 | 36 | 0.0036506 | 0.00091493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-115_0_5_load_52 | 37 | 0.0015855 | 0.00039735 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-115_0_5_load_73 | 39 | 0.0055377 | 0.0013879 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-115_0_5_load_70 | 40 | 0.0070732 | 0.0017727 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-115_0_5_load_37 | 41 | 0.0084187 | 0.0021099 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-115_0_5_load_75 | 42 | 0.0051126 | 0.0012813 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-115_0_5_load_40 | 45 | 0.018483 | 0.0046322 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-115_0_5_load_42 | 46 | 0.015726 | 0.0039412 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-115_0_5_load_41 | 47 | 0.006215 | 0.0015576 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-115_0_5_load_67 | 48 | 0.0028564 | 0.00071589 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-115_0_5_load_47 | 49 | 0.0045895 | 0.0011502 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-115_0_5_load_69 | 50 | 0.0021494 | 0.00053869 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-115_0_5_load_68 | 51 | 0.0021576 | 0.00054076 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-115_0_5_load_62 | 53 | 0.0071427 | 0.0017901 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-115_0_5_load_63 | 54 | 0.0072921 | 0.0018276 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-115_0_5_load_32 | 55 | 0.0062455 | 0.0015653 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-115_0_5_load_30 | 56 | 0.034248 | 0.0085835 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-115_0_5_load_31 | 57 | 0.010034 | 0.0025149 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-115_0_5_load_66 | 58 | 0.0072723 | 0.0018226 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-115_0_5_load_34 | 59 | 0.0058785 | 0.0014733 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-115_0_5_load_50 | 60 | 0.009067 | 0.0022724 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-115_0_5_load_46 | 61 | 0.016678 | 0.00418 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-115_0_5_load_45 | 62 | 0.0061163 | 0.0015329 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-115_0_5_load_61 | 63 | 0.013905 | 0.003485 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-115_0_5_load_74 | 64 | 0.0063104 | 0.0015815 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-115_0_5_load_76 | 65 | 0.0071628 | 0.0017952 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-115_0_5_load_35 | 66 | 0.0068286 | 0.0017114 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-115_0_5_load_65 | 67 | 0.0031336 | 0.00078536 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-115_0_5_load_55 | 68 | 0.019464 | 0.0048782 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-115_0_5_load_57 | 69 | 0.015416 | 0.0038636 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-115_0_5_load_64 | 70 | 0.0081764 | 0.0020492 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-115_0_5_line_0 |  | 0 | 1 | 0.051111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-115_0_5_line_1 |  | 0 | 2 | 0.069072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-115_0_5_line_2 |  | 2 | 3 | 0.058461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-115_0_5_line_3 |  | 3 | 4 | 0.057515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-115_0_5_line_4 |  | 4 | 19 | 0.18603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-115_0_5_line_5 |  | 4 | 8 | 0.021883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-115_0_5_line_6 |  | 4 | 10 | 0.046656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_261-115_0_5_line_7 |  | 5 | 6 | 0.005678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-115_0_5_line_8 |  | 5 | 7 | 0.005832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-115_0_5_line_9 |  | 6 | 48 | 0.0089474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-115_0_5_line_10 |  | 6 | 23 | 0.008885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-115_0_5_line_11 |  | 7 | 15 | 0.042111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-115_0_5_line_12 |  | 7 | 49 | 0.0058345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-115_0_5_line_13 |  | 8 | 9 | 0.053599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-115_0_5_line_14 |  | 10 | 11 | 0.018215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_261-115_0_5_line_15 |  | 11 | 15 | 0.049785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_261-115_0_5_line_16 |  | 11 | 12 | 0.007027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_261-115_0_5_line_17 |  | 12 | 13 | 0.038502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_261-115_0_5_line_18 |  | 12 | 14 | 0.053462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-115_0_5_line_19 |  | 13 | 16 | 0.22054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-115_0_5_line_20 |  | 14 | 18 | 0.054312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-115_0_5_line_21 |  | 16 | 17 | 0.076799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-115_0_5_line_22 |  | 17 | 47 | 0.021675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-115_0_5_line_23 |  | 17 | 44 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-115_0_5_line_24 |  | 18 | 52 | 0.019912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-115_0_5_line_25 |  | 19 | 57 | 0.039727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-115_0_5_line_26 |  | 20 | 21 | 0.052624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-115_0_5_line_27 |  | 20 | 22 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-115_0_5_line_28 |  | 22 | 37 | 0.019612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-115_0_5_line_29 |  | 23 | 24 | 0.023352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-115_0_5_line_30 |  | 23 | 25 | 0.018405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_261-115_0_5_line_31 |  | 24 | 58 | 0.0020736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-115_0_5_line_32 |  | 25 | 59 | 0.018707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-115_0_5_line_33 |  | 26 | 27 | 0.0054924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-115_0_5_line_34 |  | 26 | 28 | 0.016267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-115_0_5_line_35 |  | 26 | 29 | 0.011859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-115_0_5_line_36 |  | 27 | 31 | 0.0069245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-115_0_5_line_37 |  | 28 | 38 | 0.007218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-115_0_5_line_38 |  | 28 | 39 | 0.023094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-115_0_5_line_39 |  | 29 | 60 | 0.033962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-115_0_5_line_40 |  | 30 | 31 | 0.0198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-115_0_5_line_41 |  | 30 | 32 | 0.013435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-115_0_5_line_42 |  | 31 | 36 | 0.021048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-115_0_5_line_43 |  | 33 | 34 | 0.012001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-115_0_5_line_44 |  | 33 | 35 | 0.007763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-115_0_5_line_45 |  | 34 | 40 | 0.014455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-115_0_5_line_46 |  | 34 | 41 | 0.0042511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-115_0_5_line_47 |  | 35 | 62 | 0.0062675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-115_0_5_line_48 |  | 36 | 63 | 0.058825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-115_0_5_line_49 |  | 37 | 60 | 0.030658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-115_0_5_line_50 |  | 38 | 42 | 0.015171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-115_0_5_line_51 |  | 38 | 43 | 0.015065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-115_0_5_line_52 |  | 39 | 64 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-115_0_5_line_53 |  | 40 | 65 | 0.0172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-115_0_5_line_54 |  | 41 | 66 | 0.020166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-115_0_5_line_55 |  | 42 | 65 | 0.015094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-115_0_5_line_56 |  | 43 | 46 | 0.012931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-115_0_5_line_57 |  | 44 | 45 | 0.031365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-115_0_5_line_58 |  | 48 | 51 | 0.01447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-115_0_5_line_59 |  | 49 | 61 | 0.031974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-115_0_5_line_60 |  | 50 | 51 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-115_0_5_line_61 |  | 52 | 68 | 0.017072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-115_0_5_line_62 |  | 53 | 54 | 0.015866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-115_0_5_line_63 |  | 54 | 70 | 0.017003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-115_0_5_line_64 |  | 55 | 56 | 0.065457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-115_0_5_line_65 |  | 56 | 57 | 0.0067178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-115_0_5_line_66 |  | 58 | 67 | 0.008185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-115_0_5_line_67 |  | 59 | 66 | 0.018501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-115_0_5_line_68 |  | 67 | 70 | 0.0087975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-115_0_5_line_69 |  | 68 | 69 | 0.0025684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-115_0_5_trafo_71 | 0.63 MVA 20/0.4 kV | 71 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2680819.7571 | 1248984.0992 | 2680822.9349 | 1248999.5836 | 2680829.9588 | 1249034.1813
1 | 2680819.7571 | 1248984.0992 | 2680817.2986 | 1248972.1199 | 2680811.3086 | 1248942.8945 | 2680805.4939 | 1248916.518
2 | 2680791.6532 | 1248859.7211 | 2680803.8982 | 1248909.28 | 2680805.4939 | 1248916.518
3 | 2680791.6532 | 1248859.7211 | 2680796.8393 | 1248849.8957 | 2680795.673 | 1248845.1541 | 2680801.0306 | 1248833.2739 | 2680798.0897 | 1248814.1309 | 2680798.2071 | 1248809.3957 | 2680802.5362 | 1248808.6986
4 | 2680802.5362 | 1248808.6986 | 2680801.8037 | 1248816.4499 | 2680802.7954 | 1248825.1365 | 2680805.169 | 1248837.7002 | 2680804.2469 | 1248847.1724 | 2680826.3605 | 1248969.3414 | 2680830.9186 | 1248991.9294
5 | 2680802.5362 | 1248808.6986 | 2680806.4742 | 1248800.1349 | 2680816.5358 | 1248792.7444
6 | 2680775.4223 | 1248783.9999 | 2680779.1445 | 1248785.1737 | 2680784.8517 | 1248783.6504 | 2680789.5573 | 1248794.1111 | 2680792.7604 | 1248801.2266 | 2680794.0067 | 1248810.0723 | 2680798.2071 | 1248809.3957 | 2680802.5362 | 1248808.6986
7 | 2680709.7456 | 1248717.39 | 2680714.1595 | 1248713.803
8 | 2680709.7456 | 1248717.39 | 2680705.232 | 1248721.098
9 | 2680714.1595 | 1248713.803 | 2680715.8417 | 1248714.4931 | 2680720.4466 | 1248719.9354
10 | 2680714.1595 | 1248713.803 | 2680708.5366 | 1248706.9103
11 | 2680705.232 | 1248721.098 | 2680725.0427 | 1248744.218 | 2680730.9547 | 1248754.2725
12 | 2680705.232 | 1248721.098 | 2680701.4868 | 1248716.6242
13 | 2680816.5358 | 1248792.7444 | 2680819.4701 | 1248799.6339 | 2680825.3302 | 1248812.3675 | 2680826.3429 | 1248814.5274 | 2680827.0344 | 1248816.4271 | 2680827.5578 | 1248818.4691 | 2680827.9141 | 1248820.5866 | 2680828.0194 | 1248822.8341 | 2680827.8727 | 1248825.2784 | 2680827.4729 | 1248828.0194 | 2680826.8915 | 1248830.7801 | 2680826.0493 | 1248833.8376 | 2680823.8599 | 1248840.4348 | 2680822.9102 | 1248843.2997
14 | 2680760.1902 | 1248793.9887 | 2680768.3282 | 1248788.6512 | 2680775.4223 | 1248783.9999
15 | 2680760.1902 | 1248793.9887 | 2680757.7379 | 1248786.6388 | 2680752.1416 | 1248778.9124 | 2680730.9547 | 1248754.2725
16 | 2680760.1902 | 1248793.9887 | 2680755.9825 | 1248799.6244
17 | 2680755.9825 | 1248799.6244 | 2680747.5564 | 1248803.935 | 2680720.8225 | 1248815.2686
18 | 2680755.9825 | 1248799.6244 | 2680759.2509 | 1248807.4969 | 2680763.5872 | 1248817.9081 | 2680752.8375 | 1248822.0425 | 2680732.4363 | 1248830.6488
19 | 2680517.6484 | 1248895.2534 | 2680520.7427 | 1248897.0634 | 2680525.8054 | 1248897.9439 | 2680720.8225 | 1248815.2686
20 | 2680732.4363 | 1248830.6488 | 2680704.0506 | 1248837.2116 | 2680680.8479 | 1248846.9849
21 | 2680468.1461 | 1248836.4159 | 2680515.4266 | 1248892.599 | 2680517.6484 | 1248895.2534
22 | 2680486.1926 | 1248824.3409 | 2680482.4308 | 1248826.636 | 2680469.4579 | 1248835.4664 | 2680468.1461 | 1248836.4159
23 | 2680468.1461 | 1248836.4159 | 2680451.4662 | 1248816.2637
24 | 2680662.4969 | 1248854.7146 | 2680680.8479 | 1248846.9849
25 | 2680830.9186 | 1248991.9294 | 2680838.7768 | 1249030.8719
26 | 2680683.9002 | 1248513.511 | 2680649.399 | 1248517.6224 | 2680640.0792 | 1248502.3656
27 | 2680683.9002 | 1248513.511 | 2680697.076 | 1248528.1232
28 | 2680697.076 | 1248528.1232 | 2680680.1653 | 1248538.0551
29 | 2680728.5851 | 1248694.8411 | 2680708.5366 | 1248706.9103
30 | 2680708.5366 | 1248706.9103 | 2680696.7856 | 1248692.7446
31 | 2680728.5851 | 1248694.8411 | 2680730.3658 | 1248693.7786
32 | 2680696.7856 | 1248692.7446 | 2680684.8419 | 1248678.3464
33 | 2680613.6719 | 1248575.7681 | 2680610.083 | 1248576.998 | 2680608.4023 | 1248577.2441
34 | 2680613.6719 | 1248575.7681 | 2680617.4597 | 1248582.6691 | 2680621.3764 | 1248590.0945
35 | 2680613.6719 | 1248575.7681 | 2680619.7587 | 1248573.0044 | 2680624.301 | 1248570.5272
36 | 2680601.5461 | 1248577.2266 | 2680605.1493 | 1248577.7203 | 2680608.4023 | 1248577.2441
37 | 2680619.033 | 1248596.9232 | 2680621.3764 | 1248590.0945
38 | 2680621.3764 | 1248590.0945 | 2680623.7292 | 1248588.681 | 2680641.1353 | 1248578.1395
39 | 2680653.7292 | 1248553.5814 | 2680632.3507 | 1248566.1372 | 2680624.301 | 1248570.5272
40 | 2680589.0216 | 1248590.7885 | 2680589.1256 | 1248586.4756 | 2680595.9158 | 1248581.4087 | 2680601.5461 | 1248577.2266
41 | 2680589.0216 | 1248590.7885 | 2680585.9212 | 1248596.0836 | 2680579.6257 | 1248599.7762
42 | 2680601.5461 | 1248577.2266 | 2680598.8986 | 1248575.8785 | 2680595.3849 | 1248573.251 | 2680593.0412 | 1248570.6617 | 2680586.5213 | 1248562.8216
43 | 2680648.2954 | 1248653.0845 | 2680652.4517 | 1248649.5496 | 2680657.4408 | 1248645.3143
44 | 2680648.2954 | 1248653.0845 | 2680646.2842 | 1248652.7013 | 2680643.4008 | 1248653.1513 | 2680641.0684 | 1248654.7319
45 | 2680657.4408 | 1248645.3143 | 2680648.0895 | 1248634.2918
46 | 2680657.4408 | 1248645.3143 | 2680660.1549 | 1248648.5862
47 | 2680641.0684 | 1248654.7319 | 2680639.3459 | 1248655.8871 | 2680636.0336 | 1248658.4588
48 | 2680586.5213 | 1248562.8216 | 2680565.2732 | 1248537.271 | 2680548.5734 | 1248517.877
49 | 2680653.7292 | 1248553.5814 | 2680680.1653 | 1248538.0551
50 | 2680619.033 | 1248596.9232 | 2680625.0787 | 1248607.1684 | 2680627.1975 | 1248609.666
51 | 2680606.9927 | 1248605.9772 | 2680613.051 | 1248601.4229 | 2680619.033 | 1248596.9232
52 | 2680641.1353 | 1248578.1395 | 2680648.5991 | 1248573.6193 | 2680657.6219 | 1248568.4672
53 | 2680636.9626 | 1248621.1763 | 2680648.0895 | 1248634.2918
54 | 2680673.03 | 1248664.1072 | 2680660.1549 | 1248648.5862
55 | 2680627.1975 | 1248609.666 | 2680636.9626 | 1248621.1763
56 | 2680606.9927 | 1248605.9772 | 2680610.4981 | 1248609.7721 | 2680615.626 | 1248615.6024
57 | 2680451.4662 | 1248816.2637 | 2680468.7991 | 1248806.1248 | 2680478.595 | 1248800.5222
58 | 2680720.4466 | 1248719.9354 | 2680729.7935 | 1248730.982
59 | 2680680.9624 | 1248692.1068 | 2680701.4868 | 1248716.6242
60 | 2680729.7935 | 1248730.982 | 2680738.327 | 1248741.0673
61 | 2680662.4969 | 1248854.7146 | 2680669.2461 | 1248870.3957
62 | 2680773.1757 | 1248668.2342 | 2680759.5507 | 1248676.3641
63 | 2680759.5507 | 1248676.3641 | 2680744.9493 | 1248685.0767
64 | 2680840.1056 | 1249037.457 | 2680845.0127 | 1249061.7747 | 2680853.2067 | 1249101.5897
65 | 2680840.1056 | 1249037.457 | 2680838.7768 | 1249030.8719
66 | 2680737.3946 | 1248689.5845 | 2680730.3658 | 1248693.7786
67 | 2680673.03 | 1248664.1072 | 2680684.8419 | 1248678.3464
68 | 2680737.3946 | 1248689.5845 | 2680744.9493 | 1248685.0767
69 | 2680671.6157 | 1248869.405 | 2680669.2461 | 1248870.3957

## bus_geodata
| x | y | coords
0 | 2680819.7571 | 1248984.0992
1 | 2680829.9588 | 1249034.1813
2 | 2680805.4939 | 1248916.518
3 | 2680791.6532 | 1248859.7211
4 | 2680802.5362 | 1248808.6986
5 | 2680709.7456 | 1248717.39
6 | 2680714.1595 | 1248713.803
7 | 2680705.232 | 1248721.098
8 | 2680816.5358 | 1248792.7444
9 | 2680822.9102 | 1248843.2997
10 | 2680775.4223 | 1248783.9999
11 | 2680760.1902 | 1248793.9887
12 | 2680755.9825 | 1248799.6244
13 | 2680720.8225 | 1248815.2686
14 | 2680732.4363 | 1248830.6488
15 | 2680730.9547 | 1248754.2725
16 | 2680517.6484 | 1248895.2534
17 | 2680468.1461 | 1248836.4159
18 | 2680680.8479 | 1248846.9849
19 | 2680830.9186 | 1248991.9294
20 | 2680683.9002 | 1248513.511
21 | 2680640.0792 | 1248502.3656
22 | 2680697.076 | 1248528.1232
23 | 2680708.5366 | 1248706.9103
24 | 2680728.5851 | 1248694.8411
25 | 2680696.7856 | 1248692.7446
26 | 2680613.6719 | 1248575.7681
27 | 2680608.4023 | 1248577.2441
28 | 2680621.3764 | 1248590.0945
29 | 2680624.301 | 1248570.5272
30 | 2680589.0216 | 1248590.7885
31 | 2680601.5461 | 1248577.2266
32 | 2680579.6257 | 1248599.7762
33 | 2680648.2954 | 1248653.0845
34 | 2680657.4408 | 1248645.3143
35 | 2680641.0684 | 1248654.7319
36 | 2680586.5213 | 1248562.8216
37 | 2680680.1654 | 1248538.0551
38 | 2680619.033 | 1248596.9232
39 | 2680641.1353 | 1248578.1395
40 | 2680648.0895 | 1248634.2918
41 | 2680660.1549 | 1248648.5862
42 | 2680627.1975 | 1248609.666
43 | 2680606.9927 | 1248605.9772
44 | 2680451.4662 | 1248816.2637
45 | 2680478.595 | 1248800.5222
46 | 2680615.626 | 1248615.6024
47 | 2680486.1926 | 1248824.3409
48 | 2680720.4466 | 1248719.9354
49 | 2680701.4868 | 1248716.6242
50 | 2680738.327 | 1248741.0673
51 | 2680729.7935 | 1248730.982
52 | 2680662.4969 | 1248854.7146
53 | 2680773.1757 | 1248668.2342
54 | 2680759.5507 | 1248676.3641
55 | 2680853.2067 | 1249101.5897
56 | 2680840.1056 | 1249037.457
57 | 2680838.7768 | 1249030.8719
58 | 2680730.3658 | 1248693.7786
59 | 2680684.8419 | 1248678.3464
60 | 2680653.7292 | 1248553.5814
61 | 2680680.9624 | 1248692.1068
62 | 2680636.0336 | 1248658.4588
63 | 2680548.5734 | 1248517.877
64 | 2680657.6219 | 1248568.4672
65 | 2680636.9626 | 1248621.1763
66 | 2680673.03 | 1248664.1072
67 | 2680737.3946 | 1248689.5845
68 | 2680669.2461 | 1248870.3957
69 | 2680671.6157 | 1248869.405
70 | 2680744.9493 | 1248685.0767
71 | 2680755.9825 | 1248799.6244

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97373 | -0.50525 | 0.015306 | 0.003836
1 | 0.97131 | -0.55311 | 0.050813 | 0.012735
2 | 0.978 | -0.42166 | 0.054462 | 0.013649
3 | 0.98456 | -0.29406 | 0 | 0
4 | 0.99102 | -0.17017 | 0 | 0
5 | 0.99098 | -0.17133 | 0 | 0
6 | 0.99074 | -0.17593 | 0 | 0
7 | 0.99123 | -0.16661 | 0.00077716 | 0.00019478
8 | 0.99095 | -0.1715 | 0 | 0
9 | 0.99078 | -0.17474 | 0.0034115 | 0.00085499
10 | 0.99485 | -0.097382 | 0 | 0
11 | 0.99559 | -0.083238 | 0 | 0
12 | 0.99622 | -0.071423 | 0 | 0
13 | 1 | 0 | -0.45839 | -0.11755
14 | 0.99419 | -0.11034 | 0 | 0
15 | 0.99322 | -0.12848 | 0.0016447 | 0.00041219
16 | 0.99502 | -0.095444 | 0 | 0
17 | 0.99329 | -0.1289 | 0 | 0
18 | 0.99214 | -0.15005 | 0.0064873 | 0.0016259
19 | 0.98198 | -0.34507 | 0.0019581 | 0.00049076
20 | 0.97234 | -0.53371 | 0 | 0
21 | 0.97148 | -0.55085 | 0.017647 | 0.0044227
22 | 0.97267 | -0.52732 | 0 | 0
23 | 0.99002 | -0.18978 | 0 | 0
24 | 0.98931 | -0.2035 | 0 | 0
25 | 0.9888 | -0.2131 | 0.0099336 | 0.0024896
26 | 0.97481 | -0.48506 | 0 | 0
27 | 0.97469 | -0.48752 | 0.0056239 | 0.0014095
28 | 0.97569 | -0.4677 | 0 | 0
29 | 0.97444 | -0.49243 | 0.0055674 | 0.0013953
30 | 0.97454 | -0.49033 | 0 | 0
31 | 0.97457 | -0.4899 | 0 | 0
32 | 0.97453 | -0.49062 | 0.0011857 | 0.00029716
33 | 0.98157 | -0.35279 | 0 | 0
34 | 0.98164 | -0.35146 | 0 | 0
35 | 0.98153 | -0.35364 | 0 | 0
36 | 0.97422 | -0.49668 | 0.0036506 | 0.00091493
37 | 0.97299 | -0.52095 | 0.0015855 | 0.00039735
38 | 0.97617 | -0.45844 | 0 | 0
39 | 0.97544 | -0.47271 | 0.0055377 | 0.0013879
40 | 0.98023 | -0.37899 | 0.0070732 | 0.0017727
41 | 0.98208 | -0.3429 | 0.0084187 | 0.0021099
42 | 0.97738 | -0.43466 | 0.0051126 | 0.0012813
43 | 0.97595 | -0.46278 | 0 | 0
44 | 0.99285 | -0.13743 | 0 | 0
45 | 0.99232 | -0.14769 | 0.018483 | 0.0046322
46 | 0.97576 | -0.4665 | 0.015726 | 0.0039412
47 | 0.99317 | -0.13128 | 0.006215 | 0.0015576
48 | 0.99068 | -0.17707 | 0.0028564 | 0.00071589
49 | 0.99111 | -0.16881 | 0.0045895 | 0.0011502
50 | 0.9906 | -0.17868 | 0.0021494 | 0.00053869
51 | 0.99063 | -0.17818 | 0.0021576 | 0.00054076
52 | 0.9915 | -0.16235 | 0 | 0
53 | 0.98854 | -0.21841 | 0.0071427 | 0.0017901
54 | 0.98865 | -0.21639 | 0.0072921 | 0.0018276
55 | 0.97949 | -0.39378 | 0.0062455 | 0.0015653
56 | 0.97987 | -0.38636 | 0.034248 | 0.0085835
57 | 0.98012 | -0.38142 | 0.010034 | 0.0025149
58 | 0.98925 | -0.20472 | 0.0072723 | 0.0018226
59 | 0.9865 | -0.25736 | 0.0058785 | 0.0014733
60 | 0.97354 | -0.51009 | 0.009067 | 0.0022724
61 | 0.99063 | -0.17828 | 0.016678 | 0.00418
62 | 0.98149 | -0.35434 | 0.0061163 | 0.0015329
63 | 0.97346 | -0.51172 | 0.013905 | 0.003485
64 | 0.97533 | -0.47492 | 0.0063104 | 0.0015815
65 | 0.97866 | -0.40965 | 0.0071628 | 0.0017952
66 | 0.98432 | -0.29938 | 0.0068286 | 0.0017114
67 | 0.98906 | -0.20847 | 0.0031336 | 0.00078536
68 | 0.99096 | -0.17292 | 0.019464 | 0.0048782
69 | 0.99092 | -0.17362 | 0.015416 | 0.0038636
70 | 0.98887 | -0.21202 | 0.0081764 | 0.0020492
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.050929 | 0.012809 | -0.050813 | -0.012735 | 0.00011614 | 7.3696e-05 | 0.077843 | 0.077843 | 0.077843 | 0.97373 | -0.50525 | 0.97131 | -0.55311 | 21.3855
1 | -0.066234 | -0.016645 | 0.0665 | 0.016814 | 0.00026544 | 0.00016902 | 0.10123 | 0.10123 | 0.10123 | 0.97373 | -0.50525 | 0.978 | -0.42166 | 27.8112
2 | -0.12096 | -0.030463 | 0.1217 | 0.030938 | 0.00074299 | 0.00047477 | 0.1841 | 0.18409 | 0.1841 | 0.978 | -0.42166 | 0.98456 | -0.29406 | 50.5756
3 | -0.1217 | -0.030938 | 0.12244 | 0.031405 | 0.00073096 | 0.00046708 | 0.18409 | 0.18409 | 0.18409 | 0.98456 | -0.29406 | 0.99102 | -0.17017 | 50.5755
4 | 0.053029 | 0.013498 | -0.052586 | -0.013217 | 0.0004431 | 0.00028121 | 0.079697 | 0.079698 | 0.079698 | 0.99102 | -0.17017 | 0.98198 | -0.34507 | 21.8951
5 | 0.0034122 | 0.0008545 | -0.003412 | -0.00085464 | 2.1539e-07 | -1.4409e-07 | 0.0051232 | 0.0051233 | 0.0051233 | 0.99102 | -0.17017 | 0.99095 | -0.1715 | 1.4075
6 | -0.17888 | -0.045757 | 0.17951 | 0.046161 | 0.00063261 | 0.00040367 | 0.26892 | 0.26891 | 0.26892 | 0.99102 | -0.17017 | 0.99485 | -0.097382 | 36.9389
7 | 0.18438 | 0.04693 | -0.18434 | -0.046904 | 4.0879e-05 | 2.587e-05 | 0.27712 | 0.27712 | 0.27712 | 0.99098 | -0.17133 | 0.99074 | -0.17593 | 19.0328
8 | -0.18438 | -0.04693 | 0.18442 | 0.046957 | 4.1987e-05 | 2.6571e-05 | 0.27712 | 0.27712 | 0.27712 | 0.99098 | -0.17133 | 0.99123 | -0.16661 | 19.0328
9 | 0.0071641 | 0.0017953 | -0.0071637 | -0.0017952 | 3.8846e-07 | 1.334e-07 | 0.01076 | 0.01076 | 0.01076 | 0.99074 | -0.17593 | 0.99068 | -0.17707 | 2.956
10 | 0.17718 | 0.045109 | -0.17706 | -0.045034 | 0.00011819 | 7.5415e-05 | 0.26636 | 0.26636 | 0.26636 | 0.99074 | -0.17593 | 0.99002 | -0.18978 | 36.5877
11 | -0.20648 | -0.052488 | 0.20686 | 0.052729 | 0.00037994 | 0.00024099 | 0.31023 | 0.31023 | 0.31023 | 0.99123 | -0.16661 | 0.99322 | -0.12848 | 21.3068
12 | 0.021278 | 0.005336 | -0.021275 | -0.0053346 | 2.2324e-06 | 1.3536e-06 | 0.031943 | 0.031943 | 0.031943 | 0.99123 | -0.16661 | 0.99111 | -0.16881 | 8.7755
13 | 0.003412 | 0.00085464 | -0.0034115 | -0.00085499 | 5.276e-07 | -3.5273e-07 | 0.0051233 | 0.0051235 | 0.0051235 | 0.99095 | -0.1715 | 0.99078 | -0.17474 | 1.4076
14 | -0.17951 | -0.046161 | 0.17963 | 0.046239 | 0.00012349 | 7.8087e-05 | 0.26891 | 0.26891 | 0.26891 | 0.99485 | -0.097382 | 0.99559 | -0.083238 | 18.4694
15 | 0.20896 | 0.05343 | -0.2085 | -0.053141 | 0.00045635 | 0.00028948 | 0.31269 | 0.31269 | 0.31269 | 0.99559 | -0.083238 | 0.99322 | -0.12848 | 21.476
16 | -0.38859 | -0.099669 | 0.38882 | 0.099811 | 0.00022284 | 0.00014225 | 0.5816 | 0.5816 | 0.5816 | 0.99559 | -0.083238 | 0.99622 | -0.071423 | 39.9453
17 | -0.43038 | -0.1103 | 0.43187 | 0.11126 | 0.0014957 | 0.0009552 | 0.64371 | 0.64371 | 0.64371 | 0.99622 | -0.071423 | 1 | 0 | 44.2107
18 | 0.041562 | 0.01049 | -0.041484 | -0.010441 | 7.7328e-05 | 4.8795e-05 | 0.062105 | 0.062106 | 0.062106 | 0.99622 | -0.071423 | 0.99419 | -0.11034 | 17.062
19 | 0.024868 | 0.0062938 | -0.024754 | -0.0062241 | 0.00011338 | 6.9683e-05 | 0.037025 | 0.037026 | 0.037026 | 1 | 0 | 0.99502 | -0.095444 | 10.172
20 | 0.041484 | 0.010441 | -0.041406 | -0.010392 | 7.8558e-05 | 4.9574e-05 | 0.062106 | 0.062106 | 0.062106 | 0.99419 | -0.11034 | 0.99214 | -0.15005 | 17.0621
21 | 0.024754 | 0.0062241 | -0.024715 | -0.0061998 | 3.9483e-05 | 2.4273e-05 | 0.037026 | 0.037026 | 0.037026 | 0.99502 | -0.095444 | 0.99329 | -0.1289 | 10.1721
22 | 0.0062157 | 0.0015578 | -0.006215 | -0.0015576 | 7.0475e-07 | 1.7052e-07 | 0.0093115 | 0.0093116 | 0.0093116 | 0.99329 | -0.1289 | 0.99317 | -0.13128 | 2.5581
23 | 0.018499 | 0.004642 | -0.018492 | -0.0046375 | 7.5264e-06 | 4.4788e-06 | 0.027715 | 0.027715 | 0.027715 | 0.99329 | -0.1289 | 0.99285 | -0.13743 | 7.614
24 | 0.034919 | 0.0087659 | -0.034898 | -0.0087531 | 2.0485e-05 | 1.2853e-05 | 0.052376 | 0.052376 | 0.052376 | 0.99214 | -0.15005 | 0.9915 | -0.16235 | 14.3891
25 | 0.050628 | 0.012726 | -0.05054 | -0.01267 | 8.7713e-05 | 5.5635e-05 | 0.076731 | 0.076731 | 0.076731 | 0.98198 | -0.34507 | 0.98012 | -0.38142 | 21.08
26 | 0.017661 | 0.0044313 | -0.017647 | -0.0044227 | 1.4418e-05 | 8.5751e-06 | 0.02703 | 0.02703 | 0.02703 | 0.97234 | -0.53371 | 0.97148 | -0.55085 | 7.4258
27 | -0.017661 | -0.0044313 | 0.017667 | 0.0044345 | 5.3836e-06 | 3.2017e-06 | 0.02703 | 0.027029 | 0.02703 | 0.97234 | -0.53371 | 0.97267 | -0.52732 | 7.4257
28 | -0.017667 | -0.0044345 | 0.017672 | 0.0044377 | 5.373e-06 | 3.1952e-06 | 0.027029 | 0.027029 | 0.027029 | 0.97267 | -0.52732 | 0.97299 | -0.52095 | 7.4257
29 | 0.033053 | 0.0082967 | -0.033031 | -0.0082832 | 2.1616e-05 | 1.3534e-05 | 0.049683 | 0.049684 | 0.049684 | 0.99002 | -0.18978 | 0.98931 | -0.2035 | 13.6493
30 | 0.14401 | 0.036737 | -0.14384 | -0.036634 | 0.00016202 | 0.00010322 | 0.21668 | 0.21668 | 0.21668 | 0.99002 | -0.18978 | 0.9888 | -0.2131 | 29.7631
31 | 0.033031 | 0.0082832 | -0.033029 | -0.008282 | 1.9194e-06 | 1.2018e-06 | 0.049684 | 0.049684 | 0.049684 | 0.98931 | -0.2035 | 0.98925 | -0.20472 | 13.6493
32 | 0.13391 | 0.034144 | -0.13363 | -0.033962 | 0.00028547 | 0.00018246 | 0.20173 | 0.20173 | 0.20173 | 0.9888 | -0.2131 | 0.9865 | -0.25736 | 55.4194
33 | 0.024386 | 0.0061182 | -0.024383 | -0.0061164 | 2.8543e-06 | 1.7583e-06 | 0.037227 | 0.037227 | 0.037227 | 0.97481 | -0.48506 | 0.97469 | -0.48752 | 10.2271
34 | -0.058324 | -0.014649 | 0.058372 | 0.01468 | 4.8364e-05 | 3.075e-05 | 0.089041 | 0.089041 | 0.089041 | 0.97481 | -0.48506 | 0.97569 | -0.4677 | 24.4617
35 | 0.033938 | 0.0085311 | -0.033926 | -0.0085237 | 1.1939e-05 | 7.4931e-06 | 0.051814 | 0.051814 | 0.051814 | 0.97481 | -0.48506 | 0.97444 | -0.49243 | 14.2346
36 | 0.018759 | 0.004707 | -0.018757 | -0.0047057 | 2.1301e-06 | 1.277e-06 | 0.028641 | 0.028641 | 0.028641 | 0.97469 | -0.48752 | 0.97457 | -0.4899 | 7.8684
37 | -0.070224 | -0.017651 | 0.070255 | 0.017671 | 3.1057e-05 | 1.9786e-05 | 0.10712 | 0.10712 | 0.10712 | 0.97569 | -0.4677 | 0.97617 | -0.45844 | 29.4274
38 | 0.011852 | 0.0029711 | -0.011849 | -0.0029696 | 2.8294e-06 | 1.5225e-06 | 0.018075 | 0.018075 | 0.018075 | 0.97569 | -0.4677 | 0.97544 | -0.47271 | 4.9657
39 | 0.028358 | 0.0071283 | -0.028335 | -0.0071135 | 2.3892e-05 | 1.4868e-05 | 0.043312 | 0.043313 | 0.043313 | 0.97444 | -0.49243 | 0.97354 | -0.51009 | 11.899
40 | -0.0011857 | -0.00029701 | 0.0011857 | 0.00029678 | 2.4334e-08 | -2.3114e-07 | 0.0018104 | 0.0018103 | 0.0018104 | 0.97454 | -0.49033 | 0.97457 | -0.4899 | 0.49736
41 | 0.0011857 | 0.00029701 | -0.0011857 | -0.00029716 | 1.6513e-08 | -1.5682e-07 | 0.0018104 | 0.0018105 | 0.0018105 | 0.97454 | -0.49033 | 0.97453 | -0.49062 | 0.49738
42 | 0.017571 | 0.0044089 | -0.017566 | -0.0044055 | 5.682e-06 | 3.3743e-06 | 0.026831 | 0.026831 | 0.026831 | 0.97457 | -0.4899 | 0.97422 | -0.49668 | 7.3711
43 | -0.0061168 | -0.001533 | 0.0061171 | 0.0015331 | 3.8694e-07 | 9.5942e-08 | 0.0092727 | 0.0092727 | 0.0092727 | 0.98157 | -0.35279 | 0.98164 | -0.35146 | 2.5474
44 | 0.0061168 | 0.001533 | -0.0061165 | -0.0015329 | 2.5031e-07 | 6.2076e-08 | 0.0092727 | 0.0092728 | 0.0092728 | 0.98157 | -0.35279 | 0.98153 | -0.35364 | 2.5475
45 | 0.10583 | 0.026779 | -0.10569 | -0.026689 | 0.00013965 | 8.9194e-05 | 0.16051 | 0.16051 | 0.16051 | 0.98164 | -0.35146 | 0.98023 | -0.37899 | 44.0958
46 | -0.11194 | -0.028312 | 0.11199 | 0.028341 | 4.5952e-05 | 2.9356e-05 | 0.16978 | 0.16978 | 0.16978 | 0.98164 | -0.35146 | 0.98208 | -0.3429 | 46.6432
47 | 0.0061165 | 0.0015329 | -0.0061163 | -0.0015329 | 2.0209e-07 | 5.0124e-08 | 0.0092728 | 0.0092728 | 0.0092728 | 0.98153 | -0.35364 | 0.98149 | -0.35434 | 2.5475
48 | 0.013915 | 0.0034906 | -0.013905 | -0.003485 | 9.9659e-06 | 5.6463e-06 | 0.021255 | 0.021255 | 0.021255 | 0.97422 | -0.49668 | 0.97346 | -0.51172 | 5.8393
49 | -0.019258 | -0.004835 | 0.019267 | 0.0048411 | 9.974e-06 | 6.0023e-06 | 0.029454 | 0.029454 | 0.029454 | 0.97299 | -0.52095 | 0.97354 | -0.51009 | 8.0918
50 | -0.085987 | -0.021616 | 0.086084 | 0.021678 | 9.7778e-05 | 6.2388e-05 | 0.1311 | 0.1311 | 0.1311 | 0.97617 | -0.45844 | 0.97738 | -0.43466 | 36.0157
51 | 0.015732 | 0.0039448 | -0.015729 | -0.0039429 | 3.249e-06 | 1.891e-06 | 0.023981 | 0.023982 | 0.023982 | 0.97617 | -0.45844 | 0.97595 | -0.46278 | 6.5883
52 | 0.0063111 | 0.0015817 | -0.0063104 | -0.0015815 | 6.6444e-07 | 1.8665e-07 | 0.0096275 | 0.0096276 | 0.0096276 | 0.97544 | -0.47271 | 0.97533 | -0.47492 | 2.6449
53 | 0.098614 | 0.024917 | -0.098469 | -0.024824 | 0.00014468 | 9.2378e-05 | 0.14977 | 0.14977 | 0.14977 | 0.98023 | -0.37899 | 0.97866 | -0.40965 | 41.146
54 | -0.12041 | -0.030451 | 0.12066 | 0.030612 | 0.00025197 | 0.00016101 | 0.18254 | 0.18254 | 0.18254 | 0.98208 | -0.3429 | 0.98432 | -0.29938 | 50.1476
55 | -0.091197 | -0.022959 | 0.091306 | 0.023029 | 0.00010918 | 6.9684e-05 | 0.13888 | 0.13888 | 0.13888 | 0.97738 | -0.43466 | 0.97866 | -0.40965 | 38.154
56 | 0.015729 | 0.0039429 | -0.015726 | -0.0039412 | 2.7887e-06 | 1.6232e-06 | 0.023982 | 0.023982 | 0.023982 | 0.97595 | -0.46278 | 0.97576 | -0.4665 | 6.5884
57 | 0.018492 | 0.0046375 | -0.018483 | -0.0046322 | 9.0348e-06 | 5.3768e-06 | 0.027715 | 0.027715 | 0.027715 | 0.99285 | -0.13743 | 0.99232 | -0.14769 | 7.6141
58 | 0.0043073 | 0.0010793 | -0.0043071 | -0.0010793 | 2.2712e-07 | -4.095e-08 | 0.0064695 | 0.0064696 | 0.0064696 | 0.99068 | -0.17707 | 0.99063 | -0.17818 | 1.7774
59 | 0.016686 | 0.0041844 | -0.016678 | -0.00418 | 7.5254e-06 | 4.4044e-06 | 0.025052 | 0.025052 | 0.025052 | 0.99111 | -0.16881 | 0.99063 | -0.17828 | 6.8825
60 | -0.0021494 | -0.00053869 | 0.0021494 | 0.00053855 | 5.1643e-08 | -1.3703e-07 | 0.0032287 | 0.0032286 | 0.0032287 | 0.9906 | -0.17868 | 0.99063 | -0.17818 | 0.887
61 | 0.034898 | 0.0087531 | -0.034881 | -0.0087421 | 1.7562e-05 | 1.102e-05 | 0.052376 | 0.052376 | 0.052376 | 0.9915 | -0.16235 | 0.99096 | -0.17292 | 14.3891
62 | -0.0071427 | -0.0017901 | 0.0071433 | 0.0017904 | 6.8777e-07 | 2.3674e-07 | 0.010752 | 0.010751 | 0.010752 | 0.98854 | -0.21841 | 0.98865 | -0.21639 | 2.9537
63 | -0.014435 | -0.0036179 | 0.014438 | 0.0036196 | 3.0099e-06 | 1.7083e-06 | 0.021727 | 0.021727 | 0.021727 | 0.98865 | -0.21639 | 0.98887 | -0.21202 | 5.9689
64 | -0.0062455 | -0.0015653 | 0.0062477 | 0.0015659 | 2.2096e-06 | 5.8996e-07 | 0.009488 | 0.0094877 | 0.009488 | 0.97949 | -0.39378 | 0.97987 | -0.38636 | 2.6066
65 | -0.040496 | -0.010149 | 0.040506 | 0.010155 | 9.5271e-06 | 6.0127e-06 | 0.061497 | 0.061497 | 0.061497 | 0.97987 | -0.38636 | 0.98012 | -0.38142 | 16.8947
66 | 0.025757 | 0.0064594 | -0.025752 | -0.0064565 | 4.6076e-06 | 2.8438e-06 | 0.038745 | 0.038745 | 0.038745 | 0.98925 | -0.20472 | 0.98906 | -0.20847 | 10.6442
67 | 0.12775 | 0.032488 | -0.12749 | -0.032323 | 0.00025805 | 0.00016492 | 0.19286 | 0.19286 | 0.19286 | 0.9865 | -0.25736 | 0.98432 | -0.29938 | 52.9835
68 | 0.022619 | 0.0056712 | -0.022615 | -0.0056688 | 3.8205e-06 | 2.3322e-06 | 0.03403 | 0.03403 | 0.03403 | 0.98906 | -0.20847 | 0.98887 | -0.21202 | 9.349
69 | 0.015416 | 0.0038639 | -0.015416 | -0.0038636 | 5.1613e-07 | 2.9724e-07 | 0.023149 | 0.023149 | 0.023149 | 0.99096 | -0.17292 | 0.99092 | -0.17362 | 6.3597

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46428 | 0.11903

## res_load
| p_mw | q_mvar
0 | 0.015306 | 0.003836
1 | 0.050813 | 0.012735
2 | 0.054462 | 0.013649
3 | 0.00077716 | 0.00019478
4 | 0.0034115 | 0.00085499
5 | 0.0058859 | 0.0014751
6 | 0.0016447 | 0.00041219
7 | 0.0064873 | 0.0016259
8 | 0.0019581 | 0.00049076
9 | 0.017647 | 0.0044227
10 | 0.0099336 | 0.0024896
11 | 0.0056239 | 0.0014095
12 | 0.0055674 | 0.0013953
13 | 0.0011857 | 0.00029716
14 | 0.0036506 | 0.00091493
15 | 0.0015855 | 0.00039735
16 | 0.0055377 | 0.0013879
17 | 0.0070732 | 0.0017727
18 | 0.0084187 | 0.0021099
19 | 0.0051126 | 0.0012813
20 | 0.018483 | 0.0046322
21 | 0.015726 | 0.0039412
22 | 0.006215 | 0.0015576
23 | 0.0028564 | 0.00071589
24 | 0.0045895 | 0.0011502
25 | 0.0021494 | 0.00053869
26 | 0.0021576 | 0.00054076
27 | 0.0071427 | 0.0017901
28 | 0.0072921 | 0.0018276
29 | 0.0062455 | 0.0015653
30 | 0.034248 | 0.0085835
31 | 0.010034 | 0.0025149
32 | 0.0072723 | 0.0018226
33 | 0.0058785 | 0.0014733
34 | 0.009067 | 0.0022724
35 | 0.016678 | 0.00418
36 | 0.0061163 | 0.0015329
37 | 0.013905 | 0.003485
38 | 0.0063104 | 0.0015815
39 | 0.0071628 | 0.0017952
40 | 0.0068286 | 0.0017114
41 | 0.0031336 | 0.00078536
42 | 0.019464 | 0.0048782
43 | 0.015416 | 0.0038636
44 | 0.0081764 | 0.0020492

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1