## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-119_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-119_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-119_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_261-119_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-119_0_5_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_261-119_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-119_0_5_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_261-119_0_5_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_261-119_0_5_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_261-119_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-119_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_261-119_0_5_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_261-119_0_5_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_261-119_0_5_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_261-119_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-119_0_5_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_261-119_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-119_0_5_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_261-119_0_5_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_261-119_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_261-119_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_261-119_0_5_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_261-119_0_5_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_261-119_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_261-119_0_5_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_261-119_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_261-119_0_5_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_261-119_0_5_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_261-119_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_261-119_0_5_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_261-119_0_5_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_261-119_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_261-119_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_261-119_0_5_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_261-119_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-119_0_5_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_261-119_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_261-119_0_5_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_261-119_0_5_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_261-119_0_5_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_261-119_0_5_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_261-119_0_5_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_261-119_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_261-119_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_261-119_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_261-119_0_5_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_261-119_0_5_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_261-119_0_5_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_261-119_0_5_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_261-119_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_261-119_0_5_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_261-119_0_5_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_261-119_0_5_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_261-119_0_5_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_261-119_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_261-119_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_261-119_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_MV_532_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-119_0_5_load_0 | 0 | 0.010729 | 0.0026889 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-119_0_5_load_49 | 4 | 0.0092809 | 0.002326 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-119_0_5_load_28 | 6 | 0.013141 | 0.0032934 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-119_0_5_load_36 | 7 | 0.010401 | 0.0026067 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-119_0_5_load_35 | 8 | 0.013782 | 0.0034542 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-119_0_5_load_29 | 11 | 0.0057741 | 0.0014471 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-119_0_5_load_32 | 13 | 0.029878 | 0.0074881 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-119_0_5_load_42 | 17 | 0.0079379 | 0.0019894 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-119_0_5_load_43 | 18 | 0.013697 | 0.0034327 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-119_0_5_load_61 | 22 | 0.00078403 | 0.0001965 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-119_0_5_load_39 | 24 | 0.0048603 | 0.0012181 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-119_0_5_load_38 | 26 | 0.011297 | 0.0028314 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-119_0_5_load_46 | 30 | 0.023815 | 0.0059687 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-119_0_5_load_62 | 33 | 0.019061 | 0.0047772 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-119_0_5_load_58 | 35 | 0.010452 | 0.0026196 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-119_0_5_load_56 | 37 | 0.011453 | 0.0028703 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-119_0_5_load_54 | 38 | 0.037798 | 0.0094732 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-119_0_5_load_63 | 39 | 0.015603 | 0.0039105 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-119_0_5_load_41 | 40 | 0.037832 | 0.0094817 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-119_0_5_load_51 | 41 | 0.010869 | 0.0027241 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-119_0_5_load_37 | 42 | 0.012407 | 0.0031095 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-119_0_5_load_34 | 43 | 0.014532 | 0.0036421 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-119_0_5_load_30 | 44 | 0.012264 | 0.0030736 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-119_0_5_load_45 | 45 | 0.0035333 | 0.00088552 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-119_0_5_load_59 | 46 | 0.036963 | 0.0092637 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-119_0_5_load_44 | 47 | 0.0034096 | 0.00085454 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-119_0_5_load_60 | 48 | 0.0049647 | 0.0012443 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-119_0_5_load_47 | 49 | 0.025328 | 0.0063478 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-119_0_5_load_55 | 50 | 0.052838 | 0.013242 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-119_0_5_load_57 | 51 | 0.013099 | 0.003283 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-119_0_5_load_50 | 52 | 0.021579 | 0.0054082 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-119_0_5_load_31 | 53 | 0.018265 | 0.0045776 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-119_0_5_load_33 | 54 | 0.011818 | 0.002962 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-119_0_5_load_52 | 55 | 0.011851 | 0.0029701 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-119_0_5_load_53 | 56 | 0.011652 | 0.0029204 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-119_0_5_line_0 |  | 0 | 1 | 0.013152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-119_0_5_line_1 |  | 1 | 2 | 0.065373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-119_0_5_line_2 |  | 2 | 7 | 0.011581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_261-119_0_5_line_3 |  | 2 | 8 | 0.035051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-119_0_5_line_4 |  | 2 | 3 | 0.034284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_261-119_0_5_line_5 |  | 2 | 5 | 0.051306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-119_0_5_line_6 |  | 3 | 4 | 0.032468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_261-119_0_5_line_7 |  | 4 | 14 | 0.022567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_261-119_0_5_line_8 |  | 5 | 6 | 0.056332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-119_0_5_line_9 |  | 7 | 42 | 0.028804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_261-119_0_5_line_10 |  | 8 | 43 | 5.8554e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-119_0_5_line_11 |  | 9 | 10 | 0.0083298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-119_0_5_line_12 |  | 9 | 11 | 0.050643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-119_0_5_line_13 |  | 10 | 12 | 0.01217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_261-119_0_5_line_14 |  | 10 | 13 | 0.019083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_261-119_0_5_line_15 |  | 12 | 18 | 0.035898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_261-119_0_5_line_16 |  | 13 | 44 | 0.034976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_261-119_0_5_line_17 |  | 14 | 15 | 0.010531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_261-119_0_5_line_18 |  | 15 | 39 | 0.06136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_261-119_0_5_line_19 |  | 15 | 36 | 0.14726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_261-119_0_5_line_20 |  | 16 | 17 | 0.045074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_261-119_0_5_line_21 |  | 16 | 18 | 0.036183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_261-119_0_5_line_22 |  | 16 | 19 | 0.02176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-119_0_5_line_23 |  | 17 | 46 | 0.0092595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_261-119_0_5_line_24 |  | 19 | 27 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-119_0_5_line_25 |  | 19 | 24 | 0.0074509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-119_0_5_line_26 |  | 20 | 21 | 0.018728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-119_0_5_line_27 |  | 20 | 22 | 0.034473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-119_0_5_line_28 |  | 21 | 41 | 0.037049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-119_0_5_line_29 |  | 21 | 32 | 0.039004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-119_0_5_line_30 |  | 23 | 24 | 0.015132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-119_0_5_line_31 |  | 23 | 25 | 0.018029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-119_0_5_line_32 |  | 23 | 26 | 0.02237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-119_0_5_line_33 |  | 25 | 34 | 0.021712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-119_0_5_line_34 |  | 25 | 35 | 0.011258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-119_0_5_line_35 |  | 27 | 47 | 0.0060878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-119_0_5_line_36 |  | 27 | 45 | 0.0089712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-119_0_5_line_37 |  | 28 | 29 | 0.041883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_261-119_0_5_line_38 |  | 28 | 30 | 0.016251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-119_0_5_line_39 |  | 29 | 48 | 0.005178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-119_0_5_line_40 |  | 29 | 46 | 0.024095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_261-119_0_5_line_41 |  | 30 | 49 | 0.010067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-119_0_5_line_42 |  | 31 | 32 | 0.016097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-119_0_5_line_43 |  | 31 | 33 | 0.040997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-119_0_5_line_44 |  | 32 | 38 | 0.062668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-119_0_5_line_45 |  | 34 | 40 | 0.015455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-119_0_5_line_46 |  | 36 | 37 | 0.057965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_261-119_0_5_line_47 |  | 37 | 51 | 0.0084423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_261-119_0_5_line_48 |  | 38 | 50 | 0.022066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-119_0_5_line_49 |  | 41 | 52 | 0.048585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_261-119_0_5_line_50 |  | 42 | 54 | 0.022295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_261-119_0_5_line_51 |  | 44 | 53 | 0.025963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_261-119_0_5_line_52 |  | 51 | 56 | 0.0023779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_261-119_0_5_line_53 |  | 52 | 55 | 0.012801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_261-119_0_5_line_54 |  | 53 | 54 | 0.023547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_261-119_0_5_line_55 |  | 55 | 56 | 0.011218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-119_0_5_trafo_63 | 0.63 MVA 20/0.4 kV | 57 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2682405.6812 | 1246334.945 | 2682406.2982 | 1246335.1314 | 2682418.7834 | 1246335.8705
1 | 2682390.9219 | 1246281.4564 | 2682390.9428 | 1246284.848 | 2682390.9752 | 1246296.646 | 2682397.5428 | 1246297.0264 | 2682396.6312 | 1246323.4775 | 2682397.3803 | 1246327.7355 | 2682398.3224 | 1246332.7967 | 2682405.6812 | 1246334.945
2 | 2682390.9219 | 1246281.4564 | 2682390.8558 | 1246269.8759
3 | 2682390.9219 | 1246281.4564 | 2682425.9724 | 1246281.5852
4 | 2682390.9219 | 1246281.4564 | 2682390.9428 | 1246284.848 | 2682411.3239 | 1246285.0202 | 2682421.8343 | 1246284.9217
5 | 2682382.9797 | 1246324.5331 | 2682387.2251 | 1246324.5699 | 2682387.0724 | 1246296.425 | 2682386.9859 | 1246281.4461 | 2682390.9219 | 1246281.4564
6 | 2682421.8343 | 1246284.9217 | 2682426.6309 | 1246284.9773 | 2682448.0159 | 1246284.6742 | 2682454.0739 | 1246286.3444
7 | 2682472.5355 | 1246299.0812 | 2682466.6314 | 1246295.541 | 2682463.948 | 1246293.4688 | 2682460.2518 | 1246289.7925 | 2682454.2174 | 1246286.3839 | 2682454.0739 | 1246286.3444
8 | 2682382.9797 | 1246324.5331 | 2682382.7218 | 1246268.2019
9 | 2682390.6914 | 1246241.0728 | 2682390.8558 | 1246269.8759
10 | 2682426.031 | 1246281.5854 | 2682425.9724 | 1246281.5852
11 | 2682382.0096 | 1246112.7537 | 2682386.6437 | 1246114.1858 | 2682389.9689 | 1246115.2105
12 | 2682382.0096 | 1246112.7537 | 2682382.0529 | 1246122.139 | 2682382.2418 | 1246163.3959
13 | 2682401.4386 | 1246111.8896 | 2682397.7509 | 1246111.9385 | 2682394.1946 | 1246112.8675 | 2682391.9808 | 1246113.9598 | 2682389.9689 | 1246115.2105
14 | 2682389.9689 | 1246115.2105 | 2682390.0112 | 1246121.9494 | 2682390.0817 | 1246134.2936
15 | 2682401.4386 | 1246111.8896 | 2682405.3338 | 1246112.6665 | 2682435.9814 | 1246121.6093
16 | 2682390.0817 | 1246134.2936 | 2682390.2814 | 1246169.269
17 | 2682472.5355 | 1246299.0812 | 2682480.5003 | 1246300.0371 | 2682483.0338 | 1246299.8499
18 | 2682483.0338 | 1246299.8499 | 2682481.9552 | 1246293.2079 | 2682485.2072 | 1246238.6799
19 | 2682483.0338 | 1246299.8499 | 2682503.9049 | 1246301.7193 | 2682520.5131 | 1246303.1848 | 2682518.2645 | 1246311.6708 | 2682515.0182 | 1246319.6426 | 2682511.2587 | 1246324.8608 | 2682523.549 | 1246326.066 | 2682528.1145 | 1246326.4409 | 2682536.8319 | 1246327.0626 | 2682537.3472 | 1246321.5213 | 2682537.0844 | 1246318.6933 | 2682540.2829 | 1246281.5996 | 2682546.9327 | 1246282.048 | 2682554.7602 | 1246282.5573
20 | 2682470.7159 | 1246131.7447 | 2682463.0555 | 1246159.4028 | 2682462.9075 | 1246165.1494 | 2682462.6312 | 1246175.7718
21 | 2682470.7159 | 1246131.7447 | 2682435.9814 | 1246121.6093
22 | 2682470.7159 | 1246131.7447 | 2682471.7104 | 1246128.1448 | 2682484.2477 | 1246131.7217 | 2682485.3956 | 1246126.8674
23 | 2682462.3904 | 1246185.0282 | 2682462.6312 | 1246175.7718
24 | 2682485.3956 | 1246126.8674 | 2682488.647 | 1246113.6474
25 | 2682485.3956 | 1246126.8674 | 2682492.5541 | 1246128.9345
26 | 2682536.1479 | 1246461.9073 | 2682538.4942 | 1246461.5953 | 2682542.8386 | 1246461.022 | 2682544.1405 | 1246460.8511 | 2682545.7526 | 1246460.64 | 2682547.4783 | 1246460.4083 | 2682549.2795 | 1246460.1777 | 2682552.678 | 1246459.7246 | 2682554.714 | 1246459.4528
27 | 2682536.1479 | 1246461.9073 | 2682534.9239 | 1246452.1498 | 2682532.7555 | 1246435.8855 | 2682531.9974 | 1246427.69
28 | 2682554.714 | 1246459.4528 | 2682553.8414 | 1246458.64 | 2682552.8861 | 1246456.7142 | 2682550.654 | 1246447.1984 | 2682548.306 | 1246428.0962 | 2682547.7397 | 1246423.4438
29 | 2682554.714 | 1246459.4528 | 2682555.7065 | 1246459.7891 | 2682556.5376 | 1246459.7895 | 2682559.4703 | 1246459.141 | 2682567.6344 | 1246456.0746 | 2682590.953 | 1246446.003
30 | 2682507.09 | 1246133.1404 | 2682501.7399 | 1246131.5871 | 2682492.5541 | 1246128.9345
31 | 2682524.6579 | 1246136.2537 | 2682521.0485 | 1246135.5697 | 2682519.0778 | 1246136.0204 | 2682517.6799 | 1246136.0343 | 2682516.3005 | 1246135.8038 | 2682507.09 | 1246133.1404
32 | 2682507.09 | 1246133.1404 | 2682504.7452 | 1246119.7647 | 2682505.9612 | 1246111.0588
33 | 2682524.6579 | 1246136.2537 | 2682528.9152 | 1246137.0691 | 2682530.5891 | 1246138.9382 | 2682532.5211 | 1246140.1771 | 2682535.2707 | 1246140.7602 | 2682534.0044 | 1246145.9686 | 2682532.9627 | 1246150.2461
34 | 2682524.6579 | 1246136.2537 | 2682526.4371 | 1246125.1368
35 | 2682488.647 | 1246113.6474 | 2682490.1104 | 1246107.7381
36 | 2682488.647 | 1246113.6474 | 2682486.9078 | 1246113.2118 | 2682483.6326 | 1246112.399 | 2682479.9372 | 1246111.4977
37 | 2682456.012 | 1246207.8848 | 2682484.3779 | 1246216.8302 | 2682494.4766 | 1246217.0152 | 2682494.6575 | 1246214.8717
38 | 2682494.6575 | 1246214.8717 | 2682495.9466 | 1246198.6724
39 | 2682456.012 | 1246207.8848 | 2682450.8787 | 1246208.6696
40 | 2682456.012 | 1246207.8848 | 2682459.0136 | 1246202.3002 | 2682461.1688 | 1246196.7261 | 2682462.2905 | 1246188.8693 | 2682462.3904 | 1246185.0282
41 | 2682496.7452 | 1246188.6371 | 2682495.9466 | 1246198.6724
42 | 2682605.4349 | 1246438.9995 | 2682598.3659 | 1246442.0922 | 2682590.953 | 1246446.003
43 | 2682605.4349 | 1246438.9995 | 2682604.5259 | 1246436.4628 | 2682604.2618 | 1246433.19 | 2682604.8208 | 1246428.8613 | 2682607.0921 | 1246419.297 | 2682612.124 | 1246399.0904
44 | 2682590.953 | 1246446.003 | 2682590.5571 | 1246441.8833 | 2682591.4734 | 1246436.3031 | 2682604.077 | 1246384.9531
45 | 2682532.9627 | 1246150.2461 | 2682531.6354 | 1246149.5272 | 2682518.2483 | 1246145.6194
46 | 2682554.7602 | 1246282.5573 | 2682550.8585 | 1246320.2195 | 2682548.9424 | 1246340.2296
47 | 2682548.9424 | 1246340.2296 | 2682548.1376 | 1246348.6334
48 | 2682604.077 | 1246384.9531 | 2682609.3368 | 1246363.5233
49 | 2682546.24 | 1246374.9587 | 2682545.7058 | 1246384.795 | 2682545.9825 | 1246395.8514 | 2682546.5366 | 1246413.561 | 2682547.7397 | 1246423.4438
50 | 2682390.6914 | 1246241.0728 | 2682390.5641 | 1246218.7778
51 | 2682390.4296 | 1246195.2312 | 2682390.2814 | 1246169.269
52 | 2682547.9109 | 1246351.0005 | 2682548.1376 | 1246348.6334
53 | 2682546.24 | 1246374.9587 | 2682546.6507 | 1246367.3954 | 2682547.003 | 1246362.1809
54 | 2682390.4296 | 1246195.2312 | 2682390.5641 | 1246218.7778
55 | 2682547.003 | 1246362.1809 | 2682547.393 | 1246356.4088 | 2682547.9109 | 1246351.0005

## bus_geodata
| x | y | coords
0 | 2682418.7834 | 1246335.8705
1 | 2682405.6812 | 1246334.945
2 | 2682390.9219 | 1246281.4564
3 | 2682421.8343 | 1246284.9217
4 | 2682454.0739 | 1246286.3444
5 | 2682382.9797 | 1246324.5331
6 | 2682382.7218 | 1246268.2019
7 | 2682390.8558 | 1246269.8759
8 | 2682425.9724 | 1246281.5852
9 | 2682382.0096 | 1246112.7537
10 | 2682389.9689 | 1246115.2105
11 | 2682382.2418 | 1246163.3959
12 | 2682401.4386 | 1246111.8896
13 | 2682390.0817 | 1246134.2936
14 | 2682472.5355 | 1246299.0812
15 | 2682483.0338 | 1246299.8499
16 | 2682470.7159 | 1246131.7447
17 | 2682462.6312 | 1246175.7718
18 | 2682435.9814 | 1246121.6093
19 | 2682485.3956 | 1246126.8674
20 | 2682536.1479 | 1246461.9073
21 | 2682554.714 | 1246459.4528
22 | 2682531.9974 | 1246427.69
23 | 2682507.09 | 1246133.1404
24 | 2682492.5541 | 1246128.9345
25 | 2682524.6579 | 1246136.2537
26 | 2682505.9612 | 1246111.0588
27 | 2682488.647 | 1246113.6474
28 | 2682494.6575 | 1246214.8717
29 | 2682456.012 | 1246207.8848
30 | 2682495.9466 | 1246198.6724
31 | 2682605.4349 | 1246438.9995
32 | 2682590.953 | 1246446.003
33 | 2682612.124 | 1246399.0904
34 | 2682532.9627 | 1246150.2461
35 | 2682526.4371 | 1246125.1368
36 | 2682554.7602 | 1246282.5573
37 | 2682548.9424 | 1246340.2296
38 | 2682604.077 | 1246384.9531
39 | 2682485.2072 | 1246238.6799
40 | 2682518.2483 | 1246145.6194
41 | 2682547.7397 | 1246423.4438
42 | 2682390.6914 | 1246241.0728
43 | 2682426.031 | 1246281.5854
44 | 2682390.2814 | 1246169.269
45 | 2682479.9372 | 1246111.4977
46 | 2682462.3904 | 1246185.0282
47 | 2682490.1104 | 1246107.7381
48 | 2682450.8787 | 1246208.6696
49 | 2682496.7452 | 1246188.6371
50 | 2682609.3368 | 1246363.5233
51 | 2682548.1376 | 1246348.6334
52 | 2682546.24 | 1246374.9587
53 | 2682390.4296 | 1246195.2312
54 | 2682390.5641 | 1246218.7778
55 | 2682547.003 | 1246362.1809
56 | 2682547.9109 | 1246351.0005
57 | 2682483.0338 | 1246299.8499

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98681 | -0.2514 | 0.010729 | 0.0026889
1 | 0.98694 | -0.24887 | 0 | 0
2 | 0.98759 | -0.23633 | 0 | 0
3 | 0.98973 | -0.1951 | 0 | 0
4 | 0.99176 | -0.15623 | 0.0092809 | 0.002326
5 | 0.98697 | -0.24839 | 0 | 0
6 | 0.98629 | -0.26164 | 0.013141 | 0.0032934
7 | 0.98698 | -0.24813 | 0.010401 | 0.0026067
8 | 0.98668 | -0.25408 | 0.013782 | 0.0034542
9 | 0.98006 | -0.38227 | 0 | 0
10 | 0.98011 | -0.3814 | 0 | 0
11 | 0.97979 | -0.38758 | 0.0057741 | 0.0014471
12 | 0.97969 | -0.38954 | 0 | 0
13 | 0.98078 | -0.36826 | 0.029878 | 0.0074881
14 | 0.99321 | -0.12856 | 0 | 0
15 | 0.99388 | -0.11568 | 0 | 0
16 | 0.97731 | -0.43605 | 0 | 0
17 | 0.97648 | -0.45235 | 0.0079379 | 0.0019894
18 | 0.97846 | -0.41357 | 0.013697 | 0.0034327
19 | 0.97683 | -0.4455 | 0 | 0
20 | 0.98258 | -0.33301 | 0 | 0
21 | 0.98259 | -0.33274 | 0 | 0
22 | 0.98255 | -0.33349 | 0.00078403 | 0.0001965
23 | 0.97555 | -0.47078 | 0 | 0
24 | 0.97638 | -0.45428 | 0.0048603 | 0.0012181
25 | 0.97473 | -0.48673 | 0 | 0
26 | 0.97531 | -0.47541 | 0.011297 | 0.0028314
27 | 0.97674 | -0.44723 | 0 | 0
28 | 0.97513 | -0.47905 | 0 | 0
29 | 0.97608 | -0.46021 | 0 | 0
30 | 0.97438 | -0.4937 | 0.023815 | 0.0059687
31 | 0.97832 | -0.41589 | 0 | 0
32 | 0.9786 | -0.4103 | 0 | 0
33 | 0.97759 | -0.43013 | 0.019061 | 0.0047772
34 | 0.97397 | -0.50182 | 0 | 0
35 | 0.97463 | -0.48889 | 0.010452 | 0.0026196
36 | 0.98867 | -0.21547 | 0 | 0
37 | 0.98661 | -0.25504 | 0.011453 | 0.0028703
38 | 0.97331 | -0.51424 | 0.037798 | 0.0094732
39 | 1 | 0 | -0.54939 | -0.14126
40 | 0.97343 | -0.51256 | 0.037832 | 0.0094817
41 | 0.9845 | -0.29586 | 0.010869 | 0.0027241
42 | 0.98551 | -0.27647 | 0.012407 | 0.0031095
43 | 0.98668 | -0.25409 | 0.014532 | 0.0036421
44 | 0.98221 | -0.34044 | 0.012264 | 0.0030736
45 | 0.97671 | -0.44781 | 0.0035333 | 0.00088552
46 | 0.97633 | -0.45544 | 0.036963 | 0.0092637
47 | 0.97672 | -0.44761 | 0.0034096 | 0.00085454
48 | 0.97606 | -0.46068 | 0.0049647 | 0.0012443
49 | 0.97415 | -0.49838 | 0.025328 | 0.0063478
50 | 0.97222 | -0.53571 | 0.052838 | 0.013242
51 | 0.98633 | -0.26047 | 0.013099 | 0.003283
52 | 0.9856 | -0.27468 | 0.021579 | 0.0054082
53 | 0.98333 | -0.3187 | 0.018265 | 0.0045776
54 | 0.98442 | -0.29747 | 0.011818 | 0.002962
55 | 0.98594 | -0.26811 | 0.011851 | 0.0029701
56 | 0.98626 | -0.26189 | 0.011652 | 0.0029204
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010729 | -0.0026889 | 0.01073 | 0.0026896 | 1.2908e-06 | 6.5807e-07 | 0.016178 | 0.016178 | 0.016178 | 0.98681 | -0.2514 | 0.98694 | -0.24887 | 4.4445
1 | -0.01073 | -0.0026896 | 0.010737 | 0.0026928 | 6.4161e-06 | 3.2704e-06 | 0.016178 | 0.016178 | 0.016178 | 0.98694 | -0.24887 | 0.98759 | -0.23633 | 4.4445
2 | 0.28747 | 0.073023 | -0.28731 | -0.072919 | 0.00016321 | 0.00010371 | 0.43348 | 0.43349 | 0.43349 | 0.98759 | -0.23633 | 0.98698 | -0.24813 | 23.8179
3 | 0.028338 | 0.0071112 | -0.028314 | -0.0070963 | 2.3967e-05 | 1.4891e-05 | 0.042701 | 0.042701 | 0.042701 | 0.98759 | -0.23633 | 0.98668 | -0.25408 | 11.7311
4 | -0.3397 | -0.086129 | 0.34038 | 0.086558 | 0.00067455 | 0.00042952 | 0.51219 | 0.51219 | 0.51219 | 0.98759 | -0.23633 | 0.98973 | -0.1951 | 28.1422
5 | 0.013157 | 0.0033022 | -0.013149 | -0.003298 | 7.562e-06 | 4.1836e-06 | 0.019825 | 0.019825 | 0.019825 | 0.98759 | -0.23633 | 0.98697 | -0.24839 | 5.4465
6 | -0.34038 | -0.086558 | 0.34101 | 0.086965 | 0.00063882 | 0.00040675 | 0.51219 | 0.51219 | 0.51219 | 0.98973 | -0.1951 | 0.99176 | -0.15623 | 28.1422
7 | -0.3503 | -0.089291 | 0.35076 | 0.08959 | 0.00046848 | 0.00029837 | 0.52611 | 0.52611 | 0.52611 | 0.99176 | -0.15623 | 0.99321 | -0.12856 | 28.9072
8 | 0.013149 | 0.003298 | -0.013141 | -0.0032934 | 8.303e-06 | 4.5945e-06 | 0.019825 | 0.019826 | 0.019826 | 0.98697 | -0.24839 | 0.98629 | -0.26164 | 5.4466
9 | 0.27691 | 0.070312 | -0.27653 | -0.070073 | 0.0003771 | 0.0002395 | 0.4178 | 0.4178 | 0.4178 | 0.98698 | -0.24813 | 0.98551 | -0.27647 | 22.9563
10 | 0.014532 | 0.0036421 | -0.014532 | -0.0036421 | 1.0547e-08 | 6.0031e-09 | 0.021916 | 0.021916 | 0.021916 | 0.98668 | -0.25408 | 0.98668 | -0.25409 | 6.0209
11 | -0.0057756 | -0.0014474 | 0.0057758 | 0.0014475 | 2.4019e-07 | 4.8752e-08 | 0.008769 | 0.0087689 | 0.008769 | 0.98006 | -0.38227 | 0.98011 | -0.3814 | 2.4091
12 | 0.0057756 | 0.0014474 | -0.0057741 | -0.0014471 | 1.4603e-06 | 2.9663e-07 | 0.008769 | 0.0087692 | 0.0087692 | 0.98006 | -0.38227 | 0.97979 | -0.38758 | 2.4091
13 | 0.18494 | 0.046667 | -0.18487 | -0.046621 | 7.2017e-05 | 4.5324e-05 | 0.28089 | 0.28089 | 0.28089 | 0.98011 | -0.3814 | 0.97969 | -0.38954 | 15.4337
14 | -0.19072 | -0.048114 | 0.19084 | 0.04819 | 0.00012009 | 7.5653e-05 | 0.28966 | 0.28966 | 0.28966 | 0.98011 | -0.3814 | 0.98078 | -0.36826 | 15.9155
15 | 0.18487 | 0.046621 | -0.18466 | -0.046488 | 0.00021243 | 0.0001337 | 0.28089 | 0.28089 | 0.28089 | 0.97969 | -0.38954 | 0.97846 | -0.41357 | 15.4337
16 | -0.22071 | -0.055678 | 0.22101 | 0.055864 | 0.00029437 | 0.00018619 | 0.33499 | 0.33499 | 0.33499 | 0.98078 | -0.36826 | 0.98221 | -0.34044 | 18.4061
17 | -0.35076 | -0.08959 | 0.35098 | 0.089729 | 0.00021862 | 0.00013923 | 0.52611 | 0.52611 | 0.52611 | 0.99321 | -0.12856 | 0.99388 | -0.11568 | 28.9072
18 | -0.54468 | -0.1393 | 0.54774 | 0.14126 | 0.0030678 | 0.0019594 | 0.81647 | 0.81647 | 0.81647 | 0.99388 | -0.11568 | 1 | 0 | 44.861
19 | 0.19369 | 0.049576 | -0.19276 | -0.048989 | 0.00093116 | 0.00058645 | 0.29036 | 0.29036 | 0.29036 | 0.99388 | -0.11568 | 0.98867 | -0.21547 | 15.954
20 | 0.099196 | 0.024927 | -0.099119 | -0.024881 | 7.7137e-05 | 4.6546e-05 | 0.15106 | 0.15106 | 0.15106 | 0.97731 | -0.43605 | 0.97648 | -0.45235 | 8.2998
21 | -0.17078 | -0.04294 | 0.17096 | 0.043055 | 0.00018354 | 0.0001152 | 0.26007 | 0.26006 | 0.26007 | 0.97731 | -0.43605 | 0.97846 | -0.41357 | 14.2893
22 | 0.071579 | 0.018013 | -0.071547 | -0.017993 | 3.2323e-05 | 1.9869e-05 | 0.10901 | 0.10901 | 0.10901 | 0.97731 | -0.43605 | 0.97683 | -0.4455 | 9.9826
23 | 0.091181 | 0.022891 | -0.091167 | -0.022883 | 1.341e-05 | 8.0034e-06 | 0.13896 | 0.13896 | 0.13896 | 0.97648 | -0.45235 | 0.97633 | -0.45544 | 7.6352
24 | 0.0069436 | 0.0017402 | -0.0069431 | -0.00174 | 5.7113e-07 | 1.9513e-07 | 0.010577 | 0.010577 | 0.010577 | 0.97683 | -0.4455 | 0.97674 | -0.44723 | 2.9059
25 | 0.064603 | 0.016252 | -0.064576 | -0.016235 | 2.7072e-05 | 1.7233e-05 | 0.098433 | 0.098433 | 0.098433 | 0.97683 | -0.4455 | 0.97638 | -0.45428 | 27.0421
26 | -0.00078405 | -0.00019607 | 0.00078406 | 0.00019584 | 9.898e-09 | -2.3088e-07 | 0.0011872 | 0.0011871 | 0.0011872 | 0.98258 | -0.33301 | 0.98259 | -0.33274 | 0.32616
27 | 0.00078405 | 0.00019607 | -0.00078403 | -0.0001965 | 1.8223e-08 | -4.2496e-07 | 0.0011872 | 0.0011874 | 0.0011874 | 0.98258 | -0.33301 | 0.98255 | -0.33349 | 0.3262
28 | -0.11142 | -0.028285 | 0.11162 | 0.028411 | 0.00019807 | 0.00012582 | 0.16886 | 0.16886 | 0.16886 | 0.98259 | -0.33274 | 0.9845 | -0.29586 | 23.1947
29 | 0.11063 | 0.028089 | -0.11022 | -0.027826 | 0.0004112 | 0.00026268 | 0.16767 | 0.16767 | 0.16767 | 0.98259 | -0.33274 | 0.9786 | -0.4103 | 46.0634
30 | -0.059669 | -0.014987 | 0.059716 | 0.015017 | 4.7018e-05 | 2.9902e-05 | 0.091026 | 0.091026 | 0.091026 | 0.97555 | -0.47078 | 0.97638 | -0.45428 | 25.0072
31 | 0.048369 | 0.012155 | -0.048332 | -0.012131 | 3.6813e-05 | 2.3335e-05 | 0.07379 | 0.07379 | 0.07379 | 0.97555 | -0.47078 | 0.97473 | -0.48673 | 20.272
32 | 0.0113 | 0.0028327 | -0.011297 | -0.0028314 | 2.4922e-06 | 1.3158e-06 | 0.017236 | 0.017236 | 0.017236 | 0.97555 | -0.47078 | 0.97531 | -0.47541 | 4.7352
33 | 0.037879 | 0.009511 | -0.037852 | -0.0094939 | 2.7231e-05 | 1.7158e-05 | 0.057832 | 0.057832 | 0.057832 | 0.97473 | -0.48673 | 0.97397 | -0.50182 | 15.8879
34 | 0.010453 | 0.0026202 | -0.010452 | -0.0026196 | 1.0752e-06 | 5.4778e-07 | 0.015958 | 0.015958 | 0.015958 | 0.97473 | -0.48673 | 0.97463 | -0.48889 | 4.3841
35 | 0.0034097 | 0.0008545 | -0.0034096 | -0.00085454 | 6.16e-08 | -3.6771e-08 | 0.0051945 | 0.0051945 | 0.0051945 | 0.97674 | -0.44723 | 0.97672 | -0.44761 | 1.4271
36 | 0.0035334 | 0.00088547 | -0.0035333 | -0.00088552 | 9.7479e-08 | -4.9895e-08 | 0.0053829 | 0.0053829 | 0.0053829 | 0.97674 | -0.44723 | 0.97671 | -0.44781 | 1.4788
37 | -0.049183 | -0.012342 | 0.049227 | 0.012369 | 4.4241e-05 | 2.7268e-05 | 0.075058 | 0.075057 | 0.075058 | 0.97513 | -0.47905 | 0.97608 | -0.46021 | 10.3101
38 | 0.049183 | 0.012342 | -0.049149 | -0.01232 | 3.4331e-05 | 2.1769e-05 | 0.075058 | 0.075058 | 0.075058 | 0.97513 | -0.47905 | 0.97438 | -0.4937 | 20.6203
39 | 0.0049649 | 0.0012443 | -0.0049647 | -0.0012443 | 1.1124e-07 | 6.4717e-09 | 0.0075688 | 0.0075688 | 0.0075688 | 0.97608 | -0.46021 | 0.97606 | -0.46068 | 2.0793
40 | -0.054192 | -0.013613 | 0.054205 | 0.01362 | 1.2337e-05 | 6.3897e-06 | 0.082626 | 0.082626 | 0.082626 | 0.97608 | -0.46021 | 0.97633 | -0.45544 | 4.5399
41 | 0.025334 | 0.0063513 | -0.025328 | -0.0063478 | 5.6507e-06 | 3.4911e-06 | 0.038689 | 0.038689 | 0.038689 | 0.97438 | -0.4937 | 0.97415 | -0.49838 | 10.6288
42 | -0.019074 | -0.0047849 | 0.019079 | 0.004788 | 5.0813e-06 | 3.0498e-06 | 0.029013 | 0.029013 | 0.029013 | 0.97832 | -0.41589 | 0.9786 | -0.4103 | 7.9707
43 | 0.019074 | 0.0047849 | -0.019061 | -0.0047772 | 1.2941e-05 | 7.768e-06 | 0.029013 | 0.029013 | 0.029013 | 0.97832 | -0.41589 | 0.97759 | -0.43013 | 7.9707
44 | 0.091143 | 0.023038 | -0.090691 | -0.02275 | 0.00045182 | 0.00028838 | 0.13866 | 0.13866 | 0.13866 | 0.9786 | -0.4103 | 0.97331 | -0.51424 | 38.0928
45 | 0.037852 | 0.0094939 | -0.037832 | -0.0094817 | 1.9384e-05 | 1.2214e-05 | 0.057832 | 0.057832 | 0.057832 | 0.97397 | -0.50182 | 0.97343 | -0.51256 | 15.8879
46 | 0.19276 | 0.048989 | -0.19239 | -0.048758 | 0.00036653 | 0.00023087 | 0.29036 | 0.29036 | 0.29036 | 0.98867 | -0.21547 | 0.98661 | -0.25504 | 15.954
47 | 0.18094 | 0.045888 | -0.18089 | -0.045858 | 4.7221e-05 | 2.9683e-05 | 0.27309 | 0.27309 | 0.27309 | 0.98661 | -0.25504 | 0.98633 | -0.26047 | 15.005
48 | 0.052892 | 0.013277 | -0.052838 | -0.013242 | 5.4117e-05 | 3.4361e-05 | 0.080871 | 0.080871 | 0.080871 | 0.97331 | -0.51424 | 0.97222 | -0.53571 | 22.2172
49 | -0.12248 | -0.031135 | 0.12261 | 0.031212 | 0.0001251 | 7.6968e-05 | 0.18529 | 0.18528 | 0.18529 | 0.9845 | -0.29586 | 0.9856 | -0.27468 | 10.1805
50 | 0.26412 | 0.066963 | -0.26386 | -0.066794 | 0.00026631 | 0.00016902 | 0.39907 | 0.39907 | 0.39907 | 0.98551 | -0.27647 | 0.98442 | -0.29747 | 21.927
51 | -0.23327 | -0.058938 | 0.23352 | 0.059092 | 0.00024342 | 0.00015414 | 0.35357 | 0.35357 | 0.35357 | 0.98221 | -0.34044 | 0.98333 | -0.3187 | 19.4269
52 | 0.1678 | 0.042575 | -0.16778 | -0.042568 | 1.1445e-05 | 7.1732e-06 | 0.25333 | 0.25333 | 0.25333 | 0.98633 | -0.26047 | 0.98626 | -0.26189 | 13.9192
53 | -0.14419 | -0.03662 | 0.14423 | 0.036648 | 4.5569e-05 | 2.8348e-05 | 0.21786 | 0.21786 | 0.21786 | 0.9856 | -0.27468 | 0.98594 | -0.26811 | 11.9705
54 | -0.25178 | -0.06367 | 0.25204 | 0.063832 | 0.00025664 | 0.00016275 | 0.38121 | 0.38121 | 0.38121 | 0.98333 | -0.3187 | 0.98442 | -0.29747 | 20.9455
55 | -0.15608 | -0.039618 | 0.15613 | 0.039648 | 4.6762e-05 | 2.9212e-05 | 0.23575 | 0.23575 | 0.23575 | 0.98594 | -0.26811 | 0.98626 | -0.26189 | 12.9532

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.565 | 0.14517

## res_load
| p_mw | q_mvar
0 | 0.010729 | 0.0026889
1 | 0.0092809 | 0.002326
2 | 0.013141 | 0.0032934
3 | 0.010401 | 0.0026067
4 | 0.013782 | 0.0034542
5 | 0.0057741 | 0.0014471
6 | 0.029878 | 0.0074881
7 | 0.0079379 | 0.0019894
8 | 0.013697 | 0.0034327
9 | 0.00078403 | 0.0001965
10 | 0.0048603 | 0.0012181
11 | 0.011297 | 0.0028314
12 | 0.023815 | 0.0059687
13 | 0.019061 | 0.0047772
14 | 0.010452 | 0.0026196
15 | 0.011453 | 0.0028703
16 | 0.037798 | 0.0094732
17 | 0.015603 | 0.0039105
18 | 0.037832 | 0.0094817
19 | 0.010869 | 0.0027241
20 | 0.012407 | 0.0031095
21 | 0.014532 | 0.0036421
22 | 0.012264 | 0.0030736
23 | 0.0035333 | 0.00088552
24 | 0.036963 | 0.0092637
25 | 0.0034096 | 0.00085454
26 | 0.0049647 | 0.0012443
27 | 0.025328 | 0.0063478
28 | 0.052838 | 0.013242
29 | 0.013099 | 0.003283
30 | 0.021579 | 0.0054082
31 | 0.018265 | 0.0045776
32 | 0.011818 | 0.002962
33 | 0.011851 | 0.0029701
34 | 0.011652 | 0.0029204

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1