## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-122_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-122_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-122_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-122_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-122_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_261-122_0_5_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_261-122_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-122_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_261-122_0_5_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_261-122_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-122_0_5_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_261-122_0_5_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_261-122_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_261-122_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_261-122_0_5_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_261-122_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_261-122_0_5_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_261-122_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_261-122_0_5_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_261-122_0_5_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_261-122_0_5_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_261-122_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_261-122_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-122_0_5_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_261-122_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_261-122_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_261-122_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-122_0_5_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_261-122_0_5_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_261-122_0_5_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_261-122_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_261-122_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_261-122_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_261-122_0_5_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_261-122_0_5_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_261-122_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_MV_525_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-122_0_5_load_0 | 0 | 0.0049772 | 0.0012474 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-122_0_5_load_29 | 5 | 0.041985 | 0.010522 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-122_0_5_load_38 | 8 | 0.0051077 | 0.0012801 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-122_0_5_load_19 | 10 | 0.0242 | 0.006065 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-122_0_5_load_35 | 11 | 0.0050714 | 0.001271 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-122_0_5_load_21 | 14 | 0.0062972 | 0.0015782 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-122_0_5_load_27 | 16 | 0.014219 | 0.0035636 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-122_0_5_load_39 | 18 | 0.016912 | 0.0042385 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-122_0_5_load_28 | 20 | 0.034534 | 0.0086551 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-122_0_5_load_24 | 21 | 0.048643 | 0.012191 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-122_0_5_load_26 | 23 | 0.043471 | 0.010895 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-122_0_5_load_20 | 25 | 0.022451 | 0.0056268 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-122_0_5_load_32 | 27 | 0.049739 | 0.012466 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-122_0_5_load_31 | 28 | 0.053141 | 0.013318 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-122_0_5_load_30 | 29 | 0.06427 | 0.016108 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-122_0_5_load_36 | 30 | 0.0019224 | 0.00048179 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-122_0_5_load_22 | 31 | 0.0063255 | 0.0015853 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-122_0_5_load_23 | 32 | 0.010886 | 0.0027283 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-122_0_5_load_33 | 33 | 0.048452 | 0.012143 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-122_0_5_load_34 | 34 | 0.0044772 | 0.0011221 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-122_0_5_load_37 | 35 | 0.0029173 | 0.00073114 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-122_0_5_line_0 |  | 0 | 1 | 0.035024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-122_0_5_line_1 |  | 0 | 2 | 0.016806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-122_0_5_line_2 |  | 1 | 3 | 0.024586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-122_0_5_line_3 |  | 2 | 4 | 0.011192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-122_0_5_line_4 |  | 3 | 5 | 0.056431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-122_0_5_line_5 |  | 4 | 8 | 0.00014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-122_0_5_line_6 |  | 6 | 7 | 0.024301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-122_0_5_line_7 |  | 6 | 8 | 0.050878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-122_0_5_line_8 |  | 7 | 11 | 0.021816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-122_0_5_line_9 |  | 7 | 9 | 0.011132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-122_0_5_line_10 |  | 9 | 10 | 0.054033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-122_0_5_line_11 |  | 11 | 30 | 0.029294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-122_0_5_line_12 |  | 12 | 13 | 0.091847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-122_0_5_line_13 |  | 12 | 14 | 0.040844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_261-122_0_5_line_14 |  | 13 | 19 | 0.038209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_261-122_0_5_line_15 |  | 13 | 20 | 0.038634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-122_0_5_line_16 |  | 14 | 31 | 0.010448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_261-122_0_5_line_17 |  | 15 | 16 | 0.035647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-122_0_5_line_18 |  | 15 | 17 | 0.043475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-122_0_5_line_19 |  | 15 | 18 | 0.016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-122_0_5_line_20 |  | 16 | 22 | 0.020702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-122_0_5_line_21 |  | 17 | 21 | 0.022638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-122_0_5_line_22 |  | 19 | 23 | 0.050503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-122_0_5_line_23 |  | 22 | 23 | 0.0015115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-122_0_5_line_24 |  | 24 | 25 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_261-122_0_5_line_25 |  | 24 | 26 | 0.017855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_261-122_0_5_line_26 |  | 25 | 32 | 0.018353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-122_0_5_line_27 |  | 26 | 27 | 0.021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_261-122_0_5_line_28 |  | 26 | 28 | 0.037056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-122_0_5_line_29 |  | 27 | 33 | 0.028288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-122_0_5_line_30 |  | 28 | 29 | 0.029661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-122_0_5_line_31 |  | 30 | 35 | 0.011971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-122_0_5_line_32 |  | 31 | 32 | 0.015086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_261-122_0_5_line_33 |  | 33 | 34 | 0.00013858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-122_0_5_line_34 |  | 34 | 35 | 0.010999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-122_0_5_trafo_18 | 0.63 MVA 20/0.4 kV | 36 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2681417.9616 | 1247774.0908 | 2681416.3904 | 1247782.8979 | 2681413.0634 | 1247808.7631
1 | 2681410.9193 | 1247825.4318 | 2681413.0634 | 1247808.7631
2 | 2681441.5346 | 1247766.9648 | 2681423.1201 | 1247773.0164 | 2681417.9616 | 1247774.0908
3 | 2681409.4903 | 1247836.5314 | 2681410.9193 | 1247825.4318
4 | 2681441.5346 | 1247766.9648 | 2681495.1569 | 1247749.3846
5 | 2681409.4721 | 1247836.6731 | 2681409.4903 | 1247836.5314
6 | 2681402.9794 | 1247887.1347 | 2681418.0495 | 1247906.2334
7 | 2681402.9794 | 1247887.1347 | 2681404.0964 | 1247878.3992 | 2681409.4721 | 1247836.6731
8 | 2681418.0495 | 1247906.2334 | 2681420.8665 | 1247905.149 | 2681423.3103 | 1247904.293 | 2681438.6028 | 1247898.9212
9 | 2681418.0495 | 1247906.2334 | 2681422.134 | 1247910.7483 | 2681425.6033 | 1247914.4097
10 | 2681425.6033 | 1247914.4097 | 2681427.0461 | 1247913.2954 | 2681428.6873 | 1247912.5841 | 2681476.1907 | 1247895.6818
11 | 2681438.6028 | 1247898.9212 | 2681466.2416 | 1247889.2125
12 | 2681555.1311 | 1247979.5152 | 2681560.2194 | 1247976.9388 | 2681566.867 | 1247973.5611 | 2681568.4821 | 1247973.6501 | 2681570.1235 | 1247973.4725 | 2681572.1402 | 1247972.9221 | 2681574.0259 | 1247972.0029 | 2681594.1202 | 1247960.76 | 2681603.486 | 1247955.2626 | 2681599.0019 | 1247941.3796 | 2681596.3646 | 1247931.6028 | 2681593.7023 | 1247919.2571
13 | 2681555.1311 | 1247979.5152 | 2681552.7112 | 1247972.0431 | 2681549.1602 | 1247961.1529 | 2681545.3942 | 1247947.7691 | 2681543.7298 | 1247940.3209
14 | 2681587.2416 | 1247881.6184 | 2681588.6833 | 1247893.2023 | 2681590.3798 | 1247902.7437 | 2681593.7023 | 1247919.2571
15 | 2681593.7023 | 1247919.2571 | 2681627.5168 | 1247900.5719
16 | 2681543.7298 | 1247940.3209 | 2681541.5309 | 1247930.4811 | 2681541.4658 | 1247930.1213
17 | 2681670.9615 | 1247834.8253 | 2681646.285 | 1247860.55
18 | 2681649.6888 | 1247797.7941 | 2681655.6207 | 1247816.2338 | 2681661.3614 | 1247823.3291 | 2681663.3517 | 1247825.7917 | 2681670.9615 | 1247834.8253
19 | 2681670.9615 | 1247834.8253 | 2681681.6909 | 1247846.7231
20 | 2681633.2205 | 1247858.3007 | 2681639.6962 | 1247867.4187 | 2681646.285 | 1247860.55
21 | 2681649.6888 | 1247797.7941 | 2681633.3002 | 1247813.4108
22 | 2681587.2416 | 1247881.6184 | 2681593.8993 | 1247880.8094 | 2681631.9087 | 1247859.0516
23 | 2681633.2205 | 1247858.3007 | 2681631.9087 | 1247859.0516
24 | 2681534.3147 | 1247880.2116 | 2681534.721 | 1247886.911 | 2681535.9605 | 1247897.1461
25 | 2681533.6765 | 1247862.3676 | 2681533.9816 | 1247870.9336 | 2681534.3147 | 1247880.2116
26 | 2681535.9605 | 1247897.1461 | 2681536.6269 | 1247902.6488 | 2681538.7794 | 1247915.2765
27 | 2681533.6765 | 1247862.3676 | 2681531.997 | 1247864.2125 | 2681530.1016 | 1247865.8321 | 2681528.0437 | 1247867.1825 | 2681525.8459 | 1247868.2753 | 2681514.7335 | 1247872.1788
28 | 2681533.6765 | 1247862.3676 | 2681533.7264 | 1247858.7434 | 2681533.5808 | 1247847.9112 | 2681534.0441 | 1247828.5145 | 2681534.3194 | 1247825.3305
29 | 2681514.7335 | 1247872.1788 | 2681488.0443 | 1247881.5539
30 | 2681537.6125 | 1247795.8655 | 2681535.8046 | 1247808.1571 | 2681534.3194 | 1247825.3305
31 | 2681477.5359 | 1247885.2452 | 2681466.2416 | 1247889.2125
32 | 2681538.7794 | 1247915.2765 | 2681538.7794 | 1247915.2765 | 2681541.4658 | 1247930.1213
33 | 2681487.9136 | 1247881.5998 | 2681488.0443 | 1247881.5539
34 | 2681477.5359 | 1247885.2452 | 2681487.9136 | 1247881.5998

## bus_geodata
| x | y | coords
0 | 2681413.0634 | 1247808.7631
1 | 2681417.9616 | 1247774.0908
2 | 2681410.9193 | 1247825.4318
3 | 2681441.5346 | 1247766.9648
4 | 2681409.4903 | 1247836.5314
5 | 2681495.1569 | 1247749.3846
6 | 2681402.9794 | 1247887.1347
7 | 2681418.0495 | 1247906.2334
8 | 2681409.4721 | 1247836.6731
9 | 2681425.6033 | 1247914.4097
10 | 2681476.1907 | 1247895.6818
11 | 2681438.6028 | 1247898.9212
12 | 2681555.1311 | 1247979.5152
13 | 2681593.7023 | 1247919.2571
14 | 2681543.7298 | 1247940.3209
15 | 2681670.9615 | 1247834.8253
16 | 2681646.285 | 1247860.55
17 | 2681649.6888 | 1247797.7941
18 | 2681681.6909 | 1247846.7231
19 | 2681587.2416 | 1247881.6184
20 | 2681627.5168 | 1247900.5719
21 | 2681633.3002 | 1247813.4108
22 | 2681633.2205 | 1247858.3007
23 | 2681631.9087 | 1247859.0516
24 | 2681534.3147 | 1247880.2116
25 | 2681535.9605 | 1247897.1461
26 | 2681533.6765 | 1247862.3676
27 | 2681514.7335 | 1247872.1788
28 | 2681534.3194 | 1247825.3305
29 | 2681537.6125 | 1247795.8655
30 | 2681466.2416 | 1247889.2125
31 | 2681541.4658 | 1247930.1213
32 | 2681538.7794 | 1247915.2765
33 | 2681488.0443 | 1247881.5539
34 | 2681487.9136 | 1247881.5998
35 | 2681477.5359 | 1247885.2452
36 | 2681533.9816 | 1247870.9336

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98412 | -0.30504 | 0.0049772 | 0.0012474
1 | 0.98276 | -0.33155 | 0 | 0
2 | 0.98485 | -0.29085 | 0 | 0
3 | 0.98181 | -0.35019 | 0 | 0
4 | 0.98534 | -0.28141 | 0 | 0
5 | 0.97961 | -0.39313 | 0.041985 | 0.010522
6 | 0.9878 | -0.23384 | 0 | 0
7 | 0.98897 | -0.21127 | 0 | 0
8 | 0.98535 | -0.28129 | 0.0051077 | 0.0012801
9 | 0.98872 | -0.21607 | 0 | 0
10 | 0.98752 | -0.23941 | 0.0242 | 0.006065
11 | 0.99051 | -0.18166 | 0.0050714 | 0.001271
12 | 0.99018 | -0.18627 | 0 | 0
13 | 0.98344 | -0.31597 | 0 | 0
14 | 0.99317 | -0.12916 | 0.0062972 | 0.0015782
15 | 0.97453 | -0.49012 | 0 | 0
16 | 0.97671 | -0.44733 | 0.014219 | 0.0035636
17 | 0.97255 | -0.52901 | 0 | 0
18 | 0.97427 | -0.4951 | 0.016912 | 0.0042385
19 | 0.98125 | -0.3585 | 0 | 0
20 | 0.98221 | -0.34005 | 0.034534 | 0.0086551
21 | 0.97152 | -0.54933 | 0.048643 | 0.012191
22 | 0.97824 | -0.4172 | 0 | 0
23 | 0.97836 | -0.41501 | 0.043471 | 0.010895
24 | 0.99832 | -0.03176 | 0 | 0
25 | 0.99671 | -0.062137 | 0.022451 | 0.0056268
26 | 1 | 0 | -0.5175 | -0.13154
27 | 0.99812 | -0.035753 | 0.049739 | 0.012466
28 | 0.99603 | -0.076134 | 0.053141 | 0.013318
29 | 0.9943 | -0.10968 | 0.06427 | 0.016108
30 | 0.9927 | -0.13941 | 0.0019224 | 0.00048179
31 | 0.99397 | -0.11402 | 0.0063255 | 0.0015853
32 | 0.99517 | -0.091372 | 0.010886 | 0.0027283
33 | 0.99451 | -0.10485 | 0.048452 | 0.012143
34 | 0.9945 | -0.10508 | 0.0044772 | 0.0011221
35 | 0.99362 | -0.1218 | 0.0029173 | 0.00073114
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.042162 | 0.010634 | -0.042109 | -0.0106 | 5.3418e-05 | 3.3743e-05 | 0.063774 | 0.063774 | 0.063774 | 0.98412 | -0.30504 | 0.98276 | -0.33155 | 17.5203
1 | -0.047139 | -0.011882 | 0.047171 | 0.011902 | 3.2038e-05 | 2.0291e-05 | 0.071299 | 0.071299 | 0.071299 | 0.98412 | -0.30504 | 0.98485 | -0.29085 | 19.5878
2 | 0.042109 | 0.0106 | -0.042071 | -0.010577 | 3.7498e-05 | 2.3687e-05 | 0.063774 | 0.063774 | 0.063774 | 0.98276 | -0.33155 | 0.98181 | -0.35019 | 17.5204
3 | -0.047171 | -0.011902 | 0.047193 | 0.011915 | 2.1336e-05 | 1.3512e-05 | 0.071299 | 0.071299 | 0.071299 | 0.98485 | -0.29085 | 0.98534 | -0.28141 | 19.5877
4 | 0.042071 | 0.010577 | -0.041985 | -0.010522 | 8.6067e-05 | 5.4371e-05 | 0.063774 | 0.063774 | 0.063774 | 0.98181 | -0.35019 | 0.97961 | -0.39313 | 17.5204
5 | -0.047193 | -0.011915 | 0.047193 | 0.011916 | 2.7231e-07 | 1.7246e-07 | 0.071299 | 0.071299 | 0.071299 | 0.98534 | -0.28141 | 0.98535 | -0.28129 | 19.5877
6 | -0.05242 | -0.013271 | 0.052477 | 0.013307 | 5.6891e-05 | 3.6099e-05 | 0.079013 | 0.079012 | 0.079013 | 0.9878 | -0.23384 | 0.98897 | -0.21127 | 21.7067
7 | 0.05242 | 0.013271 | -0.052301 | -0.013196 | 0.00011911 | 7.5581e-05 | 0.079013 | 0.079013 | 0.079013 | 0.9878 | -0.23384 | 0.98535 | -0.28129 | 21.7068
8 | -0.076709 | -0.019392 | 0.076818 | 0.019462 | 0.00010909 | 6.954e-05 | 0.11548 | 0.11548 | 0.11548 | 0.98897 | -0.21127 | 0.99051 | -0.18166 | 31.7243
9 | 0.024232 | 0.0060849 | -0.024226 | -0.0060815 | 5.5507e-06 | 3.4097e-06 | 0.036464 | 0.036464 | 0.036464 | 0.98897 | -0.21127 | 0.98872 | -0.21607 | 10.0176
10 | 0.024226 | 0.0060815 | -0.0242 | -0.006065 | 2.6941e-05 | 1.655e-05 | 0.036464 | 0.036464 | 0.036464 | 0.98872 | -0.21607 | 0.98752 | -0.23941 | 10.0177
11 | -0.081889 | -0.020733 | 0.082056 | 0.020839 | 0.00016645 | 0.00010615 | 0.12309 | 0.12309 | 0.12309 | 0.99051 | -0.18166 | 0.9927 | -0.13941 | 33.8173
12 | 0.1598 | 0.040832 | -0.15881 | -0.040197 | 0.00099549 | 0.00063477 | 0.24043 | 0.24043 | 0.24043 | 0.99018 | -0.18627 | 0.98344 | -0.31597 | 33.0258
13 | -0.1598 | -0.040832 | 0.16025 | 0.041114 | 0.00044269 | 0.00028227 | 0.24043 | 0.24043 | 0.24043 | 0.99018 | -0.18627 | 0.99317 | -0.12916 | 33.0257
14 | 0.12423 | 0.031517 | -0.12398 | -0.031355 | 0.00025351 | 0.00016128 | 0.18811 | 0.18811 | 0.18811 | 0.98344 | -0.31597 | 0.98125 | -0.3585 | 25.8393
15 | 0.034574 | 0.00868 | -0.034534 | -0.0086551 | 3.9656e-05 | 2.489e-05 | 0.052318 | 0.052318 | 0.052318 | 0.98344 | -0.31597 | 0.98221 | -0.34005 | 14.3732
16 | -0.16654 | -0.042692 | 0.16666 | 0.04277 | 0.0001223 | 7.8003e-05 | 0.24986 | 0.24986 | 0.24986 | 0.99317 | -0.12916 | 0.99397 | -0.11402 | 34.3216
17 | -0.065696 | -0.016519 | 0.065831 | 0.016605 | 0.00013456 | 8.5676e-05 | 0.10033 | 0.10033 | 0.10033 | 0.97453 | -0.49012 | 0.97671 | -0.44733 | 27.5637
18 | 0.04878 | 0.012278 | -0.04869 | -0.012221 | 9.0493e-05 | 5.7375e-05 | 0.074503 | 0.074503 | 0.074503 | 0.97453 | -0.49012 | 0.97255 | -0.52901 | 20.4678
19 | 0.016916 | 0.0042408 | -0.016912 | -0.0042385 | 4.0082e-06 | 2.3657e-06 | 0.025829 | 0.025829 | 0.025829 | 0.97453 | -0.49012 | 0.97427 | -0.4951 | 7.096
20 | -0.080049 | -0.020168 | 0.080165 | 0.020242 | 0.00011553 | 7.3683e-05 | 0.12199 | 0.12199 | 0.12199 | 0.97671 | -0.44733 | 0.97824 | -0.4172 | 33.5149
21 | 0.04869 | 0.012221 | -0.048643 | -0.012191 | 4.712e-05 | 2.9876e-05 | 0.074503 | 0.074503 | 0.074503 | 0.97255 | -0.52901 | 0.97152 | -0.54933 | 20.4678
22 | 0.12398 | 0.031355 | -0.12364 | -0.031142 | 0.00033508 | 0.00021318 | 0.18811 | 0.18811 | 0.18811 | 0.98125 | -0.3585 | 0.97836 | -0.41501 | 25.8394
23 | -0.080165 | -0.020242 | 0.080173 | 0.020247 | 8.4356e-06 | 5.3798e-06 | 0.12199 | 0.12199 | 0.12199 | 0.97824 | -0.4172 | 0.97836 | -0.41501 | 33.5148
24 | 0.20708 | 0.053193 | -0.20678 | -0.052999 | 0.00030498 | 0.00019474 | 0.30912 | 0.30912 | 0.30912 | 0.99832 | -0.03176 | 0.99671 | -0.062137 | 42.4622
25 | -0.20708 | -0.053193 | 0.2074 | 0.053398 | 0.00031992 | 0.00020428 | 0.30912 | 0.30912 | 0.30912 | 0.99832 | -0.03176 | 1 | 0 | 42.4622
26 | 0.18433 | 0.047372 | -0.18407 | -0.047205 | 0.00026139 | 0.00016681 | 0.27561 | 0.27561 | 0.27561 | 0.99671 | -0.062137 | 0.99517 | -0.091372 | 37.8582
27 | 0.1905 | 0.04838 | -0.19017 | -0.048172 | 0.00032718 | 0.00020883 | 0.28369 | 0.28369 | 0.28369 | 1 | 0 | 0.99812 | -0.035753 | 38.9685
28 | 0.11794 | 0.029765 | -0.11751 | -0.029491 | 0.00042835 | 0.00027366 | 0.17557 | 0.17557 | 0.17557 | 1 | 0 | 0.99603 | -0.076134 | 48.2343
29 | 0.14043 | 0.035706 | -0.13997 | -0.035408 | 0.00046576 | 0.00029772 | 0.20954 | 0.20954 | 0.20954 | 0.99812 | -0.035753 | 0.99451 | -0.10485 | 57.5659
30 | 0.064373 | 0.016173 | -0.06427 | -0.016108 | 0.0001029 | 6.5472e-05 | 0.096183 | 0.096183 | 0.096183 | 0.99603 | -0.076134 | 0.9943 | -0.10968 | 26.424
31 | -0.083978 | -0.021321 | 0.084049 | 0.021366 | 7.1241e-05 | 4.544e-05 | 0.12598 | 0.12598 | 0.12598 | 0.9927 | -0.13941 | 0.99362 | -0.1218 | 34.6089
32 | -0.17299 | -0.044355 | 0.17318 | 0.044477 | 0.00019023 | 0.00012136 | 0.25933 | 0.25933 | 0.25933 | 0.99397 | -0.11402 | 0.99517 | -0.091372 | 35.6223
33 | 0.091515 | 0.023265 | -0.091514 | -0.023264 | 9.7597e-07 | 6.2283e-07 | 0.13704 | 0.13704 | 0.13704 | 0.99451 | -0.10485 | 0.9945 | -0.10508 | 37.6495
34 | 0.087037 | 0.022142 | -0.086966 | -0.022097 | 7.0079e-05 | 4.4708e-05 | 0.13035 | 0.13035 | 0.13035 | 0.9945 | -0.10508 | 0.99362 | -0.1218 | 35.8091

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5175 | 0.13154

## res_load
| p_mw | q_mvar
0 | 0.0049772 | 0.0012474
1 | 0.041985 | 0.010522
2 | 0.0051077 | 0.0012801
3 | 0.0242 | 0.006065
4 | 0.0050714 | 0.001271
5 | 0.0062972 | 0.0015782
6 | 0.014219 | 0.0035636
7 | 0.016912 | 0.0042385
8 | 0.034534 | 0.0086551
9 | 0.048643 | 0.012191
10 | 0.043471 | 0.010895
11 | 0.022451 | 0.0056268
12 | 0.049739 | 0.012466
13 | 0.053141 | 0.013318
14 | 0.06427 | 0.016108
15 | 0.0019224 | 0.00048179
16 | 0.0063255 | 0.0015853
17 | 0.010886 | 0.0027283
18 | 0.048452 | 0.012143
19 | 0.0044772 | 0.0011221
20 | 0.0029173 | 0.00073114

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1