## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-124_1_3_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_261-124_1_3_node_26 | 0.4 | n |  | TRUE
2 | bus_LV_261-124_1_3_node_87 | 0.4 | n |  | TRUE
3 | bus_LV_261-124_1_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_261-124_1_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_261-124_1_3_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_261-124_1_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_261-124_1_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_261-124_1_3_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_261-124_1_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_261-124_1_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_261-124_1_3_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_261-124_1_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_261-124_1_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_261-124_1_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_261-124_1_3_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_261-124_1_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_261-124_1_3_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_261-124_1_3_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_261-124_1_3_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_261-124_1_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_261-124_1_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_261-124_1_3_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_261-124_1_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_261-124_1_3_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_261-124_1_3_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_261-124_1_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_261-124_1_3_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_261-124_1_3_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_261-124_1_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_261-124_1_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_261-124_1_3_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_261-124_1_3_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_261-124_1_3_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_261-124_1_3_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_261-124_1_3_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_261-124_1_3_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_261-124_1_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_261-124_1_3_node_51 | 0.4 | n |  | TRUE
39 | bus_MV_389_1_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-124_1_3_load_87 | 2 | 0.0063052 | 0.0015802 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-124_1_3_load_75 | 5 | 0.034191 | 0.008569 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-124_1_3_load_76 | 8 | 0.028106 | 0.007044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-124_1_3_load_78 | 9 | 0.064506 | 0.016167 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-124_1_3_load_42 | 15 | 0.0072455 | 0.0018159 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-124_1_3_load_79 | 17 | 0.027593 | 0.0069154 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-124_1_3_load_74 | 18 | 0.012901 | 0.0032333 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-124_1_3_load_88 | 19 | 0.054771 | 0.013727 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-124_1_3_load_52 | 21 | 0.030949 | 0.0077567 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-124_1_3_load_49 | 22 | 0.0070366 | 0.0017635 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-124_1_3_load_67 | 24 | 0.01203 | 0.003015 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-124_1_3_load_80 | 25 | 0.0065378 | 0.0016385 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-124_1_3_load_47 | 26 | 0.0071767 | 0.0017986 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-124_1_3_load_86 | 31 | 0.0067291 | 0.0016865 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-124_1_3_load_43 | 33 | 0.030249 | 0.0075811 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-124_1_3_load_48 | 34 | 0.0067256 | 0.0016856 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-124_1_3_load_68 | 35 | 0.012489 | 0.0031301 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-124_1_3_load_46 | 36 | 0.0071888 | 0.0018017 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-124_1_3_load_50 | 37 | 0.0070787 | 0.0017741 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-124_1_3_load_51 | 38 | 0.0067285 | 0.0016863 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-124_1_3_line_0 |  | 0 | 1 | 0.034681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-124_1_3_line_1 |  | 0 | 2 | 0.048554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-124_1_3_line_2 |  | 1 | 18 | 0.046434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-124_1_3_line_3 |  | 2 | 29 | 0.034803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-124_1_3_line_4 |  | 3 | 4 | 0.053159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-124_1_3_line_5 |  | 3 | 5 | 0.015268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-124_1_3_line_6 |  | 4 | 9 | 0.011705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-124_1_3_line_7 |  | 5 | 10 | 0.018125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-124_1_3_line_8 |  | 6 | 7 | 0.026553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-124_1_3_line_9 |  | 6 | 8 | 0.014994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-124_1_3_line_10 |  | 7 | 18 | 0.014475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-124_1_3_line_11 |  | 8 | 27 | 0.01924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-124_1_3_line_12 |  | 9 | 16 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-124_1_3_line_13 |  | 10 | 11 | 0.087047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-124_1_3_line_14 |  | 11 | 23 | 0.011413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-124_1_3_line_15 |  | 11 | 24 | 0.032569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-124_1_3_line_16 |  | 12 | 13 | 0.012668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-124_1_3_line_17 |  | 12 | 14 | 0.072302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-124_1_3_line_18 |  | 12 | 15 | 0.02089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-124_1_3_line_19 |  | 13 | 26 | 0.0097816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-124_1_3_line_20 |  | 14 | 19 | 0.021759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-124_1_3_line_21 |  | 15 | 33 | 0.023747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-124_1_3_line_22 |  | 16 | 17 | 0.010694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-124_1_3_line_23 |  | 17 | 32 | 0.024974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-124_1_3_line_24 |  | 19 | 28 | 0.023513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-124_1_3_line_25 |  | 20 | 21 | 0.042808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-124_1_3_line_26 |  | 20 | 22 | 0.020626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-124_1_3_line_27 |  | 22 | 34 | 0.011018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-124_1_3_line_28 |  | 23 | 25 | 0.02548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-124_1_3_line_29 |  | 24 | 35 | 0.0012962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-124_1_3_line_30 |  | 26 | 36 | 0.015181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-124_1_3_line_31 |  | 27 | 28 | 0.027437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-124_1_3_line_32 |  | 28 | 32 | 0.014332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_261-124_1_3_line_33 |  | 29 | 30 | 0.032832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-124_1_3_line_34 |  | 30 | 31 | 0.015424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-124_1_3_line_35 |  | 34 | 37 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-124_1_3_line_36 |  | 35 | 38 | 0.026714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-124_1_3_line_37 |  | 37 | 38 | 0.00024654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-124_1_3_trafo_78 | 0.63 MVA 20/0.4 kV | 39 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2679250.5737 | 1250005.407 | 2679257.7669 | 1250002.7457 | 2679259.9677 | 1250008.6794 | 2679262.0225 | 1250014.2332 | 2679258.6163 | 1250015.4441 | 2679258.1452 | 1250020.7417 | 2679260.08 | 1250026.2383
1 | 2679260.08 | 1250026.2383 | 2679247.5803 | 1250031.0747 | 2679246.1945 | 1250033.6359 | 2679248.6844 | 1250040.5298 | 2679230.0319 | 1250047.0185 | 2679227.5103 | 1250051.5215
2 | 2679250.5737 | 1250005.407 | 2679207.0168 | 1250021.4984
3 | 2679201.7593 | 1250066.5885 | 2679215.4581 | 1250061.2898 | 2679221.3967 | 1250049.1158 | 2679227.5103 | 1250051.5215
4 | 2679143.5498 | 1249978.8689 | 2679168.412 | 1249969.872 | 2679193.5397 | 1249960.7899
5 | 2679193.5397 | 1249960.7899 | 2679207.8973 | 1249955.598
6 | 2679143.5498 | 1249978.8689 | 2679147.4582 | 1249989.9024
7 | 2679224.942 | 1249949.4344 | 2679207.8973 | 1249955.598
8 | 2679168.5288 | 1250035.7108 | 2679182.9679 | 1250030.3775 | 2679193.4388 | 1250026.5145
9 | 2679168.5288 | 1250035.7108 | 2679154.4646 | 1250040.9092
10 | 2679193.4388 | 1250026.5145 | 2679207.0168 | 1250021.4984
11 | 2679136.4181 | 1250047.5797 | 2679154.4646 | 1250040.9092
12 | 2679152.5135 | 1250004.1738 | 2679147.4582 | 1249989.9024
13 | 2679224.942 | 1249949.4344 | 2679267.0419 | 1249934.2194 | 2679291.6313 | 1249925.3306 | 2679290.5018 | 1249921.7128 | 2679289.6691 | 1249919.0553 | 2679288.8437 | 1249916.4201 | 2679287.859 | 1249913.2712 | 2679286.8089 | 1249909.9325
14 | 2679294.1876 | 1249903.571 | 2679294.5155 | 1249905.588 | 2679294.0456 | 1249906.8493 | 2679293.1708 | 1249907.8939 | 2679286.8089 | 1249909.9325
15 | 2679286.8089 | 1249909.9325 | 2679268.2481 | 1249916.3001 | 2679265.9711 | 1249916.0584 | 2679255.9966 | 1249919.8102
16 | 2679052.4827 | 1249995.0212 | 2679045.5685 | 1249997.1528 | 2679043.4912 | 1249997.2252 | 2679041.8722 | 1249996.9034 | 2679040.4895 | 1249995.8508
17 | 2679052.4827 | 1249995.0212 | 2679053.4081 | 1249997.5243 | 2679054.6107 | 1250000.7649 | 2679058.0506 | 1250010.0398 | 2679051.8134 | 1250013.4925 | 2679072.8105 | 1250047.9868 | 2679081.0574 | 1250044.9946
18 | 2679052.4827 | 1249995.0212 | 2679061.1314 | 1249991.9121 | 2679072.1115 | 1249987.8718
19 | 2679040.4895 | 1249995.8508 | 2679037.0008 | 1249986.7125
20 | 2679081.0574 | 1250044.9946 | 2679101.5071 | 1250037.5612
21 | 2679094.3973 | 1249979.6715 | 2679072.1115 | 1249987.8718
22 | 2679152.5135 | 1250004.1738 | 2679142.424 | 1250007.7196
23 | 2679118.863 | 1250015.9999 | 2679142.424 | 1250007.7196
24 | 2679123.605 | 1250029.5287 | 2679101.5071 | 1250037.5612
25 | 2679187.0156 | 1249945.5916 | 2679181.9874 | 1249930.8914 | 2679172.9918 | 1249905.146
26 | 2679187.0156 | 1249945.5916 | 2679187.8123 | 1249945.302 | 2679206.2889 | 1249938.2463
27 | 2679216.5817 | 1249934.3158 | 2679206.2889 | 1249938.2463
28 | 2679294.1876 | 1249903.571 | 2679293.5057 | 1249901.4937 | 2679285.6436 | 1249879.5669
29 | 2679255.9966 | 1249919.8102 | 2679254.7834 | 1249920.2665
30 | 2679037.0008 | 1249986.7125 | 2679036.995 | 1249986.6975 | 2679033.9014 | 1249980.3294 | 2679029.1647 | 1249973.777
31 | 2679123.605 | 1250029.5287 | 2679129.5359 | 1250027.5286 | 2679136.4181 | 1250047.5797
32 | 2679118.863 | 1250015.9999 | 2679123.605 | 1250029.5287
33 | 2679201.7593 | 1250066.5885 | 2679210.3549 | 1250086.0843 | 2679220.5733 | 1250091.4915
34 | 2679220.5733 | 1250091.4915 | 2679235.2923 | 1250086.8801
35 | 2679229.4908 | 1249929.6021 | 2679218.4491 | 1249933.6027 | 2679216.5817 | 1249934.3158
36 | 2679254.7834 | 1249920.2665 | 2679242.3634 | 1249924.9382 | 2679229.7226 | 1249929.5181
37 | 2679229.4908 | 1249929.6021 | 2679229.7226 | 1249929.5181

## bus_geodata
| x | y | coords
0 | 2679260.08 | 1250026.2383
1 | 2679250.5737 | 1250005.407
2 | 2679227.5103 | 1250051.5215
3 | 2679193.5397 | 1249960.7899
4 | 2679143.5498 | 1249978.8689
5 | 2679207.8973 | 1249955.598
6 | 2679168.5288 | 1250035.7108
7 | 2679193.4388 | 1250026.5145
8 | 2679154.4646 | 1250040.9092
9 | 2679147.4582 | 1249989.9024
10 | 2679224.942 | 1249949.4344
11 | 2679286.8089 | 1249909.9325
12 | 2679052.4827 | 1249995.0212
13 | 2679040.4895 | 1249995.8508
14 | 2679081.0574 | 1250044.9946
15 | 2679072.1115 | 1249987.8718
16 | 2679152.5135 | 1250004.1738
17 | 2679142.424 | 1250007.7196
18 | 2679207.0168 | 1250021.4984
19 | 2679101.5071 | 1250037.5612
20 | 2679187.0156 | 1249945.5916
21 | 2679172.9918 | 1249905.146
22 | 2679206.2889 | 1249938.2463
23 | 2679294.1876 | 1249903.571
24 | 2679255.9966 | 1249919.8102
25 | 2679285.6436 | 1249879.5669
26 | 2679037.0008 | 1249986.7125
27 | 2679136.4181 | 1250047.5797
28 | 2679123.605 | 1250029.5287
29 | 2679201.7593 | 1250066.5885
30 | 2679220.5733 | 1250091.4915
31 | 2679235.2923 | 1250086.8801
32 | 2679118.863 | 1250015.9999
33 | 2679094.3973 | 1249979.6715
34 | 2679216.5817 | 1249934.3158
35 | 2679254.7834 | 1249920.2665
36 | 2679029.1647 | 1249973.777
37 | 2679229.4908 | 1249929.6021
38 | 2679229.7226 | 1249929.5181
39 | 2679143.5498 | 1249978.8689

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99028 | -0.18699 | 0 | 0
1 | 0.99069 | -0.17896 | 0 | 0
2 | 0.9897 | -0.19825 | 0.0063052 | 0.0015802
3 | 0.99257 | -0.14098 | 0 | 0
4 | 0.99866 | -0.025287 | 0 | 0
5 | 0.99082 | -0.17447 | 0.034191 | 0.008569
6 | 0.99222 | -0.14935 | 0 | 0
7 | 0.99159 | -0.16155 | 0 | 0
8 | 0.99258 | -0.14246 | 0.028106 | 0.007044
9 | 1 | 0 | -0.31732 | -0.080519
10 | 0.98932 | -0.20335 | 0 | 0
11 | 0.98208 | -0.34323 | 0 | 0
12 | 0.9881 | -0.22888 | 0 | 0
13 | 0.98794 | -0.23213 | 0 | 0
14 | 0.99155 | -0.16217 | 0 | 0
15 | 0.98738 | -0.24287 | 0.0072455 | 0.0018159
16 | 0.9987 | -0.024875 | 0 | 0
17 | 0.99777 | -0.042485 | 0.027593 | 0.0069154
18 | 0.99125 | -0.16821 | 0.012901 | 0.0032333
19 | 0.99259 | -0.14219 | 0.054771 | 0.013727
20 | 0.97647 | -0.45309 | 0 | 0
21 | 0.97523 | -0.47734 | 0.030949 | 0.0077567
22 | 0.97706 | -0.44143 | 0.0070366 | 0.0017635
23 | 0.98201 | -0.34458 | 0 | 0
24 | 0.97957 | -0.39224 | 0.01203 | 0.003015
25 | 0.98186 | -0.34759 | 0.0065378 | 0.0016385
26 | 0.98781 | -0.23464 | 0.0071767 | 0.0017986
27 | 0.99353 | -0.12408 | 0 | 0
28 | 0.99488 | -0.097934 | 0 | 0
29 | 0.98948 | -0.20242 | 0 | 0
30 | 0.98928 | -0.20635 | 0 | 0
31 | 0.98918 | -0.2082 | 0.0067291 | 0.0016865
32 | 0.99594 | -0.077679 | 0 | 0
33 | 0.98672 | -0.25572 | 0.030249 | 0.0075811
34 | 0.97745 | -0.43379 | 0.0067256 | 0.0016856
35 | 0.97948 | -0.39391 | 0.012489 | 0.0031301
36 | 0.98771 | -0.23659 | 0.0071888 | 0.0018017
37 | 0.97802 | -0.42259 | 0.0070787 | 0.0017741
38 | 0.97803 | -0.42235 | 0.0067285 | 0.0016863
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.013044 | -0.0032715 | 0.013049 | 0.0032743 | 4.997e-06 | 2.7517e-06 | 0.019602 | 0.019602 | 0.019602 | 0.99028 | -0.18699 | 0.99069 | -0.17896 | 5.3851
1 | 0.013044 | 0.0032715 | -0.013037 | -0.0032677 | 6.9961e-06 | 3.8532e-06 | 0.019602 | 0.019602 | 0.019602 | 0.99028 | -0.18699 | 0.9897 | -0.19825 | 5.3852
2 | -0.013049 | -0.0032743 | 0.013056 | 0.003278 | 6.6903e-06 | 3.6836e-06 | 0.019602 | 0.019601 | 0.019602 | 0.99069 | -0.17896 | 0.99125 | -0.16821 | 5.3851
3 | 0.0067323 | 0.0016874 | -0.0067309 | -0.001687 | 1.3372e-06 | 4.0867e-07 | 0.010122 | 0.010122 | 0.010122 | 0.9897 | -0.19825 | 0.98948 | -0.20242 | 2.7808
4 | -0.12507 | -0.031852 | 0.12578 | 0.032301 | 0.00070222 | 0.00044873 | 0.18769 | 0.18769 | 0.18769 | 0.99257 | -0.14098 | 0.99866 | -0.025287 | 51.5622
5 | 0.12507 | 0.031852 | -0.12487 | -0.031723 | 0.00020168 | 0.00012888 | 0.18769 | 0.18769 | 0.18769 | 0.99257 | -0.14098 | 0.99082 | -0.17447 | 51.5622
6 | -0.12578 | -0.032301 | 0.12593 | 0.0324 | 0.00015462 | 9.8806e-05 | 0.18769 | 0.18769 | 0.18769 | 0.99866 | -0.025287 | 1 | 0 | 51.5621
7 | 0.090683 | 0.023154 | -0.090556 | -0.023074 | 0.00012634 | 8.0626e-05 | 0.13634 | 0.13634 | 0.13634 | 0.99082 | -0.17447 | 0.98932 | -0.20335 | 37.4559
8 | 0.02598 | 0.0065257 | -0.025965 | -0.0065163 | 1.512e-05 | 9.3342e-06 | 0.038967 | 0.038968 | 0.038968 | 0.99222 | -0.14935 | 0.99159 | -0.16155 | 10.7054
9 | -0.02598 | -0.0065257 | 0.025989 | 0.0065309 | 8.538e-06 | 5.2706e-06 | 0.038967 | 0.038967 | 0.038967 | 0.99222 | -0.14935 | 0.99258 | -0.14246 | 10.7054
10 | 0.025965 | 0.0065163 | -0.025957 | -0.0065112 | 8.2425e-06 | 5.0885e-06 | 0.038968 | 0.038968 | 0.038968 | 0.99159 | -0.16155 | 0.99125 | -0.16821 | 10.7054
11 | -0.054095 | -0.013575 | 0.054142 | 0.013605 | 4.7457e-05 | 3.0123e-05 | 0.081102 | 0.081102 | 0.081102 | 0.99258 | -0.14246 | 0.99353 | -0.12408 | 22.2808
12 | 0.18974 | 0.048119 | -0.18951 | -0.047975 | 0.00022661 | 0.00014463 | 0.28254 | 0.28254 | 0.28254 | 1 | 0 | 0.9987 | -0.024875 | 38.8098
13 | 0.090556 | 0.023074 | -0.089949 | -0.022687 | 0.00060678 | 0.00038723 | 0.13634 | 0.13634 | 0.13634 | 0.98932 | -0.20335 | 0.98208 | -0.34323 | 37.456
14 | 0.0065392 | 0.0016389 | -0.0065388 | -0.0016388 | 4.2015e-07 | 1.2449e-07 | 0.009908 | 0.009908 | 0.009908 | 0.98208 | -0.34323 | 0.98201 | -0.34458 | 2.722
15 | 0.08341 | 0.021048 | -0.083215 | -0.020923 | 0.00019523 | 0.00012454 | 0.12643 | 0.12643 | 0.12643 | 0.98208 | -0.34323 | 0.97957 | -0.39224 | 34.7341
16 | 0.01437 | 0.0036028 | -0.014368 | -0.0036015 | 2.2248e-06 | 1.2616e-06 | 0.021641 | 0.021641 | 0.021641 | 0.9881 | -0.22888 | 0.98794 | -0.23213 | 5.9453
17 | -0.051908 | -0.013027 | 0.052074 | 0.013132 | 0.0001657 | 0.00010512 | 0.078176 | 0.078176 | 0.078176 | 0.9881 | -0.22888 | 0.99155 | -0.16217 | 21.477
18 | 0.037538 | 0.0094243 | -0.037513 | -0.0094085 | 2.5039e-05 | 1.5758e-05 | 0.056535 | 0.056535 | 0.056535 | 0.9881 | -0.22888 | 0.98738 | -0.24287 | 15.5317
19 | 0.014368 | 0.0036015 | -0.014366 | -0.0036006 | 1.7179e-06 | 9.7421e-07 | 0.021641 | 0.021641 | 0.021641 | 0.98794 | -0.23213 | 0.98781 | -0.23464 | 5.9453
20 | -0.052074 | -0.013132 | 0.052124 | 0.013164 | 4.9867e-05 | 3.1634e-05 | 0.078176 | 0.078176 | 0.078176 | 0.99155 | -0.16217 | 0.99259 | -0.14219 | 21.4769
21 | 0.030267 | 0.0075926 | -0.030249 | -0.0075811 | 1.853e-05 | 1.1556e-05 | 0.045616 | 0.045616 | 0.045616 | 0.98738 | -0.24287 | 0.98672 | -0.25572 | 12.532
22 | 0.18951 | 0.047975 | -0.18935 | -0.047873 | 0.00016007 | 0.00010216 | 0.28254 | 0.28254 | 0.28254 | 0.9987 | -0.024875 | 0.99777 | -0.042485 | 38.8098
23 | 0.16176 | 0.040957 | -0.16149 | -0.040783 | 0.00027284 | 0.00017397 | 0.24139 | 0.24139 | 0.24139 | 0.99777 | -0.042485 | 0.99594 | -0.077679 | 33.1574
24 | -0.10689 | -0.026891 | 0.10712 | 0.027035 | 0.00022652 | 0.00014467 | 0.16028 | 0.16028 | 0.16028 | 0.99259 | -0.14219 | 0.99488 | -0.097934 | 44.0341
25 | 0.030985 | 0.0077791 | -0.030949 | -0.0077567 | 3.5798e-05 | 2.2376e-05 | 0.047223 | 0.047223 | 0.047223 | 0.97647 | -0.45309 | 0.97523 | -0.47734 | 12.9733
26 | -0.030985 | -0.0077791 | 0.031003 | 0.0077898 | 1.7248e-05 | 1.0781e-05 | 0.047223 | 0.047223 | 0.047223 | 0.97647 | -0.45309 | 0.97706 | -0.44143 | 12.9733
27 | -0.038039 | -0.0095534 | 0.038053 | 0.0095621 | 1.387e-05 | 8.7386e-06 | 0.057939 | 0.057939 | 0.057939 | 0.97706 | -0.44143 | 0.97745 | -0.43379 | 15.9173
28 | 0.0065388 | 0.0016388 | -0.0065378 | -0.0016385 | 9.3802e-07 | 2.7802e-07 | 0.009908 | 0.0099082 | 0.0099082 | 0.98201 | -0.34458 | 0.98186 | -0.34759 | 2.722
29 | 0.071185 | 0.017908 | -0.071179 | -0.017904 | 5.6863e-06 | 3.6229e-06 | 0.10816 | 0.10816 | 0.10816 | 0.97957 | -0.39224 | 0.97948 | -0.39391 | 29.7137
30 | 0.0071895 | 0.0018019 | -0.0071888 | -0.0018017 | 6.6773e-07 | 2.3303e-07 | 0.01083 | 0.01083 | 0.01083 | 0.98781 | -0.23464 | 0.98771 | -0.23659 | 2.9753
31 | -0.054142 | -0.013605 | 0.05421 | 0.013648 | 6.7675e-05 | 4.2956e-05 | 0.081102 | 0.081102 | 0.081102 | 0.99353 | -0.12408 | 0.99488 | -0.097934 | 22.2808
32 | -0.16133 | -0.040683 | 0.16149 | 0.040783 | 0.00015658 | 9.9838e-05 | 0.24139 | 0.24139 | 0.24139 | 0.99488 | -0.097934 | 0.99594 | -0.077679 | 33.1574
33 | 0.0067309 | 0.001687 | -0.0067297 | -0.0016867 | 1.2615e-06 | 3.8573e-07 | 0.010122 | 0.010122 | 0.010122 | 0.98948 | -0.20242 | 0.98928 | -0.20635 | 2.7809
34 | 0.0067297 | 0.0016867 | -0.0067291 | -0.0016865 | 5.9267e-07 | 1.8128e-07 | 0.010122 | 0.010122 | 0.010122 | 0.98928 | -0.20635 | 0.98918 | -0.2082 | 2.7809
35 | -0.044779 | -0.011248 | 0.044803 | 0.011263 | 2.3955e-05 | 1.5159e-05 | 0.068178 | 0.068178 | 0.068178 | 0.97745 | -0.43379 | 0.97802 | -0.42259 | 18.7301
36 | 0.05869 | 0.014774 | -0.05861 | -0.014724 | 7.9681e-05 | 5.066e-05 | 0.089184 | 0.089185 | 0.089185 | 0.97948 | -0.39391 | 0.97803 | -0.42235 | 24.5012
37 | -0.051881 | -0.013037 | 0.051882 | 0.013037 | 5.7623e-07 | 3.6569e-07 | 0.078948 | 0.078948 | 0.078948 | 0.97802 | -0.42259 | 0.97803 | -0.42235 | 21.6889

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38183 | 0.096686

## res_load
| p_mw | q_mvar
0 | 0.0063052 | 0.0015802
1 | 0.034191 | 0.008569
2 | 0.028106 | 0.007044
3 | 0.064506 | 0.016167
4 | 0.0072455 | 0.0018159
5 | 0.027593 | 0.0069154
6 | 0.012901 | 0.0032333
7 | 0.054771 | 0.013727
8 | 0.030949 | 0.0077567
9 | 0.0070366 | 0.0017635
10 | 0.01203 | 0.003015
11 | 0.0065378 | 0.0016385
12 | 0.0071767 | 0.0017986
13 | 0.0067291 | 0.0016865
14 | 0.030249 | 0.0075811
15 | 0.0067256 | 0.0016856
16 | 0.012489 | 0.0031301
17 | 0.0071888 | 0.0018017
18 | 0.0070787 | 0.0017741
19 | 0.0067285 | 0.0016863

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1