## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-128_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-128_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-128_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-128_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_261-128_0_4_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_261-128_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-128_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_261-128_0_4_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_261-128_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-128_0_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_261-128_0_4_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_261-128_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_261-128_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-128_0_4_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_261-128_0_4_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_261-128_0_4_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_261-128_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-128_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_261-128_0_4_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_261-128_0_4_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_261-128_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_261-128_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_261-128_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_261-128_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-128_0_4_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_261-128_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_261-128_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-128_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_261-128_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_261-128_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_261-128_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_261-128_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_261-128_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_261-128_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_261-128_0_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_261-128_0_4_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_261-128_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_261-128_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_261-128_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_261-128_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_261-128_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_261-128_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_261-128_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_261-128_0_4_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_261-128_0_4_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_261-128_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_261-128_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_261-128_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_261-128_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_261-128_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_261-128_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_261-128_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_261-128_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_261-128_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_261-128_0_4_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_261-128_0_4_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_261-128_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_261-128_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_MV_535_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-128_0_4_load_0 | 0 | 0.092046 | 0.023069 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-128_0_4_load_58 | 4 | 0.0018153 | 0.00045496 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-128_0_4_load_45 | 7 | 0.068171 | 0.017085 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-128_0_4_load_31 | 9 | 0.0079003 | 0.00198 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-128_0_4_load_39 | 13 | 0.0045936 | 0.0011513 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-128_0_4_load_38 | 14 | 0.030635 | 0.0076779 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-128_0_4_load_47 | 15 | 0.020027 | 0.0050191 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-128_0_4_load_44 | 18 | 0.014013 | 0.0035121 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-128_0_4_load_52 | 19 | 0.024547 | 0.006152 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-128_0_4_load_33 | 22 | 0.0092929 | 0.002329 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-128_0_4_load_59 | 24 | 0.012496 | 0.0031318 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-128_0_4_load_32 | 25 | 0.0070063 | 0.0017559 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-128_0_4_load_40 | 27 | 0.010658 | 0.0026712 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-128_0_4_load_37 | 30 | 0.0084452 | 0.0021166 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-128_0_4_load_50 | 31 | 0.0088358 | 0.0022145 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-128_0_4_load_55 | 34 | 0.010585 | 0.0026527 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-128_0_4_load_51 | 35 | 0.0085826 | 0.002151 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-128_0_4_load_35 | 37 | 0.0098587 | 0.0024708 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-128_0_4_load_28 | 39 | 0.0097179 | 0.0024355 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-128_0_4_load_29 | 40 | 0.0083137 | 0.0020836 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-128_0_4_load_25 | 41 | 0.0053463 | 0.0013399 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-128_0_4_load_30 | 42 | 0.032195 | 0.0080689 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-128_0_4_load_61 | 43 | 0.011456 | 0.0028711 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-128_0_4_load_62 | 44 | 0.0080018 | 0.0020054 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-128_0_4_load_53 | 45 | 0.034036 | 0.0085302 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-128_0_4_load_36 | 46 | 0.012919 | 0.0032377 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-128_0_4_load_49 | 47 | 0.011412 | 0.00286 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-128_0_4_load_54 | 48 | 0.050863 | 0.012747 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-128_0_4_load_57 | 49 | 0.0051524 | 0.0012913 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-128_0_4_load_43 | 50 | 0.0043967 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-128_0_4_load_42 | 51 | 0.0044478 | 0.0011147 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-128_0_4_load_34 | 52 | 0.010424 | 0.0026124 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-128_0_4_load_41 | 53 | 0.010694 | 0.0026802 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-128_0_4_load_26 | 54 | 0.0078146 | 0.0019585 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-128_0_4_load_27 | 55 | 0.0056856 | 0.0014249 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-128_0_4_load_48 | 56 | 0.003811 | 0.00095512 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-128_0_4_load_56 | 57 | 0.0036933 | 0.00092563 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-128_0_4_line_0 |  | 0 | 1 | 0.088859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_261-128_0_4_line_1 |  | 1 | 2 | 0.011826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-128_0_4_line_2 |  | 1 | 3 | 0.010375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_261-128_0_4_line_3 |  | 2 | 4 | 0.055426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-128_0_4_line_4 |  | 3 | 7 | 0.016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_261-128_0_4_line_5 |  | 3 | 5 | 0.002549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-128_0_4_line_6 |  | 5 | 6 | 0.010021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-128_0_4_line_7 |  | 6 | 11 | 0.005403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-128_0_4_line_8 |  | 7 | 32 | 0.018055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-128_0_4_line_9 |  | 8 | 9 | 0.004132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-128_0_4_line_10 |  | 8 | 10 | 0.00445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-128_0_4_line_11 |  | 9 | 21 | 0.008245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-128_0_4_line_12 |  | 9 | 42 | 0.028584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-128_0_4_line_13 |  | 10 | 43 | 0.02088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-128_0_4_line_14 |  | 10 | 23 | 0.00373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_261-128_0_4_line_15 |  | 11 | 15 | 0.026806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_261-128_0_4_line_16 |  | 12 | 13 | 0.023596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_261-128_0_4_line_17 |  | 12 | 14 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_261-128_0_4_line_18 |  | 13 | 24 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_261-128_0_4_line_19 |  | 14 | 26 | 0.0051117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_261-128_0_4_line_20 |  | 15 | 27 | 0.026174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_261-128_0_4_line_21 |  | 16 | 17 | 0.0088715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_261-128_0_4_line_22 |  | 16 | 18 | 0.02826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_261-128_0_4_line_23 |  | 17 | 19 | 0.011345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-128_0_4_line_24 |  | 18 | 36 | 0.011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_261-128_0_4_line_25 |  | 19 | 45 | 0.021985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_261-128_0_4_line_26 |  | 20 | 21 | 0.003991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-128_0_4_line_27 |  | 20 | 22 | 0.0096527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-128_0_4_line_28 |  | 21 | 25 | 0.014779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-128_0_4_line_29 |  | 23 | 24 | 0.0059118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_261-128_0_4_line_30 |  | 26 | 27 | 0.022105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_261-128_0_4_line_31 |  | 28 | 29 | 0.0092631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_261-128_0_4_line_32 |  | 28 | 30 | 0.012352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_261-128_0_4_line_33 |  | 28 | 31 | 0.0090561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-128_0_4_line_34 |  | 29 | 32 | 0.015098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_261-128_0_4_line_35 |  | 30 | 46 | 0.018669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_261-128_0_4_line_36 |  | 31 | 47 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-128_0_4_line_37 |  | 33 | 34 | 0.008226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-128_0_4_line_38 |  | 33 | 35 | 0.02109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-128_0_4_line_39 |  | 34 | 49 | 0.017548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-128_0_4_line_40 |  | 35 | 47 | 0.01742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-128_0_4_line_41 |  | 36 | 37 | 0.012054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-128_0_4_line_42 |  | 37 | 52 | 0.023019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_261-128_0_4_line_43 |  | 38 | 39 | 0.012173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-128_0_4_line_44 |  | 38 | 40 | 0.024082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-128_0_4_line_45 |  | 38 | 41 | 0.0078365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-128_0_4_line_46 |  | 40 | 53 | 0.0039083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-128_0_4_line_47 |  | 41 | 54 | 0.012185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-128_0_4_line_48 |  | 43 | 44 | 0.01781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-128_0_4_line_49 |  | 45 | 48 | 0.03383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_261-128_0_4_line_50 |  | 46 | 52 | 0.00021187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_261-128_0_4_line_51 |  | 49 | 57 | 0.0011524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-128_0_4_line_52 |  | 50 | 51 | 4.462e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-128_0_4_line_53 |  | 51 | 53 | 0.0054163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-128_0_4_line_54 |  | 54 | 55 | 0.011186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-128_0_4_line_55 |  | 55 | 56 | 0.00053415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-128_0_4_line_56 |  | 56 | 57 | 0.0082318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-128_0_4_trafo_54 | 0.63 MVA 20/0.4 kV | 58 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2682337.7347 | 1247908.8444 | 2682362.3256 | 1247942.0992 | 2682390.0405 | 1247980.6755
1 | 2682337.7347 | 1247908.8444 | 2682330.8137 | 1247899.2412
2 | 2682332.1973 | 1247917.6184 | 2682334.6145 | 1247913.7936 | 2682337.7347 | 1247908.8444
3 | 2682330.8137 | 1247899.2412 | 2682370.9443 | 1247861.0108
4 | 2682332.1973 | 1247917.6184 | 2682341.9945 | 1247931.0554
5 | 2682332.1973 | 1247917.6184 | 2682330.7156 | 1247915.5407
6 | 2682324.6862 | 1247907.54 | 2682328.204 | 1247912.0255 | 2682330.7156 | 1247915.5407
7 | 2682324.6862 | 1247907.54 | 2682321.3541 | 1247903.2795
8 | 2682352.5703 | 1247945.6886 | 2682344.0486 | 1247933.8727 | 2682341.9945 | 1247931.0554
9 | 2682256.6695 | 1247965.3832 | 2682259.2302 | 1247968.6322
10 | 2682256.6695 | 1247965.3832 | 2682253.9084 | 1247961.8867
11 | 2682252.6058 | 1247973.5662 | 2682254.384 | 1247972.2454 | 2682259.2302 | 1247968.6322
12 | 2682259.2302 | 1247968.6322 | 2682282.1486 | 1247951.5498
13 | 2682253.9084 | 1247961.8867 | 2682270.6604 | 1247949.4224
14 | 2682250.329 | 1247961.8371 | 2682251.2976 | 1247962.2508 | 2682252.641 | 1247962.325 | 2682253.9084 | 1247961.8867
15 | 2682321.3541 | 1247903.2795 | 2682316.3395 | 1247906.5012 | 2682295.9846 | 1247911.0003
16 | 2682225.4857 | 1247929.3131 | 2682225.6874 | 1247930.5612 | 2682226.3218 | 1247931.6597 | 2682239.3459 | 1247948.213
17 | 2682225.4857 | 1247929.3131 | 2682225.7447 | 1247928.0713 | 2682226.7914 | 1247926.6626 | 2682228.3875 | 1247925.9397 | 2682243.8519 | 1247922.5229
18 | 2682246.5233 | 1247957.3352 | 2682239.3459 | 1247948.213
19 | 2682248.8432 | 1247921.4201 | 2682243.8519 | 1247922.5229
20 | 2682295.9846 | 1247911.0003 | 2682270.4273 | 1247916.6493
21 | 2682273.3234 | 1248020.3435 | 2682276.1434 | 1248024.4968 | 2682278.3045 | 1248027.6847
22 | 2682278.3045 | 1248027.6847 | 2682301.2245 | 1248011.1536
23 | 2682273.3234 | 1248020.3435 | 2682282.5132 | 1248013.691
24 | 2682310.3854 | 1248004.5462 | 2682301.2245 | 1248011.1536
25 | 2682282.5132 | 1248013.691 | 2682300.3215 | 1248000.7994
26 | 2682252.6058 | 1247973.5662 | 2682249.4004 | 1247975.9568
27 | 2682249.4004 | 1247975.9568 | 2682241.6523 | 1247981.7136
28 | 2682252.6058 | 1247973.5662 | 2682261.2384 | 1247985.5614
29 | 2682250.329 | 1247961.8371 | 2682249.5229 | 1247961.1476 | 2682246.5233 | 1247957.3352
30 | 2682248.8432 | 1247921.4201 | 2682270.4273 | 1247916.6493
31 | 2682358.8509 | 1247958.4296 | 2682361.2962 | 1247961.8216 | 2682364.2829 | 1247965.9328
32 | 2682364.2829 | 1247965.9328 | 2682354.1507 | 1247972.9974
33 | 2682364.2829 | 1247965.9328 | 2682366.4708 | 1247966.1078 | 2682368.1026 | 1247967.1645 | 2682370.9688 | 1247971.1599
34 | 2682358.8509 | 1247958.4296 | 2682359.4257 | 1247956.7475 | 2682359.5299 | 1247955.2256 | 2682352.5703 | 1247945.6886
35 | 2682338.8394 | 1247983.6795 | 2682339.0154 | 1247983.5504 | 2682354.1507 | 1247972.9974
36 | 2682378.974 | 1247982.3191 | 2682370.9688 | 1247971.1599
37 | 2682399.1925 | 1248014.2644 | 2682392.5134 | 1248019.0663
38 | 2682399.1925 | 1248014.2644 | 2682399.5456 | 1248012.2234 | 2682399.1623 | 1248010.4612 | 2682389.1278 | 1247996.4733
39 | 2682378.2657 | 1248029.3095 | 2682392.5134 | 1248019.0663
40 | 2682378.974 | 1247982.3191 | 2682389.1278 | 1247996.4733
41 | 2682310.3854 | 1248004.5462 | 2682320.1061 | 1247997.4175
42 | 2682320.1061 | 1247997.4175 | 2682338.6685 | 1247983.8048
43 | 2682344.8737 | 1248053.3164 | 2682334.9754 | 1248060.4015
44 | 2682344.8737 | 1248053.3164 | 2682330.9692 | 1248033.654
45 | 2682344.8737 | 1248053.3164 | 2682351.2365 | 1248048.742
46 | 2682330.9692 | 1248033.654 | 2682328.7127 | 1248030.463
47 | 2682351.2365 | 1248048.742 | 2682361.1299 | 1248041.6292
48 | 2682270.6604 | 1247949.4224 | 2682284.9489 | 1247938.7911
49 | 2682300.3215 | 1248000.7994 | 2682327.7252 | 1247980.9617
50 | 2682338.8394 | 1247983.6795 | 2682338.6685 | 1247983.8048
51 | 2682377.33 | 1248029.9822 | 2682378.2657 | 1248029.3095
52 | 2682325.5854 | 1248026.0407 | 2682325.5597 | 1248026.0043
53 | 2682325.5854 | 1248026.0407 | 2682328.7127 | 1248030.463
54 | 2682361.1299 | 1248041.6292 | 2682370.2126 | 1248035.0993
55 | 2682370.6463 | 1248034.7875 | 2682370.2126 | 1248035.0993
56 | 2682377.33 | 1248029.9822 | 2682370.6463 | 1248034.7875

## bus_geodata
| x | y | coords
0 | 2682390.0405 | 1247980.6755
1 | 2682337.7347 | 1247908.8444
2 | 2682330.8137 | 1247899.2412
3 | 2682332.1973 | 1247917.6184
4 | 2682370.9443 | 1247861.0108
5 | 2682330.7156 | 1247915.5407
6 | 2682324.6862 | 1247907.54
7 | 2682341.9945 | 1247931.0554
8 | 2682256.6695 | 1247965.3832
9 | 2682259.2302 | 1247968.6322
10 | 2682253.9084 | 1247961.8867
11 | 2682321.3541 | 1247903.2795
12 | 2682225.4857 | 1247929.3131
13 | 2682239.3459 | 1247948.213
14 | 2682243.8519 | 1247922.5229
15 | 2682295.9846 | 1247911.0003
16 | 2682278.3045 | 1248027.6847
17 | 2682273.3234 | 1248020.3435
18 | 2682301.2245 | 1248011.1536
19 | 2682282.5132 | 1248013.691
20 | 2682249.4004 | 1247975.9568
21 | 2682252.6058 | 1247973.5662
22 | 2682241.6523 | 1247981.7136
23 | 2682250.329 | 1247961.8371
24 | 2682246.5233 | 1247957.3352
25 | 2682261.2384 | 1247985.5614
26 | 2682248.8432 | 1247921.4201
27 | 2682270.4273 | 1247916.6493
28 | 2682364.2829 | 1247965.9328
29 | 2682358.8509 | 1247958.4296
30 | 2682354.1507 | 1247972.9974
31 | 2682370.9688 | 1247971.1599
32 | 2682352.5703 | 1247945.6886
33 | 2682399.1925 | 1248014.2644
34 | 2682392.5134 | 1248019.0663
35 | 2682389.1278 | 1247996.4733
36 | 2682310.3854 | 1248004.5462
37 | 2682320.1061 | 1247997.4176
38 | 2682344.8737 | 1248053.3164
39 | 2682334.9754 | 1248060.4015
40 | 2682330.9692 | 1248033.654
41 | 2682351.2365 | 1248048.742
42 | 2682282.1486 | 1247951.5498
43 | 2682270.6604 | 1247949.4224
44 | 2682284.9489 | 1247938.7911
45 | 2682300.3215 | 1248000.7994
46 | 2682338.8394 | 1247983.6795
47 | 2682378.974 | 1247982.3191
48 | 2682327.7252 | 1247980.9617
49 | 2682378.2657 | 1248029.3095
50 | 2682325.5597 | 1248026.0043
51 | 2682325.5854 | 1248026.0407
52 | 2682338.6685 | 1247983.8048
53 | 2682328.7127 | 1248030.463
54 | 2682361.1299 | 1248041.6292
55 | 2682370.2126 | 1248035.0993
56 | 2682370.6463 | 1248034.7875
57 | 2682377.33 | 1248029.9822
58 | 2682358.8509 | 1247958.4296

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97149 | -0.54874 | 0.092046 | 0.023069
1 | 0.9753 | -0.47351 | 0 | 0
2 | 0.97528 | -0.47391 | 0 | 0
3 | 0.97553 | -0.46905 | 0 | 0
4 | 0.97519 | -0.47575 | 0.0018153 | 0.00045496
5 | 0.97544 | -0.47085 | 0 | 0
6 | 0.97508 | -0.47794 | 0 | 0
7 | 0.97649 | -0.45017 | 0.068171 | 0.017085
8 | 0.97088 | -0.56062 | 0 | 0
9 | 0.97083 | -0.5617 | 0.0079003 | 0.00198
10 | 0.97094 | -0.55946 | 0 | 0
11 | 0.97488 | -0.48176 | 0 | 0
12 | 0.97186 | -0.54122 | 0 | 0
13 | 0.97135 | -0.55134 | 0.0045936 | 0.0011513
14 | 0.97231 | -0.53238 | 0.030635 | 0.0076779
15 | 0.97392 | -0.50074 | 0.020027 | 0.0050191
16 | 0.99091 | -0.17174 | 0 | 0
17 | 0.9919 | -0.15284 | 0 | 0
18 | 0.98774 | -0.23219 | 0.014013 | 0.0035121
19 | 0.99317 | -0.12873 | 0.024547 | 0.006152
20 | 0.97067 | -0.56487 | 0 | 0
21 | 0.9707 | -0.56418 | 0 | 0
22 | 0.97059 | -0.56653 | 0.0092929 | 0.002329
23 | 0.97101 | -0.55815 | 0 | 0
24 | 0.97111 | -0.55608 | 0.012496 | 0.0031318
25 | 0.97061 | -0.5661 | 0.0070063 | 0.0017559
26 | 0.97246 | -0.52947 | 0 | 0
27 | 0.9731 | -0.51689 | 0.010658 | 0.0026712
28 | 0.97962 | -0.38906 | 0 | 0
29 | 0.97894 | -0.40237 | 0 | 0
30 | 0.98084 | -0.36526 | 0.0084452 | 0.0021166
31 | 0.9787 | -0.40692 | 0.0088358 | 0.0022145
32 | 0.97782 | -0.42411 | 0 | 0
33 | 0.97442 | -0.49073 | 0 | 0
34 | 0.97381 | -0.50277 | 0.010585 | 0.0026527
35 | 0.97599 | -0.45994 | 0.0085826 | 0.002151
36 | 0.98651 | -0.25575 | 0 | 0
37 | 0.9852 | -0.28096 | 0.0098587 | 0.0024708
38 | 0.97083 | -0.5617 | 0 | 0
39 | 0.97072 | -0.56389 | 0.0097179 | 0.0024355
40 | 0.9702 | -0.57411 | 0.0083137 | 0.0020836
41 | 0.9711 | -0.55626 | 0.0053463 | 0.0013399
42 | 0.9704 | -0.57021 | 0.032195 | 0.0080689
43 | 0.97056 | -0.56698 | 0.011456 | 0.0028711
44 | 0.97043 | -0.56961 | 0.0080018 | 0.0020054
45 | 0.99576 | -0.079807 | 0.034036 | 0.0085302
46 | 0.98273 | -0.32869 | 0.012919 | 0.0032377
47 | 0.97743 | -0.43185 | 0.011412 | 0.00286
48 | 1 | 0 | -0.55268 | -0.14275
49 | 0.97268 | -0.52507 | 0.0051524 | 0.0012913
50 | 0.97008 | -0.57642 | 0.0043967 | 0.0011019
51 | 0.97008 | -0.57641 | 0.0044478 | 0.0011147
52 | 0.98275 | -0.32827 | 0.010424 | 0.0026124
53 | 0.97013 | -0.57553 | 0.010694 | 0.0026802
54 | 0.97159 | -0.5466 | 0.0078146 | 0.0019585
55 | 0.97212 | -0.53612 | 0.0056856 | 0.0014249
56 | 0.97215 | -0.53557 | 0.003811 | 0.00095512
57 | 0.97261 | -0.52643 | 0.0036933 | 0.00092563
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.092046 | -0.023069 | 0.092377 | 0.023279 | 0.00033117 | 0.00020974 | 0.14099 | 0.14098 | 0.14099 | 0.97149 | -0.54874 | 0.9753 | -0.47351 | 19.3661
1 | 0.0018155 | 0.00045424 | -0.0018155 | -0.00045437 | 3.4019e-08 | -1.258e-07 | 0.0027696 | 0.0027697 | 0.0027697 | 0.9753 | -0.47351 | 0.97528 | -0.47391 | 0.7609
2 | -0.094192 | -0.023733 | 0.094212 | 0.023745 | 2.0101e-05 | 1.2346e-05 | 0.14375 | 0.14375 | 0.14375 | 0.9753 | -0.47351 | 0.97553 | -0.46905 | 9.8732
3 | 0.0018155 | 0.00045437 | -0.0018153 | -0.00045496 | 1.5946e-07 | -5.8953e-07 | 0.0027697 | 0.0027699 | 0.0027699 | 0.97528 | -0.47391 | 0.97519 | -0.47575 | 0.76097
4 | -0.24905 | -0.062766 | 0.24928 | 0.062909 | 0.00022514 | 0.00014326 | 0.38001 | 0.38001 | 0.38001 | 0.97553 | -0.46905 | 0.97649 | -0.45017 | 26.0998
5 | 0.15484 | 0.03902 | -0.15483 | -0.039012 | 1.3339e-05 | 8.4096e-06 | 0.23626 | 0.23626 | 0.23626 | 0.97553 | -0.46905 | 0.97544 | -0.47085 | 16.2266
6 | 0.15483 | 0.039012 | -0.15477 | -0.038979 | 5.2438e-05 | 3.306e-05 | 0.23626 | 0.23626 | 0.23626 | 0.97544 | -0.47085 | 0.97508 | -0.47794 | 16.2266
7 | 0.15477 | 0.038979 | -0.15474 | -0.038961 | 2.8274e-05 | 1.7826e-05 | 0.23626 | 0.23626 | 0.23626 | 0.97508 | -0.47794 | 0.97488 | -0.48176 | 16.2266
8 | -0.31745 | -0.079994 | 0.31784 | 0.080247 | 0.00039634 | 0.00025275 | 0.48389 | 0.48389 | 0.48389 | 0.97649 | -0.45017 | 0.97782 | -0.42411 | 33.2345
9 | 0.056414 | 0.014145 | -0.056411 | -0.014143 | 2.8961e-06 | 1.6491e-06 | 0.086465 | 0.086465 | 0.086465 | 0.97088 | -0.56062 | 0.97083 | -0.5617 | 5.9385
10 | -0.056414 | -0.014145 | 0.056417 | 0.014147 | 3.119e-06 | 1.776e-06 | 0.086465 | 0.086465 | 0.086465 | 0.97088 | -0.56062 | 0.97094 | -0.55946 | 5.9385
11 | 0.016303 | 0.0040868 | -0.016301 | -0.0040857 | 1.9306e-06 | 1.1336e-06 | 0.024988 | 0.024988 | 0.024988 | 0.97083 | -0.5617 | 0.9707 | -0.56418 | 6.8649
12 | 0.032208 | 0.0080765 | -0.032195 | -0.0080689 | 1.3062e-05 | 7.6533e-06 | 0.049368 | 0.049368 | 0.049368 | 0.97083 | -0.5617 | 0.9704 | -0.57021 | 6.7813
13 | 0.019466 | 0.0048812 | -0.019459 | -0.004877 | 6.969e-06 | 4.202e-06 | 0.029833 | 0.029833 | 0.029833 | 0.97094 | -0.55946 | 0.97056 | -0.56698 | 8.1959
14 | -0.075883 | -0.019028 | 0.075888 | 0.019031 | 4.7296e-06 | 2.8424e-06 | 0.1163 | 0.1163 | 0.1163 | 0.97094 | -0.55946 | 0.97101 | -0.55815 | 7.9875
15 | 0.15474 | 0.038961 | -0.1546 | -0.038873 | 0.00014028 | 8.8442e-05 | 0.23626 | 0.23626 | 0.23626 | 0.97488 | -0.48176 | 0.97392 | -0.50074 | 16.2266
16 | 0.09305 | 0.023358 | -0.093005 | -0.023331 | 4.4907e-05 | 2.7572e-05 | 0.14248 | 0.14248 | 0.14248 | 0.97186 | -0.54122 | 0.97135 | -0.55134 | 9.7858
17 | -0.09305 | -0.023358 | 0.093089 | 0.023382 | 3.9231e-05 | 2.4086e-05 | 0.14248 | 0.14248 | 0.14248 | 0.97186 | -0.54122 | 0.97231 | -0.53238 | 9.7858
18 | 0.088411 | 0.022179 | -0.088391 | -0.022167 | 1.9963e-05 | 1.2202e-05 | 0.13544 | 0.13545 | 0.13545 | 0.97135 | -0.55134 | 0.97111 | -0.55608 | 9.3026
19 | -0.12372 | -0.03106 | 0.12374 | 0.031071 | 1.7184e-05 | 1.0744e-05 | 0.18936 | 0.18936 | 0.18936 | 0.97231 | -0.53238 | 0.97246 | -0.52947 | 13.0058
20 | 0.13458 | 0.033854 | -0.13447 | -0.033788 | 0.00010379 | 6.5123e-05 | 0.20566 | 0.20566 | 0.20566 | 0.97392 | -0.50074 | 0.9731 | -0.51689 | 14.1251
21 | -0.48806 | -0.12526 | 0.48851 | 0.12555 | 0.00044804 | 0.00028629 | 0.73396 | 0.73396 | 0.73396 | 0.99091 | -0.17174 | 0.9919 | -0.15284 | 50.4093
22 | 0.48806 | 0.12526 | -0.48663 | -0.12435 | 0.0014272 | 0.00091195 | 0.73396 | 0.73396 | 0.73396 | 0.99091 | -0.17174 | 0.98774 | -0.23219 | 50.4093
23 | -0.48851 | -0.12555 | 0.48908 | 0.12591 | 0.00057295 | 0.0003661 | 0.73396 | 0.73396 | 0.73396 | 0.9919 | -0.15284 | 0.99317 | -0.12873 | 50.4093
24 | 0.47262 | 0.12084 | -0.47208 | -0.12049 | 0.00053809 | 0.0003438 | 0.71285 | 0.71285 | 0.71285 | 0.98774 | -0.23219 | 0.98651 | -0.25575 | 48.9594
25 | -0.51363 | -0.13207 | 0.51485 | 0.13285 | 0.0012243 | 0.00078244 | 0.77074 | 0.77073 | 0.77074 | 0.99317 | -0.12873 | 0.99576 | -0.079807 | 52.9351
26 | -0.0092936 | -0.0023294 | 0.0092939 | 0.0023295 | 3.0378e-07 | 1.4508e-07 | 0.014247 | 0.014247 | 0.014247 | 0.97067 | -0.56487 | 0.9707 | -0.56418 | 3.914
27 | 0.0092936 | 0.0023294 | -0.0092929 | -0.002329 | 7.3473e-07 | 3.5092e-07 | 0.014247 | 0.014247 | 0.014247 | 0.97067 | -0.56487 | 0.97059 | -0.56653 | 3.914
28 | 0.007007 | 0.0017562 | -0.0070063 | -0.0017559 | 6.3939e-07 | 2.2654e-07 | 0.010741 | 0.010741 | 0.010741 | 0.9707 | -0.56418 | 0.97061 | -0.5661 | 2.9509
29 | -0.075888 | -0.019031 | 0.075895 | 0.019035 | 7.496e-06 | 4.5049e-06 | 0.1163 | 0.1163 | 0.1163 | 0.97101 | -0.55815 | 0.97111 | -0.55608 | 7.9875
30 | -0.12374 | -0.031071 | 0.12382 | 0.031117 | 7.4312e-05 | 4.6462e-05 | 0.18936 | 0.18936 | 0.18936 | 0.97246 | -0.52947 | 0.9731 | -0.51689 | 13.0058
31 | 0.31838 | 0.080588 | -0.31818 | -0.080458 | 0.00020334 | 0.00012967 | 0.48389 | 0.48389 | 0.48389 | 0.97962 | -0.38906 | 0.97894 | -0.40237 | 33.2345
32 | -0.42754 | -0.10821 | 0.42803 | 0.10852 | 0.00048896 | 0.00031231 | 0.6498 | 0.6498 | 0.6498 | 0.97962 | -0.38906 | 0.98084 | -0.36526 | 44.6294
33 | 0.10916 | 0.02762 | -0.10907 | -0.02756 | 9.3481e-05 | 5.9714e-05 | 0.16591 | 0.16591 | 0.16591 | 0.97962 | -0.38906 | 0.9787 | -0.40692 | 45.5799
34 | 0.31818 | 0.080458 | -0.31784 | -0.080247 | 0.00033143 | 0.00021136 | 0.48389 | 0.48389 | 0.48389 | 0.97894 | -0.40237 | 0.97782 | -0.42411 | 33.2345
35 | -0.43648 | -0.11064 | 0.43724 | 0.11113 | 0.00076847 | 0.00049088 | 0.66262 | 0.66262 | 0.66262 | 0.98084 | -0.36526 | 0.98273 | -0.32869 | 45.5094
36 | 0.10023 | 0.025346 | -0.10011 | -0.025269 | 0.00011974 | 7.6459e-05 | 0.15248 | 0.15248 | 0.15248 | 0.9787 | -0.40692 | 0.97743 | -0.43185 | 41.8893
37 | 0.079884 | 0.020107 | -0.079838 | -0.020078 | 4.5928e-05 | 2.9291e-05 | 0.12202 | 0.12202 | 0.12202 | 0.97442 | -0.49073 | 0.97381 | -0.50277 | 33.5218
38 | -0.079884 | -0.020107 | 0.080001 | 0.020182 | 0.00011775 | 7.5096e-05 | 0.12202 | 0.12202 | 0.12202 | 0.97442 | -0.49073 | 0.97599 | -0.45994 | 33.5218
39 | 0.069253 | 0.017425 | -0.069179 | -0.017378 | 7.3722e-05 | 4.6964e-05 | 0.10585 | 0.10585 | 0.10585 | 0.97381 | -0.50277 | 0.97268 | -0.52507 | 29.0785
40 | -0.088584 | -0.022333 | 0.088703 | 0.022409 | 0.00011924 | 7.6093e-05 | 0.1351 | 0.1351 | 0.1351 | 0.97599 | -0.45994 | 0.97743 | -0.43185 | 37.1166
41 | 0.47208 | 0.12049 | -0.47151 | -0.12013 | 0.00057427 | 0.00036692 | 0.71285 | 0.71285 | 0.71285 | 0.98651 | -0.25575 | 0.9852 | -0.28096 | 48.9594
42 | 0.46165 | 0.11766 | -0.4606 | -0.11698 | 0.0010513 | 0.00067165 | 0.69796 | 0.69796 | 0.69796 | 0.9852 | -0.28096 | 0.98275 | -0.32827 | 47.9368
43 | 0.0097189 | 0.002436 | -0.0097179 | -0.0024355 | 1.013e-06 | 4.9779e-07 | 0.014897 | 0.014897 | 0.014897 | 0.97083 | -0.5617 | 0.97072 | -0.56389 | 4.0925
44 | 0.02787 | 0.0069917 | -0.027854 | -0.0069814 | 1.6481e-05 | 1.0251e-05 | 0.04272 | 0.04272 | 0.04272 | 0.97083 | -0.5617 | 0.9702 | -0.57411 | 11.7364
45 | -0.037589 | -0.0094277 | 0.037599 | 0.0094338 | 9.7555e-06 | 6.1466e-06 | 0.057617 | 0.057617 | 0.057617 | 0.97083 | -0.5617 | 0.9711 | -0.55626 | 15.8288
46 | 0.01954 | 0.0048978 | -0.019539 | -0.004897 | 1.3164e-06 | 7.9421e-07 | 0.029969 | 0.02997 | 0.02997 | 0.9702 | -0.57411 | 0.97013 | -0.57553 | 8.2334
47 | -0.042945 | -0.010774 | 0.042965 | 0.010786 | 1.9789e-05 | 1.2514e-05 | 0.065809 | 0.065809 | 0.065809 | 0.9711 | -0.55626 | 0.97159 | -0.5466 | 18.0794
48 | 0.0080028 | 0.0020059 | -0.0080018 | -0.0020054 | 1.0054e-06 | 4.2341e-07 | 0.01227 | 0.01227 | 0.01227 | 0.97056 | -0.56698 | 0.97043 | -0.56961 | 3.3708
49 | -0.54889 | -0.14138 | 0.55103 | 0.14275 | 0.0021409 | 0.0013684 | 0.8216 | 0.82159 | 0.8216 | 0.99576 | -0.079807 | 1 | 0 | 56.4283
50 | -0.45016 | -0.11437 | 0.45017 | 0.11437 | 9.2433e-06 | 5.905e-06 | 0.68218 | 0.68218 | 0.68218 | 0.98273 | -0.32869 | 0.98275 | -0.32827 | 46.8528
51 | 0.064027 | 0.016087 | -0.064023 | -0.016084 | 4.1474e-06 | 2.64e-06 | 0.097964 | 0.097964 | 0.097964 | 0.97268 | -0.52507 | 0.97261 | -0.52643 | 26.9131
52 | -0.0043967 | -0.0011019 | 0.0043967 | 0.0011019 | 7.6254e-10 | -6.529e-11 | 0.0067441 | 0.0067441 | 0.0067441 | 0.97008 | -0.57642 | 0.97008 | -0.57641 | 1.8528
53 | -0.0088445 | -0.0022166 | 0.0088448 | 0.0022168 | 3.7383e-07 | 1.7238e-07 | 0.013567 | 0.013567 | 0.013567 | 0.97008 | -0.57641 | 0.97013 | -0.57553 | 3.7271
54 | -0.05078 | -0.012745 | 0.050805 | 0.012761 | 2.5376e-05 | 1.6102e-05 | 0.077777 | 0.077777 | 0.077777 | 0.97159 | -0.5466 | 0.97212 | -0.53612 | 21.3674
55 | -0.056491 | -0.014186 | 0.056492 | 0.014187 | 1.4981e-06 | 9.5213e-07 | 0.08648 | 0.08648 | 0.08648 | 0.97212 | -0.53612 | 0.97215 | -0.53557 | 23.7582
56 | -0.060303 | -0.015142 | 0.06033 | 0.015159 | 2.6306e-05 | 1.6734e-05 | 0.092313 | 0.092313 | 0.092313 | 0.97215 | -0.53557 | 0.97261 | -0.52643 | 25.3608

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60354 | 0.15549

## res_load
| p_mw | q_mvar
0 | 0.092046 | 0.023069
1 | 0.0018153 | 0.00045496
2 | 0.068171 | 0.017085
3 | 0.0079003 | 0.00198
4 | 0.0045936 | 0.0011513
5 | 0.030635 | 0.0076779
6 | 0.020027 | 0.0050191
7 | 0.014013 | 0.0035121
8 | 0.024547 | 0.006152
9 | 0.0092929 | 0.002329
10 | 0.012496 | 0.0031318
11 | 0.0070063 | 0.0017559
12 | 0.010658 | 0.0026712
13 | 0.0084452 | 0.0021166
14 | 0.0088358 | 0.0022145
15 | 0.010585 | 0.0026527
16 | 0.0085826 | 0.002151
17 | 0.0098587 | 0.0024708
18 | 0.0097179 | 0.0024355
19 | 0.0083137 | 0.0020836
20 | 0.0053463 | 0.0013399
21 | 0.032195 | 0.0080689
22 | 0.011456 | 0.0028711
23 | 0.0080018 | 0.0020054
24 | 0.034036 | 0.0085302
25 | 0.012919 | 0.0032377
26 | 0.011412 | 0.00286
27 | 0.050863 | 0.012747
28 | 0.0051524 | 0.0012913
29 | 0.0043967 | 0.0011019
30 | 0.0044478 | 0.0011147
31 | 0.010424 | 0.0026124
32 | 0.010694 | 0.0026802
33 | 0.0078146 | 0.0019585
34 | 0.0056856 | 0.0014249
35 | 0.003811 | 0.00095512
36 | 0.0036933 | 0.00092563

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1