## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-139_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-139_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-139_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-139_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-139_0_3_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_261-139_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-139_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_261-139_0_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_261-139_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-139_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_261-139_0_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_261-139_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-139_0_3_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_261-139_0_3_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_261-139_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_261-139_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_261-139_0_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_261-139_0_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_261-139_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_261-139_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_261-139_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_261-139_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_261-139_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_261-139_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_261-139_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_261-139_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_261-139_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_261-139_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_261-139_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_261-139_0_3_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_261-139_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_261-139_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_261-139_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_261-139_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_MV_538_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-139_0_3_load_0 | 0 | 0.010897 | 0.002731 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-139_0_3_load_1 | 1 | 0.0051984 | 0.0013028 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-139_0_3_load_16 | 4 | 0.014948 | 0.0037462 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-139_0_3_load_35 | 7 | 0.0046615 | 0.0011683 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-139_0_3_load_27 | 10 | 0.0367 | 0.0091979 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-139_0_3_load_25 | 12 | 0.0084254 | 0.0021116 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-139_0_3_load_28 | 13 | 0.0088458 | 0.002217 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-139_0_3_load_24 | 14 | 0.022054 | 0.0055271 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-139_0_3_load_23 | 16 | 0.014329 | 0.0035911 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-139_0_3_load_21 | 17 | 0.02333 | 0.005847 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-139_0_3_load_17 | 19 | 0.016202 | 0.0040607 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-139_0_3_load_18 | 20 | 0.013023 | 0.003264 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-139_0_3_load_14 | 21 | 0.03148 | 0.0078897 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-139_0_3_load_20 | 23 | 0.012694 | 0.0031814 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-139_0_3_load_32 | 25 | 0.007509 | 0.0018819 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-139_0_3_load_15 | 26 | 0.015842 | 0.0039704 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-139_0_3_load_30 | 27 | 0.0068031 | 0.001705 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-139_0_3_load_29 | 28 | 0.011079 | 0.0027766 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-139_0_3_load_34 | 29 | 0.0048445 | 0.0012141 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-139_0_3_load_26 | 30 | 0.03886 | 0.0097393 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-139_0_3_load_19 | 31 | 0.060528 | 0.01517 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-139_0_3_load_31 | 32 | 0.0066414 | 0.0016645 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-139_0_3_load_33 | 33 | 0.0074768 | 0.0018739 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-139_0_3_line_0 |  | 0 | 1 | 0.0077939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-139_0_3_line_1 |  | 0 | 2 | 0.0053206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-139_0_3_line_2 |  | 2 | 3 | 0.059849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-139_0_3_line_3 |  | 3 | 4 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-139_0_3_line_4 |  | 4 | 25 | 0.016485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-139_0_3_line_5 |  | 4 | 26 | 0.011706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-139_0_3_line_6 |  | 5 | 6 | 0.01563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-139_0_3_line_7 |  | 5 | 7 | 0.016509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-139_0_3_line_8 |  | 6 | 13 | 0.017556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-139_0_3_line_9 |  | 7 | 29 | 0.0054752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-139_0_3_line_10 |  | 8 | 9 | 0.007945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-139_0_3_line_11 |  | 8 | 10 | 0.01222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-139_0_3_line_12 |  | 9 | 14 | 0.0091207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-139_0_3_line_13 |  | 10 | 11 | 0.01336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-139_0_3_line_14 |  | 11 | 12 | 0.0081266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-139_0_3_line_15 |  | 12 | 30 | 0.0071566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-139_0_3_line_16 |  | 13 | 28 | 0.0094276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-139_0_3_line_17 |  | 14 | 16 | 0.0066713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-139_0_3_line_18 |  | 15 | 16 | 0.015887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-139_0_3_line_19 |  | 15 | 17 | 0.016014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-139_0_3_line_20 |  | 17 | 24 | 0.017528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_261-139_0_3_line_21 |  | 18 | 19 | 0.0087149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-139_0_3_line_22 |  | 18 | 20 | 0.013094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-139_0_3_line_23 |  | 18 | 21 | 0.016515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-139_0_3_line_24 |  | 19 | 31 | 0.0084013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-139_0_3_line_25 |  | 21 | 26 | 0.0065392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-139_0_3_line_26 |  | 22 | 23 | 0.01494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-139_0_3_line_27 |  | 22 | 24 | 0.003811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-139_0_3_line_28 |  | 23 | 31 | 0.0078514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-139_0_3_line_29 |  | 25 | 32 | 0.0014218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-139_0_3_line_30 |  | 27 | 28 | 0.01537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-139_0_3_line_31 |  | 29 | 33 | 0.0056781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-139_0_3_line_32 |  | 32 | 33 | 0.0062386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-139_0_3_trafo_18 | 0.63 MVA 20/0.4 kV | 34 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2683373.586 | 1247379.5492 | 2683373.6488 | 1247387.3429
1 | 2683369.0476 | 1247376.7723 | 2683373.586 | 1247379.5492 | 2683373.586 | 1247379.5492
2 | 2683369.0476 | 1247376.7723 | 2683369.9874 | 1247356.6818 | 2683373.4775 | 1247352.361 | 2683389.3719 | 1247354.4082 | 2683392.2975 | 1247354.7829 | 2683397.7567 | 1247354.9376 | 2683397.3817 | 1247360.1139 | 2683401.9341 | 1247360.2892
3 | 2683417.4784 | 1247360.9083 | 2683401.9341 | 1247360.2892
4 | 2683417.4784 | 1247360.9083 | 2683433.8611 | 1247362.7379
5 | 2683417.4784 | 1247360.9083 | 2683417.5171 | 1247372.6146
6 | 2683471.3465 | 1247353.2049 | 2683468.6521 | 1247368.6006
7 | 2683468.6521 | 1247368.6006 | 2683452.5015 | 1247365.1786
8 | 2683471.3465 | 1247353.2049 | 2683454.177 | 1247349.5438
9 | 2683447.1171 | 1247364.2184 | 2683448.9203 | 1247364.4198 | 2683452.5015 | 1247365.1786
10 | 2683472.5789 | 1247416.947 | 2683471.8028 | 1247424.853
11 | 2683472.5789 | 1247416.947 | 2683471.0936 | 1247404.8176
12 | 2683471.8028 | 1247424.853 | 2683463.1265 | 1247427.6655
13 | 2683469.4315 | 1247391.5618 | 2683469.9097 | 1247395.1489 | 2683471.0936 | 1247404.8176
14 | 2683469.4315 | 1247391.5618 | 2683461.3355 | 1247392.2663
15 | 2683454.2058 | 1247392.8867 | 2683461.3355 | 1247392.2663
16 | 2683444.9567 | 1247347.5777 | 2683454.177 | 1247349.5438
17 | 2683456.5857 | 1247428.8974 | 2683461.7104 | 1247428.1245 | 2683463.1265 | 1247427.6655
18 | 2683450.1645 | 1247443.4289 | 2683456.5857 | 1247428.8974
19 | 2683450.1645 | 1247443.4289 | 2683437.2518 | 1247441.001 | 2683434.3969 | 1247440.6647
20 | 2683416.9889 | 1247438.6142 | 2683434.3969 | 1247440.6647
21 | 2683417.5934 | 1247395.6688 | 2683416.6297 | 1247399.736 | 2683416.3026 | 1247404.2593
22 | 2683417.5934 | 1247395.6688 | 2683430.6509 | 1247394.6953
23 | 2683417.5934 | 1247395.6688 | 2683417.5388 | 1247379.1538
24 | 2683415.6967 | 1247412.6387 | 2683416.3026 | 1247404.2593
25 | 2683417.5388 | 1247379.1538 | 2683417.5171 | 1247372.6146
26 | 2683414.9114 | 1247435.4159 | 2683415.4179 | 1247420.4849
27 | 2683414.9114 | 1247435.4159 | 2683416.9889 | 1247438.6142
28 | 2683415.6967 | 1247412.6387 | 2683415.673 | 1247412.9656 | 2683415.4179 | 1247420.4849
29 | 2683433.8611 | 1247362.7379 | 2683435.2741 | 1247362.8958
30 | 2683429.9037 | 1247344.482 | 2683432.2074 | 1247344.8592 | 2683444.9567 | 1247347.5777
31 | 2683447.1171 | 1247364.2184 | 2683441.4741 | 1247363.5882
32 | 2683441.4741 | 1247363.5882 | 2683435.2741 | 1247362.8958

## bus_geodata
| x | y | coords
0 | 2683373.586 | 1247379.5492
1 | 2683373.6488 | 1247387.3429
2 | 2683369.0476 | 1247376.7723
3 | 2683401.9341 | 1247360.2892
4 | 2683417.4784 | 1247360.9082
5 | 2683468.6521 | 1247368.6006
6 | 2683471.3465 | 1247353.2049
7 | 2683452.5015 | 1247365.1786
8 | 2683472.5789 | 1247416.947
9 | 2683471.8028 | 1247424.853
10 | 2683471.0936 | 1247404.8176
11 | 2683469.4315 | 1247391.5618
12 | 2683461.3355 | 1247392.2663
13 | 2683454.177 | 1247349.5438
14 | 2683463.1265 | 1247427.6655
15 | 2683450.1645 | 1247443.4289
16 | 2683456.5857 | 1247428.8974
17 | 2683434.3969 | 1247440.6647
18 | 2683417.5934 | 1247395.6688
19 | 2683416.3026 | 1247404.2593
20 | 2683430.6509 | 1247394.6953
21 | 2683417.5388 | 1247379.1538
22 | 2683414.9114 | 1247435.4159
23 | 2683415.4179 | 1247420.4849
24 | 2683416.9889 | 1247438.6142
25 | 2683433.8611 | 1247362.7379
26 | 2683417.5171 | 1247372.6146
27 | 2683429.9037 | 1247344.482
28 | 2683444.9567 | 1247347.5777
29 | 2683447.1171 | 1247364.2184
30 | 2683454.2058 | 1247392.8867
31 | 2683415.6967 | 1247412.6387
32 | 2683435.2741 | 1247362.8958
33 | 2683441.4741 | 1247363.5882
34 | 2683417.5934 | 1247395.6688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99372 | -0.12079 | 0.010897 | 0.002731
1 | 0.99368 | -0.1215 | 0.0051984 | 0.0013028
2 | 0.99379 | -0.11928 | 0 | 0
3 | 0.99467 | -0.10229 | 0 | 0
4 | 0.9949 | -0.097892 | 0.014948 | 0.0037462
5 | 0.99297 | -0.13524 | 0 | 0
6 | 0.99259 | -0.14263 | 0 | 0
7 | 0.99337 | -0.12745 | 0.0046615 | 0.0011683
8 | 0.98952 | -0.20158 | 0 | 0
9 | 0.99013 | -0.18971 | 0 | 0
10 | 0.98857 | -0.21987 | 0.0367 | 0.0091979
11 | 0.98799 | -0.23114 | 0 | 0
12 | 0.98764 | -0.238 | 0.0084254 | 0.0021116
13 | 0.99216 | -0.15094 | 0.0088458 | 0.002217
14 | 0.99083 | -0.1761 | 0.022054 | 0.0055271
15 | 0.99323 | -0.1297 | 0 | 0
16 | 0.99148 | -0.16355 | 0.014329 | 0.0035911
17 | 0.995 | -0.095708 | 0.02333 | 0.005847
18 | 0.99853 | -0.02814 | 0 | 0
19 | 0.99791 | -0.039986 | 0.016202 | 0.0040607
20 | 1 | 0 | -0.37326 | -0.094007
21 | 0.99648 | -0.067551 | 0.03148 | 0.0078897
22 | 0.99632 | -0.070356 | 0 | 0
23 | 0.99698 | -0.057799 | 0.012694 | 0.0031814
24 | 0.99616 | -0.073562 | 0 | 0
25 | 0.99403 | -0.1147 | 0.007509 | 0.0018819
26 | 0.99585 | -0.079582 | 0.015842 | 0.0039704
27 | 0.99191 | -0.15577 | 0.0068031 | 0.001705
28 | 0.992 | -0.15392 | 0.011079 | 0.0027766
29 | 0.99353 | -0.12441 | 0.0048445 | 0.0012141
30 | 0.98739 | -0.24297 | 0.03886 | 0.0097393
31 | 0.99735 | -0.050624 | 0.060528 | 0.01517
32 | 0.99396 | -0.11597 | 0.0066414 | 0.0016645
33 | 0.99372 | -0.12078 | 0.0074768 | 0.0018739
34 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0051985 | 0.0013028 | -0.0051984 | -0.0013028 | 1.7711e-07 | 1.2384e-08 | 0.0077844 | 0.0077845 | 0.0077845 | 0.99372 | -0.12079 | 0.99368 | -0.1215 | 2.1386
1 | -0.016095 | -0.0040338 | 0.016096 | 0.0040345 | 1.159e-06 | 6.7282e-07 | 0.024101 | 0.024101 | 0.024101 | 0.99372 | -0.12079 | 0.99379 | -0.11928 | 6.6213
2 | -0.016096 | -0.0040345 | 0.016109 | 0.0040421 | 1.3037e-05 | 7.5674e-06 | 0.024101 | 0.024101 | 0.024101 | 0.99379 | -0.11928 | 0.99467 | -0.10229 | 6.6213
3 | -0.016109 | -0.0040421 | 0.016113 | 0.004044 | 3.3787e-06 | 1.961e-06 | 0.024101 | 0.024101 | 0.024101 | 0.99467 | -0.10229 | 0.9949 | -0.097892 | 6.6212
4 | 0.057965 | 0.014566 | -0.057918 | -0.014537 | 4.6476e-05 | 2.9531e-05 | 0.086708 | 0.086708 | 0.086708 | 0.9949 | -0.097892 | 0.99403 | -0.1147 | 23.8209
5 | -0.089025 | -0.022356 | 0.089103 | 0.022406 | 7.7846e-05 | 4.9669e-05 | 0.13317 | 0.13317 | 0.13317 | 0.9949 | -0.097892 | 0.99585 | -0.079582 | 36.5839
6 | 0.026751 | 0.0067127 | -0.026742 | -0.0067069 | 9.4206e-06 | 5.8271e-06 | 0.040091 | 0.040091 | 0.040091 | 0.99297 | -0.13524 | 0.99259 | -0.14263 | 11.014
7 | -0.026751 | -0.0067127 | 0.026761 | 0.0067189 | 9.9504e-06 | 6.1546e-06 | 0.040091 | 0.040091 | 0.040091 | 0.99297 | -0.13524 | 0.99337 | -0.12745 | 11.014
8 | 0.026742 | 0.0067069 | -0.026731 | -0.0067003 | 1.0581e-05 | 6.5452e-06 | 0.040091 | 0.040091 | 0.040091 | 0.99259 | -0.14263 | 0.99216 | -0.15094 | 11.014
9 | -0.031423 | -0.0078872 | 0.031427 | 0.00789 | 4.5497e-06 | 2.8409e-06 | 0.047073 | 0.047073 | 0.047073 | 0.99337 | -0.12745 | 0.99353 | -0.12441 | 12.9323
10 | -0.084109 | -0.021127 | 0.084157 | 0.021158 | 4.7676e-05 | 3.041e-05 | 0.1265 | 0.1265 | 0.1265 | 0.98952 | -0.20158 | 0.99013 | -0.18971 | 34.7523
11 | 0.084109 | 0.021127 | -0.084036 | -0.02108 | 7.3328e-05 | 4.6773e-05 | 0.1265 | 0.1265 | 0.1265 | 0.98952 | -0.20158 | 0.98857 | -0.21987 | 34.7524
12 | -0.084157 | -0.021158 | 0.084211 | 0.021193 | 5.4731e-05 | 3.491e-05 | 0.1265 | 0.1265 | 0.1265 | 0.99013 | -0.18971 | 0.99083 | -0.1761 | 34.7523
13 | 0.047336 | 0.011883 | -0.04731 | -0.011866 | 2.5438e-05 | 1.6109e-05 | 0.071257 | 0.071257 | 0.071257 | 0.98857 | -0.21987 | 0.98799 | -0.23114 | 19.5762
14 | 0.04731 | 0.011866 | -0.047295 | -0.011857 | 1.5474e-05 | 9.7993e-06 | 0.071257 | 0.071257 | 0.071257 | 0.98799 | -0.23114 | 0.98764 | -0.238 | 19.5762
15 | 0.038869 | 0.0097451 | -0.03886 | -0.0097393 | 9.2043e-06 | 5.7992e-06 | 0.058563 | 0.058563 | 0.058563 | 0.98764 | -0.238 | 0.98739 | -0.24297 | 16.0889
16 | 0.017885 | 0.0044834 | -0.017883 | -0.0044819 | 2.5438e-06 | 1.5063e-06 | 0.026824 | 0.026824 | 0.026824 | 0.99216 | -0.15094 | 0.992 | -0.15392 | 7.3693
17 | -0.10626 | -0.02672 | 0.10633 | 0.02676 | 6.3739e-05 | 4.0707e-05 | 0.15962 | 0.15962 | 0.15962 | 0.99083 | -0.1761 | 0.99148 | -0.16355 | 43.8511
18 | 0.12085 | 0.030476 | -0.12066 | -0.030352 | 0.00019544 | 0.00012488 | 0.18112 | 0.18112 | 0.18112 | 0.99323 | -0.1297 | 0.99148 | -0.16355 | 49.759
19 | -0.12085 | -0.030476 | 0.12105 | 0.030602 | 0.000197 | 0.00012587 | 0.18112 | 0.18112 | 0.18112 | 0.99323 | -0.1297 | 0.995 | -0.095708 | 49.759
20 | -0.14438 | -0.036449 | 0.14453 | 0.036547 | 0.00015335 | 9.7691e-05 | 0.21601 | 0.21601 | 0.21601 | 0.995 | -0.095708 | 0.99616 | -0.073562 | 29.672
21 | 0.23436 | 0.059218 | -0.23423 | -0.059133 | 0.00013301 | 8.4783e-05 | 0.34942 | 0.34942 | 0.34942 | 0.99853 | -0.02814 | 0.99791 | -0.039986 | 31.9984
22 | -0.37111 | -0.093687 | 0.37161 | 0.094007 | 0.00050101 | 0.00032013 | 0.55327 | 0.55327 | 0.55327 | 0.99853 | -0.02814 | 1 | 0 | 50.6656
23 | 0.13674 | 0.034469 | -0.13649 | -0.034305 | 0.00025734 | 0.00016448 | 0.20385 | 0.20385 | 0.20385 | 0.99853 | -0.02814 | 0.99648 | -0.067551 | 56.0015
24 | 0.21803 | 0.055073 | -0.21792 | -0.055002 | 0.0001111 | 7.0777e-05 | 0.32526 | 0.32526 | 0.32526 | 0.99791 | -0.039986 | 0.99735 | -0.050624 | 29.786
25 | 0.10501 | 0.026415 | -0.10494 | -0.026376 | 6.0319e-05 | 3.8519e-05 | 0.15684 | 0.15684 | 0.15684 | 0.99648 | -0.067551 | 0.99585 | -0.079582 | 43.087
26 | -0.14456 | -0.036561 | 0.14464 | 0.036616 | 8.7137e-05 | 5.5184e-05 | 0.21601 | 0.21601 | 0.21601 | 0.99632 | -0.070356 | 0.99698 | -0.057799 | 19.7813
27 | 0.14456 | 0.036561 | -0.14453 | -0.036547 | 2.2228e-05 | 1.4077e-05 | 0.21601 | 0.21601 | 0.21601 | 0.99632 | -0.070356 | 0.99616 | -0.073562 | 19.7813
28 | -0.15734 | -0.039798 | 0.15739 | 0.039832 | 5.4179e-05 | 3.4368e-05 | 0.23496 | 0.23496 | 0.23496 | 0.99698 | -0.057799 | 0.99735 | -0.050624 | 21.5163
29 | 0.050409 | 0.012655 | -0.050406 | -0.012653 | 3.0367e-06 | 1.925e-06 | 0.075467 | 0.075467 | 0.075467 | 0.99403 | -0.1147 | 0.99396 | -0.11597 | 20.7328
30 | -0.0068031 | -0.001705 | 0.0068037 | 0.0017052 | 6.0035e-07 | 1.8581e-07 | 0.010206 | 0.010206 | 0.010206 | 0.99191 | -0.15577 | 0.992 | -0.15392 | 2.8038
31 | -0.036272 | -0.0091041 | 0.036278 | 0.0091081 | 6.2849e-06 | 3.9488e-06 | 0.054329 | 0.054329 | 0.054329 | 0.99353 | -0.12441 | 0.99372 | -0.12078 | 14.9256
32 | 0.043765 | 0.010988 | -0.043755 | -0.010982 | 1.0045e-05 | 6.3477e-06 | 0.065525 | 0.065525 | 0.065525 | 0.99396 | -0.11597 | 0.99372 | -0.12078 | 18.0014

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38628 | 0.097271

## res_load
| p_mw | q_mvar
0 | 0.010897 | 0.002731
1 | 0.0051984 | 0.0013028
2 | 0.014948 | 0.0037462
3 | 0.0046615 | 0.0011683
4 | 0.0367 | 0.0091979
5 | 0.0084254 | 0.0021116
6 | 0.0088458 | 0.002217
7 | 0.022054 | 0.0055271
8 | 0.014329 | 0.0035911
9 | 0.02333 | 0.005847
10 | 0.016202 | 0.0040607
11 | 0.013023 | 0.003264
12 | 0.03148 | 0.0078897
13 | 0.012694 | 0.0031814
14 | 0.007509 | 0.0018819
15 | 0.015842 | 0.0039704
16 | 0.0068031 | 0.001705
17 | 0.011079 | 0.0027766
18 | 0.0048445 | 0.0012141
19 | 0.03886 | 0.0097393
20 | 0.060528 | 0.01517
21 | 0.0066414 | 0.0016645
22 | 0.0074768 | 0.0018739

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1