## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-14_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-14_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_261-14_0_3_node_128 | 0.4 | n |  | TRUE
5 | bus_LV_261-14_0_3_node_129 | 0.4 | n |  | TRUE
6 | bus_LV_261-14_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-14_0_3_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_261-14_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_261-14_0_3_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_261-14_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_261-14_0_3_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_261-14_0_3_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_261-14_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_261-14_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_261-14_0_3_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_261-14_0_3_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_261-14_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_261-14_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_261-14_0_3_node_119 | 0.4 | n |  | TRUE
20 | bus_LV_261-14_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_261-14_0_3_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_261-14_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_261-14_0_3_node_126 | 0.4 | n |  | TRUE
24 | bus_LV_261-14_0_3_node_98 | 0.4 | n |  | TRUE
25 | bus_LV_261-14_0_3_node_127 | 0.4 | n |  | TRUE
26 | bus_LV_261-14_0_3_node_116 | 0.4 | n |  | TRUE
27 | bus_LV_261-14_0_3_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_261-14_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_261-14_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_261-14_0_3_node_121 | 0.4 | n |  | TRUE
31 | bus_LV_261-14_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_261-14_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_261-14_0_3_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_261-14_0_3_node_108 | 0.4 | n |  | TRUE
35 | bus_LV_261-14_0_3_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_261-14_0_3_node_100 | 0.4 | n |  | TRUE
37 | bus_LV_261-14_0_3_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_261-14_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_261-14_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_261-14_0_3_node_77 | 0.4 | n |  | TRUE
41 | bus_LV_261-14_0_3_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_261-14_0_3_node_125 | 0.4 | n |  | TRUE
43 | bus_LV_261-14_0_3_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_261-14_0_3_node_115 | 0.4 | n |  | TRUE
45 | bus_LV_261-14_0_3_node_117 | 0.4 | n |  | TRUE
46 | bus_LV_261-14_0_3_node_97 | 0.4 | n |  | TRUE
47 | bus_LV_261-14_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_261-14_0_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_261-14_0_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_261-14_0_3_node_105 | 0.4 | n |  | TRUE
51 | bus_LV_261-14_0_3_node_106 | 0.4 | n |  | TRUE
52 | bus_LV_261-14_0_3_node_123 | 0.4 | n |  | TRUE
53 | bus_LV_261-14_0_3_node_122 | 0.4 | n |  | TRUE
54 | bus_LV_261-14_0_3_node_101 | 0.4 | n |  | TRUE
55 | bus_LV_261-14_0_3_node_109 | 0.4 | n |  | TRUE
56 | bus_LV_261-14_0_3_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_261-14_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_261-14_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_261-14_0_3_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_261-14_0_3_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_261-14_0_3_node_95 | 0.4 | n |  | TRUE
62 | bus_LV_261-14_0_3_node_104 | 0.4 | n |  | TRUE
63 | bus_LV_261-14_0_3_node_124 | 0.4 | n |  | TRUE
64 | bus_LV_261-14_0_3_node_102 | 0.4 | n |  | TRUE
65 | bus_LV_261-14_0_3_node_107 | 0.4 | n |  | TRUE
66 | bus_LV_261-14_0_3_node_114 | 0.4 | n |  | TRUE
67 | bus_LV_261-14_0_3_node_113 | 0.4 | n |  | TRUE
68 | bus_LV_261-14_0_3_node_110 | 0.4 | n |  | TRUE
69 | bus_LV_261-14_0_3_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_261-14_0_3_node_112 | 0.4 | n |  | TRUE
71 | bus_MV_542_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-14_0_3_load_0 | 0 | 0.023919 | 0.0059947 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-14_0_3_load_128 | 4 | 0.0066936 | 0.0016776 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-14_0_3_load_129 | 5 | 0.012797 | 0.0032072 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-14_0_3_load_47 | 7 | 0.01014 | 0.0025413 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-14_0_3_load_46 | 9 | 0.0051684 | 0.0012953 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-14_0_3_load_44 | 12 | 0.0090919 | 0.0022786 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-14_0_3_load_43 | 15 | 0.0080174 | 0.0020093 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-14_0_3_load_63 | 16 | 0.0030711 | 0.00076968 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-14_0_3_load_42 | 17 | 0.023339 | 0.0058492 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-14_0_3_load_119 | 19 | 0.0089135 | 0.0022339 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-14_0_3_load_58 | 21 | 0.014428 | 0.0036161 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-14_0_3_load_126 | 23 | 0.0029123 | 0.0007299 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-14_0_3_load_127 | 25 | 0.0024795 | 0.00062141 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-14_0_3_load_99 | 27 | 0.0080054 | 0.0020064 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-14_0_3_load_54 | 28 | 0.012876 | 0.0032271 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-14_0_3_load_121 | 30 | 0.0087625 | 0.0021961 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-14_0_3_load_103 | 33 | 0.0013601 | 0.00034088 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-14_0_3_load_108 | 34 | 0.0026925 | 0.00067481 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-14_0_3_load_93 | 35 | 0.0013623 | 0.00034143 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-14_0_3_load_100 | 36 | 0.0012134 | 0.0003041 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-14_0_3_load_94 | 37 | 0.0012569 | 0.00031501 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-14_0_3_load_45 | 38 | 0.0063946 | 0.0016026 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-14_0_3_load_57 | 39 | 0.0041388 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-14_0_3_load_77 | 40 | 0.0012391 | 0.00031054 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-14_0_3_load_56 | 41 | 0.011038 | 0.0027664 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-14_0_3_load_125 | 42 | 0.0023417 | 0.00058688 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-14_0_3_load_96 | 43 | 0.0094157 | 0.0023598 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-14_0_3_load_115 | 44 | 0.0034179 | 0.0008566 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-14_0_3_load_117 | 45 | 0.0069637 | 0.0017453 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-14_0_3_load_97 | 46 | 0.0060106 | 0.0015064 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-14_0_3_load_53 | 47 | 0.0033414 | 0.00083743 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-14_0_3_load_50 | 48 | 0.0059779 | 0.0014982 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-14_0_3_load_51 | 49 | 0.0063202 | 0.001584 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-14_0_3_load_105 | 50 | 0.0040131 | 0.0010058 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-14_0_3_load_106 | 51 | 0.0046389 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-14_0_3_load_123 | 52 | 0.00131 | 0.00032831 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-14_0_3_load_122 | 53 | 0.0028549 | 0.0007155 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-14_0_3_load_101 | 54 | 0.0058675 | 0.0014705 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-14_0_3_load_109 | 55 | 0.0061525 | 0.001542 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-14_0_3_load_91 | 56 | 0.0018728 | 0.00046938 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-14_0_3_load_52 | 57 | 0.0040878 | 0.0010245 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-14_0_3_load_55 | 58 | 0.022892 | 0.0057374 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-14_0_3_load_90 | 59 | 0.0011915 | 0.00029863 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-14_0_3_load_92 | 60 | 0.0012465 | 0.00031241 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-14_0_3_load_95 | 61 | 0.0038106 | 0.00095502 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-14_0_3_load_124 | 63 | 0.0030389 | 0.00076162 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-14_0_3_load_102 | 64 | 0.0033297 | 0.00083451 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-14_0_3_load_113 | 67 | 0.0026614 | 0.000667 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-14_0_3_load_110 | 68 | 0.00050622 | 0.00012687 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-14_0_3_load_111 | 69 | 0.0012774 | 0.00032015 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-14_0_3_load_112 | 70 | 0.0013046 | 0.00032697 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-14_0_3_line_0 |  | 0 | 1 | 0.025559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-14_0_3_line_1 |  | 1 | 2 | 0.071336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-14_0_3_line_2 |  | 2 | 5 | 0.019995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-14_0_3_line_3 |  | 2 | 3 | 0.11253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-14_0_3_line_4 |  | 3 | 4 | 0.011437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-14_0_3_line_5 |  | 4 | 29 | 0.025352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-14_0_3_line_6 |  | 6 | 7 | 0.013804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-14_0_3_line_7 |  | 6 | 8 | 0.058425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-14_0_3_line_8 |  | 6 | 9 | 0.016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-14_0_3_line_9 |  | 7 | 30 | 0.020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-14_0_3_line_10 |  | 8 | 28 | 0.034347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-14_0_3_line_11 |  | 9 | 38 | 0.017909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-14_0_3_line_12 |  | 10 | 11 | 0.065732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-14_0_3_line_13 |  | 10 | 12 | 0.056548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-14_0_3_line_14 |  | 11 | 19 | 0.0041643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-14_0_3_line_15 |  | 11 | 30 | 0.017044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-14_0_3_line_16 |  | 12 | 13 | 0.022748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-14_0_3_line_17 |  | 13 | 14 | 0.11122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-14_0_3_line_18 |  | 14 | 15 | 0.016928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-14_0_3_line_19 |  | 14 | 16 | 0.026941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-14_0_3_line_20 |  | 14 | 17 | 0.049876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-14_0_3_line_21 |  | 18 | 19 | 0.018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-14_0_3_line_22 |  | 18 | 20 | 0.026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-14_0_3_line_23 |  | 18 | 21 | 0.048505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-14_0_3_line_24 |  | 20 | 26 | 0.013005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_261-14_0_3_line_25 |  | 20 | 27 | 0.0084199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-14_0_3_line_26 |  | 21 | 39 | 0.02855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-14_0_3_line_27 |  | 22 | 23 | 0.01093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-14_0_3_line_28 |  | 22 | 24 | 0.004761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-14_0_3_line_29 |  | 22 | 25 | 0.0048637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-14_0_3_line_30 |  | 23 | 42 | 0.0077404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-14_0_3_line_31 |  | 24 | 43 | 0.016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-14_0_3_line_32 |  | 25 | 44 | 0.013833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-14_0_3_line_33 |  | 26 | 45 | 0.005328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-14_0_3_line_34 |  | 26 | 29 | 0.009963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_261-14_0_3_line_35 |  | 27 | 46 | 0.013385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-14_0_3_line_36 |  | 28 | 47 | 0.024423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-14_0_3_line_37 |  | 31 | 32 | 0.010008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-14_0_3_line_38 |  | 31 | 33 | 0.021847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-14_0_3_line_39 |  | 31 | 34 | 0.015932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-14_0_3_line_40 |  | 32 | 35 | 0.0036141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-14_0_3_line_41 |  | 33 | 54 | 0.011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-14_0_3_line_42 |  | 34 | 55 | 0.026931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-14_0_3_line_43 |  | 35 | 56 | 0.021932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-14_0_3_line_44 |  | 36 | 37 | 0.0077156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-14_0_3_line_45 |  | 37 | 60 | 0.019689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-14_0_3_line_46 |  | 39 | 57 | 0.015518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-14_0_3_line_47 |  | 40 | 41 | 0.021737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-14_0_3_line_48 |  | 41 | 58 | 0.032201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-14_0_3_line_49 |  | 42 | 63 | 0.0079145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-14_0_3_line_50 |  | 43 | 61 | 0.020934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-14_0_3_line_51 |  | 44 | 65 | 0.012571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-14_0_3_line_52 |  | 46 | 61 | 0.016283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-14_0_3_line_53 |  | 47 | 58 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-14_0_3_line_54 |  | 48 | 49 | 0.015459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-14_0_3_line_55 |  | 49 | 57 | 0.035841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-14_0_3_line_56 |  | 50 | 51 | 0.018331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-14_0_3_line_57 |  | 51 | 65 | 0.010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-14_0_3_line_58 |  | 52 | 53 | 0.013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-14_0_3_line_59 |  | 53 | 66 | 0.0019282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-14_0_3_line_60 |  | 54 | 64 | 0.0092372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-14_0_3_line_61 |  | 55 | 68 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-14_0_3_line_62 |  | 56 | 59 | 0.0093201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-14_0_3_line_63 |  | 59 | 60 | 0.0075273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-14_0_3_line_64 |  | 62 | 63 | 0.0060326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-14_0_3_line_65 |  | 62 | 64 | 0.0024459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-14_0_3_line_66 |  | 65 | 66 | 0.051441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-14_0_3_line_67 |  | 66 | 67 | 0.0050703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-14_0_3_line_68 |  | 67 | 69 | 0.0072715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-14_0_3_line_69 |  | 69 | 70 | 0.0066976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-14_0_3_trafo_23 | 0.63 MVA 20/0.4 kV | 71 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2683641.2189 | 1250182.7835 | 2683652.4148 | 1250178.038 | 2683657.1444 | 1250190.5748
1 | 2683641.2189 | 1250182.7835 | 2683636.8072 | 1250167.988 | 2683620.7808 | 1250145.3451 | 2683621.5139 | 1250133.5244 | 2683623.8709 | 1250124.8734 | 2683628.2502 | 1250118.9753
2 | 2683628.2502 | 1250118.9753 | 2683634.9642 | 1250115.1004 | 2683646.3287 | 1250110.5459
3 | 2683567.4342 | 1250083.6024 | 2683573.3765 | 1250083.5862 | 2683581.2756 | 1250096.3181 | 2683589.7422 | 1250110.0255 | 2683596.9247 | 1250116.8207 | 2683603.6844 | 1250122.0088 | 2683620.7808 | 1250145.3451 | 2683621.5139 | 1250133.5244 | 2683623.8709 | 1250124.8734 | 2683628.2502 | 1250118.9753
4 | 2683567.4342 | 1250083.6024 | 2683565.4392 | 1250072.3408
5 | 2683560.9233 | 1250047.3948 | 2683564.3851 | 1250066.391 | 2683565.4392 | 1250072.3408
6 | 2683473.2359 | 1250064.9725 | 2683486.5718 | 1250061.4084
7 | 2683491.9644 | 1250026.6633 | 2683482.4337 | 1250027.8966 | 2683478.4778 | 1250028.3968 | 2683474.6201 | 1250028.8985 | 2683472.8388 | 1250029.396 | 2683471.2943 | 1250030.2304 | 2683469.5681 | 1250031.6405 | 2683468.6094 | 1250032.6944 | 2683468.0234 | 1250033.5646 | 2683467.0896 | 1250035.5307 | 2683466.6195 | 1250037.2809 | 2683466.4086 | 1250039.3906 | 2683466.5317 | 1250041.3716 | 2683471.9081 | 1250060.6172 | 2683473.2359 | 1250064.9725
8 | 2683473.2359 | 1250064.9725 | 2683457.4534 | 1250069.3532
9 | 2683486.5718 | 1250061.4084 | 2683506.6461 | 1250056.0434
10 | 2683491.9644 | 1250026.6633 | 2683490.6048 | 1250016.5255 | 2683490.1745 | 1250013.3059 | 2683488.7197 | 1250002.4218 | 2683488.7891 | 1250000.7103 | 2683488.8782 | 1249999.2105 | 2683489.1474 | 1249997.791 | 2683489.4574 | 1249996.1497 | 2683490.4902 | 1249992.7438
11 | 2683440.1967 | 1250074.1431 | 2683457.4534 | 1250069.3532
12 | 2683523.112 | 1250051.6428 | 2683524.8476 | 1250057.6051 | 2683526.9998 | 1250065.0743 | 2683527.5339 | 1250066.8164 | 2683528.0466 | 1250068.4805 | 2683528.5455 | 1250070.0442 | 2683529.0405 | 1250071.8859 | 2683530.1725 | 1250075.6713 | 2683535.6292 | 1250075.2813 | 2683539.8126 | 1250077.3862 | 2683543.0253 | 1250079.7888 | 2683544.6279 | 1250082.3244 | 2683547.0981 | 1250088.664 | 2683552.1736 | 1250104.5918
13 | 2683552.1736 | 1250104.5918 | 2683563.1442 | 1250136.6926 | 2683568.6151 | 1250158.6451
14 | 2683523.112 | 1250051.6428 | 2683527.1065 | 1250050.4656
15 | 2683523.112 | 1250051.6428 | 2683506.6461 | 1250056.0434
16 | 2683575.1359 | 1250180.4275 | 2683570.2827 | 1250165.3367 | 2683568.6151 | 1250158.6451
17 | 2683575.1359 | 1250180.4275 | 2683582.9181 | 1250176.8234 | 2683604.935 | 1250227.0491 | 2683618.8835 | 1250255.1446 | 2683622.4214 | 1250261.7772 | 2683626.6214 | 1250269.6423
18 | 2683626.6214 | 1250269.6423 | 2683637.0953 | 1250272.1697 | 2683642.4827 | 1250269.1962
19 | 2683626.6214 | 1250269.6423 | 2683605.706 | 1250252.6605
20 | 2683626.6214 | 1250269.6423 | 2683611.0018 | 1250317.0099
21 | 2683537.3534 | 1250038.1446 | 2683537.7701 | 1250042.3314 | 2683537.5241 | 1250044.7853 | 2683536.0888 | 1250046.9778 | 2683532.8698 | 1250048.7671 | 2683527.1065 | 1250050.4656
22 | 2683537.3534 | 1250038.1446 | 2683538.8135 | 1250037.9428 | 2683542.49 | 1250037.4387 | 2683549.1922 | 1250036.5436 | 2683549.5174 | 1250036.5037 | 2683551.3483 | 1250036.2404 | 2683553.3152 | 1250035.9679 | 2683559.1102 | 1250035.1601 | 2683563.9149 | 1250034.4273
23 | 2683537.3534 | 1250038.1446 | 2683536.997 | 1250029.6888 | 2683538.069 | 1250008.8217 | 2683537.9617 | 1250001.437 | 2683536.1524 | 1249989.8154
24 | 2683563.9149 | 1250034.4273 | 2683564.886 | 1250036.2423 | 2683565.999 | 1250037.6257 | 2683567.4006 | 1250038.3571 | 2683569.0146 | 1250039.0137 | 2683569.366 | 1250040.3308 | 2683570.5354 | 1250044.6727
25 | 2683563.9149 | 1250034.4273 | 2683561.8999 | 1250026.252
26 | 2683531.7202 | 1249961.6115 | 2683532.9147 | 1249969.0195 | 2683536.1524 | 1249989.8154
27 | 2683552.2349 | 1249955.7152 | 2683555.6552 | 1249955.719 | 2683559.3797 | 1249956.6388 | 2683562.6994 | 1249958.2107
28 | 2683553.2036 | 1249960.3768 | 2683552.2349 | 1249955.7152
29 | 2683552.2349 | 1249955.7152 | 2683551.2451 | 1249950.9533
30 | 2683562.6994 | 1249958.2107 | 2683569.6951 | 1249961.5234
31 | 2683553.2036 | 1249960.3768 | 2683551.9335 | 1249963.1721 | 2683551.6617 | 1249965.848 | 2683553.4137 | 1249976.3803
32 | 2683545.6535 | 1249939.7997 | 2683547.0017 | 1249948.2804 | 2683547.6896 | 1249949.2908 | 2683548.5995 | 1249950.0931 | 2683549.8592 | 1249950.7113 | 2683551.2451 | 1249950.9533
33 | 2683570.5354 | 1250044.6727 | 2683571.92 | 1250049.8183
34 | 2683570.5354 | 1250044.6727 | 2683560.9233 | 1250047.3948
35 | 2683561.8999 | 1250026.252 | 2683560.8869 | 1250022.1421 | 2683559.4217 | 1250013.1086
36 | 2683490.4902 | 1249992.7438 | 2683491.8646 | 1249988.211 | 2683492.2401 | 1249986.7486 | 2683492.5181 | 1249985.2402 | 2683492.7092 | 1249982.3964 | 2683492.6246 | 1249980.8941 | 2683492.4613 | 1249979.6242 | 2683490.7204 | 1249968.755
37 | 2683623.0689 | 1249985.4027 | 2683627.3343 | 1249976.3451
38 | 2683623.0689 | 1249985.4027 | 2683617.9796 | 1249983.2849 | 2683603.043 | 1249976.6735
39 | 2683623.0689 | 1249985.4027 | 2683617.0669 | 1250000.1605
40 | 2683627.3343 | 1249976.3451 | 2683628.7787 | 1249973.0321
41 | 2683592.9838 | 1249972.221 | 2683603.043 | 1249976.6735
42 | 2683617.0669 | 1250000.1605 | 2683613.1273 | 1250009.8474 | 2683609.8333 | 1250016.9506 | 2683605.5429 | 1250022.4275 | 2683604.4457 | 1250023.7089
43 | 2683637.5442 | 1249952.9275 | 2683628.7787 | 1249973.0321
44 | 2683655.23 | 1249912.3633 | 2683652.1464 | 1249919.4359
45 | 2683644.2775 | 1249937.4841 | 2683652.1464 | 1249919.4359
46 | 2683529.2498 | 1249946.2913 | 2683531.7202 | 1249961.6115
47 | 2683478.8996 | 1249894.7334 | 2683479.5395 | 1249898.9488 | 2683482.3029 | 1249916.2021
48 | 2683482.3029 | 1249916.2021 | 2683487.3956 | 1249947.9973
49 | 2683576.8483 | 1249964.9105 | 2683569.6951 | 1249961.5234
50 | 2683556.8148 | 1249997.0357 | 2683555.455 | 1249988.6518 | 2683553.4137 | 1249976.3803
51 | 2683543.6797 | 1249927.3847 | 2683545.6535 | 1249939.7997
52 | 2683556.8148 | 1249997.0357 | 2683559.4217 | 1250013.1086
53 | 2683487.3956 | 1249947.9973 | 2683490.7204 | 1249968.755
54 | 2683523.5443 | 1249910.9069 | 2683521.0833 | 1249895.6448
55 | 2683529.2498 | 1249946.2913 | 2683523.5443 | 1249910.9069
56 | 2683539.2102 | 1249899.2068 | 2683542.0819 | 1249917.3114
57 | 2683543.6797 | 1249927.3847 | 2683542.0819 | 1249917.3114
58 | 2683595.0103 | 1249914.4232 | 2683599.206 | 1249910.7662 | 2683599.163 | 1249903.6492 | 2683599.1627 | 1249902.404
59 | 2683593.5568 | 1249915.6902 | 2683595.0103 | 1249914.4232
60 | 2683592.9838 | 1249972.221 | 2683584.5371 | 1249968.4822
61 | 2683604.4457 | 1250023.7089 | 2683601.3283 | 1250027.3495 | 2683595.4466 | 1250032.7039
62 | 2683641.2691 | 1249944.3841 | 2683637.5442 | 1249952.9275
63 | 2683641.2691 | 1249944.3841 | 2683644.2775 | 1249937.4841
64 | 2683582.3005 | 1249967.4922 | 2683576.8483 | 1249964.9105
65 | 2683582.3005 | 1249967.4922 | 2683584.5371 | 1249968.4822
66 | 2683543.6797 | 1249927.3847 | 2683579.8736 | 1249921.7017 | 2683588.9526 | 1249917.7157 | 2683593.5568 | 1249915.6902
67 | 2683593.5568 | 1249915.6902 | 2683598.4911 | 1249916.8565
68 | 2683605.6022 | 1249918.3675 | 2683601.8121 | 1249917.6414 | 2683598.4911 | 1249916.8565
69 | 2683605.6022 | 1249918.3675 | 2683612.1802 | 1249919.6278

## bus_geodata
| x | y | coords
0 | 2683657.1444 | 1250190.5748
1 | 2683641.2189 | 1250182.7835
2 | 2683628.2502 | 1250118.9753
3 | 2683567.4342 | 1250083.6024
4 | 2683565.4392 | 1250072.3408
5 | 2683646.3287 | 1250110.5459
6 | 2683473.2359 | 1250064.9725
7 | 2683486.5718 | 1250061.4084
8 | 2683491.9644 | 1250026.6633
9 | 2683457.4534 | 1250069.3532
10 | 2683552.1736 | 1250104.5918
11 | 2683523.112 | 1250051.6428
12 | 2683568.6151 | 1250158.6451
13 | 2683575.1359 | 1250180.4275
14 | 2683626.6214 | 1250269.6423
15 | 2683642.4827 | 1250269.1962
16 | 2683605.706 | 1250252.6605
17 | 2683611.0018 | 1250317.0099
18 | 2683537.3534 | 1250038.1446
19 | 2683527.1065 | 1250050.4656
20 | 2683563.9149 | 1250034.4273
21 | 2683536.1524 | 1249989.8154
22 | 2683552.2349 | 1249955.7152
23 | 2683562.6994 | 1249958.2107
24 | 2683553.2036 | 1249960.3768
25 | 2683551.2451 | 1249950.9533
26 | 2683570.5354 | 1250044.6727
27 | 2683561.8999 | 1250026.252
28 | 2683490.4902 | 1249992.7438
29 | 2683560.9233 | 1250047.3948
30 | 2683506.6461 | 1250056.0435
31 | 2683623.0689 | 1249985.4027
32 | 2683627.3343 | 1249976.3451
33 | 2683603.043 | 1249976.6735
34 | 2683617.0669 | 1250000.1605
35 | 2683628.7787 | 1249973.0321
36 | 2683655.23 | 1249912.3633
37 | 2683652.1464 | 1249919.4359
38 | 2683440.1967 | 1250074.1431
39 | 2683531.7202 | 1249961.6115
40 | 2683478.8996 | 1249894.7334
41 | 2683482.3029 | 1249916.2021
42 | 2683569.6951 | 1249961.5234
43 | 2683553.4137 | 1249976.3803
44 | 2683545.6535 | 1249939.7997
45 | 2683571.92 | 1250049.8183
46 | 2683559.4217 | 1250013.1086
47 | 2683490.7204 | 1249968.755
48 | 2683521.0833 | 1249895.6448
49 | 2683523.5443 | 1249910.9069
50 | 2683539.2102 | 1249899.2068
51 | 2683542.0819 | 1249917.3114
52 | 2683599.1627 | 1249902.404
53 | 2683595.0103 | 1249914.4232
54 | 2683592.9838 | 1249972.221
55 | 2683604.4457 | 1250023.7089
56 | 2683637.5443 | 1249952.9275
57 | 2683529.2498 | 1249946.2913
58 | 2683487.3956 | 1249947.9973
59 | 2683641.2691 | 1249944.3841
60 | 2683644.2775 | 1249937.4841
61 | 2683556.8148 | 1249997.0357
62 | 2683582.3005 | 1249967.4922
63 | 2683576.8483 | 1249964.9105
64 | 2683584.5371 | 1249968.4822
65 | 2683543.6797 | 1249927.3847
66 | 2683593.5568 | 1249915.6902
67 | 2683598.4911 | 1249916.8565
68 | 2683595.4466 | 1250032.7039
69 | 2683605.6022 | 1249918.3675
70 | 2683612.1802 | 1249919.6278
71 | 2683570.5354 | 1250044.6727

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99272 | -0.13994 | 0.023919 | 0.0059947
1 | 0.99328 | -0.12914 | 0 | 0
2 | 0.99484 | -0.099039 | 0 | 0
3 | 0.99861 | -0.026542 | 0 | 0
4 | 0.999 | -0.019204 | 0.0066936 | 0.0016776
5 | 0.99461 | -0.10355 | 0.012797 | 0.0032072
6 | 0.98886 | -0.21343 | 0 | 0
7 | 0.98966 | -0.19795 | 0.01014 | 0.0025413
8 | 0.98609 | -0.2671 | 0 | 0
9 | 0.98869 | -0.21681 | 0.0051684 | 0.0012953
10 | 0.98971 | -0.19701 | 0 | 0
11 | 0.99235 | -0.14624 | 0 | 0
12 | 0.98744 | -0.24091 | 0.0090919 | 0.0022786
13 | 0.98671 | -0.25492 | 0 | 0
14 | 0.98318 | -0.32372 | 0 | 0
15 | 0.98306 | -0.32617 | 0.0080174 | 0.0020093
16 | 0.9831 | -0.32522 | 0.0030711 | 0.00076968
17 | 0.98211 | -0.34474 | 0.023339 | 0.0058492
18 | 0.99517 | -0.092018 | 0 | 0
19 | 0.99283 | -0.137 | 0.0089135 | 0.0022339
20 | 0.99726 | -0.052154 | 0 | 0
21 | 0.99363 | -0.1219 | 0.014428 | 0.0036161
22 | 0.99201 | -0.15324 | 0 | 0
23 | 0.99165 | -0.16028 | 0.0029123 | 0.0007299
24 | 0.99228 | -0.14816 | 0 | 0
25 | 0.99191 | -0.15531 | 0.0024795 | 0.00062141
26 | 0.99879 | -0.022931 | 0 | 0
27 | 0.99659 | -0.065083 | 0.0080054 | 0.0020064
28 | 0.98447 | -0.29879 | 0.012876 | 0.0032271
29 | 1 | 0 | -0.31173 | -0.078829
30 | 0.99106 | -0.17096 | 0.0087625 | 0.0021961
31 | 0.99022 | -0.18799 | 0 | 0
32 | 0.99015 | -0.18944 | 0 | 0
33 | 0.99057 | -0.1812 | 0.0013601 | 0.00034088
34 | 0.99008 | -0.19064 | 0.0026925 | 0.00067481
35 | 0.99012 | -0.18996 | 0.0013623 | 0.00034143
36 | 0.98986 | -0.19495 | 0.0012134 | 0.0003041
37 | 0.98987 | -0.19478 | 0.0012569 | 0.00031501
38 | 0.98858 | -0.21885 | 0.0063946 | 0.0016026
39 | 0.99309 | -0.13226 | 0.0041388 | 0.0010373
40 | 0.98253 | -0.33668 | 0.0012391 | 0.00031054
41 | 0.98255 | -0.33619 | 0.011038 | 0.0027664
42 | 0.99141 | -0.16487 | 0.0023417 | 0.00058688
43 | 0.99318 | -0.13062 | 0.0094157 | 0.0023598
44 | 0.99164 | -0.16057 | 0.0034179 | 0.0008566
45 | 0.99876 | -0.023579 | 0.0069637 | 0.0017453
46 | 0.99561 | -0.083787 | 0.0060106 | 0.0015064
47 | 0.9836 | -0.31572 | 0.0033414 | 0.00083743
48 | 0.99237 | -0.14618 | 0.0059779 | 0.0014982
49 | 0.99246 | -0.14455 | 0.0063202 | 0.001584
50 | 0.99128 | -0.16747 | 0.0040131 | 0.0010058
51 | 0.99135 | -0.16616 | 0.0046389 | 0.0011626
52 | 0.99096 | -0.17365 | 0.00131 | 0.00032831
53 | 0.99098 | -0.17333 | 0.0028549 | 0.0007155
54 | 0.99076 | -0.17751 | 0.0058675 | 0.0014705
55 | 0.98992 | -0.19383 | 0.0061525 | 0.001542
56 | 0.98998 | -0.19261 | 0.0018728 | 0.00046938
57 | 0.99286 | -0.13675 | 0.0040878 | 0.0010245
58 | 0.98292 | -0.32905 | 0.022892 | 0.0057374
59 | 0.98994 | -0.19342 | 0.0011915 | 0.00029863
60 | 0.98992 | -0.19392 | 0.0012465 | 0.00031241
61 | 0.99452 | -0.10487 | 0.0038106 | 0.00095502
62 | 0.99103 | -0.17224 | 0 | 0
63 | 0.99119 | -0.16924 | 0.0030389 | 0.00076162
64 | 0.99097 | -0.17346 | 0.0033297 | 0.00083451
65 | 0.99143 | -0.1646 | 0 | 0
66 | 0.99099 | -0.17319 | 0 | 0
67 | 0.99096 | -0.17366 | 0.0026614 | 0.000667
68 | 0.98991 | -0.19394 | 0.00050622 | 0.00012687
69 | 0.99094 | -0.17399 | 0.0012774 | 0.00032015
70 | 0.99094 | -0.17415 | 0.0013046 | 0.00032697
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023919 | -0.0059947 | 0.023931 | 0.0060022 | 1.232e-05 | 7.5544e-06 | 0.035853 | 0.035853 | 0.035853 | 0.99272 | -0.13994 | 0.99328 | -0.12914 | 9.8497
1 | -0.023931 | -0.0060022 | 0.023966 | 0.0060233 | 3.4386e-05 | 2.1082e-05 | 0.035853 | 0.035852 | 0.035853 | 0.99328 | -0.12914 | 0.99484 | -0.099039 | 9.8496
2 | 0.0128 | 0.0032087 | -0.012797 | -0.0032072 | 2.7483e-06 | 1.4994e-06 | 0.019145 | 0.019145 | 0.019145 | 0.99484 | -0.099039 | 0.99461 | -0.10355 | 5.2596
3 | -0.036765 | -0.009232 | 0.036893 | 0.0093122 | 0.00012764 | 8.0221e-05 | 0.054997 | 0.054997 | 0.054997 | 0.99484 | -0.099039 | 0.99861 | -0.026542 | 15.1092
4 | -0.036893 | -0.0093122 | 0.036906 | 0.0093204 | 1.2972e-05 | 8.1525e-06 | 0.054997 | 0.054997 | 0.054997 | 0.99861 | -0.026542 | 0.999 | -0.019204 | 15.109
5 | -0.043599 | -0.010998 | 0.04364 | 0.011023 | 4.0125e-05 | 2.5348e-05 | 0.064967 | 0.064967 | 0.064967 | 0.999 | -0.019204 | 1 | 0 | 17.8481
6 | -0.063221 | -0.015947 | 0.063268 | 0.015977 | 4.6885e-05 | 2.9829e-05 | 0.09517 | 0.09517 | 0.09517 | 0.98886 | -0.21343 | 0.98966 | -0.19795 | 26.1456
7 | 0.051656 | 0.013048 | -0.051523 | -0.012964 | 0.0001325 | 8.4052e-05 | 0.077766 | 0.077767 | 0.077767 | 0.98886 | -0.21343 | 0.98609 | -0.2671 | 21.3644
8 | 0.011566 | 0.0028991 | -0.011564 | -0.0028981 | 1.8604e-06 | 9.8058e-07 | 0.017404 | 0.017404 | 0.017404 | 0.98886 | -0.21343 | 0.98869 | -0.21681 | 4.7813
9 | -0.073408 | -0.018518 | 0.073503 | 0.018579 | 9.4998e-05 | 6.0531e-05 | 0.11042 | 0.11042 | 0.11042 | 0.98966 | -0.19795 | 0.99106 | -0.17096 | 30.334
10 | 0.051523 | 0.012964 | -0.051445 | -0.012915 | 7.7895e-05 | 4.9415e-05 | 0.077767 | 0.077767 | 0.077767 | 0.98609 | -0.2671 | 0.98447 | -0.29879 | 21.3645
11 | 0.0063952 | 0.0016028 | -0.0063946 | -0.0016026 | 6.2218e-07 | 1.6855e-07 | 0.0096251 | 0.0096251 | 0.0096251 | 0.98869 | -0.21681 | 0.98858 | -0.21885 | 2.6443
12 | -0.043772 | -0.011065 | 0.043879 | 0.011133 | 0.00010687 | 6.7548e-05 | 0.065844 | 0.065844 | 0.065844 | 0.98971 | -0.19701 | 0.99235 | -0.14624 | 18.0891
13 | 0.043772 | 0.011065 | -0.04368 | -0.011007 | 9.1936e-05 | 5.8114e-05 | 0.065844 | 0.065845 | 0.065845 | 0.98971 | -0.19701 | 0.98744 | -0.24091 | 18.0892
14 | -0.12624 | -0.03197 | 0.1263 | 0.032006 | 5.6029e-05 | 3.5805e-05 | 0.18942 | 0.18942 | 0.18942 | 0.99235 | -0.14624 | 0.99283 | -0.137 | 52.0374
15 | 0.082363 | 0.020837 | -0.082265 | -0.020775 | 9.7597e-05 | 6.2242e-05 | 0.12357 | 0.12357 | 0.12357 | 0.99235 | -0.14624 | 0.99106 | -0.17096 | 33.9483
16 | 0.034588 | 0.0087284 | -0.034565 | -0.0087139 | 2.3195e-05 | 1.4554e-05 | 0.052144 | 0.052144 | 0.052144 | 0.98744 | -0.24091 | 0.98671 | -0.25492 | 14.3252
17 | 0.034565 | 0.0087139 | -0.034452 | -0.0086427 | 0.0001134 | 7.116e-05 | 0.052144 | 0.052144 | 0.052144 | 0.98671 | -0.25492 | 0.98318 | -0.32372 | 14.3254
18 | 0.0080183 | 0.0020097 | -0.0080174 | -0.0020093 | 9.3489e-07 | 3.8368e-07 | 0.012136 | 0.012136 | 0.012136 | 0.98318 | -0.32372 | 0.98306 | -0.32617 | 3.334
19 | 0.0030713 | 0.00076948 | -0.0030711 | -0.00076968 | 2.1829e-07 | -2.0193e-07 | 0.0046482 | 0.0046483 | 0.0046483 | 0.98318 | -0.32372 | 0.9831 | -0.32522 | 1.277
20 | 0.023362 | 0.0058635 | -0.023339 | -0.0058492 | 2.3387e-05 | 1.4336e-05 | 0.035361 | 0.035361 | 0.035361 | 0.98318 | -0.32372 | 0.98211 | -0.34474 | 9.7145
21 | 0.1355 | 0.034427 | -0.13521 | -0.03424 | 0.00029274 | 0.00018711 | 0.20278 | 0.20278 | 0.20278 | 0.99517 | -0.092018 | 0.99283 | -0.137 | 55.7075
22 | -0.17053 | -0.043229 | 0.17085 | 0.043438 | 0.00032739 | 0.00020883 | 0.25515 | 0.25515 | 0.25515 | 0.99517 | -0.092018 | 0.99726 | -0.052154 | 35.048
23 | 0.035022 | 0.0088021 | -0.034972 | -0.0087708 | 4.9895e-05 | 3.1303e-05 | 0.052374 | 0.052374 | 0.052374 | 0.99517 | -0.092018 | 0.99363 | -0.1219 | 14.3886
24 | -0.25882 | -0.06564 | 0.25918 | 0.065873 | 0.00036417 | 0.00023273 | 0.38645 | 0.38645 | 0.38645 | 0.99726 | -0.052154 | 0.99879 | -0.022931 | 53.0842
25 | 0.087962 | 0.022202 | -0.087908 | -0.022167 | 5.4437e-05 | 3.473e-05 | 0.1313 | 0.1313 | 0.1313 | 0.99726 | -0.052154 | 0.99659 | -0.065083 | 36.0725
26 | 0.020543 | 0.0051547 | -0.020533 | -0.0051486 | 1.0135e-05 | 6.1166e-06 | 0.030767 | 0.030767 | 0.030767 | 0.99363 | -0.1219 | 0.99309 | -0.13226 | 8.4525
27 | 0.036395 | 0.0091379 | -0.036382 | -0.0091302 | 1.2218e-05 | 7.6782e-06 | 0.054598 | 0.054598 | 0.054598 | 0.99201 | -0.15324 | 0.99165 | -0.16028 | 14.9993
28 | -0.060368 | -0.015151 | 0.060383 | 0.01516 | 1.4642e-05 | 9.3094e-06 | 0.09056 | 0.09056 | 0.09056 | 0.99201 | -0.15324 | 0.99228 | -0.14816 | 24.879
29 | 0.023974 | 0.0060128 | -0.023971 | -0.0060114 | 2.3588e-06 | 1.4468e-06 | 0.035962 | 0.035962 | 0.035962 | 0.99201 | -0.15324 | 0.99191 | -0.15531 | 9.8797
30 | 0.03347 | 0.0084003 | -0.033463 | -0.0083958 | 7.3228e-06 | 4.5868e-06 | 0.050228 | 0.050228 | 0.050228 | 0.99165 | -0.16028 | 0.99141 | -0.16487 | 13.7988
31 | -0.060383 | -0.01516 | 0.060434 | 0.015192 | 5.055e-05 | 3.214e-05 | 0.09056 | 0.09056 | 0.09056 | 0.99228 | -0.14816 | 0.99318 | -0.13062 | 24.879
32 | 0.021492 | 0.0053899 | -0.021487 | -0.0053867 | 5.3926e-06 | 3.2728e-06 | 0.032243 | 0.032243 | 0.032243 | 0.99191 | -0.15531 | 0.99164 | -0.16057 | 8.8579
33 | 0.0069639 | 0.0017453 | -0.0069637 | -0.0017453 | 2.1506e-07 | 6.7912e-08 | 0.010375 | 0.010375 | 0.010375 | 0.99879 | -0.022931 | 0.99876 | -0.023579 | 2.8503
34 | -0.26614 | -0.067618 | 0.26644 | 0.067806 | 0.00029417 | 0.00018801 | 0.39683 | 0.39683 | 0.39683 | 0.99879 | -0.022931 | 1 | 0 | 54.5093
35 | 0.079902 | 0.020161 | -0.079831 | -0.020116 | 7.1497e-05 | 4.5584e-05 | 0.11935 | 0.11935 | 0.11935 | 0.99659 | -0.065083 | 0.99561 | -0.083787 | 32.7887
36 | 0.038569 | 0.0096875 | -0.038538 | -0.0096679 | 3.1134e-05 | 1.9616e-05 | 0.058304 | 0.058304 | 0.058304 | 0.98447 | -0.29879 | 0.9836 | -0.31572 | 16.0177
37 | 0.0081455 | 0.0020412 | -0.0081449 | -0.002041 | 5.6229e-07 | 2.3113e-07 | 0.01224 | 0.01224 | 0.01224 | 0.99022 | -0.18799 | 0.99015 | -0.18944 | 3.3627
38 | -0.017499 | -0.0043855 | 0.017505 | 0.0043889 | 5.6649e-06 | 3.3444e-06 | 0.026296 | 0.026296 | 0.026296 | 0.99022 | -0.18799 | 0.99057 | -0.1812 | 7.2241
39 | 0.0093534 | 0.0023443 | -0.0093522 | -0.0023438 | 1.1803e-06 | 5.5047e-07 | 0.014056 | 0.014056 | 0.014056 | 0.99022 | -0.18799 | 0.99008 | -0.19064 | 3.8614
40 | 0.0081449 | 0.002041 | -0.0081447 | -0.0020409 | 2.0306e-07 | 8.3472e-08 | 0.01224 | 0.01224 | 0.01224 | 0.99015 | -0.18944 | 0.99012 | -0.18996 | 3.3627
41 | -0.018865 | -0.0047298 | 0.018868 | 0.0047317 | 3.3129e-06 | 1.9786e-06 | 0.028339 | 0.028339 | 0.028339 | 0.99057 | -0.1812 | 0.99076 | -0.17751 | 7.7854
42 | 0.0066597 | 0.001669 | -0.0066587 | -0.0016687 | 1.0118e-06 | 3.0123e-07 | 0.010009 | 0.010009 | 0.010009 | 0.99008 | -0.19064 | 0.98992 | -0.19383 | 2.7498
43 | 0.0067824 | 0.0016995 | -0.0067816 | -0.0016992 | 8.5452e-07 | 2.6485e-07 | 0.010193 | 0.010193 | 0.010193 | 0.99012 | -0.18996 | 0.98998 | -0.19261 | 2.8003
44 | -0.0012134 | -0.0003041 | 0.0012134 | 0.000304 | 9.6258e-09 | -9.3022e-08 | 0.001824 | 0.001824 | 0.001824 | 0.98986 | -0.19495 | 0.98987 | -0.19478 | 0.5011
45 | -0.0024703 | -0.00061901 | 0.0024704 | 0.00061883 | 1.0181e-07 | -1.8795e-07 | 0.0037134 | 0.0037133 | 0.0037134 | 0.98987 | -0.19478 | 0.98992 | -0.19392 | 1.0202
46 | 0.016394 | 0.0041113 | -0.016391 | -0.0041093 | 3.5118e-06 | 2.0468e-06 | 0.024566 | 0.024566 | 0.024566 | 0.99309 | -0.13226 | 0.99286 | -0.13675 | 6.7489
47 | -0.0012391 | -0.00031054 | 0.0012391 | 0.00031029 | 2.8703e-08 | -2.5693e-07 | 0.0018766 | 0.0018765 | 0.0018766 | 0.98253 | -0.33668 | 0.98255 | -0.33619 | 0.51554
48 | -0.012277 | -0.0030767 | 0.012281 | 0.003079 | 4.1744e-06 | 2.2636e-06 | 0.018593 | 0.018593 | 0.018593 | 0.98255 | -0.33619 | 0.98292 | -0.32905 | 5.108
49 | 0.031121 | 0.0078089 | -0.031115 | -0.0078048 | 6.4764e-06 | 4.0428e-06 | 0.046713 | 0.046713 | 0.046713 | 0.99141 | -0.16487 | 0.99119 | -0.16924 | 12.8332
50 | -0.069849 | -0.017552 | 0.069935 | 0.017607 | 8.5998e-05 | 5.4768e-05 | 0.10467 | 0.10467 | 0.10467 | 0.99318 | -0.13062 | 0.99452 | -0.10487 | 28.7545
51 | 0.018069 | 0.0045301 | -0.018065 | -0.004528 | 3.4656e-06 | 2.0559e-06 | 0.027114 | 0.027114 | 0.027114 | 0.99164 | -0.16057 | 0.99143 | -0.1646 | 7.4489
52 | 0.07382 | 0.018609 | -0.073746 | -0.018562 | 7.4379e-05 | 4.7391e-05 | 0.11037 | 0.11037 | 0.11037 | 0.99561 | -0.083787 | 0.99452 | -0.10487 | 30.3208
53 | 0.035196 | 0.0088304 | -0.035174 | -0.0088164 | 2.2353e-05 | 1.4039e-05 | 0.053249 | 0.053249 | 0.053249 | 0.9836 | -0.31572 | 0.98292 | -0.32905 | 14.629
54 | -0.0059779 | -0.0014982 | 0.0059784 | 0.0014983 | 4.6578e-07 | 9.8348e-08 | 0.0089636 | 0.0089635 | 0.0089636 | 0.99237 | -0.14618 | 0.99246 | -0.14455 | 2.4625
55 | -0.012299 | -0.0030823 | 0.012303 | 0.0030848 | 4.57e-06 | 2.4615e-06 | 0.01844 | 0.018439 | 0.01844 | 0.99246 | -0.14455 | 0.99286 | -0.13675 | 5.0658
56 | -0.0040131 | -0.0010058 | 0.0040133 | 0.0010057 | 2.4945e-07 | -7.6681e-08 | 0.006024 | 0.0060239 | 0.006024 | 0.99128 | -0.16747 | 0.99135 | -0.16616 | 1.655
57 | -0.0086522 | -0.0021683 | 0.0086528 | 0.0021686 | 6.4507e-07 | 2.8133e-07 | 0.012987 | 0.012987 | 0.012987 | 0.99135 | -0.16616 | 0.99143 | -0.1646 | 3.5678
58 | -0.00131 | -0.00032831 | 0.00131 | 0.00032815 | 2.0209e-08 | -1.6651e-07 | 0.0019671 | 0.001967 | 0.0019671 | 0.99096 | -0.17365 | 0.99098 | -0.17333 | 0.5404
59 | -0.0041649 | -0.0010437 | 0.0041649 | 0.0010436 | 2.828e-08 | -6.7435e-09 | 0.0062538 | 0.0062538 | 0.0062538 | 0.99098 | -0.17333 | 0.99099 | -0.17319 | 1.7181
60 | -0.024736 | -0.0062023 | 0.02474 | 0.0062052 | 4.7809e-06 | 2.9408e-06 | 0.037151 | 0.037151 | 0.037151 | 0.99076 | -0.17751 | 0.99097 | -0.17346 | 10.2064
61 | 0.00050622 | 0.00012671 | -0.00050622 | -0.00012687 | 2.7676e-09 | -1.621e-07 | 0.00076088 | 0.00076094 | 0.00076094 | 0.98992 | -0.19383 | 0.98991 | -0.19394 | 0.20905
62 | 0.0049087 | 0.0012298 | -0.0049085 | -0.0012298 | 1.9025e-07 | 1.932e-09 | 0.007378 | 0.0073781 | 0.0073781 | 0.98998 | -0.19261 | 0.98994 | -0.19342 | 2.0269
63 | 0.003717 | 0.0009312 | -0.0037169 | -0.00093124 | 8.8112e-08 | -4.0382e-08 | 0.005587 | 0.0055871 | 0.0055871 | 0.98994 | -0.19342 | 0.98992 | -0.19392 | 1.5349
64 | -0.028072 | -0.0070407 | 0.028076 | 0.0070432 | 4.0193e-06 | 2.4946e-06 | 0.042151 | 0.042151 | 0.042151 | 0.99103 | -0.17224 | 0.99119 | -0.16924 | 11.5799
65 | 0.028072 | 0.0070407 | -0.02807 | -0.0070397 | 1.6296e-06 | 1.0114e-06 | 0.042151 | 0.042151 | 0.042151 | 0.99103 | -0.17224 | 0.99097 | -0.17346 | 11.5799
66 | 0.0094124 | 0.0023594 | -0.0094085 | -0.0023576 | 3.8499e-06 | 1.8009e-06 | 0.014127 | 0.014127 | 0.014127 | 0.99143 | -0.1646 | 0.99099 | -0.17319 | 3.8811
67 | 0.0052436 | 0.001314 | -0.0052435 | -0.001314 | 1.1787e-07 | 1.0113e-08 | 0.0078735 | 0.0078735 | 0.0078735 | 0.99099 | -0.17319 | 0.99096 | -0.17366 | 2.163
68 | 0.0025821 | 0.00064698 | -0.0025821 | -0.00064704 | 4.0992e-08 | -6.7444e-08 | 0.0038772 | 0.0038772 | 0.0038772 | 0.99096 | -0.17366 | 0.99094 | -0.17399 | 1.0652
69 | 0.0013047 | 0.00032689 | -0.0013046 | -0.00032697 | 9.6395e-09 | -8.0114e-08 | 0.0019591 | 0.0019591 | 0.0019591 | 0.99094 | -0.17399 | 0.99094 | -0.17415 | 0.53821

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31173 | 0.078829

## res_load
| p_mw | q_mvar
0 | 0.023919 | 0.0059947
1 | 0.0066936 | 0.0016776
2 | 0.012797 | 0.0032072
3 | 0.01014 | 0.0025413
4 | 0.0051684 | 0.0012953
5 | 0.0090919 | 0.0022786
6 | 0.0080174 | 0.0020093
7 | 0.0030711 | 0.00076968
8 | 0.023339 | 0.0058492
9 | 0.0089135 | 0.0022339
10 | 0.014428 | 0.0036161
11 | 0.0029123 | 0.0007299
12 | 0.0024795 | 0.00062141
13 | 0.0080054 | 0.0020064
14 | 0.012876 | 0.0032271
15 | 0.0087625 | 0.0021961
16 | 0.0013601 | 0.00034088
17 | 0.0026925 | 0.00067481
18 | 0.0013623 | 0.00034143
19 | 0.0012134 | 0.0003041
20 | 0.0012569 | 0.00031501
21 | 0.0063946 | 0.0016026
22 | 0.0041388 | 0.0010373
23 | 0.0012391 | 0.00031054
24 | 0.011038 | 0.0027664
25 | 0.0023417 | 0.00058688
26 | 0.0094157 | 0.0023598
27 | 0.0034179 | 0.0008566
28 | 0.0069637 | 0.0017453
29 | 0.0060106 | 0.0015064
30 | 0.0033414 | 0.00083743
31 | 0.0059779 | 0.0014982
32 | 0.0063202 | 0.001584
33 | 0.0040131 | 0.0010058
34 | 0.0046389 | 0.0011626
35 | 0.00131 | 0.00032831
36 | 0.0028549 | 0.0007155
37 | 0.0058675 | 0.0014705
38 | 0.0061525 | 0.001542
39 | 0.0018728 | 0.00046938
40 | 0.0040878 | 0.0010245
41 | 0.022892 | 0.0057374
42 | 0.0011915 | 0.00029863
43 | 0.0012465 | 0.00031241
44 | 0.0038106 | 0.00095502
45 | 0.0030389 | 0.00076162
46 | 0.0033297 | 0.00083451
47 | 0.0026614 | 0.000667
48 | 0.00050622 | 0.00012687
49 | 0.0012774 | 0.00032015
50 | 0.0013046 | 0.00032697

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1