## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-151_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-151_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-151_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-151_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-151_0_7_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_261-151_0_7_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-151_0_7_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-151_0_7_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_261-151_0_7_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-151_0_7_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_261-151_0_7_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_261-151_0_7_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_261-151_0_7_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-151_0_7_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_261-151_0_7_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_261-151_0_7_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_261-151_0_7_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_261-151_0_7_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_261-151_0_7_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_261-151_0_7_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_261-151_0_7_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_261-151_0_7_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_261-151_0_7_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_261-151_0_7_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_261-151_0_7_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_261-151_0_7_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_261-151_0_7_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_261-151_0_7_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_261-151_0_7_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_261-151_0_7_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_261-151_0_7_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_261-151_0_7_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_261-151_0_7_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_261-151_0_7_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_261-151_0_7_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_261-151_0_7_node_23 | 0.4 | n |  | TRUE
36 | bus_MV_543_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-151_0_7_load_0 | 0 | 0.077075 | 0.019317 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-151_0_7_load_3 | 3 | 0.010185 | 0.0025527 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-151_0_7_load_34 | 7 | 0.054105 | 0.01356 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-151_0_7_load_37 | 9 | 0.0022455 | 0.00056277 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-151_0_7_load_35 | 11 | 0.043519 | 0.010907 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-151_0_7_load_40 | 13 | 0.029106 | 0.0072947 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-151_0_7_load_39 | 15 | 0.030837 | 0.0077284 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-151_0_7_load_36 | 17 | 0.0010393 | 0.00026047 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-151_0_7_load_26 | 18 | 0.05695 | 0.014273 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-151_0_7_load_29 | 22 | 0.011447 | 0.0028689 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-151_0_7_load_25 | 24 | 0.007474 | 0.0018732 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-151_0_7_load_30 | 26 | 0.02618 | 0.0065614 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-151_0_7_load_28 | 27 | 0.0097215 | 0.0024364 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-151_0_7_load_32 | 28 | 0.010828 | 0.0027137 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-151_0_7_load_33 | 30 | 0.01257 | 0.0031503 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-151_0_7_load_38 | 31 | 0.0023799 | 0.00059646 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-151_0_7_load_27 | 32 | 0.011305 | 0.0028332 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-151_0_7_load_24 | 33 | 0.032825 | 0.0082266 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-151_0_7_load_31 | 34 | 0.04603 | 0.011536 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-151_0_7_load_23 | 35 | 0.030981 | 0.0077646 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-151_0_7_line_0 |  | 0 | 1 | 0.079277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_261-151_0_7_line_1 |  | 0 | 2 | 0.0021053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-151_0_7_line_2 |  | 1 | 3 | 0.060579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-151_0_7_line_3 |  | 2 | 4 | 0.068198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-151_0_7_line_4 |  | 3 | 5 | 0.062991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-151_0_7_line_5 |  | 4 | 31 | 0.10501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-151_0_7_line_6 |  | 5 | 10 | 0.11514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-151_0_7_line_7 |  | 5 | 6 | 0.048915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-151_0_7_line_8 |  | 5 | 8 | 0.017605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-151_0_7_line_9 |  | 6 | 7 | 0.011206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-151_0_7_line_10 |  | 8 | 9 | 0.048597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-151_0_7_line_11 |  | 9 | 19 | 0.10092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-151_0_7_line_12 |  | 10 | 11 | 0.024673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-151_0_7_line_13 |  | 12 | 13 | 0.064233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-151_0_7_line_14 |  | 12 | 14 | 0.13705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-151_0_7_line_15 |  | 12 | 15 | 0.056487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-151_0_7_line_16 |  | 14 | 16 | 0.09591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-151_0_7_line_17 |  | 14 | 17 | 0.08104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-151_0_7_line_18 |  | 16 | 18 | 0.0028102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-151_0_7_line_19 |  | 18 | 21 | 0.015345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-151_0_7_line_20 |  | 19 | 20 | 0.18224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-151_0_7_line_21 |  | 20 | 21 | 0.013954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-151_0_7_line_22 |  | 20 | 22 | 0.014862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-151_0_7_line_23 |  | 22 | 32 | 0.010071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-151_0_7_line_24 |  | 23 | 24 | 0.005649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-151_0_7_line_25 |  | 23 | 25 | 0.025904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_261-151_0_7_line_26 |  | 23 | 26 | 0.043128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-151_0_7_line_27 |  | 24 | 33 | 0.017223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-151_0_7_line_28 |  | 25 | 27 | 0.013868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-151_0_7_line_29 |  | 25 | 28 | 0.0059995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-151_0_7_line_30 |  | 26 | 34 | 0.025724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-151_0_7_line_31 |  | 27 | 32 | 0.012052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-151_0_7_line_32 |  | 28 | 29 | 0.01958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-151_0_7_line_33 |  | 29 | 30 | 0.013675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-151_0_7_line_34 |  | 33 | 35 | 0.019822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-151_0_7_trafo_14 | 0.63 MVA 20/0.4 kV | 36 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2684194.2221 | 1251716.2375 | 2684195.1228 | 1251721.9101 | 2684192.2656 | 1251795.388
1 | 2684192.1838 | 1251797.4917 | 2684192.2656 | 1251795.388
2 | 2684194.2221 | 1251716.2375 | 2684187.5325 | 1251717.966 | 2684161.7179 | 1251716.8985 | 2684133.9085 | 1251715.7547
3 | 2684189.5544 | 1251865.6389 | 2684190.6966 | 1251835.7326 | 2684190.7681 | 1251833.8878 | 2684192.1838 | 1251797.4917
4 | 2684071.0157 | 1251712.3633 | 2684098.9388 | 1251714.3165 | 2684133.9085 | 1251715.7547
5 | 2684189.5544 | 1251865.6389 | 2684178.0049 | 1251865.1856 | 2684161.9365 | 1251864.568 | 2684115.0668 | 1251862.7456 | 2684084.6236 | 1251861.5699
6 | 2684031.8255 | 1251635.7722 | 2684031.1285 | 1251655.6328 | 2684031.0423 | 1251663.304 | 2684030.4378 | 1251678.7737 | 2684030.3348 | 1251682.3082 | 2684048.7082 | 1251684.3592 | 2684072.4376 | 1251686.1082 | 2684071.8686 | 1251694.8177 | 2684071.4461 | 1251701.1832 | 2684071.0157 | 1251712.3633
7 | 2684071.0157 | 1251712.3633 | 2684071.4461 | 1251701.1832 | 2684071.8686 | 1251694.8177 | 2684079.0179 | 1251695.264 | 2684094.0395 | 1251696.2778 | 2684103.1598 | 1251696.6631
8 | 2684058.7372 | 1251700.4913 | 2684058.965 | 1251702.5294 | 2684071.0157 | 1251712.3633
9 | 2684103.1598 | 1251696.6631 | 2684104.2994 | 1251685.5154
10 | 2684058.7372 | 1251700.4913 | 2684030.5478 | 1251697.6227 | 2684010.3808 | 1251695.6616
11 | 2683910.6306 | 1251690.6406 | 2683912.498 | 1251688.8323 | 2683914.5844 | 1251688.0835 | 2683935.6174 | 1251689.4157 | 2683946.6409 | 1251690.2614 | 2683951.9951 | 1251690.6153 | 2683998.0147 | 1251694.4591 | 2684010.3808 | 1251695.6616
12 | 2684031.8255 | 1251635.7722 | 2684032.4623 | 1251611.1072
13 | 2683833.3936 | 1252006.0285 | 2683815.7787 | 1252020.3123 | 2683814.2947 | 1252025.4396 | 2683813.7943 | 1252031.993 | 2683815.2283 | 1252037.8621 | 2683825.1964 | 1252048.7001 | 2683831.8211 | 1252054.7206
14 | 2683886.8185 | 1251955.2909 | 2683883.4636 | 1251959.8135 | 2683882.7415 | 1251964.9627 | 2683884.2195 | 1251970.3877 | 2683899.2137 | 1251988.2022 | 2683900.5184 | 1251992.0124 | 2683897.8759 | 1251996.8564 | 2683839.2798 | 1252046.0863 | 2683831.8211 | 1252054.7206
15 | 2683831.8211 | 1252054.7206 | 2683881.3708 | 1252062.7945 | 2683887.6248 | 1252063.4031
16 | 2683886.8185 | 1251955.2909 | 2683890.8998 | 1251954.9039 | 2683905.0665 | 1251956.0164 | 2683907.0494 | 1251956.1669 | 2683904.6991 | 1251947.3158 | 2683900.3671 | 1251932.8992 | 2683898.2829 | 1251915.3899 | 2683899.482 | 1251897.3489 | 2683897.4304 | 1251881.7971
17 | 2683886.8185 | 1251955.2909 | 2683868.3947 | 1251957.3873 | 2683821.4336 | 1251998.6256
18 | 2683897.4304 | 1251881.7971 | 2683896.8571 | 1251879.046
19 | 2683894.2557 | 1251864.0055 | 2683895.4044 | 1251867.1018 | 2683896.3986 | 1251876.8454 | 2683896.8571 | 1251879.046
20 | 2683893.3283 | 1251850.0819 | 2683894.2618 | 1251847.5932 | 2683894.1664 | 1251843.133 | 2683897.7268 | 1251842.7609 | 2683900.9242 | 1251842.4392 | 2683903.6606 | 1251842.1555 | 2683905.5579 | 1251841.96 | 2683912.0133 | 1251841.2954 | 2683914.4474 | 1251841.0408 | 2683917.7507 | 1251840.6984 | 2683921.1108 | 1251828.3589 | 2683914.699 | 1251765.2208 | 2683914.9595 | 1251756.429 | 2683913.2405 | 1251740.8374 | 2683912.675 | 1251734.4024 | 2683911.8736 | 1251727.041 | 2683911.3956 | 1251722.9534 | 2683911.1937 | 1251721.2159 | 2683910.2383 | 1251711.4062 | 2683908.804 | 1251697.0306 | 2683910.6306 | 1251690.6406
21 | 2683893.3283 | 1251850.0819 | 2683893.5035 | 1251852.6307 | 2683893.8266 | 1251857.5279 | 2683894.1119 | 1251861.9018 | 2683894.2557 | 1251864.0055
22 | 2683893.3283 | 1251850.0819 | 2683891.1 | 1251851.2623 | 2683887.6742 | 1251851.7253 | 2683878.7994 | 1251851.3278
23 | 2683878.7994 | 1251851.3278 | 2683876.7818 | 1251851.2374 | 2683868.7461 | 1251850.7381
24 | 2683826.0357 | 1251856.112 | 2683826.8284 | 1251857.1684 | 2683826.9332 | 1251861.4953
25 | 2683826.0357 | 1251856.112 | 2683826.0394 | 1251852.1201 | 2683826.0379 | 1251847.9614 | 2683828.0696 | 1251847.8679 | 2683830.1752 | 1251846.8191 | 2683837.3433 | 1251846.9984 | 2683843.5378 | 1251847.1639
26 | 2683826.0357 | 1251856.112 | 2683824.5918 | 1251855.7357 | 2683788.9941 | 1251856.3772 | 2683782.9841 | 1251856.897
27 | 2683826.9332 | 1251861.4953 | 2683834.0342 | 1251861.607 | 2683844.1491 | 1251861.9658
28 | 2683843.5378 | 1251847.1639 | 2683845.3274 | 1251848.7126 | 2683848.2756 | 1251849.466 | 2683856.7174 | 1251849.9906
29 | 2683843.5378 | 1251847.1639 | 2683842.9774 | 1251844.6319 | 2683843.1851 | 1251841.2321
30 | 2683782.9841 | 1251856.897 | 2683757.3553 | 1251859.1137
31 | 2683856.7174 | 1251849.9906 | 2683868.7461 | 1251850.7381
32 | 2683844.1252 | 1251821.6754 | 2683843.3311 | 1251838.8437 | 2683843.1851 | 1251841.2321
33 | 2683844.1252 | 1251821.6754 | 2683852.6437 | 1251821.896 | 2683857.7689 | 1251821.3571
34 | 2683863.9587 | 1251862.6685 | 2683844.1491 | 1251861.9658

## bus_geodata
| x | y | coords
0 | 2684192.2656 | 1251795.388
1 | 2684194.2221 | 1251716.2375
2 | 2684192.1838 | 1251797.4917
3 | 2684133.9085 | 1251715.7547
4 | 2684189.5544 | 1251865.6389
5 | 2684071.0157 | 1251712.3633
6 | 2684103.1598 | 1251696.6631
7 | 2684104.2994 | 1251685.5154
8 | 2684058.7372 | 1251700.4913
9 | 2684010.3808 | 1251695.6616
10 | 2684031.8255 | 1251635.7722
11 | 2684032.4623 | 1251611.1072
12 | 2683831.8211 | 1252054.7206
13 | 2683833.3936 | 1252006.0285
14 | 2683886.8185 | 1251955.2909
15 | 2683887.6248 | 1252063.4031
16 | 2683897.4304 | 1251881.7971
17 | 2683821.4336 | 1251998.6256
18 | 2683896.8571 | 1251879.046
19 | 2683910.6306 | 1251690.6406
20 | 2683893.3283 | 1251850.0819
21 | 2683894.2557 | 1251864.0055
22 | 2683878.7994 | 1251851.3278
23 | 2683826.0357 | 1251856.1119
24 | 2683826.9332 | 1251861.4953
25 | 2683843.5378 | 1251847.1639
26 | 2683782.9841 | 1251856.897
27 | 2683856.7174 | 1251849.9906
28 | 2683843.1851 | 1251841.2321
29 | 2683844.1252 | 1251821.6754
30 | 2683857.7689 | 1251821.3571
31 | 2684084.6236 | 1251861.5699
32 | 2683868.7461 | 1251850.7381
33 | 2683844.1491 | 1251861.9658
34 | 2683757.3553 | 1251859.1137
35 | 2683863.9587 | 1251862.6685
36 | 2683894.1664 | 1251843.133

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9733 | -0.51326 | 0.077075 | 0.019317
1 | 0.97624 | -0.45549 | 0 | 0
2 | 0.9733 | -0.51336 | 0 | 0
3 | 0.97773 | -0.42618 | 0.010185 | 0.0025527
4 | 0.97315 | -0.51635 | 0 | 0
5 | 0.97949 | -0.39192 | 0 | 0
6 | 0.97703 | -0.44012 | 0 | 0
7 | 0.97646 | -0.4512 | 0.054105 | 0.01356
8 | 0.98051 | -0.37197 | 0 | 0
9 | 0.98333 | -0.31713 | 0.0022455 | 0.00056277
10 | 0.97482 | -0.48339 | 0 | 0
11 | 0.97382 | -0.50311 | 0.043519 | 0.010907
12 | 0.98368 | -0.31349 | 0 | 0
13 | 0.98195 | -0.34722 | 0.029106 | 0.0072947
14 | 0.99127 | -0.16663 | 0 | 0
15 | 0.98207 | -0.34492 | 0.030837 | 0.0077284
16 | 0.99667 | -0.06343 | 0 | 0
17 | 0.99119 | -0.16813 | 0.0010393 | 0.00026047
18 | 0.99683 | -0.060423 | 0.05695 | 0.014273
19 | 0.98927 | -0.20288 | 0 | 0
20 | 1 | 0 | -0.51518 | -0.13129
21 | 0.99849 | -0.02873 | 0 | 0
22 | 0.9991 | -0.017231 | 0.011447 | 0.0028689
23 | 0.99547 | -0.086809 | 0 | 0
24 | 0.99511 | -0.093894 | 0.007474 | 0.0018732
25 | 0.99717 | -0.054177 | 0 | 0
26 | 0.99263 | -0.14174 | 0.02618 | 0.0065614
27 | 0.99788 | -0.040663 | 0.0097215 | 0.0024364
28 | 0.99704 | -0.056638 | 0.010828 | 0.0027137
29 | 0.99682 | -0.060954 | 0 | 0
30 | 0.99666 | -0.06397 | 0.01257 | 0.0031503
31 | 0.97291 | -0.52095 | 0.0023799 | 0.00059646
32 | 0.99852 | -0.028252 | 0.011305 | 0.0028332
33 | 0.9941 | -0.11326 | 0.032825 | 0.0082266
34 | 0.99154 | -0.16271 | 0.04603 | 0.011536
35 | 0.99354 | -0.12409 | 0.030981 | 0.0077646
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.079456 | -0.019912 | 0.079675 | 0.02005 | 0.00021934 | 0.0001384 | 0.12147 | 0.12147 | 0.12147 | 0.9733 | -0.51326 | 0.97624 | -0.45549 | 16.6859
1 | 0.0023808 | 0.00059484 | -0.0023808 | -0.00059486 | 1.0456e-08 | -1.9474e-08 | 0.0036391 | 0.0036391 | 0.0036391 | 0.9733 | -0.51326 | 0.9733 | -0.51336 | 0.99976
2 | -0.079675 | -0.02005 | 0.079787 | 0.020119 | 0.00011173 | 6.9234e-05 | 0.12147 | 0.12147 | 0.12147 | 0.97624 | -0.45549 | 0.97773 | -0.42618 | 11.1239
3 | 0.0023808 | 0.00059486 | -0.0023804 | -0.00059549 | 3.3872e-07 | -6.3066e-07 | 0.0036391 | 0.0036394 | 0.0036394 | 0.9733 | -0.51336 | 0.97315 | -0.51635 | 0.99985
4 | -0.089972 | -0.022672 | 0.09012 | 0.022764 | 0.00014772 | 9.217e-05 | 0.13697 | 0.13697 | 0.13697 | 0.97773 | -0.42618 | 0.97949 | -0.39192 | 12.5433
5 | 0.0023804 | 0.00059549 | -0.0023799 | -0.00059646 | 5.2166e-07 | -9.7048e-07 | 0.0036394 | 0.0036399 | 0.0036399 | 0.97315 | -0.51635 | 0.97291 | -0.52095 | 0.99998
6 | 0.043751 | 0.011053 | -0.04356 | -0.010933 | 0.00019092 | 0.00012075 | 0.066497 | 0.066497 | 0.066497 | 0.97949 | -0.39192 | 0.97482 | -0.48339 | 18.2685
7 | 0.054258 | 0.013657 | -0.054133 | -0.013578 | 0.00012469 | 7.919e-05 | 0.082449 | 0.082449 | 0.082449 | 0.97949 | -0.39192 | 0.97703 | -0.44012 | 22.6508
8 | -0.18813 | -0.047475 | 0.18831 | 0.047589 | 0.0001799 | 0.00011447 | 0.28592 | 0.28592 | 0.28592 | 0.97949 | -0.39192 | 0.98051 | -0.37197 | 26.1829
9 | 0.054133 | 0.013578 | -0.054105 | -0.01356 | 2.8566e-05 | 1.8142e-05 | 0.082449 | 0.082449 | 0.082449 | 0.97703 | -0.44012 | 0.97646 | -0.4512 | 22.6508
10 | -0.18831 | -0.047589 | 0.1888 | 0.047905 | 0.00049659 | 0.00031598 | 0.28592 | 0.28592 | 0.28592 | 0.98051 | -0.37197 | 0.98333 | -0.31713 | 26.1829
11 | -0.19105 | -0.048468 | 0.19211 | 0.04914 | 0.0010559 | 0.0006719 | 0.28931 | 0.28931 | 0.28931 | 0.98333 | -0.31713 | 0.98927 | -0.20288 | 26.494
12 | 0.04356 | 0.010933 | -0.043519 | -0.010907 | 4.0914e-05 | 2.5877e-05 | 0.066497 | 0.066498 | 0.066498 | 0.97482 | -0.48339 | 0.97382 | -0.50311 | 18.2686
13 | 0.029153 | 0.0073238 | -0.029106 | -0.0072947 | 4.6859e-05 | 2.9176e-05 | 0.044106 | 0.044106 | 0.044106 | 0.98368 | -0.31349 | 0.98195 | -0.34722 | 12.1171
14 | -0.060036 | -0.015081 | 0.06046 | 0.015351 | 0.00042398 | 0.00026959 | 0.090829 | 0.090828 | 0.090829 | 0.98368 | -0.31349 | 0.99127 | -0.16663 | 24.953
15 | 0.030883 | 0.0077573 | -0.030837 | -0.0077284 | 4.6242e-05 | 2.8879e-05 | 0.046723 | 0.046723 | 0.046723 | 0.98368 | -0.31349 | 0.98207 | -0.34492 | 12.836
16 | -0.061499 | -0.01561 | 0.061806 | 0.015805 | 0.00030699 | 0.00019523 | 0.092388 | 0.092388 | 0.092388 | 0.99127 | -0.16663 | 0.99667 | -0.06343 | 25.3813
17 | 0.0010394 | 0.00025947 | -0.0010393 | -0.00026047 | 7.3961e-08 | -9.9728e-07 | 0.0015599 | 0.0015602 | 0.0015602 | 0.99127 | -0.16663 | 0.99119 | -0.16813 | 0.42863
18 | -0.061806 | -0.015805 | 0.061815 | 0.015811 | 8.9949e-06 | 5.7201e-06 | 0.092388 | 0.092388 | 0.092388 | 0.99667 | -0.06343 | 0.99683 | -0.060423 | 25.3812
19 | -0.11876 | -0.030084 | 0.11895 | 0.0302 | 0.00018109 | 0.0001157 | 0.1774 | 0.1774 | 0.1774 | 0.99683 | -0.060423 | 0.99849 | -0.02873 | 48.7359
20 | -0.19211 | -0.04914 | 0.19401 | 0.050353 | 0.0019067 | 0.0012132 | 0.28931 | 0.28931 | 0.28931 | 0.98927 | -0.20288 | 1 | 0 | 26.4939
21 | 0.11911 | 0.030305 | -0.11895 | -0.0302 | 0.00016468 | 0.00010521 | 0.1774 | 0.1774 | 0.1774 | 1 | 0 | 0.99849 | -0.02873 | 48.7358
22 | 0.20041 | 0.050629 | -0.20024 | -0.050524 | 0.00016537 | 0.00010525 | 0.29835 | 0.29835 | 0.29835 | 1 | 0 | 0.9991 | -0.017231 | 27.3214
23 | 0.18879 | 0.047655 | -0.18869 | -0.047591 | 9.9613e-05 | 6.3357e-05 | 0.2813 | 0.2813 | 0.2813 | 0.9991 | -0.017231 | 0.99852 | -0.028252 | 25.7601
24 | 0.071379 | 0.017927 | -0.071355 | -0.017912 | 2.4121e-05 | 1.5364e-05 | 0.10671 | 0.10671 | 0.10671 | 0.99547 | -0.086809 | 0.99511 | -0.093894 | 29.3157
25 | -0.14382 | -0.036175 | 0.14405 | 0.036318 | 0.00022458 | 0.00014306 | 0.21503 | 0.21503 | 0.21503 | 0.99547 | -0.086809 | 0.99717 | -0.054177 | 29.5374
26 | 0.072446 | 0.018248 | -0.072256 | -0.018127 | 0.00018977 | 0.0001209 | 0.10832 | 0.10832 | 0.10832 | 0.99547 | -0.086809 | 0.99263 | -0.14174 | 29.7592
27 | 0.063881 | 0.016039 | -0.063822 | -0.016001 | 5.8945e-05 | 3.7502e-05 | 0.095533 | 0.095533 | 0.095533 | 0.99511 | -0.093894 | 0.9941 | -0.11326 | 26.2453
28 | -0.16745 | -0.042186 | 0.16756 | 0.042255 | 0.0001083 | 6.8772e-05 | 0.24996 | 0.24996 | 0.24996 | 0.99717 | -0.054177 | 0.99788 | -0.040663 | 22.8899
29 | 0.023405 | 0.005868 | -0.023402 | -0.0058664 | 2.7444e-06 | 1.6782e-06 | 0.034926 | 0.034926 | 0.034926 | 0.99717 | -0.054177 | 0.99704 | -0.056638 | 9.5951
30 | 0.046076 | 0.011565 | -0.04603 | -0.011536 | 4.6031e-05 | 2.9128e-05 | 0.069078 | 0.069078 | 0.069078 | 0.99263 | -0.14174 | 0.99154 | -0.16271 | 18.9774
31 | -0.17728 | -0.044691 | 0.17739 | 0.044758 | 0.00010536 | 6.6957e-05 | 0.26445 | 0.26445 | 0.26445 | 0.99788 | -0.040663 | 0.99852 | -0.028252 | 24.2175
32 | 0.012574 | 0.0031527 | -0.012572 | -0.0031513 | 2.5859e-06 | 1.3997e-06 | 0.018767 | 0.018767 | 0.018767 | 0.99704 | -0.056638 | 0.99682 | -0.060954 | 5.1557
33 | 0.012572 | 0.0031513 | -0.01257 | -0.0031503 | 1.8061e-06 | 9.7765e-07 | 0.018767 | 0.018767 | 0.018767 | 0.99682 | -0.060954 | 0.99666 | -0.06397 | 5.1557
34 | 0.030997 | 0.0077746 | -0.030981 | -0.0077646 | 1.6004e-05 | 9.9854e-06 | 0.0464 | 0.0464 | 0.0464 | 0.9941 | -0.11326 | 0.99354 | -0.12409 | 12.7472

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51518 | 0.13129

## res_load
| p_mw | q_mvar
0 | 0.077075 | 0.019317
1 | 0.010185 | 0.0025527
2 | 0.054105 | 0.01356
3 | 0.0022455 | 0.00056277
4 | 0.043519 | 0.010907
5 | 0.029106 | 0.0072947
6 | 0.030837 | 0.0077284
7 | 0.0010393 | 0.00026047
8 | 0.05695 | 0.014273
9 | 0.011447 | 0.0028689
10 | 0.007474 | 0.0018732
11 | 0.02618 | 0.0065614
12 | 0.0097215 | 0.0024364
13 | 0.010828 | 0.0027137
14 | 0.01257 | 0.0031503
15 | 0.0023799 | 0.00059646
16 | 0.011305 | 0.0028332
17 | 0.032825 | 0.0082266
18 | 0.04603 | 0.011536
19 | 0.030981 | 0.0077646

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1