## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-152_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-152_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-152_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-152_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_261-152_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_261-152_0_5_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_261-152_0_5_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_261-152_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_261-152_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_261-152_0_5_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_261-152_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_261-152_0_5_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_261-152_0_5_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_261-152_0_5_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_261-152_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-152_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_261-152_0_5_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_261-152_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-152_0_5_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_261-152_0_5_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_261-152_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_261-152_0_5_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_261-152_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_261-152_0_5_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_261-152_0_5_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_261-152_0_5_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_261-152_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_261-152_0_5_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_261-152_0_5_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_261-152_0_5_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_261-152_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_261-152_0_5_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_261-152_0_5_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_261-152_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_261-152_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_261-152_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_261-152_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_261-152_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_261-152_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_261-152_0_5_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_261-152_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_261-152_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_261-152_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_MV_543_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-152_0_5_load_0 | 0 | 0.031214 | 0.007823 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-152_0_5_load_17 | 5 | 0.03554 | 0.0089072 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-152_0_5_load_47 | 6 | 0.0012357 | 0.0003097 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-152_0_5_load_34 | 9 | 0.027424 | 0.0068731 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-152_0_5_load_48 | 11 | 0.0051147 | 0.0012819 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-152_0_5_load_27 | 12 | 0.0053719 | 0.0013463 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-152_0_5_load_45 | 13 | 0.0055271 | 0.0013852 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-152_0_5_load_21 | 16 | 0.095355 | 0.023898 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-152_0_5_load_19 | 18 | 0.019864 | 0.0049784 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-152_0_5_load_18 | 19 | 0.011662 | 0.0029227 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-152_0_5_load_44 | 21 | 0.016907 | 0.0042373 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-152_0_5_load_20 | 22 | 0.090115 | 0.022585 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-152_0_5_load_46 | 23 | 0.0012435 | 0.00031165 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-152_0_5_load_35 | 24 | 0.010643 | 0.0026673 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-152_0_5_load_32 | 25 | 0.005193 | 0.0013015 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-152_0_5_load_26 | 26 | 0.0052431 | 0.0013141 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-152_0_5_load_39 | 27 | 0.0054538 | 0.0013669 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-152_0_5_load_37 | 28 | 0.0046037 | 0.0011538 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-152_0_5_load_38 | 29 | 0.0046849 | 0.0011741 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-152_0_5_load_43 | 30 | 0.025735 | 0.0064499 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-152_0_5_load_42 | 31 | 0.052587 | 0.013179 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-152_0_5_load_40 | 32 | 0.012767 | 0.0031997 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-152_0_5_load_41 | 34 | 0.038872 | 0.0097421 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-152_0_5_load_22 | 35 | 0.0054454 | 0.0013647 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-152_0_5_load_25 | 37 | 0.013024 | 0.0032641 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-152_0_5_load_33 | 38 | 0.0055539 | 0.0013919 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-152_0_5_load_31 | 39 | 0.0072213 | 0.0018098 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-152_0_5_load_29 | 40 | 0.012625 | 0.0031641 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-152_0_5_load_30 | 41 | 0.0051955 | 0.0013021 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-152_0_5_load_36 | 42 | 0.0012406 | 0.00031092 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-152_0_5_line_0 |  | 0 | 1 | 0.0079355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-152_0_5_line_1 |  | 1 | 2 | 0.036456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-152_0_5_line_2 |  | 2 | 4 | 0.014559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_261-152_0_5_line_3 |  | 2 | 6 | 0.0080156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_261-152_0_5_line_4 |  | 3 | 4 | 0.0097445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-152_0_5_line_5 |  | 3 | 5 | 0.017823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-152_0_5_line_6 |  | 4 | 13 | 0.010419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-152_0_5_line_7 |  | 4 | 10 | 0.029765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_261-152_0_5_line_8 |  | 6 | 23 | 0.010055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_261-152_0_5_line_9 |  | 7 | 8 | 0.004375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_261-152_0_5_line_10 |  | 7 | 9 | 0.012255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_261-152_0_5_line_11 |  | 8 | 20 | 0.0081505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_261-152_0_5_line_12 |  | 8 | 21 | 0.027498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-152_0_5_line_13 |  | 9 | 24 | 0.030392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_261-152_0_5_line_14 |  | 10 | 11 | 0.015063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_261-152_0_5_line_15 |  | 10 | 12 | 0.016554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-152_0_5_line_16 |  | 11 | 25 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_261-152_0_5_line_17 |  | 12 | 26 | 0.030908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-152_0_5_line_18 |  | 13 | 27 | 0.0097671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-152_0_5_line_19 |  | 14 | 15 | 0.11351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_261-152_0_5_line_20 |  | 14 | 16 | 0.068185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_261-152_0_5_line_21 |  | 15 | 18 | 0.011075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-152_0_5_line_22 |  | 16 | 22 | 0.030892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_261-152_0_5_line_23 |  | 17 | 18 | 0.038134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-152_0_5_line_24 |  | 17 | 19 | 0.028149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-152_0_5_line_25 |  | 20 | 22 | 0.10228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_261-152_0_5_line_26 |  | 21 | 30 | 0.0018101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-152_0_5_line_27 |  | 23 | 42 | 0.027813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_261-152_0_5_line_28 |  | 24 | 42 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_261-152_0_5_line_29 |  | 25 | 41 | 0.0096499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_261-152_0_5_line_30 |  | 27 | 29 | 0.022861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-152_0_5_line_31 |  | 28 | 29 | 0.0094212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-152_0_5_line_32 |  | 30 | 31 | 0.027536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-152_0_5_line_33 |  | 32 | 33 | 0.01492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_261-152_0_5_line_34 |  | 33 | 34 | 0.013439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-152_0_5_line_35 |  | 33 | 36 | 0.005469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_261-152_0_5_line_36 |  | 35 | 36 | 0.014004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-152_0_5_line_37 |  | 36 | 37 | 0.017036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_261-152_0_5_line_38 |  | 37 | 38 | 0.0018836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_261-152_0_5_line_39 |  | 38 | 39 | 0.0047323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_261-152_0_5_line_40 |  | 39 | 40 | 0.01425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_261-152_0_5_line_41 |  | 40 | 41 | 0.00032163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-152_0_5_trafo_40 | 0.63 MVA 20/0.4 kV | 43 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2683835.6152 | 1251772.3291 | 2683841.3018 | 1251766.7943
1 | 2683815.6436 | 1251751.4865 | 2683820.3583 | 1251749.5517 | 2683824.5036 | 1251747.8535 | 2683835.6152 | 1251772.3291
2 | 2683809.5659 | 1251738.2573 | 2683812.3351 | 1251744.1898 | 2683815.6436 | 1251751.4865
3 | 2683815.6436 | 1251751.4865 | 2683818.7369 | 1251758.8811
4 | 2683809.5659 | 1251738.2573 | 2683814.6599 | 1251736.1945 | 2683818.5998 | 1251734.6045
5 | 2683818.5998 | 1251734.6045 | 2683811.4613 | 1251718.2734
6 | 2683809.5659 | 1251738.2573 | 2683805.3265 | 1251728.7398
7 | 2683809.5659 | 1251738.2573 | 2683812.3351 | 1251744.1898 | 2683807.721 | 1251745.9481 | 2683790.6818 | 1251752.5677
8 | 2683818.7369 | 1251758.8811 | 2683822.6175 | 1251768.1575
9 | 2683826.0379 | 1251847.9614 | 2683828.0696 | 1251847.8679 | 2683830.1752 | 1251846.8191
10 | 2683830.1752 | 1251846.8191 | 2683832.2287 | 1251845.1914 | 2683832.8632 | 1251843.5547 | 2683833.1563 | 1251835.6806
11 | 2683826.0379 | 1251847.9614 | 2683826.0394 | 1251852.1201 | 2683826.0357 | 1251856.112
12 | 2683826.0379 | 1251847.9614 | 2683811.8805 | 1251848.3059 | 2683798.5449 | 1251848.4659
13 | 2683833.051 | 1251805.3347 | 2683833.7933 | 1251813.0449 | 2683833.582 | 1251824.2392 | 2683833.1563 | 1251835.6806
14 | 2683790.6818 | 1251752.5677 | 2683796.4195 | 1251766.4946
15 | 2683790.6818 | 1251752.5677 | 2683784.1549 | 1251737.3544
16 | 2683796.4195 | 1251766.4946 | 2683799.9714 | 1251775.1159 | 2683799.5658 | 1251778.7129 | 2683797.5823 | 1251781.2645 | 2683789.2768 | 1251784.4624
17 | 2683784.1549 | 1251737.3544 | 2683781.0729 | 1251730.1706 | 2683778.4382 | 1251728.0651 | 2683774.6345 | 1251727.4887 | 2683759.8359 | 1251733.224
18 | 2683801.3524 | 1251719.8178 | 2683805.3265 | 1251728.7398
19 | 2683627.4717 | 1251848.0672 | 2683625.8918 | 1251849.8352 | 2683623.9643 | 1251855.9125 | 2683620.545 | 1251872.4878 | 2683621.0302 | 1251897.4578 | 2683621.177 | 1251900.9625 | 2683621.0674 | 1251907.1211 | 2683620.5011 | 1251917.2874 | 2683626.8476 | 1251922.1918 | 2683637.0577 | 1251935.1678 | 2683647.0405 | 1251949.2749 | 2683646.0496 | 1251949.9614
20 | 2683627.4717 | 1251848.0672 | 2683629.0256 | 1251847.0662 | 2683631.2581 | 1251846.6529 | 2683677.3495 | 1251858.1566 | 2683681.0581 | 1251856.3743 | 2683693.2761 | 1251858.7463
21 | 2683646.0496 | 1251949.9614 | 2683652.2627 | 1251959.1295
22 | 2683693.2761 | 1251858.7463 | 2683694.2159 | 1251858.9287 | 2683711.5242 | 1251861.0081 | 2683724.024 | 1251861.2383
23 | 2683675.0864 | 1251985.1977 | 2683670.9843 | 1251987.0634 | 2683662.0422 | 1251973.5604 | 2683652.2627 | 1251959.1295
24 | 2683675.0864 | 1251985.1977 | 2683682.9712 | 1251982.1846 | 2683686.6521 | 1251962.8236
25 | 2683826.0357 | 1251856.112 | 2683824.5918 | 1251855.7357 | 2683788.9941 | 1251856.3772 | 2683740.3785 | 1251860.5821 | 2683729.7025 | 1251861.3429 | 2683724.024 | 1251861.2383
26 | 2683796.735 | 1251848.4877 | 2683798.5449 | 1251848.4659
27 | 2683831.4739 | 1251794.4082 | 2683829.1432 | 1251783.7572 | 2683822.6175 | 1251768.1575
28 | 2683831.4739 | 1251794.4082 | 2683832.4114 | 1251798.6924 | 2683833.051 | 1251805.3347
29 | 2683780.2714 | 1251787.9298 | 2683789.2768 | 1251784.4624
30 | 2683801.3524 | 1251719.8178 | 2683792.0506 | 1251698.9349
31 | 2683792.0506 | 1251698.9349 | 2683788.2172 | 1251690.3288
32 | 2683796.735 | 1251848.4877 | 2683789.346 | 1251848.5763 | 2683770.9448 | 1251849.5836 | 2683769.2294 | 1251849.6778
33 | 2683739.4854 | 1251803.6379 | 2683743.8122 | 1251817.9169
34 | 2683739.4854 | 1251803.6379 | 2683730.4788 | 1251804.3 | 2683726.0827 | 1251803.9705
35 | 2683744.6007 | 1251801.6642 | 2683739.4854 | 1251803.6379
36 | 2683744.6007 | 1251801.6642 | 2683739.6605 | 1251788.5603
37 | 2683744.6007 | 1251801.6642 | 2683760.4992 | 1251795.5428
38 | 2683762.257 | 1251794.866 | 2683760.4992 | 1251795.5428
39 | 2683762.257 | 1251794.866 | 2683766.6733 | 1251793.1656
40 | 2683766.6733 | 1251793.1656 | 2683779.9713 | 1251788.0454
41 | 2683779.9713 | 1251788.0454 | 2683780.2714 | 1251787.9298

## bus_geodata
| x | y | coords
0 | 2683841.3017 | 1251766.7943
1 | 2683835.6152 | 1251772.3291
2 | 2683815.6436 | 1251751.4865
3 | 2683818.5998 | 1251734.6045
4 | 2683809.5659 | 1251738.2573
5 | 2683811.4613 | 1251718.2734
6 | 2683818.7369 | 1251758.8811
7 | 2683830.1752 | 1251846.8191
8 | 2683826.0379 | 1251847.9614
9 | 2683833.1563 | 1251835.6806
10 | 2683790.6818 | 1251752.5677
11 | 2683796.4195 | 1251766.4946
12 | 2683784.1549 | 1251737.3544
13 | 2683805.3265 | 1251728.7398
14 | 2683627.4717 | 1251848.0672
15 | 2683646.0496 | 1251949.9614
16 | 2683693.2761 | 1251858.7463
17 | 2683675.0864 | 1251985.1977
18 | 2683652.2627 | 1251959.1295
19 | 2683686.6521 | 1251962.8236
20 | 2683826.0357 | 1251856.1119
21 | 2683798.5449 | 1251848.4659
22 | 2683724.024 | 1251861.2383
23 | 2683822.6175 | 1251768.1575
24 | 2683833.051 | 1251805.3347
25 | 2683789.2768 | 1251784.4624
26 | 2683759.8359 | 1251733.224
27 | 2683801.3524 | 1251719.8178
28 | 2683788.2172 | 1251690.3288
29 | 2683792.0506 | 1251698.9349
30 | 2683796.735 | 1251848.4877
31 | 2683769.2294 | 1251849.6778
32 | 2683743.8122 | 1251817.9169
33 | 2683739.4854 | 1251803.6379
34 | 2683726.0827 | 1251803.9705
35 | 2683739.6605 | 1251788.5603
36 | 2683744.6007 | 1251801.6642
37 | 2683760.4992 | 1251795.5428
38 | 2683762.257 | 1251794.866
39 | 2683766.6733 | 1251793.1656
40 | 2683779.9713 | 1251788.0454
41 | 2683780.2714 | 1251787.9298
42 | 2683831.4739 | 1251794.4082
43 | 2683739.4854 | 1251803.6379

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98551 | -0.27668 | 0.031214 | 0.007823
1 | 0.98573 | -0.27224 | 0 | 0
2 | 0.98678 | -0.25185 | 0 | 0
3 | 0.9875 | -0.23798 | 0 | 0
4 | 0.98782 | -0.23179 | 0 | 0
5 | 0.98692 | -0.24931 | 0.03554 | 0.0089072
6 | 0.98625 | -0.26202 | 0.0012357 | 0.0003097
7 | 0.98043 | -0.37504 | 0 | 0
8 | 0.98017 | -0.37999 | 0 | 0
9 | 0.98114 | -0.36117 | 0.027424 | 0.0068731
10 | 0.99026 | -0.185 | 0 | 0
11 | 0.99152 | -0.16085 | 0.0051147 | 0.0012819
12 | 0.9901 | -0.18813 | 0.0053719 | 0.0013463
13 | 0.98763 | -0.23556 | 0.0055271 | 0.0013852
14 | 0.97458 | -0.4896 | 0 | 0
15 | 0.97291 | -0.5225 | 0 | 0
16 | 0.97498 | -0.48171 | 0.095355 | 0.023898
17 | 0.97217 | -0.53713 | 0 | 0
18 | 0.97259 | -0.52893 | 0.019864 | 0.0049784
19 | 0.97187 | -0.54319 | 0.011662 | 0.0029227
20 | 0.97984 | -0.38642 | 0 | 0
21 | 0.97774 | -0.42762 | 0.016907 | 0.0042373
22 | 0.97571 | -0.46735 | 0.090115 | 0.022585
23 | 0.98559 | -0.27474 | 0.0012435 | 0.00031165
24 | 0.98306 | -0.32386 | 0.010643 | 0.0026673
25 | 0.99365 | -0.12031 | 0.005193 | 0.0013015
26 | 0.98995 | -0.19101 | 0.0052431 | 0.0013141
27 | 0.9875 | -0.23814 | 0.0054538 | 0.0013669
28 | 0.98726 | -0.24271 | 0.0046037 | 0.0011538
29 | 0.9873 | -0.24193 | 0.0046849 | 0.0011741
30 | 0.97761 | -0.4302 | 0.025735 | 0.0064499
31 | 0.97626 | -0.45665 | 0.052587 | 0.013179
32 | 1 | 0 | -0.56093 | -0.14379
33 | 0.99848 | -0.028648 | 0 | 0
34 | 0.99801 | -0.037786 | 0.038872 | 0.0097421
35 | 0.99789 | -0.039762 | 0.0054454 | 0.0013647
36 | 0.99796 | -0.038427 | 0 | 0
37 | 0.99637 | -0.068627 | 0.013024 | 0.0032641
38 | 0.9962 | -0.071886 | 0.0055539 | 0.0013919
39 | 0.99577 | -0.079986 | 0.0072213 | 0.0018098
40 | 0.9945 | -0.10406 | 0.012625 | 0.0031641
41 | 0.99447 | -0.10459 | 0.0051955 | 0.0013021
42 | 0.98378 | -0.30989 | 0.0012406 | 0.00031092
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.031214 | -0.007823 | 0.031221 | 0.0078271 | 6.61e-06 | 4.1293e-06 | 0.04713 | 0.04713 | 0.04713 | 0.98551 | -0.27668 | 0.98573 | -0.27224 | 12.9479
1 | -0.031221 | -0.0078271 | 0.031251 | 0.0078461 | 3.0367e-05 | 1.8969e-05 | 0.04713 | 0.04713 | 0.04713 | 0.98573 | -0.27224 | 0.98678 | -0.25185 | 12.9479
2 | -0.38875 | -0.098779 | 0.38913 | 0.099018 | 0.00037585 | 0.00023961 | 0.5867 | 0.5867 | 0.5867 | 0.98678 | -0.25185 | 0.98782 | -0.23179 | 32.2363
3 | 0.3575 | 0.090933 | -0.35733 | -0.090821 | 0.00017502 | 0.0001115 | 0.53957 | 0.53957 | 0.53957 | 0.98678 | -0.25185 | 0.98625 | -0.26202 | 29.6467
4 | -0.035559 | -0.0089193 | 0.03557 | 0.0089259 | 1.0492e-05 | 6.5905e-06 | 0.053585 | 0.053585 | 0.053585 | 0.9875 | -0.23798 | 0.98782 | -0.23179 | 14.7212
5 | 0.035559 | 0.0089193 | -0.03554 | -0.0089072 | 1.9191e-05 | 1.2055e-05 | 0.053585 | 0.053585 | 0.053585 | 0.9875 | -0.23798 | 0.98692 | -0.24931 | 14.7212
6 | 0.020277 | 0.005084 | -0.020273 | -0.0050818 | 3.6453e-06 | 2.1996e-06 | 0.030545 | 0.030545 | 0.030545 | 0.98782 | -0.23179 | 0.98763 | -0.23556 | 8.3915
7 | -0.44497 | -0.11303 | 0.44598 | 0.11367 | 0.0010046 | 0.00064102 | 0.67083 | 0.67083 | 0.67083 | 0.98782 | -0.23179 | 0.99026 | -0.185 | 36.8588
8 | 0.35609 | 0.090512 | -0.35587 | -0.090373 | 0.00021805 | 0.00013891 | 0.53771 | 0.53771 | 0.53771 | 0.98625 | -0.26202 | 0.98559 | -0.27474 | 29.5443
9 | 0.31367 | 0.079156 | -0.31359 | -0.079108 | 7.4424e-05 | 4.7356e-05 | 0.47625 | 0.47625 | 0.47625 | 0.98043 | -0.37504 | 0.98017 | -0.37999 | 26.1678
10 | -0.31367 | -0.079156 | 0.31387 | 0.079288 | 0.00020848 | 0.00013265 | 0.47625 | 0.47625 | 0.47625 | 0.98043 | -0.37504 | 0.98114 | -0.36117 | 26.1678
11 | 0.21807 | 0.055055 | -0.218 | -0.055012 | 6.7054e-05 | 4.2401e-05 | 0.3312 | 0.3312 | 0.3312 | 0.98017 | -0.37999 | 0.97984 | -0.38642 | 18.1978
12 | 0.095522 | 0.024053 | -0.095305 | -0.023915 | 0.00021697 | 0.00013851 | 0.14505 | 0.14505 | 0.14505 | 0.98017 | -0.37999 | 0.97774 | -0.42762 | 39.8501
13 | -0.3413 | -0.086161 | 0.34191 | 0.086551 | 0.00061124 | 0.00038927 | 0.51784 | 0.51784 | 0.51784 | 0.98114 | -0.36117 | 0.98306 | -0.32386 | 28.453
14 | -0.4566 | -0.11633 | 0.45713 | 0.11667 | 0.00053284 | 0.00034005 | 0.68678 | 0.68678 | 0.68678 | 0.99026 | -0.185 | 0.99152 | -0.16085 | 37.7353
15 | 0.010617 | 0.0026612 | -0.010616 | -0.0026604 | 1.5801e-06 | 7.9836e-07 | 0.015954 | 0.015954 | 0.015954 | 0.99026 | -0.185 | 0.9901 | -0.18813 | 4.3831
16 | -0.46224 | -0.11795 | 0.46315 | 0.11853 | 0.000907 | 0.00057886 | 0.69446 | 0.69446 | 0.69446 | 0.99152 | -0.16085 | 0.99365 | -0.12031 | 38.1571
17 | 0.0052439 | 0.0013141 | -0.0052431 | -0.0013141 | 7.1989e-07 | 6.3289e-08 | 0.0078809 | 0.0078811 | 0.0078811 | 0.9901 | -0.18813 | 0.98995 | -0.19101 | 2.1651
18 | 0.014746 | 0.0036966 | -0.014744 | -0.0036956 | 1.808e-06 | 1.0321e-06 | 0.022218 | 0.022218 | 0.022218 | 0.98763 | -0.23556 | 0.9875 | -0.23814 | 6.1037
19 | 0.031593 | 0.0079403 | -0.031543 | -0.0079114 | 4.9541e-05 | 2.8882e-05 | 0.048245 | 0.048246 | 0.048246 | 0.97458 | -0.4896 | 0.97291 | -0.5225 | 6.6272
20 | -0.031593 | -0.0079403 | 0.031605 | 0.0079436 | 1.1902e-05 | 3.3676e-06 | 0.048245 | 0.048243 | 0.048245 | 0.97458 | -0.4896 | 0.97498 | -0.48171 | 2.6508
21 | 0.031543 | 0.0079114 | -0.031534 | -0.0079053 | 9.6671e-06 | 6.0495e-06 | 0.048246 | 0.048246 | 0.048246 | 0.97291 | -0.5225 | 0.97259 | -0.52893 | 13.2543
22 | -0.12696 | -0.031842 | 0.12705 | 0.031895 | 8.6995e-05 | 5.3749e-05 | 0.19377 | 0.19377 | 0.19377 | 0.97498 | -0.48171 | 0.97571 | -0.46735 | 10.6469
23 | -0.011665 | -0.0029245 | 0.01167 | 0.0029269 | 4.5589e-06 | 2.4446e-06 | 0.017855 | 0.017855 | 0.017855 | 0.97217 | -0.53713 | 0.97259 | -0.52893 | 4.9052
24 | 0.011665 | 0.0029245 | -0.011662 | -0.0029227 | 3.3652e-06 | 1.8048e-06 | 0.017855 | 0.017855 | 0.017855 | 0.97217 | -0.53713 | 0.97187 | -0.54319 | 4.9052
25 | 0.218 | 0.055012 | -0.21716 | -0.05448 | 0.00084142 | 0.0005321 | 0.3312 | 0.3312 | 0.3312 | 0.97984 | -0.38642 | 0.97571 | -0.46735 | 18.1979
26 | 0.078398 | 0.019678 | -0.078388 | -0.019671 | 9.6645e-06 | 6.1626e-06 | 0.11932 | 0.11932 | 0.11932 | 0.97774 | -0.42762 | 0.97761 | -0.4302 | 32.7813
27 | 0.35463 | 0.090061 | -0.35403 | -0.089679 | 0.0005989 | 0.00038153 | 0.53583 | 0.53583 | 0.53583 | 0.98559 | -0.27474 | 0.98378 | -0.30989 | 29.4412
28 | -0.35255 | -0.089218 | 0.35279 | 0.089369 | 0.00023646 | 0.00015064 | 0.53395 | 0.53395 | 0.53395 | 0.98306 | -0.32386 | 0.98378 | -0.30989 | 29.3381
29 | -0.46834 | -0.11983 | 0.4687 | 0.12006 | 0.0003569 | 0.00022779 | 0.70223 | 0.70223 | 0.70223 | 0.99365 | -0.12031 | 0.99447 | -0.10459 | 38.5843
30 | 0.0092904 | 0.0023287 | -0.0092888 | -0.0023279 | 1.6802e-06 | 7.829e-07 | 0.013999 | 0.014 | 0.014 | 0.9875 | -0.23814 | 0.9873 | -0.24193 | 3.846
31 | -0.0046037 | -0.0011538 | 0.0046039 | 0.0011538 | 1.701e-07 | -1.1611e-08 | 0.0069388 | 0.0069388 | 0.0069388 | 0.98726 | -0.24271 | 0.9873 | -0.24193 | 1.9063
32 | 0.052653 | 0.013222 | -0.052587 | -0.013179 | 6.6339e-05 | 4.2112e-05 | 0.080152 | 0.080152 | 0.080152 | 0.97761 | -0.4302 | 0.97626 | -0.45665 | 22.0199
33 | 0.55928 | 0.14379 | -0.55851 | -0.14329 | 0.00077742 | 0.00049657 | 0.83351 | 0.83351 | 0.83351 | 1 | 0 | 0.99848 | -0.028648 | 45.7972
34 | 0.038888 | 0.0097528 | -0.038872 | -0.0097421 | 1.6929e-05 | 1.0659e-05 | 0.057957 | 0.057957 | 0.057957 | 0.99848 | -0.028648 | 0.99801 | -0.037786 | 15.9222
35 | 0.51962 | 0.13354 | -0.51937 | -0.13338 | 0.00024671 | 0.00015754 | 0.77555 | 0.77555 | 0.77555 | 0.99848 | -0.028648 | 0.99796 | -0.038427 | 42.6128
36 | -0.0054454 | -0.0013647 | 0.0054457 | 0.0013648 | 3.4625e-07 | 3.8634e-08 | 0.0081199 | 0.0081198 | 0.0081199 | 0.99789 | -0.039762 | 0.99796 | -0.038427 | 2.2307
37 | 0.51393 | 0.13202 | -0.51317 | -0.13154 | 0.00075252 | 0.0004805 | 0.76743 | 0.76743 | 0.76743 | 0.99796 | -0.038427 | 0.99637 | -0.068627 | 42.1667
38 | 0.50015 | 0.12827 | -0.50007 | -0.12822 | 7.9037e-05 | 5.0461e-05 | 0.74798 | 0.74798 | 0.74798 | 0.99637 | -0.068627 | 0.9962 | -0.071886 | 41.098
39 | 0.49452 | 0.12683 | -0.49432 | -0.12671 | 0.00019419 | 0.00012397 | 0.73969 | 0.73969 | 0.73969 | 0.9962 | -0.071886 | 0.99577 | -0.079986 | 40.6422
40 | 0.4871 | 0.1249 | -0.48653 | -0.12453 | 0.0005678 | 0.00036247 | 0.7289 | 0.7289 | 0.7289 | 0.99577 | -0.079986 | 0.9945 | -0.10406 | 40.0493
41 | 0.47391 | 0.12137 | -0.4739 | -0.12136 | 1.216e-05 | 7.7618e-06 | 0.71001 | 0.71001 | 0.71001 | 0.9945 | -0.10406 | 0.99447 | -0.10459 | 39.0114

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5737 | 0.14699

## res_load
| p_mw | q_mvar
0 | 0.031214 | 0.007823
1 | 0.03554 | 0.0089072
2 | 0.0012357 | 0.0003097
3 | 0.027424 | 0.0068731
4 | 0.0051147 | 0.0012819
5 | 0.0053719 | 0.0013463
6 | 0.0055271 | 0.0013852
7 | 0.095355 | 0.023898
8 | 0.019864 | 0.0049784
9 | 0.011662 | 0.0029227
10 | 0.016907 | 0.0042373
11 | 0.090115 | 0.022585
12 | 0.0012435 | 0.00031165
13 | 0.010643 | 0.0026673
14 | 0.005193 | 0.0013015
15 | 0.0052431 | 0.0013141
16 | 0.0054538 | 0.0013669
17 | 0.0046037 | 0.0011538
18 | 0.0046849 | 0.0011741
19 | 0.025735 | 0.0064499
20 | 0.052587 | 0.013179
21 | 0.012767 | 0.0031997
22 | 0.038872 | 0.0097421
23 | 0.0054454 | 0.0013647
24 | 0.013024 | 0.0032641
25 | 0.0055539 | 0.0013919
26 | 0.0072213 | 0.0018098
27 | 0.012625 | 0.0031641
28 | 0.0051955 | 0.0013021
29 | 0.0012406 | 0.00031092

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1