## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-155_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-155_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-155_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-155_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-155_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-155_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_261-155_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-155_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_261-155_0_5_node_94 | 0.4 | n |  | TRUE
9 | bus_LV_261-155_0_5_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_261-155_0_5_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_261-155_0_5_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_261-155_0_5_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_261-155_0_5_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_261-155_0_5_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_261-155_0_5_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_261-155_0_5_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_261-155_0_5_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_261-155_0_5_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_261-155_0_5_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_261-155_0_5_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_261-155_0_5_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_261-155_0_5_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_261-155_0_5_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_261-155_0_5_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_261-155_0_5_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_261-155_0_5_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_261-155_0_5_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_261-155_0_5_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_261-155_0_5_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_261-155_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_261-155_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_261-155_0_5_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_261-155_0_5_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_261-155_0_5_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_261-155_0_5_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_261-155_0_5_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_261-155_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_261-155_0_5_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_261-155_0_5_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_261-155_0_5_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_261-155_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_261-155_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_261-155_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_261-155_0_5_node_96 | 0.4 | n |  | TRUE
45 | bus_LV_261-155_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_261-155_0_5_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_261-155_0_5_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_261-155_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_261-155_0_5_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_261-155_0_5_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_261-155_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_261-155_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_261-155_0_5_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_261-155_0_5_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_261-155_0_5_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_261-155_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_261-155_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_261-155_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_261-155_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_261-155_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_261-155_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_261-155_0_5_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_261-155_0_5_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_261-155_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_261-155_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_261-155_0_5_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_261-155_0_5_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_261-155_0_5_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_261-155_0_5_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_261-155_0_5_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_261-155_0_5_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_261-155_0_5_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_261-155_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_261-155_0_5_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_261-155_0_5_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_261-155_0_5_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_261-155_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_261-155_0_5_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_261-155_0_5_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_261-155_0_5_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_261-155_0_5_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_261-155_0_5_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_261-155_0_5_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_261-155_0_5_node_93 | 0.4 | n |  | TRUE
85 | bus_LV_261-155_0_5_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_261-155_0_5_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_261-155_0_5_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_261-155_0_5_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_261-155_0_5_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_261-155_0_5_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_261-155_0_5_node_74 | 0.4 | n |  | TRUE
92 | bus_LV_261-155_0_5_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_261-155_0_5_node_89 | 0.4 | n |  | TRUE
94 | bus_MV_518_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-155_0_5_load_0 | 0 | 0.0048012 | 0.0012033 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-155_0_5_load_3 | 3 | 0.0062366 | 0.001563 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-155_0_5_load_7 | 5 | 0.0056606 | 0.0014187 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-155_0_5_load_8 | 6 | 0.003819 | 0.00095713 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-155_0_5_load_94 | 8 | 0.0052545 | 0.0013169 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-155_0_5_load_27 | 10 | 0.0079199 | 0.0019849 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-155_0_5_load_26 | 11 | 0.0032761 | 0.00082108 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-155_0_5_load_42 | 13 | 0.017946 | 0.0044977 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-155_0_5_load_24 | 14 | 0.0032632 | 0.00081784 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-155_0_5_load_76 | 17 | 0.0022574 | 0.00056575 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-155_0_5_load_86 | 20 | 0.0052923 | 0.0013264 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-155_0_5_load_80 | 21 | 0.0052382 | 0.0013128 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-155_0_5_load_90 | 23 | 0.0017925 | 0.00044924 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-155_0_5_load_62 | 24 | 0.0017938 | 0.00044957 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-155_0_5_load_63 | 25 | 0.0018794 | 0.00047101 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-155_0_5_load_9 | 26 | 0.0044681 | 0.0011198 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-155_0_5_load_10 | 27 | 0.0030662 | 0.00076846 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-155_0_5_load_12 | 28 | 0.0046135 | 0.0011563 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-155_0_5_load_28 | 32 | 0.0013626 | 0.00034151 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-155_0_5_load_13 | 33 | 0.0050543 | 0.0012667 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-155_0_5_load_14 | 34 | 0.0024336 | 0.00060991 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-155_0_5_load_15 | 35 | 0.0046632 | 0.0011687 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-155_0_5_load_17 | 36 | 0.0038794 | 0.00097228 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-155_0_5_load_19 | 38 | 0.0064181 | 0.0016085 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-155_0_5_load_18 | 39 | 0.0055536 | 0.0013919 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-155_0_5_load_20 | 40 | 0.0067649 | 0.0016955 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-155_0_5_load_25 | 41 | 0.0033657 | 0.00084353 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-155_0_5_load_23 | 42 | 0.0038014 | 0.00095271 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-155_0_5_load_96 | 44 | 0.0014377 | 0.00036033 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-155_0_5_load_85 | 46 | 0.0017075 | 0.00042794 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-155_0_5_load_91 | 47 | 0.0044142 | 0.0011063 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-155_0_5_load_34 | 48 | 0.012731 | 0.0031906 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-155_0_5_load_95 | 49 | 0.0076113 | 0.0019076 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-155_0_5_load_84 | 50 | 0.011539 | 0.0028919 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-155_0_5_load_35 | 51 | 0.0070953 | 0.0017782 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-155_0_5_load_36 | 52 | 0.0084536 | 0.0021187 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-155_0_5_load_92 | 54 | 0.088735 | 0.022239 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-155_0_5_load_37 | 56 | 0.017264 | 0.0043268 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-155_0_5_load_38 | 57 | 0.023444 | 0.0058755 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-155_0_5_load_39 | 58 | 0.022192 | 0.0055619 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-155_0_5_load_40 | 59 | 0.014727 | 0.0036908 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-155_0_5_load_41 | 60 | 0.0078406 | 0.001965 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-155_0_5_load_46 | 61 | 0.014069 | 0.003526 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-155_0_5_load_50 | 64 | 0.0034498 | 0.0008646 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-155_0_5_load_47 | 65 | 0.0033429 | 0.0008378 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-155_0_5_load_48 | 66 | 0.0033493 | 0.00083941 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-155_0_5_load_49 | 67 | 0.0031382 | 0.00078651 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-155_0_5_load_51 | 68 | 0.0022107 | 0.00055404 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-155_0_5_load_52 | 69 | 0.0013047 | 0.00032698 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-155_0_5_load_53 | 70 | 0.0034653 | 0.0008685 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-155_0_5_load_54 | 71 | 0.0012402 | 0.00031081 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-155_0_5_load_57 | 73 | 0.0018605 | 0.00046627 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-155_0_5_load_58 | 74 | 0.0024922 | 0.00062461 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-155_0_5_load_55 | 75 | 0.0030086 | 0.00075404 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-155_0_5_load_60 | 77 | 0.0018411 | 0.00046144 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-155_0_5_load_61 | 78 | 0.0014234 | 0.00035674 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-155_0_5_load_72 | 79 | 0.0014609 | 0.00036614 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-155_0_5_load_73 | 80 | 0.0019035 | 0.00047706 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-155_0_5_load_70 | 81 | 0.0015082 | 0.000378 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-155_0_5_load_64 | 82 | 0.0019943 | 0.00049981 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-155_0_5_load_93 | 84 | 0.012667 | 0.0031746 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-155_0_5_load_81 | 86 | 0.0049566 | 0.0012422 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_261-155_0_5_load_83 | 87 | 0.0033187 | 0.00083174 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_261-155_0_5_load_87 | 88 | 0.0023349 | 0.00058518 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_261-155_0_5_load_69 | 89 | 0.0014799 | 0.0003709 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_261-155_0_5_load_71 | 90 | 0.0028846 | 0.00072295 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_261-155_0_5_load_74 | 91 | 0.0025277 | 0.0006335 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_261-155_0_5_load_88 | 92 | 0.0019144 | 0.0004798 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_261-155_0_5_load_89 | 93 | 0.0022451 | 0.00056267 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-155_0_5_line_0 |  | 0 | 1 | 0.02347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-155_0_5_line_1 |  | 0 | 2 | 0.0052606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-155_0_5_line_2 |  | 1 | 3 | 0.040709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-155_0_5_line_3 |  | 1 | 4 | 0.033365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-155_0_5_line_4 |  | 2 | 5 | 0.01845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-155_0_5_line_5 |  | 2 | 6 | 0.009334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-155_0_5_line_6 |  | 4 | 10 | 0.018096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-155_0_5_line_7 |  | 4 | 11 | 0.045935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-155_0_5_line_8 |  | 7 | 8 | 0.039055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-155_0_5_line_9 |  | 7 | 9 | 0.035555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-155_0_5_line_10 |  | 9 | 12 | 0.003717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-155_0_5_line_11 |  | 9 | 13 | 0.027082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-155_0_5_line_12 |  | 11 | 14 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-155_0_5_line_13 |  | 12 | 41 | 0.0040994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-155_0_5_line_14 |  | 12 | 40 | 0.020967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_261-155_0_5_line_15 |  | 13 | 62 | 0.024044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_261-155_0_5_line_16 |  | 14 | 42 | 0.025522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-155_0_5_line_17 |  | 15 | 16 | 0.050911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-155_0_5_line_18 |  | 15 | 17 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-155_0_5_line_19 |  | 16 | 18 | 0.054911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-155_0_5_line_20 |  | 16 | 19 | 0.046792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-155_0_5_line_21 |  | 16 | 20 | 0.018639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-155_0_5_line_22 |  | 18 | 22 | 0.015572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-155_0_5_line_23 |  | 18 | 23 | 0.019176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-155_0_5_line_24 |  | 19 | 21 | 0.0070091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_261-155_0_5_line_25 |  | 20 | 88 | 0.0038199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-155_0_5_line_26 |  | 21 | 86 | 0.018433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_261-155_0_5_line_27 |  | 22 | 80 | 0.022481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-155_0_5_line_28 |  | 22 | 77 | 0.020859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-155_0_5_line_29 |  | 23 | 82 | 0.0078242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-155_0_5_line_30 |  | 24 | 25 | 0.0072063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-155_0_5_line_31 |  | 25 | 82 | 0.021194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-155_0_5_line_32 |  | 26 | 27 | 0.034444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-155_0_5_line_33 |  | 27 | 28 | 0.015325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-155_0_5_line_34 |  | 28 | 29 | 0.019745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-155_0_5_line_35 |  | 29 | 30 | 0.033954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_261-155_0_5_line_36 |  | 29 | 31 | 0.030289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-155_0_5_line_37 |  | 29 | 32 | 0.025711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_261-155_0_5_line_38 |  | 30 | 48 | 0.018722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_261-155_0_5_line_39 |  | 30 | 45 | 0.057034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-155_0_5_line_40 |  | 31 | 49 | 0.019531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-155_0_5_line_41 |  | 32 | 37 | 0.032288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-155_0_5_line_42 |  | 33 | 34 | 0.022936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-155_0_5_line_43 |  | 33 | 35 | 0.0054265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-155_0_5_line_44 |  | 35 | 36 | 0.017908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-155_0_5_line_45 |  | 36 | 37 | 0.015701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-155_0_5_line_46 |  | 37 | 38 | 0.021708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_261-155_0_5_line_47 |  | 38 | 39 | 0.018193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_261-155_0_5_line_48 |  | 39 | 40 | 0.0035839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_261-155_0_5_line_49 |  | 41 | 42 | 0.0027648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-155_0_5_line_50 |  | 43 | 44 | 0.01339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-155_0_5_line_51 |  | 43 | 45 | 0.027193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-155_0_5_line_52 |  | 45 | 46 | 0.00334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-155_0_5_line_53 |  | 45 | 47 | 0.015835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-155_0_5_line_54 |  | 46 | 50 | 0.015961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-155_0_5_line_55 |  | 48 | 51 | 0.0057953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_261-155_0_5_line_56 |  | 51 | 52 | 0.025099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_261-155_0_5_line_57 |  | 52 | 53 | 0.018391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_261-155_0_5_line_58 |  | 53 | 54 | 0.03009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-155_0_5_line_59 |  | 53 | 55 | 0.078576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_261-155_0_5_line_60 |  | 55 | 86 | 0.025333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_261-155_0_5_line_61 |  | 55 | 87 | 0.025362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-155_0_5_line_62 |  | 56 | 57 | 0.0065674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_261-155_0_5_line_63 |  | 56 | 58 | 0.021603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_261-155_0_5_line_64 |  | 57 | 59 | 0.028619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_261-155_0_5_line_65 |  | 58 | 60 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-155_0_5_line_66 |  | 59 | 61 | 0.028096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_261-155_0_5_line_67 |  | 61 | 62 | 0.005022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_261-155_0_5_line_68 |  | 62 | 63 | 0.011362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-155_0_5_line_69 |  | 63 | 64 | 0.011932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-155_0_5_line_70 |  | 63 | 65 | 0.012841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-155_0_5_line_71 |  | 65 | 66 | 0.011673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-155_0_5_line_72 |  | 66 | 67 | 0.011695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-155_0_5_line_73 |  | 68 | 69 | 0.0097306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-155_0_5_line_74 |  | 68 | 70 | 0.007323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-155_0_5_line_75 |  | 69 | 71 | 0.005518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-155_0_5_line_76 |  | 71 | 72 | 0.012299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-155_0_5_line_77 |  | 72 | 73 | 0.0059534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-155_0_5_line_78 |  | 72 | 74 | 0.005537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-155_0_5_line_79 |  | 72 | 75 | 0.017725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-155_0_5_line_80 |  | 73 | 76 | 0.040547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-155_0_5_line_81 |  | 76 | 77 | 0.0097994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-155_0_5_line_82 |  | 76 | 78 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-155_0_5_line_83 |  | 78 | 79 | 0.006592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-155_0_5_line_84 |  | 79 | 81 | 0.0070688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_261-155_0_5_line_85 |  | 80 | 91 | 0.017995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_261-155_0_5_line_86 |  | 81 | 89 | 0.0071033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_261-155_0_5_line_87 |  | 83 | 84 | 0.028934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_261-155_0_5_line_88 |  | 83 | 85 | 0.019886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_261-155_0_5_line_89 |  | 85 | 87 | 0.01716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_261-155_0_5_line_90 |  | 88 | 92 | 0.016501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_261-155_0_5_line_91 |  | 89 | 90 | 0.00819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_261-155_0_5_line_92 |  | 92 | 93 | 0.010294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-155_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 94 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2679016.3884 | 1251114.2074 | 2679037.8396 | 1251104.6836
1 | 2679042.6476 | 1251102.549 | 2679037.8396 | 1251104.6836
2 | 2679016.3884 | 1251114.2074 | 2679032.8649 | 1251140.4131 | 2679040.5541 | 1251140.638 | 2679042.4683 | 1251139.7407
3 | 2679016.3884 | 1251114.2074 | 2679001.976 | 1251092.844 | 2678999.7502 | 1251089.3674 | 2678997.9097 | 1251086.4295
4 | 2679042.6476 | 1251102.549 | 2679050.7709 | 1251119.1146
5 | 2679047.5602 | 1251095.3203 | 2679045.2141 | 1251101.4268 | 2679042.6476 | 1251102.549
6 | 2678997.9097 | 1251086.4295 | 2678988.1898 | 1251071.166
7 | 2678997.9097 | 1251086.4295 | 2679008.4358 | 1251082.2334 | 2679040.1893 | 1251068.483
8 | 2679079.9187 | 1251085.3779 | 2679069.0828 | 1251089.0249 | 2679065.926 | 1251087.9932 | 2679054.9078 | 1251066.2746
9 | 2679086.7069 | 1251050.187 | 2679054.9078 | 1251066.2746
10 | 2679085.2276 | 1251046.7759 | 2679086.7069 | 1251050.187
11 | 2679086.7069 | 1251050.187 | 2679097.4647 | 1251075.0402
12 | 2679056.2655 | 1251061.2694 | 2679052.5265 | 1251063.1406 | 2679040.1893 | 1251068.483
13 | 2679085.2276 | 1251046.7759 | 2679081.5616 | 1251048.6104
14 | 2679085.2276 | 1251046.7759 | 2679103.8838 | 1251037.2079
15 | 2679107.0207 | 1251097.1038 | 2679099.9906 | 1251080.8758 | 2679097.4647 | 1251075.0402
16 | 2679079.0891 | 1251049.8478 | 2679056.2655 | 1251061.2694
17 | 2679220.0046 | 1251167.5536 | 2679223.2026 | 1251162.1034 | 2679226.1535 | 1251157.0725 | 2679242.6787 | 1251122.012
18 | 2679242.6787 | 1251122.012 | 2679234.6495 | 1251111.9007
19 | 2679179.9701 | 1251197.7632 | 2679183.0107 | 1251201.2619 | 2679208.9512 | 1251180.6934 | 2679220.0046 | 1251167.5536
20 | 2679220.0046 | 1251167.5536 | 2679223.2026 | 1251162.1034 | 2679226.1535 | 1251157.0725 | 2679229.274 | 1251158.5486 | 2679235.2448 | 1251161.3861 | 2679241.8339 | 1251158.6388 | 2679256.6985 | 1251149.5198
21 | 2679220.0046 | 1251167.5536 | 2679206.0929 | 1251155.1481
22 | 2679167.9165 | 1251188.0394 | 2679176.6915 | 1251193.9944 | 2679179.9701 | 1251197.7632
23 | 2679179.9701 | 1251197.7632 | 2679164.9204 | 1251209.6477
24 | 2679256.6985 | 1251149.5198 | 2679259.7971 | 1251143.2328
25 | 2679206.0929 | 1251155.1481 | 2679203.2419 | 1251152.6058
26 | 2679259.7971 | 1251143.2328 | 2679265.9865 | 1251130.6745 | 2679268.0872 | 1251126.7711
27 | 2679167.9165 | 1251188.0394 | 2679162.6066 | 1251175.8595 | 2679156.9187 | 1251168.6355
28 | 2679167.9165 | 1251188.0394 | 2679160.7278 | 1251187.0872 | 2679154.3487 | 1251187.6913 | 2679147.6078 | 1251190.2215
29 | 2679158.7799 | 1251214.4967 | 2679164.9204 | 1251209.6477
30 | 2679136.4591 | 1251232.0564 | 2679142.145 | 1251227.6292
31 | 2679158.7799 | 1251214.4967 | 2679142.4881 | 1251227.3622 | 2679142.145 | 1251227.6292
32 | 2679168.741 | 1250927.5531 | 2679181.6501 | 1250959.4868
33 | 2679181.6501 | 1250959.4868 | 2679187.3937 | 1250973.6951
34 | 2679194.746 | 1250992.02 | 2679192.8991 | 1250987.3141 | 2679187.3937 | 1250973.6951
35 | 2679194.746 | 1250992.02 | 2679196.2993 | 1250995.5433 | 2679223.6291 | 1250982.9215
36 | 2679194.746 | 1250992.02 | 2679196.2993 | 1250995.5433 | 2679172.7153 | 1251007.4926
37 | 2679194.746 | 1250992.02 | 2679171.6192 | 1251003.2551
38 | 2679223.6291 | 1250982.9215 | 2679224.9228 | 1250986.0967 | 2679230.7095 | 1251000.2526
39 | 2679223.6291 | 1250982.9215 | 2679254.3067 | 1250969.4772 | 2679266.7675 | 1250964.5847 | 2679265.5609 | 1250961.1105 | 2679264.3835 | 1250957.7033 | 2679263.5143 | 1250954.9675
40 | 2679182.253 | 1251020.7854 | 2679181.2697 | 1251022.0621 | 2679177.4361 | 1251020.2762 | 2679176.1445 | 1251014.6882 | 2679172.7153 | 1251007.4926
41 | 2679142.5766 | 1251017.3641 | 2679171.6192 | 1251003.2551
42 | 2679124.8743 | 1250982.573 | 2679114.6537 | 1250962.0396
43 | 2679124.8743 | 1250982.573 | 2679126.5548 | 1250985.9493 | 2679127.3068 | 1250987.4237
44 | 2679135.443 | 1251003.3768 | 2679127.3068 | 1250987.4237
45 | 2679142.5766 | 1251017.3641 | 2679135.443 | 1251003.3768
46 | 2679142.5766 | 1251017.3641 | 2679123.2608 | 1251027.2703
47 | 2679107.0727 | 1251035.5724 | 2679123.2608 | 1251027.2703
48 | 2679107.0727 | 1251035.5724 | 2679103.8838 | 1251037.2079
49 | 2679079.0891 | 1251049.8478 | 2679081.5616 | 1251048.6104
50 | 2679287.1019 | 1250970.9725 | 2679284.0896 | 1250961.97 | 2679282.8482 | 1250958.2729
51 | 2679263.5143 | 1250954.9675 | 2679264.3835 | 1250957.7033 | 2679265.5609 | 1250961.1105 | 2679281.7592 | 1250955.0337 | 2679282.8482 | 1250958.2729
52 | 2679263.5143 | 1250954.9675 | 2679266.1004 | 1250952.8539
53 | 2679263.5143 | 1250954.9675 | 2679252.7255 | 1250959.0151 | 2679251.2624 | 1250954.9592
54 | 2679278.4592 | 1250942.7534 | 2679266.1004 | 1250952.8539
55 | 2679230.7095 | 1251000.2526 | 2679232.9024 | 1251005.617
56 | 2679232.9024 | 1251005.617 | 2679242.3995 | 1251028.8495
57 | 2679246.5317 | 1251046.7414 | 2679246.3322 | 1251045.8491 | 2679243.1312 | 1251030.6396 | 2679242.3995 | 1251028.8495
58 | 2679275.2069 | 1251037.3623 | 2679246.5317 | 1251046.7414
59 | 2679246.5317 | 1251046.7414 | 2679255.1392 | 1251084.9624 | 2679265.2133 | 1251094.8155 | 2679270.2018 | 1251090.4012 | 2679276.6805 | 1251098.1602 | 2679281.074 | 1251105.4799
60 | 2679281.074 | 1251105.4799 | 2679278.9919 | 1251106.5084 | 2679268.0872 | 1251126.7711
61 | 2679281.074 | 1251105.4799 | 2679285.0331 | 1251103.5203 | 2679304.5654 | 1251095.9587
62 | 2679171.9688 | 1251075.9601 | 2679165.7459 | 1251078.0592
63 | 2679171.9688 | 1251075.9601 | 2679192.4386 | 1251069.0553
64 | 2679138.5564 | 1251086.9884 | 2679153.0845 | 1251082.3301 | 2679165.7459 | 1251078.0592
65 | 2679208.5872 | 1251058.3316 | 2679200.8043 | 1251066.2334 | 2679192.4386 | 1251069.0553
66 | 2679111.8018 | 1251095.567 | 2679138.5564 | 1251086.9884
67 | 2679107.0207 | 1251097.1038 | 2679110.5385 | 1251095.9721 | 2679111.8018 | 1251095.567
68 | 2679107.0207 | 1251097.1038 | 2679096.4852 | 1251101.433
69 | 2679085.5356 | 1251106.246 | 2679096.4852 | 1251101.433
70 | 2679096.4852 | 1251101.433 | 2679088.3882 | 1251111.399 | 2679088.3882 | 1251111.399
71 | 2679088.3882 | 1251111.399 | 2679093.5524 | 1251121.8671
72 | 2679098.7264 | 1251132.3552 | 2679093.5524 | 1251121.8671
73 | 2679084.7755 | 1251174.4803 | 2679084.7747 | 1251174.5418 | 2679090.6418 | 1251182.2275
74 | 2679086.9253 | 1251167.8099 | 2679085.7082 | 1251169.0724 | 2679084.8158 | 1251171.4623 | 2679084.7755 | 1251174.4803
75 | 2679093.7093 | 1251186.8011 | 2679092.3642 | 1251184.4837 | 2679090.6418 | 1251182.2275
76 | 2679099.8833 | 1251197.438 | 2679093.7093 | 1251186.8011
77 | 2679099.8833 | 1251197.438 | 2679101.1747 | 1251199.6569 | 2679104.1697 | 1251201.2364
78 | 2679104.3433 | 1251194.1396 | 2679099.8833 | 1251197.438
79 | 2679099.8833 | 1251197.438 | 2679082.6996 | 1251201.7872
80 | 2679139.2919 | 1251195.3959 | 2679132.386 | 1251200.3963 | 2679113.3223 | 1251207.9918 | 2679109.1352 | 1251203.8551 | 2679104.1697 | 1251201.2364
81 | 2679139.2919 | 1251195.3959 | 2679147.3689 | 1251190.3111 | 2679147.6078 | 1251190.2215
82 | 2679139.2919 | 1251195.3959 | 2679131.2696 | 1251185.2238
83 | 2679131.2696 | 1251185.2238 | 2679127.1876 | 1251180.0477
84 | 2679127.1876 | 1251180.0477 | 2679122.8102 | 1251174.4973
85 | 2679145.7867 | 1251154.4969 | 2679156.9187 | 1251168.6355
86 | 2679118.4116 | 1251168.9198 | 2679122.8102 | 1251174.4973
87 | 2679313.2585 | 1251071.352 | 2679306.5856 | 1251049.9136 | 2679310.6243 | 1251044.8305
88 | 2679313.2585 | 1251071.352 | 2679316.2789 | 1251081.4332 | 2679320.5683 | 1251089.7634
89 | 2679320.5683 | 1251089.7634 | 2679304.5654 | 1251095.9587
90 | 2679203.2419 | 1251152.6058 | 2679190.9265 | 1251141.6237
91 | 2679113.5852 | 1251162.3172 | 2679114.9818 | 1251164.5709 | 2679118.4116 | 1251168.9198
92 | 2679180.8424 | 1251142.6786 | 2679186.5075 | 1251142.9768 | 2679190.9265 | 1251141.6237

## bus_geodata
| x | y | coords
0 | 2679037.8396 | 1251104.6836
1 | 2679016.3884 | 1251114.2074
2 | 2679042.6476 | 1251102.549
3 | 2679042.4683 | 1251139.7407
4 | 2678997.9097 | 1251086.4295
5 | 2679050.7709 | 1251119.1146
6 | 2679047.5602 | 1251095.3203
7 | 2679054.9078 | 1251066.2746
8 | 2679079.9187 | 1251085.3779
9 | 2679086.7069 | 1251050.187
10 | 2678988.1898 | 1251071.166
11 | 2679040.1893 | 1251068.483
12 | 2679085.2276 | 1251046.7759
13 | 2679097.4647 | 1251075.0402
14 | 2679056.2655 | 1251061.2694
15 | 2679242.6787 | 1251122.012
16 | 2679220.0046 | 1251167.5536
17 | 2679234.6495 | 1251111.9007
18 | 2679179.9701 | 1251197.7632
19 | 2679256.6985 | 1251149.5198
20 | 2679206.0929 | 1251155.1481
21 | 2679259.7971 | 1251143.2328
22 | 2679167.9165 | 1251188.0394
23 | 2679164.9204 | 1251209.6477
24 | 2679136.4591 | 1251232.0564
25 | 2679142.145 | 1251227.6292
26 | 2679168.741 | 1250927.5531
27 | 2679181.6501 | 1250959.4868
28 | 2679187.3937 | 1250973.6951
29 | 2679194.746 | 1250992.02
30 | 2679223.6291 | 1250982.9215
31 | 2679172.7153 | 1251007.4926
32 | 2679171.6192 | 1251003.2551
33 | 2679124.8743 | 1250982.573
34 | 2679114.6537 | 1250962.0396
35 | 2679127.3068 | 1250987.4237
36 | 2679135.443 | 1251003.3768
37 | 2679142.5766 | 1251017.3641
38 | 2679123.2608 | 1251027.2703
39 | 2679107.0727 | 1251035.5724
40 | 2679103.8838 | 1251037.2079
41 | 2679081.5616 | 1251048.6104
42 | 2679079.0891 | 1251049.8478
43 | 2679282.8482 | 1250958.2729
44 | 2679287.1019 | 1250970.9725
45 | 2679263.5143 | 1250954.9675
46 | 2679266.1004 | 1250952.8539
47 | 2679251.2624 | 1250954.9592
48 | 2679230.7095 | 1251000.2526
49 | 2679182.253 | 1251020.7854
50 | 2679278.4592 | 1250942.7534
51 | 2679232.9024 | 1251005.617
52 | 2679242.3995 | 1251028.8496
53 | 2679246.5317 | 1251046.7414
54 | 2679275.2069 | 1251037.3623
55 | 2679281.074 | 1251105.4799
56 | 2679171.9688 | 1251075.9601
57 | 2679165.7459 | 1251078.0592
58 | 2679192.4386 | 1251069.0553
59 | 2679138.5564 | 1251086.9884
60 | 2679208.5872 | 1251058.3316
61 | 2679111.8018 | 1251095.567
62 | 2679107.0207 | 1251097.1038
63 | 2679096.4852 | 1251101.433
64 | 2679085.5356 | 1251106.246
65 | 2679088.3882 | 1251111.399
66 | 2679093.5524 | 1251121.8671
67 | 2679098.7264 | 1251132.3552
68 | 2679084.7755 | 1251174.4803
69 | 2679090.6418 | 1251182.2275
70 | 2679086.9253 | 1251167.8099
71 | 2679093.7093 | 1251186.8011
72 | 2679099.8833 | 1251197.438
73 | 2679104.1697 | 1251201.2364
74 | 2679104.3433 | 1251194.1396
75 | 2679082.6996 | 1251201.7872
76 | 2679139.2919 | 1251195.3959
77 | 2679147.6078 | 1251190.2215
78 | 2679131.2696 | 1251185.2238
79 | 2679127.1876 | 1251180.0477
80 | 2679156.9187 | 1251168.6355
81 | 2679122.8102 | 1251174.4973
82 | 2679158.7799 | 1251214.4967
83 | 2679313.2585 | 1251071.352
84 | 2679310.6243 | 1251044.8305
85 | 2679320.5683 | 1251089.7634
86 | 2679268.0872 | 1251126.7711
87 | 2679304.5654 | 1251095.9587
88 | 2679203.2419 | 1251152.6058
89 | 2679118.4116 | 1251168.9198
90 | 2679113.5852 | 1251162.3172
91 | 2679145.7867 | 1251154.4969
92 | 2679190.9265 | 1251141.6237
93 | 2679180.8424 | 1251142.6786
94 | 2679208.5872 | 1251058.3316

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98415 | -0.30337 | 0.0048012 | 0.0012033
1 | 0.98446 | -0.29734 | 0 | 0
2 | 0.9841 | -0.30427 | 0 | 0
3 | 0.98422 | -0.30191 | 0.0062366 | 0.001563
4 | 0.98509 | -0.28504 | 0 | 0
5 | 0.98401 | -0.30615 | 0.0056606 | 0.0014187
6 | 0.98407 | -0.30491 | 0.003819 | 0.00095713
7 | 0.98798 | -0.22877 | 0 | 0
8 | 0.98779 | -0.23243 | 0.0052545 | 0.0013169
9 | 0.98815 | -0.22543 | 0 | 0
10 | 0.98495 | -0.28761 | 0.0079199 | 0.0019849
11 | 0.98629 | -0.2616 | 0.0032761 | 0.00082108
12 | 0.98788 | -0.23062 | 0 | 0
13 | 0.99015 | -0.1871 | 0.017946 | 0.0044977
14 | 0.9868 | -0.25159 | 0.0032632 | 0.00081784
15 | 0.97328 | -0.51497 | 0 | 0
16 | 0.97339 | -0.51286 | 0 | 0
17 | 0.97326 | -0.51551 | 0.0022574 | 0.00056575
18 | 0.97274 | -0.52569 | 0 | 0
19 | 0.97415 | -0.49791 | 0 | 0
20 | 0.97318 | -0.5169 | 0.0052923 | 0.0013264
21 | 0.97423 | -0.49623 | 0.0052382 | 0.0013128
22 | 0.97229 | -0.53448 | 0 | 0
23 | 0.97261 | -0.52833 | 0.0017925 | 0.00044924
24 | 0.97248 | -0.53082 | 0.0017938 | 0.00044957
25 | 0.97249 | -0.53058 | 0.0018794 | 0.00047101
26 | 0.98034 | -0.37656 | 0.0044681 | 0.0011198
27 | 0.98049 | -0.37377 | 0.0030662 | 0.00076846
28 | 0.98059 | -0.37168 | 0.0046135 | 0.0011563
29 | 0.98082 | -0.36733 | 0 | 0
30 | 0.97912 | -0.40037 | 0 | 0
31 | 0.9806 | -0.37151 | 0 | 0
32 | 0.98222 | -0.34009 | 0.0013626 | 0.00034151
33 | 0.98352 | -0.31498 | 0.0050543 | 0.0012667
34 | 0.98346 | -0.31598 | 0.0024336 | 0.00060991
35 | 0.98355 | -0.31425 | 0.0046632 | 0.0011687
36 | 0.98375 | -0.31033 | 0.0038794 | 0.00097228
37 | 0.98399 | -0.30579 | 0 | 0
38 | 0.98526 | -0.28124 | 0.0064181 | 0.0016085
39 | 0.98635 | -0.26019 | 0.0055536 | 0.0013919
40 | 0.98657 | -0.25596 | 0.0067649 | 0.0016955
41 | 0.98773 | -0.2337 | 0.0033657 | 0.00084353
42 | 0.98763 | -0.23562 | 0.0038014 | 0.00095271
43 | 0.97807 | -0.42091 | 0 | 0
44 | 0.97806 | -0.42126 | 0.0014377 | 0.00036033
45 | 0.97811 | -0.4202 | 0 | 0
46 | 0.97807 | -0.421 | 0.0017075 | 0.00042794
47 | 0.97805 | -0.42147 | 0.0044142 | 0.0011063
48 | 0.97827 | -0.41701 | 0.012731 | 0.0031906
49 | 0.98046 | -0.3742 | 0.0076113 | 0.0019076
50 | 0.9779 | -0.42436 | 0.011539 | 0.0028919
51 | 0.97802 | -0.42183 | 0.0070953 | 0.0017782
52 | 0.977 | -0.44192 | 0.0084536 | 0.0021187
53 | 0.97628 | -0.45596 | 0 | 0
54 | 0.9738 | -0.50491 | 0.088735 | 0.022239
55 | 0.97485 | -0.48414 | 0 | 0
56 | 0.99791 | -0.03948 | 0.017264 | 0.0043268
57 | 0.9973 | -0.051018 | 0.023444 | 0.0058755
58 | 1 | 0 | -0.43513 | -0.1114
59 | 0.99479 | -0.098509 | 0.014727 | 0.0036908
60 | 0.99986 | -0.0027227 | 0.0078406 | 0.001965
61 | 0.99243 | -0.14353 | 0.014069 | 0.003526
62 | 0.99202 | -0.15129 | 0 | 0
63 | 0.99189 | -0.15397 | 0 | 0
64 | 0.99185 | -0.15469 | 0.0034498 | 0.0008646
65 | 0.99177 | -0.1562 | 0.0033429 | 0.0008378
66 | 0.9917 | -0.15754 | 0.0033493 | 0.00083941
67 | 0.99167 | -0.15819 | 0.0031382 | 0.00078651
68 | 0.97071 | -0.56575 | 0.0022107 | 0.00055404
69 | 0.97076 | -0.56472 | 0.0013047 | 0.00032698
70 | 0.97069 | -0.56622 | 0.0034653 | 0.0008685
71 | 0.9708 | -0.56401 | 0.0012402 | 0.00031081
72 | 0.9709 | -0.56214 | 0 | 0
73 | 0.97097 | -0.56063 | 0.0018605 | 0.00046627
74 | 0.97088 | -0.5624 | 0.0024922 | 0.00062461
75 | 0.97085 | -0.56313 | 0.0030086 | 0.00075404
76 | 0.97156 | -0.54896 | 0 | 0
77 | 0.97178 | -0.54455 | 0.0018411 | 0.00046144
78 | 0.97146 | -0.55105 | 0.0014234 | 0.00035674
79 | 0.97141 | -0.55194 | 0.0014609 | 0.00036614
80 | 0.9722 | -0.53631 | 0.0019035 | 0.00047706
81 | 0.97137 | -0.55271 | 0.0015082 | 0.000378
82 | 0.97256 | -0.52914 | 0.0019943 | 0.00049981
83 | 0.97403 | -0.50019 | 0 | 0
84 | 0.97369 | -0.50693 | 0.012667 | 0.0031746
85 | 0.97427 | -0.49557 | 0 | 0
86 | 0.97448 | -0.49138 | 0.0049566 | 0.0012422
87 | 0.97447 | -0.49158 | 0.0033187 | 0.00083174
88 | 0.97316 | -0.51736 | 0.0023349 | 0.00058518
89 | 0.97134 | -0.55328 | 0.0014799 | 0.0003709
90 | 0.97132 | -0.55372 | 0.0028846 | 0.00072295
91 | 0.97216 | -0.53715 | 0.0025277 | 0.0006335
92 | 0.9731 | -0.51862 | 0.0019144 | 0.0004798
93 | 0.97308 | -0.51905 | 0.0022451 | 0.00056267
94 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014282 | -0.0035794 | 0.014286 | 0.0035817 | 4.1041e-06 | 2.3283e-06 | 0.021594 | 0.021594 | 0.021594 | 0.98415 | -0.30337 | 0.98446 | -0.29734 | 5.9324
1 | 0.0094807 | 0.0023761 | -0.0094803 | -0.0023759 | 4.0536e-07 | 1.9259e-07 | 0.014335 | 0.014335 | 0.014335 | 0.98415 | -0.30337 | 0.9841 | -0.30427 | 3.9381
2 | 0.006238 | 0.0015634 | -0.0062366 | -0.001563 | 1.3572e-06 | 3.5112e-07 | 0.0094287 | 0.0094289 | 0.0094289 | 0.98446 | -0.29734 | 0.98422 | -0.30191 | 2.5904
3 | -0.020524 | -0.0051451 | 0.020536 | 0.0051524 | 1.2042e-05 | 7.2821e-06 | 0.031023 | 0.031022 | 0.031023 | 0.98446 | -0.29734 | 0.98509 | -0.28504 | 8.5227
4 | 0.0056612 | 0.0014188 | -0.0056606 | -0.0014187 | 5.0696e-07 | 9.0064e-08 | 0.00856 | 0.00856 | 0.00856 | 0.9841 | -0.30427 | 0.98401 | -0.30615 | 2.3517
5 | 0.0038191 | 0.00095709 | -0.003819 | -0.00095713 | 1.1672e-07 | -4.3885e-08 | 0.0057747 | 0.0057747 | 0.0057747 | 0.9841 | -0.30427 | 0.98407 | -0.30491 | 1.5865
6 | 0.0079209 | 0.0019853 | -0.0079199 | -0.0019849 | 9.7146e-07 | 3.9139e-07 | 0.011965 | 0.011965 | 0.011965 | 0.98509 | -0.28504 | 0.98495 | -0.28761 | 3.2871
7 | -0.028457 | -0.0071377 | 0.028489 | 0.0071574 | 3.1831e-05 | 1.9786e-05 | 0.042987 | 0.042987 | 0.042987 | 0.98509 | -0.28504 | 0.98629 | -0.2616 | 11.8097
8 | 0.0052554 | 0.001317 | -0.0052545 | -0.0013169 | 9.1758e-07 | 8.7214e-08 | 0.0079152 | 0.0079154 | 0.0079154 | 0.98798 | -0.22877 | 0.98779 | -0.23243 | 2.1746
9 | -0.0052554 | -0.001317 | 0.0052563 | 0.0013171 | 8.3531e-07 | 7.9209e-08 | 0.0079152 | 0.0079151 | 0.0079152 | 0.98798 | -0.22877 | 0.98815 | -0.22543 | 2.1745
10 | 0.3156 | 0.080294 | -0.31553 | -0.080244 | 7.8849e-05 | 5.0273e-05 | 0.47568 | 0.47568 | 0.47568 | 0.98815 | -0.22543 | 0.98788 | -0.23062 | 32.6705
11 | -0.32086 | -0.081612 | 0.32145 | 0.08199 | 0.00059376 | 0.00037862 | 0.4836 | 0.4836 | 0.4836 | 0.98815 | -0.22543 | 0.99015 | -0.1871 | 33.2141
12 | -0.031765 | -0.0079785 | 0.03178 | 0.007988 | 1.5184e-05 | 9.4926e-06 | 0.04793 | 0.04793 | 0.04793 | 0.98629 | -0.2616 | 0.9868 | -0.25159 | 13.1675
13 | 0.042247 | 0.010625 | -0.042241 | -0.010621 | 6.2276e-06 | 3.9332e-06 | 0.063648 | 0.063648 | 0.063648 | 0.98788 | -0.23062 | 0.98773 | -0.2337 | 17.4858
14 | 0.27328 | 0.069619 | -0.27295 | -0.069407 | 0.00033371 | 0.0002125 | 0.41203 | 0.41204 | 0.41204 | 0.98788 | -0.23062 | 0.98657 | -0.25596 | 28.2991
15 | -0.3394 | -0.086488 | 0.33999 | 0.086863 | 0.0005876 | 0.00037483 | 0.51057 | 0.51057 | 0.51057 | 0.99015 | -0.1871 | 0.99202 | -0.15129 | 35.0664
16 | -0.035043 | -0.0088059 | 0.03507 | 0.0088226 | 2.6733e-05 | 1.6782e-05 | 0.05285 | 0.05285 | 0.05285 | 0.9868 | -0.25159 | 0.98763 | -0.23562 | 14.5193
17 | -0.0022574 | -0.00056562 | 0.0022576 | 0.00056514 | 2.2739e-07 | -4.8725e-07 | 0.0034512 | 0.003451 | 0.0034512 | 0.97328 | -0.51497 | 0.97339 | -0.51286 | 0.94814
18 | 0.0022574 | 0.00056562 | -0.0022574 | -0.00056575 | 5.7672e-08 | -1.2355e-07 | 0.0034512 | 0.0034513 | 0.0034513 | 0.97328 | -0.51497 | 0.97326 | -0.51551 | 0.94816
19 | 0.03814 | 0.0095798 | -0.038117 | -0.0095669 | 2.334e-05 | 1.2891e-05 | 0.058312 | 0.058313 | 0.058313 | 0.97339 | -0.51286 | 0.97274 | -0.52569 | 5.34
20 | -0.052187 | -0.0131 | 0.052224 | 0.013122 | 3.7233e-05 | 2.2083e-05 | 0.079786 | 0.079785 | 0.079786 | 0.97339 | -0.51286 | 0.97415 | -0.49791 | 7.3064
21 | 0.011789 | 0.0029551 | -0.011787 | -0.0029539 | 2.2704e-06 | 1.2214e-06 | 0.018023 | 0.018023 | 0.018023 | 0.97339 | -0.51286 | 0.97318 | -0.5169 | 4.9513
22 | 0.030655 | 0.0076971 | -0.030642 | -0.0076891 | 1.2844e-05 | 8.027e-06 | 0.046899 | 0.046899 | 0.046899 | 0.97274 | -0.52569 | 0.97229 | -0.53448 | 12.8844
23 | 0.0074613 | 0.0018699 | -0.0074604 | -0.0018695 | 9.3682e-07 | 3.6155e-07 | 0.011414 | 0.011414 | 0.011414 | 0.97274 | -0.52569 | 0.97261 | -0.52833 | 3.1357
24 | -0.052224 | -0.013122 | 0.052228 | 0.013125 | 4.1829e-06 | 2.328e-06 | 0.079785 | 0.079785 | 0.079785 | 0.97415 | -0.49791 | 0.97423 | -0.49623 | 5.4797
25 | 0.0064948 | 0.0016275 | -0.0064947 | -0.0016275 | 1.4127e-07 | 4.2949e-08 | 0.0099306 | 0.0099307 | 0.0099307 | 0.97318 | -0.5169 | 0.97316 | -0.51736 | 2.7282
26 | -0.057467 | -0.014437 | 0.05748 | 0.014445 | 1.3317e-05 | 7.6048e-06 | 0.087785 | 0.087785 | 0.087785 | 0.97423 | -0.49623 | 0.97448 | -0.49138 | 6.0292
27 | 0.0044317 | 0.0011104 | -0.0044313 | -0.0011104 | 3.878e-07 | -3.0608e-08 | 0.0067822 | 0.0067823 | 0.0067823 | 0.97229 | -0.53448 | 0.9722 | -0.53631 | 1.8633
28 | 0.026211 | 0.0065787 | -0.026198 | -0.0065709 | 1.2589e-05 | 7.7983e-06 | 0.040117 | 0.040117 | 0.040117 | 0.97229 | -0.53448 | 0.97178 | -0.54455 | 11.0211
29 | 0.0056679 | 0.0014203 | -0.0056677 | -0.0014202 | 2.2063e-07 | 4.4103e-08 | 0.0086714 | 0.0086715 | 0.0086715 | 0.97261 | -0.52833 | 0.97256 | -0.52914 | 2.3823
30 | -0.0017938 | -0.00044957 | 0.0017938 | 0.00044949 | 2.0358e-08 | -7.6381e-08 | 0.0027448 | 0.0027447 | 0.0027448 | 0.97248 | -0.53082 | 0.97249 | -0.53058 | 0.75405
31 | -0.0036732 | -0.0009205 | 0.0036734 | 0.0009204 | 2.5105e-07 | -1.0231e-07 | 0.0056203 | 0.0056202 | 0.0056203 | 0.97249 | -0.53058 | 0.97256 | -0.52914 | 1.544
32 | -0.0044681 | -0.0011198 | 0.0044687 | 0.0011198 | 5.9407e-07 | -5.4151e-08 | 0.0067819 | 0.0067817 | 0.0067819 | 0.98034 | -0.37656 | 0.98049 | -0.37377 | 1.8632
33 | -0.0075349 | -0.0018882 | 0.0075356 | 0.0018885 | 7.5148e-07 | 2.8764e-07 | 0.011435 | 0.011435 | 0.011435 | 0.98049 | -0.37377 | 0.98059 | -0.37168 | 3.1415
34 | -0.012149 | -0.0030448 | 0.012152 | 0.0030461 | 2.5166e-06 | 1.3615e-06 | 0.018436 | 0.018436 | 0.018436 | 0.98059 | -0.37168 | 0.98082 | -0.36733 | 5.0648
35 | 0.21573 | 0.054556 | -0.21539 | -0.054339 | 0.00034134 | 0.00021674 | 0.32746 | 0.32746 | 0.32746 | 0.98082 | -0.36733 | 0.97912 | -0.40037 | 22.4904
36 | 0.0076138 | 0.0019085 | -0.0076123 | -0.0019079 | 1.5155e-06 | 5.8777e-07 | 0.011551 | 0.011551 | 0.011551 | 0.98082 | -0.36733 | 0.9806 | -0.37151 | 3.1734
37 | -0.23549 | -0.059511 | 0.2358 | 0.059707 | 0.00030798 | 0.00019581 | 0.35745 | 0.35745 | 0.35745 | 0.98082 | -0.36733 | 0.98222 | -0.34009 | 24.5499
38 | 0.19627 | 0.049541 | -0.19611 | -0.049442 | 0.00015629 | 9.9082e-05 | 0.2984 | 0.2984 | 0.2984 | 0.97912 | -0.40037 | 0.97827 | -0.41701 | 20.4947
39 | 0.019119 | 0.0047981 | -0.019101 | -0.0047872 | 1.806e-05 | 1.0842e-05 | 0.029058 | 0.029059 | 0.029059 | 0.97912 | -0.40037 | 0.97811 | -0.4202 | 7.9831
40 | 0.0076123 | 0.0019079 | -0.0076113 | -0.0019076 | 9.7728e-07 | 3.791e-07 | 0.011551 | 0.011551 | 0.011551 | 0.9806 | -0.37151 | 0.98046 | -0.3742 | 3.1734
41 | -0.23716 | -0.060048 | 0.23755 | 0.060297 | 0.00039124 | 0.00024875 | 0.35951 | 0.35951 | 0.35951 | 0.98222 | -0.34009 | 0.98399 | -0.30579 | 24.6917
42 | 0.0024337 | 0.00060969 | -0.0024336 | -0.00060991 | 1.1661e-07 | -2.1643e-07 | 0.003682 | 0.0036821 | 0.0036821 | 0.98352 | -0.31498 | 0.98346 | -0.31598 | 1.0116
43 | -0.007488 | -0.0018764 | 0.0074883 | 0.0018765 | 2.6118e-07 | 9.8285e-08 | 0.011329 | 0.011329 | 0.011329 | 0.98352 | -0.31498 | 0.98355 | -0.31425 | 3.1124
44 | -0.012151 | -0.0030452 | 0.012154 | 0.0030465 | 2.2696e-06 | 1.2252e-06 | 0.018384 | 0.018384 | 0.018384 | 0.98355 | -0.31425 | 0.98375 | -0.31033 | 5.0505
45 | -0.016033 | -0.0040187 | 0.016037 | 0.0040208 | 3.463e-06 | 2.0169e-06 | 0.024252 | 0.024252 | 0.024252 | 0.98375 | -0.31033 | 0.98399 | -0.30579 | 6.6626
46 | -0.25359 | -0.064318 | 0.25389 | 0.064508 | 0.00029972 | 0.00019071 | 0.38376 | 0.38376 | 0.38376 | 0.98399 | -0.30579 | 0.98526 | -0.28124 | 26.3573
47 | -0.26031 | -0.066117 | 0.26057 | 0.066285 | 0.00026403 | 0.00016805 | 0.39345 | 0.39345 | 0.39345 | 0.98526 | -0.28124 | 0.98635 | -0.26019 | 27.023
48 | -0.26613 | -0.067677 | 0.26618 | 0.067711 | 5.4253e-05 | 3.4539e-05 | 0.40183 | 0.40183 | 0.40183 | 0.98635 | -0.26019 | 0.98657 | -0.25596 | 27.5984
49 | 0.038875 | 0.0097776 | -0.038871 | -0.0097753 | 3.5577e-06 | 2.2415e-06 | 0.058578 | 0.058578 | 0.058578 | 0.98773 | -0.2337 | 0.98763 | -0.23562 | 16.0928
50 | 0.0014378 | 0.00036018 | -0.0014377 | -0.00036033 | 2.4024e-08 | -1.5267e-07 | 0.0021873 | 0.0021874 | 0.0021874 | 0.97807 | -0.42091 | 0.97806 | -0.42126 | 0.60093
51 | -0.0014378 | -0.00036018 | 0.0014378 | 0.00035987 | 4.8787e-08 | -3.1008e-07 | 0.0021873 | 0.0021872 | 0.0021873 | 0.97807 | -0.42091 | 0.97811 | -0.4202 | 0.60092
52 | 0.013249 | 0.0033211 | -0.013248 | -0.0033208 | 5.0882e-07 | 2.8373e-07 | 0.020156 | 0.020156 | 0.020156 | 0.97811 | -0.4202 | 0.97807 | -0.421 | 5.5373
53 | 0.0044144 | 0.0011063 | -0.0044142 | -0.0011063 | 2.6781e-07 | -2.7332e-08 | 0.0067157 | 0.0067158 | 0.0067158 | 0.97811 | -0.4202 | 0.97805 | -0.42147 | 1.845
54 | 0.011541 | 0.0028929 | -0.011539 | -0.0028919 | 1.8452e-06 | 9.8064e-07 | 0.017558 | 0.017558 | 0.017558 | 0.97807 | -0.421 | 0.9779 | -0.42436 | 4.8236
55 | 0.18338 | 0.046252 | -0.18334 | -0.046225 | 4.2303e-05 | 2.6783e-05 | 0.27904 | 0.27904 | 0.27904 | 0.97827 | -0.41701 | 0.97802 | -0.42183 | 19.1647
56 | 0.17624 | 0.044447 | -0.17607 | -0.044339 | 0.00016931 | 0.0001071 | 0.26824 | 0.26824 | 0.26824 | 0.97802 | -0.42183 | 0.977 | -0.44192 | 18.4233
57 | 0.16762 | 0.042221 | -0.16751 | -0.04215 | 0.00011244 | 7.1039e-05 | 0.25537 | 0.25537 | 0.25537 | 0.977 | -0.44192 | 0.97628 | -0.45596 | 17.5391
58 | 0.088942 | 0.022371 | -0.088735 | -0.022239 | 0.00020745 | 0.0001324 | 0.13559 | 0.13559 | 0.13559 | 0.97628 | -0.45596 | 0.9738 | -0.50491 | 37.2506
59 | 0.078564 | 0.019778 | -0.078459 | -0.019715 | 0.00010568 | 6.3714e-05 | 0.11978 | 0.11978 | 0.11978 | 0.97628 | -0.45596 | 0.97485 | -0.48414 | 8.2265
60 | 0.062458 | 0.0157 | -0.062437 | -0.015687 | 2.1594e-05 | 1.2557e-05 | 0.095353 | 0.095354 | 0.095354 | 0.97485 | -0.48414 | 0.97448 | -0.49138 | 6.549
61 | 0.016 | 0.0040147 | -0.015995 | -0.0040114 | 5.674e-06 | 3.3152e-06 | 0.024425 | 0.024425 | 0.024425 | 0.97485 | -0.48414 | 0.97447 | -0.49158 | 6.7101
62 | 0.40756 | 0.10459 | -0.40733 | -0.10444 | 0.00022804 | 0.0001456 | 0.60859 | 0.60859 | 0.60859 | 0.99791 | -0.03948 | 0.9973 | -0.051018 | 41.7988
63 | -0.42482 | -0.10892 | 0.42563 | 0.10944 | 0.00081493 | 0.00052042 | 0.63433 | 0.63433 | 0.63433 | 0.99791 | -0.03948 | 1 | 0 | 43.5668
64 | 0.38388 | 0.098569 | -0.383 | -0.098005 | 0.0008828 | 0.0005635 | 0.57361 | 0.57361 | 0.57361 | 0.9973 | -0.051018 | 0.99479 | -0.098509 | 39.3965
65 | 0.0078416 | 0.0019654 | -0.0078406 | -0.001965 | 1.0171e-06 | 3.8963e-07 | 0.011668 | 0.011669 | 0.011669 | 1 | 0 | 0.99986 | -0.0027227 | 3.2057
66 | 0.36827 | 0.094314 | -0.36747 | -0.093803 | 0.00080139 | 0.00051144 | 0.55158 | 0.55159 | 0.55159 | 0.99479 | -0.098509 | 0.99243 | -0.14353 | 37.8836
67 | 0.3534 | 0.090277 | -0.35327 | -0.090192 | 0.0001325 | 8.4538e-05 | 0.53049 | 0.53049 | 0.53049 | 0.99243 | -0.14353 | 0.99202 | -0.15129 | 36.4348
68 | 0.013284 | 0.0033297 | -0.013282 | -0.0033288 | 1.6916e-06 | 9.3595e-07 | 0.019925 | 0.019925 | 0.019925 | 0.99202 | -0.15129 | 0.99189 | -0.15397 | 5.474
69 | 0.0034499 | 0.00086452 | -0.0034498 | -0.0008646 | 1.1985e-07 | -7.7297e-08 | 0.0051755 | 0.0051755 | 0.0051755 | 0.99189 | -0.15397 | 0.99185 | -0.15469 | 1.4219
70 | 0.0098319 | 0.0024643 | -0.0098309 | -0.0024638 | 1.0476e-06 | 5.0474e-07 | 0.01475 | 0.01475 | 0.01475 | 0.99189 | -0.15397 | 0.99177 | -0.1562 | 4.0522
71 | 0.006488 | 0.0016259 | -0.0064876 | -0.0016258 | 4.1478e-07 | 1.1484e-07 | 0.0097344 | 0.0097344 | 0.0097344 | 0.99177 | -0.1562 | 0.9917 | -0.15754 | 2.6743
72 | 0.0031383 | 0.00078642 | -0.0031382 | -0.00078651 | 9.7246e-08 | -8.8651e-08 | 0.0047089 | 0.0047089 | 0.0047089 | 0.9917 | -0.15754 | 0.99167 | -0.15819 | 1.2937
73 | -0.0056761 | -0.0014225 | 0.0056764 | 0.0014226 | 2.7625e-07 | 5.6501e-08 | 0.0087009 | 0.0087008 | 0.0087009 | 0.97071 | -0.56575 | 0.97076 | -0.56472 | 2.3904
74 | 0.0034654 | 0.00086846 | -0.0034653 | -0.0008685 | 7.7494e-08 | -4.093e-08 | 0.0053122 | 0.0053122 | 0.0053122 | 0.97071 | -0.56575 | 0.97069 | -0.56622 | 1.4594
75 | -0.006981 | -0.0017495 | 0.0069812 | 0.0017496 | 2.3694e-07 | 8.3415e-08 | 0.010701 | 0.010701 | 0.010701 | 0.97076 | -0.56472 | 0.9708 | -0.56401 | 2.9397
76 | -0.0082214 | -0.0020604 | 0.0082221 | 0.0020607 | 7.3239e-07 | 3.1665e-07 | 0.012602 | 0.012601 | 0.012602 | 0.9708 | -0.56401 | 0.9709 | -0.56214 | 3.462
77 | -0.013723 | -0.0034392 | 0.013724 | 0.0034398 | 9.8758e-07 | 5.5842e-07 | 0.021032 | 0.021032 | 0.021032 | 0.9709 | -0.56214 | 0.97097 | -0.56063 | 5.7781
78 | 0.0024922 | 0.00062456 | -0.0024922 | -0.00062461 | 3.0294e-08 | -4.9086e-08 | 0.0038197 | 0.0038197 | 0.0038197 | 0.9709 | -0.56214 | 0.97088 | -0.5624 | 1.0494
79 | 0.0030088 | 0.00075391 | -0.0030086 | -0.00075404 | 1.4134e-07 | -1.2874e-07 | 0.0046113 | 0.0046113 | 0.0046113 | 0.9709 | -0.56214 | 0.97085 | -0.56313 | 1.2669
80 | -0.015585 | -0.003906 | 0.015593 | 0.0039111 | 8.6732e-06 | 5.0491e-06 | 0.023884 | 0.023883 | 0.023884 | 0.97097 | -0.56063 | 0.97156 | -0.54896 | 6.5614
81 | -0.024352 | -0.0061063 | 0.024357 | 0.0061095 | 5.1121e-06 | 3.1504e-06 | 0.037298 | 0.037298 | 0.037298 | 0.97156 | -0.54896 | 0.97178 | -0.54455 | 10.2467
82 | 0.0087586 | 0.0021952 | -0.0087577 | -0.0021948 | 8.7421e-07 | 3.9908e-07 | 0.013414 | 0.013415 | 0.013415 | 0.97156 | -0.54896 | 0.97146 | -0.55105 | 3.6853
83 | 0.0073343 | 0.0018381 | -0.007334 | -0.001838 | 3.1199e-07 | 1.1806e-07 | 0.011234 | 0.011234 | 0.011234 | 0.97146 | -0.55105 | 0.97141 | -0.55194 | 3.0863
84 | 0.0058731 | 0.0014718 | -0.0058729 | -0.0014718 | 2.1455e-07 | 4.9802e-08 | 0.0089964 | 0.0089965 | 0.0089965 | 0.97141 | -0.55194 | 0.97137 | -0.55271 | 2.4716
85 | 0.0025278 | 0.00063335 | -0.0025277 | -0.0006335 | 1.0101e-07 | -1.5848e-07 | 0.0038689 | 0.003869 | 0.003869 | 0.9722 | -0.53631 | 0.97216 | -0.53715 | 1.0629
86 | 0.0043647 | 0.0010938 | -0.0043646 | -0.0010938 | 1.1908e-07 | -1.1718e-08 | 0.0066861 | 0.0066861 | 0.0066861 | 0.97137 | -0.55271 | 0.97134 | -0.55328 | 1.8368
87 | 0.012671 | 0.0031768 | -0.012667 | -0.0031746 | 4.0657e-06 | 2.2421e-06 | 0.019357 | 0.019358 | 0.019358 | 0.97403 | -0.50019 | 0.97369 | -0.50693 | 5.318
88 | -0.012671 | -0.0031768 | 0.012674 | 0.0031784 | 2.7943e-06 | 1.5408e-06 | 0.019357 | 0.019357 | 0.019357 | 0.97403 | -0.50019 | 0.97427 | -0.49557 | 5.318
89 | -0.012674 | -0.0031784 | 0.012676 | 0.0031797 | 2.4113e-06 | 1.3295e-06 | 0.019357 | 0.019357 | 0.019357 | 0.97427 | -0.49557 | 0.97447 | -0.49158 | 5.318
90 | 0.0041598 | 0.0010423 | -0.0041595 | -0.0010424 | 2.5033e-07 | -4.4788e-08 | 0.0063605 | 0.0063605 | 0.0063605 | 0.97316 | -0.51736 | 0.9731 | -0.51862 | 1.7474
91 | 0.0028847 | 0.00072289 | -0.0028846 | -0.00072295 | 5.9975e-08 | -6.299e-08 | 0.004419 | 0.0044191 | 0.0044191 | 0.97134 | -0.55328 | 0.97132 | -0.55372 | 1.214
92 | 0.0022451 | 0.00056257 | -0.0022451 | -0.00056267 | 4.55e-08 | -9.8764e-08 | 0.0034331 | 0.0034332 | 0.0034332 | 0.9731 | -0.51862 | 0.97308 | -0.51905 | 0.94318

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45732 | 0.11696

## res_load
| p_mw | q_mvar
0 | 0.0048012 | 0.0012033
1 | 0.0062366 | 0.001563
2 | 0.0056606 | 0.0014187
3 | 0.003819 | 0.00095713
4 | 0.0052545 | 0.0013169
5 | 0.0079199 | 0.0019849
6 | 0.0032761 | 0.00082108
7 | 0.017946 | 0.0044977
8 | 0.0032632 | 0.00081784
9 | 0.0022574 | 0.00056575
10 | 0.0052923 | 0.0013264
11 | 0.0052382 | 0.0013128
12 | 0.0017925 | 0.00044924
13 | 0.0017938 | 0.00044957
14 | 0.0018794 | 0.00047101
15 | 0.0044681 | 0.0011198
16 | 0.0030662 | 0.00076846
17 | 0.0046135 | 0.0011563
18 | 0.0013626 | 0.00034151
19 | 0.0050543 | 0.0012667
20 | 0.0024336 | 0.00060991
21 | 0.0046632 | 0.0011687
22 | 0.0038794 | 0.00097228
23 | 0.0064181 | 0.0016085
24 | 0.0055536 | 0.0013919
25 | 0.0067649 | 0.0016955
26 | 0.0033657 | 0.00084353
27 | 0.0038014 | 0.00095271
28 | 0.0014377 | 0.00036033
29 | 0.0017075 | 0.00042794
30 | 0.0044142 | 0.0011063
31 | 0.012731 | 0.0031906
32 | 0.0076113 | 0.0019076
33 | 0.011539 | 0.0028919
34 | 0.0070953 | 0.0017782
35 | 0.0084536 | 0.0021187
36 | 0.088735 | 0.022239
37 | 0.017264 | 0.0043268
38 | 0.023444 | 0.0058755
39 | 0.022192 | 0.0055619
40 | 0.014727 | 0.0036908
41 | 0.0078406 | 0.001965
42 | 0.014069 | 0.003526
43 | 0.0034498 | 0.0008646
44 | 0.0033429 | 0.0008378
45 | 0.0033493 | 0.00083941
46 | 0.0031382 | 0.00078651
47 | 0.0022107 | 0.00055404
48 | 0.0013047 | 0.00032698
49 | 0.0034653 | 0.0008685
50 | 0.0012402 | 0.00031081
51 | 0.0018605 | 0.00046627
52 | 0.0024922 | 0.00062461
53 | 0.0030086 | 0.00075404
54 | 0.0018411 | 0.00046144
55 | 0.0014234 | 0.00035674
56 | 0.0014609 | 0.00036614
57 | 0.0019035 | 0.00047706
58 | 0.0015082 | 0.000378
59 | 0.0019943 | 0.00049981
60 | 0.012667 | 0.0031746
61 | 0.0049566 | 0.0012422
62 | 0.0033187 | 0.00083174
63 | 0.0023349 | 0.00058518
64 | 0.0014799 | 0.0003709
65 | 0.0028846 | 0.00072295
66 | 0.0025277 | 0.0006335
67 | 0.0019144 | 0.0004798
68 | 0.0022451 | 0.00056267

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1