## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-164_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-164_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-164_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-164_0_6_node_82 | 0.4 | n |  | TRUE
4 | bus_LV_261-164_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-164_0_6_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_261-164_0_6_node_79 | 0.4 | n |  | TRUE
7 | bus_LV_261-164_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-164_0_6_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_261-164_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-164_0_6_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_261-164_0_6_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_261-164_0_6_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_261-164_0_6_node_81 | 0.4 | n |  | TRUE
14 | bus_LV_261-164_0_6_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_261-164_0_6_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_261-164_0_6_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_261-164_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_261-164_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_261-164_0_6_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_261-164_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_261-164_0_6_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_261-164_0_6_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_261-164_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_261-164_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_261-164_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_261-164_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_261-164_0_6_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_261-164_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_261-164_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_261-164_0_6_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_261-164_0_6_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_261-164_0_6_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_261-164_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_261-164_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_261-164_0_6_node_14 | 0.4 | n |  | TRUE
36 | bus_LV_261-164_0_6_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_261-164_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_261-164_0_6_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_261-164_0_6_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_261-164_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_261-164_0_6_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_261-164_0_6_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_261-164_0_6_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_261-164_0_6_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-164_0_6_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_261-164_0_6_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_261-164_0_6_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_261-164_0_6_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_261-164_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_261-164_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_261-164_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_261-164_0_6_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_261-164_0_6_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_261-164_0_6_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_261-164_0_6_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_261-164_0_6_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_261-164_0_6_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_261-164_0_6_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_261-164_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_261-164_0_6_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_261-164_0_6_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_261-164_0_6_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_261-164_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_261-164_0_6_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_261-164_0_6_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_261-164_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_261-164_0_6_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_261-164_0_6_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_261-164_0_6_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_261-164_0_6_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_261-164_0_6_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_261-164_0_6_node_89 | 0.4 | n |  | TRUE
73 | bus_LV_261-164_0_6_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_261-164_0_6_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_261-164_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_261-164_0_6_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_261-164_0_6_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_261-164_0_6_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_261-164_0_6_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_261-164_0_6_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_261-164_0_6_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_261-164_0_6_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_261-164_0_6_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_261-164_0_6_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_261-164_0_6_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_261-164_0_6_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_261-164_0_6_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_261-164_0_6_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_261-164_0_6_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_261-164_0_6_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_261-164_0_6_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_261-164_0_6_node_95 | 0.4 | n |  | TRUE
93 | bus_MV_518_0_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-164_0_6_load_0 | 0 | 0.0072928 | 0.0018278 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-164_0_6_load_1 | 1 | 0.0074254 | 0.001861 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-164_0_6_load_82 | 3 | 0.0065608 | 0.0016443 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-164_0_6_load_79 | 6 | 0.0085742 | 0.0021489 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-164_0_6_load_10 | 8 | 0.0066773 | 0.0016735 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-164_0_6_load_5 | 9 | 0.0085572 | 0.0021446 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-164_0_6_load_77 | 12 | 0.022207 | 0.0055656 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-164_0_6_load_81 | 13 | 0.0076938 | 0.0019283 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-164_0_6_load_40 | 14 | 0.0084516 | 0.0021182 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-164_0_6_load_37 | 15 | 0.009681 | 0.0024263 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-164_0_6_load_9 | 18 | 0.008432 | 0.0021133 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-164_0_6_load_21 | 19 | 0.0081193 | 0.0020349 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-164_0_6_load_26 | 20 | 0.0089531 | 0.0022439 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-164_0_6_load_22 | 25 | 0.01981 | 0.0049648 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-164_0_6_load_27 | 26 | 0.028137 | 0.0070517 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-164_0_6_load_20 | 28 | 0.0083641 | 0.0020962 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-164_0_6_load_78 | 30 | 0.0077327 | 0.001938 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-164_0_6_load_68 | 31 | 0.0017692 | 0.00044341 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-164_0_6_load_17 | 34 | 0.0068578 | 0.0017187 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-164_0_6_load_14 | 35 | 0.01003 | 0.0025138 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-164_0_6_load_28 | 37 | 0.0097596 | 0.002446 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-164_0_6_load_19 | 38 | 0.0077274 | 0.0019367 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-164_0_6_load_41 | 42 | 0.0077113 | 0.0019326 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-164_0_6_load_25 | 44 | 0.0076377 | 0.0019142 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-164_0_6_load_66 | 45 | 0.0035993 | 0.00090207 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-164_0_6_load_30 | 47 | 0.063608 | 0.015942 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-164_0_6_load_38 | 51 | 0.002534 | 0.00063507 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-164_0_6_load_97 | 52 | 0.0019283 | 0.00048328 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-164_0_6_load_90 | 55 | 0.0017591 | 0.00044088 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-164_0_6_load_96 | 56 | 0.0017449 | 0.00043732 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-164_0_6_load_51 | 57 | 0.010418 | 0.0026111 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-164_0_6_load_88 | 58 | 0.001798 | 0.00045061 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-164_0_6_load_44 | 60 | 0.0057915 | 0.0014515 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-164_0_6_load_43 | 61 | 0.0097636 | 0.002447 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-164_0_6_load_45 | 62 | 0.0066884 | 0.0016763 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-164_0_6_load_47 | 63 | 0.0079739 | 0.0019984 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-164_0_6_load_52 | 64 | 0.020483 | 0.0051334 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-164_0_6_load_91 | 68 | 0.0018011 | 0.0004514 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-164_0_6_load_58 | 69 | 0.001842 | 0.00046165 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-164_0_6_load_70 | 71 | 0.0065029 | 0.0016298 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-164_0_6_load_89 | 72 | 0.0018013 | 0.00045145 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-164_0_6_load_57 | 73 | 0.0017987 | 0.0004508 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-164_0_6_load_62 | 74 | 0.04488 | 0.011248 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-164_0_6_load_71 | 75 | 0.0084024 | 0.0021058 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-164_0_6_load_60 | 77 | 0.0017579 | 0.00044056 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-164_0_6_load_61 | 78 | 0.0064607 | 0.0016192 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-164_0_6_load_84 | 79 | 0.0018528 | 0.00046437 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-164_0_6_load_83 | 80 | 0.001789 | 0.00044836 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-164_0_6_load_65 | 82 | 0.022423 | 0.0056197 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-164_0_6_load_73 | 83 | 0.0041437 | 0.0010385 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-164_0_6_load_74 | 84 | 0.00075796 | 0.00018996 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-164_0_6_load_72 | 85 | 0.0066603 | 0.0016692 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-164_0_6_load_85 | 86 | 0.0017503 | 0.00043865 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-164_0_6_load_86 | 87 | 0.0017446 | 0.00043723 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-164_0_6_load_94 | 88 | 0.0019292 | 0.00048349 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-164_0_6_load_92 | 89 | 0.001853 | 0.00046441 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-164_0_6_load_87 | 90 | 0.0018422 | 0.00046169 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-164_0_6_load_93 | 91 | 0.0017892 | 0.00044841 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-164_0_6_load_95 | 92 | 0.0017493 | 0.00043842 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-164_0_6_line_0 |  | 0 | 1 | 0.028898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-164_0_6_line_1 |  | 1 | 2 | 0.026365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-164_0_6_line_2 |  | 2 | 3 | 0.0049457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-164_0_6_line_3 |  | 3 | 13 | 0.014071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-164_0_6_line_4 |  | 4 | 5 | 0.024536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-164_0_6_line_5 |  | 4 | 6 | 0.012493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-164_0_6_line_6 |  | 5 | 14 | 0.036491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-164_0_6_line_7 |  | 5 | 15 | 0.029865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-164_0_6_line_8 |  | 7 | 8 | 0.024232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-164_0_6_line_9 |  | 7 | 9 | 0.037558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-164_0_6_line_10 |  | 8 | 22 | 0.012635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-164_0_6_line_11 |  | 9 | 16 | 0.022301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-164_0_6_line_12 |  | 10 | 11 | 0.04329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-164_0_6_line_13 |  | 10 | 12 | 0.025047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-164_0_6_line_14 |  | 11 | 31 | 0.010805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-164_0_6_line_15 |  | 13 | 22 | 0.0096628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-164_0_6_line_16 |  | 14 | 21 | 0.0092389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-164_0_6_line_17 |  | 15 | 51 | 0.01699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-164_0_6_line_18 |  | 16 | 17 | 0.037125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-164_0_6_line_19 |  | 16 | 18 | 0.030285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-164_0_6_line_20 |  | 17 | 19 | 0.028113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-164_0_6_line_21 |  | 17 | 20 | 0.029926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-164_0_6_line_22 |  | 18 | 21 | 0.0097195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-164_0_6_line_23 |  | 19 | 28 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-164_0_6_line_24 |  | 20 | 29 | 0.0084449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_261-164_0_6_line_25 |  | 22 | 30 | 0.020529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-164_0_6_line_26 |  | 23 | 24 | 0.031757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-164_0_6_line_27 |  | 23 | 25 | 0.0076173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-164_0_6_line_28 |  | 24 | 34 | 0.015301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-164_0_6_line_29 |  | 26 | 27 | 0.0098342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-164_0_6_line_30 |  | 27 | 47 | 0.022024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-164_0_6_line_31 |  | 28 | 34 | 0.0092042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-164_0_6_line_32 |  | 29 | 37 | 0.027871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-164_0_6_line_33 |  | 29 | 36 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-164_0_6_line_34 |  | 31 | 32 | 0.019934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-164_0_6_line_35 |  | 32 | 33 | 0.027778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-164_0_6_line_36 |  | 33 | 45 | 0.021543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-164_0_6_line_37 |  | 33 | 43 | 0.038089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-164_0_6_line_38 |  | 35 | 36 | 0.0082927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-164_0_6_line_39 |  | 37 | 40 | 0.017521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_261-164_0_6_line_40 |  | 38 | 39 | 0.009637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-164_0_6_line_41 |  | 39 | 41 | 0.022079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-164_0_6_line_42 |  | 39 | 42 | 0.028933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-164_0_6_line_43 |  | 40 | 48 | 0.031381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_261-164_0_6_line_44 |  | 41 | 60 | 0.013147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-164_0_6_line_45 |  | 42 | 44 | 0.019829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-164_0_6_line_46 |  | 43 | 44 | 0.012022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-164_0_6_line_47 |  | 45 | 46 | 0.10197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-164_0_6_line_48 |  | 46 | 84 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-164_0_6_line_49 |  | 47 | 49 | 0.030405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-164_0_6_line_50 |  | 48 | 59 | 0.00775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_261-164_0_6_line_51 |  | 49 | 50 | 0.041922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-164_0_6_line_52 |  | 50 | 52 | 0.027789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-164_0_6_line_53 |  | 52 | 56 | 0.00017189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-164_0_6_line_54 |  | 53 | 54 | 0.010415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_261-164_0_6_line_55 |  | 53 | 55 | 0.017027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-164_0_6_line_56 |  | 54 | 57 | 0.02637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_261-164_0_6_line_57 |  | 55 | 58 | 0.00032914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_261-164_0_6_line_58 |  | 56 | 92 | 0.00016485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-164_0_6_line_59 |  | 57 | 59 | 0.0092597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_261-164_0_6_line_60 |  | 58 | 90 | 0.00033759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_261-164_0_6_line_61 |  | 59 | 63 | 0.0051837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-164_0_6_line_62 |  | 60 | 61 | 0.03207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-164_0_6_line_63 |  | 61 | 62 | 0.017474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-164_0_6_line_64 |  | 62 | 63 | 0.016934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-164_0_6_line_65 |  | 64 | 65 | 0.027258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-164_0_6_line_66 |  | 65 | 66 | 0.030906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_261-164_0_6_line_67 |  | 65 | 67 | 0.040814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-164_0_6_line_68 |  | 66 | 68 | 0.013752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_261-164_0_6_line_69 |  | 66 | 69 | 0.011154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-164_0_6_line_70 |  | 67 | 70 | 0.17123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-164_0_6_line_71 |  | 67 | 71 | 0.026051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-164_0_6_line_72 |  | 68 | 72 | 0.024591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_261-164_0_6_line_73 |  | 69 | 73 | 0.0052572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-164_0_6_line_74 |  | 70 | 74 | 0.042513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-164_0_6_line_75 |  | 71 | 75 | 0.054293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-164_0_6_line_76 |  | 72 | 90 | 0.00034132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_261-164_0_6_line_77 |  | 73 | 76 | 0.004054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-164_0_6_line_78 |  | 74 | 81 | 0.0058178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-164_0_6_line_79 |  | 75 | 85 | 0.0033811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-164_0_6_line_80 |  | 76 | 77 | 0.0012984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-164_0_6_line_81 |  | 76 | 78 | 0.042009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-164_0_6_line_82 |  | 77 | 79 | 0.0054343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-164_0_6_line_83 |  | 79 | 80 | 0.0054806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-164_0_6_line_84 |  | 80 | 86 | 0.0053284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_261-164_0_6_line_85 |  | 81 | 82 | 0.014991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_261-164_0_6_line_86 |  | 83 | 84 | 0.029619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_261-164_0_6_line_87 |  | 86 | 87 | 0.0052594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_261-164_0_6_line_88 |  | 87 | 88 | 0.016373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_261-164_0_6_line_89 |  | 88 | 89 | 0.026839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_261-164_0_6_line_90 |  | 89 | 91 | 0.00017552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_261-164_0_6_line_91 |  | 91 | 92 | 0.00016831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-164_0_6_trafo_36 | 0.63 MVA 20/0.4 kV | 93 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2678526.775 | 1252041.0658 | 2678514.5351 | 1252055.1987 | 2678512.6502 | 1252065.2251
1 | 2678507.7791 | 1252091.1358 | 2678512.6502 | 1252065.2251
2 | 2678507.7791 | 1252091.1358 | 2678512.4266 | 1252092.8272
3 | 2678512.4266 | 1252092.8272 | 2678525.6494 | 1252097.6398
4 | 2678625.6593 | 1252051.0801 | 2678612.2616 | 1252044.8866 | 2678603.2026 | 1252041.0525
5 | 2678603.2026 | 1252041.0525 | 2678596.812 | 1252045.4377 | 2678592.094 | 1252045.9208
6 | 2678625.6593 | 1252051.0801 | 2678620.975 | 1252063.9496 | 2678611.9749 | 1252084.8931
7 | 2678625.6593 | 1252051.0801 | 2678641.7432 | 1252059.5998 | 2678651.8815 | 1252065.3671
8 | 2678527.0861 | 1252135.491 | 2678535.6686 | 1252120.616 | 2678535.332 | 1252113.5657
9 | 2678527.0861 | 1252135.491 | 2678541.4114 | 1252137.1821 | 2678545.7925 | 1252136.9066 | 2678555.0005 | 1252136.3282 | 2678564.1646 | 1252133.7611
10 | 2678534.7294 | 1252100.9445 | 2678535.332 | 1252113.5657
11 | 2678584.3661 | 1252124.4977 | 2678568.8714 | 1252132.4426 | 2678564.1646 | 1252133.7611
12 | 2678451.391 | 1252157.8605 | 2678444.4736 | 1252184.3663 | 2678439.7832 | 1252185.7719 | 2678436.8725 | 1252196.3968
13 | 2678451.391 | 1252157.8605 | 2678470.5487 | 1252163.9409 | 2678475.0923 | 1252165.8993
14 | 2678436.8725 | 1252196.3968 | 2678444.749 | 1252198.9029 | 2678447.0844 | 1252199.9001
15 | 2678534.7294 | 1252100.9445 | 2678525.6494 | 1252097.6398
16 | 2678608.3272 | 1252093.3814 | 2678611.9749 | 1252084.8931
17 | 2678666.6494 | 1252073.7681 | 2678651.8815 | 1252065.3671
18 | 2678584.3661 | 1252124.4977 | 2678587.4859 | 1252129.4094 | 2678595.9728 | 1252142.7874 | 2678596.4316 | 1252158.2604
19 | 2678584.3661 | 1252124.4977 | 2678595.6467 | 1252115.6074 | 2678604.0411 | 1252102.0773
20 | 2678596.4316 | 1252158.2604 | 2678588.1154 | 1252166.1449 | 2678571.4676 | 1252165.7323
21 | 2678596.4316 | 1252158.2604 | 2678597.3178 | 1252188.1737
22 | 2678608.3272 | 1252093.3814 | 2678605.8349 | 1252099.1859 | 2678604.0411 | 1252102.0773
23 | 2678558.9117 | 1252172.2473 | 2678566.8614 | 1252165.6182 | 2678571.4676 | 1252165.7323
24 | 2678597.5679 | 1252196.615 | 2678597.3178 | 1252188.1737
25 | 2678534.7294 | 1252100.9445 | 2678548.2317 | 1252094.1296 | 2678550.8464 | 1252089.4
26 | 2678555.4131 | 1252195.1216 | 2678523.5649 | 1252195.5665
27 | 2678523.5649 | 1252195.5665 | 2678523.9958 | 1252203.1716
28 | 2678555.4131 | 1252195.1216 | 2678555.4252 | 1252179.8209
29 | 2678640.24 | 1252147.7894 | 2678630.409 | 1252147.5366
30 | 2678640.24 | 1252147.7894 | 2678652.0637 | 1252150.8597 | 2678661.8662 | 1252150.5196
31 | 2678558.9117 | 1252172.2473 | 2678555.4289 | 1252175.1515 | 2678555.4252 | 1252179.8209
32 | 2678597.5679 | 1252196.615 | 2678605.0712 | 1252202.7746 | 2678623.2209 | 1252203.4714
33 | 2678597.5679 | 1252196.615 | 2678594.7062 | 1252197.8446 | 2678594.4019 | 1252202.0103 | 2678585.4901 | 1252216.1025
34 | 2678465.4174 | 1252207.7275 | 2678447.0844 | 1252199.9001
35 | 2678490.379 | 1252220.0672 | 2678465.4174 | 1252207.7275
36 | 2678490.379 | 1252220.0672 | 2678478.3029 | 1252237.9074
37 | 2678523.5479 | 1252238.965 | 2678520.3044 | 1252237.1207 | 2678490.379 | 1252220.0672
38 | 2678585.4901 | 1252216.1025 | 2678583.7859 | 1252214.8568 | 2678577.6064 | 1252214.6922
39 | 2678639.2566 | 1252207.6317 | 2678628.8628 | 1252207.7161 | 2678626.389 | 1252206.449 | 2678623.2209 | 1252203.4714
40 | 2678577.2077 | 1252267.5196 | 2678579.9827 | 1252260.8737 | 2678582.1657 | 1252259.7948
41 | 2678577.2077 | 1252267.5196 | 2678597.1096 | 1252277.2018
42 | 2678577.2077 | 1252267.5196 | 2678551.6657 | 1252253.9276
43 | 2678639.2566 | 1252207.6317 | 2678643.1224 | 1252238.7727
44 | 2678597.1096 | 1252277.2018 | 2678596.7472 | 1252264.0597
45 | 2678551.6657 | 1252253.9276 | 2678534.1607 | 1252244.6125
46 | 2678523.5479 | 1252238.965 | 2678534.1607 | 1252244.6125
47 | 2678478.3029 | 1252237.9074 | 2678423.6129 | 1252323.9711
48 | 2678423.6129 | 1252323.9711 | 2678412.4981 | 1252320.451
49 | 2678692.1631 | 1252152.5711 | 2678667.8224 | 1252150.3129 | 2678661.8662 | 1252150.5196
50 | 2678643.1224 | 1252238.7727 | 2678650.8946 | 1252238.8871
51 | 2678692.1631 | 1252152.5711 | 2678690.2584 | 1252183.4464 | 2678701.246 | 1252183.5479
52 | 2678701.246 | 1252183.5479 | 2678725.9856 | 1252196.2031
53 | 2678726.1386 | 1252196.2814 | 2678725.9856 | 1252196.2031
54 | 2678687.597 | 1252234.3487 | 2678686.4975 | 1252239.2822 | 2678685.0102 | 1252244.4329
55 | 2678687.597 | 1252234.3487 | 2678702.5139 | 1252242.5598
56 | 2678685.0102 | 1252244.4329 | 2678667.7021 | 1252244.0251 | 2678660.1533 | 1252239.0212
57 | 2678702.8022 | 1252242.7185 | 2678702.5139 | 1252242.5598
58 | 2678726.2854 | 1252196.3565 | 2678726.1386 | 1252196.2814
59 | 2678650.8946 | 1252238.8871 | 2678660.1533 | 1252239.0212
60 | 2678703.0979 | 1252242.8813 | 2678702.8022 | 1252242.7185
61 | 2678650.8946 | 1252238.8871 | 2678648.6288 | 1252243.5493
62 | 2678614.873 | 1252247.8387 | 2678600.3027 | 1252248.156 | 2678598.193 | 1252249.5957 | 2678596.432 | 1252252.6302 | 2678596.7472 | 1252264.0597
63 | 2678632.3427 | 1252247.4583 | 2678614.873 | 1252247.8387
64 | 2678632.3427 | 1252247.4583 | 2678639.6927 | 1252246.9666 | 2678648.6288 | 1252243.5493
65 | 2678736.0258 | 1252292.4238 | 2678708.8919 | 1252289.8212
66 | 2678736.0258 | 1252292.4238 | 2678736.9874 | 1252261.5359
67 | 2678736.0258 | 1252292.4238 | 2678776.7743 | 1252296.3238
68 | 2678736.9874 | 1252261.5359 | 2678724.9396 | 1252254.9042
69 | 2678736.9874 | 1252261.5359 | 2678737.3394 | 1252250.3879
70 | 2678776.7743 | 1252296.3238 | 2678802.0554 | 1252298.7506 | 2678819.0103 | 1252300.7331 | 2678819.2837 | 1252321.0184 | 2678816.1074 | 1252357.2252 | 2678814.2185 | 1252396.5069 | 2678813.0569 | 1252410.0681 | 2678793.9042 | 1252408.8014
71 | 2678776.7743 | 1252296.3238 | 2678777.2642 | 1252270.2777
72 | 2678724.9396 | 1252254.9042 | 2678703.397 | 1252243.0459
73 | 2678739.7157 | 1252245.6984 | 2678737.3394 | 1252250.3879 | 2678737.3394 | 1252250.3879
74 | 2678793.9042 | 1252408.8014 | 2678790.3638 | 1252436.0856 | 2678775.4019 | 1252435.0133
75 | 2678777.2642 | 1252270.2777 | 2678777.2642 | 1252270.2777 | 2678789.065 | 1252269.9454 | 2678807.0731 | 1252246.6677 | 2678806.6593 | 1252233.6169
76 | 2678703.397 | 1252243.0459 | 2678703.0979 | 1252242.8813
77 | 2678741.548 | 1252242.0821 | 2678739.7157 | 1252245.6984
78 | 2678769.599 | 1252434.5974 | 2678775.4019 | 1252435.0133
79 | 2678806.5521 | 1252230.2375 | 2678806.6593 | 1252233.6169
80 | 2678741.548 | 1252242.0821 | 2678742.1349 | 1252240.9239
81 | 2678782.6357 | 1252245.4752 | 2678778.4959 | 1252242.3623 | 2678741.548 | 1252242.0821
82 | 2678742.1349 | 1252240.9239 | 2678744.5909 | 1252236.0762
83 | 2678747.0678 | 1252231.1873 | 2678744.5909 | 1252236.0762
84 | 2678747.0678 | 1252231.1873 | 2678749.4759 | 1252226.4342
85 | 2678769.599 | 1252434.5974 | 2678765.6736 | 1252434.1004 | 2678754.7272 | 1252432.7085
86 | 2678383.8304 | 1252313.0584 | 2678390.3585 | 1252314.3907 | 2678409.7991 | 1252319.5962 | 2678412.4981 | 1252320.451
87 | 2678751.8529 | 1252221.7426 | 2678749.4759 | 1252226.4342
88 | 2678749.8499 | 1252209.8937 | 2678756.0187 | 1252213.52 | 2678751.8529 | 1252221.7426
89 | 2678726.5915 | 1252196.5131 | 2678730.4145 | 1252198.4686 | 2678749.8499 | 1252209.8937
90 | 2678726.5915 | 1252196.5131 | 2678726.4352 | 1252196.4331
91 | 2678726.4352 | 1252196.4331 | 2678726.2854 | 1252196.3565

## bus_geodata
| x | y | coords
0 | 2678526.775 | 1252041.0658
1 | 2678512.6502 | 1252065.2251
2 | 2678507.7791 | 1252091.1358
3 | 2678512.4266 | 1252092.8272
4 | 2678603.2026 | 1252041.0525
5 | 2678625.6593 | 1252051.0801
6 | 2678592.094 | 1252045.9208
7 | 2678527.0861 | 1252135.491
8 | 2678535.332 | 1252113.5657
9 | 2678564.1646 | 1252133.7611
10 | 2678451.391 | 1252157.8605
11 | 2678436.8725 | 1252196.3968
12 | 2678475.0923 | 1252165.8993
13 | 2678525.6494 | 1252097.6398
14 | 2678611.9749 | 1252084.8931
15 | 2678651.8815 | 1252065.3671
16 | 2678584.3661 | 1252124.4977
17 | 2678596.4316 | 1252158.2604
18 | 2678604.0411 | 1252102.0773
19 | 2678571.4676 | 1252165.7323
20 | 2678597.3178 | 1252188.1737
21 | 2678608.3272 | 1252093.3814
22 | 2678534.7294 | 1252100.9445
23 | 2678523.5649 | 1252195.5665
24 | 2678555.4131 | 1252195.1216
25 | 2678523.9958 | 1252203.1716
26 | 2678630.409 | 1252147.5366
27 | 2678640.24 | 1252147.7894
28 | 2678558.9117 | 1252172.2473
29 | 2678597.5679 | 1252196.615
30 | 2678550.8464 | 1252089.4
31 | 2678447.0844 | 1252199.9001
32 | 2678465.4174 | 1252207.7275
33 | 2678490.379 | 1252220.0672
34 | 2678555.4252 | 1252179.8209
35 | 2678577.6064 | 1252214.6922
36 | 2678585.4901 | 1252216.1025
37 | 2678623.2209 | 1252203.4714
38 | 2678582.1657 | 1252259.7948
39 | 2678577.2077 | 1252267.5196
40 | 2678639.2566 | 1252207.6317
41 | 2678597.1096 | 1252277.2018
42 | 2678551.6657 | 1252253.9276
43 | 2678523.5479 | 1252238.965
44 | 2678534.1607 | 1252244.6125
45 | 2678478.3029 | 1252237.9074
46 | 2678423.6129 | 1252323.9711
47 | 2678661.8662 | 1252150.5196
48 | 2678643.1224 | 1252238.7727
49 | 2678692.1631 | 1252152.5711
50 | 2678701.246 | 1252183.5479
51 | 2678666.6494 | 1252073.7681
52 | 2678725.9856 | 1252196.2031
53 | 2678687.597 | 1252234.3487
54 | 2678685.0102 | 1252244.4329
55 | 2678702.5139 | 1252242.5598
56 | 2678726.1386 | 1252196.2814
57 | 2678660.1533 | 1252239.0212
58 | 2678702.8022 | 1252242.7185
59 | 2678650.8946 | 1252238.8871
60 | 2678596.7472 | 1252264.0597
61 | 2678614.873 | 1252247.8387
62 | 2678632.3427 | 1252247.4583
63 | 2678648.6288 | 1252243.5493
64 | 2678708.8919 | 1252289.8212
65 | 2678736.0258 | 1252292.4238
66 | 2678736.9874 | 1252261.5359
67 | 2678776.7743 | 1252296.3238
68 | 2678724.9396 | 1252254.9042
69 | 2678737.3394 | 1252250.3879
70 | 2678793.9042 | 1252408.8014
71 | 2678777.2642 | 1252270.2777
72 | 2678703.397 | 1252243.0459
73 | 2678739.7157 | 1252245.6984
74 | 2678775.4019 | 1252435.0133
75 | 2678806.6593 | 1252233.6168
76 | 2678741.548 | 1252242.0821
77 | 2678742.1349 | 1252240.9239
78 | 2678782.6357 | 1252245.4752
79 | 2678744.5909 | 1252236.0762
80 | 2678747.0678 | 1252231.1873
81 | 2678769.599 | 1252434.5974
82 | 2678754.7272 | 1252432.7085
83 | 2678383.8304 | 1252313.0584
84 | 2678412.4981 | 1252320.451
85 | 2678806.5521 | 1252230.2375
86 | 2678749.4759 | 1252226.4342
87 | 2678751.8529 | 1252221.7426
88 | 2678749.8499 | 1252209.8937
89 | 2678726.5915 | 1252196.5131
90 | 2678703.0979 | 1252242.8813
91 | 2678726.4352 | 1252196.4331
92 | 2678726.2854 | 1252196.3565
93 | 2678643.1224 | 1252238.7727

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98549 | -0.27956 | 0.0072928 | 0.0018278
1 | 0.98568 | -0.27578 | 0.0074254 | 0.001861
2 | 0.98604 | -0.26882 | 0 | 0
3 | 0.98611 | -0.26752 | 0.0065608 | 0.0016443
4 | 0.98815 | -0.22784 | 0 | 0
5 | 0.98834 | -0.22409 | 0 | 0
6 | 0.98805 | -0.22976 | 0.0085742 | 0.0021489
7 | 0.98803 | -0.23005 | 0 | 0
8 | 0.98706 | -0.24883 | 0.0066773 | 0.0016735
9 | 0.98953 | -0.201 | 0.0085572 | 0.0021446
10 | 0.98389 | -0.30949 | 0 | 0
11 | 0.98478 | -0.2922 | 0 | 0
12 | 0.98338 | -0.31951 | 0.022207 | 0.0055656
13 | 0.98638 | -0.26215 | 0.0076938 | 0.0019283
14 | 0.98904 | -0.21056 | 0.0084516 | 0.0021182
15 | 0.98801 | -0.2306 | 0.009681 | 0.0024263
16 | 0.99059 | -0.1804 | 0 | 0
17 | 0.99365 | -0.12148 | 0 | 0
18 | 0.98955 | -0.20069 | 0.008432 | 0.0021133
19 | 0.99254 | -0.14292 | 0.0081193 | 0.0020349
20 | 0.99729 | -0.051588 | 0.0089531 | 0.0022439
21 | 0.98929 | -0.20575 | 0 | 0
22 | 0.98664 | -0.25714 | 0 | 0
23 | 0.99098 | -0.17307 | 0 | 0
24 | 0.99156 | -0.16192 | 0 | 0
25 | 0.99085 | -0.17575 | 0.01981 | 0.0049648
26 | 0.9702 | -0.57427 | 0.028137 | 0.0070517
27 | 0.97045 | -0.56915 | 0 | 0
28 | 0.99206 | -0.1522 | 0.0083641 | 0.0020962
29 | 0.99784 | -0.041107 | 0 | 0
30 | 0.98649 | -0.25998 | 0.0077327 | 0.001938
31 | 0.985 | -0.28789 | 0.0017692 | 0.00044341
32 | 0.98544 | -0.2793 | 0 | 0
33 | 0.98606 | -0.26736 | 0 | 0
34 | 0.99184 | -0.15654 | 0.0068578 | 0.0017187
35 | 0.99755 | -0.046769 | 0.01003 | 0.0025138
36 | 0.99763 | -0.045312 | 0 | 0
37 | 0.99914 | -0.016457 | 0.0097596 | 0.002446
38 | 0.98949 | -0.20067 | 0.0077274 | 0.0019367
39 | 0.98956 | -0.19934 | 0 | 0
40 | 1 | 0 | -0.50735 | -0.12979
41 | 0.99069 | -0.17753 | 0 | 0
42 | 0.98829 | -0.22401 | 0.0077113 | 0.0019326
43 | 0.9872 | -0.2452 | 0 | 0
44 | 0.98756 | -0.23822 | 0.0076377 | 0.0019142
45 | 0.98589 | -0.27064 | 0.0035993 | 0.00090207
46 | 0.98543 | -0.27961 | 0 | 0
47 | 0.97103 | -0.55768 | 0.063608 | 0.015942
48 | 0.99674 | -0.061519 | 0 | 0
49 | 0.97364 | -0.50626 | 0 | 0
50 | 0.97723 | -0.4358 | 0 | 0
51 | 0.98797 | -0.23137 | 0.002534 | 0.00063507
52 | 0.97962 | -0.38938 | 0.0019283 | 0.00048328
53 | 0.99247 | -0.14233 | 0 | 0
54 | 0.99325 | -0.12759 | 0 | 0
55 | 0.9912 | -0.16647 | 0.0017591 | 0.00044088
56 | 0.97963 | -0.38909 | 0.0017449 | 0.00043732
57 | 0.99521 | -0.090373 | 0.010418 | 0.0026111
58 | 0.99118 | -0.16694 | 0.001798 | 0.00045061
59 | 0.99593 | -0.076775 | 0 | 0
60 | 0.99136 | -0.16456 | 0.0057915 | 0.0014515
61 | 0.99317 | -0.12973 | 0.0097636 | 0.002447
62 | 0.99431 | -0.10779 | 0.0066884 | 0.0016763
63 | 0.99552 | -0.084592 | 0.0079739 | 0.0019984
64 | 0.9868 | -0.25081 | 0.020483 | 0.0051334
65 | 0.98731 | -0.24083 | 0 | 0
66 | 0.98836 | -0.2207 | 0 | 0
67 | 0.98393 | -0.30591 | 0 | 0
68 | 0.98935 | -0.20182 | 0.0018011 | 0.0004514
69 | 0.9871 | -0.24496 | 0.001842 | 0.00046165
70 | 0.97315 | -0.5157 | 0 | 0
71 | 0.98341 | -0.31603 | 0.0065029 | 0.0016298
72 | 0.99113 | -0.16788 | 0.0018013 | 0.00045145
73 | 0.98651 | -0.25624 | 0.0017987 | 0.0004508
74 | 0.97048 | -0.56851 | 0.04488 | 0.011248
75 | 0.98266 | -0.33078 | 0.0084024 | 0.0021058
76 | 0.98606 | -0.26482 | 0 | 0
77 | 0.98593 | -0.26742 | 0.0017579 | 0.00044056
78 | 0.98581 | -0.26969 | 0.0064607 | 0.0016192
79 | 0.98537 | -0.27813 | 0.0018528 | 0.00046437
80 | 0.98482 | -0.28877 | 0.001789 | 0.00044836
81 | 0.97036 | -0.57092 | 0 | 0
82 | 0.97005 | -0.57714 | 0.022423 | 0.0056197
83 | 0.98526 | -0.28284 | 0.0041437 | 0.0010385
84 | 0.98538 | -0.28064 | 0.00075796 | 0.00018996
85 | 0.98264 | -0.33119 | 0.0066603 | 0.0016692
86 | 0.98429 | -0.29895 | 0.0017503 | 0.00043865
87 | 0.98378 | -0.30884 | 0.0017446 | 0.00043723
88 | 0.9822 | -0.33918 | 0.0019292 | 0.00048349
89 | 0.97968 | -0.38819 | 0.001853 | 0.00046441
90 | 0.99115 | -0.16741 | 0.0018422 | 0.00046169
91 | 0.97966 | -0.38851 | 0.0017892 | 0.00044841
92 | 0.97965 | -0.3888 | 0.0017493 | 0.00043842
93 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0072928 | -0.0018278 | 0.0072941 | 0.0018282 | 1.314e-06 | 4.727e-07 | 0.011012 | 0.011012 | 0.011012 | 0.98549 | -0.27956 | 0.98568 | -0.27578 | 3.0252
1 | -0.01472 | -0.0036892 | 0.014724 | 0.003692 | 4.8818e-06 | 2.7882e-06 | 0.022221 | 0.022221 | 0.022221 | 0.98568 | -0.27578 | 0.98604 | -0.26882 | 6.1047
2 | -0.014724 | -0.003692 | 0.014725 | 0.0036925 | 9.1577e-07 | 5.23e-07 | 0.022221 | 0.022221 | 0.022221 | 0.98604 | -0.26882 | 0.98611 | -0.26752 | 6.1047
3 | -0.021286 | -0.0053368 | 0.021292 | 0.0053401 | 5.4443e-06 | 3.3048e-06 | 0.032121 | 0.032121 | 0.032121 | 0.98611 | -0.26752 | 0.98638 | -0.26215 | 8.8245
4 | -0.008575 | -0.0021492 | 0.0085765 | 0.0021499 | 1.5342e-06 | 6.675e-07 | 0.012913 | 0.012913 | 0.012913 | 0.98815 | -0.22784 | 0.98834 | -0.22409 | 3.5475
5 | 0.008575 | 0.0021492 | -0.0085742 | -0.0021489 | 7.8117e-07 | 3.3993e-07 | 0.012913 | 0.012913 | 0.012913 | 0.98815 | -0.22784 | 0.98805 | -0.22976 | 3.5475
6 | -0.020795 | -0.0052132 | 0.020809 | 0.0052213 | 1.3414e-05 | 8.1171e-06 | 0.031309 | 0.031309 | 0.031309 | 0.98834 | -0.22409 | 0.98904 | -0.21056 | 8.6015
7 | 0.012219 | 0.0030633 | -0.012215 | -0.0030612 | 3.7903e-06 | 2.0432e-06 | 0.018397 | 0.018397 | 0.018397 | 0.98834 | -0.22409 | 0.98801 | -0.2306 | 5.0541
8 | 0.043457 | 0.010918 | -0.043418 | -0.010894 | 3.8934e-05 | 2.4608e-05 | 0.065457 | 0.065457 | 0.065457 | 0.98803 | -0.23005 | 0.98706 | -0.24883 | 17.9828
9 | -0.043457 | -0.010918 | 0.043517 | 0.010956 | 6.0345e-05 | 3.8139e-05 | 0.065457 | 0.065457 | 0.065457 | 0.98803 | -0.23005 | 0.98953 | -0.201 | 17.9828
10 | 0.036741 | 0.0092202 | -0.036726 | -0.0092111 | 1.4538e-05 | 9.1429e-06 | 0.055391 | 0.055391 | 0.055391 | 0.98706 | -0.24883 | 0.98664 | -0.25714 | 15.2174
11 | -0.052074 | -0.013101 | 0.052126 | 0.013134 | 5.1304e-05 | 3.2548e-05 | 0.078325 | 0.078325 | 0.078325 | 0.98953 | -0.201 | 0.99059 | -0.1804 | 21.5179
12 | -0.022218 | -0.0055721 | 0.022236 | 0.0055833 | 1.833e-05 | 1.1181e-05 | 0.033603 | 0.033603 | 0.033603 | 0.98389 | -0.30949 | 0.98478 | -0.2922 | 9.2316
13 | 0.022218 | 0.0055721 | -0.022207 | -0.0055656 | 1.0606e-05 | 6.4698e-06 | 0.033603 | 0.033603 | 0.033603 | 0.98389 | -0.30949 | 0.98338 | -0.31951 | 9.2316
14 | -0.022236 | -0.0055833 | 0.022241 | 0.0055861 | 4.5751e-06 | 2.7906e-06 | 0.033603 | 0.033603 | 0.033603 | 0.98478 | -0.2922 | 0.985 | -0.28789 | 9.2315
15 | -0.028985 | -0.0072684 | 0.028992 | 0.0072727 | 6.9286e-06 | 4.3109e-06 | 0.043728 | 0.043728 | 0.043728 | 0.98638 | -0.26215 | 0.98664 | -0.25714 | 12.0131
16 | -0.02926 | -0.0073394 | 0.029267 | 0.0073436 | 6.715e-06 | 4.179e-06 | 0.044025 | 0.044025 | 0.044025 | 0.98904 | -0.21056 | 0.98929 | -0.20575 | 12.0947
17 | 0.0025341 | 0.00063492 | -0.002534 | -0.00063507 | 9.2801e-08 | -1.5818e-07 | 0.0038164 | 0.0038165 | 0.0038165 | 0.98801 | -0.2306 | 0.98797 | -0.23137 | 1.0485
18 | -0.089868 | -0.022618 | 0.090122 | 0.02278 | 0.00025383 | 0.00016197 | 0.13503 | 0.13503 | 0.13503 | 0.99059 | -0.1804 | 0.99365 | -0.12148 | 37.0958
19 | 0.037743 | 0.0094843 | -0.037706 | -0.0094613 | 3.6517e-05 | 2.2981e-05 | 0.056704 | 0.056704 | 0.056704 | 0.99059 | -0.1804 | 0.98955 | -0.20069 | 15.578
20 | 0.043234 | 0.010867 | -0.04319 | -0.010839 | 4.4207e-05 | 2.7929e-05 | 0.064756 | 0.064756 | 0.064756 | 0.99365 | -0.12148 | 0.99254 | -0.14292 | 17.7901
21 | -0.13336 | -0.033647 | 0.1338 | 0.033933 | 0.00044793 | 0.00028629 | 0.19978 | 0.19978 | 0.19978 | 0.99365 | -0.12148 | 0.99729 | -0.051588 | 54.8858
22 | 0.029274 | 0.007348 | -0.029267 | -0.0073436 | 7.0643e-06 | 4.3963e-06 | 0.044025 | 0.044025 | 0.044025 | 0.98955 | -0.20069 | 0.98929 | -0.20575 | 12.0947
23 | 0.035071 | 0.0088038 | -0.035055 | -0.0087941 | 1.551e-05 | 9.7333e-06 | 0.052583 | 0.052583 | 0.052583 | 0.99254 | -0.14292 | 0.99206 | -0.1522 | 14.446
24 | -0.14276 | -0.036177 | 0.14283 | 0.036222 | 7.1934e-05 | 4.5818e-05 | 0.21314 | 0.21314 | 0.21314 | 0.99729 | -0.051588 | 0.99784 | -0.041107 | 29.2778
25 | 0.0077337 | 0.0019384 | -0.0077327 | -0.001938 | 1.0473e-06 | 4.0815e-07 | 0.011664 | 0.011664 | 0.011664 | 0.98664 | -0.25714 | 0.98649 | -0.25998 | 3.2044
26 | -0.019812 | -0.0049663 | 0.019823 | 0.0049726 | 1.054e-05 | 6.336e-06 | 0.02975 | 0.029749 | 0.02975 | 0.99098 | -0.17307 | 0.99156 | -0.16192 | 8.1729
27 | 0.019812 | 0.0049663 | -0.01981 | -0.0049648 | 2.5281e-06 | 1.5199e-06 | 0.02975 | 0.02975 | 0.02975 | 0.99098 | -0.17307 | 0.99085 | -0.17575 | 8.173
28 | -0.019823 | -0.0049726 | 0.019828 | 0.0049757 | 5.0781e-06 | 3.0525e-06 | 0.029749 | 0.029749 | 0.029749 | 0.99156 | -0.16192 | 0.99184 | -0.15654 | 8.1729
29 | -0.028137 | -0.0070517 | 0.028144 | 0.007056 | 6.8677e-06 | 4.2739e-06 | 0.043154 | 0.043154 | 0.043154 | 0.9702 | -0.57427 | 0.97045 | -0.56915 | 11.8555
30 | -0.028144 | -0.007056 | 0.028159 | 0.0070656 | 1.5381e-05 | 9.5713e-06 | 0.043154 | 0.043154 | 0.043154 | 0.97045 | -0.56915 | 0.97103 | -0.55768 | 11.8555
31 | 0.026691 | 0.0066979 | -0.026686 | -0.0066944 | 5.533e-06 | 3.4223e-06 | 0.040038 | 0.040038 | 0.040038 | 0.99206 | -0.1522 | 0.99184 | -0.15654 | 10.9994
32 | -0.15286 | -0.038738 | 0.15304 | 0.038853 | 0.00018127 | 0.00011492 | 0.2281 | 0.2281 | 0.2281 | 0.99784 | -0.041107 | 0.99914 | -0.016457 | 20.8887
33 | 0.010033 | 0.0025152 | -0.010031 | -0.0025142 | 2.0101e-06 | 9.7375e-07 | 0.014962 | 0.014962 | 0.014962 | 0.99784 | -0.041107 | 0.99763 | -0.045312 | 4.1104
34 | -0.02401 | -0.0060295 | 0.02402 | 0.0060355 | 9.8367e-06 | 6.0417e-06 | 0.036275 | 0.036275 | 0.036275 | 0.985 | -0.28789 | 0.98544 | -0.2793 | 9.9658
35 | -0.02402 | -0.0060355 | 0.024033 | 0.0060439 | 1.3707e-05 | 8.4186e-06 | 0.036275 | 0.036275 | 0.036275 | 0.98544 | -0.2793 | 0.98606 | -0.26736 | 9.9657
36 | 0.0085051 | 0.0021311 | -0.0085037 | -0.0021305 | 1.3308e-06 | 5.7693e-07 | 0.012834 | 0.012835 | 0.012835 | 0.98606 | -0.26736 | 0.98589 | -0.27064 | 3.526
37 | -0.032538 | -0.008175 | 0.032573 | 0.0081966 | 3.4448e-05 | 2.156e-05 | 0.04911 | 0.049109 | 0.04911 | 0.98606 | -0.26736 | 0.9872 | -0.2452 | 13.4917
38 | -0.01003 | -0.0025138 | 0.010031 | 0.0025142 | 6.9615e-07 | 3.3727e-07 | 0.014962 | 0.014962 | 0.014962 | 0.99755 | -0.046769 | 0.99763 | -0.045312 | 4.1104
39 | -0.1628 | -0.041299 | 0.16293 | 0.04138 | 0.00012894 | 8.1834e-05 | 0.24264 | 0.24264 | 0.24264 | 0.99914 | -0.016457 | 1 | 0 | 22.2197
40 | -0.0077274 | -0.0019367 | 0.0077279 | 0.0019369 | 4.8801e-07 | 1.8853e-07 | 0.011621 | 0.011621 | 0.011621 | 0.98949 | -0.20067 | 0.98956 | -0.19934 | 3.1925
41 | -0.055745 | -0.01404 | 0.055803 | 0.014077 | 5.821e-05 | 3.6971e-05 | 0.083848 | 0.083848 | 0.083848 | 0.98956 | -0.19934 | 0.99069 | -0.17753 | 23.0353
42 | 0.048017 | 0.012103 | -0.04796 | -0.012067 | 5.6603e-05 | 3.5855e-05 | 0.072228 | 0.072228 | 0.072228 | 0.98956 | -0.19934 | 0.98829 | -0.22401 | 19.8429
43 | 0.34276 | 0.088409 | -0.34174 | -0.087755 | 0.001024 | 0.00065413 | 0.51093 | 0.51093 | 0.51093 | 1 | 0 | 0.99674 | -0.061519 | 46.7884
44 | -0.055803 | -0.014077 | 0.055837 | 0.014099 | 3.4662e-05 | 2.2014e-05 | 0.083848 | 0.083848 | 0.083848 | 0.99069 | -0.17753 | 0.99136 | -0.16456 | 23.0353
45 | 0.040249 | 0.010135 | -0.040222 | -0.010118 | 2.7323e-05 | 1.7233e-05 | 0.060618 | 0.060618 | 0.060618 | 0.98829 | -0.22401 | 0.98756 | -0.23822 | 16.6532
46 | -0.032573 | -0.0081966 | 0.032584 | 0.0082034 | 1.0873e-05 | 6.8047e-06 | 0.049109 | 0.049109 | 0.049109 | 0.9872 | -0.2452 | 0.98756 | -0.23822 | 13.4916
47 | 0.0049045 | 0.0012284 | -0.0049024 | -0.0012284 | 2.0953e-06 | 4.1299e-08 | 0.0074021 | 0.0074026 | 0.0074026 | 0.98589 | -0.27064 | 0.98543 | -0.27961 | 2.0337
48 | 0.0049024 | 0.0012284 | -0.0049021 | -0.0012284 | 2.3958e-07 | 4.8099e-09 | 0.0074026 | 0.0074026 | 0.0074026 | 0.98543 | -0.27961 | 0.98538 | -0.28064 | 2.0337
49 | -0.091767 | -0.023007 | 0.091993 | 0.023151 | 0.00022548 | 0.00014393 | 0.14063 | 0.14063 | 0.14063 | 0.97103 | -0.55768 | 0.97364 | -0.50626 | 38.6339
50 | 0.34174 | 0.087755 | -0.34149 | -0.087594 | 0.00025289 | 0.00016155 | 0.51093 | 0.51093 | 0.51093 | 0.99674 | -0.061519 | 0.99593 | -0.076775 | 46.7884
51 | -0.091993 | -0.023151 | 0.092304 | 0.02335 | 0.00031089 | 0.00019845 | 0.14063 | 0.14063 | 0.14063 | 0.97364 | -0.50626 | 0.97723 | -0.4358 | 38.6339
52 | -0.092304 | -0.02335 | 0.09251 | 0.023481 | 0.00020608 | 0.00013154 | 0.14063 | 0.14063 | 0.14063 | 0.97723 | -0.4358 | 0.97962 | -0.38938 | 38.6338
53 | -0.094438 | -0.023964 | 0.094439 | 0.023965 | 1.3283e-06 | 8.4798e-07 | 0.14356 | 0.14356 | 0.14356 | 0.97962 | -0.38938 | 0.97963 | -0.38909 | 39.4385
54 | -0.24393 | -0.06262 | 0.2441 | 0.062731 | 0.00017464 | 0.00011136 | 0.36626 | 0.36626 | 0.36626 | 0.99247 | -0.14233 | 0.99325 | -0.12759 | 33.54
55 | 0.24393 | 0.06262 | -0.24364 | -0.062438 | 0.00028552 | 0.00018207 | 0.36626 | 0.36626 | 0.36626 | 0.99247 | -0.14233 | 0.9912 | -0.16647 | 33.5401
56 | -0.2441 | -0.062731 | 0.24455 | 0.063013 | 0.00044216 | 0.00028196 | 0.36626 | 0.36626 | 0.36626 | 0.99325 | -0.12759 | 0.99521 | -0.090373 | 33.54
57 | 0.24189 | 0.061997 | -0.24188 | -0.061993 | 5.4397e-06 | 3.4687e-06 | 0.36362 | 0.36362 | 0.36362 | 0.9912 | -0.16647 | 0.99118 | -0.16694 | 33.2982
58 | -0.096184 | -0.024403 | 0.096186 | 0.024404 | 1.3215e-06 | 8.4368e-07 | 0.14621 | 0.14621 | 0.14621 | 0.97963 | -0.38909 | 0.97965 | -0.3888 | 40.1666
59 | -0.25497 | -0.065624 | 0.25513 | 0.065732 | 0.00016875 | 0.00010764 | 0.38183 | 0.38183 | 0.38183 | 0.99521 | -0.090373 | 0.99593 | -0.076775 | 34.9664
60 | 0.24008 | 0.061543 | -0.24008 | -0.061539 | 5.4969e-06 | 3.505e-06 | 0.36092 | 0.36092 | 0.36092 | 0.99118 | -0.16694 | 0.99115 | -0.16741 | 33.051
61 | 0.086353 | 0.021862 | -0.08632 | -0.021841 | 3.2397e-05 | 2.0666e-05 | 0.1291 | 0.1291 | 0.1291 | 0.99593 | -0.076775 | 0.99552 | -0.084592 | 35.4662
62 | -0.061629 | -0.015551 | 0.061732 | 0.015616 | 0.00010299 | 6.5501e-05 | 0.092541 | 0.092541 | 0.092541 | 0.99136 | -0.16456 | 0.99317 | -0.12973 | 25.4234
63 | -0.071496 | -0.018063 | 0.071571 | 0.018111 | 7.5259e-05 | 4.7939e-05 | 0.10717 | 0.10717 | 0.10717 | 0.99317 | -0.12973 | 0.99431 | -0.10779 | 29.4421
64 | -0.078259 | -0.019787 | 0.078346 | 0.019843 | 8.7193e-05 | 5.5583e-05 | 0.11718 | 0.11718 | 0.11718 | 0.99431 | -0.10779 | 0.99552 | -0.084592 | 32.1919
65 | -0.020483 | -0.0051334 | 0.020492 | 0.0051393 | 9.7511e-06 | 5.8923e-06 | 0.030886 | 0.030886 | 0.030886 | 0.9868 | -0.25081 | 0.98731 | -0.24083 | 8.4852
66 | -0.11053 | -0.028154 | 0.11063 | 0.028221 | 0.00010741 | 6.7554e-05 | 0.16674 | 0.16674 | 0.16674 | 0.98731 | -0.24083 | 0.98836 | -0.2207 | 15.2694
67 | 0.090035 | 0.023015 | -0.089752 | -0.022834 | 0.00028249 | 0.00018027 | 0.13586 | 0.13586 | 0.13586 | 0.98731 | -0.24083 | 0.98393 | -0.30591 | 37.3231
68 | -0.23402 | -0.059787 | 0.23424 | 0.059924 | 0.00021389 | 0.00013636 | 0.35274 | 0.35274 | 0.35274 | 0.98836 | -0.2207 | 0.98935 | -0.20182 | 32.3021
69 | 0.12339 | 0.031566 | -0.12325 | -0.031473 | 0.0001447 | 9.2464e-05 | 0.186 | 0.186 | 0.186 | 0.98836 | -0.2207 | 0.9871 | -0.24496 | 51.0984
70 | 0.068166 | 0.017417 | -0.067482 | -0.016981 | 0.00068399 | 0.0004356 | 0.10321 | 0.10321 | 0.10321 | 0.98393 | -0.30591 | 0.97315 | -0.5157 | 28.354
71 | 0.021587 | 0.0054173 | -0.021576 | -0.005411 | 1.0413e-05 | 6.3337e-06 | 0.032649 | 0.032649 | 0.032649 | 0.98393 | -0.30591 | 0.98341 | -0.31603 | 8.9694
72 | -0.23604 | -0.060375 | 0.23643 | 0.060623 | 0.00038836 | 0.0002476 | 0.35545 | 0.35545 | 0.35545 | 0.98935 | -0.20182 | 0.99113 | -0.16788 | 32.5502
73 | 0.1214 | 0.031012 | -0.12134 | -0.030969 | 6.6182e-05 | 4.2289e-05 | 0.18322 | 0.18322 | 0.18322 | 0.9871 | -0.24496 | 0.98651 | -0.25624 | 50.3356
74 | 0.067482 | 0.016981 | -0.067312 | -0.016873 | 0.00016982 | 0.00010816 | 0.10321 | 0.10321 | 0.10321 | 0.97315 | -0.5157 | 0.97048 | -0.56851 | 28.3541
75 | 0.015073 | 0.0037812 | -0.015063 | -0.0037751 | 1.0592e-05 | 6.0908e-06 | 0.022809 | 0.022809 | 0.022809 | 0.98341 | -0.31603 | 0.98266 | -0.33078 | 6.2663
76 | -0.23823 | -0.061074 | 0.23823 | 0.061077 | 5.4727e-06 | 3.4893e-06 | 0.35815 | 0.35815 | 0.35815 | 0.99113 | -0.16788 | 0.99115 | -0.16741 | 32.7978
77 | 0.11954 | 0.030519 | -0.11949 | -0.030487 | 4.9535e-05 | 3.165e-05 | 0.18051 | 0.18051 | 0.18051 | 0.98651 | -0.25624 | 0.98606 | -0.26482 | 49.5902
78 | 0.022432 | 0.0056253 | -0.022429 | -0.0056237 | 2.581e-06 | 1.58e-06 | 0.034396 | 0.034396 | 0.034396 | 0.97048 | -0.56851 | 0.97036 | -0.57092 | 9.4494
79 | 0.0066604 | 0.0016693 | -0.0066603 | -0.0016692 | 1.2897e-07 | 3.9711e-08 | 0.010086 | 0.010086 | 0.010086 | 0.98266 | -0.33078 | 0.98264 | -0.33119 | 2.7708
80 | 0.11303 | 0.028867 | -0.11301 | -0.028858 | 1.4197e-05 | 9.0696e-06 | 0.17076 | 0.17076 | 0.17076 | 0.98606 | -0.26482 | 0.98593 | -0.26742 | 46.9112
81 | 0.0064622 | 0.0016196 | -0.0064607 | -0.0016192 | 1.4981e-06 | 4.2307e-07 | 0.0097518 | 0.009752 | 0.009752 | 0.98606 | -0.26482 | 0.98581 | -0.26969 | 2.6791
82 | 0.11125 | 0.028418 | -0.1112 | -0.028381 | 5.7588e-05 | 3.6787e-05 | 0.1681 | 0.1681 | 0.1681 | 0.98593 | -0.26742 | 0.98537 | -0.27813 | 46.1823
83 | 0.10934 | 0.027916 | -0.10929 | -0.027881 | 5.6161e-05 | 3.5873e-05 | 0.16531 | 0.16531 | 0.16531 | 0.98537 | -0.27813 | 0.98482 | -0.28877 | 45.4137
84 | 0.1075 | 0.027432 | -0.10745 | -0.027398 | 5.283e-05 | 3.3744e-05 | 0.1626 | 0.1626 | 0.1626 | 0.98482 | -0.28877 | 0.98429 | -0.29895 | 44.6711
85 | 0.022429 | 0.0056237 | -0.022423 | -0.0056197 | 6.6509e-06 | 4.0714e-06 | 0.034396 | 0.034396 | 0.034396 | 0.97036 | -0.57092 | 0.97005 | -0.57714 | 9.4494
86 | -0.0041437 | -0.0010385 | 0.0041442 | 0.0010384 | 4.35e-07 | -9.8858e-08 | 0.0062582 | 0.006258 | 0.0062582 | 0.98526 | -0.28284 | 0.98538 | -0.28064 | 1.7193
87 | 0.1057 | 0.02696 | -0.10565 | -0.026928 | 5.0463e-05 | 3.2229e-05 | 0.15996 | 0.15996 | 0.15996 | 0.98429 | -0.29895 | 0.98378 | -0.30884 | 43.9442
88 | 0.1039 | 0.02649 | -0.10375 | -0.026393 | 0.00015196 | 9.7046e-05 | 0.15732 | 0.15732 | 0.15732 | 0.98378 | -0.30884 | 0.9822 | -0.33918 | 43.2193
89 | 0.10182 | 0.02591 | -0.10158 | -0.025757 | 0.00023992 | 0.00015321 | 0.1544 | 0.1544 | 0.1544 | 0.9822 | -0.33918 | 0.97968 | -0.38819 | 42.4164
90 | 0.099727 | 0.025292 | -0.099725 | -0.025291 | 1.5123e-06 | 9.6568e-07 | 0.15158 | 0.15158 | 0.15158 | 0.97968 | -0.38819 | 0.97966 | -0.38851 | 41.6432
91 | 0.097936 | 0.024843 | -0.097935 | -0.024842 | 1.3987e-06 | 8.9302e-07 | 0.14886 | 0.14886 | 0.14886 | 0.97966 | -0.38851 | 0.97965 | -0.3888 | 40.8966

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50735 | 0.12979

## res_load
| p_mw | q_mvar
0 | 0.0072928 | 0.0018278
1 | 0.0074254 | 0.001861
2 | 0.0065608 | 0.0016443
3 | 0.0085742 | 0.0021489
4 | 0.0066773 | 0.0016735
5 | 0.0085572 | 0.0021446
6 | 0.022207 | 0.0055656
7 | 0.0076938 | 0.0019283
8 | 0.0084516 | 0.0021182
9 | 0.009681 | 0.0024263
10 | 0.008432 | 0.0021133
11 | 0.0081193 | 0.0020349
12 | 0.0089531 | 0.0022439
13 | 0.01981 | 0.0049648
14 | 0.028137 | 0.0070517
15 | 0.0083641 | 0.0020962
16 | 0.0077327 | 0.001938
17 | 0.0017692 | 0.00044341
18 | 0.0068578 | 0.0017187
19 | 0.01003 | 0.0025138
20 | 0.0097596 | 0.002446
21 | 0.0077274 | 0.0019367
22 | 0.0077113 | 0.0019326
23 | 0.0076377 | 0.0019142
24 | 0.0035993 | 0.00090207
25 | 0.063608 | 0.015942
26 | 0.002534 | 0.00063507
27 | 0.0019283 | 0.00048328
28 | 0.0017591 | 0.00044088
29 | 0.0017449 | 0.00043732
30 | 0.010418 | 0.0026111
31 | 0.001798 | 0.00045061
32 | 0.0057915 | 0.0014515
33 | 0.0097636 | 0.002447
34 | 0.0066884 | 0.0016763
35 | 0.0079739 | 0.0019984
36 | 0.020483 | 0.0051334
37 | 0.0018011 | 0.0004514
38 | 0.001842 | 0.00046165
39 | 0.0065029 | 0.0016298
40 | 0.0018013 | 0.00045145
41 | 0.0017987 | 0.0004508
42 | 0.04488 | 0.011248
43 | 0.0084024 | 0.0021058
44 | 0.0017579 | 0.00044056
45 | 0.0064607 | 0.0016192
46 | 0.0018528 | 0.00046437
47 | 0.001789 | 0.00044836
48 | 0.022423 | 0.0056197
49 | 0.0041437 | 0.0010385
50 | 0.00075796 | 0.00018996
51 | 0.0066603 | 0.0016692
52 | 0.0017503 | 0.00043865
53 | 0.0017446 | 0.00043723
54 | 0.0019292 | 0.00048349
55 | 0.001853 | 0.00046441
56 | 0.0018422 | 0.00046169
57 | 0.0017892 | 0.00044841
58 | 0.0017493 | 0.00043842

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1