## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-165_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-165_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-165_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-165_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-165_0_4_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_261-165_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-165_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_261-165_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_261-165_0_4_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_261-165_0_4_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_261-165_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-165_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_261-165_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_261-165_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_261-165_0_4_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_261-165_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_261-165_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_261-165_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_261-165_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_261-165_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_261-165_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_261-165_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_261-165_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_261-165_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_261-165_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_261-165_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_261-165_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_261-165_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_MV_518_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-165_0_4_load_0 | 0 | 0.0097905 | 0.0024537 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-165_0_4_load_1 | 1 | 0.0086471 | 0.0021672 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-165_0_4_load_4 | 3 | 0.019383 | 0.0048578 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-165_0_4_load_29 | 4 | 0.0088401 | 0.0022155 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-165_0_4_load_23 | 7 | 0.0097709 | 0.0024488 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-165_0_4_load_21 | 8 | 0.046354 | 0.011617 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-165_0_4_load_19 | 9 | 0.06437 | 0.016133 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-165_0_4_load_24 | 12 | 0.011004 | 0.0027579 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-165_0_4_load_30 | 13 | 0.0022881 | 0.00057345 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-165_0_4_load_28 | 14 | 0.0080866 | 0.0020267 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-165_0_4_load_27 | 16 | 0.0019364 | 0.00048532 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-165_0_4_load_22 | 17 | 0.0049829 | 0.0012488 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-165_0_4_load_12 | 18 | 0.0069009 | 0.0017295 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-165_0_4_load_13 | 19 | 0.020565 | 0.0051542 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-165_0_4_load_25 | 20 | 0.047988 | 0.012027 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-165_0_4_load_20 | 21 | 0.014987 | 0.003756 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-165_0_4_load_26 | 22 | 0.045243 | 0.011339 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-165_0_4_load_31 | 23 | 0.0020143 | 0.00050484 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-165_0_4_load_18 | 24 | 0.0020384 | 0.00051088 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-165_0_4_load_14 | 25 | 0.049275 | 0.012349 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-165_0_4_load_17 | 27 | 0.012474 | 0.0031263 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-165_0_4_line_0 |  | 0 | 1 | 0.0041664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-165_0_4_line_1 |  | 0 | 2 | 0.063945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-165_0_4_line_2 |  | 2 | 3 | 0.02438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-165_0_4_line_3 |  | 3 | 4 | 0.028482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-165_0_4_line_4 |  | 4 | 14 | 0.01871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-165_0_4_line_5 |  | 5 | 6 | 0.14695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-165_0_4_line_6 |  | 5 | 7 | 0.025645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-165_0_4_line_7 |  | 6 | 8 | 0.030242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-165_0_4_line_8 |  | 6 | 9 | 0.018383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-165_0_4_line_9 |  | 7 | 12 | 0.0043004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-165_0_4_line_10 |  | 8 | 20 | 0.013951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-165_0_4_line_11 |  | 9 | 21 | 0.0011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-165_0_4_line_12 |  | 10 | 11 | 0.018464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-165_0_4_line_13 |  | 10 | 12 | 0.019219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-165_0_4_line_14 |  | 10 | 13 | 0.013154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-165_0_4_line_15 |  | 11 | 14 | 0.025423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-165_0_4_line_16 |  | 13 | 23 | 0.0086637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-165_0_4_line_17 |  | 15 | 16 | 0.17148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-165_0_4_line_18 |  | 15 | 17 | 0.053751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-165_0_4_line_19 |  | 17 | 24 | 0.0056442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-165_0_4_line_20 |  | 18 | 19 | 0.03625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-165_0_4_line_21 |  | 19 | 25 | 0.018547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-165_0_4_line_22 |  | 20 | 22 | 0.013807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-165_0_4_line_23 |  | 21 | 27 | 0.021632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-165_0_4_line_24 |  | 24 | 26 | 0.049165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-165_0_4_line_25 |  | 25 | 26 | 0.034688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-165_0_4_line_26 |  | 26 | 27 | 0.027731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-165_0_4_trafo_7 | 0.63 MVA 20/0.4 kV | 28 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2678736.6229 | 1251925.8151 | 2678732.4571 | 1251925.7501
1 | 2678773.7703 | 1251960.4466 | 2678759.9617 | 1251960.174 | 2678750.8668 | 1251952.2251 | 2678750.9192 | 1251928.9864 | 2678741.9861 | 1251925.8987 | 2678736.6229 | 1251925.8151
2 | 2678773.7703 | 1251960.4466 | 2678774.3868 | 1251936.0748
3 | 2678775.1071 | 1251907.6018 | 2678774.3868 | 1251936.0748
4 | 2678775.5803 | 1251888.8979 | 2678775.1071 | 1251907.6018
5 | 2678821.3859 | 1251840.9915 | 2678822.9323 | 1251844.4591 | 2678848.3987 | 1251901.7068 | 2678854.8265 | 1251899.0904 | 2678857.1539 | 1251901.7233 | 2678855.873 | 1251919.6973 | 2678864.7471 | 1251920.4159 | 2678862.7569 | 1251942.339 | 2678861.7796 | 1251955.0798 | 2678870.08 | 1251955.8019
6 | 2678821.3859 | 1251840.9915 | 2678798.2786 | 1251852.1136
7 | 2678870.08 | 1251955.8019 | 2678867.7116 | 1251982.3233 | 2678867.3751 | 1251985.9226
8 | 2678870.08 | 1251955.8019 | 2678871.8367 | 1251955.9476 | 2678887.9891 | 1251952.0328
9 | 2678794.4037 | 1251853.9787 | 2678798.2786 | 1251852.1136
10 | 2678867.3751 | 1251985.9226 | 2678866.0769 | 1251999.8127
11 | 2678889.1125 | 1251951.7605 | 2678887.9891 | 1251952.0328
12 | 2678765.1057 | 1251871.3434 | 2678778.4568 | 1251865.1719 | 2678776.8414 | 1251861.7812
13 | 2678776.8414 | 1251861.7812 | 2678792.1395 | 1251855.0685 | 2678794.4037 | 1251853.9787
14 | 2678776.8414 | 1251861.7812 | 2678765.7949 | 1251866.6269 | 2678764.7849 | 1251867.0403
15 | 2678765.1057 | 1251871.3434 | 2678775.9352 | 1251874.8678 | 2678775.5803 | 1251888.8979
16 | 2678764.7849 | 1251867.0403 | 2678759.7692 | 1251869.0931 | 2678756.6012 | 1251869.7919
17 | 2679028.3105 | 1251914.4348 | 2679025.971 | 1251922.8987 | 2679022.2023 | 1251932.122 | 2679014.2828 | 1251951.5085 | 2678999.0917 | 1251983.007 | 2678997.8652 | 1251985.5592 | 2678989.3532 | 1251999.0113 | 2678987.0171 | 1252002.694 | 2678974.2872 | 1252017.7577 | 2678962.8137 | 1252025.7663 | 2678952.9959 | 1252036.3989 | 2678944.3577 | 1252049.1377 | 2678938.6683 | 1252057.5294
18 | 2679028.3105 | 1251914.4348 | 2679018.9125 | 1251912.8194 | 2679000.6277 | 1251919.9253 | 2678994.7372 | 1251919.6021 | 2678990.5827 | 1251917.5786 | 2678986.736 | 1251911.1559 | 2678980.8739 | 1251908.1422 | 2678980.8739 | 1251908.1422
19 | 2678980.8739 | 1251908.1422 | 2678975.4068 | 1251909.545
20 | 2678885.5289 | 1251890.6995 | 2678890.6135 | 1251911.8872 | 2678900.1227 | 1251909.69 | 2678901.113 | 1251914.2852
21 | 2678901.113 | 1251914.2852 | 2678905.0203 | 1251932.4164 | 2678905.0203 | 1251932.4164
22 | 2678864.7921 | 1252013.5592 | 2678866.0769 | 1251999.8127
23 | 2678889.1125 | 1251951.7605 | 2678906.3655 | 1251947.5789 | 2678910.1305 | 1251946.644
24 | 2678935.6142 | 1251936.7159 | 2678948.2 | 1251925.1083 | 2678963.6136 | 1251912.571 | 2678975.4068 | 1251909.545
25 | 2678935.6142 | 1251936.7159 | 2678934.1112 | 1251934.5276 | 2678932.293 | 1251931.6346 | 2678929.374 | 1251929.2272 | 2678924.38 | 1251928.4602 | 2678913.2001 | 1251930.2904 | 2678905.0203 | 1251932.4164
26 | 2678935.6142 | 1251936.7159 | 2678933.2683 | 1251938.8751 | 2678925.1081 | 1251942.925 | 2678910.1305 | 1251946.644

## bus_geodata
| x | y | coords
0 | 2678736.6229 | 1251925.8151
1 | 2678732.4571 | 1251925.7501
2 | 2678773.7703 | 1251960.4466
3 | 2678774.3868 | 1251936.0748
4 | 2678775.1071 | 1251907.6018
5 | 2678821.3859 | 1251840.9915
6 | 2678870.08 | 1251955.8019
7 | 2678798.2786 | 1251852.1136
8 | 2678867.3751 | 1251985.9226
9 | 2678887.9891 | 1251952.0328
10 | 2678776.8414 | 1251861.7812
11 | 2678765.1057 | 1251871.3434
12 | 2678794.4037 | 1251853.9787
13 | 2678764.7849 | 1251867.0403
14 | 2678775.5803 | 1251888.8979
15 | 2679028.3105 | 1251914.4348
16 | 2678938.6683 | 1252057.5294
17 | 2678980.8739 | 1251908.1422
18 | 2678885.5289 | 1251890.6995
19 | 2678901.113 | 1251914.2852
20 | 2678866.0769 | 1251999.8127
21 | 2678889.1125 | 1251951.7605
22 | 2678864.7921 | 1252013.5592
23 | 2678756.6012 | 1251869.7919
24 | 2678975.4068 | 1251909.545
25 | 2678905.0203 | 1251932.4164
26 | 2678935.6142 | 1251936.7159
27 | 2678910.1305 | 1251946.644
28 | 2678861.7796 | 1251955.0798

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98043 | -0.37683 | 0.0097905 | 0.0024537
1 | 0.9804 | -0.37749 | 0.0086471 | 0.0021672
2 | 0.98152 | -0.35548 | 0 | 0
3 | 0.98194 | -0.34735 | 0.019383 | 0.0048578
4 | 0.98293 | -0.32789 | 0.0088401 | 0.0022155
5 | 0.98917 | -0.20672 | 0 | 0
6 | 1 | 0 | -0.40123 | -0.10116
7 | 0.98729 | -0.24326 | 0.0097709 | 0.0024488
8 | 0.99615 | -0.07386 | 0.046354 | 0.011617
9 | 0.99851 | -0.028485 | 0.06437 | 0.016133
10 | 0.98596 | -0.26898 | 0 | 0
11 | 0.98503 | -0.28712 | 0 | 0
12 | 0.98701 | -0.24865 | 0.011004 | 0.0027579
13 | 0.98591 | -0.26999 | 0.0022881 | 0.00057345
14 | 0.98374 | -0.31216 | 0.0080866 | 0.0020267
15 | 0.99375 | -0.1201 | 0 | 0
16 | 0.99344 | -0.12598 | 0.0019364 | 0.00048532
17 | 0.99384 | -0.11826 | 0.0049829 | 0.0012488
18 | 0.99115 | -0.17031 | 0.0069009 | 0.0017295
19 | 0.99138 | -0.16588 | 0.020565 | 0.0051542
20 | 0.99497 | -0.096732 | 0.047988 | 0.012027
21 | 0.99839 | -0.030772 | 0.014987 | 0.003756
22 | 0.9944 | -0.10774 | 0.045243 | 0.011339
23 | 0.98589 | -0.2703 | 0.0020143 | 0.00050484
24 | 0.99388 | -0.11757 | 0.0020384 | 0.00051088
25 | 0.99185 | -0.15685 | 0.049275 | 0.012349
26 | 0.99428 | -0.1098 | 0 | 0
27 | 0.99645 | -0.067983 | 0.012474 | 0.0031263
28 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0086473 | 0.0021673 | -0.0086471 | -0.0021672 | 2.6912e-07 | 1.1969e-07 | 0.013124 | 0.013124 | 0.013124 | 0.98043 | -0.37683 | 0.9804 | -0.37749 | 3.6056
1 | -0.018438 | -0.004621 | 0.018457 | 0.0046322 | 1.8777e-05 | 1.121e-05 | 0.027983 | 0.027983 | 0.027983 | 0.98043 | -0.37683 | 0.98152 | -0.35548 | 7.6878
2 | -0.018457 | -0.0046322 | 0.018464 | 0.0046365 | 7.159e-06 | 4.2735e-06 | 0.027983 | 0.027983 | 0.027983 | 0.98152 | -0.35548 | 0.98194 | -0.34735 | 7.6877
3 | -0.037847 | -0.0094943 | 0.037882 | 0.0095164 | 3.5136e-05 | 2.2126e-05 | 0.057356 | 0.057355 | 0.057356 | 0.98194 | -0.34735 | 0.98293 | -0.32789 | 15.757
4 | -0.046722 | -0.011732 | 0.046757 | 0.011754 | 3.5108e-05 | 2.2232e-05 | 0.070738 | 0.070738 | 0.070738 | 0.98293 | -0.32789 | 0.98374 | -0.31216 | 19.4335
5 | -0.080251 | -0.020275 | 0.081055 | 0.020788 | 0.00080389 | 0.00051258 | 0.12078 | 0.12078 | 0.12078 | 0.98917 | -0.20672 | 1 | 0 | 33.1812
6 | 0.080251 | 0.020275 | -0.080111 | -0.020186 | 0.00014029 | 8.9455e-05 | 0.12078 | 0.12078 | 0.12078 | 0.98917 | -0.20672 | 0.98729 | -0.24326 | 33.1812
7 | 0.14021 | 0.035379 | -0.13971 | -0.035063 | 0.00049401 | 0.00031577 | 0.20871 | 0.20871 | 0.20871 | 1 | 0 | 0.99615 | -0.07386 | 57.3386
8 | 0.17832 | 0.044995 | -0.17808 | -0.04484 | 0.00024288 | 0.00015496 | 0.26545 | 0.26545 | 0.26545 | 1 | 0 | 0.99851 | -0.028485 | 36.4634
9 | 0.07034 | 0.017737 | -0.070322 | -0.017726 | 1.8138e-05 | 1.1553e-05 | 0.10605 | 0.10605 | 0.10605 | 0.98729 | -0.24326 | 0.98701 | -0.24865 | 29.1355
10 | 0.093357 | 0.023446 | -0.093255 | -0.023381 | 0.00010176 | 6.4946e-05 | 0.13947 | 0.13947 | 0.13947 | 0.99615 | -0.07386 | 0.99497 | -0.096732 | 38.3159
11 | 0.11371 | 0.028707 | -0.1137 | -0.028699 | 1.2457e-05 | 7.9575e-06 | 0.16953 | 0.16953 | 0.16953 | 0.99851 | -0.028485 | 0.99839 | -0.030772 | 46.5733
12 | 0.054957 | 0.013853 | -0.054909 | -0.013823 | 4.7665e-05 | 3.0271e-05 | 0.08297 | 0.08297 | 0.08297 | 0.98596 | -0.26898 | 0.98503 | -0.28712 | 22.7939
13 | -0.05926 | -0.014931 | 0.059317 | 0.014968 | 5.7683e-05 | 3.6672e-05 | 0.089463 | 0.089463 | 0.089463 | 0.98596 | -0.26898 | 0.98701 | -0.24865 | 24.5778
14 | 0.0043027 | 0.0010782 | -0.0043024 | -0.0010782 | 2.0799e-07 | -3.4633e-08 | 0.0064935 | 0.0064936 | 0.0064936 | 0.98596 | -0.26898 | 0.98591 | -0.26999 | 1.784
15 | 0.054909 | 0.013823 | -0.054844 | -0.013781 | 6.563e-05 | 4.168e-05 | 0.08297 | 0.08297 | 0.08297 | 0.98503 | -0.28712 | 0.98374 | -0.31216 | 22.7939
16 | 0.0020143 | 0.00050474 | -0.0020143 | -0.00050484 | 3.0029e-08 | -9.126e-08 | 0.0030402 | 0.0030402 | 0.0030402 | 0.98591 | -0.26999 | 0.98589 | -0.2703 | 0.83523
17 | 0.001937 | 0.00048344 | -0.0019364 | -0.00048532 | 5.4084e-07 | -1.8749e-06 | 0.0028997 | 0.0029005 | 0.0029005 | 0.99375 | -0.1201 | 0.99344 | -0.12598 | 0.79683
18 | -0.001937 | -0.00048344 | 0.0019371 | 0.00048285 | 1.6947e-07 | -5.88e-07 | 0.0028997 | 0.0028994 | 0.0028997 | 0.99375 | -0.1201 | 0.99384 | -0.11826 | 0.79661
19 | -0.00692 | -0.0017317 | 0.0069202 | 0.0017317 | 2.2717e-07 | 7.2246e-08 | 0.01036 | 0.01036 | 0.01036 | 0.99384 | -0.11826 | 0.99388 | -0.11757 | 2.8461
20 | -0.0069009 | -0.0017295 | 0.0069024 | 0.00173 | 1.4591e-06 | 4.6651e-07 | 0.01036 | 0.01036 | 0.01036 | 0.99115 | -0.17031 | 0.99138 | -0.16588 | 2.8462
21 | -0.027468 | -0.0068842 | 0.02748 | 0.0068915 | 1.1822e-05 | 7.3269e-06 | 0.041228 | 0.041228 | 0.041228 | 0.99138 | -0.16588 | 0.99185 | -0.15685 | 11.3263
22 | 0.045267 | 0.011354 | -0.045243 | -0.011339 | 2.3731e-05 | 1.5009e-05 | 0.067702 | 0.067702 | 0.067702 | 0.99497 | -0.096732 | 0.9944 | -0.10774 | 18.5995
23 | 0.09871 | 0.024943 | -0.098535 | -0.024831 | 0.00017575 | 0.0001122 | 0.14719 | 0.14719 | 0.14719 | 0.99839 | -0.030772 | 0.99645 | -0.067983 | 40.4371
24 | -0.0089586 | -0.0022426 | 0.008962 | 0.0022441 | 3.3163e-06 | 1.485e-06 | 0.013412 | 0.013412 | 0.013412 | 0.99388 | -0.11757 | 0.99428 | -0.1098 | 3.6846
25 | -0.076754 | -0.019241 | 0.076927 | 0.019351 | 0.00017249 | 0.00010994 | 0.11515 | 0.11515 | 0.11515 | 0.99185 | -0.15685 | 0.99428 | -0.1098 | 31.6352
26 | -0.085889 | -0.021595 | 0.08606 | 0.021705 | 0.00017188 | 0.00010964 | 0.12856 | 0.12856 | 0.12856 | 0.99428 | -0.1098 | 0.99645 | -0.067983 | 35.3196

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40123 | 0.10116

## res_load
| p_mw | q_mvar
0 | 0.0097905 | 0.0024537
1 | 0.0086471 | 0.0021672
2 | 0.019383 | 0.0048578
3 | 0.0088401 | 0.0022155
4 | 0.0097709 | 0.0024488
5 | 0.046354 | 0.011617
6 | 0.06437 | 0.016133
7 | 0.011004 | 0.0027579
8 | 0.0022881 | 0.00057345
9 | 0.0080866 | 0.0020267
10 | 0.0019364 | 0.00048532
11 | 0.0049829 | 0.0012488
12 | 0.0069009 | 0.0017295
13 | 0.020565 | 0.0051542
14 | 0.047988 | 0.012027
15 | 0.014987 | 0.003756
16 | 0.045243 | 0.011339
17 | 0.0020143 | 0.00050484
18 | 0.0020384 | 0.00051088
19 | 0.049275 | 0.012349
20 | 0.012474 | 0.0031263

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1