## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-170_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-170_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-170_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-170_0_5_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_261-170_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-170_0_5_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_261-170_0_5_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_261-170_0_5_node_92 | 0.4 | n |  | TRUE
8 | bus_LV_261-170_0_5_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_261-170_0_5_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_261-170_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_261-170_0_5_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_261-170_0_5_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_261-170_0_5_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_261-170_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_261-170_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-170_0_5_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_261-170_0_5_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_261-170_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_261-170_0_5_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_261-170_0_5_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_261-170_0_5_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_261-170_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-170_0_5_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_261-170_0_5_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_261-170_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_261-170_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_261-170_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_261-170_0_5_node_84 | 0.4 | n |  | TRUE
29 | bus_LV_261-170_0_5_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_261-170_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_261-170_0_5_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_261-170_0_5_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_261-170_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_261-170_0_5_node_6 | 0.4 | n |  | TRUE
35 | bus_LV_261-170_0_5_node_8 | 0.4 | n |  | TRUE
36 | bus_LV_261-170_0_5_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_261-170_0_5_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_261-170_0_5_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_261-170_0_5_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_261-170_0_5_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_261-170_0_5_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_261-170_0_5_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_261-170_0_5_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_261-170_0_5_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_261-170_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_261-170_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_261-170_0_5_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_261-170_0_5_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_261-170_0_5_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_261-170_0_5_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_261-170_0_5_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_261-170_0_5_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_261-170_0_5_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_261-170_0_5_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_261-170_0_5_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_261-170_0_5_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_261-170_0_5_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_261-170_0_5_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_261-170_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_261-170_0_5_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_261-170_0_5_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_261-170_0_5_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_261-170_0_5_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_261-170_0_5_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_261-170_0_5_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_261-170_0_5_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_261-170_0_5_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_261-170_0_5_node_33 | 0.4 | n |  | TRUE
69 | bus_LV_261-170_0_5_node_34 | 0.4 | n |  | TRUE
70 | bus_LV_261-170_0_5_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_261-170_0_5_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_261-170_0_5_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_261-170_0_5_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_261-170_0_5_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_261-170_0_5_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_261-170_0_5_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_261-170_0_5_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_261-170_0_5_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_261-170_0_5_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_261-170_0_5_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_261-170_0_5_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_261-170_0_5_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_261-170_0_5_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_261-170_0_5_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_261-170_0_5_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_261-170_0_5_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_261-170_0_5_node_88 | 0.4 | n |  | TRUE
88 | bus_MV_518_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-170_0_5_load_0 | 0 | 0.0020558 | 0.00051523 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-170_0_5_load_1 | 1 | 0.0019441 | 0.00048723 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-170_0_5_load_4 | 4 | 0.0077715 | 0.0019477 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-170_0_5_load_92 | 7 | 0.0070385 | 0.001764 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-170_0_5_load_62 | 8 | 0.0028159 | 0.00070573 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-170_0_5_load_10 | 10 | 0.0056526 | 0.0014167 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-170_0_5_load_76 | 12 | 0.016633 | 0.0041687 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-170_0_5_load_5 | 16 | 0.0023621 | 0.000592 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-170_0_5_load_49 | 17 | 0.0028959 | 0.00072579 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-170_0_5_load_64 | 20 | 0.0026524 | 0.00066475 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-170_0_5_load_57 | 21 | 0.0040604 | 0.0010176 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-170_0_5_load_84 | 28 | 0.0087401 | 0.0021905 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-170_0_5_load_77 | 29 | 0.0047785 | 0.0011976 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-170_0_5_load_56 | 31 | 0.010879 | 0.0027265 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-170_0_5_load_6 | 34 | 0.0023779 | 0.00059595 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-170_0_5_load_8 | 35 | 0.002173 | 0.0005446 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-170_0_5_load_44 | 36 | 0.0018544 | 0.00046475 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-170_0_5_load_50 | 37 | 0.0032403 | 0.0008121 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-170_0_5_load_93 | 38 | 0.0048144 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-170_0_5_load_69 | 39 | 0.0067827 | 0.0016999 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-170_0_5_load_66 | 40 | 0.0033813 | 0.00084743 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-170_0_5_load_63 | 41 | 0.0026606 | 0.00066682 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-170_0_5_load_58 | 42 | 0.0084199 | 0.0021102 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-170_0_5_load_60 | 43 | 0.0025673 | 0.00064344 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-170_0_5_load_42 | 44 | 0.0073407 | 0.0018397 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-170_0_5_load_36 | 45 | 0.016058 | 0.0040246 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-170_0_5_load_35 | 46 | 0.013314 | 0.0033367 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-170_0_5_load_72 | 47 | 0.0097838 | 0.0024521 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-170_0_5_load_59 | 48 | 0.007493 | 0.0018779 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-170_0_5_load_55 | 49 | 0.011451 | 0.00287 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-170_0_5_load_75 | 50 | 0.0054591 | 0.0013682 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-170_0_5_load_24 | 51 | 0.017749 | 0.0044483 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-170_0_5_load_28 | 55 | 0.0040645 | 0.0010187 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-170_0_5_load_29 | 56 | 0.0032036 | 0.00080291 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-170_0_5_load_89 | 58 | 0.011277 | 0.0028262 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-170_0_5_load_39 | 59 | 0.011291 | 0.0028297 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-170_0_5_load_82 | 60 | 0.0034599 | 0.00086713 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-170_0_5_load_32 | 61 | 0.0025093 | 0.0006289 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-170_0_5_load_91 | 63 | 0.013901 | 0.003484 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-170_0_5_load_90 | 65 | 0.003984 | 0.00099848 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-170_0_5_load_83 | 67 | 0.002886 | 0.0007233 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-170_0_5_load_33 | 68 | 0.0015983 | 0.00040058 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-170_0_5_load_34 | 69 | 0.0068146 | 0.0017079 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-170_0_5_load_41 | 70 | 0.014719 | 0.0036889 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-170_0_5_load_53 | 71 | 0.03428 | 0.0085915 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-170_0_5_load_48 | 72 | 0.023765 | 0.0059561 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-170_0_5_load_46 | 73 | 0.0029733 | 0.00074518 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-170_0_5_load_47 | 74 | 0.017632 | 0.004419 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-170_0_5_load_51 | 75 | 0.0078475 | 0.0019668 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-170_0_5_load_52 | 76 | 0.014144 | 0.0035448 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-170_0_5_load_54 | 77 | 0.041636 | 0.010435 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-170_0_5_load_61 | 78 | 0.0073476 | 0.0018415 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-170_0_5_load_67 | 79 | 0.0028206 | 0.00070691 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-170_0_5_load_68 | 80 | 0.003839 | 0.00096216 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-170_0_5_load_70 | 81 | 0.0028229 | 0.00070748 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-170_0_5_load_71 | 82 | 0.0071803 | 0.0017995 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-170_0_5_load_73 | 83 | 0.0051154 | 0.001282 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-170_0_5_load_74 | 84 | 0.0073892 | 0.0018519 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-170_0_5_load_85 | 85 | 0.011567 | 0.002899 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-170_0_5_load_87 | 86 | 0.012853 | 0.0032213 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-170_0_5_load_88 | 87 | 0.010825 | 0.002713 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-170_0_5_line_0 |  | 0 | 1 | 0.00052188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-170_0_5_line_1 |  | 1 | 2 | 0.042034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-170_0_5_line_2 |  | 2 | 3 | 0.033826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-170_0_5_line_3 |  | 3 | 10 | 0.02093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-170_0_5_line_4 |  | 4 | 5 | 0.0049914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-170_0_5_line_5 |  | 5 | 32 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-170_0_5_line_6 |  | 5 | 33 | 0.004666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-170_0_5_line_7 |  | 6 | 7 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-170_0_5_line_8 |  | 6 | 8 | 0.0077134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-170_0_5_line_9 |  | 6 | 9 | 0.022517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-170_0_5_line_10 |  | 7 | 38 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-170_0_5_line_11 |  | 8 | 43 | 0.0083975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-170_0_5_line_12 |  | 9 | 21 | 0.0083271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-170_0_5_line_13 |  | 9 | 15 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_261-170_0_5_line_14 |  | 10 | 14 | 0.021021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-170_0_5_line_15 |  | 11 | 12 | 0.022954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_261-170_0_5_line_16 |  | 11 | 13 | 0.022554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-170_0_5_line_17 |  | 12 | 50 | 0.0020789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_261-170_0_5_line_18 |  | 13 | 27 | 0.028938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-170_0_5_line_19 |  | 14 | 15 | 0.007646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_261-170_0_5_line_20 |  | 14 | 16 | 0.022409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_261-170_0_5_line_21 |  | 15 | 17 | 0.0046031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-170_0_5_line_22 |  | 16 | 34 | 0.0096778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_261-170_0_5_line_23 |  | 17 | 37 | 0.021276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-170_0_5_line_24 |  | 18 | 19 | 0.007008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_261-170_0_5_line_25 |  | 18 | 20 | 0.016433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_261-170_0_5_line_26 |  | 19 | 39 | 0.01306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-170_0_5_line_27 |  | 19 | 40 | 0.024802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_261-170_0_5_line_28 |  | 20 | 41 | 0.018202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_261-170_0_5_line_29 |  | 21 | 42 | 0.024291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-170_0_5_line_30 |  | 22 | 23 | 0.097284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-170_0_5_line_31 |  | 22 | 24 | 0.007219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-170_0_5_line_32 |  | 22 | 25 | 0.023772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-170_0_5_line_33 |  | 23 | 44 | 0.034161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-170_0_5_line_34 |  | 24 | 30 | 0.009779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-170_0_5_line_35 |  | 25 | 29 | 0.020199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-170_0_5_line_36 |  | 26 | 27 | 0.014181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-170_0_5_line_37 |  | 26 | 28 | 0.0161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-170_0_5_line_38 |  | 27 | 31 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-170_0_5_line_39 |  | 28 | 30 | 0.01889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-170_0_5_line_40 |  | 31 | 49 | 0.026047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-170_0_5_line_41 |  | 32 | 36 | 0.031373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-170_0_5_line_42 |  | 32 | 35 | 0.014907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_261-170_0_5_line_43 |  | 33 | 57 | 0.024414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_261-170_0_5_line_44 |  | 33 | 60 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-170_0_5_line_45 |  | 34 | 35 | 0.012478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_261-170_0_5_line_46 |  | 36 | 73 | 0.020847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_261-170_0_5_line_47 |  | 37 | 75 | 0.037923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-170_0_5_line_48 |  | 40 | 79 | 0.011484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_261-170_0_5_line_49 |  | 41 | 78 | 0.0028772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_261-170_0_5_line_50 |  | 42 | 48 | 0.029257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-170_0_5_line_51 |  | 43 | 78 | 0.005277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_261-170_0_5_line_52 |  | 44 | 70 | 0.023255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-170_0_5_line_53 |  | 45 | 46 | 0.024252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-170_0_5_line_54 |  | 46 | 69 | 0.026087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-170_0_5_line_55 |  | 47 | 48 | 0.0344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-170_0_5_line_56 |  | 49 | 77 | 0.020881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-170_0_5_line_57 |  | 50 | 84 | 0.028412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_261-170_0_5_line_58 |  | 51 | 52 | 0.028169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-170_0_5_line_59 |  | 51 | 53 | 0.030784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-170_0_5_line_60 |  | 52 | 54 | 0.009013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-170_0_5_line_61 |  | 52 | 55 | 0.01684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-170_0_5_line_62 |  | 53 | 56 | 0.007376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-170_0_5_line_63 |  | 53 | 57 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-170_0_5_line_64 |  | 54 | 58 | 0.011794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-170_0_5_line_65 |  | 55 | 59 | 0.024473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-170_0_5_line_66 |  | 57 | 61 | 0.015062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-170_0_5_line_67 |  | 58 | 66 | 0.022528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-170_0_5_line_68 |  | 59 | 64 | 0.013034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-170_0_5_line_69 |  | 60 | 67 | 0.013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-170_0_5_line_70 |  | 61 | 68 | 0.0091481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-170_0_5_line_71 |  | 62 | 63 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-170_0_5_line_72 |  | 62 | 64 | 0.078156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-170_0_5_line_73 |  | 64 | 65 | 0.033064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-170_0_5_line_74 |  | 66 | 87 | 0.044594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-170_0_5_line_75 |  | 66 | 85 | 0.022553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-170_0_5_line_76 |  | 68 | 69 | 0.020723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-170_0_5_line_77 |  | 71 | 72 | 0.027259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-170_0_5_line_78 |  | 72 | 74 | 0.034731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-170_0_5_line_79 |  | 73 | 74 | 0.030855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_261-170_0_5_line_80 |  | 75 | 76 | 0.021286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-170_0_5_line_81 |  | 79 | 80 | 0.0046493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_261-170_0_5_line_82 |  | 80 | 81 | 0.012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_261-170_0_5_line_83 |  | 81 | 82 | 0.0091352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_261-170_0_5_line_84 |  | 82 | 83 | 0.008933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_261-170_0_5_line_85 |  | 83 | 84 | 0.0057432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_261-170_0_5_line_86 |  | 85 | 86 | 0.029214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-170_0_5_trafo_47 | 0.63 MVA 20/0.4 kV | 88 | 74 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2679562.9487 | 1250676.0954 | 2679563.0529 | 1250676.6067
1 | 2679572.0655 | 1250717.66 | 2679568.1252 | 1250700.7724 | 2679565.6866 | 1250689.5425 | 2679563.0529 | 1250676.6067
2 | 2679572.0655 | 1250717.66 | 2679576.378 | 1250716.9618 | 2679576.5066 | 1250716.9413 | 2679585.5349 | 1250715.3057 | 2679597.8106 | 1250713.0133 | 2679605.2702 | 1250711.2566
3 | 2679605.2702 | 1250711.2566 | 2679609.8767 | 1250710.0287 | 2679617.226 | 1250708.0593 | 2679625.5319 | 1250706.0136
4 | 2679617.1847 | 1250645.9797 | 2679612.2443 | 1250646.6917
5 | 2679617.1847 | 1250645.9797 | 2679634.9013 | 1250643.3046
6 | 2679616.5523 | 1250641.3566 | 2679617.1847 | 1250645.9797
7 | 2679656.3119 | 1250729.7115 | 2679644.4657 | 1250732.6211 | 2679641.2131 | 1250733.5015
8 | 2679656.3119 | 1250729.7115 | 2679658.3451 | 1250737.152
9 | 2679656.3119 | 1250729.7115 | 2679652.2966 | 1250711.6776 | 2679656.2202 | 1250710.7074
10 | 2679641.2131 | 1250733.5015 | 2679625.6487 | 1250737.714
11 | 2679660.5587 | 1250745.2525 | 2679658.3451 | 1250737.152
12 | 2679656.2202 | 1250710.7074 | 2679664.3021 | 1250708.7017
13 | 2679653.4433 | 1250699.3839 | 2679654.8392 | 1250705.0513 | 2679655.0753 | 1250706.0218 | 2679655.5475 | 1250707.963 | 2679656.2202 | 1250710.7074
14 | 2679645.9692 | 1250701.0959 | 2679639.4871 | 1250702.5765 | 2679625.5319 | 1250706.0136
15 | 2679787.2823 | 1250708.5462 | 2679783.6709 | 1250710.9994 | 2679768.2919 | 1250721.4399
16 | 2679805.3695 | 1250695.7247 | 2679805.3448 | 1250695.8801 | 2679799.6491 | 1250702.3081 | 2679790.5963 | 1250706.8785 | 2679787.2823 | 1250708.5462
17 | 2679768.2919 | 1250721.4399 | 2679766.5719 | 1250722.6076
18 | 2679805.3695 | 1250695.7247 | 2679810.9971 | 1250696.6011 | 2679814.0522 | 1250693.9737 | 2679819.0302 | 1250692.6286 | 2679823.0463 | 1250692.6382 | 2679823.1726 | 1250687.1915 | 2679823.2873 | 1250682.6007
19 | 2679645.9692 | 1250701.0959 | 2679653.4433 | 1250699.3839
20 | 2679645.9692 | 1250701.0959 | 2679645.1648 | 1250699.7174 | 2679640.0018 | 1250688.9956 | 2679639.0131 | 1250680.1382
21 | 2679653.4433 | 1250699.3839 | 2679657.9185 | 1250698.306
22 | 2679639.0131 | 1250680.1382 | 2679637.9394 | 1250670.5201
23 | 2679657.9185 | 1250698.306 | 2679678.6025 | 1250693.3242
24 | 2679679.2772 | 1250781.8697 | 2679673.5086 | 1250785.8729
25 | 2679673.5086 | 1250785.8729 | 2679669.63 | 1250778.4486 | 2679667.5063 | 1250770.6768
26 | 2679679.2772 | 1250781.8697 | 2679683.9495 | 1250794.065
27 | 2679679.2772 | 1250781.8697 | 2679699.7972 | 1250767.9392
28 | 2679667.5063 | 1250770.6768 | 2679662.7082 | 1250753.1184
29 | 2679664.3021 | 1250708.7017 | 2679677.429 | 1250705.4441 | 2679687.8834 | 1250702.8714
30 | 2679838.353 | 1250638.5601 | 2679832.6409 | 1250634.9916 | 2679816.1169 | 1250623.1048 | 2679790.5297 | 1250598.0529 | 2679774.6889 | 1250584.1962 | 2679763.6739 | 1250576.3755
31 | 2679838.353 | 1250638.5601 | 2679835.4179 | 1250645.1587
32 | 2679824.6109 | 1250619.6722 | 2679832.7698 | 1250630.4678 | 2679838.2403 | 1250636.2791 | 2679838.353 | 1250638.5601
33 | 2679763.6739 | 1250576.3755 | 2679759.2205 | 1250576.3155 | 2679752.0617 | 1250573.6506 | 2679747.8921 | 1250575.507 | 2679740.776 | 1250573.5987 | 2679730.6399 | 1250573.674
34 | 2679844.3471 | 1250649.2042 | 2679835.4179 | 1250645.1587
35 | 2679824.6109 | 1250619.6722 | 2679815.5752 | 1250610.6438 | 2679810.8132 | 1250604.9457
36 | 2679823.2873 | 1250682.6007 | 2679837.5049 | 1250682.9925
37 | 2679837.5049 | 1250682.9925 | 2679838.0563 | 1250666.9019
38 | 2679823.2873 | 1250682.6007 | 2679820.6643 | 1250682.2874 | 2679818.3617 | 1250678.3757 | 2679812.8727 | 1250677.4695
39 | 2679844.3471 | 1250649.2042 | 2679839.7328 | 1250659.9722 | 2679838.1147 | 1250665.1987 | 2679838.0563 | 1250666.9019
40 | 2679812.8727 | 1250677.4695 | 2679792.6228 | 1250674.1261 | 2679789.7192 | 1250669.428 | 2679789.7192 | 1250669.428
41 | 2679634.9013 | 1250643.3046 | 2679641.7962 | 1250642.0073 | 2679665.6623 | 1250637.1416
42 | 2679634.9013 | 1250643.3046 | 2679636.5551 | 1250658.1192
43 | 2679616.5523 | 1250641.3566 | 2679626.8467 | 1250639.8938 | 2679640.6966 | 1250637.3225
44 | 2679616.5523 | 1250641.3566 | 2679603.8433 | 1250643.1585
45 | 2679636.5551 | 1250658.1192 | 2679637.9394 | 1250670.5201
46 | 2679665.6623 | 1250637.1416 | 2679686.0893 | 1250632.977
47 | 2679678.6025 | 1250693.3242 | 2679715.4712 | 1250684.4441
48 | 2679699.7972 | 1250767.9392 | 2679709.2988 | 1250761.4888
49 | 2679661.9497 | 1250750.3429 | 2679662.7082 | 1250753.1184
50 | 2679687.8834 | 1250702.8714 | 2679710.3321 | 1250697.3471 | 2679716.3107 | 1250695.9527
51 | 2679660.5587 | 1250745.2525 | 2679661.9497 | 1250750.3429
52 | 2679707.4235 | 1250574.7827 | 2679721.6135 | 1250573.7411 | 2679730.6399 | 1250573.674
53 | 2679710.3676 | 1250623.5735 | 2679719.0196 | 1250621.7527 | 2679734.0489 | 1250618.3477
54 | 2679684.8399 | 1250628.946 | 2679710.3676 | 1250623.5735
55 | 2679716.3107 | 1250695.9527 | 2679728.091 | 1250693.2052 | 2679738.8055 | 1250691.3701 | 2679750.1545 | 1250689.9869
56 | 2679768.8475 | 1250668.8486 | 2679769.2082 | 1250668.8293 | 2679789.7192 | 1250669.428
57 | 2679743.0648 | 1250738.5659 | 2679766.5719 | 1250722.6076
58 | 2679641.9585 | 1250559.1929 | 2679643.3196 | 1250566.3276 | 2679642.2445 | 1250580.5903 | 2679641.8725 | 1250587.1819
59 | 2679640.6854 | 1250617.9414 | 2679641.122 | 1250605.6826 | 2679641.4814 | 1250594.1123 | 2679641.8725 | 1250587.1819
60 | 2679641.9585 | 1250559.1929 | 2679633.3093 | 1250561.812
61 | 2679641.9585 | 1250559.1929 | 2679657.8809 | 1250553.7115
62 | 2679633.2874 | 1250617.9086 | 2679640.6854 | 1250617.9414
63 | 2679640.6854 | 1250617.9414 | 2679640.3926 | 1250626.2435 | 2679640.6966 | 1250637.3225
64 | 2679633.3093 | 1250561.812 | 2679628.2234 | 1250551.1714
65 | 2679680.9869 | 1250545.6542 | 2679679.5402 | 1250546.2551 | 2679657.8809 | 1250553.7115
66 | 2679640.6966 | 1250637.3225 | 2679655.5043 | 1250634.5688
67 | 2679630.8673 | 1250533.992 | 2679623.7831 | 1250539.2563 | 2679623.1298 | 1250543.484 | 2679626.2568 | 1250549.5527 | 2679628.0297 | 1250550.7663 | 2679628.2234 | 1250551.1714
68 | 2679693.0234 | 1250540.6545 | 2679680.9869 | 1250545.6542
69 | 2679603.8433 | 1250643.1585 | 2679590.0618 | 1250645.1124
70 | 2679664.4983 | 1250632.8963 | 2679655.5043 | 1250634.5688
71 | 2679684.9555 | 1250475.9317 | 2679676.9938 | 1250479.0714 | 2679669.7923 | 1250481.5989
72 | 2679684.9555 | 1250475.9317 | 2679706.7188 | 1250516.4875 | 2679707.9948 | 1250520.4075 | 2679708.2997 | 1250523.5584 | 2679708.0338 | 1250527.0463 | 2679707.405 | 1250529.4507 | 2679706.0447 | 1250532.3568 | 2679704.1439 | 1250534.4772 | 2679702.7764 | 1250535.6819 | 2679700.7959 | 1250536.9896 | 2679697.609 | 1250538.7481 | 2679693.0234 | 1250540.6545
73 | 2679693.0234 | 1250540.6545 | 2679692.2101 | 1250544.9912 | 2679686.5399 | 1250551.2084 | 2679683.4562 | 1250552.5902 | 2679684.6771 | 1250569.4037
74 | 2679630.8673 | 1250533.992 | 2679628.1752 | 1250529.2746 | 2679628.6292 | 1250523.0206 | 2679625.895 | 1250518.625 | 2679641.582 | 1250514.1992 | 2679649.743 | 1250512.5187 | 2679651.2 | 1250509.714
75 | 2679630.8673 | 1250533.992 | 2679643.5633 | 1250527.9915 | 2679652.067 | 1250528.3283
76 | 2679664.4983 | 1250632.8963 | 2679678.0008 | 1250630.3853 | 2679684.8399 | 1250628.946
77 | 2679750.4389 | 1250620.3506 | 2679760.7102 | 1250619.3006 | 2679771.3086 | 1250619.9326 | 2679777.3098 | 1250621.9051
78 | 2679716.3368 | 1250626.8858 | 2679748.3121 | 1250620.5681 | 2679750.4389 | 1250620.3506
79 | 2679686.0893 | 1250632.977 | 2679704.318 | 1250629.2605 | 2679716.3368 | 1250626.8858
80 | 2679715.4712 | 1250684.4441 | 2679721.04 | 1250683.1029 | 2679736.3876 | 1250680.5508
81 | 2679713.1455 | 1250758.8774 | 2679709.2988 | 1250761.4888
82 | 2679713.1455 | 1250758.8774 | 2679723.3642 | 1250751.9402
83 | 2679730.9223 | 1250746.8092 | 2679723.3642 | 1250751.9402
84 | 2679730.9223 | 1250746.8092 | 2679738.3131 | 1250741.7917
85 | 2679743.0648 | 1250738.5659 | 2679738.3131 | 1250741.7917
86 | 2679675.997 | 1250519.4989 | 2679669.0213 | 1250516.1249 | 2679661.4352 | 1250519.9702 | 2679659.7427 | 1250523.4389 | 2679652.067 | 1250528.3283

## bus_geodata
| x | y | coords
0 | 2679562.9487 | 1250676.0954
1 | 2679563.0529 | 1250676.6067
2 | 2679572.0655 | 1250717.66
3 | 2679605.2702 | 1250711.2566
4 | 2679612.2443 | 1250646.6917
5 | 2679617.1847 | 1250645.9797
6 | 2679656.3119 | 1250729.7115
7 | 2679641.2131 | 1250733.5015
8 | 2679658.3451 | 1250737.152
9 | 2679656.2202 | 1250710.7074
10 | 2679625.5319 | 1250706.0136
11 | 2679787.2823 | 1250708.5462
12 | 2679768.2918 | 1250721.4399
13 | 2679805.3695 | 1250695.7247
14 | 2679645.9692 | 1250701.0959
15 | 2679653.4434 | 1250699.3839
16 | 2679639.0131 | 1250680.1382
17 | 2679657.9185 | 1250698.306
18 | 2679673.5086 | 1250785.8729
19 | 2679679.2772 | 1250781.8697
20 | 2679667.5063 | 1250770.6768
21 | 2679664.3021 | 1250708.7017
22 | 2679838.353 | 1250638.5601
23 | 2679763.6739 | 1250576.3755
24 | 2679835.4179 | 1250645.1587
25 | 2679824.6109 | 1250619.6722
26 | 2679837.5049 | 1250682.9925
27 | 2679823.2873 | 1250682.6007
28 | 2679838.0563 | 1250666.9019
29 | 2679810.8132 | 1250604.9457
30 | 2679844.3471 | 1250649.2042
31 | 2679812.8727 | 1250677.4695
32 | 2679634.9013 | 1250643.3046
33 | 2679616.5523 | 1250641.3566
34 | 2679637.9394 | 1250670.5201
35 | 2679636.5551 | 1250658.1192
36 | 2679665.6623 | 1250637.1416
37 | 2679678.6025 | 1250693.3242
38 | 2679625.6487 | 1250737.714
39 | 2679683.9495 | 1250794.065
40 | 2679699.7972 | 1250767.9392
41 | 2679662.7082 | 1250753.1184
42 | 2679687.8834 | 1250702.8714
43 | 2679660.5587 | 1250745.2525
44 | 2679730.6399 | 1250573.674
45 | 2679734.0489 | 1250618.3477
46 | 2679710.3676 | 1250623.5735
47 | 2679750.1545 | 1250689.9869
48 | 2679716.3107 | 1250695.9527
49 | 2679789.7192 | 1250669.428
50 | 2679766.5719 | 1250722.6076
51 | 2679641.8725 | 1250587.1819
52 | 2679641.9585 | 1250559.1929
53 | 2679640.6854 | 1250617.9414
54 | 2679633.3093 | 1250561.812
55 | 2679657.8809 | 1250553.7115
56 | 2679633.2874 | 1250617.9086
57 | 2679640.6966 | 1250637.3225
58 | 2679628.2234 | 1250551.1714
59 | 2679680.9869 | 1250545.6542
60 | 2679603.8433 | 1250643.1585
61 | 2679655.5043 | 1250634.5688
62 | 2679684.9555 | 1250475.9317
63 | 2679669.7923 | 1250481.5989
64 | 2679693.0234 | 1250540.6545
65 | 2679684.6771 | 1250569.4037
66 | 2679630.8673 | 1250533.992
67 | 2679590.0618 | 1250645.1124
68 | 2679664.4983 | 1250632.8963
69 | 2679684.8399 | 1250628.946
70 | 2679707.4235 | 1250574.7827
71 | 2679777.3098 | 1250621.9051
72 | 2679750.4389 | 1250620.3506
73 | 2679686.0893 | 1250632.977
74 | 2679716.3368 | 1250626.8858
75 | 2679715.4712 | 1250684.4441
76 | 2679736.3876 | 1250680.5509
77 | 2679768.8475 | 1250668.8486
78 | 2679661.9497 | 1250750.3429
79 | 2679709.2988 | 1250761.4888
80 | 2679713.1455 | 1250758.8774
81 | 2679723.3642 | 1250751.9402
82 | 2679730.9223 | 1250746.8092
83 | 2679738.3131 | 1250741.7917
84 | 2679743.0648 | 1250738.5659
85 | 2679652.067 | 1250528.3283
86 | 2679675.997 | 1250519.4989
87 | 2679651.2 | 1250509.714
88 | 2679634.9013 | 1250643.3046

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98775 | -0.234 | 0.0020558 | 0.00051523
1 | 0.98775 | -0.23398 | 0.0019441 | 0.00048723
2 | 0.9879 | -0.23098 | 0 | 0
3 | 0.98803 | -0.22856 | 0 | 0
4 | 0.99121 | -0.16727 | 0.0077715 | 0.0019477
5 | 0.99125 | -0.16658 | 0 | 0
6 | 0.98626 | -0.26267 | 0 | 0
7 | 0.98609 | -0.26598 | 0.0070385 | 0.001764
8 | 0.98594 | -0.26886 | 0.0028159 | 0.00070573
9 | 0.98725 | -0.24343 | 0 | 0
10 | 0.9881 | -0.22707 | 0.0056526 | 0.0014167
11 | 0.9797 | -0.39006 | 0 | 0
12 | 0.98023 | -0.37969 | 0.016633 | 0.0041687
13 | 0.97901 | -0.40366 | 0 | 0
14 | 0.98829 | -0.22345 | 0 | 0
15 | 0.98785 | -0.23194 | 0 | 0
16 | 0.98963 | -0.19764 | 0.0023621 | 0.000592
17 | 0.98773 | -0.23425 | 0.0028959 | 0.00072579
18 | 0.98397 | -0.30703 | 0 | 0
19 | 0.98371 | -0.31211 | 0 | 0
20 | 0.98458 | -0.29513 | 0.0026524 | 0.00066475
21 | 0.98703 | -0.24786 | 0.0040604 | 0.0010176
22 | 0.97622 | -0.4584 | 0 | 0
23 | 0.97422 | -0.49773 | 0 | 0
24 | 0.9764 | -0.45485 | 0 | 0
25 | 0.97611 | -0.46047 | 0 | 0
26 | 0.97765 | -0.43034 | 0 | 0
27 | 0.97811 | -0.42114 | 0 | 0
28 | 0.97711 | -0.44079 | 0.0087401 | 0.0021905
29 | 0.97602 | -0.46224 | 0.0047785 | 0.0011976
30 | 0.97664 | -0.45005 | 0 | 0
31 | 0.97736 | -0.436 | 0.010879 | 0.0027265
32 | 0.99189 | -0.1543 | 0 | 0
33 | 0.99109 | -0.16963 | 0 | 0
34 | 0.99021 | -0.18642 | 0.0023779 | 0.00059595
35 | 0.99097 | -0.17183 | 0.002173 | 0.0005446
36 | 0.99493 | -0.096044 | 0.0018544 | 0.00046475
37 | 0.98724 | -0.24384 | 0.0032403 | 0.0008121
38 | 0.98602 | -0.26737 | 0.0048144 | 0.0012066
39 | 0.98362 | -0.31371 | 0.0067827 | 0.0016999
40 | 0.98282 | -0.32935 | 0.0033813 | 0.00084743
41 | 0.98527 | -0.28175 | 0.0026606 | 0.00066682
42 | 0.98645 | -0.25904 | 0.0084199 | 0.0021102
43 | 0.9856 | -0.27549 | 0.0025673 | 0.00064344
44 | 0.97351 | -0.51158 | 0.0073407 | 0.0018397
45 | 0.98688 | -0.25124 | 0.016058 | 0.0040246
46 | 0.98723 | -0.24428 | 0.013314 | 0.0033367
47 | 0.98568 | -0.27413 | 0.0097838 | 0.0024521
48 | 0.98599 | -0.2681 | 0.007493 | 0.0018779
49 | 0.97607 | -0.46127 | 0.011451 | 0.00287
50 | 0.98029 | -0.3786 | 0.0054591 | 0.0013682
51 | 0.98492 | -0.28885 | 0.017749 | 0.0044483
52 | 0.98285 | -0.32931 | 0 | 0
53 | 0.9877 | -0.23506 | 0 | 0
54 | 0.98246 | -0.33688 | 0 | 0
55 | 0.98233 | -0.33941 | 0.0040645 | 0.0010187
56 | 0.98767 | -0.23548 | 0.0032036 | 0.00080291
57 | 0.9895 | -0.20023 | 0 | 0
58 | 0.98195 | -0.34679 | 0.011277 | 0.0028262
59 | 0.98167 | -0.35232 | 0.011291 | 0.0028297
60 | 0.99101 | -0.17108 | 0.0034599 | 0.00086713
61 | 0.98894 | -0.21104 | 0.0025093 | 0.0006289
62 | 0.98045 | -0.37622 | 0 | 0
63 | 0.98024 | -0.3803 | 0.013901 | 0.003484
64 | 0.98145 | -0.35654 | 0 | 0
65 | 0.98133 | -0.35892 | 0.003984 | 0.00099848
66 | 0.98122 | -0.36115 | 0 | 0
67 | 0.99098 | -0.17179 | 0.002886 | 0.0007233
68 | 0.98863 | -0.2172 | 0.0015983 | 0.00040058
69 | 0.98794 | -0.23058 | 0.0068146 | 0.0017079
70 | 0.9732 | -0.51788 | 0.014719 | 0.0036889
71 | 0.99732 | -0.051564 | 0.03428 | 0.0085915
72 | 0.99817 | -0.035203 | 0.023765 | 0.0059561
73 | 0.99697 | -0.057362 | 0.0029733 | 0.00074518
74 | 1 | 0 | -0.49206 | -0.12563
75 | 0.98647 | -0.25877 | 0.0078475 | 0.0019668
76 | 0.98619 | -0.26417 | 0.014144 | 0.0035448
77 | 0.97526 | -0.47719 | 0.041636 | 0.010435
78 | 0.98538 | -0.2796 | 0.0073476 | 0.0018415
79 | 0.98242 | -0.33717 | 0.0028206 | 0.00070691
80 | 0.98226 | -0.34028 | 0.003839 | 0.00096216
81 | 0.98184 | -0.34832 | 0.0028229 | 0.00070748
82 | 0.98154 | -0.35416 | 0.0071803 | 0.0017995
83 | 0.98127 | -0.35958 | 0.0051154 | 0.001282
84 | 0.98109 | -0.36294 | 0.0073892 | 0.0018519
85 | 0.98071 | -0.37113 | 0.011567 | 0.002899
86 | 0.98036 | -0.37794 | 0.012853 | 0.0032213
87 | 0.98077 | -0.3699 | 0.010825 | 0.002713
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0020558 | -0.00051523 | 0.0020558 | 0.00051522 | 1.877e-09 | -5.4786e-09 | 0.003097 | 0.003097 | 0.003097 | 0.98775 | -0.234 | 0.98775 | -0.23398 | 0.85082
1 | -0.0039998 | -0.0010025 | 0.0040004 | 0.0010023 | 5.723e-07 | -1.7183e-07 | 0.0060257 | 0.0060255 | 0.0060257 | 0.98775 | -0.23398 | 0.9879 | -0.23098 | 1.6554
2 | -0.0040004 | -0.0010023 | 0.0040009 | 0.0010021 | 4.6052e-07 | -1.3842e-07 | 0.0060255 | 0.0060253 | 0.0060255 | 0.9879 | -0.23098 | 0.98803 | -0.22856 | 1.6553
3 | -0.0040009 | -0.0010021 | 0.0040012 | 0.0010021 | 2.8494e-07 | -8.571e-08 | 0.0060253 | 0.0060252 | 0.0060253 | 0.98803 | -0.22856 | 0.9881 | -0.22707 | 1.6553
4 | -0.0077715 | -0.0019477 | 0.0077717 | 0.0019478 | 2.5477e-07 | 9.8711e-08 | 0.011667 | 0.011667 | 0.011667 | 0.99121 | -0.16727 | 0.99125 | -0.16658 | 3.2051
5 | -0.15615 | -0.039526 | 0.15624 | 0.039584 | 9.214e-05 | 5.8048e-05 | 0.23454 | 0.23454 | 0.23454 | 0.99125 | -0.16658 | 0.99189 | -0.1543 | 16.1089
6 | 0.14838 | 0.037578 | -0.14836 | -0.037565 | 2.173e-05 | 1.3666e-05 | 0.22288 | 0.22288 | 0.22288 | 0.99125 | -0.16658 | 0.99109 | -0.16963 | 15.3076
7 | 0.011855 | 0.0029716 | -0.011853 | -0.0029706 | 1.8677e-06 | 9.9671e-07 | 0.017886 | 0.017887 | 0.017887 | 0.98626 | -0.26267 | 0.98609 | -0.26598 | 4.9139
8 | 0.18032 | 0.045689 | -0.18027 | -0.045655 | 5.3595e-05 | 3.3907e-05 | 0.27224 | 0.27224 | 0.27224 | 0.98626 | -0.26267 | 0.98594 | -0.26886 | 18.6979
9 | -0.19218 | -0.04866 | 0.19236 | 0.048773 | 0.00017769 | 0.00011257 | 0.29013 | 0.29013 | 0.29013 | 0.98626 | -0.26267 | 0.98725 | -0.24343 | 19.9264
10 | 0.0048147 | 0.0012066 | -0.0048144 | -0.0012066 | 3.1918e-07 | -1.4069e-09 | 0.0072654 | 0.0072654 | 0.0072654 | 0.98609 | -0.26598 | 0.98602 | -0.26737 | 1.996
11 | 0.17746 | 0.044949 | -0.1774 | -0.044913 | 5.6541e-05 | 3.5758e-05 | 0.26799 | 0.26799 | 0.26799 | 0.98594 | -0.26886 | 0.9856 | -0.27549 | 18.4061
12 | 0.029787 | 0.007476 | -0.029781 | -0.0074721 | 6.2954e-06 | 3.9226e-06 | 0.0449 | 0.0449 | 0.0449 | 0.98725 | -0.24343 | 0.98703 | -0.24786 | 12.3352
13 | -0.22214 | -0.056249 | 0.22227 | 0.056327 | 0.00012269 | 7.7922e-05 | 0.33503 | 0.33503 | 0.33503 | 0.98725 | -0.24343 | 0.98785 | -0.23194 | 23.0102
14 | -0.0096538 | -0.0024187 | 0.0096554 | 0.0024195 | 1.666e-06 | 7.9693e-07 | 0.014538 | 0.014538 | 0.014538 | 0.9881 | -0.22707 | 0.98829 | -0.22345 | 3.9939
15 | -0.099952 | -0.025203 | 0.1 | 0.025233 | 4.963e-05 | 3.0607e-05 | 0.15187 | 0.15187 | 0.15187 | 0.9797 | -0.39006 | 0.98023 | -0.37969 | 10.4303
16 | 0.099952 | 0.025203 | -0.099887 | -0.025162 | 6.5021e-05 | 4.0762e-05 | 0.15187 | 0.15187 | 0.15187 | 0.9797 | -0.39006 | 0.97901 | -0.40366 | 13.9071
17 | -0.11663 | -0.029402 | 0.11664 | 0.029406 | 6.1138e-06 | 3.808e-06 | 0.17711 | 0.17711 | 0.17711 | 0.98023 | -0.37969 | 0.98029 | -0.3786 | 12.1645
18 | 0.099887 | 0.025162 | -0.099803 | -0.02511 | 8.3426e-05 | 5.2302e-05 | 0.15187 | 0.15187 | 0.15187 | 0.97901 | -0.40366 | 0.97811 | -0.42114 | 13.9072
19 | 0.25053 | 0.063462 | -0.25043 | -0.063397 | 0.00010212 | 6.4968e-05 | 0.37745 | 0.37745 | 0.37745 | 0.98829 | -0.22345 | 0.98785 | -0.23194 | 25.9239
20 | -0.26019 | -0.065881 | 0.26051 | 0.066087 | 0.0003228 | 0.00020544 | 0.39199 | 0.39199 | 0.39199 | 0.98829 | -0.22345 | 0.98963 | -0.19764 | 26.9224
21 | 0.028162 | 0.0070701 | -0.028158 | -0.0070681 | 3.1068e-06 | 1.9295e-06 | 0.042425 | 0.042425 | 0.042425 | 0.98785 | -0.23194 | 0.98773 | -0.23425 | 11.6551
22 | -0.26287 | -0.066679 | 0.26301 | 0.066769 | 0.00014195 | 9.0349e-05 | 0.39554 | 0.39554 | 0.39554 | 0.98963 | -0.19764 | 0.99021 | -0.18642 | 27.1663
23 | 0.025262 | 0.0063424 | -0.025251 | -0.0063352 | 1.1558e-05 | 7.1251e-06 | 0.038062 | 0.038062 | 0.038062 | 0.98773 | -0.23425 | 0.98724 | -0.24384 | 10.4566
24 | 0.16192 | 0.040939 | -0.16188 | -0.040914 | 3.9435e-05 | 2.4882e-05 | 0.24499 | 0.24499 | 0.24499 | 0.98397 | -0.30703 | 0.98371 | -0.31211 | 16.8266
25 | -0.16192 | -0.040939 | 0.16201 | 0.040997 | 9.2471e-05 | 5.8346e-05 | 0.24499 | 0.24499 | 0.24499 | 0.98397 | -0.30703 | 0.98458 | -0.29513 | 16.8266
26 | 0.0067832 | 0.0017001 | -0.0067827 | -0.0016999 | 5.1561e-07 | 1.6421e-07 | 0.010261 | 0.010261 | 0.010261 | 0.98371 | -0.31211 | 0.98362 | -0.31371 | 2.8189
27 | 0.1551 | 0.039214 | -0.15497 | -0.039133 | 0.00012812 | 8.0737e-05 | 0.23473 | 0.23473 | 0.23473 | 0.98371 | -0.31211 | 0.98282 | -0.32935 | 16.1219
28 | -0.16467 | -0.041662 | 0.16477 | 0.041729 | 0.0001058 | 6.6788e-05 | 0.249 | 0.249 | 0.249 | 0.98458 | -0.29513 | 0.98527 | -0.28175 | 17.1019
29 | 0.025721 | 0.0064544 | -0.025707 | -0.006446 | 1.3698e-05 | 8.4567e-06 | 0.038779 | 0.038779 | 0.038779 | 0.98703 | -0.24786 | 0.98645 | -0.25904 | 10.6535
30 | 0.02212 | 0.0055654 | -0.022078 | -0.00554 | 4.1492e-05 | 2.5341e-05 | 0.033724 | 0.033725 | 0.033725 | 0.97622 | -0.4584 | 0.97422 | -0.49773 | 9.2651
31 | -0.026899 | -0.006763 | 0.026904 | 0.0067658 | 4.5527e-06 | 2.8235e-06 | 0.041009 | 0.041009 | 0.041009 | 0.97622 | -0.4584 | 0.9764 | -0.45485 | 11.2663
32 | 0.0047793 | 0.0011976 | -0.0047789 | -0.0011976 | 4.731e-07 | 5.6032e-09 | 0.0072849 | 0.007285 | 0.007285 | 0.97622 | -0.4584 | 0.97611 | -0.46047 | 2.0014
33 | 0.022078 | 0.00554 | -0.022064 | -0.0055311 | 1.457e-05 | 8.8997e-06 | 0.033725 | 0.033725 | 0.033725 | 0.97422 | -0.49773 | 0.97351 | -0.51158 | 9.2651
34 | -0.026904 | -0.0067658 | 0.02691 | 0.0067696 | 6.1672e-06 | 3.8247e-06 | 0.041009 | 0.041009 | 0.041009 | 0.9764 | -0.45485 | 0.97664 | -0.45005 | 11.2663
35 | 0.0047789 | 0.0011976 | -0.0047785 | -0.0011976 | 4.0201e-07 | 4.8185e-09 | 0.007285 | 0.0072851 | 0.0072851 | 0.97611 | -0.46047 | 0.97602 | -0.46224 | 2.0014
36 | -0.03568 | -0.0089787 | 0.035695 | 0.0089886 | 1.5691e-05 | 9.8642e-06 | 0.054319 | 0.054319 | 0.054319 | 0.97765 | -0.43034 | 0.97811 | -0.42114 | 14.9229
37 | 0.03568 | 0.0089787 | -0.035662 | -0.0089675 | 1.7814e-05 | 1.1199e-05 | 0.054319 | 0.054319 | 0.054319 | 0.97765 | -0.43034 | 0.97711 | -0.44079 | 14.9229
38 | 0.064108 | 0.016121 | -0.064062 | -0.016092 | 4.5474e-05 | 2.8944e-05 | 0.097547 | 0.097547 | 0.097547 | 0.97811 | -0.42114 | 0.97736 | -0.436 | 26.7987
39 | 0.026922 | 0.006777 | -0.02691 | -0.0067696 | 1.1913e-05 | 7.3881e-06 | 0.041009 | 0.041009 | 0.041009 | 0.97711 | -0.44079 | 0.97664 | -0.45005 | 11.2663
40 | 0.053183 | 0.013366 | -0.053119 | -0.013325 | 6.4061e-05 | 4.0673e-05 | 0.080984 | 0.080985 | 0.080985 | 0.97736 | -0.436 | 0.97607 | -0.46127 | 22.2485
41 | -0.42422 | -0.10776 | 0.42541 | 0.10852 | 0.0011932 | 0.00076199 | 0.63692 | 0.63692 | 0.63692 | 0.99189 | -0.1543 | 0.99493 | -0.096044 | 43.7446
42 | 0.26798 | 0.068172 | -0.26775 | -0.068028 | 0.00022626 | 0.00014404 | 0.40238 | 0.40238 | 0.40238 | 0.99189 | -0.1543 | 0.99097 | -0.17183 | 27.6358
43 | 0.14201 | 0.035974 | -0.1418 | -0.035841 | 0.00020837 | 0.00013273 | 0.21335 | 0.21335 | 0.21335 | 0.99109 | -0.16963 | 0.9895 | -0.20023 | 29.3064
44 | 0.0063464 | 0.0015904 | -0.006346 | -0.0015903 | 4.3703e-07 | 1.143e-07 | 0.0095284 | 0.0095285 | 0.0095285 | 0.99109 | -0.16963 | 0.99101 | -0.17108 | 2.6177
45 | -0.26539 | -0.067365 | 0.26558 | 0.067484 | 0.00018634 | 0.00011862 | 0.39911 | 0.39911 | 0.39911 | 0.99021 | -0.18642 | 0.99097 | -0.17183 | 27.4117
46 | -0.42727 | -0.10898 | 0.42807 | 0.10949 | 0.00079977 | 0.00051077 | 0.63969 | 0.63969 | 0.63969 | 0.99493 | -0.096044 | 0.99697 | -0.057362 | 43.935
47 | 0.022011 | 0.0055231 | -0.021995 | -0.0055136 | 1.5654e-05 | 9.5343e-06 | 0.033178 | 0.033178 | 0.033178 | 0.98724 | -0.24384 | 0.98647 | -0.25877 | 9.1149
48 | 0.15159 | 0.038286 | -0.15153 | -0.03825 | 5.6764e-05 | 3.5747e-05 | 0.22962 | 0.22962 | 0.22962 | 0.98282 | -0.32935 | 0.98242 | -0.33717 | 15.7703
49 | -0.16743 | -0.042396 | 0.16745 | 0.042407 | 1.7269e-05 | 1.0905e-05 | 0.25302 | 0.25302 | 0.25302 | 0.98527 | -0.28175 | 0.98538 | -0.2796 | 17.3778
50 | 0.017287 | 0.0043357 | -0.01728 | -0.0043313 | 7.4613e-06 | 4.4019e-06 | 0.026078 | 0.026078 | 0.026078 | 0.98645 | -0.25904 | 0.98599 | -0.2681 | 7.1643
51 | 0.17483 | 0.04427 | -0.1748 | -0.044248 | 3.4511e-05 | 2.1818e-05 | 0.26412 | 0.26412 | 0.26412 | 0.9856 | -0.27549 | 0.98538 | -0.2796 | 18.1399
52 | 0.014723 | 0.0036914 | -0.014719 | -0.0036889 | 4.4167e-06 | 2.5376e-06 | 0.022505 | 0.022505 | 0.022505 | 0.97351 | -0.51158 | 0.9732 | -0.51788 | 6.1827
53 | -0.016058 | -0.0040246 | 0.016064 | 0.0040277 | 5.3316e-06 | 3.1022e-06 | 0.024213 | 0.024213 | 0.024213 | 0.98688 | -0.25124 | 0.98723 | -0.24428 | 6.6518
54 | -0.029377 | -0.0073644 | 0.029397 | 0.0073764 | 1.9181e-05 | 1.1942e-05 | 0.04428 | 0.04428 | 0.04428 | 0.98723 | -0.24428 | 0.98794 | -0.23058 | 12.1648
55 | -0.0097838 | -0.0024521 | 0.0097866 | 0.0024534 | 2.8141e-06 | 1.3624e-06 | 0.01477 | 0.01477 | 0.01477 | 0.98568 | -0.27413 | 0.98599 | -0.2681 | 4.0577
56 | 0.041668 | 0.010455 | -0.041636 | -0.010435 | 3.1601e-05 | 1.9964e-05 | 0.063527 | 0.063527 | 0.063527 | 0.97607 | -0.46127 | 0.97526 | -0.47719 | 17.4525
57 | -0.1221 | -0.030774 | 0.12219 | 0.030831 | 9.1559e-05 | 5.7164e-05 | 0.1854 | 0.1854 | 0.1854 | 0.98029 | -0.3786 | 0.98109 | -0.36294 | 12.7336
58 | 0.080054 | 0.020173 | -0.0799 | -0.020074 | 0.00015462 | 9.8596e-05 | 0.12098 | 0.12098 | 0.12098 | 0.98492 | -0.28885 | 0.98285 | -0.32931 | 33.2375
59 | -0.097803 | -0.024621 | 0.098055 | 0.024782 | 0.00025217 | 0.000161 | 0.1478 | 0.1478 | 0.1478 | 0.98492 | -0.28885 | 0.9877 | -0.23506 | 40.6042
60 | 0.046605 | 0.011711 | -0.046588 | -0.0117 | 1.6832e-05 | 1.0659e-05 | 0.07057 | 0.070571 | 0.070571 | 0.98285 | -0.32931 | 0.98246 | -0.33688 | 19.3875
61 | 0.033294 | 0.008363 | -0.033278 | -0.008353 | 1.605e-05 | 1.0058e-05 | 0.050414 | 0.050414 | 0.050414 | 0.98285 | -0.32931 | 0.98233 | -0.33941 | 13.85
62 | 0.0032037 | 0.00080285 | -0.0032036 | -0.00080291 | 6.4435e-08 | -5.3161e-08 | 0.0048265 | 0.0048265 | 0.0048265 | 0.9877 | -0.23506 | 0.98767 | -0.23548 | 1.326
63 | -0.10126 | -0.025585 | 0.10143 | 0.025693 | 0.00016938 | 0.00010816 | 0.15263 | 0.15263 | 0.15263 | 0.9877 | -0.23506 | 0.9895 | -0.20023 | 41.9301
64 | 0.046588 | 0.0117 | -0.046566 | -0.011686 | 2.2025e-05 | 1.3947e-05 | 0.070571 | 0.070571 | 0.070571 | 0.98246 | -0.33688 | 0.98195 | -0.34679 | 19.3875
65 | 0.029214 | 0.0073343 | -0.029196 | -0.0073231 | 1.7976e-05 | 1.1195e-05 | 0.044257 | 0.044257 | 0.044257 | 0.98233 | -0.33941 | 0.98167 | -0.35232 | 12.1586
66 | 0.040374 | 0.010148 | -0.040353 | -0.010135 | 2.0827e-05 | 1.3136e-05 | 0.060725 | 0.060725 | 0.060725 | 0.9895 | -0.20023 | 0.98894 | -0.21104 | 16.6827
67 | 0.03529 | 0.0088602 | -0.035266 | -0.0088451 | 2.4165e-05 | 1.5181e-05 | 0.053482 | 0.053483 | 0.053483 | 0.98195 | -0.34679 | 0.98122 | -0.36115 | 14.693
68 | 0.017905 | 0.0044934 | -0.017902 | -0.0044913 | 3.6009e-06 | 2.1398e-06 | 0.027143 | 0.027143 | 0.027143 | 0.98167 | -0.35232 | 0.98145 | -0.35654 | 7.4568
69 | 0.0028861 | 0.00072318 | -0.002886 | -0.0007233 | 9.8022e-08 | -1.166e-07 | 0.0043334 | 0.0043335 | 0.0043335 | 0.99101 | -0.17108 | 0.99098 | -0.17179 | 1.1905
70 | 0.037844 | 0.0095064 | -0.037833 | -0.0094994 | 1.1126e-05 | 7.0033e-06 | 0.056949 | 0.056949 | 0.056949 | 0.98894 | -0.21104 | 0.98863 | -0.2172 | 15.6454
71 | 0.013904 | 0.0034855 | -0.013901 | -0.003484 | 2.7037e-06 | 1.5262e-06 | 0.021102 | 0.021102 | 0.021102 | 0.98045 | -0.37622 | 0.98024 | -0.3803 | 5.7974
72 | -0.013904 | -0.0034855 | 0.013917 | 0.0034929 | 1.3051e-05 | 7.366e-06 | 0.021102 | 0.021102 | 0.021102 | 0.98045 | -0.37622 | 0.98145 | -0.35654 | 5.7974
73 | 0.0039844 | 0.00099835 | -0.003984 | -0.00099848 | 4.5247e-07 | -1.282e-07 | 0.0060409 | 0.006041 | 0.006041 | 0.98145 | -0.35654 | 0.98133 | -0.35892 | 1.6596
74 | 0.010829 | 0.0027153 | -0.010825 | -0.002713 | 4.5106e-06 | 2.3238e-06 | 0.016423 | 0.016424 | 0.016424 | 0.98122 | -0.36115 | 0.98077 | -0.3699 | 4.512
75 | 0.024436 | 0.0061297 | -0.024424 | -0.0061226 | 1.1615e-05 | 7.149e-06 | 0.037059 | 0.037059 | 0.037059 | 0.98122 | -0.36115 | 0.98071 | -0.37113 | 10.1811
76 | 0.036234 | 0.0090988 | -0.036211 | -0.0090843 | 2.3119e-05 | 1.4531e-05 | 0.054544 | 0.054544 | 0.054544 | 0.98863 | -0.2172 | 0.98794 | -0.23058 | 14.9846
77 | -0.03428 | -0.0085915 | 0.034307 | 0.0086082 | 2.6741e-05 | 1.6758e-05 | 0.051147 | 0.051147 | 0.051147 | 0.99732 | -0.051564 | 0.99817 | -0.035203 | 14.0513
78 | -0.058072 | -0.014564 | 0.05817 | 0.014626 | 9.7619e-05 | 6.2021e-05 | 0.086575 | 0.086574 | 0.086575 | 0.99817 | -0.035203 | 1 | 0 | 23.7842
79 | -0.43104 | -0.11024 | 0.43224 | 0.11101 | 0.0012002 | 0.00076649 | 0.64413 | 0.64413 | 0.64413 | 0.99697 | -0.057362 | 1 | 0 | 44.2398
80 | 0.014147 | 0.0035468 | -0.014144 | -0.0035448 | 3.6354e-06 | 2.055e-06 | 0.021341 | 0.021341 | 0.021341 | 0.98647 | -0.25877 | 0.98619 | -0.26417 | 5.8629
81 | 0.14871 | 0.037543 | -0.14869 | -0.037529 | 2.2133e-05 | 1.393e-05 | 0.22534 | 0.22534 | 0.22534 | 0.98242 | -0.33717 | 0.98226 | -0.34028 | 15.4769
82 | 0.14485 | 0.036567 | -0.14479 | -0.036532 | 5.5802e-05 | 3.5088e-05 | 0.21953 | 0.21953 | 0.21953 | 0.98226 | -0.34028 | 0.98184 | -0.34832 | 15.0775
83 | 0.14197 | 0.035825 | -0.14193 | -0.0358 | 3.968e-05 | 2.4933e-05 | 0.21525 | 0.21525 | 0.21525 | 0.98184 | -0.34832 | 0.98154 | -0.35416 | 14.7836
84 | 0.13475 | 0.034 | -0.13472 | -0.033978 | 3.4977e-05 | 2.1934e-05 | 0.20436 | 0.20436 | 0.20436 | 0.98154 | -0.35416 | 0.98127 | -0.35958 | 14.036
85 | 0.1296 | 0.032696 | -0.12958 | -0.032683 | 2.0813e-05 | 1.303e-05 | 0.19661 | 0.19661 | 0.19661 | 0.98127 | -0.35958 | 0.98109 | -0.36294 | 13.5033
86 | 0.012857 | 0.0032236 | -0.012853 | -0.0032213 | 4.1695e-06 | 2.3e-06 | 0.019509 | 0.019509 | 0.019509 | 0.98071 | -0.37113 | 0.98036 | -0.37794 | 5.3596

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50969 | 0.13005

## res_load
| p_mw | q_mvar
0 | 0.0020558 | 0.00051523
1 | 0.0019441 | 0.00048723
2 | 0.0077715 | 0.0019477
3 | 0.0070385 | 0.001764
4 | 0.0028159 | 0.00070573
5 | 0.0056526 | 0.0014167
6 | 0.016633 | 0.0041687
7 | 0.0023621 | 0.000592
8 | 0.0028959 | 0.00072579
9 | 0.0026524 | 0.00066475
10 | 0.0040604 | 0.0010176
11 | 0.0087401 | 0.0021905
12 | 0.0047785 | 0.0011976
13 | 0.010879 | 0.0027265
14 | 0.0023779 | 0.00059595
15 | 0.002173 | 0.0005446
16 | 0.0018544 | 0.00046475
17 | 0.0032403 | 0.0008121
18 | 0.0048144 | 0.0012066
19 | 0.0067827 | 0.0016999
20 | 0.0033813 | 0.00084743
21 | 0.0026606 | 0.00066682
22 | 0.0084199 | 0.0021102
23 | 0.0025673 | 0.00064344
24 | 0.0073407 | 0.0018397
25 | 0.016058 | 0.0040246
26 | 0.013314 | 0.0033367
27 | 0.0097838 | 0.0024521
28 | 0.007493 | 0.0018779
29 | 0.011451 | 0.00287
30 | 0.0054591 | 0.0013682
31 | 0.017749 | 0.0044483
32 | 0.0040645 | 0.0010187
33 | 0.0032036 | 0.00080291
34 | 0.011277 | 0.0028262
35 | 0.011291 | 0.0028297
36 | 0.0034599 | 0.00086713
37 | 0.0025093 | 0.0006289
38 | 0.013901 | 0.003484
39 | 0.003984 | 0.00099848
40 | 0.002886 | 0.0007233
41 | 0.0015983 | 0.00040058
42 | 0.0068146 | 0.0017079
43 | 0.014719 | 0.0036889
44 | 0.03428 | 0.0085915
45 | 0.023765 | 0.0059561
46 | 0.0029733 | 0.00074518
47 | 0.017632 | 0.004419
48 | 0.0078475 | 0.0019668
49 | 0.014144 | 0.0035448
50 | 0.041636 | 0.010435
51 | 0.0073476 | 0.0018415
52 | 0.0028206 | 0.00070691
53 | 0.003839 | 0.00096216
54 | 0.0028229 | 0.00070748
55 | 0.0071803 | 0.0017995
56 | 0.0051154 | 0.001282
57 | 0.0073892 | 0.0018519
58 | 0.011567 | 0.002899
59 | 0.012853 | 0.0032213
60 | 0.010825 | 0.002713

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1