## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-178_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-178_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-178_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-178_0_3_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_261-178_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-178_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_261-178_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-178_0_3_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_261-178_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_261-178_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-178_0_3_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_261-178_0_3_node_94 | 0.4 | n |  | TRUE
12 | bus_LV_261-178_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-178_0_3_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_261-178_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-178_0_3_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_261-178_0_3_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_261-178_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-178_0_3_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_261-178_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_261-178_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_261-178_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_261-178_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_261-178_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_261-178_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_261-178_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_261-178_0_3_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_261-178_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_261-178_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_261-178_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_261-178_0_3_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_261-178_0_3_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_261-178_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_261-178_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_261-178_0_3_node_95 | 0.4 | n |  | TRUE
35 | bus_LV_261-178_0_3_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_261-178_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_261-178_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_261-178_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_261-178_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_261-178_0_3_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_261-178_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_261-178_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_261-178_0_3_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_261-178_0_3_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_261-178_0_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_261-178_0_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_261-178_0_3_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_261-178_0_3_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_261-178_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_261-178_0_3_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_261-178_0_3_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_261-178_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_261-178_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_261-178_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_261-178_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_261-178_0_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_261-178_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_261-178_0_3_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_261-178_0_3_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_261-178_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_261-178_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_261-178_0_3_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_261-178_0_3_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_261-178_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_261-178_0_3_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_261-178_0_3_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_261-178_0_3_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_261-178_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_261-178_0_3_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_261-178_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_261-178_0_3_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_261-178_0_3_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_261-178_0_3_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_261-178_0_3_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_261-178_0_3_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_261-178_0_3_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_261-178_0_3_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_261-178_0_3_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_261-178_0_3_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_261-178_0_3_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_261-178_0_3_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_261-178_0_3_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_261-178_0_3_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_261-178_0_3_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_261-178_0_3_node_76 | 0.4 | n |  | TRUE
86 | bus_MV_518_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-178_0_3_load_0 | 0 | 0.0071047 | 0.0017806 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-178_0_3_load_1 | 1 | 0.010222 | 0.002562 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-178_0_3_load_20 | 3 | 0.010077 | 0.0025254 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-178_0_3_load_21 | 5 | 0.012833 | 0.0032162 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-178_0_3_load_33 | 7 | 0.0066128 | 0.0016573 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-178_0_3_load_94 | 11 | 0.0030764 | 0.00077101 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-178_0_3_load_90 | 13 | 0.0058185 | 0.0014583 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-178_0_3_load_88 | 15 | 0.0057185 | 0.0014332 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-178_0_3_load_82 | 16 | 0.0065979 | 0.0016536 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-178_0_3_load_86 | 18 | 0.0052786 | 0.0013229 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-178_0_3_load_22 | 24 | 0.014521 | 0.0036394 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-178_0_3_load_85 | 26 | 0.0052629 | 0.001319 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-178_0_3_load_31 | 27 | 0.0072973 | 0.0018289 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-178_0_3_load_26 | 28 | 0.0077613 | 0.0019452 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-178_0_3_load_84 | 30 | 0.0048595 | 0.0012179 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-178_0_3_load_27 | 33 | 0.01892 | 0.0047418 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-178_0_3_load_95 | 34 | 0.0027256 | 0.00068309 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-178_0_3_load_89 | 35 | 0.0054306 | 0.001361 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-178_0_3_load_25 | 36 | 0.0086959 | 0.0021794 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-178_0_3_load_39 | 38 | 0.016025 | 0.0040163 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-178_0_3_load_35 | 39 | 0.0039079 | 0.00097942 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-178_0_3_load_93 | 40 | 0.0026972 | 0.00067599 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-178_0_3_load_41 | 41 | 0.0065844 | 0.0016502 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-178_0_3_load_80 | 43 | 0.0070161 | 0.0017584 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-178_0_3_load_79 | 44 | 0.013254 | 0.0033218 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-178_0_3_load_78 | 45 | 0.0016786 | 0.0004207 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-178_0_3_load_58 | 46 | 0.001583 | 0.00039675 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-178_0_3_load_92 | 47 | 0.0092461 | 0.0023173 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-178_0_3_load_91 | 48 | 0.0071566 | 0.0017936 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-178_0_3_load_34 | 49 | 0.0095354 | 0.0023898 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-178_0_3_load_30 | 50 | 0.0027005 | 0.0006768 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-178_0_3_load_81 | 51 | 0.0066251 | 0.0016604 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-178_0_3_load_37 | 52 | 0.0039952 | 0.0010013 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-178_0_3_load_63 | 56 | 0.0021928 | 0.00054957 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-178_0_3_load_71 | 58 | 0.0039401 | 0.00098747 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-178_0_3_load_68 | 60 | 0.010069 | 0.0025235 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-178_0_3_load_69 | 62 | 0.0044494 | 0.0011151 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-178_0_3_load_67 | 63 | 0.0063852 | 0.0016003 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-178_0_3_load_51 | 64 | 0.0032453 | 0.00081335 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-178_0_3_load_48 | 65 | 0.0030132 | 0.00075518 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-178_0_3_load_64 | 66 | 0.003659 | 0.00091703 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-178_0_3_load_72 | 67 | 0.002551 | 0.00063934 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-178_0_3_load_66 | 68 | 0.010113 | 0.0025346 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-178_0_3_load_73 | 69 | 0.0043548 | 0.0010914 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-178_0_3_load_70 | 70 | 0.0034296 | 0.00085954 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-178_0_3_load_53 | 71 | 0.0028287 | 0.00070893 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-178_0_3_load_49 | 72 | 0.0044476 | 0.0011147 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-178_0_3_load_50 | 73 | 0.005866 | 0.0014701 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-178_0_3_load_52 | 74 | 0.0057089 | 0.0014308 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-178_0_3_load_54 | 75 | 0.0046449 | 0.0011641 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-178_0_3_load_59 | 76 | 0.016067 | 0.0040269 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-178_0_3_load_55 | 77 | 0.0036735 | 0.00092068 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-178_0_3_load_60 | 78 | 0.0031076 | 0.00077883 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-178_0_3_load_56 | 79 | 0.0018408 | 0.00046134 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-178_0_3_load_57 | 80 | 0.0024443 | 0.00061259 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-178_0_3_load_61 | 81 | 0.0020244 | 0.00050737 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-178_0_3_load_62 | 82 | 0.0021266 | 0.00053298 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-178_0_3_load_74 | 83 | 0.0049262 | 0.0012346 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-178_0_3_load_75 | 84 | 0.0028584 | 0.00071639 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-178_0_3_load_76 | 85 | 0.002865 | 0.00071803 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-178_0_3_line_0 |  | 0 | 1 | 0.027595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-178_0_3_line_1 |  | 1 | 2 | 0.015819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-178_0_3_line_2 |  | 2 | 3 | 0.0087754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-178_0_3_line_3 |  | 2 | 4 | 0.0148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-178_0_3_line_4 |  | 3 | 19 | 0.011032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-178_0_3_line_5 |  | 4 | 5 | 0.016375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-178_0_3_line_6 |  | 5 | 28 | 0.021913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-178_0_3_line_7 |  | 6 | 7 | 0.036953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-178_0_3_line_8 |  | 6 | 8 | 0.016036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-178_0_3_line_9 |  | 7 | 31 | 0.0056703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-178_0_3_line_10 |  | 8 | 32 | 0.021676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-178_0_3_line_11 |  | 8 | 33 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-178_0_3_line_12 |  | 9 | 10 | 0.014909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-178_0_3_line_13 |  | 9 | 11 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-178_0_3_line_14 |  | 10 | 26 | 0.002961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-178_0_3_line_15 |  | 10 | 17 | 0.015996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-178_0_3_line_16 |  | 11 | 34 | 0.010822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-178_0_3_line_17 |  | 12 | 13 | 0.002715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-178_0_3_line_18 |  | 12 | 14 | 0.003828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-178_0_3_line_19 |  | 12 | 15 | 0.016576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-178_0_3_line_20 |  | 14 | 16 | 0.00931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-178_0_3_line_21 |  | 15 | 35 | 0.0091678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-178_0_3_line_22 |  | 17 | 18 | 0.00319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-178_0_3_line_23 |  | 19 | 20 | 0.008837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-178_0_3_line_24 |  | 19 | 21 | 0.0075082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-178_0_3_line_25 |  | 20 | 36 | 0.047408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-178_0_3_line_26 |  | 20 | 22 | 0.00586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-178_0_3_line_27 |  | 21 | 24 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-178_0_3_line_28 |  | 22 | 23 | 0.009253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-178_0_3_line_29 |  | 23 | 41 | 0.016446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-178_0_3_line_30 |  | 23 | 42 | 0.011771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_261-178_0_3_line_31 |  | 25 | 26 | 0.035869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-178_0_3_line_32 |  | 25 | 27 | 0.036547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-178_0_3_line_33 |  | 27 | 32 | 0.024435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-178_0_3_line_34 |  | 29 | 30 | 0.014996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-178_0_3_line_35 |  | 29 | 31 | 0.004002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-178_0_3_line_36 |  | 30 | 35 | 0.0096282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-178_0_3_line_37 |  | 31 | 51 | 0.018036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-178_0_3_line_38 |  | 32 | 50 | 0.015648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-178_0_3_line_39 |  | 34 | 40 | 0.017916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-178_0_3_line_40 |  | 36 | 50 | 0.022549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-178_0_3_line_41 |  | 37 | 38 | 0.027541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-178_0_3_line_42 |  | 37 | 39 | 0.015253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-178_0_3_line_43 |  | 39 | 49 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-178_0_3_line_44 |  | 41 | 48 | 0.014498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_261-178_0_3_line_45 |  | 42 | 52 | 0.011434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_261-178_0_3_line_46 |  | 42 | 49 | 0.022158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-178_0_3_line_47 |  | 43 | 44 | 0.023154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-178_0_3_line_48 |  | 44 | 82 | 0.00078528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-178_0_3_line_49 |  | 45 | 46 | 0.015295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-178_0_3_line_50 |  | 46 | 80 | 0.0071206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-178_0_3_line_51 |  | 47 | 48 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_261-178_0_3_line_52 |  | 52 | 53 | 0.061716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_261-178_0_3_line_53 |  | 53 | 54 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_261-178_0_3_line_54 |  | 54 | 55 | 0.031454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-178_0_3_line_55 |  | 54 | 56 | 0.019658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-178_0_3_line_56 |  | 55 | 64 | 0.018488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-178_0_3_line_57 |  | 55 | 65 | 0.0079115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-178_0_3_line_58 |  | 56 | 66 | 0.033026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-178_0_3_line_59 |  | 57 | 58 | 0.016142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-178_0_3_line_60 |  | 57 | 59 | 0.043329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-178_0_3_line_61 |  | 57 | 60 | 0.030535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-178_0_3_line_62 |  | 58 | 69 | 0.015378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-178_0_3_line_63 |  | 59 | 68 | 0.032343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-178_0_3_line_64 |  | 59 | 66 | 0.017876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-178_0_3_line_65 |  | 60 | 61 | 0.016781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-178_0_3_line_66 |  | 61 | 62 | 0.014213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-178_0_3_line_67 |  | 61 | 63 | 0.037153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-178_0_3_line_68 |  | 62 | 70 | 0.022926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-178_0_3_line_69 |  | 64 | 71 | 0.035675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-178_0_3_line_70 |  | 65 | 72 | 0.032558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-178_0_3_line_71 |  | 67 | 68 | 0.030749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-178_0_3_line_72 |  | 70 | 83 | 0.0012308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-178_0_3_line_73 |  | 71 | 76 | 0.0052598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-178_0_3_line_74 |  | 72 | 73 | 0.010695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-178_0_3_line_75 |  | 73 | 74 | 0.01339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-178_0_3_line_76 |  | 74 | 75 | 0.01173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-178_0_3_line_77 |  | 75 | 77 | 0.0044252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-178_0_3_line_78 |  | 76 | 78 | 0.0033612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-178_0_3_line_79 |  | 77 | 79 | 0.021741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-178_0_3_line_80 |  | 78 | 81 | 0.03967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-178_0_3_line_81 |  | 79 | 80 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-178_0_3_line_82 |  | 81 | 82 | 0.0070717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-178_0_3_line_83 |  | 83 | 84 | 0.020815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-178_0_3_line_84 |  | 84 | 85 | 0.0080341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-178_0_3_trafo_92 | 0.63 MVA 20/0.4 kV | 86 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2680238.1784 | 1250195.9739 | 2680256.1117 | 1250181.7868 | 2680259.9067 | 1250178.9665
1 | 2680274.0564 | 1250172.434 | 2680271.3851 | 1250172.887 | 2680267.9508 | 1250173.9302 | 2680265.466 | 1250175.1085 | 2680262.7241 | 1250176.8727 | 2680259.9067 | 1250178.9665
2 | 2680274.0564 | 1250172.434 | 2680278.4008 | 1250172.7597 | 2680281.3817 | 1250176.0216
3 | 2680274.0564 | 1250172.434 | 2680271.5844 | 1250167.6525 | 2680266.9771 | 1250159.4285
4 | 2680288.8237 | 1250184.1648 | 2680281.3817 | 1250176.0216
5 | 2680266.9771 | 1250159.4285 | 2680275.9975 | 1250152.8792 | 2680280.4413 | 1250150.1252
6 | 2680299.169 | 1250144.4868 | 2680292.643 | 1250149.7023 | 2680290.7087 | 1250148.1416 | 2680284.7764 | 1250147.4385 | 2680280.4413 | 1250150.1252
7 | 2680324.6356 | 1250094.3504 | 2680327.4872 | 1250096.7464 | 2680339.3213 | 1250084.2754 | 2680348.2469 | 1250075.2675 | 2680350.786 | 1250073.0738
8 | 2680318.1048 | 1250108.8282 | 2680322.6648 | 1250096.5921 | 2680324.6356 | 1250094.3504
9 | 2680355.0767 | 1250069.3668 | 2680350.786 | 1250073.0738
10 | 2680330.9578 | 1250125.8816 | 2680321.0087 | 1250115.7171 | 2680318.1048 | 1250108.8282
11 | 2680318.1048 | 1250108.8282 | 2680316.7736 | 1250114.5699 | 2680312.7641 | 1250121.6885
12 | 2680404.9243 | 1250098.731 | 2680396.3787 | 1250105.32 | 2680398.802 | 1250108.6775
13 | 2680398.802 | 1250108.6775 | 2680388.4405 | 1250116.8141
14 | 2680404.9243 | 1250098.731 | 2680404.2041 | 1250097.8317 | 2680403.0605 | 1250096.4262
15 | 2680404.9243 | 1250098.731 | 2680417.6797 | 1250089.0302
16 | 2680388.4405 | 1250116.8141 | 2680379.929 | 1250123.4979
17 | 2680392.4394 | 1250036.2045 | 2680390.8764 | 1250033.9816
18 | 2680392.4394 | 1250036.2045 | 2680394.6468 | 1250039.3367
19 | 2680392.4394 | 1250036.2045 | 2680379.0104 | 1250045.9217
20 | 2680394.6468 | 1250039.3367 | 2680387.1567 | 1250044.8662
21 | 2680379.0104 | 1250045.9217 | 2680375.1534 | 1250048.7126 | 2680371.6749 | 1250051.4185
22 | 2680417.6797 | 1250089.0302 | 2680416.8116 | 1250087.9065 | 2680415.7284 | 1250086.5019
23 | 2680288.8237 | 1250184.1648 | 2680290.1185 | 1250185.0052 | 2680293.3764 | 1250184.7158 | 2680296.84 | 1250182.6278
24 | 2680283.2888 | 1250189.2381 | 2680286.0945 | 1250186.6631 | 2680288.8237 | 1250184.1648
25 | 2680296.84 | 1250182.6278 | 2680304.6745 | 1250175.0061 | 2680308.7448 | 1250171.0472 | 2680323.8636 | 1250157.9646 | 2680332.4373 | 1250151.3866
26 | 2680301.2495 | 1250186.5015 | 2680296.84 | 1250182.6278
27 | 2680283.2888 | 1250189.2381 | 2680284.352 | 1250191.0093 | 2680285.0272 | 1250193.5537 | 2680283.8539 | 1250197.1182 | 2680278.479 | 1250203.251
28 | 2680301.2495 | 1250186.5015 | 2680308.2184 | 1250192.6116
29 | 2680308.2184 | 1250192.6116 | 2680312.6095 | 1250186.1441 | 2680317.7103 | 1250180.7981 | 2680318.6379 | 1250179.9753
30 | 2680302.0365 | 1250202.524 | 2680304.8422 | 1250199.393 | 2680308.2184 | 1250192.6116
31 | 2680403.0605 | 1250096.4262 | 2680395.6506 | 1250102.23 | 2680384.5327 | 1250088.0688 | 2680378.2334 | 1250087.1383 | 2680376.7137 | 1250085.6277
32 | 2680376.7137 | 1250085.6277 | 2680364.7624 | 1250095.0504 | 2680350.0706 | 1250108.917 | 2680349.2407 | 1250109.6768
33 | 2680330.9578 | 1250125.8816 | 2680333.356 | 1250123.857 | 2680339.444 | 1250118.6468 | 2680349.2407 | 1250109.6768
34 | 2680352.2385 | 1250066.5374 | 2680364.0752 | 1250057.33
35 | 2680355.0767 | 1250069.3668 | 2680352.2385 | 1250066.5374
36 | 2680371.6749 | 1250051.4185 | 2680364.0752 | 1250057.33
37 | 2680355.0767 | 1250069.3668 | 2680361.051 | 1250064.1995 | 2680369.1774 | 1250058.1402
38 | 2680330.9578 | 1250125.8816 | 2680341.9049 | 1250137.0634
39 | 2680379.929 | 1250123.4979 | 2680372.0769 | 1250129.6639 | 2680365.8392 | 1250134.5645
40 | 2680341.9049 | 1250137.0634 | 2680345.8516 | 1250141.0946 | 2680332.4373 | 1250151.3866
41 | 2680266.8354 | 1250235.0713 | 2680279.4501 | 1250259.5534
42 | 2680266.8354 | 1250235.0713 | 2680278.5899 | 1250225.351
43 | 2680278.5899 | 1250225.351 | 2680280.7397 | 1250223.5733 | 2680286.4221 | 1250218.2391
44 | 2680318.6379 | 1250179.9753 | 2680325.5509 | 1250173.8437 | 2680329.7314 | 1250170.656
45 | 2680302.0365 | 1250202.524 | 2680307.0754 | 1250212.7878
46 | 2680302.0365 | 1250202.524 | 2680290.7116 | 1250214.2126 | 2680286.4221 | 1250218.2391
47 | 2680470.6149 | 1250157.8437 | 2680452.0772 | 1250171.7175
48 | 2680452.0772 | 1250171.7175 | 2680451.4485 | 1250172.188
49 | 2680440.7012 | 1250109.4748 | 2680430.3163 | 1250120.7034
50 | 2680425.4815 | 1250125.931 | 2680430.3163 | 1250120.7034
51 | 2680329.7314 | 1250170.656 | 2680340.5951 | 1250162.3724 | 2680344.8991 | 1250158.9801
52 | 2680338.2412 | 1250265.2275 | 2680335.8782 | 1250263.5498 | 2680328.0743 | 1250255.5603 | 2680307.0754 | 1250212.7878
53 | 2680351.8474 | 1250264.0221 | 2680349.0816 | 1250263.095 | 2680338.2412 | 1250265.2275
54 | 2680351.8474 | 1250264.0221 | 2680359.0548 | 1250248.6418 | 2680365.0393 | 1250235.4688
55 | 2680351.8474 | 1250264.0221 | 2680354.7871 | 1250265.4852 | 2680356.6574 | 1250261.7412 | 2680366.7365 | 1250268.5949
56 | 2680365.0393 | 1250235.4688 | 2680369.349 | 1250236.6836 | 2680374.0484 | 1250235.3241 | 2680381.2378 | 1250229.7161
57 | 2680365.0393 | 1250235.4688 | 2680368.3091 | 1250228.2646
58 | 2680366.7365 | 1250268.5949 | 2680372.3747 | 1250272.4288 | 2680388.9639 | 1250279.5034 | 2680395.1234 | 1250284.876
59 | 2680428.7508 | 1250327.9455 | 2680419.6652 | 1250340.4092 | 2680419.1885 | 1250340.9468
60 | 2680408.5951 | 1250296.6267 | 2680424.2088 | 1250308.2582 | 2680427.9 | 1250311.6441 | 2680429.5806 | 1250314.091 | 2680429.0934 | 1250318.2763 | 2680425.8538 | 1250325.56 | 2680428.7508 | 1250327.9455
61 | 2680428.7508 | 1250327.9455 | 2680441.6149 | 1250307.4271 | 2680444.9052 | 1250302.0343
62 | 2680408.9855 | 1250352.4526 | 2680419.1885 | 1250340.9468
63 | 2680408.5951 | 1250296.6267 | 2680399.6433 | 1250306.4681 | 2680385.895 | 1250314.2652 | 2680382.7464 | 1250315.0042
64 | 2680408.5951 | 1250296.6267 | 2680395.1234 | 1250284.876
65 | 2680453.6453 | 1250287.7092 | 2680444.9052 | 1250302.0343
66 | 2680453.6453 | 1250287.7092 | 2680460.9172 | 1250275.4969
67 | 2680453.6453 | 1250287.7092 | 2680425.7035 | 1250272.1296 | 2680421.5704 | 1250269.0379
68 | 2680460.9172 | 1250275.4969 | 2680467.3592 | 1250264.6783 | 2680473.5421 | 1250256.3969
69 | 2680409.3825 | 1250207.7933 | 2680398.9321 | 1250215.9139 | 2680381.2378 | 1250229.7161
70 | 2680368.3091 | 1250228.2646 | 2680376.3552 | 1250210.5371 | 2680382.7596 | 1250199.1214
71 | 2680382.7464 | 1250315.0042 | 2680372.9511 | 1250317.303 | 2680355.0083 | 1250323.1975 | 2680353.3437 | 1250323.8852
72 | 2680474.2785 | 1250255.4106 | 2680473.5421 | 1250256.3969
73 | 2680409.3825 | 1250207.7933 | 2680413.5358 | 1250204.5659
74 | 2680387.9927 | 1250189.7936 | 2680382.7596 | 1250199.1214
75 | 2680394.544 | 1250178.1161 | 2680387.9927 | 1250189.7936
76 | 2680394.544 | 1250178.1161 | 2680400.2831 | 1250167.8861
77 | 2680402.4483 | 1250164.0268 | 2680400.2831 | 1250167.8861
78 | 2680413.5358 | 1250204.5659 | 2680416.1899 | 1250202.5036
79 | 2680402.4483 | 1250164.0268 | 2680406.6229 | 1250156.5856 | 2680413.3537 | 1250145.22
80 | 2680445.7868 | 1250176.4253 | 2680441.0506 | 1250179.9699 | 2680434.1619 | 1250188.5383 | 2680416.1899 | 1250202.5036
81 | 2680413.3537 | 1250145.22 | 2680423.5223 | 1250128.0493 | 2680425.4815 | 1250125.931
82 | 2680445.7868 | 1250176.4253 | 2680451.4485 | 1250172.188
83 | 2680474.2785 | 1250255.4106 | 2680480.8702 | 1250246.5817 | 2680481.5161 | 1250245.7232 | 2680487.2259 | 1250239.1291
84 | 2680492.4851 | 1250233.0554 | 2680487.2259 | 1250239.1291

## bus_geodata
| x | y | coords
0 | 2680238.1784 | 1250195.9739
1 | 2680259.9067 | 1250178.9665
2 | 2680274.0564 | 1250172.434
3 | 2680281.3817 | 1250176.0216
4 | 2680266.9771 | 1250159.4285
5 | 2680280.4413 | 1250150.1252
6 | 2680324.6356 | 1250094.3504
7 | 2680350.786 | 1250073.0738
8 | 2680318.1048 | 1250108.8282
9 | 2680398.802 | 1250108.6775
10 | 2680404.9243 | 1250098.731
11 | 2680388.4405 | 1250116.8141
12 | 2680392.4394 | 1250036.2045
13 | 2680390.8764 | 1250033.9816
14 | 2680394.6468 | 1250039.3367
15 | 2680379.0104 | 1250045.9217
16 | 2680387.1567 | 1250044.8662
17 | 2680417.6797 | 1250089.0302
18 | 2680415.7284 | 1250086.5019
19 | 2680288.8237 | 1250184.1648
20 | 2680296.84 | 1250182.6278
21 | 2680283.2888 | 1250189.2381
22 | 2680301.2495 | 1250186.5015
23 | 2680308.2184 | 1250192.6116
24 | 2680278.479 | 1250203.251
25 | 2680376.7137 | 1250085.6277
26 | 2680403.0605 | 1250096.4262
27 | 2680349.2407 | 1250109.6768
28 | 2680299.169 | 1250144.4868
29 | 2680352.2385 | 1250066.5374
30 | 2680364.0752 | 1250057.33
31 | 2680355.0767 | 1250069.3668
32 | 2680330.9578 | 1250125.8816
33 | 2680312.7641 | 1250121.6885
34 | 2680379.929 | 1250123.4979
35 | 2680371.6749 | 1250051.4185
36 | 2680332.4373 | 1250151.3866
37 | 2680266.8354 | 1250235.0713
38 | 2680279.4501 | 1250259.5534
39 | 2680278.5899 | 1250225.351
40 | 2680365.8392 | 1250134.5645
41 | 2680318.6379 | 1250179.9753
42 | 2680302.0365 | 1250202.524
43 | 2680470.6149 | 1250157.8437
44 | 2680452.0772 | 1250171.7175
45 | 2680440.7012 | 1250109.4748
46 | 2680430.3163 | 1250120.7034
47 | 2680344.8991 | 1250158.9801
48 | 2680329.7314 | 1250170.656
49 | 2680286.4221 | 1250218.2391
50 | 2680341.9049 | 1250137.0634
51 | 2680369.1774 | 1250058.1402
52 | 2680307.0754 | 1250212.7878
53 | 2680338.2412 | 1250265.2275
54 | 2680351.8474 | 1250264.0221
55 | 2680365.0393 | 1250235.4687
56 | 2680366.7365 | 1250268.5949
57 | 2680428.7508 | 1250327.9455
58 | 2680419.1885 | 1250340.9468
59 | 2680408.5951 | 1250296.6267
60 | 2680444.9052 | 1250302.0343
61 | 2680453.6453 | 1250287.7092
62 | 2680460.9172 | 1250275.4969
63 | 2680421.5704 | 1250269.0379
64 | 2680381.2378 | 1250229.7161
65 | 2680368.3091 | 1250228.2646
66 | 2680395.1234 | 1250284.876
67 | 2680353.3437 | 1250323.8852
68 | 2680382.7464 | 1250315.0042
69 | 2680408.9855 | 1250352.4526
70 | 2680473.5421 | 1250256.3969
71 | 2680409.3825 | 1250207.7933
72 | 2680382.7597 | 1250199.1214
73 | 2680387.9927 | 1250189.7936
74 | 2680394.544 | 1250178.1161
75 | 2680400.2831 | 1250167.8861
76 | 2680413.5358 | 1250204.5659
77 | 2680402.4483 | 1250164.0268
78 | 2680416.1899 | 1250202.5036
79 | 2680413.3537 | 1250145.22
80 | 2680425.4815 | 1250125.931
81 | 2680445.7868 | 1250176.4253
82 | 2680451.4485 | 1250172.188
83 | 2680474.2785 | 1250255.4106
84 | 2680487.2259 | 1250239.1291
85 | 2680492.4851 | 1250233.0554
86 | 2680308.2184 | 1250192.6116

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99205 | -0.15216 | 0.0071047 | 0.0017806
1 | 0.99223 | -0.14869 | 0.010222 | 0.002562
2 | 0.99248 | -0.14383 | 0 | 0
3 | 0.99278 | -0.13795 | 0.010077 | 0.0025254
4 | 0.9922 | -0.14923 | 0 | 0
5 | 0.99189 | -0.1552 | 0.012833 | 0.0032162
6 | 0.98453 | -0.29741 | 0 | 0
7 | 0.98311 | -0.32514 | 0.0066128 | 0.0016573
8 | 0.98515 | -0.28541 | 0 | 0
9 | 0.98434 | -0.30117 | 0 | 0
10 | 0.98446 | -0.29889 | 0 | 0
11 | 0.98424 | -0.30318 | 0.0030764 | 0.00077101
12 | 0.98187 | -0.3493 | 0 | 0
13 | 0.98186 | -0.34958 | 0.0058185 | 0.0014583
14 | 0.98185 | -0.34975 | 0 | 0
15 | 0.98206 | -0.34558 | 0.0057185 | 0.0014332
16 | 0.98179 | -0.35086 | 0.0065979 | 0.0016536
17 | 0.98438 | -0.30041 | 0 | 0
18 | 0.98436 | -0.30071 | 0.0052786 | 0.0013229
19 | 0.99327 | -0.12859 | 0 | 0
20 | 0.99377 | -0.11883 | 0 | 0
21 | 0.99317 | -0.13051 | 0 | 0
22 | 0.9942 | -0.11052 | 0 | 0
23 | 0.99466 | -0.10177 | 0 | 0
24 | 0.99295 | -0.13478 | 0.014521 | 0.0036394
25 | 0.98512 | -0.28588 | 0 | 0
26 | 0.98449 | -0.29816 | 0.0052629 | 0.001319
27 | 0.98576 | -0.27339 | 0.0072973 | 0.0018289
28 | 0.99174 | -0.15822 | 0.0077613 | 0.0019452
29 | 0.98282 | -0.33078 | 0 | 0
30 | 0.98243 | -0.33847 | 0.0048595 | 0.0012179
31 | 0.98292 | -0.32873 | 0 | 0
32 | 0.98636 | -0.26185 | 0 | 0
33 | 0.9849 | -0.29019 | 0.01892 | 0.0047418
34 | 0.98418 | -0.30424 | 0.0027256 | 0.00068309
35 | 0.98222 | -0.34257 | 0.0054306 | 0.001361
36 | 0.98947 | -0.20146 | 0.0086959 | 0.0021794
37 | 0.993 | -0.13379 | 0 | 0
38 | 0.99259 | -0.14159 | 0.016025 | 0.0040163
39 | 0.99322 | -0.12947 | 0.0039079 | 0.00097942
40 | 0.98414 | -0.30511 | 0.0026972 | 0.00067599
41 | 0.99638 | -0.068923 | 0.0065844 | 0.0016502
42 | 0.99401 | -0.11421 | 0 | 0
43 | 0.98344 | -0.31871 | 0.0070161 | 0.0017584
44 | 0.98359 | -0.31578 | 0.013254 | 0.0033218
45 | 0.98504 | -0.28765 | 0.0016786 | 0.0004207
46 | 0.98506 | -0.28719 | 0.001583 | 0.00039675
47 | 1 | 0 | -0.36031 | -0.091521
48 | 0.99792 | -0.039502 | 0.0071566 | 0.0017936
49 | 0.99341 | -0.12574 | 0.0095354 | 0.0023898
50 | 0.98761 | -0.23751 | 0.0027005 | 0.0006768
51 | 0.98281 | -0.33088 | 0.0066251 | 0.0016604
52 | 0.99348 | -0.12433 | 0.0039952 | 0.0010013
53 | 0.99071 | -0.17766 | 0 | 0
54 | 0.98977 | -0.19583 | 0 | 0
55 | 0.98732 | -0.24328 | 0 | 0
56 | 0.98865 | -0.21747 | 0.0021928 | 0.00054957
57 | 0.98418 | -0.30424 | 0 | 0
58 | 0.98406 | -0.30665 | 0.0039401 | 0.00098747
59 | 0.98591 | -0.27056 | 0 | 0
60 | 0.98319 | -0.32349 | 0.010069 | 0.0025235
61 | 0.98281 | -0.33103 | 0 | 0
62 | 0.98256 | -0.33578 | 0.0044494 | 0.0011151
63 | 0.98259 | -0.33531 | 0.0063852 | 0.0016003
64 | 0.98647 | -0.25971 | 0.0032453 | 0.00081335
65 | 0.98706 | -0.24822 | 0.0030132 | 0.00075518
66 | 0.98683 | -0.25264 | 0.003659 | 0.00091703
67 | 0.98546 | -0.27931 | 0.002551 | 0.00063934
68 | 0.98553 | -0.2779 | 0.010113 | 0.0025346
69 | 0.98399 | -0.30786 | 0.0043548 | 0.0010914
70 | 0.98227 | -0.34161 | 0.0034296 | 0.00085954
71 | 0.98494 | -0.28942 | 0.0028287 | 0.00070893
72 | 0.98611 | -0.26681 | 0.0044476 | 0.0011147
73 | 0.98584 | -0.27207 | 0.005866 | 0.0014701
74 | 0.98557 | -0.27725 | 0.0057089 | 0.0014308
75 | 0.9854 | -0.28059 | 0.0046449 | 0.0011641
76 | 0.98473 | -0.29354 | 0.016067 | 0.0040269
77 | 0.98535 | -0.28149 | 0.0036735 | 0.00092068
78 | 0.98465 | -0.29521 | 0.0031076 | 0.00077883
79 | 0.9852 | -0.28443 | 0.0018408 | 0.00046134
80 | 0.98508 | -0.28677 | 0.0024443 | 0.00061259
81 | 0.98375 | -0.31264 | 0.0020244 | 0.00050737
82 | 0.98361 | -0.31549 | 0.0021266 | 0.00053298
83 | 0.98225 | -0.34185 | 0.0049262 | 0.0012346
84 | 0.98214 | -0.344 | 0.0028584 | 0.00071639
85 | 0.98212 | -0.34442 | 0.002865 | 0.00071803
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0071047 | -0.0017806 | 0.0071059 | 0.001781 | 1.1752e-06 | 3.9575e-07 | 0.010657 | 0.010657 | 0.010657 | 0.99205 | -0.15216 | 0.99223 | -0.14869 | 2.9277
1 | -0.017328 | -0.004343 | 0.017332 | 0.0043454 | 4.0062e-06 | 2.3596e-06 | 0.025987 | 0.025987 | 0.025987 | 0.99223 | -0.14869 | 0.99248 | -0.14383 | 7.1393
2 | -0.037939 | -0.0095139 | 0.037949 | 0.0095206 | 1.0648e-05 | 6.7013e-06 | 0.056883 | 0.056883 | 0.056883 | 0.99248 | -0.14383 | 0.99278 | -0.13795 | 15.6273
3 | 0.020606 | 0.0051685 | -0.020601 | -0.0051653 | 5.298e-06 | 3.1995e-06 | 0.030896 | 0.030897 | 0.030897 | 0.99248 | -0.14383 | 0.9922 | -0.14923 | 8.4881
4 | -0.048026 | -0.012046 | 0.048047 | 0.01206 | 2.1437e-05 | 1.3577e-05 | 0.071986 | 0.071986 | 0.071986 | 0.99278 | -0.13795 | 0.99327 | -0.12859 | 19.7765
5 | 0.020601 | 0.0051653 | -0.020595 | -0.0051618 | 5.8619e-06 | 3.5402e-06 | 0.030897 | 0.030897 | 0.030897 | 0.9922 | -0.14923 | 0.99189 | -0.1552 | 8.4881
6 | 0.0077624 | 0.0019456 | -0.0077613 | -0.0019452 | 1.1144e-06 | 4.3039e-07 | 0.011645 | 0.011645 | 0.011645 | 0.99189 | -0.1552 | 0.99174 | -0.15822 | 3.1992
7 | 0.041748 | 0.010495 | -0.041693 | -0.01046 | 5.5191e-05 | 3.4853e-05 | 0.063109 | 0.063109 | 0.063109 | 0.98453 | -0.29741 | 0.98311 | -0.32514 | 17.3378
8 | -0.041748 | -0.010495 | 0.041772 | 0.01051 | 2.395e-05 | 1.5124e-05 | 0.063109 | 0.063109 | 0.063109 | 0.98453 | -0.29741 | 0.98515 | -0.28541 | 17.3377
9 | 0.03508 | 0.0088023 | -0.035074 | -0.0087986 | 5.9956e-06 | 3.7653e-06 | 0.0531 | 0.0531 | 0.0531 | 0.98311 | -0.32514 | 0.98292 | -0.32873 | 14.588
10 | -0.060697 | -0.015254 | 0.060765 | 0.015298 | 6.8343e-05 | 4.3463e-05 | 0.091694 | 0.091694 | 0.091694 | 0.98515 | -0.28541 | 0.98636 | -0.26185 | 25.1907
11 | 0.018924 | 0.0047444 | -0.01892 | -0.0047418 | 4.3095e-06 | 2.579e-06 | 0.028585 | 0.028585 | 0.028585 | 0.98515 | -0.28541 | 0.9849 | -0.29019 | 7.8531
12 | -0.0085004 | -0.0021303 | 0.0085013 | 0.0021307 | 9.2317e-07 | 4.0129e-07 | 0.01285 | 0.01285 | 0.01285 | 0.98434 | -0.30117 | 0.98446 | -0.29889 | 3.5302
13 | 0.0085004 | 0.0021303 | -0.0084996 | -0.00213 | 8.1577e-07 | 3.5464e-07 | 0.01285 | 0.01285 | 0.01285 | 0.98434 | -0.30117 | 0.98424 | -0.30318 | 3.5302
14 | -0.01378 | -0.0034537 | 0.013781 | 0.003454 | 4.8174e-07 | 2.7066e-07 | 0.020829 | 0.020829 | 0.020829 | 0.98446 | -0.29889 | 0.98449 | -0.29816 | 5.7223
15 | 0.005279 | 0.001323 | -0.0052786 | -0.0013229 | 3.8192e-07 | 4.1062e-08 | 0.0079793 | 0.0079793 | 0.0079793 | 0.98446 | -0.29889 | 0.98438 | -0.30041 | 2.1921
16 | 0.0054232 | 0.001359 | -0.0054229 | -0.0013589 | 2.7281e-07 | 3.707e-08 | 0.008199 | 0.008199 | 0.008199 | 0.98424 | -0.30318 | 0.98418 | -0.30424 | 2.2525
17 | 0.0058186 | 0.0014583 | -0.0058185 | -0.0014583 | 7.9167e-08 | 1.6328e-08 | 0.008818 | 0.008818 | 0.008818 | 0.98187 | -0.3493 | 0.98186 | -0.34958 | 2.4225
18 | 0.0065984 | 0.0016537 | -0.0065982 | -0.0016537 | 1.4354e-07 | 4.3453e-08 | 0.0099998 | 0.0099998 | 0.0099998 | 0.98187 | -0.3493 | 0.98185 | -0.34975 | 2.7472
19 | -0.012417 | -0.003112 | 0.012419 | 0.0031132 | 2.2011e-06 | 1.199e-06 | 0.018818 | 0.018818 | 0.018818 | 0.98187 | -0.3493 | 0.98206 | -0.34558 | 5.1697
20 | 0.0065982 | 0.0016537 | -0.0065979 | -0.0016536 | 3.4911e-07 | 1.0569e-07 | 0.0099998 | 0.0099998 | 0.0099998 | 0.98185 | -0.34975 | 0.98179 | -0.35086 | 2.7472
21 | -0.018138 | -0.0045464 | 0.01814 | 0.004548 | 2.5966e-06 | 1.5458e-06 | 0.027482 | 0.027482 | 0.027482 | 0.98206 | -0.34558 | 0.98222 | -0.34257 | 7.5501
22 | 0.0052786 | 0.0013229 | -0.0052786 | -0.0013229 | 7.6165e-08 | 8.1931e-09 | 0.0079793 | 0.0079794 | 0.0079794 | 0.98438 | -0.30041 | 0.98436 | -0.30071 | 2.1921
23 | -0.062573 | -0.015701 | 0.062602 | 0.01572 | 2.9125e-05 | 1.8525e-05 | 0.093748 | 0.093748 | 0.093748 | 0.99327 | -0.12859 | 0.99377 | -0.11883 | 25.7549
24 | 0.014526 | 0.0036419 | -0.014524 | -0.0036411 | 1.3334e-06 | 7.5618e-07 | 0.021762 | 0.021762 | 0.021762 | 0.99327 | -0.12859 | 0.99317 | -0.13051 | 5.9785
25 | 0.099189 | 0.025193 | -0.098796 | -0.024942 | 0.00039278 | 0.00025077 | 0.14864 | 0.14864 | 0.14864 | 0.99377 | -0.11883 | 0.98947 | -0.20146 | 40.8348
26 | -0.16179 | -0.040913 | 0.16186 | 0.040954 | 6.4553e-05 | 4.1162e-05 | 0.24239 | 0.24239 | 0.24239 | 0.99377 | -0.11883 | 0.9942 | -0.11052 | 33.2948
27 | 0.014524 | 0.0036411 | -0.014521 | -0.0036394 | 2.949e-06 | 1.6725e-06 | 0.021762 | 0.021762 | 0.021762 | 0.99317 | -0.13051 | 0.99295 | -0.13478 | 5.9785
28 | -0.16186 | -0.040954 | 0.16192 | 0.040997 | 6.7953e-05 | 4.313e-05 | 0.24239 | 0.24239 | 0.24239 | 0.9942 | -0.11052 | 0.99466 | -0.10177 | 22.1965
29 | -0.3432 | -0.086977 | 0.34374 | 0.087323 | 0.00054263 | 0.00034664 | 0.51376 | 0.51376 | 0.51376 | 0.99466 | -0.10177 | 0.99638 | -0.068923 | 47.048
30 | 0.18127 | 0.04598 | -0.18116 | -0.045911 | 0.00010836 | 6.8893e-05 | 0.27138 | 0.27138 | 0.27138 | 0.99466 | -0.10177 | 0.99401 | -0.11421 | 24.8515
31 | 0.019055 | 0.0047797 | -0.019044 | -0.004773 | 1.1144e-05 | 6.6758e-06 | 0.028784 | 0.028784 | 0.028784 | 0.98512 | -0.28588 | 0.98449 | -0.29816 | 7.9076
32 | -0.019055 | -0.0047797 | 0.019066 | 0.0047865 | 1.1354e-05 | 6.8013e-06 | 0.028784 | 0.028783 | 0.028784 | 0.98512 | -0.28588 | 0.98576 | -0.27339 | 7.9076
33 | -0.026364 | -0.0066154 | 0.026378 | 0.0066243 | 1.4514e-05 | 8.977e-06 | 0.039799 | 0.039799 | 0.039799 | 0.98576 | -0.27339 | 0.98636 | -0.26185 | 10.9338
34 | 0.028445 | 0.0071362 | -0.028435 | -0.0071297 | 1.0432e-05 | 6.4863e-06 | 0.04307 | 0.04307 | 0.04307 | 0.98282 | -0.33078 | 0.98243 | -0.33847 | 11.8324
35 | -0.028445 | -0.0071362 | 0.028448 | 0.007138 | 2.7839e-06 | 1.731e-06 | 0.04307 | 0.04307 | 0.04307 | 0.98282 | -0.33078 | 0.98292 | -0.32873 | 11.8324
36 | 0.023576 | 0.0059118 | -0.023571 | -0.005909 | 4.6041e-06 | 2.8247e-06 | 0.03571 | 0.03571 | 0.03571 | 0.98243 | -0.33847 | 0.98222 | -0.34257 | 9.8103
37 | 0.0066258 | 0.0016606 | -0.0066251 | -0.0016604 | 6.8048e-07 | 2.0693e-07 | 0.010031 | 0.010031 | 0.010031 | 0.98292 | -0.32873 | 0.98281 | -0.33088 | 2.7557
38 | -0.087143 | -0.021922 | 0.087244 | 0.021987 | 0.00010146 | 6.4736e-05 | 0.13149 | 0.13149 | 0.13149 | 0.98636 | -0.26185 | 0.98761 | -0.23751 | 36.1244
39 | 0.0026974 | 0.00067584 | -0.0026972 | -0.00067599 | 1.1174e-07 | -1.5615e-07 | 0.0040782 | 0.0040782 | 0.0040782 | 0.98418 | -0.30424 | 0.98414 | -0.30511 | 1.1204
40 | 0.0901 | 0.022763 | -0.089945 | -0.022663 | 0.00015539 | 9.9163e-05 | 0.13556 | 0.13556 | 0.13556 | 0.98947 | -0.20146 | 0.98761 | -0.23751 | 37.2422
41 | 0.016031 | 0.0040198 | -0.016025 | -0.0040163 | 5.9607e-06 | 3.4587e-06 | 0.024024 | 0.024024 | 0.024024 | 0.993 | -0.13379 | 0.99259 | -0.14159 | 6.6
42 | -0.016031 | -0.0040198 | 0.016035 | 0.0040217 | 3.3011e-06 | 1.9154e-06 | 0.024024 | 0.024024 | 0.024024 | 0.993 | -0.13379 | 0.99322 | -0.12947 | 6.5999
43 | -0.019943 | -0.0050011 | 0.019946 | 0.0050033 | 3.543e-06 | 2.1305e-06 | 0.029878 | 0.029878 | 0.029878 | 0.99322 | -0.12947 | 0.99341 | -0.12574 | 8.2084
44 | -0.35032 | -0.088974 | 0.35082 | 0.089291 | 0.00049682 | 0.0003174 | 0.5236 | 0.5236 | 0.5236 | 0.99638 | -0.068923 | 0.99792 | -0.039502 | 47.9484
45 | 0.15167 | 0.038508 | -0.15159 | -0.038461 | 7.3788e-05 | 4.678e-05 | 0.22722 | 0.22722 | 0.22722 | 0.99401 | -0.11421 | 0.99348 | -0.12433 | 20.8074
46 | 0.029498 | 0.0074031 | -0.029481 | -0.007393 | 1.6205e-05 | 1.0084e-05 | 0.044161 | 0.044161 | 0.044161 | 0.99401 | -0.11421 | 0.99341 | -0.12574 | 12.1322
47 | -0.0070161 | -0.0017584 | 0.0070171 | 0.0017587 | 9.7853e-07 | 3.3242e-07 | 0.010616 | 0.010616 | 0.010616 | 0.98344 | -0.31871 | 0.98359 | -0.31578 | 2.9165
48 | -0.020271 | -0.0050805 | 0.020271 | 0.0050807 | 2.7695e-07 | 1.6728e-07 | 0.030667 | 0.030667 | 0.030667 | 0.98359 | -0.31578 | 0.98361 | -0.31549 | 8.425
49 | -0.0016786 | -0.0004207 | 0.0016787 | 0.00042053 | 3.6879e-08 | -1.711e-07 | 0.0025358 | 0.0025357 | 0.0025358 | 0.98504 | -0.28765 | 0.98506 | -0.28719 | 0.69664
50 | -0.0032617 | -0.00081728 | 0.0032618 | 0.00081723 | 6.482e-08 | -4.9164e-08 | 0.004927 | 0.004927 | 0.004927 | 0.98506 | -0.28719 | 0.98508 | -0.28677 | 1.3536
51 | 0.35866 | 0.091521 | -0.35798 | -0.091085 | 0.00068298 | 0.00043636 | 0.53427 | 0.53427 | 0.53427 | 1 | 0 | 0.99792 | -0.039502 | 48.9256
52 | 0.1476 | 0.03746 | -0.14722 | -0.03722 | 0.00037758 | 0.00023926 | 0.22123 | 0.22123 | 0.22123 | 0.99348 | -0.12433 | 0.99071 | -0.17766 | 20.2595
53 | 0.14722 | 0.03722 | -0.14709 | -0.037139 | 0.00012816 | 8.1663e-05 | 0.22123 | 0.22123 | 0.22123 | 0.99071 | -0.17766 | 0.98977 | -0.19583 | 30.3893
54 | 0.084957 | 0.021439 | -0.084765 | -0.021316 | 0.00019258 | 0.00012285 | 0.12778 | 0.12778 | 0.12778 | 0.98977 | -0.19583 | 0.98732 | -0.24328 | 35.1037
55 | 0.062133 | 0.0157 | -0.062069 | -0.015659 | 6.4385e-05 | 4.0954e-05 | 0.093457 | 0.093457 | 0.093457 | 0.98977 | -0.19583 | 0.98865 | -0.21747 | 25.6749
56 | 0.049811 | 0.012537 | -0.049771 | -0.012512 | 3.9091e-05 | 2.4782e-05 | 0.07509 | 0.07509 | 0.07509 | 0.98732 | -0.24328 | 0.98647 | -0.25971 | 20.6291
57 | 0.034954 | 0.0087793 | -0.034946 | -0.0087742 | 8.2358e-06 | 5.1697e-06 | 0.052688 | 0.052688 | 0.052688 | 0.98732 | -0.24328 | 0.98706 | -0.24822 | 14.4746
58 | 0.059876 | 0.015109 | -0.059775 | -0.015045 | 0.00010067 | 6.4004e-05 | 0.090156 | 0.090157 | 0.090157 | 0.98865 | -0.21747 | 0.98683 | -0.25264 | 24.7683
59 | 0.0082961 | 0.0020793 | -0.0082951 | -0.0020789 | 9.5239e-07 | 4.0443e-07 | 0.012543 | 0.012543 | 0.012543 | 0.98418 | -0.30424 | 0.98406 | -0.30665 | 3.446
60 | -0.04333 | -0.010878 | 0.0434 | 0.010922 | 6.9749e-05 | 4.4088e-05 | 0.065519 | 0.065518 | 0.065519 | 0.98418 | -0.30424 | 0.98591 | -0.27056 | 17.9996
61 | 0.035034 | 0.0087984 | -0.035002 | -0.0087782 | 3.2135e-05 | 2.0179e-05 | 0.052975 | 0.052976 | 0.052976 | 0.98418 | -0.30424 | 0.98319 | -0.32349 | 14.5537
62 | 0.0043551 | 0.0010914 | -0.0043548 | -0.0010914 | 2.5009e-07 | -3.5295e-08 | 0.0065854 | 0.0065855 | 0.0065855 | 0.98406 | -0.30665 | 0.98399 | -0.30786 | 1.8092
63 | 0.012669 | 0.003176 | -0.012664 | -0.0031736 | 4.4344e-06 | 2.4257e-06 | 0.019121 | 0.019121 | 0.019121 | 0.98591 | -0.27056 | 0.98553 | -0.2779 | 5.253
64 | -0.056068 | -0.014098 | 0.056116 | 0.014128 | 4.8024e-05 | 3.0507e-05 | 0.084639 | 0.084639 | 0.084639 | 0.98591 | -0.27056 | 0.98683 | -0.25264 | 23.2526
65 | 0.024933 | 0.0062547 | -0.024924 | -0.0062492 | 8.9615e-06 | 5.5226e-06 | 0.037737 | 0.037737 | 0.037737 | 0.98319 | -0.32349 | 0.98281 | -0.33103 | 10.3673
66 | 0.018537 | 0.0046485 | -0.018533 | -0.004646 | 4.1989e-06 | 2.5072e-06 | 0.028068 | 0.028068 | 0.028068 | 0.98281 | -0.33103 | 0.98256 | -0.33578 | 7.7109
67 | 0.0063865 | 0.0016006 | -0.0063852 | -0.0016003 | 1.3027e-06 | 3.6301e-07 | 0.0096694 | 0.0096696 | 0.0096696 | 0.98281 | -0.33103 | 0.98259 | -0.33531 | 2.6565
68 | 0.014084 | 0.0035309 | -0.01408 | -0.0035287 | 3.9113e-06 | 2.213e-06 | 0.021329 | 0.02133 | 0.02133 | 0.98256 | -0.33578 | 0.98227 | -0.34161 | 5.8598
69 | 0.046526 | 0.011699 | -0.04646 | -0.011657 | 6.5919e-05 | 4.1733e-05 | 0.070195 | 0.070195 | 0.070195 | 0.98647 | -0.25971 | 0.98494 | -0.28942 | 19.2843
70 | 0.031933 | 0.008019 | -0.031905 | -0.0080013 | 2.83e-05 | 1.7696e-05 | 0.048145 | 0.048145 | 0.048145 | 0.98706 | -0.24822 | 0.98611 | -0.26681 | 13.2267
71 | -0.002551 | -0.00063934 | 0.0025512 | 0.00063906 | 1.7108e-07 | -2.8229e-07 | 0.003852 | 0.0038518 | 0.003852 | 0.98546 | -0.27931 | 0.98553 | -0.2779 | 1.0582
72 | 0.01065 | 0.0026692 | -0.01065 | -0.0026691 | 1.2015e-07 | 6.1315e-08 | 0.016134 | 0.016134 | 0.016134 | 0.98227 | -0.34161 | 0.98225 | -0.34185 | 4.4324
73 | 0.043632 | 0.010948 | -0.043623 | -0.010942 | 8.5715e-06 | 5.4188e-06 | 0.065921 | 0.065921 | 0.065921 | 0.98494 | -0.28942 | 0.98473 | -0.29354 | 18.1103
74 | 0.027457 | 0.0068866 | -0.02745 | -0.0068823 | 6.8856e-06 | 4.2704e-06 | 0.041434 | 0.041434 | 0.041434 | 0.98611 | -0.26681 | 0.98584 | -0.27207 | 11.3829
75 | 0.021584 | 0.0054122 | -0.021579 | -0.005409 | 5.3297e-06 | 3.2403e-06 | 0.03258 | 0.03258 | 0.03258 | 0.98584 | -0.27207 | 0.98557 | -0.27725 | 8.9505
76 | 0.01587 | 0.0039782 | -0.015867 | -0.0039767 | 2.5254e-06 | 1.4668e-06 | 0.023961 | 0.023961 | 0.023961 | 0.98557 | -0.27725 | 0.9854 | -0.28059 | 6.5826
77 | 0.011223 | 0.0028126 | -0.011222 | -0.0028124 | 4.7658e-07 | 2.4864e-07 | 0.016947 | 0.016947 | 0.016947 | 0.9854 | -0.28059 | 0.98535 | -0.28149 | 4.6557
78 | 0.027556 | 0.0069156 | -0.027553 | -0.0069142 | 2.1857e-06 | 1.3561e-06 | 0.041642 | 0.041642 | 0.041642 | 0.98473 | -0.29354 | 0.98465 | -0.29521 | 11.4402
79 | 0.0075485 | 0.0018917 | -0.0075474 | -0.0018913 | 1.0594e-06 | 4.0113e-07 | 0.011399 | 0.011399 | 0.011399 | 0.98535 | -0.28149 | 0.9852 | -0.28443 | 3.1317
80 | 0.024446 | 0.0061354 | -0.024426 | -0.0061229 | 2.0306e-05 | 1.2492e-05 | 0.036946 | 0.036946 | 0.036946 | 0.98465 | -0.29521 | 0.98375 | -0.31264 | 10.1501
81 | 0.0057067 | 0.0014299 | -0.005706 | -0.0014298 | 6.3632e-07 | 1.1642e-07 | 0.008619 | 0.0086191 | 0.0086191 | 0.9852 | -0.28443 | 0.98508 | -0.28677 | 2.3679
82 | 0.022401 | 0.0056155 | -0.022398 | -0.0056137 | 3.0447e-06 | 1.8589e-06 | 0.033884 | 0.033884 | 0.033884 | 0.98375 | -0.31264 | 0.98361 | -0.31549 | 9.3088
83 | 0.0057241 | 0.0014345 | -0.0057235 | -0.0014344 | 5.8693e-07 | 1.1219e-07 | 0.0086713 | 0.0086714 | 0.0086714 | 0.98225 | -0.34185 | 0.98214 | -0.344 | 2.3823
84 | 0.002865 | 0.00071797 | -0.002865 | -0.00071803 | 5.6767e-08 | -6.5339e-08 | 0.0043407 | 0.0043407 | 0.0043407 | 0.98214 | -0.344 | 0.98212 | -0.34442 | 1.1925

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36955 | 0.093838

## res_load
| p_mw | q_mvar
0 | 0.0071047 | 0.0017806
1 | 0.010222 | 0.002562
2 | 0.010077 | 0.0025254
3 | 0.012833 | 0.0032162
4 | 0.0066128 | 0.0016573
5 | 0.0030764 | 0.00077101
6 | 0.0058185 | 0.0014583
7 | 0.0057185 | 0.0014332
8 | 0.0065979 | 0.0016536
9 | 0.0052786 | 0.0013229
10 | 0.014521 | 0.0036394
11 | 0.0052629 | 0.001319
12 | 0.0072973 | 0.0018289
13 | 0.0077613 | 0.0019452
14 | 0.0048595 | 0.0012179
15 | 0.01892 | 0.0047418
16 | 0.0027256 | 0.00068309
17 | 0.0054306 | 0.001361
18 | 0.0086959 | 0.0021794
19 | 0.016025 | 0.0040163
20 | 0.0039079 | 0.00097942
21 | 0.0026972 | 0.00067599
22 | 0.0065844 | 0.0016502
23 | 0.0070161 | 0.0017584
24 | 0.013254 | 0.0033218
25 | 0.0016786 | 0.0004207
26 | 0.001583 | 0.00039675
27 | 0.0092461 | 0.0023173
28 | 0.0071566 | 0.0017936
29 | 0.0095354 | 0.0023898
30 | 0.0027005 | 0.0006768
31 | 0.0066251 | 0.0016604
32 | 0.0039952 | 0.0010013
33 | 0.0021928 | 0.00054957
34 | 0.0039401 | 0.00098747
35 | 0.010069 | 0.0025235
36 | 0.0044494 | 0.0011151
37 | 0.0063852 | 0.0016003
38 | 0.0032453 | 0.00081335
39 | 0.0030132 | 0.00075518
40 | 0.003659 | 0.00091703
41 | 0.002551 | 0.00063934
42 | 0.010113 | 0.0025346
43 | 0.0043548 | 0.0010914
44 | 0.0034296 | 0.00085954
45 | 0.0028287 | 0.00070893
46 | 0.0044476 | 0.0011147
47 | 0.005866 | 0.0014701
48 | 0.0057089 | 0.0014308
49 | 0.0046449 | 0.0011641
50 | 0.016067 | 0.0040269
51 | 0.0036735 | 0.00092068
52 | 0.0031076 | 0.00077883
53 | 0.0018408 | 0.00046134
54 | 0.0024443 | 0.00061259
55 | 0.0020244 | 0.00050737
56 | 0.0021266 | 0.00053298
57 | 0.0049262 | 0.0012346
58 | 0.0028584 | 0.00071639
59 | 0.002865 | 0.00071803

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1