## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-182_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-182_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-182_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_261-182_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-182_0_3_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_261-182_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_261-182_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-182_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_261-182_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_261-182_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_261-182_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_261-182_0_3_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_261-182_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_261-182_0_3_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_261-182_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_261-182_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_261-182_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_261-182_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_261-182_0_3_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_261-182_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_261-182_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_261-182_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_261-182_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_261-182_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_261-182_0_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_261-182_0_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_261-182_0_3_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_261-182_0_3_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_261-182_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_261-182_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_261-182_0_3_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_261-182_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_261-182_0_3_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_261-182_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_261-182_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_261-182_0_3_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_261-182_0_3_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_261-182_0_3_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_261-182_0_3_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_261-182_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_261-182_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_261-182_0_3_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_261-182_0_3_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_261-182_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_261-182_0_3_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_261-182_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_261-182_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_261-182_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_261-182_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_261-182_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_261-182_0_3_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_261-182_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_261-182_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_261-182_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_MV_544_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-182_0_3_load_0 | 0 | 0.0079565 | 0.0019941 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-182_0_3_load_68 | 4 | 0.0061902 | 0.0015514 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-182_0_3_load_25 | 8 | 0.0063716 | 0.0015969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-182_0_3_load_54 | 11 | 0.0049839 | 0.0012491 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-182_0_3_load_27 | 14 | 0.0087969 | 0.0022047 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-182_0_3_load_6 | 15 | 0.010171 | 0.0025491 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-182_0_3_load_7 | 16 | 0.014819 | 0.003714 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-182_0_3_load_9 | 17 | 0.019142 | 0.0047975 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-182_0_3_load_39 | 18 | 0.011993 | 0.0030057 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-182_0_3_load_40 | 20 | 0.012824 | 0.003214 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-182_0_3_load_41 | 21 | 0.011008 | 0.0027588 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-182_0_3_load_46 | 24 | 0.0089335 | 0.002239 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-182_0_3_load_49 | 25 | 0.0021513 | 0.00053917 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-182_0_3_load_42 | 26 | 0.004503 | 0.0011286 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-182_0_3_load_43 | 27 | 0.006478 | 0.0016235 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-182_0_3_load_38 | 28 | 0.0076065 | 0.0019064 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-182_0_3_load_62 | 30 | 0.007577 | 0.001899 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-182_0_3_load_69 | 32 | 0.0071139 | 0.0017829 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-182_0_3_load_19 | 34 | 0.005628 | 0.0014105 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-182_0_3_load_15 | 35 | 0.0059885 | 0.0015009 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-182_0_3_load_48 | 36 | 0.0024952 | 0.00062536 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-182_0_3_load_16 | 37 | 0.0058092 | 0.0014559 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-182_0_3_load_18 | 38 | 0.0095358 | 0.0023899 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-182_0_3_load_36 | 39 | 0.0066724 | 0.0016723 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-182_0_3_load_37 | 40 | 0.0079108 | 0.0019826 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-182_0_3_load_51 | 42 | 0.020875 | 0.0052318 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-182_0_3_load_53 | 44 | 0.004612 | 0.0011559 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-182_0_3_load_28 | 45 | 0.0069033 | 0.0017301 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-182_0_3_load_60 | 47 | 0.0069337 | 0.0017377 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-182_0_3_load_31 | 48 | 0.0062083 | 0.0015559 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-182_0_3_load_32 | 49 | 0.0056981 | 0.0014281 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-182_0_3_load_52 | 50 | 0.005758 | 0.0014431 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-182_0_3_load_44 | 51 | 0.0015732 | 0.00039427 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-182_0_3_load_45 | 52 | 0.0015744 | 0.00039458 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-182_0_3_load_47 | 53 | 0.0024963 | 0.00062564 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-182_0_3_line_0 |  | 0 | 1 | 0.017575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-182_0_3_line_1 |  | 1 | 2 | 0.02853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-182_0_3_line_2 |  | 2 | 8 | 0.02877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-182_0_3_line_3 |  | 3 | 4 | 0.093349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-182_0_3_line_4 |  | 3 | 5 | 0.11647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-182_0_3_line_5 |  | 5 | 9 | 0.0087193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-182_0_3_line_6 |  | 6 | 7 | 0.019564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-182_0_3_line_7 |  | 6 | 8 | 0.030911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-182_0_3_line_8 |  | 7 | 13 | 0.031241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-182_0_3_line_9 |  | 7 | 14 | 0.012588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-182_0_3_line_10 |  | 9 | 28 | 0.083341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-182_0_3_line_11 |  | 9 | 22 | 0.1362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-182_0_3_line_12 |  | 10 | 11 | 0.0034251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-182_0_3_line_13 |  | 10 | 12 | 0.014348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-182_0_3_line_14 |  | 11 | 44 | 0.0097606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-182_0_3_line_15 |  | 12 | 48 | 0.012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-182_0_3_line_16 |  | 13 | 44 | 0.014741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-182_0_3_line_17 |  | 14 | 45 | 0.019274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-182_0_3_line_18 |  | 15 | 16 | 0.036337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-182_0_3_line_19 |  | 16 | 17 | 0.022664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-182_0_3_line_20 |  | 17 | 18 | 0.025159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-182_0_3_line_21 |  | 18 | 19 | 0.019163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-182_0_3_line_22 |  | 19 | 20 | 0.006205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-182_0_3_line_23 |  | 19 | 21 | 0.032804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-182_0_3_line_24 |  | 21 | 24 | 0.022962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-182_0_3_line_25 |  | 22 | 23 | 0.0094868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-182_0_3_line_26 |  | 22 | 24 | 0.10033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-182_0_3_line_27 |  | 23 | 25 | 0.077021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-182_0_3_line_28 |  | 25 | 36 | 0.0097474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-182_0_3_line_29 |  | 26 | 27 | 0.023416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-182_0_3_line_30 |  | 27 | 51 | 0.030019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-182_0_3_line_31 |  | 28 | 40 | 0.03805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_261-182_0_3_line_32 |  | 29 | 30 | 0.016402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-182_0_3_line_33 |  | 29 | 31 | 0.019469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-182_0_3_line_34 |  | 30 | 41 | 0.011291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-182_0_3_line_35 |  | 31 | 32 | 0.0113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-182_0_3_line_36 |  | 31 | 33 | 0.031441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-182_0_3_line_37 |  | 33 | 34 | 0.002289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-182_0_3_line_38 |  | 33 | 35 | 0.023462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-182_0_3_line_39 |  | 35 | 37 | 0.0014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-182_0_3_line_40 |  | 36 | 53 | 0.0097472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-182_0_3_line_41 |  | 37 | 38 | 0.033451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-182_0_3_line_42 |  | 38 | 39 | 0.042002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-182_0_3_line_43 |  | 39 | 40 | 0.039642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_261-182_0_3_line_44 |  | 41 | 50 | 0.027526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-182_0_3_line_45 |  | 42 | 43 | 0.040142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-182_0_3_line_46 |  | 43 | 50 | 0.011329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-182_0_3_line_47 |  | 43 | 49 | 0.0309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-182_0_3_line_48 |  | 45 | 46 | 0.0016407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-182_0_3_line_49 |  | 46 | 47 | 0.020817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-182_0_3_line_50 |  | 48 | 49 | 0.028175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-182_0_3_line_51 |  | 51 | 52 | 0.0081452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-182_0_3_line_52 |  | 52 | 53 | 0.028487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-182_0_3_trafo_36 | 0.63 MVA 20/0.4 kV | 54 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2681358.2839 | 1250072.9082 | 2681367.9879 | 1250072.7635 | 2681375.8388 | 1250072.2203
1 | 2681358.5622 | 1250044.4021 | 2681358.9636 | 1250056.9502 | 2681358.2839 | 1250072.9082
2 | 2681358.5622 | 1250044.4021 | 2681341.7177 | 1250043.8483 | 2681337.2343 | 1250042.0966 | 2681330.335 | 1250040.4087
3 | 2681396.9467 | 1250003.243 | 2681402.2254 | 1250004.2607 | 2681409.2062 | 1250004.4901 | 2681420.0595 | 1250004.2278 | 2681437.0308 | 1250003.2491 | 2681455.3497 | 1250002.5558 | 2681473.0043 | 1250001.3086 | 2681489.9544 | 1249997.4832
4 | 2681481.888 | 1249893.3843 | 2681483.6239 | 1249892.8855 | 2681486.5339 | 1249896.506 | 2681488.5712 | 1249904.829 | 2681490.0228 | 1249912.3768 | 2681491.3161 | 1249929.2292 | 2681492.5298 | 1249947.4816 | 2681497.2882 | 1249947.3581 | 2681498.5737 | 1249957.0941 | 2681499.3574 | 1249964.3435 | 2681497.1084 | 1249967.5594 | 2681495.551 | 1249969.9064 | 2681495.7953 | 1249974.6466 | 2681496.0577 | 1249979.7206 | 2681491.6659 | 1249982.8403 | 2681489.9544 | 1249997.4832
5 | 2681479.8982 | 1249884.8951 | 2681481.0677 | 1249889.8926 | 2681481.888 | 1249893.3843
6 | 2681307.4909 | 1250012.0775 | 2681300.9357 | 1250014.9453 | 2681302.7749 | 1250019.5628 | 2681305.5037 | 1250026.4831
7 | 2681305.5037 | 1250026.4831 | 2681308.7149 | 1250025.2151 | 2681311.2426 | 1250029.186 | 2681314.0325 | 1250032.7492 | 2681318.426 | 1250036.1008 | 2681326.2555 | 1250039.4106 | 2681330.335 | 1250040.4087
8 | 2681307.4909 | 1250012.0775 | 2681322.22 | 1250006.1307 | 2681336.5754 | 1250000.4568
9 | 2681307.4909 | 1250012.0775 | 2681308.7495 | 1250002.888 | 2681309.5788 | 1249999.6806
10 | 2681479.8982 | 1249884.8951 | 2681454.5818 | 1249890.9294 | 2681423.3354 | 1249897.1826 | 2681401.9623 | 1249900.8807 | 2681398.2581 | 1249901.521
11 | 2681479.8982 | 1249884.8951 | 2681509.0243 | 1249877.4566 | 2681523.105 | 1249873.1248 | 2681527.6469 | 1249871.7307 | 2681521.3615 | 1249869.7873 | 2681499.8139 | 1249869.6909 | 2681494.7678 | 1249869.3213 | 2681491.7752 | 1249868.4128 | 2681490.6472 | 1249865.8843 | 2681494.432 | 1249853.1158 | 2681496.4726 | 1249844.1928 | 2681496.2047 | 1249835.6717 | 2681493.8784 | 1249824.7539 | 2681491.682 | 1249822.4998 | 2681489.535 | 1249823.2375
12 | 2681362.334 | 1249989.6689 | 2681359.1747 | 1249990.9921
13 | 2681351.6178 | 1249981.5937 | 2681360.5737 | 1249985.3527 | 2681362.334 | 1249989.6689
14 | 2681350.1718 | 1249994.7625 | 2681359.1747 | 1249990.9921
15 | 2681351.6178 | 1249981.5937 | 2681349.4512 | 1249968.9719
16 | 2681336.5754 | 1250000.4568 | 2681350.1718 | 1249994.7625
17 | 2681311.1755 | 1249980.716 | 2681311.8433 | 1249990.9216 | 2681309.5788 | 1249999.6806
18 | 2681237.7265 | 1249864.6092 | 2681251.3468 | 1249862.386 | 2681273.6876 | 1249859.42
19 | 2681296.1543 | 1249856.4372 | 2681273.6876 | 1249859.42
20 | 2681296.1543 | 1249856.4372 | 2681321.0943 | 1249853.126
21 | 2681340.1361 | 1249851.1064 | 2681334.0842 | 1249851.4014 | 2681321.0943 | 1249853.126
22 | 2681340.1361 | 1249851.1064 | 2681340.8821 | 1249857.2656
23 | 2681340.1361 | 1249851.1064 | 2681372.6178 | 1249846.517
24 | 2681372.6178 | 1249846.517 | 2681395.354 | 1249843.3046
25 | 2681486.3584 | 1249814.2984 | 2681488.0376 | 1249819.025 | 2681489.535 | 1249823.2375
26 | 2681489.535 | 1249823.2375 | 2681477.4024 | 1249826.4621 | 2681468.4407 | 1249828.6071 | 2681445.8507 | 1249831.8213 | 2681407.4636 | 1249837.3537 | 2681407.9878 | 1249841.5196 | 2681395.354 | 1249843.3046
27 | 2681486.3584 | 1249814.2984 | 2681478.9745 | 1249817.01 | 2681470.6025 | 1249819.0965 | 2681452.3768 | 1249821.7591 | 2681410.6974 | 1249827.7492
28 | 2681410.6974 | 1249827.7492 | 2681401.0491 | 1249829.1358
29 | 2681302.162 | 1249842.696 | 2681325.3704 | 1249839.5857
30 | 2681325.3704 | 1249839.5857 | 2681355.1231 | 1249835.5983
31 | 2681360.7643 | 1249908.002 | 2681398.2581 | 1249901.521
32 | 2681267.6239 | 1249935.1518 | 2681283.6031 | 1249931.4499
33 | 2681267.6239 | 1249935.1518 | 2681262.0946 | 1249936.4325 | 2681248.7048 | 1249939.9627
34 | 2681294.6465 | 1249929.1067 | 2681288.2415 | 1249930.3754 | 2681283.6031 | 1249931.4499
35 | 2681251.6735 | 1249950.867 | 2681248.7048 | 1249939.9627
36 | 2681224.1509 | 1249938.325 | 2681225.6472 | 1249943.1824 | 2681226.6975 | 1249946.4326 | 2681229.4852 | 1249945.7591 | 2681248.7048 | 1249939.9627
37 | 2681224.1509 | 1249938.325 | 2681221.9474 | 1249938.9449
38 | 2681224.1509 | 1249938.325 | 2681237.6199 | 1249934.529 | 2681246.7506 | 1249932.0237
39 | 2681246.7506 | 1249932.0237 | 2681248.1742 | 1249931.6331
40 | 2681401.0491 | 1249829.1358 | 2681391.4011 | 1249830.5224
41 | 2681248.1742 | 1249931.6331 | 2681259.6971 | 1249928.4715 | 2681280.6472 | 1249923.6312
42 | 2681280.6472 | 1249923.6312 | 2681299.8563 | 1249919.1931 | 2681321.7585 | 1249915.0705
43 | 2681360.7643 | 1249908.002 | 2681342.967 | 1249911.0784 | 2681321.7585 | 1249915.0705
44 | 2681294.6465 | 1249929.1067 | 2681314.997 | 1249925.0828 | 2681321.6711 | 1249923.8838
45 | 2681332.822 | 1249921.8806 | 2681344.3117 | 1249919.8256 | 2681372.3412 | 1249914.8376
46 | 2681332.822 | 1249921.8806 | 2681321.6711 | 1249923.8838
47 | 2681332.822 | 1249921.8806 | 2681344.7897 | 1249935.0545 | 2681336.5908 | 1249943.7929 | 2681337.386 | 1249944.5809
48 | 2681312.7305 | 1249980.1925 | 2681311.1755 | 1249980.716
49 | 2681312.7305 | 1249980.1925 | 2681309.3401 | 1249964.8124 | 2681308.4969 | 1249959.8149
50 | 2681337.386 | 1249944.5809 | 2681341.9615 | 1249949.115 | 2681343.6748 | 1249953.564 | 2681344.778 | 1249958.9942 | 2681348.4858 | 1249963.3483 | 2681349.4512 | 1249968.9719
51 | 2681363.1961 | 1249834.5164 | 2681355.1231 | 1249835.5983
52 | 2681363.1961 | 1249834.5164 | 2681369.3312 | 1249833.6942 | 2681391.4011 | 1249830.5224

## bus_geodata
| x | y | coords
0 | 2681375.8388 | 1250072.2203
1 | 2681358.2839 | 1250072.9082
2 | 2681358.5622 | 1250044.4021
3 | 2681489.9544 | 1249997.4832
4 | 2681396.9467 | 1250003.243
5 | 2681481.888 | 1249893.3843
6 | 2681305.5037 | 1250026.4831
7 | 2681307.4909 | 1250012.0775
8 | 2681330.335 | 1250040.4087
9 | 2681479.8982 | 1249884.8951
10 | 2681362.334 | 1249989.6689
11 | 2681359.1747 | 1249990.9921
12 | 2681351.6178 | 1249981.5937
13 | 2681336.5754 | 1250000.4568
14 | 2681309.5788 | 1249999.6806
15 | 2681237.7265 | 1249864.6092
16 | 2681273.6876 | 1249859.42
17 | 2681296.1543 | 1249856.4372
18 | 2681321.0943 | 1249853.126
19 | 2681340.1361 | 1249851.1064
20 | 2681340.8821 | 1249857.2656
21 | 2681372.6178 | 1249846.517
22 | 2681489.535 | 1249823.2375
23 | 2681486.3584 | 1249814.2984
24 | 2681395.354 | 1249843.3046
25 | 2681410.6974 | 1249827.7492
26 | 2681302.162 | 1249842.696
27 | 2681325.3704 | 1249839.5857
28 | 2681398.2581 | 1249901.521
29 | 2681267.6239 | 1249935.1518
30 | 2681283.6031 | 1249931.4499
31 | 2681248.7048 | 1249939.9627
32 | 2681251.6735 | 1249950.867
33 | 2681224.1509 | 1249938.325
34 | 2681221.9474 | 1249938.9449
35 | 2681246.7506 | 1249932.0237
36 | 2681401.0491 | 1249829.1358
37 | 2681248.1742 | 1249931.6331
38 | 2681280.6472 | 1249923.6312
39 | 2681321.7585 | 1249915.0705
40 | 2681360.7643 | 1249908.002
41 | 2681294.6465 | 1249929.1067
42 | 2681372.3412 | 1249914.8376
43 | 2681332.822 | 1249921.8806
44 | 2681350.1718 | 1249994.7625
45 | 2681311.1755 | 1249980.716
46 | 2681312.7305 | 1249980.1925
47 | 2681308.4969 | 1249959.8149
48 | 2681349.4512 | 1249968.9719
49 | 2681337.386 | 1249944.5809
50 | 2681321.6711 | 1249923.8838
51 | 2681355.1231 | 1249835.5983
52 | 2681363.1961 | 1249834.5164
53 | 2681391.4011 | 1249830.5224
54 | 2681224.1509 | 1249938.325

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97146 | -0.55064 | 0.0079565 | 0.0019941
1 | 0.9716 | -0.54806 | 0 | 0
2 | 0.97181 | -0.54387 | 0 | 0
3 | 0.99017 | -0.18658 | 0 | 0
4 | 0.98964 | -0.19686 | 0.0061902 | 0.0015514
5 | 0.99083 | -0.17376 | 0 | 0
6 | 0.97243 | -0.53148 | 0 | 0
7 | 0.9727 | -0.52631 | 0 | 0
8 | 0.97202 | -0.53964 | 0.0063716 | 0.0015969
9 | 0.99088 | -0.1728 | 0 | 0
10 | 0.97481 | -0.48467 | 0 | 0
11 | 0.97466 | -0.4876 | 0.0049839 | 0.0012491
12 | 0.97543 | -0.47242 | 0 | 0
13 | 0.97377 | -0.50506 | 0 | 0
14 | 0.97243 | -0.53156 | 0.0087969 | 0.0022047
15 | 0.97304 | -0.51958 | 0.010171 | 0.0025491
16 | 0.97338 | -0.51277 | 0.014819 | 0.003714
17 | 0.97391 | -0.50236 | 0.019142 | 0.0047975
18 | 0.97494 | -0.48198 | 0.011993 | 0.0030057
19 | 0.97594 | -0.46228 | 0 | 0
20 | 0.97587 | -0.46373 | 0.012824 | 0.003214
21 | 0.97805 | -0.42097 | 0.011008 | 0.0027588
22 | 0.98391 | -0.30695 | 0 | 0
23 | 0.98372 | -0.31058 | 0 | 0
24 | 0.97976 | -0.38758 | 0.0089335 | 0.002239
25 | 0.98221 | -0.34014 | 0.0021513 | 0.00053917
26 | 0.98102 | -0.36345 | 0.004503 | 0.0011286
27 | 0.98111 | -0.36154 | 0.006478 | 0.0016235
28 | 0.99539 | -0.087091 | 0.0076065 | 0.0019064
29 | 0.98438 | -0.29793 | 0 | 0
30 | 0.98297 | -0.32531 | 0.007577 | 0.001899
31 | 0.98606 | -0.26553 | 0 | 0
32 | 0.98598 | -0.26697 | 0.0071139 | 0.0017829
33 | 0.98897 | -0.20944 | 0 | 0
34 | 0.98896 | -0.20967 | 0.005628 | 0.0014105
35 | 0.99127 | -0.16546 | 0.0059885 | 0.0015009
36 | 0.98203 | -0.34351 | 0.0024952 | 0.00062536
37 | 0.99143 | -0.16255 | 0.0058092 | 0.0014559
38 | 0.99506 | -0.093264 | 0.0095358 | 0.0023899
39 | 1 | 0 | -0.26521 | -0.067955
40 | 0.99758 | -0.045683 | 0.0079108 | 0.0019826
41 | 0.98207 | -0.34266 | 0 | 0
42 | 0.97828 | -0.41668 | 0.020875 | 0.0052318
43 | 0.97906 | -0.40143 | 0 | 0
44 | 0.97428 | -0.49505 | 0.004612 | 0.0011559
45 | 0.97218 | -0.53648 | 0.0069033 | 0.0017301
46 | 0.97217 | -0.53669 | 0 | 0
47 | 0.97204 | -0.53935 | 0.0069337 | 0.0017377
48 | 0.97599 | -0.46151 | 0.0062083 | 0.0015559
49 | 0.97737 | -0.43434 | 0.0056981 | 0.0014281
50 | 0.97989 | -0.38509 | 0.005758 | 0.0014431
51 | 0.98142 | -0.35557 | 0.0015732 | 0.00039427
52 | 0.98151 | -0.35372 | 0.0015744 | 0.00039458
53 | 0.98188 | -0.34644 | 0.0024963 | 0.00062564
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0079565 | -0.0019941 | 0.0079575 | 0.0019945 | 9.7888e-07 | 4.0885e-07 | 0.012187 | 0.012187 | 0.012187 | 0.97146 | -0.55064 | 0.9716 | -0.54806 | 3.3481
1 | -0.0079575 | -0.0019945 | 0.0079591 | 0.0019952 | 1.589e-06 | 6.6357e-07 | 0.012187 | 0.012187 | 0.012187 | 0.9716 | -0.54806 | 0.97181 | -0.54387 | 3.3481
2 | -0.0079591 | -0.0019952 | 0.0079607 | 0.0019958 | 1.6024e-06 | 6.6897e-07 | 0.012187 | 0.012187 | 0.012187 | 0.97181 | -0.54387 | 0.97202 | -0.53964 | 3.3481
3 | 0.0061932 | 0.0015521 | -0.0061902 | -0.0015514 | 3.0324e-06 | 7.4068e-07 | 0.0093071 | 0.0093075 | 0.0093075 | 0.99017 | -0.18658 | 0.98964 | -0.19686 | 2.557
4 | -0.0061932 | -0.0015521 | 0.006197 | 0.0015531 | 3.7831e-06 | 9.2209e-07 | 0.0093071 | 0.0093066 | 0.0093071 | 0.99017 | -0.18658 | 0.99083 | -0.17376 | 2.5569
5 | -0.006197 | -0.0015531 | 0.0061973 | 0.0015531 | 2.832e-07 | 6.8938e-08 | 0.0093066 | 0.0093065 | 0.0093066 | 0.99083 | -0.17376 | 0.99088 | -0.1728 | 2.5568
6 | -0.014338 | -0.0035959 | 0.014341 | 0.0035979 | 3.5318e-06 | 2.0176e-06 | 0.021941 | 0.021941 | 0.021941 | 0.97243 | -0.53148 | 0.9727 | -0.52631 | 6.0277
7 | 0.014338 | 0.0035959 | -0.014332 | -0.0035927 | 5.5802e-06 | 3.188e-06 | 0.021941 | 0.021941 | 0.021941 | 0.97243 | -0.53148 | 0.97202 | -0.53964 | 6.0277
8 | -0.036985 | -0.0092761 | 0.037023 | 0.0092997 | 3.7507e-05 | 2.3616e-05 | 0.056582 | 0.056582 | 0.056582 | 0.9727 | -0.52631 | 0.97377 | -0.50506 | 15.5444
9 | 0.022644 | 0.0056782 | -0.022638 | -0.0056747 | 5.6647e-06 | 3.4692e-06 | 0.034641 | 0.034641 | 0.034641 | 0.9727 | -0.52631 | 0.97243 | -0.53156 | 9.5168
10 | -0.11785 | -0.030106 | 0.11834 | 0.030418 | 0.00049057 | 0.00031181 | 0.17718 | 0.17718 | 0.17718 | 0.99088 | -0.1728 | 0.99539 | -0.087091 | 24.3381
11 | 0.11165 | 0.028553 | -0.11093 | -0.028096 | 0.00071972 | 0.00045714 | 0.16788 | 0.16788 | 0.16788 | 0.99088 | -0.1728 | 0.98391 | -0.30695 | 23.06
12 | 0.046658 | 0.011729 | -0.046651 | -0.011725 | 6.5176e-06 | 4.1286e-06 | 0.071234 | 0.071234 | 0.071234 | 0.97481 | -0.48467 | 0.97466 | -0.4876 | 19.5699
13 | -0.046658 | -0.011729 | 0.046685 | 0.011747 | 2.7302e-05 | 1.7295e-05 | 0.071234 | 0.071234 | 0.071234 | 0.97481 | -0.48467 | 0.97543 | -0.47242 | 19.5699
14 | 0.041667 | 0.010476 | -0.041652 | -0.010467 | 1.4817e-05 | 9.3615e-06 | 0.063625 | 0.063625 | 0.063625 | 0.97466 | -0.4876 | 0.97428 | -0.49505 | 17.4795
15 | -0.046685 | -0.011747 | 0.046709 | 0.011762 | 2.4369e-05 | 1.5436e-05 | 0.071234 | 0.071234 | 0.071234 | 0.97543 | -0.47242 | 0.97599 | -0.46151 | 19.5698
16 | -0.037023 | -0.0092997 | 0.03704 | 0.0093109 | 1.7697e-05 | 1.1143e-05 | 0.056582 | 0.056582 | 0.056582 | 0.97377 | -0.50506 | 0.97428 | -0.49505 | 15.5444
17 | 0.013841 | 0.00347 | -0.013838 | -0.0034682 | 3.2424e-06 | 1.8361e-06 | 0.02118 | 0.02118 | 0.02118 | 0.97243 | -0.53156 | 0.97218 | -0.53648 | 5.8187
18 | -0.010171 | -0.0025491 | 0.010174 | 0.0025508 | 3.2966e-06 | 1.6583e-06 | 0.015554 | 0.015554 | 0.015554 | 0.97304 | -0.51958 | 0.97338 | -0.51277 | 4.2731
19 | -0.024993 | -0.0062648 | 0.025006 | 0.0062724 | 1.2407e-05 | 7.6586e-06 | 0.038208 | 0.038208 | 0.038208 | 0.97338 | -0.51277 | 0.97391 | -0.50236 | 10.4967
20 | -0.044148 | -0.01107 | 0.044191 | 0.011097 | 4.2929e-05 | 2.7161e-05 | 0.067455 | 0.067455 | 0.067455 | 0.97391 | -0.50236 | 0.97494 | -0.48198 | 18.5316
21 | -0.056184 | -0.014103 | 0.056237 | 0.014136 | 5.2851e-05 | 3.3585e-05 | 0.085759 | 0.085759 | 0.085759 | 0.97494 | -0.48198 | 0.97594 | -0.46228 | 23.5602
22 | 0.012825 | 0.0032144 | -0.012824 | -0.003214 | 8.8969e-07 | 4.9187e-07 | 0.019554 | 0.019554 | 0.019554 | 0.97594 | -0.46228 | 0.97587 | -0.46373 | 5.372
23 | -0.069062 | -0.017351 | 0.069198 | 0.017438 | 0.00013643 | 8.6907e-05 | 0.10531 | 0.10531 | 0.10531 | 0.97594 | -0.46228 | 0.97805 | -0.42097 | 28.9321
24 | -0.080206 | -0.020197 | 0.080334 | 0.020278 | 0.00012829 | 8.1816e-05 | 0.12206 | 0.12206 | 0.12206 | 0.97805 | -0.42097 | 0.97976 | -0.38758 | 33.533
25 | 0.02132 | 0.0053598 | -0.021316 | -0.0053576 | 3.7e-06 | 2.2475e-06 | 0.03225 | 0.03225 | 0.03225 | 0.98391 | -0.30695 | 0.98372 | -0.31058 | 8.8598
26 | 0.089614 | 0.022736 | -0.089268 | -0.022517 | 0.00034603 | 0.00021892 | 0.13563 | 0.13563 | 0.13563 | 0.98391 | -0.30695 | 0.97976 | -0.38758 | 18.6302
27 | 0.021316 | 0.0053576 | -0.021286 | -0.0053393 | 3.004e-05 | 1.8249e-05 | 0.03225 | 0.03225 | 0.03225 | 0.98372 | -0.31058 | 0.98221 | -0.34014 | 8.8599
28 | 0.019135 | 0.0048001 | -0.019132 | -0.0047983 | 3.0721e-06 | 1.8428e-06 | 0.028991 | 0.028991 | 0.028991 | 0.98221 | -0.34014 | 0.98203 | -0.34351 | 7.9645
29 | -0.004503 | -0.0011286 | 0.0045034 | 0.0011285 | 4.0965e-07 | -3.3503e-08 | 0.0068302 | 0.0068301 | 0.0068302 | 0.98102 | -0.36345 | 0.98111 | -0.36154 | 1.8764
30 | -0.010981 | -0.0027521 | 0.010985 | 0.0027537 | 3.1226e-06 | 1.6192e-06 | 0.016655 | 0.016655 | 0.016655 | 0.98111 | -0.36154 | 0.98142 | -0.35557 | 4.5756
31 | -0.12595 | -0.032325 | 0.1262 | 0.032486 | 0.00025364 | 0.00016134 | 0.18855 | 0.18855 | 0.18855 | 0.99539 | -0.087091 | 0.99758 | -0.045683 | 25.9
32 | 0.093433 | 0.023707 | -0.09331 | -0.023628 | 0.00012288 | 7.8433e-05 | 0.14134 | 0.14134 | 0.14134 | 0.98438 | -0.29793 | 0.98297 | -0.32531 | 38.8298
33 | -0.093433 | -0.023707 | 0.093579 | 0.0238 | 0.00014585 | 9.3096e-05 | 0.14134 | 0.14134 | 0.14134 | 0.98438 | -0.29793 | 0.98606 | -0.26553 | 38.8298
34 | 0.085733 | 0.021729 | -0.085662 | -0.021684 | 7.1412e-05 | 4.5561e-05 | 0.12987 | 0.12987 | 0.12987 | 0.98297 | -0.32531 | 0.98207 | -0.34266 | 35.6787
35 | 0.0071143 | 0.0017831 | -0.0071139 | -0.0017829 | 4.8842e-07 | 1.6846e-07 | 0.010736 | 0.010736 | 0.010736 | 0.98606 | -0.26553 | 0.98598 | -0.26697 | 2.9495
36 | -0.10069 | -0.025583 | 0.10097 | 0.025757 | 0.00027268 | 0.00017411 | 0.15208 | 0.15208 | 0.15208 | 0.98606 | -0.26553 | 0.98897 | -0.20944 | 41.7792
37 | 0.0056281 | 0.0014105 | -0.005628 | -0.0014105 | 6.1554e-08 | 1.0023e-08 | 0.0084681 | 0.0084681 | 0.0084681 | 0.98897 | -0.20944 | 0.98896 | -0.20967 | 2.3264
38 | -0.10659 | -0.027167 | 0.10682 | 0.027312 | 0.00022677 | 0.00014483 | 0.16054 | 0.16054 | 0.16054 | 0.98897 | -0.20944 | 0.99127 | -0.16546 | 44.1055
39 | -0.11281 | -0.028813 | 0.11283 | 0.028823 | 1.591e-05 | 1.0164e-05 | 0.16953 | 0.16953 | 0.16953 | 0.99127 | -0.16546 | 0.99143 | -0.16255 | 46.5751
40 | 0.016637 | 0.0041729 | -0.016634 | -0.0041716 | 2.323e-06 | 1.3634e-06 | 0.02521 | 0.02521 | 0.02521 | 0.98203 | -0.34351 | 0.98188 | -0.34644 | 6.9258
41 | -0.11863 | -0.030279 | 0.11903 | 0.030534 | 0.00039857 | 0.00025465 | 0.17825 | 0.17825 | 0.17825 | 0.99143 | -0.16255 | 0.99506 | -0.093264 | 48.9704
42 | -0.12857 | -0.032924 | 0.12915 | 0.033297 | 0.00058373 | 0.00037304 | 0.19251 | 0.19251 | 0.19251 | 0.99506 | -0.093264 | 1 | 0 | 52.8878
43 | 0.13441 | 0.034658 | -0.13411 | -0.034468 | 0.00029836 | 0.00018991 | 0.20035 | 0.20035 | 0.20035 | 1 | 0 | 0.99758 | -0.045683 | 27.5208
44 | 0.085662 | 0.021684 | -0.085488 | -0.021573 | 0.0001741 | 0.00011107 | 0.12987 | 0.12987 | 0.12987 | 0.98207 | -0.34266 | 0.97989 | -0.38509 | 35.6787
45 | -0.020875 | -0.0052318 | 0.020891 | 0.0052411 | 1.5177e-05 | 9.2088e-06 | 0.031753 | 0.031752 | 0.031753 | 0.97828 | -0.41668 | 0.97906 | -0.40143 | 8.7232
46 | -0.079667 | -0.02009 | 0.07973 | 0.020129 | 6.2333e-05 | 3.9751e-05 | 0.12113 | 0.12113 | 0.12113 | 0.97906 | -0.40143 | 0.97989 | -0.38509 | 33.2766
47 | 0.058777 | 0.014849 | -0.058684 | -0.01479 | 9.2559e-05 | 5.885e-05 | 0.089374 | 0.089375 | 0.089375 | 0.97906 | -0.40143 | 0.97737 | -0.43434 | 24.5534
48 | 0.0069346 | 0.0017381 | -0.0069346 | -0.001738 | 6.9318e-08 | 2.4019e-08 | 0.010614 | 0.010614 | 0.010614 | 0.97218 | -0.53648 | 0.97217 | -0.53669 | 2.916
49 | 0.0069346 | 0.001738 | -0.0069337 | -0.0017377 | 8.795e-07 | 3.0479e-07 | 0.010614 | 0.010614 | 0.010614 | 0.97217 | -0.53669 | 0.97204 | -0.53935 | 2.916
50 | -0.052917 | -0.013318 | 0.052986 | 0.013362 | 6.8807e-05 | 4.3684e-05 | 0.0807 | 0.080699 | 0.0807 | 0.97599 | -0.46151 | 0.97737 | -0.43434 | 22.1702
51 | -0.012558 | -0.003148 | 0.012559 | 0.0031486 | 1.1073e-06 | 6.0575e-07 | 0.01904 | 0.01904 | 0.01904 | 0.98142 | -0.35557 | 0.98151 | -0.35372 | 5.2308
52 | -0.014133 | -0.0035431 | 0.014138 | 0.0035459 | 4.9044e-06 | 2.7787e-06 | 0.021427 | 0.021427 | 0.021427 | 0.98151 | -0.35372 | 0.98188 | -0.34644 | 5.8865

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27189 | 0.069628

## res_load
| p_mw | q_mvar
0 | 0.0079565 | 0.0019941
1 | 0.0061902 | 0.0015514
2 | 0.0063716 | 0.0015969
3 | 0.0049839 | 0.0012491
4 | 0.0087969 | 0.0022047
5 | 0.010171 | 0.0025491
6 | 0.014819 | 0.003714
7 | 0.019142 | 0.0047975
8 | 0.011993 | 0.0030057
9 | 0.012824 | 0.003214
10 | 0.011008 | 0.0027588
11 | 0.0089335 | 0.002239
12 | 0.0021513 | 0.00053917
13 | 0.004503 | 0.0011286
14 | 0.006478 | 0.0016235
15 | 0.0076065 | 0.0019064
16 | 0.007577 | 0.001899
17 | 0.0071139 | 0.0017829
18 | 0.005628 | 0.0014105
19 | 0.0059885 | 0.0015009
20 | 0.0024952 | 0.00062536
21 | 0.0058092 | 0.0014559
22 | 0.0095358 | 0.0023899
23 | 0.0066724 | 0.0016723
24 | 0.0079108 | 0.0019826
25 | 0.020875 | 0.0052318
26 | 0.004612 | 0.0011559
27 | 0.0069033 | 0.0017301
28 | 0.0069337 | 0.0017377
29 | 0.0062083 | 0.0015559
30 | 0.0056981 | 0.0014281
31 | 0.005758 | 0.0014431
32 | 0.0015732 | 0.00039427
33 | 0.0015744 | 0.00039458
34 | 0.0024963 | 0.00062564

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1