## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-186_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-186_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-186_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-186_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-186_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_261-186_0_5_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_261-186_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-186_0_5_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_261-186_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-186_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-186_0_5_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_261-186_0_5_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_261-186_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-186_0_5_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_261-186_0_5_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_261-186_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-186_0_5_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_261-186_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_261-186_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_261-186_0_5_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_261-186_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_261-186_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_261-186_0_5_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_261-186_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_261-186_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_261-186_0_5_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_261-186_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_261-186_0_5_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_261-186_0_5_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_261-186_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_261-186_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_261-186_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_261-186_0_5_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_261-186_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_261-186_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-186_0_5_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_261-186_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_261-186_0_5_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_261-186_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_261-186_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_261-186_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_261-186_0_5_node_36 | 0.4 | n |  | TRUE
42 | bus_MV_545_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-186_0_5_load_0 | 0 | 0.046 | 0.011529 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-186_0_5_load_27 | 5 | 0.019155 | 0.0048007 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-186_0_5_load_39 | 7 | 0.0049367 | 0.0012372 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-186_0_5_load_30 | 10 | 0.011432 | 0.0028651 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-186_0_5_load_33 | 11 | 0.0019319 | 0.00048417 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-186_0_5_load_19 | 14 | 0.039495 | 0.0098983 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-186_0_5_load_40 | 19 | 0.012778 | 0.0032025 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-186_0_5_load_29 | 22 | 0.017285 | 0.0043321 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-186_0_5_load_31 | 25 | 0.039562 | 0.0099152 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-186_0_5_load_21 | 26 | 0.0041556 | 0.0010415 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-186_0_5_load_42 | 27 | 0.0030343 | 0.00076046 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-186_0_5_load_43 | 30 | 0.0066336 | 0.0016625 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-186_0_5_load_34 | 32 | 0.010465 | 0.0026227 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-186_0_5_load_28 | 33 | 0.0074098 | 0.0018571 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-186_0_5_load_26 | 34 | 0.006218 | 0.0015584 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-186_0_5_load_38 | 35 | 0.040559 | 0.010165 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-186_0_5_load_37 | 37 | 0.076452 | 0.019161 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-186_0_5_load_22 | 38 | 0.049685 | 0.012452 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-186_0_5_load_23 | 39 | 0.012744 | 0.0031939 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-186_0_5_load_24 | 40 | 0.0097801 | 0.0024511 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-186_0_5_load_36 | 41 | 0.065895 | 0.016515 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-186_0_5_line_0 |  | 0 | 1 | 0.073751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-186_0_5_line_1 |  | 0 | 2 | 0.011348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-186_0_5_line_2 |  | 1 | 3 | 0.074266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-186_0_5_line_3 |  | 2 | 4 | 0.058611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-186_0_5_line_4 |  | 3 | 5 | 0.0089009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-186_0_5_line_5 |  | 4 | 10 | 0.0029833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-186_0_5_line_6 |  | 4 | 6 | 0.036461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-186_0_5_line_7 |  | 6 | 7 | 0.03803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-186_0_5_line_8 |  | 7 | 8 | 0.070164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-186_0_5_line_9 |  | 8 | 9 | 0.056271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-186_0_5_line_10 |  | 9 | 11 | 0.053308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-186_0_5_line_11 |  | 10 | 22 | 0.0012119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-186_0_5_line_12 |  | 11 | 34 | 0.068684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-186_0_5_line_13 |  | 12 | 13 | 0.10326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-186_0_5_line_14 |  | 12 | 14 | 0.023874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-186_0_5_line_15 |  | 13 | 35 | 0.35332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-186_0_5_line_16 |  | 14 | 23 | 0.017729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-186_0_5_line_17 |  | 15 | 16 | 0.019267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-186_0_5_line_18 |  | 15 | 17 | 0.042382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-186_0_5_line_19 |  | 15 | 18 | 0.099533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-186_0_5_line_20 |  | 15 | 19 | 0.012282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-186_0_5_line_21 |  | 16 | 27 | 0.095598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-186_0_5_line_22 |  | 17 | 26 | 0.022584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-186_0_5_line_23 |  | 18 | 28 | 0.037113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-186_0_5_line_24 |  | 19 | 33 | 0.0046384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-186_0_5_line_25 |  | 20 | 21 | 0.026981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_261-186_0_5_line_26 |  | 20 | 22 | 0.018292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-186_0_5_line_27 |  | 21 | 27 | 0.085979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-186_0_5_line_28 |  | 21 | 24 | 0.012356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-186_0_5_line_29 |  | 23 | 24 | 0.02179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-186_0_5_line_30 |  | 24 | 25 | 0.006268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-186_0_5_line_31 |  | 28 | 36 | 0.027184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-186_0_5_line_32 |  | 28 | 32 | 0.01688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-186_0_5_line_33 |  | 29 | 30 | 0.085322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-186_0_5_line_34 |  | 29 | 31 | 0.048519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-186_0_5_line_35 |  | 31 | 32 | 0.018487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-186_0_5_line_36 |  | 34 | 40 | 0.0052445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-186_0_5_line_37 |  | 36 | 37 | 0.0038461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_261-186_0_5_line_38 |  | 37 | 41 | 0.02456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-186_0_5_line_39 |  | 38 | 39 | 0.046262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-186_0_5_line_40 |  | 39 | 40 | 0.0060375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-186_0_5_trafo_30 | 0.63 MVA 20/0.4 kV | 42 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2681126.8105 | 1246244.4728 | 2681057.9436 | 1246218.0807
1 | 2681047.3475 | 1246214.02 | 2681057.9436 | 1246218.0807
2 | 2681126.8105 | 1246244.4728 | 2681142.511 | 1246250.4586 | 2681131.5418 | 1246282.9767 | 2681132.761 | 1246288.2861 | 2681137.1725 | 1246292.7497 | 2681145.1979 | 1246300.8765
3 | 2681009.2155 | 1246250.0698 | 2681013.6061 | 1246242.8022 | 2681021.583 | 1246229.6238 | 2681029.7381 | 1246216.1254 | 2681032.6857 | 1246213.8306 | 2681036.1572 | 1246212.4548 | 2681038.8367 | 1246212.0912 | 2681041.5387 | 1246212.2838 | 2681047.3475 | 1246214.02
4 | 2681145.1979 | 1246300.8765 | 2681141.8782 | 1246309.1351
5 | 2681009.2155 | 1246250.0698 | 2681007.6722 | 1246252.6228
6 | 2680978.0212 | 1246237.3235 | 2680990.1536 | 1246244.5833 | 2680992.4682 | 1246244.9373 | 2680994.7776 | 1246244.5575 | 2680996.6108 | 1246243.6485 | 2680998.133 | 1246242.2794 | 2681003.6107 | 1246246.1237 | 2681009.2155 | 1246250.0698
7 | 2680978.0212 | 1246237.3235 | 2680982.7883 | 1246229.0381 | 2680997.6139 | 1246204.7312
8 | 2681034.2102 | 1246144.8679 | 2681029.8765 | 1246151.836 | 2680997.6139 | 1246204.7312
9 | 2681034.2102 | 1246144.8679 | 2681047.7412 | 1246153.1811 | 2681054.2703 | 1246158.5964 | 2681058.1634 | 1246162.8527 | 2681059.2986 | 1246164.9253 | 2681059.7883 | 1246167.2337 | 2681059.5975 | 1246169.5883 | 2681069.0821 | 1246166.0598 | 2681077.4579 | 1246162.9498
10 | 2681077.4579 | 1246162.9498 | 2681075.6341 | 1246162.0687 | 2681066.8488 | 1246154.7878 | 2681057.6054 | 1246147.8564 | 2681033.4489 | 1246133.0781
11 | 2681007.6722 | 1246252.6228 | 2681007.0452 | 1246253.6599
12 | 2680974.6021 | 1246097.7085 | 2680979.3384 | 1246099.9749 | 2681033.4489 | 1246133.0781
13 | 2680943.9107 | 1246331.8934 | 2680921.1225 | 1246368.0532 | 2680917.4904 | 1246369.0266 | 2680916.4173 | 1246370.7132 | 2680915.6109 | 1246370.0128 | 2680883.2881 | 1246338.6825 | 2680877.8425 | 1246331.9256
14 | 2680943.9107 | 1246331.8934 | 2680950.976 | 1246336.2152 | 2680958.9328 | 1246322.8066
15 | 2680877.8425 | 1246331.9256 | 2680853.3186 | 1246301.5136 | 2680812.0865 | 1246247.5569 | 2680800.3871 | 1246233.4539 | 2680801.2389 | 1246222.5131 | 2680824.7607 | 1246190.1545 | 2680856.9648 | 1246143.8708 | 2680893.9746 | 1246090.381 | 2680923.7107 | 1246043.3918
16 | 2680967.9806 | 1246307.5597 | 2680958.9328 | 1246322.8066
17 | 2681161.6789 | 1246357.9991 | 2681176.7403 | 1246363.7316 | 2681179.6865 | 1246364.8505
18 | 2681179.6865 | 1246364.8505 | 2681177.6919 | 1246369.8269 | 2681206.4002 | 1246380.8723 | 2681204.1744 | 1246386.7239
19 | 2681093.6554 | 1246344.6924 | 2681096.0528 | 1246338.4317 | 2681177.6919 | 1246369.8269 | 2681179.6865 | 1246364.8505
20 | 2681179.6865 | 1246364.8505 | 2681180.0306 | 1246363.9991 | 2681184.3841 | 1246353.5022
21 | 2681161.6789 | 1246357.9991 | 2681072.3228 | 1246324.0203
22 | 2681204.1744 | 1246386.7239 | 2681196.1463 | 1246407.8325
23 | 2681093.6554 | 1246344.6924 | 2681080.3756 | 1246379.3584
24 | 2681184.3841 | 1246353.5022 | 2681186.1611 | 1246349.2177
25 | 2680997.5822 | 1246269.3138 | 2680989.8679 | 1246282.0844 | 2680989.0986 | 1246284.1977 | 2680988.8868 | 1246286.4298 | 2680989.2418 | 1246288.6473 | 2680990.3645 | 1246291.0755 | 2680992.1583 | 1246293.0459
26 | 2680997.5822 | 1246269.3138 | 2681007.0452 | 1246253.6599
27 | 2680992.1583 | 1246293.0459 | 2680994.4591 | 1246294.4116 | 2681072.3228 | 1246324.0203
28 | 2680987.2814 | 1246304.3987 | 2680990.028 | 1246298.0093 | 2680992.1583 | 1246293.0459
29 | 2680987.2814 | 1246304.3987 | 2680985.3743 | 1246304.0835 | 2680983.4648 | 1246303.9463 | 2680980.8989 | 1246304.2893 | 2680977.6948 | 1246305.4575 | 2680974.8734 | 1246307.3648 | 2680972.61 | 1246309.9024 | 2680967.9806 | 1246307.5597
30 | 2680987.2814 | 1246304.3987 | 2680993.17 | 1246306.5462
31 | 2681080.3756 | 1246379.3584 | 2681105.9875 | 1246388.682
32 | 2681080.3756 | 1246379.3584 | 2681074.3403 | 1246395.1225
33 | 2681092.4698 | 1246439.6343 | 2681095.5001 | 1246442.3332 | 2681099.6041 | 1246444.4131 | 2681104.8211 | 1246446.3191 | 2681109.8744 | 1246446.9331 | 2681115.7633 | 1246446.1019 | 2681121.0405 | 1246443.6056 | 2681127.6735 | 1246442.5066 | 2681133.389 | 1246441.6619 | 2681134.4486 | 1246441.5208 | 2681139.565 | 1246440.8347 | 2681142.8897 | 1246439.6905 | 2681144.7679 | 1246436.5917 | 2681147.0286 | 1246432.5975 | 2681146.7948 | 1246428.7025 | 2681153.8431 | 1246409.9631
34 | 2681067.7304 | 1246412.3874 | 2681065.3865 | 1246414.1789 | 2681064.6855 | 1246419.5843 | 2681065.323 | 1246423.2401 | 2681071.6592 | 1246433.9012 | 2681072.5896 | 1246437.6833 | 2681076.3881 | 1246437.802 | 2681080.2368 | 1246437.5544 | 2681084.3666 | 1246437.7554 | 2681088.1991 | 1246438.6974 | 2681092.4698 | 1246439.6343
35 | 2681067.7304 | 1246412.3874 | 2681074.3403 | 1246395.1225
36 | 2680969.5677 | 1246096.2388 | 2680969.5677 | 1246096.2388 | 2680974.6021 | 1246097.7085 | 2680974.6021 | 1246097.7085
37 | 2681105.9875 | 1246388.682 | 2681109.603 | 1246389.9936
38 | 2681132.5942 | 1246398.6313 | 2681109.6184 | 1246389.9992 | 2681109.603 | 1246389.9936
39 | 2680928.7094 | 1246121.578 | 2680936.4783 | 1246108.7852 | 2680940.0393 | 1246104.7308 | 2680944.2186 | 1246101.3187 | 2680948.9092 | 1246098.6363 | 2680953.9742 | 1246096.7596 | 2680959.1179 | 1246095.7513 | 2680963.5723 | 1246095.6045
40 | 2680969.5677 | 1246096.2388 | 2680964.3636 | 1246095.5784 | 2680963.5723 | 1246095.6045

## bus_geodata
| x | y | coords
0 | 2681057.9436 | 1246218.0807
1 | 2681126.8105 | 1246244.4728
2 | 2681047.3475 | 1246214.02
3 | 2681145.1979 | 1246300.8765
4 | 2681009.2155 | 1246250.0698
5 | 2681141.8782 | 1246309.1351
6 | 2680978.0212 | 1246237.3235
7 | 2680997.6139 | 1246204.7312
8 | 2681034.2102 | 1246144.8679
9 | 2681077.4579 | 1246162.9498
10 | 2681007.6722 | 1246252.6228
11 | 2681033.4489 | 1246133.0781
12 | 2680943.9107 | 1246331.8934
13 | 2680877.8425 | 1246331.9256
14 | 2680958.9328 | 1246322.8066
15 | 2681179.6865 | 1246364.8505
16 | 2681161.6789 | 1246357.9991
17 | 2681204.1744 | 1246386.7239
18 | 2681093.6554 | 1246344.6924
19 | 2681184.3841 | 1246353.5022
20 | 2680997.5822 | 1246269.3138
21 | 2680992.1583 | 1246293.0459
22 | 2681007.0452 | 1246253.6599
23 | 2680967.9806 | 1246307.5597
24 | 2680987.2814 | 1246304.3987
25 | 2680993.17 | 1246306.5462
26 | 2681196.1463 | 1246407.8325
27 | 2681072.3228 | 1246324.0203
28 | 2681080.3756 | 1246379.3584
29 | 2681092.4698 | 1246439.6343
30 | 2681153.8431 | 1246409.9631
31 | 2681067.7304 | 1246412.3874
32 | 2681074.3403 | 1246395.1225
33 | 2681186.1611 | 1246349.2177
34 | 2680974.6021 | 1246097.7085
35 | 2680923.7107 | 1246043.3918
36 | 2681105.9875 | 1246388.682
37 | 2681109.603 | 1246389.9936
38 | 2680928.7094 | 1246121.578
39 | 2680963.5723 | 1246095.6045
40 | 2680969.5677 | 1246096.2388
41 | 2681132.5942 | 1246398.6313
42 | 2681009.2155 | 1246250.0698

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99564 | -0.083732 | 0.046 | 0.011529
1 | 0.99435 | -0.10861 | 0 | 0
2 | 0.99631 | -0.07074 | 0 | 0
3 | 0.99305 | -0.13372 | 0 | 0
4 | 0.99979 | -0.0039128 | 0 | 0
5 | 0.99289 | -0.13673 | 0.019155 | 0.0048007
6 | 0.99689 | -0.058304 | 0 | 0
7 | 0.99387 | -0.11538 | 0.0049367 | 0.0012372
8 | 0.98861 | -0.2154 | 0 | 0
9 | 0.98439 | -0.29639 | 0 | 0
10 | 1 | 0 | -0.4838 | -0.12391
11 | 0.9804 | -0.37376 | 0.0019319 | 0.00048417
12 | 0.99041 | -0.18245 | 0 | 0
13 | 0.9865 | -0.25719 | 0 | 0
14 | 0.99131 | -0.16525 | 0.039495 | 0.0098983
15 | 0.98407 | -0.30375 | 0 | 0
16 | 0.98517 | -0.28252 | 0 | 0
17 | 0.98391 | -0.30692 | 0 | 0
18 | 0.97915 | -0.39945 | 0 | 0
19 | 0.98385 | -0.30821 | 0.012778 | 0.0032025
20 | 0.99815 | -0.034917 | 0 | 0
21 | 0.99559 | -0.083265 | 0 | 0
22 | 0.99988 | -0.00228 | 0.017285 | 0.0043321
23 | 0.99262 | -0.14011 | 0 | 0
24 | 0.99423 | -0.10929 | 0 | 0
25 | 0.99401 | -0.11367 | 0.039562 | 0.0099152
26 | 0.98383 | -0.30861 | 0.0041556 | 0.0010415
27 | 0.99062 | -0.17791 | 0.0030343 | 0.00076046
28 | 0.97732 | -0.43537 | 0 | 0
29 | 0.97664 | -0.44877 | 0 | 0
30 | 0.97611 | -0.45912 | 0.0066336 | 0.0016625
31 | 0.97694 | -0.44288 | 0 | 0
32 | 0.97705 | -0.44064 | 0.010465 | 0.0026227
33 | 0.98381 | -0.30883 | 0.0074098 | 0.0018571
34 | 0.97538 | -0.47195 | 0.006218 | 0.0015584
35 | 0.97314 | -0.5174 | 0.040559 | 0.010165
36 | 0.97612 | -0.45894 | 0 | 0
37 | 0.97587 | -0.46395 | 0.076452 | 0.019161
38 | 0.97253 | -0.52806 | 0.049685 | 0.012452
39 | 0.97468 | -0.4858 | 0.012744 | 0.0031939
40 | 0.97503 | -0.47889 | 0.0097801 | 0.0024511
41 | 0.97436 | -0.49362 | 0.065895 | 0.016515
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.019203 | 0.0048297 | -0.019181 | -0.0048161 | 2.2791e-05 | 1.3628e-05 | 0.028706 | 0.028707 | 0.028707 | 0.99564 | -0.083732 | 0.99435 | -0.10861 | 7.8864
1 | -0.065204 | -0.016358 | 0.065244 | 0.016384 | 4.0415e-05 | 2.5718e-05 | 0.097455 | 0.097455 | 0.097455 | 0.99564 | -0.083732 | 0.99631 | -0.07074 | 26.7734
2 | 0.019181 | 0.0048161 | -0.019158 | -0.0048023 | 2.295e-05 | 1.3726e-05 | 0.028707 | 0.028707 | 0.028707 | 0.99435 | -0.10861 | 0.99305 | -0.13372 | 7.8865
3 | -0.065244 | -0.016384 | 0.065453 | 0.016517 | 0.00020875 | 0.00013283 | 0.097455 | 0.097455 | 0.097455 | 0.99631 | -0.07074 | 0.99979 | -0.0039128 | 26.7734
4 | 0.019158 | 0.0048023 | -0.019155 | -0.0048007 | 2.7507e-06 | 1.6453e-06 | 0.028707 | 0.028707 | 0.028707 | 0.99305 | -0.13372 | 0.99289 | -0.13673 | 7.8865
5 | -0.15275 | -0.039173 | 0.15278 | 0.039191 | 2.8992e-05 | 1.8476e-05 | 0.22766 | 0.22766 | 0.22766 | 0.99979 | -0.0039128 | 1 | 0 | 31.2722
6 | 0.0873 | 0.022656 | -0.087068 | -0.022508 | 0.00023181 | 0.00014788 | 0.13021 | 0.13021 | 0.13021 | 0.99979 | -0.0039128 | 0.99689 | -0.058304 | 35.7715
7 | 0.087068 | 0.022508 | -0.086827 | -0.022353 | 0.00024179 | 0.00015425 | 0.13021 | 0.13021 | 0.13021 | 0.99689 | -0.058304 | 0.99387 | -0.11538 | 35.7715
8 | 0.08189 | 0.021116 | -0.081493 | -0.020863 | 0.00039688 | 0.0002531 | 0.12282 | 0.12282 | 0.12282 | 0.99387 | -0.11538 | 0.98861 | -0.2154 | 33.7411
9 | 0.081493 | 0.020863 | -0.081175 | -0.02066 | 0.0003183 | 0.00020299 | 0.12282 | 0.12282 | 0.12282 | 0.98861 | -0.2154 | 0.98439 | -0.29639 | 33.7412
10 | 0.081175 | 0.02066 | -0.080873 | -0.020468 | 0.00030154 | 0.00019231 | 0.12282 | 0.12282 | 0.12282 | 0.98439 | -0.29639 | 0.9804 | -0.37376 | 33.7413
11 | 0.32937 | 0.084718 | -0.32933 | -0.084695 | 3.6502e-05 | 2.3313e-05 | 0.49087 | 0.49087 | 0.49087 | 1 | 0 | 0.99988 | -0.00228 | 44.9519
12 | 0.078941 | 0.019984 | -0.078571 | -0.019748 | 0.00037019 | 0.00023606 | 0.11989 | 0.11989 | 0.11989 | 0.9804 | -0.37376 | 0.97538 | -0.47195 | 32.9358
13 | 0.041218 | 0.010581 | -0.041069 | -0.010487 | 0.00014893 | 9.3994e-05 | 0.062017 | 0.062017 | 0.062017 | 0.99041 | -0.18245 | 0.9865 | -0.25719 | 17.0377
14 | -0.041218 | -0.010581 | 0.041252 | 0.010603 | 3.4433e-05 | 2.173e-05 | 0.062017 | 0.062017 | 0.062017 | 0.99041 | -0.18245 | 0.99131 | -0.16525 | 17.0376
15 | 0.041069 | 0.010487 | -0.040559 | -0.010165 | 0.0005096 | 0.0003217 | 0.062017 | 0.062019 | 0.062019 | 0.9865 | -0.25719 | 0.97314 | -0.5174 | 17.0382
16 | -0.080747 | -0.020501 | 0.080845 | 0.020563 | 9.7824e-05 | 6.2379e-05 | 0.1213 | 0.1213 | 0.1213 | 0.99131 | -0.16525 | 0.99262 | -0.14011 | 33.3243
17 | -0.1851 | -0.046893 | 0.18529 | 0.047013 | 0.00018892 | 0.00012017 | 0.28007 | 0.28007 | 0.28007 | 0.98407 | -0.30375 | 0.98517 | -0.28252 | 25.6478
18 | 0.0041566 | 0.0010413 | -0.004156 | -0.0010414 | 6.2782e-07 | -1.3655e-07 | 0.006285 | 0.0062852 | 0.0062852 | 0.98407 | -0.30375 | 0.98391 | -0.30692 | 1.7267
19 | 0.16075 | 0.04079 | -0.16002 | -0.040322 | 0.00073621 | 0.0004674 | 0.24326 | 0.24326 | 0.24326 | 0.98407 | -0.30375 | 0.97915 | -0.39945 | 22.2763
20 | 0.020192 | 0.0050622 | -0.020188 | -0.0050596 | 4.2939e-06 | 2.5921e-06 | 0.030533 | 0.030533 | 0.030533 | 0.98407 | -0.30375 | 0.98385 | -0.30821 | 8.3883
21 | -0.18529 | -0.047013 | 0.18623 | 0.047609 | 0.00093735 | 0.00059623 | 0.28007 | 0.28007 | 0.28007 | 0.98517 | -0.28252 | 0.99062 | -0.17791 | 25.6477
22 | 0.004156 | 0.0010414 | -0.0041556 | -0.0010415 | 3.3456e-07 | -7.2682e-08 | 0.0062852 | 0.0062853 | 0.0062853 | 0.98391 | -0.30692 | 0.98383 | -0.30861 | 1.7267
23 | 0.16002 | 0.040322 | -0.15974 | -0.040148 | 0.00027452 | 0.00017429 | 0.24326 | 0.24326 | 0.24326 | 0.97915 | -0.39945 | 0.97732 | -0.43537 | 22.2763
24 | 0.00741 | 0.0018572 | -0.0074098 | -0.0018571 | 2.1848e-07 | 8.0925e-08 | 0.011207 | 0.011207 | 0.011207 | 0.98385 | -0.30821 | 0.98381 | -0.30883 | 3.0789
25 | 0.31155 | 0.080047 | -0.31082 | -0.079581 | 0.00072972 | 0.00046597 | 0.46515 | 0.46515 | 0.46515 | 0.99815 | -0.034917 | 0.99559 | -0.083265 | 42.5963
26 | -0.31155 | -0.080047 | 0.31205 | 0.080363 | 0.00049472 | 0.0003159 | 0.46515 | 0.46515 | 0.46515 | 0.99815 | -0.034917 | 0.99988 | -0.00228 | 42.5963
27 | 0.19013 | 0.048924 | -0.18926 | -0.04837 | 0.00087068 | 0.0005539 | 0.28463 | 0.28463 | 0.28463 | 0.99559 | -0.083265 | 0.99062 | -0.17791 | 26.065
28 | 0.12069 | 0.030657 | -0.12054 | -0.03056 | 0.000151 | 9.648e-05 | 0.18052 | 0.18052 | 0.18052 | 0.99559 | -0.083265 | 0.99423 | -0.10929 | 49.5945
29 | -0.080845 | -0.020563 | 0.080965 | 0.02064 | 0.00012023 | 7.6665e-05 | 0.1213 | 0.1213 | 0.1213 | 0.99262 | -0.14011 | 0.99423 | -0.10929 | 33.3242
30 | 0.039571 | 0.0099204 | -0.039562 | -0.0099152 | 8.2444e-06 | 5.1951e-06 | 0.059224 | 0.059224 | 0.059224 | 0.99423 | -0.10929 | 0.99401 | -0.11367 | 16.2704
31 | 0.14263 | 0.035858 | -0.14247 | -0.035757 | 0.00016032 | 0.00010158 | 0.21721 | 0.21721 | 0.21721 | 0.97732 | -0.43537 | 0.97612 | -0.45894 | 19.8909
32 | 0.017108 | 0.0042896 | -0.017104 | -0.0042871 | 4.2952e-06 | 2.5375e-06 | 0.026049 | 0.026049 | 0.026049 | 0.97732 | -0.43537 | 0.97705 | -0.44064 | 7.1563
33 | 0.0066368 | 0.0016636 | -0.0066336 | -0.0016625 | 3.2718e-06 | 1.0268e-06 | 0.010112 | 0.010112 | 0.010112 | 0.97664 | -0.44877 | 0.97611 | -0.45912 | 2.7781
34 | -0.0066368 | -0.0016636 | 0.0066387 | 0.0016641 | 1.8604e-06 | 5.8334e-07 | 0.010112 | 0.010112 | 0.010112 | 0.97664 | -0.44877 | 0.97694 | -0.44288 | 2.778
35 | -0.0066387 | -0.0016641 | 0.0066394 | 0.0016644 | 7.0884e-07 | 2.2215e-07 | 0.010112 | 0.010112 | 0.010112 | 0.97694 | -0.44288 | 0.97705 | -0.44064 | 2.778
36 | 0.072353 | 0.018189 | -0.072329 | -0.018174 | 2.3971e-05 | 1.5276e-05 | 0.1104 | 0.1104 | 0.1104 | 0.97538 | -0.47195 | 0.97503 | -0.47889 | 30.3298
37 | 0.14247 | 0.035757 | -0.14244 | -0.035735 | 3.4023e-05 | 2.1679e-05 | 0.21721 | 0.21721 | 0.21721 | 0.97612 | -0.45894 | 0.97587 | -0.46395 | 29.8364
38 | 0.065988 | 0.016574 | -0.065895 | -0.016515 | 9.327e-05 | 5.9387e-05 | 0.10063 | 0.10063 | 0.10063 | 0.97587 | -0.46395 | 0.97436 | -0.49362 | 27.6464
39 | -0.049685 | -0.012452 | 0.049785 | 0.012516 | 0.00010025 | 6.3587e-05 | 0.076019 | 0.076019 | 0.076019 | 0.97253 | -0.52806 | 0.97468 | -0.4858 | 20.8845
40 | -0.062529 | -0.01571 | 0.062549 | 0.015723 | 2.0638e-05 | 1.3133e-05 | 0.095475 | 0.095475 | 0.095475 | 0.97468 | -0.4858 | 0.97503 | -0.47889 | 26.2293

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49523 | 0.12677

## res_load
| p_mw | q_mvar
0 | 0.046 | 0.011529
1 | 0.019155 | 0.0048007
2 | 0.0049367 | 0.0012372
3 | 0.011432 | 0.0028651
4 | 0.0019319 | 0.00048417
5 | 0.039495 | 0.0098983
6 | 0.012778 | 0.0032025
7 | 0.017285 | 0.0043321
8 | 0.039562 | 0.0099152
9 | 0.0041556 | 0.0010415
10 | 0.0030343 | 0.00076046
11 | 0.0066336 | 0.0016625
12 | 0.010465 | 0.0026227
13 | 0.0074098 | 0.0018571
14 | 0.006218 | 0.0015584
15 | 0.040559 | 0.010165
16 | 0.076452 | 0.019161
17 | 0.049685 | 0.012452
18 | 0.012744 | 0.0031939
19 | 0.0097801 | 0.0024511
20 | 0.065895 | 0.016515

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1