## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-199_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-199_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-199_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-199_0_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_261-199_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-199_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_261-199_0_3_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_261-199_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-199_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-199_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_261-199_0_3_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_261-199_0_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_261-199_0_3_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_261-199_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_261-199_0_3_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_261-199_0_3_node_126 | 0.4 | n |  | TRUE
16 | bus_LV_261-199_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_261-199_0_3_node_142 | 0.4 | n |  | TRUE
18 | bus_LV_261-199_0_3_node_140 | 0.4 | n |  | TRUE
19 | bus_LV_261-199_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_261-199_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-199_0_3_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_261-199_0_3_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_261-199_0_3_node_144 | 0.4 | n |  | TRUE
24 | bus_LV_261-199_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_261-199_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_261-199_0_3_node_123 | 0.4 | n |  | TRUE
27 | bus_LV_261-199_0_3_node_139 | 0.4 | n |  | TRUE
28 | bus_LV_261-199_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_261-199_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_261-199_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_261-199_0_3_node_133 | 0.4 | n |  | TRUE
32 | bus_LV_261-199_0_3_node_141 | 0.4 | n |  | TRUE
33 | bus_LV_261-199_0_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_261-199_0_3_node_143 | 0.4 | n |  | TRUE
35 | bus_LV_261-199_0_3_node_134 | 0.4 | n |  | TRUE
36 | bus_LV_261-199_0_3_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_261-199_0_3_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_261-199_0_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_261-199_0_3_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_261-199_0_3_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_261-199_0_3_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_261-199_0_3_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_261-199_0_3_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_261-199_0_3_node_125 | 0.4 | n |  | TRUE
45 | bus_LV_261-199_0_3_node_127 | 0.4 | n |  | TRUE
46 | bus_LV_261-199_0_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_261-199_0_3_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_261-199_0_3_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_261-199_0_3_node_121 | 0.4 | n |  | TRUE
50 | bus_LV_261-199_0_3_node_122 | 0.4 | n |  | TRUE
51 | bus_LV_261-199_0_3_node_124 | 0.4 | n |  | TRUE
52 | bus_MV_546_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-199_0_3_load_0 | 0 | 0.0039232 | 0.00098323 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-199_0_3_load_3 | 2 | 0.012074 | 0.0030261 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-199_0_3_load_73 | 6 | 0.022854 | 0.0057278 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-199_0_3_load_58 | 10 | 0.014533 | 0.0036422 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-199_0_3_load_61 | 11 | 0.0059049 | 0.0014799 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-199_0_3_load_59 | 12 | 0.0057201 | 0.0014336 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-199_0_3_load_69 | 14 | 0.0069524 | 0.0017424 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-199_0_3_load_126 | 15 | 0.0019528 | 0.00048942 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-199_0_3_load_142 | 17 | 0.0051652 | 0.0012945 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-199_0_3_load_140 | 18 | 0.0039322 | 0.0009855 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-199_0_3_load_55 | 21 | 0.0025705 | 0.00064423 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-199_0_3_load_67 | 22 | 0.016858 | 0.0042249 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-199_0_3_load_144 | 23 | 0.0018045 | 0.00045225 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-199_0_3_load_123 | 26 | 0.0014566 | 0.00036507 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-199_0_3_load_139 | 27 | 0.0021252 | 0.00053262 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-199_0_3_load_57 | 28 | 0.016191 | 0.0040579 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-199_0_3_load_133 | 31 | 0.0048744 | 0.0012216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-199_0_3_load_141 | 32 | 0.0039304 | 0.00098506 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-199_0_3_load_71 | 33 | 0.0039291 | 0.00098473 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-199_0_3_load_143 | 34 | 0.0015476 | 0.00038787 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-199_0_3_load_134 | 35 | 0.010422 | 0.002612 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-199_0_3_load_66 | 36 | 0.018029 | 0.0045184 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-199_0_3_load_54 | 37 | 0.017044 | 0.0042716 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-199_0_3_load_56 | 38 | 0.0022946 | 0.00057508 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-199_0_3_load_60 | 39 | 0.0019967 | 0.00050042 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-199_0_3_load_63 | 41 | 0.0019972 | 0.00050055 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-199_0_3_load_64 | 42 | 0.0020863 | 0.00052287 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-199_0_3_load_125 | 44 | 0.0016236 | 0.0004069 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-199_0_3_load_127 | 45 | 0.0019401 | 0.00048622 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-199_0_3_load_68 | 46 | 0.0058444 | 0.0014648 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-199_0_3_load_72 | 48 | 0.010658 | 0.0026712 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-199_0_3_load_121 | 49 | 0.001411 | 0.00035363 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-199_0_3_load_122 | 50 | 0.0013697 | 0.00034327 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-199_0_3_load_124 | 51 | 0.0020102 | 0.00050381 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-199_0_3_line_0 |  | 0 | 1 | 0.014771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-199_0_3_line_1 |  | 1 | 2 | 0.020628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-199_0_3_line_2 |  | 2 | 3 | 0.016628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-199_0_3_line_3 |  | 3 | 9 | 0.004162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-199_0_3_line_4 |  | 3 | 4 | 0.021291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-199_0_3_line_5 |  | 4 | 5 | 0.004099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-199_0_3_line_6 |  | 4 | 6 | 0.035426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-199_0_3_line_7 |  | 5 | 21 | 0.031328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-199_0_3_line_8 |  | 6 | 19 | 0.02618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-199_0_3_line_9 |  | 7 | 8 | 0.029201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-199_0_3_line_10 |  | 7 | 9 | 0.024533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-199_0_3_line_11 |  | 7 | 10 | 0.0047173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-199_0_3_line_12 |  | 8 | 11 | 0.013404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-199_0_3_line_13 |  | 8 | 12 | 0.016758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-199_0_3_line_14 |  | 9 | 22 | 0.033326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-199_0_3_line_15 |  | 11 | 40 | 0.013136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-199_0_3_line_16 |  | 12 | 39 | 0.0077527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-199_0_3_line_17 |  | 13 | 14 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-199_0_3_line_18 |  | 13 | 15 | 0.031958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-199_0_3_line_19 |  | 14 | 46 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-199_0_3_line_20 |  | 15 | 45 | 0.01828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-199_0_3_line_21 |  | 16 | 17 | 0.039897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-199_0_3_line_22 |  | 16 | 18 | 0.0047507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-199_0_3_line_23 |  | 18 | 32 | 0.018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-199_0_3_line_24 |  | 19 | 20 | 0.021512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-199_0_3_line_25 |  | 20 | 23 | 0.025563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-199_0_3_line_26 |  | 21 | 37 | 0.021822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-199_0_3_line_27 |  | 22 | 29 | 0.031342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-199_0_3_line_28 |  | 23 | 34 | 0.015022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-199_0_3_line_29 |  | 24 | 25 | 0.18255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-199_0_3_line_30 |  | 24 | 26 | 0.079489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-199_0_3_line_31 |  | 25 | 31 | 0.0034303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-199_0_3_line_32 |  | 26 | 49 | 0.01223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-199_0_3_line_33 |  | 27 | 28 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-199_0_3_line_34 |  | 28 | 38 | 0.0213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-199_0_3_line_35 |  | 29 | 30 | 0.021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-199_0_3_line_36 |  | 30 | 36 | 0.010944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-199_0_3_line_37 |  | 31 | 35 | 0.0084275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-199_0_3_line_38 |  | 32 | 33 | 0.018082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-199_0_3_line_39 |  | 33 | 47 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-199_0_3_line_40 |  | 37 | 38 | 0.016949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-199_0_3_line_41 |  | 40 | 41 | 0.036734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-199_0_3_line_42 |  | 41 | 42 | 0.0015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-199_0_3_line_43 |  | 42 | 43 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-199_0_3_line_44 |  | 43 | 44 | 0.0048419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-199_0_3_line_45 |  | 43 | 45 | 0.0079454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-199_0_3_line_46 |  | 44 | 51 | 0.0058518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-199_0_3_line_47 |  | 46 | 47 | 0.012899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-199_0_3_line_48 |  | 47 | 48 | 0.032101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-199_0_3_line_49 |  | 49 | 50 | 0.006631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-199_0_3_line_50 |  | 50 | 51 | 0.012026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-199_0_3_trafo_55 | 0.63 MVA 20/0.4 kV | 52 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2683853.3703 | 1252900.4503 | 2683851.0165 | 1252901.9959 | 2683840.8129 | 1252908.2249
1 | 2683853.3703 | 1252900.4503 | 2683850.2159 | 1252896.1802 | 2683841.7199 | 1252883.4335
2 | 2683831.9764 | 1252870.0136 | 2683834.6533 | 1252872.8313 | 2683841.7199 | 1252883.4335
3 | 2683828.0259 | 1252868.6678 | 2683831.9764 | 1252870.0136
4 | 2683831.9764 | 1252870.0136 | 2683837.0723 | 1252866.6831 | 2683841.2489 | 1252863.7845 | 2683845.3417 | 1252860.9403 | 2683849.7928 | 1252858.3791
5 | 2683850.001 | 1252854.3346 | 2683849.5676 | 1252856.6969 | 2683849.7928 | 1252858.3791
6 | 2683849.7928 | 1252858.3791 | 2683852.3003 | 1252861.4391 | 2683856.28 | 1252862.3183 | 2683871.0063 | 1252885.418
7 | 2683850.001 | 1252854.3346 | 2683851.931 | 1252851.2818 | 2683857.509 | 1252848.0138 | 2683872.758 | 1252839.6901 | 2683876.2948 | 1252838.0982
8 | 2683885.0796 | 1252907.4933 | 2683871.0063 | 1252885.418
9 | 2683818.7697 | 1252847.621 | 2683826.2092 | 1252842.4001 | 2683832.4152 | 1252838.4849 | 2683825.0922 | 1252828.0179
10 | 2683818.7697 | 1252847.621 | 2683820.4083 | 1252850.2239 | 2683821.3806 | 1252852.973 | 2683821.0669 | 1252855.4038 | 2683820.0114 | 1252857.4682 | 2683824.074 | 1252863.1521 | 2683828.0259 | 1252868.6678
11 | 2683818.7697 | 1252847.621 | 2683816.8613 | 1252844.8919 | 2683816.0731 | 1252843.7504
12 | 2683825.0922 | 1252828.0179 | 2683817.6309 | 1252816.8829
13 | 2683825.0922 | 1252828.0179 | 2683839.4703 | 1252819.4103
14 | 2683828.0259 | 1252868.6678 | 2683824.5326 | 1252869.1409 | 2683822.0034 | 1252870.2838 | 2683800.8239 | 1252884.9286 | 2683799.7833 | 1252885.6673
15 | 2683810.3184 | 1252805.9701 | 2683817.6309 | 1252816.8829
16 | 2683846.1221 | 1252815.4282 | 2683839.4703 | 1252819.4103
17 | 2683883.5941 | 1252825.9109 | 2683889.4355 | 1252823.7697 | 2683899.0854 | 1252820.5621
18 | 2683883.5941 | 1252825.9109 | 2683871.5435 | 1252800.7658 | 2683869.2215 | 1252797.4183
19 | 2683899.0854 | 1252820.5621 | 2683900.6651 | 1252820.037 | 2683915.3336 | 1252815.9417 | 2683915.4804 | 1252815.9077
20 | 2683869.2215 | 1252797.4183 | 2683858.8029 | 1252782.3979
21 | 2683977.9481 | 1252769.7162 | 2683981.5609 | 1252773.0588 | 2683983.0289 | 1252776.5044 | 2683988.3288 | 1252798.7074 | 2683980.1204 | 1252800.6592
22 | 2683980.1204 | 1252800.6592 | 2683975.4986 | 1252801.7579
23 | 2683957.9029 | 1252805.9408 | 2683975.4986 | 1252801.7579
24 | 2683894.9209 | 1252926.636 | 2683885.0796 | 1252907.4933
25 | 2683894.9209 | 1252926.636 | 2683910.0695 | 1252919.534 | 2683918.6942 | 1252917.631
26 | 2683896.5742 | 1252830.0977 | 2683885.7154 | 1252833.858 | 2683876.2948 | 1252838.0982
27 | 2683774.2264 | 1252903.8111 | 2683799.7833 | 1252885.6673
28 | 2683918.6942 | 1252917.631 | 2683923.802 | 1252916.504 | 2683932.9243 | 1252912.9472
29 | 2683765.845 | 1252738.2458 | 2683761.7289 | 1252731.527 | 2683740.0888 | 1252698.1404 | 2683745.6164 | 1252696.8398 | 2683783.243 | 1252687.9317 | 2683784.3602 | 1252692.7177 | 2683807.0043 | 1252687.6786 | 2683816.2633 | 1252685.6191 | 2683837.59 | 1252680.8839 | 2683843.8586 | 1252679.4938 | 2683867.9487 | 1252674.1418
30 | 2683765.845 | 1252738.2458 | 2683772.8502 | 1252734.3863 | 2683793.1792 | 1252726.5457 | 2683816.0908 | 1252720.1983 | 2683830.7559 | 1252741.5798
31 | 2683867.9487 | 1252674.1418 | 2683871.2974 | 1252673.3979
32 | 2683837.6732 | 1252751.6651 | 2683830.7559 | 1252741.5798
33 | 2683949.1731 | 1252816.567 | 2683933.4959 | 1252820.1417
34 | 2683912.8962 | 1252825.5556 | 2683932.8332 | 1252820.2928 | 2683933.4959 | 1252820.1417
35 | 2683774.2264 | 1252903.8111 | 2683787.1053 | 1252920.5725
36 | 2683787.1053 | 1252920.5725 | 2683785.9515 | 1252921.0454 | 2683779.596 | 1252923.2683 | 2683776.641 | 1252923.0375
37 | 2683879.5244 | 1252671.5704 | 2683871.2974 | 1252673.3979
38 | 2683940.3114 | 1252810.1228 | 2683957.9029 | 1252805.9408
39 | 2683928.0464 | 1252812.9973 | 2683934.0809 | 1252811.6039 | 2683940.3114 | 1252810.1228
40 | 2683896.5742 | 1252830.0977 | 2683899.412 | 1252829.115 | 2683912.8962 | 1252825.5556
41 | 2683810.3184 | 1252805.9701 | 2683840.6272 | 1252785.2148
42 | 2683840.6272 | 1252785.2148 | 2683841.9178 | 1252784.331
43 | 2683854.2744 | 1252775.8693 | 2683841.9178 | 1252784.331
44 | 2683854.2744 | 1252775.8693 | 2683851.5357 | 1252771.8764
45 | 2683854.2744 | 1252775.8693 | 2683858.8029 | 1252782.3979
46 | 2683848.2258 | 1252767.0506 | 2683851.5357 | 1252771.8764
47 | 2683928.0464 | 1252812.9973 | 2683915.4804 | 1252815.9077
48 | 2683920.4285 | 1252781.8104 | 2683928.0464 | 1252812.9973
49 | 2683837.6732 | 1252751.6651 | 2683841.4238 | 1252757.1334
50 | 2683848.2258 | 1252767.0506 | 2683841.4238 | 1252757.1334

## bus_geodata
| x | y | coords
0 | 2683840.8129 | 1252908.2249
1 | 2683853.3703 | 1252900.4503
2 | 2683841.7199 | 1252883.4335
3 | 2683831.9764 | 1252870.0136
4 | 2683849.7928 | 1252858.3791
5 | 2683850.001 | 1252854.3346
6 | 2683871.0063 | 1252885.418
7 | 2683818.7697 | 1252847.621
8 | 2683825.0922 | 1252828.0179
9 | 2683828.0259 | 1252868.6678
10 | 2683816.0731 | 1252843.7504
11 | 2683817.6309 | 1252816.8829
12 | 2683839.4703 | 1252819.4103
13 | 2683883.5941 | 1252825.9109
14 | 2683899.0854 | 1252820.5621
15 | 2683869.2215 | 1252797.4183
16 | 2683980.1204 | 1252800.6592
17 | 2683977.9481 | 1252769.7162
18 | 2683975.4986 | 1252801.7579
19 | 2683885.0796 | 1252907.4933
20 | 2683894.9209 | 1252926.636
21 | 2683876.2948 | 1252838.0982
22 | 2683799.7833 | 1252885.6673
23 | 2683918.6942 | 1252917.631
24 | 2683765.845 | 1252738.2458
25 | 2683867.9487 | 1252674.1418
26 | 2683830.7559 | 1252741.5798
27 | 2683949.1731 | 1252816.567
28 | 2683933.4959 | 1252820.1417
29 | 2683774.2264 | 1252903.8111
30 | 2683787.1053 | 1252920.5725
31 | 2683871.2974 | 1252673.3979
32 | 2683957.9029 | 1252805.9408
33 | 2683940.3114 | 1252810.1228
34 | 2683932.9243 | 1252912.9472
35 | 2683879.5244 | 1252671.5704
36 | 2683776.641 | 1252923.0375
37 | 2683896.5742 | 1252830.0977
38 | 2683912.8962 | 1252825.5556
39 | 2683846.1221 | 1252815.4282
40 | 2683810.3184 | 1252805.9701
41 | 2683840.6272 | 1252785.2148
42 | 2683841.9178 | 1252784.331
43 | 2683854.2744 | 1252775.8693
44 | 2683851.5357 | 1252771.8764
45 | 2683858.8029 | 1252782.3979
46 | 2683915.4804 | 1252815.9077
47 | 2683928.0464 | 1252812.9973
48 | 2683920.4285 | 1252781.8104
49 | 2683837.6732 | 1252751.6651
50 | 2683841.4238 | 1252757.1334
51 | 2683848.2258 | 1252767.0506
52 | 2683850.001 | 1252854.3346

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99529 | -0.090025 | 0.0039232 | 0.00098323
1 | 0.99534 | -0.089005 | 0 | 0
2 | 0.99541 | -0.087581 | 0.012074 | 0.0030261
3 | 0.99565 | -0.082903 | 0 | 0
4 | 0.99713 | -0.054753 | 0 | 0
5 | 0.99746 | -0.048401 | 0 | 0
6 | 0.99628 | -0.071043 | 0.022854 | 0.0057278
7 | 0.99289 | -0.13592 | 0 | 0
8 | 0.99059 | -0.18001 | 0 | 0
9 | 0.99514 | -0.092759 | 0 | 0
10 | 0.99282 | -0.13713 | 0.014533 | 0.0036422
11 | 0.98963 | -0.19847 | 0.0059049 | 0.0014799
12 | 0.99047 | -0.18231 | 0.0057201 | 0.0014336
13 | 0.98307 | -0.3258 | 0 | 0
14 | 0.98246 | -0.33776 | 0.0069524 | 0.0017424
15 | 0.98426 | -0.30254 | 0.0019528 | 0.00048942
16 | 0.98101 | -0.36606 | 0 | 0
17 | 0.98082 | -0.36979 | 0.0051652 | 0.0012945
18 | 0.98103 | -0.36562 | 0.0039322 | 0.0009855
19 | 0.9962 | -0.072586 | 0 | 0
20 | 0.99614 | -0.073853 | 0 | 0
21 | 1 | 0 | -0.21792 | -0.054894
22 | 0.99408 | -0.11324 | 0.016858 | 0.0042249
23 | 0.99606 | -0.075358 | 0.0018045 | 0.00045225
24 | 0.98344 | -0.31854 | 0 | 0
25 | 0.98086 | -0.369 | 0 | 0
26 | 0.98456 | -0.29664 | 0.0014566 | 0.00036507
27 | 0.99855 | -0.027848 | 0.0021252 | 0.00053262
28 | 0.99858 | -0.027251 | 0.016191 | 0.0040579
29 | 0.99356 | -0.12322 | 0 | 0
30 | 0.99321 | -0.12994 | 0 | 0
31 | 0.98081 | -0.36995 | 0.0048744 | 0.0012216
32 | 0.98119 | -0.36264 | 0.0039304 | 0.00098506
33 | 0.9814 | -0.35837 | 0.0039291 | 0.00098473
34 | 0.99604 | -0.075767 | 0.0015476 | 0.00038787
35 | 0.98073 | -0.37155 | 0.010422 | 0.002612
36 | 0.99303 | -0.13343 | 0.018029 | 0.0045184
37 | 0.99925 | -0.014334 | 0.017044 | 0.0042716
38 | 0.99894 | -0.020434 | 0.0022946 | 0.00057508
39 | 0.99046 | -0.18258 | 0.0019967 | 0.00050042
40 | 0.98876 | -0.21522 | 0 | 0
41 | 0.98634 | -0.26221 | 0.0019972 | 0.00050055
42 | 0.98624 | -0.26416 | 0.0020863 | 0.00052287
43 | 0.9853 | -0.28229 | 0 | 0
44 | 0.9852 | -0.2843 | 0.0016236 | 0.0004069
45 | 0.98498 | -0.28861 | 0.0019401 | 0.00048622
46 | 0.98193 | -0.34806 | 0.0058444 | 0.0014648
47 | 0.9816 | -0.35451 | 0 | 0
48 | 0.98128 | -0.3607 | 0.010658 | 0.0026712
49 | 0.98475 | -0.29296 | 0.001411 | 0.00035363
50 | 0.98487 | -0.29079 | 0.0013697 | 0.00034327
51 | 0.98508 | -0.28657 | 0.0020102 | 0.00050381
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0039232 | -0.00098323 | 0.0039233 | 0.00098316 | 1.9055e-07 | -7.0013e-08 | 0.0058654 | 0.0058653 | 0.0058654 | 0.99529 | -0.090025 | 0.99534 | -0.089005 | 1.6114
1 | -0.0039233 | -0.00098316 | 0.0039236 | 0.00098307 | 2.661e-07 | -9.7815e-08 | 0.0058653 | 0.0058652 | 0.0058653 | 0.99534 | -0.089005 | 0.99541 | -0.087581 | 1.6113
2 | -0.015998 | -0.0040092 | 0.016002 | 0.0040113 | 3.5662e-06 | 2.0662e-06 | 0.023915 | 0.023915 | 0.023915 | 0.99541 | -0.087581 | 0.99565 | -0.082903 | 6.5701
3 | 0.13567 | 0.034411 | -0.13561 | -0.03437 | 6.4259e-05 | 4.1072e-05 | 0.20291 | 0.20291 | 0.20291 | 0.99565 | -0.082903 | 0.99514 | -0.092759 | 55.7442
4 | -0.15167 | -0.038423 | 0.15188 | 0.038554 | 0.00020539 | 0.00013089 | 0.22682 | 0.22682 | 0.22682 | 0.99565 | -0.082903 | 0.99713 | -0.054753 | 31.1571
5 | -0.17811 | -0.045133 | 0.17816 | 0.045168 | 5.4366e-05 | 3.4687e-05 | 0.26597 | 0.26596 | 0.26597 | 0.99713 | -0.054753 | 0.99746 | -0.048401 | 36.5337
6 | 0.026227 | 0.0065798 | -0.026207 | -0.0065672 | 2.0353e-05 | 1.2564e-05 | 0.039142 | 0.039142 | 0.039142 | 0.99713 | -0.054753 | 0.99628 | -0.071043 | 10.7532
7 | -0.17816 | -0.045168 | 0.17858 | 0.045433 | 0.00041551 | 0.00026511 | 0.26596 | 0.26596 | 0.26596 | 0.99746 | -0.048401 | 1 | 0 | 36.5336
8 | 0.0033529 | 0.00083943 | -0.0033526 | -0.00083962 | 2.4617e-07 | -1.8334e-07 | 0.0050074 | 0.0050075 | 0.0050075 | 0.99628 | -0.071043 | 0.9962 | -0.072586 | 1.3757
9 | 0.085928 | 0.021819 | -0.085746 | -0.021703 | 0.00018188 | 0.00011603 | 0.12888 | 0.12888 | 0.12888 | 0.99289 | -0.13592 | 0.99059 | -0.18001 | 35.4065
10 | -0.10046 | -0.025462 | 0.10067 | 0.025595 | 0.00020882 | 0.00013333 | 0.15066 | 0.15066 | 0.15066 | 0.99289 | -0.13592 | 0.99514 | -0.092759 | 41.3903
11 | 0.014533 | 0.0036427 | -0.014533 | -0.0036422 | 8.3924e-07 | 4.7611e-07 | 0.021781 | 0.021781 | 0.021781 | 0.99289 | -0.13592 | 0.99282 | -0.13713 | 5.9838
12 | 0.078029 | 0.019769 | -0.077959 | -0.019725 | 6.9144e-05 | 4.4079e-05 | 0.11729 | 0.11729 | 0.11729 | 0.99059 | -0.18001 | 0.98963 | -0.19847 | 32.2216
13 | 0.0077176 | 0.0019342 | -0.0077168 | -0.0019339 | 8.4458e-07 | 3.2483e-07 | 0.011593 | 0.011593 | 0.011593 | 0.99059 | -0.18001 | 0.99047 | -0.18231 | 3.1849
14 | 0.034938 | 0.0087751 | -0.034904 | -0.0087536 | 3.4117e-05 | 2.1402e-05 | 0.052249 | 0.052249 | 0.052249 | 0.99514 | -0.092759 | 0.99408 | -0.11324 | 14.3541
15 | 0.072055 | 0.018245 | -0.071997 | -0.018208 | 5.7893e-05 | 3.6883e-05 | 0.10841 | 0.10841 | 0.10841 | 0.98963 | -0.19847 | 0.98876 | -0.21522 | 29.7824
16 | 0.0019967 | 0.00050033 | -0.0019967 | -0.00050042 | 2.616e-08 | -8.3037e-08 | 0.0029997 | 0.0029997 | 0.0029997 | 0.99047 | -0.18231 | 0.99046 | -0.18258 | 0.8241
17 | 0.040471 | 0.010164 | -0.040448 | -0.010149 | 2.3071e-05 | 1.4558e-05 | 0.061267 | 0.061267 | 0.061267 | 0.98307 | -0.3258 | 0.98246 | -0.33776 | 16.8315
18 | -0.040471 | -0.010164 | 0.040516 | 0.010192 | 4.4984e-05 | 2.8384e-05 | 0.061267 | 0.061267 | 0.061267 | 0.98307 | -0.3258 | 0.98426 | -0.30254 | 16.8315
19 | 0.033496 | 0.008407 | -0.033479 | -0.0083967 | 1.6454e-05 | 1.0315e-05 | 0.050737 | 0.050737 | 0.050737 | 0.98246 | -0.33776 | 0.98193 | -0.34806 | 13.9387
20 | -0.042469 | -0.010682 | 0.042497 | 0.0107 | 2.827e-05 | 1.7861e-05 | 0.064219 | 0.064219 | 0.064219 | 0.98426 | -0.30254 | 0.98498 | -0.28861 | 17.6426
21 | 0.0051661 | 0.0012946 | -0.0051652 | -0.0012945 | 9.1869e-07 | 8.4326e-08 | 0.007836 | 0.0078361 | 0.0078361 | 0.98101 | -0.36606 | 0.98082 | -0.36979 | 2.1528
22 | -0.0051661 | -0.0012946 | 0.0051662 | 0.0012946 | 1.0939e-07 | 1.0026e-08 | 0.007836 | 0.0078359 | 0.007836 | 0.98101 | -0.36606 | 0.98103 | -0.36562 | 2.1527
23 | -0.0090984 | -0.0022801 | 0.0090997 | 0.0022807 | 1.2916e-06 | 5.9826e-07 | 0.0138 | 0.0138 | 0.0138 | 0.98103 | -0.36562 | 0.98119 | -0.36264 | 3.7913
24 | 0.0033526 | 0.00083962 | -0.0033524 | -0.00083977 | 2.0229e-07 | -1.506e-07 | 0.0050075 | 0.0050076 | 0.0050076 | 0.9962 | -0.072586 | 0.99614 | -0.073853 | 1.3757
25 | 0.0033524 | 0.00083977 | -0.0033522 | -0.00083995 | 2.4039e-07 | -1.7891e-07 | 0.0050076 | 0.0050077 | 0.0050077 | 0.99614 | -0.073853 | 0.99606 | -0.075358 | 1.3758
26 | 0.037693 | 0.0094604 | -0.037667 | -0.0094442 | 2.5748e-05 | 1.6192e-05 | 0.056092 | 0.056092 | 0.056092 | 1 | 0 | 0.99925 | -0.014334 | 15.41
27 | 0.018046 | 0.0045287 | -0.018038 | -0.0045236 | 8.5778e-06 | 5.0837e-06 | 0.027015 | 0.027015 | 0.027015 | 0.99408 | -0.11324 | 0.99356 | -0.12322 | 7.4217
28 | 0.0015477 | 0.0003877 | -0.0015476 | -0.00038787 | 3.0112e-08 | -1.7625e-07 | 0.002312 | 0.0023121 | 0.0023121 | 0.99606 | -0.075358 | 0.99604 | -0.075767 | 0.63518
29 | 0.015335 | 0.0038557 | -0.015298 | -0.0038344 | 3.6869e-05 | 2.1286e-05 | 0.023207 | 0.023208 | 0.023208 | 0.98344 | -0.31854 | 0.98086 | -0.369 | 6.3757
30 | -0.015335 | -0.0038557 | 0.015351 | 0.0038649 | 1.6053e-05 | 9.2642e-06 | 0.023207 | 0.023206 | 0.023207 | 0.98344 | -0.31854 | 0.98456 | -0.29664 | 6.3755
31 | 0.015298 | 0.0038344 | -0.015297 | -0.003834 | 6.9283e-07 | 4.0012e-07 | 0.023208 | 0.023208 | 0.023208 | 0.98086 | -0.369 | 0.98081 | -0.36995 | 6.3757
32 | -0.016807 | -0.00423 | 0.01681 | 0.0042317 | 2.9606e-06 | 1.7392e-06 | 0.025408 | 0.025408 | 0.025408 | 0.98456 | -0.29664 | 0.98475 | -0.29296 | 6.9802
33 | -0.0021252 | -0.00053262 | 0.0021252 | 0.00053244 | 6.0472e-08 | -1.7165e-07 | 0.0031669 | 0.0031668 | 0.0031669 | 0.99855 | -0.027848 | 0.99858 | -0.027251 | 0.87002
34 | -0.018317 | -0.0045904 | 0.018323 | 0.0045939 | 5.9502e-06 | 3.5294e-06 | 0.027294 | 0.027294 | 0.027294 | 0.99858 | -0.027251 | 0.99894 | -0.020434 | 7.4983
35 | 0.018038 | 0.0045236 | -0.018032 | -0.0045202 | 5.7788e-06 | 3.4251e-06 | 0.027015 | 0.027015 | 0.027015 | 0.99356 | -0.12322 | 0.99321 | -0.12994 | 7.4218
36 | 0.018032 | 0.0045202 | -0.018029 | -0.0045184 | 2.9952e-06 | 1.7753e-06 | 0.027015 | 0.027015 | 0.027015 | 0.99321 | -0.12994 | 0.99303 | -0.13343 | 7.4218
37 | 0.010423 | 0.0026124 | -0.010422 | -0.002612 | 7.902e-07 | 3.9937e-07 | 0.015813 | 0.015813 | 0.015813 | 0.98081 | -0.36995 | 0.98073 | -0.37155 | 4.3441
38 | -0.01303 | -0.0032658 | 0.013033 | 0.0032672 | 2.6478e-06 | 1.4661e-06 | 0.019761 | 0.019761 | 0.019761 | 0.98119 | -0.36264 | 0.9814 | -0.35837 | 5.4288
39 | -0.016962 | -0.004252 | 0.016965 | 0.0042538 | 3.1246e-06 | 1.8405e-06 | 0.025718 | 0.025718 | 0.025718 | 0.9814 | -0.35837 | 0.9816 | -0.35451 | 7.0654
40 | 0.020623 | 0.0051726 | -0.020617 | -0.005169 | 5.9951e-06 | 3.6149e-06 | 0.030712 | 0.030712 | 0.030712 | 0.99925 | -0.014334 | 0.99894 | -0.020434 | 8.4373
41 | 0.071997 | 0.018208 | -0.071835 | -0.018105 | 0.00016189 | 0.00010314 | 0.10841 | 0.10841 | 0.10841 | 0.98876 | -0.21522 | 0.98634 | -0.26221 | 29.7825
42 | 0.069838 | 0.017604 | -0.069831 | -0.0176 | 6.5158e-06 | 4.1501e-06 | 0.1054 | 0.1054 | 0.1054 | 0.98634 | -0.26221 | 0.98624 | -0.26416 | 28.9547
43 | 0.067745 | 0.017077 | -0.067686 | -0.01704 | 5.8714e-05 | 3.7386e-05 | 0.10225 | 0.10225 | 0.10225 | 0.98624 | -0.26416 | 0.9853 | -0.28229 | 28.09
44 | 0.023235 | 0.0058457 | -0.023233 | -0.0058443 | 2.2367e-06 | 1.3698e-06 | 0.035098 | 0.035098 | 0.035098 | 0.9853 | -0.28229 | 0.9852 | -0.2843 | 9.6423
45 | 0.044451 | 0.011194 | -0.044438 | -0.011186 | 1.3435e-05 | 8.4972e-06 | 0.06715 | 0.06715 | 0.06715 | 0.9853 | -0.28229 | 0.98498 | -0.28861 | 18.4477
46 | 0.021609 | 0.0054374 | -0.021607 | -0.005436 | 2.3387e-06 | 1.4223e-06 | 0.032646 | 0.032646 | 0.032646 | 0.9852 | -0.2843 | 0.98508 | -0.28657 | 8.9686
47 | 0.027635 | 0.0069319 | -0.027626 | -0.0069266 | 8.4838e-06 | 5.2666e-06 | 0.04188 | 0.04188 | 0.04188 | 0.98193 | -0.34806 | 0.9816 | -0.35451 | 11.5056
48 | 0.010662 | 0.0026728 | -0.010658 | -0.0026712 | 3.1445e-06 | 1.6068e-06 | 0.016162 | 0.016162 | 0.016162 | 0.9816 | -0.35451 | 0.98128 | -0.3607 | 4.4402
49 | -0.018221 | -0.0045854 | 0.018223 | 0.0045865 | 1.886e-06 | 1.1226e-06 | 0.02754 | 0.02754 | 0.02754 | 0.98475 | -0.29296 | 0.98487 | -0.29079 | 7.5659
50 | -0.019593 | -0.0049298 | 0.019597 | 0.0049321 | 3.9537e-06 | 2.3773e-06 | 0.029609 | 0.029609 | 0.029609 | 0.98487 | -0.29079 | 0.98508 | -0.28657 | 8.1344

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22049 | 0.055538

## res_load
| p_mw | q_mvar
0 | 0.0039232 | 0.00098323
1 | 0.012074 | 0.0030261
2 | 0.022854 | 0.0057278
3 | 0.014533 | 0.0036422
4 | 0.0059049 | 0.0014799
5 | 0.0057201 | 0.0014336
6 | 0.0069524 | 0.0017424
7 | 0.0019528 | 0.00048942
8 | 0.0051652 | 0.0012945
9 | 0.0039322 | 0.0009855
10 | 0.0025705 | 0.00064423
11 | 0.016858 | 0.0042249
12 | 0.0018045 | 0.00045225
13 | 0.0014566 | 0.00036507
14 | 0.0021252 | 0.00053262
15 | 0.016191 | 0.0040579
16 | 0.0048744 | 0.0012216
17 | 0.0039304 | 0.00098506
18 | 0.0039291 | 0.00098473
19 | 0.0015476 | 0.00038787
20 | 0.010422 | 0.002612
21 | 0.018029 | 0.0045184
22 | 0.017044 | 0.0042716
23 | 0.0022946 | 0.00057508
24 | 0.0019967 | 0.00050042
25 | 0.0019972 | 0.00050055
26 | 0.0020863 | 0.00052287
27 | 0.0016236 | 0.0004069
28 | 0.0019401 | 0.00048622
29 | 0.0058444 | 0.0014648
30 | 0.010658 | 0.0026712
31 | 0.001411 | 0.00035363
32 | 0.0013697 | 0.00034327
33 | 0.0020102 | 0.00050381

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1