## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-200_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-200_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-200_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-200_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-200_0_3_node_42 | 0.4 | n |  | TRUE
5 | bus_LV_261-200_0_3_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_261-200_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-200_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-200_0_3_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_261-200_0_3_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_261-200_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-200_0_3_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_261-200_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_261-200_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-200_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_261-200_0_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_261-200_0_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_261-200_0_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_261-200_0_3_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_261-200_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_261-200_0_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_261-200_0_3_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_261-200_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_261-200_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_261-200_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_261-200_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_261-200_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_261-200_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_261-200_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_261-200_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_261-200_0_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_261-200_0_3_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_261-200_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_261-200_0_3_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_261-200_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-200_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_261-200_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_261-200_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_261-200_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_261-200_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_261-200_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_261-200_0_3_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_261-200_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_261-200_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_261-200_0_3_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_261-200_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_261-200_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_261-200_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_261-200_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_261-200_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_261-200_0_3_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_261-200_0_3_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_261-200_0_3_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_261-200_0_3_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_261-200_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_261-200_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_261-200_0_3_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_261-200_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_261-200_0_3_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_261-200_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_261-200_0_3_node_60 | 0.4 | n |  | TRUE
61 | bus_MV_469_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-200_0_3_load_0 | 0 | 0.011146 | 0.0027935 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-200_0_3_load_42 | 4 | 0.011413 | 0.0028605 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-200_0_3_load_66 | 5 | 0.0047758 | 0.0011969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-200_0_3_load_65 | 8 | 0.0091901 | 0.0023033 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-200_0_3_load_51 | 9 | 0.0083723 | 0.0020983 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-200_0_3_load_50 | 11 | 0.0012425 | 0.00031139 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-200_0_3_load_37 | 15 | 0.010003 | 0.0025071 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-200_0_3_load_36 | 16 | 0.011419 | 0.0028618 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-200_0_3_load_21 | 17 | 0.0091746 | 0.0022994 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-200_0_3_load_56 | 18 | 0.0013432 | 0.00033663 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-200_0_3_load_49 | 20 | 0.011406 | 0.0028585 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-200_0_3_load_48 | 21 | 0.02116 | 0.0053033 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-200_0_3_load_28 | 25 | 0.016003 | 0.0040107 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-200_0_3_load_46 | 29 | 0.018833 | 0.00472 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-200_0_3_load_44 | 30 | 0.0044781 | 0.0011223 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-200_0_3_load_45 | 31 | 0.026821 | 0.0067219 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-200_0_3_load_63 | 33 | 0.011484 | 0.0028781 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-200_0_3_load_47 | 39 | 0.019988 | 0.0050094 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-200_0_3_load_39 | 40 | 0.01142 | 0.002862 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-200_0_3_load_62 | 41 | 0.0010292 | 0.00025793 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-200_0_3_load_38 | 42 | 0.017391 | 0.0043587 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-200_0_3_load_55 | 44 | 0.0013374 | 0.00033517 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-200_0_3_load_29 | 46 | 0.012253 | 0.0030709 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-200_0_3_load_43 | 47 | 0.0091062 | 0.0022822 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-200_0_3_load_52 | 49 | 0.0052867 | 0.001325 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-200_0_3_load_24 | 51 | 0.011046 | 0.0027684 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-200_0_3_load_27 | 52 | 0.01575 | 0.0039473 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-200_0_3_load_64 | 53 | 0.031458 | 0.007884 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-200_0_3_load_40 | 54 | 0.017285 | 0.0043319 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-200_0_3_load_41 | 55 | 0.015314 | 0.0038379 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-200_0_3_load_61 | 56 | 0.0092142 | 0.0023093 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-200_0_3_load_57 | 57 | 0.0051586 | 0.0012929 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-200_0_3_load_58 | 58 | 0.011061 | 0.002772 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-200_0_3_load_59 | 59 | 0.0092235 | 0.0023116 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-200_0_3_load_60 | 60 | 0.0022429 | 0.00056212 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-200_0_3_line_0 |  | 0 | 1 | 0.037458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-200_0_3_line_1 |  | 1 | 2 | 0.03875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-200_0_3_line_2 |  | 1 | 3 | 0.052874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-200_0_3_line_3 |  | 2 | 4 | 0.022471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-200_0_3_line_4 |  | 3 | 5 | 0.014011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-200_0_3_line_5 |  | 3 | 6 | 0.036013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-200_0_3_line_6 |  | 6 | 7 | 0.05962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-200_0_3_line_7 |  | 6 | 8 | 0.007795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-200_0_3_line_8 |  | 7 | 9 | 0.032036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-200_0_3_line_9 |  | 7 | 10 | 0.063937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-200_0_3_line_10 |  | 7 | 11 | 0.0053017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-200_0_3_line_11 |  | 9 | 41 | 0.026699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-200_0_3_line_12 |  | 10 | 17 | 0.026089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-200_0_3_line_13 |  | 11 | 12 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-200_0_3_line_14 |  | 12 | 13 | 0.05512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-200_0_3_line_15 |  | 13 | 18 | 0.015485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-200_0_3_line_16 |  | 14 | 15 | 0.023444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-200_0_3_line_17 |  | 14 | 16 | 0.047077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-200_0_3_line_18 |  | 15 | 42 | 0.039411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-200_0_3_line_19 |  | 16 | 43 | 0.040225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-200_0_3_line_20 |  | 17 | 35 | 0.026068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-200_0_3_line_21 |  | 18 | 44 | 0.028973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-200_0_3_line_22 |  | 19 | 20 | 0.059279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-200_0_3_line_23 |  | 19 | 21 | 0.019715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-200_0_3_line_24 |  | 20 | 26 | 0.007981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-200_0_3_line_25 |  | 22 | 23 | 0.071602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-200_0_3_line_26 |  | 22 | 24 | 0.014664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-200_0_3_line_27 |  | 22 | 25 | 0.06304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_261-200_0_3_line_28 |  | 23 | 30 | 0.02314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-200_0_3_line_29 |  | 23 | 26 | 0.010708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-200_0_3_line_30 |  | 24 | 28 | 0.040542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-200_0_3_line_31 |  | 24 | 29 | 0.033897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-200_0_3_line_32 |  | 25 | 36 | 0.044699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-200_0_3_line_33 |  | 26 | 27 | 0.043236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-200_0_3_line_34 |  | 27 | 31 | 0.031006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-200_0_3_line_35 |  | 28 | 38 | 0.038756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-200_0_3_line_36 |  | 28 | 39 | 0.03079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-200_0_3_line_37 |  | 30 | 47 | 0.012696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-200_0_3_line_38 |  | 32 | 33 | 0.005278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-200_0_3_line_39 |  | 32 | 34 | 0.043346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-200_0_3_line_40 |  | 34 | 51 | 0.017007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-200_0_3_line_41 |  | 35 | 36 | 0.039318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_261-200_0_3_line_42 |  | 35 | 37 | 0.040181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-200_0_3_line_43 |  | 36 | 52 | 0.021292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_261-200_0_3_line_44 |  | 37 | 53 | 0.042133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-200_0_3_line_45 |  | 37 | 50 | 0.003897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-200_0_3_line_46 |  | 38 | 40 | 0.020349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-200_0_3_line_47 |  | 40 | 54 | 0.034037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-200_0_3_line_48 |  | 40 | 42 | 0.022833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-200_0_3_line_49 |  | 41 | 56 | 0.025498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-200_0_3_line_50 |  | 43 | 45 | 0.061867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-200_0_3_line_51 |  | 43 | 48 | 0.043429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-200_0_3_line_52 |  | 44 | 57 | 0.05249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-200_0_3_line_53 |  | 45 | 46 | 0.012762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-200_0_3_line_54 |  | 48 | 49 | 0.03067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-200_0_3_line_55 |  | 50 | 51 | 0.025934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-200_0_3_line_56 |  | 54 | 55 | 0.039361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-200_0_3_line_57 |  | 56 | 59 | 0.026175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-200_0_3_line_58 |  | 58 | 59 | 0.026758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-200_0_3_line_59 |  | 58 | 60 | 0.021703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-200_0_3_trafo_27 | 0.63 MVA 20/0.4 kV | 61 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2683612.7629 | 1253474.7161 | 2683625.1912 | 1253475.7701 | 2683632.0027 | 1253479.6803 | 2683632.5834 | 1253496.8014
1 | 2683632.8957 | 1253441.5753 | 2683612.7629 | 1253474.7161
2 | 2683599.62 | 1253516.7846 | 2683590.9865 | 1253511.5144 | 2683612.7629 | 1253474.7161
3 | 2683632.8957 | 1253441.5753 | 2683636.018 | 1253444.8997 | 2683636.9289 | 1253447.192 | 2683637.8808 | 1253454.5888 | 2683638.5736 | 1253462.5444
4 | 2683599.62 | 1253516.7846 | 2683605.3613 | 1253517.9332 | 2683613.2336 | 1253515.6537
5 | 2683599.62 | 1253516.7846 | 2683592.2258 | 1253538.1075 | 2683605.01 | 1253542.2688
6 | 2683571.3009 | 1253559.5173 | 2683576.2641 | 1253552.1707 | 2683580.4449 | 1253545.7248 | 2683577.6843 | 1253542.9727 | 2683576.5365 | 1253539.8208 | 2683576.3192 | 1253537.0378 | 2683578.7954 | 1253532.6806 | 2683581.3742 | 1253534.4183 | 2683592.2258 | 1253538.1075 | 2683605.01 | 1253542.2688
7 | 2683605.0447 | 1253534.4745 | 2683605.01 | 1253542.2688
8 | 2683571.3009 | 1253559.5173 | 2683574.4029 | 1253561.6071 | 2683597.4624 | 1253578.006
9 | 2683571.3009 | 1253559.5173 | 2683576.2641 | 1253552.1707 | 2683580.4449 | 1253545.7248 | 2683600.5931 | 1253549.4007 | 2683621.1575 | 1253550.8587 | 2683627.3522 | 1253551.9581
10 | 2683571.3009 | 1253559.5173 | 2683568.3188 | 1253563.9008
11 | 2683619.2206 | 1253593.4795 | 2683597.4624 | 1253578.006
12 | 2683627.3522 | 1253551.9581 | 2683630.8746 | 1253552.5972 | 2683635.116 | 1253553.6134 | 2683640.2592 | 1253554.8981 | 2683652.6946 | 1253558.1235
13 | 2683559.037 | 1253566.0715 | 2683560.5456 | 1253563.4352 | 2683564.5655 | 1253562.5135 | 2683568.3188 | 1253563.9008
14 | 2683559.037 | 1253566.0715 | 2683531.5671 | 1253613.898
15 | 2683531.5671 | 1253613.898 | 2683533.6849 | 1253615.6848 | 2683541.6377 | 1253625.6047
16 | 2683671.2426 | 1253609.3322 | 2683672.9809 | 1253605.932 | 2683692.6042 | 1253606.1718
17 | 2683671.2426 | 1253609.3322 | 2683685.7277 | 1253620.2006 | 2683692.2283 | 1253624.7403 | 2683694.1621 | 1253628.8596 | 2683695.3049 | 1253631.2887 | 2683708.3321 | 1253635.8539
18 | 2683732.014 | 1253606.3394 | 2683707.7985 | 1253606.3575 | 2683692.6042 | 1253606.1718
19 | 2683722.238 | 1253672.2001 | 2683716.1404 | 1253662.64 | 2683715.4448 | 1253649.9317 | 2683711.0321 | 1253645.0212 | 2683708.3321 | 1253635.8539
20 | 2683678.0857 | 1253564.0169 | 2683656.4911 | 1253559.1082 | 2683652.6946 | 1253558.1235
21 | 2683559.7601 | 1253648.2099 | 2683541.6377 | 1253625.6047
22 | 2683708.0892 | 1253422.4895 | 2683709.9581 | 1253424.2728 | 2683714.0104 | 1253427.4658 | 2683719.8723 | 1253431.8297 | 2683726.5936 | 1253435.7165 | 2683732.8271 | 1253438.8736 | 2683759.5328 | 1253451.3532
23 | 2683708.0892 | 1253422.4895 | 2683709.9046 | 1253419.5129 | 2683708.6397 | 1253403.334
24 | 2683766.7633 | 1253454.732 | 2683759.5328 | 1253451.3532
25 | 2683778.643 | 1253530.8129 | 2683776.072 | 1253490.1348 | 2683775.7732 | 1253482.4581 | 2683774.5432 | 1253476.5918 | 2683771.8942 | 1253470.7499 | 2683767.8535 | 1253466.2116 | 2683763.9205 | 1253463.6541
26 | 2683778.643 | 1253530.8129 | 2683783.6376 | 1253530.3276 | 2683784.2409 | 1253539.9545
27 | 2683778.643 | 1253530.8129 | 2683781.3222 | 1253569.7024 | 2683780.5638 | 1253573.1721 | 2683779.0149 | 1253574.9182 | 2683777.0807 | 1253576.1584 | 2683774.7446 | 1253576.4701 | 2683762.4556 | 1253576.2517 | 2683761.2314 | 1253576.1694
28 | 2683763.9205 | 1253463.6541 | 2683757.1603 | 1253477.9915 | 2683757.3665 | 1253485.2777 | 2683757.3665 | 1253485.2777
29 | 2683763.9205 | 1253463.6541 | 2683762.5448 | 1253462.7562 | 2683764.9486 | 1253458.1867 | 2683766.7633 | 1253454.732
30 | 2683784.2409 | 1253539.9545 | 2683786.492 | 1253576.0358 | 2683790.4337 | 1253577.9708
31 | 2683784.2409 | 1253539.9545 | 2683806.1528 | 1253537.9074 | 2683811.029 | 1253535.1298 | 2683817.2689 | 1253534.4415
32 | 2683716.8286 | 1253571.2919 | 2683734.4565 | 1253573.8874 | 2683743.398 | 1253574.9702 | 2683761.2314 | 1253576.1694
33 | 2683766.7633 | 1253454.732 | 2683764.9486 | 1253458.1867 | 2683779.635 | 1253466.0447 | 2683785.0462 | 1253458.5267 | 2683789.8341 | 1253445.9961
34 | 2683789.8341 | 1253445.9961 | 2683795.95 | 1253454.2666 | 2683800.145 | 1253474.5569
35 | 2683754.976 | 1253585.9755 | 2683761.3489 | 1253586.2102 | 2683770.5046 | 1253586.551 | 2683779.918 | 1253586.2839 | 2683785.9811 | 1253583.3453 | 2683789.1475 | 1253580.3433 | 2683790.4337 | 1253577.9708
36 | 2683790.4337 | 1253577.9708 | 2683793.0709 | 1253579.3091 | 2683805.6349 | 1253578.2194 | 2683820.7043 | 1253576.0703
37 | 2683744.6928 | 1253486.0214 | 2683757.3665 | 1253485.2777
38 | 2683710.1648 | 1253477.9607 | 2683709.9526 | 1253472.687
39 | 2683710.1648 | 1253477.9607 | 2683675.9054 | 1253480.701 | 2683669.5207 | 1253487.1713
40 | 2683669.5207 | 1253487.1713 | 2683670.5601 | 1253504.1464
41 | 2683716.8286 | 1253571.2919 | 2683709.0047 | 1253570.1472 | 2683691.341 | 1253566.8729 | 2683678.0857 | 1253564.0169
42 | 2683682.2875 | 1253524.0683 | 2683681.2824 | 1253537.5198 | 2683678.5316 | 1253560.2314 | 2683678.0857 | 1253564.0169
43 | 2683716.8286 | 1253571.2919 | 2683721.8366 | 1253564.5242 | 2683722.7323 | 1253562.0128 | 2683720.4529 | 1253555.1198 | 2683719.7309 | 1253552.2629
44 | 2683682.2875 | 1253524.0683 | 2683724.455 | 1253521.3064
45 | 2683682.2875 | 1253524.0683 | 2683682.6969 | 1253520.1934
46 | 2683754.976 | 1253585.9755 | 2683754.8466 | 1253606.3224
47 | 2683754.8466 | 1253606.3224 | 2683757.1556 | 1253606.3217 | 2683788.8832 | 1253606.2984
48 | 2683754.8466 | 1253606.3224 | 2683732.014 | 1253606.3394
49 | 2683639.6272 | 1253608.7577 | 2683627.7962 | 1253599.5781 | 2683619.2206 | 1253593.4795
50 | 2683767.7166 | 1253679.593 | 2683765.9418 | 1253687.7074 | 2683761.7656 | 1253692.7521 | 2683755.4469 | 1253694.5642 | 2683745.0994 | 1253691.0041 | 2683722.238 | 1253672.2001
51 | 2683699.9787 | 1253709.5249 | 2683722.238 | 1253672.2001
52 | 2683559.7601 | 1253648.2099 | 2683587.1257 | 1253682.3444 | 2683592.094 | 1253689.5349
53 | 2683767.7166 | 1253679.593 | 2683767.2055 | 1253666.8416
54 | 2683699.9787 | 1253709.5249 | 2683673.7072 | 1253725.3502
55 | 2683682.6969 | 1253520.1934 | 2683671.4519 | 1253518.7112 | 2683670.5601 | 1253504.1464
56 | 2683828.2418 | 1253606.6424 | 2683799.7367 | 1253606.2905 | 2683788.8832 | 1253606.2984
57 | 2683659.3186 | 1253625.995 | 2683655.0132 | 1253622.0459 | 2683640.9626 | 1253609.7939 | 2683639.6272 | 1253608.7577
58 | 2683677.938 | 1253645.1626 | 2683668.1013 | 1253634.0509 | 2683659.3186 | 1253625.995
59 | 2683677.938 | 1253645.1626 | 2683692.3241 | 1253661.4132

## bus_geodata
| x | y | coords
0 | 2683632.5834 | 1253496.8014
1 | 2683612.7629 | 1253474.7161
2 | 2683632.8957 | 1253441.5753
3 | 2683599.62 | 1253516.7846
4 | 2683638.5736 | 1253462.5444
5 | 2683613.2336 | 1253515.6537
6 | 2683605.01 | 1253542.2688
7 | 2683571.3009 | 1253559.5173
8 | 2683605.0447 | 1253534.4745
9 | 2683597.4624 | 1253578.006
10 | 2683627.3522 | 1253551.9581
11 | 2683568.3188 | 1253563.9008
12 | 2683559.037 | 1253566.0715
13 | 2683531.5671 | 1253613.898
14 | 2683671.2426 | 1253609.3322
15 | 2683692.6042 | 1253606.1718
16 | 2683708.3321 | 1253635.8539
17 | 2683652.6946 | 1253558.1235
18 | 2683541.6377 | 1253625.6047
19 | 2683708.0892 | 1253422.4895
20 | 2683759.5328 | 1253451.3532
21 | 2683708.6397 | 1253403.334
22 | 2683778.643 | 1253530.8129
23 | 2683763.9205 | 1253463.6541
24 | 2683784.2409 | 1253539.9546
25 | 2683761.2314 | 1253576.1694
26 | 2683766.7633 | 1253454.732
27 | 2683789.8341 | 1253445.9961
28 | 2683790.4337 | 1253577.9708
29 | 2683817.2689 | 1253534.4415
30 | 2683757.3665 | 1253485.2777
31 | 2683800.145 | 1253474.5569
32 | 2683710.1648 | 1253477.9607
33 | 2683709.9526 | 1253472.687
34 | 2683669.5207 | 1253487.1713
35 | 2683678.0857 | 1253564.0169
36 | 2683716.8286 | 1253571.2919
37 | 2683682.2875 | 1253524.0683
38 | 2683754.976 | 1253585.9755
39 | 2683820.7043 | 1253576.0703
40 | 2683754.8466 | 1253606.3224
41 | 2683619.2206 | 1253593.4795
42 | 2683732.014 | 1253606.3394
43 | 2683722.238 | 1253672.2001
44 | 2683559.7601 | 1253648.2099
45 | 2683767.7166 | 1253679.593
46 | 2683767.2055 | 1253666.8415
47 | 2683744.6928 | 1253486.0214
48 | 2683699.9787 | 1253709.5249
49 | 2683673.7072 | 1253725.3502
50 | 2683682.6969 | 1253520.1934
51 | 2683670.5601 | 1253504.1464
52 | 2683719.7309 | 1253552.2629
53 | 2683724.455 | 1253521.3064
54 | 2683788.8832 | 1253606.2984
55 | 2683828.2418 | 1253606.6424
56 | 2683639.6272 | 1253608.7577
57 | 2683592.094 | 1253689.5349
58 | 2683677.938 | 1253645.1626
59 | 2683659.3186 | 1253625.995
60 | 2683692.3241 | 1253661.4132
61 | 2683716.8286 | 1253571.2919

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98088 | -0.36813 | 0.011146 | 0.0027935
1 | 0.98126 | -0.36057 | 0 | 0
2 | 0.98085 | -0.36858 | 0 | 0
3 | 0.98236 | -0.339 | 0 | 0
4 | 0.98062 | -0.37323 | 0.011413 | 0.0028605
5 | 0.9823 | -0.34021 | 0.0047758 | 0.0011969
6 | 0.98327 | -0.32124 | 0 | 0
7 | 0.98529 | -0.28205 | 0 | 0
8 | 0.98321 | -0.32253 | 0.0091901 | 0.0023033
9 | 0.98407 | -0.30575 | 0.0083723 | 0.0020983
10 | 0.99041 | -0.18296 | 0 | 0
11 | 0.98524 | -0.28292 | 0.0012425 | 0.00031139
12 | 0.98516 | -0.28449 | 0 | 0
13 | 0.98476 | -0.29225 | 0 | 0
14 | 0.97293 | -0.52181 | 0 | 0
15 | 0.97356 | -0.50931 | 0.010003 | 0.0025071
16 | 0.97165 | -0.54695 | 0.011419 | 0.0028618
17 | 0.9925 | -0.14282 | 0.0091746 | 0.0022994
18 | 0.98465 | -0.29444 | 0.0013432 | 0.00033663
19 | 0.98134 | -0.35785 | 0 | 0
20 | 0.9825 | -0.33517 | 0.011406 | 0.0028585
21 | 0.98096 | -0.3654 | 0.02116 | 0.0053033
22 | 0.98816 | -0.22528 | 0 | 0
23 | 0.98333 | -0.31901 | 0 | 0
24 | 0.98626 | -0.26179 | 0 | 0
25 | 0.99437 | -0.10664 | 0.016003 | 0.0040107
26 | 0.98274 | -0.33048 | 0 | 0
27 | 0.98167 | -0.35143 | 0 | 0
28 | 0.98172 | -0.34964 | 0 | 0
29 | 0.98567 | -0.27323 | 0.018833 | 0.00472
30 | 0.98304 | -0.32468 | 0.0044781 | 0.0011223
31 | 0.9809 | -0.36648 | 0.026821 | 0.0067219
32 | 0.99158 | -0.16113 | 0 | 0
33 | 0.99152 | -0.1622 | 0.011484 | 0.0028781
34 | 0.99203 | -0.1523 | 0 | 0
35 | 0.99481 | -0.098668 | 0 | 0
36 | 0.99752 | -0.046895 | 0 | 0
37 | 0.99282 | -0.13695 | 0 | 0
38 | 0.9781 | -0.42026 | 0 | 0
39 | 0.98115 | -0.36077 | 0.019988 | 0.0050094
40 | 0.97619 | -0.45754 | 0.01142 | 0.002862
41 | 0.98326 | -0.32151 | 0.0010292 | 0.00025793
42 | 0.97499 | -0.48111 | 0.017391 | 0.0043587
43 | 0.97099 | -0.55999 | 0 | 0
44 | 0.98448 | -0.29782 | 0.0013374 | 0.00033517
45 | 0.97029 | -0.57401 | 0 | 0
46 | 0.97014 | -0.57691 | 0.012253 | 0.0030709
47 | 0.98293 | -0.32676 | 0.0091062 | 0.0022822
48 | 0.97078 | -0.56423 | 0 | 0
49 | 0.97063 | -0.56723 | 0.0052867 | 0.001325
50 | 0.99274 | -0.13851 | 0 | 0
51 | 0.99221 | -0.14885 | 0.011046 | 0.0027684
52 | 1 | 0 | -0.38605 | -0.098774
53 | 0.99161 | -0.16042 | 0.031458 | 0.007884
54 | 0.97516 | -0.47786 | 0.017285 | 0.0043319
55 | 0.9746 | -0.48891 | 0.015314 | 0.0038379
56 | 0.98251 | -0.33611 | 0.0092142 | 0.0023093
57 | 0.98423 | -0.30269 | 0.0051586 | 0.0012929
58 | 0.98164 | -0.3532 | 0.011061 | 0.002772
59 | 0.98197 | -0.34676 | 0.0092235 | 0.0023116
60 | 0.9816 | -0.35408 | 0.0022429 | 0.00056212
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011146 | -0.0027935 | 0.01115 | 0.0027956 | 4.0161e-06 | 2.0973e-06 | 0.016909 | 0.016909 | 0.016909 | 0.98088 | -0.36813 | 0.98126 | -0.36057 | 4.6453
1 | 0.01142 | 0.0028641 | -0.011416 | -0.0028618 | 4.3585e-06 | 2.3002e-06 | 0.017319 | 0.017319 | 0.017319 | 0.98126 | -0.36057 | 0.98085 | -0.36858 | 4.7579
2 | -0.02257 | -0.0056597 | 0.022594 | 0.0056739 | 2.3229e-05 | 1.4198e-05 | 0.034228 | 0.034227 | 0.034228 | 0.98126 | -0.36057 | 0.98236 | -0.339 | 9.4032
3 | 0.011416 | 0.0028618 | -0.011413 | -0.0028605 | 2.5275e-06 | 1.3341e-06 | 0.017319 | 0.017319 | 0.017319 | 0.98085 | -0.36858 | 0.98062 | -0.37323 | 4.758
4 | 0.004776 | 0.0011969 | -0.0047758 | -0.0011969 | 2.7498e-07 | -1.3869e-09 | 0.0072344 | 0.0072345 | 0.0072345 | 0.98236 | -0.339 | 0.9823 | -0.34021 | 1.9875
5 | -0.02737 | -0.0068708 | 0.027393 | 0.0068852 | 2.3216e-05 | 1.4402e-05 | 0.041462 | 0.041462 | 0.041462 | 0.98236 | -0.339 | 0.98327 | -0.32124 | 11.3906
6 | -0.036584 | -0.0091887 | 0.036652 | 0.0092318 | 6.8545e-05 | 4.3111e-05 | 0.05537 | 0.05537 | 0.05537 | 0.98327 | -0.32124 | 0.98529 | -0.28205 | 15.2116
7 | 0.0091907 | 0.0023035 | -0.0091901 | -0.0023033 | 5.6547e-07 | 2.6304e-07 | 0.013909 | 0.013909 | 0.013909 | 0.98327 | -0.32124 | 0.98321 | -0.32253 | 3.821
8 | 0.041252 | 0.010379 | -0.041205 | -0.01035 | 4.665e-05 | 2.9448e-05 | 0.062314 | 0.062314 | 0.062314 | 0.98529 | -0.28205 | 0.98407 | -0.30575 | 17.1193
9 | -0.086992 | -0.021889 | 0.087406 | 0.022153 | 0.00041404 | 0.00026417 | 0.13141 | 0.13141 | 0.13141 | 0.98529 | -0.28205 | 0.99041 | -0.18296 | 36.1017
10 | 0.0090885 | 0.0022784 | -0.0090882 | -0.0022782 | 3.7457e-07 | 1.7221e-07 | 0.013726 | 0.013726 | 0.013726 | 0.98529 | -0.28205 | 0.98524 | -0.28292 | 3.7709
11 | 0.032833 | 0.0082513 | -0.032808 | -0.0082359 | 2.4686e-05 | 1.546e-05 | 0.049655 | 0.049655 | 0.049655 | 0.98407 | -0.30575 | 0.98326 | -0.32151 | 13.6414
12 | -0.087406 | -0.022153 | 0.087575 | 0.022261 | 0.00016895 | 0.00010779 | 0.13141 | 0.13141 | 0.13141 | 0.99041 | -0.18296 | 0.9925 | -0.14282 | 36.1016
13 | 0.0078457 | 0.0019668 | -0.0078451 | -0.0019666 | 5.8779e-07 | 2.3404e-07 | 0.01185 | 0.01185 | 0.01185 | 0.98524 | -0.28292 | 0.98516 | -0.28449 | 3.2554
14 | 0.0078451 | 0.0019666 | -0.0078422 | -0.0019654 | 2.9024e-06 | 1.156e-06 | 0.01185 | 0.01185 | 0.01185 | 0.98516 | -0.28449 | 0.98476 | -0.29225 | 3.2555
15 | 0.0078422 | 0.0019654 | -0.0078414 | -0.0019651 | 8.1541e-07 | 3.2487e-07 | 0.01185 | 0.01185 | 0.01185 | 0.98476 | -0.29225 | 0.98465 | -0.29444 | 3.2555
16 | -0.029016 | -0.0072915 | 0.029033 | 0.0073023 | 1.7319e-05 | 1.0793e-05 | 0.044384 | 0.044384 | 0.044384 | 0.97293 | -0.52181 | 0.97356 | -0.50931 | 12.1935
17 | 0.029016 | 0.0072915 | -0.028981 | -0.0072698 | 3.4778e-05 | 2.1674e-05 | 0.044384 | 0.044385 | 0.044385 | 0.97293 | -0.52181 | 0.97165 | -0.54695 | 12.1936
18 | -0.039037 | -0.0098094 | 0.039089 | 0.0098426 | 5.2628e-05 | 3.3191e-05 | 0.059674 | 0.059674 | 0.059674 | 0.97356 | -0.50931 | 0.97499 | -0.48111 | 16.3939
19 | 0.017562 | 0.004408 | -0.017552 | -0.0044015 | 1.0914e-05 | 6.4868e-06 | 0.026898 | 0.026898 | 0.026898 | 0.97165 | -0.54695 | 0.97099 | -0.55999 | 7.3896
20 | -0.09675 | -0.024561 | 0.096956 | 0.024692 | 0.00020599 | 0.0001315 | 0.14516 | 0.14516 | 0.14516 | 0.9925 | -0.14282 | 0.99481 | -0.098668 | 39.8804
21 | 0.0064982 | 0.0016284 | -0.0064972 | -0.0016281 | 1.0478e-06 | 3.0211e-07 | 0.0098201 | 0.0098203 | 0.0098203 | 0.98465 | -0.29444 | 0.98448 | -0.29782 | 2.6979
22 | -0.021168 | -0.0053079 | 0.021191 | 0.0053218 | 2.2903e-05 | 1.3908e-05 | 0.032098 | 0.032098 | 0.032098 | 0.98134 | -0.35785 | 0.9825 | -0.33517 | 8.8182
23 | 0.021168 | 0.0053079 | -0.02116 | -0.0053033 | 7.617e-06 | 4.6259e-06 | 0.032098 | 0.032098 | 0.032098 | 0.98134 | -0.35785 | 0.98096 | -0.3654 | 8.8182
24 | -0.032597 | -0.0081804 | 0.032604 | 0.0081849 | 7.2954e-06 | 4.5679e-06 | 0.049372 | 0.049372 | 0.049372 | 0.9825 | -0.33517 | 0.98274 | -0.33048 | 13.5637
25 | 0.073421 | 0.018573 | -0.073092 | -0.018363 | 0.00032858 | 0.00020938 | 0.11062 | 0.11062 | 0.11062 | 0.98816 | -0.22528 | 0.98333 | -0.31901 | 30.3906
26 | 0.14073 | 0.035859 | -0.14048 | -0.035701 | 0.00024743 | 0.00015817 | 0.21212 | 0.21212 | 0.21212 | 0.98816 | -0.22528 | 0.98626 | -0.26179 | 58.2752
27 | -0.21415 | -0.054431 | 0.21538 | 0.055218 | 0.0012312 | 0.00078634 | 0.32274 | 0.32274 | 0.32274 | 0.98816 | -0.22528 | 0.99437 | -0.10664 | 44.3328
28 | 0.013589 | 0.003407 | -0.013585 | -0.003405 | 3.6695e-06 | 2.055e-06 | 0.020564 | 0.020564 | 0.020564 | 0.98333 | -0.31901 | 0.98304 | -0.32468 | 5.6494
29 | 0.059503 | 0.014956 | -0.059471 | -0.014935 | 3.2569e-05 | 2.0708e-05 | 0.090058 | 0.090058 | 0.090058 | 0.98333 | -0.31901 | 0.98274 | -0.33048 | 24.7413
30 | 0.12163 | 0.030975 | -0.12112 | -0.030647 | 0.000513 | 0.0003278 | 0.18369 | 0.18369 | 0.18369 | 0.98626 | -0.26179 | 0.98172 | -0.34964 | 50.4646
31 | 0.018843 | 0.0047261 | -0.018833 | -0.00472 | 1.0275e-05 | 6.1436e-06 | 0.028431 | 0.028431 | 0.028431 | 0.98626 | -0.26179 | 0.98567 | -0.27323 | 7.8108
32 | -0.23138 | -0.059228 | 0.23205 | 0.059656 | 0.00067156 | 0.00042805 | 0.34669 | 0.34669 | 0.34669 | 0.99437 | -0.10664 | 0.99752 | -0.046895 | 31.7481
33 | 0.026867 | 0.0067505 | -0.02684 | -0.0067338 | 2.684e-05 | 1.663e-05 | 0.040686 | 0.040687 | 0.040687 | 0.98274 | -0.33048 | 0.98167 | -0.35143 | 11.1776
34 | 0.02684 | 0.0067338 | -0.026821 | -0.0067219 | 1.9248e-05 | 1.1927e-05 | 0.040687 | 0.040687 | 0.040687 | 0.98167 | -0.35143 | 0.9809 | -0.36648 | 11.1777
35 | 0.10112 | 0.025631 | -0.10078 | -0.025413 | 0.0003419 | 0.00021833 | 0.15338 | 0.15338 | 0.15338 | 0.98172 | -0.34964 | 0.9781 | -0.42026 | 42.1368
36 | 0.019998 | 0.0050158 | -0.019988 | -0.0050094 | 1.061e-05 | 6.4014e-06 | 0.030313 | 0.030314 | 0.030314 | 0.98172 | -0.34964 | 0.98115 | -0.36077 | 8.3279
37 | 0.0091071 | 0.0022827 | -0.0091062 | -0.0022822 | 9.0474e-07 | 4.181e-07 | 0.013785 | 0.013785 | 0.013785 | 0.98304 | -0.32468 | 0.98293 | -0.32676 | 3.7872
38 | 0.011484 | 0.0028784 | -0.011484 | -0.0028781 | 5.8785e-07 | 3.0815e-07 | 0.017234 | 0.017234 | 0.017234 | 0.99158 | -0.16113 | 0.99152 | -0.1622 | 4.7346
39 | -0.011484 | -0.0028784 | 0.011489 | 0.0028809 | 4.8277e-06 | 2.5303e-06 | 0.017234 | 0.017234 | 0.017234 | 0.99158 | -0.16113 | 0.99203 | -0.1523 | 4.7346
40 | -0.011489 | -0.0028809 | 0.011491 | 0.0028819 | 1.8941e-06 | 9.9263e-07 | 0.017234 | 0.017234 | 0.017234 | 0.99203 | -0.1523 | 0.99221 | -0.14885 | 4.7345
41 | -0.1511 | -0.038319 | 0.15147 | 0.038559 | 0.0003771 | 0.00024032 | 0.22617 | 0.22617 | 0.22617 | 0.99481 | -0.098668 | 0.99752 | -0.046895 | 31.0672
42 | 0.054141 | 0.013627 | -0.054043 | -0.013564 | 9.8871e-05 | 6.2757e-05 | 0.081004 | 0.081005 | 0.081005 | 0.99481 | -0.098668 | 0.99282 | -0.13695 | 22.254
43 | -0.38353 | -0.098216 | 0.3844 | 0.098774 | 0.00087343 | 0.00055816 | 0.57286 | 0.57286 | 0.57286 | 0.99752 | -0.046895 | 1 | 0 | 52.4594
44 | 0.031493 | 0.007906 | -0.031458 | -0.007884 | 3.5207e-05 | 2.1989e-05 | 0.047205 | 0.047205 | 0.047205 | 0.99282 | -0.13695 | 0.99161 | -0.16042 | 12.9685
45 | 0.02255 | 0.0056581 | -0.022548 | -0.0056571 | 1.6695e-06 | 1.0181e-06 | 0.033799 | 0.033799 | 0.033799 | 0.99282 | -0.13695 | 0.99274 | -0.13851 | 9.2856
46 | 0.10078 | 0.025413 | -0.1006 | -0.025298 | 0.00017951 | 0.00011463 | 0.15338 | 0.15338 | 0.15338 | 0.9781 | -0.42026 | 0.97619 | -0.45754 | 42.1368
47 | 0.032638 | 0.0081943 | -0.032606 | -0.0081745 | 3.1598e-05 | 1.9797e-05 | 0.049755 | 0.049755 | 0.049755 | 0.97619 | -0.45754 | 0.97516 | -0.47786 | 13.6691
48 | 0.056544 | 0.014242 | -0.05648 | -0.014201 | 6.3644e-05 | 4.0447e-05 | 0.086216 | 0.086216 | 0.086216 | 0.97619 | -0.45754 | 0.97499 | -0.48111 | 23.6857
49 | 0.031779 | 0.007978 | -0.031757 | -0.0079641 | 2.2119e-05 | 1.3833e-05 | 0.048097 | 0.048097 | 0.048097 | 0.98326 | -0.32151 | 0.98251 | -0.33611 | 13.2136
50 | 0.012263 | 0.0030763 | -0.012255 | -0.0030719 | 8.1945e-06 | 4.4798e-06 | 0.018794 | 0.018794 | 0.018794 | 0.97099 | -0.55999 | 0.97029 | -0.57401 | 5.1632
51 | 0.0052885 | 0.0013252 | -0.0052874 | -0.0013251 | 1.0697e-06 | 1.4754e-07 | 0.0081044 | 0.0081046 | 0.0081046 | 0.97099 | -0.55999 | 0.97078 | -0.56423 | 2.2265
52 | 0.0051598 | 0.001293 | -0.0051586 | -0.0012929 | 1.1972e-06 | 9.8991e-08 | 0.0077989 | 0.0077991 | 0.0077991 | 0.98448 | -0.29782 | 0.98423 | -0.30269 | 2.1426
53 | 0.012255 | 0.0030719 | -0.012253 | -0.0030709 | 1.6904e-06 | 9.2423e-07 | 0.018794 | 0.018794 | 0.018794 | 0.97029 | -0.57401 | 0.97014 | -0.57691 | 5.1632
54 | 0.0052874 | 0.0013251 | -0.0052867 | -0.001325 | 7.5545e-07 | 1.0435e-07 | 0.0081046 | 0.0081047 | 0.0081047 | 0.97078 | -0.56423 | 0.97063 | -0.56723 | 2.2266
55 | 0.022548 | 0.0056571 | -0.022537 | -0.0056503 | 1.111e-05 | 6.7755e-06 | 0.033799 | 0.0338 | 0.0338 | 0.99274 | -0.13851 | 0.99221 | -0.14885 | 9.2856
56 | 0.015322 | 0.0038426 | -0.015314 | -0.0038379 | 8.0688e-06 | 4.6732e-06 | 0.023381 | 0.023381 | 0.023381 | 0.97516 | -0.47786 | 0.9746 | -0.48891 | 6.4233
57 | 0.022543 | 0.0056548 | -0.022531 | -0.0056478 | 1.1442e-05 | 6.9916e-06 | 0.034142 | 0.034143 | 0.034143 | 0.98251 | -0.33611 | 0.98197 | -0.34676 | 9.3798
58 | -0.013303 | -0.0033339 | 0.013308 | 0.0033362 | 4.0806e-06 | 2.2732e-06 | 0.020166 | 0.020166 | 0.020166 | 0.98164 | -0.3532 | 0.98197 | -0.34676 | 5.5401
59 | 0.002243 | 0.00056191 | -0.0022429 | -0.00056212 | 9.4083e-08 | -2.1415e-07 | 0.0033999 | 0.0034 | 0.0034 | 0.98164 | -0.3532 | 0.9816 | -0.35408 | 0.93407

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4018 | 0.10272

## res_load
| p_mw | q_mvar
0 | 0.011146 | 0.0027935
1 | 0.011413 | 0.0028605
2 | 0.0047758 | 0.0011969
3 | 0.0091901 | 0.0023033
4 | 0.0083723 | 0.0020983
5 | 0.0012425 | 0.00031139
6 | 0.010003 | 0.0025071
7 | 0.011419 | 0.0028618
8 | 0.0091746 | 0.0022994
9 | 0.0013432 | 0.00033663
10 | 0.011406 | 0.0028585
11 | 0.02116 | 0.0053033
12 | 0.016003 | 0.0040107
13 | 0.018833 | 0.00472
14 | 0.0044781 | 0.0011223
15 | 0.026821 | 0.0067219
16 | 0.011484 | 0.0028781
17 | 0.019988 | 0.0050094
18 | 0.01142 | 0.002862
19 | 0.0010292 | 0.00025793
20 | 0.017391 | 0.0043587
21 | 0.0013374 | 0.00033517
22 | 0.012253 | 0.0030709
23 | 0.0091062 | 0.0022822
24 | 0.0052867 | 0.001325
25 | 0.011046 | 0.0027684
26 | 0.01575 | 0.0039473
27 | 0.031458 | 0.007884
28 | 0.017285 | 0.0043319
29 | 0.015314 | 0.0038379
30 | 0.0092142 | 0.0023093
31 | 0.0051586 | 0.0012929
32 | 0.011061 | 0.002772
33 | 0.0092235 | 0.0023116
34 | 0.0022429 | 0.00056212

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1