## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-22_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_261-22_0_4_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_261-22_0_4_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_261-22_0_4_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_261-22_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-22_0_4_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_261-22_0_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_261-22_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-22_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-22_0_4_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_261-22_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-22_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-22_0_4_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_261-22_0_4_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_261-22_0_4_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_261-22_0_4_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_261-22_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-22_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_261-22_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_261-22_0_4_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_261-22_0_4_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_261-22_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-22_0_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_261-22_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_261-22_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_261-22_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_261-22_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_261-22_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_261-22_0_4_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_261-22_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_261-22_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_261-22_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_261-22_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_261-22_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_261-22_0_4_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_261-22_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_261-22_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_261-22_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_261-22_0_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_261-22_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_261-22_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_261-22_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_261-22_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_261-22_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_MV_525_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-22_0_4_load_0 | 0 | 0.077257 | 0.019362 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-22_0_4_load_43 | 5 | 0.014252 | 0.0035718 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-22_0_4_load_49 | 8 | 0.0077932 | 0.0019532 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-22_0_4_load_31 | 11 | 0.0067497 | 0.0016916 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-22_0_4_load_40 | 14 | 0.0065518 | 0.001642 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-22_0_4_load_38 | 15 | 0.015674 | 0.0039284 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-22_0_4_load_36 | 16 | 0.011633 | 0.0029155 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-22_0_4_load_41 | 17 | 0.0076458 | 0.0019162 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-22_0_4_load_52 | 21 | 0.073178 | 0.01834 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-22_0_4_load_48 | 22 | 0.012607 | 0.0031597 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-22_0_4_load_51 | 24 | 0.025114 | 0.0062942 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-22_0_4_load_44 | 27 | 0.0050573 | 0.0012675 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-22_0_4_load_45 | 30 | 0.010034 | 0.0025148 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-22_0_4_load_32 | 32 | 0.038052 | 0.0095368 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-22_0_4_load_47 | 33 | 0.015105 | 0.0037857 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-22_0_4_load_29 | 34 | 0.011204 | 0.002808 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-22_0_4_load_50 | 36 | 0.013169 | 0.0033005 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-22_0_4_load_34 | 37 | 0.015469 | 0.003877 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-22_0_4_load_35 | 38 | 0.013455 | 0.0033721 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-22_0_4_load_39 | 39 | 0.0035131 | 0.00088047 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-22_0_4_load_42 | 40 | 0.036323 | 0.0091035 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-22_0_4_load_46 | 41 | 0.028436 | 0.0071266 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-22_0_4_load_37 | 42 | 0.028094 | 0.007041 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-22_0_4_load_28 | 43 | 0.021082 | 0.0052836 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-22_0_4_load_33 | 44 | 0.069851 | 0.017506 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-22_0_4_load_30 | 45 | 0.020017 | 0.0050168 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-22_0_4_line_0 |  | 0 | 1 | 0.027546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-22_0_4_line_1 |  | 1 | 2 | 0.035491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-22_0_4_line_2 |  | 2 | 3 | 0.049256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-22_0_4_line_3 |  | 2 | 4 | 0.0058921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_261-22_0_4_line_4 |  | 2 | 5 | 0.009684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_261-22_0_4_line_5 |  | 3 | 22 | 0.047597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-22_0_4_line_6 |  | 4 | 33 | 0.03063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-22_0_4_line_7 |  | 4 | 34 | 0.011886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-22_0_4_line_8 |  | 5 | 40 | 0.032545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-22_0_4_line_9 |  | 6 | 7 | 0.002407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-22_0_4_line_10 |  | 6 | 8 | 0.016204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-22_0_4_line_11 |  | 7 | 37 | 0.008358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-22_0_4_line_12 |  | 7 | 31 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-22_0_4_line_13 |  | 8 | 23 | 0.0036194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_261-22_0_4_line_14 |  | 9 | 10 | 0.0073267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-22_0_4_line_15 |  | 9 | 11 | 0.0093425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-22_0_4_line_16 |  | 10 | 17 | 0.008332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-22_0_4_line_17 |  | 12 | 13 | 0.029966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-22_0_4_line_18 |  | 12 | 14 | 0.00445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-22_0_4_line_19 |  | 13 | 15 | 0.01959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-22_0_4_line_20 |  | 13 | 16 | 0.035358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-22_0_4_line_21 |  | 14 | 17 | 0.013495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-22_0_4_line_22 |  | 14 | 39 | 0.0030295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-22_0_4_line_23 |  | 16 | 42 | 0.0086954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-22_0_4_line_24 |  | 17 | 28 | 0.004638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-22_0_4_line_25 |  | 18 | 19 | 0.0098499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_261-22_0_4_line_26 |  | 18 | 20 | 0.050686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-22_0_4_line_27 |  | 18 | 21 | 0.026149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_261-22_0_4_line_28 |  | 19 | 23 | 0.013245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_261-22_0_4_line_29 |  | 19 | 24 | 0.0063753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-22_0_4_line_30 |  | 20 | 30 | 0.02627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-22_0_4_line_31 |  | 21 | 29 | 0.026181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-22_0_4_line_32 |  | 24 | 41 | 0.0024597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-22_0_4_line_33 |  | 25 | 26 | 0.034594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-22_0_4_line_34 |  | 25 | 27 | 0.0037988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-22_0_4_line_35 |  | 26 | 35 | 0.008757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_261-22_0_4_line_36 |  | 26 | 36 | 0.020611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_261-22_0_4_line_37 |  | 28 | 29 | 0.005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-22_0_4_line_38 |  | 31 | 32 | 0.037286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-22_0_4_line_39 |  | 33 | 36 | 0.019665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_261-22_0_4_line_40 |  | 34 | 43 | 0.018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-22_0_4_line_41 |  | 35 | 38 | 0.0051222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-22_0_4_line_42 |  | 37 | 44 | 0.034308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_261-22_0_4_line_43 |  | 38 | 44 | 0.035475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_261-22_0_4_line_44 |  | 43 | 45 | 0.0051382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-22_0_4_trafo_42 | 0.63 MVA 20/0.4 kV | 46 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2682004.934 | 1248061.8565 | 2682028.7284 | 1248047.9776
1 | 2681977.2195 | 1248067.0216 | 2681999.7413 | 1248053.9567 | 2682004.934 | 1248061.8565
2 | 2681974.5546 | 1248031.4475 | 2681981.4137 | 1248041.1939 | 2681970.6477 | 1248047.4385 | 2681971.1076 | 1248062.2335 | 2681974.7223 | 1248068.4659 | 2681977.2195 | 1248067.0216
3 | 2681977.2195 | 1248067.0216 | 2681974.7223 | 1248068.4659 | 2681972.1479 | 1248070.0203
4 | 2681977.2195 | 1248067.0216 | 2681982.471 | 1248075.158
5 | 2681974.5546 | 1248031.4475 | 2681980.282 | 1248030.1813 | 2682003.2108 | 1248016.6439 | 2682006.3425 | 1248011.9282 | 2682005.9443 | 1248004.684 | 2682005.1407 | 1248002.6488
6 | 2681972.1479 | 1248070.0203 | 2681945.4698 | 1248085.07
7 | 2681972.1479 | 1248070.0203 | 2681976.8186 | 1248077.9907 | 2681978.224 | 1248080.2353
8 | 2681982.471 | 1248075.158 | 2682000.1199 | 1248102.5025
9 | 2681958.9324 | 1248179.6516 | 2681960.2946 | 1248181.6385
10 | 2681960.2946 | 1248181.6385 | 2681973.4034 | 1248172.1127
11 | 2681958.9324 | 1248179.6516 | 2681954.196 | 1248172.7652
12 | 2681948.1764 | 1248186.2856 | 2681953.6609 | 1248182.9145 | 2681958.9324 | 1248179.6516
13 | 2681976.3314 | 1248169.985 | 2681973.4034 | 1248172.1127
14 | 2682015.9528 | 1248140.4889 | 2682018.564 | 1248138.4458 | 2682021.725 | 1248135.9766
15 | 2682015.9528 | 1248140.4889 | 2682010.9946 | 1248132.5706
16 | 2682028.3658 | 1248130.9202 | 2682021.725 | 1248135.9766
17 | 2682041.7523 | 1248126.3243 | 2682045.2674 | 1248131.0097 | 2682064.4347 | 1248116.3864
18 | 2682039.1209 | 1248122.7297 | 2682041.7523 | 1248126.3243
19 | 2682075.8831 | 1248132.301 | 2682074.4055 | 1248130.4681 | 2682064.4347 | 1248116.3864
20 | 2682064.4347 | 1248116.3864 | 2682092.5081 | 1248094.8911
21 | 2682028.3658 | 1248130.9202 | 2682039.1209 | 1248122.7297
22 | 2682039.1209 | 1248122.7297 | 2682041.5309 | 1248120.894
23 | 2682099.4121 | 1248089.6049 | 2682092.5081 | 1248094.8911
24 | 2682031.1008 | 1248134.672 | 2682028.3658 | 1248130.9202
25 | 2681987.0065 | 1248162.1045 | 2681989.654 | 1248166.1775 | 2681992.3754 | 1248170.3626
26 | 2682020.8479 | 1248209.7075 | 2682016.4532 | 1248209.1019 | 2681992.0792 | 1248173.2162 | 2681992.3754 | 1248170.3626
27 | 2681992.3754 | 1248170.3626 | 2682013.2002 | 1248154.5489
28 | 2681976.3314 | 1248169.985 | 2681979.2535 | 1248167.8571 | 2681980.9777 | 1248166.6023 | 2681987.0065 | 1248162.1045
29 | 2681987.0065 | 1248162.1045 | 2681992.1147 | 1248158.29
30 | 2682020.8479 | 1248209.7075 | 2682041.9046 | 1248193.9995
31 | 2682034.0508 | 1248138.7157 | 2682013.2002 | 1248154.5489
32 | 2681994.0855 | 1248156.8183 | 2681992.1147 | 1248158.29
33 | 2681910.4625 | 1248075.6499 | 2681912.3372 | 1248080.446 | 2681901.7514 | 1248091.6969 | 2681905.126 | 1248094.5345 | 2681907.5055 | 1248098.8817 | 2681909.7226 | 1248102.9486
34 | 2681910.4625 | 1248075.6499 | 2681908.8199 | 1248072.2245
35 | 2681911.748 | 1248111.0492 | 2681910.4544 | 1248109.0187 | 2681909.6217 | 1248106.9724 | 2681909.211 | 1248104.4426 | 2681909.7226 | 1248102.9486
36 | 2681909.7226 | 1248102.9486 | 2681915.534 | 1248099.4263 | 2681922.9837 | 1248095.404 | 2681928.2521 | 1248094.4794
37 | 2682031.1008 | 1248134.672 | 2682034.0508 | 1248138.7157
38 | 2681948.1764 | 1248186.2856 | 2681926.9898 | 1248155.6041
39 | 2681928.2521 | 1248094.4794 | 2681929.033 | 1248094.3424 | 2681945.4698 | 1248085.07
40 | 2681978.224 | 1248080.2353 | 2681988.2783 | 1248096.2923
41 | 2681911.748 | 1248111.0492 | 2681914.6508 | 1248115.2695
42 | 2681954.196 | 1248172.7652 | 2681934.7541 | 1248144.4982
43 | 2681914.6508 | 1248115.2695 | 2681934.7541 | 1248144.4982
44 | 2681991.0052 | 1248100.6471 | 2681988.2783 | 1248096.2923

## bus_geodata
| x | y | coords
0 | 2682028.7284 | 1248047.9776
1 | 2682004.934 | 1248061.8565
2 | 2681977.2195 | 1248067.0216
3 | 2681974.5546 | 1248031.4475
4 | 2681972.1479 | 1248070.0203
5 | 2681982.471 | 1248075.158
6 | 2681960.2946 | 1248181.6385
7 | 2681958.9324 | 1248179.6516
8 | 2681973.4034 | 1248172.1127
9 | 2682015.9528 | 1248140.4889
10 | 2682021.725 | 1248135.9766
11 | 2682010.9946 | 1248132.5706
12 | 2682041.7523 | 1248126.3243
13 | 2682064.4347 | 1248116.3864
14 | 2682039.1209 | 1248122.7297
15 | 2682075.8831 | 1248132.301
16 | 2682092.5081 | 1248094.8911
17 | 2682028.3658 | 1248130.9202
18 | 2681992.3754 | 1248170.3626
19 | 2681987.0065 | 1248162.1045
20 | 2682020.8479 | 1248209.7075
21 | 2682013.2002 | 1248154.5489
22 | 2682005.1407 | 1248002.6488
23 | 2681976.3314 | 1248169.985
24 | 2681992.1147 | 1248158.29
25 | 2681910.4625 | 1248075.6499
26 | 2681909.7226 | 1248102.9486
27 | 2681908.8199 | 1248072.2245
28 | 2682031.1008 | 1248134.672
29 | 2682034.0508 | 1248138.7157
30 | 2682041.9046 | 1248193.9995
31 | 2681948.1764 | 1248186.2856
32 | 2681926.9898 | 1248155.6041
33 | 2681945.4698 | 1248085.07
34 | 2681978.224 | 1248080.2353
35 | 2681911.748 | 1248111.0492
36 | 2681928.2521 | 1248094.4794
37 | 2681954.196 | 1248172.7652
38 | 2681914.6508 | 1248115.2695
39 | 2682041.5309 | 1248120.894
40 | 2682000.1199 | 1248102.5025
41 | 2681994.0855 | 1248156.8183
42 | 2682099.4121 | 1248089.6049
43 | 2681988.2783 | 1248096.2923
44 | 2681934.7541 | 1248144.4982
45 | 2681991.0052 | 1248100.6471
46 | 2682021.725 | 1248135.9766

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9902 | -0.18752 | 0.077257 | 0.019362
1 | 0.99215 | -0.14976 | 0 | 0
2 | 0.99466 | -0.10134 | 0 | 0
3 | 0.99409 | -0.11229 | 0 | 0
4 | 0.99405 | -0.11294 | 0 | 0
5 | 0.99586 | -0.07847 | 0.014252 | 0.0035718
6 | 0.98089 | -0.36643 | 0 | 0
7 | 0.98102 | -0.36398 | 0 | 0
8 | 0.98005 | -0.38291 | 0.0077932 | 0.0019532
9 | 0.97419 | -0.4976 | 0 | 0
10 | 0.97424 | -0.49669 | 0 | 0
11 | 0.97413 | -0.49876 | 0.0067497 | 0.0016916
12 | 0.97323 | -0.51643 | 0 | 0
13 | 0.97168 | -0.54703 | 0 | 0
14 | 0.97346 | -0.51189 | 0.0065518 | 0.001642
15 | 0.9714 | -0.5527 | 0.015674 | 0.0039284
16 | 0.97037 | -0.57299 | 0.011633 | 0.0029155
17 | 0.97429 | -0.49566 | 0.0076458 | 0.0019162
18 | 0.97882 | -0.4068 | 0 | 0
19 | 0.9792 | -0.3995 | 0 | 0
20 | 0.97835 | -0.41606 | 0 | 0
21 | 0.97696 | -0.44327 | 0.073178 | 0.01834
22 | 0.99354 | -0.12288 | 0.012607 | 0.0031597
23 | 0.97986 | -0.38647 | 0 | 0
24 | 0.97888 | -0.40571 | 0.025114 | 0.0062942
25 | 0.9876 | -0.23633 | 0 | 0
26 | 0.98776 | -0.23321 | 0 | 0
27 | 0.98759 | -0.23668 | 0.0050573 | 0.0012675
28 | 0.97463 | -0.48886 | 0 | 0
29 | 0.97501 | -0.48153 | 0 | 0
30 | 0.97811 | -0.42086 | 0.010034 | 0.0025148
31 | 0.98057 | -0.3727 | 0 | 0
32 | 0.97926 | -0.39845 | 0.038052 | 0.0095368
33 | 0.99125 | -0.16639 | 0.015105 | 0.0037857
34 | 0.99348 | -0.12391 | 0.011204 | 0.002808
35 | 0.98703 | -0.24735 | 0 | 0
36 | 0.98952 | -0.19955 | 0.013169 | 0.0033005
37 | 0.98153 | -0.35405 | 0.015469 | 0.003877
38 | 0.9866 | -0.25563 | 0.013455 | 0.0033721
39 | 0.97345 | -0.51209 | 0.0035131 | 0.00088047
40 | 1 | 0 | -0.56148 | -0.14372
41 | 0.97882 | -0.40698 | 0.028436 | 0.0071266
42 | 0.97014 | -0.57752 | 0.028094 | 0.007041
43 | 0.99277 | -0.13767 | 0.021082 | 0.0052836
44 | 0.98374 | -0.31102 | 0.069851 | 0.017506
45 | 0.99267 | -0.13949 | 0.020017 | 0.0050168
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.077257 | -0.019362 | 0.077396 | 0.019451 | 0.00013923 | 8.8754e-05 | 0.1161 | 0.1161 | 0.1161 | 0.9902 | -0.18752 | 0.99215 | -0.14976 | 31.8951
1 | -0.077396 | -0.019451 | 0.077576 | 0.019566 | 0.00017939 | 0.00011435 | 0.1161 | 0.1161 | 0.1161 | 0.99215 | -0.14976 | 0.99466 | -0.10134 | 31.895
2 | 0.01262 | 0.0031668 | -0.012614 | -0.0031632 | 6.5852e-06 | 3.5756e-06 | 0.018882 | 0.018882 | 0.018882 | 0.99466 | -0.10134 | 0.99409 | -0.11229 | 5.1873
3 | 0.45266 | 0.11568 | -0.4524 | -0.11552 | 0.0002539 | 0.00016219 | 0.67797 | 0.67797 | 0.67797 | 0.99466 | -0.10134 | 0.99405 | -0.11294 | 46.5641
4 | -0.54285 | -0.13841 | 0.54345 | 0.1388 | 0.00060001 | 0.0003835 | 0.81295 | 0.81295 | 0.81295 | 0.99466 | -0.10134 | 0.99586 | -0.07847 | 55.8346
5 | 0.012614 | 0.0031632 | -0.012607 | -0.0031597 | 6.3636e-06 | 3.456e-06 | 0.018882 | 0.018882 | 0.018882 | 0.99409 | -0.11229 | 0.99354 | -0.12288 | 5.1874
6 | 0.40004 | 0.10237 | -0.39901 | -0.10171 | 0.0010324 | 0.00065913 | 0.59959 | 0.59959 | 0.59959 | 0.99405 | -0.11294 | 0.99125 | -0.16639 | 41.1806
7 | 0.052359 | 0.013144 | -0.052332 | -0.013126 | 2.7387e-05 | 1.7374e-05 | 0.078385 | 0.078385 | 0.078385 | 0.99405 | -0.11294 | 0.99348 | -0.12391 | 21.5344
8 | -0.5577 | -0.14237 | 0.55983 | 0.14372 | 0.0021235 | 0.0013573 | 0.83425 | 0.83425 | 0.83425 | 0.99586 | -0.07847 | 1 | 0 | 57.2972
9 | -0.22552 | -0.056946 | 0.22555 | 0.056962 | 2.6436e-05 | 1.6797e-05 | 0.34227 | 0.34227 | 0.34227 | 0.98089 | -0.36643 | 0.98102 | -0.36398 | 23.5076
10 | 0.22552 | 0.056946 | -0.22534 | -0.056833 | 0.00017797 | 0.00011308 | 0.34227 | 0.34227 | 0.34227 | 0.98089 | -0.36643 | 0.98005 | -0.38291 | 23.5076
11 | -0.26366 | -0.066539 | 0.26379 | 0.066619 | 0.00012543 | 7.9852e-05 | 0.40009 | 0.40009 | 0.40009 | 0.98102 | -0.36398 | 0.98153 | -0.35405 | 27.4789
12 | 0.038115 | 0.0095762 | -0.038099 | -0.0095662 | 1.5844e-05 | 9.9807e-06 | 0.057821 | 0.057822 | 0.057822 | 0.98102 | -0.36398 | 0.98057 | -0.3727 | 15.885
13 | 0.21755 | 0.054879 | -0.21751 | -0.054856 | 3.705e-05 | 2.353e-05 | 0.33044 | 0.33044 | 0.33044 | 0.98005 | -0.38291 | 0.97986 | -0.38647 | 22.695
14 | -0.00675 | -0.0016917 | 0.0067503 | 0.0016918 | 2.9206e-07 | 9.5693e-08 | 0.01031 | 0.01031 | 0.01031 | 0.97419 | -0.4976 | 0.97424 | -0.49669 | 2.8325
15 | 0.00675 | 0.0016917 | -0.0067497 | -0.0016916 | 3.7242e-07 | 1.2204e-07 | 0.01031 | 0.01031 | 0.01031 | 0.97419 | -0.4976 | 0.97413 | -0.49876 | 2.8325
16 | -0.0067503 | -0.0016918 | 0.0067507 | 0.001692 | 3.3214e-07 | 1.0881e-07 | 0.01031 | 0.01031 | 0.01031 | 0.97424 | -0.49669 | 0.97429 | -0.49566 | 2.8325
17 | 0.055542 | 0.013974 | -0.055461 | -0.013922 | 8.1074e-05 | 5.1515e-05 | 0.084939 | 0.08494 | 0.08494 | 0.97323 | -0.51643 | 0.97168 | -0.54703 | 23.335
18 | -0.055542 | -0.013974 | 0.055554 | 0.013981 | 1.204e-05 | 7.65e-06 | 0.084939 | 0.084939 | 0.084939 | 0.97323 | -0.51643 | 0.97346 | -0.51189 | 23.335
19 | 0.015679 | 0.0039309 | -0.015674 | -0.0039284 | 4.2352e-06 | 2.4679e-06 | 0.024011 | 0.024011 | 0.024011 | 0.97168 | -0.54703 | 0.9714 | -0.5527 | 6.5963
20 | 0.039782 | 0.0099913 | -0.039733 | -0.0099602 | 4.9223e-05 | 3.1065e-05 | 0.060929 | 0.060929 | 0.060929 | 0.97168 | -0.54703 | 0.97037 | -0.57299 | 16.7388
21 | -0.065619 | -0.016504 | 0.06567 | 0.016536 | 5.0935e-05 | 3.2431e-05 | 0.10032 | 0.10032 | 0.10032 | 0.97346 | -0.51189 | 0.97429 | -0.49566 | 27.5617
22 | 0.0035132 | 0.00088046 | -0.0035131 | -0.00088047 | 3.2762e-08 | -1.6695e-08 | 0.0053701 | 0.0053702 | 0.0053702 | 0.97346 | -0.51189 | 0.97345 | -0.51209 | 1.4753
23 | 0.0281 | 0.0070447 | -0.028094 | -0.007041 | 6.0546e-06 | 3.7675e-06 | 0.043091 | 0.043091 | 0.043091 | 0.97037 | -0.57299 | 0.97014 | -0.57752 | 11.8381
24 | -0.080066 | -0.020144 | 0.080092 | 0.020161 | 2.602e-05 | 1.6595e-05 | 0.12231 | 0.12231 | 0.12231 | 0.97429 | -0.49566 | 0.97463 | -0.48886 | 33.6022
25 | -0.16375 | -0.041302 | 0.16381 | 0.041338 | 5.7269e-05 | 3.6157e-05 | 0.24903 | 0.24903 | 0.24903 | 0.97882 | -0.4068 | 0.9792 | -0.3995 | 17.104
26 | 0.010041 | 0.0025182 | -0.010037 | -0.002516 | 4.4291e-06 | 2.1978e-06 | 0.015265 | 0.015265 | 0.015265 | 0.97882 | -0.4068 | 0.97835 | -0.41606 | 4.1937
27 | 0.15371 | 0.038783 | -0.15344 | -0.038613 | 0.00026793 | 0.00017082 | 0.23377 | 0.23377 | 0.23377 | 0.97882 | -0.4068 | 0.97696 | -0.44327 | 32.1112
28 | -0.21738 | -0.05477 | 0.21751 | 0.054856 | 0.00013558 | 8.6106e-05 | 0.33044 | 0.33044 | 0.33044 | 0.9792 | -0.3995 | 0.97986 | -0.38647 | 22.695
29 | 0.053567 | 0.013432 | -0.053552 | -0.013422 | 1.5843e-05 | 1.0059e-05 | 0.081405 | 0.081405 | 0.081405 | 0.9792 | -0.3995 | 0.97888 | -0.40571 | 22.3641
30 | 0.010037 | 0.002516 | -0.010034 | -0.0025148 | 2.2956e-06 | 1.1394e-06 | 0.015265 | 0.015265 | 0.015265 | 0.97835 | -0.41606 | 0.97811 | -0.42086 | 4.1938
31 | 0.080267 | 0.020273 | -0.08012 | -0.020179 | 0.00014688 | 9.3674e-05 | 0.12231 | 0.12231 | 0.12231 | 0.97696 | -0.44327 | 0.97501 | -0.48153 | 33.6022
32 | 0.028437 | 0.0071277 | -0.028436 | -0.0071266 | 1.7236e-06 | 1.0722e-06 | 0.043228 | 0.043228 | 0.043228 | 0.97888 | -0.40571 | 0.97882 | -0.40698 | 11.8759
33 | -0.0050574 | -0.0012675 | 0.0050581 | 0.0012675 | 7.5322e-07 | 3.9319e-08 | 0.0076199 | 0.0076197 | 0.0076199 | 0.9876 | -0.23633 | 0.98776 | -0.23321 | 2.0934
34 | 0.0050574 | 0.0012675 | -0.0050573 | -0.0012675 | 8.2714e-08 | 4.3276e-09 | 0.0076199 | 0.0076199 | 0.0076199 | 0.9876 | -0.23633 | 0.98759 | -0.23668 | 2.0934
35 | 0.36447 | 0.092586 | -0.36422 | -0.092428 | 0.00024788 | 0.0001582 | 0.54949 | 0.54949 | 0.54949 | 0.98776 | -0.23321 | 0.98703 | -0.24735 | 37.7399
36 | -0.36952 | -0.093854 | 0.37012 | 0.094237 | 0.00059972 | 0.00038276 | 0.55711 | 0.55711 | 0.55711 | 0.98776 | -0.23321 | 0.98952 | -0.19955 | 38.2632
37 | -0.080092 | -0.020161 | 0.08012 | 0.020179 | 2.805e-05 | 1.789e-05 | 0.12231 | 0.12231 | 0.12231 | 0.97463 | -0.48886 | 0.97501 | -0.48153 | 33.6022
38 | 0.038099 | 0.0095662 | -0.038052 | -0.0095368 | 4.6747e-05 | 2.9448e-05 | 0.057822 | 0.057822 | 0.057822 | 0.98057 | -0.3727 | 0.97926 | -0.39845 | 15.8851
39 | 0.38391 | 0.097929 | -0.38329 | -0.097537 | 0.0006136 | 0.00039169 | 0.57691 | 0.57691 | 0.57691 | 0.99125 | -0.16639 | 0.98952 | -0.19955 | 39.6233
40 | 0.041128 | 0.010318 | -0.041101 | -0.010301 | 2.6962e-05 | 1.701e-05 | 0.061604 | 0.061604 | 0.061604 | 0.99348 | -0.12391 | 0.99277 | -0.13767 | 16.9242
41 | 0.36422 | 0.092428 | -0.36407 | -0.092336 | 0.00014499 | 9.2535e-05 | 0.54949 | 0.54949 | 0.54949 | 0.98703 | -0.24735 | 0.9866 | -0.25563 | 37.7399
42 | -0.27926 | -0.070496 | 0.27984 | 0.070863 | 0.00057698 | 0.00036753 | 0.42354 | 0.42354 | 0.42354 | 0.98153 | -0.35405 | 0.98374 | -0.31102 | 29.0896
43 | 0.35062 | 0.088964 | -0.34969 | -0.088369 | 0.00093139 | 0.00059428 | 0.5292 | 0.5292 | 0.5292 | 0.9866 | -0.25563 | 0.98374 | -0.31102 | 36.3462
44 | 0.020019 | 0.0050178 | -0.020017 | -0.0050168 | 1.7348e-06 | 1.0438e-06 | 0.030006 | 0.030006 | 0.030006 | 0.99277 | -0.13767 | 0.99267 | -0.13949 | 8.2433

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5978 | 0.15283

## res_load
| p_mw | q_mvar
0 | 0.077257 | 0.019362
1 | 0.014252 | 0.0035718
2 | 0.0077932 | 0.0019532
3 | 0.0067497 | 0.0016916
4 | 0.0065518 | 0.001642
5 | 0.015674 | 0.0039284
6 | 0.011633 | 0.0029155
7 | 0.0076458 | 0.0019162
8 | 0.073178 | 0.01834
9 | 0.012607 | 0.0031597
10 | 0.025114 | 0.0062942
11 | 0.0050573 | 0.0012675
12 | 0.010034 | 0.0025148
13 | 0.038052 | 0.0095368
14 | 0.015105 | 0.0037857
15 | 0.011204 | 0.002808
16 | 0.013169 | 0.0033005
17 | 0.015469 | 0.003877
18 | 0.013455 | 0.0033721
19 | 0.0035131 | 0.00088047
20 | 0.036323 | 0.0091035
21 | 0.028436 | 0.0071266
22 | 0.028094 | 0.007041
23 | 0.021082 | 0.0052836
24 | 0.069851 | 0.017506
25 | 0.020017 | 0.0050168

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1