## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-230_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-230_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-230_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-230_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-230_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-230_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_261-230_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_261-230_0_4_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_261-230_0_4_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_261-230_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-230_0_4_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_261-230_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_261-230_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-230_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_261-230_0_4_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_261-230_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_261-230_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_261-230_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_261-230_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_261-230_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_261-230_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_261-230_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_261-230_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_261-230_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_261-230_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_261-230_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_261-230_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_261-230_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_261-230_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_261-230_0_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_261-230_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_261-230_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_261-230_0_4_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_261-230_0_4_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_261-230_0_4_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_261-230_0_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_261-230_0_4_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_261-230_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_261-230_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_261-230_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_261-230_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_261-230_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_261-230_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_261-230_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_261-230_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_261-230_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_261-230_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_261-230_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_261-230_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_261-230_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_261-230_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_261-230_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_261-230_0_4_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_261-230_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_261-230_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_261-230_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_MV_494_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-230_0_4_load_0 | 0 | 0.078196 | 0.019598 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-230_0_4_load_62 | 7 | 0.027627 | 0.006924 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-230_0_4_load_61 | 8 | 0.0048141 | 0.0012065 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-230_0_4_load_63 | 10 | 0.025232 | 0.0063238 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-230_0_4_load_38 | 14 | 0.025678 | 0.0064356 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-230_0_4_load_18 | 17 | 0.0069047 | 0.0017305 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-230_0_4_load_24 | 18 | 0.0042093 | 0.0010549 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-230_0_4_load_22 | 19 | 0.02626 | 0.0065814 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-230_0_4_load_27 | 22 | 0.0026393 | 0.00066148 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-230_0_4_load_28 | 24 | 0.0016486 | 0.00041318 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-230_0_4_load_26 | 25 | 0.00069856 | 0.00017508 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-230_0_4_load_25 | 26 | 0.015764 | 0.0039508 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-230_0_4_load_29 | 27 | 0.029159 | 0.007308 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-230_0_4_load_37 | 29 | 0.013879 | 0.0034784 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-230_0_4_load_40 | 30 | 0.0063555 | 0.0015928 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-230_0_4_load_23 | 31 | 0.004567 | 0.0011446 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-230_0_4_load_59 | 33 | 0.017767 | 0.0044527 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-230_0_4_load_46 | 34 | 0.0056755 | 0.0014224 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-230_0_4_load_60 | 36 | 0.018107 | 0.0045381 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-230_0_4_load_47 | 37 | 0.00892 | 0.0022356 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-230_0_4_load_34 | 38 | 0.0045213 | 0.0011332 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-230_0_4_load_36 | 39 | 0.004269 | 0.0010699 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-230_0_4_load_32 | 40 | 0.0077436 | 0.0019407 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-230_0_4_load_39 | 41 | 0.0025105 | 0.00062918 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-230_0_4_load_31 | 42 | 0.0086055 | 0.0021567 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-230_0_4_load_33 | 43 | 0.0077803 | 0.0019499 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-230_0_4_load_43 | 45 | 0.009555 | 0.0023947 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-230_0_4_load_41 | 47 | 0.0024429 | 0.00061225 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-230_0_4_load_42 | 48 | 0.0056883 | 0.0014256 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-230_0_4_load_49 | 49 | 0.0018481 | 0.00046317 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-230_0_4_load_48 | 50 | 0.050292 | 0.012604 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-230_0_4_load_45 | 51 | 0.0037251 | 0.00093359 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-230_0_4_load_58 | 53 | 0.0060238 | 0.0015097 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-230_0_4_load_55 | 54 | 0.0038178 | 0.00095683 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-230_0_4_load_56 | 55 | 0.012331 | 0.0030904 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-230_0_4_line_0 |  | 0 | 1 | 0.052863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-230_0_4_line_1 |  | 0 | 2 | 0.059313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-230_0_4_line_2 |  | 1 | 3 | 0.045283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-230_0_4_line_3 |  | 1 | 4 | 0.12155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-230_0_4_line_4 |  | 2 | 5 | 0.029582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-230_0_4_line_5 |  | 2 | 6 | 0.039819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-230_0_4_line_6 |  | 3 | 7 | 0.020661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-230_0_4_line_7 |  | 4 | 8 | 0.032943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-230_0_4_line_8 |  | 5 | 25 | 0.026886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-230_0_4_line_9 |  | 5 | 26 | 0.010959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-230_0_4_line_10 |  | 6 | 27 | 0.0020139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-230_0_4_line_11 |  | 9 | 10 | 0.003007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-230_0_4_line_12 |  | 9 | 11 | 0.074191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-230_0_4_line_13 |  | 11 | 24 | 0.034064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-230_0_4_line_14 |  | 12 | 13 | 0.017453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-230_0_4_line_15 |  | 12 | 14 | 0.033582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-230_0_4_line_16 |  | 13 | 26 | 0.033101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-230_0_4_line_17 |  | 13 | 28 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-230_0_4_line_18 |  | 14 | 29 | 0.042708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-230_0_4_line_19 |  | 15 | 16 | 0.037147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-230_0_4_line_20 |  | 15 | 17 | 0.028242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-230_0_4_line_21 |  | 16 | 18 | 0.057311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-230_0_4_line_22 |  | 16 | 19 | 0.058068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-230_0_4_line_23 |  | 17 | 28 | 0.002676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-230_0_4_line_24 |  | 18 | 30 | 0.031596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-230_0_4_line_25 |  | 19 | 31 | 0.0032656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-230_0_4_line_26 |  | 20 | 21 | 0.020392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-230_0_4_line_27 |  | 20 | 22 | 0.0031441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-230_0_4_line_28 |  | 21 | 25 | 0.018047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-230_0_4_line_29 |  | 22 | 23 | 0.038662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-230_0_4_line_30 |  | 23 | 24 | 0.0048024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-230_0_4_line_31 |  | 29 | 39 | 0.022093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-230_0_4_line_32 |  | 30 | 41 | 0.017799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-230_0_4_line_33 |  | 32 | 33 | 0.021079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-230_0_4_line_34 |  | 32 | 34 | 0.019279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-230_0_4_line_35 |  | 34 | 46 | 0.0141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-230_0_4_line_36 |  | 35 | 36 | 0.0056019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-230_0_4_line_37 |  | 35 | 37 | 0.016817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-230_0_4_line_38 |  | 37 | 44 | 0.013722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-230_0_4_line_39 |  | 38 | 39 | 0.0044197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-230_0_4_line_40 |  | 38 | 40 | 0.017577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-230_0_4_line_41 |  | 40 | 42 | 0.010496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-230_0_4_line_42 |  | 41 | 47 | 0.0025435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-230_0_4_line_43 |  | 42 | 43 | 0.008469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-230_0_4_line_44 |  | 43 | 44 | 0.013632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-230_0_4_line_45 |  | 44 | 45 | 0.013565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-230_0_4_line_46 |  | 45 | 46 | 0.012753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-230_0_4_line_47 |  | 46 | 51 | 0.017536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-230_0_4_line_48 |  | 47 | 48 | 0.0072327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-230_0_4_line_49 |  | 48 | 49 | 0.0030949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-230_0_4_line_50 |  | 49 | 50 | 0.026635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-230_0_4_line_51 |  | 51 | 52 | 0.0077826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-230_0_4_line_52 |  | 52 | 53 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-230_0_4_line_53 |  | 52 | 54 | 0.018993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-230_0_4_line_54 |  | 54 | 55 | 0.038552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-230_0_4_trafo_38 | 0.63 MVA 20/0.4 kV | 56 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2685801.4538 | 1245308.1016 | 2685797.3321 | 1245314.6023 | 2685795.6393 | 1245319.8373 | 2685794.1196 | 1245326.687 | 2685793.2089 | 1245333.7457 | 2685792.8859 | 1245339.8789 | 2685793.8305 | 1245346.6642 | 2685799.9734 | 1245357.5939
1 | 2685818.2753 | 1245408.252 | 2685822.3801 | 1245404.4753 | 2685824.0541 | 1245401.0636 | 2685823.8848 | 1245398.6705 | 2685817.7115 | 1245388.7406 | 2685806.1106 | 1245368.5134 | 2685799.9734 | 1245357.5939
2 | 2685801.4538 | 1245308.1016 | 2685794.0469 | 1245305.0811 | 2685788.0468 | 1245303.0151 | 2685757.3291 | 1245298.3787
3 | 2685801.4538 | 1245308.1016 | 2685811.1951 | 1245298.1018 | 2685813.5128 | 1245292.509 | 2685813.4539 | 1245286.6594 | 2685823.8112 | 1245282.6618 | 2685826.183 | 1245284.2862 | 2685830.4126 | 1245283.3801 | 2685834.7378 | 1245279.5287 | 2685839.3667 | 1245267.7425 | 2685843.7919 | 1245270.5531 | 2685854.2529 | 1245273.4844 | 2685861.2751 | 1245271.2399 | 2685889.0734 | 1245255.7197 | 2685891.403 | 1245252.9626
4 | 2685818.2753 | 1245408.252 | 2685798.7209 | 1245426.9607 | 2685796.5478 | 1245428.3192
5 | 2685783.199 | 1245396.247 | 2685788.7055 | 1245402.1309 | 2685793.9623 | 1245400.7281 | 2685799.6689 | 1245400.0991 | 2685805.1479 | 1245401.0902 | 2685809.9624 | 1245402.5831 | 2685818.2753 | 1245408.252
6 | 2685757.3291 | 1245298.3787 | 2685750.0737 | 1245317.7237
7 | 2685891.403 | 1245252.9626 | 2685910.9757 | 1245257.0378 | 2685923.8543 | 1245258.4021
8 | 2685796.5478 | 1245428.3192 | 2685804.194 | 1245438.2816 | 2685815.088 | 1245447.5872
9 | 2685796.5478 | 1245428.3192 | 2685787.2592 | 1245434.1351
10 | 2685783.199 | 1245396.247 | 2685781.6873 | 1245397.5775
11 | 2685896.4611 | 1245357.5906 | 2685893.8328 | 1245359.0648
12 | 2685892.8015 | 1245381.7443 | 2685901.1664 | 1245390.0827 | 2685904.5111 | 1245383.493 | 2685916.4691 | 1245369.667 | 2685919.9327 | 1245365.3029 | 2685916.429 | 1245358.3581 | 2685911.1321 | 1245361.9952 | 2685908.7234 | 1245362.9166 | 2685905.893 | 1245363.2203 | 2685903.4857 | 1245362.9963 | 2685901.0204 | 1245362.0933 | 2685898.3968 | 1245360.1094 | 2685896.4611 | 1245357.5906
13 | 2685892.8015 | 1245381.7443 | 2685870.2917 | 1245407.3118
14 | 2685763.6883 | 1245456.8651 | 2685750.3488 | 1245445.5639
15 | 2685750.3488 | 1245445.5639 | 2685729.0429 | 1245466.2824 | 2685726.5473 | 1245469.2312
16 | 2685763.6883 | 1245456.8651 | 2685777.8886 | 1245440.0024 | 2685787.2592 | 1245434.1351
17 | 2685763.6883 | 1245456.8651 | 2685774.0489 | 1245465.1432 | 2685779.3098 | 1245469.2
18 | 2685726.5473 | 1245469.2312 | 2685722.0703 | 1245474.521 | 2685715.2822 | 1245485.153 | 2685706.7192 | 1245506.6763
19 | 2685802.8135 | 1245489.2881 | 2685815.5894 | 1245499.3136 | 2685821.925 | 1245504.2867 | 2685825.0317 | 1245506.8224 | 2685818.984 | 1245513.273
20 | 2685802.8135 | 1245489.2881 | 2685781.3441 | 1245470.9387
21 | 2685818.984 | 1245513.273 | 2685816.7827 | 1245515.5317 | 2685808.9234 | 1245525.5143 | 2685804.4234 | 1245529.9747 | 2685786.497 | 1245542.7359 | 2685776.9378 | 1245551.7088
22 | 2685818.984 | 1245513.273 | 2685804.623 | 1245506.2712 | 2685794.1214 | 1245510.8672 | 2685780.2328 | 1245504.1058 | 2685771.1409 | 1245502.1507 | 2685765.2713 | 1245502.5233
23 | 2685779.3098 | 1245469.2 | 2685781.3441 | 1245470.9387
24 | 2685754.3868 | 1245573.8235 | 2685756.9598 | 1245570.9741 | 2685765.9296 | 1245562.0417 | 2685776.9378 | 1245551.7088
25 | 2685762.0122 | 1245502.7302 | 2685765.2713 | 1245502.5233
26 | 2685840.4432 | 1245442.8427 | 2685838.9513 | 1245447.2465 | 2685832.6286 | 1245454.9496 | 2685828.81 | 1245459.3087
27 | 2685840.4432 | 1245442.8427 | 2685841.3431 | 1245440.1871 | 2685841.5679 | 1245439.9318
28 | 2685828.81 | 1245459.3087 | 2685815.088 | 1245447.5872
29 | 2685867.1182 | 1245410.9163 | 2685841.5679 | 1245439.9318
30 | 2685867.1182 | 1245410.9163 | 2685870.2917 | 1245407.3118
31 | 2685706.7192 | 1245506.6763 | 2685698.5523 | 1245527.204
32 | 2685754.3868 | 1245573.8235 | 2685742.458 | 1245587.0335
33 | 2685632.7256 | 1245583.3553 | 2685620.9487 | 1245600.8373
34 | 2685632.7256 | 1245583.3553 | 2685649.6515 | 1245592.5844
35 | 2685662.0312 | 1245599.3346 | 2685649.6515 | 1245592.5844
36 | 2685647.5509 | 1245561.3643 | 2685649.5721 | 1245556.1397
37 | 2685647.5509 | 1245561.3643 | 2685662.2928 | 1245569.4578
38 | 2685674.3212 | 1245576.0616 | 2685662.2928 | 1245569.4578
39 | 2685696.9184 | 1245531.3106 | 2685698.5523 | 1245527.204
40 | 2685696.9184 | 1245531.3106 | 2685693.7584 | 1245539.2597 | 2685689.5446 | 1245547.2381
41 | 2685689.5446 | 1245547.2381 | 2685684.6428 | 1245556.5189
42 | 2685740.7534 | 1245588.9212 | 2685742.458 | 1245587.0335
43 | 2685680.6876 | 1245564.0076 | 2685684.6428 | 1245556.5189
44 | 2685674.3212 | 1245576.0616 | 2685680.6876 | 1245564.0076
45 | 2685674.3212 | 1245576.0616 | 2685667.9867 | 1245588.0571
46 | 2685662.0312 | 1245599.3346 | 2685667.9867 | 1245588.0571
47 | 2685662.0312 | 1245599.3346 | 2685656.5387 | 1245609.7408 | 2685653.6106 | 1245614.7112
48 | 2685735.979 | 1245594.3506 | 2685736.8099 | 1245593.2882 | 2685740.7534 | 1245588.9212
49 | 2685735.979 | 1245594.3506 | 2685734.0722 | 1245596.7884
50 | 2685718.1361 | 1245618.0974 | 2685720.8743 | 1245613.6619 | 2685734.0722 | 1245596.7884
51 | 2685649.6603 | 1245621.4167 | 2685653.6106 | 1245614.7112
52 | 2685649.6603 | 1245621.4167 | 2685637.2246 | 1245614.7644
53 | 2685649.6603 | 1245621.4167 | 2685640.0235 | 1245637.7837
54 | 2685640.0235 | 1245637.7837 | 2685634.3851 | 1245647.3598 | 2685623.9902 | 1245665.0005 | 2685620.0155 | 1245670.7182

## bus_geodata
| x | y | coords
0 | 2685799.9734 | 1245357.5939
1 | 2685801.4538 | 1245308.1016
2 | 2685818.2753 | 1245408.252
3 | 2685757.3291 | 1245298.3787
4 | 2685891.403 | 1245252.9626
5 | 2685796.5478 | 1245428.3192
6 | 2685783.199 | 1245396.247
7 | 2685750.0737 | 1245317.7237
8 | 2685923.8543 | 1245258.4021
9 | 2685896.4611 | 1245357.5906
10 | 2685893.8328 | 1245359.0648
11 | 2685892.8015 | 1245381.7443
12 | 2685750.3488 | 1245445.5639
13 | 2685763.6883 | 1245456.8651
14 | 2685726.5473 | 1245469.2312
15 | 2685802.8135 | 1245489.2881
16 | 2685818.984 | 1245513.273
17 | 2685781.3441 | 1245470.9387
18 | 2685776.9378 | 1245551.7088
19 | 2685765.2713 | 1245502.5233
20 | 2685840.4432 | 1245442.8427
21 | 2685828.81 | 1245459.3087
22 | 2685841.5679 | 1245439.9318
23 | 2685867.1182 | 1245410.9163
24 | 2685870.2917 | 1245407.3118
25 | 2685815.088 | 1245447.5872
26 | 2685787.2592 | 1245434.1351
27 | 2685781.6873 | 1245397.5775
28 | 2685779.3098 | 1245469.2
29 | 2685706.7192 | 1245506.6763
30 | 2685754.3868 | 1245573.8235
31 | 2685762.0122 | 1245502.7302
32 | 2685632.7256 | 1245583.3553
33 | 2685620.9487 | 1245600.8373
34 | 2685649.6515 | 1245592.5844
35 | 2685647.5509 | 1245561.3643
36 | 2685649.5721 | 1245556.1397
37 | 2685662.2928 | 1245569.4578
38 | 2685696.9184 | 1245531.3106
39 | 2685698.5523 | 1245527.204
40 | 2685689.5446 | 1245547.2381
41 | 2685742.458 | 1245587.0335
42 | 2685684.6428 | 1245556.5189
43 | 2685680.6876 | 1245564.0076
44 | 2685674.3212 | 1245576.0616
45 | 2685667.9867 | 1245588.0571
46 | 2685662.0312 | 1245599.3346
47 | 2685740.7534 | 1245588.9212
48 | 2685735.979 | 1245594.3506
49 | 2685734.0722 | 1245596.7884
50 | 2685718.1361 | 1245618.0974
51 | 2685653.6106 | 1245614.7112
52 | 2685649.6603 | 1245621.4167
53 | 2685637.2246 | 1245614.7644
54 | 2685640.0235 | 1245637.7837
55 | 2685620.0155 | 1245670.7182
56 | 2685750.3488 | 1245445.5639

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98271 | -0.33222 | 0.078196 | 0.019598
1 | 0.98112 | -0.36322 | 0 | 0
2 | 0.98877 | -0.21449 | 0 | 0
3 | 0.97996 | -0.3859 | 0 | 0
4 | 0.98058 | -0.37383 | 0 | 0
5 | 0.99259 | -0.14105 | 0 | 0
6 | 0.98771 | -0.23522 | 0 | 0
7 | 0.97944 | -0.39627 | 0.027627 | 0.006924
8 | 0.98043 | -0.37671 | 0.0048141 | 0.0012065
9 | 0.98713 | -0.24672 | 0 | 0
10 | 0.98706 | -0.24808 | 0.025232 | 0.0063238
11 | 0.98885 | -0.21329 | 0 | 0
12 | 0.99693 | -0.058103 | 0 | 0
13 | 0.99534 | -0.088442 | 0 | 0
14 | 1 | 0 | -0.43732 | -0.11154
15 | 0.9903 | -0.18476 | 0 | 0
16 | 0.98672 | -0.25379 | 0 | 0
17 | 0.99302 | -0.13261 | 0.0069047 | 0.0017305
18 | 0.98282 | -0.32934 | 0.0042093 | 0.0010549
19 | 0.98507 | -0.28589 | 0.02626 | 0.0065814
20 | 0.9908 | -0.17556 | 0 | 0
21 | 0.99135 | -0.16488 | 0 | 0
22 | 0.99072 | -0.17721 | 0.0026393 | 0.00066148
23 | 0.98976 | -0.19569 | 0 | 0
24 | 0.98964 | -0.19798 | 0.0016486 | 0.00041318
25 | 0.99184 | -0.15543 | 0.00069856 | 0.00017508
26 | 0.99345 | -0.12458 | 0.015764 | 0.0039508
27 | 0.98765 | -0.23627 | 0.029159 | 0.007308
28 | 0.9933 | -0.12735 | 0 | 0
29 | 0.99479 | -0.099319 | 0.013879 | 0.0034784
30 | 0.98079 | -0.36884 | 0.0063555 | 0.0015928
31 | 0.98505 | -0.28615 | 0.004567 | 0.0011446
32 | 0.98541 | -0.2808 | 0 | 0
33 | 0.98506 | -0.28752 | 0.017767 | 0.0044527
34 | 0.98572 | -0.27465 | 0.0056755 | 0.0014224
35 | 0.98672 | -0.25524 | 0 | 0
36 | 0.98663 | -0.25705 | 0.018107 | 0.0045381
37 | 0.987 | -0.24979 | 0.00892 | 0.0022356
38 | 0.99191 | -0.15464 | 0.0045213 | 0.0011332
39 | 0.99238 | -0.14568 | 0.004269 | 0.0010699
40 | 0.99014 | -0.18897 | 0.0077436 | 0.0019407
41 | 0.97976 | -0.38911 | 0.0025105 | 0.00062918
42 | 0.98915 | -0.20809 | 0.0086055 | 0.0021567
43 | 0.98842 | -0.22223 | 0.0077803 | 0.0019499
44 | 0.98734 | -0.24315 | 0 | 0
45 | 0.98661 | -0.25745 | 0.009555 | 0.0023947
46 | 0.98603 | -0.26873 | 0 | 0
47 | 0.97962 | -0.39189 | 0.0024429 | 0.00061225
48 | 0.97923 | -0.39949 | 0.0056883 | 0.0014256
49 | 0.97908 | -0.40242 | 0.0018481 | 0.00046317
50 | 0.97784 | -0.42681 | 0.050292 | 0.012604
51 | 0.98561 | -0.27687 | 0.0037251 | 0.00093359
52 | 0.98545 | -0.27997 | 0 | 0
53 | 0.98537 | -0.28149 | 0.0060238 | 0.0015097
54 | 0.98517 | -0.28547 | 0.0038178 | 0.00095683
55 | 0.98473 | -0.29402 | 0.012331 | 0.0030904
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.032536 | 0.0081877 | -0.032488 | -0.0081576 | 4.8137e-05 | 3.0139e-05 | 0.049278 | 0.049278 | 0.049278 | 0.98271 | -0.33222 | 0.98112 | -0.36322 | 13.5379
1 | -0.11073 | -0.027785 | 0.11136 | 0.028185 | 0.0006254 | 0.0003995 | 0.16768 | 0.16768 | 0.16768 | 0.98271 | -0.33222 | 0.98877 | -0.21449 | 46.0664
2 | 0.02767 | 0.006951 | -0.027641 | -0.0069324 | 2.9915e-05 | 1.8574e-05 | 0.041972 | 0.041972 | 0.041972 | 0.98112 | -0.36322 | 0.97996 | -0.3859 | 11.5309
3 | 0.0048172 | 0.0012066 | -0.0048148 | -0.0012065 | 2.4329e-06 | 2.2964e-08 | 0.0073057 | 0.0073063 | 0.0073063 | 0.98112 | -0.36322 | 0.98058 | -0.37383 | 2.0072
4 | -0.14055 | -0.035512 | 0.14104 | 0.035829 | 0.00049676 | 0.00031754 | 0.21161 | 0.21161 | 0.21161 | 0.98877 | -0.21449 | 0.99259 | -0.14105 | 58.1354
5 | 0.029189 | 0.0073268 | -0.029161 | -0.0073089 | 2.8819e-05 | 1.7934e-05 | 0.043932 | 0.043932 | 0.043932 | 0.98877 | -0.21449 | 0.98771 | -0.23522 | 12.0692
6 | 0.027641 | 0.0069324 | -0.027627 | -0.006924 | 1.3649e-05 | 8.4753e-06 | 0.041972 | 0.041972 | 0.041972 | 0.97996 | -0.3859 | 0.97944 | -0.39627 | 11.5309
7 | 0.0048148 | 0.0012065 | -0.0048141 | -0.0012065 | 6.5947e-07 | 6.5558e-09 | 0.0073063 | 0.0073064 | 0.0073064 | 0.98058 | -0.37383 | 0.98043 | -0.37671 | 2.0073
8 | 0.030358 | 0.0076595 | -0.030337 | -0.0076465 | 2.0898e-05 | 1.3028e-05 | 0.045528 | 0.045528 | 0.045528 | 0.99259 | -0.14105 | 0.99184 | -0.15543 | 12.5077
9 | -0.1714 | -0.043489 | 0.17154 | 0.043576 | 0.00013587 | 8.6672e-05 | 0.25714 | 0.25714 | 0.25714 | 0.99259 | -0.14105 | 0.99345 | -0.12458 | 35.3215
10 | 0.029161 | 0.0073089 | -0.029159 | -0.007308 | 1.4575e-06 | 9.0705e-07 | 0.043932 | 0.043932 | 0.043932 | 0.98771 | -0.23522 | 0.98765 | -0.23627 | 12.0692
11 | 0.025234 | 0.0063248 | -0.025232 | -0.0063238 | 1.6315e-06 | 1.0057e-06 | 0.038038 | 0.038038 | 0.038038 | 0.98713 | -0.24672 | 0.98706 | -0.24808 | 10.45
12 | -0.025234 | -0.0063248 | 0.025274 | 0.0063496 | 4.0254e-05 | 2.4813e-05 | 0.038038 | 0.038038 | 0.038038 | 0.98713 | -0.24672 | 0.98885 | -0.21329 | 10.45
13 | -0.025274 | -0.0063496 | 0.025292 | 0.006361 | 1.8482e-05 | 1.1391e-05 | 0.038038 | 0.038037 | 0.038038 | 0.98885 | -0.21329 | 0.98964 | -0.19798 | 10.4499
14 | 0.3006 | 0.07678 | -0.30016 | -0.076499 | 0.00044018 | 0.00028104 | 0.44919 | 0.44919 | 0.44919 | 0.99693 | -0.058103 | 0.99534 | -0.088442 | 41.1343
15 | -0.3006 | -0.07678 | 0.30145 | 0.077321 | 0.00084696 | 0.00054074 | 0.44919 | 0.44919 | 0.44919 | 0.99693 | -0.058103 | 1 | 0 | 41.1343
16 | 0.18763 | 0.047734 | -0.1873 | -0.047526 | 0.00032614 | 0.00020744 | 0.28075 | 0.28075 | 0.28075 | 0.99534 | -0.088442 | 0.99345 | -0.12458 | 25.7099
17 | 0.11253 | 0.028766 | -0.11232 | -0.028631 | 0.00021138 | 0.00013503 | 0.16843 | 0.16843 | 0.16843 | 0.99534 | -0.088442 | 0.9933 | -0.12735 | 46.2733
18 | 0.13422 | 0.03422 | -0.13358 | -0.033811 | 0.00064019 | 0.00040916 | 0.19993 | 0.19993 | 0.19993 | 1 | 0 | 0.99479 | -0.099319 | 54.9263
19 | 0.10512 | 0.026713 | -0.10478 | -0.026491 | 0.00034814 | 0.00022233 | 0.15809 | 0.15809 | 0.15809 | 0.9903 | -0.18476 | 0.98672 | -0.25379 | 43.431
20 | -0.10512 | -0.026713 | 0.10539 | 0.026882 | 0.00026469 | 0.00016904 | 0.15809 | 0.15809 | 0.15809 | 0.9903 | -0.18476 | 0.99302 | -0.13261 | 43.4309
21 | 0.073901 | 0.018735 | -0.073633 | -0.018565 | 0.00026729 | 0.00017034 | 0.11152 | 0.11152 | 0.11152 | 0.98672 | -0.25379 | 0.98282 | -0.32934 | 30.6381
22 | 0.030874 | 0.0077555 | -0.030827 | -0.007726 | 4.722e-05 | 2.948e-05 | 0.046567 | 0.046567 | 0.046567 | 0.98672 | -0.25379 | 0.98507 | -0.28589 | 12.7931
23 | -0.11229 | -0.028612 | 0.11232 | 0.028631 | 2.847e-05 | 1.8186e-05 | 0.16843 | 0.16843 | 0.16843 | 0.99302 | -0.13261 | 0.9933 | -0.12735 | 46.2733
24 | 0.069424 | 0.01751 | -0.069293 | -0.017426 | 0.000131 | 8.3442e-05 | 0.10515 | 0.10515 | 0.10515 | 0.98282 | -0.32934 | 0.98079 | -0.36884 | 28.8873
25 | 0.004567 | 0.0011446 | -0.004567 | -0.0011446 | 5.8284e-08 | -4.2703e-09 | 0.0068988 | 0.0068989 | 0.0068989 | 0.98507 | -0.28589 | 0.98505 | -0.28615 | 1.8953
26 | -0.02961 | -0.0074537 | 0.029625 | 0.0074631 | 1.5129e-05 | 9.4201e-06 | 0.04448 | 0.04448 | 0.04448 | 0.9908 | -0.17556 | 0.99135 | -0.16488 | 12.2198
27 | 0.02961 | 0.0074537 | -0.029607 | -0.0074522 | 2.3327e-06 | 1.4524e-06 | 0.04448 | 0.04448 | 0.04448 | 0.9908 | -0.17556 | 0.99072 | -0.17721 | 12.2198
28 | -0.029625 | -0.0074631 | 0.029638 | 0.0074714 | 1.3389e-05 | 8.3365e-06 | 0.04448 | 0.04448 | 0.04448 | 0.99135 | -0.16488 | 0.99184 | -0.15543 | 12.2198
29 | 0.026968 | 0.0067907 | -0.026944 | -0.006776 | 2.3799e-05 | 1.4734e-05 | 0.040516 | 0.040516 | 0.040516 | 0.99072 | -0.17721 | 0.98976 | -0.19569 | 11.1308
30 | 0.026944 | 0.006776 | -0.026941 | -0.0067742 | 2.9563e-06 | 1.8303e-06 | 0.040516 | 0.040516 | 0.040516 | 0.98976 | -0.19569 | 0.98964 | -0.19798 | 11.1308
31 | 0.1197 | 0.030333 | -0.11944 | -0.030163 | 0.00026596 | 0.00016993 | 0.17917 | 0.17917 | 0.17917 | 0.99479 | -0.099319 | 0.99238 | -0.14568 | 49.223
32 | 0.062938 | 0.015834 | -0.062877 | -0.015795 | 6.0883e-05 | 3.8741e-05 | 0.095507 | 0.095507 | 0.095507 | 0.98079 | -0.36884 | 0.97976 | -0.38911 | 26.2383
33 | 0.017772 | 0.0044561 | -0.017767 | -0.0044527 | 5.6934e-06 | 3.3753e-06 | 0.026838 | 0.026838 | 0.026838 | 0.98541 | -0.2808 | 0.98506 | -0.28752 | 7.373
34 | -0.017772 | -0.0044561 | 0.017777 | 0.0044592 | 5.2071e-06 | 3.0869e-06 | 0.026838 | 0.026838 | 0.026838 | 0.98541 | -0.2808 | 0.98572 | -0.27465 | 7.373
35 | -0.023453 | -0.0058816 | 0.02346 | 0.0058857 | 6.6283e-06 | 4.0623e-06 | 0.035405 | 0.035405 | 0.035405 | 0.98572 | -0.27465 | 0.98603 | -0.26873 | 9.7267
36 | 0.018109 | 0.004539 | -0.018107 | -0.0045381 | 1.5667e-06 | 9.3113e-07 | 0.027309 | 0.027309 | 0.027309 | 0.98672 | -0.25524 | 0.98663 | -0.25705 | 7.5025
37 | -0.018109 | -0.004539 | 0.018113 | 0.0045418 | 4.7033e-06 | 2.7952e-06 | 0.027309 | 0.027309 | 0.027309 | 0.98672 | -0.25524 | 0.987 | -0.24979 | 7.5025
38 | -0.027033 | -0.0067774 | 0.027042 | 0.0067827 | 8.5477e-06 | 5.2951e-06 | 0.040757 | 0.040757 | 0.040757 | 0.987 | -0.24979 | 0.98734 | -0.24315 | 11.1969
39 | -0.11512 | -0.029061 | 0.11517 | 0.029093 | 4.9473e-05 | 3.1605e-05 | 0.17277 | 0.17277 | 0.17277 | 0.99191 | -0.15464 | 0.99238 | -0.14568 | 47.4644
40 | 0.1106 | 0.027928 | -0.11042 | -0.027812 | 0.00018161 | 0.000116 | 0.16599 | 0.16599 | 0.16599 | 0.99191 | -0.15464 | 0.99014 | -0.18897 | 45.6011
41 | 0.10267 | 0.025871 | -0.10258 | -0.025812 | 9.3769e-05 | 5.9878e-05 | 0.15435 | 0.15435 | 0.15435 | 0.99014 | -0.18897 | 0.98915 | -0.20809 | 42.404
42 | 0.060366 | 0.015166 | -0.060358 | -0.015161 | 8.0195e-06 | 5.1004e-06 | 0.091695 | 0.091695 | 0.091695 | 0.97976 | -0.38911 | 0.97962 | -0.39189 | 25.1908
43 | 0.093974 | 0.023655 | -0.09391 | -0.023614 | 6.3503e-05 | 4.0533e-05 | 0.1414 | 0.1414 | 0.1414 | 0.98915 | -0.20809 | 0.98842 | -0.22223 | 38.8475
44 | 0.08613 | 0.021664 | -0.086044 | -0.021609 | 8.5984e-05 | 5.4855e-05 | 0.12969 | 0.12969 | 0.12969 | 0.98842 | -0.22223 | 0.98734 | -0.24315 | 35.6297
45 | 0.059002 | 0.014827 | -0.058962 | -0.014801 | 4.0236e-05 | 2.5577e-05 | 0.088935 | 0.088936 | 0.088936 | 0.98734 | -0.24315 | 0.98661 | -0.25745 | 24.4328
46 | 0.049407 | 0.012406 | -0.04938 | -0.01239 | 2.6562e-05 | 1.6837e-05 | 0.074524 | 0.074524 | 0.074524 | 0.98661 | -0.25745 | 0.98603 | -0.26873 | 20.4738
47 | 0.02592 | 0.006504 | -0.02591 | -0.0064978 | 1.0063e-05 | 6.2168e-06 | 0.039119 | 0.039119 | 0.039119 | 0.98603 | -0.26873 | 0.98561 | -0.27687 | 10.7471
48 | 0.057915 | 0.014548 | -0.057894 | -0.014535 | 2.0996e-05 | 1.3347e-05 | 0.087984 | 0.087984 | 0.087984 | 0.97962 | -0.39189 | 0.97923 | -0.39949 | 24.1714
49 | 0.052206 | 0.013109 | -0.052199 | -0.013105 | 7.3057e-06 | 4.6367e-06 | 0.07934 | 0.07934 | 0.07934 | 0.97923 | -0.39949 | 0.97908 | -0.40242 | 21.7967
50 | 0.050351 | 0.012641 | -0.050292 | -0.012604 | 5.85e-05 | 3.7106e-05 | 0.076531 | 0.076532 | 0.076532 | 0.97908 | -0.40242 | 0.97784 | -0.42681 | 21.0252
51 | 0.022185 | 0.0055642 | -0.022182 | -0.0055622 | 3.2744e-06 | 1.9964e-06 | 0.033495 | 0.033495 | 0.033495 | 0.98561 | -0.27687 | 0.98545 | -0.27997 | 9.202
52 | 0.0060242 | 0.0015098 | -0.0060238 | -0.0015097 | 4.3762e-07 | 1.0041e-07 | 0.0090965 | 0.0090965 | 0.0090965 | 0.98545 | -0.27997 | 0.98537 | -0.28149 | 2.4991
53 | 0.016158 | 0.0040524 | -0.016153 | -0.0040499 | 4.2401e-06 | 2.4717e-06 | 0.024399 | 0.024399 | 0.024399 | 0.98545 | -0.27997 | 0.98517 | -0.28547 | 6.703
54 | 0.012336 | 0.0030931 | -0.012331 | -0.0030904 | 5.0191e-06 | 2.7216e-06 | 0.018633 | 0.018633 | 0.018633 | 0.98517 | -0.28547 | 0.98473 | -0.29402 | 5.1189

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.463 | 0.11798

## res_load
| p_mw | q_mvar
0 | 0.078196 | 0.019598
1 | 0.027627 | 0.006924
2 | 0.0048141 | 0.0012065
3 | 0.025232 | 0.0063238
4 | 0.025678 | 0.0064356
5 | 0.0069047 | 0.0017305
6 | 0.0042093 | 0.0010549
7 | 0.02626 | 0.0065814
8 | 0.0026393 | 0.00066148
9 | 0.0016486 | 0.00041318
10 | 0.00069856 | 0.00017508
11 | 0.015764 | 0.0039508
12 | 0.029159 | 0.007308
13 | 0.013879 | 0.0034784
14 | 0.0063555 | 0.0015928
15 | 0.004567 | 0.0011446
16 | 0.017767 | 0.0044527
17 | 0.0056755 | 0.0014224
18 | 0.018107 | 0.0045381
19 | 0.00892 | 0.0022356
20 | 0.0045213 | 0.0011332
21 | 0.004269 | 0.0010699
22 | 0.0077436 | 0.0019407
23 | 0.0025105 | 0.00062918
24 | 0.0086055 | 0.0021567
25 | 0.0077803 | 0.0019499
26 | 0.009555 | 0.0023947
27 | 0.0024429 | 0.00061225
28 | 0.0056883 | 0.0014256
29 | 0.0018481 | 0.00046317
30 | 0.050292 | 0.012604
31 | 0.0037251 | 0.00093359
32 | 0.0060238 | 0.0015097
33 | 0.0038178 | 0.00095683
34 | 0.012331 | 0.0030904

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1