## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-233_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-233_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-233_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-233_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-233_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-233_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_261-233_0_3_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_261-233_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_261-233_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_261-233_0_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_261-233_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-233_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_261-233_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_261-233_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-233_0_3_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_261-233_0_3_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_261-233_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_261-233_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-233_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_261-233_0_3_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_261-233_0_3_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_261-233_0_3_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_261-233_0_3_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_261-233_0_3_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_261-233_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_261-233_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_261-233_0_3_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_261-233_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_261-233_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_261-233_0_3_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_261-233_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_261-233_0_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_261-233_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_261-233_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_261-233_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_261-233_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_261-233_0_3_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_261-233_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_261-233_0_3_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_261-233_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_261-233_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_261-233_0_3_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_261-233_0_3_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_261-233_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_261-233_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_261-233_0_3_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_261-233_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_261-233_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_261-233_0_3_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_261-233_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_261-233_0_3_node_17 | 0.4 | n |  | TRUE
51 | bus_LV_261-233_0_3_node_20 | 0.4 | n |  | TRUE
52 | bus_LV_261-233_0_3_node_21 | 0.4 | n |  | TRUE
53 | bus_LV_261-233_0_3_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_261-233_0_3_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_261-233_0_3_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_261-233_0_3_node_24 | 0.4 | n |  | TRUE
57 | bus_LV_261-233_0_3_node_25 | 0.4 | n |  | TRUE
58 | bus_LV_261-233_0_3_node_26 | 0.4 | n |  | TRUE
59 | bus_LV_261-233_0_3_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_261-233_0_3_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_261-233_0_3_node_27 | 0.4 | n |  | TRUE
62 | bus_LV_261-233_0_3_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_261-233_0_3_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_261-233_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_261-233_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_261-233_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_261-233_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_261-233_0_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_261-233_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_261-233_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_261-233_0_3_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_261-233_0_3_node_57 | 0.4 | n |  | TRUE
73 | bus_MV_524_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-233_0_3_load_0 | 0 | 0.0021992 | 0.00055116 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-233_0_3_load_3 | 3 | 0.001973 | 0.00049448 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-233_0_3_load_15 | 5 | 0.0021221 | 0.00053186 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-233_0_3_load_68 | 6 | 0.0019396 | 0.00048611 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-233_0_3_load_44 | 9 | 0.0083815 | 0.0021006 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-233_0_3_load_19 | 11 | 0.0020607 | 0.00051645 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-233_0_3_load_41 | 14 | 0.0081662 | 0.0020466 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-233_0_3_load_43 | 15 | 0.0021299 | 0.00053379 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-233_0_3_load_48 | 20 | 0.02012 | 0.0050426 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-233_0_3_load_62 | 21 | 0.0021908 | 0.00054907 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-233_0_3_load_58 | 22 | 0.012091 | 0.0030304 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-233_0_3_load_67 | 23 | 0.0054964 | 0.0013775 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-233_0_3_load_45 | 24 | 0.012195 | 0.0030563 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-233_0_3_load_63 | 26 | 0.0045739 | 0.0011463 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-233_0_3_load_59 | 29 | 0.01215 | 0.0030451 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-233_0_3_load_16 | 30 | 0.0020865 | 0.00052292 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-233_0_3_load_42 | 31 | 0.0083668 | 0.0020969 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-233_0_3_load_18 | 32 | 0.0017194 | 0.00043092 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-233_0_3_load_39 | 33 | 0.0057436 | 0.0014395 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-233_0_3_load_35 | 34 | 0.019368 | 0.004854 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-233_0_3_load_69 | 36 | 0.0081902 | 0.0020527 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-233_0_3_load_37 | 37 | 0.0063665 | 0.0015956 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-233_0_3_load_49 | 38 | 0.011266 | 0.0028234 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-233_0_3_load_47 | 39 | 0.0054467 | 0.0013651 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-233_0_3_load_40 | 40 | 0.0082094 | 0.0020575 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-233_0_3_load_46 | 41 | 0.0033759 | 0.00084608 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-233_0_3_load_64 | 42 | 0.0024868 | 0.00062324 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-233_0_3_load_28 | 43 | 0.0014076 | 0.00035277 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-233_0_3_load_34 | 46 | 0.0013619 | 0.00034133 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-233_0_3_load_73 | 48 | 0.004278 | 0.0010722 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-233_0_3_load_60 | 49 | 0.0082026 | 0.0020558 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-233_0_3_load_17 | 50 | 0.0022487 | 0.00056358 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-233_0_3_load_20 | 51 | 0.0016397 | 0.00041095 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-233_0_3_load_21 | 52 | 0.0021604 | 0.00054144 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-233_0_3_load_61 | 53 | 0.0025511 | 0.00063937 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-233_0_3_load_22 | 54 | 0.0013957 | 0.00034979 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-233_0_3_load_23 | 55 | 0.0032925 | 0.00082518 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-233_0_3_load_25 | 57 | 0.0012484 | 0.00031288 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-233_0_3_load_26 | 58 | 0.0013687 | 0.00034303 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-233_0_3_load_31 | 59 | 0.0013962 | 0.00034992 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-233_0_3_load_65 | 60 | 0.0014816 | 0.00037132 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-233_0_3_load_27 | 61 | 0.0014493 | 0.00036323 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-233_0_3_load_33 | 62 | 0.0014424 | 0.00036149 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-233_0_3_load_38 | 63 | 0.0058571 | 0.0014679 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-233_0_3_load_50 | 64 | 0.010921 | 0.0027371 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-233_0_3_load_52 | 65 | 0.0091195 | 0.0022856 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-233_0_3_load_53 | 66 | 0.009416 | 0.0023599 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-233_0_3_load_70 | 68 | 0.0020569 | 0.00051552 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-233_0_3_load_56 | 69 | 0.0017187 | 0.00043075 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-233_0_3_load_71 | 70 | 0.00155 | 0.00038847 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-233_0_3_load_55 | 71 | 0.013529 | 0.0033908 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-233_0_3_load_57 | 72 | 0.0092841 | 0.0023268 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-233_0_3_line_0 |  | 0 | 1 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-233_0_3_line_1 |  | 0 | 2 | 0.028066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-233_0_3_line_2 |  | 1 | 3 | 0.02317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-233_0_3_line_3 |  | 2 | 4 | 0.041678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-233_0_3_line_4 |  | 2 | 5 | 0.023093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-233_0_3_line_5 |  | 3 | 6 | 0.0088525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-233_0_3_line_6 |  | 4 | 10 | 0.004195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-233_0_3_line_7 |  | 4 | 11 | 0.023264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-233_0_3_line_8 |  | 5 | 30 | 0.0089955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-233_0_3_line_9 |  | 7 | 8 | 0.029969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-233_0_3_line_10 |  | 7 | 9 | 0.026257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-233_0_3_line_11 |  | 8 | 23 | 0.024723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-233_0_3_line_12 |  | 9 | 31 | 0.015768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-233_0_3_line_13 |  | 10 | 17 | 0.0085486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-233_0_3_line_14 |  | 10 | 21 | 0.011919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-233_0_3_line_15 |  | 11 | 32 | 0.0016858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-233_0_3_line_16 |  | 12 | 13 | 0.034335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-233_0_3_line_17 |  | 12 | 14 | 0.027357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-233_0_3_line_18 |  | 12 | 15 | 0.010994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-233_0_3_line_19 |  | 13 | 19 | 0.031537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-233_0_3_line_20 |  | 13 | 20 | 0.012274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-233_0_3_line_21 |  | 14 | 33 | 0.017094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-233_0_3_line_22 |  | 15 | 31 | 0.023477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-233_0_3_line_23 |  | 16 | 17 | 0.011755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-233_0_3_line_24 |  | 16 | 18 | 0.035266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-233_0_3_line_25 |  | 17 | 22 | 0.020707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-233_0_3_line_26 |  | 18 | 24 | 0.014095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-233_0_3_line_27 |  | 19 | 36 | 0.015246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-233_0_3_line_28 |  | 19 | 37 | 0.049405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-233_0_3_line_29 |  | 20 | 38 | 0.036334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-233_0_3_line_30 |  | 22 | 29 | 0.02272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-233_0_3_line_31 |  | 23 | 39 | 0.021474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_261-233_0_3_line_32 |  | 24 | 41 | 0.0020931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-233_0_3_line_33 |  | 25 | 26 | 0.056945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-233_0_3_line_34 |  | 25 | 27 | 0.0086945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-233_0_3_line_35 |  | 27 | 28 | 0.013428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-233_0_3_line_36 |  | 27 | 29 | 0.004745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-233_0_3_line_37 |  | 28 | 42 | 0.014198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-233_0_3_line_38 |  | 28 | 43 | 0.017229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-233_0_3_line_39 |  | 30 | 50 | 0.017891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-233_0_3_line_40 |  | 32 | 51 | 0.0050133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-233_0_3_line_41 |  | 33 | 40 | 0.017571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-233_0_3_line_42 |  | 34 | 35 | 0.032951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-233_0_3_line_43 |  | 35 | 37 | 0.020767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_261-233_0_3_line_44 |  | 35 | 63 | 0.011686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-233_0_3_line_45 |  | 38 | 64 | 0.021586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-233_0_3_line_46 |  | 39 | 41 | 0.022874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_261-233_0_3_line_47 |  | 43 | 61 | 0.006736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-233_0_3_line_48 |  | 44 | 45 | 0.11759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-233_0_3_line_49 |  | 44 | 46 | 0.032569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-233_0_3_line_50 |  | 44 | 47 | 0.02149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-233_0_3_line_51 |  | 45 | 48 | 0.012145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-233_0_3_line_52 |  | 45 | 49 | 0.020744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-233_0_3_line_53 |  | 46 | 62 | 0.010736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-233_0_3_line_54 |  | 47 | 59 | 0.017833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-233_0_3_line_55 |  | 47 | 61 | 0.014252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-233_0_3_line_56 |  | 51 | 52 | 0.0023532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-233_0_3_line_57 |  | 52 | 53 | 0.0096909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-233_0_3_line_58 |  | 54 | 55 | 0.01088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-233_0_3_line_59 |  | 54 | 56 | 0.015797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-233_0_3_line_60 |  | 56 | 57 | 0.0032424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-233_0_3_line_61 |  | 56 | 58 | 0.0034303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-233_0_3_line_62 |  | 57 | 59 | 0.0063437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-233_0_3_line_63 |  | 58 | 60 | 0.0056399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-233_0_3_line_64 |  | 64 | 65 | 0.023506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-233_0_3_line_65 |  | 65 | 66 | 0.017251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-233_0_3_line_66 |  | 66 | 67 | 0.0027651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-233_0_3_line_67 |  | 67 | 68 | 0.03114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-233_0_3_line_68 |  | 67 | 69 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-233_0_3_line_69 |  | 68 | 70 | 0.11252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-233_0_3_line_70 |  | 69 | 71 | 0.0095393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-233_0_3_line_71 |  | 71 | 72 | 0.0075198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-233_0_3_trafo_35 | 0.63 MVA 20/0.4 kV | 73 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2679745.9858 | 1252963.0714 | 2679731.5091 | 1252965.9894
1 | 2679703.9968 | 1252971.5349 | 2679731.5091 | 1252965.9894
2 | 2679745.9858 | 1252963.0714 | 2679741.8035 | 1252940.2815
3 | 2679703.9968 | 1252971.5349 | 2679663.0858 | 1252980.0911
4 | 2679703.9968 | 1252971.5349 | 2679699.2922 | 1252948.9263
5 | 2679740.2057 | 1252931.5743 | 2679741.8035 | 1252940.2815
6 | 2679658.9689 | 1252980.9586 | 2679663.0858 | 1252980.0911
7 | 2679663.0858 | 1252980.0911 | 2679658.2343 | 1252957.3383
8 | 2679697.4595 | 1252940.1194 | 2679699.2922 | 1252948.9263
9 | 2679753.0866 | 1252987.752 | 2679778.8842 | 1253003.1329
10 | 2679778.8842 | 1253003.1329 | 2679774.9289 | 1253029.0902
11 | 2679753.0866 | 1252987.752 | 2679751.0579 | 1253001.1013 | 2679740.0978 | 1253003.5059
12 | 2679772.5536 | 1253044.6783 | 2679774.9289 | 1253029.0902
13 | 2679658.9689 | 1252980.9586 | 2679659.7236 | 1252984.8828 | 2679660.5841 | 1252989.3533
14 | 2679658.9689 | 1252980.9586 | 2679647.3114 | 1252983.4398
15 | 2679657.8827 | 1252955.6895 | 2679658.2343 | 1252957.3383
16 | 2679767.3608 | 1253078.7563 | 2679774.6888 | 1253079.8335 | 2679781.5032 | 1253080.9483 | 2679780.7558 | 1253085.4527 | 2679781.7189 | 1253089.5799 | 2679781.0939 | 1253090.0385 | 2679780.8034 | 1253090.8796 | 2679779.6209 | 1253097.9912 | 2679777.3013 | 1253097.6486
17 | 2679767.3608 | 1253078.7563 | 2679740.2915 | 1253074.7997
18 | 2679767.3608 | 1253078.7563 | 2679769.017 | 1253067.8876
19 | 2679777.3013 | 1253097.6486 | 2679774.5151 | 1253096.6437 | 2679767.0812 | 1253087.7481 | 2679750.2278 | 1253085.1415
20 | 2679777.3013 | 1253097.6486 | 2679775.1467 | 1253100.177 | 2679773.9777 | 1253109.052
21 | 2679723.3774 | 1253072.3274 | 2679740.2915 | 1253074.7997
22 | 2679772.5536 | 1253044.6783 | 2679769.017 | 1253067.8876
23 | 2679660.5841 | 1252989.3533 | 2679672.1318 | 1252986.9845
24 | 2679672.1318 | 1252986.9845 | 2679678.0719 | 1252985.7746 | 2679683.0591 | 1252984.7298 | 2679683.5324 | 1252987.1268 | 2679680.6927 | 1253008.6046
25 | 2679660.5841 | 1252989.3533 | 2679640.329 | 1252993.6564
26 | 2679680.6927 | 1253008.6046 | 2679694.6375 | 1253010.6535
27 | 2679750.2278 | 1253085.1415 | 2679747.974 | 1253100.2197
28 | 2679750.2278 | 1253085.1415 | 2679701.4035 | 1253077.5871
29 | 2679773.9777 | 1253109.052 | 2679772.2971 | 1253121.8103 | 2679773.7936 | 1253122.7534 | 2679771.5398 | 1253134.8877 | 2679762.8787 | 1253138.4233
30 | 2679618.1049 | 1252998.3779 | 2679640.329 | 1252993.6564
31 | 2679719.1229 | 1253008.1079 | 2679740.0978 | 1253003.5059
32 | 2679694.6375 | 1253010.6535 | 2679696.7084 | 1253010.9578
33 | 2679620.9849 | 1252989.043 | 2679610.4872 | 1252936.8965 | 2679612.0499 | 1252933.4816
34 | 2679617.0578 | 1252993.7493 | 2679616.2176 | 1252990.013 | 2679620.9849 | 1252989.043
35 | 2679614.2233 | 1252980.6237 | 2679615.4009 | 1252986.2103 | 2679616.2176 | 1252990.013 | 2679617.0578 | 1252993.7493
36 | 2679618.1049 | 1252998.3779 | 2679617.0578 | 1252993.7493
37 | 2679614.2233 | 1252980.6237 | 2679612.5668 | 1252972.4954 | 2679611.3714 | 1252966.7149
38 | 2679614.2233 | 1252980.6237 | 2679607.1707 | 1252980.3843 | 2679597.1999 | 1252982.3997
39 | 2679689.7768 | 1252925.187 | 2679695.1865 | 1252929.1961 | 2679697.4595 | 1252940.1194
40 | 2679657.8827 | 1252955.6895 | 2679656.8372 | 1252950.7864
41 | 2679723.3774 | 1253072.3274 | 2679708.7887 | 1253070.195 | 2679706.0095 | 1253069.6738
42 | 2679681.8546 | 1253079.2728 | 2679677.9987 | 1253076.4522 | 2679673.6258 | 1253073.3578 | 2679675.4664 | 1253070.0467 | 2679676.0563 | 1253066.5854 | 2679675.741 | 1253063.6568 | 2679670.4004 | 1253052.2765
43 | 2679681.8546 | 1253079.2728 | 2679683.9169 | 1253077.4325 | 2679686.6154 | 1253075.9789 | 2679689.5389 | 1253075.7513 | 2679701.4035 | 1253077.5871
44 | 2679674.2212 | 1253084.6297 | 2679678.7967 | 1253085.5697 | 2679680.08 | 1253082.1733 | 2679681.8546 | 1253079.2728
45 | 2679741.8524 | 1253137.7346 | 2679758.3292 | 1253140.2805 | 2679762.8787 | 1253138.4233
46 | 2679719.1229 | 1253008.1079 | 2679702.3532 | 1253011.7872 | 2679696.7084 | 1253010.9578
47 | 2679597.1999 | 1252982.3997 | 2679590.5975 | 1252983.7342
48 | 2679474.7754 | 1253028.276 | 2679473.8438 | 1253023.471 | 2679512.551 | 1253015.451 | 2679562.5348 | 1253005.0142 | 2679558.0355 | 1252987.7298 | 2679555.3479 | 1252984.4469
49 | 2679555.3479 | 1252984.4469 | 2679550.9326 | 1252981.6855 | 2679528.664 | 1252974.3256 | 2679525.7203 | 1252971.7557
50 | 2679555.3479 | 1252984.4469 | 2679567.826 | 1252982.4685 | 2679576.4911 | 1252984.5753
51 | 2679474.7754 | 1253028.276 | 2679475.7403 | 1253033.415 | 2679474.0429 | 1253040.1194
52 | 2679474.7754 | 1253028.276 | 2679495.0898 | 1253024.0757
53 | 2679525.7203 | 1252971.7557 | 2679521.2647 | 1252967.8659 | 2679518.6509 | 1252963.8149
54 | 2679576.4911 | 1252984.5753 | 2679573.0796 | 1252967.0717
55 | 2679576.4911 | 1252984.5753 | 2679584.1142 | 1252985.0447 | 2679590.5975 | 1252983.7342
56 | 2679656.3465 | 1252948.485 | 2679656.8372 | 1252950.7864
57 | 2679654.3255 | 1252939.0072 | 2679656.3465 | 1252948.485
58 | 2679597.1732 | 1252951.3814 | 2679586.5989 | 1252953.9432
59 | 2679571.2458 | 1252957.6626 | 2679586.5989 | 1252953.9432
60 | 2679571.2458 | 1252957.6626 | 2679571.8661 | 1252960.8452
61 | 2679571.2458 | 1252957.6626 | 2679570.4516 | 1252954.3256
62 | 2679573.0796 | 1252967.0717 | 2679571.8661 | 1252960.8452
63 | 2679569.1457 | 1252948.839 | 2679570.4516 | 1252954.3256
64 | 2679719.3969 | 1253142.1821 | 2679727.0183 | 1253143.2168 | 2679741.8524 | 1253137.7346 | 2679741.8524 | 1253137.7346
65 | 2679719.3969 | 1253142.1821 | 2679702.3026 | 1253139.8612
66 | 2679699.5626 | 1253139.4891 | 2679702.3026 | 1253139.8612
67 | 2679684.1533 | 1253161.3537 | 2679697.3498 | 1253156.4387 | 2679699.5626 | 1253139.4891
68 | 2679699.5626 | 1253139.4891 | 2679682.3398 | 1253137.1521
69 | 2679684.1533 | 1253161.3537 | 2679608.1724 | 1253244.3409
70 | 2679672.8872 | 1253135.8694 | 2679682.3398 | 1253137.1521
71 | 2679666.0706 | 1253132.9116 | 2679671.09 | 1253135.6256 | 2679672.8872 | 1253135.8694

## bus_geodata
| x | y | coords
0 | 2679731.5091 | 1252965.9894
1 | 2679745.9858 | 1252963.0714
2 | 2679703.9968 | 1252971.5349
3 | 2679741.8035 | 1252940.2815
4 | 2679663.0858 | 1252980.0911
5 | 2679699.2922 | 1252948.9263
6 | 2679740.2057 | 1252931.5743
7 | 2679778.8842 | 1253003.1329
8 | 2679753.0866 | 1252987.752
9 | 2679774.9289 | 1253029.0902
10 | 2679658.9689 | 1252980.9586
11 | 2679658.2343 | 1252957.3383
12 | 2679767.3608 | 1253078.7563
13 | 2679777.3013 | 1253097.6486
14 | 2679740.2915 | 1253074.7997
15 | 2679769.017 | 1253067.8876
16 | 2679672.1318 | 1252986.9845
17 | 2679660.5841 | 1252989.3533
18 | 2679680.6927 | 1253008.6046
19 | 2679750.2278 | 1253085.1415
20 | 2679773.9777 | 1253109.052
21 | 2679647.3114 | 1252983.4398
22 | 2679640.329 | 1252993.6564
23 | 2679740.0978 | 1253003.5059
24 | 2679694.6375 | 1253010.6535
25 | 2679620.9849 | 1252989.043
26 | 2679612.0499 | 1252933.4816
27 | 2679617.0578 | 1252993.7493
28 | 2679614.2233 | 1252980.6237
29 | 2679618.1049 | 1252998.3779
30 | 2679697.4595 | 1252940.1194
31 | 2679772.5536 | 1253044.6783
32 | 2679657.8827 | 1252955.6895
33 | 2679723.3774 | 1253072.3274
34 | 2679670.4004 | 1253052.2765
35 | 2679681.8546 | 1253079.2728
36 | 2679747.974 | 1253100.2197
37 | 2679701.4035 | 1253077.5871
38 | 2679762.8787 | 1253138.4233
39 | 2679719.1229 | 1253008.1079
40 | 2679706.0095 | 1253069.6738
41 | 2679696.7084 | 1253010.9578
42 | 2679611.3714 | 1252966.7149
43 | 2679597.1999 | 1252982.3997
44 | 2679555.3479 | 1252984.4469
45 | 2679474.7754 | 1253028.276
46 | 2679525.7203 | 1252971.7557
47 | 2679576.4911 | 1252984.5753
48 | 2679474.0429 | 1253040.1194
49 | 2679495.0898 | 1253024.0757
50 | 2679689.7768 | 1252925.187
51 | 2679656.8372 | 1252950.7864
52 | 2679656.3465 | 1252948.485
53 | 2679654.3255 | 1252939.0072
54 | 2679586.5989 | 1252953.9432
55 | 2679597.1732 | 1252951.3814
56 | 2679571.2458 | 1252957.6626
57 | 2679571.8661 | 1252960.8452
58 | 2679570.4516 | 1252954.3256
59 | 2679573.0796 | 1252967.0717
60 | 2679569.1457 | 1252948.839
61 | 2679590.5975 | 1252983.7342
62 | 2679518.6509 | 1252963.8149
63 | 2679674.2212 | 1253084.6297
64 | 2679741.8524 | 1253137.7346
65 | 2679719.3969 | 1253142.1821
66 | 2679702.3026 | 1253139.8612
67 | 2679699.5626 | 1253139.4891
68 | 2679684.1533 | 1253161.3537
69 | 2679682.3398 | 1253137.1521
70 | 2679608.1724 | 1253244.3409
71 | 2679672.8872 | 1253135.8694
72 | 2679666.0706 | 1253132.9116
73 | 2679681.8546 | 1253079.2728

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97473 | -0.48691 | 0.0021992 | 0.00055116
1 | 0.97467 | -0.48797 | 0 | 0
2 | 0.97488 | -0.48376 | 0 | 0
3 | 0.97459 | -0.48964 | 0.001973 | 0.00049448
4 | 0.97537 | -0.47416 | 0 | 0
5 | 0.97475 | -0.4865 | 0.0021221 | 0.00053186
6 | 0.97457 | -0.48995 | 0.0019396 | 0.00048611
7 | 0.98509 | -0.28481 | 0 | 0
8 | 0.98406 | -0.30476 | 0 | 0
9 | 0.986 | -0.26737 | 0.0083815 | 0.0021006
10 | 0.97546 | -0.47241 | 0 | 0
11 | 0.97515 | -0.47848 | 0.0020607 | 0.00051645
12 | 0.98795 | -0.22972 | 0 | 0
13 | 0.98957 | -0.19869 | 0 | 0
14 | 0.9874 | -0.24053 | 0.0081662 | 0.0020466
15 | 0.98751 | -0.23823 | 0.0021299 | 0.00053379
16 | 0.97658 | -0.45034 | 0 | 0
17 | 0.97566 | -0.46852 | 0 | 0
18 | 0.97936 | -0.39601 | 0 | 0
19 | 0.99191 | -0.15369 | 0 | 0
20 | 0.98856 | -0.21815 | 0.02012 | 0.0050426
21 | 0.97544 | -0.47289 | 0.0021908 | 0.00054907
22 | 0.97451 | -0.49116 | 0.012091 | 0.0030304
23 | 0.98278 | -0.3295 | 0.0054964 | 0.0013775
24 | 0.98047 | -0.37438 | 0.012195 | 0.0030563
25 | 0.97331 | -0.51483 | 0 | 0
26 | 0.97306 | -0.51962 | 0.0045739 | 0.0011463
27 | 0.97334 | -0.51409 | 0 | 0
28 | 0.97296 | -0.52171 | 0 | 0
29 | 0.9735 | -0.511 | 0.01215 | 0.0030451
30 | 0.97471 | -0.48722 | 0.0020865 | 0.00052292
31 | 0.98658 | -0.25612 | 0.0083668 | 0.0020969
32 | 0.97514 | -0.47873 | 0.0017194 | 0.00043092
33 | 0.98718 | -0.2448 | 0.0057436 | 0.0014395
34 | 1 | 0 | -0.2675 | -0.068327
35 | 0.99734 | -0.050192 | 0 | 0
36 | 0.9918 | -0.1559 | 0.0081902 | 0.0020527
37 | 0.99571 | -0.081251 | 0.0063665 | 0.0015956
38 | 0.98625 | -0.26288 | 0.011266 | 0.0028234
39 | 0.98173 | -0.34998 | 0.0054467 | 0.0013651
40 | 0.98704 | -0.24738 | 0.0082094 | 0.0020575
41 | 0.98066 | -0.37071 | 0.0033759 | 0.00084608
42 | 0.97292 | -0.52236 | 0.0024868 | 0.00062324
43 | 0.9725 | -0.5307 | 0.0014076 | 0.00035277
44 | 0.97169 | -0.54681 | 0 | 0
45 | 0.97031 | -0.57394 | 0 | 0
46 | 0.9716 | -0.54849 | 0.0013619 | 0.00034133
47 | 0.97199 | -0.54074 | 0 | 0
48 | 0.97027 | -0.5749 | 0.004278 | 0.0010722
49 | 0.97016 | -0.57709 | 0.0082026 | 0.0020558
50 | 0.97467 | -0.48795 | 0.0022487 | 0.00056358
51 | 0.97511 | -0.47931 | 0.0016397 | 0.00041095
52 | 0.9751 | -0.47952 | 0.0021604 | 0.00054144
53 | 0.97508 | -0.47997 | 0.0025511 | 0.00063937
54 | 0.97168 | -0.54694 | 0.0013957 | 0.00034979
55 | 0.97165 | -0.5476 | 0.0032925 | 0.00082518
56 | 0.97175 | -0.54557 | 0 | 0
57 | 0.97177 | -0.54512 | 0.0012484 | 0.00031288
58 | 0.97174 | -0.54575 | 0.0013687 | 0.00034303
59 | 0.97182 | -0.54409 | 0.0013962 | 0.00034992
60 | 0.97173 | -0.54591 | 0.0014816 | 0.00037132
61 | 0.97233 | -0.53405 | 0.0014493 | 0.00036323
62 | 0.97159 | -0.54878 | 0.0014424 | 0.00036149
63 | 0.99728 | -0.051392 | 0.0058571 | 0.0014679
64 | 0.98511 | -0.28519 | 0.010921 | 0.0027371
65 | 0.9841 | -0.30492 | 0.0091195 | 0.0022856
66 | 0.9835 | -0.31659 | 0.009416 | 0.0023599
67 | 0.98343 | -0.31799 | 0 | 0
68 | 0.98332 | -0.32002 | 0.0020569 | 0.00051552
69 | 0.98303 | -0.32568 | 0.0017187 | 0.00043075
70 | 0.98316 | -0.32317 | 0.00155 | 0.00038847
71 | 0.98283 | -0.3296 | 0.013529 | 0.0033908
72 | 0.98277 | -0.33086 | 0.0092841 | 0.0023268
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0039131 | 0.00098035 | -0.0039129 | -0.00098041 | 1.9762e-07 | -5.7587e-08 | 0.0059737 | 0.0059737 | 0.0059737 | 0.97473 | -0.48691 | 0.97467 | -0.48797 | 1.6411
1 | -0.0061123 | -0.0015315 | 0.0061132 | 0.0015317 | 9.1632e-07 | 2.3656e-07 | 0.0093309 | 0.0093308 | 0.0093309 | 0.97473 | -0.48691 | 0.97488 | -0.48376 | 2.5634
2 | 0.0039129 | 0.00098041 | -0.0039126 | -0.0009805 | 3.1007e-07 | -9.0305e-08 | 0.0059737 | 0.0059738 | 0.0059738 | 0.97467 | -0.48797 | 0.97459 | -0.48964 | 1.6412
3 | -0.012572 | -0.0031502 | 0.012577 | 0.0031533 | 5.7546e-06 | 3.163e-06 | 0.019188 | 0.019188 | 0.019188 | 0.97488 | -0.48376 | 0.97537 | -0.47416 | 5.2715
4 | 0.0064584 | 0.0016184 | -0.0064575 | -0.0016182 | 8.4151e-07 | 2.5067e-07 | 0.0098576 | 0.0098577 | 0.0098577 | 0.97488 | -0.48376 | 0.97475 | -0.4865 | 2.7082
5 | 0.0019396 | 0.00048602 | -0.0019396 | -0.00048611 | 2.9114e-08 | -9.1676e-08 | 0.0029614 | 0.0029615 | 0.0029615 | 0.97459 | -0.48964 | 0.97457 | -0.48995 | 0.81359
6 | -0.022711 | -0.0056935 | 0.022713 | 0.0056947 | 1.8885e-06 | 1.1563e-06 | 0.034648 | 0.034648 | 0.034648 | 0.97537 | -0.47416 | 0.97546 | -0.47241 | 9.5187
7 | 0.010134 | 0.0025402 | -0.010132 | -0.0025391 | 2.0852e-06 | 1.0442e-06 | 0.01546 | 0.01546 | 0.01546 | 0.97537 | -0.47416 | 0.97515 | -0.47848 | 4.2473
8 | 0.0043354 | 0.0010863 | -0.0043352 | -0.0010863 | 1.4775e-07 | -1.7564e-08 | 0.0066182 | 0.0066182 | 0.0066182 | 0.97475 | -0.4865 | 0.97471 | -0.48722 | 1.8182
9 | 0.11207 | 0.02848 | -0.11196 | -0.028412 | 0.00010754 | 6.768e-05 | 0.16943 | 0.16943 | 0.16943 | 0.98509 | -0.28481 | 0.98406 | -0.30476 | 15.5154
10 | -0.11207 | -0.02848 | 0.11217 | 0.028539 | 9.4216e-05 | 5.9295e-05 | 0.16943 | 0.16943 | 0.16943 | 0.98509 | -0.28481 | 0.986 | -0.26737 | 15.5154
11 | 0.11196 | 0.028412 | -0.11183 | -0.028328 | 0.00013307 | 8.4538e-05 | 0.16943 | 0.16943 | 0.16943 | 0.98406 | -0.30476 | 0.98278 | -0.3295 | 23.2732
12 | -0.12055 | -0.03064 | 0.12061 | 0.030681 | 6.5342e-05 | 4.1215e-05 | 0.18208 | 0.18208 | 0.18208 | 0.986 | -0.26737 | 0.98658 | -0.25612 | 16.6737
13 | -0.024904 | -0.0062436 | 0.024908 | 0.0062465 | 4.6267e-06 | 2.8543e-06 | 0.03799 | 0.03799 | 0.03799 | 0.97546 | -0.47241 | 0.97566 | -0.46852 | 10.4369
14 | 0.0021909 | 0.00054895 | -0.0021908 | -0.00054907 | 4.992e-08 | -1.1683e-07 | 0.003342 | 0.0033421 | 0.0033421 | 0.97546 | -0.47241 | 0.97544 | -0.47289 | 0.91815
15 | 0.008071 | 0.0020227 | -0.0080709 | -0.0020226 | 9.5887e-08 | 4.0337e-08 | 0.012316 | 0.012316 | 0.012316 | 0.97515 | -0.47848 | 0.97514 | -0.47873 | 3.3834
16 | -0.15341 | -0.038969 | 0.15364 | 0.039114 | 0.0002295 | 0.00014556 | 0.23124 | 0.23124 | 0.23124 | 0.98795 | -0.22972 | 0.98957 | -0.19869 | 21.1762
17 | 0.022134 | 0.0055526 | -0.022123 | -0.0055456 | 1.1403e-05 | 6.948e-06 | 0.03334 | 0.03334 | 0.03334 | 0.98795 | -0.22972 | 0.9874 | -0.24053 | 9.1593
18 | 0.13127 | 0.033416 | -0.13122 | -0.033382 | 5.3825e-05 | 3.4026e-05 | 0.1979 | 0.1979 | 0.1979 | 0.98795 | -0.22972 | 0.98751 | -0.23823 | 18.1232
19 | -0.24299 | -0.061651 | 0.24352 | 0.061987 | 0.00052708 | 0.00033612 | 0.36566 | 0.36566 | 0.36566 | 0.98957 | -0.19869 | 0.99191 | -0.15369 | 33.4852
20 | 0.089355 | 0.022536 | -0.089272 | -0.022483 | 8.3155e-05 | 5.3062e-05 | 0.13441 | 0.13441 | 0.13441 | 0.98957 | -0.19869 | 0.98856 | -0.21815 | 36.927
21 | 0.013957 | 0.003499 | -0.013954 | -0.0034974 | 2.8359e-06 | 1.5964e-06 | 0.021033 | 0.021034 | 0.021034 | 0.9874 | -0.24053 | 0.98718 | -0.2448 | 5.7784
22 | 0.12909 | 0.032848 | -0.12898 | -0.032778 | 0.00011124 | 7.0295e-05 | 0.1947 | 0.1947 | 0.1947 | 0.98751 | -0.23823 | 0.98658 | -0.25612 | 17.8293
23 | 0.084786 | 0.021345 | -0.084712 | -0.021298 | 7.3609e-05 | 4.6963e-05 | 0.12922 | 0.12922 | 0.12922 | 0.97658 | -0.45034 | 0.97566 | -0.46852 | 35.5007
24 | -0.084786 | -0.021345 | 0.085007 | 0.021486 | 0.00022083 | 0.00014089 | 0.12922 | 0.12922 | 0.12922 | 0.97658 | -0.45034 | 0.97936 | -0.39601 | 35.5006
25 | 0.059804 | 0.015052 | -0.059739 | -0.01501 | 6.4632e-05 | 4.1106e-05 | 0.091232 | 0.091232 | 0.091232 | 0.97566 | -0.46852 | 0.97451 | -0.49116 | 25.0638
26 | -0.085007 | -0.021486 | 0.085095 | 0.021542 | 8.8258e-05 | 5.6308e-05 | 0.12922 | 0.12922 | 0.12922 | 0.97936 | -0.39601 | 0.98047 | -0.37438 | 35.5006
27 | 0.0081911 | 0.002053 | -0.0081902 | -0.0020527 | 8.6325e-07 | 3.5571e-07 | 0.012288 | 0.012288 | 0.012288 | 0.99191 | -0.15369 | 0.9918 | -0.1559 | 3.3758
28 | -0.25171 | -0.06404 | 0.25259 | 0.064602 | 0.00088214 | 0.00056265 | 0.37795 | 0.37794 | 0.37795 | 0.99191 | -0.15369 | 0.99571 | -0.081251 | 34.6104
29 | 0.069152 | 0.017441 | -0.069004 | -0.017346 | 0.00014774 | 9.4086e-05 | 0.10413 | 0.10413 | 0.10413 | 0.98856 | -0.21815 | 0.98625 | -0.26288 | 28.6068
30 | 0.047648 | 0.01198 | -0.047603 | -0.011951 | 4.5117e-05 | 2.8592e-05 | 0.07277 | 0.07277 | 0.07277 | 0.97451 | -0.49116 | 0.9735 | -0.511 | 19.9917
31 | 0.10633 | 0.02695 | -0.10623 | -0.026884 | 0.00010451 | 6.634e-05 | 0.16111 | 0.16111 | 0.16111 | 0.98278 | -0.3295 | 0.98173 | -0.34998 | 22.1301
32 | -0.09729 | -0.024598 | 0.097307 | 0.024609 | 1.713e-05 | 1.0937e-05 | 0.14773 | 0.14773 | 0.14773 | 0.98047 | -0.37438 | 0.98066 | -0.37071 | 40.585
33 | 0.0045749 | 0.0011463 | -0.0045739 | -0.0011463 | 1.0446e-06 | -3.8974e-08 | 0.0069941 | 0.0069944 | 0.0069944 | 0.97331 | -0.51483 | 0.97306 | -0.51962 | 1.9215
34 | -0.0045749 | -0.0011463 | 0.0045751 | 0.0011463 | 1.5949e-07 | -5.986e-09 | 0.0069941 | 0.0069941 | 0.0069941 | 0.97331 | -0.51483 | 0.97334 | -0.51409 | 1.9215
35 | 0.030872 | 0.0077568 | -0.030861 | -0.0077498 | 1.122e-05 | 7.0142e-06 | 0.047204 | 0.047204 | 0.047204 | 0.97334 | -0.51409 | 0.97296 | -0.52171 | 12.9681
36 | -0.035447 | -0.0089031 | 0.035453 | 0.0089063 | 5.2268e-06 | 3.2861e-06 | 0.054198 | 0.054198 | 0.054198 | 0.97334 | -0.51409 | 0.9735 | -0.511 | 14.8895
37 | 0.0024868 | 0.00062311 | -0.0024868 | -0.00062324 | 7.7016e-08 | -1.2704e-07 | 0.0038033 | 0.0038033 | 0.0038033 | 0.97296 | -0.52171 | 0.97292 | -0.52236 | 1.0449
38 | 0.028374 | 0.0071266 | -0.028362 | -0.0071191 | 1.217e-05 | 7.5748e-06 | 0.043401 | 0.043401 | 0.043401 | 0.97296 | -0.52171 | 0.9725 | -0.5307 | 11.9233
39 | 0.0022488 | 0.0005634 | -0.0022487 | -0.00056358 | 7.9069e-08 | -1.7238e-07 | 0.003433 | 0.003433 | 0.003433 | 0.97471 | -0.48722 | 0.97467 | -0.48795 | 0.94315
40 | 0.0063515 | 0.0015917 | -0.0063513 | -0.0015917 | 1.766e-07 | 5.0483e-08 | 0.009692 | 0.009692 | 0.009692 | 0.97514 | -0.47873 | 0.97511 | -0.47931 | 2.6626
41 | 0.0082104 | 0.0020579 | -0.0082094 | -0.0020575 | 1.0092e-06 | 4.213e-07 | 0.012376 | 0.012376 | 0.012376 | 0.98718 | -0.2448 | 0.98704 | -0.24738 | 3.4
42 | 0.26585 | 0.068327 | -0.26521 | -0.067915 | 0.00064654 | 0.00041249 | 0.3962 | 0.3962 | 0.3962 | 1 | 0 | 0.99734 | -0.050192 | 36.2818
43 | 0.25935 | 0.066447 | -0.25896 | -0.066198 | 0.00038971 | 0.0002486 | 0.38746 | 0.38746 | 0.38746 | 0.99734 | -0.050192 | 0.99571 | -0.081251 | 35.4816
44 | 0.0058575 | 0.001468 | -0.0058571 | -0.0014679 | 3.3469e-07 | 6.1713e-08 | 0.0087392 | 0.0087393 | 0.0087393 | 0.99734 | -0.050192 | 0.99728 | -0.051392 | 2.4009
45 | 0.057738 | 0.014523 | -0.057677 | -0.014484 | 6.1456e-05 | 3.9056e-05 | 0.087132 | 0.087132 | 0.087132 | 0.98625 | -0.26288 | 0.98511 | -0.28519 | 23.9373
46 | 0.10078 | 0.025519 | -0.10068 | -0.025455 | 0.0001002 | 6.3552e-05 | 0.15285 | 0.15285 | 0.15285 | 0.98173 | -0.34998 | 0.98066 | -0.37071 | 20.9961
47 | 0.026955 | 0.0067663 | -0.02695 | -0.0067636 | 4.2975e-06 | 2.6668e-06 | 0.041247 | 0.041247 | 0.041247 | 0.9725 | -0.5307 | 0.97233 | -0.53405 | 11.3316
48 | 0.012498 | 0.0031373 | -0.012482 | -0.0031285 | 1.6157e-05 | 8.8857e-06 | 0.019141 | 0.019142 | 0.019142 | 0.97169 | -0.54681 | 0.97031 | -0.57394 | 5.2587
49 | 0.0028045 | 0.00070244 | -0.0028043 | -0.0007027 | 2.2526e-07 | -2.5922e-07 | 0.0042946 | 0.0042947 | 0.0042947 | 0.97169 | -0.54681 | 0.9716 | -0.54849 | 1.1799
50 | -0.015303 | -0.0038398 | 0.015307 | 0.0038423 | 4.4262e-06 | 2.5665e-06 | 0.023436 | 0.023436 | 0.023436 | 0.97169 | -0.54681 | 0.97199 | -0.54074 | 6.4384
51 | 0.0042782 | 0.0010722 | -0.004278 | -0.0010722 | 1.9604e-07 | -2.4541e-08 | 0.0065608 | 0.0065609 | 0.0065609 | 0.97031 | -0.57394 | 0.97027 | -0.5749 | 1.8024
52 | 0.0082038 | 0.0020563 | -0.0082026 | -0.0020558 | 1.2313e-06 | 5.3183e-07 | 0.012581 | 0.012581 | 0.012581 | 0.97031 | -0.57394 | 0.97016 | -0.57709 | 3.4563
53 | 0.0014424 | 0.00036137 | -0.0014424 | -0.00036149 | 1.9645e-08 | -1.2038e-07 | 0.002209 | 0.002209 | 0.002209 | 0.9716 | -0.54849 | 0.97159 | -0.54878 | 0.60687
54 | 0.010186 | 0.002553 | -0.010184 | -0.0025522 | 1.6261e-06 | 8.1968e-07 | 0.015593 | 0.015593 | 0.015593 | 0.97199 | -0.54074 | 0.97182 | -0.54409 | 4.2839
55 | -0.025493 | -0.0063954 | 0.025501 | 0.0064004 | 8.1411e-06 | 5.0336e-06 | 0.039029 | 0.039029 | 0.039029 | 0.97199 | -0.54074 | 0.97233 | -0.53405 | 10.7223
56 | 0.0047116 | 0.0011807 | -0.0047115 | -0.0011807 | 4.5617e-08 | -1.5941e-10 | 0.0071898 | 0.0071898 | 0.0071898 | 0.97511 | -0.47931 | 0.9751 | -0.47952 | 1.9752
57 | 0.0025512 | 0.00063929 | -0.0025511 | -0.00063937 | 5.508e-08 | -8.5631e-08 | 0.0038931 | 0.0038931 | 0.0038931 | 0.9751 | -0.47952 | 0.97508 | -0.47997 | 1.0695
58 | 0.0032926 | 0.00082511 | -0.0032925 | -0.00082518 | 1.0373e-07 | -6.8377e-08 | 0.0050422 | 0.0050423 | 0.0050423 | 0.97168 | -0.54694 | 0.97165 | -0.5476 | 1.3852
59 | -0.0046883 | -0.0011749 | 0.0046886 | 0.0011749 | 3.0535e-07 | -2.6558e-10 | 0.0071795 | 0.0071794 | 0.0071795 | 0.97168 | -0.54694 | 0.97175 | -0.54557 | 1.9724
60 | -0.0075389 | -0.0018892 | 0.007539 | 0.0018892 | 1.6204e-07 | 6.3534e-08 | 0.011544 | 0.011544 | 0.011544 | 0.97175 | -0.54557 | 0.97177 | -0.54512 | 3.1714
61 | 0.0028503 | 0.00071425 | -0.0028503 | -0.00071428 | 2.4504e-08 | -2.6813e-08 | 0.0043646 | 0.0043646 | 0.0043646 | 0.97175 | -0.54557 | 0.97174 | -0.54575 | 1.1991
62 | -0.0087874 | -0.0022021 | 0.0087879 | 0.0022023 | 4.307e-07 | 1.9705e-07 | 0.013456 | 0.013456 | 0.013456 | 0.97177 | -0.54512 | 0.97182 | -0.54409 | 3.6966
63 | 0.0014816 | 0.00037125 | -0.0014816 | -0.00037132 | 1.0886e-08 | -6.29e-08 | 0.0022687 | 0.0022687 | 0.0022687 | 0.97174 | -0.54575 | 0.97173 | -0.54591 | 0.62328
64 | 0.046756 | 0.011747 | -0.046712 | -0.011719 | 4.398e-05 | 2.7848e-05 | 0.070635 | 0.070635 | 0.070635 | 0.98511 | -0.28519 | 0.9841 | -0.30492 | 19.4053
65 | 0.037592 | 0.0094335 | -0.037571 | -0.0094203 | 2.0905e-05 | 1.316e-05 | 0.056846 | 0.056846 | 0.056846 | 0.9841 | -0.30492 | 0.9835 | -0.31659 | 15.6171
66 | 0.028155 | 0.0070604 | -0.028153 | -0.0070593 | 1.8818e-06 | 1.1692e-06 | 0.0426 | 0.0426 | 0.0426 | 0.9835 | -0.31659 | 0.98343 | -0.31799 | 11.7033
67 | 0.0036075 | 0.00090254 | -0.0036072 | -0.00090271 | 3.4787e-07 | -1.7242e-07 | 0.005458 | 0.0054581 | 0.0054581 | 0.98343 | -0.31799 | 0.98332 | -0.32002 | 1.4995
68 | 0.024546 | 0.0061567 | -0.024537 | -0.0061512 | 8.9914e-06 | 5.5341e-06 | 0.037142 | 0.037142 | 0.037142 | 0.98343 | -0.31799 | 0.98303 | -0.32568 | 10.2039
69 | 0.0015502 | 0.00038719 | -0.00155 | -0.00038847 | 2.3216e-07 | -1.2785e-06 | 0.0023454 | 0.0023459 | 0.0023459 | 0.98332 | -0.32002 | 0.98316 | -0.32317 | 0.64449
70 | 0.022818 | 0.0057204 | -0.022814 | -0.0057178 | 4.2678e-06 | 2.6105e-06 | 0.03454 | 0.034541 | 0.034541 | 0.98303 | -0.32568 | 0.98283 | -0.3296 | 9.4892
71 | 0.0092847 | 0.0023271 | -0.0092841 | -0.0023268 | 5.5722e-07 | 2.6133e-07 | 0.014057 | 0.014057 | 0.014057 | 0.98283 | -0.3296 | 0.98277 | -0.33086 | 3.8619

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28687 | 0.073181

## res_load
| p_mw | q_mvar
0 | 0.0021992 | 0.00055116
1 | 0.001973 | 0.00049448
2 | 0.0021221 | 0.00053186
3 | 0.0019396 | 0.00048611
4 | 0.0083815 | 0.0021006
5 | 0.0020607 | 0.00051645
6 | 0.0081662 | 0.0020466
7 | 0.0021299 | 0.00053379
8 | 0.02012 | 0.0050426
9 | 0.0021908 | 0.00054907
10 | 0.012091 | 0.0030304
11 | 0.0054964 | 0.0013775
12 | 0.012195 | 0.0030563
13 | 0.0045739 | 0.0011463
14 | 0.01215 | 0.0030451
15 | 0.0020865 | 0.00052292
16 | 0.0083668 | 0.0020969
17 | 0.0017194 | 0.00043092
18 | 0.0057436 | 0.0014395
19 | 0.019368 | 0.004854
20 | 0.0081902 | 0.0020527
21 | 0.0063665 | 0.0015956
22 | 0.011266 | 0.0028234
23 | 0.0054467 | 0.0013651
24 | 0.0082094 | 0.0020575
25 | 0.0033759 | 0.00084608
26 | 0.0024868 | 0.00062324
27 | 0.0014076 | 0.00035277
28 | 0.0013619 | 0.00034133
29 | 0.004278 | 0.0010722
30 | 0.0082026 | 0.0020558
31 | 0.0022487 | 0.00056358
32 | 0.0016397 | 0.00041095
33 | 0.0021604 | 0.00054144
34 | 0.0025511 | 0.00063937
35 | 0.0013957 | 0.00034979
36 | 0.0032925 | 0.00082518
37 | 0.0012484 | 0.00031288
38 | 0.0013687 | 0.00034303
39 | 0.0013962 | 0.00034992
40 | 0.0014816 | 0.00037132
41 | 0.0014493 | 0.00036323
42 | 0.0014424 | 0.00036149
43 | 0.0058571 | 0.0014679
44 | 0.010921 | 0.0027371
45 | 0.0091195 | 0.0022856
46 | 0.009416 | 0.0023599
47 | 0.0020569 | 0.00051552
48 | 0.0017187 | 0.00043075
49 | 0.00155 | 0.00038847
50 | 0.013529 | 0.0033908
51 | 0.0092841 | 0.0023268

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1