## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-234_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-234_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-234_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-234_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-234_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_261-234_0_3_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_261-234_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_261-234_0_3_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_261-234_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-234_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_261-234_0_3_node_86 | 0.4 | n |  | TRUE
11 | bus_LV_261-234_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-234_0_3_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_261-234_0_3_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_261-234_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-234_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_261-234_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_261-234_0_3_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_261-234_0_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_261-234_0_3_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_261-234_0_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_261-234_0_3_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_261-234_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_261-234_0_3_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_261-234_0_3_node_83 | 0.4 | n |  | TRUE
25 | bus_LV_261-234_0_3_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_261-234_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_261-234_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_261-234_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_261-234_0_3_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_261-234_0_3_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_261-234_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_261-234_0_3_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_261-234_0_3_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_261-234_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_261-234_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_261-234_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_261-234_0_3_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_261-234_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_261-234_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_261-234_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_261-234_0_3_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_261-234_0_3_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_261-234_0_3_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_261-234_0_3_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_261-234_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_261-234_0_3_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_261-234_0_3_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_261-234_0_3_node_101 | 0.4 | n |  | TRUE
49 | bus_LV_261-234_0_3_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_261-234_0_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_261-234_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_261-234_0_3_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_261-234_0_3_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_261-234_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_261-234_0_3_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_261-234_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_MV_547_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-234_0_3_load_0 | 0 | 0.007556 | 0.0018937 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-234_0_3_load_1 | 1 | 0.0032837 | 0.00082298 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-234_0_3_load_34 | 5 | 0.0075316 | 0.0018876 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-234_0_3_load_72 | 7 | 0.0097173 | 0.0024354 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-234_0_3_load_86 | 10 | 0.0054664 | 0.00137 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-234_0_3_load_39 | 12 | 0.0071984 | 0.0018041 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-234_0_3_load_45 | 17 | 0.014491 | 0.0036318 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-234_0_3_load_77 | 19 | 0.0062681 | 0.0015709 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-234_0_3_load_67 | 21 | 0.0069753 | 0.0017482 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-234_0_3_load_82 | 23 | 0.008919 | 0.0022353 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-234_0_3_load_83 | 24 | 0.0070865 | 0.001776 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-234_0_3_load_80 | 25 | 0.0089517 | 0.0022435 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-234_0_3_load_38 | 28 | 0.0031853 | 0.00079832 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-234_0_3_load_78 | 29 | 0.0092057 | 0.0023072 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-234_0_3_load_75 | 30 | 0.0061204 | 0.0015339 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-234_0_3_load_70 | 32 | 0.0041793 | 0.0010474 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-234_0_3_load_74 | 33 | 0.011712 | 0.0029354 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-234_0_3_load_42 | 36 | 0.012673 | 0.0031763 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-234_0_3_load_71 | 37 | 0.014546 | 0.0036455 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-234_0_3_load_43 | 38 | 0.0090042 | 0.0022567 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-234_0_3_load_40 | 39 | 0.0063262 | 0.0015855 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-234_0_3_load_33 | 40 | 0.0076286 | 0.0019119 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-234_0_3_load_87 | 41 | 0.0083684 | 0.0020973 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-234_0_3_load_85 | 42 | 0.012921 | 0.0032383 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-234_0_3_load_73 | 43 | 0.0090244 | 0.0022617 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-234_0_3_load_53 | 44 | 0.0036349 | 0.000911 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-234_0_3_load_35 | 45 | 0.0033296 | 0.00083447 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-234_0_3_load_76 | 46 | 0.0065387 | 0.0016388 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-234_0_3_load_96 | 47 | 0.0066339 | 0.0016626 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-234_0_3_load_101 | 48 | 0.01124 | 0.0028171 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-234_0_3_load_79 | 49 | 0.0099194 | 0.002486 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-234_0_3_load_56 | 50 | 0.0062392 | 0.0015637 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-234_0_3_load_36 | 51 | 0.0030554 | 0.00076575 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-234_0_3_load_97 | 52 | 0.0062866 | 0.0015756 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-234_0_3_load_81 | 53 | 0.0059948 | 0.0015024 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-234_0_3_load_41 | 54 | 0.012643 | 0.0031686 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-234_0_3_load_37 | 55 | 0.0031387 | 0.00078663 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-234_0_3_load_54 | 56 | 0.0023251 | 0.00058273 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-234_0_3_line_0 |  | 0 | 1 | 0.011685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-234_0_3_line_1 |  | 0 | 2 | 0.0046794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-234_0_3_line_2 |  | 2 | 3 | 0.011548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-234_0_3_line_3 |  | 3 | 4 | 0.0082169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-234_0_3_line_4 |  | 3 | 5 | 0.0020787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-234_0_3_line_5 |  | 4 | 6 | 0.004339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-234_0_3_line_6 |  | 4 | 7 | 0.0093596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_261-234_0_3_line_7 |  | 5 | 40 | 0.011668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-234_0_3_line_8 |  | 6 | 19 | 0.01747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-234_0_3_line_9 |  | 7 | 43 | 0.013426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-234_0_3_line_10 |  | 8 | 9 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-234_0_3_line_11 |  | 8 | 10 | 0.019704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-234_0_3_line_12 |  | 9 | 29 | 0.011268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-234_0_3_line_13 |  | 9 | 30 | 0.018856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-234_0_3_line_14 |  | 10 | 42 | 0.016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-234_0_3_line_15 |  | 11 | 12 | 0.010655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-234_0_3_line_16 |  | 11 | 13 | 0.003613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-234_0_3_line_17 |  | 13 | 44 | 0.015685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-234_0_3_line_18 |  | 14 | 15 | 0.00317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-234_0_3_line_19 |  | 14 | 16 | 0.0079877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-234_0_3_line_20 |  | 14 | 17 | 0.012257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-234_0_3_line_21 |  | 15 | 18 | 0.0083764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-234_0_3_line_22 |  | 16 | 20 | 0.005292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-234_0_3_line_23 |  | 16 | 21 | 0.0069862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-234_0_3_line_24 |  | 17 | 26 | 0.028948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-234_0_3_line_25 |  | 18 | 33 | 0.0080599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_261-234_0_3_line_26 |  | 19 | 46 | 0.0098065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-234_0_3_line_27 |  | 20 | 31 | 0.0078592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-234_0_3_line_28 |  | 20 | 32 | 0.016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-234_0_3_line_29 |  | 22 | 23 | 0.010016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-234_0_3_line_30 |  | 22 | 24 | 0.019392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-234_0_3_line_31 |  | 22 | 25 | 0.015717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-234_0_3_line_32 |  | 23 | 47 | 0.011206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-234_0_3_line_33 |  | 24 | 48 | 0.01689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-234_0_3_line_34 |  | 25 | 49 | 0.026596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-234_0_3_line_35 |  | 26 | 27 | 0.004231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-234_0_3_line_36 |  | 26 | 28 | 0.0098302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-234_0_3_line_37 |  | 27 | 50 | 0.020652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-234_0_3_line_38 |  | 28 | 51 | 0.019919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-234_0_3_line_39 |  | 29 | 52 | 0.011573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-234_0_3_line_40 |  | 30 | 46 | 0.0095937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-234_0_3_line_41 |  | 31 | 38 | 0.0051218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-234_0_3_line_42 |  | 31 | 39 | 0.0095399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-234_0_3_line_43 |  | 33 | 43 | 0.014798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_261-234_0_3_line_44 |  | 34 | 35 | 0.0086434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-234_0_3_line_45 |  | 34 | 36 | 0.017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-234_0_3_line_46 |  | 35 | 37 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-234_0_3_line_47 |  | 36 | 54 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-234_0_3_line_48 |  | 39 | 54 | 0.023392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-234_0_3_line_49 |  | 40 | 45 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-234_0_3_line_50 |  | 41 | 42 | 0.021965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-234_0_3_line_51 |  | 44 | 56 | 0.017414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-234_0_3_line_52 |  | 47 | 52 | 0.0095415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-234_0_3_line_53 |  | 49 | 53 | 0.016495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-234_0_3_line_54 |  | 50 | 56 | 0.023177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-234_0_3_line_55 |  | 51 | 55 | 0.011643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-234_0_3_trafo_28 | 0.63 MVA 20/0.4 kV | 57 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2682285.6908 | 1245939.8919 | 2682285.7084 | 1245939.8242 | 2682288.5914 | 1245928.5729
1 | 2682284.5188 | 1245944.4222 | 2682285.6908 | 1245939.8919
2 | 2682284.5188 | 1245944.4222 | 2682281.621 | 1245955.6012
3 | 2682281.621 | 1245955.6012 | 2682277.1569 | 1245954.9722 | 2682273.4846 | 1245954.4542
4 | 2682281.621 | 1245955.6012 | 2682281.1004 | 1245957.6137
5 | 2682271.16 | 1245951.0083 | 2682271.9168 | 1245951.4636 | 2682273.0981 | 1245952.9033 | 2682273.4846 | 1245954.4542
6 | 2682273.4846 | 1245954.4542 | 2682273.2134 | 1245956.0294 | 2682271.2639 | 1245963.5418
7 | 2682278.1781 | 1245968.9098 | 2682281.1004 | 1245957.6137
8 | 2682271.16 | 1245951.0083 | 2682270.1966 | 1245950.7392 | 2682253.8635 | 1245948.6186
9 | 2682271.2639 | 1245963.5418 | 2682267.8915 | 1245976.5373
10 | 2682207.2594 | 1245939.3251 | 2682206.6436 | 1245935.7806 | 2682212.8037 | 1245938.8793 | 2682216.4595 | 1245940.5868 | 2682215.9254 | 1245943.6928
11 | 2682207.2594 | 1245939.3251 | 2682207.8327 | 1245942.6577 | 2682205.815 | 1245958.8547
12 | 2682215.9254 | 1245943.6928 | 2682214.4667 | 1245954.866
13 | 2682215.9254 | 1245943.6928 | 2682234.6248 | 1245946.1207
14 | 2682203.7613 | 1245975.3398 | 2682205.815 | 1245958.8547
15 | 2682348.1664 | 1245928.0712 | 2682342.5887 | 1245937.1501
16 | 2682350.9371 | 1245930.4002 | 2682348.1664 | 1245928.0712
17 | 2682350.9371 | 1245930.4002 | 2682342.9195 | 1245943.8811
18 | 2682272.0443 | 1246002.7028 | 2682270.8768 | 1246001.3523 | 2682270.4114 | 1246000.0449
19 | 2682270.289 | 1246010.4952 | 2682271.2148 | 1246006.394 | 2682272.0443 | 1246002.7028
20 | 2682272.0443 | 1246002.7028 | 2682275.8644 | 1246003.4563 | 2682281.2018 | 1246004.3088 | 2682284.1422 | 1246004.6341
21 | 2682262.1499 | 1245998.6626 | 2682266.4616 | 1245999.3785 | 2682270.4114 | 1246000.0449
22 | 2682270.289 | 1246010.4952 | 2682268.5956 | 1246011.1167 | 2682267.2503 | 1246012.2322 | 2682266.3306 | 1246013.7205
23 | 2682270.289 | 1246010.4952 | 2682272.1027 | 1246010.4648 | 2682277.2293 | 1246011.1507
24 | 2682307.5597 | 1245994.167 | 2682305.0264 | 1245992.6975 | 2682302.6476 | 1245996.9676 | 2682300.082 | 1246000.0009 | 2682295.2424 | 1246003.0248 | 2682290.7827 | 1246004.7976 | 2682286.1429 | 1246004.8555 | 2682284.1422 | 1246004.6341
25 | 2682262.1499 | 1245998.6626 | 2682264.1744 | 1245990.8611
26 | 2682244.1387 | 1245947.3559 | 2682253.8635 | 1245948.6186
27 | 2682258.5737 | 1246012.4564 | 2682262.976 | 1246013.1736 | 2682266.3306 | 1246013.7205
28 | 2682266.3306 | 1246013.7205 | 2682262.3161 | 1246029.389
29 | 2682208.9927 | 1245996.8466 | 2682210.2875 | 1245986.9144
30 | 2682208.9927 | 1245996.8466 | 2682228.0997 | 1246000.1583
31 | 2682208.9927 | 1245996.8466 | 2682206.9089 | 1246012.4249
32 | 2682210.2875 | 1245986.9144 | 2682211.736 | 1245975.8029
33 | 2682230.5526 | 1245983.4479 | 2682228.0997 | 1246000.1583 | 2682228.0997 | 1246000.1583
34 | 2682205.5238 | 1246038.6099 | 2682206.6295 | 1246029.9603 | 2682205.2145 | 1246025.7598 | 2682205.4608 | 1246023.2503 | 2682206.9089 | 1246012.4249
35 | 2682311.2325 | 1245996.2862 | 2682307.5597 | 1245994.167
36 | 2682307.5597 | 1245994.167 | 2682312.7055 | 1245985.7912
37 | 2682311.2325 | 1245996.2862 | 2682311.9208 | 1245995.1393 | 2682322.0994 | 1245978.7248
38 | 2682323.1321 | 1245968.8197 | 2682312.7055 | 1245985.7912
39 | 2682214.4667 | 1245954.866 | 2682213.6345 | 1245961.2405 | 2682212.9695 | 1245966.3415
40 | 2682234.6248 | 1245946.1207 | 2682244.1387 | 1245947.3559
41 | 2682258.5737 | 1246012.4564 | 2682259.8591 | 1246007.4986
42 | 2682258.5737 | 1246012.4564 | 2682256.1758 | 1246021.6901
43 | 2682267.8915 | 1245976.5373 | 2682264.1744 | 1245990.8611
44 | 2682240.9757 | 1246079.0055 | 2682245.6686 | 1246079.4709 | 2682249.5768 | 1246079.8587
45 | 2682240.9757 | 1246079.0055 | 2682241.6803 | 1246077.7699 | 2682245.7406 | 1246062.0149
46 | 2682249.5768 | 1246079.8587 | 2682249.7236 | 1246078.5375 | 2682253.4672 | 1246063.9263
47 | 2682250.2978 | 1246044.3316 | 2682245.7406 | 1246062.0149
48 | 2682250.2978 | 1246044.3316 | 2682250.512 | 1246043.5007 | 2682256.1758 | 1246021.6901
49 | 2682278.1781 | 1245968.9098 | 2682275.3634 | 1245979.79
50 | 2682203.7613 | 1245975.3398 | 2682201.046 | 1245997.136
51 | 2682334.0179 | 1245958.8482 | 2682342.9195 | 1245943.8811
52 | 2682211.736 | 1245975.8029 | 2682212.9695 | 1245966.3415
53 | 2682205.5238 | 1246038.6099 | 2682203.4322 | 1246054.972
54 | 2682322.0994 | 1245978.7248 | 2682324.4719 | 1245974.8987 | 2682334.0179 | 1245958.8482
55 | 2682323.1321 | 1245968.8197 | 2682329.2268 | 1245958.8994

## bus_geodata
| x | y | coords
0 | 2682285.6908 | 1245939.8919
1 | 2682288.5914 | 1245928.5729
2 | 2682284.5188 | 1245944.4222
3 | 2682281.621 | 1245955.6012
4 | 2682273.4846 | 1245954.4542
5 | 2682281.1004 | 1245957.6137
6 | 2682271.16 | 1245951.0083
7 | 2682271.2639 | 1245963.5418
8 | 2682207.2594 | 1245939.3251
9 | 2682215.9254 | 1245943.6928
10 | 2682205.815 | 1245958.8547
11 | 2682348.1664 | 1245928.0712
12 | 2682342.5887 | 1245937.1501
13 | 2682350.9371 | 1245930.4002
14 | 2682272.0443 | 1246002.7028
15 | 2682270.4114 | 1246000.0449
16 | 2682270.289 | 1246010.4952
17 | 2682284.1422 | 1246004.6341
18 | 2682262.1499 | 1245998.6626
19 | 2682253.8635 | 1245948.6186
20 | 2682266.3306 | 1246013.7205
21 | 2682277.2293 | 1246011.1507
22 | 2682208.9927 | 1245996.8466
23 | 2682210.2875 | 1245986.9144
24 | 2682228.0997 | 1246000.1583
25 | 2682206.9089 | 1246012.4249
26 | 2682307.5597 | 1245994.167
27 | 2682311.2325 | 1245996.2862
28 | 2682312.7055 | 1245985.7912
29 | 2682214.4667 | 1245954.866
30 | 2682234.6248 | 1245946.1207
31 | 2682258.5737 | 1246012.4564
32 | 2682262.3161 | 1246029.389
33 | 2682264.1744 | 1245990.8611
34 | 2682240.9757 | 1246079.0055
35 | 2682249.5768 | 1246079.8587
36 | 2682245.7406 | 1246062.0149
37 | 2682253.4672 | 1246063.9263
38 | 2682259.8591 | 1246007.4986
39 | 2682256.1758 | 1246021.6901
40 | 2682278.1781 | 1245968.9098
41 | 2682201.046 | 1245997.136
42 | 2682203.7613 | 1245975.3398
43 | 2682267.8915 | 1245976.5373
44 | 2682342.9195 | 1245943.8811
45 | 2682275.3634 | 1245979.79
46 | 2682244.1387 | 1245947.3559
47 | 2682211.736 | 1245975.8029
48 | 2682230.5526 | 1245983.4479
49 | 2682205.5238 | 1246038.6099
50 | 2682322.0994 | 1245978.7248
51 | 2682323.1321 | 1245968.8197
52 | 2682212.9695 | 1245966.3415
53 | 2682203.4322 | 1246054.972
54 | 2682250.2978 | 1246044.3316
55 | 2682329.2268 | 1245958.8994
56 | 2682334.0179 | 1245958.8482
57 | 2682266.4616 | 1245999.3785

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9962 | -0.072608 | 0.007556 | 0.0018937
1 | 0.99617 | -0.073282 | 0.0032837 | 0.00082298
2 | 0.99625 | -0.071717 | 0 | 0
3 | 0.99636 | -0.069519 | 0 | 0
4 | 0.99658 | -0.065289 | 0 | 0
5 | 0.99633 | -0.070194 | 0.0075316 | 0.0018876
6 | 0.99611 | -0.074425 | 0 | 0
7 | 0.99722 | -0.053038 | 0.0097173 | 0.0024354
8 | 0.99004 | -0.19134 | 0 | 0
9 | 0.99047 | -0.18293 | 0 | 0
10 | 0.98955 | -0.20072 | 0.0054664 | 0.00137
11 | 0.99659 | -0.065492 | 0 | 0
12 | 0.99653 | -0.066838 | 0.0071984 | 0.0018041
13 | 0.99662 | -0.065035 | 0 | 0
14 | 0.99885 | -0.022087 | 0 | 0
15 | 0.99916 | -0.016018 | 0 | 0
16 | 0.99837 | -0.03135 | 0 | 0
17 | 0.99837 | -0.031358 | 0.014491 | 0.0036318
18 | 1 | 0 | -0.29265 | -0.073575
19 | 0.99418 | -0.1113 | 0.0062681 | 0.0015709
20 | 0.99808 | -0.036847 | 0 | 0
21 | 0.99832 | -0.032203 | 0.0069753 | 0.0017482
22 | 0.98756 | -0.23935 | 0 | 0
23 | 0.98796 | -0.23162 | 0.008919 | 0.0022353
24 | 0.98724 | -0.24571 | 0.0070865 | 0.001776
25 | 0.9872 | -0.24634 | 0.0089517 | 0.0022435
26 | 0.99761 | -0.045938 | 0 | 0
27 | 0.99753 | -0.047376 | 0 | 0
28 | 0.99753 | -0.047554 | 0.0031853 | 0.00079832
29 | 0.9897 | -0.1978 | 0.0092057 | 0.0023072
30 | 0.99222 | -0.14915 | 0.0061204 | 0.0015339
31 | 0.99769 | -0.044439 | 0 | 0
32 | 0.99802 | -0.038029 | 0.0041793 | 0.0010474
33 | 0.99934 | -0.012632 | 0.011712 | 0.0029354
34 | 0.99575 | -0.081767 | 0 | 0
35 | 0.99563 | -0.083978 | 0 | 0
36 | 0.99598 | -0.077244 | 0.012673 | 0.0031763
37 | 0.99542 | -0.088176 | 0.014546 | 0.0036455
38 | 0.99764 | -0.045247 | 0.0090042 | 0.0022567
39 | 0.99728 | -0.052159 | 0.0063262 | 0.0015855
40 | 0.99621 | -0.072439 | 0.0076286 | 0.0019119
41 | 0.98906 | -0.21029 | 0.0083684 | 0.0020973
42 | 0.98923 | -0.20702 | 0.012921 | 0.0032383
43 | 0.9982 | -0.034352 | 0.0090244 | 0.0022617
44 | 0.99672 | -0.063054 | 0.0036349 | 0.000911
45 | 0.99618 | -0.073097 | 0.0033296 | 0.00083447
46 | 0.99316 | -0.13098 | 0.0065387 | 0.0016388
47 | 0.9885 | -0.2212 | 0.0066339 | 0.0016626
48 | 0.98706 | -0.2491 | 0.01124 | 0.0028171
49 | 0.98681 | -0.25391 | 0.0099194 | 0.002486
50 | 0.99717 | -0.054396 | 0.0062392 | 0.0015637
51 | 0.99741 | -0.049715 | 0.0030554 | 0.00076575
52 | 0.98901 | -0.21121 | 0.0062866 | 0.0015756
53 | 0.98672 | -0.25568 | 0.0059948 | 0.0015024
54 | 0.99644 | -0.068514 | 0.012643 | 0.0031686
55 | 0.99738 | -0.050355 | 0.0031387 | 0.00078663
56 | 0.99689 | -0.059744 | 0.0023251 | 0.00058273
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0032838 | 0.0008229 | -0.0032837 | -0.00082298 | 1.0542e-07 | -8.4658e-08 | 0.004905 | 0.004905 | 0.004905 | 0.9962 | -0.072608 | 0.99617 | -0.073282 | 1.3475
1 | -0.01084 | -0.0027166 | 0.01084 | 0.0027168 | 4.6003e-07 | 2.3349e-07 | 0.016191 | 0.016191 | 0.016191 | 0.9962 | -0.072608 | 0.99625 | -0.071717 | 4.4481
2 | -0.01084 | -0.0027168 | 0.010841 | 0.0027174 | 1.1353e-06 | 5.7618e-07 | 0.016191 | 0.016191 | 0.016191 | 0.99625 | -0.071717 | 0.99636 | -0.069519 | 4.4481
3 | -0.029333 | -0.0073523 | 0.029339 | 0.0073559 | 5.9134e-06 | 3.6775e-06 | 0.043808 | 0.043808 | 0.043808 | 0.99636 | -0.069519 | 0.99658 | -0.065289 | 12.0351
4 | 0.018492 | 0.0046349 | -0.018491 | -0.0046345 | 5.9451e-07 | 3.5341e-07 | 0.027616 | 0.027617 | 0.027617 | 0.99636 | -0.069519 | 0.99633 | -0.070194 | 7.587
5 | 0.12077 | 0.030594 | -0.12072 | -0.03056 | 5.2975e-05 | 3.3848e-05 | 0.18044 | 0.18044 | 0.18044 | 0.99658 | -0.065289 | 0.99611 | -0.074425 | 49.5708
6 | -0.15011 | -0.03795 | 0.1502 | 0.038006 | 8.8247e-05 | 5.6234e-05 | 0.22425 | 0.22424 | 0.22425 | 0.99658 | -0.065289 | 0.99722 | -0.053038 | 30.8029
7 | 0.010959 | 0.0027469 | -0.010958 | -0.0027463 | 1.1723e-06 | 5.9831e-07 | 0.016368 | 0.016368 | 0.016368 | 0.99633 | -0.070194 | 0.99621 | -0.072439 | 4.4967
8 | 0.12072 | 0.03056 | -0.1205 | -0.030424 | 0.0002133 | 0.00013628 | 0.18044 | 0.18044 | 0.18044 | 0.99611 | -0.074425 | 0.99418 | -0.1113 | 49.5708
9 | -0.15991 | -0.040441 | 0.16006 | 0.040533 | 0.00014349 | 9.1482e-05 | 0.23874 | 0.23874 | 0.23874 | 0.99722 | -0.053038 | 0.9982 | -0.034352 | 32.7946
10 | -0.026776 | -0.0067175 | 0.026786 | 0.0067242 | 1.0739e-05 | 6.6453e-06 | 0.040246 | 0.040246 | 0.040246 | 0.99004 | -0.19134 | 0.99047 | -0.18293 | 11.0566
11 | 0.026776 | 0.0067175 | -0.026764 | -0.0067101 | 1.1968e-05 | 7.4064e-06 | 0.040246 | 0.040246 | 0.040246 | 0.99004 | -0.19134 | 0.98955 | -0.20072 | 11.0566
12 | 0.074424 | 0.018723 | -0.074371 | -0.018689 | 5.2849e-05 | 3.3678e-05 | 0.11183 | 0.11183 | 0.11183 | 0.99047 | -0.18293 | 0.9897 | -0.1978 | 30.7239
13 | -0.10121 | -0.025447 | 0.10137 | 0.025552 | 0.00016355 | 0.00010443 | 0.15208 | 0.15208 | 0.15208 | 0.99047 | -0.18293 | 0.99222 | -0.14915 | 41.7805
14 | 0.021297 | 0.0053401 | -0.021291 | -0.0053362 | 6.3896e-06 | 3.876e-06 | 0.032026 | 0.032026 | 0.032026 | 0.98955 | -0.20072 | 0.98923 | -0.20702 | 8.7984
15 | 0.0071989 | 0.0018043 | -0.0071984 | -0.0018041 | 4.6165e-07 | 1.5662e-07 | 0.010749 | 0.010749 | 0.010749 | 0.99659 | -0.065492 | 0.99653 | -0.066838 | 2.9529
16 | -0.0071989 | -0.0018043 | 0.007199 | 0.0018043 | 1.5653e-07 | 5.3103e-08 | 0.010749 | 0.010749 | 0.010749 | 0.99659 | -0.065492 | 0.99662 | -0.065035 | 2.9529
17 | -0.007199 | -0.0018043 | 0.0071997 | 0.0018045 | 6.7954e-07 | 2.305e-07 | 0.010749 | 0.010749 | 0.010749 | 0.99662 | -0.065035 | 0.99672 | -0.063054 | 2.9529
18 | -0.1098 | -0.027588 | 0.10983 | 0.027608 | 3.1817e-05 | 2.0321e-05 | 0.1636 | 0.1636 | 0.1636 | 0.99885 | -0.022087 | 0.99916 | -0.016018 | 44.9452
19 | 0.06648 | 0.016711 | -0.06645 | -0.016693 | 2.939e-05 | 1.8705e-05 | 0.099054 | 0.099055 | 0.099055 | 0.99885 | -0.022087 | 0.99837 | -0.03135 | 27.2128
20 | 0.043323 | 0.010877 | -0.043304 | -0.010865 | 1.915e-05 | 1.2095e-05 | 0.064546 | 0.064546 | 0.064546 | 0.99885 | -0.022087 | 0.99837 | -0.031358 | 17.7325
21 | -0.10983 | -0.027608 | 0.10992 | 0.027662 | 8.4073e-05 | 5.3697e-05 | 0.1636 | 0.1636 | 0.1636 | 0.99916 | -0.016018 | 1 | 0 | 44.9452
22 | 0.059475 | 0.014944 | -0.059459 | -0.014934 | 1.5599e-05 | 9.9139e-06 | 0.088658 | 0.088658 | 0.088658 | 0.99837 | -0.03135 | 0.99808 | -0.036847 | 24.3565
23 | 0.0069756 | 0.0017483 | -0.0069753 | -0.0017482 | 2.8318e-07 | 8.9887e-08 | 0.010397 | 0.010397 | 0.010397 | 0.99837 | -0.03135 | 0.99832 | -0.032203 | 2.8563
24 | 0.028813 | 0.0072329 | -0.028793 | -0.0072204 | 2.0024e-05 | 1.2437e-05 | 0.042948 | 0.042948 | 0.042948 | 0.99837 | -0.031358 | 0.99761 | -0.045938 | 11.799
25 | 0.18108 | 0.045913 | -0.18097 | -0.045843 | 0.00010987 | 7.0107e-05 | 0.26964 | 0.26964 | 0.26964 | 1 | 0 | 0.99934 | -0.012632 | 37.038
26 | 0.11423 | 0.028853 | -0.11413 | -0.028784 | 0.0001076 | 6.8738e-05 | 0.17106 | 0.17106 | 0.17106 | 0.99418 | -0.1113 | 0.99316 | -0.13098 | 46.9934
27 | 0.05528 | 0.013887 | -0.05526 | -0.013874 | 2.0024e-05 | 1.2713e-05 | 0.082427 | 0.082427 | 0.082427 | 0.99808 | -0.036847 | 0.99769 | -0.044439 | 22.6447
28 | 0.0041795 | 0.0010474 | -0.0041793 | -0.0010474 | 2.3551e-07 | -6.0648e-08 | 0.0062311 | 0.0062312 | 0.0062312 | 0.99808 | -0.036847 | 0.99802 | -0.038029 | 1.7119
29 | -0.043215 | -0.010838 | 0.04323 | 0.010848 | 1.5926e-05 | 1.0065e-05 | 0.065116 | 0.065116 | 0.065116 | 0.98756 | -0.23935 | 0.98796 | -0.23162 | 17.8891
30 | 0.018334 | 0.0045974 | -0.018329 | -0.0045941 | 5.5499e-06 | 3.3039e-06 | 0.027626 | 0.027626 | 0.027626 | 0.98756 | -0.23935 | 0.98724 | -0.24571 | 7.5896
31 | 0.02488 | 0.0062405 | -0.024872 | -0.0062354 | 8.2841e-06 | 5.1008e-06 | 0.03749 | 0.037491 | 0.037491 | 0.98756 | -0.23935 | 0.9872 | -0.24634 | 10.2996
32 | -0.052149 | -0.013083 | 0.052175 | 0.0131 | 2.5927e-05 | 1.645e-05 | 0.07855 | 0.07855 | 0.07855 | 0.98796 | -0.23162 | 0.9885 | -0.2212 | 21.5796
33 | 0.011242 | 0.002818 | -0.01124 | -0.0028171 | 1.8186e-06 | 9.4796e-07 | 0.016945 | 0.016945 | 0.016945 | 0.98724 | -0.24571 | 0.98706 | -0.2491 | 4.6552
34 | 0.01592 | 0.0039919 | -0.015915 | -0.0039886 | 5.7436e-06 | 3.336e-06 | 0.023998 | 0.023998 | 0.023998 | 0.9872 | -0.24634 | 0.98681 | -0.25391 | 6.5928
35 | 0.019412 | 0.0048693 | -0.019411 | -0.0048685 | 1.3303e-06 | 7.9615e-07 | 0.028956 | 0.028956 | 0.028956 | 0.99761 | -0.045938 | 0.99753 | -0.047376 | 7.9549
36 | 0.0093809 | 0.0023511 | -0.0093802 | -0.0023508 | 7.2173e-07 | 3.3357e-07 | 0.013992 | 0.013992 | 0.013992 | 0.99761 | -0.045938 | 0.99753 | -0.047554 | 3.8441
37 | 0.019411 | 0.0048685 | -0.019404 | -0.0048647 | 6.4933e-06 | 3.8862e-06 | 0.028956 | 0.028956 | 0.028956 | 0.99753 | -0.047376 | 0.99717 | -0.054396 | 7.9549
38 | 0.0061948 | 0.0015524 | -0.0061942 | -0.0015523 | 6.3784e-07 | 1.4822e-07 | 0.0092408 | 0.0092409 | 0.0092409 | 0.99753 | -0.047554 | 0.99741 | -0.049715 | 2.5387
39 | 0.065166 | 0.016382 | -0.065124 | -0.016356 | 4.1674e-05 | 2.6523e-05 | 0.097994 | 0.097994 | 0.097994 | 0.9897 | -0.1978 | 0.98901 | -0.21121 | 26.9215
40 | -0.10749 | -0.027086 | 0.10759 | 0.027145 | 9.3555e-05 | 5.9751e-05 | 0.16126 | 0.16126 | 0.16126 | 0.99222 | -0.14915 | 0.99316 | -0.13098 | 44.302
41 | 0.0090046 | 0.0022568 | -0.0090042 | -0.0022567 | 3.4642e-07 | 1.5483e-07 | 0.01343 | 0.01343 | 0.01343 | 0.99769 | -0.044439 | 0.99764 | -0.045247 | 3.6896
42 | 0.046255 | 0.011617 | -0.046238 | -0.011607 | 1.7031e-05 | 1.0775e-05 | 0.068997 | 0.068997 | 0.068997 | 0.99769 | -0.044439 | 0.99728 | -0.052159 | 18.9551
43 | 0.16926 | 0.042907 | -0.16908 | -0.042795 | 0.00017648 | 0.00011256 | 0.2522 | 0.2522 | 0.2522 | 0.99934 | -0.012632 | 0.9982 | -0.034352 | 34.6425
44 | 0.01455 | 0.003648 | -0.014549 | -0.0036471 | 1.5324e-06 | 8.6834e-07 | 0.021744 | 0.021744 | 0.021744 | 0.99575 | -0.081767 | 0.99563 | -0.083978 | 5.9736
45 | -0.01455 | -0.003648 | 0.014553 | 0.0036498 | 3.1367e-06 | 1.7773e-06 | 0.021744 | 0.021744 | 0.021744 | 0.99575 | -0.081767 | 0.99598 | -0.077244 | 5.9735
46 | 0.014549 | 0.0036471 | -0.014546 | -0.0036455 | 2.9099e-06 | 1.6489e-06 | 0.021744 | 0.021744 | 0.021744 | 0.99563 | -0.083978 | 0.99542 | -0.088176 | 5.9736
47 | -0.027227 | -0.006826 | 0.027238 | 0.0068331 | 1.1331e-05 | 7.0142e-06 | 0.040678 | 0.040678 | 0.040678 | 0.99598 | -0.077244 | 0.99644 | -0.068514 | 11.1753
48 | 0.039912 | 0.010021 | -0.039881 | -0.010002 | 3.1115e-05 | 1.9609e-05 | 0.059558 | 0.059558 | 0.059558 | 0.99728 | -0.052159 | 0.99644 | -0.068514 | 16.362
49 | 0.0033297 | 0.00083439 | -0.0033296 | -0.00083447 | 1.0424e-07 | -7.9604e-08 | 0.0049734 | 0.0049735 | 0.0049735 | 0.99621 | -0.072439 | 0.99618 | -0.073097 | 1.3663
50 | -0.0083684 | -0.0020973 | 0.0083697 | 0.0020979 | 1.3056e-06 | 5.5364e-07 | 0.01259 | 0.01259 | 0.01259 | 0.98906 | -0.21029 | 0.98923 | -0.20702 | 3.4588
51 | -0.010835 | -0.0027155 | 0.010836 | 0.0027164 | 1.7086e-06 | 8.6648e-07 | 0.016175 | 0.016175 | 0.016175 | 0.99672 | -0.063054 | 0.99689 | -0.059744 | 4.4437
52 | -0.058809 | -0.014762 | 0.058837 | 0.01478 | 2.8047e-05 | 1.7828e-05 | 0.088536 | 0.088536 | 0.088536 | 0.9885 | -0.2212 | 0.98901 | -0.21121 | 24.323
53 | 0.0059953 | 0.0015026 | -0.0059948 | -0.0015024 | 5.0554e-07 | 1.1283e-07 | 0.0090403 | 0.0090404 | 0.0090404 | 0.98681 | -0.25391 | 0.98672 | -0.25568 | 2.4836
54 | 0.013165 | 0.003301 | -0.013162 | -0.0032991 | 3.3544e-06 | 1.8446e-06 | 0.019646 | 0.019646 | 0.019646 | 0.99717 | -0.054396 | 0.99689 | -0.059744 | 5.3972
55 | 0.0031388 | 0.00078654 | -0.0031387 | -0.00078663 | 9.5737e-08 | -9.0681e-08 | 0.0046826 | 0.0046827 | 0.0046827 | 0.99741 | -0.049715 | 0.99738 | -0.050355 | 1.2865

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29265 | 0.073575

## res_load
| p_mw | q_mvar
0 | 0.007556 | 0.0018937
1 | 0.0032837 | 0.00082298
2 | 0.0075316 | 0.0018876
3 | 0.0097173 | 0.0024354
4 | 0.0054664 | 0.00137
5 | 0.0071984 | 0.0018041
6 | 0.014491 | 0.0036318
7 | 0.0062681 | 0.0015709
8 | 0.0069753 | 0.0017482
9 | 0.008919 | 0.0022353
10 | 0.0070865 | 0.001776
11 | 0.0089517 | 0.0022435
12 | 0.0031853 | 0.00079832
13 | 0.0092057 | 0.0023072
14 | 0.0061204 | 0.0015339
15 | 0.0041793 | 0.0010474
16 | 0.011712 | 0.0029354
17 | 0.012673 | 0.0031763
18 | 0.014546 | 0.0036455
19 | 0.0090042 | 0.0022567
20 | 0.0063262 | 0.0015855
21 | 0.0076286 | 0.0019119
22 | 0.0083684 | 0.0020973
23 | 0.012921 | 0.0032383
24 | 0.0090244 | 0.0022617
25 | 0.0036349 | 0.000911
26 | 0.0033296 | 0.00083447
27 | 0.0065387 | 0.0016388
28 | 0.0066339 | 0.0016626
29 | 0.01124 | 0.0028171
30 | 0.0099194 | 0.002486
31 | 0.0062392 | 0.0015637
32 | 0.0030554 | 0.00076575
33 | 0.0062866 | 0.0015756
34 | 0.0059948 | 0.0015024
35 | 0.012643 | 0.0031686
36 | 0.0031387 | 0.00078663
37 | 0.0023251 | 0.00058273

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1