## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-234_1_2_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_261-234_1_2_node_22 | 0.4 | n |  | TRUE
2 | bus_LV_261-234_1_2_node_94 | 0.4 | n |  | TRUE
3 | bus_LV_261-234_1_2_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_261-234_1_2_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_261-234_1_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_261-234_1_2_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_261-234_1_2_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_261-234_1_2_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_261-234_1_2_node_88 | 0.4 | n |  | TRUE
10 | bus_LV_261-234_1_2_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_261-234_1_2_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_261-234_1_2_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_261-234_1_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_261-234_1_2_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_261-234_1_2_node_98 | 0.4 | n |  | TRUE
16 | bus_LV_261-234_1_2_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_261-234_1_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_261-234_1_2_node_93 | 0.4 | n |  | TRUE
19 | bus_LV_261-234_1_2_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_261-234_1_2_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_261-234_1_2_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_261-234_1_2_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_261-234_1_2_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_261-234_1_2_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_261-234_1_2_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_261-234_1_2_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_261-234_1_2_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_261-234_1_2_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_261-234_1_2_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_261-234_1_2_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_261-234_1_2_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_261-234_1_2_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_261-234_1_2_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_261-234_1_2_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_261-234_1_2_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_261-234_1_2_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_261-234_1_2_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_261-234_1_2_node_99 | 0.4 | n |  | TRUE
39 | bus_MV_547_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-234_1_2_load_94 | 2 | 0.0053404 | 0.0013384 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-234_1_2_load_92 | 6 | 0.010487 | 0.0026283 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-234_1_2_load_91 | 8 | 0.012479 | 0.0031274 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-234_1_2_load_88 | 9 | 0.0098989 | 0.0024809 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-234_1_2_load_60 | 10 | 0.0096039 | 0.002407 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-234_1_2_load_57 | 11 | 0.010017 | 0.0025105 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-234_1_2_load_84 | 14 | 0.0071803 | 0.0017996 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-234_1_2_load_98 | 15 | 0.011964 | 0.0029985 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-234_1_2_load_69 | 16 | 0.0044683 | 0.0011199 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-234_1_2_load_93 | 18 | 0.022421 | 0.0056193 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-234_1_2_load_46 | 19 | 0.0048077 | 0.0012049 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-234_1_2_load_49 | 22 | 0.0036517 | 0.0009152 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-234_1_2_load_50 | 23 | 0.0037446 | 0.00093848 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-234_1_2_load_51 | 24 | 0.0036508 | 0.00091498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-234_1_2_load_52 | 25 | 0.013841 | 0.0034688 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-234_1_2_load_58 | 26 | 0.0051432 | 0.001289 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-234_1_2_load_64 | 28 | 0.0041768 | 0.0010468 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-234_1_2_load_63 | 29 | 0.011985 | 0.0030038 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-234_1_2_load_62 | 30 | 0.053807 | 0.013485 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-234_1_2_load_95 | 33 | 0.0056326 | 0.0014117 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-234_1_2_load_68 | 34 | 0.0056958 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-234_1_2_load_89 | 35 | 0.0084898 | 0.0021277 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-234_1_2_load_90 | 36 | 0.0086988 | 0.0021801 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-234_1_2_load_100 | 37 | 0.01139 | 0.0028547 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-234_1_2_load_99 | 38 | 0.0097508 | 0.0024438 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-234_1_2_line_0 |  | 0 | 1 | 0.007178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-234_1_2_line_1 |  | 0 | 2 | 0.016544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-234_1_2_line_2 |  | 1 | 17 | 0.011379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-234_1_2_line_3 |  | 1 | 14 | 0.02006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-234_1_2_line_4 |  | 2 | 23 | 0.024655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-234_1_2_line_5 |  | 3 | 4 | 0.076294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-234_1_2_line_6 |  | 3 | 5 | 0.014176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-234_1_2_line_7 |  | 3 | 6 | 0.017872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-234_1_2_line_8 |  | 4 | 10 | 0.0067543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-234_1_2_line_9 |  | 4 | 11 | 0.017363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-234_1_2_line_10 |  | 5 | 16 | 0.0048884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-234_1_2_line_11 |  | 6 | 17 | 0.027909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-234_1_2_line_12 |  | 7 | 8 | 0.024945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-234_1_2_line_13 |  | 7 | 9 | 0.011999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-234_1_2_line_14 |  | 8 | 17 | 0.017249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-234_1_2_line_15 |  | 9 | 35 | 0.042141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-234_1_2_line_16 |  | 10 | 30 | 0.044532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-234_1_2_line_17 |  | 11 | 26 | 0.026401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-234_1_2_line_18 |  | 12 | 13 | 0.020975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-234_1_2_line_19 |  | 12 | 14 | 0.021118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-234_1_2_line_20 |  | 13 | 15 | 0.010009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-234_1_2_line_21 |  | 15 | 38 | 0.0062656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-234_1_2_line_22 |  | 16 | 34 | 0.021633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-234_1_2_line_23 |  | 17 | 18 | 0.040669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-234_1_2_line_24 |  | 19 | 20 | 0.020605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-234_1_2_line_25 |  | 20 | 23 | 0.0015848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-234_1_2_line_26 |  | 20 | 21 | 0.003842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-234_1_2_line_27 |  | 21 | 22 | 0.014315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-234_1_2_line_28 |  | 22 | 24 | 0.00012145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-234_1_2_line_29 |  | 24 | 25 | 0.0085713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-234_1_2_line_30 |  | 26 | 27 | 0.033327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-234_1_2_line_31 |  | 27 | 28 | 0.014251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-234_1_2_line_32 |  | 27 | 29 | 0.02366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-234_1_2_line_33 |  | 29 | 31 | 0.016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-234_1_2_line_34 |  | 31 | 32 | 0.032095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-234_1_2_line_35 |  | 32 | 33 | 0.018491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-234_1_2_line_36 |  | 35 | 36 | 0.01309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-234_1_2_line_37 |  | 36 | 37 | 0.0034407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-234_1_2_trafo_93 | 0.63 MVA 20/0.4 kV | 39 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2682332.3602 | 1246099.9773 | 2682339.5025 | 1246100.8771
1 | 2682339.5025 | 1246100.8771 | 2682338.2962 | 1246101.2384 | 2682337.4041 | 1246101.8265 | 2682336.5045 | 1246102.9481 | 2682336.1 | 1246104.3324 | 2682336.1819 | 1246115.6687
2 | 2682332.3602 | 1246099.9773 | 2682332.3475 | 1246096.5413 | 2682336.7521 | 1246097.0917 | 2682337.2083 | 1246093.6177
3 | 2682332.3602 | 1246099.9773 | 2682327.1032 | 1246099.3261 | 2682312.4634 | 1246097.4209
4 | 2682336.1819 | 1246115.6687 | 2682336.3599 | 1246140.3233
5 | 2682385.0316 | 1246029.0457 | 2682388.5162 | 1246069.7016 | 2682387.1663 | 1246100.5053 | 2682382.5759 | 1246099.7299
6 | 2682382.0096 | 1246112.7537 | 2682381.9393 | 1246110.7402 | 2682381.2252 | 1246108.8511 | 2682379.7983 | 1246107.1412 | 2682381.2889 | 1246103.1812 | 2682382.5759 | 1246099.7299
7 | 2682382.5759 | 1246099.7299 | 2682377.4731 | 1246098.8584 | 2682364.8843 | 1246097.2199
8 | 2682385.0316 | 1246029.0457 | 2682387.0666 | 1246029.3964 | 2682390.026 | 1246033.0339
9 | 2682385.0316 | 1246029.0457 | 2682379.8559 | 1246024.1702 | 2682381.8048 | 1246014.1041
10 | 2682382.0096 | 1246112.7537 | 2682382.0321 | 1246117.6421
11 | 2682337.2083 | 1246093.6177 | 2682364.8843 | 1246097.2199
12 | 2682295.3674 | 1246088.1665 | 2682320.1038 | 1246091.3893
13 | 2682295.3674 | 1246088.1665 | 2682295.4357 | 1246087.6004 | 2682286.5371 | 1246082.0506 | 2682286.6709 | 1246081.1185 | 2682286.6709 | 1246081.1185
14 | 2682337.2083 | 1246093.6177 | 2682320.1038 | 1246091.3893
15 | 2682286.6709 | 1246081.1185 | 2682296.7133 | 1246082.6478 | 2682300.0403 | 1246072.1196 | 2682303.3915 | 1246058.7563 | 2682305.5273 | 1246051.9176
16 | 2682419.4416 | 1246060.8914 | 2682417.254 | 1246050.8648 | 2682414.2778 | 1246046.4758 | 2682411.9942 | 1246042.808 | 2682406.446 | 1246040.8184 | 2682398.8811 | 1246038.7896 | 2682392.8311 | 1246036.4817 | 2682390.026 | 1246033.0339
17 | 2682381.8048 | 1246014.1041 | 2682382.778 | 1246009.0776 | 2682385.3653 | 1245987.9541
18 | 2682291.5218 | 1246094.6957 | 2682290.6568 | 1246097.141 | 2682288.7278 | 1246097.3144 | 2682274.6237 | 1246098.831 | 2682272.5103 | 1246099.769
19 | 2682291.5218 | 1246094.6957 | 2682312.4634 | 1246097.4209
20 | 2682272.5103 | 1246099.769 | 2682269.1838 | 1246107.5508 | 2682269.0459 | 1246109.0903
21 | 2682269.0459 | 1246109.0903 | 2682268.4869 | 1246115.331
22 | 2682382.1314 | 1246139.2746 | 2682382.0529 | 1246122.139 | 2682382.0321 | 1246117.6421
23 | 2682350.0343 | 1246056.3019 | 2682345.623 | 1246060.5771 | 2682342.049 | 1246066.5874 | 2682339.8214 | 1246073.5727 | 2682337.2083 | 1246093.6177
24 | 2682336.3714 | 1246141.9081 | 2682336.5246 | 1246162.5125
25 | 2682336.3714 | 1246141.9081 | 2682336.3599 | 1246140.3233
26 | 2682332.518 | 1246141.9213 | 2682336.3714 | 1246141.9081
27 | 2682332.518 | 1246141.9213 | 2682318.2036 | 1246141.9854
28 | 2682318.0822 | 1246141.9859 | 2682318.2036 | 1246141.9854
29 | 2682309.511 | 1246142.0243 | 2682318.0822 | 1246141.9859
30 | 2682389.417 | 1245954.8746 | 2682385.3653 | 1245987.9541
31 | 2682389.417 | 1245954.8746 | 2682382.2271 | 1245951.9504 | 2682376.5167 | 1245948.8686
32 | 2682389.417 | 1245954.8746 | 2682412.8742 | 1245953.9665 | 2682413.0598 | 1245953.9636
33 | 2682429.3789 | 1245953.7067 | 2682413.0598 | 1245953.9636
34 | 2682429.3789 | 1245953.7067 | 2682429.3256 | 1245939.6068 | 2682429.7421 | 1245930.8506 | 2682430.2458 | 1245929.9459 | 2682431.3018 | 1245929.5269 | 2682438.3449 | 1245929.9695
35 | 2682438.3449 | 1245929.9695 | 2682439.6193 | 1245915.4767 | 2682439.9468 | 1245911.5478
36 | 2682305.5273 | 1246051.9176 | 2682306.7835 | 1246047.8955 | 2682310.397 | 1246039.7884
37 | 2682311.7978 | 1246036.6457 | 2682310.397 | 1246039.7884

## bus_geodata
| x | y | coords
0 | 2682339.5025 | 1246100.8771
1 | 2682332.3602 | 1246099.9773
2 | 2682336.1819 | 1246115.6687
3 | 2682382.5759 | 1246099.7299
4 | 2682385.0316 | 1246029.0457
5 | 2682382.0096 | 1246112.7537
6 | 2682364.8843 | 1246097.2199
7 | 2682295.3674 | 1246088.1665
8 | 2682320.1038 | 1246091.3893
9 | 2682286.6709 | 1246081.1185
10 | 2682390.026 | 1246033.0339
11 | 2682381.8048 | 1246014.1041
12 | 2682291.5218 | 1246094.6957
13 | 2682272.5103 | 1246099.769
14 | 2682312.4634 | 1246097.4209
15 | 2682269.0459 | 1246109.0903
16 | 2682382.0321 | 1246117.6421
17 | 2682337.2083 | 1246093.6177
18 | 2682350.0343 | 1246056.3019
19 | 2682336.5246 | 1246162.5125
20 | 2682336.3714 | 1246141.9081
21 | 2682332.518 | 1246141.9213
22 | 2682318.2036 | 1246141.9854
23 | 2682336.3599 | 1246140.3233
24 | 2682318.0822 | 1246141.9859
25 | 2682309.511 | 1246142.0243
26 | 2682385.3653 | 1245987.9541
27 | 2682389.417 | 1245954.8746
28 | 2682376.5167 | 1245948.8686
29 | 2682413.0598 | 1245953.9636
30 | 2682419.4416 | 1246060.8914
31 | 2682429.3789 | 1245953.7067
32 | 2682438.3449 | 1245929.9695
33 | 2682439.9468 | 1245911.5478
34 | 2682382.1314 | 1246139.2746
35 | 2682305.5273 | 1246051.9176
36 | 2682310.397 | 1246039.7884
37 | 2682311.7978 | 1246036.6457
38 | 2682268.4869 | 1246115.331
39 | 2682337.2083 | 1246093.6177

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9947 | -0.10122 | 0 | 0
1 | 0.99493 | -0.096789 | 0 | 0
2 | 0.99417 | -0.11144 | 0.0053404 | 0.0013384
3 | 0.99065 | -0.17859 | 0 | 0
4 | 0.98357 | -0.31557 | 0 | 0
5 | 0.99052 | -0.18115 | 0 | 0
6 | 0.99248 | -0.14357 | 0.010487 | 0.0026283
7 | 0.99391 | -0.11638 | 0 | 0
8 | 0.99479 | -0.099456 | 0.012479 | 0.0031274
9 | 0.99349 | -0.12453 | 0.0098989 | 0.0024809
10 | 0.98318 | -0.32329 | 0.0096039 | 0.002407
11 | 0.98298 | -0.32714 | 0.010017 | 0.0025105
12 | 0.99398 | -0.11509 | 0 | 0
13 | 0.99357 | -0.12313 | 0 | 0
14 | 0.9944 | -0.107 | 0.0071803 | 0.0017996
15 | 0.99337 | -0.12697 | 0.011964 | 0.0029985
16 | 0.99047 | -0.18203 | 0.0044683 | 0.0011199
17 | 0.99559 | -0.083987 | 0 | 0
18 | 1 | 0 | -0.24016 | -0.06078
19 | 0.99338 | -0.12683 | 0.0048077 | 0.0012049
20 | 0.99347 | -0.12508 | 0 | 0
21 | 0.99339 | -0.12652 | 0 | 0
22 | 0.99312 | -0.13186 | 0.0036517 | 0.0009152
23 | 0.9935 | -0.12436 | 0.0037446 | 0.00093848
24 | 0.99311 | -0.1319 | 0.0036508 | 0.00091498
25 | 0.993 | -0.134 | 0.013841 | 0.0034688
26 | 0.98232 | -0.33998 | 0.0051432 | 0.001289
27 | 0.98165 | -0.35311 | 0 | 0
28 | 0.9816 | -0.35419 | 0.0041768 | 0.0010468
29 | 0.98127 | -0.36066 | 0.011985 | 0.0030038
30 | 0.98096 | -0.3666 | 0.053807 | 0.013485
31 | 0.98118 | -0.36232 | 0 | 0
32 | 0.98102 | -0.3656 | 0 | 0
33 | 0.98092 | -0.36748 | 0.0056326 | 0.0014117
34 | 0.99036 | -0.18422 | 0.0056958 | 0.0014275
35 | 0.99239 | -0.14582 | 0.0084898 | 0.0021277
36 | 0.99215 | -0.15047 | 0.0086988 | 0.0021801
37 | 0.99212 | -0.15117 | 0.01139 | 0.0028547
38 | 0.99331 | -0.12804 | 0.0097508 | 0.0024438
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035081 | -0.0088084 | 0.035088 | 0.0088131 | 7.4148e-06 | 4.6523e-06 | 0.052485 | 0.052485 | 0.052485 | 0.9947 | -0.10122 | 0.99493 | -0.096789 | 14.4189
1 | 0.035081 | 0.0088084 | -0.035064 | -0.0087977 | 1.709e-05 | 1.0723e-05 | 0.052485 | 0.052485 | 0.052485 | 0.9947 | -0.10122 | 0.99417 | -0.11144 | 14.4189
2 | -0.064019 | -0.016076 | 0.064058 | 0.016101 | 3.9127e-05 | 2.4893e-05 | 0.095758 | 0.095758 | 0.095758 | 0.99493 | -0.096789 | 0.99559 | -0.083987 | 26.3071
3 | 0.028931 | 0.0072634 | -0.028917 | -0.0072546 | 1.4087e-05 | 8.7551e-06 | 0.043273 | 0.043273 | 0.043273 | 0.99493 | -0.096789 | 0.9944 | -0.107 | 11.8882
4 | 0.029723 | 0.0074593 | -0.029705 | -0.0074479 | 1.8302e-05 | 1.1394e-05 | 0.044492 | 0.044492 | 0.044492 | 0.99417 | -0.11144 | 0.9935 | -0.12436 | 12.223
5 | 0.10122 | 0.025698 | -0.10056 | -0.025275 | 0.00066238 | 0.00042295 | 0.15216 | 0.15216 | 0.15216 | 0.99065 | -0.17859 | 0.98357 | -0.31557 | 41.8017
6 | 0.010166 | 0.0025483 | -0.010165 | -0.0025477 | 1.2397e-06 | 6.1088e-07 | 0.015271 | 0.015271 | 0.015271 | 0.99065 | -0.17859 | 0.99052 | -0.18115 | 4.1952
7 | -0.11139 | -0.028246 | 0.11158 | 0.028366 | 0.00018787 | 0.00012001 | 0.16743 | 0.16743 | 0.16743 | 0.99065 | -0.17859 | 0.99248 | -0.14357 | 45.9968
8 | 0.063546 | 0.015978 | -0.063522 | -0.015963 | 2.3418e-05 | 1.4902e-05 | 0.096154 | 0.096154 | 0.096154 | 0.98357 | -0.31557 | 0.98318 | -0.32329 | 26.416
9 | 0.037013 | 0.0092971 | -0.036993 | -0.0092843 | 2.0422e-05 | 1.285e-05 | 0.056004 | 0.056004 | 0.056004 | 0.98357 | -0.31557 | 0.98298 | -0.32714 | 15.3857
10 | 0.010165 | 0.0025477 | -0.010165 | -0.0025475 | 4.2748e-07 | 2.1067e-07 | 0.015271 | 0.015271 | 0.015271 | 0.99052 | -0.18115 | 0.99047 | -0.18203 | 4.1952
11 | -0.12206 | -0.030994 | 0.12241 | 0.031219 | 0.00035108 | 0.00022433 | 0.18315 | 0.18315 | 0.18315 | 0.99248 | -0.14357 | 0.99559 | -0.083987 | 50.3163
12 | -0.038527 | -0.0096738 | 0.038558 | 0.0096934 | 3.1129e-05 | 1.9599e-05 | 0.057686 | 0.057686 | 0.057686 | 0.99391 | -0.11638 | 0.99479 | -0.099456 | 15.8477
13 | 0.038527 | 0.0096738 | -0.038512 | -0.0096644 | 1.4974e-05 | 9.4276e-06 | 0.057686 | 0.057686 | 0.057686 | 0.99391 | -0.11638 | 0.99349 | -0.12453 | 15.8477
14 | -0.051036 | -0.012821 | 0.051074 | 0.012845 | 3.7708e-05 | 2.3909e-05 | 0.076351 | 0.076351 | 0.076351 | 0.99479 | -0.099456 | 0.99559 | -0.083987 | 20.9756
15 | 0.028613 | 0.0071835 | -0.028584 | -0.0071654 | 2.9029e-05 | 1.8034e-05 | 0.04286 | 0.04286 | 0.04286 | 0.99349 | -0.12453 | 0.99239 | -0.14582 | 11.7747
16 | 0.053918 | 0.013556 | -0.053807 | -0.013485 | 0.00011125 | 7.0635e-05 | 0.081619 | 0.081619 | 0.081619 | 0.98318 | -0.32329 | 0.98096 | -0.3666 | 22.4229
17 | 0.026976 | 0.0067738 | -0.02696 | -0.0067636 | 1.6514e-05 | 1.0234e-05 | 0.040841 | 0.040841 | 0.040841 | 0.98298 | -0.32714 | 0.98232 | -0.33998 | 11.22
18 | 0.021728 | 0.00545 | -0.021719 | -0.0054449 | 8.3227e-06 | 5.0548e-06 | 0.032529 | 0.032529 | 0.032529 | 0.99398 | -0.11509 | 0.99357 | -0.12313 | 8.9365
19 | -0.021728 | -0.00545 | 0.021736 | 0.0054551 | 8.3795e-06 | 5.089e-06 | 0.032529 | 0.032529 | 0.032529 | 0.99398 | -0.11509 | 0.9944 | -0.107 | 8.9364
20 | 0.021719 | 0.0054449 | -0.021716 | -0.0054425 | 3.9714e-06 | 2.4121e-06 | 0.032529 | 0.032529 | 0.032529 | 0.99357 | -0.12313 | 0.99337 | -0.12697 | 8.9365
21 | 0.0097513 | 0.002444 | -0.0097508 | -0.0024438 | 5.0132e-07 | 2.3973e-07 | 0.014607 | 0.014607 | 0.014607 | 0.99337 | -0.12697 | 0.99331 | -0.12804 | 4.0129
22 | 0.0056964 | 0.0014276 | -0.0056958 | -0.0014275 | 5.9412e-07 | 1.0184e-07 | 0.0085578 | 0.0085579 | 0.0085579 | 0.99047 | -0.18203 | 0.99036 | -0.18422 | 2.3511
23 | -0.23755 | -0.060165 | 0.23851 | 0.06078 | 0.0009624 | 0.00061487 | 0.35526 | 0.35526 | 0.35526 | 0.99559 | -0.083987 | 1 | 0 | 48.7994
24 | -0.0048077 | -0.0012049 | 0.0048081 | 0.0012049 | 4.0075e-07 | -1.03e-08 | 0.0072017 | 0.0072016 | 0.0072017 | 0.99338 | -0.12683 | 0.99347 | -0.12508 | 1.9785
25 | -0.02596 | -0.0065088 | 0.025961 | 0.0065094 | 8.9852e-07 | 5.5453e-07 | 0.038883 | 0.038883 | 0.038883 | 0.99347 | -0.12508 | 0.9935 | -0.12436 | 10.6822
26 | 0.021151 | 0.0053039 | -0.02115 | -0.005303 | 1.4461e-06 | 8.7578e-07 | 0.031682 | 0.031682 | 0.031682 | 0.99347 | -0.12508 | 0.99339 | -0.12652 | 8.7038
27 | 0.02115 | 0.005303 | -0.021145 | -0.0052998 | 5.388e-06 | 3.2631e-06 | 0.031682 | 0.031682 | 0.031682 | 0.99339 | -0.12652 | 0.99312 | -0.13186 | 8.7038
28 | 0.017493 | 0.0043846 | -0.017493 | -0.0043846 | 3.1289e-08 | 1.8453e-08 | 0.02621 | 0.02621 | 0.02621 | 0.99312 | -0.13186 | 0.99311 | -0.1319 | 7.2007
29 | 0.013842 | 0.0034696 | -0.013841 | -0.0034688 | 1.3826e-06 | 7.7399e-07 | 0.02074 | 0.02074 | 0.02074 | 0.99311 | -0.1319 | 0.993 | -0.134 | 5.6979
30 | 0.021817 | 0.0054746 | -0.021803 | -0.0054663 | 1.3651e-05 | 8.315e-06 | 0.03305 | 0.03305 | 0.03305 | 0.98232 | -0.33998 | 0.98165 | -0.35311 | 9.0797
31 | 0.004177 | 0.0010468 | -0.0041768 | -0.0010468 | 2.1424e-07 | -4.304e-08 | 0.0063316 | 0.0063316 | 0.0063316 | 0.98165 | -0.35311 | 0.9816 | -0.35419 | 1.7395
32 | 0.017626 | 0.0044195 | -0.01762 | -0.0044157 | 6.334e-06 | 3.7548e-06 | 0.026718 | 0.026719 | 0.026719 | 0.98165 | -0.35311 | 0.98127 | -0.36066 | 7.3403
33 | 0.0056344 | 0.001412 | -0.0056339 | -0.0014119 | 4.468e-07 | 7.9794e-08 | 0.008544 | 0.0085441 | 0.0085441 | 0.98127 | -0.36066 | 0.98118 | -0.36232 | 2.3473
34 | 0.0056339 | 0.0014119 | -0.0056331 | -0.0014117 | 8.7863e-07 | 1.5703e-07 | 0.0085441 | 0.0085443 | 0.0085443 | 0.98118 | -0.36232 | 0.98102 | -0.3656 | 2.3473
35 | 0.0056331 | 0.0014117 | -0.0056326 | -0.0014117 | 5.0623e-07 | 9.0544e-08 | 0.0085443 | 0.0085444 | 0.0085444 | 0.98102 | -0.3656 | 0.98092 | -0.36748 | 2.3473
36 | 0.020094 | 0.0050377 | -0.020089 | -0.005035 | 4.4561e-06 | 2.6828e-06 | 0.03013 | 0.03013 | 0.03013 | 0.99239 | -0.14582 | 0.99215 | -0.15047 | 8.2775
37 | 0.011391 | 0.0028549 | -0.01139 | -0.0028547 | 3.7657e-07 | 1.9657e-07 | 0.017084 | 0.017084 | 0.017084 | 0.99215 | -0.15047 | 0.99212 | -0.15117 | 4.6933

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26258 | 0.066399

## res_load
| p_mw | q_mvar
0 | 0.0053404 | 0.0013384
1 | 0.010487 | 0.0026283
2 | 0.012479 | 0.0031274
3 | 0.0098989 | 0.0024809
4 | 0.0096039 | 0.002407
5 | 0.010017 | 0.0025105
6 | 0.0071803 | 0.0017996
7 | 0.011964 | 0.0029985
8 | 0.0044683 | 0.0011199
9 | 0.022421 | 0.0056193
10 | 0.0048077 | 0.0012049
11 | 0.0036517 | 0.0009152
12 | 0.0037446 | 0.00093848
13 | 0.0036508 | 0.00091498
14 | 0.013841 | 0.0034688
15 | 0.0051432 | 0.001289
16 | 0.0041768 | 0.0010468
17 | 0.011985 | 0.0030038
18 | 0.053807 | 0.013485
19 | 0.0056326 | 0.0014117
20 | 0.0056958 | 0.0014275
21 | 0.0084898 | 0.0021277
22 | 0.0086988 | 0.0021801
23 | 0.01139 | 0.0028547
24 | 0.0097508 | 0.0024438

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1