## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-236_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-236_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-236_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-236_0_5_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_261-236_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-236_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-236_0_5_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_261-236_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-236_0_5_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_261-236_0_5_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_261-236_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-236_0_5_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_261-236_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_261-236_0_5_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_261-236_0_5_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_261-236_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-236_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_261-236_0_5_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_261-236_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-236_0_5_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_261-236_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_261-236_0_5_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_261-236_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_261-236_0_5_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_261-236_0_5_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_261-236_0_5_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_261-236_0_5_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_261-236_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_261-236_0_5_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_261-236_0_5_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_261-236_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_261-236_0_5_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_261-236_0_5_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_261-236_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_261-236_0_5_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_261-236_0_5_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_261-236_0_5_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_261-236_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_261-236_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_261-236_0_5_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_261-236_0_5_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_261-236_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_261-236_0_5_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_261-236_0_5_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_261-236_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_261-236_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_261-236_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_261-236_0_5_node_33 | 0.4 | n |  | TRUE
48 | bus_MV_547_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-236_0_5_load_0 | 0 | 0.010766 | 0.0026982 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-236_0_5_load_1 | 1 | 0.012671 | 0.0031755 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-236_0_5_load_4 | 4 | 0.013445 | 0.0033695 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-236_0_5_load_43 | 9 | 0.009845 | 0.0024674 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-236_0_5_load_45 | 11 | 0.0062506 | 0.0015665 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-236_0_5_load_42 | 13 | 0.011321 | 0.0028374 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-236_0_5_load_54 | 14 | 0.10678 | 0.026763 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-236_0_5_load_26 | 19 | 0.030072 | 0.0075368 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-236_0_5_load_49 | 21 | 0.013358 | 0.0033479 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-236_0_5_load_41 | 23 | 0.015807 | 0.0039615 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-236_0_5_load_46 | 24 | 0.0084922 | 0.0021284 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-236_0_5_load_47 | 26 | 0.0097663 | 0.0024477 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-236_0_5_load_48 | 28 | 0.013543 | 0.0033943 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-236_0_5_load_40 | 29 | 0.0088415 | 0.0022159 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-236_0_5_load_53 | 31 | 0.013341 | 0.0033436 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-236_0_5_load_36 | 32 | 0.02028 | 0.0050826 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-236_0_5_load_44 | 35 | 0.0072523 | 0.0018176 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-236_0_5_load_51 | 36 | 0.0044204 | 0.0011079 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-236_0_5_load_27 | 37 | 0.024042 | 0.0060255 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-236_0_5_load_28 | 38 | 0.04482 | 0.011233 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-236_0_5_load_50 | 39 | 0.066974 | 0.016785 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-236_0_5_load_39 | 40 | 0.0055553 | 0.0013923 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-236_0_5_load_38 | 41 | 0.0051111 | 0.001281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-236_0_5_load_35 | 42 | 0.017693 | 0.0044342 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-236_0_5_load_29 | 43 | 0.0042245 | 0.0010588 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-236_0_5_load_30 | 44 | 0.026755 | 0.0067055 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-236_0_5_load_31 | 45 | 0.0024612 | 0.00061683 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-236_0_5_load_32 | 46 | 0.030179 | 0.0075635 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-236_0_5_load_33 | 47 | 0.012127 | 0.0030393 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-236_0_5_line_0 |  | 0 | 1 | 0.026041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-236_0_5_line_1 |  | 0 | 2 | 0.01133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-236_0_5_line_2 |  | 2 | 3 | 0.0072039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-236_0_5_line_3 |  | 3 | 8 | 0.002663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_261-236_0_5_line_4 |  | 3 | 9 | 0.011111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_261-236_0_5_line_5 |  | 4 | 5 | 0.011108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-236_0_5_line_6 |  | 5 | 6 | 0.004356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-236_0_5_line_7 |  | 5 | 7 | 0.0075319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-236_0_5_line_8 |  | 6 | 21 | 0.031856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-236_0_5_line_9 |  | 6 | 18 | 0.0074526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-236_0_5_line_10 |  | 7 | 10 | 0.006267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-236_0_5_line_11 |  | 7 | 11 | 0.0075716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-236_0_5_line_12 |  | 8 | 22 | 0.0096013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_261-236_0_5_line_13 |  | 8 | 23 | 0.030695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-236_0_5_line_14 |  | 9 | 35 | 0.021055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_261-236_0_5_line_15 |  | 10 | 12 | 0.049841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-236_0_5_line_16 |  | 10 | 13 | 0.032694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-236_0_5_line_17 |  | 11 | 35 | 0.0098096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_261-236_0_5_line_18 |  | 12 | 14 | 0.00495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-236_0_5_line_19 |  | 15 | 16 | 0.063722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_261-236_0_5_line_20 |  | 15 | 17 | 0.12299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_261-236_0_5_line_21 |  | 16 | 20 | 0.075451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_261-236_0_5_line_22 |  | 17 | 32 | 0.11418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-236_0_5_line_23 |  | 17 | 30 | 0.11472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-236_0_5_line_24 |  | 18 | 19 | 0.00017508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_261-236_0_5_line_25 |  | 19 | 37 | 6.7727e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_261-236_0_5_line_26 |  | 20 | 24 | 0.032301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_261-236_0_5_line_27 |  | 21 | 39 | 0.051264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-236_0_5_line_28 |  | 22 | 25 | 0.002282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-236_0_5_line_29 |  | 22 | 26 | 0.0095906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_261-236_0_5_line_30 |  | 24 | 26 | 0.023827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_261-236_0_5_line_31 |  | 25 | 29 | 0.021067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-236_0_5_line_32 |  | 25 | 27 | 0.0074724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-236_0_5_line_33 |  | 27 | 28 | 0.035858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-236_0_5_line_34 |  | 29 | 41 | 0.020895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-236_0_5_line_35 |  | 30 | 31 | 0.013354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-236_0_5_line_36 |  | 31 | 33 | 0.017874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-236_0_5_line_37 |  | 32 | 42 | 0.022049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-236_0_5_line_38 |  | 33 | 34 | 0.23405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-236_0_5_line_39 |  | 34 | 36 | 0.019655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-236_0_5_line_40 |  | 37 | 38 | 0.058335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-236_0_5_line_41 |  | 40 | 41 | 0.00097241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-236_0_5_line_42 |  | 42 | 46 | 0.037362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-236_0_5_line_43 |  | 43 | 44 | 0.027675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-236_0_5_line_44 |  | 43 | 45 | 0.0045492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-236_0_5_line_45 |  | 44 | 46 | 0.049346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-236_0_5_line_46 |  | 45 | 47 | 0.024406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-236_0_5_trafo_27 | 0.63 MVA 20/0.4 kV | 48 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2682137.4562 | 1245911.5412 | 2682140.719 | 1245885.7057
1 | 2682136.0366 | 1245922.782 | 2682137.4562 | 1245911.5412
2 | 2682136.0366 | 1245922.782 | 2682135.5446 | 1245926.6669 | 2682135.1443 | 1245929.9304
3 | 2682134.813 | 1245932.5722 | 2682135.1443 | 1245929.9304
4 | 2682135.1443 | 1245929.9304 | 2682124.1229 | 1245928.52
5 | 2682087.0462 | 1245916.288 | 2682089.4396 | 1245916.955 | 2682097.9962 | 1245918.025
6 | 2682087.0462 | 1245916.288 | 2682085.3391 | 1245914.6187 | 2682084.5861 | 1245912.7959
7 | 2682085.9909 | 1245923.7455 | 2682086.4029 | 1245920.7268 | 2682087.0462 | 1245916.288
8 | 2682084.5861 | 1245912.7959 | 2682084.7643 | 1245910.2965 | 2682090.0705 | 1245881.4298
9 | 2682077.2775 | 1245911.3381 | 2682080.3517 | 1245911.9478 | 2682084.5861 | 1245912.7959
10 | 2682085.9909 | 1245923.7455 | 2682084.8911 | 1245924.0527 | 2682083.2004 | 1245925.0189 | 2682082.1412 | 1245926.2163 | 2682081.4865 | 1245927.6638
11 | 2682085.9909 | 1245923.7455 | 2682086.8145 | 1245923.7458 | 2682093.5079 | 1245924.6023
12 | 2682134.813 | 1245932.5722 | 2682139.6622 | 1245933.2176 | 2682144.3304 | 1245933.8382
13 | 2682134.813 | 1245932.5722 | 2682131.0577 | 1245963.0364
14 | 2682124.1229 | 1245928.52 | 2682103.2381 | 1245925.8475
15 | 2682066.8268 | 1245968.7465 | 2682074.4888 | 1245926.6663 | 2682077.6409 | 1245927.1102 | 2682081.4865 | 1245927.6638
16 | 2682081.4865 | 1245927.6638 | 2682077.9146 | 1245947.7179 | 2682075.7053 | 1245959.8429
17 | 2682103.2381 | 1245925.8475 | 2682093.5079 | 1245924.6023
18 | 2682066.8268 | 1245968.7465 | 2682061.9514 | 1245967.8117
19 | 2682058.3291 | 1246056.4596 | 2682058.9698 | 1246057.6583 | 2682059.8825 | 1246058.3158 | 2682060.9823 | 1246058.5534 | 2682118.6573 | 1246065.8013 | 2682118.9414 | 1246063.8371
20 | 2681972.4875 | 1246047.0437 | 2681981.8975 | 1246052.7891 | 2682007.5456 | 1246074.2481 | 2682025.3707 | 1246088.8274 | 2682025.5157 | 1246091.9984 | 2682042.4758 | 1246070.8175 | 2682045.2939 | 1246067.543 | 2682047.6334 | 1246063.9171 | 2682049.2365 | 1246060.5368 | 2682050.5137 | 1246057.241 | 2682050.9234 | 1246055.4787 | 2682054.3777 | 1246055.9157 | 2682058.3291 | 1246056.4596
21 | 2682118.9414 | 1246063.8371 | 2682123.1798 | 1246064.3851 | 2682131.3016 | 1246001.1403 | 2682135.9547 | 1246001.7607 | 2682136.2943 | 1245999.0634
22 | 2681972.4875 | 1246047.0437 | 2681973.2067 | 1246044.2071 | 2681982.5118 | 1245993.0762 | 2681996.024 | 1245935.3561
23 | 2681940.0103 | 1245964.2902 | 2681935.4186 | 1245988.7446 | 2681929.0634 | 1246012.3296 | 2681923.8917 | 1246021.3537 | 2681927.7938 | 1246023.8316 | 2681965.8796 | 1246043.005 | 2681970.5546 | 1246045.8606 | 2681972.4875 | 1246047.0437
24 | 2682077.2775 | 1245911.3381 | 2682077.3089 | 1245911.1659
25 | 2682077.3089 | 1245911.1659 | 2682077.321 | 1245911.0993
26 | 2682136.2943 | 1245999.0634 | 2682140.3089 | 1245967.0125
27 | 2682090.0705 | 1245881.4298 | 2682090.9416 | 1245876.6908 | 2682097.9972 | 1245838.594 | 2682099.2103 | 1245830.9888
28 | 2682144.3304 | 1245933.8382 | 2682144.6111 | 1245931.5738
29 | 2682144.3304 | 1245933.8382 | 2682143.187 | 1245943.3604
30 | 2682140.3089 | 1245967.0125 | 2682141.23 | 1245959.6586 | 2682143.187 | 1245943.3604
31 | 2682144.6111 | 1245931.5738 | 2682165.519 | 1245934.1607
32 | 2682144.6111 | 1245931.5738 | 2682145.0702 | 1245927.8886 | 2682145.5374 | 1245924.159
33 | 2682145.5374 | 1245924.159 | 2682149.9869 | 1245888.5778
34 | 2682165.519 | 1245934.1607 | 2682186.2561 | 1245936.7264
35 | 2681940.0103 | 1245964.2902 | 2681926.8027 | 1245962.3185
36 | 2681910.8552 | 1245955.9926 | 2681913.65 | 1245958.2329 | 2681916.2069 | 1245960.7367 | 2681926.8027 | 1245962.3185
37 | 2682001.0497 | 1245913.8879 | 2681996.024 | 1245935.3561
38 | 2681905.2198 | 1245847.6581 | 2681840.6111 | 1245837.3367 | 2681837.1554 | 1245836.9887 | 2681838.428 | 1245878.3475 | 2681838.7645 | 1245883.5226 | 2681839.8928 | 1245889.9095 | 2681841.8319 | 1245897.7642 | 2681843.5699 | 1245902.6695 | 2681847.1587 | 1245910.3357 | 2681852.3235 | 1245919.3247 | 2681870.1573 | 1245952.4838 | 2681874.4686 | 1245949.9526 | 2681876.348 | 1245949.5449 | 2681879.0389 | 1245949.4598 | 2681908.5421 | 1245954.4373 | 2681910.8552 | 1245955.9926
39 | 2681905.2198 | 1245847.6581 | 2681917.319 | 1245832.168
40 | 2682077.321 | 1245911.0993 | 2682082.0773 | 1245884.9964 | 2682087.8932 | 1245853.7302
41 | 2682187.2211 | 1245936.8458 | 2682186.2561 | 1245936.7264
42 | 2682001.0497 | 1245913.8879 | 2682009.5659 | 1245877.5092
43 | 2682027.1649 | 1245802.5257 | 2682025.5768 | 1245809.1152 | 2682020.8136 | 1245829.4623
44 | 2682027.1649 | 1245802.5257 | 2682028.2308 | 1245798.1031
45 | 2682020.8136 | 1245829.4623 | 2682009.5659 | 1245877.5092
46 | 2682028.2308 | 1245798.1031 | 2682033.9491 | 1245774.3765

## bus_geodata
| x | y | coords
0 | 2682137.4562 | 1245911.5412
1 | 2682140.719 | 1245885.7057
2 | 2682136.0366 | 1245922.782
3 | 2682135.1443 | 1245929.9304
4 | 2682097.9962 | 1245918.025
5 | 2682087.0462 | 1245916.288
6 | 2682084.5861 | 1245912.7959
7 | 2682085.9909 | 1245923.7455
8 | 2682134.813 | 1245932.5722
9 | 2682124.1229 | 1245928.52
10 | 2682081.4865 | 1245927.6638
11 | 2682093.5079 | 1245924.6023
12 | 2682066.8268 | 1245968.7465
13 | 2682075.7053 | 1245959.8429
14 | 2682061.9513 | 1245967.8117
15 | 2682058.3291 | 1246056.4596
16 | 2682118.9414 | 1246063.8371
17 | 2681972.4875 | 1246047.0437
18 | 2682077.2775 | 1245911.3381
19 | 2682077.3088 | 1245911.1659
20 | 2682136.2943 | 1245999.0634
21 | 2682090.0705 | 1245881.4298
22 | 2682144.3304 | 1245933.8382
23 | 2682131.0577 | 1245963.0364
24 | 2682140.3089 | 1245967.0125
25 | 2682144.6111 | 1245931.5738
26 | 2682143.187 | 1245943.3604
27 | 2682145.5374 | 1245924.159
28 | 2682149.9869 | 1245888.5778
29 | 2682165.519 | 1245934.1607
30 | 2681940.0103 | 1245964.2902
31 | 2681926.8027 | 1245962.3185
32 | 2681996.024 | 1245935.3561
33 | 2681910.8552 | 1245955.9926
34 | 2681905.2198 | 1245847.6581
35 | 2682103.2381 | 1245925.8475
36 | 2681917.319 | 1245832.168
37 | 2682077.321 | 1245911.0993
38 | 2682087.8932 | 1245853.7302
39 | 2682099.2103 | 1245830.9888
40 | 2682187.2211 | 1245936.8458
41 | 2682186.2561 | 1245936.7264
42 | 2682001.0497 | 1245913.8879
43 | 2682027.1649 | 1245802.5257
44 | 2682020.8136 | 1245829.4623
45 | 2682028.2308 | 1245798.1031
46 | 2682009.5659 | 1245877.5092
47 | 2682033.9491 | 1245774.3765
48 | 2682077.2775 | 1245911.3381

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99512 | -0.092814 | 0.010766 | 0.0026982
1 | 0.99482 | -0.098623 | 0.012671 | 0.0031755
2 | 0.99537 | -0.088141 | 0 | 0
3 | 0.99552 | -0.085171 | 0 | 0
4 | 0.99868 | -0.025137 | 0.013445 | 0.0033695
5 | 0.99881 | -0.022527 | 0 | 0
6 | 0.99919 | -0.015357 | 0 | 0
7 | 0.99819 | -0.034495 | 0 | 0
8 | 0.9954 | -0.087498 | 0 | 0
9 | 0.99609 | -0.074327 | 0.009845 | 0.0024674
10 | 0.99751 | -0.047452 | 0 | 0
11 | 0.99776 | -0.042627 | 0.0062506 | 0.0015665
12 | 0.99264 | -0.14114 | 0 | 0
13 | 0.99717 | -0.053938 | 0.011321 | 0.0028374
14 | 0.99216 | -0.15049 | 0.10678 | 0.026763
15 | 0.98864 | -0.21628 | 0 | 0
16 | 0.99059 | -0.17898 | 0 | 0
17 | 0.98488 | -0.28866 | 0 | 0
18 | 0.99997 | -0.00049277 | 0 | 0
19 | 0.99999 | -0.00014385 | 0.030072 | 0.0075368
20 | 0.99289 | -0.13502 | 0 | 0
21 | 0.99686 | -0.060138 | 0.013358 | 0.0033479
22 | 0.99499 | -0.095222 | 0 | 0
23 | 0.99496 | -0.096037 | 0.015807 | 0.0039615
24 | 0.99388 | -0.11625 | 0.0084922 | 0.0021284
25 | 0.99492 | -0.09655 | 0 | 0
26 | 0.99466 | -0.10155 | 0.0097663 | 0.0024477
27 | 0.99483 | -0.098332 | 0 | 0
28 | 0.99439 | -0.10689 | 0.013543 | 0.0033943
29 | 0.99455 | -0.10379 | 0.0088415 | 0.0022159
30 | 0.983 | -0.32537 | 0 | 0
31 | 0.98278 | -0.32965 | 0.013341 | 0.0033436
32 | 0.97883 | -0.40605 | 0.02028 | 0.0050826
33 | 0.9827 | -0.33108 | 0 | 0
34 | 0.98175 | -0.34979 | 0 | 0
35 | 0.99722 | -0.052903 | 0.0072523 | 0.0018176
36 | 0.98167 | -0.35136 | 0.0044204 | 0.0011079
37 | 1 | 0 | -0.53867 | -0.13645
38 | 0.99762 | -0.04568 | 0.04482 | 0.011233
39 | 0.99372 | -0.12055 | 0.066974 | 0.016785
40 | 0.99434 | -0.10781 | 0.0055553 | 0.0013923
41 | 0.99435 | -0.10772 | 0.0051111 | 0.001281
42 | 0.97691 | -0.4436 | 0.017693 | 0.0044342
43 | 0.97169 | -0.54642 | 0.0042245 | 0.0010588
44 | 0.97218 | -0.53681 | 0.026755 | 0.0067055
45 | 0.97163 | -0.54764 | 0.0024612 | 0.00061683
46 | 0.97427 | -0.49543 | 0.030179 | 0.0075635
47 | 0.97135 | -0.55311 | 0.012127 | 0.0030393
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012674 | 0.0031774 | -0.012671 | -0.0031755 | 3.5075e-06 | 1.9066e-06 | 0.018952 | 0.018952 | 0.018952 | 0.99512 | -0.092814 | 0.99482 | -0.098623 | 5.2066
1 | -0.02344 | -0.0058757 | 0.023445 | 0.0058789 | 5.2197e-06 | 3.1934e-06 | 0.03505 | 0.03505 | 0.03505 | 0.99512 | -0.092814 | 0.99537 | -0.088141 | 9.6293
2 | -0.023445 | -0.0058789 | 0.023449 | 0.0058809 | 3.3188e-06 | 2.0304e-06 | 0.03505 | 0.03505 | 0.03505 | 0.99537 | -0.088141 | 0.99552 | -0.085171 | 9.6292
3 | 0.20112 | 0.051356 | -0.20109 | -0.051341 | 2.2611e-05 | 1.4333e-05 | 0.30095 | 0.30095 | 0.30095 | 0.99552 | -0.085171 | 0.9954 | -0.087498 | 20.6695
4 | -0.22456 | -0.057237 | 0.22468 | 0.057311 | 0.0001176 | 7.4686e-05 | 0.336 | 0.336 | 0.336 | 0.99552 | -0.085171 | 0.99609 | -0.074327 | 23.0768
5 | -0.013445 | -0.0033695 | 0.013446 | 0.0033705 | 1.6715e-06 | 9.2443e-07 | 0.020032 | 0.020032 | 0.020032 | 0.99868 | -0.025137 | 0.99881 | -0.022527 | 5.5034
6 | -0.38086 | -0.096947 | 0.38099 | 0.097031 | 0.00013172 | 8.4071e-05 | 0.56792 | 0.56792 | 0.56792 | 0.99881 | -0.022527 | 0.99919 | -0.015357 | 39.0058
7 | 0.36741 | 0.093576 | -0.3672 | -0.093441 | 0.00021197 | 0.00013526 | 0.54789 | 0.54789 | 0.54789 | 0.99881 | -0.022527 | 0.99819 | -0.034495 | 37.63
8 | 0.080698 | 0.020366 | -0.080526 | -0.020256 | 0.00017267 | 0.0001101 | 0.12023 | 0.12023 | 0.12023 | 0.99919 | -0.015357 | 0.99686 | -0.060138 | 33.0295
9 | -0.46169 | -0.1174 | 0.46202 | 0.11761 | 0.00033086 | 0.00021136 | 0.68815 | 0.68815 | 0.68815 | 0.99919 | -0.015357 | 0.99997 | -0.00049277 | 47.2632
10 | 0.11871 | 0.029986 | -0.11864 | -0.029938 | 7.3665e-05 | 4.7064e-05 | 0.17705 | 0.17705 | 0.17705 | 0.99819 | -0.034495 | 0.99751 | -0.047452 | 48.639
11 | 0.24849 | 0.063456 | -0.24839 | -0.063394 | 9.7622e-05 | 6.2082e-05 | 0.37085 | 0.37085 | 0.37085 | 0.99819 | -0.034495 | 0.99776 | -0.042627 | 25.4703
12 | 0.18528 | 0.047376 | -0.18521 | -0.047332 | 6.9219e-05 | 4.3801e-05 | 0.27731 | 0.27731 | 0.27731 | 0.9954 | -0.087498 | 0.99499 | -0.095222 | 19.0459
13 | 0.015813 | 0.0039652 | -0.015807 | -0.0039615 | 6.4325e-06 | 3.718e-06 | 0.02364 | 0.02364 | 0.02364 | 0.9954 | -0.087498 | 0.99496 | -0.096037 | 6.4945
14 | -0.23453 | -0.059779 | 0.23477 | 0.059933 | 0.00024278 | 0.00015428 | 0.3507 | 0.3507 | 0.3507 | 0.99609 | -0.074327 | 0.99722 | -0.052903 | 24.0869
15 | 0.10731 | 0.027099 | -0.10683 | -0.026793 | 0.00047938 | 0.00030616 | 0.16015 | 0.16015 | 0.16015 | 0.99751 | -0.047452 | 0.99264 | -0.14114 | 43.9979
16 | 0.011325 | 0.0028392 | -0.011321 | -0.0028374 | 3.4992e-06 | 1.8128e-06 | 0.016894 | 0.016894 | 0.016894 | 0.99751 | -0.047452 | 0.99717 | -0.053938 | 4.6412
17 | 0.24214 | 0.061827 | -0.24202 | -0.061751 | 0.0001202 | 7.6415e-05 | 0.36153 | 0.36153 | 0.36153 | 0.99776 | -0.042627 | 0.99722 | -0.052903 | 24.8301
18 | 0.10683 | 0.026793 | -0.10678 | -0.026763 | 4.7611e-05 | 3.0407e-05 | 0.16015 | 0.16015 | 0.16015 | 0.99264 | -0.14114 | 0.99216 | -0.15049 | 43.9979
19 | -0.13309 | -0.033965 | 0.13333 | 0.034115 | 0.00024023 | 0.00015047 | 0.20053 | 0.20053 | 0.20053 | 0.98864 | -0.21628 | 0.99059 | -0.17898 | 13.7728
20 | 0.13309 | 0.033965 | -0.13262 | -0.033674 | 0.00046369 | 0.00029048 | 0.20053 | 0.20053 | 0.20053 | 0.98864 | -0.21628 | 0.98488 | -0.28866 | 13.773
21 | -0.13333 | -0.034115 | 0.13361 | 0.034294 | 0.00028444 | 0.00017815 | 0.20053 | 0.20053 | 0.20053 | 0.99059 | -0.17898 | 0.99289 | -0.13502 | 13.7728
22 | 0.11482 | 0.029203 | -0.11418 | -0.028793 | 0.00064546 | 0.0004102 | 0.17364 | 0.17364 | 0.17364 | 0.98488 | -0.28866 | 0.97883 | -0.40605 | 23.8513
23 | 0.017801 | 0.0044716 | -0.01777 | -0.0044531 | 3.1126e-05 | 1.8463e-05 | 0.026899 | 0.026899 | 0.026899 | 0.98488 | -0.28866 | 0.983 | -0.32537 | 7.3898
24 | -0.46202 | -0.11761 | 0.46203 | 0.11761 | 7.7728e-06 | 4.9654e-06 | 0.68815 | 0.68815 | 0.68815 | 0.99997 | -0.00049277 | 0.99999 | -0.00014385 | 47.2632
25 | -0.4921 | -0.12515 | 0.4921 | 0.12515 | 3.4105e-06 | 2.1792e-06 | 0.7329 | 0.7329 | 0.7329 | 0.99999 | -0.00014385 | 1 | 0 | 50.3365
26 | -0.13361 | -0.034294 | 0.13374 | 0.03437 | 0.00012177 | 7.6262e-05 | 0.20053 | 0.20053 | 0.20053 | 0.99289 | -0.13502 | 0.99388 | -0.11625 | 13.7727
27 | 0.067167 | 0.016908 | -0.066974 | -0.016785 | 0.00019335 | 0.00012308 | 0.10029 | 0.10029 | 0.10029 | 0.99686 | -0.060138 | 0.99372 | -0.12055 | 27.5515
28 | 0.033069 | 0.0082934 | -0.033067 | -0.0082921 | 2.0931e-06 | 1.3099e-06 | 0.049456 | 0.049456 | 0.049456 | 0.99499 | -0.095222 | 0.99492 | -0.09655 | 13.5869
29 | 0.15214 | 0.039039 | -0.1521 | -0.03901 | 4.668e-05 | 2.9377e-05 | 0.22785 | 0.22785 | 0.22785 | 0.99499 | -0.095222 | 0.99466 | -0.10155 | 15.6493
30 | -0.14223 | -0.036498 | 0.14233 | 0.036562 | 0.00010157 | 6.3771e-05 | 0.21324 | 0.21324 | 0.21324 | 0.99388 | -0.11625 | 0.99466 | -0.10155 | 14.6458
31 | 0.019517 | 0.0048942 | -0.01951 | -0.0048901 | 6.7315e-06 | 4.0347e-06 | 0.02919 | 0.02919 | 0.02919 | 0.99492 | -0.09655 | 0.99455 | -0.10379 | 8.0193
32 | 0.01355 | 0.003398 | -0.013549 | -0.0033973 | 1.1509e-06 | 6.3954e-07 | 0.020266 | 0.020266 | 0.020266 | 0.99492 | -0.09655 | 0.99483 | -0.098332 | 5.5676
33 | 0.013549 | 0.0033973 | -0.013543 | -0.0033943 | 5.5229e-06 | 3.0693e-06 | 0.020266 | 0.020266 | 0.020266 | 0.99483 | -0.098332 | 0.99439 | -0.10689 | 5.5677
34 | 0.010668 | 0.0026742 | -0.010666 | -0.0026732 | 1.9964e-06 | 1.0066e-06 | 0.015962 | 0.015962 | 0.015962 | 0.99455 | -0.10379 | 0.99435 | -0.10772 | 4.3852
35 | 0.01777 | 0.0044531 | -0.017766 | -0.004451 | 3.6234e-06 | 2.1497e-06 | 0.026899 | 0.026899 | 0.026899 | 0.983 | -0.32537 | 0.98278 | -0.32965 | 7.3899
36 | 0.004425 | 0.0011073 | -0.0044247 | -0.0011074 | 3.0082e-07 | -3.3943e-08 | 0.0066992 | 0.0066993 | 0.0066993 | 0.98278 | -0.32965 | 0.9827 | -0.33108 | 1.8405
37 | 0.093899 | 0.02371 | -0.09373 | -0.023602 | 0.00016862 | 0.00010764 | 0.14281 | 0.14281 | 0.14281 | 0.97883 | -0.40605 | 0.97691 | -0.4436 | 39.2329
38 | 0.0044247 | 0.0011074 | -0.0044207 | -0.0011078 | 3.9398e-06 | -4.4094e-07 | 0.0066993 | 0.0067004 | 0.0067004 | 0.9827 | -0.33108 | 0.98175 | -0.34979 | 1.8408
39 | 0.0044207 | 0.0011078 | -0.0044204 | -0.0011079 | 3.3092e-07 | -3.6731e-08 | 0.0067004 | 0.0067005 | 0.0067005 | 0.98175 | -0.34979 | 0.98167 | -0.35136 | 1.8408
40 | 0.044917 | 0.011295 | -0.04482 | -0.011233 | 9.7764e-05 | 6.1805e-05 | 0.066851 | 0.066851 | 0.066851 | 1 | 0 | 0.99762 | -0.04568 | 18.3657
41 | -0.0055553 | -0.0013923 | 0.0055553 | 0.0013923 | 2.5202e-08 | 3.516e-09 | 0.0083134 | 0.0083134 | 0.0083134 | 0.99434 | -0.10781 | 0.99435 | -0.10772 | 2.2839
42 | 0.076037 | 0.019168 | -0.075849 | -0.019048 | 0.00018807 | 0.0001199 | 0.11586 | 0.11586 | 0.11586 | 0.97691 | -0.4436 | 0.97427 | -0.49543 | 31.8294
43 | -0.018817 | -0.0047171 | 0.018825 | 0.0047223 | 8.6175e-06 | 5.1722e-06 | 0.028816 | 0.028816 | 0.028816 | 0.97169 | -0.54642 | 0.97218 | -0.53681 | 7.9164
44 | 0.014592 | 0.0036583 | -0.014591 | -0.0036579 | 8.519e-07 | 4.8887e-07 | 0.022346 | 0.022346 | 0.022346 | 0.97169 | -0.54642 | 0.97163 | -0.54764 | 6.1391
45 | -0.045581 | -0.011428 | 0.045671 | 0.011485 | 9.0071e-05 | 5.7032e-05 | 0.069767 | 0.069767 | 0.069767 | 0.97218 | -0.53681 | 0.97427 | -0.49543 | 19.1669
46 | 0.01213 | 0.003041 | -0.012127 | -0.0030393 | 3.1586e-06 | 1.7193e-06 | 0.018577 | 0.018577 | 0.018577 | 0.97163 | -0.54764 | 0.97135 | -0.55311 | 5.1037

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56271 | 0.14247

## res_load
| p_mw | q_mvar
0 | 0.010766 | 0.0026982
1 | 0.012671 | 0.0031755
2 | 0.013445 | 0.0033695
3 | 0.009845 | 0.0024674
4 | 0.0062506 | 0.0015665
5 | 0.011321 | 0.0028374
6 | 0.10678 | 0.026763
7 | 0.030072 | 0.0075368
8 | 0.013358 | 0.0033479
9 | 0.015807 | 0.0039615
10 | 0.0084922 | 0.0021284
11 | 0.0097663 | 0.0024477
12 | 0.013543 | 0.0033943
13 | 0.0088415 | 0.0022159
14 | 0.013341 | 0.0033436
15 | 0.02028 | 0.0050826
16 | 0.0072523 | 0.0018176
17 | 0.0044204 | 0.0011079
18 | 0.024042 | 0.0060255
19 | 0.04482 | 0.011233
20 | 0.066974 | 0.016785
21 | 0.0055553 | 0.0013923
22 | 0.0051111 | 0.001281
23 | 0.017693 | 0.0044342
24 | 0.0042245 | 0.0010588
25 | 0.026755 | 0.0067055
26 | 0.0024612 | 0.00061683
27 | 0.030179 | 0.0075635
28 | 0.012127 | 0.0030393

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1