## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-239_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-239_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-239_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-239_0_6_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_261-239_0_6_node_42 | 0.4 | n |  | TRUE
5 | bus_LV_261-239_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-239_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_261-239_0_6_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_261-239_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-239_0_6_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_261-239_0_6_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_261-239_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-239_0_6_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_261-239_0_6_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_261-239_0_6_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_261-239_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_261-239_0_6_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_261-239_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_261-239_0_6_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_261-239_0_6_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_261-239_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_261-239_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_261-239_0_6_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_261-239_0_6_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_261-239_0_6_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_261-239_0_6_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_261-239_0_6_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_261-239_0_6_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_261-239_0_6_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_261-239_0_6_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_261-239_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_261-239_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_261-239_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_261-239_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_261-239_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_261-239_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_261-239_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_261-239_0_6_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_261-239_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_261-239_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_MV_524_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-239_0_6_load_0 | 0 | 0.047862 | 0.011995 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-239_0_6_load_42 | 4 | 0.031824 | 0.0079758 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-239_0_6_load_45 | 7 | 0.011064 | 0.002773 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-239_0_6_load_37 | 9 | 0.0038932 | 0.00097572 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-239_0_6_load_36 | 10 | 0.010843 | 0.0027174 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-239_0_6_load_27 | 12 | 0.0087023 | 0.002181 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-239_0_6_load_28 | 13 | 0.0073838 | 0.0018506 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-239_0_6_load_26 | 15 | 0.029344 | 0.0073542 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-239_0_6_load_20 | 16 | 0.0091357 | 0.0022896 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-239_0_6_load_41 | 19 | 0.0778 | 0.019499 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-239_0_6_load_19 | 22 | 0.0090449 | 0.0022669 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-239_0_6_load_46 | 23 | 0.0036389 | 0.000912 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-239_0_6_load_38 | 24 | 0.073184 | 0.018342 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-239_0_6_load_34 | 25 | 0.011952 | 0.0029954 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-239_0_6_load_29 | 26 | 0.01509 | 0.0037818 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-239_0_6_load_43 | 27 | 0.05642 | 0.01414 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-239_0_6_load_44 | 29 | 0.062046 | 0.01555 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-239_0_6_load_21 | 30 | 0.0018496 | 0.00046356 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-239_0_6_load_22 | 31 | 0.0024867 | 0.00062324 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-239_0_6_load_23 | 32 | 0.0053931 | 0.0013516 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-239_0_6_load_24 | 33 | 0.0016384 | 0.00041063 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-239_0_6_load_25 | 34 | 0.0017501 | 0.0004386 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-239_0_6_load_31 | 35 | 0.0023486 | 0.00058863 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-239_0_6_load_32 | 36 | 0.0021266 | 0.00053298 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-239_0_6_load_30 | 37 | 0.010172 | 0.0025493 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-239_0_6_load_35 | 38 | 0.010069 | 0.0025234 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-239_0_6_load_33 | 39 | 0.0042901 | 0.0010752 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-239_0_6_line_0 |  | 0 | 1 | 0.010405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-239_0_6_line_1 |  | 1 | 2 | 0.040948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-239_0_6_line_2 |  | 2 | 3 | 0.061556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-239_0_6_line_3 |  | 2 | 4 | 0.041496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_261-239_0_6_line_4 |  | 3 | 14 | 0.024573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-239_0_6_line_5 |  | 3 | 15 | 0.036792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-239_0_6_line_6 |  | 4 | 20 | 0.04238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-239_0_6_line_7 |  | 5 | 6 | 0.0745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-239_0_6_line_8 |  | 5 | 7 | 0.021285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-239_0_6_line_9 |  | 6 | 10 | 0.017401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-239_0_6_line_10 |  | 6 | 8 | 0.091173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-239_0_6_line_11 |  | 7 | 23 | 0.011598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-239_0_6_line_12 |  | 8 | 9 | 0.0017093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-239_0_6_line_13 |  | 10 | 25 | 0.036004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-239_0_6_line_14 |  | 11 | 12 | 0.009262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-239_0_6_line_15 |  | 11 | 13 | 0.01586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-239_0_6_line_16 |  | 12 | 15 | 0.047441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-239_0_6_line_17 |  | 13 | 26 | 0.034107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-239_0_6_line_18 |  | 14 | 16 | 0.018051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-239_0_6_line_19 |  | 16 | 22 | 0.021025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-239_0_6_line_20 |  | 17 | 18 | 0.007448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_261-239_0_6_line_21 |  | 17 | 19 | 0.04164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-239_0_6_line_22 |  | 18 | 28 | 0.054307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-239_0_6_line_23 |  | 18 | 24 | 0.032982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-239_0_6_line_24 |  | 19 | 21 | 0.040383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-239_0_6_line_25 |  | 20 | 21 | 0.038602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_261-239_0_6_line_26 |  | 23 | 38 | 0.01145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-239_0_6_line_27 |  | 25 | 39 | 0.026314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-239_0_6_line_28 |  | 26 | 37 | 0.0176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-239_0_6_line_29 |  | 27 | 28 | 0.030155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-239_0_6_line_30 |  | 28 | 29 | 0.036906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-239_0_6_line_31 |  | 30 | 31 | 0.022871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-239_0_6_line_32 |  | 31 | 32 | 0.022824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-239_0_6_line_33 |  | 32 | 33 | 0.017386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-239_0_6_line_34 |  | 33 | 34 | 0.0069202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-239_0_6_line_35 |  | 34 | 35 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-239_0_6_line_36 |  | 35 | 36 | 0.02055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-239_0_6_line_37 |  | 36 | 39 | 0.024827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-239_0_6_line_38 |  | 37 | 38 | 0.014957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-239_0_6_trafo_41 | 0.63 MVA 20/0.4 kV | 40 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2680053.1532 | 1252991.7013 | 2680043.3885 | 1252995.2945
1 | 2680045.3923 | 1252962.9084 | 2680040.5913 | 1252966.9243 | 2680034.7674 | 1252971.8048 | 2680053.1532 | 1252991.7013
2 | 2680003.8117 | 1252975.1782 | 2680006.5412 | 1252984.8445 | 2680020.4469 | 1252973.2903 | 2680029.3157 | 1252965.9046 | 2680034.7674 | 1252971.8048 | 2680040.5913 | 1252966.9243 | 2680045.3923 | 1252962.9084
3 | 2680045.3923 | 1252962.9084 | 2680077.24 | 1252936.3068
4 | 2680003.8117 | 1252975.1782 | 2680000.8902 | 1252976.373 | 2679984.2113 | 1252989.8801
5 | 2680003.8117 | 1252975.1782 | 2680031.9697 | 1252951.4968
6 | 2680109.7664 | 1252909.1383 | 2680077.24 | 1252936.3068
7 | 2680146.6894 | 1252801.691 | 2680150.4701 | 1252802.2537 | 2680170.0857 | 1252798.216 | 2680175.741 | 1252797.4475 | 2680179.0766 | 1252797.4482 | 2680177.1972 | 1252798.0232 | 2680174.9584 | 1252798.9492 | 2680171.8499 | 1252800.575 | 2680168.3648 | 1252803.808 | 2680166.7167 | 1252805.6982 | 2680164.7077 | 1252808.6065 | 2680163.703 | 1252812.0177 | 2680163.2011 | 1252815.091 | 2680163.1162 | 1252818.0142 | 2680163.2413 | 1252819.9285 | 2680163.6124 | 1252822.0573 | 2680164.5914 | 1252824.439 | 2680165.6279 | 1252826.4767 | 2680167.0205 | 1252828.4081 | 2680167.3485 | 1252830.3807
8 | 2680167.3485 | 1252830.3807 | 2680167.3048 | 1252833.6047 | 2680166.4022 | 1252836.7282 | 2680164.5903 | 1252839.5725 | 2680155.8172 | 1252846.9095
9 | 2680146.6894 | 1252801.691 | 2680130.6717 | 1252808.4898
10 | 2680146.6894 | 1252801.691 | 2680150.974 | 1252799.0359 | 2680208.5668 | 1252775.3197 | 2680219.9041 | 1252770.7031 | 2680217.7956 | 1252765.3484 | 2680215.6506 | 1252759.9042
11 | 2680155.8172 | 1252846.9095 | 2680146.9204 | 1252854.35
12 | 2680215.6506 | 1252759.9042 | 2680217.2328 | 1252759.2571
13 | 2680098.2544 | 1252824.0662 | 2680114.0666 | 1252815.5379 | 2680130.6717 | 1252808.4898
14 | 2680075.3657 | 1252914.9999 | 2680068.2773 | 1252920.9614
15 | 2680075.3657 | 1252914.9999 | 2680076.2505 | 1252913.1883 | 2680086.9376 | 1252904.389
16 | 2680068.2773 | 1252920.9614 | 2680031.9697 | 1252951.4968
17 | 2680086.9376 | 1252904.389 | 2680096.6189 | 1252896.4178 | 2680113.1625 | 1252882.5822
18 | 2679984.2113 | 1252989.8801 | 2679972.8902 | 1252975.8204
19 | 2679959.7038 | 1252959.4442 | 2679972.8902 | 1252975.8204
20 | 2680196.7175 | 1252887.9432 | 2680202.3382 | 1252883.0379
21 | 2680196.7175 | 1252887.9432 | 2680164.4784 | 1252914.2975
22 | 2680234.6804 | 1252926.6415 | 2680224.1203 | 1252914.5784 | 2680202.3382 | 1252883.0379
23 | 2680202.3382 | 1252883.0379 | 2680227.2902 | 1252861.4695
24 | 2680133.2127 | 1252939.856 | 2680164.4784 | 1252914.2975
25 | 2680109.7664 | 1252909.1383 | 2680133.2127 | 1252939.856
26 | 2680146.9204 | 1252854.35 | 2680138.137 | 1252861.6957
27 | 2680075.4272 | 1252837.1383 | 2680086.433 | 1252830.4421 | 2680098.2544 | 1252824.0662
28 | 2680126.6637 | 1252871.291 | 2680113.1625 | 1252882.5822
29 | 2680234.6804 | 1252926.6415 | 2680259.9723 | 1252910.2209
30 | 2680234.6804 | 1252926.6415 | 2680201.5311 | 1252942.8638
31 | 2679959.905 | 1252904.9721 | 2679978.5131 | 1252896.6337 | 2679980.6424 | 1252895.3619
32 | 2679980.6424 | 1252895.3619 | 2680000.2369 | 1252883.6581
33 | 2680015.0683 | 1252874.5875 | 2680005.3462 | 1252880.6063 | 2680000.2369 | 1252883.6581
34 | 2680020.9522 | 1252870.9448 | 2680015.0683 | 1252874.5875
35 | 2680020.9522 | 1252870.9448 | 2680033.1006 | 1252863.4239 | 2680036.8708 | 1252861.0651
36 | 2680036.8708 | 1252861.0651 | 2680054.2924 | 1252850.1651
37 | 2680075.4272 | 1252837.1383 | 2680064.0315 | 1252844.0718 | 2680054.2924 | 1252850.1651
38 | 2680138.137 | 1252861.6957 | 2680126.6637 | 1252871.291

## bus_geodata
| x | y | coords
0 | 2680043.3885 | 1252995.2945
1 | 2680053.1532 | 1252991.7013
2 | 2680045.3923 | 1252962.9084
3 | 2680003.8117 | 1252975.1782
4 | 2680077.24 | 1252936.3068
5 | 2680167.3485 | 1252830.3807
6 | 2680146.6894 | 1252801.691
7 | 2680155.8172 | 1252846.9095
8 | 2680215.6506 | 1252759.9042
9 | 2680217.2328 | 1252759.2571
10 | 2680130.6717 | 1252808.4898
11 | 2680075.3657 | 1252914.9999
12 | 2680068.2773 | 1252920.9614
13 | 2680086.9376 | 1252904.389
14 | 2679984.2113 | 1252989.8801
15 | 2680031.9697 | 1252951.4968
16 | 2679972.8902 | 1252975.8204
17 | 2680196.7175 | 1252887.9432
18 | 2680202.3382 | 1252883.0379
19 | 2680164.4784 | 1252914.2975
20 | 2680109.7664 | 1252909.1383
21 | 2680133.2127 | 1252939.856
22 | 2679959.7038 | 1252959.4442
23 | 2680146.9204 | 1252854.35
24 | 2680227.2902 | 1252861.4695
25 | 2680098.2544 | 1252824.0662
26 | 2680113.1625 | 1252882.5822
27 | 2680259.9723 | 1252910.2209
28 | 2680234.6804 | 1252926.6415
29 | 2680201.5311 | 1252942.8638
30 | 2679959.905 | 1252904.9721
31 | 2679980.6424 | 1252895.3619
32 | 2680000.2369 | 1252883.6581
33 | 2680015.0683 | 1252874.5875
34 | 2680020.9522 | 1252870.9448
35 | 2680036.8708 | 1252861.0651
36 | 2680054.2924 | 1252850.1651
37 | 2680126.6637 | 1252871.291
38 | 2680138.137 | 1252861.6957
39 | 2680075.4272 | 1252837.1383
40 | 2680133.2127 | 1252939.856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98601 | -0.26785 | 0.047862 | 0.011995
1 | 0.98647 | -0.25893 | 0 | 0
2 | 0.98827 | -0.22389 | 0 | 0
3 | 0.98518 | -0.28349 | 0 | 0
4 | 0.99096 | -0.17216 | 0.031824 | 0.0079758
5 | 0.97845 | -0.41481 | 0 | 0
6 | 0.97676 | -0.44781 | 0 | 0
7 | 0.97877 | -0.40854 | 0.011064 | 0.002773
8 | 0.97643 | -0.4543 | 0 | 0
9 | 0.97643 | -0.45442 | 0.0038932 | 0.00097572
10 | 0.97604 | -0.46203 | 0.010843 | 0.0027174
11 | 0.98156 | -0.35393 | 0 | 0
12 | 0.98186 | -0.34801 | 0.0087023 | 0.002181
13 | 0.98104 | -0.36408 | 0.0073838 | 0.0018506
14 | 0.98477 | -0.29152 | 0 | 0
15 | 0.98355 | -0.31527 | 0.029344 | 0.0073542
16 | 0.98447 | -0.29742 | 0.0091357 | 0.0022896
17 | 0.99757 | -0.046479 | 0 | 0
18 | 0.99691 | -0.058988 | 0 | 0
19 | 1 | 0 | -0.44074 | -0.11217
20 | 0.99411 | -0.11169 | 0 | 0
21 | 0.99699 | -0.05694 | 0 | 0
22 | 0.9843 | -0.30084 | 0.0090449 | 0.0022669
23 | 0.97898 | -0.40434 | 0.0036389 | 0.000912
24 | 0.99471 | -0.10141 | 0.073184 | 0.018342
25 | 0.97491 | -0.48435 | 0.011952 | 0.0029954
26 | 0.98 | -0.3844 | 0.01509 | 0.0037818
27 | 0.98945 | -0.20273 | 0.05642 | 0.01414
28 | 0.99101 | -0.17249 | 0 | 0
29 | 0.98891 | -0.21322 | 0.062046 | 0.01555
30 | 0.97308 | -0.52046 | 0.0018496 | 0.00046356
31 | 0.97311 | -0.51968 | 0.0024867 | 0.00062324
32 | 0.97321 | -0.51786 | 0.0053931 | 0.0013516
33 | 0.97336 | -0.51475 | 0.0016384 | 0.00041063
34 | 0.97344 | -0.5133 | 0.0017501 | 0.0004386
35 | 0.97367 | -0.50878 | 0.0023486 | 0.00058863
36 | 0.97396 | -0.50294 | 0.0021266 | 0.00053298
37 | 0.97955 | -0.3933 | 0.010172 | 0.0025493
38 | 0.97921 | -0.39995 | 0.010069 | 0.0025234
39 | 0.97437 | -0.49491 | 0.0042901 | 0.0010752
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.047862 | -0.011995 | 0.047883 | 0.012008 | 2.0357e-05 | 1.2896e-05 | 0.072231 | 0.072231 | 0.072231 | 0.98601 | -0.26785 | 0.98647 | -0.25893 | 19.8436
1 | -0.047883 | -0.012008 | 0.047963 | 0.012059 | 8.0114e-05 | 5.0749e-05 | 0.072231 | 0.07223 | 0.072231 | 0.98647 | -0.25893 | 0.98827 | -0.22389 | 19.8436
2 | 0.16355 | 0.041489 | -0.16308 | -0.041193 | 0.00046726 | 0.00029669 | 0.24643 | 0.24643 | 0.24643 | 0.98827 | -0.22389 | 0.98518 | -0.28349 | 22.5666
3 | -0.21151 | -0.053548 | 0.21204 | 0.053884 | 0.0005267 | 0.00033549 | 0.31866 | 0.31866 | 0.31866 | 0.98827 | -0.22389 | 0.99096 | -0.17216 | 29.181
4 | 0.018194 | 0.0045644 | -0.018187 | -0.0045602 | 6.9597e-06 | 4.1414e-06 | 0.027482 | 0.027482 | 0.027482 | 0.98518 | -0.28349 | 0.98477 | -0.29152 | 7.55
5 | 0.14488 | 0.036628 | -0.14466 | -0.036489 | 0.00022047 | 0.00013969 | 0.21895 | 0.21895 | 0.21895 | 0.98518 | -0.28349 | 0.98355 | -0.31527 | 20.05
6 | -0.24386 | -0.06186 | 0.24457 | 0.062313 | 0.00071135 | 0.00045362 | 0.36644 | 0.36644 | 0.36644 | 0.99096 | -0.17216 | 0.99411 | -0.11169 | 33.557
7 | 0.048743 | 0.012277 | -0.048666 | -0.01223 | 7.6804e-05 | 4.7287e-05 | 0.07415 | 0.074151 | 0.074151 | 0.97845 | -0.41481 | 0.97676 | -0.44781 | 10.1855
8 | -0.048743 | -0.012277 | 0.048758 | 0.012286 | 1.4628e-05 | 8.56e-06 | 0.07415 | 0.07415 | 0.07415 | 0.97845 | -0.41481 | 0.97877 | -0.40854 | 6.7903
9 | 0.044772 | 0.011255 | -0.044741 | -0.011236 | 3.0367e-05 | 1.9217e-05 | 0.068218 | 0.068218 | 0.068218 | 0.97676 | -0.44781 | 0.97604 | -0.46203 | 18.7413
10 | 0.0038944 | 0.00097534 | -0.0038932 | -0.00097571 | 1.2034e-06 | -3.7062e-07 | 0.0059325 | 0.005933 | 0.005933 | 0.97676 | -0.44781 | 0.97643 | -0.4543 | 1.6299
11 | -0.059822 | -0.015059 | 0.059834 | 0.015066 | 1.1998e-05 | 7.2411e-06 | 0.090971 | 0.090971 | 0.090971 | 0.97877 | -0.40854 | 0.97898 | -0.40434 | 8.3306
12 | 0.0038932 | 0.00097571 | -0.0038932 | -0.00097572 | 2.2563e-08 | -6.9401e-09 | 0.005933 | 0.005933 | 0.005933 | 0.97643 | -0.4543 | 0.97643 | -0.45442 | 1.6299
13 | 0.033899 | 0.0085182 | -0.033863 | -0.0084955 | 3.6072e-05 | 2.2637e-05 | 0.051688 | 0.051688 | 0.051688 | 0.97604 | -0.46203 | 0.97491 | -0.48435 | 14.2001
14 | -0.10641 | -0.026821 | 0.10644 | 0.02684 | 3.0146e-05 | 1.8942e-05 | 0.16136 | 0.16136 | 0.16136 | 0.98156 | -0.35393 | 0.98186 | -0.34801 | 14.7769
15 | 0.10641 | 0.026821 | -0.10636 | -0.026788 | 5.162e-05 | 3.2436e-05 | 0.16136 | 0.16136 | 0.16136 | 0.98156 | -0.35393 | 0.98104 | -0.36408 | 14.7769
16 | -0.11514 | -0.029021 | 0.11532 | 0.029134 | 0.00018068 | 0.00011383 | 0.17455 | 0.17455 | 0.17455 | 0.98186 | -0.34801 | 0.98355 | -0.31527 | 15.9846
17 | 0.098971 | 0.024938 | -0.098875 | -0.024877 | 9.6138e-05 | 6.0237e-05 | 0.15016 | 0.15017 | 0.15017 | 0.98104 | -0.36408 | 0.98 | -0.3844 | 13.7514
18 | 0.018187 | 0.0045602 | -0.018182 | -0.0045572 | 5.1125e-06 | 3.0424e-06 | 0.027482 | 0.027482 | 0.027482 | 0.98477 | -0.29152 | 0.98447 | -0.29742 | 7.5501
19 | 0.0090464 | 0.0022676 | -0.0090449 | -0.0022669 | 1.4742e-06 | 6.7617e-07 | 0.013674 | 0.013674 | 0.013674 | 0.98447 | -0.29742 | 0.9843 | -0.30084 | 3.7565
20 | 0.19276 | 0.048742 | -0.19265 | -0.048668 | 0.00011558 | 7.3776e-05 | 0.28769 | 0.28769 | 0.28769 | 0.99757 | -0.046479 | 0.99691 | -0.058988 | 39.5174
21 | -0.19276 | -0.048742 | 0.19319 | 0.049016 | 0.00043079 | 0.00027407 | 0.28769 | 0.28769 | 0.28769 | 0.99757 | -0.046479 | 1 | 0 | 26.3449
22 | 0.11932 | 0.030232 | -0.11867 | -0.029819 | 0.00064677 | 0.00041323 | 0.17821 | 0.17821 | 0.17821 | 0.99691 | -0.058988 | 0.99101 | -0.17249 | 48.9588
23 | 0.073332 | 0.018436 | -0.073184 | -0.018342 | 0.00014824 | 9.4442e-05 | 0.10948 | 0.10948 | 0.10948 | 0.99691 | -0.058988 | 0.99471 | -0.10141 | 30.0761
24 | 0.2459 | 0.063159 | -0.24522 | -0.062727 | 0.00067782 | 0.00043222 | 0.36644 | 0.36644 | 0.36644 | 1 | 0 | 0.99699 | -0.05694 | 33.5569
25 | -0.24457 | -0.062313 | 0.24522 | 0.062727 | 0.00064793 | 0.00041317 | 0.36644 | 0.36644 | 0.36644 | 0.99411 | -0.11169 | 0.99699 | -0.05694 | 33.557
26 | -0.063473 | -0.015978 | 0.063486 | 0.015986 | 1.3329e-05 | 8.0984e-06 | 0.096502 | 0.096501 | 0.096502 | 0.97898 | -0.40434 | 0.97921 | -0.39995 | 8.8371
27 | 0.021911 | 0.0055001 | -0.0219 | -0.0054934 | 1.1039e-05 | 6.7367e-06 | 0.033446 | 0.033446 | 0.033446 | 0.97491 | -0.48435 | 0.97437 | -0.49491 | 9.1885
28 | 0.083786 | 0.021096 | -0.08375 | -0.021073 | 3.5626e-05 | 2.2136e-05 | 0.12725 | 0.12725 | 0.12725 | 0.98 | -0.3844 | 0.97955 | -0.3933 | 11.6533
29 | -0.05642 | -0.01414 | 0.056502 | 0.014192 | 8.1411e-05 | 5.1715e-05 | 0.084849 | 0.084849 | 0.084849 | 0.98945 | -0.20273 | 0.99101 | -0.17249 | 23.3102
30 | 0.062167 | 0.015627 | -0.062046 | -0.01555 | 0.00012063 | 7.6729e-05 | 0.093361 | 0.093361 | 0.093361 | 0.99101 | -0.17249 | 0.98891 | -0.21322 | 25.6486
31 | -0.0018496 | -0.00046356 | 0.0018497 | 0.00046332 | 6.8611e-08 | -2.4021e-07 | 0.0028284 | 0.0028283 | 0.0028284 | 0.97308 | -0.52046 | 0.97311 | -0.51968 | 0.77704
32 | -0.0043364 | -0.0010866 | 0.0043368 | 0.0010865 | 3.7632e-07 | -4.2733e-08 | 0.0066309 | 0.0066308 | 0.0066309 | 0.97311 | -0.51968 | 0.97321 | -0.51786 | 1.8217
33 | -0.0097299 | -0.0024381 | 0.0097313 | 0.0024389 | 1.4429e-06 | 7.0738e-07 | 0.014877 | 0.014877 | 0.014877 | 0.97321 | -0.51786 | 0.97336 | -0.51475 | 4.087
34 | -0.01137 | -0.0028495 | 0.011371 | 0.0028499 | 7.84e-07 | 4.1574e-07 | 0.017381 | 0.017381 | 0.017381 | 0.97336 | -0.51475 | 0.97344 | -0.5133 | 4.7751
35 | -0.013121 | -0.0032885 | 0.013123 | 0.0032901 | 2.8262e-06 | 1.5758e-06 | 0.020056 | 0.020056 | 0.020056 | 0.97344 | -0.5133 | 0.97367 | -0.50878 | 5.51
36 | -0.015472 | -0.0038787 | 0.015476 | 0.0038812 | 4.3088e-06 | 2.502e-06 | 0.023646 | 0.023646 | 0.023646 | 0.97367 | -0.50878 | 0.97396 | -0.50294 | 6.4961
37 | -0.017603 | -0.0044142 | 0.01761 | 0.0044182 | 6.7343e-06 | 4.0009e-06 | 0.026895 | 0.026895 | 0.026895 | 0.97396 | -0.50294 | 0.97437 | -0.49491 | 7.3886
38 | 0.073578 | 0.018524 | -0.073555 | -0.01851 | 2.3369e-05 | 1.4392e-05 | 0.1118 | 0.1118 | 0.1118 | 0.97955 | -0.3933 | 0.97921 | -0.39995 | 10.2382

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51854 | 0.13167

## res_load
| p_mw | q_mvar
0 | 0.047862 | 0.011995
1 | 0.031824 | 0.0079758
2 | 0.011064 | 0.002773
3 | 0.0038932 | 0.00097572
4 | 0.010843 | 0.0027174
5 | 0.0087023 | 0.002181
6 | 0.0073838 | 0.0018506
7 | 0.029344 | 0.0073542
8 | 0.0091357 | 0.0022896
9 | 0.0778 | 0.019499
10 | 0.0090449 | 0.0022669
11 | 0.0036389 | 0.000912
12 | 0.073184 | 0.018342
13 | 0.011952 | 0.0029954
14 | 0.01509 | 0.0037818
15 | 0.05642 | 0.01414
16 | 0.062046 | 0.01555
17 | 0.0018496 | 0.00046356
18 | 0.0024867 | 0.00062324
19 | 0.0053931 | 0.0013516
20 | 0.0016384 | 0.00041063
21 | 0.0017501 | 0.0004386
22 | 0.0023486 | 0.00058863
23 | 0.0021266 | 0.00053298
24 | 0.010172 | 0.0025493
25 | 0.010069 | 0.0025234
26 | 0.0042901 | 0.0010752

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1