## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-23_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-23_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-23_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-23_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-23_0_4_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_261-23_0_4_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_261-23_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-23_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_261-23_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_261-23_0_4_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_261-23_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-23_0_4_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_261-23_0_4_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_261-23_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-23_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_261-23_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_261-23_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_261-23_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_261-23_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-23_0_4_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_261-23_0_4_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_261-23_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_261-23_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_261-23_0_4_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_261-23_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-23_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_261-23_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_261-23_0_4_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_261-23_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_261-23_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_261-23_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_261-23_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_261-23_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_261-23_0_4_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_261-23_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_261-23_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_261-23_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_261-23_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_261-23_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_261-23_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_261-23_0_4_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_261-23_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_261-23_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_261-23_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_261-23_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_MV_389_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-23_0_4_load_0 | 0 | 0.0065023 | 0.0016296 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-23_0_4_load_1 | 1 | 0.0037266 | 0.00093397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-23_0_4_load_3 | 3 | 0.00078825 | 0.00019755 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-23_0_4_load_52 | 6 | 0.00078808 | 0.00019751 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-23_0_4_load_43 | 11 | 0.019736 | 0.0049462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-23_0_4_load_38 | 13 | 0.0069032 | 0.0017301 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-23_0_4_load_50 | 14 | 0.0067982 | 0.0017038 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-23_0_4_load_39 | 18 | 0.017514 | 0.0043894 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-23_0_4_load_44 | 19 | 0.024723 | 0.0061962 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-23_0_4_load_40 | 21 | 0.0031681 | 0.00079401 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-23_0_4_load_37 | 22 | 0.011853 | 0.0029707 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-23_0_4_load_22 | 24 | 0.02234 | 0.0055989 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-23_0_4_load_33 | 25 | 0.030104 | 0.0075447 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-23_0_4_load_45 | 27 | 0.044217 | 0.011082 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-23_0_4_load_49 | 28 | 0.048079 | 0.01205 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-23_0_4_load_48 | 29 | 0.0068992 | 0.0017291 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-23_0_4_load_32 | 32 | 0.012159 | 0.0030474 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-23_0_4_load_41 | 33 | 0.013183 | 0.0033039 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-23_0_4_load_51 | 34 | 0.0012534 | 0.00031413 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-23_0_4_load_29 | 36 | 0.0048613 | 0.0012183 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-23_0_4_load_35 | 37 | 0.0066175 | 0.0016585 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-23_0_4_load_34 | 38 | 0.0047529 | 0.0011912 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-23_0_4_load_42 | 39 | 0.0024162 | 0.00060556 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-23_0_4_load_30 | 40 | 0.0060617 | 0.0015192 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-23_0_4_load_31 | 41 | 0.011155 | 0.0027957 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-23_0_4_load_53 | 42 | 0.052452 | 0.013146 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-23_0_4_load_26 | 43 | 0.0051032 | 0.001279 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-23_0_4_load_36 | 44 | 0.0060158 | 0.0015077 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-23_0_4_load_27 | 45 | 0.0095272 | 0.0023877 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-23_0_4_load_28 | 46 | 0.0090788 | 0.0022754 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-23_0_4_line_0 |  | 0 | 1 | 0.0045615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-23_0_4_line_1 |  | 0 | 2 | 0.057353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-23_0_4_line_2 |  | 1 | 3 | 0.0073929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-23_0_4_line_3 |  | 2 | 4 | 0.005856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-23_0_4_line_4 |  | 3 | 5 | 0.038876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-23_0_4_line_5 |  | 4 | 6 | 0.042335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-23_0_4_line_6 |  | 5 | 7 | 0.028889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-23_0_4_line_7 |  | 6 | 34 | 0.010653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-23_0_4_line_8 |  | 7 | 35 | 0.063753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-23_0_4_line_9 |  | 7 | 27 | 0.017541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-23_0_4_line_10 |  | 8 | 9 | 0.008745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-23_0_4_line_11 |  | 8 | 10 | 0.011985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-23_0_4_line_12 |  | 8 | 11 | 0.030124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-23_0_4_line_13 |  | 9 | 19 | 0.0073046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-23_0_4_line_14 |  | 9 | 15 | 0.011547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-23_0_4_line_15 |  | 10 | 26 | 0.044781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-23_0_4_line_16 |  | 10 | 27 | 0.014525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-23_0_4_line_17 |  | 12 | 13 | 0.010396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-23_0_4_line_18 |  | 12 | 14 | 0.040998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-23_0_4_line_19 |  | 13 | 22 | 0.028223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-23_0_4_line_20 |  | 14 | 36 | 0.00024094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-23_0_4_line_21 |  | 15 | 16 | 0.017384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-23_0_4_line_22 |  | 15 | 17 | 0.0311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-23_0_4_line_23 |  | 15 | 18 | 0.016174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-23_0_4_line_24 |  | 16 | 23 | 0.007139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-23_0_4_line_25 |  | 16 | 24 | 0.038504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-23_0_4_line_26 |  | 17 | 33 | 0.020324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-23_0_4_line_27 |  | 20 | 21 | 0.032008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-23_0_4_line_28 |  | 20 | 22 | 0.018702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-23_0_4_line_29 |  | 21 | 39 | 0.0018204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-23_0_4_line_30 |  | 23 | 25 | 0.0083721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-23_0_4_line_31 |  | 24 | 31 | 0.0163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-23_0_4_line_32 |  | 25 | 38 | 0.024513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-23_0_4_line_33 |  | 26 | 28 | 0.014785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-23_0_4_line_34 |  | 26 | 29 | 0.017706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-23_0_4_line_35 |  | 30 | 31 | 0.00653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-23_0_4_line_36 |  | 30 | 32 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-23_0_4_line_37 |  | 31 | 43 | 0.052064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-23_0_4_line_38 |  | 32 | 41 | 0.022832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-23_0_4_line_39 |  | 33 | 39 | 0.021544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-23_0_4_line_40 |  | 35 | 42 | 0.003356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-23_0_4_line_41 |  | 36 | 46 | 0.025342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-23_0_4_line_42 |  | 37 | 38 | 0.02808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-23_0_4_line_43 |  | 40 | 41 | 0.022566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-23_0_4_line_44 |  | 43 | 44 | 0.021162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-23_0_4_line_45 |  | 45 | 46 | 0.00017496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-23_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 47 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2679123.4301 | 1248728.8143 | 2679119.2381 | 1248730.6127
1 | 2679176.3443 | 1248706.6975 | 2679169.7095 | 1248709.2774 | 2679127.7192 | 1248726.9743 | 2679123.4301 | 1248728.8143
2 | 2679119.2381 | 1248730.6127 | 2679112.444 | 1248733.5274
3 | 2679179.6336 | 1248711.4671 | 2679178.1473 | 1248708.534 | 2679176.3443 | 1248706.6975
4 | 2679076.7168 | 1248748.8543 | 2679112.444 | 1248733.5274
5 | 2679179.6336 | 1248711.4671 | 2679181.2625 | 1248718.4161 | 2679188.7911 | 1248752.7991
6 | 2679050.1031 | 1248760.2745 | 2679076.7168 | 1248748.8543
7 | 2679191.0698 | 1248763.2059 | 2679188.7911 | 1248752.7991
8 | 2679085.3856 | 1248792.4685 | 2679066.6196 | 1248800.3907 | 2679050.1031 | 1248760.2745
9 | 2679050.1031 | 1248760.2745 | 2679033.9259 | 1248767.0561
10 | 2679016.8706 | 1248762.333 | 2679013.8775 | 1248763.0937 | 2679010.4835 | 1248762.2034 | 2679008.9942 | 1248760.6268
11 | 2679016.8706 | 1248762.333 | 2679018.7147 | 1248767.3168 | 2679021.0252 | 1248773.5744
12 | 2679016.8706 | 1248762.333 | 2679033.9527 | 1248754.9664 | 2679044.5465 | 1248750.4373
13 | 2679008.9942 | 1248760.6268 | 2679005.9816 | 1248753.9724
14 | 2678998.4056 | 1248765.2336 | 2679004.5431 | 1248762.5578 | 2679008.9942 | 1248760.6268
15 | 2679035.957 | 1248814.7479 | 2679022.1084 | 1248782.9512 | 2679019.7163 | 1248777.7155 | 2679021.0252 | 1248773.5744
16 | 2679021.0252 | 1248773.5744 | 2679025.065 | 1248770.7706 | 2679033.9259 | 1248767.0561
17 | 2678891.4375 | 1248733.8643 | 2678900.9917 | 1248729.7667
18 | 2678891.4375 | 1248733.8643 | 2678892.9971 | 1248737.5433 | 2678892.5713 | 1248740.0283 | 2678890.4801 | 1248745.649 | 2678893.9397 | 1248747.2851 | 2678903.3859 | 1248770.0605
19 | 2678926.93 | 1248718.6425 | 2678900.9917 | 1248729.7667
20 | 2678903.4782 | 1248770.2831 | 2678903.3859 | 1248770.0605
21 | 2678998.4056 | 1248765.2336 | 2678998.0503 | 1248768.6647 | 2678996.4048 | 1248770.8666 | 2678998.7929 | 1248775.8353 | 2679001.247 | 1248780.9496
22 | 2678998.4056 | 1248765.2336 | 2678998.0503 | 1248768.6647 | 2678996.4048 | 1248770.8666 | 2678973.6452 | 1248780.9708
23 | 2678998.4056 | 1248765.2336 | 2678997.1288 | 1248761.8808 | 2678992.1173 | 1248750.335
24 | 2679001.247 | 1248780.9496 | 2679002.8119 | 1248780.8259 | 2679004.8851 | 1248781.087 | 2679006.8577 | 1248782.1029 | 2679007.7517 | 1248783.0155
25 | 2679001.247 | 1248780.9496 | 2678980.9328 | 1248789.4518 | 2678965.7914 | 1248795.9643
26 | 2678973.6452 | 1248780.9708 | 2678965.685 | 1248762.2705
27 | 2678944.1177 | 1248711.2711 | 2678955.8662 | 1248739.2035 | 2678956.5342 | 1248740.7729
28 | 2678944.1177 | 1248711.2711 | 2678926.93 | 1248718.6425
29 | 2678957.2472 | 1248742.4479 | 2678956.5342 | 1248740.7729
30 | 2679007.7517 | 1248783.0155 | 2679011.1861 | 1248790.6507
31 | 2678950.8177 | 1248802.4047 | 2678965.7914 | 1248795.9643
32 | 2679021.0901 | 1248813.0742 | 2679013.8098 | 1248796.4838 | 2679011.1861 | 1248790.6507
33 | 2679035.957 | 1248814.7479 | 2679048.0451 | 1248809.8166 | 2679047.3796 | 1248808.1843
34 | 2679035.957 | 1248814.7479 | 2679043.0251 | 1248830.9816
35 | 2678944.795 | 1248804.9708 | 2678950.8177 | 1248802.4047
36 | 2678944.795 | 1248804.9708 | 2678929.4469 | 1248811.548
37 | 2678950.8177 | 1248802.4047 | 2678956.5995 | 1248819.6164 | 2678957.2495 | 1248827.5086 | 2678964.01 | 1248834.1702 | 2678978.7425 | 1248841.594
38 | 2678908.4611 | 1248820.5411 | 2678929.4469 | 1248811.548
39 | 2678965.685 | 1248762.2705 | 2678957.2472 | 1248742.4479
40 | 2679088.4622 | 1248791.1085 | 2679086.7222 | 1248791.9081 | 2679085.3856 | 1248792.4685
41 | 2678913.1869 | 1248793.6914 | 2678903.4782 | 1248770.2831
42 | 2679021.0901 | 1248813.0742 | 2679032.1761 | 1248838.337 | 2679032.3722 | 1248838.7882
43 | 2678887.7195 | 1248829.4296 | 2678908.4611 | 1248820.5411
44 | 2678988.8147 | 1248860.1294 | 2678985.6419 | 1248852.5717 | 2678978.7425 | 1248841.594
45 | 2678913.2539 | 1248793.853 | 2678913.1869 | 1248793.6914

## bus_geodata
| x | y | coords
0 | 2679123.4301 | 1248728.8143
1 | 2679119.2381 | 1248730.6127
2 | 2679176.3443 | 1248706.6975
3 | 2679112.444 | 1248733.5274
4 | 2679179.6336 | 1248711.4671
5 | 2679076.7168 | 1248748.8543
6 | 2679188.7911 | 1248752.7991
7 | 2679050.1031 | 1248760.2745
8 | 2679016.8706 | 1248762.333
9 | 2679008.9942 | 1248760.6268
10 | 2679021.0252 | 1248773.5744
11 | 2679044.5465 | 1248750.4373
12 | 2678891.4375 | 1248733.8643
13 | 2678900.9917 | 1248729.7667
14 | 2678903.3859 | 1248770.0605
15 | 2678998.4056 | 1248765.2336
16 | 2679001.247 | 1248780.9496
17 | 2678973.6452 | 1248780.9708
18 | 2678992.1172 | 1248750.335
19 | 2679005.9816 | 1248753.9724
20 | 2678944.1177 | 1248711.2711
21 | 2678956.5342 | 1248740.7729
22 | 2678926.93 | 1248718.6425
23 | 2679007.7517 | 1248783.0155
24 | 2678965.7914 | 1248795.9643
25 | 2679011.1861 | 1248790.6507
26 | 2679035.957 | 1248814.7479
27 | 2679033.9259 | 1248767.0561
28 | 2679047.3796 | 1248808.1843
29 | 2679043.0251 | 1248830.9816
30 | 2678944.795 | 1248804.9708
31 | 2678950.8177 | 1248802.4047
32 | 2678929.4469 | 1248811.548
33 | 2678965.685 | 1248762.2705
34 | 2679191.0698 | 1248763.2059
35 | 2679085.3856 | 1248792.4685
36 | 2678903.4782 | 1248770.2831
37 | 2679032.3722 | 1248838.7882
38 | 2679021.0901 | 1248813.0742
39 | 2678957.2472 | 1248742.4479
40 | 2678887.7195 | 1248829.4296
41 | 2678908.4611 | 1248820.5411
42 | 2679088.4622 | 1248791.1085
43 | 2678978.7425 | 1248841.594
44 | 2678988.8147 | 1248860.1294
45 | 2678913.2539 | 1248793.853
46 | 2678913.1869 | 1248793.6914
47 | 2679012.5604 | 1248780.878

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9921 | -0.15188 | 0.0065023 | 0.0016296
1 | 0.99213 | -0.15119 | 0.0037266 | 0.00093397
2 | 0.99199 | -0.15395 | 0 | 0
3 | 0.99222 | -0.14958 | 0.00078825 | 0.00019755
4 | 0.99198 | -0.15416 | 0 | 0
5 | 0.99268 | -0.14059 | 0 | 0
6 | 0.9919 | -0.1557 | 0.00078808 | 0.00019751
7 | 0.99303 | -0.13392 | 0 | 0
8 | 0.99644 | -0.068212 | 0 | 0
9 | 0.99693 | -0.058777 | 0 | 0
10 | 0.99554 | -0.085554 | 0 | 0
11 | 0.9959 | -0.078654 | 0.019736 | 0.0049462
12 | 0.98978 | -0.1966 | 0 | 0
13 | 0.99007 | -0.191 | 0.0069032 | 0.0017301
14 | 0.98864 | -0.2187 | 0.0067982 | 0.0017038
15 | 0.99766 | -0.044668 | 0 | 0
16 | 0.99922 | -0.014832 | 0 | 0
17 | 0.99573 | -0.081661 | 0 | 0
18 | 0.99741 | -0.04963 | 0.017514 | 0.0043894
19 | 0.99676 | -0.061945 | 0.024723 | 0.0061962
20 | 0.99187 | -0.15611 | 0 | 0
21 | 0.99331 | -0.12835 | 0.0031681 | 0.00079401
22 | 0.99103 | -0.17237 | 0.011853 | 0.0029707
23 | 1 | 0 | -0.40265 | -0.10135
24 | 0.99702 | -0.057164 | 0.02234 | 0.0055989
25 | 0.99969 | -0.0060541 | 0.030104 | 0.0075447
26 | 0.99329 | -0.12895 | 0 | 0
27 | 0.99408 | -0.11363 | 0.044217 | 0.011082
28 | 0.99264 | -0.14152 | 0.048079 | 0.01205
29 | 0.99318 | -0.13111 | 0.0068992 | 0.0017291
30 | 0.99625 | -0.072114 | 0 | 0
31 | 0.99642 | -0.068746 | 0 | 0
32 | 0.9958 | -0.080733 | 0.012159 | 0.0030474
33 | 0.99447 | -0.10591 | 0.013183 | 0.0033039
34 | 0.99189 | -0.15593 | 0.0012534 | 0.00031413
35 | 0.98996 | -0.19321 | 0 | 0
36 | 0.98863 | -0.2188 | 0.0048613 | 0.0012183
37 | 0.99926 | -0.01416 | 0.0066175 | 0.0016585
38 | 0.99943 | -0.010917 | 0.0047529 | 0.0011912
39 | 0.99339 | -0.12667 | 0.0024162 | 0.00060556
40 | 0.99532 | -0.090051 | 0.0060617 | 0.0015192
41 | 0.99544 | -0.087645 | 0.011155 | 0.0027957
42 | 0.9898 | -0.19634 | 0.052452 | 0.013146
43 | 0.99589 | -0.078915 | 0.0051032 | 0.001279
44 | 0.99578 | -0.081153 | 0.0060158 | 0.0015077
45 | 0.9882 | -0.22725 | 0.0095272 | 0.0023877
46 | 0.9882 | -0.22722 | 0.0090788 | 0.0022754
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0085441 | -0.00214 | 0.0085444 | 0.0021401 | 2.8089e-07 | 1.2087e-07 | 0.012815 | 0.012815 | 0.012815 | 0.9921 | -0.15188 | 0.99213 | -0.15119 | 3.5205
1 | 0.0020418 | 0.00051038 | -0.0020416 | -0.000511 | 2.0167e-07 | -6.1144e-07 | 0.003062 | 0.0030623 | 0.0030623 | 0.9921 | -0.15188 | 0.99199 | -0.15395 | 0.84129
2 | -0.012271 | -0.0030741 | 0.012272 | 0.0030746 | 9.3898e-07 | 5.0547e-07 | 0.018404 | 0.018404 | 0.018404 | 0.99213 | -0.15119 | 0.99222 | -0.14958 | 5.056
3 | 0.0020416 | 0.000511 | -0.0020416 | -0.00051106 | 2.0593e-08 | -6.242e-08 | 0.0030623 | 0.0030623 | 0.0030623 | 0.99199 | -0.15395 | 0.99198 | -0.15416 | 0.84129
4 | -0.01306 | -0.0032722 | 0.013066 | 0.0032752 | 5.5923e-06 | 3.0767e-06 | 0.019586 | 0.019586 | 0.019586 | 0.99222 | -0.14958 | 0.99268 | -0.14059 | 5.3807
5 | 0.0020416 | 0.00051106 | -0.0020415 | -0.00051151 | 1.4889e-07 | -4.512e-07 | 0.0030623 | 0.0030625 | 0.0030625 | 0.99198 | -0.15416 | 0.9919 | -0.1557 | 0.84135
6 | -0.013066 | -0.0032752 | 0.01307 | 0.0032775 | 4.1556e-06 | 2.286e-06 | 0.019586 | 0.019586 | 0.019586 | 0.99268 | -0.14059 | 0.99303 | -0.13392 | 5.3807
7 | 0.0012534 | 0.000314 | -0.0012534 | -0.00031413 | 1.4124e-08 | -1.2847e-07 | 0.0018802 | 0.0018803 | 0.0018803 | 0.9919 | -0.1557 | 0.99189 | -0.15593 | 0.51656
8 | 0.052609 | 0.013245 | -0.05246 | -0.013151 | 0.00014865 | 9.4316e-05 | 0.078853 | 0.078854 | 0.078854 | 0.99303 | -0.13392 | 0.98996 | -0.19321 | 21.6631
9 | -0.065678 | -0.016523 | 0.065742 | 0.016563 | 6.3742e-05 | 4.0568e-05 | 0.098439 | 0.098439 | 0.098439 | 0.99303 | -0.13392 | 0.99408 | -0.11363 | 27.0437
10 | -0.18511 | -0.046649 | 0.1852 | 0.046702 | 8.3587e-05 | 5.3154e-05 | 0.27652 | 0.27652 | 0.27652 | 0.99644 | -0.068212 | 0.99693 | -0.058777 | 25.3228
11 | 0.16537 | 0.041697 | -0.16523 | -0.041609 | 0.00013713 | 8.7454e-05 | 0.24704 | 0.24704 | 0.24704 | 0.99644 | -0.068212 | 0.99554 | -0.085554 | 33.9336
12 | 0.019746 | 0.0049521 | -0.019736 | -0.0049462 | 9.8228e-06 | 5.8944e-06 | 0.029488 | 0.029488 | 0.029488 | 0.99644 | -0.068212 | 0.9959 | -0.078654 | 8.1011
13 | 0.024727 | 0.0061985 | -0.024723 | -0.0061962 | 3.7314e-06 | 2.2928e-06 | 0.036908 | 0.036908 | 0.036908 | 0.99693 | -0.058777 | 0.99676 | -0.061945 | 10.1396
14 | -0.20992 | -0.0529 | 0.21006 | 0.052991 | 0.0001418 | 9.03e-05 | 0.31343 | 0.31343 | 0.31343 | 0.99693 | -0.058777 | 0.99766 | -0.044668 | 28.7026
15 | 0.055122 | 0.01387 | -0.055008 | -0.013797 | 0.00011405 | 7.2409e-05 | 0.08241 | 0.08241 | 0.08241 | 0.99554 | -0.085554 | 0.99329 | -0.12895 | 22.6401
16 | 0.11011 | 0.027739 | -0.10996 | -0.027645 | 0.00014763 | 9.4292e-05 | 0.16463 | 0.16463 | 0.16463 | 0.99554 | -0.085554 | 0.99408 | -0.11363 | 45.2272
17 | -0.030305 | -0.0076097 | 0.030313 | 0.0076147 | 8.0938e-06 | 5.0464e-06 | 0.045565 | 0.045565 | 0.045565 | 0.98978 | -0.1966 | 0.99007 | -0.191 | 12.5179
18 | 0.030305 | 0.0076097 | -0.030273 | -0.0075898 | 3.192e-05 | 1.9902e-05 | 0.045565 | 0.045565 | 0.045565 | 0.98978 | -0.1966 | 0.98864 | -0.2187 | 12.518
19 | -0.037216 | -0.0093448 | 0.037249 | 0.0093657 | 3.312e-05 | 2.0833e-05 | 0.05594 | 0.05594 | 0.05594 | 0.99007 | -0.191 | 0.99103 | -0.17237 | 15.3682
20 | 0.023475 | 0.005886 | -0.023475 | -0.0058859 | 1.128e-07 | 6.9102e-08 | 0.035333 | 0.035333 | 0.035333 | 0.98864 | -0.2187 | 0.98863 | -0.2188 | 9.707
21 | -0.29581 | -0.074652 | 0.29624 | 0.074923 | 0.00042334 | 0.00027026 | 0.44139 | 0.44139 | 0.44139 | 0.99766 | -0.044668 | 0.99922 | -0.014832 | 40.4202
22 | 0.068232 | 0.01727 | -0.068111 | -0.017193 | 0.00012093 | 7.6988e-05 | 0.10183 | 0.10183 | 0.10183 | 0.99766 | -0.044668 | 0.99573 | -0.081661 | 27.9746
23 | 0.017518 | 0.0043918 | -0.017514 | -0.0043894 | 4.1408e-06 | 2.439e-06 | 0.026129 | 0.026129 | 0.026129 | 0.99766 | -0.044668 | 0.99741 | -0.04963 | 7.1782
24 | -0.35925 | -0.090782 | 0.35951 | 0.090946 | 0.00025566 | 0.00016334 | 0.53525 | 0.53525 | 0.53525 | 0.99922 | -0.014832 | 1 | 0 | 49.0155
25 | 0.063013 | 0.01586 | -0.062886 | -0.015779 | 0.00012721 | 8.091e-05 | 0.093862 | 0.093862 | 0.093862 | 0.99922 | -0.014832 | 0.99702 | -0.057164 | 25.7862
26 | 0.068111 | 0.017193 | -0.068032 | -0.017143 | 7.9026e-05 | 5.0313e-05 | 0.10183 | 0.10183 | 0.10183 | 0.99573 | -0.081661 | 0.99447 | -0.10591 | 27.9746
27 | -0.049141 | -0.012361 | 0.049206 | 0.012402 | 6.5264e-05 | 4.1355e-05 | 0.073738 | 0.073738 | 0.073738 | 0.99187 | -0.15611 | 0.99331 | -0.12835 | 20.2576
28 | 0.049141 | 0.012361 | -0.049103 | -0.012336 | 3.8132e-05 | 2.4163e-05 | 0.073738 | 0.073738 | 0.073738 | 0.99187 | -0.15611 | 0.99103 | -0.17237 | 20.2577
29 | -0.052374 | -0.013196 | 0.052379 | 0.013199 | 4.205e-06 | 2.6676e-06 | 0.078484 | 0.078484 | 0.078484 | 0.99331 | -0.12835 | 0.99339 | -0.12667 | 21.5615
30 | 0.04149 | 0.010404 | -0.041478 | -0.010396 | 1.1967e-05 | 7.5491e-06 | 0.061739 | 0.061739 | 0.061739 | 1 | 0 | 0.99969 | -0.0060541 | 16.9614
31 | 0.040546 | 0.01018 | -0.040524 | -0.010166 | 2.2388e-05 | 1.4116e-05 | 0.06052 | 0.06052 | 0.06052 | 0.99702 | -0.057164 | 0.99642 | -0.068746 | 16.6265
32 | 0.011374 | 0.0028513 | -0.011371 | -0.00285 | 2.6349e-06 | 1.365e-06 | 0.01693 | 0.01693 | 0.01693 | 0.99969 | -0.0060541 | 0.99943 | -0.010917 | 4.6512
33 | 0.048108 | 0.012068 | -0.048079 | -0.01205 | 2.8801e-05 | 1.8241e-05 | 0.072073 | 0.072073 | 0.072073 | 0.99329 | -0.12895 | 0.99264 | -0.14152 | 19.8004
34 | 0.0068999 | 0.0017293 | -0.0068992 | -0.0017291 | 7.0942e-07 | 2.2487e-07 | 0.010337 | 0.010337 | 0.010337 | 0.99329 | -0.12895 | 0.99318 | -0.13111 | 2.8397
35 | -0.029394 | -0.0073733 | 0.029399 | 0.0073762 | 4.7206e-06 | 2.9361e-06 | 0.043906 | 0.043906 | 0.043906 | 0.99625 | -0.072114 | 0.99642 | -0.068746 | 12.0621
36 | 0.029394 | 0.0073733 | -0.029382 | -0.0073658 | 1.2071e-05 | 7.5082e-06 | 0.043906 | 0.043906 | 0.043906 | 0.99625 | -0.072114 | 0.9958 | -0.080733 | 12.0622
37 | 0.011125 | 0.0027896 | -0.01112 | -0.0027868 | 5.3894e-06 | 2.7714e-06 | 0.016614 | 0.016615 | 0.016615 | 0.99642 | -0.068746 | 0.99589 | -0.078915 | 4.5644
38 | 0.017223 | 0.0043184 | -0.017217 | -0.0043151 | 5.6713e-06 | 3.3327e-06 | 0.025737 | 0.025737 | 0.025737 | 0.9958 | -0.080733 | 0.99544 | -0.087645 | 7.0706
39 | 0.054849 | 0.013839 | -0.054795 | -0.013804 | 5.4459e-05 | 3.4575e-05 | 0.082103 | 0.082103 | 0.082103 | 0.99447 | -0.10591 | 0.99339 | -0.12667 | 22.5558
40 | 0.05246 | 0.013151 | -0.052452 | -0.013146 | 7.8252e-06 | 4.965e-06 | 0.078854 | 0.078854 | 0.078854 | 0.98996 | -0.19321 | 0.9898 | -0.19634 | 21.6631
41 | 0.018613 | 0.0046676 | -0.018606 | -0.0046631 | 7.4593e-06 | 4.4492e-06 | 0.028017 | 0.028017 | 0.028017 | 0.98863 | -0.2188 | 0.9882 | -0.22722 | 7.6969
42 | -0.0066175 | -0.0016585 | 0.0066185 | 0.0016588 | 1.0225e-06 | 2.8649e-07 | 0.0098542 | 0.0098541 | 0.0098542 | 0.99926 | -0.01416 | 0.99943 | -0.010917 | 2.7072
43 | -0.0060617 | -0.0015192 | 0.0060624 | 0.0015193 | 6.9495e-07 | 1.5145e-07 | 0.0090623 | 0.0090622 | 0.0090623 | 0.99532 | -0.090051 | 0.99544 | -0.087645 | 2.4896
44 | 0.0060165 | 0.0015078 | -0.0060158 | -0.0015077 | 6.4132e-07 | 1.3512e-07 | 0.0089895 | 0.0089896 | 0.0089896 | 0.99589 | -0.078915 | 0.99578 | -0.081153 | 2.4697
45 | -0.0095272 | -0.0023877 | 0.0095272 | 0.0023877 | 1.3503e-08 | 6.3996e-09 | 0.014346 | 0.014346 | 0.014346 | 0.9882 | -0.22725 | 0.9882 | -0.22722 | 3.9412

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40265 | 0.10135

## res_load
| p_mw | q_mvar
0 | 0.0065023 | 0.0016296
1 | 0.0037266 | 0.00093397
2 | 0.00078825 | 0.00019755
3 | 0.00078808 | 0.00019751
4 | 0.019736 | 0.0049462
5 | 0.0069032 | 0.0017301
6 | 0.0067982 | 0.0017038
7 | 0.017514 | 0.0043894
8 | 0.024723 | 0.0061962
9 | 0.0031681 | 0.00079401
10 | 0.011853 | 0.0029707
11 | 0.02234 | 0.0055989
12 | 0.030104 | 0.0075447
13 | 0.044217 | 0.011082
14 | 0.048079 | 0.01205
15 | 0.0068992 | 0.0017291
16 | 0.012159 | 0.0030474
17 | 0.013183 | 0.0033039
18 | 0.0012534 | 0.00031413
19 | 0.0048613 | 0.0012183
20 | 0.0066175 | 0.0016585
21 | 0.0047529 | 0.0011912
22 | 0.0024162 | 0.00060556
23 | 0.0060617 | 0.0015192
24 | 0.011155 | 0.0027957
25 | 0.052452 | 0.013146
26 | 0.0051032 | 0.001279
27 | 0.0060158 | 0.0015077
28 | 0.0095272 | 0.0023877
29 | 0.0090788 | 0.0022754

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1