## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-250_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-250_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-250_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-250_0_5_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_261-250_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_261-250_0_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_261-250_0_5_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_261-250_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-250_0_5_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_261-250_0_5_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_261-250_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_261-250_0_5_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_261-250_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_261-250_0_5_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_261-250_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-250_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_261-250_0_5_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_261-250_0_5_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_261-250_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_261-250_0_5_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_261-250_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_261-250_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_261-250_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_261-250_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_261-250_0_5_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_261-250_0_5_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_261-250_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-250_0_5_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_261-250_0_5_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_261-250_0_5_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_261-250_0_5_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_261-250_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_261-250_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_261-250_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_261-250_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_MV_548_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-250_0_5_load_0 | 0 | 0.017119 | 0.0042905 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-250_0_5_load_1 | 1 | 0.009075 | 0.0022744 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-250_0_5_load_3 | 2 | 0.0084387 | 0.0021149 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-250_0_5_load_25 | 3 | 0.003747 | 0.0009391 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-250_0_5_load_31 | 6 | 0.033548 | 0.008408 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-250_0_5_load_27 | 8 | 0.046229 | 0.011586 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-250_0_5_load_26 | 9 | 0.033305 | 0.008347 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-250_0_5_load_41 | 11 | 0.055964 | 0.014026 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-250_0_5_load_40 | 13 | 0.069736 | 0.017478 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-250_0_5_load_36 | 17 | 0.062464 | 0.015655 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-250_0_5_load_32 | 19 | 0.06873 | 0.017225 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-250_0_5_load_24 | 21 | 0.0095383 | 0.0023905 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-250_0_5_load_22 | 23 | 0.010971 | 0.0027495 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-250_0_5_load_38 | 24 | 0.013093 | 0.0032815 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-250_0_5_load_37 | 25 | 0.0075395 | 0.0018896 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-250_0_5_load_34 | 27 | 0.019552 | 0.0049003 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-250_0_5_load_28 | 28 | 0.0038672 | 0.0009692 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-250_0_5_load_35 | 29 | 0.020588 | 0.0051598 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-250_0_5_load_33 | 30 | 0.020535 | 0.0051465 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-250_0_5_load_19 | 31 | 0.042126 | 0.010558 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-250_0_5_load_30 | 32 | 0.0033795 | 0.00084698 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-250_0_5_load_23 | 33 | 0.015044 | 0.0037703 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-250_0_5_load_29 | 34 | 0.0082567 | 0.0020693 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-250_0_5_line_0 |  | 0 | 1 | 0.020692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-250_0_5_line_1 |  | 1 | 2 | 0.001063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-250_0_5_line_2 |  | 2 | 3 | 0.010971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-250_0_5_line_3 |  | 3 | 28 | 0.0054356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-250_0_5_line_4 |  | 4 | 5 | 0.0075668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_261-250_0_5_line_5 |  | 4 | 6 | 0.018067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-250_0_5_line_6 |  | 5 | 19 | 0.018809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-250_0_5_line_7 |  | 5 | 7 | 0.040712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-250_0_5_line_8 |  | 5 | 18 | 0.029043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-250_0_5_line_9 |  | 6 | 32 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-250_0_5_line_10 |  | 7 | 8 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-250_0_5_line_11 |  | 7 | 9 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-250_0_5_line_12 |  | 8 | 26 | 0.035602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-250_0_5_line_13 |  | 9 | 15 | 0.018039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-250_0_5_line_14 |  | 10 | 11 | 0.018377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-250_0_5_line_15 |  | 10 | 12 | 0.010946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-250_0_5_line_16 |  | 10 | 13 | 0.015211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-250_0_5_line_17 |  | 11 | 24 | 0.016995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-250_0_5_line_18 |  | 12 | 17 | 0.013496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_261-250_0_5_line_19 |  | 14 | 15 | 0.0068102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-250_0_5_line_20 |  | 14 | 16 | 0.26288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-250_0_5_line_21 |  | 16 | 31 | 0.093553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-250_0_5_line_22 |  | 17 | 18 | 0.014478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_261-250_0_5_line_23 |  | 20 | 21 | 0.0082105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-250_0_5_line_24 |  | 20 | 22 | 0.018131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-250_0_5_line_25 |  | 20 | 23 | 0.010462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-250_0_5_line_26 |  | 21 | 29 | 0.031912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-250_0_5_line_27 |  | 22 | 24 | 0.019468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-250_0_5_line_28 |  | 22 | 25 | 0.014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-250_0_5_line_29 |  | 23 | 33 | 0.024044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-250_0_5_line_30 |  | 26 | 27 | 0.010859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-250_0_5_line_31 |  | 27 | 30 | 0.021707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-250_0_5_line_32 |  | 28 | 34 | 0.0032896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-250_0_5_line_33 |  | 32 | 34 | 0.018905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-250_0_5_trafo_31 | 0.63 MVA 20/0.4 kV | 35 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2683949.9253 | 1246997.9971 | 2683934.2619 | 1247011.5188
1 | 2683934.2619 | 1247011.5188 | 2683933.4573 | 1247012.2134
2 | 2683925.1528 | 1247019.3824 | 2683933.4573 | 1247012.2134
3 | 2683925.1528 | 1247019.3824 | 2683924.7057 | 1247019.7684 | 2683921.1378 | 1247023.0461
4 | 2683874.6787 | 1247065.9169 | 2683875.6502 | 1247065.0634 | 2683877.1569 | 1247063.7504 | 2683879.7498 | 1247061.4854 | 2683880.377 | 1247060.9383
5 | 2683880.377 | 1247060.9383 | 2683880.4903 | 1247060.4062 | 2683880.9266 | 1247060.0009 | 2683881.6386 | 1247059.3327 | 2683893.3849 | 1247048.5418
6 | 2683874.6787 | 1247065.9169 | 2683873.7265 | 1247065.9479 | 2683860.3507 | 1247077.778
7 | 2683849.4041 | 1247078.1019 | 2683851.7921 | 1247080.7042 | 2683873.9099 | 1247060.9913 | 2683877.1569 | 1247063.7504 | 2683875.6502 | 1247065.0634 | 2683874.6787 | 1247065.9169
8 | 2683874.6787 | 1247065.9169 | 2683875.4607 | 1247066.1726 | 2683897.0026 | 1247084.4797
9 | 2683893.3849 | 1247048.5418 | 2683904.7932 | 1247038.0613
10 | 2683849.4041 | 1247078.1019 | 2683858.8268 | 1247069.7319
11 | 2683849.4041 | 1247078.1019 | 2683838.1389 | 1247088.2911
12 | 2683885.4444 | 1247046.0879 | 2683858.8268 | 1247069.7319
13 | 2683824.7127 | 1247100.3359 | 2683825.8131 | 1247099.4397 | 2683838.1389 | 1247088.2911
14 | 2683926.5937 | 1247105.6917 | 2683938.6196 | 1247091.7961
15 | 2683918.4588 | 1247102.4298 | 2683920.2096 | 1247100.4197 | 2683923.4043 | 1247103.1336 | 2683926.5937 | 1247105.6917
16 | 2683926.5937 | 1247105.6917 | 2683930.5444 | 1247108.8945 | 2683932.0455 | 1247110.1166 | 2683938.1876 | 1247115.5329
17 | 2683938.6196 | 1247091.7961 | 2683949.7412 | 1247078.9454
18 | 2683918.4588 | 1247102.4298 | 2683908.1075 | 1247093.7699
19 | 2683824.7127 | 1247100.3359 | 2683826.4085 | 1247103.2731 | 2683828.1192 | 1247106.2328
20 | 2683809.8372 | 1247013.3727 | 2683805.2286 | 1247017.1548 | 2683801.5669 | 1247020.2164 | 2683795.3664 | 1247025.4549 | 2683785.9786 | 1247033.3281 | 2683779.4384 | 1247038.0169 | 2683777.9194 | 1247039.1296 | 2683790.1578 | 1247058.8504 | 2683804.837 | 1247081.7079 | 2683840.8118 | 1247139.748 | 2683855.2523 | 1247162.8915 | 2683856.2658 | 1247164.4069 | 2683857.3653 | 1247165.7123 | 2683859.2498 | 1247166.5284 | 2683860.6878 | 1247166.8712 | 2683842.9063 | 1247135.3299 | 2683828.1192 | 1247106.2328
21 | 2683809.8372 | 1247013.3727 | 2683820.0828 | 1247023.3693 | 2683878.611 | 1246969.9541
22 | 2683897.0026 | 1247084.4797 | 2683908.1075 | 1247093.7699
23 | 2683962.3753 | 1247051.436 | 2683967.7936 | 1247045.2671
24 | 2683962.3753 | 1247051.436 | 2683963.2485 | 1247052.1822 | 2683965.6298 | 1247054.1952 | 2683967.8466 | 1247056.0835 | 2683968.8169 | 1247056.909 | 2683967.5344 | 1247058.3919 | 2683964.716 | 1247061.6433 | 2683962.4811 | 1247064.2247
25 | 2683962.3753 | 1247051.436 | 2683955.5548 | 1247059.369
26 | 2683988.7122 | 1247021.1678 | 2683975.996 | 1247035.9285 | 2683967.7936 | 1247045.2671
27 | 2683962.4811 | 1247064.2247 | 2683949.7412 | 1247078.9454
28 | 2683962.4811 | 1247064.2247 | 2683968.8067 | 1247067.7613 | 2683974.6497 | 1247071.6828
29 | 2683939.8795 | 1247077.6014 | 2683955.5548 | 1247059.369
30 | 2683885.4444 | 1247046.0879 | 2683893.5623 | 1247038.8758
31 | 2683893.5623 | 1247038.8758 | 2683909.79 | 1247024.4586
32 | 2683921.1378 | 1247023.0461 | 2683918.7153 | 1247025.2716
33 | 2683904.7932 | 1247038.0613 | 2683918.7153 | 1247025.2716

## bus_geodata
| x | y | coords
0 | 2683949.9253 | 1246997.9971
1 | 2683934.2619 | 1247011.5188
2 | 2683933.4573 | 1247012.2134
3 | 2683925.1528 | 1247019.3824
4 | 2683880.377 | 1247060.9383
5 | 2683874.6787 | 1247065.9169
6 | 2683893.3849 | 1247048.5418
7 | 2683849.4041 | 1247078.1019
8 | 2683858.8268 | 1247069.7319
9 | 2683838.1389 | 1247088.2911
10 | 2683926.5937 | 1247105.6917
11 | 2683938.6196 | 1247091.7961
12 | 2683918.4588 | 1247102.4298
13 | 2683938.1876 | 1247115.5329
14 | 2683828.1192 | 1247106.2328
15 | 2683824.7127 | 1247100.3359
16 | 2683809.8372 | 1247013.3727
17 | 2683908.1075 | 1247093.7699
18 | 2683897.0026 | 1247084.4797
19 | 2683860.3507 | 1247077.778
20 | 2683962.3753 | 1247051.436
21 | 2683967.7936 | 1247045.2671
22 | 2683962.4811 | 1247064.2247
23 | 2683955.5548 | 1247059.369
24 | 2683949.7412 | 1247078.9454
25 | 2683974.6497 | 1247071.6828
26 | 2683885.4444 | 1247046.0879
27 | 2683893.5623 | 1247038.8758
28 | 2683921.1378 | 1247023.0461
29 | 2683988.7122 | 1247021.1678
30 | 2683909.79 | 1247024.4586
31 | 2683878.611 | 1246969.9541
32 | 2683904.7932 | 1247038.0613
33 | 2683939.8795 | 1247077.6014
34 | 2683918.7153 | 1247025.2716
35 | 2683880.377 | 1247060.9383

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99737 | -0.050666 | 0.017119 | 0.0042905
1 | 0.99769 | -0.044461 | 0.009075 | 0.0022744
2 | 0.99771 | -0.043973 | 0.0084387 | 0.0021149
3 | 0.99806 | -0.037322 | 0.003747 | 0.0009391
4 | 0.99795 | -0.039083 | 0 | 0
5 | 0.99709 | -0.0555 | 0 | 0
6 | 1 | 0 | -0.55524 | -0.1404
7 | 0.99407 | -0.1134 | 0 | 0
8 | 0.99308 | -0.13261 | 0.046229 | 0.011586
9 | 0.99302 | -0.13364 | 0.033305 | 0.008347
10 | 0.99281 | -0.13779 | 0 | 0
11 | 0.99058 | -0.18103 | 0.055964 | 0.014026
12 | 0.99383 | -0.11822 | 0 | 0
13 | 0.99184 | -0.15657 | 0.069736 | 0.017478
14 | 0.99204 | -0.15216 | 0 | 0
15 | 0.99231 | -0.14708 | 0 | 0
16 | 0.98177 | -0.35037 | 0 | 0
17 | 0.99445 | -0.10617 | 0.062464 | 0.015655
18 | 0.99533 | -0.089285 | 0 | 0
19 | 0.99592 | -0.07819 | 0.06873 | 0.017225
20 | 0.9873 | -0.24452 | 0 | 0
21 | 0.98708 | -0.24894 | 0.0095383 | 0.0023905
22 | 0.98824 | -0.22633 | 0 | 0
23 | 0.98705 | -0.24938 | 0.010971 | 0.0027495
24 | 0.98938 | -0.20423 | 0.013093 | 0.0032815
25 | 0.98814 | -0.22826 | 0.0075395 | 0.0018896
26 | 0.99177 | -0.15787 | 0 | 0
27 | 0.99137 | -0.16558 | 0.019552 | 0.0049003
28 | 0.99825 | -0.033673 | 0.0038672 | 0.0009692
29 | 0.98647 | -0.2607 | 0.020588 | 0.0051598
30 | 0.99097 | -0.17349 | 0.020535 | 0.0051465
31 | 0.97812 | -0.4219 | 0.042126 | 0.010558
32 | 0.99924 | -0.014561 | 0.0033795 | 0.00084698
33 | 0.98672 | -0.25586 | 0.015044 | 0.0037703
34 | 0.99837 | -0.031242 | 0.0082567 | 0.0020693
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.017119 | -0.0042905 | 0.017124 | 0.0042935 | 5.0619e-06 | 2.9695e-06 | 0.025541 | 0.025541 | 0.025541 | 0.99737 | -0.050666 | 0.99769 | -0.044461 | 7.0168
1 | -0.026199 | -0.0065679 | 0.0262 | 0.0065683 | 6.0868e-07 | 3.7567e-07 | 0.039076 | 0.039076 | 0.039076 | 0.99769 | -0.044461 | 0.99771 | -0.043973 | 10.7352
2 | -0.034639 | -0.0086832 | 0.03465 | 0.0086901 | 1.098e-05 | 6.884e-06 | 0.051662 | 0.051662 | 0.051662 | 0.99771 | -0.043973 | 0.99806 | -0.037322 | 14.1928
3 | -0.038397 | -0.0096292 | 0.038403 | 0.0096334 | 6.6804e-06 | 4.2044e-06 | 0.057248 | 0.057248 | 0.057248 | 0.99806 | -0.037322 | 0.99825 | -0.033673 | 15.7275
4 | 0.49867 | 0.12623 | -0.49827 | -0.12598 | 0.00039266 | 0.00025091 | 0.74399 | 0.74399 | 0.74399 | 0.99795 | -0.039083 | 0.99709 | -0.0555 | 51.0981
5 | -0.49867 | -0.12623 | 0.4996 | 0.12683 | 0.00093751 | 0.00059906 | 0.74399 | 0.74399 | 0.74399 | 0.99795 | -0.039083 | 1 | 0 | 51.0981
6 | 0.068804 | 0.017273 | -0.06873 | -0.017225 | 7.4383e-05 | 4.736e-05 | 0.10269 | 0.10269 | 0.10269 | 0.99709 | -0.0555 | 0.99592 | -0.07819 | 28.2118
7 | 0.16301 | 0.041339 | -0.16256 | -0.041051 | 0.00045239 | 0.00028847 | 0.24344 | 0.24344 | 0.24344 | 0.99709 | -0.0555 | 0.99407 | -0.1134 | 33.4396
8 | 0.26646 | 0.067368 | -0.26603 | -0.067093 | 0.00043099 | 0.00027432 | 0.39786 | 0.39786 | 0.39786 | 0.99709 | -0.0555 | 0.99533 | -0.089285 | 27.3255
9 | 0.053989 | 0.013571 | -0.053952 | -0.013547 | 3.7507e-05 | 2.3802e-05 | 0.080351 | 0.080351 | 0.080351 | 1 | 0 | 0.99924 | -0.014561 | 22.0745
10 | 0.086466 | 0.021728 | -0.086387 | -0.021677 | 7.9199e-05 | 5.0524e-05 | 0.12945 | 0.12945 | 0.12945 | 0.99407 | -0.1134 | 0.99308 | -0.13261 | 35.5632
11 | 0.076092 | 0.019323 | -0.076018 | -0.019276 | 7.4015e-05 | 4.7173e-05 | 0.11399 | 0.11399 | 0.11399 | 0.99407 | -0.1134 | 0.99302 | -0.13364 | 31.3161
12 | 0.040158 | 0.010091 | -0.04011 | -0.010061 | 4.8355e-05 | 3.0487e-05 | 0.060182 | 0.060182 | 0.060182 | 0.99308 | -0.13261 | 0.99177 | -0.15787 | 16.5334
13 | 0.042713 | 0.010929 | -0.042685 | -0.010911 | 2.7781e-05 | 1.7547e-05 | 0.064084 | 0.064084 | 0.064084 | 0.99302 | -0.13364 | 0.99231 | -0.14708 | 17.6056
14 | 0.13324 | 0.033589 | -0.13297 | -0.033413 | 0.00027502 | 0.00017578 | 0.19977 | 0.19977 | 0.19977 | 0.99281 | -0.13779 | 0.99058 | -0.18103 | 54.8823
15 | -0.20304 | -0.051106 | 0.20323 | 0.051227 | 0.00019016 | 0.00012142 | 0.30439 | 0.30439 | 0.30439 | 0.99281 | -0.13779 | 0.99383 | -0.11822 | 41.8123
16 | 0.069799 | 0.017517 | -0.069736 | -0.017478 | 6.2435e-05 | 3.9762e-05 | 0.10462 | 0.10462 | 0.10462 | 0.99281 | -0.13779 | 0.99184 | -0.15657 | 28.7423
17 | 0.077004 | 0.019387 | -0.076919 | -0.019333 | 8.5321e-05 | 5.4387e-05 | 0.1157 | 0.1157 | 0.1157 | 0.99058 | -0.18103 | 0.98938 | -0.20423 | 31.787
18 | -0.20323 | -0.051227 | 0.20335 | 0.051302 | 0.00011723 | 7.4329e-05 | 0.30439 | 0.30439 | 0.30439 | 0.99383 | -0.11822 | 0.99445 | -0.10617 | 20.9061
19 | -0.042675 | -0.010904 | 0.042685 | 0.010911 | 1.0488e-05 | 6.6244e-06 | 0.064084 | 0.064084 | 0.064084 | 0.99204 | -0.15216 | 0.99231 | -0.14708 | 17.6056
20 | 0.042675 | 0.010904 | -0.04227 | -0.010649 | 0.00040486 | 0.00025575 | 0.064084 | 0.064086 | 0.064086 | 0.99204 | -0.15216 | 0.98177 | -0.35037 | 17.6059
21 | 0.04227 | 0.010649 | -0.042126 | -0.010558 | 0.00014408 | 9.1035e-05 | 0.064086 | 0.064086 | 0.064086 | 0.98177 | -0.35037 | 0.97812 | -0.4219 | 17.6061
22 | -0.26581 | -0.066957 | 0.26603 | 0.067093 | 0.00021486 | 0.00013676 | 0.39786 | 0.39786 | 0.39786 | 0.99445 | -0.10617 | 0.99533 | -0.089285 | 27.3255
23 | 0.030144 | 0.0075613 | -0.030138 | -0.0075573 | 6.3557e-06 | 3.9627e-06 | 0.045434 | 0.045434 | 0.045434 | 0.9873 | -0.24452 | 0.98708 | -0.24894 | 12.4818
24 | -0.056169 | -0.014087 | 0.056218 | 0.014118 | 4.8729e-05 | 3.0955e-05 | 0.084659 | 0.084659 | 0.084659 | 0.9873 | -0.24452 | 0.98824 | -0.22633 | 23.2579
25 | 0.026025 | 0.0065262 | -0.026019 | -0.0065225 | 6.0363e-06 | 3.7295e-06 | 0.039225 | 0.039225 | 0.039225 | 0.9873 | -0.24452 | 0.98705 | -0.24938 | 10.7761
26 | 0.020599 | 0.0051668 | -0.020588 | -0.0051598 | 1.1541e-05 | 6.9787e-06 | 0.031055 | 0.031055 | 0.031055 | 0.98708 | -0.24894 | 0.98647 | -0.2607 | 8.5316
27 | -0.063758 | -0.016008 | 0.063825 | 0.016051 | 6.7299e-05 | 4.2821e-05 | 0.096012 | 0.096012 | 0.096012 | 0.98824 | -0.22633 | 0.98938 | -0.20423 | 26.377
28 | 0.0075402 | 0.0018898 | -0.0075395 | -0.0018896 | 6.9046e-07 | 2.589e-07 | 0.011353 | 0.011354 | 0.011354 | 0.98824 | -0.22633 | 0.98814 | -0.22826 | 3.1191
29 | 0.015048 | 0.003773 | -0.015044 | -0.0037703 | 4.6406e-06 | 2.6628e-06 | 0.022686 | 0.022686 | 0.022686 | 0.98705 | -0.24938 | 0.98672 | -0.25586 | 6.2325
30 | 0.04011 | 0.010061 | -0.040095 | -0.010051 | 1.4748e-05 | 9.2989e-06 | 0.060182 | 0.060182 | 0.060182 | 0.99177 | -0.15787 | 0.99137 | -0.16558 | 16.5335
31 | 0.020542 | 0.0051512 | -0.020535 | -0.0051465 | 7.7393e-06 | 4.6734e-06 | 0.030834 | 0.030835 | 0.030835 | 0.99137 | -0.16558 | 0.99097 | -0.17349 | 8.471
32 | -0.042271 | -0.010603 | 0.042275 | 0.010606 | 4.8982e-06 | 3.0918e-06 | 0.063013 | 0.063013 | 0.063013 | 0.99825 | -0.033673 | 0.99837 | -0.031242 | 17.3112
33 | 0.050572 | 0.0127 | -0.050532 | -0.012675 | 4.0217e-05 | 2.5492e-05 | 0.075319 | 0.075319 | 0.075319 | 0.99924 | -0.014561 | 0.99837 | -0.031242 | 20.692

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58879 | 0.14881

## res_load
| p_mw | q_mvar
0 | 0.017119 | 0.0042905
1 | 0.009075 | 0.0022744
2 | 0.0084387 | 0.0021149
3 | 0.003747 | 0.0009391
4 | 0.033548 | 0.008408
5 | 0.046229 | 0.011586
6 | 0.033305 | 0.008347
7 | 0.055964 | 0.014026
8 | 0.069736 | 0.017478
9 | 0.062464 | 0.015655
10 | 0.06873 | 0.017225
11 | 0.0095383 | 0.0023905
12 | 0.010971 | 0.0027495
13 | 0.013093 | 0.0032815
14 | 0.0075395 | 0.0018896
15 | 0.019552 | 0.0049003
16 | 0.0038672 | 0.0009692
17 | 0.020588 | 0.0051598
18 | 0.020535 | 0.0051465
19 | 0.042126 | 0.010558
20 | 0.0033795 | 0.00084698
21 | 0.015044 | 0.0037703
22 | 0.0082567 | 0.0020693

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1