## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-251_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-251_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-251_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-251_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-251_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-251_0_5_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_261-251_0_5_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_261-251_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-251_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_261-251_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_261-251_0_5_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_261-251_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_261-251_0_5_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_261-251_0_5_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_261-251_0_5_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_261-251_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_261-251_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_261-251_0_5_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_261-251_0_5_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_261-251_0_5_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_261-251_0_5_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_261-251_0_5_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_261-251_0_5_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_261-251_0_5_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_261-251_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_261-251_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_261-251_0_5_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_261-251_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_261-251_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_261-251_0_5_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_261-251_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_261-251_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_261-251_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_261-251_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_261-251_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_261-251_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_MV_548_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-251_0_5_load_0 | 0 | 0.038622 | 0.0096797 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-251_0_5_load_3 | 3 | 0.014371 | 0.0036018 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-251_0_5_load_36 | 10 | 0.012099 | 0.0030323 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-251_0_5_load_40 | 12 | 0.011317 | 0.0028364 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-251_0_5_load_37 | 13 | 0.011205 | 0.0028082 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-251_0_5_load_23 | 17 | 0.0080393 | 0.0020148 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-251_0_5_load_28 | 18 | 0.012922 | 0.0032387 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-251_0_5_load_38 | 19 | 0.0050797 | 0.0012731 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-251_0_5_load_30 | 20 | 0.012998 | 0.0032577 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-251_0_5_load_34 | 21 | 0.016731 | 0.0041931 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-251_0_5_load_35 | 22 | 0.0067664 | 0.0016958 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-251_0_5_load_33 | 23 | 0.032197 | 0.0080695 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-251_0_5_load_32 | 24 | 0.010222 | 0.0025618 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-251_0_5_load_25 | 26 | 0.012401 | 0.0031079 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-251_0_5_load_15 | 28 | 0.012132 | 0.0030405 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-251_0_5_load_27 | 29 | 0.0062571 | 0.0015682 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-251_0_5_load_26 | 30 | 0.010988 | 0.0027539 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-251_0_5_load_39 | 33 | 0.079719 | 0.019979 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-251_0_5_load_24 | 34 | 0.020622 | 0.0051683 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-251_0_5_load_31 | 35 | 0.024439 | 0.006125 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-251_0_5_line_0 |  | 0 | 1 | 0.028387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_261-251_0_5_line_1 |  | 0 | 2 | 0.013722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_261-251_0_5_line_2 |  | 1 | 3 | 0.0038737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-251_0_5_line_3 |  | 1 | 4 | 0.0084658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-251_0_5_line_4 |  | 2 | 5 | 0.021438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-251_0_5_line_5 |  | 2 | 6 | 0.055139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-251_0_5_line_6 |  | 3 | 7 | 0.025306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-251_0_5_line_7 |  | 4 | 8 | 0.020617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-251_0_5_line_8 |  | 4 | 9 | 0.026528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-251_0_5_line_9 |  | 4 | 10 | 0.0018953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-251_0_5_line_10 |  | 5 | 20 | 0.014503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-251_0_5_line_11 |  | 6 | 19 | 0.01063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-251_0_5_line_12 |  | 6 | 15 | 0.0076749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-251_0_5_line_13 |  | 7 | 14 | 0.016136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-251_0_5_line_14 |  | 8 | 18 | 0.0081532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-251_0_5_line_15 |  | 9 | 21 | 0.01738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-251_0_5_line_16 |  | 10 | 22 | 0.014773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-251_0_5_line_17 |  | 11 | 12 | 0.015008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-251_0_5_line_18 |  | 11 | 13 | 0.02427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-251_0_5_line_19 |  | 13 | 22 | 0.020683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-251_0_5_line_20 |  | 14 | 23 | 0.016765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-251_0_5_line_21 |  | 14 | 24 | 0.010274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-251_0_5_line_22 |  | 15 | 16 | 0.019285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-251_0_5_line_23 |  | 15 | 17 | 0.03288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-251_0_5_line_24 |  | 16 | 28 | 0.036354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-251_0_5_line_25 |  | 17 | 27 | 0.022355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_261-251_0_5_line_26 |  | 18 | 29 | 0.012945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-251_0_5_line_27 |  | 24 | 35 | 0.032832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-251_0_5_line_28 |  | 25 | 26 | 0.042047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-251_0_5_line_29 |  | 25 | 27 | 0.020762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_261-251_0_5_line_30 |  | 26 | 34 | 0.080422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_261-251_0_5_line_31 |  | 29 | 30 | 0.0092901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-251_0_5_line_32 |  | 31 | 32 | 0.081914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-251_0_5_line_33 |  | 31 | 33 | 0.073032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-251_0_5_line_34 |  | 32 | 34 | 0.065725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-251_0_5_trafo_7 | 0.63 MVA 20/0.4 kV | 36 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2684040.9026 | 1246967.6309 | 2684037.339 | 1246970.6826 | 2684029.1988 | 1246978.4508 | 2684023.4772 | 1246983.996 | 2684020.2615 | 1246987.1092
1 | 2684010.4027 | 1246996.6535 | 2684020.2615 | 1246987.1092
2 | 2684040.9026 | 1246967.6309 | 2684043.8387 | 1246965.104
3 | 2684040.9026 | 1246967.6309 | 2684041.7503 | 1246968.5769 | 2684043.9516 | 1246971.0321 | 2684046.1605 | 1246973.4763 | 2684046.562 | 1246973.9268
4 | 2684007.2605 | 1247012.087 | 2684016.2666 | 1247002.3852 | 2684015.4843 | 1247001.618 | 2684013.3161 | 1246999.4968 | 2684011.1404 | 1246997.3756 | 2684010.4027 | 1246996.6535
5 | 2683973.3173 | 1246978.1369 | 2683974.5691 | 1246978.288 | 2683977.1107 | 1246981.2484 | 2683997.7878 | 1247004.614 | 2684000.4122 | 1247007.5867 | 2684002.4841 | 1247005.3144 | 2684010.4027 | 1246996.6535
6 | 2684063.0193 | 1246948.5969 | 2684043.8387 | 1246965.104
7 | 2684031.5181 | 1246988.024 | 2684035.1547 | 1246984.6175 | 2684040.1923 | 1246979.8965 | 2684046.562 | 1246973.9268
8 | 2684046.562 | 1246973.9268 | 2684040.1923 | 1246979.8965 | 2684041.607 | 1246981.351 | 2684044.354 | 1246984.2031 | 2684054.1103 | 1246990.8574
9 | 2684046.562 | 1246973.9268 | 2684048.0067 | 1246972.7
10 | 2684007.2605 | 1247012.087 | 2684019.3344 | 1247020.1225
11 | 2683973.3173 | 1246978.1369 | 2683971.6533 | 1246978.8138 | 2683965.0952 | 1246984.7313
12 | 2683973.2926 | 1246972.4101 | 2683970.8578 | 1246974.7106 | 2683972.9647 | 1246976.8976 | 2683973.3173 | 1246978.1369
13 | 2684052.5728 | 1246936.2731 | 2684063.0193 | 1246948.5969
14 | 2684031.5181 | 1246988.024 | 2684038.7861 | 1246991.7188
15 | 2684054.1103 | 1246990.8574 | 2684055.8554 | 1246991.9162 | 2684060.8925 | 1246995.2234 | 2684069.1 | 1246999.6251
16 | 2684059.2679 | 1246963.1376 | 2684048.0067 | 1246972.7
17 | 2684093.5335 | 1246934.041 | 2684103.1889 | 1246945.5307
18 | 2684093.5335 | 1246934.041 | 2684075.0338 | 1246949.75
19 | 2684059.2679 | 1246963.1376 | 2684075.0338 | 1246949.75
20 | 2684039.11 | 1246927.298 | 2684042.5328 | 1246927.7802 | 2684046.7327 | 1246929.9301 | 2684052.5728 | 1246936.2731
21 | 2684052.5728 | 1246936.2731 | 2684060.1225 | 1246929.3047
22 | 2683960.1637 | 1246963.3286 | 2683965.6184 | 1246969.6883 | 2683966.0713 | 1246970.7733 | 2683967.2917 | 1246971.013 | 2683970.8578 | 1246974.7106 | 2683973.2926 | 1246972.4101
23 | 2683973.2926 | 1246972.4101 | 2683958.1247 | 1246955.2827 | 2683951.3615 | 1246947.914
24 | 2683960.1637 | 1246963.3286 | 2683948.271 | 1246974.1572 | 2683944.9756 | 1246970.5523 | 2683941.4476 | 1246973.7603 | 2683934.2763 | 1246965.9308
25 | 2683936.2453 | 1246931.4444 | 2683951.3615 | 1246947.914
26 | 2684038.7861 | 1246991.7188 | 2684050.3257 | 1246997.5852
27 | 2684055.5487 | 1246906.0677 | 2684069.4203 | 1246920.7227 | 2684060.1225 | 1246929.3047
28 | 2683922.1923 | 1246916.1231 | 2683948.828 | 1246883.5882
29 | 2683936.2453 | 1246931.4444 | 2683922.1923 | 1246916.1231
30 | 2683948.828 | 1246883.5882 | 2683970.9298 | 1246856.5913 | 2683971.735 | 1246854.1454 | 2683970.8769 | 1246851.7982 | 2683941.591 | 1246823.8846
31 | 2684050.3257 | 1246997.5852 | 2684058.6072 | 1247001.7951
32 | 2683826.2583 | 1246849.5175 | 2683832.7285 | 1246844.9834 | 2683849.266 | 1246833.6977 | 2683860.5256 | 1246827.0409 | 2683871.6905 | 1246819.6044 | 2683886.218 | 1246810.5031 | 2683891.738 | 1246806.3893 | 2683891.2123 | 1246805.6369 | 2683889.7461 | 1246803.5479
33 | 2683826.2583 | 1246849.5175 | 2683831.9529 | 1246853.3563 | 2683857.6391 | 1246873.0117 | 2683874.3307 | 1246894.0743 | 2683878.826 | 1246899.3701
34 | 2683889.7461 | 1246803.5479 | 2683903.2525 | 1246795.0772 | 2683907.914 | 1246794.5094 | 2683912.2901 | 1246795.9612 | 2683934.9722 | 1246817.5759 | 2683941.591 | 1246823.8846

## bus_geodata
| x | y | coords
0 | 2684020.2615 | 1246987.1092
1 | 2684040.9026 | 1246967.6309
2 | 2684010.4027 | 1246996.6535
3 | 2684043.8387 | 1246965.104
4 | 2684046.562 | 1246973.9268
5 | 2684007.2605 | 1247012.087
6 | 2683973.3173 | 1246978.1369
7 | 2684063.0193 | 1246948.5969
8 | 2684031.5182 | 1246988.024
9 | 2684054.1103 | 1246990.8574
10 | 2684048.0067 | 1246972.7
11 | 2684093.5335 | 1246934.041
12 | 2684103.1889 | 1246945.5307
13 | 2684075.0338 | 1246949.75
14 | 2684052.5728 | 1246936.2731
15 | 2683973.2926 | 1246972.4101
16 | 2683960.1637 | 1246963.3286
17 | 2683951.3615 | 1246947.914
18 | 2684038.7861 | 1246991.7188
19 | 2683965.0952 | 1246984.7313
20 | 2684019.3344 | 1247020.1225
21 | 2684069.1 | 1246999.6251
22 | 2684059.2679 | 1246963.1376
23 | 2684039.11 | 1246927.298
24 | 2684060.1225 | 1246929.3047
25 | 2683922.1923 | 1246916.1231
26 | 2683948.828 | 1246883.5882
27 | 2683936.2453 | 1246931.4444
28 | 2683934.2763 | 1246965.9308
29 | 2684050.3257 | 1246997.5852
30 | 2684058.6072 | 1247001.7951
31 | 2683826.2583 | 1246849.5175
32 | 2683889.7461 | 1246803.5479
33 | 2683878.826 | 1246899.3701
34 | 2683941.591 | 1246823.8846
35 | 2684055.5487 | 1246906.0677
36 | 2683970.8578 | 1246974.7106

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9923 | -0.14743 | 0.038622 | 0.0096797
1 | 0.99009 | -0.19011 | 0 | 0
2 | 0.99361 | -0.12218 | 0 | 0
3 | 0.9898 | -0.19571 | 0.014371 | 0.0036018
4 | 0.98941 | -0.20341 | 0 | 0
5 | 0.99336 | -0.1271 | 0 | 0
6 | 0.9992 | -0.015144 | 0 | 0
7 | 0.98825 | -0.22586 | 0 | 0
8 | 0.98884 | -0.21449 | 0 | 0
9 | 0.989 | -0.21132 | 0 | 0
10 | 0.98933 | -0.20481 | 0.012099 | 0.0030323
11 | 0.98826 | -0.22572 | 0 | 0
12 | 0.9881 | -0.22876 | 0.011317 | 0.0028364
13 | 0.98851 | -0.22082 | 0.011205 | 0.0028082
14 | 0.98726 | -0.24513 | 0 | 0
15 | 1 | 0 | -0.3653 | -0.092884
16 | 0.99979 | -0.0040792 | 0 | 0
17 | 0.99816 | -0.034678 | 0.0080393 | 0.0020148
18 | 0.98861 | -0.21888 | 0.012922 | 0.0032387
19 | 0.99915 | -0.016086 | 0.0050797 | 0.0012731
20 | 0.99318 | -0.13043 | 0.012998 | 0.0032577
21 | 0.98873 | -0.2165 | 0.016731 | 0.0041931
22 | 0.98894 | -0.21252 | 0.0067664 | 0.0016958
23 | 0.98676 | -0.25479 | 0.032197 | 0.0080695
24 | 0.98693 | -0.2515 | 0.010222 | 0.0025618
25 | 0.9959 | -0.0773 | 0 | 0
26 | 0.9937 | -0.11905 | 0.012401 | 0.0031079
27 | 0.99699 | -0.056752 | 0 | 0
28 | 0.99939 | -0.011773 | 0.012132 | 0.0030405
29 | 0.98841 | -0.22286 | 0.0062571 | 0.0015682
30 | 0.98831 | -0.22468 | 0.010988 | 0.0027539
31 | 0.97898 | -0.40223 | 0 | 0
32 | 0.98507 | -0.2842 | 0 | 0
33 | 0.97356 | -0.5087 | 0.079719 | 0.019979
34 | 0.98995 | -0.19054 | 0.020622 | 0.0051683
35 | 0.98619 | -0.26587 | 0.024439 | 0.006125
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.1702 | 0.042921 | -0.16986 | -0.0427 | 0.00034699 | 0.00022134 | 0.25533 | 0.25533 | 0.25533 | 0.9923 | -0.14743 | 0.99009 | -0.19011 | 35.0722
1 | -0.20883 | -0.052601 | 0.20908 | 0.052762 | 0.00025245 | 0.00016121 | 0.31324 | 0.31324 | 0.31324 | 0.9923 | -0.14743 | 0.99361 | -0.12218 | 43.0277
2 | 0.081451 | 0.020499 | -0.081429 | -0.020485 | 2.1779e-05 | 1.3889e-05 | 0.12244 | 0.12244 | 0.12244 | 0.99009 | -0.19011 | 0.9898 | -0.19571 | 33.6384
3 | 0.088406 | 0.022201 | -0.08835 | -0.022165 | 5.6056e-05 | 3.5767e-05 | 0.13288 | 0.13288 | 0.13288 | 0.99009 | -0.19011 | 0.98941 | -0.20341 | 36.5059
4 | 0.013003 | 0.0032605 | -0.013 | -0.0032588 | 3.0488e-06 | 1.6737e-06 | 0.019474 | 0.019474 | 0.019474 | 0.99361 | -0.12218 | 0.99336 | -0.1271 | 5.3501
5 | -0.22208 | -0.056022 | 0.22323 | 0.056753 | 0.0011445 | 0.00073103 | 0.33272 | 0.33272 | 0.33272 | 0.99361 | -0.12218 | 0.9992 | -0.015144 | 45.7027
6 | 0.067058 | 0.016883 | -0.066962 | -0.016822 | 9.6496e-05 | 6.1433e-05 | 0.10084 | 0.10084 | 0.10084 | 0.9898 | -0.19571 | 0.98825 | -0.22586 | 27.7031
7 | 0.030194 | 0.0075771 | -0.030178 | -0.0075671 | 1.5945e-05 | 9.9404e-06 | 0.045414 | 0.045414 | 0.045414 | 0.98941 | -0.20341 | 0.98884 | -0.21449 | 12.4764
8 | 0.016741 | 0.0041993 | -0.016735 | -0.0041956 | 6.3071e-06 | 3.696e-06 | 0.025179 | 0.025179 | 0.025179 | 0.98941 | -0.20341 | 0.989 | -0.21132 | 6.9174
9 | 0.041414 | 0.010389 | -0.041411 | -0.010387 | 2.7575e-06 | 1.7405e-06 | 0.062288 | 0.062288 | 0.062288 | 0.98941 | -0.20341 | 0.98933 | -0.20481 | 17.1121
10 | 0.013 | 0.0032588 | -0.012998 | -0.0032577 | 2.0627e-06 | 1.1324e-06 | 0.019474 | 0.019475 | 0.019475 | 0.99336 | -0.1271 | 0.99318 | -0.13043 | 5.3501
11 | 0.0050799 | 0.0012731 | -0.0050797 | -0.0012731 | 2.2812e-07 | 6.7754e-09 | 0.007565 | 0.0075651 | 0.0075651 | 0.9992 | -0.015144 | 0.99915 | -0.016086 | 2.0783
12 | -0.22831 | -0.058026 | 0.22847 | 0.058133 | 0.00016663 | 0.00010644 | 0.34028 | 0.34028 | 0.34028 | 0.9992 | -0.015144 | 1 | 0 | 46.7418
13 | 0.066962 | 0.016822 | -0.0669 | -0.016782 | 6.153e-05 | 3.9173e-05 | 0.10084 | 0.10084 | 0.10084 | 0.98825 | -0.22586 | 0.98726 | -0.24513 | 27.7031
14 | 0.030178 | 0.0075671 | -0.030172 | -0.0075632 | 6.3059e-06 | 3.9312e-06 | 0.045414 | 0.045414 | 0.045414 | 0.98884 | -0.21449 | 0.98861 | -0.21888 | 12.4764
15 | 0.016735 | 0.0041956 | -0.016731 | -0.0041931 | 4.1322e-06 | 2.4216e-06 | 0.025179 | 0.025179 | 0.025179 | 0.989 | -0.21132 | 0.98873 | -0.2165 | 6.9174
16 | 0.029312 | 0.0073548 | -0.029302 | -0.0073481 | 1.077e-05 | 6.703e-06 | 0.044091 | 0.044091 | 0.044091 | 0.98933 | -0.20481 | 0.98894 | -0.21252 | 12.1128
17 | 0.011319 | 0.0028373 | -0.011317 | -0.0028364 | 1.6348e-06 | 8.5399e-07 | 0.017043 | 0.017043 | 0.017043 | 0.98826 | -0.22572 | 0.9881 | -0.22876 | 4.6822
18 | -0.011319 | -0.0028373 | 0.011322 | 0.0028386 | 2.6436e-06 | 1.3809e-06 | 0.017043 | 0.017043 | 0.017043 | 0.98826 | -0.22572 | 0.98851 | -0.22082 | 4.6822
19 | -0.022526 | -0.0056468 | 0.022535 | 0.0056523 | 8.9185e-06 | 5.4426e-06 | 0.03391 | 0.03391 | 0.03391 | 0.98851 | -0.22082 | 0.98894 | -0.21252 | 9.3158
20 | 0.032212 | 0.0080787 | -0.032197 | -0.0080695 | 1.4821e-05 | 9.271e-06 | 0.048553 | 0.048553 | 0.048553 | 0.98726 | -0.24513 | 0.98676 | -0.25479 | 13.3388
21 | 0.034688 | 0.0087037 | -0.034677 | -0.0086971 | 1.0533e-05 | 6.6097e-06 | 0.052286 | 0.052286 | 0.052286 | 0.98726 | -0.24513 | 0.98693 | -0.2515 | 14.3643
22 | 0.012139 | 0.0030441 | -0.012136 | -0.0030429 | 2.3596e-06 | 1.2572e-06 | 0.018063 | 0.018063 | 0.018063 | 1 | 0 | 0.99979 | -0.0040792 | 4.9624
23 | 0.12304 | 0.031707 | -0.12283 | -0.031575 | 0.00020735 | 0.00013184 | 0.18339 | 0.18339 | 0.18339 | 1 | 0 | 0.99816 | -0.034678 | 25.1912
24 | 0.012136 | 0.0030429 | -0.012132 | -0.0030405 | 4.4481e-06 | 2.3702e-06 | 0.018063 | 0.018063 | 0.018063 | 0.99979 | -0.0040792 | 0.99939 | -0.011773 | 4.9625
25 | 0.11479 | 0.02956 | -0.11467 | -0.029482 | 0.00012315 | 7.8233e-05 | 0.17141 | 0.17141 | 0.17141 | 0.99816 | -0.034678 | 0.99699 | -0.056752 | 23.545
26 | 0.01725 | 0.0043245 | -0.017246 | -0.0043226 | 3.2725e-06 | 1.9284e-06 | 0.025964 | 0.025964 | 0.025964 | 0.98861 | -0.21888 | 0.98841 | -0.22286 | 7.133
27 | 0.024456 | 0.0061353 | -0.024439 | -0.006125 | 1.6741e-05 | 1.0295e-05 | 0.036875 | 0.036875 | 0.036875 | 0.98693 | -0.2515 | 0.98619 | -0.26587 | 10.1304
28 | 0.11455 | 0.02941 | -0.11432 | -0.029262 | 0.00023164 | 0.00014715 | 0.17141 | 0.17141 | 0.17141 | 0.9959 | -0.0773 | 0.9937 | -0.11905 | 23.5451
29 | -0.11455 | -0.02941 | 0.11467 | 0.029482 | 0.00011438 | 7.2659e-05 | 0.17141 | 0.17141 | 0.17141 | 0.9959 | -0.0773 | 0.99699 | -0.056752 | 23.5451
30 | 0.10192 | 0.026155 | -0.10157 | -0.025931 | 0.00035225 | 0.00022336 | 0.15284 | 0.15284 | 0.15284 | 0.9937 | -0.11905 | 0.98995 | -0.19054 | 20.9945
31 | 0.010989 | 0.0027544 | -0.010988 | -0.0027539 | 9.5353e-07 | 4.912e-07 | 0.016544 | 0.016544 | 0.016544 | 0.98841 | -0.22286 | 0.98831 | -0.22468 | 4.5451
32 | -0.080125 | -0.020239 | 0.080582 | 0.02053 | 0.00045604 | 0.00029083 | 0.12184 | 0.12184 | 0.12184 | 0.97898 | -0.40223 | 0.98507 | -0.2842 | 33.4738
33 | 0.080125 | 0.020239 | -0.079719 | -0.019979 | 0.00040659 | 0.00025931 | 0.12184 | 0.12184 | 0.12184 | 0.97898 | -0.40223 | 0.97356 | -0.5087 | 33.4739
34 | -0.080582 | -0.02053 | 0.080947 | 0.020763 | 0.00036591 | 0.00023334 | 0.12184 | 0.12184 | 0.12184 | 0.98507 | -0.2842 | 0.98995 | -0.19054 | 33.4737

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3653 | 0.092884

## res_load
| p_mw | q_mvar
0 | 0.038622 | 0.0096797
1 | 0.014371 | 0.0036018
2 | 0.012099 | 0.0030323
3 | 0.011317 | 0.0028364
4 | 0.011205 | 0.0028082
5 | 0.0080393 | 0.0020148
6 | 0.012922 | 0.0032387
7 | 0.0050797 | 0.0012731
8 | 0.012998 | 0.0032577
9 | 0.016731 | 0.0041931
10 | 0.0067664 | 0.0016958
11 | 0.032197 | 0.0080695
12 | 0.010222 | 0.0025618
13 | 0.012401 | 0.0031079
14 | 0.012132 | 0.0030405
15 | 0.0062571 | 0.0015682
16 | 0.010988 | 0.0027539
17 | 0.079719 | 0.019979
18 | 0.020622 | 0.0051683
19 | 0.024439 | 0.006125

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1