## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-254_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-254_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-254_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-254_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-254_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-254_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-254_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-254_0_6_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_261-254_0_6_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_261-254_0_6_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_261-254_0_6_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_261-254_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-254_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-254_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-254_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-254_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_261-254_0_6_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_261-254_0_6_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_261-254_0_6_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_261-254_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_261-254_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_261-254_0_6_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_261-254_0_6_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_261-254_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_261-254_0_6_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_261-254_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_261-254_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-254_0_6_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_261-254_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_261-254_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_261-254_0_6_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_261-254_0_6_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_261-254_0_6_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_261-254_0_6_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_261-254_0_6_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_261-254_0_6_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_261-254_0_6_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_261-254_0_6_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_261-254_0_6_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_261-254_0_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_261-254_0_6_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_261-254_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_261-254_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_261-254_0_6_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_261-254_0_6_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_261-254_0_6_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_261-254_0_6_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_261-254_0_6_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_261-254_0_6_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_261-254_0_6_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_261-254_0_6_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_261-254_0_6_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_261-254_0_6_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_261-254_0_6_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_261-254_0_6_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_261-254_0_6_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_261-254_0_6_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_261-254_0_6_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_261-254_0_6_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_261-254_0_6_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_261-254_0_6_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_261-254_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_261-254_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_261-254_0_6_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_261-254_0_6_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_261-254_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_261-254_0_6_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_261-254_0_6_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_261-254_0_6_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_261-254_0_6_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_261-254_0_6_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_261-254_0_6_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_261-254_0_6_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_261-254_0_6_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_261-254_0_6_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_261-254_0_6_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_261-254_0_6_node_78 | 0.4 | n |  | TRUE
77 | bus_MV_541_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-254_0_6_load_0 | 0 | 0.0055674 | 0.0013953 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-254_0_6_load_1 | 1 | 0.012473 | 0.003126 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-254_0_6_load_2 | 2 | 0.0034791 | 0.00087194 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-254_0_6_load_3 | 3 | 0.0060553 | 0.0015176 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-254_0_6_load_4 | 4 | 0.0080745 | 0.0020236 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-254_0_6_load_5 | 5 | 0.0025055 | 0.00062794 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-254_0_6_load_6 | 6 | 0.0050457 | 0.0012646 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-254_0_6_load_46 | 7 | 0.0034709 | 0.00086988 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-254_0_6_load_32 | 8 | 0.0031189 | 0.00078167 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-254_0_6_load_45 | 9 | 0.0036842 | 0.00092334 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-254_0_6_load_33 | 10 | 0.0024059 | 0.00060298 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-254_0_6_load_7 | 11 | 0.0045907 | 0.0011505 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-254_0_6_load_8 | 12 | 0.0036854 | 0.00092365 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-254_0_6_load_10 | 14 | 0.0026905 | 0.00067431 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-254_0_6_load_21 | 16 | 0.0051091 | 0.0012805 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-254_0_6_load_69 | 17 | 0.0031595 | 0.00079184 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-254_0_6_load_66 | 18 | 0.0058152 | 0.0014574 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-254_0_6_load_47 | 21 | 0.019124 | 0.0047929 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-254_0_6_load_51 | 22 | 0.08031 | 0.020127 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-254_0_6_load_24 | 24 | 0.010736 | 0.0026906 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-254_0_6_load_39 | 25 | 0.003414 | 0.00085564 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-254_0_6_load_38 | 27 | 0.020192 | 0.0050606 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-254_0_6_load_30 | 29 | 0.0063298 | 0.0015864 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-254_0_6_load_65 | 31 | 0.0048 | 0.001203 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-254_0_6_load_43 | 32 | 0.0060227 | 0.0015094 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-254_0_6_load_42 | 33 | 0.0060614 | 0.0015191 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-254_0_6_load_71 | 34 | 0.0028437 | 0.00071269 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-254_0_6_load_67 | 35 | 0.0028821 | 0.00072231 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-254_0_6_load_72 | 36 | 0.0037502 | 0.00093988 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-254_0_6_load_70 | 37 | 0.0037426 | 0.00093797 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-254_0_6_load_48 | 38 | 0.010296 | 0.0025805 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-254_0_6_load_22 | 39 | 0.032319 | 0.0080999 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-254_0_6_load_23 | 40 | 0.0058292 | 0.0014609 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-254_0_6_load_36 | 42 | 0.0096914 | 0.0024289 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-254_0_6_load_28 | 43 | 0.0042722 | 0.0010707 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-254_0_6_load_58 | 44 | 0.021978 | 0.0055083 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-254_0_6_load_54 | 45 | 0.0058689 | 0.0014709 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-254_0_6_load_60 | 46 | 0.0044331 | 0.001111 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-254_0_6_load_64 | 47 | 0.0050456 | 0.0012645 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-254_0_6_load_25 | 48 | 0.011559 | 0.002897 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-254_0_6_load_26 | 49 | 0.0059401 | 0.0014887 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-254_0_6_load_27 | 50 | 0.0090748 | 0.0022744 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-254_0_6_load_29 | 51 | 0.0028755 | 0.00072066 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-254_0_6_load_31 | 52 | 0.0066515 | 0.001667 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-254_0_6_load_62 | 53 | 0.0027402 | 0.00068676 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-254_0_6_load_63 | 54 | 0.0046466 | 0.0011645 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-254_0_6_load_34 | 55 | 0.0047812 | 0.0011983 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-254_0_6_load_61 | 56 | 0.0026358 | 0.0006606 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-254_0_6_load_59 | 57 | 0.010106 | 0.0025328 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-254_0_6_load_35 | 58 | 0.0037808 | 0.00094755 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-254_0_6_load_40 | 59 | 0.0066237 | 0.0016601 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-254_0_6_load_41 | 60 | 0.0069006 | 0.0017295 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-254_0_6_load_52 | 61 | 0.0031167 | 0.00078111 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-254_0_6_load_53 | 62 | 0.0048832 | 0.0012239 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-254_0_6_load_44 | 63 | 0.0035238 | 0.00088314 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-254_0_6_load_49 | 64 | 0.0085422 | 0.0021409 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-254_0_6_load_50 | 65 | 0.01103 | 0.0027643 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-254_0_6_load_73 | 66 | 0.0068059 | 0.0017057 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-254_0_6_load_74 | 67 | 0.0081968 | 0.0020543 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-254_0_6_load_55 | 68 | 0.0024852 | 0.00062284 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-254_0_6_load_57 | 69 | 0.015046 | 0.0037708 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-254_0_6_load_68 | 70 | 0.0028864 | 0.00072341 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_261-254_0_6_load_80 | 71 | 0.0033582 | 0.00084165 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_261-254_0_6_load_79 | 72 | 0.0034834 | 0.00087302 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_261-254_0_6_load_75 | 73 | 0.011547 | 0.0028939 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_261-254_0_6_load_76 | 74 | 0.010224 | 0.0025623 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_261-254_0_6_load_77 | 75 | 0.0038383 | 0.00096197 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_261-254_0_6_load_78 | 76 | 0.0068322 | 0.0017123 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-254_0_6_line_0 |  | 0 | 1 | 0.0046484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_261-254_0_6_line_1 |  | 0 | 2 | 0.003766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_261-254_0_6_line_2 |  | 1 | 3 | 0.0074923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_261-254_0_6_line_3 |  | 2 | 4 | 0.007912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_261-254_0_6_line_4 |  | 3 | 5 | 0.00077524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-254_0_6_line_5 |  | 4 | 6 | 0.0025937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_261-254_0_6_line_6 |  | 5 | 7 | 0.0041882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-254_0_6_line_7 |  | 6 | 8 | 0.0054061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_261-254_0_6_line_8 |  | 7 | 9 | 0.00081627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-254_0_6_line_9 |  | 8 | 10 | 0.0033601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_261-254_0_6_line_10 |  | 9 | 63 | 0.0024187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-254_0_6_line_11 |  | 10 | 55 | 0.0043685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_261-254_0_6_line_12 |  | 11 | 12 | 0.009904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_261-254_0_6_line_13 |  | 11 | 13 | 0.0089315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_261-254_0_6_line_14 |  | 12 | 14 | 0.0075474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_261-254_0_6_line_15 |  | 13 | 15 | 0.011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_261-254_0_6_line_16 |  | 14 | 16 | 0.0022067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_261-254_0_6_line_17 |  | 15 | 17 | 0.022956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_261-254_0_6_line_18 |  | 15 | 18 | 0.0096472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-254_0_6_line_19 |  | 16 | 31 | 0.0048221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_261-254_0_6_line_20 |  | 17 | 34 | 0.0056558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_261-254_0_6_line_21 |  | 18 | 35 | 0.012466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-254_0_6_line_22 |  | 19 | 20 | 0.003069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_261-254_0_6_line_23 |  | 19 | 21 | 0.0054362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_261-254_0_6_line_24 |  | 20 | 22 | 0.0073597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_261-254_0_6_line_25 |  | 21 | 38 | 0.0080771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_261-254_0_6_line_26 |  | 22 | 26 | 0.024276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_261-254_0_6_line_27 |  | 23 | 24 | 0.011373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-254_0_6_line_28 |  | 23 | 25 | 0.01259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-254_0_6_line_29 |  | 24 | 40 | 0.0031255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-254_0_6_line_30 |  | 25 | 41 | 0.0060574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-254_0_6_line_31 |  | 26 | 27 | 0.028781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_261-254_0_6_line_32 |  | 27 | 42 | 0.00052889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-254_0_6_line_33 |  | 28 | 29 | 0.013123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_261-254_0_6_line_34 |  | 28 | 30 | 0.02297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_261-254_0_6_line_35 |  | 29 | 43 | 0.0056465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_261-254_0_6_line_36 |  | 30 | 44 | 0.024207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-254_0_6_line_37 |  | 30 | 45 | 0.009532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_261-254_0_6_line_38 |  | 31 | 47 | 0.0085458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_261-254_0_6_line_39 |  | 32 | 33 | 0.0015489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-254_0_6_line_40 |  | 33 | 63 | 0.012285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-254_0_6_line_41 |  | 34 | 71 | 0.0057476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_261-254_0_6_line_42 |  | 35 | 70 | 0.0085949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-254_0_6_line_43 |  | 36 | 37 | 0.01144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-254_0_6_line_44 |  | 37 | 70 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-254_0_6_line_45 |  | 38 | 64 | 0.0031086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_261-254_0_6_line_46 |  | 39 | 40 | 0.0077171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-254_0_6_line_47 |  | 41 | 59 | 0.0078594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-254_0_6_line_48 |  | 41 | 58 | 0.001099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-254_0_6_line_49 |  | 42 | 58 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-254_0_6_line_50 |  | 43 | 49 | 0.004226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_261-254_0_6_line_51 |  | 44 | 46 | 0.0043479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-254_0_6_line_52 |  | 45 | 68 | 0.0085637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_261-254_0_6_line_53 |  | 47 | 54 | 0.0076327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_261-254_0_6_line_54 |  | 48 | 49 | 0.010015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_261-254_0_6_line_55 |  | 48 | 50 | 0.011248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_261-254_0_6_line_56 |  | 50 | 51 | 0.0038089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_261-254_0_6_line_57 |  | 51 | 52 | 0.0024941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_261-254_0_6_line_58 |  | 52 | 53 | 0.0091479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_261-254_0_6_line_59 |  | 53 | 54 | 0.014583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_261-254_0_6_line_60 |  | 55 | 56 | 0.0024231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_261-254_0_6_line_61 |  | 56 | 57 | 0.0071249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_261-254_0_6_line_62 |  | 57 | 69 | 0.0020561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_261-254_0_6_line_63 |  | 59 | 60 | 0.0017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-254_0_6_line_64 |  | 60 | 61 | 0.0090885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-254_0_6_line_65 |  | 61 | 62 | 0.0079151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-254_0_6_line_66 |  | 64 | 65 | 0.002841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_261-254_0_6_line_67 |  | 65 | 66 | 0.0026166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_261-254_0_6_line_68 |  | 66 | 67 | 0.0021937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_261-254_0_6_line_69 |  | 67 | 73 | 0.0052724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_261-254_0_6_line_70 |  | 68 | 69 | 0.0013067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_261-254_0_6_line_71 |  | 71 | 72 | 0.0066477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_261-254_0_6_line_72 |  | 72 | 76 | 0.025394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_261-254_0_6_line_73 |  | 73 | 74 | 0.0059383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_261-254_0_6_line_74 |  | 74 | 75 | 0.0054437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_261-254_0_6_line_75 |  | 75 | 76 | 0.0061373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-254_0_6_trafo_3 | 0.63 MVA 20/0.4 kV | 77 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2683636.9596 | 1247535.9329 | 2683634.3285 | 1247539.765
1 | 2683636.9596 | 1247535.9329 | 2683639.0912 | 1247532.8283
2 | 2683634.3285 | 1247539.765 | 2683632.9173 | 1247541.8202 | 2683630.049 | 1247545.9147
3 | 2683639.0912 | 1247532.8283 | 2683643.5697 | 1247526.3057
4 | 2683629.6042 | 1247546.5496 | 2683630.049 | 1247545.9147
5 | 2683645.0378 | 1247524.1675 | 2683643.5697 | 1247526.3057
6 | 2683627.2012 | 1247549.9798 | 2683629.6042 | 1247546.5496
7 | 2683645.0378 | 1247524.1675 | 2683648.0979 | 1247519.7107
8 | 2683626.7329 | 1247550.6484 | 2683627.2012 | 1247549.9798
9 | 2683648.0979 | 1247519.7107 | 2683649.9998 | 1247516.9407
10 | 2683626.7329 | 1247550.6484 | 2683625.3451 | 1247552.6294
11 | 2683652.4724 | 1247513.3394 | 2683649.9998 | 1247516.9407
12 | 2683656.6019 | 1247587.6853 | 2683661.6415 | 1247579.1593
13 | 2683652.0572 | 1247595.3741 | 2683656.6019 | 1247587.6853
14 | 2683661.6415 | 1247579.1593 | 2683665.482 | 1247572.6621
15 | 2683652.0572 | 1247595.3741 | 2683660.3858 | 1247599.8504 | 2683661.25 | 1247598.5617 | 2683661.5201 | 1247598.1541 | 2683661.6282 | 1247597.9888
16 | 2683665.482 | 1247572.6621 | 2683666.6048 | 1247570.7625
17 | 2683661.6282 | 1247597.9888 | 2683658.9792 | 1247596.7617 | 2683653.4061 | 1247593.4584 | 2683641.5434 | 1247586.8934
18 | 2683661.6282 | 1247597.9888 | 2683661.7407 | 1247598.046 | 2683662.0585 | 1247598.006 | 2683662.5156 | 1247597.7345 | 2683662.9967 | 1247597.3632 | 2683667.0471 | 1247590.3933
19 | 2683669.0585 | 1247566.6113 | 2683666.6048 | 1247570.7625
20 | 2683636.5948 | 1247584.1548 | 2683641.5434 | 1247586.8934
21 | 2683667.0471 | 1247590.3933 | 2683671.2646 | 1247583.136 | 2683673.3458 | 1247579.6353
22 | 2683561.8305 | 1247546.7218 | 2683559.3638 | 1247544.8857
23 | 2683561.8305 | 1247546.7218 | 2683562.6398 | 1247545.5768 | 2683563.4532 | 1247545.7439 | 2683566.2844 | 1247547.2432
24 | 2683559.3638 | 1247544.8857 | 2683553.4621 | 1247540.4883
25 | 2683573.4858 | 1247550.9006 | 2683567.142 | 1247547.6973 | 2683566.2844 | 1247547.2432
26 | 2683532.9047 | 1247527.6891 | 2683545.4305 | 1247534.5039 | 2683553.4621 | 1247540.4883
27 | 2683569.677 | 1247471.3101 | 2683571.5531 | 1247472.1816 | 2683579.9707 | 1247476.1466
28 | 2683569.677 | 1247471.3101 | 2683565.1728 | 1247479.5082 | 2683563.4144 | 1247482.2245
29 | 2683582.7982 | 1247477.4785 | 2683579.9707 | 1247476.1466
30 | 2683560.1227 | 1247487.3095 | 2683563.4144 | 1247482.2245
31 | 2683532.9047 | 1247527.6891 | 2683549.0122 | 1247503.837
32 | 2683549.0122 | 1247503.837 | 2683549.3082 | 1247503.3987
33 | 2683691.2642 | 1247493.4076 | 2683686.2291 | 1247505.5266
34 | 2683669.0921 | 1247487.1679 | 2683691.2642 | 1247493.4076
35 | 2683684.0626 | 1247510.741 | 2683684.0626 | 1247510.741 | 2683686.2291 | 1247505.5266
36 | 2683669.0921 | 1247487.1679 | 2683661.8796 | 1247484.4086 | 2683654.7093 | 1247480.2711 | 2683653.5661 | 1247479.3876 | 2683648.2228 | 1247475.245
37 | 2683669.0921 | 1247487.1679 | 2683664.0392 | 1247495.2505
38 | 2683673.407 | 1247559.2546 | 2683669.0585 | 1247566.6113
39 | 2683617.7035 | 1247564.1476 | 2683618.4786 | 1247562.8066
40 | 2683625.3451 | 1247552.6294 | 2683619.72 | 1247560.6591 | 2683618.4786 | 1247562.8066
41 | 2683631.5578 | 1247581.3872 | 2683632.1282 | 1247581.6829 | 2683636.5948 | 1247584.1548
42 | 2683673.3458 | 1247579.6353 | 2683677.738 | 1247572.2474
43 | 2683691.5194 | 1247548.5696 | 2683689.9034 | 1247551.2533 | 2683685.7505 | 1247558.4476
44 | 2683685.7505 | 1247558.4476 | 2683679.3344 | 1247569.5621 | 2683677.738 | 1247572.2474
45 | 2683573.4858 | 1247550.9006 | 2683576.2607 | 1247552.3018
46 | 2683589.7796 | 1247480.767 | 2683582.7982 | 1247477.4785
47 | 2683560.1227 | 1247487.3095 | 2683552.7962 | 1247484.4647
48 | 2683560.1227 | 1247487.3095 | 2683559.508 | 1247488.2204
49 | 2683559.508 | 1247488.2204 | 2683554.815 | 1247495.1738 | 2683553.248 | 1247497.5646 | 2683549.3082 | 1247503.3987
50 | 2683687.9253 | 1247512.4553 | 2683684.0626 | 1247510.741
51 | 2683648.2228 | 1247475.245 | 2683644.7867 | 1247472.581 | 2683644.7867 | 1247472.581
52 | 2683664.0392 | 1247495.2505 | 2683659.4996 | 1247502.512
53 | 2683673.407 | 1247559.2546 | 2683677.2908 | 1247552.6839
54 | 2683687.9253 | 1247512.4553 | 2683697.0788 | 1247516.5178 | 2683697.0788 | 1247516.5178
55 | 2683692.2341 | 1247526.6692 | 2683697.0788 | 1247516.5178
56 | 2683690.5936 | 1247530.1066 | 2683692.2341 | 1247526.6692
57 | 2683689.5193 | 1247532.3575 | 2683690.5936 | 1247530.1066
58 | 2683689.5193 | 1247532.3575 | 2683688.7346 | 1247534.0018 | 2683684.9043 | 1247540.2467
59 | 2683677.2908 | 1247552.6839 | 2683677.6863 | 1247552.0148 | 2683684.9043 | 1247540.2467
60 | 2683653.844 | 1247511.3418 | 2683652.4724 | 1247513.3394
61 | 2683653.844 | 1247511.3418 | 2683655.3593 | 1247509.1349 | 2683657.717 | 1247505.3635
62 | 2683658.8069 | 1247503.62 | 2683657.717 | 1247505.3635
63 | 2683552.7962 | 1247484.4647 | 2683551.1557 | 1247483.8277
64 | 2683551.1557 | 1247483.8277 | 2683542.6834 | 1247480.5381
65 | 2683535.305 | 1247477.6732 | 2683542.6834 | 1247480.5381
66 | 2683578.7967 | 1247553.5824 | 2683576.2607 | 1247552.3018
67 | 2683578.7967 | 1247553.5824 | 2683580.462 | 1247554.4233 | 2683581.1209 | 1247554.7836
68 | 2683583.0457 | 1247555.836 | 2683581.1209 | 1247554.7836
69 | 2683583.0457 | 1247555.836 | 2683587.6718 | 1247558.3654
70 | 2683658.8069 | 1247503.62 | 2683659.4996 | 1247502.512
71 | 2683625.6563 | 1247578.327 | 2683631.5578 | 1247581.3872
72 | 2683625.6563 | 1247578.327 | 2683620.0705 | 1247575.4305 | 2683608.6379 | 1247569.3092 | 2683603.1638 | 1247566.5412
73 | 2683587.6718 | 1247558.3654 | 2683592.8822 | 1247561.2143
74 | 2683592.8822 | 1247561.2143 | 2683595.993 | 1247562.9152 | 2683597.687 | 1247563.7717
75 | 2683597.687 | 1247563.7717 | 2683603.1638 | 1247566.5412

## bus_geodata
| x | y | coords
0 | 2683636.9596 | 1247535.9329
1 | 2683634.3285 | 1247539.765
2 | 2683639.0912 | 1247532.8283
3 | 2683630.049 | 1247545.9147
4 | 2683643.5697 | 1247526.3057
5 | 2683629.6042 | 1247546.5496
6 | 2683645.0378 | 1247524.1675
7 | 2683627.2012 | 1247549.9798
8 | 2683648.0979 | 1247519.7107
9 | 2683626.7329 | 1247550.6484
10 | 2683649.9998 | 1247516.9407
11 | 2683656.6019 | 1247587.6853
12 | 2683661.6415 | 1247579.1593
13 | 2683652.0572 | 1247595.3741
14 | 2683665.482 | 1247572.6621
15 | 2683661.6282 | 1247597.9888
16 | 2683666.6048 | 1247570.7625
17 | 2683641.5434 | 1247586.8934
18 | 2683667.0471 | 1247590.3933
19 | 2683561.8305 | 1247546.7218
20 | 2683559.3638 | 1247544.8857
21 | 2683566.2844 | 1247547.2432
22 | 2683553.4621 | 1247540.4883
23 | 2683569.677 | 1247471.3101
24 | 2683579.9707 | 1247476.1466
25 | 2683563.4144 | 1247482.2245
26 | 2683532.9047 | 1247527.6891
27 | 2683549.0122 | 1247503.837
28 | 2683691.2642 | 1247493.4076
29 | 2683686.2291 | 1247505.5266
30 | 2683669.0921 | 1247487.1679
31 | 2683669.0585 | 1247566.6113
32 | 2683617.7035 | 1247564.1476
33 | 2683618.4786 | 1247562.8066
34 | 2683636.5948 | 1247584.1548
35 | 2683673.3458 | 1247579.6353
36 | 2683691.5194 | 1247548.5696
37 | 2683685.7505 | 1247558.4476
38 | 2683573.4858 | 1247550.9006
39 | 2683589.7796 | 1247480.767
40 | 2683582.7982 | 1247477.4785
41 | 2683560.1227 | 1247487.3095
42 | 2683549.3082 | 1247503.3987
43 | 2683684.0626 | 1247510.741
44 | 2683648.2228 | 1247475.245
45 | 2683664.0392 | 1247495.2505
46 | 2683644.7867 | 1247472.581
47 | 2683673.407 | 1247559.2546
48 | 2683697.0788 | 1247516.5178
49 | 2683687.9253 | 1247512.4553
50 | 2683692.2341 | 1247526.6692
51 | 2683690.5936 | 1247530.1066
52 | 2683689.5193 | 1247532.3575
53 | 2683684.9043 | 1247540.2467
54 | 2683677.2908 | 1247552.6839
55 | 2683652.4724 | 1247513.3394
56 | 2683653.844 | 1247511.3418
57 | 2683657.717 | 1247505.3635
58 | 2683559.508 | 1247488.2204
59 | 2683552.7962 | 1247484.4647
60 | 2683551.1557 | 1247483.8277
61 | 2683542.6834 | 1247480.5381
62 | 2683535.305 | 1247477.6732
63 | 2683625.3451 | 1247552.6294
64 | 2683576.2607 | 1247552.3018
65 | 2683578.7967 | 1247553.5824
66 | 2683581.1209 | 1247554.7836
67 | 2683583.0457 | 1247555.836
68 | 2683659.4996 | 1247502.512
69 | 2683658.8069 | 1247503.62
70 | 2683677.738 | 1247572.2474
71 | 2683631.5578 | 1247581.3871
72 | 2683625.6563 | 1247578.327
73 | 2683587.6718 | 1247558.3654
74 | 2683592.8822 | 1247561.2143
75 | 2683597.687 | 1247563.7717
76 | 2683603.1638 | 1247566.5412
77 | 2683611.7762 | 1247574.4017

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99888 | -0.02114 | 0.0055674 | 0.0013953
1 | 0.9993 | -0.013165 | 0.012473 | 0.003126
2 | 0.99854 | -0.027532 | 0.0034791 | 0.00087194
3 | 1 | 0 | -0.53863 | -0.13769
4 | 0.99784 | -0.04088 | 0.0080745 | 0.0020236
5 | 0.99998 | -0.00034144 | 0.0025055 | 0.00062794
6 | 0.99761 | -0.045187 | 0.0050457 | 0.0012646
7 | 0.9999 | -0.0020033 | 0.0034709 | 0.00086988
8 | 0.99714 | -0.054073 | 0.0031189 | 0.00078167
9 | 0.99988 | -0.0022779 | 0.0036842 | 0.00092334
10 | 0.99685 | -0.059564 | 0.0024059 | 0.00060298
11 | 0.98469 | -0.29249 | 0.0045907 | 0.0011505
12 | 0.98528 | -0.28108 | 0.0036854 | 0.00092365
13 | 0.98416 | -0.30265 | 0 | 0
14 | 0.98573 | -0.27229 | 0.0026905 | 0.00067431
15 | 0.98348 | -0.31597 | 0 | 0
16 | 0.98587 | -0.2697 | 0.0051091 | 0.0012805
17 | 0.98221 | -0.34058 | 0.0031595 | 0.00079184
18 | 0.98331 | -0.31929 | 0.0058152 | 0.0014574
19 | 0.9778 | -0.42665 | 0 | 0
20 | 0.9777 | -0.42875 | 0 | 0
21 | 0.97799 | -0.42293 | 0.019124 | 0.0047929
22 | 0.97744 | -0.43379 | 0.08031 | 0.020127
23 | 0.9732 | -0.51712 | 0 | 0
24 | 0.97268 | -0.52735 | 0.010736 | 0.0026906
25 | 0.97378 | -0.5058 | 0.003414 | 0.00085564
26 | 0.97695 | -0.44332 | 0 | 0
27 | 0.97551 | -0.47161 | 0.020192 | 0.0050606
28 | 0.99228 | -0.14649 | 0 | 0
29 | 0.99132 | -0.16492 | 0.0063298 | 0.0015864
30 | 0.99397 | -0.11432 | 0 | 0
31 | 0.98616 | -0.26396 | 0.0048 | 0.001203
32 | 0.9997 | -0.0056873 | 0.0060227 | 0.0015094
33 | 0.99971 | -0.0055246 | 0.0060614 | 0.0015191
34 | 0.9819 | -0.34659 | 0.0028437 | 0.00071269
35 | 0.98315 | -0.32227 | 0.0028821 | 0.00072231
36 | 0.98292 | -0.32681 | 0.0037502 | 0.00093988
37 | 0.98296 | -0.32603 | 0.0037426 | 0.00093797
38 | 0.9783 | -0.41684 | 0.010296 | 0.0025805
39 | 0.97234 | -0.53415 | 0.032319 | 0.0080999
40 | 0.97257 | -0.52955 | 0.0058292 | 0.0014609
41 | 0.97407 | -0.49997 | 0 | 0
42 | 0.97547 | -0.47245 | 0.0096914 | 0.0024289
43 | 0.99091 | -0.17273 | 0.0042722 | 0.0010707
44 | 0.99339 | -0.12561 | 0.021978 | 0.0055083
45 | 0.99472 | -0.10012 | 0.0058689 | 0.0014709
46 | 0.99337 | -0.12595 | 0.0044331 | 0.001111
47 | 0.9867 | -0.25364 | 0.0050456 | 0.0012645
48 | 0.9899 | -0.19203 | 0.011559 | 0.002897
49 | 0.99061 | -0.17852 | 0.0059401 | 0.0014887
50 | 0.98913 | -0.20677 | 0.0090748 | 0.0022744
51 | 0.98888 | -0.21165 | 0.0028755 | 0.00072066
52 | 0.98872 | -0.21481 | 0.0066515 | 0.001667
53 | 0.98812 | -0.22622 | 0.0027402 | 0.00068676
54 | 0.98718 | -0.24429 | 0.0046466 | 0.0011645
55 | 0.99648 | -0.06667 | 0.0047812 | 0.0011983
56 | 0.99627 | -0.070574 | 0.0026358 | 0.0006606
57 | 0.99567 | -0.081995 | 0.010106 | 0.0025328
58 | 0.97415 | -0.49848 | 0.0037808 | 0.00094755
59 | 0.97391 | -0.50308 | 0.0066237 | 0.0016601
60 | 0.97389 | -0.50356 | 0.0069006 | 0.0017295
61 | 0.97382 | -0.5049 | 0.0031167 | 0.00078111
62 | 0.97379 | -0.50561 | 0.0048832 | 0.0012239
63 | 0.99985 | -0.002936 | 0.0035238 | 0.00088314
64 | 0.97843 | -0.41438 | 0.0085422 | 0.0021409
65 | 0.97855 | -0.41204 | 0.01103 | 0.0027643
66 | 0.97866 | -0.40979 | 0.0068059 | 0.0017057
67 | 0.97876 | -0.40784 | 0.0081968 | 0.0020543
68 | 0.99539 | -0.087201 | 0.0024852 | 0.00062284
69 | 0.9955 | -0.08522 | 0.015046 | 0.0037708
70 | 0.98307 | -0.32388 | 0.0028864 | 0.00072341
71 | 0.98159 | -0.35264 | 0.0033582 | 0.00084165
72 | 0.98124 | -0.35956 | 0.0034834 | 0.00087302
73 | 0.97901 | -0.40301 | 0.011547 | 0.0028939
74 | 0.9793 | -0.39733 | 0.010224 | 0.0025623
75 | 0.97958 | -0.39192 | 0.0038383 | 0.00096197
76 | 0.97989 | -0.38573 | 0.0068322 | 0.0017123
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.49871 | -0.12789 | 0.49891 | 0.12802 | 0.00019296 | 0.00012319 | 0.74396 | 0.74396 | 0.74396 | 0.99888 | -0.02114 | 0.9993 | -0.013165 | 40.8768
1 | 0.49315 | 0.1265 | -0.49299 | -0.1264 | 0.00015286 | 9.7584e-05 | 0.73566 | 0.73566 | 0.73566 | 0.99888 | -0.02114 | 0.99854 | -0.027532 | 40.4211
2 | -0.51138 | -0.13114 | 0.51171 | 0.13135 | 0.00032673 | 0.00020862 | 0.76253 | 0.76253 | 0.76253 | 0.9993 | -0.013165 | 1 | 0 | 41.8972
3 | 0.48951 | 0.12553 | -0.4892 | -0.12533 | 0.00031664 | 0.00020213 | 0.73048 | 0.73048 | 0.73048 | 0.99854 | -0.027532 | 0.99784 | -0.04088 | 40.1362
4 | 0.025273 | 0.0063355 | -0.025273 | -0.0063352 | 4.1116e-07 | 2.5297e-07 | 0.037607 | 0.037607 | 0.037607 | 1 | 0 | 0.99998 | -0.00034144 | 10.3316
5 | 0.48112 | 0.1233 | -0.48102 | -0.12324 | 0.00010041 | 6.4092e-05 | 0.71844 | 0.71844 | 0.71844 | 0.99784 | -0.04088 | 0.99761 | -0.045187 | 39.4746
6 | 0.022767 | 0.0057073 | -0.022765 | -0.0057062 | 1.8026e-06 | 1.0988e-06 | 0.033879 | 0.033879 | 0.033879 | 0.99998 | -0.00034144 | 0.9999 | -0.0020033 | 9.3073
7 | 0.47598 | 0.12197 | -0.47577 | -0.12184 | 0.00020492 | 0.0001308 | 0.71091 | 0.71091 | 0.71091 | 0.99761 | -0.045187 | 0.99714 | -0.054073 | 39.0611
8 | 0.019294 | 0.0048363 | -0.019294 | -0.0048361 | 2.5237e-07 | 1.5081e-07 | 0.028713 | 0.028714 | 0.028714 | 0.9999 | -0.0020033 | 0.99988 | -0.0022779 | 7.8883
9 | 0.47265 | 0.12106 | -0.47253 | -0.12098 | 0.0001257 | 8.023e-05 | 0.70626 | 0.70626 | 0.70626 | 0.99714 | -0.054073 | 0.99685 | -0.059564 | 38.8054
10 | 0.01561 | 0.0039128 | -0.015609 | -0.0039125 | 4.8949e-07 | 2.8155e-07 | 0.023231 | 0.023231 | 0.023231 | 0.99988 | -0.0022779 | 0.99985 | -0.002936 | 6.3821
11 | 0.47012 | 0.12038 | -0.46996 | -0.12027 | 0.00016177 | 0.00010325 | 0.70267 | 0.70267 | 0.70267 | 0.99685 | -0.059564 | 0.99648 | -0.06667 | 38.6081
12 | -0.32301 | -0.08182 | 0.32318 | 0.081933 | 0.0001772 | 0.00011278 | 0.48842 | 0.48842 | 0.48842 | 0.98469 | -0.29249 | 0.98528 | -0.28108 | 26.8364
13 | 0.31841 | 0.08067 | -0.31826 | -0.080571 | 0.00015529 | 9.882e-05 | 0.48148 | 0.48148 | 0.48148 | 0.98469 | -0.29249 | 0.98416 | -0.30265 | 26.4552
14 | -0.32687 | -0.082857 | 0.32701 | 0.082945 | 0.00013813 | 8.7923e-05 | 0.49399 | 0.49399 | 0.49399 | 0.98528 | -0.28108 | 0.98573 | -0.27229 | 27.1422
15 | 0.31826 | 0.080571 | -0.31806 | -0.080441 | 0.00020332 | 0.00012938 | 0.48148 | 0.48149 | 0.48149 | 0.98416 | -0.30265 | 0.98348 | -0.31597 | 26.4552
16 | -0.3297 | -0.083619 | 0.32974 | 0.083645 | 4.1053e-05 | 2.6133e-05 | 0.49805 | 0.49805 | 0.49805 | 0.98573 | -0.27229 | 0.98587 | -0.2697 | 27.3653
17 | 0.29897 | 0.075657 | -0.29862 | -0.075433 | 0.0003527 | 0.00022428 | 0.45261 | 0.45261 | 0.45261 | 0.98348 | -0.31597 | 0.98221 | -0.34058 | 24.8688
18 | 0.019083 | 0.0047845 | -0.01908 | -0.0047827 | 3.016e-06 | 1.8079e-06 | 0.028874 | 0.028874 | 0.028874 | 0.98348 | -0.31597 | 0.98331 | -0.31929 | 7.9323
19 | -0.33485 | -0.084925 | 0.33494 | 0.084984 | 9.2509e-05 | 5.8898e-05 | 0.50576 | 0.50576 | 0.50576 | 0.98587 | -0.2697 | 0.98616 | -0.26396 | 27.789
20 | 0.29546 | 0.074641 | -0.29538 | -0.074587 | 8.5069e-05 | 5.4087e-05 | 0.44783 | 0.44783 | 0.44783 | 0.98221 | -0.34058 | 0.9819 | -0.34659 | 24.6058
21 | 0.013265 | 0.0033253 | -0.013263 | -0.0033242 | 1.8838e-06 | 1.0475e-06 | 0.020074 | 0.020074 | 0.020074 | 0.98331 | -0.31929 | 0.98315 | -0.32227 | 5.5147
22 | 0.18824 | 0.047347 | -0.18822 | -0.047335 | 1.8896e-05 | 1.1901e-05 | 0.28652 | 0.28652 | 0.28652 | 0.9778 | -0.42665 | 0.9777 | -0.42875 | 15.7431
23 | -0.18824 | -0.047347 | 0.18827 | 0.047368 | 3.3472e-05 | 2.1081e-05 | 0.28652 | 0.28652 | 0.28652 | 0.9778 | -0.42665 | 0.97799 | -0.42293 | 15.7431
24 | 0.18822 | 0.047335 | -0.18818 | -0.047306 | 4.5315e-05 | 2.854e-05 | 0.28652 | 0.28652 | 0.28652 | 0.9777 | -0.42875 | 0.97744 | -0.43379 | 15.7431
25 | -0.2074 | -0.052161 | 0.20746 | 0.052199 | 6.0346e-05 | 3.8114e-05 | 0.31562 | 0.31562 | 0.31562 | 0.97799 | -0.42293 | 0.9783 | -0.41684 | 17.3418
26 | 0.10787 | 0.027179 | -0.10782 | -0.027149 | 4.9127e-05 | 2.992e-05 | 0.16426 | 0.16426 | 0.16426 | 0.97744 | -0.43379 | 0.97695 | -0.44332 | 9.0255
27 | 0.048919 | 0.012274 | -0.048895 | -0.012258 | 2.3864e-05 | 1.5131e-05 | 0.074801 | 0.074801 | 0.074801 | 0.9732 | -0.51712 | 0.97268 | -0.52735 | 20.5497
28 | -0.048919 | -0.012274 | 0.048945 | 0.01229 | 2.6416e-05 | 1.675e-05 | 0.074801 | 0.074801 | 0.074801 | 0.9732 | -0.51712 | 0.97378 | -0.5058 | 20.5497
29 | 0.038159 | 0.0095678 | -0.038155 | -0.0095652 | 3.9943e-06 | 2.5175e-06 | 0.058377 | 0.058378 | 0.058378 | 0.97268 | -0.52735 | 0.97257 | -0.52955 | 16.0378
30 | -0.052359 | -0.013146 | 0.052374 | 0.013155 | 1.4544e-05 | 9.2329e-06 | 0.080018 | 0.080018 | 0.080018 | 0.97378 | -0.5058 | 0.97407 | -0.49997 | 21.9829
31 | 0.10782 | 0.027149 | -0.10767 | -0.027056 | 0.00014561 | 9.2473e-05 | 0.16426 | 0.16426 | 0.16426 | 0.97695 | -0.44332 | 0.97551 | -0.47161 | 22.5638
32 | 0.08748 | 0.021996 | -0.087476 | -0.021993 | 3.5329e-06 | 2.2545e-06 | 0.13346 | 0.13346 | 0.13346 | 0.97551 | -0.47161 | 0.97547 | -0.47245 | 36.666
33 | 0.40097 | 0.10234 | -0.40061 | -0.10211 | 0.00035663 | 0.0002274 | 0.60194 | 0.60194 | 0.60194 | 0.99228 | -0.14649 | 0.99132 | -0.16492 | 33.0739
34 | -0.40097 | -0.10234 | 0.40159 | 0.10274 | 0.00062421 | 0.00039801 | 0.60194 | 0.60194 | 0.60194 | 0.99228 | -0.14649 | 0.99397 | -0.11432 | 33.0738
35 | 0.39428 | 0.10053 | -0.39413 | -0.10043 | 0.00014864 | 9.4766e-05 | 0.59244 | 0.59244 | 0.59244 | 0.99132 | -0.16492 | 0.99091 | -0.17273 | 32.5518
36 | 0.026426 | 0.0066281 | -0.026411 | -0.0066193 | 1.4208e-05 | 8.7794e-06 | 0.039562 | 0.039562 | 0.039562 | 0.99397 | -0.11432 | 0.99339 | -0.12561 | 10.8688
37 | -0.42802 | -0.10937 | 0.42831 | 0.10955 | 0.0002942 | 0.00018767 | 0.64151 | 0.64151 | 0.64151 | 0.99397 | -0.11432 | 0.99472 | -0.10012 | 35.2475
38 | -0.33974 | -0.086187 | 0.33991 | 0.086295 | 0.00016868 | 0.00010741 | 0.513 | 0.513 | 0.513 | 0.98616 | -0.26396 | 0.9867 | -0.25364 | 28.187
39 | -0.0060227 | -0.0015094 | 0.0060227 | 0.0015094 | 4.6677e-08 | 9.5647e-09 | 0.0089645 | 0.0089645 | 0.0089645 | 0.9997 | -0.0056873 | 0.99971 | -0.0055246 | 2.4628
40 | -0.012084 | -0.0030286 | 0.012086 | 0.0030294 | 1.4903e-06 | 7.9273e-07 | 0.017987 | 0.017987 | 0.017987 | 0.99971 | -0.0055246 | 0.99985 | -0.002936 | 4.9414
41 | 0.29253 | 0.073874 | -0.29245 | -0.07382 | 8.4794e-05 | 5.3905e-05 | 0.44352 | 0.44352 | 0.44352 | 0.9819 | -0.34659 | 0.98159 | -0.35264 | 24.369
42 | 0.010381 | 0.0026019 | -0.01038 | -0.0026015 | 7.9564e-07 | 4.0022e-07 | 0.015712 | 0.015712 | 0.015712 | 0.98315 | -0.32227 | 0.98307 | -0.32388 | 4.3164
43 | -0.0037502 | -0.00093988 | 0.0037503 | 0.00093982 | 1.3827e-07 | -5.6512e-08 | 0.0056773 | 0.0056772 | 0.0056773 | 0.98292 | -0.32681 | 0.98296 | -0.32603 | 1.5597
44 | -0.0074929 | -0.0018778 | 0.0074936 | 0.0018781 | 7.6989e-07 | 2.9043e-07 | 0.011343 | 0.011343 | 0.011343 | 0.98296 | -0.32603 | 0.98307 | -0.32388 | 3.1161
45 | -0.21775 | -0.054779 | 0.21778 | 0.054795 | 2.5587e-05 | 1.6181e-05 | 0.33128 | 0.33128 | 0.33128 | 0.9783 | -0.41684 | 0.97843 | -0.41438 | 18.2023
46 | -0.032319 | -0.0080999 | 0.032326 | 0.0081043 | 7.0791e-06 | 4.4349e-06 | 0.049459 | 0.049459 | 0.049459 | 0.97234 | -0.53415 | 0.97257 | -0.52955 | 13.5876
47 | 0.021528 | 0.0053968 | -0.021525 | -0.0053949 | 3.1878e-06 | 1.9424e-06 | 0.032888 | 0.032888 | 0.032888 | 0.97407 | -0.49997 | 0.97391 | -0.50308 | 9.0351
48 | -0.073902 | -0.018552 | 0.073907 | 0.018555 | 5.2534e-06 | 3.3485e-06 | 0.11291 | 0.11291 | 0.11291 | 0.97407 | -0.49997 | 0.97415 | -0.49848 | 31.0181
49 | 0.077785 | 0.019564 | -0.077688 | -0.019503 | 9.6592e-05 | 6.1591e-05 | 0.11868 | 0.11868 | 0.11868 | 0.97547 | -0.47245 | 0.97415 | -0.49848 | 32.6046
50 | 0.38986 | 0.099361 | -0.38975 | -0.099292 | 0.00010885 | 6.9392e-05 | 0.58603 | 0.58603 | 0.58603 | 0.99091 | -0.17273 | 0.99061 | -0.17852 | 32.1993
51 | 0.0044332 | 0.001111 | -0.0044331 | -0.001111 | 7.1899e-08 | -1.0272e-08 | 0.0066406 | 0.0066406 | 0.0066406 | 0.99339 | -0.12561 | 0.99337 | -0.12595 | 1.8243
52 | -0.43418 | -0.11103 | 0.43445 | 0.1112 | 0.0002716 | 0.00017327 | 0.65028 | 0.65028 | 0.65028 | 0.99472 | -0.10012 | 0.99539 | -0.087201 | 35.7299
53 | -0.34495 | -0.087559 | 0.34511 | 0.087658 | 0.00015515 | 9.8811e-05 | 0.52061 | 0.52061 | 0.52061 | 0.9867 | -0.25364 | 0.98718 | -0.24429 | 28.605
54 | -0.38356 | -0.097644 | 0.38381 | 0.097803 | 0.00025015 | 0.00015945 | 0.57711 | 0.57711 | 0.57711 | 0.9899 | -0.19203 | 0.99061 | -0.17852 | 31.7091
55 | 0.372 | 0.094747 | -0.37174 | -0.094578 | 0.0002643 | 0.00016843 | 0.55973 | 0.55973 | 0.55973 | 0.9899 | -0.19203 | 0.98913 | -0.20677 | 30.7544
56 | 0.36266 | 0.092304 | -0.36258 | -0.09225 | 8.5186e-05 | 5.4274e-05 | 0.54608 | 0.54608 | 0.54608 | 0.98913 | -0.20677 | 0.98888 | -0.21165 | 30.0043
57 | 0.3597 | 0.091529 | -0.35965 | -0.091494 | 5.49e-05 | 3.4976e-05 | 0.54175 | 0.54175 | 0.54175 | 0.98888 | -0.21165 | 0.98872 | -0.21481 | 29.7666
58 | 0.35299 | 0.089827 | -0.3528 | -0.089703 | 0.00019399 | 0.00012357 | 0.53174 | 0.53174 | 0.53174 | 0.98872 | -0.21481 | 0.98812 | -0.22622 | 29.2166
59 | 0.35006 | 0.089017 | -0.34976 | -0.088823 | 0.00030446 | 0.00019392 | 0.52761 | 0.52762 | 0.52762 | 0.98812 | -0.22622 | 0.98718 | -0.24429 | 28.9899
60 | 0.46518 | 0.11908 | -0.46509 | -0.11902 | 8.7915e-05 | 5.6108e-05 | 0.69553 | 0.69553 | 0.69553 | 0.99648 | -0.06667 | 0.99627 | -0.070574 | 38.2158
61 | 0.46246 | 0.11836 | -0.4622 | -0.1182 | 0.00025559 | 0.00016311 | 0.69159 | 0.69159 | 0.69159 | 0.99627 | -0.070574 | 0.99567 | -0.081995 | 37.9995
62 | 0.45209 | 0.11566 | -0.45202 | -0.11562 | 7.057e-05 | 4.5031e-05 | 0.67649 | 0.67649 | 0.67649 | 0.99567 | -0.081995 | 0.9955 | -0.08522 | 37.1697
63 | 0.014902 | 0.0037348 | -0.014901 | -0.0037346 | 3.4209e-07 | 1.9704e-07 | 0.022768 | 0.022768 | 0.022768 | 0.97391 | -0.50308 | 0.97389 | -0.50356 | 6.2549
64 | 0.0080006 | 0.0020052 | -0.0080001 | -0.002005 | 5.0929e-07 | 2.1286e-07 | 0.012224 | 0.012224 | 0.012224 | 0.97389 | -0.50356 | 0.97382 | -0.5049 | 3.3583
65 | 0.0048834 | 0.0012239 | -0.0048832 | -0.0012239 | 1.6527e-07 | 7.2996e-09 | 0.0074619 | 0.0074619 | 0.0074619 | 0.97382 | -0.5049 | 0.97379 | -0.50561 | 2.05
66 | -0.22632 | -0.056936 | 0.22635 | 0.056952 | 2.5254e-05 | 1.5984e-05 | 0.34427 | 0.34427 | 0.34427 | 0.97843 | -0.41438 | 0.97855 | -0.41204 | 18.9161
67 | -0.23738 | -0.059717 | 0.2374 | 0.059733 | 2.5581e-05 | 1.6207e-05 | 0.36104 | 0.36104 | 0.36104 | 0.97855 | -0.41204 | 0.97866 | -0.40979 | 19.8376
68 | -0.24421 | -0.061439 | 0.24423 | 0.061453 | 2.2694e-05 | 1.4386e-05 | 0.37139 | 0.37139 | 0.37139 | 0.97866 | -0.40979 | 0.97876 | -0.40784 | 20.4062
69 | -0.25243 | -0.063507 | 0.25249 | 0.063544 | 5.8265e-05 | 3.6958e-05 | 0.38385 | 0.38385 | 0.38385 | 0.97876 | -0.40784 | 0.97901 | -0.40301 | 21.0909
70 | -0.43694 | -0.11182 | 0.43698 | 0.11185 | 4.1916e-05 | 2.6742e-05 | 0.654 | 0.654 | 0.654 | 0.99539 | -0.087201 | 0.9955 | -0.08522 | 35.934
71 | 0.28909 | 0.072979 | -0.28899 | -0.072918 | 9.5835e-05 | 6.0915e-05 | 0.43843 | 0.43843 | 0.43843 | 0.98159 | -0.35264 | 0.98124 | -0.35956 | 24.0893
72 | 0.28551 | 0.072045 | -0.28515 | -0.071818 | 0.00035733 | 0.00022709 | 0.43314 | 0.43314 | 0.43314 | 0.98124 | -0.35956 | 0.97989 | -0.38573 | 23.7991
73 | -0.26403 | -0.066438 | 0.26411 | 0.066484 | 7.1761e-05 | 4.5554e-05 | 0.4014 | 0.4014 | 0.4014 | 0.97901 | -0.40301 | 0.9793 | -0.39733 | 22.0552
74 | -0.27433 | -0.069046 | 0.2744 | 0.069091 | 7.0974e-05 | 4.5081e-05 | 0.41694 | 0.41694 | 0.41694 | 0.9793 | -0.39733 | 0.97958 | -0.39192 | 22.9087
75 | -0.27824 | -0.070053 | 0.27832 | 0.070105 | 8.227e-05 | 5.2266e-05 | 0.42277 | 0.42277 | 0.42277 | 0.97958 | -0.39192 | 0.97989 | -0.38573 | 23.2291

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54468 | 0.1392

## res_load
| p_mw | q_mvar
0 | 0.0055674 | 0.0013953
1 | 0.012473 | 0.003126
2 | 0.0034791 | 0.00087194
3 | 0.0060553 | 0.0015176
4 | 0.0080745 | 0.0020236
5 | 0.0025055 | 0.00062794
6 | 0.0050457 | 0.0012646
7 | 0.0034709 | 0.00086988
8 | 0.0031189 | 0.00078167
9 | 0.0036842 | 0.00092334
10 | 0.0024059 | 0.00060298
11 | 0.0045907 | 0.0011505
12 | 0.0036854 | 0.00092365
13 | 0.0026905 | 0.00067431
14 | 0.0051091 | 0.0012805
15 | 0.0031595 | 0.00079184
16 | 0.0058152 | 0.0014574
17 | 0.019124 | 0.0047929
18 | 0.08031 | 0.020127
19 | 0.010736 | 0.0026906
20 | 0.003414 | 0.00085564
21 | 0.020192 | 0.0050606
22 | 0.0063298 | 0.0015864
23 | 0.0048 | 0.001203
24 | 0.0060227 | 0.0015094
25 | 0.0060614 | 0.0015191
26 | 0.0028437 | 0.00071269
27 | 0.0028821 | 0.00072231
28 | 0.0037502 | 0.00093988
29 | 0.0037426 | 0.00093797
30 | 0.010296 | 0.0025805
31 | 0.032319 | 0.0080999
32 | 0.0058292 | 0.0014609
33 | 0.0096914 | 0.0024289
34 | 0.0042722 | 0.0010707
35 | 0.021978 | 0.0055083
36 | 0.0058689 | 0.0014709
37 | 0.0044331 | 0.001111
38 | 0.0050456 | 0.0012645
39 | 0.011559 | 0.002897
40 | 0.0059401 | 0.0014887
41 | 0.0090748 | 0.0022744
42 | 0.0028755 | 0.00072066
43 | 0.0066515 | 0.001667
44 | 0.0027402 | 0.00068676
45 | 0.0046466 | 0.0011645
46 | 0.0047812 | 0.0011983
47 | 0.0026358 | 0.0006606
48 | 0.010106 | 0.0025328
49 | 0.0037808 | 0.00094755
50 | 0.0066237 | 0.0016601
51 | 0.0069006 | 0.0017295
52 | 0.0031167 | 0.00078111
53 | 0.0048832 | 0.0012239
54 | 0.0035238 | 0.00088314
55 | 0.0085422 | 0.0021409
56 | 0.01103 | 0.0027643
57 | 0.0068059 | 0.0017057
58 | 0.0081968 | 0.0020543
59 | 0.0024852 | 0.00062284
60 | 0.015046 | 0.0037708
61 | 0.0028864 | 0.00072341
62 | 0.0033582 | 0.00084165
63 | 0.0034834 | 0.00087302
64 | 0.011547 | 0.0028939
65 | 0.010224 | 0.0025623
66 | 0.0038383 | 0.00096197
67 | 0.0068322 | 0.0017123

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1