## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-255_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-255_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-255_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-255_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-255_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-255_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-255_0_6_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-255_0_6_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_261-255_0_6_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_261-255_0_6_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_261-255_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-255_0_6_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_261-255_0_6_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_261-255_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_261-255_0_6_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_261-255_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_261-255_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-255_0_6_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_261-255_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_261-255_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_261-255_0_6_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_261-255_0_6_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_261-255_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_261-255_0_6_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_261-255_0_6_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_261-255_0_6_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_261-255_0_6_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_261-255_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_261-255_0_6_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_261-255_0_6_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_261-255_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_261-255_0_6_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_261-255_0_6_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_261-255_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_261-255_0_6_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_261-255_0_6_node_35 | 0.4 | n |  | TRUE
36 | bus_MV_541_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-255_0_6_load_0 | 0 | 0.003346 | 0.00083858 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-255_0_6_load_1 | 1 | 0.0065252 | 0.0016354 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-255_0_6_load_4 | 4 | 0.002094 | 0.0005248 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-255_0_6_load_5 | 5 | 0.059711 | 0.014965 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-255_0_6_load_31 | 7 | 0.0026876 | 0.00067357 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-255_0_6_load_25 | 8 | 0.0022452 | 0.00056271 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-255_0_6_load_34 | 9 | 0.003015 | 0.00075562 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-255_0_6_load_22 | 12 | 0.012135 | 0.0030412 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-255_0_6_load_26 | 15 | 0.0032605 | 0.00081715 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-255_0_6_load_28 | 20 | 0.017426 | 0.0043673 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-255_0_6_load_21 | 21 | 0.09428 | 0.023629 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-255_0_6_load_27 | 24 | 0.079069 | 0.019816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-255_0_6_load_38 | 25 | 0.01963 | 0.0049197 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-255_0_6_load_33 | 26 | 0.0039108 | 0.00098013 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-255_0_6_load_37 | 29 | 0.002334 | 0.00058496 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-255_0_6_load_29 | 31 | 0.068635 | 0.017202 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-255_0_6_load_32 | 32 | 0.0015405 | 0.00038609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-255_0_6_load_24 | 33 | 0.0019648 | 0.00049243 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-255_0_6_load_36 | 34 | 0.0032687 | 0.0008192 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-255_0_6_load_35 | 35 | 0.068045 | 0.017054 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-255_0_6_line_0 |  | 0 | 1 | 0.032495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_261-255_0_6_line_1 |  | 0 | 2 | 0.012651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_261-255_0_6_line_2 |  | 1 | 3 | 0.044017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_261-255_0_6_line_3 |  | 2 | 4 | 0.010775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-255_0_6_line_4 |  | 2 | 5 | 0.015571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-255_0_6_line_5 |  | 3 | 6 | 0.010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_261-255_0_6_line_6 |  | 4 | 7 | 0.025841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-255_0_6_line_7 |  | 6 | 8 | 0.040548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_261-255_0_6_line_8 |  | 6 | 9 | 0.041823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-255_0_6_line_9 |  | 7 | 28 | 0.010653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-255_0_6_line_10 |  | 8 | 33 | 0.019753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_261-255_0_6_line_11 |  | 10 | 11 | 0.07053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_261-255_0_6_line_12 |  | 10 | 12 | 0.018152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_261-255_0_6_line_13 |  | 11 | 23 | 0.008375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_261-255_0_6_line_14 |  | 11 | 25 | 0.0085614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-255_0_6_line_15 |  | 12 | 16 | 0.017704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_261-255_0_6_line_16 |  | 13 | 14 | 0.009231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_261-255_0_6_line_17 |  | 13 | 15 | 0.013165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_261-255_0_6_line_18 |  | 14 | 34 | 0.02916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-255_0_6_line_19 |  | 14 | 16 | 0.004229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_261-255_0_6_line_20 |  | 15 | 33 | 0.037367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_261-255_0_6_line_21 |  | 16 | 17 | 0.002258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-255_0_6_line_22 |  | 17 | 26 | 0.015351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-255_0_6_line_23 |  | 18 | 19 | 0.030391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-255_0_6_line_24 |  | 18 | 20 | 0.053791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_261-255_0_6_line_25 |  | 19 | 21 | 0.02058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-255_0_6_line_26 |  | 20 | 24 | 0.001344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_261-255_0_6_line_27 |  | 22 | 23 | 0.15846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_261-255_0_6_line_28 |  | 22 | 24 | 0.025734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_261-255_0_6_line_29 |  | 26 | 32 | 0.0050381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-255_0_6_line_30 |  | 27 | 28 | 0.003176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-255_0_6_line_31 |  | 27 | 29 | 0.013375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-255_0_6_line_32 |  | 28 | 30 | 0.001664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-255_0_6_line_33 |  | 30 | 31 | 0.024352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-255_0_6_line_34 |  | 34 | 35 | 0.041457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-255_0_6_trafo_12 | 0.63 MVA 20/0.4 kV | 36 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2683836.9508 | 1247392.6746 | 2683829.2128 | 1247387.2554 | 2683810.9473 | 1247375.0216 | 2683810.1361 | 1247374.3331
1 | 2683847.3133 | 1247399.9317 | 2683836.9508 | 1247392.6746
2 | 2683776.9896 | 1247345.3755 | 2683796.131 | 1247362.4474 | 2683810.1361 | 1247374.3331
3 | 2683847.3133 | 1247399.9317 | 2683850.0283 | 1247401.8382 | 2683856.9545 | 1247404.6029
4 | 2683847.3133 | 1247399.9317 | 2683846.9057 | 1247400.4486 | 2683846.6058 | 1247400.8224 | 2683844.0905 | 1247404.0225 | 2683843.8443 | 1247404.3415 | 2683843.3751 | 1247404.9353 | 2683842.3181 | 1247404.8981 | 2683841.611 | 1247405.2217 | 2683840.2999 | 1247406.0593 | 2683836.0044 | 1247409.9751
5 | 2683773.5134 | 1247355.1002 | 2683774.9515 | 1247350.0835 | 2683776.9896 | 1247345.3755
6 | 2683856.9545 | 1247404.6029 | 2683864.1795 | 1247407.4869 | 2683868.6588 | 1247409.6185 | 2683870.1161 | 1247410.1951 | 2683871.0892 | 1247409.753 | 2683872.3567 | 1247409.3261 | 2683873.9984 | 1247408.0818 | 2683878.224 | 1247402.4163
7 | 2683773.5134 | 1247355.1002 | 2683772.3638 | 1247359.4761 | 2683769.272 | 1247372.9979 | 2683766.977 | 1247384.1293 | 2683765.507 | 1247394.8158
8 | 2683773.5134 | 1247355.1002 | 2683799.6068 | 1247374.661 | 2683806.7664 | 1247380.4579
9 | 2683884.5933 | 1247393.8767 | 2683878.224 | 1247402.4163
10 | 2683765.507 | 1247394.8158 | 2683762.8153 | 1247414.3844
11 | 2683748.4892 | 1247503.067 | 2683753.2651 | 1247504.5244 | 2683755.2758 | 1247504.4194 | 2683762.9629 | 1247509.932 | 2683771.0641 | 1247516.0732 | 2683771.459 | 1247516.4569 | 2683777.5822 | 1247507.0364 | 2683779.5869 | 1247507.8876 | 2683781.3321 | 1247507.8678 | 2683782.8417 | 1247507.411 | 2683784.0828 | 1247506.172 | 2683785.6172 | 1247507.1722 | 2683791.3402 | 1247498.2687 | 2683791.8949 | 1247495.8971 | 2683792.2272 | 1247493.2331 | 2683793.026 | 1247493.9005 | 2683795.0913 | 1247495.2751 | 2683796.6253 | 1247496.2975 | 2683797.6804 | 1247497.0018 | 2683798.249 | 1247497.3879
12 | 2683748.4892 | 1247503.067 | 2683749.8844 | 1247498.9503 | 2683757.7352 | 1247487.5948
13 | 2683798.249 | 1247497.3879 | 2683805.2306 | 1247502.0456
14 | 2683798.249 | 1247497.3879 | 2683803.1099 | 1247490.3402
15 | 2683767.4682 | 1247472.8239 | 2683765.4532 | 1247476.4314 | 2683757.7352 | 1247487.5948
16 | 2683760.0439 | 1247464.7464 | 2683768.4102 | 1247468.7008
17 | 2683760.0439 | 1247464.7464 | 2683759.9295 | 1247455.2044 | 2683759.9421 | 1247451.5817
18 | 2683768.4102 | 1247468.7008 | 2683786.9421 | 1247450.3268 | 2683789.1398 | 1247448.1928
19 | 2683767.4682 | 1247472.8239 | 2683768.4102 | 1247468.7008
20 | 2683759.9421 | 1247451.5817 | 2683759.9714 | 1247443.1516 | 2683760.6707 | 1247429.4848 | 2683762.2036 | 1247418.8319 | 2683762.8153 | 1247414.3844
21 | 2683767.4682 | 1247472.8239 | 2683769.6822 | 1247473.2999
22 | 2683769.6822 | 1247473.2999 | 2683780.3426 | 1247462.2544
23 | 2683913.2094 | 1247515.3044 | 2683914.7824 | 1247515.171 | 2683942.2561 | 1247524.122
24 | 2683913.2094 | 1247515.3044 | 2683912.0958 | 1247516.6007 | 2683893.9858 | 1247565.4329
25 | 2683942.2561 | 1247524.122 | 2683940.7115 | 1247531.8503 | 2683937.6434 | 1247544.1731
26 | 2683893.9858 | 1247565.4329 | 2683893.5185 | 1247566.6931
27 | 2683805.2306 | 1247502.0456 | 2683806.1361 | 1247502.6477 | 2683815.2761 | 1247509.0371 | 2683816.5848 | 1247509.9674 | 2683819.8675 | 1247512.3267 | 2683811.2693 | 1247524.7699 | 2683814.6194 | 1247527.1635 | 2683817.8276 | 1247529.4438 | 2683818.411 | 1247529.8524 | 2683819.5023 | 1247530.6684 | 2683822.4554 | 1247532.8228 | 2683822.9262 | 1247533.1853 | 2683826.7702 | 1247535.9083 | 2683827.5332 | 1247536.4306 | 2683830.2411 | 1247538.3036 | 2683830.704 | 1247538.6882 | 2683833.2321 | 1247540.4475 | 2683832.2776 | 1247541.7127 | 2683832.7276 | 1247543.0089 | 2683833.6049 | 1247546.1347 | 2683834.1507 | 1247547.0653 | 2683833.6715 | 1247547.8369 | 2683828.1463 | 1247555.5645 | 2683828.1685 | 1247556.6656 | 2683828.8661 | 1247558.6102 | 2683828.6135 | 1247560.9862 | 2683826.465 | 1247568.1611 | 2683842.9478 | 1247563.802 | 2683845.1618 | 1247563.2107 | 2683847.1456 | 1247563.4055 | 2683884.5701 | 1247590.8217
28 | 2683884.5701 | 1247590.8217 | 2683893.5185 | 1247566.6931
29 | 2683780.3426 | 1247462.2544 | 2683781.2116 | 1247461.354 | 2683783.8475 | 1247458.6353
30 | 2683882.9397 | 1247391.1624 | 2683884.5933 | 1247393.8767
31 | 2683882.9397 | 1247391.1624 | 2683876.0791 | 1247379.6811
32 | 2683885.4569 | 1247395.3011 | 2683884.5933 | 1247393.8767
33 | 2683885.4569 | 1247395.3011 | 2683881.9667 | 1247399.0656 | 2683873.1974 | 1247411.3061 | 2683869.1787 | 1247412.3834
34 | 2683818.59 | 1247419.0539 | 2683817.0334 | 1247421.1082 | 2683789.1398 | 1247448.1928

## bus_geodata
| x | y | coords
0 | 2683836.9508 | 1247392.6746
1 | 2683810.1361 | 1247374.3331
2 | 2683847.3133 | 1247399.9317
3 | 2683776.9896 | 1247345.3755
4 | 2683856.9545 | 1247404.6029
5 | 2683836.0044 | 1247409.9751
6 | 2683773.5134 | 1247355.1002
7 | 2683878.224 | 1247402.4163
8 | 2683765.507 | 1247394.8158
9 | 2683806.7664 | 1247380.4579
10 | 2683748.4892 | 1247503.067
11 | 2683798.249 | 1247497.3879
12 | 2683757.7352 | 1247487.5948
13 | 2683760.0439 | 1247464.7464
14 | 2683768.4102 | 1247468.7008
15 | 2683759.9421 | 1247451.5817
16 | 2683767.4682 | 1247472.8239
17 | 2683769.6822 | 1247473.2999
18 | 2683913.2094 | 1247515.3044
19 | 2683942.2561 | 1247524.122
20 | 2683893.9858 | 1247565.4329
21 | 2683937.6434 | 1247544.1731
22 | 2683884.5701 | 1247590.8217
23 | 2683805.2306 | 1247502.0456
24 | 2683893.5185 | 1247566.6931
25 | 2683803.1099 | 1247490.3402
26 | 2683780.3426 | 1247462.2544
27 | 2683882.9397 | 1247391.1624
28 | 2683884.5933 | 1247393.8767
29 | 2683876.0791 | 1247379.6811
30 | 2683885.4569 | 1247395.3011
31 | 2683869.1787 | 1247412.3834
32 | 2683783.8475 | 1247458.6353
33 | 2683762.8153 | 1247414.3844
34 | 2683789.1398 | 1247448.1928
35 | 2683818.59 | 1247419.0539
36 | 2683907.5164 | 1247512.4662

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97616 | -0.45772 | 0.003346 | 0.00083858
1 | 0.977 | -0.44123 | 0.0065252 | 0.0016354
2 | 0.97536 | -0.47341 | 0 | 0
3 | 0.97819 | -0.4179 | 0 | 0
4 | 0.97459 | -0.48837 | 0.002094 | 0.0005248
5 | 0.97449 | -0.49046 | 0.059711 | 0.014965
6 | 0.97847 | -0.41242 | 0 | 0
7 | 0.97282 | -0.52337 | 0.0026876 | 0.00067357
8 | 0.97959 | -0.39054 | 0.0022452 | 0.00056271
9 | 0.97835 | -0.41472 | 0.003015 | 0.00075562
10 | 0.98363 | -0.31207 | 0 | 0
11 | 0.98685 | -0.25008 | 0 | 0
12 | 0.98281 | -0.3281 | 0.012135 | 0.0030412
13 | 0.98159 | -0.35165 | 0 | 0
14 | 0.98186 | -0.34644 | 0 | 0
15 | 0.98121 | -0.35907 | 0.0032605 | 0.00081715
16 | 0.98204 | -0.34297 | 0 | 0
17 | 0.98203 | -0.34319 | 0 | 0
18 | 1 | 0 | -0.46344 | -0.11829
19 | 0.99739 | -0.050071 | 0 | 0
20 | 0.99641 | -0.067924 | 0.017426 | 0.0043673
21 | 0.99562 | -0.084127 | 0.09428 | 0.023629
22 | 0.99505 | -0.093473 | 0 | 0
23 | 0.98726 | -0.24216 | 0 | 0
24 | 0.99632 | -0.069545 | 0.079069 | 0.019816
25 | 0.98669 | -0.25309 | 0.01963 | 0.0049197
26 | 0.98195 | -0.3447 | 0.0039108 | 0.00098013
27 | 0.9721 | -0.53744 | 0 | 0
28 | 0.97211 | -0.5373 | 0 | 0
29 | 0.97207 | -0.53801 | 0.002334 | 0.00058496
30 | 0.972 | -0.53941 | 0 | 0
31 | 0.97044 | -0.57029 | 0.068635 | 0.017202
32 | 0.98195 | -0.34484 | 0.0015405 | 0.00038609
33 | 0.98015 | -0.37974 | 0.0019648 | 0.00049243
34 | 0.97993 | -0.38411 | 0.0032687 | 0.0008192
35 | 0.97732 | -0.43545 | 0.068045 | 0.017054
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.13929 | -0.035097 | 0.1394 | 0.035165 | 0.00010994 | 6.8332e-05 | 0.2124 | 0.2124 | 0.2124 | 0.97616 | -0.45772 | 0.977 | -0.44123 | 11.6702
1 | 0.13595 | 0.034258 | -0.13584 | -0.034193 | 0.00010193 | 6.4921e-05 | 0.2073 | 0.2073 | 0.2073 | 0.97616 | -0.45772 | 0.97536 | -0.47341 | 28.4749
2 | -0.14593 | -0.0368 | 0.14609 | 0.036902 | 0.00016319 | 0.00010168 | 0.22234 | 0.22233 | 0.22234 | 0.977 | -0.44123 | 0.97819 | -0.4179 | 12.2162
3 | 0.076084 | 0.019197 | -0.07603 | -0.019163 | 5.4485e-05 | 3.4736e-05 | 0.11612 | 0.11612 | 0.11612 | 0.97536 | -0.47341 | 0.97459 | -0.48837 | 31.9015
4 | 0.059759 | 0.014996 | -0.059711 | -0.014965 | 4.8541e-05 | 3.0872e-05 | 0.091176 | 0.091176 | 0.091176 | 0.97536 | -0.47341 | 0.97449 | -0.49046 | 25.0484
5 | -0.14609 | -0.036902 | 0.14613 | 0.036926 | 3.8368e-05 | 2.3906e-05 | 0.22233 | 0.22233 | 0.22233 | 0.97819 | -0.4179 | 0.97847 | -0.41242 | 12.2162
6 | 0.073936 | 0.018638 | -0.073812 | -0.018559 | 0.00012357 | 7.8765e-05 | 0.11292 | 0.11292 | 0.11292 | 0.97459 | -0.48837 | 0.97282 | -0.52337 | 31.0232
7 | -0.14914 | -0.037681 | 0.1493 | 0.037779 | 0.00015659 | 9.767e-05 | 0.22692 | 0.22692 | 0.22692 | 0.97847 | -0.41242 | 0.97959 | -0.39054 | 12.4681
8 | 0.0030153 | 0.00075531 | -0.003015 | -0.00075562 | 3.2977e-07 | -3.142e-07 | 0.0045854 | 0.0045856 | 0.0045856 | 0.97847 | -0.41242 | 0.97835 | -0.41472 | 1.2598
9 | 0.071125 | 0.017885 | -0.071077 | -0.017855 | 4.7302e-05 | 3.0141e-05 | 0.10881 | 0.10881 | 0.10881 | 0.97282 | -0.52337 | 0.97211 | -0.5373 | 29.8939
10 | -0.15155 | -0.038341 | 0.15162 | 0.038391 | 7.8593e-05 | 4.9056e-05 | 0.23033 | 0.23033 | 0.23033 | 0.97959 | -0.39054 | 0.98015 | -0.37974 | 12.6554
11 | -0.24669 | -0.062574 | 0.24743 | 0.063042 | 0.00073773 | 0.00046766 | 0.37345 | 0.37345 | 0.37345 | 0.98363 | -0.31207 | 0.98685 | -0.25008 | 20.5193
12 | 0.24669 | 0.062574 | -0.2465 | -0.062454 | 0.00018987 | 0.00012036 | 0.37345 | 0.37345 | 0.37345 | 0.98363 | -0.31207 | 0.98281 | -0.3281 | 20.5194
13 | -0.26706 | -0.067963 | 0.26716 | 0.068028 | 0.00010204 | 6.4771e-05 | 0.40305 | 0.40305 | 0.40305 | 0.98685 | -0.25008 | 0.98726 | -0.24216 | 22.1458
14 | 0.019633 | 0.0049214 | -0.01963 | -0.0049197 | 2.8136e-06 | 1.6913e-06 | 0.029603 | 0.029604 | 0.029604 | 0.98685 | -0.25008 | 0.98669 | -0.25309 | 8.1328
15 | 0.23436 | 0.059413 | -0.2342 | -0.059307 | 0.00016741 | 0.00010602 | 0.35508 | 0.35508 | 0.35508 | 0.98281 | -0.3281 | 0.98204 | -0.34297 | 19.5099
16 | -0.15706 | -0.03983 | 0.1571 | 0.039855 | 3.93e-05 | 2.4568e-05 | 0.23825 | 0.23825 | 0.23825 | 0.98159 | -0.35165 | 0.98186 | -0.34644 | 13.0909
17 | 0.15706 | 0.03983 | -0.157 | -0.039795 | 5.605e-05 | 3.504e-05 | 0.23825 | 0.23826 | 0.23826 | 0.98159 | -0.35165 | 0.98121 | -0.35907 | 13.0909
18 | 0.07161 | 0.018061 | -0.071481 | -0.017979 | 0.00012889 | 8.2119e-05 | 0.10857 | 0.10857 | 0.10857 | 0.98186 | -0.34644 | 0.97993 | -0.38411 | 29.8258
19 | -0.22871 | -0.057916 | 0.22874 | 0.057941 | 3.8151e-05 | 2.4149e-05 | 0.34682 | 0.34682 | 0.34682 | 0.98186 | -0.34644 | 0.98204 | -0.34297 | 19.0561
20 | 0.15374 | 0.038978 | -0.15359 | -0.038883 | 0.00015255 | 9.5276e-05 | 0.23331 | 0.23331 | 0.23331 | 0.98121 | -0.35907 | 0.98015 | -0.37974 | 12.8193
21 | 0.0054517 | 0.0013662 | -0.0054517 | -0.0013662 | 5.778e-08 | 8.4105e-09 | 0.0082606 | 0.0082606 | 0.0082606 | 0.98204 | -0.34297 | 0.98203 | -0.34319 | 2.2694
22 | 0.0054517 | 0.0013662 | -0.0054513 | -0.0013662 | 3.9282e-07 | 5.7198e-08 | 0.0082606 | 0.0082607 | 0.0082607 | 0.98203 | -0.34319 | 0.98195 | -0.3447 | 2.2694
23 | 0.09466 | 0.023871 | -0.094434 | -0.023727 | 0.00022628 | 0.00014442 | 0.14091 | 0.14091 | 0.14091 | 1 | 0 | 0.99739 | -0.050071 | 38.7108
24 | 0.36713 | 0.094423 | -0.36593 | -0.093654 | 0.0012078 | 0.00076948 | 0.54716 | 0.54716 | 0.54716 | 1 | 0 | 0.99641 | -0.067924 | 30.0637
25 | 0.094434 | 0.023727 | -0.09428 | -0.023629 | 0.00015323 | 9.78e-05 | 0.14091 | 0.14091 | 0.14091 | 0.99739 | -0.050071 | 0.99562 | -0.084127 | 38.7108
26 | 0.3485 | 0.089287 | -0.34847 | -0.089269 | 2.7376e-05 | 1.7433e-05 | 0.52114 | 0.52114 | 0.52114 | 0.99641 | -0.067924 | 0.99632 | -0.069545 | 28.6339
27 | 0.26909 | 0.069254 | -0.26716 | -0.068028 | 0.0019307 | 0.0012254 | 0.40305 | 0.40305 | 0.40305 | 0.99505 | -0.093473 | 0.98726 | -0.24216 | 22.1458
28 | -0.26909 | -0.069254 | 0.26941 | 0.069453 | 0.00031354 | 0.00019899 | 0.40305 | 0.40305 | 0.40305 | 0.99505 | -0.093473 | 0.99632 | -0.069545 | 22.1456
29 | 0.0015405 | 0.00038603 | -0.0015405 | -0.00038609 | 1.0296e-08 | -5.7142e-08 | 0.0023344 | 0.0023345 | 0.0023345 | 0.98195 | -0.3447 | 0.98195 | -0.34484 | 0.64134
30 | -0.0023341 | -0.00058484 | 0.0023341 | 0.00058481 | 1.5203e-08 | -2.9645e-08 | 0.0035728 | 0.0035728 | 0.0035728 | 0.9721 | -0.53744 | 0.97211 | -0.5373 | 0.98154
31 | 0.0023341 | 0.00058484 | -0.002334 | -0.00058496 | 6.4024e-08 | -1.2483e-07 | 0.0035728 | 0.0035729 | 0.0035729 | 0.9721 | -0.53744 | 0.97207 | -0.53801 | 0.98155
32 | 0.068743 | 0.01727 | -0.068736 | -0.017266 | 6.9112e-06 | 4.4025e-06 | 0.10524 | 0.10524 | 0.10524 | 0.97211 | -0.5373 | 0.972 | -0.53941 | 28.9123
33 | 0.068736 | 0.017266 | -0.068635 | -0.017202 | 0.00010114 | 6.4429e-05 | 0.10524 | 0.10524 | 0.10524 | 0.972 | -0.53941 | 0.97044 | -0.57029 | 28.9124
34 | 0.068212 | 0.01716 | -0.068045 | -0.017054 | 0.00016687 | 0.00010627 | 0.1036 | 0.1036 | 0.1036 | 0.97993 | -0.38411 | 0.97732 | -0.43545 | 28.4623

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46344 | 0.11829

## res_load
| p_mw | q_mvar
0 | 0.003346 | 0.00083858
1 | 0.0065252 | 0.0016354
2 | 0.002094 | 0.0005248
3 | 0.059711 | 0.014965
4 | 0.0026876 | 0.00067357
5 | 0.0022452 | 0.00056271
6 | 0.003015 | 0.00075562
7 | 0.012135 | 0.0030412
8 | 0.0032605 | 0.00081715
9 | 0.017426 | 0.0043673
10 | 0.09428 | 0.023629
11 | 0.079069 | 0.019816
12 | 0.01963 | 0.0049197
13 | 0.0039108 | 0.00098013
14 | 0.002334 | 0.00058496
15 | 0.068635 | 0.017202
16 | 0.0015405 | 0.00038609
17 | 0.0019648 | 0.00049243
18 | 0.0032687 | 0.0008192
19 | 0.068045 | 0.017054

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1