## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-261_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-261_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-261_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-261_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-261_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-261_0_6_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_261-261_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_261-261_0_6_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_261-261_0_6_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_261-261_0_6_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_261-261_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_261-261_0_6_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_261-261_0_6_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_261-261_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_261-261_0_6_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_261-261_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_261-261_0_6_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_261-261_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_261-261_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_261-261_0_6_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_261-261_0_6_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_261-261_0_6_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_261-261_0_6_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_261-261_0_6_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_261-261_0_6_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_261-261_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_261-261_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_261-261_0_6_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_261-261_0_6_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_261-261_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_261-261_0_6_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_261-261_0_6_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_261-261_0_6_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_261-261_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_261-261_0_6_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_261-261_0_6_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_261-261_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_261-261_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_261-261_0_6_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_261-261_0_6_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_261-261_0_6_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_261-261_0_6_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_261-261_0_6_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_261-261_0_6_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_261-261_0_6_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_261-261_0_6_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_261-261_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_261-261_0_6_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_261-261_0_6_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_261-261_0_6_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_261-261_0_6_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_261-261_0_6_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_261-261_0_6_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_261-261_0_6_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_261-261_0_6_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_261-261_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_261-261_0_6_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_261-261_0_6_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_261-261_0_6_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_261-261_0_6_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_261-261_0_6_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_261-261_0_6_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_261-261_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_261-261_0_6_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_261-261_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_261-261_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_261-261_0_6_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_261-261_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_261-261_0_6_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_261-261_0_6_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_261-261_0_6_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_261-261_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_MV_548_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-261_0_6_load_0 | 0 | 0.016225 | 0.0040664 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-261_0_6_load_1 | 1 | 0.012661 | 0.0031732 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-261_0_6_load_50 | 9 | 0.011151 | 0.0027948 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-261_0_6_load_44 | 11 | 0.024267 | 0.0060818 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-261_0_6_load_43 | 12 | 0.020963 | 0.0052539 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-261_0_6_load_40 | 14 | 0.0095627 | 0.0023966 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-261_0_6_load_37 | 16 | 0.013509 | 0.0033857 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-261_0_6_load_61 | 19 | 0.015491 | 0.0038825 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-261_0_6_load_67 | 20 | 0.006772 | 0.0016972 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-261_0_6_load_71 | 21 | 0.007922 | 0.0019854 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-261_0_6_load_36 | 24 | 0.0096427 | 0.0024167 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-261_0_6_load_53 | 27 | 0.004413 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-261_0_6_load_45 | 30 | 0.016133 | 0.0040434 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-261_0_6_load_68 | 31 | 0.0035242 | 0.00088326 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-261_0_6_load_64 | 34 | 0.0037079 | 0.0009293 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-261_0_6_load_35 | 37 | 0.019669 | 0.0049296 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-261_0_6_load_62 | 39 | 0.01568 | 0.0039298 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-261_0_6_load_41 | 40 | 0.045202 | 0.011329 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-261_0_6_load_33 | 41 | 0.024215 | 0.0060689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-261_0_6_load_51 | 43 | 0.003821 | 0.00095762 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-261_0_6_load_49 | 44 | 0.005844 | 0.0014646 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-261_0_6_load_56 | 45 | 0.0051982 | 0.0013028 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-261_0_6_load_30 | 46 | 0.015121 | 0.0037897 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-261_0_6_load_74 | 47 | 0.0066602 | 0.0016692 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-261_0_6_load_60 | 49 | 0.019824 | 0.0049684 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-261_0_6_load_48 | 51 | 0.0036007 | 0.00090242 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-261_0_6_load_32 | 54 | 0.0036805 | 0.00092243 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-261_0_6_load_38 | 55 | 0.0069023 | 0.0017299 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-261_0_6_load_59 | 56 | 0.0079064 | 0.0019815 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-261_0_6_load_52 | 57 | 0.0077509 | 0.0019426 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-261_0_6_load_69 | 58 | 0.041135 | 0.010309 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-261_0_6_load_63 | 59 | 0.0026085 | 0.00065375 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-261_0_6_load_34 | 60 | 0.018926 | 0.0047433 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-261_0_6_load_42 | 61 | 0.0071542 | 0.001793 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-261_0_6_load_54 | 62 | 0.0026208 | 0.00065684 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-261_0_6_load_55 | 63 | 0.0052143 | 0.0013068 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-261_0_6_load_65 | 64 | 0.0035028 | 0.00087787 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-261_0_6_load_57 | 65 | 0.0035145 | 0.00088081 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-261_0_6_load_73 | 66 | 0.0034491 | 0.00086442 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-261_0_6_load_66 | 67 | 0.0035692 | 0.00089452 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-261_0_6_load_46 | 68 | 0.053509 | 0.013411 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-261_0_6_load_39 | 69 | 0.0071027 | 0.0017801 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-261_0_6_load_47 | 70 | 0.012008 | 0.0030096 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-261_0_6_load_58 | 71 | 0.0081002 | 0.0020301 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-261_0_6_line_0 |  | 0 | 1 | 0.034906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_261-261_0_6_line_1 |  | 0 | 2 | 0.033089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_261-261_0_6_line_2 |  | 1 | 3 | 0.025732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-261_0_6_line_3 |  | 2 | 4 | 0.007093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_261-261_0_6_line_4 |  | 2 | 5 | 0.045449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-261_0_6_line_5 |  | 3 | 6 | 0.046248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-261_0_6_line_6 |  | 3 | 7 | 0.004043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-261_0_6_line_7 |  | 4 | 8 | 0.00972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-261_0_6_line_8 |  | 4 | 9 | 0.010369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-261_0_6_line_9 |  | 5 | 47 | 0.00208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-261_0_6_line_10 |  | 5 | 48 | 0.012251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-261_0_6_line_11 |  | 6 | 21 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-261_0_6_line_12 |  | 7 | 46 | 0.029855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-261_0_6_line_13 |  | 8 | 45 | 0.0018519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-261_0_6_line_14 |  | 9 | 42 | 0.012681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-261_0_6_line_15 |  | 10 | 11 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-261_0_6_line_16 |  | 10 | 12 | 0.012487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-261_0_6_line_17 |  | 11 | 30 | 0.014255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-261_0_6_line_18 |  | 13 | 14 | 0.031891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-261_0_6_line_19 |  | 13 | 15 | 0.008948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-261_0_6_line_20 |  | 13 | 16 | 0.01412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-261_0_6_line_21 |  | 15 | 24 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-261_0_6_line_22 |  | 16 | 55 | 0.012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-261_0_6_line_23 |  | 17 | 18 | 0.041437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-261_0_6_line_24 |  | 17 | 19 | 0.022991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-261_0_6_line_25 |  | 17 | 20 | 0.013643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_261-261_0_6_line_26 |  | 18 | 31 | 0.012278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-261_0_6_line_27 |  | 19 | 49 | 0.021296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-261_0_6_line_28 |  | 20 | 56 | 0.032714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-261_0_6_line_29 |  | 22 | 23 | 0.010692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-261_0_6_line_30 |  | 22 | 24 | 0.051028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-261_0_6_line_31 |  | 23 | 41 | 0.027478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-261_0_6_line_32 |  | 25 | 26 | 0.026977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-261_0_6_line_33 |  | 25 | 27 | 0.0040178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-261_0_6_line_34 |  | 26 | 38 | 0.10443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_261-261_0_6_line_35 |  | 27 | 57 | 0.01998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_261-261_0_6_line_36 |  | 28 | 29 | 0.005403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-261_0_6_line_37 |  | 28 | 30 | 0.017576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-261_0_6_line_38 |  | 29 | 40 | 0.014527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-261_0_6_line_39 |  | 29 | 35 | 0.016556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_261-261_0_6_line_40 |  | 31 | 58 | 0.007685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-261_0_6_line_41 |  | 32 | 33 | 0.0032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_261-261_0_6_line_42 |  | 32 | 34 | 0.047494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-261_0_6_line_43 |  | 33 | 49 | 0.01576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_261-261_0_6_line_44 |  | 34 | 59 | 0.0060818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_261-261_0_6_line_45 |  | 35 | 36 | 0.064085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_261-261_0_6_line_46 |  | 35 | 37 | 0.052041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-261_0_6_line_47 |  | 36 | 39 | 0.048428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_261-261_0_6_line_48 |  | 37 | 60 | 0.023323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-261_0_6_line_49 |  | 38 | 39 | 0.018361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_261-261_0_6_line_50 |  | 40 | 61 | 0.016675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-261_0_6_line_51 |  | 42 | 43 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-261_0_6_line_52 |  | 42 | 44 | 0.025827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-261_0_6_line_53 |  | 43 | 64 | 0.0089102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-261_0_6_line_54 |  | 45 | 65 | 0.012938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_261-261_0_6_line_55 |  | 46 | 53 | 0.0047283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-261_0_6_line_56 |  | 48 | 66 | 0.004171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-261_0_6_line_57 |  | 50 | 51 | 0.012127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_261-261_0_6_line_58 |  | 50 | 52 | 0.007612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_261-261_0_6_line_59 |  | 51 | 68 | 0.024807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_261-261_0_6_line_60 |  | 52 | 54 | 0.016102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_261-261_0_6_line_61 |  | 53 | 54 | 0.011434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_261-261_0_6_line_62 |  | 55 | 69 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-261_0_6_line_63 |  | 56 | 71 | 0.016146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_261-261_0_6_line_64 |  | 57 | 62 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_261-261_0_6_line_65 |  | 59 | 63 | 0.0076819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_261-261_0_6_line_66 |  | 61 | 69 | 0.011546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-261_0_6_line_67 |  | 62 | 63 | 0.0032513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_261-261_0_6_line_68 |  | 64 | 67 | 0.0086051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-261_0_6_line_69 |  | 65 | 71 | 0.023827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_261-261_0_6_line_70 |  | 68 | 70 | 0.0022827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-261_0_6_trafo_21 | 0.63 MVA 20/0.4 kV | 72 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2684189.9701 | 1246849.5859 | 2684174.5491 | 1246866.2291 | 2684171.5794 | 1246868.4108 | 2684164.9535 | 1246873.7848
1 | 2684209.6707 | 1246823.0625 | 2684204.3308 | 1246830.9592 | 2684194.3581 | 1246844.8501 | 2684189.9701 | 1246849.5859
2 | 2684144.9688 | 1246889.9936 | 2684164.9535 | 1246873.7848
3 | 2684215.78 | 1246820.0248 | 2684213.3513 | 1246820.2905 | 2684211.2502 | 1246821.4171 | 2684209.6707 | 1246823.0625
4 | 2684179.3164 | 1246832.1495 | 2684187.5563 | 1246838.6712 | 2684197.7514 | 1246823.4825 | 2684200.1885 | 1246819.4364 | 2684200.9894 | 1246817.8354 | 2684201.8508 | 1246818.348 | 2684205.5285 | 1246820.5686 | 2684208.8767 | 1246822.5842 | 2684209.6707 | 1246823.0625
5 | 2684140.1246 | 1246857.134 | 2684152.3504 | 1246872.8968 | 2684154.9245 | 1246876.2247 | 2684150.3067 | 1246880.0954 | 2684141.3237 | 1246887.6068 | 2684144.9688 | 1246889.9936
6 | 2684141.8945 | 1246892.6297 | 2684144.9688 | 1246889.9936
7 | 2684215.78 | 1246820.0248 | 2684216.2702 | 1246819.0199 | 2684217.9821 | 1246815.5083 | 2684219.3281 | 1246812.7587 | 2684220.0439 | 1246811.29
8 | 2684215.78 | 1246820.0248 | 2684217.7215 | 1246820.5528 | 2684219.1627 | 1246821.2071 | 2684224.627 | 1246825.2106
9 | 2684180.6834 | 1246830.5788 | 2684179.3164 | 1246832.1495
10 | 2684168.0852 | 1246827.7424 | 2684176.845 | 1246830.1018 | 2684179.3164 | 1246832.1495
11 | 2684157.1623 | 1246842.5872 | 2684140.1246 | 1246857.134
12 | 2684141.8945 | 1246892.6297 | 2684144.8833 | 1246893.8841 | 2684167.2073 | 1246908.3722
13 | 2684220.0439 | 1246811.29 | 2684221.5025 | 1246812.4311
14 | 2684234.856 | 1246832.7051 | 2684224.627 | 1246825.2106
15 | 2684355.5108 | 1246569.1812 | 2684352.7572 | 1246567.3184 | 2684351.0094 | 1246566.9711 | 2684349.1023 | 1246567.1997 | 2684341.7521 | 1246571.3581
16 | 2684355.5108 | 1246569.1812 | 2684364.7319 | 1246577.6008
17 | 2684329.2633 | 1246578.229 | 2684335.8352 | 1246574.7055 | 2684341.7521 | 1246571.3581
18 | 2684355.3043 | 1246659.0667 | 2684364.0811 | 1246649.629 | 2684376.221 | 1246635.0095
19 | 2684355.3043 | 1246659.0667 | 2684358.291 | 1246661.5332 | 2684361.8583 | 1246665.1422
20 | 2684355.3043 | 1246659.0667 | 2684352.3156 | 1246654.6098 | 2684347.5745 | 1246647.2511
21 | 2684361.8583 | 1246665.1422 | 2684364.4126 | 1246667.736 | 2684370.5638 | 1246673.4499 | 2684370.9326 | 1246673.7274
22 | 2684340.6178 | 1246636.4533 | 2684347.5745 | 1246647.2511
23 | 2684275.655 | 1246857.8365 | 2684302.151 | 1246877.2829 | 2684304.7644 | 1246873.5951 | 2684301.5203 | 1246871.1694
24 | 2684301.5203 | 1246871.1694 | 2684314.7117 | 1246852.3392
25 | 2684301.5203 | 1246871.1694 | 2684290.487 | 1246863.1453
26 | 2684275.655 | 1246857.8365 | 2684268.5202 | 1246867.8292
27 | 2684326.9304 | 1246834.8975 | 2684314.7117 | 1246852.3392
28 | 2684264.0299 | 1246843.9036 | 2684272.3749 | 1246849.973 | 2684290.487 | 1246863.1453
29 | 2684411.7034 | 1246704.4136 | 2684408.1695 | 1246709.6005 | 2684405.6775 | 1246713.2455
30 | 2684411.7034 | 1246704.4136 | 2684370.9326 | 1246673.7274
31 | 2684405.6775 | 1246713.2455 | 2684383.0845 | 1246697.6058
32 | 2684246.7253 | 1246780.5241 | 2684268.2091 | 1246764.1283
33 | 2684246.7253 | 1246780.5241 | 2684250.4264 | 1246782.0877
34 | 2684268.2091 | 1246764.1283 | 2684295.8337 | 1246739.8474 | 2684302.2735 | 1246733.7678 | 2684311.0533 | 1246721.4502 | 2684298.1475 | 1246713.6721 | 2684283.501 | 1246689.1125
35 | 2684268.8315 | 1246789.8636 | 2684250.4264 | 1246782.0877
36 | 2684311.7417 | 1246590.7414 | 2684311.8176 | 1246587.529 | 2684313.7733 | 1246586.5339
37 | 2684313.7733 | 1246586.5339 | 2684329.2633 | 1246578.229
38 | 2684311.7417 | 1246590.7414 | 2684319.3287 | 1246603.1294
39 | 2684297.1849 | 1246598.6292 | 2684298.3041 | 1246598.0225 | 2684298.8599 | 1246597.719 | 2684301.3647 | 1246596.3647 | 2684308.6811 | 1246592.3992 | 2684310.9651 | 1246591.164 | 2684311.7417 | 1246590.7414
40 | 2684264.0546 | 1246874.0836 | 2684268.5202 | 1246867.8292
41 | 2684338.0101 | 1246819.5168 | 2684335.9729 | 1246821.9896
42 | 2684338.0101 | 1246819.5168 | 2684336.8926 | 1246818.4112 | 2684328.7526 | 1246812.3132 | 2684318.5275 | 1246806.2189 | 2684306.7786 | 1246801.0369 | 2684303.9071 | 1246800.0287 | 2684296.1487 | 1246798.2345
43 | 2684335.9729 | 1246821.9896 | 2684326.9304 | 1246834.8975
44 | 2684290.2232 | 1246796.8643 | 2684296.1487 | 1246798.2345
45 | 2684297.1849 | 1246598.6292 | 2684295.9594 | 1246597.1552 | 2684294.3456 | 1246596.4206 | 2684291.8949 | 1246596.0966 | 2684289.4645 | 1246596.4735 | 2684287.3837 | 1246597.2334 | 2684286.0785 | 1246598.7048 | 2684284.6031 | 1246600.4518 | 2684283.2018 | 1246602.8336 | 2684281.191 | 1246607.7086 | 2684268.8253 | 1246641.0909 | 2684267.016 | 1246646.1355
46 | 2684297.1849 | 1246598.6292 | 2684310.0917 | 1246616.9818 | 2684326.084 | 1246641.8955
47 | 2684267.016 | 1246646.1355 | 2684274.4199 | 1246649.2986 | 2684299.5022 | 1246664.633 | 2684294.924 | 1246673.6746 | 2684294.4223 | 1246674.3527
48 | 2684326.084 | 1246641.8955 | 2684338.6829 | 1246661.5227
49 | 2684283.501 | 1246689.1125 | 2684294.4223 | 1246674.3527
50 | 2684328.231 | 1246617.2275 | 2684322.8091 | 1246608.8121 | 2684319.3287 | 1246603.1294
51 | 2684234.856 | 1246832.7051 | 2684247.1115 | 1246841.679
52 | 2684234.856 | 1246832.7051 | 2684220.0277 | 1246853.8508
53 | 2684247.1115 | 1246841.679 | 2684254.3005 | 1246846.943
54 | 2684221.5025 | 1246812.4311 | 2684228.382 | 1246817.8132 | 2684231.7615 | 1246820.3132
55 | 2684170.4457 | 1246906.2226 | 2684168.1627 | 1246908.9922 | 2684167.2073 | 1246908.3722
56 | 2684167.8803 | 1246824.6149 | 2684169.3219 | 1246825.7696 | 2684168.0852 | 1246827.7424
57 | 2684199.9839 | 1246925.3004 | 2684206.6081 | 1246915.1427
58 | 2684193.5762 | 1246921.1619 | 2684199.9839 | 1246925.3004
59 | 2684220.1588 | 1246894.3639 | 2684206.6081 | 1246915.1427
60 | 2684193.5762 | 1246921.1619 | 2684180.0501 | 1246912.4258
61 | 2684170.4457 | 1246906.2226 | 2684180.0501 | 1246912.4258
62 | 2684334.4843 | 1246626.9333 | 2684340.6178 | 1246636.4533
63 | 2684250.9726 | 1246834.4068 | 2684264.0299 | 1246843.9036
64 | 2684279.5712 | 1246794.4009 | 2684268.8315 | 1246789.8636
65 | 2684282.7389 | 1246795.1335 | 2684290.2232 | 1246796.8643
66 | 2684328.231 | 1246617.2275 | 2684334.4843 | 1246626.9333
67 | 2684279.5712 | 1246794.4009 | 2684282.7389 | 1246795.1335
68 | 2684254.3005 | 1246846.943 | 2684261.2433 | 1246852.0268
69 | 2684231.7615 | 1246820.3132 | 2684241.5319 | 1246827.5405 | 2684250.9726 | 1246834.4068
70 | 2684220.1588 | 1246894.3639 | 2684221.4057 | 1246892.4519

## bus_geodata
| x | y | coords
0 | 2684189.9701 | 1246849.5859
1 | 2684164.9535 | 1246873.7848
2 | 2684209.6707 | 1246823.0625
3 | 2684144.9688 | 1246889.9936
4 | 2684215.78 | 1246820.0248
5 | 2684179.3164 | 1246832.1495
6 | 2684140.1246 | 1246857.134
7 | 2684141.8945 | 1246892.6297
8 | 2684220.0439 | 1246811.29
9 | 2684224.627 | 1246825.2106
10 | 2684355.5108 | 1246569.1812
11 | 2684341.7521 | 1246571.3581
12 | 2684364.7319 | 1246577.6008
13 | 2684355.3043 | 1246659.0667
14 | 2684376.221 | 1246635.0095
15 | 2684361.8583 | 1246665.1422
16 | 2684347.5745 | 1246647.2511
17 | 2684301.5203 | 1246871.1694
18 | 2684275.655 | 1246857.8365
19 | 2684314.7117 | 1246852.3392
20 | 2684290.487 | 1246863.1453
21 | 2684157.1623 | 1246842.5872
22 | 2684411.7034 | 1246704.4136
23 | 2684405.6775 | 1246713.2455
24 | 2684370.9326 | 1246673.7274
25 | 2684246.7253 | 1246780.5241
26 | 2684268.2091 | 1246764.1283
27 | 2684250.4264 | 1246782.0877
28 | 2684313.7733 | 1246586.5339
29 | 2684311.7417 | 1246590.7414
30 | 2684329.2633 | 1246578.229
31 | 2684268.5202 | 1246867.8292
32 | 2684338.0101 | 1246819.5168
33 | 2684335.9729 | 1246821.9896
34 | 2684296.1487 | 1246798.2345
35 | 2684297.1849 | 1246598.6292
36 | 2684267.016 | 1246646.1355
37 | 2684326.084 | 1246641.8955
38 | 2684283.501 | 1246689.1125
39 | 2684294.4223 | 1246674.3527
40 | 2684319.3287 | 1246603.1294
41 | 2684383.0845 | 1246697.6058
42 | 2684234.856 | 1246832.7051
43 | 2684247.1115 | 1246841.679
44 | 2684220.0277 | 1246853.8508
45 | 2684221.5025 | 1246812.4311
46 | 2684167.2073 | 1246908.3722
47 | 2684180.6834 | 1246830.5788
48 | 2684168.0852 | 1246827.7424
49 | 2684326.9304 | 1246834.8975
50 | 2684199.9839 | 1246925.3004
51 | 2684206.6081 | 1246915.1427
52 | 2684193.5762 | 1246921.1619
53 | 2684170.4457 | 1246906.2226
54 | 2684180.0501 | 1246912.4258
55 | 2684340.6178 | 1246636.4533
56 | 2684264.0299 | 1246843.9036
57 | 2684268.8315 | 1246789.8636
58 | 2684264.0546 | 1246874.0836
59 | 2684290.2232 | 1246796.8643
60 | 2684338.6829 | 1246661.5227
61 | 2684328.231 | 1246617.2275
62 | 2684279.5712 | 1246794.4009
63 | 2684282.7389 | 1246795.1335
64 | 2684254.3005 | 1246846.943
65 | 2684231.7615 | 1246820.3132
66 | 2684167.8803 | 1246824.6149
67 | 2684261.2433 | 1246852.0268
68 | 2684220.1588 | 1246894.3639
69 | 2684334.4843 | 1246626.9333
70 | 2684221.4057 | 1246892.4519
71 | 2684250.9726 | 1246834.4068
72 | 2684246.7253 | 1246780.5241

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97602 | -0.4608 | 0.016225 | 0.0040664
1 | 0.97484 | -0.48393 | 0.012661 | 0.0031732
2 | 0.9773 | -0.43566 | 0 | 0
3 | 0.97407 | -0.49902 | 0 | 0
4 | 0.9776 | -0.42984 | 0 | 0
5 | 0.97687 | -0.44405 | 0 | 0
6 | 0.97373 | -0.50576 | 0 | 0
7 | 0.97396 | -0.5012 | 0 | 0
8 | 0.97809 | -0.42023 | 0 | 0
9 | 0.97733 | -0.43512 | 0.011151 | 0.0027948
10 | 0.97955 | -0.39255 | 0 | 0
11 | 0.97985 | -0.38666 | 0.024267 | 0.0060818
12 | 0.97931 | -0.39731 | 0.020963 | 0.0052539
13 | 0.9762 | -0.45818 | 0 | 0
14 | 0.97591 | -0.46376 | 0.0095627 | 0.0023966
15 | 0.97592 | -0.46372 | 0 | 0
16 | 0.97677 | -0.44697 | 0.013509 | 0.0033857
17 | 0.98375 | -0.31008 | 0 | 0
18 | 0.98204 | -0.34347 | 0 | 0
19 | 0.98545 | -0.27716 | 0.015491 | 0.0038825
20 | 0.98293 | -0.32601 | 0.006772 | 0.0016972
21 | 0.97357 | -0.50902 | 0.007922 | 0.0019854
22 | 0.97437 | -0.49413 | 0 | 0
23 | 0.97413 | -0.49889 | 0 | 0
24 | 0.97552 | -0.47147 | 0.0096427 | 0.0024167
25 | 0.99749 | -0.047226 | 0 | 0
26 | 1 | 0 | -0.55159 | -0.14188
27 | 0.99712 | -0.05428 | 0.004413 | 0.001106
28 | 0.98145 | -0.35543 | 0 | 0
29 | 0.98175 | -0.34943 | 0 | 0
30 | 0.98045 | -0.37496 | 0.016133 | 0.0040434
31 | 0.98153 | -0.35338 | 0.0035242 | 0.00088326
32 | 0.98874 | -0.21385 | 0 | 0
33 | 0.98847 | -0.21907 | 0 | 0
34 | 0.99277 | -0.13676 | 0.0037079 | 0.0009293
35 | 0.98317 | -0.32183 | 0 | 0
36 | 0.98759 | -0.23621 | 0 | 0
37 | 0.98131 | -0.35811 | 0.019669 | 0.0049296
38 | 0.99229 | -0.1461 | 0 | 0
39 | 0.99093 | -0.17203 | 0.01568 | 0.0039298
40 | 0.98009 | -0.38188 | 0.045202 | 0.011329
41 | 0.97351 | -0.51112 | 0.024215 | 0.0060689
42 | 0.97713 | -0.43899 | 0 | 0
43 | 0.97698 | -0.44202 | 0.003821 | 0.00095762
44 | 0.97699 | -0.44175 | 0.005844 | 0.0014646
45 | 0.97818 | -0.4184 | 0.0051982 | 0.0013028
46 | 0.97315 | -0.51729 | 0.015121 | 0.0037897
47 | 0.97686 | -0.4443 | 0.0066602 | 0.0016692
48 | 0.97683 | -0.44482 | 0 | 0
49 | 0.98713 | -0.24481 | 0.019824 | 0.0049684
50 | 0.97227 | -0.53458 | 0 | 0
51 | 0.97201 | -0.53974 | 0.0036007 | 0.00090242
52 | 0.97243 | -0.53135 | 0 | 0
53 | 0.97304 | -0.5194 | 0 | 0
54 | 0.97278 | -0.52451 | 0.0036805 | 0.00092243
55 | 0.97745 | -0.43362 | 0.0069023 | 0.0017299
56 | 0.98102 | -0.36296 | 0.0079064 | 0.0019815
57 | 0.99529 | -0.08892 | 0.0077509 | 0.0019426
58 | 0.98124 | -0.35911 | 0.041135 | 0.010309
59 | 0.99329 | -0.12681 | 0.0026085 | 0.00065375
60 | 0.98091 | -0.36611 | 0.018926 | 0.0047433
61 | 0.97888 | -0.40553 | 0.0071542 | 0.001793
62 | 0.99425 | -0.10866 | 0.0026208 | 0.00065684
63 | 0.99396 | -0.11412 | 0.0052143 | 0.0013068
64 | 0.97692 | -0.44317 | 0.0035028 | 0.00087787
65 | 0.97886 | -0.40522 | 0.0035145 | 0.00088081
66 | 0.97682 | -0.44509 | 0.0034491 | 0.00086442
67 | 0.97689 | -0.44373 | 0.0035692 | 0.00089452
68 | 0.9715 | -0.54973 | 0.053509 | 0.013411
69 | 0.97812 | -0.42044 | 0.0071027 | 0.0017801
70 | 0.97148 | -0.55024 | 0.012008 | 0.0030096
71 | 0.98012 | -0.38048 | 0.0081002 | 0.0020301
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.10888 | 0.027427 | -0.10876 | -0.027352 | 0.0001203 | 7.5684e-05 | 0.16605 | 0.16605 | 0.16605 | 0.97602 | -0.4608 | 0.97484 | -0.48393 | 15.2057
1 | -0.1251 | -0.031494 | 0.12526 | 0.031589 | 0.00015055 | 9.5107e-05 | 0.19078 | 0.19078 | 0.19078 | 0.97602 | -0.4608 | 0.9773 | -0.43566 | 17.4709
2 | 0.096098 | 0.024178 | -0.096029 | -0.024135 | 6.924e-05 | 4.3352e-05 | 0.14672 | 0.14672 | 0.14672 | 0.97484 | -0.48393 | 0.97407 | -0.49902 | 13.4359
3 | -0.13537 | -0.034124 | 0.13541 | 0.034148 | 3.7691e-05 | 2.3855e-05 | 0.20618 | 0.20618 | 0.20618 | 0.9773 | -0.43566 | 0.9776 | -0.42984 | 18.881
4 | 0.010114 | 0.0025356 | -0.010109 | -0.0025335 | 4.0415e-06 | 2.0173e-06 | 0.015399 | 0.015399 | 0.015399 | 0.9773 | -0.43566 | 0.97687 | -0.44405 | 4.2305
5 | 0.0079257 | 0.001987 | -0.0079232 | -0.0019859 | 2.5425e-06 | 1.0517e-06 | 0.012108 | 0.012108 | 0.012108 | 0.97407 | -0.49902 | 0.97373 | -0.50576 | 3.3264
6 | 0.088103 | 0.022148 | -0.088094 | -0.022142 | 9.1577e-06 | 5.7099e-06 | 0.13461 | 0.13461 | 0.13461 | 0.97407 | -0.49902 | 0.97396 | -0.5012 | 12.3272
7 | -0.16331 | -0.041145 | 0.16338 | 0.041193 | 7.512e-05 | 4.7711e-05 | 0.24865 | 0.24865 | 0.24865 | 0.9776 | -0.42984 | 0.97809 | -0.42023 | 22.7702
8 | 0.027901 | 0.0069967 | -0.027894 | -0.0069923 | 7.0133e-06 | 4.3586e-06 | 0.04247 | 0.04247 | 0.04247 | 0.9776 | -0.42984 | 0.97733 | -0.43512 | 11.6676
9 | 0.0066602 | 0.0016692 | -0.0066602 | -0.0016692 | 8.0281e-08 | 2.534e-08 | 0.010145 | 0.010145 | 0.010145 | 0.97687 | -0.44405 | 0.97686 | -0.4443 | 2.7871
10 | 0.0034492 | 0.00086432 | -0.0034491 | -0.00086439 | 1.2682e-07 | -7.2206e-08 | 0.005254 | 0.005254 | 0.005254 | 0.97687 | -0.44405 | 0.97683 | -0.44482 | 1.4434
11 | 0.0079232 | 0.0019859 | -0.007922 | -0.0019854 | 1.2297e-06 | 5.088e-07 | 0.012108 | 0.012108 | 0.012108 | 0.97373 | -0.50576 | 0.97357 | -0.50902 | 3.3264
12 | 0.088094 | 0.022142 | -0.088026 | -0.0221 | 6.7623e-05 | 4.2165e-05 | 0.13461 | 0.13461 | 0.13461 | 0.97396 | -0.5012 | 0.97315 | -0.51729 | 12.3272
13 | -0.16338 | -0.041193 | 0.1634 | 0.041202 | 1.4312e-05 | 9.0899e-06 | 0.24865 | 0.24865 | 0.24865 | 0.97809 | -0.42023 | 0.97818 | -0.4184 | 22.7702
14 | 0.016743 | 0.0041976 | -0.01674 | -0.0041957 | 3.0902e-06 | 1.8188e-06 | 0.025492 | 0.025492 | 0.025492 | 0.97733 | -0.43512 | 0.97713 | -0.43899 | 7.0033
15 | -0.020968 | -0.0052568 | 0.020974 | 0.0052603 | 5.8867e-06 | 3.5727e-06 | 0.031853 | 0.031853 | 0.031853 | 0.97955 | -0.39255 | 0.97985 | -0.38666 | 8.7507
16 | 0.020968 | 0.0052568 | -0.020963 | -0.0052539 | 4.7509e-06 | 2.8834e-06 | 0.031853 | 0.031853 | 0.031853 | 0.97955 | -0.39255 | 0.97931 | -0.39731 | 8.7508
17 | -0.04524 | -0.011342 | 0.045266 | 0.011358 | 2.5233e-05 | 1.5969e-05 | 0.068704 | 0.068704 | 0.068704 | 0.97985 | -0.38666 | 0.98045 | -0.37496 | 18.8748
18 | 0.0095652 | 0.0023979 | -0.0095627 | -0.0023966 | 2.5424e-06 | 1.2286e-06 | 0.01458 | 0.014581 | 0.014581 | 0.9762 | -0.45818 | 0.97591 | -0.46376 | 4.0057
19 | 0.033925 | 0.0085273 | -0.033916 | -0.0085216 | 8.9761e-06 | 5.6329e-06 | 0.051721 | 0.051721 | 0.051721 | 0.9762 | -0.45818 | 0.97592 | -0.46372 | 14.2091
20 | -0.04349 | -0.010925 | 0.043514 | 0.01094 | 2.3276e-05 | 1.472e-05 | 0.066301 | 0.066301 | 0.066301 | 0.9762 | -0.45818 | 0.97677 | -0.44697 | 18.2147
21 | 0.033916 | 0.0085216 | -0.033904 | -0.0085138 | 1.2537e-05 | 7.8675e-06 | 0.051721 | 0.051721 | 0.051721 | 0.97592 | -0.46372 | 0.97552 | -0.47147 | 14.2091
22 | -0.057023 | -0.014326 | 0.057059 | 0.014349 | 3.6359e-05 | 2.3109e-05 | 0.086881 | 0.086881 | 0.086881 | 0.97677 | -0.44697 | 0.97745 | -0.43362 | 23.8685
23 | 0.044762 | 0.011258 | -0.044691 | -0.011213 | 7.1265e-05 | 4.5085e-05 | 0.067722 | 0.067722 | 0.067722 | 0.98375 | -0.31008 | 0.98204 | -0.34347 | 18.6049
24 | -0.2406 | -0.060955 | 0.24098 | 0.061198 | 0.00038112 | 0.00024304 | 0.36416 | 0.36416 | 0.36416 | 0.98375 | -0.31008 | 0.98545 | -0.27716 | 33.3482
25 | 0.19584 | 0.049697 | -0.19569 | -0.049601 | 0.00014986 | 9.5391e-05 | 0.29644 | 0.29644 | 0.29644 | 0.98375 | -0.31008 | 0.98293 | -0.32601 | 27.1466
26 | 0.044691 | 0.011213 | -0.04467 | -0.0112 | 2.1117e-05 | 1.336e-05 | 0.067722 | 0.067722 | 0.067722 | 0.98204 | -0.34347 | 0.98153 | -0.35338 | 18.6049
27 | -0.25647 | -0.06508 | 0.25687 | 0.065335 | 0.00039982 | 0.00025507 | 0.38755 | 0.38755 | 0.38755 | 0.98545 | -0.27716 | 0.98713 | -0.24481 | 35.4903
28 | 0.18891 | 0.047904 | -0.18858 | -0.047691 | 0.00033493 | 0.00021311 | 0.28619 | 0.28619 | 0.28619 | 0.98293 | -0.32601 | 0.98102 | -0.36296 | 26.2079
29 | 0.024235 | 0.0060809 | -0.024229 | -0.0060776 | 5.4927e-06 | 3.3822e-06 | 0.037013 | 0.037013 | 0.037013 | 0.97437 | -0.49413 | 0.97413 | -0.49889 | 10.1683
30 | -0.024235 | -0.0060809 | 0.024261 | 0.0060971 | 2.6215e-05 | 1.6141e-05 | 0.037013 | 0.037013 | 0.037013 | 0.97437 | -0.49413 | 0.97552 | -0.47147 | 10.1683
31 | 0.024229 | 0.0060776 | -0.024215 | -0.0060689 | 1.4116e-05 | 8.6926e-06 | 0.037013 | 0.037013 | 0.037013 | 0.97413 | -0.49889 | 0.97351 | -0.51112 | 10.1684
32 | -0.30574 | -0.078639 | 0.30644 | 0.079089 | 0.00070365 | 0.00044928 | 0.4568 | 0.4568 | 0.4568 | 0.99749 | -0.047226 | 1 | 0 | 41.8317
33 | 0.30574 | 0.078639 | -0.30563 | -0.078573 | 0.0001048 | 6.6914e-05 | 0.4568 | 0.4568 | 0.4568 | 0.99749 | -0.047226 | 0.99712 | -0.05428 | 41.8317
34 | 0.2435 | 0.062794 | -0.24178 | -0.061698 | 0.0017197 | 0.0010965 | 0.36296 | 0.36297 | 0.36297 | 1 | 0 | 0.99229 | -0.1461 | 33.2386
35 | 0.30122 | 0.077467 | -0.30071 | -0.077143 | 0.00050624 | 0.00032321 | 0.45022 | 0.45022 | 0.45022 | 0.99712 | -0.05428 | 0.99529 | -0.08892 | 41.2287
36 | -0.061456 | -0.015438 | 0.061474 | 0.015449 | 1.7595e-05 | 1.1193e-05 | 0.09319 | 0.09319 | 0.09319 | 0.98145 | -0.35543 | 0.98175 | -0.34943 | 25.6015
37 | 0.061456 | 0.015438 | -0.061399 | -0.015402 | 5.7238e-05 | 3.641e-05 | 0.09319 | 0.09319 | 0.09319 | 0.98145 | -0.35543 | 0.98045 | -0.37496 | 25.6016
38 | 0.12379 | 0.031217 | -0.1236 | -0.031095 | 0.00019192 | 0.00012264 | 0.1877 | 0.1877 | 0.1877 | 0.98175 | -0.34943 | 0.98009 | -0.38188 | 51.5651
39 | -0.18527 | -0.046667 | 0.18551 | 0.046823 | 0.00024492 | 0.00015633 | 0.28089 | 0.28089 | 0.28089 | 0.98175 | -0.34943 | 0.98317 | -0.32183 | 38.5833
40 | 0.041146 | 0.010316 | -0.041135 | -0.010309 | 1.1214e-05 | 7.0798e-06 | 0.062379 | 0.062379 | 0.062379 | 0.98153 | -0.35338 | 0.98124 | -0.35911 | 17.1371
41 | 0.27711 | 0.070567 | -0.27704 | -0.070523 | 6.9701e-05 | 4.4486e-05 | 0.41744 | 0.41744 | 0.41744 | 0.98874 | -0.21385 | 0.98847 | -0.21907 | 38.2268
42 | -0.27711 | -0.070567 | 0.27814 | 0.071228 | 0.0010345 | 0.00066024 | 0.41744 | 0.41744 | 0.41744 | 0.98874 | -0.21385 | 0.99277 | -0.13676 | 38.2268
43 | 0.27704 | 0.070523 | -0.27669 | -0.070304 | 0.00034328 | 0.0002191 | 0.41744 | 0.41744 | 0.41744 | 0.98847 | -0.21907 | 0.98713 | -0.24481 | 38.2268
44 | -0.28185 | -0.072157 | 0.28199 | 0.072244 | 0.00013602 | 8.6818e-05 | 0.42299 | 0.42299 | 0.42299 | 0.99277 | -0.13676 | 0.99329 | -0.12681 | 38.7357
45 | -0.22418 | -0.056542 | 0.2251 | 0.05713 | 0.00092289 | 0.0005882 | 0.33942 | 0.33942 | 0.33942 | 0.98317 | -0.32183 | 0.98759 | -0.23621 | 31.0826
46 | 0.038669 | 0.0097194 | -0.038603 | -0.0096772 | 6.6869e-05 | 4.2137e-05 | 0.058536 | 0.058536 | 0.058536 | 0.98317 | -0.32183 | 0.98131 | -0.35811 | 16.0813
47 | -0.2251 | -0.05713 | 0.2258 | 0.057575 | 0.0006974 | 0.00044447 | 0.33942 | 0.33942 | 0.33942 | 0.98759 | -0.23621 | 0.99093 | -0.17203 | 31.0825
48 | 0.018933 | 0.0047476 | -0.018926 | -0.0047433 | 7.2093e-06 | 4.3194e-06 | 0.02871 | 0.028711 | 0.028711 | 0.98131 | -0.35811 | 0.98091 | -0.36611 | 7.8875
49 | 0.24178 | 0.061698 | -0.24148 | -0.061505 | 0.00030237 | 0.00019281 | 0.36297 | 0.36297 | 0.36297 | 0.99229 | -0.1461 | 0.99093 | -0.17203 | 33.2386
50 | 0.078398 | 0.019766 | -0.078309 | -0.01971 | 8.8651e-05 | 5.6527e-05 | 0.11907 | 0.11907 | 0.11907 | 0.98009 | -0.38188 | 0.97888 | -0.40553 | 32.7114
51 | 0.010895 | 0.0027309 | -0.010893 | -0.0027301 | 1.568e-06 | 8.1329e-07 | 0.016591 | 0.016591 | 0.016591 | 0.97713 | -0.43899 | 0.97698 | -0.44202 | 4.5581
52 | 0.0058448 | 0.0014648 | -0.005844 | -0.0014646 | 7.6727e-07 | 1.6759e-07 | 0.0089006 | 0.0089007 | 0.0089007 | 0.97713 | -0.43899 | 0.97699 | -0.44175 | 2.4453
53 | 0.0070724 | 0.0017725 | -0.007072 | -0.0017723 | 3.8771e-07 | 1.3656e-07 | 0.010772 | 0.010772 | 0.010772 | 0.97698 | -0.44202 | 0.97692 | -0.44317 | 2.9593
54 | -0.16859 | -0.042504 | 0.1687 | 0.042572 | 0.00010645 | 6.7643e-05 | 0.25656 | 0.25656 | 0.25656 | 0.97818 | -0.4184 | 0.97886 | -0.40522 | 23.4943
55 | 0.072905 | 0.01831 | -0.072898 | -0.018306 | 7.3467e-06 | 4.5257e-06 | 0.11149 | 0.11149 | 0.11149 | 0.97315 | -0.51729 | 0.97304 | -0.5194 | 10.2098
56 | 0.0034491 | 0.00086439 | -0.0034491 | -0.00086442 | 4.3177e-08 | -2.458e-08 | 0.005254 | 0.005254 | 0.005254 | 0.97683 | -0.44482 | 0.97682 | -0.44509 | 1.4434
57 | 0.069166 | 0.017352 | -0.069149 | -0.017342 | 1.6988e-05 | 1.0421e-05 | 0.10586 | 0.10586 | 0.10586 | 0.97227 | -0.53458 | 0.97201 | -0.53974 | 9.6943
58 | -0.069166 | -0.017352 | 0.069177 | 0.017359 | 1.0663e-05 | 6.5412e-06 | 0.10586 | 0.10586 | 0.10586 | 0.97227 | -0.53458 | 0.97243 | -0.53135 | 9.6943
59 | 0.065548 | 0.016439 | -0.065517 | -0.01642 | 3.1226e-05 | 1.9063e-05 | 0.10035 | 0.10035 | 0.10035 | 0.97201 | -0.53974 | 0.9715 | -0.54973 | 9.1896
60 | -0.069177 | -0.017359 | 0.069199 | 0.017373 | 2.2556e-05 | 1.3837e-05 | 0.10586 | 0.10586 | 0.10586 | 0.97243 | -0.53135 | 0.97278 | -0.52451 | 9.6943
61 | 0.072898 | 0.018306 | -0.07288 | -0.018295 | 1.7765e-05 | 1.0944e-05 | 0.11149 | 0.11149 | 0.11149 | 0.97304 | -0.5194 | 0.97278 | -0.52451 | 10.2099
62 | -0.063961 | -0.016079 | 0.064002 | 0.016104 | 4.0279e-05 | 2.5637e-05 | 0.097389 | 0.097389 | 0.097389 | 0.97745 | -0.43362 | 0.97812 | -0.42044 | 26.7552
63 | 0.18067 | 0.045709 | -0.18052 | -0.045613 | 0.00015174 | 9.6501e-05 | 0.2742 | 0.2742 | 0.2742 | 0.98102 | -0.36296 | 0.98012 | -0.38048 | 25.1097
64 | 0.29296 | 0.075201 | -0.29268 | -0.075022 | 0.00028039 | 0.00017899 | 0.43863 | 0.43863 | 0.43863 | 0.99529 | -0.08892 | 0.99425 | -0.10866 | 40.1675
65 | -0.28459 | -0.072897 | 0.28477 | 0.073009 | 0.000175 | 0.0001117 | 0.4269 | 0.4269 | 0.4269 | 0.99329 | -0.12681 | 0.99396 | -0.11412 | 39.0935
66 | 0.071155 | 0.017917 | -0.071104 | -0.017884 | 5.0683e-05 | 3.2292e-05 | 0.10819 | 0.10819 | 0.10819 | 0.97888 | -0.40553 | 0.97812 | -0.42044 | 29.7237
67 | 0.29006 | 0.074365 | -0.28998 | -0.074316 | 7.6799e-05 | 4.9025e-05 | 0.43471 | 0.43471 | 0.43471 | 0.99425 | -0.10866 | 0.99396 | -0.11412 | 39.8083
68 | 0.0035693 | 0.00089447 | -0.0035692 | -0.00089452 | 9.5377e-08 | -4.6697e-08 | 0.0054366 | 0.0054366 | 0.0054366 | 0.97692 | -0.44317 | 0.97689 | -0.44373 | 1.4936
69 | -0.17222 | -0.043453 | 0.17242 | 0.043583 | 0.00020429 | 0.00012984 | 0.2619 | 0.2619 | 0.2619 | 0.97886 | -0.40522 | 0.98012 | -0.38048 | 23.9836
70 | 0.012009 | 0.0030097 | -0.012008 | -0.0030096 | 2.8959e-07 | 1.5707e-07 | 0.018393 | 0.018393 | 0.018393 | 0.9715 | -0.54973 | 0.97148 | -0.55024 | 5.0531

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55159 | 0.14188

## res_load
| p_mw | q_mvar
0 | 0.016225 | 0.0040664
1 | 0.012661 | 0.0031732
2 | 0.011151 | 0.0027948
3 | 0.024267 | 0.0060818
4 | 0.020963 | 0.0052539
5 | 0.0095627 | 0.0023966
6 | 0.013509 | 0.0033857
7 | 0.015491 | 0.0038825
8 | 0.006772 | 0.0016972
9 | 0.007922 | 0.0019854
10 | 0.0096427 | 0.0024167
11 | 0.004413 | 0.001106
12 | 0.016133 | 0.0040434
13 | 0.0035242 | 0.00088326
14 | 0.0037079 | 0.0009293
15 | 0.019669 | 0.0049296
16 | 0.01568 | 0.0039298
17 | 0.045202 | 0.011329
18 | 0.024215 | 0.0060689
19 | 0.003821 | 0.00095762
20 | 0.005844 | 0.0014646
21 | 0.0051982 | 0.0013028
22 | 0.015121 | 0.0037897
23 | 0.0066602 | 0.0016692
24 | 0.019824 | 0.0049684
25 | 0.0036007 | 0.00090242
26 | 0.0036805 | 0.00092243
27 | 0.0069023 | 0.0017299
28 | 0.0079064 | 0.0019815
29 | 0.0077509 | 0.0019426
30 | 0.041135 | 0.010309
31 | 0.0026085 | 0.00065375
32 | 0.018926 | 0.0047433
33 | 0.0071542 | 0.001793
34 | 0.0026208 | 0.00065684
35 | 0.0052143 | 0.0013068
36 | 0.0035028 | 0.00087787
37 | 0.0035145 | 0.00088081
38 | 0.0034491 | 0.00086442
39 | 0.0035692 | 0.00089452
40 | 0.053509 | 0.013411
41 | 0.0071027 | 0.0017801
42 | 0.012008 | 0.0030096
43 | 0.0081002 | 0.0020301

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1