## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-262_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-262_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-262_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-262_0_6_node_32 | 0.4 | n |  | TRUE
4 | bus_LV_261-262_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-262_0_6_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_261-262_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-262_0_6_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_261-262_0_6_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_261-262_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-262_0_6_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_261-262_0_6_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_261-262_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-262_0_6_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_261-262_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-262_0_6_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_261-262_0_6_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_261-262_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_261-262_0_6_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_261-262_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_261-262_0_6_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_261-262_0_6_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_261-262_0_6_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_261-262_0_6_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_261-262_0_6_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_261-262_0_6_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_261-262_0_6_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_261-262_0_6_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_261-262_0_6_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_261-262_0_6_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_261-262_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_261-262_0_6_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_261-262_0_6_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_261-262_0_6_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_261-262_0_6_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_261-262_0_6_node_14 | 0.4 | n |  | TRUE
36 | bus_LV_261-262_0_6_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_261-262_0_6_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_261-262_0_6_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_261-262_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_261-262_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_261-262_0_6_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_261-262_0_6_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_261-262_0_6_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_261-262_0_6_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_261-262_0_6_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_261-262_0_6_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_261-262_0_6_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_261-262_0_6_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_261-262_0_6_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_261-262_0_6_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_261-262_0_6_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_261-262_0_6_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_261-262_0_6_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_261-262_0_6_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_261-262_0_6_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_261-262_0_6_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_261-262_0_6_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_261-262_0_6_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_261-262_0_6_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_261-262_0_6_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_261-262_0_6_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_261-262_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_261-262_0_6_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_261-262_0_6_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_261-262_0_6_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_261-262_0_6_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_261-262_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_261-262_0_6_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_261-262_0_6_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_261-262_0_6_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_261-262_0_6_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_261-262_0_6_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_261-262_0_6_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_261-262_0_6_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_261-262_0_6_node_39 | 0.4 | n |  | TRUE
76 | bus_LV_261-262_0_6_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_261-262_0_6_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_261-262_0_6_node_46 | 0.4 | n |  | TRUE
79 | bus_LV_261-262_0_6_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_261-262_0_6_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_261-262_0_6_node_87 | 0.4 | n |  | TRUE
82 | bus_MV_534_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-262_0_6_load_0 | 0 | 0.0291 | 0.0072932 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-262_0_6_load_1 | 1 | 0.0075432 | 0.0018905 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-262_0_6_load_4 | 4 | 0.014254 | 0.0035724 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-262_0_6_load_45 | 5 | 0.0141 | 0.0035339 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-262_0_6_load_77 | 7 | 0.009542 | 0.0023915 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-262_0_6_load_82 | 8 | 0.010797 | 0.002706 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-262_0_6_load_34 | 11 | 0.049271 | 0.012348 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-262_0_6_load_44 | 13 | 0.006849 | 0.0017165 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-262_0_6_load_59 | 16 | 0.018218 | 0.0045658 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-262_0_6_load_88 | 18 | 0.0045295 | 0.0011352 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-262_0_6_load_65 | 20 | 0.0045603 | 0.0011429 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-262_0_6_load_56 | 21 | 0.010466 | 0.002623 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-262_0_6_load_53 | 22 | 0.010823 | 0.0027126 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-262_0_6_load_81 | 26 | 0.010489 | 0.0026288 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-262_0_6_load_78 | 28 | 0.012938 | 0.0032426 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-262_0_6_load_67 | 32 | 0.0095661 | 0.0023975 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-262_0_6_load_70 | 33 | 0.0052306 | 0.0013109 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-262_0_6_load_69 | 34 | 0.0068108 | 0.001707 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-262_0_6_load_58 | 36 | 0.018577 | 0.0046558 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-262_0_6_load_86 | 38 | 0.0028162 | 0.00070582 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-262_0_6_load_38 | 39 | 0.013458 | 0.0033729 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-262_0_6_load_36 | 40 | 0.014246 | 0.0035705 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-262_0_6_load_42 | 41 | 0.010698 | 0.0026811 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-262_0_6_load_80 | 43 | 0.0069858 | 0.0017508 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-262_0_6_load_83 | 44 | 0.0063822 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-262_0_6_load_75 | 47 | 0.0092794 | 0.0023256 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-262_0_6_load_49 | 48 | 0.013504 | 0.0033845 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-262_0_6_load_72 | 49 | 0.011945 | 0.0029936 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-262_0_6_load_74 | 50 | 0.0029198 | 0.00073178 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-262_0_6_load_40 | 51 | 0.0053749 | 0.0013471 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-262_0_6_load_52 | 53 | 0.0095698 | 0.0023984 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-262_0_6_load_60 | 57 | 0.040869 | 0.010243 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-262_0_6_load_37 | 58 | 0.014338 | 0.0035935 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-262_0_6_load_48 | 59 | 0.0054557 | 0.0013673 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-262_0_6_load_57 | 60 | 0.0084628 | 0.002121 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-262_0_6_load_76 | 61 | 0.017738 | 0.0044457 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-262_0_6_load_43 | 62 | 0.011499 | 0.0028819 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-262_0_6_load_84 | 65 | 0.0063157 | 0.0015829 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-262_0_6_load_79 | 66 | 0.012217 | 0.0030618 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-262_0_6_load_66 | 67 | 0.0078619 | 0.0019704 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-262_0_6_load_73 | 68 | 0.0037675 | 0.00094422 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-262_0_6_load_85 | 69 | 0.0045929 | 0.0011511 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-262_0_6_load_41 | 70 | 0.0042965 | 0.0010768 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-262_0_6_load_64 | 72 | 0.020297 | 0.0050868 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-262_0_6_load_61 | 73 | 0.010446 | 0.002618 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-262_0_6_load_71 | 74 | 0.0052962 | 0.0013274 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-262_0_6_load_39 | 75 | 0.0049668 | 0.0012448 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-262_0_6_load_47 | 77 | 0.012882 | 0.0032285 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-262_0_6_load_46 | 78 | 0.013176 | 0.0033021 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-262_0_6_load_54 | 79 | 0.0065709 | 0.0016468 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-262_0_6_load_55 | 80 | 0.0063606 | 0.0015941 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-262_0_6_load_87 | 81 | 0.011969 | 0.0029996 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-262_0_6_line_0 |  | 0 | 1 | 0.0091213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-262_0_6_line_1 |  | 1 | 2 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-262_0_6_line_2 |  | 2 | 3 | 0.016615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-262_0_6_line_3 |  | 3 | 59 | 0.01496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-262_0_6_line_4 |  | 3 | 55 | 0.009323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-262_0_6_line_5 |  | 4 | 5 | 0.033159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-262_0_6_line_6 |  | 5 | 23 | 0.017199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-262_0_6_line_7 |  | 6 | 7 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_261-262_0_6_line_8 |  | 6 | 8 | 0.023927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_261-262_0_6_line_9 |  | 7 | 61 | 0.022129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_261-262_0_6_line_10 |  | 8 | 44 | 0.022781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-262_0_6_line_11 |  | 9 | 10 | 0.017628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-262_0_6_line_12 |  | 9 | 11 | 0.0088448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-262_0_6_line_13 |  | 10 | 47 | 0.011775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_261-262_0_6_line_14 |  | 10 | 45 | 0.004844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_261-262_0_6_line_15 |  | 12 | 13 | 0.026326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-262_0_6_line_16 |  | 12 | 14 | 0.0088315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_261-262_0_6_line_17 |  | 12 | 15 | 0.0093731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-262_0_6_line_18 |  | 12 | 16 | 0.014468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-262_0_6_line_19 |  | 13 | 62 | 0.022191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-262_0_6_line_20 |  | 14 | 21 | 0.021609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_261-262_0_6_line_21 |  | 14 | 22 | 0.011994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_261-262_0_6_line_22 |  | 15 | 48 | 0.010945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-262_0_6_line_23 |  | 16 | 57 | 0.020484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-262_0_6_line_24 |  | 17 | 18 | 0.011503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-262_0_6_line_25 |  | 17 | 19 | 0.0087621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-262_0_6_line_26 |  | 17 | 20 | 0.020093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-262_0_6_line_27 |  | 19 | 39 | 0.030125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-262_0_6_line_28 |  | 19 | 40 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-262_0_6_line_29 |  | 21 | 63 | 0.024809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_261-262_0_6_line_30 |  | 22 | 64 | 0.0090873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_261-262_0_6_line_31 |  | 23 | 24 | 0.023016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-262_0_6_line_32 |  | 24 | 49 | 0.0088214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-262_0_6_line_33 |  | 24 | 50 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-262_0_6_line_34 |  | 24 | 37 | 0.0069478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-262_0_6_line_35 |  | 25 | 26 | 0.034008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-262_0_6_line_36 |  | 25 | 27 | 0.023479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-262_0_6_line_37 |  | 25 | 28 | 0.009104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-262_0_6_line_38 |  | 26 | 65 | 0.023284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-262_0_6_line_39 |  | 27 | 58 | 0.0089587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-262_0_6_line_40 |  | 27 | 35 | 0.0074643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-262_0_6_line_41 |  | 28 | 66 | 0.023779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-262_0_6_line_42 |  | 29 | 30 | 0.00643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_261-262_0_6_line_43 |  | 29 | 31 | 0.0083135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-262_0_6_line_44 |  | 29 | 32 | 0.011218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_261-262_0_6_line_45 |  | 30 | 41 | 0.016115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_261-262_0_6_line_46 |  | 31 | 33 | 0.029849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-262_0_6_line_47 |  | 31 | 34 | 0.01076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-262_0_6_line_48 |  | 32 | 67 | 0.018159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_261-262_0_6_line_49 |  | 33 | 68 | 0.013429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-262_0_6_line_50 |  | 35 | 36 | 0.03997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-262_0_6_line_51 |  | 37 | 38 | 0.0034385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-262_0_6_line_52 |  | 38 | 69 | 0.0037696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-262_0_6_line_53 |  | 39 | 62 | 0.020507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-262_0_6_line_54 |  | 41 | 70 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_261-262_0_6_line_55 |  | 42 | 43 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-262_0_6_line_56 |  | 42 | 44 | 0.010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-262_0_6_line_57 |  | 43 | 66 | 0.023928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-262_0_6_line_58 |  | 45 | 46 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_261-262_0_6_line_59 |  | 46 | 51 | 0.0077648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_261-262_0_6_line_60 |  | 47 | 61 | 0.028738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_261-262_0_6_line_61 |  | 49 | 74 | 0.011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-262_0_6_line_62 |  | 50 | 68 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-262_0_6_line_63 |  | 51 | 75 | 0.012447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_261-262_0_6_line_64 |  | 52 | 53 | 0.020006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_261-262_0_6_line_65 |  | 52 | 54 | 0.003137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_261-262_0_6_line_66 |  | 53 | 76 | 0.0095453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_261-262_0_6_line_67 |  | 54 | 67 | 0.013303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_261-262_0_6_line_68 |  | 55 | 56 | 0.0090463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-262_0_6_line_69 |  | 55 | 57 | 0.015069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-262_0_6_line_70 |  | 56 | 60 | 0.013661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-262_0_6_line_71 |  | 58 | 78 | 0.027387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-262_0_6_line_72 |  | 63 | 73 | 0.024378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-262_0_6_line_73 |  | 64 | 79 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-262_0_6_line_74 |  | 64 | 80 | 0.0068265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-262_0_6_line_75 |  | 64 | 76 | 0.003046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_261-262_0_6_line_76 |  | 70 | 75 | 0.021862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_261-262_0_6_line_77 |  | 71 | 72 | 0.013624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-262_0_6_line_78 |  | 71 | 73 | 0.0051155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-262_0_6_line_79 |  | 77 | 78 | 0.012484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-262_0_6_line_80 |  | 79 | 81 | 0.00071859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-262_0_6_trafo_63 | 0.63 MVA 20/0.4 kV | 82 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2684551.9999 | 1247208.6838 | 2684555.7589 | 1247200.3731
1 | 2684561.1694 | 1247188.4109 | 2684555.7589 | 1247200.3731
2 | 2684576.33 | 1247195.31 | 2684561.1694 | 1247188.4109
3 | 2684576.33 | 1247195.31 | 2684589.9162 | 1247201.5713
4 | 2684575.8359 | 1247188.6424 | 2684579.1891 | 1247190.8141 | 2684576.33 | 1247195.31
5 | 2684466.7599 | 1247190.1472 | 2684489.5369 | 1247204.7243 | 2684494.9295 | 1247207.6106
6 | 2684452.2733 | 1247180.8759 | 2684466.7599 | 1247190.1472
7 | 2684625.2932 | 1247008.1368 | 2684620.6294 | 1247010.4498 | 2684612.9186 | 1247014.8093
8 | 2684625.2932 | 1247008.1368 | 2684632.2738 | 1247011.2721 | 2684645.8392 | 1247020.2632
9 | 2684593.8072 | 1247025.9611 | 2684602.8469 | 1247020.5035 | 2684612.9186 | 1247014.8093
10 | 2684645.8392 | 1247020.2632 | 2684664.8276 | 1247032.8487
11 | 2684549.4429 | 1247034.519 | 2684551.7495 | 1247037.5208 | 2684555.324 | 1247042.1863 | 2684559.4029 | 1247047.5039 | 2684560.1743 | 1247048.5045
12 | 2684549.4429 | 1247034.519 | 2684542.345 | 1247039.7963
13 | 2684560.1743 | 1247048.5045 | 2684569.7018 | 1247041.5851
14 | 2684560.1743 | 1247048.5045 | 2684556.2433 | 1247051.3506
15 | 2684531.4586 | 1247169.4289 | 2684531.6289 | 1247168.6085 | 2684532.2686 | 1247167.1832 | 2684545.7691 | 1247147.4302
16 | 2684523.358 | 1247165.9109 | 2684527.4345 | 1247167.6814 | 2684531.4586 | 1247169.4289
17 | 2684524.5588 | 1247171.7545 | 2684527.4345 | 1247167.6814 | 2684531.4586 | 1247169.4289
18 | 2684531.4586 | 1247169.4289 | 2684531.6518 | 1247170.1767 | 2684532.4458 | 1247171.7113 | 2684533.8668 | 1247172.7101 | 2684543.1775 | 1247176.9502
19 | 2684558.2905 | 1247129.1097 | 2684545.7691 | 1247147.4302
20 | 2684523.358 | 1247165.9109 | 2684524.9734 | 1247164.9332 | 2684526.3084 | 1247163.4845 | 2684536.3438 | 1247148.8432
21 | 2684523.358 | 1247165.9109 | 2684521.2371 | 1247166.3143 | 2684519.1204 | 1247165.8949 | 2684512.1257 | 1247162.7297
22 | 2684524.5588 | 1247171.7545 | 2684514.5966 | 1247167.2219
23 | 2684543.1775 | 1247176.9502 | 2684561.8191 | 1247185.4395
24 | 2684580.2944 | 1247083.1948 | 2684580.1903 | 1247081.4921 | 2684579.2855 | 1247079.2553 | 2684577.5955 | 1247077.5188 | 2684573.5058 | 1247074.7101
25 | 2684580.2944 | 1247083.1948 | 2684583.9012 | 1247085.5925 | 2684587.5904 | 1247088.0469
26 | 2684580.2944 | 1247083.1948 | 2684579.9383 | 1247084.8576 | 2684579.1537 | 1247086.3698 | 2684569.7206 | 1247100.1375
27 | 2684587.5904 | 1247088.0469 | 2684586.6469 | 1247088.5227 | 2684585.1556 | 1247089.8024 | 2684569.862 | 1247112.179
28 | 2684587.5904 | 1247088.0469 | 2684588.456 | 1247087.7368 | 2684590.9589 | 1247087.5612 | 2684593.3501 | 1247088.3293 | 2684598.7838 | 1247092.0606
29 | 2684550.3701 | 1247128.3793 | 2684536.3438 | 1247148.8432
30 | 2684503.8466 | 1247158.9833 | 2684512.1257 | 1247162.7297
31 | 2684437.3911 | 1247167.1539 | 2684435.7232 | 1247169.6987 | 2684437.5182 | 1247170.9585 | 2684445.6192 | 1247176.5669 | 2684452.2733 | 1247180.8759
32 | 2684437.3911 | 1247167.1539 | 2684435.2221 | 1247166.1668 | 2684430.0851 | 1247162.2857
33 | 2684437.3911 | 1247167.1539 | 2684439.5341 | 1247167.3179 | 2684442.4864 | 1247166.3481 | 2684447.8734 | 1247163.294
34 | 2684433.5917 | 1247172.9708 | 2684433.7615 | 1247172.7175 | 2684435.7232 | 1247169.6987 | 2684437.3911 | 1247167.1539
35 | 2684633.4091 | 1247101.5772 | 2684631.4988 | 1247102.5729 | 2684629.3943 | 1247102.8875 | 2684627.3071 | 1247102.513 | 2684604.5226 | 1247086.9262
36 | 2684624.3598 | 1247115.8253 | 2684627.0692 | 1247117.5875 | 2684631.9653 | 1247110.1073 | 2684636.2591 | 1247103.5415 | 2684633.4091 | 1247101.5772
37 | 2684633.4091 | 1247101.5772 | 2684634.8968 | 1247100.0195 | 2684638.7243 | 1247094.2184
38 | 2684604.5226 | 1247086.9262 | 2684585.305 | 1247073.7795
39 | 2684624.3598 | 1247115.8253 | 2684619.4329 | 1247123.3075
40 | 2684624.3598 | 1247115.8253 | 2684627.0692 | 1247117.5875 | 2684630.6169 | 1247119.8953
41 | 2684638.7243 | 1247094.2184 | 2684651.82 | 1247074.37
42 | 2684496.5943 | 1247105.5071 | 2684491.7223 | 1247109.7186
43 | 2684483.5499 | 1247111.2366 | 2684484.7764 | 1247111.0429 | 2684486.3362 | 1247110.7871 | 2684490.3891 | 1247109.9776 | 2684491.7223 | 1247109.7186
44 | 2684491.7223 | 1247109.7186 | 2684491.471 | 1247113.5734 | 2684491.4399 | 1247115.7524 | 2684492.4835 | 1247119.381 | 2684491.7162 | 1247120.5527
45 | 2684496.5943 | 1247105.5071 | 2684506.2411 | 1247096.4824 | 2684508.315 | 1247094.4481
46 | 2684483.5499 | 1247111.2366 | 2684483.4831 | 1247115.9169 | 2684482.5228 | 1247119.1612 | 2684480.5461 | 1247122.7023 | 2684470.5291 | 1247137.3301
47 | 2684483.5499 | 1247111.2366 | 2684481.6384 | 1247109.6638 | 2684476.1305 | 1247108.6735 | 2684473.4462 | 1247108.5191
48 | 2684481.7675 | 1247135.7437 | 2684491.7162 | 1247120.5527
49 | 2684470.5291 | 1247137.3301 | 2684470.17 | 1247137.8546 | 2684466.6401 | 1247142.7746 | 2684462.3414 | 1247147.9631
50 | 2684630.6169 | 1247119.8953 | 2684608.6049 | 1247153.2578
51 | 2684433.5917 | 1247172.9708 | 2684433.3908 | 1247172.7567 | 2684432.2599 | 1247171.5397 | 2684431.0484 | 1247170.6834
52 | 2684427.9701 | 1247168.5076 | 2684431.0484 | 1247170.6834
53 | 2684558.2905 | 1247129.1097 | 2684569.862 | 1247112.179
54 | 2684508.315 | 1247094.4481 | 2684514.4539 | 1247088.4268 | 2684516.2643 | 1247086.6679
55 | 2684672.2495 | 1247039.8971 | 2684672.3381 | 1247042.1556 | 2684671.6577 | 1247044.3031 | 2684664.9978 | 1247054.3971
56 | 2684672.2495 | 1247039.8971 | 2684671.4987 | 1247037.985 | 2684670.1319 | 1247036.3643 | 2684664.8276 | 1247032.8487
57 | 2684651.82 | 1247074.37 | 2684664.9978 | 1247054.3971
58 | 2684547.2538 | 1247058.2386 | 2684550.851 | 1247055.4879 | 2684556.2433 | 1247051.3506
59 | 2684547.2538 | 1247058.2386 | 2684544.2753 | 1247060.509 | 2684541.3161 | 1247063.2294
60 | 2684569.7018 | 1247041.5851 | 2684571.1356 | 1247040.5438 | 2684583.0734 | 1247032.4414 | 2684593.8072 | 1247025.9611
61 | 2684421.1047 | 1247155.5008 | 2684430.0851 | 1247162.2857
62 | 2684462.3414 | 1247147.9631 | 2684461.5595 | 1247148.9068 | 2684456.1695 | 1247155.5461 | 2684451.2698 | 1247161.1804 | 2684449.546 | 1247162.3457 | 2684447.8734 | 1247163.294
63 | 2684532.1527 | 1247071.6534 | 2684541.3161 | 1247063.2294
64 | 2684475.6843 | 1247149.5195 | 2684493.8948 | 1247157.8037
65 | 2684475.6843 | 1247149.5195 | 2684477.8544 | 1247147.2488
66 | 2684502.5834 | 1247161.7562 | 2684493.8948 | 1247157.8037
67 | 2684477.8544 | 1247147.2488 | 2684477.1712 | 1247146.4273 | 2684476.7622 | 1247145.443 | 2684476.6741 | 1247144.2075 | 2684477.0007 | 1247143.0224 | 2684481.7675 | 1247135.7437
68 | 2684575.8359 | 1247188.6424 | 2684579.1891 | 1247190.8141 | 2684583.4254 | 1247193.5654
69 | 2684575.8359 | 1247188.6424 | 2684574.0114 | 1247189.4504 | 2684572.0973 | 1247189.6565 | 2684570.2145 | 1247189.2627 | 2684561.8191 | 1247185.4395
70 | 2684583.4254 | 1247193.5654 | 2684583.7101 | 1247194.2589 | 2684584.3602 | 1247195.28 | 2684585.2702 | 1247196.0936 | 2684594.8166 | 1247200.418
71 | 2684604.3711 | 1247146.1811 | 2684619.4329 | 1247123.3075
72 | 2684550.3701 | 1247128.3793 | 2684529.1563 | 1247116.3677
73 | 2684503.8466 | 1247158.9833 | 2684510.1164 | 1247145.2707
74 | 2684503.8466 | 1247158.9833 | 2684497.6248 | 1247156.1743
75 | 2684503.8466 | 1247158.9833 | 2684502.5834 | 1247161.7562
76 | 2684532.1527 | 1247071.6534 | 2684524.0752 | 1247079.0792 | 2684516.2643 | 1247086.6679
77 | 2684524.7048 | 1247113.8472 | 2684532.8997 | 1247102.9633
78 | 2684524.7048 | 1247113.8472 | 2684529.1563 | 1247116.3677
79 | 2684597.5051 | 1247156.608 | 2684604.3711 | 1247146.1811
80 | 2684510.1164 | 1247145.2707 | 2684510.4153 | 1247144.6172

## bus_geodata
| x | y | coords
0 | 2684551.9999 | 1247208.6838
1 | 2684555.7589 | 1247200.3731
2 | 2684561.1694 | 1247188.4109
3 | 2684576.33 | 1247195.31
4 | 2684494.9295 | 1247207.6106
5 | 2684466.7599 | 1247190.1472
6 | 2684625.2932 | 1247008.1368
7 | 2684612.9186 | 1247014.8093
8 | 2684645.8392 | 1247020.2632
9 | 2684549.4429 | 1247034.519
10 | 2684560.1743 | 1247048.5045
11 | 2684542.345 | 1247039.7963
12 | 2684531.4586 | 1247169.4289
13 | 2684545.7691 | 1247147.4302
14 | 2684523.358 | 1247165.9109
15 | 2684524.5588 | 1247171.7545
16 | 2684543.1775 | 1247176.9502
17 | 2684580.2944 | 1247083.1948
18 | 2684573.5058 | 1247074.7101
19 | 2684587.5904 | 1247088.0469
20 | 2684569.7206 | 1247100.1375
21 | 2684536.3438 | 1247148.8432
22 | 2684512.1257 | 1247162.7297
23 | 2684452.2733 | 1247180.8759
24 | 2684437.3911 | 1247167.1539
25 | 2684633.4091 | 1247101.5772
26 | 2684604.5226 | 1247086.9262
27 | 2684624.3598 | 1247115.8253
28 | 2684638.7243 | 1247094.2184
29 | 2684491.7223 | 1247109.7186
30 | 2684496.5943 | 1247105.5071
31 | 2684483.5499 | 1247111.2366
32 | 2684491.7162 | 1247120.5527
33 | 2684470.5291 | 1247137.3301
34 | 2684473.4462 | 1247108.5191
35 | 2684630.6169 | 1247119.8953
36 | 2684608.6049 | 1247153.2578
37 | 2684433.5917 | 1247172.9708
38 | 2684431.0484 | 1247170.6834
39 | 2684569.862 | 1247112.179
40 | 2684598.7838 | 1247092.0606
41 | 2684508.315 | 1247094.4481
42 | 2684672.2495 | 1247039.8971
43 | 2684664.9978 | 1247054.3971
44 | 2684664.8276 | 1247032.8487
45 | 2684556.2433 | 1247051.3506
46 | 2684547.2538 | 1247058.2386
47 | 2684569.7018 | 1247041.5851
48 | 2684514.5966 | 1247167.2219
49 | 2684430.0851 | 1247162.2857
50 | 2684447.8734 | 1247163.294
51 | 2684541.3161 | 1247063.2294
52 | 2684475.6843 | 1247149.5195
53 | 2684493.8948 | 1247157.8037
54 | 2684477.8545 | 1247147.2488
55 | 2684575.8359 | 1247188.6424
56 | 2684583.4254 | 1247193.5654
57 | 2684561.8191 | 1247185.4395
58 | 2684619.4329 | 1247123.3075
59 | 2684589.9162 | 1247201.5713
60 | 2684594.8166 | 1247200.418
61 | 2684593.8072 | 1247025.9611
62 | 2684558.2905 | 1247129.1097
63 | 2684550.3701 | 1247128.3793
64 | 2684503.8466 | 1247158.9833
65 | 2684585.305 | 1247073.7795
66 | 2684651.82 | 1247074.37
67 | 2684481.7675 | 1247135.7437
68 | 2684462.3414 | 1247147.9631
69 | 2684427.9701 | 1247168.5076
70 | 2684516.2643 | 1247086.6679
71 | 2684524.7048 | 1247113.8472
72 | 2684532.8997 | 1247102.9633
73 | 2684529.1563 | 1247116.3677
74 | 2684421.1047 | 1247155.5008
75 | 2684532.1527 | 1247071.6534
76 | 2684502.5834 | 1247161.7562
77 | 2684597.5051 | 1247156.608
78 | 2684604.3711 | 1247146.1811
79 | 2684510.1164 | 1247145.2707
80 | 2684497.6248 | 1247156.1743
81 | 2684510.4153 | 1247144.6172
82 | 2684524.7048 | 1247113.8472

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98907 | -0.20981 | 0.0291 | 0.0072932
1 | 0.98931 | -0.20508 | 0.0075432 | 0.0018905
2 | 0.98975 | -0.19652 | 0 | 0
3 | 0.99031 | -0.18569 | 0 | 0
4 | 0.98293 | -0.32801 | 0.014254 | 0.0035724
5 | 0.98337 | -0.31949 | 0.0141 | 0.0035339
6 | 0.98332 | -0.31979 | 0 | 0
7 | 0.98364 | -0.31345 | 0.009542 | 0.0023915
8 | 0.98276 | -0.33059 | 0.010797 | 0.002706
9 | 0.98457 | -0.29574 | 0 | 0
10 | 0.98537 | -0.28013 | 0 | 0
11 | 0.98416 | -0.30357 | 0.049271 | 0.012348
12 | 0.99454 | -0.10404 | 0 | 0
13 | 0.99321 | -0.12966 | 0.006849 | 0.0017165
14 | 0.99526 | -0.09018 | 0 | 0
15 | 0.99442 | -0.10628 | 0 | 0
16 | 0.99309 | -0.13204 | 0.018218 | 0.0045658
17 | 0.99082 | -0.17587 | 0 | 0
18 | 0.99078 | -0.1768 | 0.0045295 | 0.0011352
19 | 0.9909 | -0.17446 | 0 | 0
20 | 0.99074 | -0.1775 | 0.0045603 | 0.0011429
21 | 0.99744 | -0.048516 | 0.010466 | 0.002623
22 | 0.99444 | -0.10584 | 0.010823 | 0.0027126
23 | 0.98382 | -0.3107 | 0 | 0
24 | 0.98442 | -0.29896 | 0 | 0
25 | 0.97395 | -0.5026 | 0 | 0
26 | 0.97342 | -0.51311 | 0.010489 | 0.0026288
27 | 0.97266 | -0.52808 | 0 | 0
28 | 0.9746 | -0.48993 | 0.012938 | 0.0032426
29 | 0.98915 | -0.20711 | 0 | 0
30 | 0.98887 | -0.21253 | 0 | 0
31 | 0.9886 | -0.21774 | 0 | 0
32 | 0.98979 | -0.19481 | 0.0095661 | 0.0023975
33 | 0.98682 | -0.25237 | 0.0052306 | 0.0013109
34 | 0.98853 | -0.21905 | 0.0068108 | 0.001707
35 | 0.97253 | -0.53063 | 0 | 0
36 | 0.97184 | -0.54433 | 0.018577 | 0.0046558
37 | 0.98437 | -0.29988 | 0 | 0
38 | 0.98435 | -0.30034 | 0.0028162 | 0.00070582
39 | 0.99154 | -0.16198 | 0.013458 | 0.0033729
40 | 0.99073 | -0.17763 | 0.014246 | 0.0035705
41 | 0.98816 | -0.22611 | 0.010698 | 0.0026811
42 | 0.98049 | -0.37471 | 0 | 0
43 | 0.97882 | -0.40726 | 0.0069858 | 0.0017508
44 | 0.98155 | -0.35411 | 0.0063822 | 0.0015995
45 | 0.98556 | -0.27646 | 0 | 0
46 | 0.986 | -0.26789 | 0 | 0
47 | 0.98501 | -0.28697 | 0.0092794 | 0.0023256
48 | 0.99429 | -0.10888 | 0.013504 | 0.0033845
49 | 0.98428 | -0.30169 | 0.011945 | 0.0029936
50 | 0.98498 | -0.28805 | 0.0029198 | 0.00073178
51 | 0.9863 | -0.26202 | 0.0053749 | 0.0013471
52 | 0.99185 | -0.15533 | 0 | 0
53 | 0.99305 | -0.13228 | 0.0095698 | 0.0023984
54 | 0.99166 | -0.15895 | 0 | 0
55 | 0.99067 | -0.17872 | 0 | 0
56 | 0.9906 | -0.18008 | 0 | 0
57 | 0.99137 | -0.1652 | 0.040869 | 0.010243
58 | 0.97232 | -0.53475 | 0.014338 | 0.0035935
59 | 0.99024 | -0.18714 | 0.0054557 | 0.0013673
60 | 0.9905 | -0.18213 | 0.0084628 | 0.002121
61 | 0.9842 | -0.30272 | 0.017738 | 0.0044457
62 | 0.99223 | -0.14862 | 0.011499 | 0.0028819
63 | 1 | 0 | -0.59934 | -0.15267
64 | 0.99383 | -0.11738 | 0 | 0
65 | 0.97328 | -0.51581 | 0.0063157 | 0.0015829
66 | 0.97656 | -0.4513 | 0.012217 | 0.0030618
67 | 0.99086 | -0.17431 | 0.0078619 | 0.0019704
68 | 0.98608 | -0.26672 | 0.0037675 | 0.00094422
69 | 0.98434 | -0.30065 | 0.0045929 | 0.0011511
70 | 0.9877 | -0.23507 | 0.0042965 | 0.0010768
71 | 0.99923 | -0.014884 | 0 | 0
72 | 0.99897 | -0.019713 | 0.020297 | 0.0050868
73 | 0.99932 | -0.013072 | 0.010446 | 0.002618
74 | 0.98423 | -0.30277 | 0.0052962 | 0.0013274
75 | 0.9868 | -0.25238 | 0.0049668 | 0.0012448
76 | 0.99364 | -0.12098 | 0 | 0
77 | 0.97151 | -0.55088 | 0.012882 | 0.0032285
78 | 0.97166 | -0.54791 | 0.013176 | 0.0033021
79 | 0.99358 | -0.12232 | 0.0065709 | 0.0016468
80 | 0.99379 | -0.11815 | 0.0063606 | 0.0015941
81 | 0.99357 | -0.12247 | 0.011969 | 0.0029996
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0291 | -0.0072932 | 0.029107 | 0.0072973 | 6.5561e-06 | 4.0788e-06 | 0.04378 | 0.04378 | 0.04378 | 0.98907 | -0.20981 | 0.98931 | -0.20508 | 12.0276
1 | -0.03665 | -0.0091878 | 0.036665 | 0.0091972 | 1.4961e-05 | 9.4066e-06 | 0.055126 | 0.055126 | 0.055126 | 0.98931 | -0.20508 | 0.98975 | -0.19652 | 15.1445
2 | -0.036665 | -0.0091972 | 0.036684 | 0.0092091 | 1.8934e-05 | 1.1904e-05 | 0.055126 | 0.055126 | 0.055126 | 0.98975 | -0.19652 | 0.99031 | -0.18569 | 15.1445
3 | 0.0054561 | 0.0013674 | -0.0054557 | -0.0013673 | 3.7704e-07 | 4.8843e-08 | 0.0081981 | 0.0081982 | 0.0081982 | 0.99031 | -0.18569 | 0.99024 | -0.18714 | 2.2522
4 | -0.04214 | -0.010577 | 0.042154 | 0.010585 | 1.4019e-05 | 8.8523e-06 | 0.063324 | 0.063324 | 0.063324 | 0.99031 | -0.18569 | 0.99067 | -0.17872 | 17.3967
5 | -0.014254 | -0.0035724 | 0.01426 | 0.0035756 | 5.7897e-06 | 3.2849e-06 | 0.021578 | 0.021578 | 0.021578 | 0.98293 | -0.32801 | 0.98337 | -0.31949 | 5.9281
6 | -0.02836 | -0.0071095 | 0.028372 | 0.0071169 | 1.1878e-05 | 7.3836e-06 | 0.042914 | 0.042914 | 0.042914 | 0.98337 | -0.31949 | 0.98382 | -0.3107 | 11.7896
7 | -0.12612 | -0.032002 | 0.12616 | 0.032025 | 3.8477e-05 | 2.3733e-05 | 0.19099 | 0.19099 | 0.19099 | 0.98332 | -0.31979 | 0.98364 | -0.31345 | 10.4942
8 | 0.12612 | 0.032002 | -0.12605 | -0.031961 | 6.5462e-05 | 4.0379e-05 | 0.19099 | 0.19099 | 0.19099 | 0.98332 | -0.31979 | 0.98276 | -0.33059 | 10.4942
9 | -0.1357 | -0.034417 | 0.13577 | 0.03446 | 7.004e-05 | 4.3421e-05 | 0.20543 | 0.20543 | 0.20543 | 0.98364 | -0.31345 | 0.9842 | -0.30272 | 11.2873
10 | 0.11526 | 0.029255 | -0.11513 | -0.029173 | 0.00013028 | 8.2805e-05 | 0.17465 | 0.17465 | 0.17465 | 0.98276 | -0.33059 | 0.98155 | -0.35411 | 23.9899
11 | -0.049289 | -0.01236 | 0.049326 | 0.012383 | 3.6686e-05 | 2.3255e-05 | 0.074495 | 0.074495 | 0.074495 | 0.98457 | -0.29574 | 0.98537 | -0.28013 | 20.4657
12 | 0.049289 | 0.01236 | -0.049271 | -0.012348 | 1.8407e-05 | 1.1668e-05 | 0.074495 | 0.074495 | 0.074495 | 0.98457 | -0.29574 | 0.98416 | -0.30357 | 20.4657
13 | 0.16296 | 0.041338 | -0.1629 | -0.041304 | 5.3558e-05 | 3.3528e-05 | 0.24626 | 0.24626 | 0.24626 | 0.98537 | -0.28013 | 0.98501 | -0.28697 | 13.531
14 | -0.21228 | -0.053721 | 0.21232 | 0.053745 | 3.7378e-05 | 2.3614e-05 | 0.32076 | 0.32076 | 0.32076 | 0.98537 | -0.28013 | 0.98556 | -0.27646 | 17.6241
15 | 0.055294 | 0.013915 | -0.055226 | -0.013872 | 6.7602e-05 | 4.2924e-05 | 0.082751 | 0.082751 | 0.082751 | 0.99454 | -0.10404 | 0.99321 | -0.12966 | 22.7337
16 | -0.17883 | -0.045024 | 0.17895 | 0.0451 | 0.00011861 | 7.5683e-05 | 0.26764 | 0.26764 | 0.26764 | 0.99454 | -0.10404 | 0.99526 | -0.09018 | 36.7634
17 | 0.013507 | 0.0033862 | -0.013506 | -0.0033854 | 1.4356e-06 | 7.9717e-07 | 0.02021 | 0.02021 | 0.02021 | 0.99454 | -0.10404 | 0.99442 | -0.10628 | 5.5521
18 | 0.11003 | 0.027723 | -0.10988 | -0.027629 | 0.00014713 | 9.3976e-05 | 0.16468 | 0.16468 | 0.16468 | 0.99454 | -0.10404 | 0.99309 | -0.13204 | 45.241
19 | 0.048377 | 0.012156 | -0.048334 | -0.012128 | 4.3727e-05 | 2.7699e-05 | 0.07249 | 0.07249 | 0.07249 | 0.99321 | -0.12966 | 0.99223 | -0.14862 | 19.9148
20 | -0.55402 | -0.14077 | 0.55513 | 0.14148 | 0.0011138 | 0.0007114 | 0.829 | 0.829 | 0.829 | 0.99526 | -0.09018 | 0.99744 | -0.048516 | 45.5493
21 | 0.37507 | 0.095669 | -0.37478 | -0.095489 | 0.00028348 | 0.00018065 | 0.56136 | 0.56136 | 0.56136 | 0.99526 | -0.09018 | 0.99444 | -0.10584 | 30.844
22 | 0.013506 | 0.0033854 | -0.013504 | -0.0033845 | 1.6764e-06 | 9.309e-07 | 0.02021 | 0.02021 | 0.02021 | 0.99442 | -0.10628 | 0.99429 | -0.10888 | 5.5521
23 | 0.091665 | 0.023063 | -0.09152 | -0.02297 | 0.00014497 | 9.2518e-05 | 0.13738 | 0.13738 | 0.13738 | 0.99309 | -0.13204 | 0.99137 | -0.1652 | 37.7418
24 | 0.0045297 | 0.0011352 | -0.0045295 | -0.0011352 | 1.9962e-07 | -2.0389e-08 | 0.0068027 | 0.0068028 | 0.0068028 | 0.99082 | -0.17587 | 0.99078 | -0.1768 | 1.8689
25 | -0.0090904 | -0.0022781 | 0.009091 | 0.0022784 | 6.1238e-07 | 2.7906e-07 | 0.013652 | 0.013652 | 0.013652 | 0.99082 | -0.17587 | 0.9909 | -0.17446 | 3.7505
26 | 0.0045607 | 0.0011429 | -0.0045603 | -0.0011429 | 3.5348e-07 | -3.2545e-08 | 0.0068492 | 0.0068493 | 0.0068493 | 0.99082 | -0.17587 | 0.99074 | -0.1775 | 1.8817
27 | -0.02334 | -0.0058501 | 0.023353 | 0.0058585 | 1.3878e-05 | 8.4933e-06 | 0.035049 | 0.035049 | 0.035049 | 0.9909 | -0.17446 | 0.99154 | -0.16198 | 9.6288
28 | 0.014249 | 0.0035717 | -0.014246 | -0.0035705 | 2.1515e-06 | 1.2156e-06 | 0.021397 | 0.021397 | 0.021397 | 0.9909 | -0.17446 | 0.99073 | -0.17763 | 5.8783
29 | -0.5656 | -0.1441 | 0.56692 | 0.14495 | 0.0013274 | 0.00084789 | 0.84461 | 0.84461 | 0.84461 | 0.99744 | -0.048516 | 1 | 0 | 46.4071
30 | 0.36396 | 0.092776 | -0.36376 | -0.092647 | 0.00020256 | 0.00012905 | 0.54517 | 0.54517 | 0.54517 | 0.99444 | -0.10584 | 0.99383 | -0.11738 | 29.9542
31 | -0.028372 | -0.0071169 | 0.028388 | 0.0071268 | 1.5895e-05 | 9.8804e-06 | 0.042914 | 0.042914 | 0.042914 | 0.98382 | -0.3107 | 0.98442 | -0.29896 | 11.7896
32 | 0.017243 | 0.0043223 | -0.017241 | -0.004321 | 2.2474e-06 | 1.3262e-06 | 0.026065 | 0.026065 | 0.026065 | 0.98442 | -0.29896 | 0.98428 | -0.30169 | 7.1606
33 | -0.053041 | -0.013306 | 0.053068 | 0.013324 | 2.7601e-05 | 1.7519e-05 | 0.080179 | 0.080179 | 0.080179 | 0.98442 | -0.29896 | 0.98498 | -0.28805 | 22.0272
34 | 0.0074097 | 0.0018571 | -0.0074094 | -0.001857 | 3.2684e-07 | 1.2085e-07 | 0.0112 | 0.0112 | 0.0112 | 0.98442 | -0.29896 | 0.98437 | -0.29988 | 3.077
35 | 0.016814 | 0.0042168 | -0.016805 | -0.0042119 | 8.4164e-06 | 4.9635e-06 | 0.025689 | 0.025689 | 0.025689 | 0.97395 | -0.5026 | 0.97342 | -0.51311 | 7.0576
36 | 0.05909 | 0.014853 | -0.059018 | -0.014808 | 7.1783e-05 | 4.5649e-05 | 0.090294 | 0.090294 | 0.090294 | 0.97395 | -0.5026 | 0.97266 | -0.52808 | 24.8061
37 | -0.075904 | -0.01907 | 0.07595 | 0.0191 | 4.5926e-05 | 2.9279e-05 | 0.11598 | 0.11598 | 0.11598 | 0.97395 | -0.5026 | 0.9746 | -0.48993 | 31.8636
38 | 0.0063165 | 0.0015831 | -0.0063157 | -0.0015829 | 8.1407e-07 | 2.3159e-07 | 0.0096557 | 0.0096558 | 0.0096558 | 0.97342 | -0.51311 | 0.97328 | -0.51581 | 2.6527
39 | 0.040427 | 0.010143 | -0.040414 | -0.010135 | 1.2852e-05 | 8.114e-06 | 0.06185 | 0.061851 | 0.061851 | 0.97266 | -0.52808 | 0.97232 | -0.53475 | 16.9919
40 | 0.018591 | 0.0046645 | -0.018589 | -0.0046631 | 2.2646e-06 | 1.3567e-06 | 0.028444 | 0.028444 | 0.028444 | 0.97266 | -0.52808 | 0.97253 | -0.53063 | 7.8142
41 | -0.088888 | -0.022342 | 0.089052 | 0.022447 | 0.0001643 | 0.00010485 | 0.13574 | 0.13574 | 0.13574 | 0.9746 | -0.48993 | 0.97656 | -0.4513 | 37.2904
42 | 0.23841 | 0.060569 | -0.23835 | -0.060529 | 6.2131e-05 | 3.9351e-05 | 0.35894 | 0.35894 | 0.35894 | 0.98915 | -0.20711 | 0.98887 | -0.21253 | 19.7218
43 | 0.07204 | 0.018172 | -0.072003 | -0.018149 | 3.6643e-05 | 2.3345e-05 | 0.10841 | 0.10841 | 0.10841 | 0.98915 | -0.20711 | 0.9886 | -0.21774 | 29.7841
44 | -0.31045 | -0.078741 | 0.31063 | 0.078858 | 0.00018377 | 0.00011689 | 0.46735 | 0.46735 | 0.46735 | 0.98915 | -0.20711 | 0.98979 | -0.19481 | 25.6786
45 | 0.23835 | 0.060529 | -0.23819 | -0.060431 | 0.00015572 | 9.8625e-05 | 0.35894 | 0.35894 | 0.35894 | 0.98887 | -0.21253 | 0.98816 | -0.22611 | 19.7218
46 | 0.065192 | 0.016442 | -0.065084 | -0.016373 | 0.00010786 | 6.8646e-05 | 0.098162 | 0.098162 | 0.098162 | 0.9886 | -0.21774 | 0.98682 | -0.25237 | 26.9676
47 | 0.0068112 | 0.0017071 | -0.0068108 | -0.001707 | 4.2412e-07 | 1.3348e-07 | 0.010252 | 0.010252 | 0.010252 | 0.9886 | -0.21774 | 0.98853 | -0.21905 | 2.8165
48 | -0.3202 | -0.081255 | 0.32051 | 0.081456 | 0.00031605 | 0.00020111 | 0.48173 | 0.48173 | 0.48173 | 0.98979 | -0.19481 | 0.99086 | -0.17431 | 26.4688
49 | 0.059854 | 0.015062 | -0.059813 | -0.015036 | 4.104e-05 | 2.6094e-05 | 0.090275 | 0.090275 | 0.090275 | 0.98682 | -0.25237 | 0.98608 | -0.26672 | 24.8009
50 | 0.018589 | 0.0046631 | -0.018577 | -0.0046558 | 1.2127e-05 | 7.2654e-06 | 0.028444 | 0.028444 | 0.028444 | 0.97253 | -0.53063 | 0.97184 | -0.54433 | 7.8142
51 | 0.0074094 | 0.001857 | -0.0074092 | -0.0018569 | 1.6176e-07 | 5.9813e-08 | 0.0112 | 0.0112 | 0.0112 | 0.98437 | -0.29988 | 0.98435 | -0.30034 | 3.077
52 | 0.004593 | 0.0011511 | -0.0045929 | -0.0011511 | 6.8144e-08 | -4.3053e-09 | 0.0069431 | 0.0069431 | 0.0069431 | 0.98435 | -0.30034 | 0.98434 | -0.30065 | 1.9074
53 | -0.036811 | -0.0092314 | 0.036835 | 0.0092462 | 2.3471e-05 | 1.4757e-05 | 0.055245 | 0.055245 | 0.055245 | 0.99154 | -0.16198 | 0.99223 | -0.14862 | 15.1773
54 | 0.22749 | 0.05775 | -0.22739 | -0.057688 | 9.8049e-05 | 6.2039e-05 | 0.34283 | 0.34283 | 0.34283 | 0.98816 | -0.22611 | 0.9877 | -0.23507 | 18.8367
55 | 0.10864 | 0.027504 | -0.10847 | -0.027396 | 0.00016948 | 0.00010826 | 0.16497 | 0.16497 | 0.16497 | 0.98049 | -0.37471 | 0.97882 | -0.40726 | 45.3219
56 | -0.10864 | -0.027504 | 0.10875 | 0.027573 | 0.00010755 | 6.8698e-05 | 0.16497 | 0.16497 | 0.16497 | 0.98049 | -0.37471 | 0.98155 | -0.35411 | 45.3219
57 | 0.10148 | 0.025645 | -0.10127 | -0.025509 | 0.00021378 | 0.00013652 | 0.15435 | 0.15435 | 0.15435 | 0.97882 | -0.40726 | 0.97656 | -0.4513 | 42.4043
58 | -0.21232 | -0.053745 | 0.21241 | 0.0538 | 8.7389e-05 | 5.5207e-05 | 0.32076 | 0.32076 | 0.32076 | 0.98556 | -0.27646 | 0.986 | -0.26789 | 17.6241
59 | -0.21241 | -0.0538 | 0.21247 | 0.053838 | 5.9917e-05 | 3.7851e-05 | 0.32076 | 0.32076 | 0.32076 | 0.986 | -0.26789 | 0.9863 | -0.26202 | 17.6241
60 | 0.15363 | 0.038979 | -0.15351 | -0.038906 | 0.00011626 | 7.2576e-05 | 0.23225 | 0.23225 | 0.23225 | 0.98501 | -0.28697 | 0.9842 | -0.30272 | 12.7608
61 | 0.0052965 | 0.0013274 | -0.0052962 | -0.0013274 | 2.7061e-07 | 3.014e-08 | 0.0080071 | 0.0080071 | 0.0080071 | 0.98428 | -0.30169 | 0.98423 | -0.30277 | 2.1998
62 | -0.055988 | -0.014055 | 0.056045 | 0.014092 | 5.7013e-05 | 3.6218e-05 | 0.08459 | 0.08459 | 0.08459 | 0.98498 | -0.28805 | 0.98608 | -0.26672 | 23.239
63 | -0.21784 | -0.055185 | 0.21794 | 0.055249 | 0.00010097 | 6.3823e-05 | 0.32887 | 0.32887 | 0.32887 | 0.9863 | -0.26202 | 0.9868 | -0.25238 | 18.0696
64 | -0.32868 | -0.083618 | 0.32904 | 0.08385 | 0.00036548 | 0.00023262 | 0.49354 | 0.49354 | 0.49354 | 0.99185 | -0.15533 | 0.99305 | -0.13228 | 27.1175
65 | 0.32868 | 0.083618 | -0.32862 | -0.083581 | 5.7308e-05 | 3.6475e-05 | 0.49354 | 0.49354 | 0.49354 | 0.99185 | -0.15533 | 0.99166 | -0.15895 | 27.1175
66 | -0.33861 | -0.086249 | 0.3388 | 0.086366 | 0.00018466 | 0.00011756 | 0.50788 | 0.50788 | 0.50788 | 0.99305 | -0.13228 | 0.99364 | -0.12098 | 27.9053
67 | 0.32862 | 0.083581 | -0.32838 | -0.083427 | 0.00024303 | 0.00015468 | 0.49354 | 0.49354 | 0.49354 | 0.99166 | -0.15895 | 0.99086 | -0.17431 | 27.1175
68 | 0.0084642 | 0.0021216 | -0.0084636 | -0.0021213 | 5.4832e-07 | 2.3446e-07 | 0.012714 | 0.012714 | 0.012714 | 0.99067 | -0.17872 | 0.9906 | -0.18008 | 3.4927
69 | -0.050618 | -0.012707 | 0.050651 | 0.012728 | 3.2672e-05 | 2.0716e-05 | 0.076037 | 0.076037 | 0.076037 | 0.99067 | -0.17872 | 0.99137 | -0.1652 | 20.8894
70 | 0.0084636 | 0.0021213 | -0.0084628 | -0.002121 | 8.2804e-07 | 3.5409e-07 | 0.012714 | 0.012714 | 0.012714 | 0.9906 | -0.18008 | 0.9905 | -0.18213 | 3.4927
71 | 0.026076 | 0.0065417 | -0.026059 | -0.0065316 | 1.6357e-05 | 1.0129e-05 | 0.039908 | 0.039908 | 0.039908 | 0.97232 | -0.53475 | 0.97166 | -0.54791 | 10.9637
72 | 0.030768 | 0.0077206 | -0.030749 | -0.0077087 | 1.9165e-05 | 1.1946e-05 | 0.045787 | 0.045787 | 0.045787 | 1 | 0 | 0.99932 | -0.013072 | 12.5788
73 | 0.018544 | 0.0046491 | -0.01854 | -0.0046465 | 4.359e-06 | 2.5944e-06 | 0.027766 | 0.027766 | 0.027766 | 0.99383 | -0.11738 | 0.99358 | -0.12232 | 7.6279
74 | 0.0063609 | 0.0015942 | -0.0063606 | -0.0015941 | 2.322e-07 | 6.0151e-08 | 0.0095238 | 0.0095238 | 0.0095238 | 0.99383 | -0.11738 | 0.99379 | -0.11815 | 2.6164
75 | 0.33885 | 0.086404 | -0.3388 | -0.086366 | 5.8926e-05 | 3.7515e-05 | 0.50788 | 0.50788 | 0.50788 | 0.99383 | -0.11738 | 0.99364 | -0.12098 | 27.9053
76 | 0.2231 | 0.056611 | -0.22291 | -0.056493 | 0.00018551 | 0.00011733 | 0.33636 | 0.33636 | 0.33636 | 0.9877 | -0.23507 | 0.9868 | -0.25238 | 18.4811
77 | 0.020301 | 0.0050896 | -0.020297 | -0.0050868 | 4.6696e-06 | 2.8102e-06 | 0.030232 | 0.030233 | 0.030233 | 0.99923 | -0.014884 | 0.99897 | -0.019713 | 8.3056
78 | -0.020301 | -0.0050896 | 0.020303 | 0.0050907 | 1.7534e-06 | 1.0551e-06 | 0.030232 | 0.030232 | 0.030232 | 0.99923 | -0.014884 | 0.99932 | -0.013072 | 8.3056
79 | -0.012882 | -0.0032285 | 0.012884 | 0.0032295 | 1.8225e-06 | 1.0118e-06 | 0.019731 | 0.01973 | 0.019731 | 0.97151 | -0.55088 | 0.97166 | -0.54791 | 5.4205
80 | 0.011969 | 0.0029997 | -0.011969 | -0.0029996 | 8.6582e-08 | 4.6106e-08 | 0.017925 | 0.017925 | 0.017925 | 0.99358 | -0.12232 | 0.99357 | -0.12247 | 4.9244

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59934 | 0.15267

## res_load
| p_mw | q_mvar
0 | 0.0291 | 0.0072932
1 | 0.0075432 | 0.0018905
2 | 0.014254 | 0.0035724
3 | 0.0141 | 0.0035339
4 | 0.009542 | 0.0023915
5 | 0.010797 | 0.002706
6 | 0.049271 | 0.012348
7 | 0.006849 | 0.0017165
8 | 0.018218 | 0.0045658
9 | 0.0045295 | 0.0011352
10 | 0.0045603 | 0.0011429
11 | 0.010466 | 0.002623
12 | 0.010823 | 0.0027126
13 | 0.010489 | 0.0026288
14 | 0.012938 | 0.0032426
15 | 0.0095661 | 0.0023975
16 | 0.0052306 | 0.0013109
17 | 0.0068108 | 0.001707
18 | 0.018577 | 0.0046558
19 | 0.0028162 | 0.00070582
20 | 0.013458 | 0.0033729
21 | 0.014246 | 0.0035705
22 | 0.010698 | 0.0026811
23 | 0.0069858 | 0.0017508
24 | 0.0063822 | 0.0015995
25 | 0.0092794 | 0.0023256
26 | 0.013504 | 0.0033845
27 | 0.011945 | 0.0029936
28 | 0.0029198 | 0.00073178
29 | 0.0053749 | 0.0013471
30 | 0.0095698 | 0.0023984
31 | 0.040869 | 0.010243
32 | 0.014338 | 0.0035935
33 | 0.0054557 | 0.0013673
34 | 0.0084628 | 0.002121
35 | 0.017738 | 0.0044457
36 | 0.011499 | 0.0028819
37 | 0.0063157 | 0.0015829
38 | 0.012217 | 0.0030618
39 | 0.0078619 | 0.0019704
40 | 0.0037675 | 0.00094422
41 | 0.0045929 | 0.0011511
42 | 0.0042965 | 0.0010768
43 | 0.020297 | 0.0050868
44 | 0.010446 | 0.002618
45 | 0.0052962 | 0.0013274
46 | 0.0049668 | 0.0012448
47 | 0.012882 | 0.0032285
48 | 0.013176 | 0.0033021
49 | 0.0065709 | 0.0016468
50 | 0.0063606 | 0.0015941
51 | 0.011969 | 0.0029996

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1