## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-264_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-264_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-264_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-264_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-264_0_4_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_261-264_0_4_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_261-264_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_261-264_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_261-264_0_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_261-264_0_4_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_261-264_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_261-264_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_261-264_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_261-264_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-264_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_261-264_0_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_261-264_0_4_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_261-264_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_261-264_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-264_0_4_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_261-264_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_261-264_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_261-264_0_4_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_261-264_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_261-264_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_261-264_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_261-264_0_4_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_261-264_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_261-264_0_4_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_261-264_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_261-264_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_261-264_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_261-264_0_4_node_7 | 0.4 | n |  | TRUE
33 | bus_LV_261-264_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_261-264_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_261-264_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_261-264_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_261-264_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_261-264_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_261-264_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_261-264_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_261-264_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_261-264_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_261-264_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_261-264_0_4_node_54 | 0.4 | n |  | TRUE
45 | bus_MV_534_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-264_0_4_load_0 | 0 | 0.012333 | 0.003091 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-264_0_4_load_3 | 2 | 0.014785 | 0.0037055 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-264_0_4_load_4 | 3 | 0.016701 | 0.0041856 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-264_0_4_load_49 | 5 | 0.018555 | 0.0046503 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-264_0_4_load_52 | 8 | 0.033066 | 0.0082872 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-264_0_4_load_50 | 9 | 0.042292 | 0.010599 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-264_0_4_load_51 | 15 | 0.042877 | 0.010746 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-264_0_4_load_53 | 17 | 0.045193 | 0.011326 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-264_0_4_load_11 | 18 | 0.013516 | 0.0033874 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-264_0_4_load_6 | 19 | 0.0097783 | 0.0024507 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-264_0_4_load_37 | 21 | 0.021556 | 0.0054024 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-264_0_4_load_35 | 22 | 0.011928 | 0.0029893 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-264_0_4_load_36 | 25 | 0.010095 | 0.0025301 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-264_0_4_load_41 | 26 | 0.051147 | 0.012819 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-264_0_4_load_44 | 27 | 0.0044175 | 0.0011071 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-264_0_4_load_48 | 28 | 0.0084165 | 0.0021094 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-264_0_4_load_42 | 31 | 0.017069 | 0.0042779 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-264_0_4_load_7 | 32 | 0.0082207 | 0.0020603 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-264_0_4_load_47 | 33 | 0.0054411 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-264_0_4_load_34 | 34 | 0.011927 | 0.0029891 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-264_0_4_load_38 | 35 | 0.0097407 | 0.0024412 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-264_0_4_load_39 | 36 | 0.01814 | 0.0045464 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-264_0_4_load_30 | 37 | 0.0092526 | 0.0023189 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-264_0_4_load_31 | 38 | 0.012741 | 0.0031932 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-264_0_4_load_32 | 39 | 0.0068268 | 0.001711 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-264_0_4_load_43 | 40 | 0.005806 | 0.0014551 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-264_0_4_load_46 | 41 | 0.0031465 | 0.00078858 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-264_0_4_load_45 | 42 | 0.010992 | 0.0027549 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-264_0_4_load_33 | 43 | 0.017515 | 0.0043896 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-264_0_4_load_54 | 44 | 0.038305 | 0.0096 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-264_0_4_line_0 |  | 0 | 1 | 0.015783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-264_0_4_line_1 |  | 1 | 2 | 0.0086514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-264_0_4_line_2 |  | 1 | 3 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-264_0_4_line_3 |  | 2 | 4 | 0.021302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-264_0_4_line_4 |  | 4 | 5 | 0.024857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-264_0_4_line_5 |  | 4 | 6 | 0.075786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-264_0_4_line_6 |  | 6 | 15 | 0.03193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-264_0_4_line_7 |  | 7 | 8 | 0.021592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-264_0_4_line_8 |  | 7 | 9 | 0.0085513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-264_0_4_line_9 |  | 7 | 10 | 0.0075295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-264_0_4_line_10 |  | 8 | 11 | 0.0081181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-264_0_4_line_11 |  | 9 | 14 | 0.0045994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-264_0_4_line_12 |  | 10 | 20 | 0.009093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-264_0_4_line_13 |  | 10 | 21 | 0.0089119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_261-264_0_4_line_14 |  | 11 | 12 | 0.012367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-264_0_4_line_15 |  | 11 | 13 | 0.005884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-264_0_4_line_16 |  | 12 | 22 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-264_0_4_line_17 |  | 12 | 23 | 0.010634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-264_0_4_line_18 |  | 13 | 18 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-264_0_4_line_19 |  | 13 | 19 | 0.020912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-264_0_4_line_20 |  | 14 | 15 | 0.029895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-264_0_4_line_21 |  | 14 | 16 | 0.029785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-264_0_4_line_22 |  | 16 | 17 | 0.014018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-264_0_4_line_23 |  | 17 | 44 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-264_0_4_line_24 |  | 19 | 32 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-264_0_4_line_25 |  | 20 | 24 | 0.0079394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-264_0_4_line_26 |  | 20 | 25 | 0.022111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-264_0_4_line_27 |  | 22 | 34 | 0.023766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-264_0_4_line_28 |  | 23 | 27 | 0.014581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-264_0_4_line_29 |  | 23 | 28 | 0.029501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-264_0_4_line_30 |  | 24 | 26 | 0.025471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-264_0_4_line_31 |  | 25 | 39 | 0.018119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-264_0_4_line_32 |  | 26 | 30 | 0.028656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-264_0_4_line_33 |  | 27 | 40 | 0.010909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-264_0_4_line_34 |  | 28 | 33 | 0.010083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-264_0_4_line_35 |  | 29 | 30 | 0.049178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-264_0_4_line_36 |  | 29 | 31 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-264_0_4_line_37 |  | 30 | 36 | 0.014542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-264_0_4_line_38 |  | 34 | 43 | 0.023726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-264_0_4_line_39 |  | 35 | 36 | 0.02194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-264_0_4_line_40 |  | 37 | 38 | 0.018312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-264_0_4_line_41 |  | 38 | 39 | 0.018355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-264_0_4_line_42 |  | 40 | 42 | 0.020574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-264_0_4_line_43 |  | 41 | 42 | 0.016196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-264_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 45 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2684864.1637 | 1247142.6938 | 2684868.1812 | 1247143.3073 | 2684876.8345 | 1247151.2097
1 | 2684864.1637 | 1247142.6938 | 2684857.9466 | 1247148.7101
2 | 2684864.1637 | 1247142.6938 | 2684875.7122 | 1247130.9472
3 | 2684842.6387 | 1247163.5235 | 2684857.9466 | 1247148.7101
4 | 2684842.6387 | 1247163.5235 | 2684846.7768 | 1247168.3752 | 2684854.3738 | 1247179.6144 | 2684857.4208 | 1247183.4697
5 | 2684835.2721 | 1247097.6583 | 2684832.5263 | 1247108.4715 | 2684825.2005 | 1247125.2458 | 2684821.0844 | 1247134.6828 | 2684836.7251 | 1247156.5782 | 2684842.6387 | 1247163.5235
6 | 2684835.2721 | 1247097.6583 | 2684842.8433 | 1247085.3798 | 2684847.7409 | 1247078.3446 | 2684852.7514 | 1247070.9488
7 | 2684881.3291 | 1247046.5128 | 2684887.1114 | 1247050.4985 | 2684891.8359 | 1247053.9687 | 2684894.6429 | 1247056.8221 | 2684897.9768 | 1247060.1418
8 | 2684881.3291 | 1247046.5128 | 2684879.2028 | 1247046.2377 | 2684877.2655 | 1247046.4769 | 2684875.5106 | 1247047.1634 | 2684874.2777 | 1247047.8018 | 2684873.4275 | 1247048.6235
9 | 2684885.4158 | 1247040.1889 | 2684883.2141 | 1247043.5932 | 2684881.3291 | 1247046.5128
10 | 2684903.7293 | 1247065.87 | 2684897.9768 | 1247060.1418
11 | 2684869.5189 | 1247046.1991 | 2684873.4275 | 1247048.6235
12 | 2684884.1275 | 1247032.5648 | 2684883.4797 | 1247033.4895 | 2684882.8143 | 1247035.1145 | 2684882.6265 | 1247036.6241 | 2684883.1409 | 1247038.1548 | 2684883.8606 | 1247039.0658 | 2684885.4158 | 1247040.1889
13 | 2684885.4158 | 1247040.1889 | 2684891.0829 | 1247043.25 | 2684893.1059 | 1247044.6688
14 | 2684903.7293 | 1247065.87 | 2684904.5165 | 1247065.2363 | 2684907.0306 | 1247063.2264 | 2684907.5655 | 1247062.8004 | 2684908.3602 | 1247062.1669 | 2684911.0425 | 1247060.0148 | 2684911.692 | 1247059.5015 | 2684910.2497 | 1247057.8796
15 | 2684907.5938 | 1247070.3175 | 2684903.7293 | 1247065.87
16 | 2684910.2497 | 1247057.8796 | 2684911.5271 | 1247057.2975 | 2684913.0386 | 1247057.2524 | 2684916.3236 | 1247055.7428 | 2684924.3409 | 1247051.699
17 | 2684910.2497 | 1247057.8796 | 2684911.692 | 1247059.5015 | 2684913.0314 | 1247061.4443 | 2684914.1881 | 1247062.962 | 2684916.3423 | 1247066.5622
18 | 2684907.5938 | 1247070.3175 | 2684896.8539 | 1247079.6489
19 | 2684907.5938 | 1247070.3175 | 2684915.9411 | 1247080.8559 | 2684920.6935 | 1247086.6174
20 | 2684869.5189 | 1247046.1991 | 2684852.7514 | 1247070.9488
21 | 2684852.5409 | 1247026.4194 | 2684865.4823 | 1247035.3111 | 2684866.4547 | 1247035.9811 | 2684867.7795 | 1247037.3677 | 2684867.9857 | 1247038.7939 | 2684868.1226 | 1247040.8419 | 2684867.8578 | 1247042.4504 | 2684866.5087 | 1247044.3436 | 2684869.5189 | 1247046.1991
22 | 2684852.5409 | 1247026.4194 | 2684844.6285 | 1247037.9908
23 | 2684835.0571 | 1247051.9882 | 2684844.6285 | 1247037.9908
24 | 2684920.6935 | 1247086.6174 | 2684931.1997 | 1247099.3547 | 2684931.7539 | 1247100.0134
25 | 2684877.4739 | 1247028.233 | 2684880.4303 | 1247030.1545 | 2684884.1275 | 1247032.5648
26 | 2684884.1275 | 1247032.5648 | 2684896.8058 | 1247014.4498
27 | 2684945.4556 | 1247040.8059 | 2684940.8773 | 1247043.4297 | 2684932.0365 | 1247047.8175 | 2684924.3409 | 1247051.699
28 | 2684916.3423 | 1247066.5622 | 2684917.4578 | 1247064.6323 | 2684919.1768 | 1247062.7555 | 2684927.9957 | 1247058.4655
29 | 2684916.3423 | 1247066.5622 | 2684918.0917 | 1247069.4227 | 2684920.0342 | 1247072.5083 | 2684934.4186 | 1247089.8124
30 | 2684877.4739 | 1247028.233 | 2684891.3908 | 1247006.9008
31 | 2684896.8058 | 1247014.4498 | 2684907.195 | 1246999.6054
32 | 2684907.0482 | 1246982.9006 | 2684891.3908 | 1247006.9008
33 | 2684937.7151 | 1247053.5168 | 2684933.9423 | 1247055.5727 | 2684927.9957 | 1247058.4655
34 | 2684940.8642 | 1247097.5662 | 2684934.4186 | 1247089.8124
35 | 2684888.2289 | 1246950.852 | 2684879.66 | 1246964.7285 | 2684907.0482 | 1246982.9006
36 | 2684888.2289 | 1246950.852 | 2684895.0127 | 1246939.7651
37 | 2684907.0482 | 1246982.9006 | 2684915.5827 | 1246971.126
38 | 2684964.8764 | 1247027.2668 | 2684957.8038 | 1247033.0534 | 2684950.3982 | 1247037.9732 | 2684945.4556 | 1247040.8059
39 | 2684928.2938 | 1246953.244 | 2684921.6137 | 1246962.8054 | 2684915.5827 | 1246971.126
40 | 2684927.7916 | 1246969.2703 | 2684924.9973 | 1246973.395 | 2684917.5262 | 1246984.4341
41 | 2684917.5262 | 1246984.4341 | 2684909.1222 | 1246996.8517 | 2684907.195 | 1246999.6054
42 | 2684937.7151 | 1247053.5168 | 2684948.5756 | 1247047.5986 | 2684955.7374 | 1247043.5938
43 | 2684955.7374 | 1247043.5938 | 2684956.6021 | 1247043.1103 | 2684964.721 | 1247036.9109 | 2684968.6554 | 1247033.8414

## bus_geodata
| x | y | coords
0 | 2684876.8345 | 1247151.2097
1 | 2684864.1637 | 1247142.6938
2 | 2684857.9466 | 1247148.7101
3 | 2684875.7122 | 1247130.9472
4 | 2684842.6387 | 1247163.5235
5 | 2684857.4208 | 1247183.4697
6 | 2684835.2721 | 1247097.6583
7 | 2684881.3291 | 1247046.5128
8 | 2684897.9768 | 1247060.1418
9 | 2684873.4275 | 1247048.6235
10 | 2684885.4158 | 1247040.1889
11 | 2684903.7293 | 1247065.87
12 | 2684910.2497 | 1247057.8796
13 | 2684907.5938 | 1247070.3175
14 | 2684869.5189 | 1247046.1991
15 | 2684852.7514 | 1247070.9488
16 | 2684852.5409 | 1247026.4194
17 | 2684844.6285 | 1247037.9908
18 | 2684896.8539 | 1247079.6489
19 | 2684920.6935 | 1247086.6174
20 | 2684884.1275 | 1247032.5648
21 | 2684893.1059 | 1247044.6688
22 | 2684924.3409 | 1247051.699
23 | 2684916.3423 | 1247066.5622
24 | 2684877.4739 | 1247028.233
25 | 2684896.8058 | 1247014.4498
26 | 2684891.3908 | 1247006.9008
27 | 2684927.9957 | 1247058.4655
28 | 2684934.4186 | 1247089.8124
29 | 2684888.2289 | 1246950.852
30 | 2684907.0482 | 1246982.9006
31 | 2684895.0127 | 1246939.7651
32 | 2684931.754 | 1247100.0134
33 | 2684940.8642 | 1247097.5662
34 | 2684945.4556 | 1247040.8059
35 | 2684928.2938 | 1246953.244
36 | 2684915.5827 | 1246971.126
37 | 2684927.7916 | 1246969.2703
38 | 2684917.5262 | 1246984.4341
39 | 2684907.195 | 1246999.6054
40 | 2684937.7151 | 1247053.5168
41 | 2684968.6554 | 1247033.8414
42 | 2684955.7374 | 1247043.5938
43 | 2684964.8764 | 1247027.2668
44 | 2684835.0571 | 1247051.9882
45 | 2684885.4158 | 1247040.1889

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98715 | -0.24747 | 0.012333 | 0.003091
1 | 0.98733 | -0.24399 | 0 | 0
2 | 0.98756 | -0.2395 | 0.014785 | 0.0037055
3 | 0.98708 | -0.24891 | 0.016701 | 0.0041856
4 | 0.98842 | -0.22284 | 0 | 0
5 | 0.98799 | -0.23107 | 0.018555 | 0.0046503
6 | 0.99276 | -0.13887 | 0 | 0
7 | 0.99832 | -0.032179 | 0 | 0
8 | 0.9969 | -0.05944 | 0.033066 | 0.0082872
9 | 0.99787 | -0.040822 | 0.042292 | 0.010599
10 | 0.99896 | -0.019835 | 0 | 0
11 | 0.99608 | -0.075273 | 0 | 0
12 | 0.99518 | -0.092579 | 0 | 0
13 | 0.99591 | -0.078531 | 0 | 0
14 | 0.99747 | -0.048423 | 0 | 0
15 | 0.99459 | -0.10371 | 0.042877 | 0.010746
16 | 0.9952 | -0.09209 | 0 | 0
17 | 0.99413 | -0.11271 | 0.045193 | 0.011326
18 | 0.99573 | -0.081911 | 0.013516 | 0.0033874
19 | 0.99557 | -0.085148 | 0.0097783 | 0.0024507
20 | 0.99784 | -0.041302 | 0 | 0
21 | 1 | 0 | -0.51467 | -0.12965
22 | 0.99459 | -0.10388 | 0.011928 | 0.0029893
23 | 0.99481 | -0.099735 | 0 | 0
24 | 0.99715 | -0.054668 | 0 | 0
25 | 0.99706 | -0.056377 | 0.010095 | 0.0025301
26 | 0.99491 | -0.097671 | 0.051147 | 0.012819
27 | 0.99449 | -0.10599 | 0.0044175 | 0.0011071
28 | 0.99444 | -0.10694 | 0.0084165 | 0.0021094
29 | 0.99297 | -0.13521 | 0 | 0
30 | 0.99374 | -0.12038 | 0 | 0
31 | 0.99277 | -0.13913 | 0.017069 | 0.0042779
32 | 0.99544 | -0.08766 | 0.0082207 | 0.0020603
33 | 0.99439 | -0.10791 | 0.0054411 | 0.0013637
34 | 0.99396 | -0.11622 | 0.011927 | 0.0029891
35 | 0.99317 | -0.13132 | 0.0097407 | 0.0024412
36 | 0.99337 | -0.12754 | 0.01814 | 0.0045464
37 | 0.99606 | -0.075601 | 0.0092526 | 0.0023189
38 | 0.99622 | -0.072625 | 0.012741 | 0.0031932
39 | 0.99659 | -0.065537 | 0.0068268 | 0.001711
40 | 0.99429 | -0.10983 | 0.005806 | 0.0014551
41 | 0.99397 | -0.11586 | 0.0031465 | 0.00078858
42 | 0.99402 | -0.11496 | 0.010992 | 0.0027549
43 | 0.99358 | -0.12355 | 0.017515 | 0.0043896
44 | 0.99354 | -0.12417 | 0.038305 | 0.0096
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012333 | -0.003091 | 0.012335 | 0.0030922 | 2.0456e-06 | 1.1074e-06 | 0.018591 | 0.018591 | 0.018591 | 0.98715 | -0.24747 | 0.98733 | -0.24399 | 5.1075
1 | -0.02904 | -0.0072801 | 0.029046 | 0.0072839 | 6.2147e-06 | 3.8668e-06 | 0.043768 | 0.043767 | 0.043768 | 0.98733 | -0.24399 | 0.98756 | -0.2395 | 12.024
2 | 0.016705 | 0.0041879 | -0.016701 | -0.0041856 | 3.9155e-06 | 2.2953e-06 | 0.025176 | 0.025176 | 0.025176 | 0.98733 | -0.24399 | 0.98708 | -0.24891 | 6.9166
3 | -0.043832 | -0.010989 | 0.043866 | 0.011011 | 3.4844e-05 | 2.2027e-05 | 0.066045 | 0.066045 | 0.066045 | 0.98756 | -0.2395 | 0.98842 | -0.22284 | 18.1443
4 | 0.018562 | 0.0046547 | -0.018555 | -0.0046503 | 7.2795e-06 | 4.3404e-06 | 0.027946 | 0.027946 | 0.027946 | 0.98842 | -0.22284 | 0.98799 | -0.23107 | 7.6774
5 | -0.062429 | -0.015666 | 0.06268 | 0.015826 | 0.00025107 | 0.00015971 | 0.093991 | 0.09399 | 0.093991 | 0.98842 | -0.22284 | 0.99276 | -0.13887 | 25.8216
6 | -0.06268 | -0.015826 | 0.062786 | 0.015893 | 0.00010578 | 6.7285e-05 | 0.09399 | 0.09399 | 0.09399 | 0.99276 | -0.13887 | 0.99459 | -0.10371 | 25.8215
7 | 0.1446 | 0.036404 | -0.14441 | -0.036284 | 0.00018817 | 0.00011986 | 0.21559 | 0.21559 | 0.21559 | 0.99832 | -0.032179 | 0.9969 | -0.05944 | 29.6136
8 | 0.23218 | 0.058626 | -0.23208 | -0.058565 | 9.6095e-05 | 6.1054e-05 | 0.34622 | 0.34622 | 0.34622 | 0.99832 | -0.032179 | 0.99787 | -0.040822 | 23.7787
9 | -0.37678 | -0.09503 | 0.377 | 0.095172 | 0.0002228 | 0.0001422 | 0.56181 | 0.56181 | 0.56181 | 0.99832 | -0.032179 | 0.99896 | -0.019835 | 38.5855
10 | 0.11135 | 0.027997 | -0.11126 | -0.027943 | 8.4122e-05 | 5.3732e-05 | 0.16623 | 0.16623 | 0.16623 | 0.9969 | -0.05944 | 0.99608 | -0.075273 | 45.668
11 | 0.18979 | 0.047966 | -0.18972 | -0.047922 | 6.9142e-05 | 4.4131e-05 | 0.28315 | 0.28315 | 0.28315 | 0.99787 | -0.040822 | 0.99747 | -0.048423 | 38.8946
12 | 0.13554 | 0.034169 | -0.1354 | -0.03408 | 0.00013908 | 8.8892e-05 | 0.20196 | 0.20196 | 0.20196 | 0.99896 | -0.019835 | 0.99784 | -0.041302 | 55.4832
13 | -0.51253 | -0.12934 | 0.51302 | 0.12965 | 0.00048737 | 0.00031145 | 0.76376 | 0.76376 | 0.76376 | 0.99896 | -0.019835 | 1 | 0 | 52.4563
14 | 0.079733 | 0.020037 | -0.079667 | -0.019995 | 6.5814e-05 | 4.196e-05 | 0.11913 | 0.11913 | 0.11913 | 0.99608 | -0.075273 | 0.99518 | -0.092579 | 32.728
15 | 0.031529 | 0.0079064 | -0.031524 | -0.0079034 | 4.8952e-06 | 3.0564e-06 | 0.047102 | 0.047102 | 0.047102 | 0.99608 | -0.075273 | 0.99591 | -0.078531 | 12.94
16 | 0.041415 | 0.010397 | -0.041392 | -0.010382 | 2.2308e-05 | 1.4076e-05 | 0.06193 | 0.06193 | 0.06193 | 0.99518 | -0.092579 | 0.99459 | -0.10388 | 17.0139
17 | 0.038252 | 0.0095981 | -0.038239 | -0.0095899 | 1.3047e-05 | 8.2119e-06 | 0.0572 | 0.0572 | 0.0572 | 0.99518 | -0.092579 | 0.99481 | -0.099735 | 15.7142
18 | 0.013518 | 0.0033886 | -0.013516 | -0.0033874 | 2.1766e-06 | 1.2079e-06 | 0.020198 | 0.020198 | 0.020198 | 0.99591 | -0.078531 | 0.99573 | -0.081911 | 5.549
19 | 0.018006 | 0.0045147 | -0.018 | -0.0045114 | 5.6761e-06 | 3.3607e-06 | 0.026903 | 0.026904 | 0.026904 | 0.99591 | -0.078531 | 0.99557 | -0.085148 | 7.3911
20 | 0.10594 | 0.026818 | -0.10566 | -0.026639 | 0.00028035 | 0.00017904 | 0.15814 | 0.15814 | 0.15814 | 0.99747 | -0.048423 | 0.99459 | -0.10371 | 43.4449
21 | 0.083775 | 0.021103 | -0.083601 | -0.020992 | 0.00017456 | 0.00011133 | 0.12501 | 0.12501 | 0.12501 | 0.99747 | -0.048423 | 0.9952 | -0.09209 | 34.3443
22 | 0.083601 | 0.020992 | -0.083519 | -0.02094 | 8.2154e-05 | 5.2397e-05 | 0.12501 | 0.12501 | 0.12501 | 0.9952 | -0.09209 | 0.99413 | -0.11271 | 34.3443
23 | 0.038325 | 0.0096132 | -0.038305 | -0.0096 | 2.0928e-05 | 1.3174e-05 | 0.057368 | 0.057368 | 0.057368 | 0.99413 | -0.11271 | 0.99354 | -0.12417 | 15.7605
24 | 0.0082216 | 0.0020607 | -0.0082207 | -0.0020603 | 9.8374e-07 | 4.0373e-07 | 0.012288 | 0.012289 | 0.012289 | 0.99557 | -0.085148 | 0.99544 | -0.08766 | 3.376
25 | 0.096431 | 0.024296 | -0.09637 | -0.024257 | 6.1605e-05 | 3.9324e-05 | 0.14385 | 0.14385 | 0.14385 | 0.99784 | -0.041302 | 0.99715 | -0.054668 | 39.5183
26 | 0.038965 | 0.0097838 | -0.038937 | -0.0097661 | 2.8001e-05 | 1.7632e-05 | 0.058112 | 0.058112 | 0.058112 | 0.99784 | -0.041302 | 0.99706 | -0.056377 | 15.9649
27 | 0.029465 | 0.0073931 | -0.029448 | -0.0073823 | 1.7321e-05 | 1.0777e-05 | 0.044086 | 0.044086 | 0.044086 | 0.99459 | -0.10388 | 0.99396 | -0.11622 | 12.1115
28 | 0.024377 | 0.0061142 | -0.024369 | -0.0061097 | 7.2702e-06 | 4.4637e-06 | 0.036464 | 0.036464 | 0.036464 | 0.99481 | -0.099735 | 0.99449 | -0.10599 | 10.0175
29 | 0.013863 | 0.0034757 | -0.013858 | -0.0034731 | 4.7569e-06 | 2.6615e-06 | 0.020736 | 0.020736 | 0.020736 | 0.99481 | -0.099735 | 0.99444 | -0.10694 | 5.6967
30 | 0.09637 | 0.024257 | -0.096172 | -0.024131 | 0.00019764 | 0.00012616 | 0.14385 | 0.14385 | 0.14385 | 0.99715 | -0.054668 | 0.99491 | -0.097671 | 39.5183
31 | 0.028842 | 0.007236 | -0.028829 | -0.0072282 | 1.259e-05 | 7.8215e-06 | 0.043046 | 0.043046 | 0.043046 | 0.99706 | -0.056377 | 0.99659 | -0.065537 | 11.8259
32 | 0.045025 | 0.011312 | -0.044977 | -0.011281 | 4.8745e-05 | 3.0825e-05 | 0.067351 | 0.067351 | 0.067351 | 0.99491 | -0.097671 | 0.99374 | -0.12038 | 18.5029
33 | 0.019952 | 0.0050026 | -0.019948 | -0.0050004 | 3.6462e-06 | 2.192e-06 | 0.029854 | 0.029854 | 0.029854 | 0.99449 | -0.10599 | 0.99429 | -0.10983 | 8.2017
34 | 0.0054413 | 0.0013637 | -0.0054411 | -0.0013637 | 2.5067e-07 | 2.9619e-08 | 0.0081421 | 0.0081421 | 0.0081421 | 0.99444 | -0.10694 | 0.99439 | -0.10791 | 2.2368
35 | -0.017072 | -0.0042798 | 0.017084 | 0.0042869 | 1.2071e-05 | 7.0886e-06 | 0.025584 | 0.025584 | 0.025584 | 0.99297 | -0.13521 | 0.99374 | -0.12038 | 7.0286
36 | 0.017072 | 0.0042798 | -0.017069 | -0.0042779 | 3.1903e-06 | 1.8737e-06 | 0.025584 | 0.025584 | 0.025584 | 0.99297 | -0.13521 | 0.99277 | -0.13913 | 7.0286
37 | 0.027892 | 0.0069944 | -0.027883 | -0.0069885 | 9.5133e-06 | 5.9002e-06 | 0.041767 | 0.041767 | 0.041767 | 0.99374 | -0.12038 | 0.99337 | -0.12754 | 11.4745
38 | 0.017521 | 0.0043933 | -0.017515 | -0.0043896 | 6.1218e-06 | 3.6105e-06 | 0.026231 | 0.026231 | 0.026231 | 0.99396 | -0.11622 | 0.99358 | -0.12355 | 7.2063
39 | -0.0097407 | -0.0024412 | 0.0097424 | 0.0024421 | 1.7523e-06 | 8.3751e-07 | 0.014594 | 0.014594 | 0.014594 | 0.99317 | -0.13132 | 0.99337 | -0.12754 | 4.0093
40 | -0.0092526 | -0.0023189 | 0.0092539 | 0.0023195 | 1.312e-06 | 6.0129e-07 | 0.013822 | 0.013822 | 0.013822 | 0.99606 | -0.075601 | 0.99622 | -0.072625 | 3.7974
41 | -0.021995 | -0.0055127 | 0.022002 | 0.0055172 | 7.4292e-06 | 4.5156e-06 | 0.032853 | 0.032853 | 0.032853 | 0.99622 | -0.072625 | 0.99659 | -0.065537 | 9.0256
42 | 0.014142 | 0.0035453 | -0.014139 | -0.0035433 | 3.4561e-06 | 1.9451e-06 | 0.021165 | 0.021165 | 0.021165 | 0.99429 | -0.10983 | 0.99402 | -0.11496 | 5.8146
43 | -0.0031465 | -0.00078858 | 0.0031466 | 0.00078845 | 1.3475e-07 | -1.2369e-07 | 0.0047104 | 0.0047103 | 0.0047104 | 0.99397 | -0.11586 | 0.99402 | -0.11496 | 1.2941

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53623 | 0.13505

## res_load
| p_mw | q_mvar
0 | 0.012333 | 0.003091
1 | 0.014785 | 0.0037055
2 | 0.016701 | 0.0041856
3 | 0.018555 | 0.0046503
4 | 0.033066 | 0.0082872
5 | 0.042292 | 0.010599
6 | 0.042877 | 0.010746
7 | 0.045193 | 0.011326
8 | 0.013516 | 0.0033874
9 | 0.0097783 | 0.0024507
10 | 0.021556 | 0.0054024
11 | 0.011928 | 0.0029893
12 | 0.010095 | 0.0025301
13 | 0.051147 | 0.012819
14 | 0.0044175 | 0.0011071
15 | 0.0084165 | 0.0021094
16 | 0.017069 | 0.0042779
17 | 0.0082207 | 0.0020603
18 | 0.0054411 | 0.0013637
19 | 0.011927 | 0.0029891
20 | 0.0097407 | 0.0024412
21 | 0.01814 | 0.0045464
22 | 0.0092526 | 0.0023189
23 | 0.012741 | 0.0031932
24 | 0.0068268 | 0.001711
25 | 0.005806 | 0.0014551
26 | 0.0031465 | 0.00078858
27 | 0.010992 | 0.0027549
28 | 0.017515 | 0.0043896
29 | 0.038305 | 0.0096

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1