## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-270_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-270_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-270_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-270_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_261-270_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-270_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_261-270_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-270_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_261-270_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-270_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-270_0_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_261-270_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_261-270_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_261-270_0_4_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_261-270_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-270_0_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_261-270_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_261-270_0_4_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_261-270_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_261-270_0_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_261-270_0_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_261-270_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_261-270_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_261-270_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_261-270_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_261-270_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_261-270_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_261-270_0_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_261-270_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_261-270_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_261-270_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_261-270_0_4_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_261-270_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_261-270_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_261-270_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_261-270_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_261-270_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_261-270_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_261-270_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_261-270_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_261-270_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_261-270_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_MV_534_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-270_0_4_load_0 | 0 | 0.041749 | 0.010463 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-270_0_4_load_1 | 1 | 0.0075142 | 0.0018832 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-270_0_4_load_4 | 4 | 0.039518 | 0.0099041 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-270_0_4_load_26 | 10 | 0.066584 | 0.016688 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-270_0_4_load_35 | 13 | 0.046771 | 0.011722 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-270_0_4_load_34 | 15 | 0.055824 | 0.013991 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-270_0_4_load_40 | 17 | 0.0065232 | 0.0016349 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-270_0_4_load_27 | 19 | 0.028747 | 0.0072046 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-270_0_4_load_28 | 20 | 0.011333 | 0.0028404 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-270_0_4_load_25 | 21 | 0.032746 | 0.0082069 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-270_0_4_load_31 | 23 | 0.0060021 | 0.0015043 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-270_0_4_load_29 | 24 | 0.049217 | 0.012335 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-270_0_4_load_42 | 27 | 0.0077825 | 0.0019505 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-270_0_4_load_33 | 28 | 0.0038186 | 0.00095704 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-270_0_4_load_32 | 29 | 0.0057845 | 0.0014497 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-270_0_4_load_36 | 32 | 0.011124 | 0.002788 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-270_0_4_load_37 | 34 | 0.020383 | 0.0051085 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-270_0_4_load_39 | 35 | 0.030341 | 0.0076043 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-270_0_4_load_41 | 39 | 0.010793 | 0.0027049 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-270_0_4_load_30 | 40 | 0.0089861 | 0.0022521 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-270_0_4_load_43 | 41 | 0.0096878 | 0.002428 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-270_0_4_line_0 |  | 0 | 1 | 0.028936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-270_0_4_line_1 |  | 1 | 2 | 0.012784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-270_0_4_line_2 |  | 2 | 6 | 0.015356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-270_0_4_line_3 |  | 3 | 4 | 0.008196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-270_0_4_line_4 |  | 3 | 5 | 0.022536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-270_0_4_line_5 |  | 4 | 7 | 0.0082473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-270_0_4_line_6 |  | 5 | 18 | 0.009763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_261-270_0_4_line_7 |  | 5 | 19 | 0.012006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-270_0_4_line_8 |  | 6 | 16 | 0.03511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-270_0_4_line_9 |  | 6 | 17 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-270_0_4_line_10 |  | 7 | 22 | 0.007665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-270_0_4_line_11 |  | 8 | 9 | 0.016804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-270_0_4_line_12 |  | 8 | 10 | 0.014667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-270_0_4_line_13 |  | 9 | 14 | 0.034127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-270_0_4_line_14 |  | 9 | 15 | 0.0087452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-270_0_4_line_15 |  | 10 | 21 | 0.032011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-270_0_4_line_16 |  | 11 | 12 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-270_0_4_line_17 |  | 11 | 13 | 0.024613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-270_0_4_line_18 |  | 12 | 21 | 0.020085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-270_0_4_line_19 |  | 14 | 20 | 0.030423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-270_0_4_line_20 |  | 14 | 19 | 0.0016285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-270_0_4_line_21 |  | 16 | 28 | 0.03695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-270_0_4_line_22 |  | 16 | 29 | 0.013068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-270_0_4_line_23 |  | 17 | 35 | 0.029491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-270_0_4_line_24 |  | 18 | 33 | 0.0088358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-270_0_4_line_25 |  | 18 | 34 | 0.019729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-270_0_4_line_26 |  | 22 | 23 | 0.030439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-270_0_4_line_27 |  | 22 | 24 | 0.013929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-270_0_4_line_28 |  | 23 | 40 | 0.00056506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-270_0_4_line_29 |  | 24 | 26 | 0.017129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-270_0_4_line_30 |  | 25 | 26 | 0.019668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-270_0_4_line_31 |  | 25 | 27 | 0.034115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-270_0_4_line_32 |  | 28 | 37 | 0.0078756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-270_0_4_line_33 |  | 30 | 31 | 0.003634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-270_0_4_line_34 |  | 30 | 32 | 0.0099751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-270_0_4_line_35 |  | 31 | 41 | 0.000467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-270_0_4_line_36 |  | 32 | 38 | 0.003302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-270_0_4_line_37 |  | 33 | 35 | 0.015961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-270_0_4_line_38 |  | 36 | 37 | 0.0080154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-270_0_4_line_39 |  | 36 | 38 | 0.0065226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-270_0_4_line_40 |  | 36 | 39 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-270_0_4_trafo_2 | 0.63 MVA 20/0.4 kV | 42 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2684682.8617 | 1247817.3299 | 2684702.6797 | 1247796.2462
1 | 2684711.4353 | 1247786.9315 | 2684702.6797 | 1247796.2462
2 | 2684699.8874 | 1247776.8257 | 2684705.1636 | 1247781.827 | 2684711.4353 | 1247786.9315
3 | 2684665.3443 | 1247843.593 | 2684667.3084 | 1247847.8019 | 2684669.2829 | 1247850.7538
4 | 2684645.7645 | 1247834.2288 | 2684646.4203 | 1247834.8497 | 2684651.8534 | 1247839.9644 | 2684652.9565 | 1247841.0031 | 2684654.9294 | 1247841.4205 | 2684663.5671 | 1247843.2229 | 2684665.3443 | 1247843.593
5 | 2684674.2573 | 1247857.3193 | 2684671.1983 | 1247853.6173 | 2684669.2829 | 1247850.7538
6 | 2684652.9587 | 1247827.6266 | 2684649.9383 | 1247830.7413 | 2684645.7645 | 1247834.2288
7 | 2684645.7645 | 1247834.2288 | 2684643.0048 | 1247835.4792 | 2684640.1867 | 1247836.0616 | 2684636.852 | 1247835.269 | 2684634.6206 | 1247833.8002
8 | 2684681.056 | 1247762.6463 | 2684680.7153 | 1247765.3434 | 2684704.0974 | 1247769.2246 | 2684699.8874 | 1247776.8257
9 | 2684699.8874 | 1247776.8257 | 2684697.7432 | 1247779.9307 | 2684690.1281 | 1247788.0599
10 | 2684679.2726 | 1247863.1286 | 2684674.2573 | 1247857.3193
11 | 2684616.7696 | 1247868.4959 | 2684618.0104 | 1247867.8242 | 2684620.8874 | 1247866.2864 | 2684624.579 | 1247864.3042 | 2684631.5739 | 1247860.5457
12 | 2684616.7696 | 1247868.4959 | 2684624.934 | 1247880.68
13 | 2684631.5739 | 1247860.5457 | 2684629.0909 | 1247854.5948 | 2684630.6494 | 1247852.8268 | 2684630.0584 | 1247851.3728 | 2684628.2849 | 1247847.0332 | 2684626.8473 | 1247843.5101 | 2684624.9425 | 1247838.8461 | 2684627.8958 | 1247836.7311 | 2684630.6352 | 1247834.7799 | 2684632.7338 | 1247833.2754 | 2684633.2603 | 1247832.9049
14 | 2684631.5739 | 1247860.5457 | 2684635.844 | 1247868.1776
15 | 2684642.7534 | 1247907.2726 | 2684624.934 | 1247880.68
16 | 2684651.0807 | 1247925.2499 | 2684652.574 | 1247924.3483 | 2684654.7452 | 1247923.045 | 2684657.9451 | 1247921.1114 | 2684658.6917 | 1247920.6662 | 2684665.2904 | 1247917.1467
17 | 2684665.2904 | 1247917.1467 | 2684663.0889 | 1247913.1679 | 2684659.3566 | 1247906.3762 | 2684657.4113 | 1247905.0808 | 2684652.4394 | 1247896.429
18 | 2684651.0807 | 1247925.2499 | 2684648.6291 | 1247916.0414 | 2684642.7534 | 1247907.2726
19 | 2684633.2603 | 1247832.9049 | 2684614.0187 | 1247817.2965 | 2684609.6522 | 1247813.7162
20 | 2684633.2603 | 1247832.9049 | 2684634.6206 | 1247833.8002
21 | 2684681.056 | 1247762.6463 | 2684667.8612 | 1247761.5348 | 2684654.5779 | 1247759.755 | 2684644.2839 | 1247759.2459
22 | 2684681.056 | 1247762.6463 | 2684682.6924 | 1247749.681
23 | 2684669.9666 | 1247809.5826 | 2684690.1281 | 1247788.0599
24 | 2684652.9587 | 1247827.6266 | 2684655.9715 | 1247824.5228 | 2684659.0548 | 1247821.2311
25 | 2684652.9587 | 1247827.6266 | 2684649.9474 | 1247823.7585 | 2684647.9471 | 1247821.0279 | 2684646.9415 | 1247818.4561 | 2684645.2314 | 1247809.9452
26 | 2684679.2726 | 1247863.1286 | 2684697.9283 | 1247849.4181 | 2684703.1137 | 1247854.5376
27 | 2684679.2726 | 1247863.1286 | 2684686.4767 | 1247875.0504
28 | 2684703.1137 | 1247854.5376 | 2684703.5158 | 1247854.9346
29 | 2684695.3358 | 1247889.711 | 2684686.4767 | 1247875.0504
30 | 2684695.3358 | 1247889.711 | 2684697.4264 | 1247893.5214 | 2684710.6565 | 1247885.7936
31 | 2684710.6565 | 1247885.7936 | 2684710.1972 | 1247881.9953 | 2684714.2011 | 1247877.716 | 2684715.6727 | 1247876.2137 | 2684719.551 | 1247872.2662 | 2684728.3872 | 1247866.5215 | 2684730.0423 | 1247865.9225 | 2684731.7232 | 1247866.1689 | 2684734.1093 | 1247867.6211
32 | 2684636.4176 | 1247758.8618 | 2684640.9841 | 1247759.0827 | 2684644.2839 | 1247759.2459
33 | 2684626.4147 | 1247756.3838 | 2684625.0298 | 1247759.7443
34 | 2684625.0298 | 1247759.7443 | 2684623.8013 | 1247762.729 | 2684626.4797 | 1247765.0579 | 2684628.2028 | 1247767.7523
35 | 2684625.9712 | 1247756.233 | 2684626.4147 | 1247756.3838
36 | 2684629.9817 | 1247770.5341 | 2684628.2028 | 1247767.7523
37 | 2684659.0548 | 1247821.2311 | 2684669.9666 | 1247809.5826
38 | 2684635.2632 | 1247766.7067 | 2684636.1903 | 1247764.1958 | 2684636.3022 | 1247761.6511 | 2684636.4176 | 1247758.8618
39 | 2684629.9817 | 1247770.5341 | 2684632.3857 | 1247768.8005 | 2684635.2632 | 1247766.7067
40 | 2684635.2632 | 1247766.7067 | 2684642.1563 | 1247778.5471 | 2684642.7903 | 1247779.7025

## bus_geodata
| x | y | coords
0 | 2684682.8617 | 1247817.3299
1 | 2684702.6797 | 1247796.2462
2 | 2684711.4353 | 1247786.9315
3 | 2684665.3444 | 1247843.593
4 | 2684669.2829 | 1247850.7538
5 | 2684645.7645 | 1247834.2288
6 | 2684699.8874 | 1247776.8257
7 | 2684674.2573 | 1247857.3193
8 | 2684616.7696 | 1247868.4959
9 | 2684631.5739 | 1247860.5457
10 | 2684624.934 | 1247880.68
11 | 2684665.2904 | 1247917.1467
12 | 2684651.0807 | 1247925.2499
13 | 2684652.4394 | 1247896.429
14 | 2684633.2603 | 1247832.9049
15 | 2684635.844 | 1247868.1776
16 | 2684681.056 | 1247762.6463
17 | 2684690.1281 | 1247788.0599
18 | 2684652.9587 | 1247827.6266
19 | 2684634.6206 | 1247833.8002
20 | 2684609.6522 | 1247813.7162
21 | 2684642.7534 | 1247907.2726
22 | 2684679.2726 | 1247863.1286
23 | 2684703.1137 | 1247854.5376
24 | 2684686.4767 | 1247875.0504
25 | 2684710.6565 | 1247885.7936
26 | 2684695.3358 | 1247889.711
27 | 2684734.1093 | 1247867.6211
28 | 2684644.2839 | 1247759.2459
29 | 2684682.6924 | 1247749.681
30 | 2684625.0298 | 1247759.7443
31 | 2684626.4147 | 1247756.3838
32 | 2684628.2028 | 1247767.7523
33 | 2684659.0548 | 1247821.2311
34 | 2684645.2314 | 1247809.9452
35 | 2684669.9666 | 1247809.5826
36 | 2684635.2632 | 1247766.7067
37 | 2684636.4176 | 1247758.8618
38 | 2684629.9817 | 1247770.5341
39 | 2684642.7903 | 1247779.7025
40 | 2684703.5158 | 1247854.9346
41 | 2684625.9712 | 1247756.233
42 | 2684652.9565 | 1247841.0031

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98752 | -0.24023 | 0.041749 | 0.010463
1 | 0.98863 | -0.21866 | 0.0075142 | 0.0018832
2 | 0.9892 | -0.20744 | 0 | 0
3 | 1 | 0 | -0.50619 | -0.12773
4 | 0.99917 | -0.015943 | 0.039518 | 0.0099041
5 | 0.99732 | -0.051166 | 0 | 0
6 | 0.9899 | -0.19397 | 0 | 0
7 | 0.99863 | -0.026314 | 0 | 0
8 | 0.99348 | -0.12505 | 0 | 0
9 | 0.99423 | -0.11061 | 0 | 0
10 | 0.9925 | -0.14399 | 0.066584 | 0.016688
11 | 0.9886 | -0.21948 | 0 | 0
12 | 0.9893 | -0.20585 | 0 | 0
13 | 0.98754 | -0.24004 | 0.046771 | 0.011722
14 | 0.99633 | -0.070186 | 0 | 0
15 | 0.99378 | -0.11922 | 0.055824 | 0.013991
16 | 0.98857 | -0.21974 | 0 | 0
17 | 0.99114 | -0.17 | 0.0065232 | 0.0016349
18 | 0.99666 | -0.063811 | 0 | 0
19 | 0.99644 | -0.068154 | 0.028747 | 0.0072046
20 | 0.99602 | -0.076243 | 0.011333 | 0.0028404
21 | 0.99016 | -0.18913 | 0.032746 | 0.0082069
22 | 0.99813 | -0.035963 | 0 | 0
23 | 0.99771 | -0.043948 | 0.0060021 | 0.0015043
24 | 0.99741 | -0.049864 | 0.049217 | 0.012335
25 | 0.99715 | -0.054884 | 0 | 0
26 | 0.99729 | -0.052201 | 0 | 0
27 | 0.9969 | -0.05954 | 0.0077825 | 0.0019505
28 | 0.98737 | -0.24312 | 0.0038186 | 0.00095704
29 | 0.9885 | -0.22109 | 0.0057845 | 0.0014497
30 | 0.98663 | -0.25749 | 0 | 0
31 | 0.9866 | -0.25812 | 0 | 0
32 | 0.98672 | -0.25576 | 0.011124 | 0.002788
33 | 0.99563 | -0.083575 | 0 | 0
34 | 0.99629 | -0.07087 | 0.020383 | 0.0051085
35 | 0.99376 | -0.11938 | 0.030341 | 0.0076043
36 | 0.9869 | -0.2521 | 0 | 0
37 | 0.98714 | -0.24757 | 0 | 0
38 | 0.98678 | -0.25453 | 0 | 0
39 | 0.98676 | -0.255 | 0.010793 | 0.0027049
40 | 0.99771 | -0.044037 | 0.0089861 | 0.0022521
41 | 0.98659 | -0.2582 | 0.0096878 | 0.002428
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.041749 | -0.010463 | 0.041792 | 0.01049 | 4.2943e-05 | 2.7113e-05 | 0.062909 | 0.062909 | 0.062909 | 0.98752 | -0.24023 | 0.98863 | -0.21866 | 17.2827
1 | -0.049307 | -0.012374 | 0.049333 | 0.01239 | 2.6407e-05 | 1.6737e-05 | 0.074219 | 0.074219 | 0.074219 | 0.98863 | -0.21866 | 0.9892 | -0.20744 | 20.3898
2 | -0.049333 | -0.01239 | 0.049365 | 0.012411 | 3.1721e-05 | 2.0104e-05 | 0.074219 | 0.074219 | 0.074219 | 0.9892 | -0.20744 | 0.9899 | -0.19397 | 20.3898
3 | 0.11171 | 0.028073 | -0.11162 | -0.028018 | 8.4947e-05 | 5.4259e-05 | 0.16625 | 0.16625 | 0.16625 | 1 | 0 | 0.99917 | -0.015943 | 45.6726
4 | 0.39283 | 0.099655 | -0.39187 | -0.099039 | 0.00096394 | 0.00061603 | 0.58497 | 0.58497 | 0.58497 | 1 | 0 | 0.99732 | -0.051166 | 53.5685
5 | 0.072104 | 0.018114 | -0.072068 | -0.018092 | 3.5671e-05 | 2.2722e-05 | 0.1074 | 0.1074 | 0.1074 | 0.99917 | -0.015943 | 0.99863 | -0.026314 | 29.5044
6 | 0.14871 | 0.037652 | -0.14862 | -0.037594 | 9.0227e-05 | 5.749e-05 | 0.22201 | 0.22201 | 0.22201 | 0.99732 | -0.051166 | 0.99666 | -0.063811 | 30.4961
7 | 0.24316 | 0.061387 | -0.24296 | -0.061261 | 0.00019771 | 0.00012607 | 0.36296 | 0.36296 | 0.36296 | 0.99732 | -0.051166 | 0.99644 | -0.068154 | 33.2379
8 | 0.041318 | 0.010397 | -0.041268 | -0.010365 | 5.0815e-05 | 3.2071e-05 | 0.062125 | 0.062125 | 0.062125 | 0.9899 | -0.19397 | 0.98857 | -0.21974 | 17.0673
9 | -0.090683 | -0.022807 | 0.090787 | 0.022874 | 0.00010395 | 6.6339e-05 | 0.13634 | 0.13634 | 0.13634 | 0.9899 | -0.19397 | 0.99114 | -0.17 | 37.457
10 | 0.072068 | 0.018092 | -0.072035 | -0.018071 | 3.3153e-05 | 2.1118e-05 | 0.1074 | 0.1074 | 0.1074 | 0.99863 | -0.026314 | 0.99813 | -0.035963 | 29.5044
11 | -0.14652 | -0.036882 | 0.14662 | 0.036947 | 0.00010121 | 6.4123e-05 | 0.21951 | 0.21951 | 0.21951 | 0.99348 | -0.12505 | 0.99423 | -0.11061 | 20.1018
12 | 0.14652 | 0.036882 | -0.14639 | -0.036798 | 0.00013251 | 8.4426e-05 | 0.21951 | 0.21951 | 0.21951 | 0.99348 | -0.12505 | 0.9925 | -0.14399 | 30.1527
13 | -0.20247 | -0.050952 | 0.20286 | 0.051201 | 0.0003919 | 0.00024949 | 0.3031 | 0.3031 | 0.3031 | 0.99423 | -0.11061 | 0.99633 | -0.070186 | 27.7562
14 | 0.055847 | 0.014005 | -0.055824 | -0.013991 | 2.2913e-05 | 1.4551e-05 | 0.083587 | 0.083587 | 0.083587 | 0.99423 | -0.11061 | 0.99378 | -0.11922 | 22.9635
15 | 0.079802 | 0.02011 | -0.07963 | -0.020001 | 0.00017195 | 0.00010964 | 0.11968 | 0.11968 | 0.11968 | 0.9925 | -0.14399 | 0.99016 | -0.18913 | 32.8802
16 | -0.046816 | -0.011751 | 0.046847 | 0.01177 | 3.0476e-05 | 1.9294e-05 | 0.070473 | 0.070473 | 0.070473 | 0.9886 | -0.21948 | 0.9893 | -0.20585 | 19.3608
17 | 0.046816 | 0.011751 | -0.046771 | -0.011722 | 4.584e-05 | 2.9022e-05 | 0.070473 | 0.070474 | 0.070474 | 0.9886 | -0.21948 | 0.98754 | -0.24004 | 19.3609
18 | -0.046847 | -0.01177 | 0.046884 | 0.011794 | 3.7406e-05 | 2.3682e-05 | 0.070473 | 0.070473 | 0.070473 | 0.9893 | -0.20585 | 0.99016 | -0.18913 | 19.3608
19 | 0.011337 | 0.0028421 | -0.011333 | -0.0028404 | 3.2706e-06 | 1.6971e-06 | 0.016932 | 0.016932 | 0.016932 | 0.99633 | -0.070186 | 0.99602 | -0.076243 | 4.6516
20 | -0.2142 | -0.054044 | 0.21422 | 0.054057 | 2.0849e-05 | 1.328e-05 | 0.32003 | 0.32003 | 0.32003 | 0.99633 | -0.070186 | 0.99644 | -0.068154 | 29.3067
21 | 0.035483 | 0.0089147 | -0.035443 | -0.0088899 | 3.9538e-05 | 2.4831e-05 | 0.053417 | 0.053417 | 0.053417 | 0.98857 | -0.21974 | 0.98737 | -0.24312 | 14.6751
22 | 0.0057849 | 0.0014498 | -0.0057845 | -0.0014497 | 3.7157e-07 | 7.0269e-08 | 0.0087076 | 0.0087076 | 0.0087076 | 0.98857 | -0.21974 | 0.9885 | -0.22109 | 2.3922
23 | -0.09731 | -0.024508 | 0.097547 | 0.024659 | 0.00023618 | 0.00015077 | 0.14614 | 0.14614 | 0.14614 | 0.99114 | -0.17 | 0.99376 | -0.11938 | 40.1475
24 | 0.12823 | 0.032482 | -0.12811 | -0.032404 | 0.0001216 | 7.7707e-05 | 0.19157 | 0.19157 | 0.19157 | 0.99666 | -0.063811 | 0.99563 | -0.083575 | 52.6287
25 | 0.02039 | 0.0051126 | -0.020383 | -0.0051085 | 6.8568e-06 | 4.1314e-06 | 0.030443 | 0.030443 | 0.030443 | 0.99666 | -0.063811 | 0.99629 | -0.07087 | 8.3635
26 | 0.014994 | 0.0037597 | -0.014988 | -0.0037564 | 5.7037e-06 | 3.2527e-06 | 0.022354 | 0.022354 | 0.022354 | 0.99813 | -0.035963 | 0.99771 | -0.043948 | 6.1412
27 | 0.057041 | 0.014311 | -0.057003 | -0.014287 | 3.7778e-05 | 2.3996e-05 | 0.085042 | 0.085043 | 0.085043 | 0.99813 | -0.035963 | 0.99741 | -0.049864 | 23.3633
28 | 0.0089861 | 0.0022521 | -0.0089861 | -0.0022521 | 3.8061e-08 | 1.698e-08 | 0.013402 | 0.013402 | 0.013402 | 0.99771 | -0.043948 | 0.99771 | -0.044037 | 3.6819
29 | 0.0077861 | 0.0019519 | -0.0077852 | -0.0019515 | 8.6676e-07 | 3.3119e-07 | 0.011616 | 0.011616 | 0.011616 | 0.99741 | -0.049864 | 0.99729 | -0.052201 | 3.1913
30 | -0.0077842 | -0.0019511 | 0.0077852 | 0.0019515 | 9.9524e-07 | 3.8035e-07 | 0.011616 | 0.011616 | 0.011616 | 0.99715 | -0.054884 | 0.99729 | -0.052201 | 3.1913
31 | 0.0077842 | 0.0019511 | -0.0077825 | -0.0019505 | 1.7263e-06 | 6.5993e-07 | 0.011616 | 0.011616 | 0.011616 | 0.99715 | -0.054884 | 0.9969 | -0.05954 | 3.1913
32 | 0.031625 | 0.0079329 | -0.031618 | -0.0079287 | 6.7092e-06 | 4.1932e-06 | 0.047663 | 0.047663 | 0.047663 | 0.98737 | -0.24312 | 0.98714 | -0.24757 | 13.0941
33 | 0.0096881 | 0.0024282 | -0.0096878 | -0.002428 | 2.9094e-07 | 1.398e-07 | 0.014612 | 0.014612 | 0.014612 | 0.98663 | -0.25749 | 0.9866 | -0.25812 | 4.0142
34 | -0.0096881 | -0.0024282 | 0.0096889 | 0.0024285 | 7.9862e-07 | 3.8371e-07 | 0.014612 | 0.014611 | 0.014612 | 0.98663 | -0.25749 | 0.98672 | -0.25576 | 4.0142
35 | 0.0096878 | 0.002428 | -0.0096878 | -0.002428 | 3.7389e-08 | 1.7965e-08 | 0.014612 | 0.014612 | 0.014612 | 0.9866 | -0.25812 | 0.98659 | -0.2582 | 4.0142
36 | -0.020813 | -0.0052165 | 0.020814 | 0.0052173 | 1.2199e-06 | 7.3853e-07 | 0.031387 | 0.031387 | 0.031387 | 0.98672 | -0.25576 | 0.98678 | -0.25453 | 8.6229
37 | 0.12811 | 0.032404 | -0.12789 | -0.032263 | 0.00021965 | 0.00014037 | 0.19157 | 0.19157 | 0.19157 | 0.99563 | -0.083575 | 0.99376 | -0.11938 | 52.6287
38 | -0.031611 | -0.0079244 | 0.031618 | 0.0079287 | 6.8283e-06 | 4.2677e-06 | 0.047663 | 0.047663 | 0.047663 | 0.9869 | -0.2521 | 0.98714 | -0.24757 | 13.0941
39 | 0.020817 | 0.0052187 | -0.020814 | -0.0052173 | 2.4097e-06 | 1.4588e-06 | 0.031387 | 0.031387 | 0.031387 | 0.9869 | -0.2521 | 0.98678 | -0.25453 | 8.6229
40 | 0.010794 | 0.0027057 | -0.010793 | -0.0027049 | 1.4919e-06 | 7.6291e-07 | 0.016275 | 0.016275 | 0.016275 | 0.9869 | -0.2521 | 0.98676 | -0.255 | 4.4713

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50619 | 0.12773

## res_load
| p_mw | q_mvar
0 | 0.041749 | 0.010463
1 | 0.0075142 | 0.0018832
2 | 0.039518 | 0.0099041
3 | 0.066584 | 0.016688
4 | 0.046771 | 0.011722
5 | 0.055824 | 0.013991
6 | 0.0065232 | 0.0016349
7 | 0.028747 | 0.0072046
8 | 0.011333 | 0.0028404
9 | 0.032746 | 0.0082069
10 | 0.0060021 | 0.0015043
11 | 0.049217 | 0.012335
12 | 0.0077825 | 0.0019505
13 | 0.0038186 | 0.00095704
14 | 0.0057845 | 0.0014497
15 | 0.011124 | 0.002788
16 | 0.020383 | 0.0051085
17 | 0.030341 | 0.0076043
18 | 0.010793 | 0.0027049
19 | 0.0089861 | 0.0022521
20 | 0.0096878 | 0.002428

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1