## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-274_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-274_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-274_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-274_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-274_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-274_0_4_node_62 | 0.4 | n |  | TRUE
6 | bus_LV_261-274_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-274_0_4_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_261-274_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-274_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-274_0_4_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_261-274_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_261-274_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-274_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-274_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-274_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_261-274_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_261-274_0_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_261-274_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_261-274_0_4_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_261-274_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-274_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_261-274_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-274_0_4_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_261-274_0_4_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_261-274_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_261-274_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_261-274_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_261-274_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_261-274_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_261-274_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_261-274_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_261-274_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_261-274_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_261-274_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_261-274_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_261-274_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_261-274_0_4_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_261-274_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_261-274_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_261-274_0_4_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_261-274_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_261-274_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_261-274_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_261-274_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_261-274_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_261-274_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_261-274_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_261-274_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_261-274_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_261-274_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_261-274_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_261-274_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_261-274_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_261-274_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_261-274_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_261-274_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_261-274_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_261-274_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_261-274_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_261-274_0_4_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_261-274_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_261-274_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_261-274_0_4_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_261-274_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_261-274_0_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_261-274_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_261-274_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_261-274_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_261-274_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_261-274_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_MV_534_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-274_0_4_load_0 | 0 | 0.013414 | 0.0033618 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-274_0_4_load_1 | 1 | 0.016645 | 0.0041715 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-274_0_4_load_2 | 2 | 0.025886 | 0.0064877 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-274_0_4_load_3 | 3 | 0.0055372 | 0.0013878 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-274_0_4_load_4 | 4 | 0.010849 | 0.002719 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-274_0_4_load_62 | 5 | 0.0055519 | 0.0013914 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-274_0_4_load_5 | 6 | 0.027205 | 0.0068181 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-274_0_4_load_63 | 7 | 0.0055724 | 0.0013966 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-274_0_4_load_6 | 8 | 0.0041961 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-274_0_4_load_7 | 9 | 0.011155 | 0.0027956 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-274_0_4_load_49 | 10 | 0.0040995 | 0.0010274 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-274_0_4_load_47 | 11 | 0.01371 | 0.0034361 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-274_0_4_load_8 | 12 | 0.0035154 | 0.00088103 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-274_0_4_load_9 | 13 | 0.0042114 | 0.0010555 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-274_0_4_load_10 | 14 | 0.0045452 | 0.0011391 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-274_0_4_load_12 | 16 | 0.003258 | 0.00081652 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-274_0_4_load_26 | 17 | 0.0053652 | 0.0013446 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-274_0_4_load_14 | 18 | 0.0058882 | 0.0014757 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-274_0_4_load_74 | 19 | 0.0062019 | 0.0015543 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-274_0_4_load_13 | 20 | 0.0057232 | 0.0014344 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-274_0_4_load_15 | 21 | 0.01297 | 0.0032507 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-274_0_4_load_16 | 22 | 0.0057726 | 0.0014467 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-274_0_4_load_72 | 23 | 0.012783 | 0.0032038 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-274_0_4_load_73 | 24 | 0.0036404 | 0.00091236 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-274_0_4_load_17 | 25 | 0.023702 | 0.0059403 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-274_0_4_load_18 | 26 | 0.014505 | 0.0036354 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-274_0_4_load_20 | 28 | 0.0081021 | 0.0020306 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-274_0_4_load_22 | 30 | 0.017334 | 0.0043443 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-274_0_4_load_28 | 35 | 0.0045655 | 0.0011442 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-274_0_4_load_34 | 36 | 0.0059546 | 0.0014924 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-274_0_4_load_48 | 37 | 0.0023673 | 0.00059331 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-274_0_4_load_33 | 39 | 0.0055453 | 0.0013898 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-274_0_4_load_64 | 40 | 0.0049929 | 0.0012513 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-274_0_4_load_32 | 42 | 0.0057787 | 0.0014483 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-274_0_4_load_44 | 43 | 0.0050759 | 0.0012721 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-274_0_4_load_41 | 44 | 0.0051393 | 0.001288 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-274_0_4_load_37 | 45 | 0.003 | 0.00075188 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-274_0_4_load_50 | 46 | 0.023607 | 0.0059164 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-274_0_4_load_42 | 47 | 0.0094581 | 0.0023704 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-274_0_4_load_38 | 48 | 0.0015929 | 0.00039922 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-274_0_4_load_40 | 49 | 0.0025783 | 0.00064619 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-274_0_4_load_39 | 50 | 0.0045942 | 0.0011514 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-274_0_4_load_43 | 51 | 0.0051262 | 0.0012847 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-274_0_4_load_45 | 52 | 0.025239 | 0.0063254 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-274_0_4_load_46 | 53 | 0.010654 | 0.0026701 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-274_0_4_load_52 | 55 | 0.0033602 | 0.00084215 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-274_0_4_load_53 | 56 | 0.0075118 | 0.0018826 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-274_0_4_load_68 | 58 | 0.0036919 | 0.00092529 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-274_0_4_load_55 | 59 | 0.0079089 | 0.0019821 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-274_0_4_load_69 | 60 | 0.0024141 | 0.00060503 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-274_0_4_load_67 | 62 | 0.0050563 | 0.0012672 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-274_0_4_load_65 | 63 | 0.0186 | 0.0046615 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-274_0_4_load_56 | 64 | 0.0064903 | 0.0016266 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-274_0_4_load_57 | 66 | 0.018702 | 0.0046872 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-274_0_4_load_60 | 68 | 0.017869 | 0.0044783 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-274_0_4_load_70 | 70 | 0.0032255 | 0.0008084 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-274_0_4_line_0 |  | 0 | 1 | 0.029621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-274_0_4_line_1 |  | 0 | 2 | 0.019792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-274_0_4_line_2 |  | 1 | 3 | 0.010843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-274_0_4_line_3 |  | 2 | 4 | 0.022018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-274_0_4_line_4 |  | 3 | 5 | 0.01727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-274_0_4_line_5 |  | 4 | 6 | 0.0080894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-274_0_4_line_6 |  | 5 | 7 | 0.017139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-274_0_4_line_7 |  | 6 | 8 | 0.02057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-274_0_4_line_8 |  | 7 | 69 | 0.024642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-274_0_4_line_9 |  | 8 | 9 | 0.014491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-274_0_4_line_10 |  | 9 | 10 | 0.011206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-274_0_4_line_11 |  | 10 | 11 | 0.020828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-274_0_4_line_12 |  | 11 | 37 | 0.0041873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-274_0_4_line_13 |  | 12 | 13 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-274_0_4_line_14 |  | 12 | 14 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-274_0_4_line_15 |  | 13 | 15 | 0.010857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-274_0_4_line_16 |  | 14 | 16 | 0.013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-274_0_4_line_17 |  | 15 | 17 | 0.03098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-274_0_4_line_18 |  | 16 | 18 | 0.026483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-274_0_4_line_19 |  | 17 | 19 | 0.030778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-274_0_4_line_20 |  | 18 | 20 | 0.0032139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-274_0_4_line_21 |  | 19 | 40 | 0.030936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-274_0_4_line_22 |  | 20 | 21 | 0.024913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-274_0_4_line_23 |  | 21 | 22 | 0.01841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-274_0_4_line_24 |  | 22 | 23 | 0.0089102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-274_0_4_line_25 |  | 23 | 24 | 0.023281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-274_0_4_line_26 |  | 24 | 34 | 0.016028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-274_0_4_line_27 |  | 25 | 26 | 0.038621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-274_0_4_line_28 |  | 25 | 27 | 0.079596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-274_0_4_line_29 |  | 26 | 28 | 0.032636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-274_0_4_line_30 |  | 27 | 29 | 0.058619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-274_0_4_line_31 |  | 29 | 30 | 0.085602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-274_0_4_line_32 |  | 30 | 31 | 0.039391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-274_0_4_line_33 |  | 31 | 32 | 0.011177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-274_0_4_line_34 |  | 31 | 33 | 0.0089031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-274_0_4_line_35 |  | 32 | 34 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_261-274_0_4_line_36 |  | 32 | 35 | 0.013655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_261-274_0_4_line_37 |  | 33 | 36 | 0.032637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-274_0_4_line_38 |  | 34 | 37 | 0.035482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-274_0_4_line_39 |  | 35 | 38 | 0.050055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_261-274_0_4_line_40 |  | 36 | 39 | 0.00032864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-274_0_4_line_41 |  | 38 | 41 | 0.019595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_261-274_0_4_line_42 |  | 38 | 42 | 0.024745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-274_0_4_line_43 |  | 41 | 43 | 0.033692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_261-274_0_4_line_44 |  | 41 | 44 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-274_0_4_line_45 |  | 42 | 45 | 0.0035215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-274_0_4_line_46 |  | 43 | 46 | 0.043369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_261-274_0_4_line_47 |  | 44 | 47 | 0.0041153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-274_0_4_line_48 |  | 45 | 48 | 0.025841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-274_0_4_line_49 |  | 46 | 54 | 0.015646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-274_0_4_line_50 |  | 47 | 51 | 0.0045101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-274_0_4_line_51 |  | 48 | 50 | 0.0019637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-274_0_4_line_52 |  | 49 | 50 | 0.024607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-274_0_4_line_53 |  | 51 | 52 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-274_0_4_line_54 |  | 52 | 53 | 0.010692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-274_0_4_line_55 |  | 54 | 55 | 0.053486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-274_0_4_line_56 |  | 54 | 56 | 0.029996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-274_0_4_line_57 |  | 55 | 57 | 0.052143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-274_0_4_line_58 |  | 56 | 58 | 0.007865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-274_0_4_line_59 |  | 57 | 59 | 0.056891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-274_0_4_line_60 |  | 58 | 60 | 0.032019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-274_0_4_line_61 |  | 59 | 61 | 0.026473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-274_0_4_line_62 |  | 60 | 70 | 0.035097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-274_0_4_line_63 |  | 61 | 62 | 0.013054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-274_0_4_line_64 |  | 61 | 63 | 0.0020697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-274_0_4_line_65 |  | 63 | 67 | 0.040078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-274_0_4_line_66 |  | 64 | 65 | 0.001436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-274_0_4_line_67 |  | 65 | 68 | 0.014449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-274_0_4_line_68 |  | 65 | 69 | 0.028915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-274_0_4_line_69 |  | 66 | 67 | 0.0030223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-274_0_4_trafo_6 | 0.63 MVA 20/0.4 kV | 71 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2685012.0362 | 1247984.2998 | 2685022.9082 | 1247981.0663 | 2685029.6888 | 1247976.9938 | 2685039.6413 | 1247974.0841
1 | 2685012.0362 | 1247984.2998 | 2684993.0655 | 1247989.9419
2 | 2685039.6413 | 1247974.0841 | 2685050.0485 | 1247971.0415
3 | 2684971.9615 | 1247996.2186 | 2684993.0655 | 1247989.9419
4 | 2685066.625 | 1247966.1953 | 2685050.0485 | 1247971.0415
5 | 2684964.2077 | 1247998.5247 | 2684971.9615 | 1247996.2186
6 | 2685083.0756 | 1247961.3859 | 2685066.625 | 1247966.1953
7 | 2684964.2077 | 1247998.5247 | 2684944.4916 | 1248004.3885
8 | 2685106.7277 | 1247954.4711 | 2685083.0756 | 1247961.3859
9 | 2684944.4916 | 1248004.3885 | 2684930.6017 | 1248008.5196
10 | 2684919.8603 | 1248011.7143 | 2684930.6017 | 1248008.5196
11 | 2684899.8964 | 1248017.6519 | 2684919.8603 | 1248011.7143
12 | 2684899.8964 | 1248017.6519 | 2684895.8828 | 1248018.8456
13 | 2684926.2249 | 1247896.5613 | 2684939.2349 | 1247881.5934 | 2684941.1916 | 1247878.8515
14 | 2684926.2249 | 1247896.5613 | 2684919.25 | 1247904.586
15 | 2684947.4978 | 1247870.0143 | 2684941.1916 | 1247878.8515
16 | 2684910.3718 | 1247914.8003 | 2684919.25 | 1247904.586
17 | 2684947.4978 | 1247870.0143 | 2684975.8069 | 1247882.5977
18 | 2684910.3718 | 1247914.8003 | 2684899.9534 | 1247926.7866 | 2684894.0813 | 1247935.6131
19 | 2684975.8069 | 1247882.5977 | 2685003.9318 | 1247895.0993
20 | 2684892.3011 | 1247938.2889 | 2684894.0813 | 1247935.6131
21 | 2685032.2006 | 1247907.6648 | 2685003.9318 | 1247895.0993
22 | 2684880.6144 | 1247960.2376 | 2684888.3977 | 1247944.1563 | 2684892.3011 | 1247938.2889
23 | 2684880.6144 | 1247960.2376 | 2684879.8516 | 1247961.8137 | 2684875.317 | 1247977.8439
24 | 2684872.8482 | 1247986.4051 | 2684874.0279 | 1247982.4012 | 2684875.317 | 1247977.8439
25 | 2684872.8482 | 1247986.4051 | 2684866.2685 | 1248008.7371
26 | 2684861.7386 | 1248024.1118 | 2684866.2685 | 1248008.7371
27 | 2684826.699 | 1247895.2291 | 2684814.2002 | 1247906.4667 | 2684800.7211 | 1247916.2812 | 2684796.3943 | 1247919.055
28 | 2684721.0778 | 1247931.8877 | 2684726.0201 | 1247932.759 | 2684741.42 | 1247935.4477 | 2684747.0131 | 1247936.2393 | 2684753.489 | 1247936.5543 | 2684761.2718 | 1247935.2757 | 2684768.1456 | 1247933.6505 | 2684777.1887 | 1247929.8103 | 2684789.218 | 1247923.6555 | 2684796.3943 | 1247919.055
29 | 2684826.699 | 1247895.2291 | 2684833.9335 | 1247888.7247 | 2684849.2722 | 1247875.6455 | 2684851.4338 | 1247873.9463
30 | 2684721.0778 | 1247931.8877 | 2684721.1717 | 1247931.1329 | 2684721.5555 | 1247928.0584 | 2684715.749 | 1247927.4083 | 2684714.1017 | 1247932.7442 | 2684714.5733 | 1247939.3781 | 2684718.0884 | 1247946.0444 | 2684725.1721 | 1247958.2658 | 2684734.2992 | 1247970.1939
31 | 2684734.2992 | 1247970.1939 | 2684745.8631 | 1247978.621 | 2684793.3664 | 1247999.5377 | 2684810.0568 | 1248009.4045
32 | 2684843.9657 | 1248029.4503 | 2684810.0568 | 1248009.4045
33 | 2684843.9657 | 1248029.4503 | 2684848.9387 | 1248032.3903 | 2684854.112 | 1248030.841
34 | 2684843.0194 | 1248034.3515 | 2684839.934 | 1248030.9271 | 2684843.9657 | 1248029.4503
35 | 2684861.7386 | 1248024.1118 | 2684860.2942 | 1248026.3483 | 2684858.8892 | 1248027.9405 | 2684856.7986 | 1248029.4117 | 2684854.112 | 1248030.841
36 | 2684854.112 | 1248030.841 | 2684857.3626 | 1248035.9135 | 2684859.3728 | 1248037.9438 | 2684862.1288 | 1248040.107 | 2684863.2148 | 1248040.7641
37 | 2684843.0194 | 1248034.3515 | 2684830.756 | 1248038.4013 | 2684817.4688 | 1248044.8494 | 2684813.4028 | 1248047.6778
38 | 2684861.7386 | 1248024.1118 | 2684865.5401 | 1248025.5228 | 2684867.3831 | 1248026.0496 | 2684868.477 | 1248026.132 | 2684869.9214 | 1248026.0081 | 2684873.6757 | 1248025.4503 | 2684895.8828 | 1248018.8456
39 | 2684903.339 | 1248069.5076 | 2684893.9971 | 1248058.8993 | 2684889.8608 | 1248055.0261 | 2684885.4977 | 1248052.2171 | 2684866.2697 | 1248042.6126 | 2684863.2148 | 1248040.7641
40 | 2684813.4028 | 1248047.6778 | 2684813.133 | 1248047.8655
41 | 2684903.339 | 1248069.5076 | 2684915.1386 | 1248085.1771
42 | 2684903.339 | 1248069.5076 | 2684884.0901 | 1248085.0571
43 | 2684915.1386 | 1248085.1771 | 2684935.3413 | 1248112.1406
44 | 2684915.1386 | 1248085.1771 | 2684927.4187 | 1248076.4994
45 | 2684884.0901 | 1248085.0571 | 2684881.3507 | 1248087.27
46 | 2684960.9719 | 1248147.1241 | 2684941.5071 | 1248120.3697 | 2684935.3413 | 1248112.1406
47 | 2684927.4187 | 1248076.4994 | 2684930.7795 | 1248074.1245
48 | 2684881.3507 | 1248087.27 | 2684861.2491 | 1248103.5081
49 | 2684968.8083 | 1248160.5463 | 2684967.3511 | 1248156.8226 | 2684966.0976 | 1248154.1693 | 2684960.9719 | 1248147.1241
50 | 2684930.7795 | 1248074.1245 | 2684934.4628 | 1248071.5217
51 | 2684859.7216 | 1248104.7421 | 2684861.2491 | 1248103.5081
52 | 2684859.7216 | 1248104.7421 | 2684840.5796 | 1248120.205
53 | 2684944.8732 | 1248064.1651 | 2684944.8732 | 1248064.1651 | 2684934.4628 | 1248071.5217
54 | 2684944.8732 | 1248064.1651 | 2684938.8231 | 1248055.3496
55 | 2684968.8083 | 1248160.5463 | 2684977.1361 | 1248159.1646 | 2685003.8335 | 1248153.9989 | 2685021.3591 | 1248150.6001
56 | 2684968.8083 | 1248160.5463 | 2684939.503 | 1248166.947
57 | 2685072.5226 | 1248140.5407 | 2685029.0316 | 1248149.1121 | 2685021.3591 | 1248150.6001
58 | 2684931.8195 | 1248168.6268 | 2684935.0325 | 1248167.9234 | 2684939.503 | 1248166.947
59 | 2685072.5226 | 1248140.5407 | 2685069.1888 | 1248125.4928 | 2685069.5781 | 1248122.0514 | 2685069.3097 | 1248117.5998 | 2685069.4165 | 1248115.9445 | 2685069.733 | 1248113.892 | 2685069.6978 | 1248112.6572 | 2685067.3329 | 1248100.0917 | 2685064.2224 | 1248084.6028
60 | 2684931.8195 | 1248168.6268 | 2684920.4932 | 1248171.1064 | 2684900.4721 | 1248175.1438
61 | 2685057.0716 | 1248059.3699 | 2685060.1015 | 1248064.5505 | 2685062.6031 | 1248076.5397 | 2685064.2224 | 1248084.6028
62 | 2684866.0681 | 1248182.0815 | 2684900.4721 | 1248175.1438
63 | 2685045.9457 | 1248066.2487 | 2685057.0716 | 1248059.3699
64 | 2685057.0716 | 1248059.3699 | 2685058.887 | 1248058.3757
65 | 2685093.216 | 1248038.0615 | 2685089.5843 | 1248040.0775 | 2685069.9398 | 1248050.559 | 2685065.7577 | 1248054.6131 | 2685058.887 | 1248058.3757
66 | 2685110.5921 | 1247983.0589 | 2685110.7141 | 1247984.4898
67 | 2685110.5921 | 1247983.0589 | 2685117.3745 | 1247982.0222 | 2685124.9814 | 1247981.4198
68 | 2685110.5921 | 1247983.0589 | 2685109.3944 | 1247967.5858 | 2685108.7221 | 1247962.8615 | 2685106.7277 | 1247954.4711
69 | 2685093.216 | 1248038.0615 | 2685095.8599 | 1248036.5973

## bus_geodata
| x | y | coords
0 | 2685012.0362 | 1247984.2998
1 | 2685039.6413 | 1247974.0841
2 | 2684993.0655 | 1247989.9419
3 | 2685050.0485 | 1247971.0415
4 | 2684971.9615 | 1247996.2186
5 | 2685066.625 | 1247966.1953
6 | 2684964.2077 | 1247998.5247
7 | 2685083.0756 | 1247961.3859
8 | 2684944.4916 | 1248004.3885
9 | 2684930.6017 | 1248008.5196
10 | 2684919.8603 | 1248011.7143
11 | 2684899.8964 | 1248017.6519
12 | 2684926.2249 | 1247896.5613
13 | 2684941.1916 | 1247878.8515
14 | 2684919.25 | 1247904.586
15 | 2684947.4978 | 1247870.0143
16 | 2684910.3718 | 1247914.8003
17 | 2684975.8069 | 1247882.5977
18 | 2684894.0813 | 1247935.6131
19 | 2685003.9318 | 1247895.0993
20 | 2684892.3011 | 1247938.2889
21 | 2684880.6144 | 1247960.2376
22 | 2684875.317 | 1247977.8439
23 | 2684872.8482 | 1247986.4051
24 | 2684866.2685 | 1248008.7371
25 | 2684796.3943 | 1247919.055
26 | 2684826.699 | 1247895.2291
27 | 2684721.0778 | 1247931.8877
28 | 2684851.4338 | 1247873.9463
29 | 2684734.2992 | 1247970.1939
30 | 2684810.0568 | 1248009.4045
31 | 2684843.9657 | 1248029.4503
32 | 2684854.112 | 1248030.841
33 | 2684843.0194 | 1248034.3515
34 | 2684861.7386 | 1248024.1118
35 | 2684863.2148 | 1248040.7641
36 | 2684813.4028 | 1248047.6778
37 | 2684895.8828 | 1248018.8456
38 | 2684903.339 | 1248069.5076
39 | 2684813.133 | 1248047.8655
40 | 2685032.2006 | 1247907.6648
41 | 2684915.1386 | 1248085.1771
42 | 2684884.0901 | 1248085.0571
43 | 2684935.3413 | 1248112.1406
44 | 2684927.4187 | 1248076.4994
45 | 2684881.3507 | 1248087.27
46 | 2684960.9719 | 1248147.1241
47 | 2684930.7795 | 1248074.1244
48 | 2684861.2491 | 1248103.5081
49 | 2684840.5796 | 1248120.205
50 | 2684859.7216 | 1248104.7421
51 | 2684934.4628 | 1248071.5217
52 | 2684944.8732 | 1248064.1651
53 | 2684938.8231 | 1248055.3496
54 | 2684968.8083 | 1248160.5463
55 | 2685021.3591 | 1248150.6001
56 | 2684939.503 | 1248166.947
57 | 2685072.5226 | 1248140.5407
58 | 2684931.8195 | 1248168.6268
59 | 2685064.2224 | 1248084.6028
60 | 2684900.4721 | 1248175.1438
61 | 2685057.0716 | 1248059.3699
62 | 2685045.9457 | 1248066.2487
63 | 2685058.887 | 1248058.3757
64 | 2685110.7141 | 1247984.4898
65 | 2685110.5921 | 1247983.0589
66 | 2685095.8599 | 1248036.5973
67 | 2685093.216 | 1248038.0615
68 | 2685124.9814 | 1247981.4198
69 | 2685106.7277 | 1247954.4711
70 | 2684866.0681 | 1248182.0815
71 | 2684861.7386 | 1248024.1118

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99343 | -0.12617 | 0.013414 | 0.0033618
1 | 0.99186 | -0.15639 | 0.016645 | 0.0041715
2 | 0.99472 | -0.10136 | 0.025886 | 0.0064877
3 | 0.99146 | -0.16427 | 0.0055372 | 0.0013878
4 | 0.99667 | -0.063823 | 0.010849 | 0.002719
5 | 0.99089 | -0.17515 | 0.0055519 | 0.0013914
6 | 0.99746 | -0.048532 | 0.027205 | 0.0068181
7 | 0.99042 | -0.18426 | 0.0055724 | 0.0013966
8 | 1 | 0 | -0.5053 | -0.1287
9 | 0.99838 | -0.030551 | 0.011155 | 0.0027956
10 | 0.99717 | -0.053513 | 0.0040995 | 0.0010274
11 | 0.99495 | -0.095839 | 0.01371 | 0.0034361
12 | 0.98416 | -0.30418 | 0.0035154 | 0.00088103
13 | 0.98371 | -0.31286 | 0.0042114 | 0.0010555
14 | 0.98439 | -0.29954 | 0.0045452 | 0.0011391
15 | 0.98355 | -0.3161 | 0 | 0
16 | 0.98475 | -0.29252 | 0.003258 | 0.00081652
17 | 0.98307 | -0.32535 | 0.0053652 | 0.0013446
18 | 0.98554 | -0.27726 | 0.0058882 | 0.0014757
19 | 0.98275 | -0.33157 | 0.0062019 | 0.0015543
20 | 0.98565 | -0.27507 | 0.0057232 | 0.0014344
21 | 0.98665 | -0.25555 | 0.01297 | 0.0032507
22 | 0.98761 | -0.23689 | 0.0057726 | 0.0014467
23 | 0.98813 | -0.22695 | 0.012783 | 0.0032038
24 | 0.98974 | -0.19573 | 0.0036404 | 0.00091236
25 | 0.97737 | -0.43574 | 0.023702 | 0.0059403
26 | 0.97656 | -0.45168 | 0.014505 | 0.0036354
27 | 0.98079 | -0.36871 | 0 | 0
28 | 0.97632 | -0.45652 | 0.0081021 | 0.0020306
29 | 0.98331 | -0.31965 | 0 | 0
30 | 0.987 | -0.24844 | 0.017334 | 0.0043443
31 | 0.98932 | -0.20369 | 0 | 0
32 | 0.9901 | -0.18874 | 0 | 0
33 | 0.98922 | -0.20551 | 0 | 0
34 | 0.9909 | -0.17326 | 0 | 0
35 | 0.98935 | -0.20307 | 0.0045655 | 0.0011442
36 | 0.98888 | -0.2122 | 0.0059546 | 0.0014924
37 | 0.99452 | -0.10403 | 0.0023673 | 0.00059331
38 | 0.98669 | -0.25441 | 0 | 0
39 | 0.98888 | -0.21223 | 0.0055453 | 0.0013898
40 | 0.98261 | -0.33435 | 0.0049929 | 0.0012513
41 | 0.98576 | -0.27253 | 0 | 0
42 | 0.98629 | -0.26218 | 0.0057787 | 0.0014483
43 | 0.98472 | -0.29252 | 0.0050759 | 0.0012721
44 | 0.98499 | -0.28754 | 0.0051393 | 0.001288
45 | 0.98625 | -0.26293 | 0.003 | 0.00075188
46 | 0.98346 | -0.317 | 0.023607 | 0.0059164
47 | 0.98479 | -0.29127 | 0.0094581 | 0.0023704
48 | 0.98605 | -0.26699 | 0.0015929 | 0.00039922
49 | 0.98597 | -0.26838 | 0.0025783 | 0.00064619
50 | 0.98603 | -0.26724 | 0.0045942 | 0.0011514
51 | 0.98462 | -0.2946 | 0.0051262 | 0.0012847
52 | 0.9842 | -0.30283 | 0.025239 | 0.0063254
53 | 0.9841 | -0.30488 | 0.010654 | 0.0026701
54 | 0.98244 | -0.3369 | 0 | 0
55 | 0.97976 | -0.38884 | 0.0033602 | 0.00084215
56 | 0.98197 | -0.34603 | 0.0075118 | 0.0018826
57 | 0.97732 | -0.43656 | 0 | 0
58 | 0.9819 | -0.34735 | 0.0036919 | 0.00092529
59 | 0.97466 | -0.48889 | 0.0079089 | 0.0019821
60 | 0.98173 | -0.35062 | 0.0024141 | 0.00060503
61 | 0.97361 | -0.50948 | 0 | 0
62 | 0.97355 | -0.5107 | 0.0050563 | 0.0012672
63 | 0.97354 | -0.5109 | 0.0186 | 0.0046615
64 | 0.98922 | -0.20763 | 0.0064903 | 0.0016266
65 | 0.98923 | -0.20747 | 0 | 0
66 | 0.97279 | -0.52574 | 0.018702 | 0.0046872
67 | 0.97284 | -0.5247 | 0 | 0
68 | 0.98899 | -0.21207 | 0.017869 | 0.0044783
69 | 0.98987 | -0.19493 | 0 | 0
70 | 0.98163 | -0.35267 | 0.0032255 | 0.0008084
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.057826 | 0.014554 | -0.057743 | -0.014501 | 8.3377e-05 | 5.2978e-05 | 0.086637 | 0.086637 | 0.086637 | 0.99343 | -0.12617 | 0.99186 | -0.15639 | 23.8015
1 | -0.07124 | -0.017915 | 0.071324 | 0.017969 | 8.4544e-05 | 5.3852e-05 | 0.10673 | 0.10673 | 0.10673 | 0.99343 | -0.12617 | 0.99472 | -0.10136 | 29.3212
2 | 0.041098 | 0.010329 | -0.041083 | -0.010319 | 1.5462e-05 | 9.7561e-06 | 0.061667 | 0.061667 | 0.061667 | 0.99186 | -0.15639 | 0.99146 | -0.16427 | 16.9415
3 | -0.097211 | -0.024457 | 0.097386 | 0.024568 | 0.00017468 | 0.00011151 | 0.14545 | 0.14545 | 0.14545 | 0.99472 | -0.10136 | 0.99667 | -0.063823 | 39.9596
4 | 0.035546 | 0.0089316 | -0.035527 | -0.00892 | 1.8438e-05 | 1.1578e-05 | 0.053357 | 0.053357 | 0.053357 | 0.99146 | -0.16427 | 0.99089 | -0.17515 | 14.6584
5 | -0.10823 | -0.027287 | 0.10831 | 0.027338 | 7.9268e-05 | 5.0626e-05 | 0.16165 | 0.16165 | 0.16165 | 0.99667 | -0.063823 | 0.99746 | -0.048532 | 44.4093
6 | 0.029975 | 0.0075286 | -0.029962 | -0.0075204 | 1.3026e-05 | 8.1162e-06 | 0.045019 | 0.04502 | 0.04502 | 0.99089 | -0.17515 | 0.99042 | -0.18426 | 12.368
7 | -0.13552 | -0.034156 | 0.13583 | 0.034358 | 0.00031547 | 0.00020163 | 0.20223 | 0.20223 | 0.20223 | 0.99746 | -0.048532 | 1 | 0 | 55.5587
8 | 0.02439 | 0.0061239 | -0.024378 | -0.0061162 | 1.2411e-05 | 7.626e-06 | 0.036648 | 0.036648 | 0.036648 | 0.99042 | -0.18426 | 0.98987 | -0.19493 | 10.068
9 | 0.36782 | 0.094338 | -0.36727 | -0.093991 | 0.00054414 | 0.00034768 | 0.54808 | 0.54808 | 0.54808 | 1 | 0 | 0.99838 | -0.030551 | 50.1908
10 | 0.35612 | 0.091195 | -0.35572 | -0.090942 | 0.00039566 | 0.00025278 | 0.53146 | 0.53146 | 0.53146 | 0.99838 | -0.030551 | 0.99717 | -0.053513 | 48.6684
11 | 0.35162 | 0.089915 | -0.35091 | -0.089456 | 0.00071853 | 0.00045905 | 0.52534 | 0.52534 | 0.52534 | 0.99717 | -0.053513 | 0.99495 | -0.095839 | 48.1082
12 | 0.3372 | 0.08602 | -0.33706 | -0.085934 | 0.0001334 | 8.5212e-05 | 0.50484 | 0.50484 | 0.50484 | 0.99495 | -0.095839 | 0.99452 | -0.10403 | 46.2305
13 | 0.020794 | 0.0052186 | -0.020785 | -0.0052133 | 8.6011e-06 | 5.21e-06 | 0.031442 | 0.031442 | 0.031442 | 0.98416 | -0.30418 | 0.98371 | -0.31286 | 8.638
14 | -0.024309 | -0.0060996 | 0.024315 | 0.0061029 | 5.387e-06 | 3.3125e-06 | 0.036757 | 0.036757 | 0.036757 | 0.98416 | -0.30418 | 0.98439 | -0.29954 | 10.0982
15 | 0.016574 | 0.0041579 | -0.016571 | -0.0041564 | 2.5592e-06 | 1.5001e-06 | 0.025072 | 0.025072 | 0.025072 | 0.98371 | -0.31286 | 0.98355 | -0.3161 | 6.8879
16 | -0.02886 | -0.007242 | 0.028869 | 0.0072481 | 9.6598e-06 | 6.0102e-06 | 0.043628 | 0.043628 | 0.043628 | 0.98439 | -0.29954 | 0.98475 | -0.29252 | 11.9857
17 | 0.016571 | 0.0041564 | -0.016564 | -0.0041521 | 7.3028e-06 | 4.2808e-06 | 0.025072 | 0.025072 | 0.025072 | 0.98355 | -0.3161 | 0.98307 | -0.32535 | 6.888
18 | -0.032127 | -0.0080646 | 0.032151 | 0.0080792 | 2.3409e-05 | 1.4645e-05 | 0.048551 | 0.048551 | 0.048551 | 0.98475 | -0.29252 | 0.98554 | -0.27726 | 13.3381
19 | 0.011199 | 0.0028074 | -0.011195 | -0.0028057 | 3.3165e-06 | 1.7324e-06 | 0.016951 | 0.016951 | 0.016951 | 0.98307 | -0.32535 | 0.98275 | -0.33157 | 4.657
20 | -0.038039 | -0.009555 | 0.038043 | 0.0095575 | 3.9766e-06 | 2.5041e-06 | 0.057441 | 0.057441 | 0.057441 | 0.98554 | -0.27726 | 0.98565 | -0.27507 | 15.7805
21 | 0.0049936 | 0.0012514 | -0.0049929 | -0.0012513 | 6.632e-07 | 3.2527e-08 | 0.0075609 | 0.007561 | 0.007561 | 0.98275 | -0.33157 | 0.98261 | -0.33435 | 2.0772
22 | -0.043766 | -0.010992 | 0.043807 | 0.011018 | 4.0796e-05 | 2.5791e-05 | 0.066081 | 0.066081 | 0.066081 | 0.98565 | -0.27507 | 0.98665 | -0.25555 | 18.1542
23 | -0.056778 | -0.014268 | 0.056828 | 0.014301 | 5.0637e-05 | 3.2172e-05 | 0.085643 | 0.085642 | 0.085643 | 0.98665 | -0.25555 | 0.98761 | -0.23689 | 23.5282
24 | -0.062601 | -0.015747 | 0.062631 | 0.015766 | 2.9738e-05 | 1.8918e-05 | 0.09434 | 0.09434 | 0.09434 | 0.98761 | -0.23689 | 0.98813 | -0.22695 | 25.9176
25 | -0.075414 | -0.01897 | 0.075526 | 0.019042 | 0.00011265 | 7.1795e-05 | 0.11359 | 0.11359 | 0.11359 | 0.98813 | -0.22695 | 0.98974 | -0.19573 | 31.206
26 | -0.079167 | -0.019954 | 0.079252 | 0.020008 | 8.5205e-05 | 5.4325e-05 | 0.11906 | 0.11906 | 0.11906 | 0.98974 | -0.19573 | 0.9909 | -0.17326 | 32.7096
27 | 0.022626 | 0.0056773 | -0.022609 | -0.0056667 | 1.7189e-05 | 1.0517e-05 | 0.03445 | 0.034451 | 0.034451 | 0.97737 | -0.43574 | 0.97656 | -0.45168 | 9.4644
28 | -0.046329 | -0.011618 | 0.046477 | 0.011712 | 0.0001485 | 9.4042e-05 | 0.070536 | 0.070536 | 0.070536 | 0.97737 | -0.43574 | 0.98079 | -0.36871 | 19.378
29 | 0.008104 | 0.0020314 | -0.0081021 | -0.0020306 | 1.8662e-06 | 7.8614e-07 | 0.012348 | 0.012349 | 0.012349 | 0.97656 | -0.45168 | 0.97632 | -0.45652 | 3.3925
30 | -0.046477 | -0.011712 | 0.046586 | 0.011781 | 0.00010937 | 6.9252e-05 | 0.070536 | 0.070535 | 0.070536 | 0.98079 | -0.36871 | 0.98331 | -0.31965 | 19.3779
31 | -0.046586 | -0.011781 | 0.046746 | 0.011882 | 0.00015971 | 0.00010112 | 0.070535 | 0.070535 | 0.070535 | 0.98331 | -0.31965 | 0.987 | -0.24844 | 19.3778
32 | -0.06408 | -0.016226 | 0.064218 | 0.016314 | 0.00013804 | 8.7839e-05 | 0.096668 | 0.096668 | 0.096668 | 0.987 | -0.24844 | 0.98932 | -0.20369 | 26.5572
33 | -0.075723 | -0.019199 | 0.075777 | 0.019233 | 5.4446e-05 | 3.4702e-05 | 0.11397 | 0.11397 | 0.11397 | 0.98932 | -0.20369 | 0.9901 | -0.18874 | 31.3111
34 | 0.011505 | 0.0028846 | -0.011504 | -0.0028841 | 9.9973e-07 | 5.2552e-07 | 0.017304 | 0.017304 | 0.017304 | 0.98932 | -0.20369 | 0.98922 | -0.20551 | 4.7539
35 | -0.25414 | -0.0645 | 0.25433 | 0.064621 | 0.00018935 | 0.00012078 | 0.38223 | 0.38223 | 0.38223 | 0.9901 | -0.18874 | 0.9909 | -0.17326 | 35.003
36 | 0.17836 | 0.045266 | -0.17824 | -0.045188 | 0.00012283 | 7.8085e-05 | 0.26826 | 0.26826 | 0.26826 | 0.9901 | -0.18874 | 0.98935 | -0.20307 | 24.566
37 | 0.011504 | 0.0028841 | -0.0115 | -0.0028822 | 3.6648e-06 | 1.9267e-06 | 0.017304 | 0.017305 | 0.017305 | 0.98922 | -0.20551 | 0.98888 | -0.2122 | 4.754
38 | -0.33358 | -0.084629 | 0.33469 | 0.085341 | 0.0011146 | 0.00071195 | 0.5013 | 0.5013 | 0.5013 | 0.9909 | -0.17326 | 0.99452 | -0.10403 | 45.9062
39 | 0.17367 | 0.044044 | -0.17325 | -0.043772 | 0.00042752 | 0.00027169 | 0.26139 | 0.2614 | 0.2614 | 0.98935 | -0.20307 | 0.98669 | -0.25441 | 23.9373
40 | 0.0055453 | 0.0013898 | -0.0055453 | -0.0013898 | 8.5806e-09 | 1.2757e-09 | 0.0083443 | 0.0083443 | 0.0083443 | 0.98888 | -0.2122 | 0.98888 | -0.21223 | 2.2924
41 | 0.15569 | 0.039371 | -0.15556 | -0.039285 | 0.00013518 | 8.5764e-05 | 0.23492 | 0.23492 | 0.23492 | 0.98669 | -0.25441 | 0.98576 | -0.27253 | 21.5131
42 | 0.017553 | 0.0044016 | -0.017546 | -0.0043978 | 6.5028e-06 | 3.8459e-06 | 0.026472 | 0.026472 | 0.026472 | 0.98669 | -0.25441 | 0.98629 | -0.26218 | 7.2726
43 | 0.099871 | 0.025302 | -0.099775 | -0.025242 | 9.5843e-05 | 6.0052e-05 | 0.15085 | 0.15085 | 0.15085 | 0.98576 | -0.27253 | 0.98472 | -0.29252 | 13.8145
44 | 0.055686 | 0.013983 | -0.055647 | -0.013958 | 3.9853e-05 | 2.5314e-05 | 0.084069 | 0.084069 | 0.084069 | 0.98576 | -0.27253 | 0.98499 | -0.28754 | 23.096
45 | 0.011768 | 0.0029495 | -0.011767 | -0.0029493 | 4.1625e-07 | 2.2146e-07 | 0.017754 | 0.017754 | 0.017754 | 0.98629 | -0.26218 | 0.98625 | -0.26293 | 4.8775
46 | 0.094699 | 0.02397 | -0.094588 | -0.0239 | 0.00011114 | 6.9478e-05 | 0.14318 | 0.14319 | 0.14319 | 0.98472 | -0.29252 | 0.98346 | -0.317 | 13.1122
47 | 0.050507 | 0.01267 | -0.050498 | -0.012664 | 8.9855e-06 | 5.6983e-06 | 0.076305 | 0.076305 | 0.076305 | 0.98499 | -0.28754 | 0.98479 | -0.29127 | 20.963
48 | 0.0087674 | 0.0021974 | -0.0087657 | -0.0021966 | 1.6956e-06 | 7.5548e-07 | 0.013228 | 0.013228 | 0.013228 | 0.98625 | -0.26293 | 0.98605 | -0.26699 | 3.634
49 | 0.070981 | 0.017984 | -0.070913 | -0.017941 | 6.776e-05 | 4.3168e-05 | 0.10747 | 0.10747 | 0.10747 | 0.98346 | -0.317 | 0.98244 | -0.3369 | 29.5239
50 | 0.04104 | 0.010294 | -0.041034 | -0.01029 | 6.5043e-06 | 4.1054e-06 | 0.062014 | 0.062014 | 0.062014 | 0.98479 | -0.29127 | 0.98462 | -0.2946 | 17.0369
51 | 0.0071727 | 0.0017974 | -0.0071727 | -0.0017974 | 8.6276e-08 | 3.0169e-08 | 0.010824 | 0.010824 | 0.010824 | 0.98605 | -0.26699 | 0.98603 | -0.26724 | 2.9737
52 | -0.0025783 | -0.00064619 | 0.0025785 | 0.00064597 | 1.3972e-07 | -2.2444e-07 | 0.0038912 | 0.0038911 | 0.0038912 | 0.98597 | -0.26838 | 0.98603 | -0.26724 | 1.069
53 | 0.035907 | 0.0090048 | -0.035893 | -0.008996 | 1.4078e-05 | 8.8476e-06 | 0.054267 | 0.054267 | 0.054267 | 0.98462 | -0.2946 | 0.9842 | -0.30283 | 14.9086
54 | 0.010655 | 0.0026706 | -0.010654 | -0.0026701 | 1.0405e-06 | 5.3004e-07 | 0.016109 | 0.016109 | 0.016109 | 0.9842 | -0.30283 | 0.9841 | -0.30488 | 4.4256
55 | 0.054061 | 0.013715 | -0.053926 | -0.013629 | 0.00013467 | 8.5516e-05 | 0.081941 | 0.081942 | 0.081942 | 0.98244 | -0.3369 | 0.97976 | -0.38884 | 22.5114
56 | 0.016852 | 0.0042258 | -0.016845 | -0.0042215 | 7.3292e-06 | 4.3111e-06 | 0.025526 | 0.025526 | 0.025526 | 0.98244 | -0.3369 | 0.98197 | -0.34603 | 7.0126
57 | 0.050566 | 0.012787 | -0.050451 | -0.012714 | 0.00011545 | 7.3231e-05 | 0.076838 | 0.076839 | 0.076839 | 0.97976 | -0.38884 | 0.97732 | -0.43656 | 21.1095
58 | 0.0093334 | 0.0023389 | -0.0093328 | -0.0023386 | 5.8996e-07 | 2.7808e-07 | 0.014143 | 0.014143 | 0.014143 | 0.98197 | -0.34603 | 0.9819 | -0.34735 | 3.8855
59 | 0.050451 | 0.012714 | -0.050325 | -0.012634 | 0.00012596 | 7.9903e-05 | 0.076839 | 0.076839 | 0.076839 | 0.97732 | -0.43656 | 0.97466 | -0.48889 | 21.1096
60 | 0.0056408 | 0.0014133 | -0.00564 | -0.0014132 | 8.7739e-07 | 1.5661e-07 | 0.0085482 | 0.0085484 | 0.0085484 | 0.9819 | -0.34735 | 0.98173 | -0.35062 | 2.3485
61 | 0.042416 | 0.010652 | -0.042374 | -0.010625 | 4.164e-05 | 2.632e-05 | 0.064764 | 0.064764 | 0.064764 | 0.97466 | -0.48889 | 0.97361 | -0.50948 | 17.7924
62 | 0.0032259 | 0.00080815 | -0.0032255 | -0.0008084 | 3.1463e-07 | -2.4236e-07 | 0.0048893 | 0.0048895 | 0.0048895 | 0.98173 | -0.35062 | 0.98163 | -0.35267 | 1.3433
63 | 0.0050566 | 0.0012673 | -0.0050563 | -0.0012672 | 2.9237e-07 | 2.4788e-08 | 0.0077282 | 0.0077283 | 0.0077283 | 0.97361 | -0.50948 | 0.97355 | -0.5107 | 2.1231
64 | 0.037318 | 0.0093582 | -0.037315 | -0.0093567 | 2.5249e-06 | 1.5902e-06 | 0.057036 | 0.057036 | 0.057036 | 0.97361 | -0.50948 | 0.97354 | -0.5109 | 15.6693
65 | 0.018715 | 0.0046951 | -0.018703 | -0.0046878 | 1.23e-05 | 7.3738e-06 | 0.028607 | 0.028607 | 0.028607 | 0.97354 | -0.5109 | 0.97284 | -0.5247 | 7.8592
66 | -0.0064903 | -0.0016266 | 0.0064904 | 0.0016266 | 5.1328e-08 | 1.4414e-08 | 0.009763 | 0.0097629 | 0.009763 | 0.98922 | -0.20763 | 0.98923 | -0.20747 | 2.6821
67 | 0.017873 | 0.0044806 | -0.017869 | -0.0044783 | 3.9164e-06 | 2.321e-06 | 0.026885 | 0.026885 | 0.026885 | 0.98923 | -0.20747 | 0.98899 | -0.21207 | 7.386
68 | -0.024363 | -0.0061073 | 0.024378 | 0.0061162 | 1.4563e-05 | 8.9489e-06 | 0.036648 | 0.036648 | 0.036648 | 0.98923 | -0.20747 | 0.98987 | -0.19493 | 10.0681
69 | -0.018702 | -0.0046872 | 0.018703 | 0.0046878 | 9.2753e-07 | 5.5609e-07 | 0.028607 | 0.028607 | 0.028607 | 0.97279 | -0.52574 | 0.97284 | -0.5247 | 7.8592

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5095 | 0.12975

## res_load
| p_mw | q_mvar
0 | 0.013414 | 0.0033618
1 | 0.016645 | 0.0041715
2 | 0.025886 | 0.0064877
3 | 0.0055372 | 0.0013878
4 | 0.010849 | 0.002719
5 | 0.0055519 | 0.0013914
6 | 0.027205 | 0.0068181
7 | 0.0055724 | 0.0013966
8 | 0.0041961 | 0.0010516
9 | 0.011155 | 0.0027956
10 | 0.0040995 | 0.0010274
11 | 0.01371 | 0.0034361
12 | 0.0035154 | 0.00088103
13 | 0.0042114 | 0.0010555
14 | 0.0045452 | 0.0011391
15 | 0.003258 | 0.00081652
16 | 0.0053652 | 0.0013446
17 | 0.0058882 | 0.0014757
18 | 0.0062019 | 0.0015543
19 | 0.0057232 | 0.0014344
20 | 0.01297 | 0.0032507
21 | 0.0057726 | 0.0014467
22 | 0.012783 | 0.0032038
23 | 0.0036404 | 0.00091236
24 | 0.023702 | 0.0059403
25 | 0.014505 | 0.0036354
26 | 0.0081021 | 0.0020306
27 | 0.017334 | 0.0043443
28 | 0.0045655 | 0.0011442
29 | 0.0059546 | 0.0014924
30 | 0.0023673 | 0.00059331
31 | 0.0055453 | 0.0013898
32 | 0.0049929 | 0.0012513
33 | 0.0057787 | 0.0014483
34 | 0.0050759 | 0.0012721
35 | 0.0051393 | 0.001288
36 | 0.003 | 0.00075188
37 | 0.023607 | 0.0059164
38 | 0.0094581 | 0.0023704
39 | 0.0015929 | 0.00039922
40 | 0.0025783 | 0.00064619
41 | 0.0045942 | 0.0011514
42 | 0.0051262 | 0.0012847
43 | 0.025239 | 0.0063254
44 | 0.010654 | 0.0026701
45 | 0.0033602 | 0.00084215
46 | 0.0075118 | 0.0018826
47 | 0.0036919 | 0.00092529
48 | 0.0079089 | 0.0019821
49 | 0.0024141 | 0.00060503
50 | 0.0050563 | 0.0012672
51 | 0.0186 | 0.0046615
52 | 0.0064903 | 0.0016266
53 | 0.018702 | 0.0046872
54 | 0.017869 | 0.0044783
55 | 0.0032255 | 0.0008084

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1