## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-278_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-278_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-278_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-278_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-278_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-278_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-278_0_6_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_261-278_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_261-278_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_261-278_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_261-278_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_261-278_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_261-278_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_261-278_0_6_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_261-278_0_6_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_261-278_0_6_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_261-278_0_6_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_261-278_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_261-278_0_6_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_261-278_0_6_node_86 | 0.4 | n |  | TRUE
20 | bus_LV_261-278_0_6_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_261-278_0_6_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_261-278_0_6_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_261-278_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-278_0_6_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_261-278_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_261-278_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_261-278_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_261-278_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_261-278_0_6_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_261-278_0_6_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_261-278_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_261-278_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_261-278_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_261-278_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_261-278_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_261-278_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_261-278_0_6_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_261-278_0_6_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_261-278_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_261-278_0_6_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_261-278_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_261-278_0_6_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_261-278_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_261-278_0_6_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_261-278_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_261-278_0_6_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_261-278_0_6_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_261-278_0_6_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_261-278_0_6_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_261-278_0_6_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_261-278_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_261-278_0_6_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_261-278_0_6_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_261-278_0_6_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_261-278_0_6_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_261-278_0_6_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_261-278_0_6_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_261-278_0_6_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_261-278_0_6_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_261-278_0_6_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_261-278_0_6_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_261-278_0_6_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_261-278_0_6_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_261-278_0_6_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_261-278_0_6_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_261-278_0_6_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_261-278_0_6_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_261-278_0_6_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_261-278_0_6_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_261-278_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_261-278_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_261-278_0_6_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_261-278_0_6_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_261-278_0_6_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_261-278_0_6_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_261-278_0_6_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_261-278_0_6_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_261-278_0_6_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_261-278_0_6_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_261-278_0_6_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_261-278_0_6_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_261-278_0_6_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_261-278_0_6_node_79 | 0.4 | n |  | TRUE
84 | bus_MV_534_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-278_0_6_load_0 | 0 | 0.0049935 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-278_0_6_load_4 | 3 | 0.012269 | 0.0030748 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-278_0_6_load_6 | 5 | 0.004061 | 0.0010178 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-278_0_6_load_8 | 8 | 0.0059095 | 0.0014811 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-278_0_6_load_11 | 11 | 0.002084 | 0.0005223 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-278_0_6_load_12 | 12 | 0.0070619 | 0.0017699 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-278_0_6_load_71 | 14 | 0.003892 | 0.00097544 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-278_0_6_load_72 | 15 | 0.012081 | 0.0030278 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-278_0_6_load_54 | 16 | 0.0051028 | 0.0012789 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-278_0_6_load_16 | 17 | 0.0058467 | 0.0014653 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-278_0_6_load_86 | 19 | 0.012788 | 0.0032048 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-278_0_6_load_73 | 20 | 0.0043267 | 0.0010844 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-278_0_6_load_50 | 21 | 0.0037425 | 0.00093795 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-278_0_6_load_14 | 23 | 0.0059114 | 0.0014815 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-278_0_6_load_46 | 24 | 0.0032874 | 0.0008239 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-278_0_6_load_13 | 25 | 0.0057744 | 0.0014472 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-278_0_6_load_15 | 26 | 0.0057248 | 0.0014348 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-278_0_6_load_17 | 27 | 0.0054651 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-278_0_6_load_18 | 28 | 0.00769 | 0.0019273 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-278_0_6_load_64 | 30 | 0.0070389 | 0.0017641 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-278_0_6_load_19 | 31 | 0.047724 | 0.011961 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-278_0_6_load_20 | 32 | 0.0087984 | 0.0022051 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-278_0_6_load_22 | 34 | 0.029412 | 0.0073715 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-278_0_6_load_24 | 36 | 0.036432 | 0.0091307 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-278_0_6_load_32 | 37 | 0.0073814 | 0.0018499 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-278_0_6_load_33 | 38 | 0.0074398 | 0.0018646 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-278_0_6_load_35 | 39 | 0.0062026 | 0.0015545 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-278_0_6_load_51 | 40 | 0.017928 | 0.0044932 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-278_0_6_load_76 | 42 | 0.017737 | 0.0044452 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-278_0_6_load_67 | 46 | 0.0052794 | 0.0013231 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-278_0_6_load_77 | 48 | 0.012922 | 0.0032385 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-278_0_6_load_81 | 49 | 0.0070657 | 0.0017708 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-278_0_6_load_63 | 50 | 0.0081586 | 0.0020447 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-278_0_6_load_36 | 52 | 0.0054839 | 0.0013744 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-278_0_6_load_70 | 54 | 0.019202 | 0.0048124 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-278_0_6_load_69 | 55 | 0.0053821 | 0.0013489 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-278_0_6_load_52 | 56 | 0.0073371 | 0.0018388 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-278_0_6_load_78 | 57 | 0.0063879 | 0.001601 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-278_0_6_load_80 | 58 | 0.0034182 | 0.00085667 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-278_0_6_load_61 | 59 | 0.0083801 | 0.0021003 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-278_0_6_load_43 | 60 | 0.013447 | 0.0033701 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-278_0_6_load_39 | 61 | 0.0096766 | 0.0024252 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-278_0_6_load_37 | 62 | 0.0057771 | 0.0014479 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-278_0_6_load_74 | 63 | 0.0071265 | 0.0017861 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-278_0_6_load_38 | 65 | 0.0058242 | 0.0014597 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-278_0_6_load_40 | 66 | 0.0028621 | 0.00071731 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-278_0_6_load_42 | 67 | 0.0078252 | 0.0019612 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-278_0_6_load_44 | 68 | 0.0074697 | 0.0018721 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-278_0_6_load_62 | 69 | 0.013812 | 0.0034615 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-278_0_6_load_60 | 71 | 0.01288 | 0.0032281 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-278_0_6_load_53 | 72 | 0.011337 | 0.0028414 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-278_0_6_load_75 | 73 | 0.0085075 | 0.0021322 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-278_0_6_load_85 | 74 | 0.0084391 | 0.002115 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-278_0_6_load_84 | 75 | 0.007448 | 0.0018666 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-278_0_6_load_65 | 76 | 0.0052488 | 0.0013155 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-278_0_6_load_82 | 77 | 0.0098562 | 0.0024702 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-278_0_6_load_68 | 78 | 0.008109 | 0.0020323 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-278_0_6_load_58 | 79 | 0.022452 | 0.005627 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-278_0_6_load_59 | 80 | 0.008804 | 0.0022065 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-278_0_6_load_66 | 81 | 0.0075373 | 0.001889 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-278_0_6_load_83 | 82 | 0.0046089 | 0.0011551 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-278_0_6_load_79 | 83 | 0.0083469 | 0.0020919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-278_0_6_line_0 |  | 0 | 1 | 0.010233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_261-278_0_6_line_1 |  | 0 | 2 | 0.019309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_261-278_0_6_line_2 |  | 1 | 3 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-278_0_6_line_3 |  | 2 | 4 | 0.006497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_261-278_0_6_line_4 |  | 2 | 5 | 0.0098135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-278_0_6_line_5 |  | 3 | 9 | 0.013943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-278_0_6_line_6 |  | 4 | 10 | 0.026965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-278_0_6_line_7 |  | 4 | 11 | 0.012007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-278_0_6_line_8 |  | 5 | 12 | 0.000507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-278_0_6_line_9 |  | 6 | 7 | 0.004147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-278_0_6_line_10 |  | 6 | 8 | 0.0093449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-278_0_6_line_11 |  | 7 | 13 | 0.009738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-278_0_6_line_12 |  | 7 | 14 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-278_0_6_line_13 |  | 9 | 15 | 0.016045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-278_0_6_line_14 |  | 9 | 16 | 0.0019651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-278_0_6_line_15 |  | 10 | 17 | 0.014098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-278_0_6_line_16 |  | 11 | 18 | 0.0070483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-278_0_6_line_17 |  | 12 | 19 | 0.011285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-278_0_6_line_18 |  | 13 | 20 | 0.011028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-278_0_6_line_19 |  | 14 | 21 | 0.0096789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-278_0_6_line_20 |  | 16 | 22 | 0.016763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-278_0_6_line_21 |  | 17 | 23 | 0.0052186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-278_0_6_line_22 |  | 18 | 24 | 0.0081486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-278_0_6_line_23 |  | 21 | 24 | 0.0062696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-278_0_6_line_24 |  | 22 | 40 | 0.013899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-278_0_6_line_25 |  | 23 | 25 | 0.0075763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-278_0_6_line_26 |  | 25 | 26 | 0.0032403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-278_0_6_line_27 |  | 26 | 27 | 0.0097845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-278_0_6_line_28 |  | 27 | 28 | 0.0040895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-278_0_6_line_29 |  | 28 | 29 | 0.017505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-278_0_6_line_30 |  | 29 | 30 | 0.014648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-278_0_6_line_31 |  | 30 | 76 | 0.0021918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-278_0_6_line_32 |  | 31 | 32 | 0.00093017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-278_0_6_line_33 |  | 31 | 33 | 0.01512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-278_0_6_line_34 |  | 32 | 34 | 0.02544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-278_0_6_line_35 |  | 33 | 35 | 0.006637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-278_0_6_line_36 |  | 33 | 36 | 0.018237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-278_0_6_line_37 |  | 34 | 37 | 0.005333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_261-278_0_6_line_38 |  | 35 | 38 | 0.042058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-278_0_6_line_39 |  | 36 | 39 | 0.010369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-278_0_6_line_40 |  | 37 | 51 | 0.013973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-278_0_6_line_41 |  | 39 | 52 | 0.010064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-278_0_6_line_42 |  | 40 | 56 | 0.020818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-278_0_6_line_43 |  | 41 | 42 | 0.011539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-278_0_6_line_44 |  | 41 | 43 | 0.006615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-278_0_6_line_45 |  | 43 | 50 | 0.020149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-278_0_6_line_46 |  | 43 | 47 | 0.009717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-278_0_6_line_47 |  | 44 | 45 | 0.023879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-278_0_6_line_48 |  | 44 | 46 | 0.045663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-278_0_6_line_49 |  | 45 | 49 | 0.011836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-278_0_6_line_50 |  | 47 | 48 | 0.0071647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-278_0_6_line_51 |  | 48 | 57 | 0.011857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-278_0_6_line_52 |  | 49 | 58 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-278_0_6_line_53 |  | 50 | 59 | 0.010731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-278_0_6_line_54 |  | 51 | 60 | 0.0086854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_261-278_0_6_line_55 |  | 51 | 61 | 0.014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-278_0_6_line_56 |  | 52 | 62 | 0.00015148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-278_0_6_line_57 |  | 53 | 54 | 0.02633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-278_0_6_line_58 |  | 53 | 55 | 0.039976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-278_0_6_line_59 |  | 54 | 77 | 0.0024916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-278_0_6_line_60 |  | 55 | 78 | 0.0038659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-278_0_6_line_61 |  | 56 | 72 | 0.024525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_261-278_0_6_line_62 |  | 57 | 83 | 0.0099552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-278_0_6_line_63 |  | 58 | 83 | 0.011201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-278_0_6_line_64 |  | 59 | 80 | 0.011122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-278_0_6_line_65 |  | 60 | 69 | 0.021447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-278_0_6_line_66 |  | 61 | 65 | 0.020877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_261-278_0_6_line_67 |  | 62 | 63 | 0.024323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-278_0_6_line_68 |  | 63 | 64 | 0.015375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-278_0_6_line_69 |  | 64 | 73 | 0.013941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-278_0_6_line_70 |  | 65 | 66 | 0.0011135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_261-278_0_6_line_71 |  | 66 | 67 | 0.0032871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_261-278_0_6_line_72 |  | 67 | 68 | 0.013667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_261-278_0_6_line_73 |  | 68 | 70 | 0.021205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_261-278_0_6_line_74 |  | 69 | 71 | 0.0085087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-278_0_6_line_75 |  | 70 | 72 | 0.012401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_261-278_0_6_line_76 |  | 71 | 79 | 0.017203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-278_0_6_line_77 |  | 74 | 75 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-278_0_6_line_78 |  | 75 | 82 | 0.0028046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-278_0_6_line_79 |  | 76 | 81 | 0.012621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-278_0_6_line_80 |  | 77 | 82 | 0.012354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-278_0_6_line_81 |  | 78 | 81 | 0.0090569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-278_0_6_line_82 |  | 79 | 80 | 0.00080502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-278_0_6_trafo_52 | 0.63 MVA 20/0.4 kV | 84 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2684459.7943 | 1247231.9541 | 2684467.6159 | 1247238.5517
1 | 2684481.6595 | 1247251.7913 | 2684471.0577 | 1247241.4549 | 2684467.6159 | 1247238.5517
2 | 2684459.7943 | 1247231.9541 | 2684448.4961 | 1247223.8812
3 | 2684481.6595 | 1247251.7913 | 2684485.9025 | 1247256.722
4 | 2684481.6595 | 1247251.7913 | 2684485.5047 | 1247248.0655 | 2684488.8205 | 1247245.0836
5 | 2684437.1516 | 1247215.7753 | 2684448.4961 | 1247223.8812
6 | 2684485.9025 | 1247256.722 | 2684496.571 | 1247269.7948 | 2684503.2076 | 1247277.4394
7 | 2684485.9025 | 1247256.722 | 2684478.2926 | 1247266.0091
8 | 2684489.1975 | 1247244.7446 | 2684488.8205 | 1247245.0836
9 | 2684446.6925 | 1247248.6243 | 2684444.1305 | 1247251.8902
10 | 2684446.6925 | 1247248.6243 | 2684439.2992 | 1247242.9088
11 | 2684444.1305 | 1247251.8902 | 2684438.1066 | 1247259.5546
12 | 2684444.1305 | 1247251.8902 | 2684453.372 | 1247258.9086
13 | 2684437.1516 | 1247215.7753 | 2684428.1395 | 1247229.0507
14 | 2684437.1516 | 1247215.7753 | 2684435.5814 | 1247214.5938
15 | 2684503.2076 | 1247277.4394 | 2684511.3264 | 1247269.0712 | 2684512.8434 | 1247267.1621
16 | 2684473.8253 | 1247271.4609 | 2684478.2926 | 1247266.0091
17 | 2684497.5351 | 1247237.14 | 2684492.9287 | 1247241.2774 | 2684489.6674 | 1247244.3221 | 2684489.1975 | 1247244.7446
18 | 2684438.1066 | 1247259.5546 | 2684429.5476 | 1247252.6003
19 | 2684453.372 | 1247258.9086 | 2684457.7388 | 1247262.225 | 2684461.5254 | 1247264.0315
20 | 2684426.8868 | 1247200.8626 | 2684431.2623 | 1247211.3437 | 2684435.5814 | 1247214.5938
21 | 2684516.0899 | 1247263.0763 | 2684512.8434 | 1247267.1621
22 | 2684473.8253 | 1247271.4609 | 2684467.1569 | 1247266.7777
23 | 2684461.5254 | 1247264.0315 | 2684466.8923 | 1247266.5919 | 2684467.1569 | 1247266.7777
24 | 2684426.8868 | 1247200.8626 | 2684414.6537 | 1247207.46 | 2684414.6537 | 1247207.46
25 | 2684520.8032 | 1247257.1445 | 2684516.0899 | 1247263.0763
26 | 2684520.8032 | 1247257.1445 | 2684522.8191 | 1247254.6076
27 | 2684522.8191 | 1247254.6076 | 2684528.9061 | 1247246.947
28 | 2684531.4502 | 1247243.7452 | 2684528.9061 | 1247246.947
29 | 2684542.3403 | 1247230.0399 | 2684531.4502 | 1247243.7452
30 | 2684542.3403 | 1247230.0399 | 2684556.0711 | 1247235.1416
31 | 2684558.1256 | 1247235.905 | 2684556.0711 | 1247235.1416
32 | 2684294.8571 | 1247254.8322 | 2684294.3603 | 1247255.6186
33 | 2684286.2843 | 1247268.4015 | 2684294.3603 | 1247255.6186
34 | 2684294.8571 | 1247254.8322 | 2684308.4452 | 1247233.3245
35 | 2684286.2843 | 1247268.4015 | 2684282.7447 | 1247274.022
36 | 2684286.2843 | 1247268.4015 | 2684302.374 | 1247276.9869
37 | 2684311.2936 | 1247228.816 | 2684308.4452 | 1247233.3245
38 | 2684282.7447 | 1247274.022 | 2684260.5879 | 1247309.1887 | 2684260.324 | 1247309.6055
39 | 2684302.374 | 1247276.9869 | 2684311.5221 | 1247281.8682
40 | 2684318.7568 | 1247217.0029 | 2684311.2936 | 1247228.816
41 | 2684311.5221 | 1247281.8682 | 2684320.4007 | 1247286.6058
42 | 2684403.0537 | 1247224.7466 | 2684412.2536 | 1247211.0285 | 2684414.6537 | 1247207.46
43 | 2684367.1815 | 1247128.6263 | 2684357.0416 | 1247123.1191
44 | 2684370.0165 | 1247132.7141 | 2684367.3021 | 1247131.2967 | 2684366.1924 | 1247130.7138 | 2684367.1815 | 1247128.6263
45 | 2684370.0165 | 1247132.7141 | 2684359.5472 | 1247149.9294
46 | 2684370.0165 | 1247132.7141 | 2684373.2628 | 1247134.4393 | 2684373.8326 | 1247134.7477 | 2684375.2855 | 1247134.0345 | 2684376.8741 | 1247133.8792 | 2684378.0735 | 1247133.9963 | 2684379.0208 | 1247134.3101
47 | 2684433.5917 | 1247172.9708 | 2684433.7615 | 1247172.7175 | 2684435.7232 | 1247169.6987 | 2684437.5182 | 1247170.9585 | 2684445.6192 | 1247176.5669 | 2684452.2733 | 1247180.8759
48 | 2684452.2733 | 1247180.8759 | 2684489.5369 | 1247204.7243 | 2684490.7903 | 1247205.3951
49 | 2684433.5917 | 1247172.9708 | 2684433.3908 | 1247172.7567 | 2684432.2599 | 1247171.5397 | 2684424.1907 | 1247165.8363
50 | 2684379.0208 | 1247134.3101 | 2684384.6879 | 1247137.9156 | 2684385.0536 | 1247138.1741
51 | 2684385.0536 | 1247138.1741 | 2684394.7364 | 1247145.0179
52 | 2684424.1907 | 1247165.8363 | 2684412.0132 | 1247157.2292
53 | 2684359.5472 | 1247149.9294 | 2684353.9711 | 1247159.0984
54 | 2684318.7568 | 1247217.0029 | 2684323.2698 | 1247209.582
55 | 2684318.7568 | 1247217.0029 | 2684330.9718 | 1247224.3654
56 | 2684320.4007 | 1247286.6058 | 2684320.5344 | 1247286.6771
57 | 2684619.8559 | 1247257.7325 | 2684612.8326 | 1247267.1281 | 2684601.8277 | 1247276.7219
58 | 2684619.8559 | 1247257.7325 | 2684609.9366 | 1247255.1558 | 2684582.0702 | 1247244.8018
59 | 2684599.9496 | 1247278.3592 | 2684601.8277 | 1247276.7219
60 | 2684578.4463 | 1247243.4553 | 2684582.0702 | 1247244.8018
61 | 2684389.3935 | 1247245.1157 | 2684403.0537 | 1247224.7466
62 | 2684402.866 | 1247150.7639 | 2684394.7364 | 1247145.0179
63 | 2684402.866 | 1247150.7639 | 2684412.0132 | 1247157.2292
64 | 2684348.1921 | 1247168.601 | 2684353.9711 | 1247159.0984
65 | 2684334.4137 | 1247191.2575 | 2684323.2698 | 1247209.582
66 | 2684330.9718 | 1247224.3654 | 2684348.8516 | 1247235.1424
67 | 2684341.9932 | 1247298.1275 | 2684320.5344 | 1247286.6771
68 | 2684355.5556 | 1247305.3692 | 2684348.1788 | 1247301.428 | 2684341.9932 | 1247298.1275
69 | 2684355.5556 | 1247305.3692 | 2684358.4349 | 1247297.8491 | 2684361.3386 | 1247292.726
70 | 2684349.8053 | 1247235.7172 | 2684348.8516 | 1247235.1424
71 | 2684352.6206 | 1247237.4141 | 2684349.8053 | 1247235.7172
72 | 2684352.6206 | 1247237.4141 | 2684364.3254 | 1247244.4691
73 | 2684382.4861 | 1247255.4154 | 2684364.3254 | 1247244.4691
74 | 2684338.8349 | 1247183.9876 | 2684334.4137 | 1247191.2575
75 | 2684382.4861 | 1247255.4154 | 2684389.3935 | 1247245.1157
76 | 2684338.8349 | 1247183.9876 | 2684347.7739 | 1247169.2888
77 | 2684576.0861 | 1247299.1627 | 2684588.5234 | 1247288.3202
78 | 2684588.5234 | 1247288.3202 | 2684590.6374 | 1247286.4773
79 | 2684569.9565 | 1247240.3009 | 2684558.1256 | 1247235.905
80 | 2684599.9496 | 1247278.3592 | 2684590.6374 | 1247286.4773
81 | 2684578.4463 | 1247243.4553 | 2684569.9565 | 1247240.3009
82 | 2684348.1921 | 1247168.601 | 2684347.7739 | 1247169.2888

## bus_geodata
| x | y | coords
0 | 2684467.6159 | 1247238.5517
1 | 2684459.7943 | 1247231.9541
2 | 2684481.6595 | 1247251.7913
3 | 2684448.4961 | 1247223.8812
4 | 2684485.9025 | 1247256.722
5 | 2684488.8205 | 1247245.0836
6 | 2684446.6925 | 1247248.6243
7 | 2684444.1305 | 1247251.8902
8 | 2684439.2992 | 1247242.9088
9 | 2684437.1516 | 1247215.7753
10 | 2684503.2076 | 1247277.4394
11 | 2684478.2926 | 1247266.0091
12 | 2684489.1975 | 1247244.7446
13 | 2684438.1066 | 1247259.5546
14 | 2684453.372 | 1247258.9086
15 | 2684428.1395 | 1247229.0507
16 | 2684435.5814 | 1247214.5938
17 | 2684512.8434 | 1247267.1621
18 | 2684473.8253 | 1247271.4609
19 | 2684497.5351 | 1247237.14
20 | 2684429.5476 | 1247252.6003
21 | 2684461.5254 | 1247264.0315
22 | 2684426.8868 | 1247200.8626
23 | 2684516.0899 | 1247263.0763
24 | 2684467.1569 | 1247266.7777
25 | 2684520.8032 | 1247257.1445
26 | 2684522.8191 | 1247254.6076
27 | 2684528.9061 | 1247246.947
28 | 2684531.4502 | 1247243.7452
29 | 2684542.3403 | 1247230.0399
30 | 2684556.0711 | 1247235.1416
31 | 2684294.3603 | 1247255.6186
32 | 2684294.8571 | 1247254.8322
33 | 2684286.2843 | 1247268.4015
34 | 2684308.4452 | 1247233.3245
35 | 2684282.7447 | 1247274.022
36 | 2684302.374 | 1247276.9869
37 | 2684311.2936 | 1247228.816
38 | 2684260.324 | 1247309.6055
39 | 2684311.5221 | 1247281.8682
40 | 2684414.6537 | 1247207.46
41 | 2684367.1815 | 1247128.6263
42 | 2684357.0416 | 1247123.1191
43 | 2684370.0165 | 1247132.7141
44 | 2684452.2733 | 1247180.8759
45 | 2684433.5917 | 1247172.9708
46 | 2684490.7903 | 1247205.3951
47 | 2684379.0208 | 1247134.3101
48 | 2684385.0536 | 1247138.1741
49 | 2684424.1907 | 1247165.8363
50 | 2684359.5472 | 1247149.9294
51 | 2684318.7568 | 1247217.0029
52 | 2684320.4007 | 1247286.6058
53 | 2684619.8559 | 1247257.7325
54 | 2684601.8277 | 1247276.7219
55 | 2684582.0702 | 1247244.8018
56 | 2684403.0537 | 1247224.7466
57 | 2684394.7364 | 1247145.0179
58 | 2684412.0132 | 1247157.2292
59 | 2684353.9711 | 1247159.0984
60 | 2684323.2698 | 1247209.582
61 | 2684330.9718 | 1247224.3654
62 | 2684320.5344 | 1247286.6771
63 | 2684341.9932 | 1247298.1275
64 | 2684355.5556 | 1247305.3692
65 | 2684348.8516 | 1247235.1424
66 | 2684349.8053 | 1247235.7172
67 | 2684352.6206 | 1247237.4141
68 | 2684364.3254 | 1247244.4691
69 | 2684334.4137 | 1247191.2575
70 | 2684382.4861 | 1247255.4154
71 | 2684338.8349 | 1247183.9876
72 | 2684389.3935 | 1247245.1157
73 | 2684361.3386 | 1247292.726
74 | 2684576.0861 | 1247299.1627
75 | 2684588.5234 | 1247288.3202
76 | 2684558.1256 | 1247235.905
77 | 2684599.9496 | 1247278.3592
78 | 2684578.4463 | 1247243.4553
79 | 2684347.7739 | 1247169.2888
80 | 2684348.1921 | 1247168.601
81 | 2684569.9565 | 1247240.3009
82 | 2684590.6374 | 1247286.4773
83 | 2684402.866 | 1247150.7639
84 | 2684426.8868 | 1247200.8626

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99454 | -0.10396 | 0.0049935 | 0.0012515
1 | 0.99508 | -0.093664 | 0 | 0
2 | 0.99356 | -0.12286 | 0 | 0
3 | 0.99581 | -0.079706 | 0.012269 | 0.0030748
4 | 0.99313 | -0.13104 | 0 | 0
5 | 0.99334 | -0.127 | 0.004061 | 0.0010178
6 | 0.99222 | -0.1486 | 0 | 0
7 | 0.99225 | -0.14816 | 0 | 0
8 | 0.99217 | -0.14958 | 0.0059095 | 0.0014811
9 | 0.9966 | -0.064711 | 0 | 0
10 | 0.99016 | -0.18805 | 0 | 0
11 | 0.99288 | -0.13597 | 0.002084 | 0.0005223
12 | 0.99333 | -0.12718 | 0.0070619 | 0.0017699
13 | 0.99221 | -0.14891 | 0 | 0
14 | 0.99235 | -0.14606 | 0.003892 | 0.00097544
15 | 0.99642 | -0.068113 | 0.012081 | 0.0030278
16 | 0.99672 | -0.062461 | 0.0051028 | 0.0012789
17 | 0.9886 | -0.218 | 0.0058467 | 0.0014653
18 | 0.99274 | -0.13861 | 0 | 0
19 | 0.9932 | -0.12973 | 0.012788 | 0.0032048
20 | 0.99216 | -0.14976 | 0.0043267 | 0.0010844
21 | 0.99248 | -0.14364 | 0.0037425 | 0.00093795
22 | 0.99775 | -0.042786 | 0 | 0
23 | 0.98806 | -0.22856 | 0.0059114 | 0.0014815
24 | 0.99258 | -0.14166 | 0.0032874 | 0.0008239
25 | 0.9873 | -0.24312 | 0.0057744 | 0.0014472
26 | 0.987 | -0.24901 | 0.0057248 | 0.0014348
27 | 0.98613 | -0.26584 | 0.0054651 | 0.0013697
28 | 0.98579 | -0.27248 | 0.00769 | 0.0019273
29 | 0.98445 | -0.29853 | 0 | 0
30 | 0.98332 | -0.32039 | 0.0070389 | 0.0017641
31 | 0.9838 | -0.31094 | 0.047724 | 0.011961
32 | 0.98391 | -0.30885 | 0.0087984 | 0.0022051
33 | 0.98272 | -0.33192 | 0 | 0
34 | 0.98704 | -0.2479 | 0.029412 | 0.0073715
35 | 0.98268 | -0.33281 | 0 | 0
36 | 0.98155 | -0.35483 | 0.036432 | 0.0091307
37 | 0.98744 | -0.24013 | 0.0073814 | 0.0018499
38 | 0.98239 | -0.33846 | 0.0074398 | 0.0018646
39 | 0.98124 | -0.36104 | 0.0062026 | 0.0015545
40 | 0.9986 | -0.026504 | 0.017928 | 0.0044932
41 | 0.97939 | -0.39697 | 0 | 0
42 | 0.9792 | -0.40068 | 0.017737 | 0.0044452
43 | 0.9795 | -0.39483 | 0 | 0
44 | 0.97775 | -0.42912 | 0 | 0
45 | 0.97787 | -0.42683 | 0 | 0
46 | 0.97753 | -0.43352 | 0.0052794 | 0.0013231
47 | 0.9791 | -0.4025 | 0 | 0
48 | 0.97882 | -0.40816 | 0.012922 | 0.0032385
49 | 0.97792 | -0.42569 | 0.0070657 | 0.0017708
50 | 0.98064 | -0.37247 | 0.0081586 | 0.0020447
51 | 0.98817 | -0.22596 | 0 | 0
52 | 0.98098 | -0.36595 | 0.0054839 | 0.0013744
53 | 0.97978 | -0.38953 | 0 | 0
54 | 0.97857 | -0.41325 | 0.019202 | 0.0048124
55 | 0.98162 | -0.35363 | 0.0053821 | 0.0013489
56 | 1 | 0 | -0.59277 | -0.15122
57 | 0.97848 | -0.41474 | 0.0063879 | 0.001601
58 | 0.97809 | -0.42233 | 0.0034182 | 0.00085667
59 | 0.98133 | -0.359 | 0.0083801 | 0.0021003
60 | 0.98758 | -0.23753 | 0.013447 | 0.0033701
61 | 0.98958 | -0.1989 | 0.0096766 | 0.0024252
62 | 0.98098 | -0.366 | 0.0057771 | 0.0014479
63 | 0.98063 | -0.37289 | 0.0071265 | 0.0017861
64 | 0.98051 | -0.37527 | 0 | 0
65 | 0.99169 | -0.15823 | 0.0058242 | 0.0014597
66 | 0.9918 | -0.15602 | 0.0028621 | 0.00071731
67 | 0.99215 | -0.14947 | 0.0078252 | 0.0019612
68 | 0.9936 | -0.12163 | 0.0074697 | 0.0018721
69 | 0.98488 | -0.28966 | 0.013812 | 0.0034615
70 | 0.9959 | -0.077678 | 0 | 0
71 | 0.98393 | -0.30831 | 0.01288 | 0.0032281
72 | 0.99725 | -0.052066 | 0.011337 | 0.0028414
73 | 0.9804 | -0.37742 | 0.0085075 | 0.0021322
74 | 0.9781 | -0.42258 | 0.0084391 | 0.002115
75 | 0.97823 | -0.42004 | 0.007448 | 0.0018666
76 | 0.98317 | -0.32339 | 0.0052488 | 0.0013155
77 | 0.9785 | -0.41462 | 0.0098562 | 0.0024702
78 | 0.98181 | -0.34978 | 0.008109 | 0.0020323
79 | 0.98219 | -0.34211 | 0.022452 | 0.005627
80 | 0.98213 | -0.34337 | 0.008804 | 0.0022065
81 | 0.98234 | -0.33947 | 0.0075373 | 0.001889
82 | 0.97827 | -0.41923 | 0.0046089 | 0.0011551
83 | 0.97826 | -0.41911 | 0.0083469 | 0.0020919
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.17288 | -0.043887 | 0.17296 | 0.043942 | 8.5707e-05 | 5.4454e-05 | 0.25886 | 0.25886 | 0.25886 | 0.99454 | -0.10396 | 0.99508 | -0.093664 | 23.7049
1 | 0.16789 | 0.042636 | -0.16773 | -0.042539 | 0.00015253 | 9.687e-05 | 0.25139 | 0.25139 | 0.25139 | 0.99454 | -0.10396 | 0.99356 | -0.12286 | 23.0207
2 | -0.17296 | -0.043942 | 0.17308 | 0.044016 | 0.00011631 | 7.3895e-05 | 0.25886 | 0.25886 | 0.25886 | 0.99508 | -0.093664 | 0.99581 | -0.079706 | 23.7048
3 | 0.14382 | 0.036543 | -0.14376 | -0.036506 | 5.6608e-05 | 3.6061e-05 | 0.21557 | 0.21557 | 0.21557 | 0.99356 | -0.12286 | 0.99313 | -0.13104 | 29.6107
4 | 0.023917 | 0.0059963 | -0.023912 | -0.0059935 | 4.7218e-06 | 2.8949e-06 | 0.03582 | 0.03582 | 0.03582 | 0.99356 | -0.12286 | 0.99334 | -0.127 | 9.8407
5 | -0.18535 | -0.04709 | 0.18548 | 0.047176 | 0.00013391 | 8.5158e-05 | 0.27719 | 0.27719 | 0.27719 | 0.99581 | -0.079706 | 0.9966 | -0.064711 | 25.3836
6 | 0.1205 | 0.030672 | -0.12017 | -0.030461 | 0.00033024 | 0.000211 | 0.18072 | 0.18072 | 0.18072 | 0.99313 | -0.13104 | 0.99016 | -0.18805 | 49.6474
7 | 0.023258 | 0.0058343 | -0.023253 | -0.0058309 | 5.4684e-06 | 3.3445e-06 | 0.03485 | 0.03485 | 0.03485 | 0.99313 | -0.13104 | 0.99288 | -0.13597 | 9.5742
8 | 0.019851 | 0.0049757 | -0.019851 | -0.0049756 | 1.6812e-07 | 1.0104e-07 | 0.029737 | 0.029737 | 0.029737 | 0.99334 | -0.127 | 0.99333 | -0.12718 | 8.1695
9 | -0.0059097 | -0.0014811 | 0.0059099 | 0.0014811 | 1.2215e-07 | 2.4613e-08 | 0.0088627 | 0.0088627 | 0.0088627 | 0.99222 | -0.1486 | 0.99225 | -0.14816 | 2.4348
10 | 0.0059097 | 0.0014811 | -0.0059095 | -0.0014811 | 2.7526e-07 | 5.5473e-08 | 0.0088627 | 0.0088628 | 0.0088628 | 0.99222 | -0.1486 | 0.99217 | -0.14958 | 2.4348
11 | 0.004327 | 0.0010843 | -0.0043269 | -0.0010843 | 1.5376e-07 | -2.7369e-08 | 0.0064889 | 0.006489 | 0.006489 | 0.99225 | -0.14816 | 0.99221 | -0.14891 | 1.7827
12 | -0.010237 | -0.0025654 | 0.010238 | 0.0025659 | 1.0256e-06 | 5.0645e-07 | 0.015352 | 0.015352 | 0.015352 | 0.99225 | -0.14816 | 0.99235 | -0.14606 | 4.2175
13 | 0.012083 | 0.0030288 | -0.012081 | -0.0030278 | 1.9585e-06 | 1.0444e-06 | 0.018041 | 0.018041 | 0.018041 | 0.9966 | -0.064711 | 0.99642 | -0.068113 | 4.9564
14 | -0.19757 | -0.050204 | 0.19759 | 0.050218 | 2.141e-05 | 1.3625e-05 | 0.29523 | 0.29523 | 0.29523 | 0.9966 | -0.064711 | 0.99672 | -0.062461 | 27.0357
15 | 0.12017 | 0.030461 | -0.12 | -0.030351 | 0.00017266 | 0.00011032 | 0.18072 | 0.18072 | 0.18072 | 0.99016 | -0.18805 | 0.9886 | -0.218 | 49.6474
16 | 0.021169 | 0.0053086 | -0.021166 | -0.005307 | 2.6605e-06 | 1.6116e-06 | 0.031727 | 0.031727 | 0.031727 | 0.99288 | -0.13597 | 0.99274 | -0.13861 | 8.7162
17 | 0.012789 | 0.0032057 | -0.012788 | -0.0032048 | 1.5533e-06 | 8.4804e-07 | 0.019158 | 0.019158 | 0.019158 | 0.99333 | -0.12718 | 0.9932 | -0.12973 | 5.2633
18 | 0.0043269 | 0.0010843 | -0.0043267 | -0.0010844 | 1.7414e-07 | -3.0982e-08 | 0.006489 | 0.006489 | 0.006489 | 0.99221 | -0.14891 | 0.99216 | -0.14976 | 1.7827
19 | -0.01413 | -0.0035414 | 0.014132 | 0.0035423 | 1.6294e-06 | 9.1774e-07 | 0.021188 | 0.021188 | 0.021188 | 0.99235 | -0.14606 | 0.99248 | -0.14364 | 5.8208
20 | -0.20269 | -0.051497 | 0.20288 | 0.051619 | 0.00019218 | 0.00012234 | 0.30285 | 0.30285 | 0.30285 | 0.99672 | -0.062461 | 0.99775 | -0.042786 | 27.7334
21 | 0.11415 | 0.028886 | -0.11409 | -0.028849 | 5.7839e-05 | 3.695e-05 | 0.17192 | 0.17192 | 0.17192 | 0.9886 | -0.218 | 0.98806 | -0.22856 | 47.2297
22 | 0.021166 | 0.005307 | -0.021163 | -0.0053052 | 3.0759e-06 | 1.8632e-06 | 0.031727 | 0.031727 | 0.031727 | 0.99274 | -0.13861 | 0.99258 | -0.14166 | 8.7162
23 | -0.017874 | -0.0044803 | 0.017876 | 0.0044813 | 1.6885e-06 | 9.996e-07 | 0.026799 | 0.026799 | 0.026799 | 0.99248 | -0.14364 | 0.99258 | -0.14166 | 7.3623
24 | -0.20288 | -0.051619 | 0.20304 | 0.051721 | 0.00015934 | 0.00010144 | 0.30285 | 0.30285 | 0.30285 | 0.99775 | -0.042786 | 0.9986 | -0.026504 | 27.7333
25 | 0.10818 | 0.027367 | -0.10811 | -0.027319 | 7.5499e-05 | 4.8222e-05 | 0.16301 | 0.16301 | 0.16301 | 0.98806 | -0.22856 | 0.9873 | -0.24312 | 44.784
26 | 0.10233 | 0.025872 | -0.1023 | -0.025853 | 2.8934e-05 | 1.8476e-05 | 0.15431 | 0.15431 | 0.15431 | 0.9873 | -0.24312 | 0.987 | -0.24901 | 42.3931
27 | 0.096579 | 0.024418 | -0.096501 | -0.024369 | 7.787e-05 | 4.9712e-05 | 0.14568 | 0.14568 | 0.14568 | 0.987 | -0.24901 | 0.98613 | -0.26584 | 40.022
28 | 0.091036 | 0.022999 | -0.091007 | -0.02298 | 2.8966e-05 | 1.8486e-05 | 0.13743 | 0.13743 | 0.13743 | 0.98613 | -0.26584 | 0.98579 | -0.27248 | 37.7565
29 | 0.083317 | 0.021053 | -0.083213 | -0.020987 | 0.00010393 | 6.6292e-05 | 0.12583 | 0.12583 | 0.12583 | 0.98579 | -0.27248 | 0.98445 | -0.29853 | 34.5675
30 | 0.083213 | 0.020987 | -0.083126 | -0.020931 | 8.6965e-05 | 5.5472e-05 | 0.12583 | 0.12583 | 0.12583 | 0.98445 | -0.29853 | 0.98332 | -0.32039 | 34.5676
31 | 0.076087 | 0.019167 | -0.076076 | -0.01916 | 1.0903e-05 | 6.95e-06 | 0.11517 | 0.11517 | 0.11517 | 0.98332 | -0.32039 | 0.98317 | -0.32339 | 31.6413
32 | -0.12487 | -0.031364 | 0.12488 | 0.031371 | 1.2446e-05 | 7.9538e-06 | 0.1889 | 0.1889 | 0.1889 | 0.9838 | -0.31094 | 0.98391 | -0.30885 | 51.8945
33 | 0.077148 | 0.019403 | -0.077071 | -0.019353 | 7.7236e-05 | 4.924e-05 | 0.11671 | 0.11671 | 0.11671 | 0.9838 | -0.31094 | 0.98272 | -0.33192 | 32.0637
34 | -0.13368 | -0.033577 | 0.13407 | 0.033826 | 0.00039006 | 0.00024931 | 0.2022 | 0.2022 | 0.2022 | 0.98391 | -0.30885 | 0.98704 | -0.2479 | 55.55
35 | 0.0074421 | 0.0018655 | -0.0074418 | -0.0018653 | 3.1605e-07 | 1.1819e-07 | 0.011269 | 0.011269 | 0.011269 | 0.98272 | -0.33192 | 0.98268 | -0.33281 | 3.0958
36 | 0.069629 | 0.017488 | -0.069552 | -0.01744 | 7.6036e-05 | 4.8432e-05 | 0.10544 | 0.10544 | 0.10544 | 0.98272 | -0.33192 | 0.98155 | -0.35483 | 28.9679
37 | -0.16349 | -0.041197 | 0.16355 | 0.041236 | 6.0779e-05 | 3.8762e-05 | 0.24654 | 0.24654 | 0.24654 | 0.98704 | -0.2479 | 0.98744 | -0.24013 | 33.8658
38 | 0.0074418 | 0.0018653 | -0.0074398 | -0.0018646 | 2.0028e-06 | 7.4915e-07 | 0.011269 | 0.011269 | 0.011269 | 0.98268 | -0.33281 | 0.98239 | -0.33846 | 3.0959
39 | 0.033121 | 0.0083089 | -0.033111 | -0.0083027 | 9.804e-06 | 6.1435e-06 | 0.050213 | 0.050213 | 0.050213 | 0.98155 | -0.35483 | 0.98124 | -0.36104 | 13.7948
40 | -0.17093 | -0.043086 | 0.17104 | 0.04316 | 0.00011596 | 7.3679e-05 | 0.25767 | 0.25767 | 0.25767 | 0.98744 | -0.24013 | 0.98817 | -0.22596 | 23.5958
41 | 0.026908 | 0.0067482 | -0.026902 | -0.0067443 | 6.2843e-06 | 3.8949e-06 | 0.040807 | 0.040807 | 0.040807 | 0.98124 | -0.36104 | 0.98098 | -0.36595 | 11.2108
42 | -0.22097 | -0.056214 | 0.22125 | 0.056394 | 0.00028263 | 0.00018007 | 0.32956 | 0.32956 | 0.32956 | 0.9986 | -0.026504 | 1 | 0 | 30.1797
43 | 0.01774 | 0.0044471 | -0.017737 | -0.0044452 | 3.1435e-06 | 1.8667e-06 | 0.026953 | 0.026953 | 0.026953 | 0.97939 | -0.39697 | 0.9792 | -0.40068 | 7.4047
44 | -0.01774 | -0.0044471 | 0.017742 | 0.0044482 | 1.8021e-06 | 1.0701e-06 | 0.026953 | 0.026953 | 0.026953 | 0.97939 | -0.39697 | 0.9795 | -0.39483 | 7.4047
45 | -0.06121 | -0.015359 | 0.061276 | 0.015401 | 6.5343e-05 | 4.1566e-05 | 0.092995 | 0.092995 | 0.092995 | 0.9795 | -0.39483 | 0.98064 | -0.37247 | 25.5481
46 | 0.043469 | 0.010911 | -0.043453 | -0.010901 | 1.5893e-05 | 1.0049e-05 | 0.066042 | 0.066042 | 0.066042 | 0.9795 | -0.39483 | 0.9791 | -0.4025 | 18.1435
47 | -0.0052805 | -0.0013233 | 0.0052811 | 0.0013233 | 5.7827e-07 | 7.0576e-08 | 0.0080362 | 0.0080361 | 0.0080362 | 0.97775 | -0.42912 | 0.97787 | -0.42683 | 2.2077
48 | 0.0052805 | 0.0013233 | -0.0052794 | -0.0013231 | 1.1059e-06 | 1.3519e-07 | 0.0080362 | 0.0080364 | 0.0080364 | 0.97775 | -0.42912 | 0.97753 | -0.43352 | 2.2078
49 | -0.0052811 | -0.0013233 | 0.0052813 | 0.0013234 | 2.8664e-07 | 3.4953e-08 | 0.0080361 | 0.008036 | 0.0080361 | 0.97787 | -0.42683 | 0.97792 | -0.42569 | 2.2077
50 | 0.043453 | 0.010901 | -0.043441 | -0.010894 | 1.1718e-05 | 7.4097e-06 | 0.066042 | 0.066042 | 0.066042 | 0.9791 | -0.4025 | 0.97882 | -0.40816 | 18.1435
51 | 0.030519 | 0.0076553 | -0.030509 | -0.0076494 | 9.5722e-06 | 5.9772e-06 | 0.046398 | 0.046398 | 0.046398 | 0.97882 | -0.40816 | 0.97848 | -0.41474 | 12.7467
52 | -0.012347 | -0.0030942 | 0.012349 | 0.0030953 | 1.9738e-06 | 1.0761e-06 | 0.018787 | 0.018787 | 0.018787 | 0.97792 | -0.42569 | 0.97809 | -0.42233 | 5.1614
53 | -0.069434 | -0.017446 | 0.069479 | 0.017474 | 4.4685e-05 | 2.8463e-05 | 0.10537 | 0.10537 | 0.10537 | 0.98064 | -0.37247 | 0.98133 | -0.359 | 28.9492
54 | 0.15003 | 0.037961 | -0.14994 | -0.037908 | 8.321e-05 | 5.3032e-05 | 0.22604 | 0.22604 | 0.22604 | 0.98817 | -0.22596 | 0.98758 | -0.23753 | 31.0499
55 | -0.32107 | -0.081121 | 0.32149 | 0.081388 | 0.00041713 | 0.00026641 | 0.48371 | 0.48371 | 0.48371 | 0.98817 | -0.22596 | 0.98958 | -0.1989 | 44.2957
56 | 0.021418 | 0.0053699 | -0.021418 | -0.0053699 | 5.9959e-08 | 3.6461e-08 | 0.032489 | 0.032489 | 0.032489 | 0.98098 | -0.36595 | 0.98098 | -0.366 | 8.9255
57 | 0.049618 | 0.01246 | -0.049562 | -0.012424 | 5.6082e-05 | 3.5561e-05 | 0.075365 | 0.075365 | 0.075365 | 0.97978 | -0.38953 | 0.97857 | -0.41325 | 20.7047
58 | -0.049618 | -0.01246 | 0.049703 | 0.012514 | 8.5147e-05 | 5.399e-05 | 0.075365 | 0.075365 | 0.075365 | 0.97978 | -0.38953 | 0.98162 | -0.35363 | 20.7046
59 | 0.03036 | 0.0076117 | -0.030358 | -0.0076105 | 1.9914e-06 | 1.2432e-06 | 0.046167 | 0.046167 | 0.046167 | 0.97857 | -0.41325 | 0.9785 | -0.41462 | 12.6832
60 | -0.055085 | -0.013863 | 0.055095 | 0.013869 | 1.0113e-05 | 6.4237e-06 | 0.083523 | 0.083523 | 0.083523 | 0.98162 | -0.35363 | 0.98181 | -0.34978 | 22.9459
61 | 0.36987 | 0.094829 | -0.36894 | -0.094234 | 0.00093119 | 0.000595 | 0.55113 | 0.55113 | 0.55113 | 1 | 0 | 0.99725 | -0.052066 | 50.4698
62 | 0.024122 | 0.0060484 | -0.024117 | -0.0060453 | 5.0238e-06 | 3.0902e-06 | 0.036684 | 0.036684 | 0.036684 | 0.97848 | -0.41474 | 0.97826 | -0.41911 | 10.078
63 | -0.015767 | -0.003952 | 0.01577 | 0.0039534 | 2.417e-06 | 1.4062e-06 | 0.023987 | 0.023987 | 0.023987 | 0.97809 | -0.42233 | 0.97826 | -0.41911 | 6.59
64 | -0.077859 | -0.019575 | 0.077917 | 0.019612 | 5.8153e-05 | 3.7077e-05 | 0.11808 | 0.11808 | 0.11808 | 0.98133 | -0.359 | 0.98213 | -0.34337 | 32.4401
65 | 0.1365 | 0.034538 | -0.13616 | -0.034321 | 0.00034058 | 0.0002177 | 0.20578 | 0.20578 | 0.20578 | 0.98758 | -0.23753 | 0.98488 | -0.28966 | 56.5336
66 | -0.33116 | -0.083813 | 0.33181 | 0.084227 | 0.00064786 | 0.00041382 | 0.49826 | 0.49826 | 0.49826 | 0.98958 | -0.1989 | 0.99169 | -0.15823 | 45.6281
67 | 0.015641 | 0.003922 | -0.015636 | -0.0039191 | 5.1344e-06 | 2.9791e-06 | 0.023726 | 0.023726 | 0.023726 | 0.98098 | -0.366 | 0.98063 | -0.37289 | 6.5182
68 | 0.0085093 | 0.002133 | -0.0085083 | -0.0021326 | 9.6126e-07 | 4.2126e-07 | 0.012912 | 0.012912 | 0.012912 | 0.98063 | -0.37289 | 0.98051 | -0.37527 | 3.5473
69 | 0.0085083 | 0.0021326 | -0.0085075 | -0.0021322 | 8.7165e-07 | 3.8204e-07 | 0.012912 | 0.012912 | 0.012912 | 0.98051 | -0.37527 | 0.9804 | -0.37742 | 3.5473
70 | -0.33764 | -0.085686 | 0.33767 | 0.085709 | 3.5779e-05 | 2.2855e-05 | 0.507 | 0.507 | 0.507 | 0.99169 | -0.15823 | 0.9918 | -0.15602 | 46.4284
71 | -0.34053 | -0.086426 | 0.34064 | 0.086495 | 0.00010741 | 6.8617e-05 | 0.51129 | 0.51129 | 0.51129 | 0.9918 | -0.15602 | 0.99215 | -0.14947 | 46.8216
72 | -0.34847 | -0.088456 | 0.34893 | 0.088755 | 0.00046733 | 0.00029856 | 0.52303 | 0.52303 | 0.52303 | 0.99215 | -0.14947 | 0.9936 | -0.12163 | 47.8964
73 | -0.3564 | -0.090627 | 0.35716 | 0.09111 | 0.00075643 | 0.00048329 | 0.53421 | 0.53421 | 0.53421 | 0.9936 | -0.12163 | 0.9959 | -0.077678 | 48.9208
74 | 0.12234 | 0.030859 | -0.12224 | -0.030789 | 0.0001091 | 6.9718e-05 | 0.18491 | 0.18491 | 0.18491 | 0.98488 | -0.28966 | 0.98393 | -0.30831 | 50.8008
75 | -0.35716 | -0.09111 | 0.3576 | 0.091393 | 0.0004424 | 0.00028265 | 0.53421 | 0.53421 | 0.53421 | 0.9959 | -0.077678 | 0.99725 | -0.052066 | 48.9207
76 | 0.10936 | 0.027561 | -0.10918 | -0.027448 | 0.00017657 | 0.00011278 | 0.16544 | 0.16544 | 0.16544 | 0.98393 | -0.30831 | 0.98219 | -0.34211 | 45.4494
77 | -0.0084391 | -0.002115 | 0.0084401 | 0.0021155 | 1.0199e-06 | 4.4561e-07 | 0.012839 | 0.012839 | 0.012839 | 0.9781 | -0.42258 | 0.97823 | -0.42004 | 3.5271
78 | -0.015888 | -0.0039821 | 0.015889 | 0.0039825 | 6.1431e-07 | 3.5795e-07 | 0.024168 | 0.024168 | 0.024168 | 0.97823 | -0.42004 | 0.97827 | -0.41923 | 6.6396
79 | 0.070827 | 0.017845 | -0.070773 | -0.01781 | 5.4421e-05 | 3.4669e-05 | 0.10723 | 0.10723 | 0.10723 | 0.98317 | -0.32339 | 0.98234 | -0.33947 | 29.4589
80 | 0.020502 | 0.0051403 | -0.020498 | -0.0051376 | 4.5034e-06 | 2.727e-06 | 0.031178 | 0.031178 | 0.031178 | 0.9785 | -0.41462 | 0.97827 | -0.41923 | 8.5655
81 | -0.063205 | -0.015901 | 0.063236 | 0.015921 | 3.1179e-05 | 1.984e-05 | 0.095813 | 0.095813 | 0.095813 | 0.98181 | -0.34978 | 0.98234 | -0.33947 | 26.3223
82 | 0.086726 | 0.021821 | -0.086721 | -0.021818 | 5.2139e-06 | 3.3267e-06 | 0.13142 | 0.13142 | 0.13142 | 0.98219 | -0.34211 | 0.98213 | -0.34337 | 36.1046

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60011 | 0.15306

## res_load
| p_mw | q_mvar
0 | 0.0049935 | 0.0012515
1 | 0.012269 | 0.0030748
2 | 0.004061 | 0.0010178
3 | 0.0059095 | 0.0014811
4 | 0.002084 | 0.0005223
5 | 0.0070619 | 0.0017699
6 | 0.003892 | 0.00097544
7 | 0.012081 | 0.0030278
8 | 0.0051028 | 0.0012789
9 | 0.0058467 | 0.0014653
10 | 0.012788 | 0.0032048
11 | 0.0043267 | 0.0010844
12 | 0.0037425 | 0.00093795
13 | 0.0059114 | 0.0014815
14 | 0.0032874 | 0.0008239
15 | 0.0057744 | 0.0014472
16 | 0.0057248 | 0.0014348
17 | 0.0054651 | 0.0013697
18 | 0.00769 | 0.0019273
19 | 0.0070389 | 0.0017641
20 | 0.047724 | 0.011961
21 | 0.0087984 | 0.0022051
22 | 0.029412 | 0.0073715
23 | 0.036432 | 0.0091307
24 | 0.0073814 | 0.0018499
25 | 0.0074398 | 0.0018646
26 | 0.0062026 | 0.0015545
27 | 0.017928 | 0.0044932
28 | 0.017737 | 0.0044452
29 | 0.0052794 | 0.0013231
30 | 0.012922 | 0.0032385
31 | 0.0070657 | 0.0017708
32 | 0.0081586 | 0.0020447
33 | 0.0054839 | 0.0013744
34 | 0.019202 | 0.0048124
35 | 0.0053821 | 0.0013489
36 | 0.0073371 | 0.0018388
37 | 0.0063879 | 0.001601
38 | 0.0034182 | 0.00085667
39 | 0.0083801 | 0.0021003
40 | 0.013447 | 0.0033701
41 | 0.0096766 | 0.0024252
42 | 0.0057771 | 0.0014479
43 | 0.0071265 | 0.0017861
44 | 0.0058242 | 0.0014597
45 | 0.0028621 | 0.00071731
46 | 0.0078252 | 0.0019612
47 | 0.0074697 | 0.0018721
48 | 0.013812 | 0.0034615
49 | 0.01288 | 0.0032281
50 | 0.011337 | 0.0028414
51 | 0.0085075 | 0.0021322
52 | 0.0084391 | 0.002115
53 | 0.007448 | 0.0018666
54 | 0.0052488 | 0.0013155
55 | 0.0098562 | 0.0024702
56 | 0.008109 | 0.0020323
57 | 0.022452 | 0.005627
58 | 0.008804 | 0.0022065
59 | 0.0075373 | 0.001889
60 | 0.0046089 | 0.0011551
61 | 0.0083469 | 0.0020919

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1