## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-283_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-283_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-283_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-283_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_261-283_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-283_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-283_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-283_0_6_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_261-283_0_6_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_261-283_0_6_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_261-283_0_6_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_261-283_0_6_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_261-283_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-283_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_261-283_0_6_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_261-283_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_261-283_0_6_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_261-283_0_6_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_261-283_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-283_0_6_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_261-283_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-283_0_6_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_261-283_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_261-283_0_6_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_261-283_0_6_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_261-283_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_261-283_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_261-283_0_6_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_261-283_0_6_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_261-283_0_6_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_261-283_0_6_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_261-283_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_261-283_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_261-283_0_6_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_261-283_0_6_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_261-283_0_6_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_261-283_0_6_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_261-283_0_6_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_261-283_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_261-283_0_6_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_261-283_0_6_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_261-283_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_261-283_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_261-283_0_6_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_261-283_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_261-283_0_6_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_261-283_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_261-283_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_261-283_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_261-283_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_261-283_0_6_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_261-283_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_261-283_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_MV_538_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-283_0_6_load_0 | 0 | 0.026639 | 0.0066765 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-283_0_6_load_1 | 1 | 0.013586 | 0.003405 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-283_0_6_load_5 | 5 | 0.018922 | 0.0047423 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-283_0_6_load_20 | 7 | 0.014377 | 0.0036032 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-283_0_6_load_21 | 8 | 0.0079875 | 0.0020019 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-283_0_6_load_22 | 9 | 0.025924 | 0.0064972 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-283_0_6_load_23 | 11 | 0.030218 | 0.0075733 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-283_0_6_load_37 | 14 | 0.018166 | 0.0045527 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-283_0_6_load_55 | 17 | 0.023786 | 0.0059613 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-283_0_6_load_56 | 19 | 0.030441 | 0.0076293 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-283_0_6_load_40 | 21 | 0.019147 | 0.0047987 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-283_0_6_load_36 | 23 | 0.0037433 | 0.00093816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-283_0_6_load_26 | 24 | 0.0092466 | 0.0023174 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-283_0_6_load_47 | 27 | 0.010602 | 0.0026571 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-283_0_6_load_54 | 28 | 0.010127 | 0.002538 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-283_0_6_load_32 | 29 | 0.015246 | 0.003821 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-283_0_6_load_25 | 31 | 0.003659 | 0.00091702 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-283_0_6_load_24 | 32 | 0.011014 | 0.0027604 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-283_0_6_load_38 | 33 | 0.045177 | 0.011322 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-283_0_6_load_42 | 34 | 0.012245 | 0.0030688 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-283_0_6_load_35 | 35 | 0.013549 | 0.0033957 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-283_0_6_load_52 | 36 | 0.018989 | 0.004759 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-283_0_6_load_51 | 38 | 0.0060751 | 0.0015226 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-283_0_6_load_53 | 39 | 0.0080455 | 0.0020164 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-283_0_6_load_46 | 40 | 0.011191 | 0.0028048 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-283_0_6_load_27 | 42 | 0.0061952 | 0.0015527 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-283_0_6_load_28 | 43 | 0.006167 | 0.0015456 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-283_0_6_load_30 | 44 | 0.005549 | 0.0013907 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-283_0_6_load_31 | 45 | 0.0060764 | 0.0015229 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-283_0_6_load_33 | 46 | 0.0056752 | 0.0014223 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-283_0_6_load_34 | 47 | 0.024836 | 0.0062246 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-283_0_6_load_39 | 48 | 0.010927 | 0.0027385 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-283_0_6_load_43 | 49 | 0.029843 | 0.0074794 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-283_0_6_load_44 | 50 | 0.018333 | 0.0045948 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-283_0_6_load_45 | 51 | 0.054764 | 0.013725 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-283_0_6_load_48 | 52 | 0.0039653 | 0.0009938 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-283_0_6_line_0 |  | 0 | 1 | 0.0018097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-283_0_6_line_1 |  | 1 | 2 | 0.014259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-283_0_6_line_2 |  | 2 | 6 | 0.021193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-283_0_6_line_3 |  | 3 | 4 | 0.002714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-283_0_6_line_4 |  | 3 | 5 | 0.014789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-283_0_6_line_5 |  | 4 | 7 | 0.011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_261-283_0_6_line_6 |  | 4 | 8 | 0.01704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-283_0_6_line_7 |  | 5 | 9 | 0.013457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-283_0_6_line_8 |  | 6 | 10 | 0.01563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-283_0_6_line_9 |  | 6 | 11 | 0.017013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-283_0_6_line_10 |  | 7 | 29 | 0.00036008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_261-283_0_6_line_11 |  | 8 | 30 | 0.0053963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-283_0_6_line_12 |  | 9 | 31 | 0.007257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-283_0_6_line_13 |  | 10 | 24 | 0.0042179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-283_0_6_line_14 |  | 11 | 32 | 0.014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-283_0_6_line_15 |  | 12 | 13 | 0.007945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-283_0_6_line_16 |  | 12 | 14 | 0.010658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-283_0_6_line_17 |  | 13 | 21 | 0.015168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_261-283_0_6_line_18 |  | 14 | 33 | 0.00077185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-283_0_6_line_19 |  | 15 | 16 | 0.021476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-283_0_6_line_20 |  | 15 | 17 | 0.0035505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-283_0_6_line_21 |  | 16 | 34 | 0.0087603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-283_0_6_line_22 |  | 16 | 22 | 0.003838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-283_0_6_line_23 |  | 18 | 19 | 0.035102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-283_0_6_line_24 |  | 18 | 20 | 0.051303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-283_0_6_line_25 |  | 20 | 23 | 0.029024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-283_0_6_line_26 |  | 21 | 22 | 0.012656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-283_0_6_line_27 |  | 23 | 35 | 0.00477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-283_0_6_line_28 |  | 25 | 26 | 0.031312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-283_0_6_line_29 |  | 25 | 27 | 0.0066935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-283_0_6_line_30 |  | 26 | 28 | 0.027401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-283_0_6_line_31 |  | 27 | 40 | 0.0097019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-283_0_6_line_32 |  | 28 | 39 | 0.0089506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-283_0_6_line_33 |  | 29 | 41 | 0.012719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-283_0_6_line_34 |  | 30 | 39 | 0.0016357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-283_0_6_line_35 |  | 31 | 32 | 0.0050217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-283_0_6_line_36 |  | 33 | 48 | 0.010804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_261-283_0_6_line_37 |  | 34 | 49 | 0.0017768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-283_0_6_line_38 |  | 35 | 46 | 0.0098315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-283_0_6_line_39 |  | 36 | 37 | 0.012972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-283_0_6_line_40 |  | 37 | 38 | 0.023371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-283_0_6_line_41 |  | 37 | 52 | 0.012085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-283_0_6_line_42 |  | 40 | 52 | 0.0060421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-283_0_6_line_43 |  | 41 | 45 | 0.0046985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_261-283_0_6_line_44 |  | 41 | 42 | 0.0035276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-283_0_6_line_45 |  | 42 | 43 | 0.0063316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-283_0_6_line_46 |  | 43 | 44 | 0.0062024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-283_0_6_line_47 |  | 44 | 46 | 0.0058656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-283_0_6_line_48 |  | 45 | 47 | 0.012816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_261-283_0_6_line_49 |  | 47 | 48 | 0.00047248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_261-283_0_6_line_50 |  | 49 | 50 | 0.0056236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-283_0_6_line_51 |  | 50 | 51 | 0.00048178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-283_0_6_trafo_34 | 0.63 MVA 20/0.4 kV | 53 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2683485.251 | 1247391.8268 | 2683483.456 | 1247391.5964
1 | 2683469.3131 | 1247389.781 | 2683483.456 | 1247391.5964
2 | 2683468.6521 | 1247368.6006 | 2683469.3131 | 1247389.781
3 | 2683514.2661 | 1247401.4892 | 2683516.9323 | 1247402.0382
4 | 2683514.2661 | 1247401.4892 | 2683515.6444 | 1247386.7644
5 | 2683516.9323 | 1247402.0382 | 2683515.5709 | 1247407.5231 | 2683514.4615 | 1247412.8057
6 | 2683516.9323 | 1247402.0382 | 2683533.5996 | 1247405.5836
7 | 2683515.6444 | 1247386.7644 | 2683511.4208 | 1247386.3046 | 2683511.7544 | 1247377.1025 | 2683511.7544 | 1247377.1025
8 | 2683471.3465 | 1247353.2049 | 2683468.6521 | 1247368.6006
9 | 2683468.6521 | 1247368.6006 | 2683474.9097 | 1247370.5234 | 2683485.1735 | 1247372.5713
10 | 2683514.3875 | 1247413.1581 | 2683514.4615 | 1247412.8057
11 | 2683538.8778 | 1247406.7063 | 2683533.5996 | 1247405.5836
12 | 2683511.7544 | 1247377.1025 | 2683504.5816 | 1247376.0004
13 | 2683471.3465 | 1247353.2049 | 2683472.5968 | 1247349.1765
14 | 2683485.1735 | 1247372.5713 | 2683496.1363 | 1247374.7587 | 2683499.6176 | 1247375.2416
15 | 2683472.5789 | 1247416.947 | 2683471.8028 | 1247424.853
16 | 2683472.5789 | 1247416.947 | 2683483.1054 | 1247418.6155
17 | 2683471.8028 | 1247424.853 | 2683469.2286 | 1247439.8013
18 | 2683483.8678 | 1247418.7363 | 2683483.1054 | 1247418.6155
19 | 2683466.7098 | 1247456.0933 | 2683464.6563 | 1247477.469
20 | 2683464.6563 | 1247477.469 | 2683464.8074 | 1247481.0162
21 | 2683466.7098 | 1247456.0933 | 2683469.1733 | 1247456.5505 | 2683475.1495 | 1247458.3959
22 | 2683467.0808 | 1247452.2734 | 2683466.7098 | 1247456.0933
23 | 2683560.1227 | 1247487.3095 | 2683527.316 | 1247474.5713
24 | 2683560.1227 | 1247487.3095 | 2683565.1728 | 1247479.5082 | 2683569.677 | 1247471.3101 | 2683572.4307 | 1247459.2289 | 2683575.6813 | 1247439.2266
25 | 2683575.6813 | 1247439.2266 | 2683559.6307 | 1247438.0996 | 2683547.0977 | 1247434.9044
26 | 2683467.0808 | 1247452.2734 | 2683469.2286 | 1247439.8013
27 | 2683547.0977 | 1247434.9044 | 2683542.4755 | 1247433.7261
28 | 2683560.0374 | 1247386.7564 | 2683559.0702 | 1247388.3884 | 2683555.2853 | 1247396.997 | 2683572.6777 | 1247406.8938
29 | 2683560.0374 | 1247386.7564 | 2683554.4569 | 1247383.0603
30 | 2683572.6777 | 1247406.8938 | 2683569.2914 | 1247412.9505 | 2683549.2478 | 1247408.8354
31 | 2683546.6387 | 1247377.3237 | 2683551.9923 | 1247381.428 | 2683554.4569 | 1247383.0603
32 | 2683549.2478 | 1247408.8354 | 2683540.4801 | 1247407.0353
33 | 2683511.7734 | 1247425.6052 | 2683514.3875 | 1247413.1581
34 | 2683538.8778 | 1247406.7063 | 2683540.4801 | 1247407.0353
35 | 2683499.6176 | 1247375.2416 | 2683499.8831 | 1247375.2785 | 2683504.5816 | 1247376.0004
36 | 2683494.512 | 1247420.5463 | 2683493.599 | 1247420.2787 | 2683483.8678 | 1247418.7363
37 | 2683476.8472 | 1247458.9201 | 2683475.1495 | 1247458.3959
38 | 2683532.9487 | 1247431.2973 | 2683542.4755 | 1247433.7261
39 | 2683532.5948 | 1247365.8655 | 2683540.2441 | 1247355.389
40 | 2683532.5948 | 1247365.8655 | 2683513.8614 | 1247351.891
41 | 2683532.5948 | 1247365.8655 | 2683541.8955 | 1247373.5826
42 | 2683546.6387 | 1247377.3237 | 2683543.5554 | 1247374.9599 | 2683541.8955 | 1247373.5826
43 | 2683511.7734 | 1247425.6052 | 2683507.2646 | 1247424.2837
44 | 2683511.7734 | 1247425.6052 | 2683515.1789 | 1247426.5253
45 | 2683515.1789 | 1247426.5253 | 2683521.2913 | 1247428.1767
46 | 2683527.279 | 1247429.7944 | 2683521.2913 | 1247428.1767
47 | 2683532.9487 | 1247431.2973 | 2683531.0524 | 1247430.8139 | 2683527.279 | 1247429.7944
48 | 2683507.2646 | 1247424.2837 | 2683494.9655 | 1247420.6792
49 | 2683494.9655 | 1247420.6792 | 2683494.512 | 1247420.5463
50 | 2683476.8472 | 1247458.9201 | 2683482.2205 | 1247460.5793
51 | 2683482.6808 | 1247460.7215 | 2683482.2205 | 1247460.5793

## bus_geodata
| x | y | coords
0 | 2683485.251 | 1247391.8268
1 | 2683483.456 | 1247391.5964
2 | 2683469.3131 | 1247389.781
3 | 2683514.2661 | 1247401.4892
4 | 2683516.9323 | 1247402.0382
5 | 2683515.6444 | 1247386.7644
6 | 2683468.6521 | 1247368.6006
7 | 2683514.4615 | 1247412.8057
8 | 2683533.5996 | 1247405.5836
9 | 2683511.7544 | 1247377.1025
10 | 2683471.3465 | 1247353.2049
11 | 2683485.1735 | 1247372.5713
12 | 2683472.5789 | 1247416.947
13 | 2683471.8028 | 1247424.853
14 | 2683483.1054 | 1247418.6155
15 | 2683464.6563 | 1247477.469
16 | 2683466.7098 | 1247456.0933
17 | 2683464.8074 | 1247481.0162
18 | 2683560.1227 | 1247487.3095
19 | 2683527.316 | 1247474.5713
20 | 2683575.6813 | 1247439.2266
21 | 2683469.2286 | 1247439.8013
22 | 2683467.0808 | 1247452.2734
23 | 2683547.0977 | 1247434.9044
24 | 2683472.5968 | 1247349.1765
25 | 2683560.0374 | 1247386.7564
26 | 2683572.6777 | 1247406.8938
27 | 2683554.4569 | 1247383.0603
28 | 2683549.2478 | 1247408.8354
29 | 2683514.3875 | 1247413.1581
30 | 2683538.8778 | 1247406.7063
31 | 2683504.5816 | 1247376.0004
32 | 2683499.6176 | 1247375.2416
33 | 2683483.8678 | 1247418.7363
34 | 2683475.1495 | 1247458.3959
35 | 2683542.4755 | 1247433.7261
36 | 2683540.2441 | 1247355.389
37 | 2683532.5948 | 1247365.8655
38 | 2683513.8614 | 1247351.891
39 | 2683540.4801 | 1247407.0353
40 | 2683546.6387 | 1247377.3237
41 | 2683511.7734 | 1247425.6052
42 | 2683515.1789 | 1247426.5253
43 | 2683521.2913 | 1247428.1767
44 | 2683527.279 | 1247429.7944
45 | 2683507.2646 | 1247424.2837
46 | 2683532.9487 | 1247431.2973
47 | 2683494.9655 | 1247420.6792
48 | 2683494.512 | 1247420.5463
49 | 2683476.8472 | 1247458.9201
50 | 2683482.2205 | 1247460.5793
51 | 2683482.6808 | 1247460.7215
52 | 2683541.8955 | 1247373.5826
53 | 2683511.7734 | 1247425.6052

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98826 | -0.22618 | 0.026639 | 0.0066765
1 | 0.9883 | -0.22532 | 0.013586 | 0.003405
2 | 0.98883 | -0.21509 | 0 | 0
3 | 0.99587 | -0.079102 | 0 | 0
4 | 0.99621 | -0.072465 | 0 | 0
5 | 0.99398 | -0.11535 | 0.018922 | 0.0047423
6 | 0.98961 | -0.1999 | 0 | 0
7 | 0.99731 | -0.051511 | 0.014377 | 0.0036032
8 | 0.99501 | -0.095532 | 0.0079875 | 0.0020019
9 | 0.9925 | -0.14395 | 0.025924 | 0.0064972
10 | 0.98948 | -0.20248 | 0 | 0
11 | 0.99038 | -0.18494 | 0.030218 | 0.0075733
12 | 0.99869 | -0.025154 | 0 | 0
13 | 0.9983 | -0.032475 | 0 | 0
14 | 0.9992 | -0.015342 | 0.018166 | 0.0045527
15 | 0.99465 | -0.10272 | 0 | 0
16 | 0.99512 | -0.09373 | 0 | 0
17 | 0.99458 | -0.10421 | 0.023786 | 0.0059613
18 | 0.99425 | -0.11041 | 0 | 0
19 | 0.99328 | -0.12927 | 0.030441 | 0.0076293
20 | 0.99568 | -0.082915 | 0 | 0
21 | 0.99721 | -0.05347 | 0.019147 | 0.0047987
22 | 0.99561 | -0.084346 | 0 | 0
23 | 0.99648 | -0.067393 | 0.0037433 | 0.00093816
24 | 0.98944 | -0.20317 | 0.0092466 | 0.0023174
25 | 0.99134 | -0.16647 | 0 | 0
26 | 0.9928 | -0.13829 | 0 | 0
27 | 0.99103 | -0.17251 | 0.010602 | 0.0026571
28 | 0.99407 | -0.1137 | 0.010127 | 0.002538
29 | 0.99733 | -0.051026 | 0.015246 | 0.003821
30 | 0.99467 | -0.10209 | 0 | 0
31 | 0.99187 | -0.15608 | 0.003659 | 0.00091702
32 | 0.99145 | -0.16415 | 0.011014 | 0.0027604
33 | 0.99924 | -0.01455 | 0.045177 | 0.011322
34 | 0.9942 | -0.11151 | 0.012245 | 0.0030688
35 | 0.99663 | -0.06453 | 0.013549 | 0.0033957
36 | 0.99001 | -0.19232 | 0.018989 | 0.004759
37 | 0.99023 | -0.18794 | 0 | 0
38 | 0.9901 | -0.19046 | 0.0060751 | 0.0015226
39 | 0.99457 | -0.10408 | 0.0080455 | 0.0020164
40 | 0.99067 | -0.17944 | 0.011191 | 0.0028048
41 | 0.99828 | -0.032782 | 0 | 0
42 | 0.99806 | -0.037183 | 0.0061952 | 0.0015527
43 | 0.99768 | -0.044401 | 0.006167 | 0.0015456
44 | 0.99735 | -0.050807 | 0.005549 | 0.0013907
45 | 0.99874 | -0.024098 | 0.0060764 | 0.0015229
46 | 0.99706 | -0.056298 | 0.0056752 | 0.0014223
47 | 1 | 0 | -0.56027 | -0.14117
48 | 0.99997 | -0.00063794 | 0.010927 | 0.0027385
49 | 0.99403 | -0.11473 | 0.029843 | 0.0074794
50 | 0.99366 | -0.12199 | 0.018333 | 0.0045948
51 | 0.99363 | -0.12245 | 0.054764 | 0.013725
52 | 0.99051 | -0.18255 | 0.0039653 | 0.0009938
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.026639 | -0.0066765 | 0.02664 | 0.0066771 | 1.0919e-06 | 6.7561e-07 | 0.040111 | 0.040111 | 0.040111 | 0.98826 | -0.22618 | 0.9883 | -0.22532 | 11.0195
1 | -0.040227 | -0.010082 | 0.040246 | 0.010095 | 1.9615e-05 | 1.2371e-05 | 0.060567 | 0.060566 | 0.060567 | 0.9883 | -0.22532 | 0.98883 | -0.21509 | 16.6392
2 | -0.040246 | -0.010095 | 0.040275 | 0.010113 | 2.9153e-05 | 1.8386e-05 | 0.060566 | 0.060566 | 0.060566 | 0.98883 | -0.21509 | 0.98961 | -0.1999 | 16.6391
3 | -0.13987 | -0.035312 | 0.13992 | 0.03534 | 4.4493e-05 | 2.844e-05 | 0.20909 | 0.20909 | 0.20909 | 0.99587 | -0.079102 | 0.99621 | -0.072465 | 57.4415
4 | 0.13987 | 0.035312 | -0.13963 | -0.035157 | 0.00024245 | 0.00015498 | 0.20909 | 0.20909 | 0.20909 | 0.99587 | -0.079102 | 0.99398 | -0.11535 | 57.4415
5 | -0.21721 | -0.054832 | 0.21743 | 0.054972 | 0.00021826 | 0.0001394 | 0.32458 | 0.32458 | 0.32458 | 0.99621 | -0.072465 | 0.99731 | -0.051511 | 44.5856
6 | 0.077295 | 0.019492 | -0.07721 | -0.019438 | 8.524e-05 | 5.4332e-05 | 0.1155 | 0.1155 | 0.1155 | 0.99621 | -0.072465 | 0.99501 | -0.095532 | 31.7298
7 | 0.12071 | 0.030415 | -0.12054 | -0.030309 | 0.00016488 | 0.00010535 | 0.18076 | 0.18076 | 0.18076 | 0.99398 | -0.11535 | 0.9925 | -0.14395 | 49.6594
8 | 0.009248 | 0.0023181 | -0.0092469 | -0.0023176 | 1.1334e-06 | 5.2459e-07 | 0.013906 | 0.013906 | 0.013906 | 0.98961 | -0.1999 | 0.98948 | -0.20248 | 3.8203
9 | -0.049523 | -0.012431 | 0.049559 | 0.012453 | 3.5382e-05 | 2.2426e-05 | 0.074472 | 0.074472 | 0.074472 | 0.98961 | -0.1999 | 0.99038 | -0.18494 | 20.4594
10 | -0.23181 | -0.058575 | 0.23181 | 0.058578 | 5.3895e-06 | 3.4352e-06 | 0.34603 | 0.34603 | 0.34603 | 0.99731 | -0.051511 | 0.99733 | -0.051026 | 31.6881
11 | 0.069223 | 0.017436 | -0.069201 | -0.017422 | 2.1699e-05 | 1.3817e-05 | 0.10355 | 0.10355 | 0.10355 | 0.99501 | -0.095532 | 0.99467 | -0.10209 | 28.4482
12 | 0.094619 | 0.023812 | -0.094564 | -0.023777 | 5.4791e-05 | 3.4973e-05 | 0.14189 | 0.14189 | 0.14189 | 0.9925 | -0.14395 | 0.99187 | -0.15608 | 38.9816
13 | 0.0092469 | 0.0023176 | -0.0092466 | -0.0023174 | 3.0586e-07 | 1.4158e-07 | 0.013906 | 0.013906 | 0.013906 | 0.98948 | -0.20248 | 0.98944 | -0.20317 | 3.8203
14 | -0.079777 | -0.020027 | 0.079856 | 0.020077 | 7.9178e-05 | 5.0484e-05 | 0.11987 | 0.11987 | 0.11987 | 0.99038 | -0.18494 | 0.99145 | -0.16415 | 32.9323
15 | 0.15875 | 0.040033 | -0.1587 | -0.039997 | 5.5606e-05 | 3.5276e-05 | 0.23662 | 0.23662 | 0.23662 | 0.99869 | -0.025154 | 0.9983 | -0.032475 | 21.6688
16 | -0.15875 | -0.040033 | 0.15883 | 0.04008 | 7.4593e-05 | 4.7321e-05 | 0.23662 | 0.23662 | 0.23662 | 0.99869 | -0.025154 | 0.9992 | -0.015342 | 21.6688
17 | 0.1587 | 0.039997 | -0.15854 | -0.039896 | 0.00015924 | 0.00010152 | 0.23662 | 0.23662 | 0.23662 | 0.9983 | -0.032475 | 0.99721 | -0.05347 | 32.5032
18 | -0.17699 | -0.044633 | 0.177 | 0.044637 | 6.7078e-06 | 4.2627e-06 | 0.26368 | 0.26368 | 0.26368 | 0.9992 | -0.015342 | 0.99924 | -0.01455 | 24.1461
19 | -0.023787 | -0.0059623 | 0.023798 | 0.0059685 | 1.0199e-05 | 6.2484e-06 | 0.035587 | 0.035586 | 0.035587 | 0.99465 | -0.10272 | 0.99512 | -0.09373 | 9.7765
20 | 0.023787 | 0.0059623 | -0.023786 | -0.0059613 | 1.6861e-06 | 1.033e-06 | 0.035587 | 0.035587 | 0.035587 | 0.99465 | -0.10272 | 0.99458 | -0.10421 | 9.7765
21 | 0.11533 | 0.028958 | -0.11523 | -0.028895 | 9.7714e-05 | 6.2423e-05 | 0.17247 | 0.17247 | 0.17247 | 0.99512 | -0.09373 | 0.9942 | -0.11151 | 47.3809
22 | -0.13912 | -0.034926 | 0.13919 | 0.034966 | 6.2299e-05 | 3.9822e-05 | 0.20805 | 0.20805 | 0.20805 | 0.99512 | -0.09373 | 0.99561 | -0.084346 | 57.1574
23 | 0.030469 | 0.0076464 | -0.030441 | -0.0076293 | 2.7376e-05 | 1.7066e-05 | 0.045604 | 0.045604 | 0.045604 | 0.99425 | -0.11041 | 0.99328 | -0.12927 | 12.5286
24 | -0.030469 | -0.0076464 | 0.030509 | 0.0076714 | 4.001e-05 | 2.494e-05 | 0.045604 | 0.045604 | 0.045604 | 0.99425 | -0.11041 | 0.99568 | -0.082915 | 12.5285
25 | -0.030509 | -0.0076714 | 0.030531 | 0.0076855 | 2.2635e-05 | 1.4109e-05 | 0.045604 | 0.045603 | 0.045604 | 0.99568 | -0.082915 | 0.99648 | -0.067393 | 12.5285
26 | 0.13939 | 0.035097 | -0.13919 | -0.034966 | 0.00020543 | 0.00013131 | 0.20805 | 0.20805 | 0.20805 | 0.99721 | -0.05347 | 0.99561 | -0.084346 | 57.1574
27 | -0.034275 | -0.0086236 | 0.034279 | 0.0086266 | 4.6879e-06 | 2.9381e-06 | 0.051193 | 0.051193 | 0.051193 | 0.99648 | -0.067393 | 0.99663 | -0.06453 | 14.0641
28 | -0.050866 | -0.012764 | 0.050934 | 0.012808 | 6.8459e-05 | 4.3409e-05 | 0.076356 | 0.076356 | 0.076356 | 0.99134 | -0.16647 | 0.9928 | -0.13829 | 20.9769
29 | 0.050866 | 0.012764 | -0.050851 | -0.012755 | 1.4634e-05 | 9.2797e-06 | 0.076356 | 0.076356 | 0.076356 | 0.99134 | -0.16647 | 0.99103 | -0.17251 | 20.9769
30 | -0.050934 | -0.012808 | 0.050994 | 0.012846 | 5.9907e-05 | 3.7986e-05 | 0.076356 | 0.076356 | 0.076356 | 0.9928 | -0.13829 | 0.99407 | -0.1137 | 20.9769
31 | 0.040249 | 0.010098 | -0.040236 | -0.010089 | 1.3289e-05 | 8.3802e-06 | 0.060437 | 0.060437 | 0.060437 | 0.99103 | -0.17251 | 0.99067 | -0.17944 | 16.6037
32 | -0.061121 | -0.015384 | 0.061149 | 0.015401 | 2.811e-05 | 1.7874e-05 | 0.091514 | 0.091514 | 0.091514 | 0.99407 | -0.1137 | 0.99457 | -0.10408 | 25.1413
33 | -0.24706 | -0.062399 | 0.24727 | 0.062537 | 0.00021622 | 0.00013788 | 0.36878 | 0.36878 | 0.36878 | 0.99733 | -0.051026 | 0.99828 | -0.032782 | 33.7711
34 | 0.069201 | 0.017422 | -0.069194 | -0.017418 | 6.5774e-06 | 4.1883e-06 | 0.10355 | 0.10355 | 0.10355 | 0.99467 | -0.10209 | 0.99457 | -0.10408 | 28.4482
35 | 0.090905 | 0.02286 | -0.09087 | -0.022838 | 3.5038e-05 | 2.2359e-05 | 0.1364 | 0.1364 | 0.1364 | 0.99187 | -0.15608 | 0.99145 | -0.16415 | 37.4736
36 | -0.22218 | -0.055959 | 0.22232 | 0.056054 | 0.00014792 | 9.4244e-05 | 0.33095 | 0.33095 | 0.33095 | 0.99924 | -0.01455 | 0.99997 | -0.00063794 | 30.3068
37 | 0.10298 | 0.025826 | -0.10297 | -0.025816 | 1.583e-05 | 1.0108e-05 | 0.15414 | 0.15414 | 0.15414 | 0.9942 | -0.11151 | 0.99403 | -0.11473 | 42.3461
38 | -0.047828 | -0.012022 | 0.047847 | 0.012034 | 1.8807e-05 | 1.1908e-05 | 0.071422 | 0.071422 | 0.071422 | 0.99663 | -0.06453 | 0.99706 | -0.056298 | 19.6215
39 | -0.018989 | -0.004759 | 0.018993 | 0.0047614 | 3.9624e-06 | 2.3691e-06 | 0.028541 | 0.028541 | 0.028541 | 0.99001 | -0.19232 | 0.99023 | -0.18794 | 7.8409
40 | 0.0060759 | 0.0015227 | -0.0060751 | -0.0015226 | 7.306e-07 | 1.6697e-07 | 0.0091302 | 0.0091303 | 0.0091303 | 0.99023 | -0.18794 | 0.9901 | -0.19046 | 2.5083
41 | -0.025069 | -0.0062841 | 0.025075 | 0.0062881 | 6.4313e-06 | 3.9605e-06 | 0.037671 | 0.037671 | 0.037671 | 0.99023 | -0.18794 | 0.99051 | -0.18255 | 10.3491
42 | 0.029045 | 0.0072846 | -0.02904 | -0.0072819 | 4.3126e-06 | 2.6823e-06 | 0.043628 | 0.043628 | 0.043628 | 0.99067 | -0.17944 | 0.99051 | -0.18255 | 11.9856
43 | -0.31878 | -0.080527 | 0.31891 | 0.080612 | 0.00013273 | 8.4761e-05 | 0.47539 | 0.47539 | 0.47539 | 0.99828 | -0.032782 | 0.99874 | -0.024098 | 43.5335
44 | 0.071503 | 0.01799 | -0.071488 | -0.01798 | 1.5034e-05 | 9.5754e-06 | 0.10661 | 0.10661 | 0.10661 | 0.99828 | -0.032782 | 0.99806 | -0.037183 | 29.2872
45 | 0.065293 | 0.016427 | -0.06527 | -0.016413 | 2.251e-05 | 1.4324e-05 | 0.097369 | 0.097369 | 0.097369 | 0.99806 | -0.037183 | 0.99768 | -0.044401 | 26.7496
46 | 0.059103 | 0.014868 | -0.059085 | -0.014856 | 1.8082e-05 | 1.1491e-05 | 0.088171 | 0.088171 | 0.088171 | 0.99768 | -0.044401 | 0.99735 | -0.050807 | 24.2228
47 | 0.053536 | 0.013465 | -0.053522 | -0.013456 | 1.404e-05 | 8.9088e-06 | 0.079892 | 0.079892 | 0.079892 | 0.99735 | -0.050807 | 0.99706 | -0.056298 | 21.9483
48 | -0.32499 | -0.082134 | 0.32536 | 0.082375 | 0.00037597 | 0.00024012 | 0.48444 | 0.48444 | 0.48444 | 0.99874 | -0.024098 | 1 | 0 | 44.3625
49 | 0.23326 | 0.058797 | -0.23325 | -0.058792 | 7.12e-06 | 4.5382e-06 | 0.34721 | 0.34721 | 0.34721 | 1 | 0 | 0.99997 | -0.00063794 | 31.7957
50 | 0.073124 | 0.018337 | -0.073099 | -0.018321 | 2.527e-05 | 1.61e-05 | 0.10947 | 0.10947 | 0.10947 | 0.99403 | -0.11473 | 0.99366 | -0.12199 | 30.0731
51 | 0.054765 | 0.013726 | -0.054764 | -0.013725 | 1.2151e-06 | 7.7145e-07 | 0.082012 | 0.082012 | 0.082012 | 0.99366 | -0.12199 | 0.99363 | -0.12245 | 22.5307

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58511 | 0.1474

## res_load
| p_mw | q_mvar
0 | 0.026639 | 0.0066765
1 | 0.013586 | 0.003405
2 | 0.018922 | 0.0047423
3 | 0.014377 | 0.0036032
4 | 0.0079875 | 0.0020019
5 | 0.025924 | 0.0064972
6 | 0.030218 | 0.0075733
7 | 0.018166 | 0.0045527
8 | 0.023786 | 0.0059613
9 | 0.030441 | 0.0076293
10 | 0.019147 | 0.0047987
11 | 0.0037433 | 0.00093816
12 | 0.0092466 | 0.0023174
13 | 0.010602 | 0.0026571
14 | 0.010127 | 0.002538
15 | 0.015246 | 0.003821
16 | 0.003659 | 0.00091702
17 | 0.011014 | 0.0027604
18 | 0.045177 | 0.011322
19 | 0.012245 | 0.0030688
20 | 0.013549 | 0.0033957
21 | 0.018989 | 0.004759
22 | 0.0060751 | 0.0015226
23 | 0.0080455 | 0.0020164
24 | 0.011191 | 0.0028048
25 | 0.0061952 | 0.0015527
26 | 0.006167 | 0.0015456
27 | 0.005549 | 0.0013907
28 | 0.0060764 | 0.0015229
29 | 0.0056752 | 0.0014223
30 | 0.024836 | 0.0062246
31 | 0.010927 | 0.0027385
32 | 0.029843 | 0.0074794
33 | 0.018333 | 0.0045948
34 | 0.054764 | 0.013725
35 | 0.0039653 | 0.0009938

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1