## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-292_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-292_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-292_0_6_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_261-292_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-292_0_6_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_261-292_0_6_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_261-292_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-292_0_6_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_261-292_0_6_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_261-292_0_6_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_261-292_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-292_0_6_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_261-292_0_6_node_79 | 0.4 | n |  | TRUE
13 | bus_LV_261-292_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_261-292_0_6_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_261-292_0_6_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_261-292_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-292_0_6_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_261-292_0_6_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_261-292_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_261-292_0_6_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_261-292_0_6_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_261-292_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_261-292_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_261-292_0_6_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_261-292_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_261-292_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_261-292_0_6_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_261-292_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_261-292_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_261-292_0_6_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_261-292_0_6_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_261-292_0_6_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_261-292_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_261-292_0_6_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_261-292_0_6_node_80 | 0.4 | n |  | TRUE
36 | bus_LV_261-292_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_261-292_0_6_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_261-292_0_6_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_261-292_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_261-292_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_261-292_0_6_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_261-292_0_6_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_261-292_0_6_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_261-292_0_6_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_261-292_0_6_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_261-292_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_261-292_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_261-292_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_261-292_0_6_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_261-292_0_6_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_261-292_0_6_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_261-292_0_6_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_261-292_0_6_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_261-292_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_261-292_0_6_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_261-292_0_6_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_261-292_0_6_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_261-292_0_6_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_261-292_0_6_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_261-292_0_6_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_261-292_0_6_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_261-292_0_6_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_261-292_0_6_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_261-292_0_6_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_261-292_0_6_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_261-292_0_6_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_261-292_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_261-292_0_6_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_261-292_0_6_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_261-292_0_6_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_261-292_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_261-292_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_MV_550_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-292_0_6_load_0 | 0 | 0.0095198 | 0.0023859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-292_0_6_load_38 | 4 | 0.0053531 | 0.0013416 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-292_0_6_load_35 | 5 | 0.0048761 | 0.0012221 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-292_0_6_load_70 | 8 | 0.0041144 | 0.0010312 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-292_0_6_load_67 | 9 | 0.0033813 | 0.00084744 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-292_0_6_load_31 | 11 | 0.011418 | 0.0028617 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-292_0_6_load_79 | 12 | 0.007086 | 0.0017759 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-292_0_6_load_34 | 15 | 0.028057 | 0.0070317 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-292_0_6_load_76 | 18 | 0.031344 | 0.0078556 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-292_0_6_load_45 | 21 | 0.027262 | 0.0068325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-292_0_6_load_64 | 24 | 0.011933 | 0.0029908 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-292_0_6_load_72 | 27 | 0.012647 | 0.0031697 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-292_0_6_load_71 | 30 | 0.016713 | 0.0041887 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-292_0_6_load_73 | 31 | 0.032783 | 0.0082162 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-292_0_6_load_78 | 32 | 0.0063522 | 0.001592 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-292_0_6_load_63 | 34 | 0.0073858 | 0.001851 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-292_0_6_load_80 | 35 | 0.016219 | 0.0040648 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-292_0_6_load_59 | 37 | 0.0046724 | 0.001171 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-292_0_6_load_55 | 38 | 0.0043351 | 0.0010865 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-292_0_6_load_50 | 41 | 0.0043244 | 0.0010838 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-292_0_6_load_41 | 42 | 0.016019 | 0.0040149 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-292_0_6_load_42 | 43 | 0.012702 | 0.0031835 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-292_0_6_load_39 | 44 | 0.013626 | 0.0034151 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-292_0_6_load_36 | 45 | 0.011305 | 0.0028334 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-292_0_6_load_32 | 46 | 0.0041962 | 0.0010517 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-292_0_6_load_33 | 47 | 0.0062651 | 0.0015702 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-292_0_6_load_30 | 48 | 0.0048981 | 0.0012276 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-292_0_6_load_29 | 49 | 0.0080531 | 0.0020183 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-292_0_6_load_44 | 50 | 0.0084475 | 0.0021171 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-292_0_6_load_68 | 51 | 0.0067767 | 0.0016984 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-292_0_6_load_66 | 52 | 0.017758 | 0.0044506 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-292_0_6_load_81 | 53 | 0.013865 | 0.0034749 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-292_0_6_load_46 | 54 | 0.024818 | 0.0062201 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-292_0_6_load_65 | 55 | 0.005735 | 0.0014373 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-292_0_6_load_77 | 56 | 0.0038744 | 0.00097102 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-292_0_6_load_40 | 57 | 0.01088 | 0.0027269 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-292_0_6_load_62 | 58 | 0.0039023 | 0.000978 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-292_0_6_load_60 | 59 | 0.0042154 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-292_0_6_load_49 | 61 | 0.015097 | 0.0037837 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-292_0_6_load_74 | 62 | 0.0027733 | 0.00069505 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-292_0_6_load_57 | 63 | 0.0023541 | 0.00059 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-292_0_6_load_37 | 64 | 0.010008 | 0.0025083 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-292_0_6_load_47 | 65 | 0.0043527 | 0.0010909 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-292_0_6_load_54 | 66 | 0.023233 | 0.0058228 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-292_0_6_load_53 | 67 | 0.0072937 | 0.001828 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-292_0_6_load_51 | 68 | 0.0040598 | 0.0010175 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-292_0_6_load_52 | 69 | 0.0064344 | 0.0016126 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-292_0_6_load_75 | 70 | 0.0046125 | 0.001156 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-292_0_6_load_58 | 71 | 0.0037067 | 0.00092899 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-292_0_6_load_61 | 72 | 0.0042113 | 0.0010555 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-292_0_6_line_0 |  | 0 | 1 | 0.056781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_261-292_0_6_line_1 |  | 1 | 2 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_261-292_0_6_line_2 |  | 2 | 10 | 0.014667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_261-292_0_6_line_3 |  | 2 | 11 | 0.058113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_261-292_0_6_line_4 |  | 3 | 4 | 0.04114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-292_0_6_line_5 |  | 3 | 5 | 0.028573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-292_0_6_line_6 |  | 4 | 44 | 0.027872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-292_0_6_line_7 |  | 5 | 45 | 0.00952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-292_0_6_line_8 |  | 6 | 7 | 0.004737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_261-292_0_6_line_9 |  | 6 | 8 | 0.023666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_261-292_0_6_line_10 |  | 6 | 9 | 0.017098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-292_0_6_line_11 |  | 7 | 12 | 0.012338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_261-292_0_6_line_12 |  | 7 | 50 | 0.014105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-292_0_6_line_13 |  | 8 | 14 | 0.037254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_261-292_0_6_line_14 |  | 9 | 51 | 0.021528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-292_0_6_line_15 |  | 10 | 12 | 0.048105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_261-292_0_6_line_16 |  | 11 | 49 | 0.030073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_261-292_0_6_line_17 |  | 13 | 14 | 0.003837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_261-292_0_6_line_18 |  | 13 | 15 | 0.038487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_261-292_0_6_line_19 |  | 14 | 52 | 0.010872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_261-292_0_6_line_20 |  | 15 | 47 | 0.041844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-292_0_6_line_21 |  | 16 | 17 | 0.019099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_261-292_0_6_line_22 |  | 16 | 18 | 0.01263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_261-292_0_6_line_23 |  | 17 | 31 | 0.013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_261-292_0_6_line_24 |  | 17 | 22 | 0.019514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_261-292_0_6_line_25 |  | 18 | 33 | 0.010065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_261-292_0_6_line_26 |  | 19 | 20 | 0.008481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-292_0_6_line_27 |  | 19 | 21 | 0.0068763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-292_0_6_line_28 |  | 20 | 53 | 0.007321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-292_0_6_line_29 |  | 21 | 54 | 0.029074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_261-292_0_6_line_30 |  | 22 | 23 | 0.006039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-292_0_6_line_31 |  | 22 | 24 | 0.0072179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_261-292_0_6_line_32 |  | 23 | 32 | 0.026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-292_0_6_line_33 |  | 23 | 25 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-292_0_6_line_34 |  | 24 | 55 | 0.014916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_261-292_0_6_line_35 |  | 25 | 26 | 0.001015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-292_0_6_line_36 |  | 25 | 27 | 0.03498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-292_0_6_line_37 |  | 26 | 30 | 0.010831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-292_0_6_line_38 |  | 28 | 29 | 0.03301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-292_0_6_line_39 |  | 28 | 30 | 0.010611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-292_0_6_line_40 |  | 29 | 35 | 0.038237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-292_0_6_line_41 |  | 31 | 57 | 0.039442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_261-292_0_6_line_42 |  | 32 | 56 | 0.024097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-292_0_6_line_43 |  | 33 | 34 | 0.032082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_261-292_0_6_line_44 |  | 34 | 58 | 0.024489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_261-292_0_6_line_45 |  | 36 | 37 | 0.018539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_261-292_0_6_line_46 |  | 36 | 38 | 0.015577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_261-292_0_6_line_47 |  | 37 | 59 | 0.031572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_261-292_0_6_line_48 |  | 38 | 60 | 0.02467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_261-292_0_6_line_49 |  | 39 | 40 | 0.004603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-292_0_6_line_50 |  | 39 | 41 | 0.06329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-292_0_6_line_51 |  | 40 | 42 | 0.05926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-292_0_6_line_52 |  | 41 | 61 | 0.019545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-292_0_6_line_53 |  | 42 | 43 | 0.036768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-292_0_6_line_54 |  | 44 | 57 | 0.032157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_261-292_0_6_line_55 |  | 45 | 64 | 0.037518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-292_0_6_line_56 |  | 46 | 47 | 0.025454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-292_0_6_line_57 |  | 48 | 49 | 0.027385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_261-292_0_6_line_58 |  | 52 | 55 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_261-292_0_6_line_59 |  | 54 | 65 | 0.0081604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_261-292_0_6_line_60 |  | 58 | 72 | 0.025509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_261-292_0_6_line_61 |  | 59 | 72 | 0.013937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_261-292_0_6_line_62 |  | 60 | 63 | 0.014506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-292_0_6_line_63 |  | 60 | 71 | 0.012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_261-292_0_6_line_64 |  | 61 | 68 | 0.019436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-292_0_6_line_65 |  | 62 | 63 | 0.026119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-292_0_6_line_66 |  | 65 | 66 | 0.026048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_261-292_0_6_line_67 |  | 66 | 67 | 0.019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_261-292_0_6_line_68 |  | 67 | 68 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_261-292_0_6_line_69 |  | 68 | 69 | 0.01772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_261-292_0_6_line_70 |  | 69 | 70 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_261-292_0_6_line_71 |  | 70 | 71 | 0.030231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-292_0_6_trafo_45 | 0.63 MVA 20/0.4 kV | 73 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2684503.3682 | 1248080.3135 | 2684518.4558 | 1248064.6281 | 2684534.4972 | 1248048.8005 | 2684543.38 | 1248040.0314
1 | 2684503.3682 | 1248080.3135 | 2684507.4435 | 1248084.2412 | 2684512.2116 | 1248088.8459
2 | 2684501.5689 | 1248098.9684 | 2684507.3956 | 1248093.4251 | 2684512.2116 | 1248088.8459
3 | 2684512.2116 | 1248088.8459 | 2684522.9388 | 1248078.6357 | 2684553.9593 | 1248048.421
4 | 2684659.2469 | 1248029.2991 | 2684648.9757 | 1248069.1359
5 | 2684659.2469 | 1248029.2991 | 2684686.7262 | 1248037.1296
6 | 2684642.0169 | 1248096.1255 | 2684648.9757 | 1248069.1359
7 | 2684695.8817 | 1248039.7386 | 2684686.7262 | 1248037.1296
8 | 2684558.6566 | 1248118.8191 | 2684557.1199 | 1248123.3005
9 | 2684557.1199 | 1248123.3005 | 2684568.8596 | 1248126.815 | 2684579.6476 | 1248130.5358
10 | 2684557.1199 | 1248123.3005 | 2684551.5743 | 1248139.4742
11 | 2684558.6566 | 1248118.8191 | 2684549.7234 | 1248115.5226 | 2684547.0605 | 1248114.6072
12 | 2684558.6566 | 1248118.8191 | 2684571.9733 | 1248123.4697
13 | 2684614.9185 | 1248142.5281 | 2684584.1617 | 1248132.0927 | 2684579.6476 | 1248130.5358
14 | 2684551.5743 | 1248139.4742 | 2684544.592 | 1248159.8379
15 | 2684501.5689 | 1248098.9684 | 2684547.0605 | 1248114.6072
16 | 2684575.2978 | 1248027.2296 | 2684554.1043 | 1248048.2797 | 2684553.9593 | 1248048.421
17 | 2684616.0208 | 1248138.8522 | 2684614.9185 | 1248142.5281
18 | 2684616.0208 | 1248138.8522 | 2684619.1126 | 1248127.5546 | 2684625.8698 | 1248101.6474
19 | 2684614.9185 | 1248142.5281 | 2684613.6495 | 1248146.7687 | 2684612.2681 | 1248153.0648 | 2684612.2681 | 1248153.0648
20 | 2684636.4305 | 1248061.1579 | 2684625.8698 | 1248101.6474
21 | 2684642.3273 | 1248174.2539 | 2684644.3716 | 1248176.0177 | 2684650.0346 | 1248180.88 | 2684656.0197 | 1248187.5148
22 | 2684656.0197 | 1248187.5148 | 2684659.1607 | 1248190.7509 | 2684664.2608 | 1248197.07
23 | 2684642.3273 | 1248174.2539 | 2684638.9011 | 1248172.4815 | 2684636.4076 | 1248170.4444 | 2684634.1868 | 1248167.8218 | 2684632.3257 | 1248165.0794
24 | 2684627.1451 | 1248186.513 | 2684627.978 | 1248185.8355 | 2684631.9283 | 1248182.6451 | 2684633.0973 | 1248181.7055 | 2684634.2587 | 1248180.7658 | 2684640.3484 | 1248175.8491 | 2684642.3273 | 1248174.2539
25 | 2684670.5821 | 1248204.9023 | 2684664.2608 | 1248197.07
26 | 2684679.8303 | 1248157.0766 | 2684685.1816 | 1248163.669
27 | 2684679.8303 | 1248157.0766 | 2684685.2035 | 1248152.7857
28 | 2684689.798 | 1248169.3614 | 2684685.1816 | 1248163.669
29 | 2684707.6892 | 1248134.3573 | 2684693.9336 | 1248145.8141 | 2684685.2035 | 1248152.7857
30 | 2684628.1961 | 1248192.2433 | 2684628.5227 | 1248191.0582 | 2684628.1945 | 1248188.6518 | 2684627.1451 | 1248186.513
31 | 2684627.1451 | 1248186.513 | 2684625.36 | 1248184.0524 | 2684622.7425 | 1248180.796
32 | 2684628.1961 | 1248192.2433 | 2684627.8059 | 1248193.6499 | 2684626.2652 | 1248195.7628 | 2684622.9721 | 1248198.4178 | 2684608.4138 | 1248209.859
33 | 2684628.1961 | 1248192.2433 | 2684629.436 | 1248193.7399 | 2684632.4876 | 1248197.4195 | 2684636.7496 | 1248202.5508 | 2684638.383 | 1248204.5201
34 | 2684622.7425 | 1248180.796 | 2684619.0671 | 1248176.2234 | 2684615.9052 | 1248171.2746 | 2684614.4986 | 1248168.4263
35 | 2684638.383 | 1248204.5201 | 2684639.3609 | 1248204.8009
36 | 2684638.383 | 1248204.5201 | 2684635.5388 | 1248204.3015 | 2684633.3584 | 1248204.6707 | 2684631.7625 | 1248205.3595 | 2684609.604 | 1248222.7663
37 | 2684639.3609 | 1248204.8009 | 2684640.806 | 1248205.6777 | 2684646.4671 | 1248212.8548
38 | 2684658.3738 | 1248248.4714 | 2684663.4248 | 1248230.6191 | 2684661.0484 | 1248229.9069 | 2684658.9885 | 1248228.7099 | 2684657.7405 | 1248227.2466 | 2684653.0388 | 1248221.1861
39 | 2684653.0388 | 1248221.1861 | 2684646.4671 | 1248212.8548
40 | 2684658.3738 | 1248248.4714 | 2684684.7791 | 1248256.8324 | 2684686.6428 | 1248258.5381 | 2684688.5513 | 1248260.2888 | 2684690.9133 | 1248264.1254 | 2684691.3825 | 1248264.9146
41 | 2684632.3257 | 1248165.0794 | 2684630.1332 | 1248161.8485 | 2684628.4141 | 1248155.8306 | 2684628.165 | 1248151.0568 | 2684629.0004 | 1248147.0324 | 2684634.0307 | 1248127.2748
42 | 2684589.4675 | 1248224.7485 | 2684608.4138 | 1248209.859
43 | 2684670.5821 | 1248204.9023 | 2684674.025 | 1248208.1538 | 2684678.6219 | 1248210.9771 | 2684681.4109 | 1248211.8954 | 2684684.7872 | 1248212.3996 | 2684691.466 | 1248211.7167 | 2684699.7214 | 1248210.6338 | 2684700.2741 | 1248210.5304
44 | 2684724.3311 | 1248205.9513 | 2684714.7385 | 1248207.824 | 2684700.2741 | 1248210.5304
45 | 2684812.2287 | 1248188.7923 | 2684794.0332 | 1248192.3444
46 | 2684812.2287 | 1248188.7923 | 2684809.2731 | 1248173.4983
47 | 2684763.0464 | 1248198.3935 | 2684794.0332 | 1248192.3444
48 | 2684804.5921 | 1248149.276 | 2684809.2731 | 1248173.4983
49 | 2684843.0194 | 1248034.3515 | 2684839.934 | 1248030.9271
50 | 2684843.0194 | 1248034.3515 | 2684830.756 | 1248038.4013 | 2684817.4688 | 1248044.8494 | 2684803.8895 | 1248054.2955 | 2684789.2305 | 1248066.4845
51 | 2684839.934 | 1248030.9271 | 2684835.4826 | 1248027.9501 | 2684833.2025 | 1248028.4178 | 2684826.6091 | 1248024.1759 | 2684810.15 | 1248014.2442 | 2684788.6967 | 1248002.3837
52 | 2684774.2018 | 1248078.9809 | 2684789.2305 | 1248066.4845
53 | 2684788.6967 | 1248002.3837 | 2684785.7658 | 1248000.7633 | 2684755.4394 | 1247986.7222
54 | 2684634.0307 | 1248127.2748 | 2684637.5782 | 1248113.341 | 2684642.0169 | 1248096.1255
55 | 2684699.3264 | 1248065.4871 | 2684696.6614 | 1248062.2356 | 2684696.8485 | 1248059.7141 | 2684700.7343 | 1248055.233 | 2684706.3513 | 1248048.5305 | 2684706.7984 | 1248044.7229 | 2684704.4824 | 1248042.4215 | 2684698.4378 | 1248040.467 | 2684695.8817 | 1248039.7386
56 | 2684642.8545 | 1248036.5282 | 2684636.4305 | 1248061.1579
57 | 2684575.2978 | 1248027.2296 | 2684583.1413 | 1248019.4391 | 2684594.6511 | 1248007.8547
58 | 2684612.2681 | 1248153.0648 | 2684611.9519 | 1248157.7526 | 2684612.2323 | 1248161.9153 | 2684613.4829 | 1248166.3698 | 2684614.4986 | 1248168.4263
59 | 2684707.6892 | 1248134.3573 | 2684713.9596 | 1248129.1348
60 | 2684724.3311 | 1248205.9513 | 2684749.3674 | 1248201.0639
61 | 2684763.0464 | 1248198.3935 | 2684749.3674 | 1248201.0639
62 | 2684804.5921 | 1248149.276 | 2684815.8762 | 1248140.1606
63 | 2684804.5921 | 1248149.276 | 2684799.6421 | 1248142.0888 | 2684797.5158 | 1248139.4202
64 | 2684759.2575 | 1248091.4071 | 2684774.2018 | 1248078.9809
65 | 2684836.1944 | 1248123.7475 | 2684815.8762 | 1248140.1606
66 | 2684733.9745 | 1248112.4649 | 2684713.9596 | 1248129.1348
67 | 2684748.8009 | 1248100.1162 | 2684733.9745 | 1248112.4649
68 | 2684759.2575 | 1248091.4071 | 2684748.8009 | 1248100.1162
69 | 2684759.2575 | 1248091.4071 | 2684770.3002 | 1248105.2654
70 | 2684770.3002 | 1248105.2654 | 2684778.6763 | 1248115.7772
71 | 2684778.6763 | 1248115.7772 | 2684797.5158 | 1248139.4202

## bus_geodata
| x | y | coords
0 | 2684543.38 | 1248040.0314
1 | 2684503.3682 | 1248080.3135
2 | 2684512.2117 | 1248088.8459
3 | 2684659.2469 | 1248029.2991
4 | 2684648.9757 | 1248069.1359
5 | 2684686.7262 | 1248037.1296
6 | 2684557.1199 | 1248123.3005
7 | 2684558.6566 | 1248118.8191
8 | 2684579.6476 | 1248130.5358
9 | 2684551.5743 | 1248139.4742
10 | 2684501.5689 | 1248098.9684
11 | 2684553.9593 | 1248048.421
12 | 2684547.0605 | 1248114.6072
13 | 2684616.0208 | 1248138.8522
14 | 2684614.9185 | 1248142.5281
15 | 2684625.8698 | 1248101.6474
16 | 2684656.0197 | 1248187.5148
17 | 2684642.3273 | 1248174.2539
18 | 2684664.2608 | 1248197.07
19 | 2684679.8303 | 1248157.0766
20 | 2684685.1816 | 1248163.669
21 | 2684685.2035 | 1248152.7857
22 | 2684627.1451 | 1248186.513
23 | 2684628.1961 | 1248192.2434
24 | 2684622.7425 | 1248180.796
25 | 2684638.383 | 1248204.5201
26 | 2684639.3609 | 1248204.8009
27 | 2684609.604 | 1248222.7663
28 | 2684653.0388 | 1248221.1861
29 | 2684658.3738 | 1248248.4714
30 | 2684646.4671 | 1248212.8548
31 | 2684632.3257 | 1248165.0794
32 | 2684608.4138 | 1248209.859
33 | 2684670.5821 | 1248204.9023
34 | 2684700.2741 | 1248210.5304
35 | 2684691.3825 | 1248264.9146
36 | 2684812.2287 | 1248188.7923
37 | 2684794.0332 | 1248192.3444
38 | 2684809.2731 | 1248173.4983
39 | 2684843.0194 | 1248034.3515
40 | 2684839.934 | 1248030.9271
41 | 2684789.2305 | 1248066.4845
42 | 2684788.6967 | 1248002.3837
43 | 2684755.4394 | 1247986.7222
44 | 2684642.0169 | 1248096.1255
45 | 2684695.8817 | 1248039.7386
46 | 2684642.8545 | 1248036.5282
47 | 2684636.4305 | 1248061.1579
48 | 2684594.6511 | 1248007.8547
49 | 2684575.2978 | 1248027.2296
50 | 2684571.9733 | 1248123.4697
51 | 2684544.592 | 1248159.8379
52 | 2684612.2681 | 1248153.0648
53 | 2684689.798 | 1248169.3614
54 | 2684707.6892 | 1248134.3573
55 | 2684614.4986 | 1248168.4263
56 | 2684589.4675 | 1248224.7485
57 | 2684634.0307 | 1248127.2748
58 | 2684724.3311 | 1248205.9513
59 | 2684763.0464 | 1248198.3935
60 | 2684804.5921 | 1248149.276
61 | 2684774.2018 | 1248078.9809
62 | 2684836.1944 | 1248123.7475
63 | 2684815.8762 | 1248140.1606
64 | 2684699.3264 | 1248065.4871
65 | 2684713.9596 | 1248129.1348
66 | 2684733.9745 | 1248112.4649
67 | 2684748.8009 | 1248100.1162
68 | 2684759.2575 | 1248091.4071
69 | 2684770.3002 | 1248105.2654
70 | 2684778.6763 | 1248115.7772
71 | 2684797.5158 | 1248139.4202
72 | 2684749.3674 | 1248201.0639
73 | 2684679.8303 | 1248157.0766

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97015 | -0.57521 | 0.0095198 | 0.0023859
1 | 0.9704 | -0.57021 | 0 | 0
2 | 0.97042 | -0.56978 | 0 | 0
3 | 0.97128 | -0.55291 | 0 | 0
4 | 0.97228 | -0.53302 | 0.0053531 | 0.0013416
5 | 0.97058 | -0.56674 | 0.0048761 | 0.0012221
6 | 0.97096 | -0.55916 | 0 | 0
7 | 0.97092 | -0.56003 | 0 | 0
8 | 0.97122 | -0.55395 | 0.0041144 | 0.0010312
9 | 0.9708 | -0.56237 | 0.0033813 | 0.00084744
10 | 0.97052 | -0.56794 | 0 | 0
11 | 0.97016 | -0.57502 | 0.011418 | 0.0028617
12 | 0.97082 | -0.5619 | 0.007086 | 0.0017759
13 | 0.97164 | -0.54572 | 0 | 0
14 | 0.97167 | -0.54518 | 0 | 0
15 | 0.97095 | -0.55942 | 0.028057 | 0.0070317
16 | 0.97448 | -0.48978 | 0 | 0
17 | 0.97347 | -0.5096 | 0 | 0
18 | 0.97514 | -0.4767 | 0.031344 | 0.0078556
19 | 0.99991 | -0.001662 | 0 | 0
20 | 0.99981 | -0.0037121 | 0 | 0
21 | 1 | 0 | -0.49946 | -0.12852
22 | 0.97276 | -0.5235 | 0 | 0
23 | 0.97245 | -0.52971 | 0 | 0
24 | 0.97258 | -0.52716 | 0.011933 | 0.0029908
25 | 0.97177 | -0.54312 | 0 | 0
26 | 0.97174 | -0.54374 | 0 | 0
27 | 0.97136 | -0.55129 | 0.012647 | 0.0031697
28 | 0.97125 | -0.55351 | 0 | 0
29 | 0.97075 | -0.56341 | 0 | 0
30 | 0.97141 | -0.55033 | 0.016713 | 0.0041887
31 | 0.97324 | -0.51412 | 0.032783 | 0.0082162
32 | 0.97219 | -0.53477 | 0.0063522 | 0.001592
33 | 0.97573 | -0.46513 | 0 | 0
34 | 0.97761 | -0.42835 | 0.0073858 | 0.001851
35 | 0.97017 | -0.57488 | 0.016219 | 0.0040648
36 | 0.98461 | -0.29241 | 0 | 0
37 | 0.98344 | -0.31497 | 0.0046724 | 0.001171
38 | 0.9856 | -0.27349 | 0.0043351 | 0.0010865
39 | 0.98891 | -0.21091 | 0 | 0
40 | 0.98879 | -0.21327 | 0 | 0
41 | 0.99058 | -0.17857 | 0.0043244 | 0.0010838
42 | 0.98723 | -0.24366 | 0.016019 | 0.0040149
43 | 0.9868 | -0.25202 | 0.012702 | 0.0031835
44 | 0.97256 | -0.52762 | 0.013626 | 0.0034151
45 | 0.97039 | -0.5705 | 0.011305 | 0.0028334
46 | 0.97044 | -0.56949 | 0.0041962 | 0.0010517
47 | 0.97054 | -0.56751 | 0.0062651 | 0.0015702
48 | 0.97002 | -0.57771 | 0.0048981 | 0.0012276
49 | 0.97009 | -0.57647 | 0.0080531 | 0.0020183
50 | 0.97081 | -0.56223 | 0.0084475 | 0.0021171
51 | 0.97066 | -0.56507 | 0.0067767 | 0.0016984
52 | 0.97187 | -0.54107 | 0.017758 | 0.0044506
53 | 0.99971 | -0.0054822 | 0.013865 | 0.0034749
54 | 0.99744 | -0.048192 | 0.024818 | 0.0062201
55 | 0.97223 | -0.53408 | 0.005735 | 0.0014373
56 | 0.97211 | -0.53649 | 0.0038744 | 0.00097102
57 | 0.97283 | -0.52226 | 0.01088 | 0.0027269
58 | 0.97908 | -0.39971 | 0.0039023 | 0.000978
59 | 0.98148 | -0.35299 | 0.0042154 | 0.0010565
60 | 0.98717 | -0.24322 | 0 | 0
61 | 0.99118 | -0.1671 | 0.015097 | 0.0037837
62 | 0.98704 | -0.24584 | 0.0027733 | 0.00069505
63 | 0.98711 | -0.24455 | 0.0023541 | 0.00059
64 | 0.97004 | -0.57745 | 0.010008 | 0.0025083
65 | 0.99676 | -0.061052 | 0.0043527 | 0.0010909
66 | 0.9946 | -0.10182 | 0.023233 | 0.0058228
67 | 0.99308 | -0.13055 | 0.0072937 | 0.001828
68 | 0.99203 | -0.15051 | 0.0040598 | 0.0010175
69 | 0.99084 | -0.17328 | 0.0064344 | 0.0016126
70 | 0.98994 | -0.19028 | 0.0046125 | 0.001156
71 | 0.98796 | -0.22814 | 0.0037067 | 0.00092899
72 | 0.98062 | -0.36961 | 0.0042113 | 0.0010555
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0095198 | -0.0023859 | 0.0095221 | 0.0023859 | 2.2698e-06 | 5.0049e-08 | 0.014601 | 0.014601 | 0.014601 | 0.97015 | -0.57521 | 0.9704 | -0.57021 | 2.0057
1 | -0.0095221 | -0.0023859 | 0.0095223 | 0.0023853 | 1.9648e-07 | -6.3335e-07 | 0.014601 | 0.014601 | 0.014601 | 0.9704 | -0.57021 | 0.97042 | -0.56978 | 0.80225
2 | -0.033899 | -0.0084914 | 0.033902 | 0.0084924 | 2.9719e-06 | 9.959e-07 | 0.051978 | 0.051977 | 0.051978 | 0.97042 | -0.56978 | 0.97052 | -0.56794 | 2.8559
3 | 0.024377 | 0.0061061 | -0.024371 | -0.0061058 | 6.0892e-06 | 3.0822e-07 | 0.037377 | 0.037378 | 0.037378 | 0.97042 | -0.56978 | 0.97016 | -0.57502 | 2.0538
4 | -0.026214 | -0.0065785 | 0.026239 | 0.0065939 | 2.4886e-05 | 1.5418e-05 | 0.040164 | 0.040164 | 0.040164 | 0.97128 | -0.55291 | 0.97228 | -0.53302 | 11.034
5 | 0.026214 | 0.0065785 | -0.026197 | -0.0065678 | 1.7285e-05 | 1.0709e-05 | 0.040164 | 0.040164 | 0.040164 | 0.97128 | -0.55291 | 0.97058 | -0.56674 | 11.034
6 | -0.031592 | -0.0079355 | 0.0316 | 0.0079397 | 8.1467e-06 | 4.1766e-06 | 0.048356 | 0.048356 | 0.048356 | 0.97228 | -0.53302 | 0.97256 | -0.52762 | 4.4282
7 | 0.021321 | 0.0053457 | -0.021317 | -0.0053434 | 3.8146e-06 | 2.3237e-06 | 0.032688 | 0.032688 | 0.032688 | 0.97058 | -0.56674 | 0.97039 | -0.5705 | 8.9803
8 | 0.049452 | 0.012392 | -0.04945 | -0.012391 | 2.0405e-06 | 1.013e-06 | 0.075785 | 0.075785 | 0.075785 | 0.97096 | -0.55916 | 0.97092 | -0.56003 | 4.164
9 | -0.059612 | -0.014939 | 0.059627 | 0.014947 | 1.4814e-05 | 8.0168e-06 | 0.091356 | 0.091356 | 0.091356 | 0.97096 | -0.55916 | 0.97122 | -0.55395 | 5.0196
10 | 0.010161 | 0.0025469 | -0.010159 | -0.0025461 | 1.5546e-06 | 7.8353e-07 | 0.015571 | 0.015571 | 0.015571 | 0.97096 | -0.55916 | 0.9708 | -0.56237 | 4.2779
11 | 0.041001 | 0.010273 | -0.040998 | -0.010272 | 3.6537e-06 | 1.5755e-06 | 0.062837 | 0.062837 | 0.062837 | 0.97092 | -0.56003 | 0.97082 | -0.5619 | 3.4526
12 | 0.0084483 | 0.0021175 | -0.0084475 | -0.0021171 | 8.8678e-07 | 3.9312e-07 | 0.012948 | 0.012948 | 0.012948 | 0.97092 | -0.56003 | 0.97081 | -0.56223 | 3.5571
13 | -0.063741 | -0.015978 | 0.063768 | 0.015993 | 2.6648e-05 | 1.4748e-05 | 0.097659 | 0.097659 | 0.097659 | 0.97122 | -0.55395 | 0.97167 | -0.54518 | 5.3659
14 | 0.0067776 | 0.0016987 | -0.0067767 | -0.0016984 | 8.7125e-07 | 2.9146e-07 | 0.010389 | 0.010389 | 0.010389 | 0.9708 | -0.56237 | 0.97066 | -0.56507 | 2.854
15 | -0.033902 | -0.0084924 | 0.033912 | 0.0084956 | 9.747e-06 | 3.265e-06 | 0.051977 | 0.051976 | 0.051977 | 0.97052 | -0.56794 | 0.97082 | -0.5619 | 2.8559
16 | 0.012952 | 0.0032441 | -0.012951 | -0.0032454 | 8.9013e-07 | -1.2869e-06 | 0.019865 | 0.019866 | 0.019866 | 0.97016 | -0.57502 | 0.97009 | -0.57647 | 1.0915
17 | -0.038548 | -0.0096707 | 0.038549 | 0.0096711 | 1.003e-06 | 4.043e-07 | 0.059037 | 0.059037 | 0.059037 | 0.97164 | -0.54572 | 0.97167 | -0.54518 | 3.2438
18 | 0.038548 | 0.0096707 | -0.038522 | -0.0096555 | 2.5152e-05 | 1.5144e-05 | 0.059037 | 0.059037 | 0.059037 | 0.97164 | -0.54572 | 0.97095 | -0.55942 | 8.1095
19 | -0.10232 | -0.025664 | 0.10234 | 0.025676 | 2.0021e-05 | 1.214e-05 | 0.1567 | 0.1567 | 0.1567 | 0.97167 | -0.54518 | 0.97187 | -0.54107 | 8.6097
20 | 0.010466 | 0.0026238 | -0.010462 | -0.0026218 | 4.0369e-06 | 2.0663e-06 | 0.016039 | 0.01604 | 0.01604 | 0.97095 | -0.55942 | 0.97054 | -0.56751 | 4.4065
21 | 0.2831 | 0.071235 | -0.28283 | -0.071064 | 0.00026781 | 0.00017021 | 0.43239 | 0.43239 | 0.43239 | 0.97448 | -0.48978 | 0.97347 | -0.5096 | 23.7577
22 | -0.2831 | -0.071235 | 0.28327 | 0.071347 | 0.0001771 | 0.00011256 | 0.43239 | 0.43239 | 0.43239 | 0.97448 | -0.48978 | 0.97514 | -0.4767 | 23.7577
23 | 0.088943 | 0.022326 | -0.088923 | -0.022315 | 1.9173e-05 | 1.1412e-05 | 0.13597 | 0.13597 | 0.13597 | 0.97347 | -0.5096 | 0.97324 | -0.51412 | 7.4708
24 | 0.19389 | 0.048738 | -0.19376 | -0.048657 | 0.0001286 | 8.1089e-05 | 0.29642 | 0.29642 | 0.29642 | 0.97347 | -0.5096 | 0.97276 | -0.5235 | 16.287
25 | -0.31462 | -0.079203 | 0.31479 | 0.079313 | 0.00017408 | 0.00011078 | 0.48022 | 0.48022 | 0.48022 | 0.97514 | -0.4767 | 0.97573 | -0.46513 | 26.3857
26 | 0.013868 | 0.0034763 | -0.013866 | -0.0034756 | 1.3545e-06 | 7.5566e-07 | 0.020637 | 0.020637 | 0.020637 | 0.99991 | -0.001662 | 0.99981 | -0.0037121 | 5.6696
27 | -0.013868 | -0.0034763 | 0.013869 | 0.003477 | 1.0982e-06 | 6.1267e-07 | 0.020637 | 0.020637 | 0.020637 | 0.99991 | -0.001662 | 1 | 0 | 5.6696
28 | 0.013866 | 0.0034756 | -0.013865 | -0.0034749 | 1.1693e-06 | 6.5233e-07 | 0.020637 | 0.020637 | 0.020637 | 0.99981 | -0.0037121 | 0.99971 | -0.0054822 | 5.6696
29 | 0.48394 | 0.12504 | -0.4828 | -0.12432 | 0.0011349 | 0.00072446 | 0.72144 | 0.72144 | 0.72144 | 1 | 0 | 0.99744 | -0.048192 | 39.6398
30 | 0.05589 | 0.014037 | -0.055873 | -0.014027 | 1.6557e-05 | 1.0521e-05 | 0.085504 | 0.085504 | 0.085504 | 0.97276 | -0.5235 | 0.97245 | -0.52971 | 23.4901
31 | 0.13787 | 0.03462 | -0.13784 | -0.034605 | 2.4082e-05 | 1.4965e-05 | 0.21092 | 0.21092 | 0.21092 | 0.97276 | -0.5235 | 0.97258 | -0.52716 | 11.589
32 | 0.010229 | 0.0025642 | -0.010227 | -0.0025629 | 2.4643e-06 | 1.2445e-06 | 0.015653 | 0.015653 | 0.015653 | 0.97245 | -0.52971 | 0.97219 | -0.53477 | 4.3003
33 | 0.045644 | 0.011463 | -0.045614 | -0.011444 | 2.9189e-05 | 1.8483e-05 | 0.069851 | 0.069851 | 0.069851 | 0.97245 | -0.52971 | 0.97177 | -0.54312 | 19.1899
34 | 0.12591 | 0.031614 | -0.12587 | -0.031588 | 4.1524e-05 | 2.565e-05 | 0.19266 | 0.19266 | 0.19266 | 0.97258 | -0.52716 | 0.97223 | -0.53408 | 10.5858
35 | 0.032962 | 0.0082717 | -0.032961 | -0.0082711 | 9.698e-07 | 6.081e-07 | 0.050477 | 0.050477 | 0.050477 | 0.97177 | -0.54312 | 0.97174 | -0.54374 | 13.8673
36 | 0.012652 | 0.0031725 | -0.012647 | -0.0031697 | 4.9239e-06 | 2.7181e-06 | 0.019374 | 0.019374 | 0.019374 | 0.97177 | -0.54312 | 0.97136 | -0.55129 | 5.3227
37 | 0.032961 | 0.0082711 | -0.032951 | -0.0082646 | 1.0349e-05 | 6.4892e-06 | 0.050477 | 0.050477 | 0.050477 | 0.97174 | -0.54374 | 0.97141 | -0.55033 | 13.8673
38 | 0.016235 | 0.0040745 | -0.016228 | -0.00407 | 7.6601e-06 | 4.4941e-06 | 0.024876 | 0.024876 | 0.024876 | 0.97125 | -0.55351 | 0.97075 | -0.56341 | 6.834
39 | -0.016235 | -0.0040745 | 0.016238 | 0.004076 | 2.4623e-06 | 1.4446e-06 | 0.024876 | 0.024876 | 0.024876 | 0.97125 | -0.55351 | 0.97141 | -0.55033 | 6.834
40 | 0.016228 | 0.00407 | -0.016219 | -0.0040648 | 8.8732e-06 | 5.2064e-06 | 0.024876 | 0.024876 | 0.024876 | 0.97075 | -0.56341 | 0.97017 | -0.57488 | 6.8341
41 | 0.056141 | 0.014099 | -0.056119 | -0.014087 | 2.18e-05 | 1.1502e-05 | 0.085845 | 0.085846 | 0.085846 | 0.97324 | -0.51412 | 0.97283 | -0.52226 | 4.7168
42 | 0.0038747 | 0.00097092 | -0.0038744 | -0.00097102 | 3.1782e-07 | -9.5365e-08 | 0.0059305 | 0.0059306 | 0.0059306 | 0.97219 | -0.53477 | 0.97211 | -0.53649 | 1.6293
43 | -0.31479 | -0.079313 | 0.31535 | 0.079667 | 0.00055489 | 0.00035312 | 0.48022 | 0.48022 | 0.48022 | 0.97573 | -0.46513 | 0.97761 | -0.42835 | 26.3856
44 | -0.32273 | -0.081518 | 0.32318 | 0.0818 | 0.00044362 | 0.00028238 | 0.49146 | 0.49146 | 0.49146 | 0.97761 | -0.42835 | 0.97908 | -0.39971 | 27.0033
45 | 0.34191 | 0.087161 | -0.34153 | -0.086924 | 0.00037199 | 0.00023689 | 0.51724 | 0.51724 | 0.51724 | 0.98461 | -0.29241 | 0.98344 | -0.31497 | 28.4197
46 | -0.34191 | -0.087161 | 0.34222 | 0.08736 | 0.00031255 | 0.00019904 | 0.51724 | 0.51724 | 0.51724 | 0.98461 | -0.29241 | 0.9856 | -0.27349 | 28.4197
47 | 0.33686 | 0.085753 | -0.33624 | -0.08536 | 0.0006163 | 0.00039243 | 0.51017 | 0.51017 | 0.51017 | 0.98344 | -0.31497 | 0.98148 | -0.35299 | 28.0313
48 | -0.34655 | -0.088446 | 0.34706 | 0.088769 | 0.00050762 | 0.0003233 | 0.52378 | 0.52378 | 0.52378 | 0.9856 | -0.27349 | 0.98717 | -0.24322 | 28.7793
49 | 0.028772 | 0.007229 | -0.028768 | -0.007227 | 3.2362e-06 | 2.0121e-06 | 0.043299 | 0.043299 | 0.043299 | 0.98891 | -0.21091 | 0.98879 | -0.21327 | 11.8954
50 | -0.028772 | -0.007229 | 0.028816 | 0.0072567 | 4.4496e-05 | 2.7664e-05 | 0.043299 | 0.043299 | 0.043299 | 0.98891 | -0.21091 | 0.99058 | -0.17857 | 11.8954
51 | 0.028768 | 0.007227 | -0.028727 | -0.0072011 | 4.1663e-05 | 2.5906e-05 | 0.043299 | 0.0433 | 0.0433 | 0.98879 | -0.21327 | 0.98723 | -0.24366 | 11.8955
52 | -0.033141 | -0.0083405 | 0.033159 | 0.0083519 | 1.8174e-05 | 1.1379e-05 | 0.049795 | 0.049795 | 0.049795 | 0.99058 | -0.17857 | 0.99118 | -0.1671 | 13.6799
53 | 0.012707 | 0.0031863 | -0.012702 | -0.0031835 | 5.0585e-06 | 2.7675e-06 | 0.019154 | 0.019154 | 0.019154 | 0.98723 | -0.24366 | 0.9868 | -0.25202 | 5.2621
54 | -0.045227 | -0.011355 | 0.045238 | 0.01136 | 1.155e-05 | 5.3965e-06 | 0.069204 | 0.069204 | 0.069204 | 0.97256 | -0.52762 | 0.97283 | -0.52226 | 3.8024
55 | 0.010012 | 0.00251 | -0.010008 | -0.0025083 | 3.3161e-06 | 1.659e-06 | 0.015352 | 0.015353 | 0.015353 | 0.97039 | -0.5705 | 0.97004 | -0.57745 | 4.2178
56 | -0.0041962 | -0.0010517 | 0.0041966 | 0.0010516 | 3.9516e-07 | -6.1615e-08 | 0.0064342 | 0.0064341 | 0.0064342 | 0.97044 | -0.56949 | 0.97054 | -0.56751 | 1.7676
57 | -0.0048981 | -0.0012276 | 0.0048984 | 0.0012271 | 2.8987e-07 | -4.9064e-07 | 0.0075137 | 0.0075134 | 0.0075137 | 0.97002 | -0.57771 | 0.97009 | -0.57647 | 1.0321
58 | -0.12009 | -0.030126 | 0.12013 | 0.030151 | 4.0046e-05 | 2.4651e-05 | 0.18388 | 0.18388 | 0.18388 | 0.97187 | -0.54107 | 0.97223 | -0.53408 | 10.1035
59 | 0.45798 | 0.1181 | -0.4577 | -0.11792 | 0.00028669 | 0.00018295 | 0.68442 | 0.68442 | 0.68442 | 0.99744 | -0.048192 | 0.99676 | -0.061052 | 37.6055
60 | -0.32708 | -0.082778 | 0.32755 | 0.083079 | 0.00047331 | 0.00030131 | 0.49739 | 0.49739 | 0.49739 | 0.97908 | -0.39971 | 0.98062 | -0.36961 | 27.3291
61 | 0.33203 | 0.084304 | -0.33176 | -0.084135 | 0.00026529 | 0.0001689 | 0.50378 | 0.50378 | 0.50378 | 0.98148 | -0.35299 | 0.98062 | -0.36961 | 27.6802
62 | 0.0051279 | 0.0012848 | -0.0051276 | -0.0012848 | 3.2499e-07 | 2.255e-08 | 0.0077294 | 0.0077295 | 0.0077295 | 0.98717 | -0.24322 | 0.98711 | -0.24455 | 2.1235
63 | -0.35219 | -0.090054 | 0.35245 | 0.090218 | 0.0002572 | 0.00016383 | 0.53151 | 0.53151 | 0.53151 | 0.98717 | -0.24322 | 0.98796 | -0.22814 | 29.204
64 | -0.048256 | -0.012136 | 0.048294 | 0.01216 | 3.8267e-05 | 2.424e-05 | 0.07246 | 0.07246 | 0.07246 | 0.99118 | -0.1671 | 0.99203 | -0.15051 | 19.9065
65 | -0.0027733 | -0.00069505 | 0.0027734 | 0.00069482 | 1.712e-07 | -2.243e-07 | 0.0041809 | 0.0041807 | 0.0041809 | 0.98704 | -0.24584 | 0.98711 | -0.24455 | 1.1486
66 | 0.45334 | 0.11683 | -0.45245 | -0.11625 | 0.00089782 | 0.00057291 | 0.67792 | 0.67792 | 0.67792 | 0.99676 | -0.061052 | 0.9946 | -0.10182 | 37.2485
67 | 0.42921 | 0.11043 | -0.42861 | -0.11005 | 0.00059863 | 0.00038187 | 0.64316 | 0.64317 | 0.64317 | 0.9946 | -0.10182 | 0.99308 | -0.13055 | 35.3388
68 | 0.42132 | 0.10822 | -0.42091 | -0.10796 | 0.00040797 | 0.00026022 | 0.63224 | 0.63224 | 0.63224 | 0.99308 | -0.13055 | 0.99203 | -0.15051 | 34.7383
69 | 0.36856 | 0.094782 | -0.36815 | -0.094522 | 0.00040743 | 0.00025961 | 0.55369 | 0.55369 | 0.55369 | 0.99203 | -0.15051 | 0.99084 | -0.17328 | 30.4225
70 | 0.36172 | 0.09291 | -0.36142 | -0.09272 | 0.00029835 | 0.00019008 | 0.54403 | 0.54403 | 0.54403 | 0.99084 | -0.17328 | 0.98994 | -0.19028 | 29.8916
71 | 0.35681 | 0.091564 | -0.35615 | -0.091147 | 0.00065406 | 0.00041666 | 0.53709 | 0.53709 | 0.53709 | 0.98994 | -0.19028 | 0.98796 | -0.22814 | 29.5107

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52672 | 0.13535

## res_load
| p_mw | q_mvar
0 | 0.0095198 | 0.0023859
1 | 0.0053531 | 0.0013416
2 | 0.0048761 | 0.0012221
3 | 0.0041144 | 0.0010312
4 | 0.0033813 | 0.00084744
5 | 0.011418 | 0.0028617
6 | 0.007086 | 0.0017759
7 | 0.028057 | 0.0070317
8 | 0.031344 | 0.0078556
9 | 0.027262 | 0.0068325
10 | 0.011933 | 0.0029908
11 | 0.012647 | 0.0031697
12 | 0.016713 | 0.0041887
13 | 0.032783 | 0.0082162
14 | 0.0063522 | 0.001592
15 | 0.0073858 | 0.001851
16 | 0.016219 | 0.0040648
17 | 0.0046724 | 0.001171
18 | 0.0043351 | 0.0010865
19 | 0.0043244 | 0.0010838
20 | 0.016019 | 0.0040149
21 | 0.012702 | 0.0031835
22 | 0.013626 | 0.0034151
23 | 0.011305 | 0.0028334
24 | 0.0041962 | 0.0010517
25 | 0.0062651 | 0.0015702
26 | 0.0048981 | 0.0012276
27 | 0.0080531 | 0.0020183
28 | 0.0084475 | 0.0021171
29 | 0.0067767 | 0.0016984
30 | 0.017758 | 0.0044506
31 | 0.013865 | 0.0034749
32 | 0.024818 | 0.0062201
33 | 0.005735 | 0.0014373
34 | 0.0038744 | 0.00097102
35 | 0.01088 | 0.0027269
36 | 0.0039023 | 0.000978
37 | 0.0042154 | 0.0010565
38 | 0.015097 | 0.0037837
39 | 0.0027733 | 0.00069505
40 | 0.0023541 | 0.00059
41 | 0.010008 | 0.0025083
42 | 0.0043527 | 0.0010909
43 | 0.023233 | 0.0058228
44 | 0.0072937 | 0.001828
45 | 0.0040598 | 0.0010175
46 | 0.0064344 | 0.0016126
47 | 0.0046125 | 0.001156
48 | 0.0037067 | 0.00092899
49 | 0.0042113 | 0.0010555

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1