## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-293_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-293_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-293_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-293_0_4_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_261-293_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_261-293_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-293_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_261-293_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-293_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_261-293_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-293_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_261-293_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_261-293_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_261-293_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_261-293_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_261-293_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_261-293_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_261-293_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_261-293_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-293_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_261-293_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_261-293_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_261-293_0_4_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_261-293_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_261-293_0_4_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_261-293_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_261-293_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_261-293_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_261-293_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_261-293_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_261-293_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_261-293_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_261-293_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_261-293_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_261-293_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_261-293_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_261-293_0_4_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_261-293_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_261-293_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_261-293_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_261-293_0_4_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_261-293_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_261-293_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_261-293_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_261-293_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_261-293_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_261-293_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_MV_534_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-293_0_4_load_0 | 0 | 0.0035997 | 0.00090216 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-293_0_4_load_1 | 1 | 0.0017119 | 0.00042904 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-293_0_4_load_4 | 5 | 0.0069769 | 0.0017486 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-293_0_4_load_8 | 6 | 0.003862 | 0.00096791 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-293_0_4_load_5 | 7 | 0.0044097 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-293_0_4_load_9 | 8 | 0.0099264 | 0.0024878 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-293_0_4_load_16 | 10 | 0.043383 | 0.010873 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-293_0_4_load_17 | 11 | 0.012324 | 0.0030888 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-293_0_4_load_15 | 12 | 0.014664 | 0.0036751 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-293_0_4_load_7 | 13 | 0.047894 | 0.012003 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-293_0_4_load_13 | 14 | 0.069331 | 0.017376 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-293_0_4_load_48 | 15 | 0.044331 | 0.01111 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-293_0_4_load_14 | 16 | 0.0091011 | 0.0022809 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-293_0_4_load_12 | 17 | 0.019752 | 0.0049503 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-293_0_4_load_11 | 18 | 0.0052819 | 0.0013238 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-293_0_4_load_33 | 21 | 0.0057152 | 0.0014324 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-293_0_4_load_34 | 22 | 0.0053957 | 0.0013523 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-293_0_4_load_32 | 23 | 0.006663 | 0.0016699 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-293_0_4_load_39 | 26 | 0.0025158 | 0.00063052 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-293_0_4_load_37 | 27 | 0.0021337 | 0.00053475 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-293_0_4_load_43 | 28 | 0.0043505 | 0.0010903 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-293_0_4_load_36 | 29 | 0.004023 | 0.0010083 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-293_0_4_load_26 | 30 | 0.0049648 | 0.0012443 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-293_0_4_load_27 | 31 | 0.0039713 | 0.00099529 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-293_0_4_load_28 | 32 | 0.0032911 | 0.00082482 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-293_0_4_load_29 | 33 | 0.0029852 | 0.00074815 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-293_0_4_load_31 | 34 | 0.0081745 | 0.0020487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-293_0_4_load_24 | 35 | 0.0045736 | 0.0011463 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-293_0_4_load_18 | 36 | 0.0020035 | 0.00050211 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-293_0_4_load_23 | 37 | 0.008586 | 0.0021519 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-293_0_4_load_20 | 38 | 0.0027729 | 0.00069495 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-293_0_4_load_25 | 39 | 0.0073781 | 0.0018491 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-293_0_4_load_19 | 40 | 0.013519 | 0.0033882 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-293_0_4_load_21 | 41 | 0.0012458 | 0.00031223 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-293_0_4_load_42 | 43 | 0.00065105 | 0.00016317 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-293_0_4_load_45 | 44 | 0.0013041 | 0.00032683 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-293_0_4_load_49 | 45 | 0.010676 | 0.0026756 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-293_0_4_load_46 | 46 | 0.00089478 | 0.00022425 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-293_0_4_line_0 |  | 0 | 1 | 0.0026426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-293_0_4_line_1 |  | 0 | 2 | 0.024751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-293_0_4_line_2 |  | 1 | 3 | 0.078233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-293_0_4_line_3 |  | 2 | 4 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-293_0_4_line_4 |  | 2 | 5 | 0.024994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-293_0_4_line_5 |  | 3 | 6 | 0.043536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-293_0_4_line_6 |  | 4 | 7 | 0.0057843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-293_0_4_line_7 |  | 6 | 8 | 0.045301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-293_0_4_line_8 |  | 7 | 9 | 0.028756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-293_0_4_line_9 |  | 8 | 18 | 0.019788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-293_0_4_line_10 |  | 9 | 13 | 0.0028255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-293_0_4_line_11 |  | 10 | 11 | 0.012435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-293_0_4_line_12 |  | 10 | 12 | 0.00040775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-293_0_4_line_13 |  | 11 | 36 | 0.01262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-293_0_4_line_14 |  | 12 | 14 | 0.023088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-293_0_4_line_15 |  | 13 | 15 | 0.00449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-293_0_4_line_16 |  | 14 | 17 | 0.012841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-293_0_4_line_17 |  | 16 | 17 | 0.018691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-293_0_4_line_18 |  | 18 | 19 | 0.017848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-293_0_4_line_19 |  | 19 | 20 | 0.007022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-293_0_4_line_20 |  | 20 | 45 | 0.036766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-293_0_4_line_21 |  | 20 | 42 | 0.012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-293_0_4_line_22 |  | 21 | 22 | 0.008208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-293_0_4_line_23 |  | 21 | 23 | 0.027934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-293_0_4_line_24 |  | 22 | 24 | 0.017082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-293_0_4_line_25 |  | 23 | 34 | 0.0088179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-293_0_4_line_26 |  | 24 | 25 | 0.020478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-293_0_4_line_27 |  | 24 | 26 | 0.045201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-293_0_4_line_28 |  | 24 | 27 | 0.045767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-293_0_4_line_29 |  | 25 | 28 | 0.024122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-293_0_4_line_30 |  | 27 | 29 | 0.019168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-293_0_4_line_31 |  | 29 | 30 | 0.010383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-293_0_4_line_32 |  | 30 | 35 | 0.0098649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-293_0_4_line_33 |  | 31 | 32 | 0.0090698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-293_0_4_line_34 |  | 31 | 33 | 0.00038156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-293_0_4_line_35 |  | 33 | 34 | 0.023096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-293_0_4_line_36 |  | 35 | 37 | 0.022795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-293_0_4_line_37 |  | 36 | 38 | 0.017275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_261-293_0_4_line_38 |  | 36 | 39 | 0.071648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-293_0_4_line_39 |  | 37 | 39 | 0.011529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-293_0_4_line_40 |  | 38 | 40 | 0.012075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-293_0_4_line_41 |  | 40 | 41 | 0.022752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_261-293_0_4_line_42 |  | 41 | 42 | 0.016903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-293_0_4_line_43 |  | 42 | 43 | 0.021247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-293_0_4_line_44 |  | 43 | 44 | 0.0064798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-293_0_4_line_45 |  | 44 | 46 | 0.0081139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-293_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 47 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2685048.239 | 1248145.3266 | 2685045.6463 | 1248145.8376
1 | 2685072.5226 | 1248140.5407 | 2685048.239 | 1248145.3266
2 | 2684968.8083 | 1248160.5463 | 2685045.6463 | 1248145.8376
3 | 2685082.7462 | 1248138.6304 | 2685072.5226 | 1248140.5407
4 | 2685072.5226 | 1248140.5407 | 2685069.1888 | 1248125.4928 | 2685069.5781 | 1248122.0514 | 2685069.3097 | 1248117.5998 | 2685069.4165 | 1248115.9445
5 | 2684968.8083 | 1248160.5463 | 2684980.0463 | 1248185.3257 | 2684986.7893 | 1248200.1954
6 | 2685082.7462 | 1248138.6304 | 2685088.4297 | 1248137.5553
7 | 2684986.7893 | 1248200.1954 | 2684999.5205 | 1248228.27 | 2685006.9249 | 1248240.7076
8 | 2685116.6895 | 1248132.235 | 2685103.3987 | 1248134.7238 | 2685088.4297 | 1248137.5553
9 | 2685017.9355 | 1248257.1376 | 2685015.6151 | 1248254.0644 | 2685015.2001 | 1248253.5136 | 2685006.9249 | 1248240.7076 | 2685006.9249 | 1248240.7076
10 | 2685116.6895 | 1248132.235 | 2685119.4614 | 1248131.6867
11 | 2685113.1266 | 1248238.1144 | 2685124.6884 | 1248233.5364
12 | 2685124.6884 | 1248233.5364 | 2685125.0676 | 1248233.3863
13 | 2685101.3932 | 1248242.7603 | 2685113.1266 | 1248238.1144
14 | 2685125.0676 | 1248233.3863 | 2685140.596 | 1248227.2376 | 2685146.304 | 1248224.3728
15 | 2685123.866 | 1248130.8154 | 2685119.4614 | 1248131.6867
16 | 2685157.7808 | 1248218.6127 | 2685146.304 | 1248224.3728
17 | 2685157.7808 | 1248218.6127 | 2685162.0264 | 1248216.4818 | 2685172.898 | 1248207.7553
18 | 2685029.2167 | 1248270.9497 | 2685023.6272 | 1248264.676 | 2685017.9355 | 1248257.1376
19 | 2685029.2167 | 1248270.9497 | 2685030.197 | 1248277.9023
20 | 2685030.197 | 1248277.9023 | 2685028.5704 | 1248279.1465 | 2685009.8113 | 1248291.1531 | 2684999.1078 | 1248297.504
21 | 2685041.5722 | 1248276.7757 | 2685034.8474 | 1248274.3552 | 2685030.197 | 1248277.9023
22 | 2685240.9183 | 1248320.0994 | 2685240.4738 | 1248328.2953
23 | 2685240.9183 | 1248320.0994 | 2685242.4307 | 1248292.2064
24 | 2685240.858 | 1248345.3214 | 2685240.0041 | 1248336.9584 | 2685240.4738 | 1248328.2953
25 | 2685242.9082 | 1248283.4015 | 2685242.4307 | 1248292.2064
26 | 2685240.858 | 1248345.3214 | 2685250.3334 | 1248348.1597 | 2685259.9346 | 1248352.7456
27 | 2685240.858 | 1248345.3214 | 2685239.0431 | 1248349.6874 | 2685236.2358 | 1248353.7278 | 2685226.2841 | 1248361.435 | 2685211.5109 | 1248372.4976 | 2685207.7712 | 1248375.0173
28 | 2685240.858 | 1248345.3214 | 2685196.7428 | 1248333.1357
29 | 2685259.9346 | 1248352.7456 | 2685282.0079 | 1248362.4727
30 | 2685178.2847 | 1248327.9692 | 2685181.8731 | 1248329.0283 | 2685196.7428 | 1248333.1357
31 | 2685168.3261 | 1248325.0301 | 2685178.2847 | 1248327.9692
32 | 2685168.3261 | 1248325.0301 | 2685158.8646 | 1248322.2377
33 | 2685244.1794 | 1248259.9586 | 2685244.6705 | 1248250.9022
34 | 2685244.1587 | 1248260.3396 | 2685244.1794 | 1248259.9586
35 | 2685242.9082 | 1248283.4015 | 2685244.1587 | 1248260.3396
36 | 2685158.8646 | 1248322.2377 | 2685149.2787 | 1248319.4086 | 2685143.0307 | 1248316.9281 | 2685137.4913 | 1248314.4272
37 | 2685101.3932 | 1248242.7603 | 2685097.1022 | 1248244.4594 | 2685085.5765 | 1248249.6971
38 | 2685101.3932 | 1248242.7603 | 2685126.9833 | 1248309.6829
39 | 2685126.9833 | 1248309.6829 | 2685137.4913 | 1248314.4272
40 | 2685085.5765 | 1248249.6971 | 2685079.313 | 1248252.5435 | 2685074.9411 | 1248255.3506
41 | 2685055.7958 | 1248267.6431 | 2685074.9411 | 1248255.3506
42 | 2685041.5722 | 1248276.7757 | 2685055.7958 | 1248267.6431
43 | 2685041.5722 | 1248276.7757 | 2685023.3801 | 1248287.7514
44 | 2685017.8319 | 1248291.0988 | 2685023.3801 | 1248287.7514
45 | 2685017.8319 | 1248291.0988 | 2685010.8845 | 1248295.2903

## bus_geodata
| x | y | coords
0 | 2685048.239 | 1248145.3266
1 | 2685045.6463 | 1248145.8376
2 | 2685072.5226 | 1248140.5407
3 | 2684968.8083 | 1248160.5463
4 | 2685082.7462 | 1248138.6304
5 | 2685069.4165 | 1248115.9445
6 | 2684986.7893 | 1248200.1954
7 | 2685088.4297 | 1248137.5553
8 | 2685006.9249 | 1248240.7076
9 | 2685116.6895 | 1248132.235
10 | 2685124.6884 | 1248233.5364
11 | 2685113.1266 | 1248238.1144
12 | 2685125.0676 | 1248233.3863
13 | 2685119.4614 | 1248131.6867
14 | 2685146.304 | 1248224.3728
15 | 2685123.866 | 1248130.8154
16 | 2685172.898 | 1248207.7553
17 | 2685157.7808 | 1248218.6127
18 | 2685017.9355 | 1248257.1376
19 | 2685029.2167 | 1248270.9497
20 | 2685030.197 | 1248277.9023
21 | 2685240.9183 | 1248320.0994
22 | 2685240.4738 | 1248328.2953
23 | 2685242.4307 | 1248292.2064
24 | 2685240.858 | 1248345.3214
25 | 2685259.9346 | 1248352.7456
26 | 2685207.7712 | 1248375.0173
27 | 2685196.7428 | 1248333.1357
28 | 2685282.0079 | 1248362.4727
29 | 2685178.2847 | 1248327.9692
30 | 2685168.3261 | 1248325.0301
31 | 2685244.1794 | 1248259.9586
32 | 2685244.6705 | 1248250.9022
33 | 2685244.1587 | 1248260.3396
34 | 2685242.9082 | 1248283.4015
35 | 2685158.8646 | 1248322.2377
36 | 2685101.3932 | 1248242.7603
37 | 2685137.4913 | 1248314.4272
38 | 2685085.5765 | 1248249.6971
39 | 2685126.9833 | 1248309.6829
40 | 2685074.9411 | 1248255.3506
41 | 2685055.7958 | 1248267.6431
42 | 2685041.5722 | 1248276.7757
43 | 2685023.3801 | 1248287.7514
44 | 2685017.8319 | 1248291.0988
45 | 2684999.1078 | 1248297.504
46 | 2685010.8845 | 1248295.2903
47 | 2685041.5722 | 1248276.7757

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97718 | -0.43634 | 0.0035997 | 0.00090216
1 | 0.97744 | -0.43117 | 0.0017119 | 0.00042904
2 | 0.97478 | -0.48327 | 0 | 0
3 | 0.98541 | -0.27696 | 0 | 0
4 | 0.97385 | -0.50167 | 0 | 0
5 | 0.97462 | -0.48646 | 0.0069769 | 0.0017486
6 | 0.98984 | -0.19222 | 0.003862 | 0.00096791
7 | 0.97332 | -0.51194 | 0.0044097 | 0.0011052
8 | 0.99223 | -0.14688 | 0.0099264 | 0.0024878
9 | 0.97085 | -0.56086 | 0 | 0
10 | 0.99996 | -0.00069065 | 0.043383 | 0.010873
11 | 0.99901 | -0.018637 | 0.012324 | 0.0030888
12 | 1 | 0 | -0.39553 | -0.10034
13 | 0.9706 | -0.56568 | 0.047894 | 0.012003
14 | 0.99794 | -0.039592 | 0.069331 | 0.017376
15 | 0.97042 | -0.56937 | 0.044331 | 0.01111
16 | 0.99745 | -0.049059 | 0.0091011 | 0.0022809
17 | 0.9976 | -0.046079 | 0.019752 | 0.0049503
18 | 0.99336 | -0.12541 | 0.0052819 | 0.0013238
19 | 0.99407 | -0.11197 | 0 | 0
20 | 0.99435 | -0.10669 | 0 | 0
21 | 0.98687 | -0.2523 | 0.0057152 | 0.0014324
22 | 0.9871 | -0.24778 | 0.0053957 | 0.0013523
23 | 0.98623 | -0.26485 | 0.006663 | 0.0016699
24 | 0.98767 | -0.23672 | 0 | 0
25 | 0.98759 | -0.23831 | 0 | 0
26 | 0.98757 | -0.23875 | 0.0025158 | 0.00063052
27 | 0.98948 | -0.20157 | 0.0021337 | 0.00053475
28 | 0.98749 | -0.24019 | 0.0043505 | 0.0010903
29 | 0.99028 | -0.18615 | 0.004023 | 0.0010083
30 | 0.99075 | -0.17707 | 0.0049648 | 0.0012443
31 | 0.98586 | -0.27205 | 0.0039713 | 0.00099529
32 | 0.98583 | -0.27259 | 0.0032911 | 0.00082482
33 | 0.98586 | -0.272 | 0.0029852 | 0.00074815
34 | 0.98608 | -0.26776 | 0.0081745 | 0.0020487
35 | 0.99124 | -0.16759 | 0.0045736 | 0.0011463
36 | 0.9981 | -0.035976 | 0.0020035 | 0.00050211
37 | 0.99247 | -0.14385 | 0.008586 | 0.0021519
38 | 0.99724 | -0.052017 | 0.0027729 | 0.00069495
39 | 0.99318 | -0.13012 | 0.0073781 | 0.0018491
40 | 0.99666 | -0.06305 | 0.013519 | 0.0033882
41 | 0.99565 | -0.08207 | 0.0012458 | 0.00031223
42 | 0.99491 | -0.096102 | 0 | 0
43 | 0.99486 | -0.097168 | 0.00065105 | 0.00016317
44 | 0.99484 | -0.097419 | 0.0013041 | 0.00032683
45 | 0.99399 | -0.11361 | 0.010676 | 0.0026756
46 | 0.99484 | -0.097547 | 0.00089478 | 0.00022425
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10782 | -0.02726 | 0.10785 | 0.027278 | 2.6743e-05 | 1.7082e-05 | 0.16428 | 0.16428 | 0.16428 | 0.97718 | -0.43634 | 0.97744 | -0.43117 | 45.1309
1 | 0.10422 | 0.026358 | -0.10399 | -0.026209 | 0.00023404 | 0.00014948 | 0.15879 | 0.1588 | 0.1588 | 0.97718 | -0.43634 | 0.97478 | -0.48327 | 43.625
2 | -0.10956 | -0.027707 | 0.11038 | 0.028229 | 0.00081704 | 0.00052192 | 0.16688 | 0.16688 | 0.16688 | 0.97744 | -0.43117 | 0.98541 | -0.27696 | 45.8468
3 | 0.097012 | 0.02446 | -0.096927 | -0.024405 | 8.5352e-05 | 5.4496e-05 | 0.14814 | 0.14814 | 0.14814 | 0.97478 | -0.48327 | 0.97385 | -0.50167 | 40.6987
4 | 0.0069779 | 0.0017489 | -0.0069769 | -0.0017486 | 1.0635e-06 | 3.6911e-07 | 0.010652 | 0.010652 | 0.010652 | 0.97478 | -0.48327 | 0.97462 | -0.48646 | 2.9264
5 | -0.11038 | -0.028229 | 0.11083 | 0.028519 | 0.00045467 | 0.00029043 | 0.16688 | 0.16688 | 0.16688 | 0.98541 | -0.27696 | 0.98984 | -0.19222 | 45.8467
6 | 0.096927 | 0.024405 | -0.096879 | -0.024375 | 4.7604e-05 | 3.0395e-05 | 0.14814 | 0.14814 | 0.14814 | 0.97385 | -0.50167 | 0.97332 | -0.51194 | 40.6987
7 | -0.1147 | -0.029487 | 0.11495 | 0.029648 | 0.0002533 | 0.00016094 | 0.17269 | 0.17269 | 0.17269 | 0.98984 | -0.19222 | 0.99223 | -0.14688 | 23.7208
8 | 0.09247 | 0.02327 | -0.092254 | -0.023132 | 0.00021561 | 0.00013764 | 0.1414 | 0.1414 | 0.1414 | 0.97332 | -0.51194 | 0.97085 | -0.56086 | 38.8466
9 | -0.12488 | -0.032136 | 0.12501 | 0.032219 | 0.00013054 | 8.3032e-05 | 0.18757 | 0.18757 | 0.18757 | 0.99223 | -0.14688 | 0.99336 | -0.12541 | 25.7655
10 | 0.092254 | 0.023132 | -0.092233 | -0.023119 | 2.1186e-05 | 1.3524e-05 | 0.1414 | 0.1414 | 0.1414 | 0.97085 | -0.56086 | 0.9706 | -0.56568 | 38.8466
11 | 0.25211 | 0.064729 | -0.25189 | -0.064589 | 0.00021941 | 0.00013994 | 0.37571 | 0.37571 | 0.37571 | 0.99996 | -0.00069065 | 0.99901 | -0.018637 | 34.4055
12 | -0.2955 | -0.075602 | 0.2955 | 0.075608 | 9.8795e-06 | 6.3068e-06 | 0.44026 | 0.44026 | 0.44026 | 0.99996 | -0.00069065 | 1 | 0 | 40.3173
13 | 0.23957 | 0.061501 | -0.23937 | -0.061372 | 0.00020144 | 0.00012843 | 0.35735 | 0.35735 | 0.35735 | 0.99901 | -0.018637 | 0.9981 | -0.035976 | 32.7245
14 | 0.09838 | 0.024732 | -0.098194 | -0.024613 | 0.00018561 | 0.00011849 | 0.14642 | 0.14642 | 0.14642 | 1 | 0 | 0.99794 | -0.039592 | 40.2246
15 | 0.044339 | 0.011115 | -0.044331 | -0.01111 | 7.7802e-06 | 4.9238e-06 | 0.067976 | 0.067976 | 0.067976 | 0.9706 | -0.56568 | 0.97042 | -0.56937 | 18.6748
16 | 0.028863 | 0.0072373 | -0.028854 | -0.0072318 | 8.9197e-06 | 5.5409e-06 | 0.043039 | 0.043039 | 0.043039 | 0.99794 | -0.039592 | 0.9976 | -0.046079 | 11.8238
17 | -0.0091011 | -0.0022809 | 0.0091024 | 0.0022815 | 1.2921e-06 | 5.8292e-07 | 0.013577 | 0.013577 | 0.013577 | 0.99745 | -0.049059 | 0.9976 | -0.046079 | 3.73
18 | -0.13029 | -0.033542 | 0.13037 | 0.033596 | 8.5257e-05 | 5.3871e-05 | 0.19548 | 0.19548 | 0.19548 | 0.99336 | -0.12541 | 0.99407 | -0.11197 | 17.9015
19 | -0.13037 | -0.033596 | 0.13041 | 0.033617 | 3.3542e-05 | 2.1194e-05 | 0.19548 | 0.19548 | 0.19548 | 0.99407 | -0.11197 | 0.99435 | -0.10669 | 17.9015
20 | 0.010679 | 0.0026774 | -0.010676 | -0.0026756 | 3.5216e-06 | 1.7771e-06 | 0.015982 | 0.015982 | 0.015982 | 0.99435 | -0.10669 | 0.99399 | -0.11361 | 4.3907
21 | -0.14109 | -0.036295 | 0.14116 | 0.036341 | 7.2644e-05 | 4.5986e-05 | 0.21147 | 0.21147 | 0.21147 | 0.99435 | -0.10669 | 0.99491 | -0.096102 | 19.365
22 | -0.03082 | -0.007731 | 0.030827 | 0.0077352 | 6.6477e-06 | 4.1496e-06 | 0.046473 | 0.046473 | 0.046473 | 0.98687 | -0.2523 | 0.9871 | -0.24778 | 12.7673
23 | 0.025105 | 0.0062987 | -0.02509 | -0.0062894 | 1.5012e-05 | 9.2507e-06 | 0.037856 | 0.037856 | 0.037856 | 0.98687 | -0.2523 | 0.98623 | -0.26485 | 10.4
24 | -0.036222 | -0.0090875 | 0.036241 | 0.0090995 | 1.9102e-05 | 1.2007e-05 | 0.054607 | 0.054607 | 0.054607 | 0.9871 | -0.24778 | 0.98767 | -0.23672 | 15.0019
25 | 0.018427 | 0.0046195 | -0.018424 | -0.004618 | 2.5561e-06 | 1.5234e-06 | 0.027803 | 0.027803 | 0.027803 | 0.98623 | -0.26485 | 0.98608 | -0.26776 | 7.6381
26 | 0.0043512 | 0.0010902 | -0.0043509 | -0.0010903 | 3.3e-07 | -5.0849e-08 | 0.0065554 | 0.0065555 | 0.0065555 | 0.98767 | -0.23672 | 0.98759 | -0.23831 | 1.801
27 | 0.002516 | 0.0006301 | -0.0025158 | -0.00063052 | 2.4355e-07 | -4.2254e-07 | 0.0037905 | 0.0037907 | 0.0037907 | 0.98767 | -0.23672 | 0.98757 | -0.23875 | 1.0414
28 | -0.043109 | -0.01082 | 0.043181 | 0.010866 | 7.2407e-05 | 4.5754e-05 | 0.064953 | 0.064952 | 0.064953 | 0.98767 | -0.23672 | 0.98948 | -0.20157 | 17.8441
29 | 0.0043509 | 0.0010903 | -0.0043505 | -0.0010903 | 3.8873e-07 | -5.9834e-08 | 0.0065555 | 0.0065556 | 0.0065556 | 0.98759 | -0.23831 | 0.98749 | -0.24019 | 1.801
30 | -0.045315 | -0.0114 | 0.045348 | 0.011421 | 3.3395e-05 | 2.1126e-05 | 0.068161 | 0.068161 | 0.068161 | 0.98948 | -0.20157 | 0.99028 | -0.18615 | 18.7256
31 | -0.049371 | -0.01243 | 0.049393 | 0.012443 | 2.1441e-05 | 1.3589e-05 | 0.074206 | 0.074206 | 0.074206 | 0.99028 | -0.18615 | 0.99075 | -0.17707 | 20.3863
32 | -0.054357 | -0.013688 | 0.054382 | 0.013703 | 2.467e-05 | 1.5662e-05 | 0.081663 | 0.081663 | 0.081663 | 0.99075 | -0.17707 | 0.99124 | -0.16759 | 22.4349
33 | 0.0032911 | 0.00082475 | -0.0032911 | -0.00082482 | 8.3928e-08 | -6.193e-08 | 0.0049675 | 0.0049675 | 0.0049675 | 0.98586 | -0.27205 | 0.98583 | -0.27259 | 1.3647
34 | -0.0072624 | -0.00182 | 0.0072624 | 0.0018201 | 1.7192e-08 | 6.1381e-09 | 0.010962 | 0.010962 | 0.010962 | 0.98586 | -0.27205 | 0.98586 | -0.272 | 3.0114
35 | -0.010248 | -0.0025682 | 0.01025 | 0.0025692 | 2.072e-06 | 1.0315e-06 | 0.015467 | 0.015467 | 0.015467 | 0.98586 | -0.272 | 0.98608 | -0.26776 | 4.2492
36 | -0.058956 | -0.014849 | 0.059023 | 0.014892 | 6.6994e-05 | 4.2582e-05 | 0.088529 | 0.088528 | 0.088529 | 0.99124 | -0.16759 | 0.99247 | -0.14385 | 24.321
37 | 0.16199 | 0.041732 | -0.16187 | -0.041652 | 0.00012637 | 8.02e-05 | 0.24191 | 0.24191 | 0.24191 | 0.9981 | -0.035976 | 0.99724 | -0.052017 | 22.153
38 | 0.075371 | 0.019138 | -0.075031 | -0.018921 | 0.00033978 | 0.00021653 | 0.11246 | 0.11246 | 0.11246 | 0.9981 | -0.035976 | 0.99318 | -0.13012 | 30.8944
39 | -0.067609 | -0.017044 | 0.067653 | 0.017072 | 4.4455e-05 | 2.8302e-05 | 0.1014 | 0.1014 | 0.1014 | 0.99247 | -0.14385 | 0.99318 | -0.13012 | 27.8576
40 | 0.15909 | 0.040957 | -0.15901 | -0.040903 | 8.5337e-05 | 5.4143e-05 | 0.23777 | 0.23777 | 0.23777 | 0.99724 | -0.052017 | 0.99666 | -0.06305 | 21.7741
41 | 0.14549 | 0.037515 | -0.14535 | -0.037429 | 0.00013465 | 8.5287e-05 | 0.21759 | 0.21759 | 0.21759 | 0.99666 | -0.06305 | 0.99565 | -0.08207 | 19.9258
42 | 0.14411 | 0.037117 | -0.14401 | -0.037055 | 9.8331e-05 | 6.2273e-05 | 0.21573 | 0.21573 | 0.21573 | 0.99565 | -0.08207 | 0.99491 | -0.096102 | 19.7553
43 | 0.0028501 | 0.0007139 | -0.0028499 | -0.00071408 | 1.4476e-07 | -1.8325e-07 | 0.0042625 | 0.0042626 | 0.0042626 | 0.99491 | -0.096102 | 0.99486 | -0.097168 | 1.171
44 | 0.0021989 | 0.00055091 | -0.0021988 | -0.00055098 | 2.6283e-08 | -6.7316e-08 | 0.0032888 | 0.0032888 | 0.0032888 | 0.99486 | -0.097168 | 0.99484 | -0.097419 | 0.90352
45 | 0.00089478 | 0.00022415 | -0.00089478 | -0.00022425 | 5.4499e-09 | -1.0186e-07 | 0.0013383 | 0.0013384 | 0.0013384 | 0.99484 | -0.097419 | 0.99484 | -0.097547 | 0.36768

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4102 | 0.10402

## res_load
| p_mw | q_mvar
0 | 0.0035997 | 0.00090216
1 | 0.0017119 | 0.00042904
2 | 0.0069769 | 0.0017486
3 | 0.003862 | 0.00096791
4 | 0.0044097 | 0.0011052
5 | 0.0099264 | 0.0024878
6 | 0.043383 | 0.010873
7 | 0.012324 | 0.0030888
8 | 0.014664 | 0.0036751
9 | 0.047894 | 0.012003
10 | 0.069331 | 0.017376
11 | 0.044331 | 0.01111
12 | 0.0091011 | 0.0022809
13 | 0.019752 | 0.0049503
14 | 0.0052819 | 0.0013238
15 | 0.0057152 | 0.0014324
16 | 0.0053957 | 0.0013523
17 | 0.006663 | 0.0016699
18 | 0.0025158 | 0.00063052
19 | 0.0021337 | 0.00053475
20 | 0.0043505 | 0.0010903
21 | 0.004023 | 0.0010083
22 | 0.0049648 | 0.0012443
23 | 0.0039713 | 0.00099529
24 | 0.0032911 | 0.00082482
25 | 0.0029852 | 0.00074815
26 | 0.0081745 | 0.0020487
27 | 0.0045736 | 0.0011463
28 | 0.0020035 | 0.00050211
29 | 0.008586 | 0.0021519
30 | 0.0027729 | 0.00069495
31 | 0.0073781 | 0.0018491
32 | 0.013519 | 0.0033882
33 | 0.0012458 | 0.00031223
34 | 0.00065105 | 0.00016317
35 | 0.0013041 | 0.00032683
36 | 0.010676 | 0.0026756
37 | 0.00089478 | 0.00022425

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1