## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-298_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-298_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-298_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-298_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-298_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-298_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_261-298_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-298_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-298_0_5_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_261-298_0_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_261-298_0_5_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_261-298_0_5_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_261-298_0_5_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_261-298_0_5_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_261-298_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-298_0_5_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_261-298_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_261-298_0_5_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_261-298_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_261-298_0_5_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_261-298_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_261-298_0_5_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_261-298_0_5_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_261-298_0_5_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_261-298_0_5_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_261-298_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_261-298_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_261-298_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_261-298_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_261-298_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_261-298_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_261-298_0_5_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_261-298_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_261-298_0_5_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_261-298_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_261-298_0_5_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_261-298_0_5_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_261-298_0_5_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_261-298_0_5_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_261-298_0_5_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_261-298_0_5_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_261-298_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_261-298_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_261-298_0_5_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_261-298_0_5_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_261-298_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_261-298_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_261-298_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_261-298_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_261-298_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_261-298_0_5_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_261-298_0_5_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_261-298_0_5_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_261-298_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_261-298_0_5_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_261-298_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_261-298_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_261-298_0_5_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_261-298_0_5_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_261-298_0_5_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_261-298_0_5_node_64 | 0.4 | n |  | TRUE
61 | bus_MV_550_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-298_0_5_load_0 | 0 | 0.010691 | 0.0026793 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-298_0_5_load_1 | 1 | 0.010365 | 0.0025978 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-298_0_5_load_63 | 8 | 0.013912 | 0.0034867 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-298_0_5_load_44 | 10 | 0.016568 | 0.0041524 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-298_0_5_load_45 | 11 | 0.062466 | 0.015655 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-298_0_5_load_56 | 12 | 0.0078125 | 0.001958 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-298_0_5_load_55 | 13 | 0.0020993 | 0.00052613 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-298_0_5_load_15 | 15 | 0.008602 | 0.0021559 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-298_0_5_load_14 | 16 | 0.0090252 | 0.0022619 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-298_0_5_load_35 | 17 | 0.010995 | 0.0027557 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-298_0_5_load_49 | 19 | 0.043663 | 0.010943 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-298_0_5_load_17 | 20 | 0.014298 | 0.0035834 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-298_0_5_load_26 | 21 | 0.0069015 | 0.0017297 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-298_0_5_load_37 | 22 | 0.016666 | 0.0041769 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-298_0_5_load_38 | 23 | 0.0112 | 0.002807 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-298_0_5_load_25 | 24 | 0.013594 | 0.003407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-298_0_5_load_18 | 25 | 0.0033532 | 0.00084038 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-298_0_5_load_19 | 26 | 0.0082151 | 0.0020589 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-298_0_5_load_21 | 28 | 0.011266 | 0.0028235 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-298_0_5_load_23 | 29 | 0.010096 | 0.0025304 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-298_0_5_load_24 | 30 | 0.0051543 | 0.0012918 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-298_0_5_load_51 | 31 | 0.0038023 | 0.00095294 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-298_0_5_load_48 | 33 | 0.0045767 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-298_0_5_load_41 | 34 | 0.041498 | 0.0104 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-298_0_5_load_46 | 35 | 0.0045766 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-298_0_5_load_57 | 36 | 0.0049191 | 0.0012329 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-298_0_5_load_52 | 37 | 0.01653 | 0.0041429 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-298_0_5_load_40 | 38 | 0.038949 | 0.0097615 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-298_0_5_load_47 | 39 | 0.0017382 | 0.00043564 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-298_0_5_load_58 | 40 | 0.04705 | 0.011792 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-298_0_5_load_27 | 41 | 0.013656 | 0.0034225 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-298_0_5_load_28 | 42 | 0.016529 | 0.0041425 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-298_0_5_load_36 | 43 | 0.0076322 | 0.0019128 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-298_0_5_load_29 | 45 | 0.0013244 | 0.00033192 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-298_0_5_load_32 | 48 | 0.00054834 | 0.00013743 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-298_0_5_load_62 | 50 | 0.0004942 | 0.00012386 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-298_0_5_load_60 | 51 | 0.0028948 | 0.0007255 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-298_0_5_load_61 | 52 | 0.0033668 | 0.0008438 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-298_0_5_load_59 | 53 | 0.0086908 | 0.0021781 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-298_0_5_load_42 | 55 | 0.0095167 | 0.0023851 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-298_0_5_load_43 | 56 | 0.011932 | 0.0029904 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-298_0_5_load_66 | 57 | 0.010781 | 0.002702 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-298_0_5_load_65 | 58 | 0.010499 | 0.0026313 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-298_0_5_load_53 | 59 | 0.021218 | 0.0053177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-298_0_5_line_0 |  | 0 | 1 | 0.035036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-298_0_5_line_1 |  | 0 | 2 | 0.014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-298_0_5_line_2 |  | 1 | 3 | 0.024956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-298_0_5_line_3 |  | 2 | 4 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-298_0_5_line_4 |  | 2 | 5 | 0.031916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-298_0_5_line_5 |  | 3 | 6 | 0.011422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-298_0_5_line_6 |  | 4 | 7 | 0.01184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-298_0_5_line_7 |  | 4 | 8 | 0.022557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-298_0_5_line_8 |  | 5 | 12 | 0.008727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-298_0_5_line_9 |  | 5 | 13 | 0.008367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-298_0_5_line_10 |  | 6 | 9 | 0.025455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-298_0_5_line_11 |  | 6 | 10 | 0.0092569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-298_0_5_line_12 |  | 7 | 11 | 0.017129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-298_0_5_line_13 |  | 9 | 17 | 0.011056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-298_0_5_line_14 |  | 11 | 19 | 0.026871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_261-298_0_5_line_15 |  | 14 | 15 | 0.041604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-298_0_5_line_16 |  | 14 | 16 | 0.0064235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-298_0_5_line_17 |  | 15 | 18 | 0.012976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-298_0_5_line_18 |  | 17 | 18 | 0.021851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-298_0_5_line_19 |  | 19 | 54 | 0.023475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-298_0_5_line_20 |  | 20 | 21 | 0.003632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-298_0_5_line_21 |  | 21 | 24 | 0.033853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-298_0_5_line_22 |  | 22 | 23 | 0.022329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-298_0_5_line_23 |  | 23 | 29 | 0.0099581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-298_0_5_line_24 |  | 24 | 41 | 0.0014111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-298_0_5_line_25 |  | 25 | 26 | 0.007853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-298_0_5_line_26 |  | 25 | 27 | 0.017199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-298_0_5_line_27 |  | 26 | 28 | 0.033126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-298_0_5_line_28 |  | 27 | 29 | 0.035687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-298_0_5_line_29 |  | 27 | 30 | 0.012547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-298_0_5_line_30 |  | 28 | 31 | 0.0025765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-298_0_5_line_31 |  | 30 | 36 | 0.0043154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-298_0_5_line_32 |  | 32 | 33 | 0.034837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-298_0_5_line_33 |  | 32 | 34 | 0.026297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-298_0_5_line_34 |  | 32 | 35 | 0.018441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-298_0_5_line_35 |  | 33 | 37 | 0.0036808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-298_0_5_line_36 |  | 34 | 38 | 0.003348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-298_0_5_line_37 |  | 35 | 39 | 0.014448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-298_0_5_line_38 |  | 36 | 40 | 0.029351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-298_0_5_line_39 |  | 37 | 59 | 0.011268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-298_0_5_line_40 |  | 38 | 55 | 0.0076109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_261-298_0_5_line_41 |  | 39 | 49 | 0.020211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-298_0_5_line_42 |  | 40 | 44 | 0.018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-298_0_5_line_43 |  | 41 | 42 | 0.033074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-298_0_5_line_44 |  | 42 | 43 | 0.0016802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-298_0_5_line_45 |  | 43 | 44 | 0.039601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-298_0_5_line_46 |  | 44 | 54 | 0.027887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_261-298_0_5_line_47 |  | 45 | 46 | 0.0087809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-298_0_5_line_48 |  | 45 | 47 | 0.00053717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-298_0_5_line_49 |  | 46 | 48 | 0.033433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-298_0_5_line_50 |  | 47 | 49 | 0.016927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-298_0_5_line_51 |  | 48 | 50 | 0.013254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-298_0_5_line_52 |  | 50 | 51 | 0.0098165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-298_0_5_line_53 |  | 51 | 53 | 0.0075707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-298_0_5_line_54 |  | 52 | 53 | 0.0048163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-298_0_5_line_55 |  | 54 | 60 | 0.015175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-298_0_5_line_56 |  | 55 | 56 | 0.0043262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_261-298_0_5_line_57 |  | 56 | 57 | 0.0054036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_261-298_0_5_line_58 |  | 57 | 58 | 0.010507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_261-298_0_5_line_59 |  | 58 | 60 | 0.0092605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-298_0_5_trafo_54 | 0.63 MVA 20/0.4 kV | 61 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2684399.8399 | 1248371.1315 | 2684384.2834 | 1248381.5188 | 2684370.6463 | 1248390.503
1 | 2684411.386 | 1248363.1798 | 2684407.2574 | 1248366.1788 | 2684399.8399 | 1248371.1315
2 | 2684348.9717 | 1248401.9648 | 2684353.4993 | 1248399.583 | 2684355.3312 | 1248399.8204 | 2684356.9924 | 1248399.3103 | 2684358.362 | 1248398.5959 | 2684370.6463 | 1248390.503
3 | 2684411.386 | 1248363.1798 | 2684414.6761 | 1248368.1414 | 2684418.521 | 1248373.9227
4 | 2684411.386 | 1248363.1798 | 2684418.3459 | 1248358.1196 | 2684399.9327 | 1248343.8246
5 | 2684348.9717 | 1248401.9648 | 2684352.0922 | 1248408.2361 | 2684353.3916 | 1248412.4577
6 | 2684408.5287 | 1248380.3185 | 2684414.6635 | 1248376.4474 | 2684418.521 | 1248373.9227
7 | 2684418.521 | 1248373.9227 | 2684423.2018 | 1248370.8648 | 2684436.5605 | 1248360.4058
8 | 2684393.023 | 1248338.4668 | 2684399.9327 | 1248343.8246
9 | 2684399.9327 | 1248343.8246 | 2684406.7614 | 1248338.9898
10 | 2684339.3226 | 1248433.0729 | 2684341.8862 | 1248429.6512 | 2684349.0103 | 1248419.9454 | 2684352.9439 | 1248415.2534 | 2684353.7525 | 1248413.6304 | 2684353.3916 | 1248412.4577
11 | 2684353.3916 | 1248412.4577 | 2684361.1835 | 1248407.4602
12 | 2684408.5287 | 1248380.3185 | 2684417.9469 | 1248394.6253
13 | 2684339.3226 | 1248433.0729 | 2684339.9444 | 1248437.1403 | 2684339.7961 | 1248440.663 | 2684338.6785 | 1248443.8902
14 | 2684417.9469 | 1248394.6253 | 2684425.6569 | 1248406.3372 | 2684428.7544 | 1248415.2768 | 2684429.4206 | 1248418.5992
15 | 2684307.2029 | 1248509.4728 | 2684317.1913 | 1248487.4095 | 2684324.1389 | 1248471.4734
16 | 2684307.2029 | 1248509.4728 | 2684310.2003 | 1248510.594 | 2684308.9594 | 1248513.5688
17 | 2684328.0681 | 1248459.1766 | 2684326.716 | 1248465.5621 | 2684324.1389 | 1248471.4734
18 | 2684328.0681 | 1248459.1766 | 2684331.6139 | 1248460.5058 | 2684337.6695 | 1248446.804 | 2684338.6785 | 1248443.8902
19 | 2684434.0358 | 1248441.616 | 2684429.4206 | 1248418.5992
20 | 2684343.2853 | 1248528.0229 | 2684346.0589 | 1248525.6779
21 | 2684371.9105 | 1248503.8209 | 2684346.0589 | 1248525.6779
22 | 2684411.0702 | 1248557.629 | 2684409.4585 | 1248558.9087 | 2684398.8047 | 1248569.3537 | 2684395.2022 | 1248573.3102
23 | 2684418.8689 | 1248551.4367 | 2684411.0702 | 1248557.629
24 | 2684371.9105 | 1248503.8209 | 2684372.9881 | 1248502.9098
25 | 2684454.6148 | 1248557.7915 | 2684452.8561 | 1248550.138
26 | 2684449.5108 | 1248533.2711 | 2684451.7625 | 1248545.3788 | 2684452.8561 | 1248550.138
27 | 2684463.4397 | 1248589.7117 | 2684461.6615 | 1248583.1256 | 2684455.9153 | 1248563.4513 | 2684454.6148 | 1248557.7915
28 | 2684449.5108 | 1248533.2711 | 2684435.5357 | 1248540.3996 | 2684420.588 | 1248550.0717 | 2684418.8689 | 1248551.4367
29 | 2684449.5108 | 1248533.2711 | 2684448.8312 | 1248525.311 | 2684448.0002 | 1248520.8293
30 | 2684463.4397 | 1248589.7117 | 2684464.1113 | 1248592.1991
31 | 2684447.2135 | 1248516.5862 | 2684448.0002 | 1248520.8293
32 | 2684493.0096 | 1248493.6947 | 2684506.3245 | 1248461.5024
33 | 2684493.0096 | 1248493.6947 | 2684489.5551 | 1248491.2659 | 2684479.4009 | 1248483.0596 | 2684473.1703 | 1248476.5402
34 | 2684493.0096 | 1248493.6947 | 2684495.5743 | 1248495.4993 | 2684508.1174 | 1248504.2688
35 | 2684507.7313 | 1248458.1011 | 2684506.3245 | 1248461.5024
36 | 2684473.1703 | 1248476.5402 | 2684470.8571 | 1248474.1198
37 | 2684508.1174 | 1248504.2688 | 2684519.9583 | 1248512.5475
38 | 2684447.2135 | 1248516.5862 | 2684441.8623 | 1248487.7268
39 | 2684507.7313 | 1248458.1011 | 2684512.038 | 1248447.6887
40 | 2684465.5973 | 1248468.6189 | 2684465.5973 | 1248468.6189 | 2684469.4891 | 1248472.6885 | 2684470.8571 | 1248474.1198
41 | 2684535.5634 | 1248525.1579 | 2684532.3795 | 1248521.2318 | 2684519.9583 | 1248512.5475
42 | 2684438.4164 | 1248469.1544 | 2684439.7561 | 1248476.3677 | 2684441.8623 | 1248487.7268
43 | 2684399.9579 | 1248483.9394 | 2684383.9631 | 1248493.6307 | 2684372.9881 | 1248502.9098
44 | 2684399.9579 | 1248483.9394 | 2684400.1362 | 1248483.8314 | 2684401.4773 | 1248483.225
45 | 2684438.4164 | 1248469.1544 | 2684419.4966 | 1248475.0783 | 2684401.4773 | 1248483.225
46 | 2684434.0358 | 1248441.616 | 2684434.9669 | 1248448.3565 | 2684438.4164 | 1248469.1544
47 | 2684550.3456 | 1248546.6847 | 2684547.8281 | 1248543.691 | 2684545.1312 | 1248539.6367
48 | 2684545.1312 | 1248539.6367 | 2684544.8337 | 1248539.1894
49 | 2684550.3456 | 1248546.6847 | 2684540.5299 | 1248560.8219 | 2684532.978 | 1248570.3324 | 2684530.2479 | 1248573.3617
50 | 2684535.5634 | 1248525.1579 | 2684537.2113 | 1248529.2845 | 2684544.8337 | 1248539.1894
51 | 2684530.2479 | 1248573.3617 | 2684524.7365 | 1248579.4772 | 2684521.3117 | 1248583.1493
52 | 2684521.3117 | 1248583.1493 | 2684514.6163 | 1248590.328
53 | 2684509.3 | 1248595.715 | 2684512.4346 | 1248592.6672 | 2684514.6163 | 1248590.328
54 | 2684509.3 | 1248595.715 | 2684505.8469 | 1248599.0725
55 | 2684434.0358 | 1248441.616 | 2684443.8272 | 1248442.9564 | 2684448.5887 | 1248445.3594
56 | 2684463.7504 | 1248464.7067 | 2684465.5973 | 1248468.6189
57 | 2684461.4435 | 1248459.8203 | 2684463.7504 | 1248464.7067
58 | 2684455.7108 | 1248451.2452 | 2684458.6475 | 1248453.8979 | 2684461.4435 | 1248459.8203
59 | 2684448.5887 | 1248445.3594 | 2684450.8929 | 1248446.8933 | 2684455.7108 | 1248451.2452

## bus_geodata
| x | y | coords
0 | 2684399.8399 | 1248371.1315
1 | 2684370.6463 | 1248390.503
2 | 2684411.386 | 1248363.1798
3 | 2684348.9717 | 1248401.9648
4 | 2684418.521 | 1248373.9227
5 | 2684399.9327 | 1248343.8246
6 | 2684353.3916 | 1248412.4577
7 | 2684408.5287 | 1248380.3185
8 | 2684436.5605 | 1248360.4058
9 | 2684339.3226 | 1248433.0729
10 | 2684361.1835 | 1248407.4602
11 | 2684417.9469 | 1248394.6253
12 | 2684393.023 | 1248338.4668
13 | 2684406.7614 | 1248338.9898
14 | 2684307.2029 | 1248509.4728
15 | 2684324.1389 | 1248471.4734
16 | 2684308.9594 | 1248513.5688
17 | 2684338.6785 | 1248443.8902
18 | 2684328.0681 | 1248459.1766
19 | 2684429.4206 | 1248418.5992
20 | 2684343.2853 | 1248528.0229
21 | 2684346.0589 | 1248525.6779
22 | 2684395.2022 | 1248573.3102
23 | 2684411.0702 | 1248557.629
24 | 2684371.9105 | 1248503.8209
25 | 2684452.8561 | 1248550.138
26 | 2684454.6148 | 1248557.7915
27 | 2684449.5108 | 1248533.2711
28 | 2684463.4397 | 1248589.7117
29 | 2684418.8689 | 1248551.4367
30 | 2684448.0002 | 1248520.8293
31 | 2684464.1113 | 1248592.1991
32 | 2684493.0096 | 1248493.6947
33 | 2684506.3245 | 1248461.5024
34 | 2684473.1703 | 1248476.5402
35 | 2684508.1174 | 1248504.2688
36 | 2684447.2135 | 1248516.5862
37 | 2684507.7313 | 1248458.1011
38 | 2684470.8571 | 1248474.1198
39 | 2684519.9583 | 1248512.5475
40 | 2684441.8623 | 1248487.7268
41 | 2684372.9881 | 1248502.9098
42 | 2684399.9579 | 1248483.9394
43 | 2684401.4773 | 1248483.225
44 | 2684438.4164 | 1248469.1544
45 | 2684545.1312 | 1248539.6367
46 | 2684550.3456 | 1248546.6847
47 | 2684544.8337 | 1248539.1894
48 | 2684530.2479 | 1248573.3617
49 | 2684535.5634 | 1248525.1579
50 | 2684521.3117 | 1248583.1493
51 | 2684514.6163 | 1248590.328
52 | 2684505.8469 | 1248599.0725
53 | 2684509.3 | 1248595.715
54 | 2684434.0358 | 1248441.616
55 | 2684465.5973 | 1248468.6189
56 | 2684463.7504 | 1248464.7067
57 | 2684461.4435 | 1248459.8203
58 | 2684455.7108 | 1248451.2452
59 | 2684512.038 | 1248447.6887
60 | 2684448.5887 | 1248445.3594
61 | 2684434.9669 | 1248448.3565

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98929 | -0.20592 | 0.010691 | 0.0026793
1 | 0.98749 | -0.24065 | 0.010365 | 0.0025978
2 | 0.99014 | -0.18939 | 0 | 0
3 | 0.98646 | -0.26083 | 0 | 0
4 | 0.99104 | -0.17194 | 0 | 0
5 | 0.98985 | -0.19501 | 0 | 0
6 | 0.98598 | -0.27008 | 0 | 0
7 | 0.99202 | -0.15303 | 0 | 0
8 | 0.99076 | -0.17751 | 0.013912 | 0.0034867
9 | 0.98531 | -0.28315 | 0 | 0
10 | 0.98584 | -0.27283 | 0.016568 | 0.0041524
11 | 0.99344 | -0.12574 | 0.062466 | 0.015655
12 | 0.98979 | -0.19623 | 0.0078125 | 0.001958
13 | 0.98983 | -0.19533 | 0.0020993 | 0.00052613
14 | 0.98411 | -0.30663 | 0 | 0
15 | 0.98445 | -0.29987 | 0.008602 | 0.0021559
16 | 0.98405 | -0.30767 | 0.0090252 | 0.0022619
17 | 0.98502 | -0.28884 | 0.010995 | 0.0027557
18 | 0.98466 | -0.29576 | 0 | 0
19 | 0.99532 | -0.089615 | 0.043663 | 0.010943
20 | 0.99508 | -0.094688 | 0.014298 | 0.0035834
21 | 0.99512 | -0.093774 | 0.0069015 | 0.0017297
22 | 0.99306 | -0.13352 | 0.016666 | 0.0041769
23 | 0.9934 | -0.12694 | 0.0112 | 0.002807
24 | 0.99578 | -0.08115 | 0.013594 | 0.003407
25 | 0.99447 | -0.10623 | 0.0033532 | 0.00084038
26 | 0.99431 | -0.10945 | 0.0082151 | 0.0020589
27 | 0.99489 | -0.098156 | 0 | 0
28 | 0.99385 | -0.11825 | 0.011266 | 0.0028235
29 | 0.99365 | -0.12204 | 0.010096 | 0.0025304
30 | 0.99563 | -0.083893 | 0.0051543 | 0.0012918
31 | 0.99384 | -0.11843 | 0.0038023 | 0.00095294
32 | 0.99184 | -0.15688 | 0 | 0
33 | 0.99049 | -0.18304 | 0.0045767 | 0.001147
34 | 0.99342 | -0.12619 | 0.041498 | 0.0104
35 | 0.99144 | -0.1646 | 0.0045766 | 0.001147
36 | 0.99591 | -0.078602 | 0.0049191 | 0.0012329
37 | 0.99036 | -0.18551 | 0.01653 | 0.0041429
38 | 0.99375 | -0.11984 | 0.038949 | 0.0097615
39 | 0.99118 | -0.16949 | 0.0017382 | 0.00043564
40 | 0.99791 | -0.040161 | 0.04705 | 0.011792
41 | 0.99582 | -0.080287 | 0.013656 | 0.0034225
42 | 0.99728 | -0.052164 | 0.016529 | 0.0041425
43 | 0.99738 | -0.050251 | 0.0076322 | 0.0019128
44 | 1 | 0 | -0.585 | -0.14762
45 | 0.99059 | -0.18107 | 0.0013244 | 0.00033192
46 | 0.99046 | -0.18357 | 0 | 0
47 | 0.9906 | -0.18091 | 0 | 0
48 | 0.98997 | -0.19308 | 0.00054834 | 0.00013743
49 | 0.99086 | -0.1757 | 0 | 0
50 | 0.98978 | -0.19672 | 0.0004942 | 0.00012386
51 | 0.98965 | -0.19933 | 0.0028948 | 0.0007255
52 | 0.98955 | -0.20124 | 0.0033668 | 0.0008438
53 | 0.98956 | -0.20095 | 0.0086908 | 0.0021781
54 | 0.99672 | -0.06264 | 0 | 0
55 | 0.99426 | -0.11001 | 0.0095167 | 0.0023851
56 | 0.99447 | -0.10605 | 0.011932 | 0.0029904
57 | 0.99474 | -0.10072 | 0.010781 | 0.002702
58 | 0.99532 | -0.089707 | 0.010499 | 0.0026313
59 | 0.99014 | -0.18976 | 0.021218 | 0.0053177
60 | 0.99585 | -0.07944 | 0 | 0
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.055753 | 0.014047 | -0.05566 | -0.013988 | 9.2453e-05 | 5.8721e-05 | 0.083886 | 0.083886 | 0.083886 | 0.98929 | -0.20592 | 0.98749 | -0.24065 | 23.0455
1 | -0.066443 | -0.016726 | 0.066496 | 0.01676 | 5.2546e-05 | 3.3449e-05 | 0.099966 | 0.099966 | 0.099966 | 0.98929 | -0.20592 | 0.99014 | -0.18939 | 27.4631
2 | 0.045295 | 0.01139 | -0.045251 | -0.011363 | 4.3614e-05 | 2.7594e-05 | 0.068267 | 0.068267 | 0.068267 | 0.98749 | -0.24065 | 0.98646 | -0.26083 | 18.7546
3 | -0.076411 | -0.019245 | 0.076475 | 0.019286 | 6.381e-05 | 4.0672e-05 | 0.11487 | 0.11487 | 0.11487 | 0.99014 | -0.18939 | 0.99104 | -0.17194 | 31.5567
4 | 0.0099149 | 0.0024855 | -0.0099123 | -0.0024842 | 2.6574e-06 | 1.2904e-06 | 0.014901 | 0.014901 | 0.014901 | 0.99014 | -0.18939 | 0.98985 | -0.19501 | 4.0936
5 | 0.045251 | 0.011363 | -0.045231 | -0.01135 | 1.9961e-05 | 1.2629e-05 | 0.068267 | 0.068267 | 0.068267 | 0.98646 | -0.26083 | 0.98598 | -0.27008 | 18.7546
6 | -0.09039 | -0.022775 | 0.090472 | 0.022827 | 8.1833e-05 | 5.2221e-05 | 0.13576 | 0.13576 | 0.13576 | 0.99104 | -0.17194 | 0.99202 | -0.15303 | 37.2969
7 | 0.013916 | 0.0034887 | -0.013912 | -0.0034867 | 3.6929e-06 | 2.0729e-06 | 0.020894 | 0.020894 | 0.020894 | 0.99104 | -0.17194 | 0.99076 | -0.17751 | 5.7402
8 | 0.007813 | 0.0019582 | -0.0078125 | -0.001958 | 4.5145e-07 | 1.7675e-07 | 0.011745 | 0.011745 | 0.011745 | 0.98985 | -0.19501 | 0.98979 | -0.19623 | 3.2267
9 | 0.0020993 | 0.00052604 | -0.0020993 | -0.00052613 | 3.1249e-08 | -8.7551e-08 | 0.0031558 | 0.0031559 | 0.0031559 | 0.98985 | -0.19501 | 0.98983 | -0.19533 | 0.86699
10 | 0.028661 | 0.0071964 | -0.028643 | -0.0071853 | 1.7863e-05 | 1.1108e-05 | 0.043259 | 0.043259 | 0.043259 | 0.98598 | -0.27008 | 0.98531 | -0.28315 | 11.8843
11 | 0.016571 | 0.0041537 | -0.016568 | -0.0041524 | 2.171e-06 | 1.2714e-06 | 0.025008 | 0.025008 | 0.025008 | 0.98598 | -0.27008 | 0.98584 | -0.27283 | 6.8704
12 | -0.090472 | -0.022827 | 0.09059 | 0.022902 | 0.00011839 | 7.5545e-05 | 0.13576 | 0.13576 | 0.13576 | 0.99202 | -0.15303 | 0.99344 | -0.12574 | 37.2969
13 | 0.028643 | 0.0071853 | -0.028635 | -0.0071805 | 7.7583e-06 | 4.8245e-06 | 0.043259 | 0.043259 | 0.043259 | 0.98531 | -0.28315 | 0.98502 | -0.28884 | 11.8843
14 | -0.15306 | -0.038558 | 0.15332 | 0.038727 | 0.00026497 | 0.00016888 | 0.22932 | 0.22932 | 0.22932 | 0.99344 | -0.12574 | 0.99532 | -0.089615 | 31.5005
15 | -0.0090256 | -0.0022621 | 0.0090285 | 0.0022635 | 2.9056e-06 | 1.3308e-06 | 0.013647 | 0.013647 | 0.013647 | 0.98411 | -0.30663 | 0.98445 | -0.29987 | 3.7492
16 | 0.0090256 | 0.0022621 | -0.0090252 | -0.0022619 | 4.4863e-07 | 2.0551e-07 | 0.013647 | 0.013647 | 0.013647 | 0.98411 | -0.30663 | 0.98405 | -0.30767 | 3.7492
17 | -0.017631 | -0.0044193 | 0.017634 | 0.0044214 | 3.4556e-06 | 2.0466e-06 | 0.026649 | 0.026649 | 0.026649 | 0.98445 | -0.29987 | 0.98466 | -0.29576 | 7.3212
18 | 0.01764 | 0.0044248 | -0.017634 | -0.0044214 | 5.8191e-06 | 3.4462e-06 | 0.026649 | 0.026649 | 0.026649 | 0.98502 | -0.28884 | 0.98466 | -0.29576 | 7.3211
19 | -0.19698 | -0.04967 | 0.19724 | 0.049832 | 0.00025467 | 0.00016207 | 0.2946 | 0.2946 | 0.2946 | 0.99532 | -0.089615 | 0.99672 | -0.06264 | 26.9781
20 | -0.014298 | -0.0035834 | 0.014298 | 0.0035837 | 6.226e-07 | 3.5128e-07 | 0.021381 | 0.02138 | 0.021381 | 0.99508 | -0.094688 | 0.99512 | -0.093774 | 5.8738
21 | -0.0212 | -0.0053134 | 0.021213 | 0.0053211 | 1.2757e-05 | 7.7245e-06 | 0.0317 | 0.0317 | 0.0317 | 0.99512 | -0.093774 | 0.99578 | -0.08115 | 8.7089
22 | -0.016666 | -0.0041769 | 0.016671 | 0.00418 | 5.2219e-06 | 3.053e-06 | 0.024973 | 0.024973 | 0.024973 | 0.99306 | -0.13352 | 0.9934 | -0.12694 | 6.8607
23 | -0.027871 | -0.006987 | 0.027878 | 0.006991 | 6.5088e-06 | 4.0367e-06 | 0.041749 | 0.041749 | 0.041749 | 0.9934 | -0.12694 | 0.99365 | -0.12204 | 11.4695
24 | -0.034807 | -0.0087281 | 0.034808 | 0.008729 | 1.4316e-06 | 8.9789e-07 | 0.052014 | 0.052014 | 0.052014 | 0.99578 | -0.08115 | 0.99582 | -0.080287 | 14.2896
25 | 0.023293 | 0.0058412 | -0.02329 | -0.005839 | 3.5776e-06 | 2.1878e-06 | 0.034855 | 0.034855 | 0.034855 | 0.99447 | -0.10623 | 0.99431 | -0.10945 | 9.5755
26 | -0.026647 | -0.0066815 | 0.026657 | 0.0066879 | 1.0253e-05 | 6.3388e-06 | 0.039872 | 0.039872 | 0.039872 | 0.99447 | -0.10623 | 0.99489 | -0.098156 | 10.9538
27 | 0.015075 | 0.0037801 | -0.015068 | -0.0037765 | 6.3226e-06 | 3.617e-06 | 0.022561 | 0.022561 | 0.022561 | 0.99431 | -0.10945 | 0.99385 | -0.11825 | 6.198
28 | 0.038017 | 0.0095486 | -0.037974 | -0.0095214 | 4.328e-05 | 2.7236e-05 | 0.056868 | 0.056869 | 0.056869 | 0.99489 | -0.098156 | 0.99365 | -0.12204 | 15.6232
29 | -0.064674 | -0.016237 | 0.064718 | 0.016265 | 4.4034e-05 | 2.8019e-05 | 0.09674 | 0.09674 | 0.09674 | 0.99489 | -0.098156 | 0.99563 | -0.083893 | 26.577
30 | 0.0038023 | 0.00095293 | -0.0038023 | -0.00095294 | 3.1313e-08 | -1.3347e-08 | 0.0056929 | 0.0056929 | 0.0056929 | 0.99385 | -0.11825 | 0.99384 | -0.11843 | 1.564
31 | -0.069873 | -0.017556 | 0.06989 | 0.017568 | 1.7653e-05 | 1.1242e-05 | 0.10444 | 0.10444 | 0.10444 | 0.99563 | -0.083893 | 0.99591 | -0.078602 | 28.6933
32 | 0.042387 | 0.010646 | -0.042334 | -0.010613 | 5.2842e-05 | 3.337e-05 | 0.063599 | 0.063599 | 0.063599 | 0.99184 | -0.15688 | 0.99049 | -0.18304 | 17.4724
33 | -0.066058 | -0.016592 | 0.066155 | 0.016653 | 9.6879e-05 | 6.1662e-05 | 0.099117 | 0.099117 | 0.099117 | 0.99184 | -0.15688 | 0.99342 | -0.12619 | 27.23
34 | 0.023672 | 0.0059453 | -0.023663 | -0.00594 | 8.7239e-06 | 5.3454e-06 | 0.035518 | 0.035518 | 0.035518 | 0.99184 | -0.15688 | 0.99144 | -0.1646 | 9.7577
35 | 0.037757 | 0.009466 | -0.037752 | -0.0094632 | 4.4412e-06 | 2.795e-06 | 0.056724 | 0.056724 | 0.056724 | 0.99049 | -0.18304 | 0.99036 | -0.18551 | 15.5834
36 | -0.10765 | -0.027054 | 0.10769 | 0.027075 | 3.2655e-05 | 2.0856e-05 | 0.16128 | 0.16128 | 0.16128 | 0.99342 | -0.12619 | 0.99375 | -0.11984 | 44.3066
37 | 0.019086 | 0.004793 | -0.019082 | -0.0047903 | 4.447e-06 | 2.6598e-06 | 0.028649 | 0.028649 | 0.028649 | 0.99144 | -0.1646 | 0.99118 | -0.16949 | 7.8707
38 | -0.074809 | -0.0188 | 0.074947 | 0.018888 | 0.00013756 | 8.7655e-05 | 0.11179 | 0.11179 | 0.11179 | 0.99591 | -0.078602 | 0.99791 | -0.040161 | 30.7124
39 | 0.021222 | 0.0053203 | -0.021218 | -0.0053177 | 4.2963e-06 | 2.6047e-06 | 0.031887 | 0.031887 | 0.031887 | 0.99036 | -0.18551 | 0.99014 | -0.18976 | 8.7601
40 | -0.14663 | -0.036836 | 0.1467 | 0.03688 | 6.8816e-05 | 4.3845e-05 | 0.2196 | 0.2196 | 0.2196 | 0.99375 | -0.11984 | 0.99426 | -0.11001 | 30.1644
41 | 0.017344 | 0.0043547 | -0.017338 | -0.0043516 | 5.1392e-06 | 3.0287e-06 | 0.02604 | 0.02604 | 0.02604 | 0.99118 | -0.16949 | 0.99086 | -0.1757 | 7.1538
42 | -0.122 | -0.03068 | 0.12223 | 0.03083 | 0.00023451 | 0.00014984 | 0.18195 | 0.18195 | 0.18195 | 0.99791 | -0.040161 | 1 | 0 | 49.9866
43 | -0.048464 | -0.012151 | 0.048529 | 0.012193 | 6.5046e-05 | 4.1199e-05 | 0.072419 | 0.072419 | 0.072419 | 0.99582 | -0.080287 | 0.99728 | -0.052164 | 19.8954
44 | -0.065058 | -0.016335 | 0.065064 | 0.016339 | 5.9383e-06 | 3.7786e-06 | 0.097081 | 0.097081 | 0.097081 | 0.99728 | -0.052164 | 0.99738 | -0.050251 | 26.6707
45 | -0.072696 | -0.018252 | 0.072871 | 0.018363 | 0.00017472 | 0.0001113 | 0.10847 | 0.10847 | 0.10847 | 0.99738 | -0.050251 | 1 | 0 | 29.7989
46 | 0.38825 | 0.098427 | -0.38708 | -0.097683 | 0.001165 | 0.00074452 | 0.57812 | 0.57812 | 0.57812 | 1 | 0 | 0.99672 | -0.06264 | 52.941
47 | 0.01601 | 0.0040171 | -0.016008 | -0.004016 | 1.9047e-06 | 1.106e-06 | 0.024051 | 0.024051 | 0.024051 | 0.99059 | -0.18107 | 0.99046 | -0.18357 | 6.6073
48 | -0.017334 | -0.004349 | 0.017334 | 0.0043491 | 1.3659e-07 | 8.0504e-08 | 0.02604 | 0.02604 | 0.02604 | 0.99059 | -0.18107 | 0.9906 | -0.18091 | 7.1538
49 | 0.016008 | 0.004016 | -0.016 | -0.0040118 | 7.252e-06 | 4.2112e-06 | 0.024051 | 0.024051 | 0.024051 | 0.99046 | -0.18357 | 0.98997 | -0.19308 | 6.6074
50 | -0.017334 | -0.0043491 | 0.017338 | 0.0043516 | 4.3042e-06 | 2.5367e-06 | 0.02604 | 0.02604 | 0.02604 | 0.9906 | -0.18091 | 0.99086 | -0.1757 | 7.1538
51 | 0.015452 | 0.0038744 | -0.015449 | -0.0038728 | 2.6813e-06 | 1.5456e-06 | 0.023227 | 0.023227 | 0.023227 | 0.98997 | -0.19308 | 0.98978 | -0.19672 | 6.3809
52 | 0.014955 | 0.003749 | -0.014953 | -0.0037479 | 1.8609e-06 | 1.0648e-06 | 0.022484 | 0.022484 | 0.022484 | 0.98978 | -0.19672 | 0.98965 | -0.19933 | 6.1768
53 | 0.012059 | 0.0030224 | -0.012058 | -0.0030219 | 9.333e-07 | 5.0004e-07 | 0.018131 | 0.018131 | 0.018131 | 0.98965 | -0.19933 | 0.98956 | -0.20095 | 4.9811
54 | -0.0033668 | -0.0008438 | 0.0033669 | 0.00084377 | 4.6294e-08 | -3.2245e-08 | 0.0050628 | 0.0050628 | 0.0050628 | 0.98955 | -0.20124 | 0.98956 | -0.20095 | 1.3909
55 | 0.18984 | 0.047851 | -0.18969 | -0.047754 | 0.00015247 | 9.699e-05 | 0.28352 | 0.28352 | 0.28352 | 0.99672 | -0.06264 | 0.99585 | -0.07944 | 25.963
56 | -0.15622 | -0.039265 | 0.15625 | 0.039284 | 2.957e-05 | 1.8757e-05 | 0.23384 | 0.23384 | 0.23384 | 0.99426 | -0.11001 | 0.99447 | -0.10605 | 21.4139
57 | -0.16818 | -0.042274 | 0.16822 | 0.042301 | 4.2789e-05 | 2.7175e-05 | 0.25169 | 0.25169 | 0.25169 | 0.99447 | -0.10605 | 0.99474 | -0.10072 | 23.0488
58 | -0.17901 | -0.045003 | 0.1791 | 0.045063 | 9.4202e-05 | 5.988e-05 | 0.26782 | 0.26782 | 0.26782 | 0.99474 | -0.10072 | 0.99532 | -0.089707 | 24.5256
59 | -0.1896 | -0.047695 | 0.18969 | 0.047754 | 9.3046e-05 | 5.9188e-05 | 0.28352 | 0.28352 | 0.28352 | 0.99532 | -0.089707 | 0.99585 | -0.07944 | 25.963

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.585 | 0.14762

## res_load
| p_mw | q_mvar
0 | 0.010691 | 0.0026793
1 | 0.010365 | 0.0025978
2 | 0.013912 | 0.0034867
3 | 0.016568 | 0.0041524
4 | 0.062466 | 0.015655
5 | 0.0078125 | 0.001958
6 | 0.0020993 | 0.00052613
7 | 0.008602 | 0.0021559
8 | 0.0090252 | 0.0022619
9 | 0.010995 | 0.0027557
10 | 0.043663 | 0.010943
11 | 0.014298 | 0.0035834
12 | 0.0069015 | 0.0017297
13 | 0.016666 | 0.0041769
14 | 0.0112 | 0.002807
15 | 0.013594 | 0.003407
16 | 0.0033532 | 0.00084038
17 | 0.0082151 | 0.0020589
18 | 0.011266 | 0.0028235
19 | 0.010096 | 0.0025304
20 | 0.0051543 | 0.0012918
21 | 0.0038023 | 0.00095294
22 | 0.0045767 | 0.001147
23 | 0.041498 | 0.0104
24 | 0.0045766 | 0.001147
25 | 0.0049191 | 0.0012329
26 | 0.01653 | 0.0041429
27 | 0.038949 | 0.0097615
28 | 0.0017382 | 0.00043564
29 | 0.04705 | 0.011792
30 | 0.013656 | 0.0034225
31 | 0.016529 | 0.0041425
32 | 0.0076322 | 0.0019128
33 | 0.0013244 | 0.00033192
34 | 0.00054834 | 0.00013743
35 | 0.0004942 | 0.00012386
36 | 0.0028948 | 0.0007255
37 | 0.0033668 | 0.0008438
38 | 0.0086908 | 0.0021781
39 | 0.0095167 | 0.0023851
40 | 0.011932 | 0.0029904
41 | 0.010781 | 0.002702
42 | 0.010499 | 0.0026313
43 | 0.021218 | 0.0053177

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1