## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-299_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-299_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-299_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-299_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-299_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-299_0_3_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_261-299_0_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_261-299_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-299_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_261-299_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_261-299_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-299_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_261-299_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_261-299_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_261-299_0_3_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_261-299_0_3_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_261-299_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_261-299_0_3_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_261-299_0_3_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_261-299_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_261-299_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_261-299_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_261-299_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_261-299_0_3_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_261-299_0_3_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_261-299_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_261-299_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_261-299_0_3_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_261-299_0_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_261-299_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_261-299_0_3_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_261-299_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_261-299_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_261-299_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_261-299_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_261-299_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_261-299_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_261-299_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_261-299_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_261-299_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_261-299_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_261-299_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_261-299_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_261-299_0_3_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_261-299_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-299_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_261-299_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_261-299_0_3_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_261-299_0_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_261-299_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_261-299_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_261-299_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_261-299_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_261-299_0_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_261-299_0_3_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_261-299_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_261-299_0_3_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_261-299_0_3_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_261-299_0_3_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_261-299_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_261-299_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_261-299_0_3_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_261-299_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_261-299_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_261-299_0_3_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_261-299_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_261-299_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_261-299_0_3_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_261-299_0_3_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_261-299_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_261-299_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_261-299_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_261-299_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_MV_550_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-299_0_3_load_0 | 0 | 0.010142 | 0.0025417 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-299_0_3_load_1 | 1 | 0.0026507 | 0.00066432 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-299_0_3_load_2 | 2 | 0.010365 | 0.0025978 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-299_0_3_load_3 | 3 | 0.01037 | 0.002599 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-299_0_3_load_4 | 4 | 0.0062851 | 0.0015752 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-299_0_3_load_60 | 5 | 0.0058459 | 0.0014651 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-299_0_3_load_5 | 7 | 0.0080528 | 0.0020182 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-299_0_3_load_24 | 9 | 0.0078467 | 0.0019666 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-299_0_3_load_55 | 11 | 0.010438 | 0.0026161 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-299_0_3_load_77 | 14 | 0.0028118 | 0.0007047 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-299_0_3_load_78 | 15 | 0.0066471 | 0.0016659 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-299_0_3_load_76 | 17 | 0.0088296 | 0.0022129 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-299_0_3_load_74 | 18 | 0.0087703 | 0.002198 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-299_0_3_load_29 | 20 | 0.0028851 | 0.00072308 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-299_0_3_load_26 | 21 | 0.0075643 | 0.0018958 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-299_0_3_load_73 | 23 | 0.0036504 | 0.00091488 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-299_0_3_load_69 | 24 | 0.0036504 | 0.00091487 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-299_0_3_load_79 | 27 | 0.0050427 | 0.0012638 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-299_0_3_load_38 | 33 | 0.0057911 | 0.0014514 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-299_0_3_load_30 | 36 | 0.012442 | 0.0031183 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-299_0_3_load_31 | 37 | 0.012547 | 0.0031446 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-299_0_3_load_28 | 38 | 0.01455 | 0.0036466 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-299_0_3_load_57 | 39 | 0.012726 | 0.0031895 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-299_0_3_load_39 | 41 | 0.0034571 | 0.00086643 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-299_0_3_load_36 | 42 | 0.0062138 | 0.0015573 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-299_0_3_load_56 | 43 | 0.0055884 | 0.0014006 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-299_0_3_load_25 | 44 | 0.0013535 | 0.00033922 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-299_0_3_load_54 | 45 | 0.010943 | 0.0027425 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-299_0_3_load_64 | 47 | 0.0037584 | 0.00094195 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-299_0_3_load_61 | 48 | 0.00622 | 0.0015589 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-299_0_3_load_52 | 49 | 0.0068549 | 0.001718 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-299_0_3_load_50 | 50 | 0.0062161 | 0.0015579 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-299_0_3_load_33 | 51 | 0.0014899 | 0.00037341 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-299_0_3_load_37 | 52 | 0.0053525 | 0.0013415 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-299_0_3_load_59 | 53 | 0.0067561 | 0.0016932 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-299_0_3_load_27 | 54 | 0.0041139 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-299_0_3_load_58 | 55 | 0.010504 | 0.0026327 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-299_0_3_load_68 | 56 | 0.0042514 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-299_0_3_load_34 | 57 | 0.005524 | 0.0013844 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-299_0_3_load_35 | 58 | 0.0004908 | 0.00012301 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-299_0_3_load_44 | 59 | 0.0086141 | 0.0021589 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-299_0_3_load_42 | 60 | 0.0098296 | 0.0024635 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-299_0_3_load_72 | 61 | 0.0032056 | 0.00080341 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-299_0_3_load_62 | 62 | 0.0062706 | 0.0015716 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-299_0_3_load_41 | 63 | 0.0089627 | 0.0022463 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-299_0_3_load_43 | 64 | 0.0054094 | 0.0013557 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-299_0_3_load_45 | 65 | 0.005224 | 0.0013093 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-299_0_3_load_46 | 66 | 0.0037236 | 0.00093321 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-299_0_3_load_70 | 67 | 0.0027349 | 0.00068544 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-299_0_3_load_71 | 68 | 0.0027553 | 0.00069054 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-299_0_3_load_53 | 69 | 0.0017569 | 0.00044033 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-299_0_3_load_66 | 71 | 0.005005 | 0.0012544 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-299_0_3_load_65 | 72 | 0.0047583 | 0.0011926 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-299_0_3_line_0 |  | 0 | 1 | 0.011725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-299_0_3_line_1 |  | 0 | 2 | 0.015403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-299_0_3_line_2 |  | 1 | 3 | 0.0035019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-299_0_3_line_3 |  | 2 | 4 | 0.0091998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-299_0_3_line_4 |  | 3 | 5 | 0.015212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-299_0_3_line_5 |  | 5 | 6 | 0.039811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-299_0_3_line_6 |  | 6 | 34 | 0.013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-299_0_3_line_7 |  | 7 | 8 | 0.019982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-299_0_3_line_8 |  | 8 | 9 | 0.010858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-299_0_3_line_9 |  | 8 | 10 | 0.04296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-299_0_3_line_10 |  | 9 | 19 | 0.018694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-299_0_3_line_11 |  | 10 | 11 | 0.0012634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-299_0_3_line_12 |  | 12 | 13 | 0.00826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-299_0_3_line_13 |  | 12 | 14 | 0.011119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-299_0_3_line_14 |  | 13 | 15 | 0.008901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-299_0_3_line_15 |  | 14 | 29 | 0.032395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-299_0_3_line_16 |  | 15 | 43 | 0.010809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-299_0_3_line_17 |  | 16 | 17 | 0.018271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-299_0_3_line_18 |  | 16 | 18 | 0.026794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-299_0_3_line_19 |  | 17 | 25 | 0.018365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-299_0_3_line_20 |  | 18 | 30 | 0.009615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-299_0_3_line_21 |  | 19 | 20 | 0.021548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-299_0_3_line_22 |  | 19 | 21 | 0.03969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-299_0_3_line_23 |  | 20 | 23 | 0.03494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-299_0_3_line_24 |  | 21 | 44 | 0.0091015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-299_0_3_line_25 |  | 22 | 23 | 0.0276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-299_0_3_line_26 |  | 22 | 24 | 0.003782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-299_0_3_line_27 |  | 24 | 45 | 0.031928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-299_0_3_line_28 |  | 25 | 26 | 0.031245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-299_0_3_line_29 |  | 26 | 27 | 0.003641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-299_0_3_line_30 |  | 26 | 28 | 0.005586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-299_0_3_line_31 |  | 28 | 49 | 0.023793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-299_0_3_line_32 |  | 28 | 50 | 0.0069501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-299_0_3_line_33 |  | 29 | 30 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-299_0_3_line_34 |  | 31 | 32 | 0.008041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-299_0_3_line_35 |  | 31 | 33 | 0.005887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-299_0_3_line_36 |  | 32 | 51 | 0.022497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-299_0_3_line_37 |  | 32 | 36 | 0.0025631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-299_0_3_line_38 |  | 33 | 52 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-299_0_3_line_39 |  | 33 | 46 | 0.01288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-299_0_3_line_40 |  | 34 | 39 | 0.012873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-299_0_3_line_41 |  | 35 | 36 | 0.018647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-299_0_3_line_42 |  | 35 | 37 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-299_0_3_line_43 |  | 35 | 38 | 0.042027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_261-299_0_3_line_44 |  | 37 | 53 | 0.027881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-299_0_3_line_45 |  | 38 | 54 | 0.004031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-299_0_3_line_46 |  | 39 | 55 | 0.022547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-299_0_3_line_47 |  | 40 | 41 | 0.02597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-299_0_3_line_48 |  | 40 | 42 | 0.016393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-299_0_3_line_49 |  | 41 | 56 | 0.0075628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-299_0_3_line_50 |  | 42 | 52 | 0.020573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-299_0_3_line_51 |  | 44 | 54 | 0.01562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-299_0_3_line_52 |  | 45 | 69 | 0.018896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-299_0_3_line_53 |  | 46 | 47 | 0.083224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-299_0_3_line_54 |  | 46 | 48 | 0.027748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-299_0_3_line_55 |  | 47 | 61 | 0.0025212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-299_0_3_line_56 |  | 48 | 62 | 0.011923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-299_0_3_line_57 |  | 49 | 69 | 0.018542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-299_0_3_line_58 |  | 51 | 57 | 0.011879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-299_0_3_line_59 |  | 53 | 55 | 0.015059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-299_0_3_line_60 |  | 57 | 58 | 0.014295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-299_0_3_line_61 |  | 58 | 59 | 0.0077503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-299_0_3_line_62 |  | 59 | 60 | 0.029146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-299_0_3_line_63 |  | 60 | 63 | 0.028894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-299_0_3_line_64 |  | 61 | 68 | 0.008837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-299_0_3_line_65 |  | 62 | 70 | 0.015888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-299_0_3_line_66 |  | 63 | 64 | 0.02253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-299_0_3_line_67 |  | 64 | 65 | 0.011623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-299_0_3_line_68 |  | 65 | 66 | 0.016619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-299_0_3_line_69 |  | 67 | 68 | 0.0081018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-299_0_3_line_70 |  | 70 | 71 | 0.0012604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-299_0_3_line_71 |  | 71 | 72 | 0.010024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-299_0_3_trafo_28 | 0.63 MVA 20/0.4 kV | 73 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2684323.7823 | 1248339.0424 | 2684318.6759 | 1248328.4875
1 | 2684323.7823 | 1248339.0424 | 2684330.1935 | 1248352.2943 | 2684330.4347 | 1248352.9323
2 | 2684318.6759 | 1248328.4875 | 2684317.7945 | 1248326.6656 | 2684317.2815 | 1248325.2795
3 | 2684333.688 | 1248361.5377 | 2684330.4347 | 1248352.9323
4 | 2684312.0018 | 1248311.0134 | 2684317.2815 | 1248325.2795
5 | 2684295.9415 | 1248274.8943 | 2684301.2923 | 1248282.0757 | 2684312.0018 | 1248311.0134
6 | 2684295.9415 | 1248274.8943 | 2684289.7566 | 1248280.6885 | 2684288.029 | 1248281.0864 | 2684285.9588 | 1248282.2023 | 2684284.859 | 1248283.0651
7 | 2684316.4714 | 1248425.4867 | 2684324.9351 | 1248419.2914 | 2684333.0112 | 1248414.3012
8 | 2684316.4714 | 1248425.4867 | 2684307.2549 | 1248431.2263
9 | 2684316.4714 | 1248425.4867 | 2684319.1426 | 1248429.3609 | 2684321.7472 | 1248433.1452 | 2684324.0921 | 1248432.3557 | 2684326.9116 | 1248432.1846 | 2684328.8757 | 1248433.2133 | 2684330.2936 | 1248438.126 | 2684330.7588 | 1248441.524 | 2684330.6096 | 1248444.046 | 2684327.5316 | 1248451.2409 | 2684324.8753 | 1248457.9859
10 | 2684291.3867 | 1248441.1083 | 2684307.2549 | 1248431.2263
11 | 2684324.8753 | 1248457.9859 | 2684324.3533 | 1248459.1364
12 | 2684263.8897 | 1248510.6024 | 2684270.4488 | 1248505.5585
13 | 2684263.8897 | 1248510.6024 | 2684261.6848 | 1248510.0484 | 2684255.6257 | 1248509.1394 | 2684253.0848 | 1248510.1074
14 | 2684270.4488 | 1248505.5585 | 2684272.8661 | 1248503.925 | 2684278.7245 | 1248505.1425 | 2684278.7245 | 1248505.1425
15 | 2684241.0798 | 1248533.0616 | 2684238.746 | 1248530.9491 | 2684237.3721 | 1248527.7161 | 2684237.3508 | 1248523.9018 | 2684239.9782 | 1248518.1126 | 2684246.7338 | 1248512.5267 | 2684253.0848 | 1248510.1074
16 | 2684286.8539 | 1248498.0194 | 2684278.7245 | 1248505.1425
17 | 2684196.8916 | 1248512.8746 | 2684181.4796 | 1248522.6871
18 | 2684196.8916 | 1248512.8746 | 2684203.7174 | 1248522.0116 | 2684207.5448 | 1248527.4366 | 2684215.2252 | 1248531.6268
19 | 2684165.9877 | 1248532.5504 | 2684181.4796 | 1248522.6871
20 | 2684222.3416 | 1248537.9212 | 2684219.3548 | 1248536.0552 | 2684215.8108 | 1248531.9463 | 2684215.2252 | 1248531.6268
21 | 2684291.3867 | 1248441.1083 | 2684273.0513 | 1248452.4286
22 | 2684291.3867 | 1248441.1083 | 2684269.1319 | 1248408.2441
23 | 2684243.3853 | 1248470.8859 | 2684249.1533 | 1248467.183 | 2684273.0513 | 1248452.4286
24 | 2684264.0286 | 1248400.708 | 2684269.1319 | 1248408.2441
25 | 2684220.1598 | 1248485.796 | 2684243.3853 | 1248470.8859
26 | 2684220.1598 | 1248485.796 | 2684216.9444 | 1248487.7873
27 | 2684189.8812 | 1248504.726 | 2684196.6922 | 1248500.3291 | 2684216.9444 | 1248487.7873
28 | 2684141.3006 | 1248542.5741 | 2684156.5676 | 1248532.7279 | 2684163.3141 | 1248528.3093 | 2684165.9877 | 1248532.5504
29 | 2684141.3006 | 1248542.5741 | 2684143.205 | 1248545.6812
30 | 2684138.3624 | 1248537.8178 | 2684141.3006 | 1248542.5741
31 | 2684138.3624 | 1248537.8178 | 2684158.4146 | 1248525.0116
32 | 2684138.3624 | 1248537.8178 | 2684132.5041 | 1248541.5573
33 | 2684222.3416 | 1248537.9212 | 2684227.3944 | 1248537.893 | 2684241.0798 | 1248533.0616
34 | 2684202.0729 | 1248366.1616 | 2684208.0686 | 1248371.5396
35 | 2684202.0729 | 1248366.1616 | 2684197.6881 | 1248362.2186
36 | 2684208.0686 | 1248371.5396 | 2684200.9608 | 1248379.578 | 2684193.2678 | 1248388.4816
37 | 2684208.0686 | 1248371.5396 | 2684209.7679 | 1248369.6207
38 | 2684197.6881 | 1248362.2186 | 2684211.1588 | 1248347.4038
39 | 2684197.6881 | 1248362.2186 | 2684189.6226 | 1248372.2782
40 | 2684284.859 | 1248283.0651 | 2684282.533 | 1248285.178 | 2684276.074 | 1248292.4557
41 | 2684222.1304 | 1248355.6609 | 2684209.7679 | 1248369.6207
42 | 2684222.1304 | 1248355.6609 | 2684233.7106 | 1248342.3862
43 | 2684222.1304 | 1248355.6609 | 2684244.2266 | 1248376.5347 | 2684251.7983 | 1248385.3624
44 | 2684251.9047 | 1248321.2623 | 2684247.7505 | 1248326.292 | 2684233.7106 | 1248342.3862
45 | 2684254.4226 | 1248388.4221 | 2684251.7983 | 1248385.3624
46 | 2684276.074 | 1248292.4557 | 2684270.6436 | 1248298.5745 | 2684261.4948 | 1248309.6512
47 | 2684236.0271 | 1248320.0541 | 2684218.4486 | 1248300.9377
48 | 2684236.0271 | 1248320.0541 | 2684224.999 | 1248332.1826
49 | 2684213.3296 | 1248295.3708 | 2684218.4486 | 1248300.9377
50 | 2684224.999 | 1248332.1826 | 2684211.1588 | 1248347.4038
51 | 2684254.4226 | 1248388.4221 | 2684260.5338 | 1248395.5472 | 2684264.0286 | 1248400.708
52 | 2684174.0054 | 1248514.9747 | 2684189.8812 | 1248504.726
53 | 2684189.6226 | 1248372.2782 | 2684168.8495 | 1248397.5465 | 2684146.8094 | 1248422.6968 | 2684135.5436 | 1248435.5242
54 | 2684189.6226 | 1248372.2782 | 2684168.5178 | 1248354.263
55 | 2684133.8799 | 1248437.4186 | 2684135.5436 | 1248435.5242
56 | 2684168.5178 | 1248354.263 | 2684159.4494 | 1248346.5221
57 | 2684158.4146 | 1248525.0116 | 2684162.4459 | 1248522.4371 | 2684174.0054 | 1248514.9747
58 | 2684185.5011 | 1248397.4704 | 2684193.2678 | 1248388.4816
59 | 2684251.9047 | 1248321.2623 | 2684261.4948 | 1248309.6512
60 | 2684185.5011 | 1248397.4704 | 2684176.1551 | 1248408.2871
61 | 2684171.088 | 1248414.1515 | 2684176.1551 | 1248408.2871
62 | 2684171.088 | 1248414.1515 | 2684152.0326 | 1248436.2054
63 | 2684133.1422 | 1248458.0684 | 2684152.0326 | 1248436.2054
64 | 2684128.0485 | 1248444.0584 | 2684133.8799 | 1248437.4186
65 | 2684147.3655 | 1248336.2072 | 2684159.4494 | 1248346.5221
66 | 2684133.1422 | 1248458.0684 | 2684118.4124 | 1248475.116
67 | 2684110.8134 | 1248483.9107 | 2684118.4124 | 1248475.116
68 | 2684099.9287 | 1248496.4684 | 2684102.491 | 1248493.5427 | 2684110.8134 | 1248483.9107
69 | 2684122.7022 | 1248450.1457 | 2684128.0485 | 1248444.0584
70 | 2684147.3655 | 1248336.2072 | 2684146.3986 | 1248335.3987
71 | 2684138.7085 | 1248328.9683 | 2684146.3986 | 1248335.3987

## bus_geodata
| x | y | coords
0 | 2684323.7823 | 1248339.0424
1 | 2684318.6759 | 1248328.4875
2 | 2684330.4347 | 1248352.9323
3 | 2684317.2815 | 1248325.2795
4 | 2684333.688 | 1248361.5377
5 | 2684312.0018 | 1248311.0134
6 | 2684295.9415 | 1248274.8943
7 | 2684333.0112 | 1248414.3012
8 | 2684316.4714 | 1248425.4867
9 | 2684307.2549 | 1248431.2263
10 | 2684324.8753 | 1248457.9859
11 | 2684324.3533 | 1248459.1364
12 | 2684263.8897 | 1248510.6024
13 | 2684270.4488 | 1248505.5585
14 | 2684253.0848 | 1248510.1074
15 | 2684278.7245 | 1248505.1425
16 | 2684196.8916 | 1248512.8746
17 | 2684181.4796 | 1248522.6871
18 | 2684215.2252 | 1248531.6268
19 | 2684291.3867 | 1248441.1083
20 | 2684273.0513 | 1248452.4286
21 | 2684269.1319 | 1248408.2441
22 | 2684220.1598 | 1248485.796
23 | 2684243.3853 | 1248470.8859
24 | 2684216.9444 | 1248487.7873
25 | 2684165.9877 | 1248532.5504
26 | 2684141.3006 | 1248542.5741
27 | 2684143.205 | 1248545.6812
28 | 2684138.3624 | 1248537.8178
29 | 2684241.0798 | 1248533.0616
30 | 2684222.3416 | 1248537.9212
31 | 2684202.0729 | 1248366.1616
32 | 2684208.0686 | 1248371.5396
33 | 2684197.6881 | 1248362.2186
34 | 2684284.859 | 1248283.065
35 | 2684222.1304 | 1248355.6609
36 | 2684209.7679 | 1248369.6207
37 | 2684233.7106 | 1248342.3862
38 | 2684251.7983 | 1248385.3624
39 | 2684276.074 | 1248292.4557
40 | 2684236.0271 | 1248320.0541
41 | 2684218.4486 | 1248300.9377
42 | 2684224.999 | 1248332.1826
43 | 2684286.8539 | 1248498.0194
44 | 2684264.0286 | 1248400.708
45 | 2684189.8812 | 1248504.726
46 | 2684189.6226 | 1248372.2782
47 | 2684135.5436 | 1248435.5242
48 | 2684168.5178 | 1248354.263
49 | 2684158.4146 | 1248525.0116
50 | 2684132.5041 | 1248541.5573
51 | 2684193.2678 | 1248388.4816
52 | 2684211.1588 | 1248347.4038
53 | 2684251.9047 | 1248321.2623
54 | 2684254.4226 | 1248388.4221
55 | 2684261.4948 | 1248309.6512
56 | 2684213.3296 | 1248295.3708
57 | 2684185.5011 | 1248397.4704
58 | 2684176.1551 | 1248408.2871
59 | 2684171.088 | 1248414.1515
60 | 2684152.0326 | 1248436.2054
61 | 2684133.8799 | 1248437.4186
62 | 2684159.4494 | 1248346.5221
63 | 2684133.1422 | 1248458.0684
64 | 2684118.4124 | 1248475.116
65 | 2684110.8134 | 1248483.9107
66 | 2684099.9287 | 1248496.4684
67 | 2684122.7022 | 1248450.1457
68 | 2684128.0485 | 1248444.0584
69 | 2684174.0054 | 1248514.9747
70 | 2684147.3655 | 1248336.2072
71 | 2684146.3986 | 1248335.3987
72 | 2684138.7085 | 1248328.9683
73 | 2684222.1304 | 1248355.6609

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98671 | -0.25595 | 0.010142 | 0.0025417
1 | 0.987 | -0.25033 | 0.0026507 | 0.00066432
2 | 0.98647 | -0.26055 | 0.010365 | 0.0025978
3 | 0.98709 | -0.24849 | 0.01037 | 0.002599
4 | 0.98642 | -0.26158 | 0.0062851 | 0.0015752
5 | 0.98765 | -0.23766 | 0.0058459 | 0.0014651
6 | 0.98932 | -0.20523 | 0 | 0
7 | 0.99268 | -0.13975 | 0.0080528 | 0.0020182
8 | 0.99283 | -0.1369 | 0 | 0
9 | 0.99301 | -0.13335 | 0.0078467 | 0.0019666
10 | 0.99242 | -0.14483 | 0 | 0
11 | 0.99241 | -0.14507 | 0.010438 | 0.0026161
12 | 0.97948 | -0.39579 | 0 | 0
13 | 0.97938 | -0.39762 | 0 | 0
14 | 0.9796 | -0.39332 | 0.0028118 | 0.0007047
15 | 0.97928 | -0.3996 | 0.0066471 | 0.0016659
16 | 0.98105 | -0.36495 | 0 | 0
17 | 0.98145 | -0.35707 | 0.0088296 | 0.0022129
18 | 0.98046 | -0.37651 | 0.0087703 | 0.002198
19 | 0.99346 | -0.12465 | 0 | 0
20 | 0.992 | -0.15272 | 0.0028851 | 0.00072308
21 | 0.99712 | -0.054816 | 0.0075643 | 0.0018958
22 | 0.988 | -0.22964 | 0 | 0
23 | 0.98971 | -0.19662 | 0.0036504 | 0.00091488
24 | 0.98777 | -0.23417 | 0.0036504 | 0.00091487
25 | 0.98201 | -0.34623 | 0 | 0
26 | 0.98295 | -0.3278 | 0 | 0
27 | 0.98294 | -0.32814 | 0.0050427 | 0.0012638
28 | 0.98315 | -0.32401 | 0 | 0
29 | 0.98005 | -0.38447 | 0 | 0
30 | 0.98033 | -0.37914 | 0 | 0
31 | 0.9932 | -0.13043 | 0 | 0
32 | 0.99364 | -0.12194 | 0 | 0
33 | 0.99288 | -0.13665 | 0.0057911 | 0.0014514
34 | 0.9899 | -0.19388 | 0 | 0
35 | 0.99596 | -0.077114 | 0 | 0
36 | 0.99389 | -0.11701 | 0.012442 | 0.0031183
37 | 0.99454 | -0.10445 | 0.012547 | 0.0031446
38 | 1 | 0 | -0.32751 | -0.082881
39 | 0.99044 | -0.18343 | 0.012726 | 0.0031895
40 | 0.99215 | -0.15078 | 0 | 0
41 | 0.99196 | -0.15433 | 0.0034571 | 0.00086643
42 | 0.99226 | -0.14855 | 0.0062138 | 0.0015573
43 | 0.97923 | -0.4007 | 0.0055884 | 0.0014006
44 | 0.99802 | -0.037669 | 0.0013535 | 0.00033922
45 | 0.9859 | -0.27044 | 0.010943 | 0.0027425
46 | 0.99247 | -0.14456 | 0 | 0
47 | 0.99152 | -0.16292 | 0.0037584 | 0.00094195
48 | 0.9919 | -0.15549 | 0.00622 | 0.0015589
49 | 0.98411 | -0.30518 | 0.0068549 | 0.001718
50 | 0.98311 | -0.32479 | 0.0062161 | 0.0015579
51 | 0.99262 | -0.14153 | 0.0014899 | 0.00037341
52 | 0.99252 | -0.14348 | 0.0053525 | 0.0013415
53 | 0.99261 | -0.14169 | 0.0067561 | 0.0016932
54 | 0.99958 | -0.0079448 | 0.0041139 | 0.001031
55 | 0.99165 | -0.16006 | 0.010504 | 0.0026327
56 | 0.99193 | -0.1549 | 0.0042514 | 0.0010655
57 | 0.9921 | -0.15157 | 0.005524 | 0.0013844
58 | 0.99155 | -0.16228 | 0.0004908 | 0.00012301
59 | 0.99125 | -0.16802 | 0.0086141 | 0.0021589
60 | 0.99037 | -0.18517 | 0.0098296 | 0.0024635
61 | 0.9915 | -0.16331 | 0.0032056 | 0.00080341
62 | 0.99173 | -0.15888 | 0.0062706 | 0.0015716
63 | 0.98975 | -0.19715 | 0.0089627 | 0.0022463
64 | 0.98945 | -0.20291 | 0.0054094 | 0.0013557
65 | 0.98936 | -0.20476 | 0.005224 | 0.0013093
66 | 0.9893 | -0.20587 | 0.0037236 | 0.00093321
67 | 0.99143 | -0.16456 | 0.0027349 | 0.00068544
68 | 0.99146 | -0.16417 | 0.0027553 | 0.00069054
69 | 0.98498 | -0.28826 | 0.0017569 | 0.00044033
70 | 0.99159 | -0.16163 | 0 | 0
71 | 0.99157 | -0.16185 | 0.005005 | 0.0012544
72 | 0.99153 | -0.16269 | 0.0047583 | 0.0011926
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.026796 | -0.006717 | 0.026803 | 0.0067214 | 7.1803e-06 | 4.4456e-06 | 0.040411 | 0.040411 | 0.040411 | 0.98671 | -0.25595 | 0.987 | -0.25033 | 11.1018
1 | 0.016654 | 0.0041752 | -0.016651 | -0.0041731 | 3.6439e-06 | 2.1354e-06 | 0.025116 | 0.025116 | 0.025116 | 0.98671 | -0.25595 | 0.98647 | -0.26055 | 6.9001
2 | -0.029454 | -0.0073857 | 0.029457 | 0.0073874 | 2.5896e-06 | 1.6126e-06 | 0.044407 | 0.044407 | 0.044407 | 0.987 | -0.25033 | 0.98709 | -0.24849 | 12.1997
3 | 0.0062854 | 0.0015753 | -0.0062851 | -0.0015752 | 3.1012e-07 | 8.1032e-08 | 0.0094811 | 0.0094812 | 0.0094812 | 0.98647 | -0.26055 | 0.98642 | -0.26158 | 2.6047
4 | -0.039827 | -0.0099863 | 0.039847 | 0.0099993 | 2.0563e-05 | 1.2966e-05 | 0.060039 | 0.060039 | 0.060039 | 0.98709 | -0.24849 | 0.98765 | -0.23766 | 16.4944
5 | -0.045693 | -0.011464 | 0.045764 | 0.011509 | 7.0763e-05 | 4.4778e-05 | 0.068847 | 0.068847 | 0.068847 | 0.98765 | -0.23766 | 0.98932 | -0.20523 | 18.914
6 | -0.045764 | -0.011509 | 0.045789 | 0.011525 | 2.4833e-05 | 1.5713e-05 | 0.068847 | 0.068847 | 0.068847 | 0.98932 | -0.20523 | 0.9899 | -0.19388 | 18.914
7 | -0.0080528 | -0.0020182 | 0.0080539 | 0.0020187 | 1.0919e-06 | 4.4042e-07 | 0.012071 | 0.012071 | 0.012071 | 0.99268 | -0.13975 | 0.99283 | -0.1369 | 3.3162
8 | -0.018496 | -0.0046368 | 0.0185 | 0.0046387 | 3.1291e-06 | 1.8622e-06 | 0.027722 | 0.027722 | 0.027722 | 0.99283 | -0.1369 | 0.99301 | -0.13335 | 7.616
9 | 0.010442 | 0.0026181 | -0.010439 | -0.0026162 | 3.9463e-06 | 1.9703e-06 | 0.015651 | 0.015651 | 0.015651 | 0.99283 | -0.1369 | 0.99242 | -0.14483 | 4.2998
10 | -0.026346 | -0.0066052 | 0.026357 | 0.006612 | 1.0927e-05 | 6.7511e-06 | 0.03948 | 0.03948 | 0.03948 | 0.99301 | -0.13335 | 0.99346 | -0.12465 | 10.8462
11 | 0.010439 | 0.0026162 | -0.010438 | -0.0026161 | 1.1606e-07 | 5.7953e-08 | 0.015651 | 0.015651 | 0.015651 | 0.99242 | -0.14483 | 0.99241 | -0.14507 | 4.2998
12 | 0.012238 | 0.0030678 | -0.012237 | -0.0030672 | 1.0707e-06 | 5.8129e-07 | 0.018592 | 0.018592 | 0.018592 | 0.97948 | -0.39579 | 0.97938 | -0.39762 | 5.1077
13 | -0.012238 | -0.0030678 | 0.012239 | 0.0030685 | 1.4413e-06 | 7.8249e-07 | 0.018592 | 0.018592 | 0.018592 | 0.97948 | -0.39579 | 0.9796 | -0.39332 | 5.1077
14 | 0.012237 | 0.0030672 | -0.012236 | -0.0030665 | 1.1538e-06 | 6.2643e-07 | 0.018592 | 0.018592 | 0.018592 | 0.97938 | -0.39762 | 0.97928 | -0.3996 | 5.1077
15 | -0.015051 | -0.0037732 | 0.015058 | 0.0037769 | 6.35e-06 | 3.656e-06 | 0.022863 | 0.022863 | 0.022863 | 0.9796 | -0.39332 | 0.98005 | -0.38447 | 6.2811
16 | 0.0055887 | 0.0014006 | -0.0055884 | -0.0014006 | 2.9229e-07 | 5.1088e-08 | 0.0084919 | 0.008492 | 0.008492 | 0.97928 | -0.3996 | 0.97923 | -0.4007 | 2.333
17 | -0.023847 | -0.0059863 | 0.023856 | 0.0059918 | 8.9651e-06 | 5.5069e-06 | 0.036173 | 0.036173 | 0.036173 | 0.98105 | -0.36495 | 0.98145 | -0.35707 | 9.9377
18 | 0.023847 | 0.0059863 | -0.023834 | -0.0059782 | 1.3147e-05 | 8.0761e-06 | 0.036173 | 0.036173 | 0.036173 | 0.98105 | -0.36495 | 0.98046 | -0.37651 | 9.9377
19 | -0.032685 | -0.0082047 | 0.032702 | 0.0082153 | 1.6916e-05 | 1.0594e-05 | 0.04956 | 0.04956 | 0.04956 | 0.98145 | -0.35707 | 0.98201 | -0.34623 | 13.6154
20 | 0.015063 | 0.0037802 | -0.015061 | -0.0037791 | 1.8847e-06 | 1.085e-06 | 0.022863 | 0.022863 | 0.022863 | 0.98046 | -0.37651 | 0.98033 | -0.37914 | 6.281
21 | 0.074346 | 0.0189 | -0.074246 | -0.018836 | 0.00010037 | 6.396e-05 | 0.11145 | 0.11145 | 0.11145 | 0.99346 | -0.12465 | 0.992 | -0.15272 | 30.6185
22 | -0.1007 | -0.025512 | 0.10104 | 0.025729 | 0.00033906 | 0.00021648 | 0.15093 | 0.15093 | 0.15093 | 0.99346 | -0.12465 | 0.99712 | -0.054816 | 41.4646
23 | 0.071361 | 0.018113 | -0.07121 | -0.018017 | 0.00015036 | 9.5779e-05 | 0.10712 | 0.10712 | 0.10712 | 0.992 | -0.15272 | 0.98971 | -0.19662 | 29.4296
24 | -0.10861 | -0.027625 | 0.1087 | 0.027682 | 8.9815e-05 | 5.7363e-05 | 0.16222 | 0.16222 | 0.16222 | 0.99712 | -0.054816 | 0.99802 | -0.037669 | 44.5658
25 | -0.067453 | -0.017035 | 0.06756 | 0.017103 | 0.00010691 | 6.8069e-05 | 0.10164 | 0.10164 | 0.10164 | 0.988 | -0.22964 | 0.98971 | -0.19662 | 27.9219
26 | 0.067453 | 0.017035 | -0.067438 | -0.017025 | 1.465e-05 | 9.3277e-06 | 0.10164 | 0.10164 | 0.10164 | 0.988 | -0.22964 | 0.98777 | -0.23417 | 27.9219
27 | 0.063788 | 0.01611 | -0.063677 | -0.01604 | 0.00011066 | 7.0413e-05 | 0.096137 | 0.096137 | 0.096137 | 0.98777 | -0.23417 | 0.9859 | -0.27044 | 26.4112
28 | -0.032702 | -0.0082153 | 0.032731 | 0.0082333 | 2.8779e-05 | 1.8023e-05 | 0.04956 | 0.04956 | 0.04956 | 0.98201 | -0.34623 | 0.98295 | -0.3278 | 13.6154
29 | 0.0050428 | 0.0012638 | -0.0050427 | -0.0012638 | 7.957e-08 | 4.7732e-09 | 0.0076339 | 0.007634 | 0.007634 | 0.98295 | -0.3278 | 0.98294 | -0.32814 | 2.0972
30 | -0.037774 | -0.0094972 | 0.037781 | 0.0095015 | 6.8522e-06 | 4.3146e-06 | 0.057194 | 0.057194 | 0.057194 | 0.98295 | -0.3278 | 0.98315 | -0.32401 | 15.7126
31 | -0.043997 | -0.011059 | 0.044037 | 0.011084 | 3.9578e-05 | 2.5028e-05 | 0.066602 | 0.066602 | 0.066602 | 0.98315 | -0.32401 | 0.98411 | -0.30518 | 18.2973
32 | 0.0062163 | 0.001558 | -0.0062161 | -0.0015579 | 2.3071e-07 | 5.9525e-08 | 0.0094085 | 0.0094086 | 0.0094086 | 0.98315 | -0.32401 | 0.98311 | -0.32479 | 2.5848
33 | -0.015058 | -0.0037769 | 0.015061 | 0.0037791 | 3.8249e-06 | 2.202e-06 | 0.022863 | 0.022863 | 0.022863 | 0.98005 | -0.38447 | 0.98033 | -0.37914 | 6.281
34 | -0.059844 | -0.015022 | 0.059868 | 0.015037 | 2.4244e-05 | 1.5412e-05 | 0.089667 | 0.089667 | 0.089667 | 0.9932 | -0.13043 | 0.99364 | -0.12194 | 24.6338
35 | 0.059844 | 0.015022 | -0.059826 | -0.015011 | 1.775e-05 | 1.1284e-05 | 0.089667 | 0.089667 | 0.089667 | 0.9932 | -0.13043 | 0.99288 | -0.13665 | 24.6339
36 | 0.049416 | 0.01244 | -0.04937 | -0.012411 | 4.6225e-05 | 2.9293e-05 | 0.074022 | 0.074022 | 0.074022 | 0.99364 | -0.12194 | 0.99262 | -0.14153 | 20.3357
37 | -0.10928 | -0.027477 | 0.10931 | 0.027494 | 2.5754e-05 | 1.6449e-05 | 0.16369 | 0.16369 | 0.16369 | 0.99364 | -0.12194 | 0.99389 | -0.11701 | 44.9695
38 | 0.019287 | 0.0048372 | -0.01928 | -0.0048334 | 6.2741e-06 | 3.7565e-06 | 0.028906 | 0.028906 | 0.028906 | 0.99288 | -0.13665 | 0.99252 | -0.14348 | 7.9413
39 | 0.034748 | 0.0087221 | -0.034735 | -0.0087139 | 1.3102e-05 | 8.2185e-06 | 0.052082 | 0.052082 | 0.052082 | 0.99288 | -0.13665 | 0.99247 | -0.14456 | 14.3083
40 | -0.045789 | -0.011525 | 0.045812 | 0.011539 | 2.2881e-05 | 1.4478e-05 | 0.068847 | 0.068847 | 0.068847 | 0.9899 | -0.19388 | 0.99044 | -0.18343 | 18.9139
41 | 0.12198 | 0.030761 | -0.12175 | -0.030612 | 0.00023243 | 0.00014851 | 0.18232 | 0.18232 | 0.18232 | 0.99596 | -0.077114 | 0.99389 | -0.11701 | 50.087
42 | 0.088724 | 0.02244 | -0.088607 | -0.022366 | 0.0001162 | 7.414e-05 | 0.13263 | 0.13263 | 0.13263 | 0.99596 | -0.077114 | 0.99454 | -0.10445 | 36.4366
43 | -0.21071 | -0.053201 | 0.21149 | 0.0537 | 0.00078163 | 0.00049914 | 0.31495 | 0.31495 | 0.31495 | 0.99596 | -0.077114 | 1 | 0 | 43.2618
44 | 0.07606 | 0.019221 | -0.075925 | -0.019135 | 0.00013554 | 8.6382e-05 | 0.11386 | 0.11386 | 0.11386 | 0.99454 | -0.10445 | 0.99261 | -0.14169 | 31.2793
45 | 0.11437 | 0.029181 | -0.11432 | -0.029153 | 4.3872e-05 | 2.8025e-05 | 0.17036 | 0.17036 | 0.17036 | 1 | 0 | 0.99958 | -0.0079448 | 46.8026
46 | -0.058538 | -0.014729 | 0.058603 | 0.014771 | 6.5428e-05 | 4.1583e-05 | 0.087966 | 0.087966 | 0.087966 | 0.99044 | -0.18343 | 0.99165 | -0.16006 | 24.1666
47 | 0.0077099 | 0.0019324 | -0.0077086 | -0.0019319 | 1.3022e-06 | 4.9808e-07 | 0.011563 | 0.011563 | 0.011563 | 0.99215 | -0.15078 | 0.99196 | -0.15433 | 3.1768
48 | -0.0077099 | -0.0019324 | 0.0077107 | 0.0019327 | 8.2194e-07 | 3.1432e-07 | 0.011563 | 0.011563 | 0.011563 | 0.99215 | -0.15078 | 0.99226 | -0.14855 | 3.1767
49 | 0.0042515 | 0.0010655 | -0.0042514 | -0.0010655 | 1.1535e-07 | -2.3803e-08 | 0.0063775 | 0.0063776 | 0.0063776 | 0.99196 | -0.15433 | 0.99193 | -0.1549 | 1.7521
50 | -0.013925 | -0.00349 | 0.013928 | 0.0034919 | 3.3639e-06 | 1.8871e-06 | 0.020882 | 0.020882 | 0.020882 | 0.99226 | -0.14855 | 0.99252 | -0.14348 | 5.7367
51 | -0.11005 | -0.028021 | 0.11021 | 0.028122 | 0.000158 | 0.00010091 | 0.16424 | 0.16424 | 0.16424 | 0.99802 | -0.037669 | 0.99958 | -0.0079448 | 45.1202
52 | 0.052735 | 0.013297 | -0.05269 | -0.013269 | 4.4923e-05 | 2.851e-05 | 0.079621 | 0.079621 | 0.079621 | 0.9859 | -0.27044 | 0.98498 | -0.28826 | 21.8739
53 | 0.012466 | 0.0031273 | -0.012455 | -0.0031214 | 1.0903e-05 | 5.9035e-06 | 0.018691 | 0.018691 | 0.018691 | 0.99247 | -0.14456 | 0.99152 | -0.16292 | 5.135
54 | 0.02227 | 0.0055866 | -0.022258 | -0.0055795 | 1.1602e-05 | 7.0669e-06 | 0.033391 | 0.033391 | 0.033391 | 0.99247 | -0.14456 | 0.9919 | -0.15549 | 9.1734
55 | 0.0086963 | 0.0021794 | -0.0086961 | -0.0021793 | 1.6103e-07 | 7.0544e-08 | 0.013051 | 0.013051 | 0.013051 | 0.99152 | -0.16292 | 0.9915 | -0.16331 | 3.5854
56 | 0.016038 | 0.0040207 | -0.016036 | -0.0040192 | 2.5883e-06 | 1.5026e-06 | 0.02406 | 0.02406 | 0.02406 | 0.9919 | -0.15549 | 0.99173 | -0.15888 | 6.61
57 | -0.050891 | -0.012802 | 0.050933 | 0.012829 | 4.1191e-05 | 2.6126e-05 | 0.076967 | 0.076967 | 0.076967 | 0.98411 | -0.30518 | 0.98498 | -0.28826 | 21.1448
58 | 0.04788 | 0.012037 | -0.047857 | -0.012023 | 2.2958e-05 | 1.454e-05 | 0.071789 | 0.071789 | 0.071789 | 0.99262 | -0.14153 | 0.9921 | -0.15157 | 19.7221
59 | 0.069169 | 0.017442 | -0.069108 | -0.017403 | 6.0763e-05 | 3.8694e-05 | 0.10373 | 0.10373 | 0.10373 | 0.99261 | -0.14169 | 0.99165 | -0.16006 | 28.4969
60 | 0.042333 | 0.010638 | -0.042311 | -0.010625 | 2.1618e-05 | 1.3651e-05 | 0.063503 | 0.063503 | 0.063503 | 0.9921 | -0.15157 | 0.99155 | -0.16228 | 17.446
61 | 0.04182 | 0.010502 | -0.041809 | -0.010495 | 1.145e-05 | 7.2281e-06 | 0.062767 | 0.062767 | 0.062767 | 0.99155 | -0.16228 | 0.99125 | -0.16802 | 17.2436
62 | 0.033195 | 0.0083356 | -0.033168 | -0.0083187 | 2.7145e-05 | 1.6998e-05 | 0.049836 | 0.049836 | 0.049836 | 0.99125 | -0.16802 | 0.99037 | -0.18517 | 13.6912
63 | 0.023338 | 0.0058551 | -0.023325 | -0.005847 | 1.3324e-05 | 8.1558e-06 | 0.035067 | 0.035067 | 0.035067 | 0.99037 | -0.18517 | 0.98975 | -0.19715 | 9.6338
64 | 0.0054905 | 0.0013759 | -0.0054903 | -0.0013759 | 2.25e-07 | 3.0034e-08 | 0.0082399 | 0.00824 | 0.00824 | 0.9915 | -0.16331 | 0.99146 | -0.16417 | 2.2637
65 | 0.009765 | 0.0024476 | -0.0097637 | -0.002447 | 1.279e-06 | 6.1359e-07 | 0.014652 | 0.014652 | 0.014652 | 0.99173 | -0.15888 | 0.99159 | -0.16163 | 4.0252
66 | 0.014362 | 0.0036007 | -0.014358 | -0.0035985 | 3.9391e-06 | 2.2315e-06 | 0.021592 | 0.021593 | 0.021593 | 0.98975 | -0.19715 | 0.98945 | -0.20291 | 5.932
67 | 0.0089486 | 0.0022427 | -0.0089478 | -0.0022424 | 7.8936e-07 | 3.5592e-07 | 0.013458 | 0.013458 | 0.013458 | 0.98945 | -0.20291 | 0.98936 | -0.20476 | 3.6971
68 | 0.0037238 | 0.00093313 | -0.0037236 | -0.00093321 | 1.9548e-07 | -8.8291e-08 | 0.0056006 | 0.0056006 | 0.0056006 | 0.98936 | -0.20476 | 0.9893 | -0.20587 | 1.5386
69 | -0.0027349 | -0.00068544 | 0.002735 | 0.00068537 | 5.119e-08 | -7.1717e-08 | 0.0041048 | 0.0041048 | 0.0041048 | 0.99143 | -0.16456 | 0.99146 | -0.16417 | 1.1277
70 | 0.0097637 | 0.002447 | -0.0097636 | -0.0024469 | 1.0147e-07 | 4.8682e-08 | 0.014652 | 0.014652 | 0.014652 | 0.99159 | -0.16163 | 0.99157 | -0.16185 | 4.0252
71 | 0.0047585 | 0.0011925 | -0.0047583 | -0.0011926 | 1.9169e-07 | -6.619e-09 | 0.0071409 | 0.007141 | 0.007141 | 0.99157 | -0.16185 | 0.99153 | -0.16269 | 1.9618

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34206 | 0.086528

## res_load
| p_mw | q_mvar
0 | 0.010142 | 0.0025417
1 | 0.0026507 | 0.00066432
2 | 0.010365 | 0.0025978
3 | 0.01037 | 0.002599
4 | 0.0062851 | 0.0015752
5 | 0.0058459 | 0.0014651
6 | 0.0080528 | 0.0020182
7 | 0.0078467 | 0.0019666
8 | 0.010438 | 0.0026161
9 | 0.0028118 | 0.0007047
10 | 0.0066471 | 0.0016659
11 | 0.0088296 | 0.0022129
12 | 0.0087703 | 0.002198
13 | 0.0028851 | 0.00072308
14 | 0.0075643 | 0.0018958
15 | 0.0036504 | 0.00091488
16 | 0.0036504 | 0.00091487
17 | 0.0050427 | 0.0012638
18 | 0.0057911 | 0.0014514
19 | 0.012442 | 0.0031183
20 | 0.012547 | 0.0031446
21 | 0.01455 | 0.0036466
22 | 0.012726 | 0.0031895
23 | 0.0034571 | 0.00086643
24 | 0.0062138 | 0.0015573
25 | 0.0055884 | 0.0014006
26 | 0.0013535 | 0.00033922
27 | 0.010943 | 0.0027425
28 | 0.0037584 | 0.00094195
29 | 0.00622 | 0.0015589
30 | 0.0068549 | 0.001718
31 | 0.0062161 | 0.0015579
32 | 0.0014899 | 0.00037341
33 | 0.0053525 | 0.0013415
34 | 0.0067561 | 0.0016932
35 | 0.0041139 | 0.001031
36 | 0.010504 | 0.0026327
37 | 0.0042514 | 0.0010655
38 | 0.005524 | 0.0013844
39 | 0.0004908 | 0.00012301
40 | 0.0086141 | 0.0021589
41 | 0.0098296 | 0.0024635
42 | 0.0032056 | 0.00080341
43 | 0.0062706 | 0.0015716
44 | 0.0089627 | 0.0022463
45 | 0.0054094 | 0.0013557
46 | 0.005224 | 0.0013093
47 | 0.0037236 | 0.00093321
48 | 0.0027349 | 0.00068544
49 | 0.0027553 | 0.00069054
50 | 0.0017569 | 0.00044033
51 | 0.005005 | 0.0012544
52 | 0.0047583 | 0.0011926

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1