## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-2_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-2_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-2_0_5_node_48 | 0.4 | n |  | TRUE
5 | bus_LV_261-2_0_5_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_261-2_0_5_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_261-2_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-2_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_261-2_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_261-2_0_5_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_261-2_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-2_0_5_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_261-2_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-2_0_5_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_261-2_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-2_0_5_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_261-2_0_5_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_261-2_0_5_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_261-2_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_261-2_0_5_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_261-2_0_5_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_261-2_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_261-2_0_5_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_261-2_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_261-2_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_261-2_0_5_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_261-2_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_261-2_0_5_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_261-2_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_261-2_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_261-2_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_261-2_0_5_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_261-2_0_5_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_261-2_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_261-2_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_261-2_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_261-2_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_261-2_0_5_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_261-2_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_261-2_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_261-2_0_5_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_261-2_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_261-2_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_261-2_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_261-2_0_5_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_261-2_0_5_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_261-2_0_5_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_261-2_0_5_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_261-2_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_261-2_0_5_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_261-2_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_MV_518_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-2_0_5_load_0 | 0 | 0.032683 | 0.0081911 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-2_0_5_load_48 | 4 | 0.014869 | 0.0037264 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-2_0_5_load_46 | 5 | 0.01102 | 0.002762 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-2_0_5_load_53 | 6 | 0.0025648 | 0.0006428 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-2_0_5_load_34 | 10 | 0.0004121 | 0.00010328 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-2_0_5_load_55 | 12 | 0.0022493 | 0.00056373 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-2_0_5_load_38 | 14 | 0.051862 | 0.012998 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-2_0_5_load_35 | 16 | 0.0037195 | 0.0009322 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-2_0_5_load_30 | 17 | 0.0090286 | 0.0022628 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-2_0_5_load_50 | 18 | 0.0013223 | 0.0003314 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-2_0_5_load_49 | 21 | 0.0034238 | 0.00085808 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-2_0_5_load_32 | 24 | 0.014981 | 0.0037546 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-2_0_5_load_39 | 32 | 0.00067243 | 0.00016853 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-2_0_5_load_52 | 33 | 0.0021182 | 0.00053088 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-2_0_5_load_40 | 36 | 0.029998 | 0.0075183 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-2_0_5_load_22 | 37 | 0.055423 | 0.01389 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-2_0_5_load_51 | 38 | 0.0091012 | 0.002281 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-2_0_5_load_37 | 43 | 0.021894 | 0.0054873 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-2_0_5_load_23 | 44 | 0.046757 | 0.011718 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-2_0_5_load_21 | 45 | 0.049045 | 0.012292 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-2_0_5_load_45 | 47 | 0.0028339 | 0.00071025 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-2_0_5_load_28 | 48 | 0.018775 | 0.0047055 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-2_0_5_load_36 | 49 | 0.060813 | 0.015241 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-2_0_5_load_54 | 50 | 0.062849 | 0.015751 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-2_0_5_line_0 |  | 0 | 1 | 0.028929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-2_0_5_line_1 |  | 1 | 2 | 0.12844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-2_0_5_line_2 |  | 1 | 3 | 0.045586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-2_0_5_line_3 |  | 2 | 4 | 0.014424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-2_0_5_line_4 |  | 2 | 5 | 0.0041223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-2_0_5_line_5 |  | 3 | 6 | 0.010448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-2_0_5_line_6 |  | 5 | 28 | 0.028508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-2_0_5_line_7 |  | 7 | 8 | 0.1498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-2_0_5_line_8 |  | 7 | 9 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-2_0_5_line_9 |  | 7 | 10 | 0.0145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-2_0_5_line_10 |  | 8 | 18 | 0.026273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-2_0_5_line_11 |  | 8 | 11 | 0.084689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-2_0_5_line_12 |  | 9 | 17 | 0.0092484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_261-2_0_5_line_13 |  | 10 | 15 | 0.021795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-2_0_5_line_14 |  | 11 | 12 | 0.006358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-2_0_5_line_15 |  | 11 | 13 | 0.038136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-2_0_5_line_16 |  | 13 | 14 | 0.0090276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-2_0_5_line_17 |  | 15 | 16 | 0.010752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-2_0_5_line_18 |  | 17 | 25 | 0.022523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_261-2_0_5_line_19 |  | 19 | 20 | 0.007836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-2_0_5_line_20 |  | 19 | 21 | 0.0058493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-2_0_5_line_21 |  | 20 | 36 | 0.0071007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-2_0_5_line_22 |  | 21 | 37 | 0.016923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-2_0_5_line_23 |  | 21 | 27 | 0.081218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-2_0_5_line_24 |  | 22 | 23 | 0.013021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-2_0_5_line_25 |  | 22 | 24 | 0.029996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-2_0_5_line_26 |  | 23 | 38 | 0.014594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-2_0_5_line_27 |  | 24 | 34 | 0.040785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-2_0_5_line_28 |  | 25 | 26 | 0.017175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_261-2_0_5_line_29 |  | 26 | 32 | 0.019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_261-2_0_5_line_30 |  | 27 | 28 | 0.041565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-2_0_5_line_31 |  | 29 | 30 | 0.046967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-2_0_5_line_32 |  | 29 | 31 | 0.062708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_261-2_0_5_line_33 |  | 29 | 32 | 0.019684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_261-2_0_5_line_34 |  | 30 | 33 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-2_0_5_line_35 |  | 31 | 39 | 0.050124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_261-2_0_5_line_36 |  | 34 | 35 | 0.066325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-2_0_5_line_37 |  | 35 | 44 | 0.0075486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_261-2_0_5_line_38 |  | 35 | 42 | 0.005241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_261-2_0_5_line_39 |  | 36 | 40 | 0.026319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_261-2_0_5_line_40 |  | 39 | 48 | 0.021879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-2_0_5_line_41 |  | 39 | 44 | 0.021876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-2_0_5_line_42 |  | 40 | 41 | 0.043795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_261-2_0_5_line_43 |  | 40 | 42 | 0.067917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_261-2_0_5_line_44 |  | 41 | 50 | 0.001454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-2_0_5_line_45 |  | 41 | 51 | 0.018566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_261-2_0_5_line_46 |  | 42 | 43 | 0.033597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-2_0_5_line_47 |  | 45 | 46 | 0.037893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-2_0_5_line_48 |  | 46 | 47 | 0.0058231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-2_0_5_line_49 |  | 47 | 51 | 0.0078038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-2_0_5_line_50 |  | 48 | 49 | 0.025989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-2_0_5_trafo_42 | 0.63 MVA 20/0.4 kV | 52 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2680711.4158 | 1251422.5975 | 2680699.0202 | 1251396.4587
1 | 2680711.4158 | 1251422.5975 | 2680713.9983 | 1251428.07 | 2680715.5463 | 1251431.3491 | 2680727.2378 | 1251456.338 | 2680752.3773 | 1251509.7868 | 2680754.6021 | 1251508.8275 | 2680782.3283 | 1251498.2197
2 | 2680711.4158 | 1251422.5975 | 2680713.9983 | 1251428.07 | 2680725.7633 | 1251422.7486 | 2680731.3916 | 1251420.19 | 2680736.4803 | 1251417.8909 | 2680742.1235 | 1251415.3437 | 2680750.7343 | 1251414.3825
3 | 2680782.3283 | 1251498.2197 | 2680776.5986 | 1251484.9762
4 | 2680782.3283 | 1251498.2197 | 2680786.219 | 1251496.8572
5 | 2680754.7999 | 1251424.0117 | 2680750.7343 | 1251414.3825
6 | 2680808.5849 | 1251500.724 | 2680805.4899 | 1251494.0991 | 2680802.0405 | 1251491.3166 | 2680786.219 | 1251496.8572
7 | 2680839.7623 | 1251103.9994 | 2680842.4631 | 1251107.4388 | 2680844.135 | 1251109.9412 | 2680879.4754 | 1251183.6891 | 2680889.8264 | 1251194.0714 | 2680895.798 | 1251212.2664 | 2680894.6597 | 1251221.5466 | 2680901.946 | 1251237.4356
8 | 2680901.946 | 1251237.4356 | 2680919.5254 | 1251229.2584
9 | 2680901.946 | 1251237.4356 | 2680888.7982 | 1251243.5508
10 | 2680839.7623 | 1251103.9994 | 2680836.6626 | 1251098.8088 | 2680833.4914 | 1251095.5409 | 2680830.4938 | 1251094.4881 | 2680826.4294 | 1251095.2666 | 2680818.3215 | 1251097.5133
11 | 2680839.7623 | 1251103.9994 | 2680836.3032 | 1251101.3613 | 2680834.0577 | 1251100.5079 | 2680831.6702 | 1251100.1083 | 2680828.8198 | 1251100.4364 | 2680825.3006 | 1251101.6448 | 2680799.5419 | 1251113.4246 | 2680780.1073 | 1251122.5665 | 2680762.8002 | 1251130.7033
12 | 2680919.5254 | 1251229.2584 | 2680923.339 | 1251237.6839
13 | 2680869.0362 | 1251252.7423 | 2680888.7982 | 1251243.5508
14 | 2680762.8002 | 1251130.7033 | 2680760.2527 | 1251124.8754
15 | 2680728.285 | 1251146.9229 | 2680740.0306 | 1251141.401 | 2680762.8002 | 1251130.7033
16 | 2680728.285 | 1251146.9229 | 2680720.1157 | 1251150.7648
17 | 2680869.0362 | 1251252.7423 | 2680869.6436 | 1251255.8084 | 2680872.544 | 1251262.8643
18 | 2680932.6268 | 1251258.2032 | 2680923.339 | 1251237.6839
19 | 2680815.5031 | 1251412.4861 | 2680815.8662 | 1251408.5548 | 2680814.269 | 1251405.0082
20 | 2680815.5031 | 1251412.4861 | 2680810.1386 | 1251414.818
21 | 2680814.269 | 1251405.0082 | 2680820.7059 | 1251402.0106
22 | 2680810.1386 | 1251414.818 | 2680805.3089 | 1251431.0366
23 | 2680827.8427 | 1251490.6235 | 2680810.8993 | 1251455.5776 | 2680810.2425 | 1251453.9229 | 2680809.8665 | 1251452.7169 | 2680809.6556 | 1251451.0239 | 2680809.3473 | 1251422.7209 | 2680808.2361 | 1251415.645 | 2680810.1386 | 1251414.818
24 | 2680980.1891 | 1251419.5281 | 2680975.0462 | 1251407.5601
25 | 2680980.1891 | 1251419.5281 | 2680960.9127 | 1251428.7494 | 2680956.484 | 1251430.7904 | 2680953.086 | 1251432.3804
26 | 2680975.0462 | 1251407.5601 | 2680961.8556 | 1251413.8846
27 | 2680915.4205 | 1251447.9313 | 2680936.4888 | 1251440.1465 | 2680953.086 | 1251432.3804
28 | 2680917.1621 | 1251265.7644 | 2680919.5722 | 1251264.5074 | 2680932.6268 | 1251258.2032
29 | 2680917.1621 | 1251265.7644 | 2680925.2318 | 1251283.0641
30 | 2680827.8427 | 1251490.6235 | 2680808.6066 | 1251499.6901 | 2680805.2312 | 1251492.5944 | 2680806.6814 | 1251491.9693 | 2680807.0776 | 1251492.8086 | 2680809.6611 | 1251498.1923 | 2680810.4755 | 1251499.9158 | 2680808.5849 | 1251500.724
31 | 2680933.5531 | 1251300.9031 | 2680936.0981 | 1251299.7148 | 2680944.3427 | 1251295.7355 | 2680953.537 | 1251294.6158 | 2680960.9502 | 1251306.1812 | 2680967.5769 | 1251316.1903
32 | 2680933.5531 | 1251300.9031 | 2680930.7877 | 1251302.1996 | 2680911.3432 | 1251311.5411 | 2680908.2588 | 1251320.7169 | 2680908.9461 | 1251328.9769 | 2680917.3461 | 1251347.3274
33 | 2680933.5531 | 1251300.9031 | 2680925.2318 | 1251283.0641
34 | 2680967.5769 | 1251316.1903 | 2680952.1784 | 1251323.3297
35 | 2680874.2089 | 1251361.5047 | 2680877.6789 | 1251360.0176 | 2680879.0752 | 1251358.9247 | 2680881.2991 | 1251354.7186 | 2680883.7257 | 1251351.6939 | 2680886.0805 | 1251350.0582 | 2680888.2088 | 1251348.9864 | 2680892.0174 | 1251348.6826 | 2680897.1387 | 1251350.0869 | 2680899.858 | 1251349.4013 | 2680902.3951 | 1251348.2351 | 2680904.2939 | 1251347.9385 | 2680911.5403 | 1251350.1613 | 2680914.8082 | 1251348.5492 | 2680917.3461 | 1251347.3274
36 | 2680886.8749 | 1251388.0639 | 2680889.9959 | 1251394.4445 | 2680901.9478 | 1251419.6597 | 2680915.4205 | 1251447.9313
37 | 2680886.8749 | 1251388.0639 | 2680883.6247 | 1251381.2508
38 | 2680886.8749 | 1251388.0639 | 2680891.6014 | 1251385.7711
39 | 2680844.5648 | 1251390.8998 | 2680820.7059 | 1251402.0106
40 | 2680874.2089 | 1251361.5047 | 2680864.7904 | 1251341.7565
41 | 2680874.2089 | 1251361.5047 | 2680877.3497 | 1251368.0969 | 2680883.6247 | 1251381.2508
42 | 2680829.8266 | 1251359.0863 | 2680834.8096 | 1251369.5176 | 2680828.728 | 1251372.1032 | 2680829.3803 | 1251373.5354 | 2680831.6397 | 1251376.1237 | 2680834.3283 | 1251382.1092 | 2680838.1352 | 1251384.1404 | 2680841.3802 | 1251385.8637 | 2680843.9502 | 1251388.9233 | 2680844.5648 | 1251390.8998
43 | 2680844.5648 | 1251390.8998 | 2680850.1514 | 1251389.1859 | 2680860.9325 | 1251384.0736 | 2680864.0493 | 1251381.9145 | 2680862.4692 | 1251378.2235 | 2680884.1805 | 1251368.6905 | 2680885.9865 | 1251372.9739 | 2680889.3823 | 1251380.7816 | 2680891.6014 | 1251385.7711
44 | 2680829.8266 | 1251359.0863 | 2680830.9563 | 1251358.1677
45 | 2680818.7801 | 1251351.0075 | 2680819.9906 | 1251354.1263 | 2680823.6003 | 1251361.7589 | 2680826.7957 | 1251360.4793 | 2680829.8266 | 1251359.0863
46 | 2680891.6014 | 1251385.7711 | 2680893.5765 | 1251384.853 | 2680921.8402 | 1251371.1314
47 | 2680812.0063 | 1251353.428 | 2680779.0916 | 1251372.203
48 | 2680812.0063 | 1251353.428 | 2680812.2253 | 1251348.9944 | 2680812.8686 | 1251347.7689
49 | 2680818.7801 | 1251351.0075 | 2680817.7082 | 1251348.8023 | 2680816.2074 | 1251347.5921 | 2680814.2408 | 1251347.3317 | 2680812.8686 | 1251347.7689
50 | 2680853.6024 | 1251318.2984 | 2680864.7904 | 1251341.7565

## bus_geodata
| x | y | coords
0 | 2680699.0202 | 1251396.4587
1 | 2680711.4158 | 1251422.5975
2 | 2680782.3283 | 1251498.2197
3 | 2680750.7343 | 1251414.3825
4 | 2680776.5986 | 1251484.9762
5 | 2680786.219 | 1251496.8572
6 | 2680754.7999 | 1251424.0117
7 | 2680901.946 | 1251237.4356
8 | 2680839.7623 | 1251103.9994
9 | 2680919.5254 | 1251229.2584
10 | 2680888.7982 | 1251243.5508
11 | 2680762.8002 | 1251130.7033
12 | 2680760.2527 | 1251124.8754
13 | 2680728.285 | 1251146.9229
14 | 2680720.1157 | 1251150.7648
15 | 2680869.0362 | 1251252.7423
16 | 2680872.544 | 1251262.8643
17 | 2680923.339 | 1251237.6839
18 | 2680818.3215 | 1251097.5133
19 | 2680815.5031 | 1251412.4861
20 | 2680814.269 | 1251405.0082
21 | 2680810.1386 | 1251414.818
22 | 2680980.1891 | 1251419.5281
23 | 2680975.0462 | 1251407.5601
24 | 2680953.086 | 1251432.3804
25 | 2680932.6268 | 1251258.2032
26 | 2680917.1621 | 1251265.7644
27 | 2680827.8427 | 1251490.6235
28 | 2680808.5849 | 1251500.7239
29 | 2680933.5531 | 1251300.9031
30 | 2680967.5769 | 1251316.1903
31 | 2680917.3461 | 1251347.3274
32 | 2680925.2318 | 1251283.0641
33 | 2680952.1784 | 1251323.3297
34 | 2680915.4205 | 1251447.9313
35 | 2680886.8749 | 1251388.0639
36 | 2680820.7059 | 1251402.0106
37 | 2680805.3089 | 1251431.0366
38 | 2680961.8556 | 1251413.8846
39 | 2680874.2089 | 1251361.5047
40 | 2680844.5648 | 1251390.8998
41 | 2680829.8266 | 1251359.0863
42 | 2680891.6014 | 1251385.7711
43 | 2680921.8402 | 1251371.1314
44 | 2680883.6247 | 1251381.2508
45 | 2680779.0916 | 1251372.203
46 | 2680812.0063 | 1251353.428
47 | 2680812.8686 | 1251347.7689
48 | 2680864.7904 | 1251341.7565
49 | 2680853.6024 | 1251318.2984
50 | 2680830.9563 | 1251358.1677
51 | 2680818.7801 | 1251351.0075
52 | 2680819.9906 | 1251354.1263

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9761 | -0.4612 | 0.032683 | 0.0081911
1 | 0.97698 | -0.44392 | 0 | 0
2 | 0.98119 | -0.36159 | 0 | 0
3 | 0.97687 | -0.44605 | 0 | 0
4 | 0.98099 | -0.36547 | 0.014869 | 0.0037264
5 | 0.98138 | -0.35785 | 0.01102 | 0.002762
6 | 0.97685 | -0.44654 | 0.0025648 | 0.0006428
7 | 0.98441 | -0.29835 | 0 | 0
8 | 0.97664 | -0.44891 | 0 | 0
9 | 0.98549 | -0.27764 | 0 | 0
10 | 0.98435 | -0.29942 | 0.0004121 | 0.00010328
11 | 0.97236 | -0.53302 | 0 | 0
12 | 0.97234 | -0.53329 | 0.0022493 | 0.00056373
13 | 0.97051 | -0.56955 | 0 | 0
14 | 0.97007 | -0.57822 | 0.051862 | 0.012998
15 | 0.98428 | -0.30088 | 0 | 0
16 | 0.98424 | -0.3016 | 0.0037195 | 0.0009322
17 | 0.98574 | -0.2727 | 0.0090286 | 0.0022628
18 | 0.97661 | -0.44954 | 0.0013223 | 0.0003314
19 | 0.9906 | -0.17941 | 0 | 0
20 | 0.99147 | -0.16273 | 0 | 0
21 | 0.98996 | -0.19189 | 0.0034238 | 0.00085808
22 | 0.98737 | -0.24207 | 0 | 0
23 | 0.98726 | -0.24419 | 0 | 0
24 | 0.98762 | -0.23719 | 0.014981 | 0.0037546
25 | 0.9861 | -0.26577 | 0 | 0
26 | 0.98638 | -0.26049 | 0 | 0
27 | 0.98535 | -0.28063 | 0 | 0
28 | 0.98299 | -0.32636 | 0 | 0
29 | 0.987 | -0.24853 | 0 | 0
30 | 0.98691 | -0.25031 | 0 | 0
31 | 0.98804 | -0.22852 | 0 | 0
32 | 0.98668 | -0.25463 | 0.00067243 | 0.00016853
33 | 0.98688 | -0.25095 | 0.0021182 | 0.00053088
34 | 0.98852 | -0.21966 | 0 | 0
35 | 0.98999 | -0.1912 | 0 | 0
36 | 0.99226 | -0.14763 | 0.029998 | 0.0075183
37 | 0.9891 | -0.20858 | 0.055423 | 0.01389
38 | 0.98714 | -0.24657 | 0.0091012 | 0.002281
39 | 0.98888 | -0.21255 | 0 | 0
40 | 0.99407 | -0.11275 | 0 | 0
41 | 0.99805 | -0.037013 | 0 | 0
42 | 0.99026 | -0.18603 | 0 | 0
43 | 0.98958 | -0.19912 | 0.021894 | 0.0054873
44 | 0.98964 | -0.19784 | 0.046757 | 0.011718
45 | 0.99768 | -0.04453 | 0.049045 | 0.012292
46 | 0.99937 | -0.012042 | 0 | 0
47 | 0.99963 | -0.0070591 | 0.0028339 | 0.00071025
48 | 0.98728 | -0.24364 | 0.018775 | 0.0047055
49 | 0.98582 | -0.27194 | 0.060813 | 0.015241
50 | 0.99797 | -0.038612 | 0.062849 | 0.015751
51 | 1 | 0 | -0.51606 | -0.13122
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.032683 | -0.0081911 | 0.03271 | 0.0082079 | 2.6929e-05 | 1.6873e-05 | 0.049823 | 0.049823 | 0.049823 | 0.9761 | -0.4612 | 0.97698 | -0.44392 | 13.6877
1 | -0.035275 | -0.0088502 | 0.035414 | 0.0089376 | 0.00013905 | 8.7374e-05 | 0.05373 | 0.053729 | 0.05373 | 0.97698 | -0.44392 | 0.98119 | -0.36159 | 14.7609
2 | 0.0025651 | 0.00064231 | -0.0025649 | -0.00064271 | 2.6092e-07 | -4.0379e-07 | 0.0039067 | 0.0039069 | 0.0039069 | 0.97698 | -0.44392 | 0.97687 | -0.44605 | 1.0733
3 | 0.014871 | 0.003728 | -0.014869 | -0.0037264 | 2.7513e-06 | 1.5787e-06 | 0.022553 | 0.022554 | 0.022554 | 0.98119 | -0.36159 | 0.98099 | -0.36547 | 6.196
4 | -0.050285 | -0.012666 | 0.050294 | 0.012671 | 8.9955e-06 | 5.7051e-06 | 0.076283 | 0.076283 | 0.076283 | 0.98119 | -0.36159 | 0.98138 | -0.35785 | 20.9568
5 | 0.0025649 | 0.00064271 | -0.0025648 | -0.0006428 | 5.9804e-08 | -9.2525e-08 | 0.0039069 | 0.0039069 | 0.0039069 | 0.97687 | -0.44605 | 0.97685 | -0.44654 | 1.0733
6 | -0.061315 | -0.015433 | 0.061407 | 0.015492 | 9.2445e-05 | 5.8804e-05 | 0.092992 | 0.092992 | 0.092992 | 0.98138 | -0.35785 | 0.98299 | -0.32636 | 25.5474
7 | 0.05617 | 0.01436 | -0.055764 | -0.014103 | 0.00040595 | 0.00025792 | 0.085008 | 0.085008 | 0.085008 | 0.98441 | -0.29835 | 0.97664 | -0.44891 | 23.354
8 | -0.060302 | -0.015396 | 0.060363 | 0.015434 | 6.04e-05 | 3.841e-05 | 0.091254 | 0.091254 | 0.091254 | 0.98441 | -0.29835 | 0.98549 | -0.27764 | 25.0697
9 | 0.0041322 | 0.0010353 | -0.004132 | -0.0010353 | 2.1214e-07 | -4.8567e-08 | 0.0062461 | 0.0062461 | 0.0062461 | 0.98441 | -0.29835 | 0.98435 | -0.29942 | 1.716
10 | 0.0013223 | 0.0003311 | -0.0013223 | -0.0003314 | 3.999e-08 | -3.0316e-07 | 0.0020146 | 0.0020147 | 0.0020147 | 0.97664 | -0.44891 | 0.97661 | -0.44954 | 0.5535
11 | 0.054442 | 0.013771 | -0.054223 | -0.013633 | 0.00021875 | 0.00013895 | 0.082994 | 0.082994 | 0.082994 | 0.97664 | -0.44891 | 0.97236 | -0.53302 | 22.8006
12 | -0.060363 | -0.015434 | 0.060377 | 0.015443 | 1.444e-05 | 9.0059e-06 | 0.091254 | 0.091254 | 0.091254 | 0.98549 | -0.27764 | 0.98574 | -0.2727 | 12.5348
13 | 0.0037199 | 0.00093203 | -0.0037196 | -0.00093214 | 2.5844e-07 | -1.1164e-07 | 0.0056232 | 0.0056233 | 0.0056233 | 0.98435 | -0.29942 | 0.98428 | -0.30088 | 1.5449
14 | 0.0022493 | 0.00056367 | -0.0022493 | -0.00056373 | 2.825e-08 | -6.0783e-08 | 0.0034422 | 0.0034422 | 0.0034422 | 0.97236 | -0.53302 | 0.97234 | -0.53329 | 0.94567
15 | 0.051974 | 0.013069 | -0.051883 | -0.013011 | 9.0505e-05 | 5.7451e-05 | 0.079552 | 0.079552 | 0.079552 | 0.97236 | -0.53302 | 0.97051 | -0.56955 | 21.855
16 | 0.051883 | 0.013011 | -0.051862 | -0.012998 | 2.1424e-05 | 1.36e-05 | 0.079552 | 0.079552 | 0.079552 | 0.97051 | -0.56955 | 0.97007 | -0.57822 | 21.855
17 | 0.0037196 | 0.00093214 | -0.0037195 | -0.0009322 | 1.275e-07 | -5.5055e-08 | 0.0056233 | 0.0056233 | 0.0056233 | 0.98428 | -0.30088 | 0.98424 | -0.3016 | 1.5449
18 | -0.069406 | -0.017706 | 0.069429 | 0.01772 | 2.3228e-05 | 1.3717e-05 | 0.10488 | 0.10488 | 0.10488 | 0.98574 | -0.2727 | 0.9861 | -0.26577 | 7.2035
19 | -0.12077 | -0.030568 | 0.12087 | 0.03063 | 9.682e-05 | 6.1864e-05 | 0.18152 | 0.18152 | 0.18152 | 0.9906 | -0.17941 | 0.99147 | -0.16273 | 49.8675
20 | 0.12077 | 0.030568 | -0.1207 | -0.030522 | 7.2272e-05 | 4.6179e-05 | 0.18152 | 0.18152 | 0.18152 | 0.9906 | -0.17941 | 0.98996 | -0.19189 | 49.8675
21 | -0.12087 | -0.03063 | 0.12095 | 0.030686 | 8.7734e-05 | 5.6058e-05 | 0.18152 | 0.18152 | 0.18152 | 0.99147 | -0.16273 | 0.99226 | -0.14763 | 49.8675
22 | 0.055467 | 0.013918 | -0.055423 | -0.01389 | 4.4118e-05 | 2.8018e-05 | 0.08338 | 0.08338 | 0.08338 | 0.98996 | -0.19189 | 0.9891 | -0.20858 | 22.9066
23 | 0.061805 | 0.015745 | -0.061542 | -0.015578 | 0.00026338 | 0.00016752 | 0.092992 | 0.092992 | 0.092992 | 0.98996 | -0.19189 | 0.98535 | -0.28063 | 25.5473
24 | 0.0091032 | 0.0022819 | -0.0091023 | -0.0022815 | 9.1903e-07 | 4.2166e-07 | 0.013719 | 0.013719 | 0.013719 | 0.98737 | -0.24207 | 0.98726 | -0.24419 | 3.769
25 | -0.0091032 | -0.0022819 | 0.0091053 | 0.0022829 | 2.1171e-06 | 9.7122e-07 | 0.013719 | 0.013719 | 0.013719 | 0.98737 | -0.24207 | 0.98762 | -0.23719 | 3.769
26 | 0.0091023 | 0.0022815 | -0.0091012 | -0.002281 | 1.0301e-06 | 4.7265e-07 | 0.013719 | 0.013719 | 0.013719 | 0.98726 | -0.24419 | 0.98714 | -0.24657 | 3.769
27 | -0.024086 | -0.0060375 | 0.024107 | 0.0060498 | 2.0143e-05 | 1.2369e-05 | 0.036291 | 0.03629 | 0.036291 | 0.98762 | -0.23719 | 0.98852 | -0.21966 | 9.9699
28 | -0.069429 | -0.01772 | 0.069447 | 0.01773 | 1.7712e-05 | 1.0459e-05 | 0.10488 | 0.10488 | 0.10488 | 0.9861 | -0.26577 | 0.98638 | -0.26049 | 7.2034
29 | -0.069447 | -0.01773 | 0.069466 | 0.017742 | 1.9686e-05 | 1.1624e-05 | 0.10488 | 0.10488 | 0.10488 | 0.98638 | -0.26049 | 0.98668 | -0.25463 | 7.2034
30 | 0.061542 | 0.015578 | -0.061407 | -0.015492 | 0.00013479 | 8.5735e-05 | 0.092992 | 0.092992 | 0.092992 | 0.98535 | -0.28063 | 0.98299 | -0.32636 | 25.5473
31 | 0.0021185 | 0.00053022 | -0.0021183 | -0.0005307 | 1.7964e-07 | -4.8523e-07 | 0.0031936 | 0.0031938 | 0.0031938 | 0.987 | -0.24853 | 0.98691 | -0.25031 | 0.87741
32 | -0.072278 | -0.018453 | 0.072348 | 0.018494 | 6.996e-05 | 4.1565e-05 | 0.10909 | 0.10909 | 0.10909 | 0.987 | -0.24853 | 0.98804 | -0.22852 | 7.4924
33 | 0.07016 | 0.017923 | -0.070139 | -0.01791 | 2.0694e-05 | 1.2238e-05 | 0.1059 | 0.1059 | 0.1059 | 0.987 | -0.24853 | 0.98668 | -0.25463 | 7.273
34 | 0.0021183 | 0.0005307 | -0.0021182 | -0.00053088 | 6.4768e-08 | -1.749e-07 | 0.0031938 | 0.0031939 | 0.0031939 | 0.98691 | -0.25031 | 0.98688 | -0.25095 | 0.87744
35 | -0.072348 | -0.018494 | 0.072404 | 0.018528 | 5.5919e-05 | 3.3218e-05 | 0.10909 | 0.10909 | 0.10909 | 0.98804 | -0.22852 | 0.98888 | -0.21255 | 7.4923
36 | -0.024107 | -0.0060498 | 0.024139 | 0.0060699 | 3.2756e-05 | 2.0112e-05 | 0.03629 | 0.03629 | 0.03629 | 0.98852 | -0.21966 | 0.98999 | -0.1912 | 9.9699
37 | 0.19912 | 0.050428 | -0.19906 | -0.050388 | 6.347e-05 | 4.0233e-05 | 0.29948 | 0.29948 | 0.29948 | 0.98999 | -0.1912 | 0.98964 | -0.19784 | 20.5686
38 | -0.22326 | -0.056498 | 0.22332 | 0.056534 | 5.5394e-05 | 3.5183e-05 | 0.33577 | 0.33577 | 0.33577 | 0.98999 | -0.1912 | 0.99026 | -0.18603 | 23.061
39 | -0.15095 | -0.038204 | 0.1512 | 0.038366 | 0.00025318 | 0.00016135 | 0.2265 | 0.2265 | 0.2265 | 0.99226 | -0.14763 | 0.99407 | -0.11275 | 31.1131
40 | 0.079789 | 0.020074 | -0.07967 | -0.019999 | 0.00011832 | 7.5448e-05 | 0.12009 | 0.12009 | 0.12009 | 0.98888 | -0.21255 | 0.98728 | -0.24364 | 32.9917
41 | -0.15219 | -0.038602 | 0.1523 | 0.03867 | 0.00010772 | 6.7815e-05 | 0.22918 | 0.22918 | 0.22918 | 0.98888 | -0.21255 | 0.98964 | -0.19784 | 15.7401
42 | -0.39729 | -0.10095 | 0.39875 | 0.10187 | 0.0014545 | 0.00092858 | 0.59519 | 0.59519 | 0.59519 | 0.99407 | -0.11275 | 0.99805 | -0.037013 | 40.8786
43 | 0.24609 | 0.06258 | -0.24522 | -0.062029 | 0.00086552 | 0.00055042 | 0.36869 | 0.36869 | 0.36869 | 0.99407 | -0.11275 | 0.99026 | -0.18603 | 25.3221
44 | 0.062853 | 0.015754 | -0.062849 | -0.015751 | 4.7882e-06 | 3.0454e-06 | 0.09371 | 0.09371 | 0.09371 | 0.99805 | -0.037013 | 0.99797 | -0.038612 | 25.7446
45 | -0.4616 | -0.11763 | 0.46243 | 0.11816 | 0.00082606 | 0.00052771 | 0.6889 | 0.6889 | 0.6889 | 0.99805 | -0.037013 | 1 | 0 | 47.3146
46 | 0.021908 | 0.0054956 | -0.021894 | -0.0054873 | 1.3655e-05 | 8.3075e-06 | 0.032922 | 0.032922 | 0.032922 | 0.99026 | -0.18603 | 0.98958 | -0.19912 | 9.0446
47 | -0.049045 | -0.012292 | 0.049121 | 0.01234 | 7.6034e-05 | 4.8166e-05 | 0.073149 | 0.073149 | 0.073149 | 0.99768 | -0.04453 | 0.99937 | -0.012042 | 20.0959
48 | -0.049121 | -0.01234 | 0.049133 | 0.012347 | 1.1684e-05 | 7.4015e-06 | 0.073149 | 0.073149 | 0.073149 | 0.99937 | -0.012042 | 0.99963 | -0.0070591 | 20.0958
49 | -0.051966 | -0.013058 | 0.051984 | 0.013069 | 1.7517e-05 | 1.1108e-05 | 0.077367 | 0.077367 | 0.077367 | 0.99963 | -0.0070591 | 1 | 0 | 21.2547
50 | 0.060895 | 0.015293 | -0.060813 | -0.015241 | 8.2118e-05 | 5.2223e-05 | 0.091792 | 0.091792 | 0.091792 | 0.98728 | -0.24364 | 0.98582 | -0.27194 | 25.2176

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51606 | 0.13122

## res_load
| p_mw | q_mvar
0 | 0.032683 | 0.0081911
1 | 0.014869 | 0.0037264
2 | 0.01102 | 0.002762
3 | 0.0025648 | 0.0006428
4 | 0.0004121 | 0.00010328
5 | 0.0022493 | 0.00056373
6 | 0.051862 | 0.012998
7 | 0.0037195 | 0.0009322
8 | 0.0090286 | 0.0022628
9 | 0.0013223 | 0.0003314
10 | 0.0034238 | 0.00085808
11 | 0.014981 | 0.0037546
12 | 0.00067243 | 0.00016853
13 | 0.0021182 | 0.00053088
14 | 0.029998 | 0.0075183
15 | 0.055423 | 0.01389
16 | 0.0091012 | 0.002281
17 | 0.021894 | 0.0054873
18 | 0.046757 | 0.011718
19 | 0.049045 | 0.012292
20 | 0.0028339 | 0.00071025
21 | 0.018775 | 0.0047055
22 | 0.060813 | 0.015241
23 | 0.062849 | 0.015751

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1