## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-302_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-302_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-302_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-302_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-302_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-302_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-302_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-302_0_4_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_261-302_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_261-302_0_4_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_261-302_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_261-302_0_4_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_261-302_0_4_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_261-302_0_4_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_261-302_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-302_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_261-302_0_4_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_261-302_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-302_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-302_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_261-302_0_4_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_261-302_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_261-302_0_4_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_261-302_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_261-302_0_4_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_261-302_0_4_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_261-302_0_4_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_261-302_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_261-302_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_261-302_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_261-302_0_4_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_261-302_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_261-302_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_261-302_0_4_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_261-302_0_4_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_261-302_0_4_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_261-302_0_4_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_261-302_0_4_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_261-302_0_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_261-302_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_261-302_0_4_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_261-302_0_4_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_261-302_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_261-302_0_4_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_261-302_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_261-302_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_261-302_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_261-302_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_261-302_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_261-302_0_4_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_261-302_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_261-302_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_261-302_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_261-302_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_261-302_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_261-302_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_261-302_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_261-302_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_261-302_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_261-302_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_261-302_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_261-302_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_261-302_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_261-302_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_261-302_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_MV_528_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-302_0_4_load_0 | 0 | 0.037932 | 0.0095065 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-302_0_4_load_1 | 1 | 0.0037497 | 0.00093975 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-302_0_4_load_3 | 3 | 0.0022378 | 0.00056083 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-302_0_4_load_5 | 5 | 0.0016226 | 0.00040666 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-302_0_4_load_6 | 6 | 0.0026737 | 0.0006701 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-302_0_4_load_70 | 7 | 0.004176 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-302_0_4_load_27 | 8 | 0.0045881 | 0.0011499 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-302_0_4_load_51 | 11 | 0.021462 | 0.0053788 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-302_0_4_load_36 | 12 | 0.0063216 | 0.0015844 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-302_0_4_load_28 | 13 | 0.0039907 | 0.0010002 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-302_0_4_load_69 | 16 | 0.034361 | 0.0086117 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-302_0_4_load_65 | 20 | 0.00043078 | 0.00010796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-302_0_4_load_71 | 22 | 0.017643 | 0.0044217 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-302_0_4_load_35 | 24 | 0.0044493 | 0.0011151 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-302_0_4_load_54 | 25 | 0.015544 | 0.0038956 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-302_0_4_load_66 | 26 | 0.0081581 | 0.0020446 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-302_0_4_load_30 | 28 | 0.0024227 | 0.00060718 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-302_0_4_load_29 | 29 | 0.0035021 | 0.00087772 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-302_0_4_load_53 | 30 | 0.0093138 | 0.0023343 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-302_0_4_load_72 | 34 | 0.0058127 | 0.0014568 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-302_0_4_load_55 | 35 | 0.037039 | 0.0092828 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-302_0_4_load_73 | 36 | 0.0098248 | 0.0024623 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-302_0_4_load_56 | 37 | 0.002083 | 0.00052206 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-302_0_4_load_57 | 38 | 0.003758 | 0.00094185 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-302_0_4_load_64 | 39 | 0.022215 | 0.0055676 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-302_0_4_load_67 | 40 | 0.0082378 | 0.0020646 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-302_0_4_load_49 | 41 | 0.0057393 | 0.0014384 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-302_0_4_load_50 | 43 | 0.0073979 | 0.0018541 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-302_0_4_load_43 | 45 | 0.0002542 | 6.3708e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-302_0_4_load_42 | 46 | 0.00024786 | 6.2119e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-302_0_4_load_37 | 48 | 0.0033347 | 0.00083577 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-302_0_4_load_60 | 49 | 0.0091893 | 0.002303 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-302_0_4_load_38 | 50 | 0.00025339 | 6.3506e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-302_0_4_load_31 | 51 | 0.0048492 | 0.0012153 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-302_0_4_load_32 | 52 | 0.0027762 | 0.00069579 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-302_0_4_load_34 | 53 | 0.014187 | 0.0035557 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-302_0_4_load_45 | 54 | 0.0038459 | 0.00096388 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-302_0_4_load_39 | 55 | 0.00033982 | 8.5168e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-302_0_4_load_40 | 56 | 0.00025015 | 6.2694e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-302_0_4_load_41 | 57 | 0.010508 | 0.0026334 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-302_0_4_load_44 | 58 | 0.0025365 | 0.00063571 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-302_0_4_load_46 | 59 | 0.0053943 | 0.0013519 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-302_0_4_load_59 | 61 | 0.00213 | 0.00053384 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-302_0_4_load_61 | 62 | 0.0016805 | 0.00042117 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-302_0_4_load_62 | 63 | 0.022283 | 0.0055846 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-302_0_4_load_63 | 64 | 0.00042355 | 0.00010615 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-302_0_4_line_0 |  | 0 | 1 | 0.0021934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-302_0_4_line_1 |  | 0 | 2 | 0.032389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-302_0_4_line_2 |  | 1 | 3 | 0.022155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-302_0_4_line_3 |  | 2 | 4 | 0.022749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-302_0_4_line_4 |  | 2 | 5 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-302_0_4_line_5 |  | 3 | 6 | 0.018388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-302_0_4_line_6 |  | 4 | 7 | 0.009019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-302_0_4_line_7 |  | 5 | 8 | 0.0019955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-302_0_4_line_8 |  | 7 | 12 | 0.0068556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-302_0_4_line_9 |  | 8 | 13 | 0.027391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-302_0_4_line_10 |  | 9 | 10 | 0.031505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-302_0_4_line_11 |  | 9 | 11 | 0.054118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-302_0_4_line_12 |  | 10 | 30 | 0.0070004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-302_0_4_line_13 |  | 10 | 15 | 0.02532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_261-302_0_4_line_14 |  | 10 | 23 | 0.004105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-302_0_4_line_15 |  | 12 | 47 | 0.019568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-302_0_4_line_16 |  | 13 | 29 | 0.00073957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-302_0_4_line_17 |  | 14 | 15 | 0.059405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-302_0_4_line_18 |  | 14 | 16 | 0.019367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-302_0_4_line_19 |  | 15 | 25 | 0.01506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-302_0_4_line_20 |  | 17 | 18 | 0.04753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-302_0_4_line_21 |  | 17 | 19 | 0.13511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-302_0_4_line_22 |  | 17 | 20 | 0.015741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-302_0_4_line_23 |  | 18 | 21 | 0.068828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-302_0_4_line_24 |  | 18 | 22 | 0.019256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-302_0_4_line_25 |  | 19 | 26 | 0.031553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-302_0_4_line_26 |  | 20 | 39 | 0.0083826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-302_0_4_line_27 |  | 21 | 36 | 0.008425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-302_0_4_line_28 |  | 22 | 25 | 0.028278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_261-302_0_4_line_29 |  | 23 | 24 | 0.012317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-302_0_4_line_30 |  | 24 | 47 | 0.040793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-302_0_4_line_31 |  | 27 | 28 | 0.023621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-302_0_4_line_32 |  | 27 | 29 | 0.014332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-302_0_4_line_33 |  | 28 | 48 | 0.0095588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-302_0_4_line_34 |  | 31 | 32 | 0.048113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-302_0_4_line_35 |  | 31 | 33 | 0.015192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-302_0_4_line_36 |  | 31 | 34 | 0.002444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-302_0_4_line_37 |  | 32 | 35 | 0.0047762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-302_0_4_line_38 |  | 33 | 49 | 0.0074643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-302_0_4_line_39 |  | 33 | 40 | 0.029326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-302_0_4_line_40 |  | 37 | 38 | 0.026863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-302_0_4_line_41 |  | 38 | 60 | 0.020214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-302_0_4_line_42 |  | 39 | 64 | 0.02341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-302_0_4_line_43 |  | 41 | 42 | 0.010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-302_0_4_line_44 |  | 42 | 54 | 0.013804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-302_0_4_line_45 |  | 42 | 53 | 0.025778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-302_0_4_line_46 |  | 43 | 44 | 0.013621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-302_0_4_line_47 |  | 44 | 59 | 0.017976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-302_0_4_line_48 |  | 45 | 46 | 0.027988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-302_0_4_line_49 |  | 46 | 57 | 0.009893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-302_0_4_line_50 |  | 47 | 51 | 0.0012249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-302_0_4_line_51 |  | 48 | 50 | 0.016559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-302_0_4_line_52 |  | 49 | 60 | 0.018537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-302_0_4_line_53 |  | 50 | 55 | 0.0063738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-302_0_4_line_54 |  | 51 | 52 | 0.019904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-302_0_4_line_55 |  | 52 | 53 | 0.0011984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-302_0_4_line_56 |  | 54 | 58 | 0.012738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-302_0_4_line_57 |  | 55 | 56 | 0.019191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-302_0_4_line_58 |  | 56 | 57 | 0.015331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-302_0_4_line_59 |  | 58 | 59 | 0.014602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-302_0_4_line_60 |  | 60 | 61 | 0.0032362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-302_0_4_line_61 |  | 61 | 62 | 0.027069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-302_0_4_line_62 |  | 62 | 63 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-302_0_4_line_63 |  | 63 | 64 | 0.0035508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-302_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 65 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2682718.782 | 1251673.6567 | 2682716.6788 | 1251674.2791
1 | 2682749.8393 | 1251664.466 | 2682718.782 | 1251673.6567
2 | 2682695.4345 | 1251680.5659 | 2682716.6788 | 1251674.2791
3 | 2682771.9938 | 1251659.0269 | 2682749.8393 | 1251664.466
4 | 2682749.8393 | 1251664.466 | 2682750.7318 | 1251667.5808 | 2682754.5329 | 1251680.8522
5 | 2682677.9054 | 1251686.1009 | 2682683.7461 | 1251684.0248 | 2682695.4345 | 1251680.5659
6 | 2682771.9938 | 1251659.0269 | 2682780.8098 | 1251657.1242
7 | 2682754.5329 | 1251680.8522 | 2682755.0823 | 1251682.7706
8 | 2682787.5111 | 1251655.6779 | 2682780.8098 | 1251657.1242
9 | 2682762.6241 | 1251709.1024 | 2682755.0823 | 1251682.7706
10 | 2682789.8318 | 1251601.1328 | 2682759.2201 | 1251608.9444
11 | 2682759.2201 | 1251608.9444 | 2682706.6982 | 1251621.9921
12 | 2682789.8318 | 1251601.1328 | 2682790.189 | 1251602.5833 | 2682791.5561 | 1251607.9175
13 | 2682778.536 | 1251586.8088 | 2682777.6346 | 1251587.0408 | 2682778.2357 | 1251589.3954 | 2682779.1461 | 1251590.142 | 2682786.568 | 1251588.3888 | 2682788.2427 | 1251594.9393 | 2682789.8318 | 1251601.1328
14 | 2682789.8318 | 1251601.1328 | 2682793.7951 | 1251600.0207
15 | 2682806.6388 | 1251651.5497 | 2682787.5111 | 1251655.6779
16 | 2682762.8277 | 1251709.8134 | 2682762.6241 | 1251709.1024
17 | 2682736.5666 | 1251582.0191 | 2682749.4976 | 1251578.7194 | 2682769.3677 | 1251573.6486 | 2682773.6001 | 1251590.5426 | 2682778.2357 | 1251589.3954 | 2682777.6346 | 1251587.0408 | 2682778.536 | 1251586.8088
18 | 2682736.5666 | 1251582.0191 | 2682731.8076 | 1251563.2458
19 | 2682778.536 | 1251586.8088 | 2682778.1783 | 1251585.4027 | 2682778.8492 | 1251584.3891 | 2682775.8432 | 1251572.366
20 | 2682747.9594 | 1251487.3075 | 2682753.5572 | 1251485.9068 | 2682764.5205 | 1251526.2011
21 | 2682747.9594 | 1251487.3075 | 2682744.2063 | 1251469.5863 | 2682745.2249 | 1251465.2973 | 2682747.9502 | 1251464.1901 | 2682745.0174 | 1251456.3766 | 2682733.6035 | 1251459.6642 | 2682709.5435 | 1251459.3504 | 2682692.0268 | 1251453.7128 | 2682689.09 | 1251445.6325 | 2682680.166 | 1251421.9681 | 2682673.735 | 1251410.5921
22 | 2682747.9594 | 1251487.3075 | 2682732.693 | 1251491.1445
23 | 2682764.5205 | 1251526.2011 | 2682771.796 | 1251524.6571 | 2682780.0791 | 1251522.8603 | 2682782.9922 | 1251522.901 | 2682786.1499 | 1251523.8014 | 2682787.4596 | 1251525.1429 | 2682789.0812 | 1251527.4006 | 2682789.8595 | 1251533.2825 | 2682791.388 | 1251537.3291 | 2682794.6594 | 1251539.8211 | 2682796.903 | 1251540.7754 | 2682794.738 | 1251543.9141 | 2682792.6264 | 1251548.0989 | 2682791.9356 | 1251550.5355 | 2682790.524 | 1251552.1614 | 2682790.4174 | 1251554.9287 | 2682791.601 | 1251559.8934 | 2682792.9343 | 1251563.8705
24 | 2682764.5205 | 1251526.2011 | 2682769.0015 | 1251544.9284
25 | 2682673.735 | 1251410.5921 | 2682702.576 | 1251397.7942
26 | 2682732.693 | 1251491.1445 | 2682724.5633 | 1251493.1878
27 | 2682792.9343 | 1251563.8705 | 2682797.846 | 1251562.9496 | 2682801.2836 | 1251563.2645
28 | 2682769.0015 | 1251544.9284 | 2682769.4058 | 1251546.6179 | 2682775.8432 | 1251572.366
29 | 2682793.7951 | 1251600.0207 | 2682795.3358 | 1251606.9807 | 2682796.4224 | 1251611.3214 | 2682796.5918 | 1251612.015
30 | 2682806.6388 | 1251651.5497 | 2682800.8561 | 1251629.4746 | 2682796.5918 | 1251612.015
31 | 2682766.7738 | 1251723.5911 | 2682790.024 | 1251719.4241
32 | 2682766.7738 | 1251723.5911 | 2682762.8277 | 1251709.8134
33 | 2682790.024 | 1251719.4241 | 2682799.4329 | 1251717.7377
34 | 2682674.7146 | 1251597.8011 | 2682667.3874 | 1251569.5222 | 2682665.4487 | 1251561.8672 | 2682662.7519 | 1251551.1994
35 | 2682659.0248 | 1251536.4698 | 2682662.7519 | 1251551.1994
36 | 2682665.1303 | 1251550.6099 | 2682662.7519 | 1251551.1994
37 | 2682674.7146 | 1251597.8011 | 2682670.0868 | 1251598.9827
38 | 2682659.0248 | 1251536.4698 | 2682657.1968 | 1251529.2327
39 | 2682659.0248 | 1251536.4698 | 2682630.6144 | 1251543.7392
40 | 2682606.999 | 1251522.7596 | 2682633.0489 | 1251516.1989
41 | 2682652.651 | 1251511.2621 | 2682633.0489 | 1251516.1989
42 | 2682701.8592 | 1251498.8942 | 2682724.5633 | 1251493.1878
43 | 2682854.4347 | 1251646.1025 | 2682864.7149 | 1251644.911
44 | 2682854.4347 | 1251646.1025 | 2682856.1667 | 1251659.7978
45 | 2682854.4347 | 1251646.1025 | 2682828.8222 | 1251649.0215
46 | 2682886.3734 | 1251670.2116 | 2682884.5121 | 1251656.718
47 | 2682886.3734 | 1251670.2116 | 2682878.8271 | 1251673.8532 | 2682869.3554 | 1251675.3963
48 | 2682865.9932 | 1251707.4906 | 2682877.3159 | 1251705.7893 | 2682893.3294 | 1251701.6581
49 | 2682856.21 | 1251708.9606 | 2682865.9932 | 1251707.4906
50 | 2682806.6388 | 1251651.5497 | 2682807.8559 | 1251651.411
51 | 2682815.7686 | 1251715.0372 | 2682807.9236 | 1251716.216 | 2682799.4329 | 1251717.7377
52 | 2682652.651 | 1251511.2621 | 2682653.3452 | 1251513.9849 | 2682657.1968 | 1251529.2327
53 | 2682822.0717 | 1251714.0901 | 2682815.7686 | 1251715.0372
54 | 2682827.6315 | 1251649.1572 | 2682807.8559 | 1251651.411
55 | 2682827.6315 | 1251649.1572 | 2682828.8222 | 1251649.0215
56 | 2682857.7649 | 1251672.4354 | 2682857.7649 | 1251672.4354 | 2682856.1667 | 1251659.7978
57 | 2682822.0717 | 1251714.0901 | 2682841.0495 | 1251711.2386
58 | 2682856.21 | 1251708.9606 | 2682841.0495 | 1251711.2386
59 | 2682857.7649 | 1251672.4354 | 2682859.8455 | 1251676.9457 | 2682869.3554 | 1251675.3963
60 | 2682652.651 | 1251511.2621 | 2682655.7896 | 1251510.4732
61 | 2682655.7896 | 1251510.4732 | 2682682.0422 | 1251503.875
62 | 2682682.0422 | 1251503.875 | 2682698.4155 | 1251499.7597
63 | 2682701.8592 | 1251498.8942 | 2682698.4155 | 1251499.7597

## bus_geodata
| x | y | coords
0 | 2682718.782 | 1251673.6567
1 | 2682716.6788 | 1251674.2791
2 | 2682749.8393 | 1251664.466
3 | 2682695.4345 | 1251680.5659
4 | 2682771.9938 | 1251659.0269
5 | 2682754.5329 | 1251680.8522
6 | 2682677.9054 | 1251686.1009
7 | 2682780.8098 | 1251657.1242
8 | 2682755.0823 | 1251682.7706
9 | 2682759.2201 | 1251608.9444
10 | 2682789.8318 | 1251601.1328
11 | 2682706.6982 | 1251621.9921
12 | 2682787.5111 | 1251655.6779
13 | 2682762.6241 | 1251709.1024
14 | 2682736.5666 | 1251582.0191
15 | 2682778.536 | 1251586.8087
16 | 2682731.8076 | 1251563.2458
17 | 2682747.9594 | 1251487.3075
18 | 2682764.5205 | 1251526.2011
19 | 2682673.735 | 1251410.5921
20 | 2682732.693 | 1251491.1445
21 | 2682792.9343 | 1251563.8705
22 | 2682769.0015 | 1251544.9284
23 | 2682793.7951 | 1251600.0207
24 | 2682796.5918 | 1251612.015
25 | 2682775.8432 | 1251572.366
26 | 2682702.576 | 1251397.7942
27 | 2682766.7738 | 1251723.5911
28 | 2682790.024 | 1251719.4241
29 | 2682762.8277 | 1251709.8134
30 | 2682791.5561 | 1251607.9175
31 | 2682662.7519 | 1251551.1994
32 | 2682674.7145 | 1251597.8011
33 | 2682659.0248 | 1251536.4698
34 | 2682665.1303 | 1251550.6099
35 | 2682670.0868 | 1251598.9827
36 | 2682801.2836 | 1251563.2645
37 | 2682606.999 | 1251522.7596
38 | 2682633.0489 | 1251516.1989
39 | 2682724.5633 | 1251493.1878
40 | 2682630.6144 | 1251543.7392
41 | 2682864.7149 | 1251644.911
42 | 2682854.4347 | 1251646.1025
43 | 2682884.5121 | 1251656.718
44 | 2682886.3734 | 1251670.2116
45 | 2682893.3294 | 1251701.6581
46 | 2682865.9932 | 1251707.4906
47 | 2682806.6388 | 1251651.5497
48 | 2682799.4329 | 1251717.7377
49 | 2682657.1968 | 1251529.2327
50 | 2682815.7686 | 1251715.0372
51 | 2682807.8559 | 1251651.411
52 | 2682827.6315 | 1251649.1572
53 | 2682828.8222 | 1251649.0215
54 | 2682856.1667 | 1251659.7978
55 | 2682822.0717 | 1251714.0901
56 | 2682841.0495 | 1251711.2386
57 | 2682856.21 | 1251708.9606
58 | 2682857.7649 | 1251672.4354
59 | 2682869.3554 | 1251675.3963
60 | 2682652.651 | 1251511.2621
61 | 2682655.7896 | 1251510.4732
62 | 2682682.0422 | 1251503.875
63 | 2682698.4155 | 1251499.7597
64 | 2682701.8592 | 1251498.8942
65 | 2682749.4976 | 1251578.7194

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9788 | -0.40795 | 0.037932 | 0.0095065
1 | 0.97878 | -0.4083 | 0.0037497 | 0.00093975
2 | 0.9802 | -0.38054 | 0 | 0
3 | 0.97868 | -0.41028 | 0.0022378 | 0.00056083
4 | 0.98184 | -0.34844 | 0 | 0
5 | 0.9797 | -0.39023 | 0.0016226 | 0.00040666
6 | 0.97864 | -0.41117 | 0.0026737 | 0.0006701
7 | 0.98249 | -0.33574 | 0.004176 | 0.0010466
8 | 0.97965 | -0.3913 | 0.0045881 | 0.0011499
9 | 0.99122 | -0.16711 | 0 | 0
10 | 0.99184 | -0.15512 | 0 | 0
11 | 0.99015 | -0.18774 | 0.021462 | 0.0053788
12 | 0.98301 | -0.32558 | 0.0063216 | 0.0015844
13 | 0.97901 | -0.4038 | 0.0039907 | 0.0010002
14 | 1 | 0 | -0.37874 | -0.096795
15 | 0.99383 | -0.11698 | 0 | 0
16 | 0.9994 | -0.011606 | 0.034361 | 0.0086117
17 | 0.98323 | -0.32039 | 0 | 0
18 | 0.98869 | -0.21518 | 0 | 0
19 | 0.98221 | -0.34029 | 0 | 0
20 | 0.98154 | -0.35316 | 0.00043078 | 0.00010796
21 | 0.98807 | -0.22725 | 0 | 0
22 | 0.99107 | -0.16953 | 0.017643 | 0.0044217
23 | 0.99131 | -0.16528 | 0 | 0
24 | 0.98971 | -0.19582 | 0.0044493 | 0.0011151
25 | 0.99305 | -0.13174 | 0.015544 | 0.0038956
26 | 0.98198 | -0.34494 | 0.0081581 | 0.0020446
27 | 0.97876 | -0.40868 | 0 | 0
28 | 0.97838 | -0.41625 | 0.0024227 | 0.00060718
29 | 0.979 | -0.40408 | 0.0035021 | 0.00087772
30 | 0.99178 | -0.15627 | 0.0093138 | 0.0023343
31 | 0.9733 | -0.51465 | 0 | 0
32 | 0.97163 | -0.54749 | 0 | 0
33 | 0.9739 | -0.50268 | 0 | 0
34 | 0.97328 | -0.51491 | 0.0058127 | 0.0014568
35 | 0.97147 | -0.55076 | 0.037039 | 0.0092828
36 | 0.98799 | -0.22873 | 0.0098248 | 0.0024623
37 | 0.97514 | -0.47836 | 0.002083 | 0.00052206
38 | 0.97519 | -0.47734 | 0.003758 | 0.00094185
39 | 0.98065 | -0.3706 | 0.022215 | 0.0055676
40 | 0.97368 | -0.50712 | 0.0082378 | 0.0020646
41 | 0.9831 | -0.32395 | 0.0057393 | 0.0014384
42 | 0.98316 | -0.32288 | 0 | 0
43 | 0.98234 | -0.33877 | 0.0073979 | 0.0018541
44 | 0.98244 | -0.33695 | 0 | 0
45 | 0.97762 | -0.43106 | 0.0002542 | 6.3708e-05
46 | 0.97763 | -0.43093 | 0.00024786 | 6.2119e-05
47 | 0.98461 | -0.29443 | 0 | 0
48 | 0.97824 | -0.41889 | 0.0033347 | 0.00083577
49 | 0.97426 | -0.49567 | 0.0091893 | 0.002303
50 | 0.97806 | -0.42247 | 0.00025339 | 6.3506e-05
51 | 0.98456 | -0.29546 | 0.0048492 | 0.0012153
52 | 0.98379 | -0.31046 | 0.0027762 | 0.00069579
53 | 0.98375 | -0.3113 | 0.014187 | 0.0035557
54 | 0.98291 | -0.32765 | 0.0038459 | 0.00096388
55 | 0.97799 | -0.42382 | 0.00033982 | 8.5168e-05
56 | 0.97779 | -0.42776 | 0.00025015 | 6.2694e-05
57 | 0.97763 | -0.43083 | 0.010508 | 0.0026334
58 | 0.98273 | -0.33117 | 0.0025365 | 0.00063571
59 | 0.98256 | -0.33455 | 0.0053943 | 0.0013519
60 | 0.9753 | -0.47517 | 0 | 0
61 | 0.9755 | -0.47125 | 0.00213 | 0.00053384
62 | 0.97722 | -0.43747 | 0.0016805 | 0.00042117
63 | 0.97832 | -0.41595 | 0.022283 | 0.0055846
64 | 0.97863 | -0.40999 | 0.00042355 | 0.00010615
65 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0086619 | 0.0021706 | -0.0086617 | -0.0021705 | 1.4262e-07 | 6.371e-08 | 0.013168 | 0.013168 | 0.013168 | 0.9788 | -0.40795 | 0.97878 | -0.4083 | 3.6176
1 | -0.046593 | -0.011677 | 0.046654 | 0.011716 | 6.094e-05 | 3.8594e-05 | 0.070833 | 0.070833 | 0.070833 | 0.9788 | -0.40795 | 0.9802 | -0.38054 | 19.4597
2 | 0.0049121 | 0.0012308 | -0.0049116 | -0.0012308 | 4.6331e-07 | 1.8091e-08 | 0.0074676 | 0.0074677 | 0.0074677 | 0.97878 | -0.4083 | 0.97868 | -0.41028 | 2.0516
3 | -0.078018 | -0.019593 | 0.078138 | 0.01967 | 0.0001197 | 7.6318e-05 | 0.11845 | 0.11845 | 0.11845 | 0.9802 | -0.38054 | 0.98184 | -0.34844 | 32.5418
4 | 0.031364 | 0.0078776 | -0.031349 | -0.0078685 | 1.4494e-05 | 9.0615e-06 | 0.047619 | 0.047619 | 0.047619 | 0.9802 | -0.38054 | 0.9797 | -0.39023 | 13.0822
5 | 0.0026739 | 0.00066994 | -0.0026737 | -0.0006701 | 1.1397e-07 | -1.5812e-07 | 0.0040653 | 0.0040654 | 0.0040654 | 0.97868 | -0.41028 | 0.97864 | -0.41117 | 1.1169
6 | -0.078138 | -0.01967 | 0.078185 | 0.0197 | 4.7454e-05 | 3.0257e-05 | 0.11845 | 0.11845 | 0.11845 | 0.98184 | -0.34844 | 0.98249 | -0.33574 | 32.5418
7 | 0.029727 | 0.0074619 | -0.029725 | -0.0074609 | 1.5258e-06 | 9.5138e-07 | 0.045155 | 0.045155 | 0.045155 | 0.9797 | -0.39023 | 0.97965 | -0.3913 | 12.4051
8 | -0.082361 | -0.020747 | 0.082401 | 0.020772 | 4.0026e-05 | 2.553e-05 | 0.12478 | 0.12478 | 0.12478 | 0.98249 | -0.33574 | 0.98301 | -0.32558 | 34.2793
9 | 0.025137 | 0.006311 | -0.025122 | -0.0063018 | 1.4977e-05 | 9.2408e-06 | 0.038186 | 0.038186 | 0.038186 | 0.97965 | -0.3913 | 0.97901 | -0.4038 | 10.4906
10 | -0.021483 | -0.0053916 | 0.021495 | 0.0053991 | 1.229e-05 | 7.4591e-06 | 0.032253 | 0.032253 | 0.032253 | 0.99122 | -0.16711 | 0.99184 | -0.15512 | 8.8607
11 | 0.021483 | 0.0053916 | -0.021462 | -0.0053788 | 2.1111e-05 | 1.2814e-05 | 0.032253 | 0.032253 | 0.032253 | 0.99122 | -0.16711 | 0.99015 | -0.18774 | 8.8607
12 | 0.0093143 | 0.0023345 | -0.0093138 | -0.0023343 | 5.1262e-07 | 2.3774e-07 | 0.013974 | 0.013974 | 0.013974 | 0.99184 | -0.15512 | 0.99178 | -0.15627 | 3.839
13 | -0.17182 | -0.043624 | 0.17213 | 0.043825 | 0.00031595 | 0.00020155 | 0.25797 | 0.25797 | 0.25797 | 0.99184 | -0.15512 | 0.99383 | -0.11698 | 35.4359
14 | 0.14101 | 0.03589 | -0.14094 | -0.035846 | 6.9021e-05 | 4.412e-05 | 0.21175 | 0.21175 | 0.21175 | 0.99184 | -0.15512 | 0.99131 | -0.16528 | 58.1723
15 | -0.088723 | -0.022356 | 0.088856 | 0.022441 | 0.00013244 | 8.4515e-05 | 0.13435 | 0.13435 | 0.13435 | 0.98301 | -0.32558 | 0.98461 | -0.29443 | 36.9082
16 | 0.021131 | 0.0053016 | -0.021131 | -0.0053014 | 2.8613e-07 | 1.7382e-07 | 0.03212 | 0.03212 | 0.03212 | 0.97901 | -0.4038 | 0.979 | -0.40408 | 8.8242
17 | 0.34271 | 0.088171 | -0.34077 | -0.086934 | 0.0019372 | 0.0012375 | 0.51077 | 0.51077 | 0.51077 | 1 | 0 | 0.99383 | -0.11698 | 46.774
18 | 0.03438 | 0.0086236 | -0.034361 | -0.0086117 | 1.9009e-05 | 1.1912e-05 | 0.051161 | 0.051161 | 0.051161 | 1 | 0 | 0.9994 | -0.011606 | 14.0551
19 | 0.16864 | 0.043109 | -0.16852 | -0.043032 | 0.0001203 | 7.6408e-05 | 0.2528 | 0.2528 | 0.2528 | 0.99383 | -0.11698 | 0.99305 | -0.13174 | 23.15
20 | -0.12429 | -0.031478 | 0.12493 | 0.031881 | 0.00063145 | 0.00040352 | 0.18822 | 0.18822 | 0.18822 | 0.98323 | -0.32039 | 0.98869 | -0.21518 | 51.7096
21 | 0.0081676 | 0.0020486 | -0.0081599 | -0.0020454 | 7.7423e-06 | 3.2433e-06 | 0.012361 | 0.012362 | 0.012362 | 0.98323 | -0.32039 | 0.98221 | -0.34029 | 3.3962
22 | 0.11613 | 0.029429 | -0.11594 | -0.029313 | 0.00018256 | 0.00011664 | 0.17586 | 0.17586 | 0.17586 | 0.98323 | -0.32039 | 0.98154 | -0.35316 | 48.3136
23 | 0.0098311 | 0.0024654 | -0.0098255 | -0.0024627 | 5.6512e-06 | 2.7346e-06 | 0.014797 | 0.014797 | 0.014797 | 0.98869 | -0.21518 | 0.98807 | -0.22725 | 4.0651
24 | -0.13476 | -0.034347 | 0.13505 | 0.034537 | 0.00029763 | 0.00019023 | 0.20302 | 0.20302 | 0.20302 | 0.98869 | -0.21518 | 0.99107 | -0.16953 | 55.7745
25 | 0.0081599 | 0.0020454 | -0.0081581 | -0.0020446 | 1.8082e-06 | 7.5802e-07 | 0.012362 | 0.012362 | 0.012362 | 0.98221 | -0.34029 | 0.98198 | -0.34494 | 3.3962
26 | 0.11551 | 0.029205 | -0.11542 | -0.029143 | 9.6499e-05 | 6.1653e-05 | 0.17521 | 0.17521 | 0.17521 | 0.98154 | -0.35316 | 0.98065 | -0.3706 | 48.1342
27 | 0.0098255 | 0.0024627 | -0.0098248 | -0.0024623 | 6.9176e-07 | 3.3483e-07 | 0.014797 | 0.014797 | 0.014797 | 0.98807 | -0.22725 | 0.98799 | -0.22873 | 4.0651
28 | -0.1527 | -0.038959 | 0.15298 | 0.039137 | 0.00027928 | 0.00017801 | 0.22951 | 0.22951 | 0.22951 | 0.99107 | -0.16953 | 0.99305 | -0.13174 | 31.5258
29 | 0.14094 | 0.035846 | -0.14073 | -0.035714 | 0.0002071 | 0.00013238 | 0.21175 | 0.21175 | 0.21175 | 0.99131 | -0.16528 | 0.98971 | -0.19582 | 58.1723
30 | 0.13628 | 0.034599 | -0.13564 | -0.034187 | 0.00064323 | 0.00041115 | 0.20506 | 0.20506 | 0.20506 | 0.98971 | -0.19582 | 0.98461 | -0.29443 | 56.3346
31 | 0.017625 | 0.0044214 | -0.017619 | -0.0044177 | 6.3606e-06 | 3.7741e-06 | 0.026797 | 0.026797 | 0.026797 | 0.97876 | -0.40868 | 0.97838 | -0.41625 | 7.3619
32 | -0.017625 | -0.0044214 | 0.017629 | 0.0044237 | 3.8593e-06 | 2.2898e-06 | 0.026797 | 0.026797 | 0.026797 | 0.97876 | -0.40868 | 0.979 | -0.40408 | 7.3619
33 | 0.015196 | 0.0038105 | -0.015194 | -0.0038094 | 1.9148e-06 | 1.1055e-06 | 0.023113 | 0.023113 | 0.023113 | 0.97838 | -0.41625 | 0.97824 | -0.41889 | 6.3496
34 | 0.037103 | 0.009323 | -0.037044 | -0.0092864 | 5.8071e-05 | 3.6569e-05 | 0.056733 | 0.056733 | 0.056733 | 0.9733 | -0.51465 | 0.97163 | -0.54749 | 15.586
35 | -0.042915 | -0.01078 | 0.04294 | 0.010795 | 2.4531e-05 | 1.5511e-05 | 0.065619 | 0.065619 | 0.065619 | 0.9733 | -0.51465 | 0.9739 | -0.50268 | 18.0273
36 | 0.0058128 | 0.0014568 | -0.0058127 | -0.0014568 | 7.2381e-08 | 1.595e-08 | 0.0088868 | 0.0088868 | 0.0088868 | 0.9733 | -0.51465 | 0.97328 | -0.51491 | 2.4414
37 | 0.037044 | 0.0092864 | -0.037039 | -0.0092828 | 5.7648e-06 | 3.6303e-06 | 0.056733 | 0.056733 | 0.056733 | 0.97163 | -0.54749 | 0.97147 | -0.55076 | 15.586
38 | -0.051179 | -0.012861 | 0.051197 | 0.012872 | 1.7121e-05 | 1.0865e-05 | 0.078209 | 0.078209 | 0.078209 | 0.9739 | -0.50268 | 0.97426 | -0.49567 | 21.4859
39 | 0.0082396 | 0.0020653 | -0.0082378 | -0.0020646 | 1.743e-06 | 7.5066e-07 | 0.012589 | 0.012589 | 0.012589 | 0.9739 | -0.50268 | 0.97368 | -0.50712 | 3.4586
40 | -0.002083 | -0.00052206 | 0.0020831 | 0.00052179 | 1.0178e-07 | -2.7e-07 | 0.0031786 | 0.0031785 | 0.0031786 | 0.97514 | -0.47836 | 0.97519 | -0.47734 | 0.87325
41 | -0.0058412 | -0.0014636 | 0.0058418 | 0.0014638 | 6.0216e-07 | 1.3315e-07 | 0.0089128 | 0.0089127 | 0.0089128 | 0.97519 | -0.47734 | 0.9753 | -0.47517 | 2.4486
42 | 0.093201 | 0.023575 | -0.093026 | -0.023463 | 0.00017577 | 0.0001122 | 0.1415 | 0.1415 | 0.1415 | 0.98065 | -0.3706 | 0.97863 | -0.40999 | 38.8737
43 | -0.0057393 | -0.0014384 | 0.0057396 | 0.0014385 | 2.9286e-07 | 5.62e-08 | 0.0086869 | 0.0086869 | 0.0086869 | 0.9831 | -0.32395 | 0.98316 | -0.32288 | 2.3865
44 | 0.019185 | 0.0048114 | -0.019181 | -0.0048088 | 4.3649e-06 | 2.6186e-06 | 0.029038 | 0.029038 | 0.029038 | 0.98316 | -0.32288 | 0.98291 | -0.32765 | 7.9775
45 | -0.024925 | -0.0062499 | 0.024938 | 0.0062583 | 1.3757e-05 | 8.4777e-06 | 0.037725 | 0.037725 | 0.037725 | 0.98316 | -0.32288 | 0.98375 | -0.3113 | 10.364
46 | -0.0073979 | -0.0018541 | 0.0073986 | 0.0018543 | 6.4144e-07 | 2.3806e-07 | 0.011206 | 0.011206 | 0.011206 | 0.98234 | -0.33877 | 0.98244 | -0.33695 | 3.0786
47 | -0.0073986 | -0.0018543 | 0.0073994 | 0.0018546 | 8.4647e-07 | 3.141e-07 | 0.011206 | 0.011206 | 0.011206 | 0.98244 | -0.33695 | 0.98256 | -0.33455 | 3.0786
48 | -0.0002542 | -6.3708e-05 | 0.0002542 | 6.3358e-05 | 1.5706e-09 | -3.4993e-07 | 0.00038691 | 0.00038678 | 0.00038691 | 0.97762 | -0.43106 | 0.97763 | -0.43093 | 0.10629
49 | -0.00050206 | -0.00012548 | 0.00050206 | 0.00012535 | 2.1655e-09 | -1.2266e-07 | 0.00076404 | 0.00076399 | 0.00076404 | 0.97763 | -0.43093 | 0.97763 | -0.43083 | 0.2099
50 | 0.046785 | 0.011747 | -0.046783 | -0.011745 | 2.2968e-06 | 1.4544e-06 | 0.070712 | 0.070712 | 0.070712 | 0.98461 | -0.29443 | 0.98456 | -0.29546 | 19.4265
51 | 0.011859 | 0.0029736 | -0.011857 | -0.0029725 | 2.0209e-06 | 1.0855e-06 | 0.01804 | 0.01804 | 0.01804 | 0.97824 | -0.41889 | 0.97806 | -0.42247 | 4.9561
52 | -0.060386 | -0.015175 | 0.060445 | 0.015212 | 5.9148e-05 | 3.7623e-05 | 0.092244 | 0.092244 | 0.092244 | 0.97426 | -0.49567 | 0.9753 | -0.47517 | 25.3417
53 | 0.011604 | 0.002909 | -0.011603 | -0.0029086 | 7.4499e-07 | 3.9681e-07 | 0.017655 | 0.017655 | 0.017655 | 0.97806 | -0.42247 | 0.97799 | -0.42382 | 4.8502
54 | 0.041934 | 0.01053 | -0.041904 | -0.010511 | 2.9986e-05 | 1.8938e-05 | 0.063383 | 0.063384 | 0.063384 | 0.98456 | -0.29546 | 0.98379 | -0.31046 | 17.4131
55 | 0.039127 | 0.009815 | -0.039126 | -0.009814 | 1.5741e-06 | 9.9221e-07 | 0.059184 | 0.059184 | 0.059184 | 0.98379 | -0.31046 | 0.98375 | -0.3113 | 16.2594
56 | 0.015335 | 0.0038449 | -0.015332 | -0.0038434 | 2.5746e-06 | 1.4863e-06 | 0.023216 | 0.023216 | 0.023216 | 0.98291 | -0.32765 | 0.98273 | -0.33117 | 6.378
57 | 0.011263 | 0.0028234 | -0.011261 | -0.0028223 | 2.1136e-06 | 1.112e-06 | 0.017138 | 0.017138 | 0.017138 | 0.97799 | -0.42382 | 0.97779 | -0.42776 | 4.7082
58 | 0.011011 | 0.0027596 | -0.01101 | -0.0027588 | 1.6143e-06 | 8.409e-07 | 0.016757 | 0.016757 | 0.016757 | 0.97779 | -0.42776 | 0.97763 | -0.43083 | 4.6036
59 | 0.012796 | 0.0032077 | -0.012794 | -0.0032066 | 2.0556e-06 | 1.1306e-06 | 0.019375 | 0.019375 | 0.019375 | 0.98273 | -0.33117 | 0.98256 | -0.33455 | 5.3228
60 | -0.066287 | -0.016676 | 0.066299 | 0.016684 | 1.2418e-05 | 7.9071e-06 | 0.10116 | 0.10116 | 0.10116 | 0.9753 | -0.47517 | 0.9755 | -0.47125 | 27.7902
61 | -0.068429 | -0.017218 | 0.06854 | 0.017288 | 0.00011065 | 7.0477e-05 | 0.10441 | 0.10441 | 0.10441 | 0.9755 | -0.47125 | 0.97722 | -0.43747 | 28.6828
62 | -0.07022 | -0.017709 | 0.070293 | 0.017755 | 7.2435e-05 | 4.6146e-05 | 0.10696 | 0.10696 | 0.10696 | 0.97722 | -0.43747 | 0.97832 | -0.41595 | 29.3858
63 | -0.092576 | -0.02334 | 0.092602 | 0.023357 | 2.6419e-05 | 1.6863e-05 | 0.14086 | 0.14086 | 0.14086 | 0.97832 | -0.41595 | 0.97863 | -0.40999 | 38.6967

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37874 | 0.096795

## res_load
| p_mw | q_mvar
0 | 0.037932 | 0.0095065
1 | 0.0037497 | 0.00093975
2 | 0.0022378 | 0.00056083
3 | 0.0016226 | 0.00040666
4 | 0.0026737 | 0.0006701
5 | 0.004176 | 0.0010466
6 | 0.0045881 | 0.0011499
7 | 0.021462 | 0.0053788
8 | 0.0063216 | 0.0015844
9 | 0.0039907 | 0.0010002
10 | 0.034361 | 0.0086117
11 | 0.00043078 | 0.00010796
12 | 0.017643 | 0.0044217
13 | 0.0044493 | 0.0011151
14 | 0.015544 | 0.0038956
15 | 0.0081581 | 0.0020446
16 | 0.0024227 | 0.00060718
17 | 0.0035021 | 0.00087772
18 | 0.0093138 | 0.0023343
19 | 0.0058127 | 0.0014568
20 | 0.037039 | 0.0092828
21 | 0.0098248 | 0.0024623
22 | 0.002083 | 0.00052206
23 | 0.003758 | 0.00094185
24 | 0.022215 | 0.0055676
25 | 0.0082378 | 0.0020646
26 | 0.0057393 | 0.0014384
27 | 0.0073979 | 0.0018541
28 | 0.0002542 | 6.3708e-05
29 | 0.00024786 | 6.2119e-05
30 | 0.0033347 | 0.00083577
31 | 0.0091893 | 0.002303
32 | 0.00025339 | 6.3506e-05
33 | 0.0048492 | 0.0012153
34 | 0.0027762 | 0.00069579
35 | 0.014187 | 0.0035557
36 | 0.0038459 | 0.00096388
37 | 0.00033982 | 8.5168e-05
38 | 0.00025015 | 6.2694e-05
39 | 0.010508 | 0.0026334
40 | 0.0025365 | 0.00063571
41 | 0.0053943 | 0.0013519
42 | 0.00213 | 0.00053384
43 | 0.0016805 | 0.00042117
44 | 0.022283 | 0.0055846
45 | 0.00042355 | 0.00010615

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1