## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-312_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-312_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-312_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-312_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-312_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-312_0_6_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_261-312_0_6_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_261-312_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_261-312_0_6_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_261-312_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-312_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-312_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-312_0_6_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_261-312_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-312_0_6_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_261-312_0_6_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_261-312_0_6_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_261-312_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-312_0_6_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_261-312_0_6_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_261-312_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_261-312_0_6_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_261-312_0_6_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_261-312_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-312_0_6_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_261-312_0_6_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_261-312_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_261-312_0_6_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_261-312_0_6_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_261-312_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_261-312_0_6_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_261-312_0_6_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_261-312_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_261-312_0_6_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_261-312_0_6_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_261-312_0_6_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_261-312_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_261-312_0_6_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_261-312_0_6_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_261-312_0_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_261-312_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_261-312_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_261-312_0_6_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_261-312_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_261-312_0_6_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_261-312_0_6_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_261-312_0_6_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_261-312_0_6_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_261-312_0_6_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_261-312_0_6_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_261-312_0_6_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_261-312_0_6_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_261-312_0_6_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_261-312_0_6_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_261-312_0_6_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_261-312_0_6_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_261-312_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_261-312_0_6_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_261-312_0_6_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_261-312_0_6_node_29 | 0.4 | n |  | TRUE
60 | bus_LV_261-312_0_6_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_261-312_0_6_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_261-312_0_6_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_261-312_0_6_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_261-312_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_261-312_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_261-312_0_6_node_32 | 0.4 | n |  | TRUE
67 | bus_LV_261-312_0_6_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_261-312_0_6_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_261-312_0_6_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_261-312_0_6_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_261-312_0_6_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_261-312_0_6_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_261-312_0_6_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_261-312_0_6_node_68 | 0.4 | n |  | TRUE
75 | bus_MV_525_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-312_0_6_load_0 | 0 | 0.0071131 | 0.0017827 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-312_0_6_load_1 | 1 | 0.0032545 | 0.00081566 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-312_0_6_load_2 | 2 | 0.0071332 | 0.0017878 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-312_0_6_load_3 | 3 | 0.0044147 | 0.0011064 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-312_0_6_load_4 | 4 | 0.0071304 | 0.001787 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-312_0_6_load_60 | 5 | 0.0051973 | 0.0013026 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-312_0_6_load_5 | 9 | 0.018347 | 0.0045981 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-312_0_6_load_6 | 10 | 0.0073438 | 0.0018405 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-312_0_6_load_41 | 14 | 0.0092323 | 0.0023138 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-312_0_6_load_38 | 16 | 0.0080008 | 0.0020052 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-312_0_6_load_54 | 19 | 0.0052705 | 0.0013209 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-312_0_6_load_43 | 21 | 0.0034855 | 0.00087354 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-312_0_6_load_42 | 22 | 0.0050128 | 0.0012563 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-312_0_6_load_35 | 24 | 0.0050452 | 0.0012644 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-312_0_6_load_61 | 25 | 0.002603 | 0.00065238 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-312_0_6_load_78 | 28 | 0.010507 | 0.0026334 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-312_0_6_load_71 | 30 | 0.012874 | 0.0032266 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-312_0_6_load_70 | 31 | 0.019429 | 0.0048692 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-312_0_6_load_47 | 33 | 0.0047201 | 0.001183 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-312_0_6_load_45 | 34 | 0.0055362 | 0.0013875 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-312_0_6_load_46 | 35 | 0.0077626 | 0.0019455 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-312_0_6_load_53 | 37 | 0.074823 | 0.018752 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-312_0_6_load_52 | 38 | 0.001327 | 0.00033258 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-312_0_6_load_31 | 40 | 0.0033838 | 0.00084807 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-312_0_6_load_28 | 41 | 0.006683 | 0.0016749 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-312_0_6_load_48 | 42 | 0.029452 | 0.0073814 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-312_0_6_load_37 | 43 | 0.035556 | 0.0089112 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-312_0_6_load_56 | 44 | 0.001971 | 0.00049398 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-312_0_6_load_79 | 45 | 0.0022035 | 0.00055225 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-312_0_6_load_77 | 46 | 0.010387 | 0.0026032 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-312_0_6_load_80 | 47 | 0.0060888 | 0.001526 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-312_0_6_load_33 | 48 | 0.005144 | 0.0012892 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-312_0_6_load_65 | 51 | 0.012133 | 0.0030407 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-312_0_6_load_69 | 52 | 0.02001 | 0.0050149 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-312_0_6_load_67 | 53 | 0.039879 | 0.0099946 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-312_0_6_load_44 | 54 | 0.006036 | 0.0015128 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-312_0_6_load_50 | 56 | 0.001332 | 0.00033383 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-312_0_6_load_49 | 57 | 0.010056 | 0.0025203 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-312_0_6_load_29 | 59 | 0.0065305 | 0.0016367 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-312_0_6_load_64 | 60 | 0.021086 | 0.0052846 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-312_0_6_load_30 | 61 | 0.0066324 | 0.0016622 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-312_0_6_load_74 | 62 | 0.042057 | 0.01054 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-312_0_6_load_58 | 64 | 0.0025777 | 0.00064604 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-312_0_6_load_59 | 65 | 0.0051556 | 0.0012921 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-312_0_6_load_32 | 66 | 0.0058292 | 0.0014609 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-312_0_6_load_34 | 67 | 0.0058479 | 0.0014656 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-312_0_6_load_75 | 68 | 0.0051509 | 0.0012909 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-312_0_6_load_73 | 69 | 0.0051579 | 0.0012927 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-312_0_6_load_76 | 70 | 0.0050057 | 0.0012545 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-312_0_6_load_72 | 71 | 0.0050969 | 0.0012774 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-312_0_6_load_66 | 72 | 0.015 | 0.0037594 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-312_0_6_load_63 | 73 | 0.0051654 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-312_0_6_load_68 | 74 | 0.0099682 | 0.0024983 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-312_0_6_line_0 |  | 0 | 1 | 0.01345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-312_0_6_line_1 |  | 0 | 2 | 0.016196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-312_0_6_line_2 |  | 1 | 3 | 0.012215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-312_0_6_line_3 |  | 2 | 4 | 0.016094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-312_0_6_line_4 |  | 3 | 5 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-312_0_6_line_5 |  | 4 | 6 | 0.018107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-312_0_6_line_6 |  | 6 | 7 | 0.010634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_261-312_0_6_line_7 |  | 6 | 8 | 0.032533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_261-312_0_6_line_8 |  | 7 | 10 | 0.01564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-312_0_6_line_9 |  | 8 | 36 | 0.012288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-312_0_6_line_10 |  | 8 | 37 | 0.029115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-312_0_6_line_11 |  | 9 | 10 | 0.049008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-312_0_6_line_12 |  | 9 | 11 | 0.029292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-312_0_6_line_13 |  | 11 | 12 | 0.090257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-312_0_6_line_14 |  | 12 | 22 | 0.072306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-312_0_6_line_15 |  | 12 | 23 | 0.053349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-312_0_6_line_16 |  | 13 | 14 | 0.02927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-312_0_6_line_17 |  | 13 | 15 | 0.24062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-312_0_6_line_18 |  | 13 | 16 | 0.017053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-312_0_6_line_19 |  | 15 | 38 | 0.033473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-312_0_6_line_20 |  | 16 | 43 | 0.038463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-312_0_6_line_21 |  | 17 | 18 | 0.014715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-312_0_6_line_22 |  | 17 | 19 | 0.011242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-312_0_6_line_23 |  | 18 | 44 | 0.014918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-312_0_6_line_24 |  | 18 | 45 | 0.029961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-312_0_6_line_25 |  | 20 | 21 | 0.016057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-312_0_6_line_26 |  | 20 | 22 | 0.020367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-312_0_6_line_27 |  | 21 | 44 | 0.017346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-312_0_6_line_28 |  | 23 | 24 | 0.030451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-312_0_6_line_29 |  | 23 | 25 | 0.021608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-312_0_6_line_30 |  | 24 | 48 | 0.015767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-312_0_6_line_31 |  | 25 | 49 | 0.012174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-312_0_6_line_32 |  | 26 | 27 | 0.019876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-312_0_6_line_33 |  | 26 | 28 | 0.032669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-312_0_6_line_34 |  | 27 | 50 | 0.051515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_261-312_0_6_line_35 |  | 27 | 43 | 0.035889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-312_0_6_line_36 |  | 28 | 46 | 0.016802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-312_0_6_line_37 |  | 29 | 30 | 0.022897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-312_0_6_line_38 |  | 29 | 31 | 0.010257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-312_0_6_line_39 |  | 30 | 51 | 0.013647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-312_0_6_line_40 |  | 31 | 52 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-312_0_6_line_41 |  | 32 | 33 | 0.0092624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-312_0_6_line_42 |  | 32 | 34 | 0.021664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-312_0_6_line_43 |  | 32 | 35 | 0.013521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-312_0_6_line_44 |  | 33 | 53 | 0.017948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-312_0_6_line_45 |  | 34 | 54 | 0.00020494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-312_0_6_line_46 |  | 35 | 36 | 0.029336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-312_0_6_line_47 |  | 36 | 42 | 0.010711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-312_0_6_line_48 |  | 38 | 55 | 0.031254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-312_0_6_line_49 |  | 39 | 40 | 0.01248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-312_0_6_line_50 |  | 39 | 41 | 0.014516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-312_0_6_line_51 |  | 40 | 58 | 0.021624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-312_0_6_line_52 |  | 41 | 59 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-312_0_6_line_53 |  | 42 | 60 | 0.019294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-312_0_6_line_54 |  | 45 | 47 | 0.020106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-312_0_6_line_55 |  | 49 | 73 | 0.014619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_261-312_0_6_line_56 |  | 49 | 64 | 0.021593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-312_0_6_line_57 |  | 50 | 68 | 0.022471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_261-312_0_6_line_58 |  | 50 | 67 | 0.003939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-312_0_6_line_59 |  | 51 | 60 | 0.015528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-312_0_6_line_60 |  | 53 | 72 | 0.020197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-312_0_6_line_61 |  | 55 | 57 | 0.00087876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-312_0_6_line_62 |  | 56 | 57 | 0.030728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-312_0_6_line_63 |  | 58 | 64 | 0.012094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-312_0_6_line_64 |  | 58 | 65 | 0.01481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-312_0_6_line_65 |  | 59 | 61 | 0.01533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-312_0_6_line_66 |  | 62 | 63 | 0.009239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-312_0_6_line_67 |  | 63 | 69 | 0.010496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-312_0_6_line_68 |  | 65 | 71 | 0.015726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-312_0_6_line_69 |  | 66 | 67 | 0.018842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-312_0_6_line_70 |  | 68 | 70 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_261-312_0_6_line_71 |  | 69 | 71 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-312_0_6_line_72 |  | 70 | 73 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_261-312_0_6_line_73 |  | 72 | 74 | 0.013316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-312_0_6_trafo_5 | 0.63 MVA 20/0.4 kV | 75 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2680706.2691 | 1248178.362 | 2680717.5529 | 1248171.0431
1 | 2680706.2691 | 1248178.362 | 2680692.6814 | 1248187.1753
2 | 2680717.5529 | 1248171.0431 | 2680727.8009 | 1248164.396
3 | 2680692.6814 | 1248187.1753 | 2680680.4339 | 1248195.1193 | 2680679.186 | 1248195.944
4 | 2680740.3112 | 1248156.2816 | 2680727.8009 | 1248164.396
5 | 2680664.0791 | 1248205.927 | 2680679.186 | 1248195.944
6 | 2680655.3409 | 1248212.0237 | 2680664.0791 | 1248205.927
7 | 2680664.0791 | 1248205.927 | 2680665.6937 | 1248208.2618 | 2680668.8859 | 1248212.8864 | 2680670.419 | 1248215.1088 | 2680673.3075 | 1248219.2957 | 2680674.848 | 1248221.5294 | 2680686.1137 | 1248213.9549
8 | 2680655.3409 | 1248212.0237 | 2680647.0698 | 1248198.7493
9 | 2680686.1137 | 1248213.9549 | 2680691.2358 | 1248210.522 | 2680696.3716 | 1248207.1895
10 | 2680686.1137 | 1248213.9549 | 2680701.7936 | 1248238.4865
11 | 2680659.5424 | 1248164.4898 | 2680647.0966 | 1248172.4048 | 2680637.6286 | 1248179.4034 | 2680637.1079 | 1248183.2547 | 2680638.4498 | 1248187.3203 | 2680646.7673 | 1248198.2637 | 2680647.0698 | 1248198.7493
12 | 2680684.2597 | 1248148.7708 | 2680659.5424 | 1248164.4898
13 | 2680630.0278 | 1248080.2608 | 2680631.3219 | 1248083.9589 | 2680636.0158 | 1248083.1332 | 2680640.7852 | 1248088.969 | 2680646.9311 | 1248096.3246 | 2680651.4646 | 1248102.2906 | 2680668.2992 | 1248124.5025 | 2680674.3238 | 1248132.4459 | 2680679.5163 | 1248140.478 | 2680684.2597 | 1248148.7708
14 | 2680630.0278 | 1248080.2608 | 2680621.2005 | 1248082.9094 | 2680609.9499 | 1248084.9134 | 2680602.2886 | 1248085.1317 | 2680597.0483 | 1248085.0382 | 2680587.4822 | 1248084.252 | 2680558.393 | 1248082.2527
15 | 2680582.572 | 1248075.9904 | 2680600.7016 | 1248077.4267 | 2680607.0468 | 1248077.3573 | 2680612.3204 | 1248076.6619 | 2680618.7282 | 1248075.3258 | 2680623.2551 | 1248074.0086 | 2680627.0052 | 1248072.603 | 2680628.5312 | 1248076.4599 | 2680630.0278 | 1248080.2608
16 | 2680458.8255 | 1247961.6598 | 2680456.5307 | 1247990.8398
17 | 2680458.8255 | 1247961.6598 | 2680455.0673 | 1247961.4309 | 2680455.5561 | 1247953.7986 | 2680455.9979 | 1247946.844 | 2680447.917 | 1247946.245 | 2680448.1892 | 1247942.3236 | 2680442.5248 | 1247935.6308 | 2680449.6574 | 1247927.6439 | 2680496.2125 | 1247889.3365 | 2680460.451 | 1247844.7186 | 2680505.3889 | 1247807.0787 | 2680510.0327 | 1247803.2834 | 2680506.0247 | 1247798.6367 | 2680504.4194 | 1247796.7135
18 | 2680458.8255 | 1247961.6598 | 2680467.3998 | 1247962.0765 | 2680475.8532 | 1247962.5866
19 | 2680504.4194 | 1247796.7135 | 2680500.5481 | 1247799.7966 | 2680497.565 | 1247802.5581 | 2680489.53 | 1247809.1205 | 2680480.5877 | 1247798.2382
20 | 2680514.2378 | 1247965.0454 | 2680491.1792 | 1247963.5113 | 2680475.8532 | 1247962.5866
21 | 2680527.8042 | 1248126.8169 | 2680520.6282 | 1248139.6733
22 | 2680520.6282 | 1248139.6733 | 2680517.3454 | 1248146.7117 | 2680514.9045 | 1248149.1856
23 | 2680527.8042 | 1248126.8169 | 2680525.6722 | 1248115.3018 | 2680526.7585 | 1248112.2846
24 | 2680527.8042 | 1248126.8169 | 2680507.9593 | 1248118.2301 | 2680506.0307 | 1248116.2024 | 2680504.3073 | 1248111.8536 | 2680503.5224 | 1248111.4986
25 | 2680538.0735 | 1248080.8561 | 2680532.6344 | 1248095.9636
26 | 2680538.0735 | 1248080.8561 | 2680558.393 | 1248082.2527
27 | 2680532.6344 | 1248095.9636 | 2680526.7585 | 1248112.2846
28 | 2680582.572 | 1248075.9904 | 2680584.585 | 1248045.6058
29 | 2680582.572 | 1248075.9904 | 2680561.018 | 1248074.4669
30 | 2680585.6273 | 1248029.873 | 2680584.585 | 1248045.6058
31 | 2680548.8741 | 1248073.6086 | 2680561.018 | 1248074.4669
32 | 2680549.9192 | 1247968.3903 | 2680569.8104 | 1247969.717
33 | 2680569.8104 | 1247969.717 | 2680568.5649 | 1247991.327 | 2680579.5534 | 1247992.1966
34 | 2680540.2655 | 1248009.6004 | 2680536.0018 | 1248008.7752 | 2680532.9366 | 1248006.4652 | 2680532.634 | 1248001.5019 | 2680533.0813 | 1247995.815 | 2680534.2807 | 1247990.3717 | 2680542.2816 | 1247980.184 | 2680549.7947 | 1247969.2114 | 2680549.9192 | 1247968.3903
35 | 2680549.9192 | 1247968.3903 | 2680533.5681 | 1247967.2229 | 2680527.5132 | 1247965.9286 | 2680514.2378 | 1247965.0454
36 | 2680596.3031 | 1247993.5222 | 2680579.5534 | 1247992.1966
37 | 2680740.4944 | 1248276.3963 | 2680728.1855 | 1248257.0898
38 | 2680740.4944 | 1248276.3963 | 2680749.0585 | 1248270.7516
39 | 2680720.8491 | 1248245.5826 | 2680728.1855 | 1248257.0898
40 | 2680749.0585 | 1248270.7516 | 2680765.5163 | 1248259.9041
41 | 2680732.3369 | 1248183.8842 | 2680737.3444 | 1248191.6764
42 | 2680732.3369 | 1248183.8842 | 2680750.5175 | 1248172.1024
43 | 2680732.3369 | 1248183.8842 | 2680720.9903 | 1248191.2367
44 | 2680747.0476 | 1248206.7757 | 2680737.3444 | 1248191.6764
45 | 2680750.5175 | 1248172.1024 | 2680750.6895 | 1248171.9909
46 | 2680696.3716 | 1248207.1895 | 2680720.9903 | 1248191.2367
47 | 2680696.3716 | 1248207.1895 | 2680702.1296 | 1248216.221
48 | 2680487.8468 | 1247776.7851 | 2680472.9532 | 1247788.9475 | 2680480.5877 | 1247798.2382
49 | 2680481.2703 | 1248068.587 | 2680493.7103 | 1248069.582
50 | 2680481.2703 | 1248068.587 | 2680482.4712 | 1248054.1207
51 | 2680515.2658 | 1248071.3061 | 2680493.7103 | 1248069.582
52 | 2680482.4712 | 1248054.1207 | 2680483.7768 | 1248038.3932
53 | 2680702.1296 | 1248216.221 | 2680712.5017 | 1248232.4896
54 | 2680503.5224 | 1248111.4986 | 2680495.2845 | 1248107.7726 | 2680488.4599 | 1248103.6658 | 2680486.1548 | 1248101.593
55 | 2680548.8741 | 1248073.6086 | 2680548.8123 | 1248067.0474 | 2680549.4936 | 1248059.0186
56 | 2680548.8741 | 1248073.6086 | 2680527.3315 | 1248072.1327
57 | 2680540.2655 | 1248009.6004 | 2680551.1918 | 1248017.0098 | 2680551.9553 | 1248026.2473
58 | 2680540.2655 | 1248009.6004 | 2680544.1899 | 1248009.9387
59 | 2680712.5017 | 1248232.4896 | 2680720.8491 | 1248245.5826
60 | 2680757.9663 | 1248223.7664 | 2680747.0476 | 1248206.7757
61 | 2680488.5275 | 1247776.2293 | 2680487.8468 | 1247776.7851
62 | 2680510.6792 | 1247773.3837 | 2680503.1835 | 1247764.2619 | 2680488.5275 | 1247776.2293
63 | 2680515.2658 | 1248071.3061 | 2680527.3315 | 1248072.1327
64 | 2680515.2658 | 1248071.3061 | 2680516.4278 | 1248056.5413
65 | 2680483.7768 | 1248038.3932 | 2680485.045 | 1248023.1161
66 | 2680519.7206 | 1248014.7029 | 2680510.4913 | 1248014.2805
67 | 2680519.7206 | 1248014.7029 | 2680518.8971 | 1248025.1662
68 | 2680517.6617 | 1248040.8634 | 2680516.4278 | 1248056.5413
69 | 2680562.9621 | 1248011.5569 | 2680544.1899 | 1248009.9387
70 | 2680551.9553 | 1248026.2473 | 2680552.1128 | 1248028.1527 | 2680550.825 | 1248043.3283
71 | 2680517.6617 | 1248040.8634 | 2680518.8971 | 1248025.1662
72 | 2680550.825 | 1248043.3283 | 2680549.4936 | 1248059.0186
73 | 2680757.9663 | 1248223.7664 | 2680765.165 | 1248234.9684

## bus_geodata
| x | y | coords
0 | 2680706.2691 | 1248178.362
1 | 2680717.5529 | 1248171.0431
2 | 2680692.6814 | 1248187.1753
3 | 2680727.8009 | 1248164.396
4 | 2680679.186 | 1248195.944
5 | 2680740.3112 | 1248156.2816
6 | 2680664.0791 | 1248205.927
7 | 2680655.3409 | 1248212.0237
8 | 2680686.1137 | 1248213.9549
9 | 2680659.5424 | 1248164.4898
10 | 2680647.0698 | 1248198.7493
11 | 2680684.2597 | 1248148.7708
12 | 2680630.0278 | 1248080.2608
13 | 2680458.8255 | 1247961.6598
14 | 2680456.5307 | 1247990.8398
15 | 2680504.4194 | 1247796.7136
16 | 2680475.8532 | 1247962.5866
17 | 2680520.6282 | 1248139.6733
18 | 2680527.8042 | 1248126.8169
19 | 2680514.9045 | 1248149.1856
20 | 2680538.0735 | 1248080.8561
21 | 2680532.6344 | 1248095.9636
22 | 2680558.393 | 1248082.2527
23 | 2680582.572 | 1248075.9904
24 | 2680584.585 | 1248045.6058
25 | 2680561.018 | 1248074.4669
26 | 2680569.8104 | 1247969.717
27 | 2680549.9192 | 1247968.3903
28 | 2680579.5534 | 1247992.1966
29 | 2680740.4944 | 1248276.3963
30 | 2680728.1855 | 1248257.0898
31 | 2680749.0585 | 1248270.7516
32 | 2680732.3369 | 1248183.8842
33 | 2680737.3444 | 1248191.6764
34 | 2680750.5175 | 1248172.1024
35 | 2680720.9903 | 1248191.2367
36 | 2680696.3716 | 1248207.1895
37 | 2680701.7936 | 1248238.4865
38 | 2680480.5877 | 1247798.2382
39 | 2680481.2703 | 1248068.587
40 | 2680493.7103 | 1248069.582
41 | 2680482.4712 | 1248054.1207
42 | 2680702.1296 | 1248216.221
43 | 2680514.2378 | 1247965.0454
44 | 2680526.7585 | 1248112.2846
45 | 2680503.5224 | 1248111.4986
46 | 2680596.3031 | 1247993.5222
47 | 2680486.1548 | 1248101.593
48 | 2680585.6273 | 1248029.873
49 | 2680548.8741 | 1248073.6086
50 | 2680540.2655 | 1248009.6004
51 | 2680720.8491 | 1248245.5826
52 | 2680765.5163 | 1248259.9041
53 | 2680747.0476 | 1248206.7757
54 | 2680750.6895 | 1248171.9909
55 | 2680487.8468 | 1247776.7851
56 | 2680510.6792 | 1247773.3837
57 | 2680488.5275 | 1247776.2294
58 | 2680515.2658 | 1248071.3061
59 | 2680483.7768 | 1248038.3932
60 | 2680712.5017 | 1248232.4896
61 | 2680485.045 | 1248023.1161
62 | 2680510.4913 | 1248014.2805
63 | 2680519.7206 | 1248014.7029
64 | 2680527.3315 | 1248072.1327
65 | 2680516.4278 | 1248056.5413
66 | 2680562.9621 | 1248011.5569
67 | 2680544.1899 | 1248009.9387
68 | 2680551.9553 | 1248026.2473
69 | 2680518.8971 | 1248025.1662
70 | 2680550.825 | 1248043.3283
71 | 2680517.6617 | 1248040.8634
72 | 2680757.9663 | 1248223.7664
73 | 2680549.4936 | 1248059.0186
74 | 2680765.165 | 1248234.9684
75 | 2680684.2597 | 1248148.7708

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99139 | -0.16445 | 0.0071131 | 0.0017827
1 | 0.99123 | -0.16752 | 0.0032545 | 0.00081566
2 | 0.99169 | -0.15871 | 0.0071332 | 0.0017878
3 | 0.99113 | -0.1696 | 0.0044147 | 0.0011064
4 | 0.99209 | -0.15098 | 0.0071304 | 0.001787
5 | 0.99105 | -0.17098 | 0.0051973 | 0.0013026
6 | 0.99265 | -0.14001 | 0 | 0
7 | 0.99367 | -0.1204 | 0 | 0
8 | 0.98847 | -0.22054 | 0 | 0
9 | 1 | 0 | -0.56387 | -0.14415
10 | 0.99518 | -0.091645 | 0.0073438 | 0.0018405
11 | 0.99789 | -0.039831 | 0 | 0
12 | 0.99139 | -0.16362 | 0 | 0
13 | 0.97761 | -0.43115 | 0 | 0
14 | 0.97736 | -0.43608 | 0.0092323 | 0.0023138
15 | 0.97477 | -0.48714 | 0 | 0
16 | 0.97796 | -0.42433 | 0.0080008 | 0.0020052
17 | 0.98866 | -0.21662 | 0 | 0
18 | 0.98873 | -0.21524 | 0 | 0
19 | 0.98861 | -0.21768 | 0.0052705 | 0.0013209
20 | 0.98944 | -0.20139 | 0 | 0
21 | 0.98916 | -0.20683 | 0.0034855 | 0.00087354
22 | 0.9898 | -0.1945 | 0.0050128 | 0.0012563
23 | 0.98795 | -0.22992 | 0 | 0
24 | 0.98766 | -0.23547 | 0.0050452 | 0.0012644
25 | 0.98662 | -0.25559 | 0.002603 | 0.00065238
26 | 0.98083 | -0.36821 | 0 | 0
27 | 0.98121 | -0.36068 | 0 | 0
28 | 0.9802 | -0.38058 | 0.010507 | 0.0026334
29 | 0.98224 | -0.34175 | 0 | 0
30 | 0.98308 | -0.32545 | 0.012874 | 0.0032266
31 | 0.98187 | -0.34906 | 0.019429 | 0.0048692
32 | 0.9839 | -0.30939 | 0 | 0
33 | 0.9833 | -0.321 | 0.0047201 | 0.001183
34 | 0.98367 | -0.31391 | 0.0055362 | 0.0013875
35 | 0.98491 | -0.28966 | 0.0077626 | 0.0019455
36 | 0.98732 | -0.24291 | 0 | 0
37 | 0.98647 | -0.25948 | 0.074823 | 0.018752
38 | 0.97437 | -0.49495 | 0.001327 | 0.00033258
39 | 0.98262 | -0.3333 | 0 | 0
40 | 0.98285 | -0.32883 | 0.0033838 | 0.00084807
41 | 0.98236 | -0.33851 | 0.006683 | 0.0016749
42 | 0.98618 | -0.26496 | 0.029452 | 0.0073814
43 | 0.97903 | -0.40335 | 0.035556 | 0.0089112
44 | 0.98892 | -0.21163 | 0.001971 | 0.00049398
45 | 0.9885 | -0.21967 | 0.0022035 | 0.00055225
46 | 0.98003 | -0.38375 | 0.010387 | 0.0026032
47 | 0.98839 | -0.22186 | 0.0060888 | 0.001526
48 | 0.98759 | -0.23691 | 0.005144 | 0.0012892
49 | 0.98588 | -0.2699 | 0 | 0
50 | 0.98327 | -0.32047 | 0 | 0
51 | 0.98374 | -0.31259 | 0.012133 | 0.0030407
52 | 0.98151 | -0.3562 | 0.02001 | 0.0050149
53 | 0.98223 | -0.34201 | 0.039879 | 0.0099946
54 | 0.98367 | -0.31393 | 0.006036 | 0.0015128
55 | 0.97404 | -0.50149 | 0 | 0
56 | 0.97399 | -0.50243 | 0.001332 | 0.00033383
57 | 0.97403 | -0.50167 | 0.010056 | 0.0025203
58 | 0.98332 | -0.31977 | 0 | 0
59 | 0.98217 | -0.34226 | 0.0065305 | 0.0016367
60 | 0.98466 | -0.29458 | 0.021086 | 0.0052846
61 | 0.98207 | -0.3441 | 0.0066324 | 0.0016622
62 | 0.98031 | -0.37849 | 0.042057 | 0.01054
63 | 0.98067 | -0.37144 | 0 | 0
64 | 0.98422 | -0.3022 | 0.0025777 | 0.00064604
65 | 0.98253 | -0.33513 | 0.0051556 | 0.0012921
66 | 0.98313 | -0.32328 | 0.0058292 | 0.0014609
67 | 0.98323 | -0.3213 | 0.0058479 | 0.0014656
68 | 0.9843 | -0.30063 | 0.0051509 | 0.0012909
69 | 0.98108 | -0.36345 | 0.0051579 | 0.0012927
70 | 0.98484 | -0.29002 | 0.0050057 | 0.0012545
71 | 0.98177 | -0.34999 | 0.0050969 | 0.0012774
72 | 0.98176 | -0.35112 | 0.015 | 0.0037594
73 | 0.98537 | -0.27981 | 0.0051654 | 0.0012946
74 | 0.98164 | -0.35352 | 0.0099682 | 0.0024983
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.01287 | 0.0032262 | -0.012868 | -0.0032251 | 1.882e-06 | 1.0311e-06 | 0.019317 | 0.019317 | 0.019317 | 0.99139 | -0.16445 | 0.99123 | -0.16752 | 5.3068
1 | -0.019983 | -0.0050089 | 0.019988 | 0.0050121 | 5.4635e-06 | 3.2877e-06 | 0.029993 | 0.029993 | 0.029993 | 0.99139 | -0.16445 | 0.99169 | -0.15871 | 8.2399
2 | 0.0096133 | 0.0024095 | -0.0096123 | -0.002409 | 9.5397e-07 | 4.531e-07 | 0.014431 | 0.014431 | 0.014431 | 0.99123 | -0.16752 | 0.99113 | -0.1696 | 3.9646
3 | -0.027121 | -0.0067999 | 0.027131 | 0.0068061 | 9.9955e-06 | 6.1894e-06 | 0.040696 | 0.040696 | 0.040696 | 0.99169 | -0.15871 | 0.99209 | -0.15098 | 11.1803
4 | 0.0051976 | 0.0013026 | -0.0051973 | -0.0013026 | 3.4051e-07 | 2.5767e-08 | 0.0078034 | 0.0078035 | 0.0078035 | 0.99113 | -0.1696 | 0.99105 | -0.17098 | 2.1438
5 | -0.034262 | -0.0085931 | 0.03428 | 0.0086044 | 1.7933e-05 | 1.1243e-05 | 0.051391 | 0.051391 | 0.051391 | 0.99209 | -0.15098 | 0.99265 | -0.14001 | 14.1184
6 | -0.31521 | -0.07987 | 0.3155 | 0.08006 | 0.00029716 | 0.00018977 | 0.47281 | 0.47281 | 0.47281 | 0.99265 | -0.14001 | 0.99367 | -0.1204 | 43.2978
7 | 0.28093 | 0.071266 | -0.27984 | -0.070573 | 0.0010833 | 0.0006925 | 0.42142 | 0.42142 | 0.42142 | 0.99265 | -0.14001 | 0.98847 | -0.22054 | 57.8876
8 | -0.3155 | -0.08006 | 0.31594 | 0.080339 | 0.00043705 | 0.00027911 | 0.47281 | 0.47281 | 0.47281 | 0.99367 | -0.1204 | 0.99518 | -0.091645 | 43.2978
9 | 0.20488 | 0.051732 | -0.20466 | -0.051592 | 0.00021936 | 0.00014008 | 0.30856 | 0.30856 | 0.30856 | 0.98847 | -0.22054 | 0.98732 | -0.24291 | 42.3842
10 | 0.074962 | 0.018841 | -0.074823 | -0.018752 | 0.00013908 | 8.8638e-05 | 0.11287 | 0.11287 | 0.11287 | 0.98847 | -0.22054 | 0.98647 | -0.25948 | 31.0069
11 | 0.32472 | 0.083095 | -0.32328 | -0.082179 | 0.0014338 | 0.00091573 | 0.48379 | 0.48379 | 0.48379 | 1 | 0 | 0.99518 | -0.091645 | 44.3034
12 | 0.2375 | 0.061058 | -0.23704 | -0.060766 | 0.00045872 | 0.00029243 | 0.35395 | 0.35395 | 0.35395 | 1 | 0 | 0.99789 | -0.039831 | 32.4131
13 | 0.23704 | 0.060766 | -0.23563 | -0.059865 | 0.0014134 | 0.00090109 | 0.35395 | 0.35395 | 0.35395 | 0.99789 | -0.039831 | 0.99139 | -0.16362 | 32.4132
14 | 0.024088 | 0.0060558 | -0.024052 | -0.006034 | 3.5455e-05 | 2.1761e-05 | 0.036161 | 0.036161 | 0.036161 | 0.99139 | -0.16362 | 0.9898 | -0.1945 | 9.9343
15 | 0.21154 | 0.053809 | -0.21087 | -0.05338 | 0.00067348 | 0.00042897 | 0.31779 | 0.31779 | 0.31779 | 0.99139 | -0.16362 | 0.98795 | -0.22992 | 29.1018
16 | 0.0092344 | 0.0023148 | -0.0092323 | -0.0023138 | 2.1686e-06 | 1.021e-06 | 0.014056 | 0.014056 | 0.014056 | 0.97761 | -0.43115 | 0.97736 | -0.43608 | 3.8615
17 | 0.012757 | 0.0032096 | -0.012723 | -0.0031909 | 3.404e-05 | 1.8777e-05 | 0.019422 | 0.019423 | 0.019423 | 0.97761 | -0.43115 | 0.97477 | -0.48714 | 5.3361
18 | -0.021992 | -0.0055245 | 0.021999 | 0.0055289 | 7.1674e-06 | 4.3732e-06 | 0.033478 | 0.033478 | 0.033478 | 0.97761 | -0.43115 | 0.97796 | -0.42433 | 9.1973
19 | 0.012723 | 0.0031909 | -0.012719 | -0.0031882 | 4.7357e-06 | 2.6138e-06 | 0.019423 | 0.019424 | 0.019424 | 0.97477 | -0.48714 | 0.97437 | -0.49495 | 5.3362
20 | -0.03 | -0.007534 | 0.03003 | 0.0075528 | 3.006e-05 | 1.8755e-05 | 0.045652 | 0.045652 | 0.045652 | 0.97796 | -0.42433 | 0.97903 | -0.40335 | 12.5417
21 | -0.0052708 | -0.0013209 | 0.0052711 | 0.001321 | 3.4726e-07 | 3.3535e-08 | 0.0079329 | 0.0079328 | 0.0079329 | 0.98866 | -0.21662 | 0.98873 | -0.21524 | 2.1794
22 | 0.0052708 | 0.0013209 | -0.0052705 | -0.0013209 | 2.6529e-07 | 2.564e-08 | 0.0079329 | 0.007933 | 0.007933 | 0.98866 | -0.21662 | 0.98861 | -0.21768 | 2.1794
23 | -0.013566 | -0.0034001 | 0.013568 | 0.0034014 | 2.3318e-06 | 1.301e-06 | 0.020416 | 0.020416 | 0.020416 | 0.98873 | -0.21524 | 0.98892 | -0.21163 | 5.6089
24 | 0.0082947 | 0.0020791 | -0.008293 | -0.0020784 | 1.7509e-06 | 7.364e-07 | 0.012483 | 0.012484 | 0.012484 | 0.98873 | -0.21524 | 0.9885 | -0.21967 | 3.4296
25 | 0.019033 | 0.0047739 | -0.019028 | -0.004771 | 4.9338e-06 | 2.9515e-06 | 0.028625 | 0.028625 | 0.028625 | 0.98944 | -0.20139 | 0.98916 | -0.20683 | 7.8641
26 | -0.019033 | -0.0047739 | 0.019039 | 0.0047777 | 6.2583e-06 | 3.7437e-06 | 0.028625 | 0.028625 | 0.028625 | 0.98944 | -0.20139 | 0.9898 | -0.1945 | 7.864
27 | 0.015543 | 0.0038974 | -0.015539 | -0.0038954 | 3.5563e-06 | 2.0534e-06 | 0.023382 | 0.023382 | 0.023382 | 0.98916 | -0.20683 | 0.98892 | -0.21163 | 6.4236
28 | 0.010192 | 0.002555 | -0.01019 | -0.0025537 | 2.6911e-06 | 1.3325e-06 | 0.015351 | 0.015352 | 0.015352 | 0.98795 | -0.22992 | 0.98766 | -0.23547 | 4.2175
29 | 0.20068 | 0.050825 | -0.20043 | -0.050668 | 0.00024706 | 0.00015729 | 0.30244 | 0.30244 | 0.30244 | 0.98795 | -0.22992 | 0.98662 | -0.25559 | 27.6961
30 | 0.0051443 | 0.0012892 | -0.005144 | -0.0012892 | 3.5518e-07 | 2.5548e-08 | 0.0077505 | 0.0077505 | 0.0077505 | 0.98766 | -0.23547 | 0.98759 | -0.23691 | 2.1293
31 | 0.19783 | 0.050015 | -0.19769 | -0.049929 | 0.00013561 | 8.6322e-05 | 0.29852 | 0.29852 | 0.29852 | 0.98662 | -0.25559 | 0.98588 | -0.2699 | 27.3366
32 | -0.020908 | -0.0052449 | 0.020916 | 0.0052494 | 7.5001e-06 | 4.5491e-06 | 0.031722 | 0.031722 | 0.031722 | 0.98083 | -0.36821 | 0.98121 | -0.36068 | 8.7147
33 | 0.020908 | 0.0052449 | -0.020896 | -0.0052374 | 1.2328e-05 | 7.4776e-06 | 0.031722 | 0.031722 | 0.031722 | 0.98083 | -0.36821 | 0.9802 | -0.38058 | 8.7148
34 | -0.086635 | -0.021799 | 0.086802 | 0.021904 | 0.00016681 | 0.00010545 | 0.13141 | 0.13141 | 0.13141 | 0.98121 | -0.36068 | 0.98327 | -0.32047 | 18.0514
35 | 0.06572 | 0.016549 | -0.065586 | -0.016464 | 0.00013376 | 8.5153e-05 | 0.099692 | 0.099693 | 0.099693 | 0.98121 | -0.36068 | 0.97903 | -0.40335 | 27.3881
36 | 0.010389 | 0.002604 | -0.010387 | -0.0026032 | 1.5671e-06 | 7.9121e-07 | 0.015771 | 0.015771 | 0.015771 | 0.9802 | -0.38058 | 0.98003 | -0.38375 | 4.3327
37 | -0.039459 | -0.0098969 | 0.039489 | 0.0099163 | 3.0683e-05 | 1.9347e-05 | 0.059779 | 0.059779 | 0.059779 | 0.98224 | -0.34175 | 0.98308 | -0.32545 | 16.4229
38 | 0.039459 | 0.0098969 | -0.039445 | -0.0098883 | 1.3745e-05 | 8.6673e-06 | 0.059779 | 0.059779 | 0.059779 | 0.98224 | -0.34175 | 0.98187 | -0.34906 | 16.4229
39 | -0.052364 | -0.013143 | 0.052396 | 0.013163 | 3.2154e-05 | 2.0406e-05 | 0.079266 | 0.079266 | 0.079266 | 0.98308 | -0.32545 | 0.98374 | -0.31259 | 21.7764
40 | 0.020016 | 0.005019 | -0.02001 | -0.0050149 | 6.8022e-06 | 4.1042e-06 | 0.030336 | 0.030336 | 0.030336 | 0.98187 | -0.34906 | 0.98151 | -0.3562 | 8.334
41 | 0.069683 | 0.017508 | -0.069644 | -0.017484 | 3.8588e-05 | 2.4579e-05 | 0.1054 | 0.1054 | 0.1054 | 0.9839 | -0.30939 | 0.9833 | -0.321 | 28.9565
42 | 0.011575 | 0.0029016 | -0.011572 | -0.0029003 | 2.4896e-06 | 1.3183e-06 | 0.017505 | 0.017506 | 0.017506 | 0.9839 | -0.30939 | 0.98367 | -0.31391 | 4.8092
43 | -0.081257 | -0.02041 | 0.081334 | 0.020459 | 7.6591e-05 | 4.8847e-05 | 0.12291 | 0.12291 | 0.12291 | 0.9839 | -0.30939 | 0.98491 | -0.28966 | 33.7657
44 | 0.064924 | 0.016301 | -0.064859 | -0.016259 | 6.4983e-05 | 4.1362e-05 | 0.098259 | 0.098259 | 0.098259 | 0.9833 | -0.321 | 0.98223 | -0.34201 | 26.9942
45 | 0.006036 | 0.0015128 | -0.006036 | -0.0015128 | 6.4074e-09 | 1.4995e-09 | 0.0091308 | 0.0091308 | 0.0091308 | 0.98367 | -0.31391 | 0.98367 | -0.31393 | 2.5085
46 | -0.089096 | -0.022404 | 0.089296 | 0.022532 | 0.00019941 | 0.00012725 | 0.13463 | 0.13463 | 0.13463 | 0.98491 | -0.28966 | 0.98732 | -0.24291 | 36.9876
47 | 0.11536 | 0.02906 | -0.11524 | -0.028983 | 0.0001215 | 7.7622e-05 | 0.17392 | 0.17392 | 0.17392 | 0.98732 | -0.24291 | 0.98618 | -0.26496 | 47.7809
48 | 0.011392 | 0.0028557 | -0.011388 | -0.0028538 | 3.5472e-06 | 1.8811e-06 | 0.017397 | 0.017397 | 0.017397 | 0.97437 | -0.49495 | 0.97404 | -0.50149 | 4.7794
49 | -0.019854 | -0.0049783 | 0.019858 | 0.0049808 | 4.2304e-06 | 2.5494e-06 | 0.030066 | 0.030066 | 0.030066 | 0.98262 | -0.3333 | 0.98285 | -0.32883 | 8.2599
50 | 0.019854 | 0.0049783 | -0.019849 | -0.0049753 | 4.9208e-06 | 2.9655e-06 | 0.030066 | 0.030066 | 0.030066 | 0.98262 | -0.3333 | 0.98236 | -0.33851 | 8.2599
51 | -0.023242 | -0.0058289 | 0.023252 | 0.0058351 | 1.0041e-05 | 6.1522e-06 | 0.035189 | 0.035189 | 0.035189 | 0.98285 | -0.32883 | 0.98332 | -0.31977 | 9.6673
52 | 0.013166 | 0.0033004 | -0.013163 | -0.0032991 | 2.3538e-06 | 1.3067e-06 | 0.019943 | 0.019943 | 0.019943 | 0.98236 | -0.33851 | 0.98217 | -0.34226 | 5.4789
53 | 0.085791 | 0.021601 | -0.08567 | -0.021524 | 0.0001213 | 7.7388e-05 | 0.12948 | 0.12948 | 0.12948 | 0.98618 | -0.26496 | 0.98466 | -0.29458 | 35.5722
54 | 0.0060895 | 0.0015262 | -0.0060888 | -0.001526 | 6.3356e-07 | 1.4776e-07 | 0.0091666 | 0.0091667 | 0.0091667 | 0.9885 | -0.21967 | 0.98839 | -0.22186 | 2.5183
55 | 0.11406 | 0.028831 | -0.114 | -0.028797 | 5.421e-05 | 3.4135e-05 | 0.17224 | 0.17224 | 0.17224 | 0.98588 | -0.2699 | 0.98537 | -0.27981 | 15.7725
56 | 0.083634 | 0.021098 | -0.083505 | -0.021016 | 0.00012913 | 8.2366e-05 | 0.12628 | 0.12628 | 0.12628 | 0.98588 | -0.2699 | 0.98422 | -0.3022 | 34.6922
57 | -0.09848 | -0.024831 | 0.098574 | 0.02489 | 9.3647e-05 | 5.9363e-05 | 0.14909 | 0.14909 | 0.14909 | 0.98327 | -0.32047 | 0.9843 | -0.30063 | 20.4789
58 | 0.011678 | 0.0029269 | -0.011678 | -0.0029267 | 4.6134e-07 | 2.453e-07 | 0.017673 | 0.017673 | 0.017673 | 0.98327 | -0.32047 | 0.98323 | -0.3213 | 4.8552
59 | -0.064528 | -0.016204 | 0.064584 | 0.016239 | 5.5488e-05 | 3.5315e-05 | 0.097618 | 0.097618 | 0.097618 | 0.98374 | -0.31259 | 0.98466 | -0.29458 | 26.8182
60 | 0.02498 | 0.0062649 | -0.024969 | -0.0062582 | 1.0847e-05 | 6.6869e-06 | 0.037845 | 0.037845 | 0.037845 | 0.98223 | -0.34201 | 0.98176 | -0.35112 | 10.397
61 | 0.011388 | 0.0028538 | -0.011388 | -0.0028537 | 9.9738e-08 | 5.2894e-08 | 0.017397 | 0.017397 | 0.017397 | 0.97404 | -0.50149 | 0.97403 | -0.50167 | 4.7794
62 | -0.001332 | -0.00033383 | 0.001332 | 0.00033347 | 4.7713e-08 | -3.5191e-07 | 0.0020349 | 0.0020348 | 0.0020349 | 0.97399 | -0.50243 | 0.97403 | -0.50167 | 0.55905
63 | -0.080859 | -0.020326 | 0.080927 | 0.02037 | 6.7927e-05 | 4.332e-05 | 0.12238 | 0.12238 | 0.12238 | 0.98332 | -0.31977 | 0.98422 | -0.3022 | 33.6216
64 | 0.057607 | 0.014491 | -0.057565 | -0.014464 | 4.2225e-05 | 2.6836e-05 | 0.087194 | 0.087194 | 0.087194 | 0.98332 | -0.31977 | 0.98253 | -0.33513 | 23.9544
65 | 0.006633 | 0.0016624 | -0.0066324 | -0.0016622 | 5.8053e-07 | 1.7755e-07 | 0.010049 | 0.010049 | 0.010049 | 0.98217 | -0.34226 | 0.98207 | -0.3441 | 2.7608
66 | -0.042057 | -0.01054 | 0.042071 | 0.010549 | 1.4119e-05 | 8.9199e-06 | 0.063838 | 0.063838 | 0.063838 | 0.98031 | -0.37849 | 0.98067 | -0.37144 | 17.5379
67 | -0.042071 | -0.010549 | 0.042087 | 0.010559 | 1.604e-05 | 1.0133e-05 | 0.063838 | 0.063838 | 0.063838 | 0.98067 | -0.37144 | 0.98108 | -0.36345 | 17.5379
68 | 0.052409 | 0.013172 | -0.052372 | -0.013149 | 3.7166e-05 | 2.3587e-05 | 0.079386 | 0.079386 | 0.079386 | 0.98253 | -0.33513 | 0.98177 | -0.34999 | 21.8093
69 | -0.0058292 | -0.0014609 | 0.0058297 | 0.001461 | 5.4999e-07 | 1.1305e-07 | 0.0088227 | 0.0088227 | 0.0088227 | 0.98313 | -0.32328 | 0.98323 | -0.3213 | 2.4238
70 | -0.10372 | -0.026181 | 0.10378 | 0.026214 | 5.2731e-05 | 3.3094e-05 | 0.15687 | 0.15687 | 0.15687 | 0.9843 | -0.30063 | 0.98484 | -0.29002 | 14.3656
71 | -0.047245 | -0.011852 | 0.047275 | 0.011871 | 3.0322e-05 | 1.9207e-05 | 0.071661 | 0.071661 | 0.071661 | 0.98108 | -0.36345 | 0.98177 | -0.34999 | 19.6871
72 | -0.10878 | -0.027469 | 0.10884 | 0.027502 | 5.3222e-05 | 3.3461e-05 | 0.16444 | 0.16444 | 0.16444 | 0.98484 | -0.29002 | 0.98537 | -0.27981 | 15.0582
73 | 0.0099693 | 0.0024988 | -0.0099682 | -0.0024983 | 1.1401e-06 | 5.6129e-07 | 0.01511 | 0.01511 | 0.01511 | 0.98176 | -0.35112 | 0.98164 | -0.35352 | 4.1512

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58221 | 0.14875

## res_load
| p_mw | q_mvar
0 | 0.0071131 | 0.0017827
1 | 0.0032545 | 0.00081566
2 | 0.0071332 | 0.0017878
3 | 0.0044147 | 0.0011064
4 | 0.0071304 | 0.001787
5 | 0.0051973 | 0.0013026
6 | 0.018347 | 0.0045981
7 | 0.0073438 | 0.0018405
8 | 0.0092323 | 0.0023138
9 | 0.0080008 | 0.0020052
10 | 0.0052705 | 0.0013209
11 | 0.0034855 | 0.00087354
12 | 0.0050128 | 0.0012563
13 | 0.0050452 | 0.0012644
14 | 0.002603 | 0.00065238
15 | 0.010507 | 0.0026334
16 | 0.012874 | 0.0032266
17 | 0.019429 | 0.0048692
18 | 0.0047201 | 0.001183
19 | 0.0055362 | 0.0013875
20 | 0.0077626 | 0.0019455
21 | 0.074823 | 0.018752
22 | 0.001327 | 0.00033258
23 | 0.0033838 | 0.00084807
24 | 0.006683 | 0.0016749
25 | 0.029452 | 0.0073814
26 | 0.035556 | 0.0089112
27 | 0.001971 | 0.00049398
28 | 0.0022035 | 0.00055225
29 | 0.010387 | 0.0026032
30 | 0.0060888 | 0.001526
31 | 0.005144 | 0.0012892
32 | 0.012133 | 0.0030407
33 | 0.02001 | 0.0050149
34 | 0.039879 | 0.0099946
35 | 0.006036 | 0.0015128
36 | 0.001332 | 0.00033383
37 | 0.010056 | 0.0025203
38 | 0.0065305 | 0.0016367
39 | 0.021086 | 0.0052846
40 | 0.0066324 | 0.0016622
41 | 0.042057 | 0.01054
42 | 0.0025777 | 0.00064604
43 | 0.0051556 | 0.0012921
44 | 0.0058292 | 0.0014609
45 | 0.0058479 | 0.0014656
46 | 0.0051509 | 0.0012909
47 | 0.0051579 | 0.0012927
48 | 0.0050057 | 0.0012545
49 | 0.0050969 | 0.0012774
50 | 0.015 | 0.0037594
51 | 0.0051654 | 0.0012946
52 | 0.0099682 | 0.0024983

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1