## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-31_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-31_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-31_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-31_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-31_0_5_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_261-31_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-31_0_5_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_261-31_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-31_0_5_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_261-31_0_5_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_261-31_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-31_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_261-31_0_5_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_261-31_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_261-31_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_261-31_0_5_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_261-31_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_261-31_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_261-31_0_5_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_261-31_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_261-31_0_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_261-31_0_5_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_261-31_0_5_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_261-31_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_261-31_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_261-31_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_261-31_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_261-31_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_MV_550_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-31_0_5_load_0 | 0 | 0.0032894 | 0.00082441 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-31_0_5_load_21 | 6 | 0.011459 | 0.0028718 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-31_0_5_load_16 | 8 | 0.010305 | 0.0025827 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-31_0_5_load_25 | 9 | 0.021853 | 0.0054769 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-31_0_5_load_15 | 12 | 0.024599 | 0.0061652 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-31_0_5_load_24 | 15 | 0.041622 | 0.010432 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-31_0_5_load_14 | 17 | 0.086752 | 0.021742 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-31_0_5_load_18 | 18 | 0.063733 | 0.015973 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-31_0_5_load_27 | 20 | 0.063778 | 0.015984 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-31_0_5_load_28 | 21 | 0.0094781 | 0.0023754 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-31_0_5_load_26 | 22 | 0.062472 | 0.015657 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-31_0_5_load_22 | 23 | 0.029856 | 0.0074827 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-31_0_5_load_20 | 24 | 0.0050551 | 0.0012669 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-31_0_5_load_17 | 25 | 0.0081416 | 0.0020405 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-31_0_5_load_19 | 26 | 0.066613 | 0.016695 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-31_0_5_load_23 | 27 | 0.031233 | 0.0078277 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-31_0_5_line_0 |  | 0 | 1 | 0.0090726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_261-31_0_5_line_1 |  | 0 | 2 | 0.072531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_261-31_0_5_line_2 |  | 1 | 3 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_261-31_0_5_line_3 |  | 2 | 4 | 0.060143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_261-31_0_5_line_4 |  | 2 | 5 | 0.20871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_261-31_0_5_line_5 |  | 3 | 6 | 0.039665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-31_0_5_line_6 |  | 4 | 22 | 0.053102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_261-31_0_5_line_7 |  | 5 | 7 | 0.030712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-31_0_5_line_8 |  | 5 | 8 | 0.053432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_261-31_0_5_line_9 |  | 6 | 23 | 0.013558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_261-31_0_5_line_10 |  | 7 | 9 | 0.028612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-31_0_5_line_11 |  | 8 | 16 | 0.036091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-31_0_5_line_12 |  | 10 | 11 | 0.05097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-31_0_5_line_13 |  | 10 | 12 | 0.0086499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-31_0_5_line_14 |  | 11 | 18 | 0.018405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-31_0_5_line_15 |  | 12 | 17 | 0.0026276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-31_0_5_line_16 |  | 13 | 14 | 0.11109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-31_0_5_line_17 |  | 13 | 15 | 0.022283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-31_0_5_line_18 |  | 14 | 21 | 0.074475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-31_0_5_line_19 |  | 14 | 19 | 0.15355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-31_0_5_line_20 |  | 15 | 24 | 0.014955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-31_0_5_line_21 |  | 16 | 17 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-31_0_5_line_22 |  | 18 | 25 | 0.039357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-31_0_5_line_23 |  | 19 | 20 | 0.032373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-31_0_5_line_24 |  | 23 | 27 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-31_0_5_line_25 |  | 24 | 26 | 0.019852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-31_0_5_line_26 |  | 25 | 26 | 0.019608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-31_0_5_trafo_17 | 0.63 MVA 20/0.4 kV | 28 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2683998.8932 | 1247803.2857 | 2683989.969 | 1247801.6514
1 | 2683930.7244 | 1247836.4672 | 2683951.4486 | 1247815.7786 | 2683955.7131 | 1247812.2586 | 2683973.1695 | 1247801.5201 | 2683979.4791 | 1247799.7303 | 2683989.969 | 1247801.6514
2 | 2683998.8932 | 1247803.2857 | 2684009.4749 | 1247815.022
3 | 2683930.7244 | 1247836.4672 | 2683923.5902 | 1247845.2839 | 2683917.3549 | 1247853.0347 | 2683914.5658 | 1247859.5779 | 2683914.2524 | 1247864.6439 | 2683915.0611 | 1247869.4033 | 2683916.3444 | 1247874.2583 | 2683918.1878 | 1247878.4875 | 2683922.4704 | 1247884.8862 | 2683925.5195 | 1247888.2541
4 | 2683858.7237 | 1247948.3313 | 2683851.2406 | 1247942.8659 | 2683845.2974 | 1247938.5231 | 2683842.7686 | 1247936.8194 | 2683837.736 | 1247933.2456 | 2683837.2071 | 1247932.1929 | 2683836.7402 | 1247931.0299 | 2683836.603 | 1247928.982 | 2683836.8734 | 1247926.951 | 2683843.886 | 1247900.5529 | 2683844.5445 | 1247898.3161 | 2683856.0228 | 1247861.6513 | 2683863.48 | 1247838.5397 | 2683867.2262 | 1247827.8737 | 2683869.7375 | 1247821.7491 | 2683870.554 | 1247819.559 | 2683873.3325 | 1247820.1654 | 2683892.664 | 1247823.1522 | 2683914.3284 | 1247826.7391 | 2683922.6321 | 1247829.7366 | 2683930.7244 | 1247836.4672
5 | 2684009.4749 | 1247815.022 | 2684007.2912 | 1247823.0748 | 2684006.759 | 1247840.9027 | 2684005.2184 | 1247845.6844 | 2683999.2982 | 1247851.7297
6 | 2683925.5195 | 1247888.2541 | 2683934.0401 | 1247890.3318 | 2683945.7095 | 1247890.864 | 2683947.9682 | 1247896.7114 | 2683953.6383 | 1247901.662 | 2683958.2398 | 1247904.7405 | 2683963.2753 | 1247908.1032 | 2683969.0411 | 1247912.6994
7 | 2683858.7237 | 1247948.3313 | 2683855.8896 | 1247951.1266 | 2683862.008 | 1247954.827 | 2683875.3307 | 1247962.8769 | 2683873.8053 | 1247966.5914
8 | 2683858.7237 | 1247948.3313 | 2683877.2274 | 1247959.0787 | 2683893.6075 | 1247967.7724 | 2683905.4364 | 1247974.257
9 | 2683989.0871 | 1247860.4557 | 2683992.6417 | 1247858.5269 | 2683999.2982 | 1247851.7297
10 | 2683873.8053 | 1247966.5914 | 2683878.7207 | 1247969.3741 | 2683898.9835 | 1247980.1789
11 | 2683937.7835 | 1247990.2475 | 2683926.8513 | 1247985.1334 | 2683909.5564 | 1247976.5156 | 2683905.4364 | 1247974.257
12 | 2684008.729 | 1248027.4686 | 2684005.7778 | 1248027.8604 | 2684001.8445 | 1248027.7379 | 2683998.6052 | 1248026.6134 | 2683995.5068 | 1248024.6014 | 2683987.5944 | 1248017.9955 | 2683981.2852 | 1248013.3805 | 2683974.93 | 1248008.8094 | 2683965.4929 | 1248003.1938
13 | 2683965.4929 | 1248003.1938 | 2683957.7322 | 1247999.3739
14 | 2684008.729 | 1248027.4686 | 2684012.7339 | 1248025.7351 | 2684015.8071 | 1248023.666 | 2684019.1857 | 1248020.2892 | 2684023.1531 | 1248016.3951
15 | 2683957.7322 | 1247999.3739 | 2683955.3747 | 1247998.2135 | 2683955.3747 | 1247998.2135
16 | 2684113.4484 | 1247944.0024 | 2684116.1612 | 1247941.7837 | 2684119.4019 | 1247937.4931 | 2684123.3431 | 1247931.7448 | 2684129.7889 | 1247921.9512 | 2684146.1973 | 1247896.7209 | 2684166.5851 | 1247866.7881 | 2684172.5989 | 1247857.1107 | 2684175.2853 | 1247851.9673
17 | 2684113.4484 | 1247944.0024 | 2684105.8895 | 1247949.2101 | 2684098.0328 | 1247954.6472 | 2684095.1446 | 1247956.7097
18 | 2684175.2853 | 1247851.9673 | 2684172.457 | 1247853.2725 | 2684142.6654 | 1247882.1489 | 2684121.361 | 1247903.24
19 | 2684093.1391 | 1247871.5719 | 2684129.189 | 1247835.4565 | 2684160.7137 | 1247803.6914 | 2684162.9206 | 1247801.4655 | 2684176.9774 | 1247829.0855 | 2684178.4911 | 1247834.7222 | 2684178.6044 | 1247840.0389 | 2684177.9865 | 1247844.7225 | 2684176.5741 | 1247849.506 | 2684175.2853 | 1247851.9673
20 | 2684082.974 | 1247965.4012 | 2684095.1446 | 1247956.7097
21 | 2683937.7835 | 1247990.2475 | 2683955.3747 | 1247998.2135
22 | 2684051.2739 | 1247988.8691 | 2684049.8564 | 1247990.0459 | 2684041.9115 | 1247997.9836 | 2684023.1531 | 1248016.3951
23 | 2684093.1391 | 1247871.5719 | 2684086.1974 | 1247885.973 | 2684082.4964 | 1247901.9434
24 | 2683995.3047 | 1247868.3496 | 2683989.0871 | 1247860.4557
25 | 2684082.974 | 1247965.4012 | 2684079.9872 | 1247967.5341 | 2684066.8271 | 1247976.9496
26 | 2684051.2739 | 1247988.8691 | 2684058.1796 | 1247983.1365 | 2684066.8271 | 1247976.9496

## bus_geodata
| x | y | coords
0 | 2683989.969 | 1247801.6514
1 | 2683998.8932 | 1247803.2857
2 | 2683930.7244 | 1247836.4672
3 | 2684009.4749 | 1247815.022
4 | 2683925.5195 | 1247888.2541
5 | 2683858.7237 | 1247948.3313
6 | 2683999.2982 | 1247851.7297
7 | 2683873.8053 | 1247966.5914
8 | 2683905.4364 | 1247974.257
9 | 2683898.9835 | 1247980.1789
10 | 2683965.4929 | 1248003.1938
11 | 2684008.729 | 1248027.4686
12 | 2683957.7322 | 1247999.3739
13 | 2684113.4484 | 1247944.0024
14 | 2684175.2853 | 1247851.9673
15 | 2684095.1446 | 1247956.7097
16 | 2683937.7835 | 1247990.2475
17 | 2683955.3747 | 1247998.2135
18 | 2684023.1531 | 1248016.3951
19 | 2684093.1391 | 1247871.5719
20 | 2684082.4964 | 1247901.9434
21 | 2684121.361 | 1247903.24
22 | 2683969.0411 | 1247912.6994
23 | 2683989.0871 | 1247860.4557
24 | 2684082.974 | 1247965.4012
25 | 2684051.2739 | 1247988.8691
26 | 2684066.8271 | 1247976.9496
27 | 2683995.3047 | 1247868.3496
28 | 2684008.729 | 1248027.4686

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9725 | -0.52959 | 0.0032894 | 0.00082441
1 | 0.9723 | -0.53364 | 0 | 0
2 | 0.97422 | -0.49586 | 0 | 0
3 | 0.97194 | -0.54068 | 0 | 0
4 | 0.97305 | -0.51889 | 0 | 0
5 | 0.98321 | -0.32073 | 0 | 0
6 | 0.97105 | -0.55839 | 0.011459 | 0.0028718
7 | 0.98259 | -0.33284 | 0 | 0
8 | 0.98587 | -0.26942 | 0.010305 | 0.0025827
9 | 0.98201 | -0.34413 | 0.021853 | 0.0054769
10 | 0.98977 | -0.19463 | 0 | 0
11 | 0.99421 | -0.10981 | 0 | 0
12 | 0.98902 | -0.2091 | 0.024599 | 0.0061652
13 | 0.99301 | -0.13271 | 0 | 0
14 | 0.98544 | -0.27767 | 0 | 0
15 | 0.99453 | -0.1039 | 0.041622 | 0.010432
16 | 0.98778 | -0.2327 | 0 | 0
17 | 0.98881 | -0.21312 | 0.086752 | 0.021742
18 | 0.99581 | -0.079361 | 0.063733 | 0.015973
19 | 0.97632 | -0.4551 | 0 | 0
20 | 0.9744 | -0.49292 | 0.063778 | 0.015984
21 | 0.98479 | -0.29035 | 0.0094781 | 0.0023754
22 | 0.9715 | -0.54947 | 0.062472 | 0.015657
23 | 0.97066 | -0.56605 | 0.029856 | 0.0074827
24 | 0.99612 | -0.073667 | 0.0050551 | 0.0012669
25 | 1 | 0 | -0.54141 | -0.13823
26 | 0.99832 | -0.031933 | 0.066613 | 0.016695
27 | 0.97037 | -0.57186 | 0.031233 | 0.0078277
28 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.072679 | 0.018263 | -0.072665 | -0.018254 | 1.4029e-05 | 8.6409e-06 | 0.11122 | 0.11122 | 0.11122 | 0.9725 | -0.52959 | 0.9723 | -0.53364 | 10.1852
1 | -0.075968 | -0.019087 | 0.076091 | 0.019163 | 0.00012253 | 7.5717e-05 | 0.11626 | 0.11625 | 0.11626 | 0.9725 | -0.52959 | 0.97422 | -0.49586 | 10.6461
2 | 0.072665 | 0.018254 | -0.07264 | -0.018239 | 2.4404e-05 | 1.5031e-05 | 0.11122 | 0.11122 | 0.11122 | 0.9723 | -0.53364 | 0.97194 | -0.54068 | 10.1852
3 | 0.062632 | 0.015756 | -0.062563 | -0.015714 | 6.8831e-05 | 4.1808e-05 | 0.095685 | 0.095685 | 0.095685 | 0.97422 | -0.49586 | 0.97305 | -0.51889 | 8.7624
4 | -0.13872 | -0.034919 | 0.13989 | 0.035661 | 0.0011718 | 0.00074211 | 0.21194 | 0.21194 | 0.21194 | 0.97422 | -0.49586 | 0.98321 | -0.32073 | 19.4083
5 | 0.07264 | 0.018239 | -0.072579 | -0.018202 | 6.1334e-05 | 3.778e-05 | 0.11122 | 0.11122 | 0.11122 | 0.97194 | -0.54068 | 0.97105 | -0.55839 | 10.1853
6 | 0.062563 | 0.015714 | -0.062472 | -0.015657 | 9.116e-05 | 5.7026e-05 | 0.095685 | 0.095686 | 0.095686 | 0.97305 | -0.51889 | 0.9715 | -0.54947 | 13.1437
7 | 0.021877 | 0.0054917 | -0.021865 | -0.005484 | 1.2628e-05 | 7.6928e-06 | 0.033113 | 0.033113 | 0.033113 | 0.98321 | -0.32073 | 0.98259 | -0.33284 | 9.097
8 | -0.16177 | -0.041153 | 0.16217 | 0.041407 | 0.00040107 | 0.00025465 | 0.24505 | 0.24505 | 0.24505 | 0.98321 | -0.32073 | 0.98587 | -0.26942 | 22.4404
9 | 0.06112 | 0.01533 | -0.061098 | -0.015316 | 2.2302e-05 | 1.3938e-05 | 0.093664 | 0.093664 | 0.093664 | 0.97105 | -0.55839 | 0.97066 | -0.56605 | 12.8659
10 | 0.021865 | 0.005484 | -0.021853 | -0.0054769 | 1.1765e-05 | 7.1672e-06 | 0.033113 | 0.033113 | 0.033113 | 0.98259 | -0.33284 | 0.98201 | -0.34413 | 9.097
11 | -0.17248 | -0.04399 | 0.17278 | 0.044185 | 0.00030638 | 0.0001947 | 0.2606 | 0.2606 | 0.2606 | 0.98587 | -0.26942 | 0.98778 | -0.2327 | 23.8647
12 | -0.28455 | -0.072355 | 0.28572 | 0.0731 | 0.001168 | 0.00074553 | 0.42816 | 0.42816 | 0.42816 | 0.98977 | -0.19463 | 0.99421 | -0.10981 | 39.2089
13 | 0.28455 | 0.072355 | -0.28435 | -0.072228 | 0.00019821 | 0.00012652 | 0.42816 | 0.42816 | 0.42816 | 0.98977 | -0.19463 | 0.98902 | -0.2091 | 39.2089
14 | -0.28572 | -0.0731 | 0.28614 | 0.07337 | 0.00042175 | 0.0002692 | 0.42816 | 0.42816 | 0.42816 | 0.99421 | -0.10981 | 0.99581 | -0.079361 | 39.2088
15 | 0.25975 | 0.066063 | -0.2597 | -0.066031 | 5.0253e-05 | 3.2061e-05 | 0.39115 | 0.39115 | 0.39115 | 0.98902 | -0.2091 | 0.98881 | -0.21312 | 35.8196
16 | 0.074443 | 0.019115 | -0.073923 | -0.018783 | 0.0005199 | 0.00033131 | 0.11172 | 0.11172 | 0.11172 | 0.99301 | -0.13271 | 0.98544 | -0.27767 | 30.6913
17 | -0.074443 | -0.019115 | 0.074548 | 0.019181 | 0.00010429 | 6.6455e-05 | 0.11172 | 0.11172 | 0.11172 | 0.99301 | -0.13271 | 0.99453 | -0.1039 | 30.6911
18 | 0.0094838 | 0.0023782 | -0.0094781 | -0.0023754 | 5.728e-06 | 2.7177e-06 | 0.014321 | 0.014321 | 0.014321 | 0.98544 | -0.27767 | 0.98479 | -0.29035 | 3.9344
19 | 0.06444 | 0.016405 | -0.063893 | -0.016058 | 0.00054622 | 0.00034764 | 0.097395 | 0.097396 | 0.097396 | 0.98544 | -0.27767 | 0.97632 | -0.4551 | 26.7571
20 | -0.11617 | -0.029613 | 0.11634 | 0.029721 | 0.00016978 | 0.00010846 | 0.17399 | 0.17399 | 0.17399 | 0.99453 | -0.1039 | 0.99612 | -0.073667 | 47.7995
21 | -0.17278 | -0.044185 | 0.17295 | 0.044289 | 0.00016393 | 0.00010417 | 0.2606 | 0.2606 | 0.2606 | 0.98778 | -0.2327 | 0.98881 | -0.21312 | 23.8646
22 | -0.34987 | -0.089343 | 0.35122 | 0.090204 | 0.0013477 | 0.00086098 | 0.52339 | 0.52339 | 0.52339 | 0.99581 | -0.079361 | 1 | 0 | 47.9298
23 | 0.063893 | 0.016058 | -0.063778 | -0.015984 | 0.00011516 | 7.3298e-05 | 0.097396 | 0.097396 | 0.097396 | 0.97632 | -0.4551 | 0.9744 | -0.49292 | 26.7572
24 | 0.031242 | 0.0078331 | -0.031233 | -0.0078277 | 8.6438e-06 | 5.4078e-06 | 0.047894 | 0.047895 | 0.047895 | 0.97066 | -0.56605 | 0.97037 | -0.57186 | 13.1578
25 | -0.12139 | -0.030988 | 0.12164 | 0.031145 | 0.00024535 | 0.00015676 | 0.18154 | 0.18154 | 0.18154 | 0.99612 | -0.073667 | 0.99832 | -0.031933 | 49.874
26 | 0.18854 | 0.048025 | -0.18825 | -0.04784 | 0.00028995 | 0.00018505 | 0.28083 | 0.28083 | 0.28083 | 1 | 0 | 0.99832 | -0.031933 | 38.5754

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54955 | 0.14027

## res_load
| p_mw | q_mvar
0 | 0.0032894 | 0.00082441
1 | 0.011459 | 0.0028718
2 | 0.010305 | 0.0025827
3 | 0.021853 | 0.0054769
4 | 0.024599 | 0.0061652
5 | 0.041622 | 0.010432
6 | 0.086752 | 0.021742
7 | 0.063733 | 0.015973
8 | 0.063778 | 0.015984
9 | 0.0094781 | 0.0023754
10 | 0.062472 | 0.015657
11 | 0.029856 | 0.0074827
12 | 0.0050551 | 0.0012669
13 | 0.0081416 | 0.0020405
14 | 0.066613 | 0.016695
15 | 0.031233 | 0.0078277

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1